## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17157 | 2021-02-18 13:39 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.3198 | μmol/L | 34.3083 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.68 | 142478.2414 | 305125.0706 | 59.9307 | 38.1
17166 | 2021-02-18 13:40 | 0.33419 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.3959 | μmol/L | 34.2837 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.684 | 142490.12 | 305080.5582 | 59.9307 | 38.1
17176 | 2021-02-18 13:40 | 0.66723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.4185 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.687 | 142501.7974 | 305055.6303 | 59.9307 | 38.1
17186 | 2021-02-18 13:40 | 1.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.326 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.693 | 142502.1413 | 305041.378 | 59.9307 | 38.1
17197 | 2021-02-18 13:41 | 1.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.3794 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.694 | 142489.4198 | 304988.3034 | 59.9307 | 38.1
17206 | 2021-02-18 13:41 | 1.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.3106 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.694 | 142465.677 | 304947.9903 | 59.9307 | 38.1
17217 | 2021-02-18 13:41 | 2.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.2073 | μmol/L | 34.2899 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.694 | 142463.2206 | 304933.3214 | 59.9307 | 38.1
17226 | 2021-02-18 13:42 | 2.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.2181 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.7 | 142482.1382 | 304912.7225 | 59.9307 | 38.1
17236 | 2021-02-18 13:42 | 2.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.2371 | μmol/L | 34.2653 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.701 | 142466.3893 | 304860.6357 | 59.9307 | 38.1
17246 | 2021-02-18 13:42 | 3.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.2597 | μmol/L | 34.253 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.704 | 142460.2458 | 304835.6054 | 59.9307 | 38.1
17257 | 2021-02-18 13:43 | 3.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.1021 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.712 | 142491.0058 | 304801.0841 | 59.9307 | 38.1
17267 | 2021-02-18 13:43 | 3.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.9339 | μmol/L | 34.2837 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.714 | 142479.3515 | 304756.7177 | 59.9307 | 38.1
17277 | 2021-02-18 13:43 | 4.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8028 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.727 | 142542.6873 | 304737.2442 | 59.9307 | 38.1
17286 | 2021-02-18 13:44 | 4.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8561 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.728 | 142552.1762 | 304729.8848 | 59.9307 | 38.1
17296 | 2021-02-18 13:44 | 4.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.726 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.732 | 142571.0778 | 304697.0667 | 59.9307 | 38.1
17306 | 2021-02-18 13:44 | 5.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7179 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.737 | 142564.9268 | 304664.1544 | 59.9307 | 38.1
17316 | 2021-02-18 13:45 | 5.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6872 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.739 | 142541.9018 | 304635.8698 | 59.9307 | 38.1
17327 | 2021-02-18 13:45 | 5.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6719 | μmol/L | 34.2592 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.74 | 142538.5494 | 304612.4239 | 59.9307 | 38.1
17336 | 2021-02-18 13:45 | 6.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8326 | μmol/L | 34.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.734 | 142494.8618 | 304575.7382 | 59.9307 | 38.1
17346 | 2021-02-18 13:46 | 6.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8208 | μmol/L | 34.2408 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.737 | 142473.1889 | 304567.4564 | 59.9307 | 38.1
17356 | 2021-02-18 13:46 | 6.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7405 | μmol/L | 34.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.74 | 142468.4112 | 304512.1145 | 59.9307 | 38.1
17366 | 2021-02-18 13:46 | 7.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6484 | μmol/L | 34.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.746 | 142486.0228 | 304493.5721 | 59.9307 | 38.1
17376 | 2021-02-18 13:47 | 7.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6024 | μmol/L | 34.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.749 | 142491.1345 | 304464.8785 | 59.9307 | 38.1
17387 | 2021-02-18 13:47 | 7.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.6556 | μmol/L | 34.2346 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.75 | 142484.0717 | 304427.7402 | 59.9307 | 38.1
17396 | 2021-02-18 13:47 | 8.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.7512 | μmol/L | 34.2285 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.746 | 142465.7898 | 304393.3835 | 59.9307 | 38.1
17406 | 2021-02-18 13:48 | 8.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.514 | μmol/L | 34.2408 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.757 | 142467.6169 | 304367.9989 | 59.9307 | 38.1
17417 | 2021-02-18 13:48 | 8.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.5176 | μmol/L | 34.2346 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.759 | 142479.6005 | 304341.1857 | 59.9307 | 38.1
17427 | 2021-02-18 13:48 | 9.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.5473 | μmol/L | 34.2101 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.766 | 142513.5572 | 304324.8711 | 59.9307 | 38.1
17437 | 2021-02-18 13:49 | 9.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.432 | μmol/L | 34.1978 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.778 | 142573.6703 | 304279.1882 | 59.9307 | 38.1
17446 | 2021-02-18 13:49 | 9.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.4427 | μmol/L | 34.1794 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.784 | 142574.276 | 304249.0958 | 59.9307 | 38.1
17457 | 2021-02-18 13:49 | 10.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.3743 | μmol/L | 34.1917 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.784 | 142572.2924 | 304225.7892 | 59.9307 | 38.1
17466 | 2021-02-18 13:50 | 10.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.279 | μmol/L | 34.1978 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.788 | 142570.7657 | 304198.0175 | 59.9307 | 38.1
17476 | 2021-02-18 13:50 | 10.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.1379 | μmol/L | 34.204 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.795 | 142600.9268 | 304176.8488 | 59.9307 | 38.1
17486 | 2021-02-18 13:50 | 11.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0121 | μmol/L | 34.2101 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.801 | 142618.0931 | 304142.5618 | 59.9307 | 38.1
17497 | 2021-02-18 13:51 | 11.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.996 | μmol/L | 34.1856 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.811 | 142648.3733 | 304114.1985 | 59.9307 | 38.1
17506 | 2021-02-18 13:51 | 11.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0723 | μmol/L | 34.1856 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.806 | 142634.9256 | 304096.2125 | 59.9307 | 38.1
17517 | 2021-02-18 13:51 | 12.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0876 | μmol/L | 34.1856 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.805 | 142622.1536 | 304054.5022 | 59.9307 | 38.1
17527 | 2021-02-18 13:52 | 12.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0265 | μmol/L | 34.1856 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.809 | 142609.0788 | 304033.9003 | 59.9307 | 38.1
17536 | 2021-02-18 13:52 | 12.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9233 | μmol/L | 34.1794 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.818 | 142647.1458 | 304010.61 | 59.9307 | 38.1
17547 | 2021-02-18 13:52 | 13.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.7449 | μmol/L | 34.1978 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.823 | 142673.7685 | 303985.4906 | 59.9307 | 38.1
17556 | 2021-02-18 13:53 | 13.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.7745 | μmol/L | 34.1733 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.83 | 142702.8688 | 303961.517 | 59.9307 | 38.1
17567 | 2021-02-18 13:53 | 13.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.6339 | μmol/L | 34.1794 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.837 | 142745.4007 | 303944.6352 | 59.9307 | 38.1
17577 | 2021-02-18 13:53 | 14.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.4863 | μmol/L | 34.1978 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.84 | 142746.7777 | 303908.5544 | 59.9307 | 38.1
17587 | 2021-02-18 13:54 | 14.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.3084 | μmol/L | 34.2162 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.845 | 142782.471 | 303895.0077 | 59.9307 | 38.1
17596 | 2021-02-18 13:54 | 14.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.2549 | μmol/L | 34.204 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.853 | 142804.0203 | 303854.3454 | 59.9307 | 38.1
17607 | 2021-02-18 13:54 | 15.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.2245 | μmol/L | 34.204 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.855 | 142814.1835 | 303827.6875 | 59.9307 | 38.1
17616 | 2021-02-18 13:55 | 15.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.1639 | μmol/L | 34.204 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.859 | 142818.5288 | 303809.349 | 59.9307 | 38.1
17626 | 2021-02-18 13:55 | 15.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.0129 | μmol/L | 34.2285 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.86 | 142822.7188 | 303760.051 | 59.9307 | 38.1
17636 | 2021-02-18 13:55 | 16.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.9184 | μmol/L | 34.2346 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.864 | 142838.6765 | 303750.1273 | 59.9307 | 38.1
17646 | 2021-02-18 13:56 | 16.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.824 | μmol/L | 34.2408 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.868 | 142857.1465 | 303735.7589 | 59.9307 | 38.1
17657 | 2021-02-18 13:56 | 16.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.6842 | μmol/L | 34.2469 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.875 | 142884.083 | 303700.4046 | 59.9307 | 38.1
17666 | 2021-02-18 13:56 | 17.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.5487 | μmol/L | 34.2715 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.875 | 142893.054 | 303684.6979 | 59.9307 | 38.1
17676 | 2021-02-18 13:57 | 17.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.4507 | μmol/L | 34.2837 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.877 | 142906.1951 | 303652.1264 | 59.9307 | 38.1
17687 | 2021-02-18 13:57 | 17.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.2285 | μmol/L | 34.3021 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.885 | 142923.2579 | 303626.5788 | 59.9307 | 38.1
17696 | 2021-02-18 13:57 | 18.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.1495 | μmol/L | 34.3083 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.888 | 142939.2496 | 303590.3067 | 59.9307 | 38.1
17707 | 2021-02-18 13:58 | 18.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.9201 | μmol/L | 34.3389 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.892 | 142934.4109 | 303573.1382 | 59.9307 | 38.1
17717 | 2021-02-18 13:58 | 18.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.6496 | μmol/L | 34.3389 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.91 | 143077.5592 | 303549.3465 | 59.9307 | 38.1
17727 | 2021-02-18 13:58 | 19.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.819 | μmol/L | 34.3512 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.961 | 143461.6697 | 303533.3818 | 59.9307 | 38.1
17737 | 2021-02-18 13:59 | 19.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.9908 | μmol/L | 34.3389 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.954 | 143402.9702 | 303510.1002 | 59.9307 | 38.1
17747 | 2021-02-18 13:59 | 19.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.9833 | μmol/L | 34.3512 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.95 | 143349.1262 | 303491.7667 | 59.9307 | 38.1
17757 | 2021-02-18 13:59 | 20.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.9309 | μmol/L | 34.3635 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.949 | 143306.4898 | 303456.4906 | 59.9307 | 38.1
17766 | 2021-02-18 14:00 | 20.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.2115 | μmol/L | 34.4187 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 20.977 | 143512.5541 | 303428.8044 | 59.9307 | 38.1
17777 | 2021-02-18 14:00 | 20.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.8702 | μmol/L | 34.4187 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21 | 143673.7919 | 303410.6892 | 59.9307 | 38.1
17787 | 2021-02-18 14:00 | 21.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.744 | μmol/L | 34.431 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.004 | 143680.1628 | 303380.2412 | 59.9307 | 38.1
17797 | 2021-02-18 14:01 | 21.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.5362 | μmol/L | 34.4555 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.009 | 143697.789 | 303355.2563 | 59.9307 | 38.1
17806 | 2021-02-18 14:01 | 21.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.5806 | μmol/L | 34.4555 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.006 | 143671.5294 | 303333.7522 | 59.9307 | 38.1
17817 | 2021-02-18 14:01 | 22.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.901 | μmol/L | 34.48 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.043 | 143920.8331 | 303327.9308 | 59.9307 | 38.1
17826 | 2021-02-18 14:02 | 22.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.6393 | μmol/L | 34.4984 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.054 | 144005.2421 | 303294.9259 | 59.9307 | 38.1
17836 | 2021-02-18 14:02 | 22.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5286 | μmol/L | 34.5107 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.057 | 143968.0575 | 303279.4943 | 59.9307 | 38.1
17846 | 2021-02-18 14:02 | 23.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.5903 | μmol/L | 34.5291 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.046 | 143886.291 | 303253.5315 | 59.9307 | 38.1
17857 | 2021-02-18 14:03 | 23.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.656 | μmol/L | 34.5414 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.037 | 143810.3658 | 303224.9579 | 59.9307 | 38.1
17866 | 2021-02-18 14:03 | 23.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.6413 | μmol/L | 34.5414 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.038 | 143815.1059 | 303184.1706 | 59.9307 | 38.1
17877 | 2021-02-18 14:03 | 24.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.3944 | μmol/L | 34.5598 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.048 | 143890.4696 | 303174.4505 | 59.9307 | 38.1
17886 | 2021-02-18 14:04 | 24.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.144 | μmol/L | 34.5843 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.056 | 143928.5829 | 303157.5534 | 59.9307 | 38.1
17897 | 2021-02-18 14:04 | 24.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.0043 | μmol/L | 34.5966 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.061 | 143943.8508 | 303126.2897 | 59.9307 | 38.1
17907 | 2021-02-18 14:04 | 25.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.8833 | μmol/L | 34.6027 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.067 | 143973.2701 | 303102.889 | 59.9307 | 38.1
17917 | 2021-02-18 14:05 | 25.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.8354 | μmol/L | 34.6089 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.068 | 143960.1271 | 303081.9995 | 59.9307 | 38.1
17926 | 2021-02-18 14:05 | 25.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.7318 | μmol/L | 34.6334 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.066 | 143940.5335 | 303052.2649 | 59.9307 | 38.1
17936 | 2021-02-18 14:05 | 26.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.761 | μmol/L | 34.6334 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.064 | 143922.6554 | 303045.0096 | 59.9307 | 38.1
17946 | 2021-02-18 14:06 | 26.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.6427 | μmol/L | 34.658 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.063 | 143891.3377 | 303021.1161 | 59.9307 | 38.1
17956 | 2021-02-18 14:06 | 26.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.6386 | μmol/L | 34.6641 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.061 | 143847.6187 | 302994.0381 | 59.9307 | 38.1
17966 | 2021-02-18 14:06 | 27.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.47 | μmol/L | 34.6764 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.068 | 143861.5827 | 302978.9984 | 59.9307 | 38.1
17976 | 2021-02-18 14:07 | 27.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.4263 | μmol/L | 34.6764 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.071 | 143890.7511 | 302959.9656 | 59.9307 | 38.1
17987 | 2021-02-18 14:07 | 27.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.2061 | μmol/L | 34.7009 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.077 | 143922.7895 | 302935.5422 | 59.9307 | 38.1
17996 | 2021-02-18 14:07 | 28.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 163.1042 | μmol/L | 34.7009 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.084 | 143967.9591 | 302905.7841 | 59.9307 | 38.1
18007 | 2021-02-18 14:08 | 28.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.8449 | μmol/L | 34.7193 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.095 | 144013.0283 | 302893.1206 | 59.9307 | 38.1
18016 | 2021-02-18 14:08 | 28.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7973 | μmol/L | 34.7255 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.096 | 144021.383 | 302864.8805 | 59.9307 | 38.1
18026 | 2021-02-18 14:08 | 29.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7351 | μmol/L | 34.7316 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.098 | 143994.7139 | 302860.2685 | 59.9307 | 38.1
18036 | 2021-02-18 14:09 | 29.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.7455 | μmol/L | 34.7377 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.095 | 143980.6769 | 302818.6195 | 59.9307 | 38.1
18046 | 2021-02-18 14:09 | 29.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6607 | μmol/L | 34.7561 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.094 | 143953.2103 | 302802.2999 | 59.9307 | 38.1
18057 | 2021-02-18 14:09 | 30.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6462 | μmol/L | 34.7561 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.095 | 143942.8281 | 302788.6719 | 59.9307 | 38.1
18067 | 2021-02-18 14:10 | 30.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6938 | μmol/L | 34.75 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.094 | 143925.7741 | 302748.4466 | 59.9307 | 38.1
18077 | 2021-02-18 14:10 | 30.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.6027 | μmol/L | 34.7561 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.098 | 143923.2044 | 302740.3701 | 59.9307 | 38.1
18086 | 2021-02-18 14:10 | 31.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5841 | μmol/L | 34.7623 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.097 | 143921.0281 | 302711.7172 | 59.9307 | 38.1
18096 | 2021-02-18 14:11 | 31.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4889 | μmol/L | 34.7745 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.099 | 143895.2312 | 302706.1677 | 59.9307 | 38.1
18106 | 2021-02-18 14:11 | 31.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.522 | μmol/L | 34.7684 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.099 | 143877.9495 | 302657.6257 | 59.9307 | 38.1
18117 | 2021-02-18 14:11 | 32.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.464 | μmol/L | 34.7684 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.103 | 143858.934 | 302647.6781 | 59.9307 | 38.1
18127 | 2021-02-18 14:12 | 32.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.491 | μmol/L | 34.7929 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.092 | 143794.1177 | 302638.4712 | 59.9307 | 38.1
18137 | 2021-02-18 14:12 | 32.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5676 | μmol/L | 34.7868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.089 | 143767.3243 | 302609.022 | 59.9307 | 38.1
18146 | 2021-02-18 14:12 | 33.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.462 | μmol/L | 34.7929 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.094 | 143760.5536 | 302603.1297 | 59.9307 | 38.1
18156 | 2021-02-18 14:13 | 33.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4814 | μmol/L | 34.7929 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.092 | 143733.8703 | 302568.3177 | 59.9307 | 38.1
18166 | 2021-02-18 14:13 | 33.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5386 | μmol/L | 34.7868 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.091 | 143696.2102 | 302552.6762 | 59.9307 | 38.1
18176 | 2021-02-18 14:13 | 34.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5117 | μmol/L | 34.8052 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.086 | 143658.909 | 302536.8155 | 59.9307 | 38.1
18186 | 2021-02-18 14:14 | 34.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5456 | μmol/L | 34.8052 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.083 | 143635.464 | 302516.2392 | 59.9307 | 38.1
18196 | 2021-02-18 14:14 | 34.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5594 | μmol/L | 34.7991 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.085 | 143632.8329 | 302522.6279 | 59.9307 | 38.1
18206 | 2021-02-18 14:14 | 35.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5117 | μmol/L | 34.8052 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.086 | 143623.4332 | 302499.8825 | 59.9307 | 38.1
18216 | 2021-02-18 14:15 | 35.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4786 | μmol/L | 34.8114 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.086 | 143584.2533 | 302472.797 | 59.9307 | 38.1
18226 | 2021-02-18 14:15 | 35.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5311 | μmol/L | 34.8052 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.084 | 143564.0619 | 302455.6928 | 59.9307 | 38.1
18237 | 2021-02-18 14:15 | 36.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4338 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.093 | 143594.4567 | 302437.6897 | 59.9307 | 38.1
18246 | 2021-02-18 14:16 | 36.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4628 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.091 | 143573.4112 | 302427.6392 | 59.9307 | 38.1
18256 | 2021-02-18 14:16 | 36.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4682 | μmol/L | 34.8052 | °C | 1001 | hPa | Humid | 28 | 1 | 0 | 21.089 | 143541.0981 | 302405.674 | 59.9307 | 38.1
18266 | 2021-02-18 14:16 | 37.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.5125 | μmol/L | 34.8114 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.083 | 143501.436 | 302380.2685 | 59.9307 | 38.1
18277 | 2021-02-18 14:17 | 37.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4192 | μmol/L | 34.842 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.078 | 143451.5416 | 302380.4633 | 59.9307 | 38.1
18287 | 2021-02-18 14:17 | 37.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4752 | μmol/L | 34.8236 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.081 | 143445.4519 | 302345.9364 | 59.9307 | 38.1
18297 | 2021-02-18 14:17 | 38.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.4565 | μmol/L | 34.8298 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.08 | 143461.2135 | 302333.9797 | 59.9307 | 38.1
18306 | 2021-02-18 14:18 | 38.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.3448 | μmol/L | 34.8236 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.09 | 143478.3539 | 302315.0721 | 59.9307 | 38.1
18316 | 2021-02-18 14:18 | 38.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.3138 | μmol/L | 34.8052 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.099 | 143548.9988 | 302295.6002 | 59.9307 | 38.1
18326 | 2021-02-18 14:18 | 39.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 162.0597 | μmol/L | 34.8175 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.112 | 143611.6238 | 302283.2302 | 59.9307 | 38.1
18337 | 2021-02-18 14:19 | 39.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.9484 | μmol/L | 34.8114 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.122 | 143638.9792 | 302255.8178 | 59.9307 | 38.1
18347 | 2021-02-18 14:19 | 39.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.9422 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.127 | 143669.2708 | 302225.5109 | 59.9307 | 38.1
18356 | 2021-02-18 14:19 | 40.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.8659 | μmol/L | 34.8052 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.13 | 143678.8112 | 302212.8869 | 59.9307 | 38.1
18366 | 2021-02-18 14:20 | 40.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.8268 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.135 | 143676.1153 | 302185.1745 | 59.9307 | 38.1
18376 | 2021-02-18 14:20 | 40.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.8659 | μmol/L | 34.8052 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.13 | 143667.6614 | 302175.5698 | 59.9307 | 38.1
18386 | 2021-02-18 14:20 | 41.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.7692 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.139 | 143708.4449 | 302163.2822 | 59.9307 | 38.1
18397 | 2021-02-18 14:21 | 41.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.7877 | μmol/L | 34.7929 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.14 | 143721.3203 | 302155.337 | 59.9307 | 38.1
18406 | 2021-02-18 14:21 | 41.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.7301 | μmol/L | 34.7929 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.144 | 143730.4213 | 302141.0383 | 59.9307 | 38.1
18417 | 2021-02-18 14:21 | 42.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.6168 | μmol/L | 34.8114 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.145 | 143734.4987 | 302113.3817 | 59.9307 | 38.1
18426 | 2021-02-18 14:22 | 42.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5573 | μmol/L | 34.7929 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.156 | 143794.6311 | 302096.3133 | 59.9307 | 38.1
18437 | 2021-02-18 14:22 | 42.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5081 | μmol/L | 34.7807 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.164 | 143812.2318 | 302072.4976 | 59.9307 | 38.1
18446 | 2021-02-18 14:22 | 43.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.465 | μmol/L | 34.7807 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.167 | 143813.0609 | 302057.1042 | 59.9307 | 38.1
18457 | 2021-02-18 14:23 | 43.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.5039 | μmol/L | 34.7868 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.162 | 143790.0729 | 302047.2763 | 59.9307 | 38.1
18466 | 2021-02-18 14:23 | 43.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3746 | μmol/L | 34.7868 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.171 | 143829.7886 | 302025.0979 | 59.9307 | 38.1
18476 | 2021-02-18 14:23 | 44.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3685 | μmol/L | 34.7745 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.176 | 143859.7475 | 302009.8609 | 59.9307 | 38.1
18487 | 2021-02-18 14:24 | 44.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.387 | μmol/L | 34.7684 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.177 | 143856.6856 | 301996.6078 | 59.9307 | 38.1
18497 | 2021-02-18 14:24 | 44.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3953 | μmol/L | 34.7561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.181 | 143862.8381 | 301977.7614 | 59.9307 | 38.1
18506 | 2021-02-18 14:24 | 45.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.3254 | μmol/L | 34.7745 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.179 | 143852.2031 | 301977.7554 | 59.9307 | 38.1
18517 | 2021-02-18 14:25 | 45.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2824 | μmol/L | 34.7745 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.182 | 143863.186 | 301948.0105 | 59.9307 | 38.1
18526 | 2021-02-18 14:25 | 45.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2106 | μmol/L | 34.7745 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.187 | 143891.4367 | 301946.4952 | 59.9307 | 38.1
18536 | 2021-02-18 14:25 | 46.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2189 | μmol/L | 34.7623 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.191 | 143903.5178 | 301921.0433 | 59.9307 | 38.1
18546 | 2021-02-18 14:26 | 46.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2559 | μmol/L | 34.75 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.193 | 143918.9404 | 301914.3356 | 59.9307 | 38.1
18556 | 2021-02-18 14:26 | 46.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2087 | μmol/L | 34.7561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.194 | 143899.0248 | 301899.3848 | 59.9307 | 38.1
18566 | 2021-02-18 14:26 | 47.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.137 | μmol/L | 34.7561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.199 | 143911.0095 | 301872.6343 | 59.9307 | 38.1
18576 | 2021-02-18 14:27 | 47.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1309 | μmol/L | 34.7439 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.204 | 143951.0502 | 301862.3537 | 59.9307 | 38.1
18586 | 2021-02-18 14:27 | 47.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1535 | μmol/L | 34.7316 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.207 | 143943.7127 | 301855.628 | 59.9307 | 38.1
18596 | 2021-02-18 14:27 | 48.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1678 | μmol/L | 34.7316 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.206 | 143922.8922 | 301836.8014 | 59.9307 | 38.1
18606 | 2021-02-18 14:28 | 48.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2334 | μmol/L | 34.7193 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.206 | 143911.8045 | 301816.4601 | 59.9307 | 38.1
18616 | 2021-02-18 14:28 | 48.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1576 | μmol/L | 34.7255 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.209 | 143911.4513 | 301802.5125 | 59.9307 | 38.1
18626 | 2021-02-18 14:28 | 49.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2273 | μmol/L | 34.707 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.211 | 143936.0846 | 301793.7052 | 59.9307 | 38.1
18636 | 2021-02-18 14:29 | 49.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.254 | μmol/L | 34.6886 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.216 | 143967.737 | 301776.7348 | 59.9307 | 38.1
18647 | 2021-02-18 14:29 | 49.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1577 | μmol/L | 34.6825 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.225 | 143994.372 | 301766.9038 | 59.9307 | 38.1
18656 | 2021-02-18 14:29 | 50.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0288 | μmol/L | 34.6825 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.234 | 144020.0868 | 301750.5031 | 59.9307 | 38.1
18666 | 2021-02-18 14:30 | 50.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0759 | μmol/L | 34.6764 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.233 | 144036.9506 | 301735.6286 | 59.9307 | 38.1
18676 | 2021-02-18 14:30 | 50.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1127 | μmol/L | 34.6641 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.235 | 144014.5264 | 301721.9439 | 59.9307 | 38.1
18687 | 2021-02-18 14:30 | 51.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2395 | μmol/L | 34.6457 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.233 | 144002.4933 | 301696.7106 | 59.9307 | 38.1
18696 | 2021-02-18 14:31 | 51.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1454 | μmol/L | 34.658 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.235 | 144008.7303 | 301689.2153 | 59.9307 | 38.1
18707 | 2021-02-18 14:31 | 51.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0881 | μmol/L | 34.658 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.239 | 144019.2504 | 301670.5572 | 59.9307 | 38.1
18716 | 2021-02-18 14:31 | 52.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.219 | μmol/L | 34.6334 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.239 | 144011.4237 | 301670.4962 | 59.9307 | 38.1
18727 | 2021-02-18 14:32 | 52.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1187 | μmol/L | 34.6334 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.246 | 144024.5073 | 301646.9308 | 59.9307 | 38.1
18736 | 2021-02-18 14:32 | 52.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1801 | μmol/L | 34.6273 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.244 | 144008.0315 | 301627.3278 | 59.9307 | 38.1
18746 | 2021-02-18 14:32 | 53.0008 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1555 | μmol/L | 34.6212 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.248 | 144014.86 | 301627.5073 | 59.9307 | 38.1
18757 | 2021-02-18 14:33 | 53.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1985 | μmol/L | 34.6212 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.245 | 143995.4103 | 301621.8081 | 59.9307 | 38.1
18767 | 2021-02-18 14:33 | 53.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.2576 | μmol/L | 34.5966 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.25 | 144005.7024 | 301595.4785 | 59.9307 | 38.1
18776 | 2021-02-18 14:33 | 54.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1676 | μmol/L | 34.6027 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.254 | 144040.4603 | 301589.9489 | 59.9307 | 38.1
18787 | 2021-02-18 14:34 | 54.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1001 | μmol/L | 34.5966 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.261 | 144067.9762 | 301577.8881 | 59.9307 | 38.1
18796 | 2021-02-18 14:34 | 54.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0898 | μmol/L | 34.5905 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.264 | 144083.2159 | 301558.8784 | 59.9307 | 38.1
18806 | 2021-02-18 14:34 | 55.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1225 | μmol/L | 34.5843 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.264 | 144103.2129 | 301536.2274 | 59.9307 | 38.1
18816 | 2021-02-18 14:35 | 55.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1203 | μmol/L | 34.5659 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.271 | 144113.2406 | 301531.9929 | 59.9307 | 38.1
18827 | 2021-02-18 14:35 | 55.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.1936 | μmol/L | 34.5414 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.275 | 144133.4395 | 301520.5071 | 59.9307 | 38.1
18837 | 2021-02-18 14:35 | 56.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 161.0648 | μmol/L | 34.5414 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.284 | 144169.2048 | 301496.1988 | 59.9307 | 38.1
18846 | 2021-02-18 14:36 | 56.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9933 | μmol/L | 34.5414 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.289 | 144227.3055 | 301479.9186 | 59.9307 | 38.1
18857 | 2021-02-18 14:36 | 56.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9402 | μmol/L | 34.5353 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.295 | 144233.9108 | 301477.9305 | 59.9307 | 38.1
18867 | 2021-02-18 14:36 | 57.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9013 | μmol/L | 34.5291 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.3 | 144259.898 | 301470.5728 | 59.9307 | 38.1
18876 | 2021-02-18 14:37 | 57.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9665 | μmol/L | 34.5169 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.3 | 144272.6479 | 301454.7689 | 59.9307 | 38.1
18887 | 2021-02-18 14:37 | 57.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9927 | μmol/L | 34.4984 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.305 | 144282.8919 | 301429.9632 | 59.9307 | 38.1
18896 | 2021-02-18 14:37 | 58.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.9316 | μmol/L | 34.5046 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.307 | 144286.7042 | 301416.7212 | 59.9307 | 38.1
18907 | 2021-02-18 14:38 | 58.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.8602 | μmol/L | 34.5046 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.312 | 144300.1779 | 301415.6223 | 59.9307 | 38.1
18916 | 2021-02-18 14:38 | 58.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.915 | μmol/L | 34.4862 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.315 | 144336.6951 | 301404.5377 | 59.9307 | 38.1
18927 | 2021-02-18 14:38 | 59.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.8389 | μmol/L | 34.4494 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.334 | 144426.6992 | 301385.4359 | 59.9307 | 38.1
18936 | 2021-02-18 14:39 | 59.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.8532 | μmol/L | 34.4494 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.333 | 144454.7965 | 301380.4699 | 59.9307 | 38.1
18946 | 2021-02-18 14:39 | 59.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.7185 | μmol/L | 34.4371 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.347 | 144521.62 | 301354.6352 | 59.9307 | 38.1
18956 | 2021-02-18 14:39 | 60.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.686 | μmol/L | 34.4432 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.347 | 144533.8185 | 301350.444 | 59.9307 | 38.1
18967 | 2021-02-18 14:40 | 60.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.5578 | μmol/L | 34.4432 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.356 | 144595.8757 | 301338.4113 | 59.9307 | 38.1
18976 | 2021-02-18 14:40 | 60.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.4922 | μmol/L | 34.4126 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.372 | 144670.3176 | 301333.3894 | 59.9307 | 38.1
18986 | 2021-02-18 14:40 | 61.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.3382 | μmol/L | 34.431 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.376 | 144690.5986 | 301327.8623 | 59.9307 | 38.1
18996 | 2021-02-18 14:41 | 61.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.3524 | μmol/L | 34.431 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.375 | 144694.9662 | 301315.9036 | 59.9307 | 38.1
19007 | 2021-02-18 14:41 | 61.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.2348 | μmol/L | 34.4371 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.381 | 144725.2671 | 301299.8706 | 59.9307 | 38.1
19016 | 2021-02-18 14:41 | 62.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 160.0992 | μmol/L | 34.4494 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.386 | 144764.442 | 301289.9675 | 59.9307 | 38.1
19026 | 2021-02-18 14:42 | 62.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.9818 | μmol/L | 34.4555 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.392 | 144790.2802 | 301278.2307 | 59.9307 | 38.1
19036 | 2021-02-18 14:42 | 62.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.8078 | μmol/L | 34.4616 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.402 | 144848.8259 | 301267.3272 | 59.9307 | 38.1
19047 | 2021-02-18 14:42 | 63.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.7008 | μmol/L | 34.4739 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.405 | 144876.5729 | 301253.9687 | 59.9307 | 38.1
19056 | 2021-02-18 14:43 | 63.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.6442 | μmol/L | 34.4739 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.409 | 144918.2882 | 301232.6673 | 59.9307 | 38.1
19066 | 2021-02-18 14:43 | 63.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.4344 | μmol/L | 34.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.417 | 144948.9589 | 301221.8225 | 59.9307 | 38.1
19077 | 2021-02-18 14:43 | 64.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.4203 | μmol/L | 34.4923 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.418 | 144980.7534 | 301214.5404 | 59.9307 | 38.1
19086 | 2021-02-18 14:44 | 64.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.2893 | μmol/L | 34.4984 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.425 | 145010.4093 | 301228.6033 | 59.9307 | 38.1
19096 | 2021-02-18 14:44 | 64.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.1826 | μmol/L | 34.5107 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.428 | 145053.0726 | 301207.9016 | 59.9307 | 38.1
19106 | 2021-02-18 14:44 | 65.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 159.0096 | μmol/L | 34.5169 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.438 | 145079.4502 | 301197.8058 | 59.9307 | 38.1
19116 | 2021-02-18 14:45 | 65.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.8609 | μmol/L | 34.5291 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.444 | 145127.3477 | 301176.6857 | 59.9307 | 38.1
19126 | 2021-02-18 14:45 | 65.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.6842 | μmol/L | 34.5414 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.452 | 145193.449 | 301178.8108 | 59.9307 | 38.1
19136 | 2021-02-18 14:45 | 66.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.4697 | μmol/L | 34.5475 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.465 | 145298.9196 | 301179.4124 | 59.9307 | 38.1
19147 | 2021-02-18 14:46 | 66.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.2474 | μmol/L | 34.5659 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.474 | 145379.9705 | 301159.206 | 59.9307 | 38.1
19156 | 2021-02-18 14:46 | 66.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 158.0435 | μmol/L | 34.5782 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.484 | 145425.7896 | 301147.2335 | 59.9307 | 38.1
19167 | 2021-02-18 14:46 | 67.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.9416 | μmol/L | 34.5843 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.489 | 145482.5209 | 301147.8083 | 59.9307 | 38.1
19176 | 2021-02-18 14:47 | 67.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.7659 | μmol/L | 34.5966 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.497 | 145535.9393 | 301136.1995 | 59.9307 | 38.1
19187 | 2021-02-18 14:47 | 67.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.5487 | μmol/L | 34.6089 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.508 | 145598.7554 | 301122.2178 | 59.9307 | 38.1
19196 | 2021-02-18 14:47 | 68.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.4152 | μmol/L | 34.6212 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.513 | 145641.1715 | 301119.6545 | 59.9307 | 38.1
19206 | 2021-02-18 14:48 | 68.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.2859 | μmol/L | 34.6273 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.52 | 145703.3718 | 301099.4552 | 59.9307 | 38.1
19216 | 2021-02-18 14:48 | 68.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.129 | μmol/L | 34.6334 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.529 | 145774.6389 | 301093.4256 | 59.9307 | 38.1
19227 | 2021-02-18 14:48 | 69.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.9543 | μmol/L | 34.6457 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.537 | 145794.9129 | 301091.8317 | 59.9307 | 38.1
19236 | 2021-02-18 14:49 | 69.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.0944 | μmol/L | 34.6641 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.52 | 145726.8699 | 301100.4805 | 59.9307 | 38.1
19247 | 2021-02-18 14:49 | 69.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 157.068 | μmol/L | 34.6825 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.515 | 145675.1657 | 301077.4908 | 59.9307 | 38.1
19256 | 2021-02-18 14:49 | 70.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.871 | μmol/L | 34.707 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.52 | 145669.2859 | 301072.1062 | 59.9307 | 38.1
19267 | 2021-02-18 14:50 | 70.3343 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.7933 | μmol/L | 34.7193 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.521 | 145694.0259 | 301066.409 | 59.9307 | 38.1
19276 | 2021-02-18 14:50 | 70.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.7199 | μmol/L | 34.7255 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.524 | 145689.0195 | 301053.3345 | 59.9307 | 38.1
19286 | 2021-02-18 14:50 | 71.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.6976 | μmol/L | 34.7377 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.521 | 145663.8186 | 301030.8102 | 59.9307 | 38.1
19296 | 2021-02-18 14:51 | 71.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.6158 | μmol/L | 34.7561 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.52 | 145673.997 | 301033.3851 | 59.9307 | 38.1
19306 | 2021-02-18 14:51 | 71.6676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.8054 | μmol/L | 34.7623 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.504 | 145577.8892 | 301009.6525 | 59.9307 | 38.1
19317 | 2021-02-18 14:51 | 72.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.9079 | μmol/L | 34.7745 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.492 | 145472.2282 | 301015.601 | 59.9307 | 38.1
19326 | 2021-02-18 14:52 | 72.3342 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.8632 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.486 | 145431.7961 | 301002.0557 | 59.9307 | 38.1
19336 | 2021-02-18 14:52 | 72.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.7523 | μmol/L | 34.7991 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.494 | 145462.816 | 300996.1944 | 59.9307 | 38.1
19346 | 2021-02-18 14:52 | 73.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.5552 | μmol/L | 34.8236 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.499 | 145499.0434 | 300972.0645 | 59.9307 | 38.1
19356 | 2021-02-18 14:53 | 73.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.4265 | μmol/L | 34.8298 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.506 | 145542.8992 | 300955.0294 | 59.9307 | 38.1
19366 | 2021-02-18 14:53 | 73.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.3574 | μmol/L | 34.8298 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.511 | 145597.2732 | 300960.8253 | 59.9307 | 38.1
19377 | 2021-02-18 14:53 | 74.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.2012 | μmol/L | 34.8359 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.52 | 145644.865 | 300969.4158 | 59.9307 | 38.1
19387 | 2021-02-18 14:54 | 74.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 156.0823 | μmol/L | 34.8482 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.524 | 145679.3037 | 300944.221 | 59.9307 | 38.1
19397 | 2021-02-18 14:54 | 74.6675 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.9634 | μmol/L | 34.8604 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.528 | 145702.7703 | 300935.8087 | 59.9307 | 38.1
19407 | 2021-02-18 14:54 | 75.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.8721 | μmol/L | 34.8727 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.53 | 145701.9995 | 300940.4677 | 59.9307 | 38.1
19417 | 2021-02-18 14:55 | 75.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.9729 | μmol/L | 34.8666 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.525 | 145677.3238 | 300934.7734 | 59.9307 | 38.1
19426 | 2021-02-18 14:55 | 75.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.7267 | μmol/L | 34.9034 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.529 | 145713.0855 | 300916.8484 | 59.9307 | 38.1
19436 | 2021-02-18 14:55 | 76.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.676 | μmol/L | 34.8973 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.535 | 145735.8609 | 300916.2543 | 59.9307 | 38.1
19447 | 2021-02-18 14:56 | 76.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.5617 | μmol/L | 34.9034 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.541 | 145757.8046 | 300908.2704 | 59.9307 | 38.1
19456 | 2021-02-18 14:56 | 76.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.4793 | μmol/L | 34.9034 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.547 | 145803.2759 | 300898.7831 | 59.9307 | 38.1
19467 | 2021-02-18 14:56 | 77.0009 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.3428 | μmol/L | 34.9218 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.55 | 145814.835 | 300891.0001 | 59.9307 | 38.1
19476 | 2021-02-18 14:57 | 77.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.3291 | μmol/L | 34.9218 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.551 | 145832.8777 | 300882.6847 | 59.9307 | 38.1
19487 | 2021-02-18 14:57 | 77.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.2561 | μmol/L | 34.9279 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.554 | 145862.5393 | 300894.2111 | 59.9307 | 38.1
19496 | 2021-02-18 14:57 | 78.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 155.2244 | μmol/L | 34.9341 | °C | 1000 | hPa | Humid | 28 | 1 | 0 | 21.554 | 145862.8444 | 300891.7733 | 59.9307 | 38.1