## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19518 | 2021-02-18 15:34 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7608 | μmol/L | 37.1062 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.739 | 113658.7481 | 216072.3134 | 27.3 | 43.4 | #N/A
19528 | 2021-02-18 15:34 | 0.33703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6395 | μmol/L | 37.1369 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.735 | 113680.8087 | 216080.0321 | 27.3 | 43.4 | #N/A
19538 | 2021-02-18 15:35 | 0.67045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3536 | μmol/L | 37.1738 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.74 | 113682.0471 | 216069.487 | 27.3 | 43.4 | #N/A
19548 | 2021-02-18 15:35 | 1.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.4685 | μmol/L | 37.1984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.722 | 113590.7537 | 216073.8604 | 27.3 | 43.4 | #N/A
19558 | 2021-02-18 15:35 | 1.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7627 | μmol/L | 37.2045 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.699 | 113459.8269 | 216066.9514 | 27.3 | 43.4 | #N/A
19568 | 2021-02-18 15:36 | 1.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.842 | μmol/L | 37.2229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.686 | 113335.589 | 216063.526 | 27.3 | 43.4 | #N/A | -0.17623 | 10.5739
19578 | 2021-02-18 15:36 | 2.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.8496 | μmol/L | 37.2659 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.668 | 113265.7253 | 216073.3442 | 27.3 | 43.4 | #N/A | 158.0277
19588 | 2021-02-18 15:36 | 2.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7059 | μmol/L | 37.2905 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.668 | 113254.238 | 216047.939 | 27.3 | 43.4 | #N/A
19598 | 2021-02-18 15:37 | 2.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.4258 | μmol/L | 37.3335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.67 | 113266.2083 | 216057.4447 | 27.3 | 43.4 | #N/A
19608 | 2021-02-18 15:37 | 3.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0882 | μmol/L | 37.4011 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.666 | 113284.746 | 216046.6447 | 27.3 | 43.4 | #N/A
19618 | 2021-02-18 15:37 | 3.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7658 | μmol/L | 37.4318 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.676 | 113328.2369 | 216048.4703 | 27.3 | 43.4 | #N/A
19628 | 2021-02-18 15:38 | 3.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6585 | μmol/L | 37.438 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.681 | 113364.692 | 216028.677 | 27.3 | 43.4 | #N/A
19638 | 2021-02-18 15:38 | 4.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2779 | μmol/L | 37.5178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.675 | 113341.7853 | 216029.1084 | 27.3 | 43.4 | #N/A
19648 | 2021-02-18 15:38 | 4.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.1122 | μmol/L | 37.5608 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.669 | 113296.191 | 216030.3029 | 27.3 | 43.4 | #N/A
19658 | 2021-02-18 15:39 | 4.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.947 | μmol/L | 37.5915 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.668 | 113314.7 | 216026.5779 | 27.3 | 43.4 | #N/A
19668 | 2021-02-18 15:39 | 5.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.9321 | μmol/L | 37.6038 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.664 | 113290.0496 | 216029.9619 | 27.3 | 43.4 | #N/A
19678 | 2021-02-18 15:39 | 5.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.645 | μmol/L | 37.653 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.664 | 113280.5667 | 216015.1407 | 27.3 | 43.4 | #N/A
19688 | 2021-02-18 15:40 | 5.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.3712 | μmol/L | 37.7144 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.658 | 113253.8807 | 216022.414 | 27.3 | 43.4 | #N/A
19698 | 2021-02-18 15:40 | 6.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.3655 | μmol/L | 37.696 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.666 | 113287.3342 | 216024.9849 | 27.3 | 43.4 | #N/A
19708 | 2021-02-18 15:40 | 6.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.9079 | μmol/L | 37.7574 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.673 | 113327.7597 | 216019.7201 | 27.3 | 43.4 | #N/A
19718 | 2021-02-18 15:41 | 6.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.5238 | μmol/L | 37.7943 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.685 | 113383.1247 | 216011.8118 | 27.3 | 43.4 | #N/A
19728 | 2021-02-18 15:41 | 7.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.3652 | μmol/L | 37.8312 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.681 | 113362.322 | 216011.6585 | 27.3 | 43.4 | #N/A
19738 | 2021-02-18 15:41 | 7.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.3451 | μmol/L | 37.8496 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.674 | 113335.5152 | 216006.3832 | 27.3 | 43.4 | #N/A
19748 | 2021-02-18 15:42 | 7.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.0008 | μmol/L | 37.911 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.673 | 113302.8961 | 216003.4446 | 27.3 | 43.4 | #N/A
19758 | 2021-02-18 15:42 | 8.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.8048 | μmol/L | 37.9418 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.675 | 113301.1802 | 216005.0539 | 27.3 | 43.4 | #N/A
19768 | 2021-02-18 15:42 | 8.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7971 | μmol/L | 37.9479 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.673 | 113270.7599 | 216008.0746 | 27.3 | 43.4 | #N/A
19778 | 2021-02-18 15:43 | 8.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.5805 | μmol/L | 37.9971 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.668 | 113244.2957 | 216002.1736 | 27.3 | 43.4 | #N/A
19788 | 2021-02-18 15:43 | 9.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.3297 | μmol/L | 38.0401 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.668 | 113220.334 | 215994.5135 | 27.3 | 43.4 | #N/A
19798 | 2021-02-18 15:43 | 9.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0476 | μmol/L | 38.0769 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.672 | 113238.6112 | 215992.1134 | 27.3 | 43.4 | #N/A
19808 | 2021-02-18 15:44 | 9.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.9872 | μmol/L | 38.0892 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.672 | 113235.184 | 215999.4399 | 27.3 | 43.4 | #N/A
19818 | 2021-02-18 15:44 | 10.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8228 | μmol/L | 38.1322 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.665 | 113188.7626 | 215990.0384 | 27.3 | 43.4 | #N/A
19828 | 2021-02-18 15:44 | 10.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6217 | μmol/L | 38.1691 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.664 | 113166.3475 | 215994.9629 | 27.3 | 43.4 | #N/A
19838 | 2021-02-18 15:45 | 10.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6913 | μmol/L | 38.1691 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.659 | 113131.7776 | 215987.3858 | 27.3 | 43.4 | #N/A
19848 | 2021-02-18 15:45 | 11.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.4382 | μmol/L | 38.2244 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.654 | 113097.1299 | 215987.2301 | 27.3 | 43.4 | #N/A
19858 | 2021-02-18 15:45 | 11.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1768 | μmol/L | 38.2859 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.647 | 113058.0564 | 215982.8071 | 27.3 | 43.4 | #N/A
19868 | 2021-02-18 15:46 | 11.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.0993 | μmol/L | 38.292 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.65 | 113076.9183 | 215988.2156 | 27.3 | 43.4 | #N/A
19878 | 2021-02-18 15:46 | 12.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8841 | μmol/L | 38.3289 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.65 | 113081.4829 | 215971.8936 | 27.3 | 43.4 | #N/A
19888 | 2021-02-18 15:46 | 12.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.5971 | μmol/L | 38.378 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.65 | 113050.2952 | 215973.2541 | 27.3 | 43.4 | #N/A
19898 | 2021-02-18 15:47 | 12.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.5894 | μmol/L | 38.4149 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.635 | 112988.5662 | 215964.4084 | 27.3 | 43.4 | #N/A
19908 | 2021-02-18 15:47 | 13.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.4514 | μmol/L | 38.4456 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.632 | 113000.1563 | 215965.5848 | 27.3 | 43.4 | #N/A
19918 | 2021-02-18 15:47 | 13.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1447 | μmol/L | 38.4887 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.636 | 113010.4604 | 215969.6571 | 27.3 | 43.4 | #N/A
19928 | 2021-02-18 15:48 | 13.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0066 | μmol/L | 38.5194 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.633 | 113001.0379 | 215962.565 | 27.3 | 43.4 | #N/A
19938 | 2021-02-18 15:48 | 14.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0615 | μmol/L | 38.5501 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.616 | 112952.2051 | 215955.6854 | 27.3 | 43.4 | #N/A
19948 | 2021-02-18 15:48 | 14.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0941 | μmol/L | 38.587 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.598 | 112871.5271 | 215956.5094 | 27.3 | 43.4 | #N/A
19958 | 2021-02-18 15:49 | 14.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0635 | μmol/L | 38.5993 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.595 | 112849.5932 | 215958.3834 | 27.3 | 43.4 | #N/A
19968 | 2021-02-18 15:49 | 15.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2871 | μmol/L | 38.6177 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.571 | 112737.259 | 215962.7905 | 27.3 | 43.4 | #N/A
19978 | 2021-02-18 15:49 | 15.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2057 | μmol/L | 38.6669 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.556 | 112683.7767 | 215962.2506 | 27.3 | 43.4 | #N/A
19988 | 2021-02-18 15:50 | 15.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0527 | μmol/L | 38.6976 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.554 | 112686.4706 | 215958.7365 | 27.3 | 43.4 | #N/A
19998 | 2021-02-18 15:50 | 16.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2964 | μmol/L | 38.6915 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.539 | 112640.7777 | 215948.5248 | 27.3 | 43.4 | #N/A
20008 | 2021-02-18 15:50 | 16.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3178 | μmol/L | 38.716 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.527 | 112549.5154 | 215955.6096 | 27.3 | 43.4 | #N/A
20018 | 2021-02-18 15:51 | 16.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.9192 | μmol/L | 38.7837 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.527 | 112557.6 | 215946.1578 | 27.3 | 43.4 | #N/A
20028 | 2021-02-18 15:51 | 17.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0075 | μmol/L | 38.7898 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.518 | 112520.6755 | 215953.4796 | 27.3 | 43.4 | #N/A
20038 | 2021-02-18 15:51 | 17.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.229 | μmol/L | 38.7898 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.502 | 112480.8009 | 215957.2233 | 27.3 | 43.4 | #N/A
20048 | 2021-02-18 15:52 | 17.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0751 | μmol/L | 38.8205 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.5 | 112483.9576 | 215938.6767 | 27.3 | 43.4 | #N/A
20058 | 2021-02-18 15:52 | 18.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8556 | μmol/L | 38.839 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.508 | 112540.934 | 215952.7195 | 27.3 | 43.4 | #N/A
20068 | 2021-02-18 15:52 | 18.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.7778 | μmol/L | 38.8451 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.511 | 112563.5419 | 215954.1271 | 27.3 | 43.4 | #N/A
20078 | 2021-02-18 15:53 | 18.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.9869 | μmol/L | 38.8636 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.488 | 112450.936 | 215950.7911 | 27.3 | 43.4 | #N/A
20088 | 2021-02-18 15:53 | 19.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.025 | μmol/L | 38.8758 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.48 | 112367.6397 | 215954.8434 | 27.3 | 43.4 | #N/A
20098 | 2021-02-18 15:53 | 19.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.7405 | μmol/L | 38.9496 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.469 | 112325.3047 | 215953.7325 | 27.3 | 43.4 | #N/A
20108 | 2021-02-18 15:54 | 19.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8359 | μmol/L | 38.9312 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.47 | 112325.5642 | 215949.8305 | 27.3 | 43.4 | #N/A
20118 | 2021-02-18 15:54 | 20.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.5346 | μmol/L | 38.968 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.476 | 112390.2271 | 215942.4273 | 27.3 | 43.4 | #N/A
20128 | 2021-02-18 15:54 | 20.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3389 | μmol/L | 38.9988 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.477 | 112417.2067 | 215934.7285 | 27.3 | 43.4 | #N/A
20138 | 2021-02-18 15:55 | 20.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.7092 | μmol/L | 38.9619 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.466 | 112339.081 | 215937.7213 | 27.3 | 43.4 | #N/A
20148 | 2021-02-18 15:55 | 21.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3185 | μmol/L | 39.0418 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.46 | 112309.3692 | 215932.0068 | 27.3 | 43.4 | #N/A
20158 | 2021-02-18 15:55 | 21.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.1541 | μmol/L | 39.0602 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.464 | 112338.751 | 215926.5252 | 27.3 | 43.4 | #N/A
20168 | 2021-02-18 15:56 | 21.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0035 | μmol/L | 39.0787 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.467 | 112350.4713 | 215937.5914 | 27.3 | 43.4 | #N/A
20178 | 2021-02-18 15:56 | 22.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8846 | μmol/L | 39.0848 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.473 | 112384.1844 | 215921.0461 | 27.3 | 43.4 | #N/A
20188 | 2021-02-18 15:56 | 22.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.7802 | μmol/L | 39.1094 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.47 | 112383.8141 | 215938.64 | 27.3 | 43.4 | #N/A
20198 | 2021-02-18 15:57 | 22.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4658 | μmol/L | 39.1463 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.477 | 112408.1255 | 215925.4588 | 27.3 | 43.4 | #N/A
20208 | 2021-02-18 15:57 | 23.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4336 | μmol/L | 39.1401 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.482 | 112447.3642 | 215934.1397 | 27.3 | 43.4 | #N/A
20218 | 2021-02-18 15:57 | 23.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4473 | μmol/L | 39.1401 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.481 | 112443.4515 | 215933.4448 | 27.3 | 43.4 | #N/A
20228 | 2021-02-18 15:58 | 23.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.3109 | μmol/L | 39.1586 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.483 | 112452.7149 | 215919.5931 | 27.3 | 43.4 | #N/A
20238 | 2021-02-18 15:58 | 24.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.1877 | μmol/L | 39.1586 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.492 | 112501.1474 | 215915.3936 | 27.3 | 43.4 | #N/A
20248 | 2021-02-18 15:58 | 24.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.1428 | μmol/L | 39.1893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.482 | 112453.3251 | 215915.428 | 27.3 | 43.4 | #N/A
20258 | 2021-02-18 15:59 | 24.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.1248 | μmol/L | 39.2016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.478 | 112415.1295 | 215915.2216 | 27.3 | 43.4 | #N/A
20268 | 2021-02-18 15:59 | 25.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.0794 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.476 | 112410.0175 | 215915.3779 | 27.3 | 43.4 | #N/A
20278 | 2021-02-18 15:59 | 25.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.8337 | μmol/L | 39.2323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.486 | 112459.7105 | 215913.4423 | 27.3 | 43.4 | #N/A
20288 | 2021-02-18 16:00 | 25.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6338 | μmol/L | 39.2569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.49 | 112490.1353 | 215911.3334 | 27.3 | 43.4 | #N/A
20298 | 2021-02-18 16:00 | 26.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.5248 | μmol/L | 39.2754 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.49 | 112507.5091 | 215924.3259 | 27.3 | 43.4 | #N/A
20308 | 2021-02-18 16:00 | 26.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.4249 | μmol/L | 39.2692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.5 | 112514.2123 | 215908.0758 | 27.3 | 43.4 | #N/A
20318 | 2021-02-18 16:01 | 26.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3115 | μmol/L | 39.2631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.511 | 112591.9763 | 215921.6106 | 27.3 | 43.4 | #N/A
20328 | 2021-02-18 16:01 | 27.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.0695 | μmol/L | 39.2877 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.519 | 112651.1444 | 215904.4924 | 27.3 | 43.4 | #N/A
20338 | 2021-02-18 16:01 | 27.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.9265 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.518 | 112650.6796 | 215913.4304 | 27.3 | 43.4 | #N/A
20348 | 2021-02-18 16:02 | 27.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3025 | μmol/L | 39.2508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.517 | 112637.4607 | 215909.8138 | 27.3 | 43.4 | #N/A
20358 | 2021-02-18 16:02 | 28.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.0488 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.517 | 112625.5708 | 215913.363 | 27.3 | 43.4 | #N/A
20368 | 2021-02-18 16:02 | 28.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.9356 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.52 | 112635.9856 | 215913.5524 | 27.3 | 43.4 | #N/A
20378 | 2021-02-18 16:03 | 28.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.9538 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.524 | 112675.4966 | 215912.081 | 27.3 | 43.4 | #N/A
20388 | 2021-02-18 16:03 | 29.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7305 | μmol/L | 39.3061 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.536 | 112724.6176 | 215914.3108 | 27.3 | 43.4 | #N/A
20398 | 2021-02-18 16:03 | 29.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.6647 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.54 | 112764.764 | 215914.9469 | 27.3 | 43.4 | #N/A
20408 | 2021-02-18 16:04 | 29.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.66 | μmol/L | 39.3184 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.535 | 112723.7662 | 215914.268 | 27.3 | 43.4 | #N/A
20418 | 2021-02-18 16:04 | 30.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.8409 | μmol/L | 39.2877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.535 | 112713.3795 | 215915.7502 | 27.3 | 43.4 | #N/A
20428 | 2021-02-18 16:04 | 30.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.71 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.542 | 112765.2044 | 215921.2622 | 27.3 | 43.4 | #N/A
20438 | 2021-02-18 16:05 | 30.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.6106 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.544 | 112771.8462 | 215915.258 | 27.3 | 43.4 | #N/A
20448 | 2021-02-18 16:05 | 31.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.66 | μmol/L | 39.3184 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.535 | 112712.3755 | 215907.7562 | 27.3 | 43.4 | #N/A
20458 | 2021-02-18 16:05 | 31.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7503 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.531 | 112694.3648 | 215900.7346 | 27.3 | 43.4 | #N/A
20468 | 2021-02-18 16:06 | 31.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.6056 | μmol/L | 39.3368 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.531 | 112694.5851 | 215907.1831 | 27.3 | 43.4 | #N/A
20478 | 2021-02-18 16:06 | 32.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5292 | μmol/L | 39.3245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.542 | 112754.2752 | 215905.7177 | 27.3 | 43.4 | #N/A
20488 | 2021-02-18 16:06 | 32.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.6153 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.549 | 112770.0261 | 215904.6866 | 27.3 | 43.4 | #N/A
20498 | 2021-02-18 16:07 | 32.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7146 | μmol/L | 39.2815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.547 | 112768.922 | 215905.0779 | 27.3 | 43.4 | #N/A
20508 | 2021-02-18 16:07 | 33.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.796 | μmol/L | 39.2631 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.549 | 112781.7725 | 215903.4666 | 27.3 | 43.4 | #N/A
20518 | 2021-02-18 16:07 | 33.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.4072 | μmol/L | 39.343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.543 | 112767.6795 | 215907.9842 | 27.3 | 43.4 | #N/A
20528 | 2021-02-18 16:08 | 33.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5747 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.552 | 112787.4405 | 215908.113 | 27.3 | 43.4 | #N/A
20538 | 2021-02-18 16:08 | 34.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5521 | μmol/L | 39.3 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.551 | 112815.8291 | 215909.2241 | 27.3 | 43.4 | #N/A
20548 | 2021-02-18 16:08 | 34.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.2322 | μmol/L | 39.3245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.564 | 112839.4675 | 215907.671 | 27.3 | 43.4 | #N/A
20558 | 2021-02-18 16:09 | 34.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.3266 | μmol/L | 39.3245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.557 | 112853.1063 | 215916.9992 | 27.3 | 43.4 | #N/A
20568 | 2021-02-18 16:09 | 35.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.2639 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.567 | 112871.4865 | 215903.1193 | 27.3 | 43.4 | #N/A
20578 | 2021-02-18 16:09 | 35.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.2504 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.568 | 112885.0309 | 215911.9285 | 27.3 | 43.4 | #N/A
20588 | 2021-02-18 16:10 | 35.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.4354 | μmol/L | 39.2692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.573 | 112907.2894 | 215916.7176 | 27.3 | 43.4 | #N/A
20598 | 2021-02-18 16:10 | 36.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1743 | μmol/L | 39.3 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.579 | 112941.9803 | 215909.521 | 27.3 | 43.4 | #N/A
20608 | 2021-02-18 16:10 | 36.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.242 | μmol/L | 39.2815 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.582 | 112993.216 | 215908.8933 | 27.3 | 43.4 | #N/A
20618 | 2021-02-18 16:11 | 36.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0622 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.59 | 113014.9355 | 215918.9048 | 27.3 | 43.4 | #N/A
20628 | 2021-02-18 16:11 | 37.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.9004 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.594 | 113030.6291 | 215919.9447 | 27.3 | 43.4 | #N/A
20638 | 2021-02-18 16:11 | 37.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0171 | μmol/L | 39.3061 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.588 | 112999.0944 | 215921.6107 | 27.3 | 43.4 | #N/A
20648 | 2021-02-18 16:12 | 37.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.9945 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.587 | 113011.5041 | 215920.1561 | 27.3 | 43.4 | #N/A
20658 | 2021-02-18 16:12 | 38.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8735 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.596 | 113049.7553 | 215927.0501 | 27.3 | 43.4 | #N/A
20668 | 2021-02-18 16:12 | 38.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6855 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.61 | 113121.3281 | 215914.0559 | 27.3 | 43.4 | #N/A
20678 | 2021-02-18 16:13 | 38.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6591 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.62 | 113192.3277 | 215921.2982 | 27.3 | 43.4 | #N/A
20688 | 2021-02-18 16:13 | 39.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8162 | μmol/L | 39.2692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.619 | 113190.1136 | 215933.7041 | 27.3 | 43.4 | #N/A
20698 | 2021-02-18 16:13 | 39.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7262 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.615 | 113178.3058 | 215930.2313 | 27.3 | 43.4 | #N/A
20708 | 2021-02-18 16:14 | 39.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6682 | μmol/L | 39.2877 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.622 | 113204.1156 | 215932.8427 | 27.3 | 43.4 | #N/A
20718 | 2021-02-18 16:14 | 40.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0453 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.626 | 113240.3715 | 215916.7752 | 27.3 | 43.4 | #N/A
20728 | 2021-02-18 16:14 | 40.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8302 | μmol/L | 39.2323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.634 | 113280.1046 | 215933.8278 | 27.3 | 43.4 | #N/A
20738 | 2021-02-18 16:15 | 40.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7897 | μmol/L | 39.2508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.629 | 113242.5202 | 215931.5709 | 27.3 | 43.4 | #N/A
20748 | 2021-02-18 16:15 | 41.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8031 | μmol/L | 39.2508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.628 | 113225.1002 | 215923.9548 | 27.3 | 43.4 | #N/A
20758 | 2021-02-18 16:15 | 41.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8477 | μmol/L | 39.2569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.622 | 113204.7575 | 215923.339 | 27.3 | 43.4 | #N/A
20768 | 2021-02-18 16:16 | 41.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8524 | μmol/L | 39.2446 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.627 | 113250.2475 | 215939.9719 | 27.3 | 43.4 | #N/A
20778 | 2021-02-18 16:16 | 42.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8168 | μmol/L | 39.2323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.635 | 113297.3989 | 215934.9129 | 27.3 | 43.4 | #N/A
20788 | 2021-02-18 16:16 | 42.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7946 | μmol/L | 39.22 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.642 | 113342.7791 | 215935.3891 | 27.3 | 43.4 | #N/A
20798 | 2021-02-18 16:17 | 42.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.9379 | μmol/L | 39.1955 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.642 | 113351.2459 | 215940.1853 | 27.3 | 43.4 | #N/A
20808 | 2021-02-18 16:17 | 43.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.817 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.643 | 113321.5182 | 215927.4252 | 27.3 | 43.4 | #N/A
20818 | 2021-02-18 16:17 | 43.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8707 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.639 | 113331.8854 | 215939.9627 | 27.3 | 43.4 | #N/A
20828 | 2021-02-18 16:18 | 43.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7633 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.647 | 113373.7237 | 215945.0402 | 27.3 | 43.4 | #N/A
20838 | 2021-02-18 16:18 | 44.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7859 | μmol/L | 39.1893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.656 | 113420.2489 | 215940.5162 | 27.3 | 43.4 | #N/A
20848 | 2021-02-18 16:18 | 44.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6429 | μmol/L | 39.1955 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.664 | 113483.593 | 215938.6444 | 27.3 | 43.4 | #N/A
20858 | 2021-02-18 16:19 | 44.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.0409 | μmol/L | 39.134 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.661 | 113476.4662 | 215954.4433 | 27.3 | 43.4 | #N/A
20868 | 2021-02-18 16:19 | 45.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6786 | μmol/L | 39.1893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.664 | 113479.8191 | 215954.3187 | 27.3 | 43.4 | #N/A
20878 | 2021-02-18 16:19 | 45.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4285 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.672 | 113544.4788 | 215957.5304 | 27.3 | 43.4 | #N/A
20888 | 2021-02-18 16:20 | 45.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.1033 | μmol/L | 39.2262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.691 | 113649.5275 | 215961.9499 | 27.3 | 43.4 | #N/A
20898 | 2021-02-18 16:20 | 46.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.9391 | μmol/L | 39.22 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.706 | 113733.9797 | 215955.9294 | 27.3 | 43.4 | #N/A
20908 | 2021-02-18 16:20 | 46.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0906 | μmol/L | 39.1893 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.708 | 113745.7053 | 215959.5917 | 27.3 | 43.4 | #N/A
20918 | 2021-02-18 16:21 | 46.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0593 | μmol/L | 39.2016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.705 | 113733.7504 | 215960.6032 | 27.3 | 43.4 | #N/A
20928 | 2021-02-18 16:21 | 47.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8063 | μmol/L | 39.2016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.724 | 113811.0557 | 215961.135 | 27.3 | 43.4 | #N/A
20938 | 2021-02-18 16:21 | 47.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8239 | μmol/L | 39.2078 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.72 | 113819.9188 | 215953.9448 | 27.3 | 43.4 | #N/A
20948 | 2021-02-18 16:22 | 47.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8059 | μmol/L | 39.22 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.716 | 113789.2425 | 215962.0632 | 27.3 | 43.4 | #N/A
20958 | 2021-02-18 16:22 | 48.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.9967 | μmol/L | 39.2262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.699 | 113671.4842 | 215964.5966 | 27.3 | 43.4 | #N/A
20968 | 2021-02-18 16:22 | 48.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4198 | μmol/L | 39.2016 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.678 | 113555.3065 | 215964.4343 | 27.3 | 43.4 | #N/A
20978 | 2021-02-18 16:23 | 48.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.3079 | μmol/L | 39.2323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.673 | 113534.7751 | 215968.6887 | 27.3 | 43.4 | #N/A
20988 | 2021-02-18 16:23 | 49.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.174 | μmol/L | 39.2508 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.675 | 113527.0202 | 215957.5921 | 27.3 | 43.4 | #N/A
20998 | 2021-02-18 16:23 | 49.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.2054 | μmol/L | 39.2385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.678 | 113558.0068 | 215975.1032 | 27.3 | 43.4 | #N/A
21008 | 2021-02-18 16:24 | 49.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.3346 | μmol/L | 39.2323 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.671 | 113494.5224 | 215972.0609 | 27.3 | 43.4 | #N/A
21018 | 2021-02-18 16:24 | 50.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.1735 | μmol/L | 39.2692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.667 | 113479.9662 | 215981.0873 | 27.3 | 43.4 | #N/A
21028 | 2021-02-18 16:24 | 50.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.1649 | μmol/L | 39.2569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.673 | 113535.1198 | 215993.6423 | 27.3 | 43.4 | #N/A
21038 | 2021-02-18 16:25 | 50.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0401 | μmol/L | 39.2692 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.677 | 113551.4115 | 215976.938 | 27.3 | 43.4 | #N/A
21048 | 2021-02-18 16:25 | 51.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.2902 | μmol/L | 39.2262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.677 | 113544.3276 | 215990.5495 | 27.3 | 43.4 | #N/A
21058 | 2021-02-18 16:25 | 51.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8705 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.679 | 113532.8233 | 215981.3526 | 27.3 | 43.4 | #N/A
21068 | 2021-02-18 16:26 | 51.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8305 | μmol/L | 39.2938 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.682 | 113560.4153 | 215983.2877 | 27.3 | 43.4 | #N/A
21078 | 2021-02-18 16:26 | 52.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.9782 | μmol/L | 39.2569 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.687 | 113609.0163 | 215989.7613 | 27.3 | 43.4 | #N/A
21088 | 2021-02-18 16:26 | 52.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.431 | μmol/L | 39.3123 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.704 | 113691.3243 | 215996.1717 | 27.3 | 43.4 | #N/A
21098 | 2021-02-18 16:27 | 52.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.1609 | μmol/L | 39.3245 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.719 | 113783.7951 | 215989.1568 | 27.3 | 43.4 | #N/A
21108 | 2021-02-18 16:27 | 53.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.9797 | μmol/L | 39.3307 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.73 | 113839.6281 | 215978.418 | 27.3 | 43.4 | #N/A
21118 | 2021-02-18 16:27 | 53.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.8739 | μmol/L | 39.3307 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.738 | 113874.3145 | 215984.6134 | 27.3 | 43.4 | #N/A
21128 | 2021-02-18 16:28 | 53.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.6932 | μmol/L | 39.3368 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.749 | 113936.4633 | 215980.9991 | 27.3 | 43.4 | #N/A
21138 | 2021-02-18 16:28 | 54.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.4183 | μmol/L | 39.3799 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.751 | 113962.5028 | 215982.1325 | 27.3 | 43.4 | #N/A
21148 | 2021-02-18 16:28 | 54.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.4944 | μmol/L | 39.3553 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.756 | 113986.3239 | 215981.5748 | 27.3 | 43.4 | #N/A
21158 | 2021-02-18 16:29 | 54.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.388 | μmol/L | 39.3737 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.756 | 113972.7401 | 215986.5978 | 27.3 | 43.4 | #N/A
21168 | 2021-02-18 16:29 | 55.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.4853 | μmol/L | 39.3614 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.754 | 113940.8434 | 215995.9912 | 27.3 | 43.4 | #N/A
21178 | 2021-02-18 16:29 | 55.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3146 | μmol/L | 39.4229 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.74 | 113867.7632 | 215983.2752 | 27.3 | 43.4 | #N/A
21188 | 2021-02-18 16:30 | 55.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3975 | μmol/L | 39.429 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.731 | 113790.402 | 215993.3254 | 27.3 | 43.4 | #N/A
21198 | 2021-02-18 16:30 | 56.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0157 | μmol/L | 39.4905 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.733 | 113809.4518 | 215999.8198 | 27.3 | 43.4 | #N/A
21208 | 2021-02-18 16:30 | 56.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8248 | μmol/L | 39.5213 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.734 | 113839.0987 | 215996.5408 | 27.3 | 43.4 | #N/A
21218 | 2021-02-18 16:31 | 56.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0551 | μmol/L | 39.4905 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.73 | 113798.4383 | 215993.7296 | 27.3 | 43.4 | #N/A
21228 | 2021-02-18 16:31 | 57.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2432 | μmol/L | 39.4967 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.713 | 113672.4597 | 215990.1845 | 27.3 | 43.4 | #N/A
21238 | 2021-02-18 16:31 | 57.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0579 | μmol/L | 39.5581 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.7 | 113598.8267 | 215994.5864 | 27.3 | 43.4 | #N/A
21248 | 2021-02-18 16:32 | 57.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2121 | μmol/L | 39.552 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.691 | 113557.4284 | 215992.26 | 27.3 | 43.4 | #N/A
21258 | 2021-02-18 16:32 | 58.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1972 | μmol/L | 39.5704 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.684 | 113491.9551 | 215995.2899 | 27.3 | 43.4 | #N/A
21268 | 2021-02-18 16:32 | 58.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2367 | μmol/L | 39.5704 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.681 | 113470.7005 | 216000.1274 | 27.3 | 43.4 | #N/A
21278 | 2021-02-18 16:33 | 58.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1445 | μmol/L | 39.5704 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.688 | 113505.1063 | 215991.9762 | 27.3 | 43.4 | #N/A
21288 | 2021-02-18 16:33 | 59.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9398 | μmol/L | 39.6012 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.69 | 113540.6665 | 216011.1949 | 27.3 | 43.4 | #N/A
21298 | 2021-02-18 16:33 | 59.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8778 | μmol/L | 39.6073 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.692 | 113543.3655 | 215997.8525 | 27.3 | 43.4 | #N/A
21308 | 2021-02-18 16:34 | 59.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6695 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.697 | 113551.7056 | 216004.0584 | 27.3 | 43.4 | #N/A
21318 | 2021-02-18 16:34 | 60.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8928 | μmol/L | 39.5889 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.699 | 113560.5299 | 215995.3124 | 27.3 | 43.4 | #N/A
21328 | 2021-02-18 16:34 | 60.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6883 | μmol/L | 39.6196 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.701 | 113603.1813 | 216000.7258 | 27.3 | 43.4 | #N/A
21338 | 2021-02-18 16:35 | 60.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.5777 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.704 | 113601.953 | 215988.7241 | 27.3 | 43.4 | #N/A
21348 | 2021-02-18 16:35 | 61.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.4503 | μmol/L | 39.6381 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.711 | 113647.4453 | 216007.1213 | 27.3 | 43.4 | #N/A
21358 | 2021-02-18 16:35 | 61.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.082 | μmol/L | 39.6565 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.731 | 113742.1728 | 216009.7133 | 27.3 | 43.4 | #N/A
21368 | 2021-02-18 16:36 | 61.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.7147 | μmol/L | 39.6749 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.751 | 113873.5359 | 215994.3468 | 27.3 | 43.4 | #N/A
21378 | 2021-02-18 16:36 | 62.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9334 | μmol/L | 39.6258 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.756 | 113914.0696 | 216003.839 | 27.3 | 43.4 | #N/A
21388 | 2021-02-18 16:36 | 62.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9682 | μmol/L | 39.6626 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.737 | 113782.6586 | 216003.9973 | 27.3 | 43.4 | #N/A
21398 | 2021-02-18 16:37 | 62.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.7976 | μmol/L | 39.7057 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.731 | 113742.0781 | 215996.2473 | 27.3 | 43.4 | #N/A
21408 | 2021-02-18 16:37 | 63.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9362 | μmol/L | 39.6749 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.734 | 113732.4779 | 215997.4131 | 27.3 | 43.4 | #N/A
21418 | 2021-02-18 16:37 | 63.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.172 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.735 | 113763.9787 | 215997.766 | 27.3 | 43.4 | #N/A
21428 | 2021-02-18 16:38 | 63.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9965 | μmol/L | 39.6442 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.743 | 113827.3827 | 215990.8079 | 27.3 | 43.4 | #N/A
21438 | 2021-02-18 16:38 | 64.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.9551 | μmol/L | 39.6626 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.738 | 113788.1502 | 215988.987 | 27.3 | 43.4 | #N/A
21448 | 2021-02-18 16:38 | 64.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.7704 | μmol/L | 39.6811 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.744 | 113824.8173 | 216006.5646 | 27.3 | 43.4 | #N/A
21458 | 2021-02-18 16:39 | 64.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3468 | μmol/L | 39.7364 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.752 | 113855.109 | 215993.6423 | 27.3 | 43.4 | #N/A
21468 | 2021-02-18 16:39 | 65.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.166 | μmol/L | 39.761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.755 | 113905.0217 | 215995.5882 | 27.3 | 43.4 | #N/A
21478 | 2021-02-18 16:39 | 65.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.1461 | μmol/L | 39.7487 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.762 | 113941.1983 | 216000.4768 | 27.3 | 43.4 | #N/A
21488 | 2021-02-18 16:40 | 65.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9846 | μmol/L | 39.761 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.769 | 114016.8003 | 216001.1769 | 27.3 | 43.4 | #N/A
21498 | 2021-02-18 16:40 | 66.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6844 | μmol/L | 39.7795 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.784 | 114089.4644 | 216003.1086 | 27.3 | 43.4 | #N/A
21508 | 2021-02-18 16:40 | 66.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6933 | μmol/L | 39.7487 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.797 | 114142.3201 | 216009.5512 | 27.3 | 43.4 | #N/A
21518 | 2021-02-18 16:41 | 66.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.3781 | μmol/L | 39.7856 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.805 | 114209.3932 | 216015.8741 | 27.3 | 43.4 | #N/A
21528 | 2021-02-18 16:41 | 67.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6022 | μmol/L | 39.7241 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.815 | 114251.2442 | 216006.5874 | 27.3 | 43.4 | #N/A
21538 | 2021-02-18 16:41 | 67.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.4583 | μmol/L | 39.7672 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.807 | 114211.3325 | 215999.1478 | 27.3 | 43.4 | #N/A
21548 | 2021-02-18 16:42 | 67.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8864 | μmol/L | 39.7241 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.793 | 114132.8873 | 216002.4472 | 27.3 | 43.4 | #N/A
21558 | 2021-02-18 16:42 | 68.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.7973 | μmol/L | 39.7733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.778 | 114025.7018 | 216003.3947 | 27.3 | 43.4 | #N/A
21568 | 2021-02-18 16:42 | 68.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.7782 | μmol/L | 39.7856 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.774 | 113994.7567 | 216003.904 | 27.3 | 43.4 | #N/A
21578 | 2021-02-18 16:43 | 68.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.1626 | μmol/L | 39.7549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.758 | 113925.1195 | 216011.4206 | 27.3 | 43.4 | #N/A
21588 | 2021-02-18 16:43 | 69.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3329 | μmol/L | 39.7118 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.764 | 113926.089 | 216009.8014 | 27.3 | 43.4 | #N/A
21598 | 2021-02-18 16:43 | 69.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0295 | μmol/L | 39.7487 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.771 | 113996.4587 | 216010.7333 | 27.3 | 43.4 | #N/A
21608 | 2021-02-18 16:44 | 69.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0589 | μmol/L | 39.7549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.766 | 113976.3731 | 216005.2014 | 27.3 | 43.4 | #N/A
21618 | 2021-02-18 16:44 | 70.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3389 | μmol/L | 39.6995 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.769 | 113986.6739 | 216012.2956 | 27.3 | 43.4 | #N/A
21628 | 2021-02-18 16:44 | 70.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0874 | μmol/L | 39.7364 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.772 | 113991.8591 | 216006.2949 | 27.3 | 43.4 | #N/A
21638 | 2021-02-18 16:45 | 70.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9655 | μmol/L | 39.7733 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.765 | 113943.2272 | 216012.6289 | 27.3 | 43.4 | #N/A
21648 | 2021-02-18 16:45 | 71.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.5337 | μmol/L | 39.6995 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.754 | 113923.3748 | 216010.5398 | 27.3 | 43.4 | #N/A
21658 | 2021-02-18 16:45 | 71.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4227 | μmol/L | 39.6872 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.768 | 113987.6324 | 216002.4357 | 27.3 | 43.4 | #N/A
21668 | 2021-02-18 16:46 | 71.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9389 | μmol/L | 39.7487 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.778 | 114029.6886 | 216006.681 | 27.3 | 43.4 | #N/A
21678 | 2021-02-18 16:46 | 72.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0459 | μmol/L | 39.7549 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.767 | 113937.3464 | 215996.004 | 27.3 | 43.4 | #N/A
21688 | 2021-02-18 16:46 | 72.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4463 | μmol/L | 39.7057 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.758 | 113870.2418 | 215990.5958 | 27.3 | 43.4 | #N/A
21698 | 2021-02-18 16:47 | 72.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4023 | μmol/L | 39.7426 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.745 | 113842.7044 | 215990.4398 | 27.3 | 43.4 | #N/A
21708 | 2021-02-18 16:47 | 73.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4187 | μmol/L | 39.7487 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.741 | 113828.5023 | 216001.9295 | 27.3 | 43.4 | #N/A
21718 | 2021-02-18 16:47 | 73.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.6177 | μmol/L | 39.6872 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.753 | 113871.4637 | 216003.0696 | 27.3 | 43.4 | #N/A
21728 | 2021-02-18 16:48 | 73.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3778 | μmol/L | 39.6995 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.766 | 113967.1101 | 216011.5085 | 27.3 | 43.4 | #N/A
21738 | 2021-02-18 16:48 | 74.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.1927 | μmol/L | 39.6934 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.783 | 114048.4449 | 216011.2905 | 27.3 | 43.4 | #N/A
21748 | 2021-02-18 16:48 | 74.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0044 | μmol/L | 39.6811 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.803 | 114165.4553 | 216012.4171 | 27.3 | 43.4 | #N/A
21758 | 2021-02-18 16:49 | 74.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.4896 | μmol/L | 39.7303 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.821 | 114297.5687 | 215997.7279 | 27.3 | 43.4 | #N/A
21768 | 2021-02-18 16:49 | 75.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.2707 | μmol/L | 39.7303 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.838 | 114404.0252 | 216005.7281 | 27.3 | 43.4 | #N/A
21778 | 2021-02-18 16:49 | 75.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.2342 | μmol/L | 39.6872 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.86 | 114505.1162 | 216001.3981 | 27.3 | 43.4 | #N/A
21788 | 2021-02-18 16:50 | 75.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.4683 | μmol/L | 39.6688 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.85 | 114453.2086 | 216005.2679 | 27.3 | 43.4 | #N/A
21798 | 2021-02-18 16:50 | 76.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6814 | μmol/L | 39.6811 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.828 | 114314.4651 | 216000.8606 | 27.3 | 43.4 | #N/A
21808 | 2021-02-18 16:50 | 76.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.1057 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.817 | 114245.2163 | 216001.7569 | 27.3 | 43.4 | #N/A
21818 | 2021-02-18 16:51 | 76.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0257 | μmol/L | 39.6504 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.815 | 114224.2251 | 216005.8368 | 27.3 | 43.4 | #N/A
21828 | 2021-02-18 16:51 | 77.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8165 | μmol/L | 39.6688 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.823 | 114236.6018 | 215998.5413 | 27.3 | 43.4 | #N/A
21838 | 2021-02-18 16:51 | 77.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8835 | μmol/L | 39.6504 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.826 | 114283.1057 | 216000.6974 | 27.3 | 43.4 | #N/A
21848 | 2021-02-18 16:52 | 77.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.947 | μmol/L | 39.6258 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.832 | 114320.5324 | 216008.8173 | 27.3 | 43.4 | #N/A
21858 | 2021-02-18 16:52 | 78.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8988 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.833 | 114341.631 | 216006.3149 | 27.3 | 43.4 | #N/A
21868 | 2021-02-18 16:52 | 78.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9292 | μmol/L | 39.595 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.847 | 114411.3237 | 216016.8037 | 27.3 | 43.4 | #N/A
21878 | 2021-02-18 16:53 | 78.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0254 | μmol/L | 39.5827 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.845 | 114429.5816 | 216007.4348 | 27.3 | 43.4 | #N/A
21888 | 2021-02-18 16:53 | 79.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.7568 | μmol/L | 39.6319 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.844 | 114401.3935 | 215993.3329 | 27.3 | 43.4 | #N/A
21898 | 2021-02-18 16:53 | 79.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6184 | μmol/L | 39.6381 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.852 | 114431.9494 | 215999.4561 | 27.3 | 43.4 | #N/A
21908 | 2021-02-18 16:54 | 79.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.4545 | μmol/L | 39.6442 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.862 | 114477.2922 | 216000.5245 | 27.3 | 43.4 | #N/A
21918 | 2021-02-18 16:54 | 80.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9615 | μmol/L | 39.5397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.869 | 114543.9716 | 216008.8224 | 27.3 | 43.4 | #N/A
21928 | 2021-02-18 16:54 | 80.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6405 | μmol/L | 39.5643 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.883 | 114616.6051 | 216007.071 | 27.3 | 43.4 | #N/A
21938 | 2021-02-18 16:55 | 80.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.2887 | μmol/L | 39.6012 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.894 | 114643.7895 | 216006.47 | 27.3 | 43.4 | #N/A
21948 | 2021-02-18 16:55 | 81.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.5104 | μmol/L | 39.5397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.904 | 114713.8634 | 215996.3346 | 27.3 | 43.4 | #N/A
21958 | 2021-02-18 16:55 | 81.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.3248 | μmol/L | 39.552 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.913 | 114778.6799 | 216005.4553 | 27.3 | 43.4 | #N/A
21968 | 2021-02-18 16:56 | 81.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.2945 | μmol/L | 39.5889 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.899 | 114704.5683 | 216007.5502 | 27.3 | 43.4 | #N/A
21978 | 2021-02-18 16:56 | 82.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6205 | μmol/L | 39.552 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.89 | 114640.9232 | 215996.1607 | 27.3 | 43.4 | #N/A
21988 | 2021-02-18 16:56 | 82.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9414 | μmol/L | 39.5274 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.876 | 114555.3686 | 216000.3078 | 27.3 | 43.4 | #N/A
21998 | 2021-02-18 16:57 | 82.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9744 | μmol/L | 39.5397 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 20.868 | 114322.1974 | 216002.6248 | 27.3 | 43.4 | #N/A