## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17159 | 2021-02-18 13:39 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.233 | μmol/L | 34.1065 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.994 | 96564.0328 | 303108.1599 | 28.7 | 67.6
17169 | 2021-02-18 13:40 | 0.33822 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.5638 | μmol/L | 34.0638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.987 | 96550.8447 | 303119.959 | 28.7 | 67.6
17179 | 2021-02-18 13:40 | 0.67183 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.463 | μmol/L | 34.0821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.987 | 96538.4354 | 303089.0264 | 28.7 | 67.6
17189 | 2021-02-18 13:40 | 1.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.7386 | μmol/L | 34.021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.991 | 96533.6308 | 303045.9009 | 28.7 | 67.6
17199 | 2021-02-18 13:41 | 1.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3913 | μmol/L | 34.076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.994 | 96514.4357 | 303021.6148 | 28.7 | 67.6
17209 | 2021-02-18 13:41 | 1.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.544 | μmol/L | 34.0454 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.995 | 96524.6759 | 302992.2288 | 28.7 | 67.6
17219 | 2021-02-18 13:41 | 2.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1819 | μmol/L | 34.1004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.999 | 96526.4524 | 302954.8551 | 28.7 | 67.6
17229 | 2021-02-18 13:42 | 2.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1554 | μmol/L | 34.0943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.003 | 96524.8802 | 302935.584 | 28.7 | 67.6
17239 | 2021-02-18 13:42 | 2.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2976 | μmol/L | 34.0821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.998 | 96509.964 | 302904.4794 | 28.7 | 67.6
17249 | 2021-02-18 13:42 | 3.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1669 | μmol/L | 34.1004 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21 | 96501.831 | 302869.434 | 28.7 | 67.6
17259 | 2021-02-18 13:43 | 3.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4121 | μmol/L | 34.0393 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.006 | 96491.2521 | 302852.5374 | 28.7 | 67.6
17269 | 2021-02-18 13:43 | 3.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.5092 | μmol/L | 34.0271 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.004 | 96506.7003 | 302802.6381 | 28.7 | 67.6
17279 | 2021-02-18 13:43 | 4.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1843 | μmol/L | 34.0699 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.01 | 96512.7189 | 302793.4258 | 28.7 | 67.6
17289 | 2021-02-18 13:44 | 4.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2363 | μmol/L | 34.0576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.011 | 96505.5533 | 302748.3342 | 28.7 | 67.6
17299 | 2021-02-18 13:44 | 4.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3808 | μmol/L | 34.0149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.017 | 96505.6927 | 302718.9803 | 28.7 | 67.6
17309 | 2021-02-18 13:44 | 5.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.5045 | μmol/L | 34.0088 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.011 | 96488.0073 | 302693.0306 | 28.7 | 67.6
17319 | 2021-02-18 13:45 | 5.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4375 | μmol/L | 34.021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.011 | 96465.2643 | 302658.997 | 28.7 | 67.6
17329 | 2021-02-18 13:45 | 5.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1508 | μmol/L | 34.076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.01 | 96455.0631 | 302638.087 | 28.7 | 67.6
17339 | 2021-02-18 13:45 | 6.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1428 | μmol/L | 34.0638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.015 | 96448.3932 | 302594.575 | 28.7 | 67.6
17349 | 2021-02-18 13:46 | 6.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2756 | μmol/L | 34.0149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.024 | 96475.1843 | 302559.8386 | 28.7 | 67.6
17359 | 2021-02-18 13:46 | 6.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9777 | μmol/L | 34.0638 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.026 | 96488.7429 | 302527.1488 | 28.7 | 67.6
17369 | 2021-02-18 13:46 | 7.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4984 | μmol/L | 33.966 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.027 | 96468.4133 | 302512.4859 | 28.7 | 67.6
17379 | 2021-02-18 13:47 | 7.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0112 | μmol/L | 34.0576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.026 | 96430.7189 | 302480.976 | 28.7 | 67.6
17389 | 2021-02-18 13:47 | 7.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1451 | μmol/L | 34.0332 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.026 | 96411.4434 | 302446.1104 | 28.7 | 67.6
17399 | 2021-02-18 13:47 | 8.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1982 | μmol/L | 34.0454 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.018 | 96398.4454 | 302405.9165 | 28.7 | 67.6
17409 | 2021-02-18 13:48 | 8.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3044 | μmol/L | 33.9904 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.031 | 96415.2565 | 302363.7098 | 28.7 | 67.6
17419 | 2021-02-18 13:48 | 8.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1186 | μmol/L | 34.0271 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.03 | 96424.6524 | 302344.6661 | 28.7 | 67.6
17429 | 2021-02-18 13:48 | 9.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.1958 | μmol/L | 33.9965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.036 | 96436.6541 | 302319.4724 | 28.7 | 67.6
17439 | 2021-02-18 13:49 | 9.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2627 | μmol/L | 33.9843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.036 | 96412.1925 | 302272.8645 | 28.7 | 67.6
17449 | 2021-02-18 13:49 | 9.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4868 | μmol/L | 33.9599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.03 | 96392.0706 | 302257.8659 | 28.7 | 67.6
17459 | 2021-02-18 13:49 | 10.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3829 | μmol/L | 33.9843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.028 | 96364.039 | 302225.4367 | 28.7 | 67.6
17469 | 2021-02-18 13:50 | 10.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3378 | μmol/L | 33.9843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.031 | 96369.0959 | 302203.6782 | 28.7 | 67.6
17479 | 2021-02-18 13:50 | 10.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4669 | μmol/L | 33.9415 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.038 | 96379.9137 | 302160.9032 | 28.7 | 67.6
17489 | 2021-02-18 13:50 | 11.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.2096 | μmol/L | 33.9721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.044 | 96390.429 | 302127.8389 | 28.7 | 67.6
17499 | 2021-02-18 13:51 | 11.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7819 | μmol/L | 34.0393 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.048 | 96411.987 | 302108.9754 | 28.7 | 67.6
17509 | 2021-02-18 13:51 | 11.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0262 | μmol/L | 33.9782 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.054 | 96431.1591 | 302074.0437 | 28.7 | 67.6
17519 | 2021-02-18 13:51 | 12.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0214 | μmol/L | 33.9599 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96441.269 | 302050.625 | 28.7 | 67.6
17529 | 2021-02-18 13:52 | 12.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7877 | μmol/L | 34.0027 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96462.4719 | 302027.0248 | 28.7 | 67.6
17539 | 2021-02-18 13:52 | 12.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6761 | μmol/L | 34.0149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.064 | 96451.6058 | 301984.1581 | 28.7 | 67.6
17549 | 2021-02-18 13:52 | 13.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7544 | μmol/L | 34.0088 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96438.3728 | 301968.2702 | 28.7 | 67.6
17559 | 2021-02-18 13:53 | 13.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6243 | μmol/L | 34.0271 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.063 | 96420.5815 | 301937.153 | 28.7 | 67.6
17569 | 2021-02-18 13:53 | 13.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.155 | μmol/L | 33.9354 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96415.4067 | 301908.2627 | 28.7 | 67.6
17579 | 2021-02-18 13:53 | 14.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0227 | μmol/L | 33.9843 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.052 | 96389.9052 | 301882.4504 | 28.7 | 67.6
17589 | 2021-02-18 13:54 | 14.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.585 | μmol/L | 34.0699 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.05 | 96369.1123 | 301841.472 | 28.7 | 67.6
17599 | 2021-02-18 13:54 | 14.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7325 | μmol/L | 34.021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.058 | 96385.5487 | 301830.5021 | 28.7 | 67.6
17609 | 2021-02-18 13:54 | 15.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9846 | μmol/L | 33.9721 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.059 | 96407.8058 | 301788.7232 | 28.7 | 67.6
17619 | 2021-02-18 13:55 | 15.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7164 | μmol/L | 33.9965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.068 | 96426.4067 | 301763.3628 | 28.7 | 67.6
17629 | 2021-02-18 13:55 | 15.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8211 | μmol/L | 33.9965 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96427.3847 | 301738.2001 | 28.7 | 67.6
17639 | 2021-02-18 13:55 | 16.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7175 | μmol/L | 34.021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.059 | 96416.0898 | 301712.8234 | 28.7 | 67.6
17649 | 2021-02-18 13:56 | 16.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9006 | μmol/L | 34.0149 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.049 | 96378.9536 | 301665.2094 | 28.7 | 67.6
17659 | 2021-02-18 13:56 | 16.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7336 | μmol/L | 34.0454 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.049 | 96340.2616 | 301657.9541 | 28.7 | 67.6
17669 | 2021-02-18 13:56 | 17.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.7715 | μmol/L | 34.0576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.042 | 96334.2985 | 301625.6943 | 28.7 | 67.6
17679 | 2021-02-18 13:57 | 17.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.6553 | μmol/L | 34.0515 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.052 | 96376.3716 | 301604.3514 | 28.7 | 67.6
17689 | 2021-02-18 13:57 | 17.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5173 | μmol/L | 34.0576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.059 | 96422.355 | 301580.7139 | 28.7 | 67.6
17699 | 2021-02-18 13:57 | 18.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5023 | μmol/L | 34.0576 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.06 | 96432.5704 | 301544.9667 | 28.7 | 67.6
17709 | 2021-02-18 13:58 | 18.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.3987 | μmol/L | 34.0821 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.058 | 96427.7356 | 301518.197 | 28.7 | 67.6
17719 | 2021-02-18 13:58 | 18.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9025 | μmol/L | 34.1921 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.051 | 96401.6242 | 301505.5689 | 28.7 | 67.6
17729 | 2021-02-18 13:58 | 19.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.806 | μmol/L | 34.2043 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.053 | 96382.766 | 301468.2736 | 28.7 | 67.6
17739 | 2021-02-18 13:59 | 19.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9179 | μmol/L | 34.2165 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.041 | 96381.0973 | 301442.8422 | 28.7 | 67.6
17749 | 2021-02-18 13:59 | 19.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.2028 | μmol/L | 34.1371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.051 | 96405.1501 | 301411.4031 | 28.7 | 67.6
17759 | 2021-02-18 13:59 | 20.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.1105 | μmol/L | 34.1676 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.046 | 96424.4816 | 301387.341 | 28.7 | 67.6
17769 | 2021-02-18 14:00 | 20.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9692 | μmol/L | 34.1799 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.051 | 96446.7271 | 301352.1254 | 28.7 | 67.6
17779 | 2021-02-18 14:00 | 20.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4653 | μmol/L | 34.2776 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.049 | 96471.7011 | 301332.9951 | 28.7 | 67.6
17789 | 2021-02-18 14:00 | 21.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9394 | μmol/L | 34.1799 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.053 | 96481.1546 | 301313.4262 | 28.7 | 67.6
17799 | 2021-02-18 14:01 | 21.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5095 | μmol/L | 34.2532 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.055 | 96488.8386 | 301280.4589 | 28.7 | 67.6
17809 | 2021-02-18 14:01 | 21.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5577 | μmol/L | 34.2471 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.054 | 96520.7323 | 301255.4492 | 28.7 | 67.6
17819 | 2021-02-18 14:01 | 22.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.9504 | μmol/L | 34.3693 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.05 | 96495.7612 | 301213.03 | 28.7 | 67.6
17829 | 2021-02-18 14:02 | 22.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.3988 | μmol/L | 34.3143 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96476.1433 | 301185.5305 | 28.7 | 67.6
17839 | 2021-02-18 14:02 | 22.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.5656 | μmol/L | 34.2837 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96462.8057 | 301172.9598 | 28.7 | 67.6
17849 | 2021-02-18 14:02 | 23.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.2839 | μmol/L | 34.3326 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.041 | 96473.7937 | 301140.5194 | 28.7 | 67.6
17859 | 2021-02-18 14:03 | 23.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4358 | μmol/L | 34.3021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.042 | 96506.6244 | 301108.8296 | 28.7 | 67.6
17869 | 2021-02-18 14:03 | 23.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.2542 | μmol/L | 34.3326 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.043 | 96525.3771 | 301098.2292 | 28.7 | 67.6
17879 | 2021-02-18 14:03 | 24.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.9652 | μmol/L | 34.3937 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96519.0789 | 301070.4073 | 28.7 | 67.6
17889 | 2021-02-18 14:04 | 24.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0652 | μmol/L | 34.3754 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96511.2743 | 301041.8602 | 28.7 | 67.6
17899 | 2021-02-18 14:04 | 24.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.0393 | μmol/L | 34.3937 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.035 | 96519.0029 | 301028.7707 | 28.7 | 67.6
17909 | 2021-02-18 14:04 | 25.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4023 | μmol/L | 34.4915 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.042 | 96538.1837 | 301006.7078 | 28.7 | 67.6
17919 | 2021-02-18 14:05 | 25.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.5466 | μmol/L | 34.4732 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.039 | 96546.1281 | 300964.9359 | 28.7 | 67.6
17929 | 2021-02-18 14:05 | 25.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.8168 | μmol/L | 34.4426 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.032 | 96543.7322 | 300947.451 | 28.7 | 67.6
17939 | 2021-02-18 14:05 | 26.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4765 | μmol/L | 34.4671 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.046 | 96561.8535 | 300923.1242 | 28.7 | 67.6
17949 | 2021-02-18 14:06 | 26.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4247 | μmol/L | 34.4793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.045 | 96575.8318 | 300893.2994 | 28.7 | 67.6
17959 | 2021-02-18 14:06 | 26.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4951 | μmol/L | 34.461 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.047 | 96587.4433 | 300867.9952 | 28.7 | 67.6
17969 | 2021-02-18 14:06 | 27.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4394 | μmol/L | 34.4793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.044 | 96616.0951 | 300843.7539 | 28.7 | 67.6
17979 | 2021-02-18 14:07 | 27.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.3285 | μmol/L | 34.4915 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.047 | 96600.1554 | 300811.8193 | 28.7 | 67.6
17989 | 2021-02-18 14:07 | 27.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4652 | μmol/L | 34.4854 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96589.0432 | 300798.4235 | 28.7 | 67.6
17999 | 2021-02-18 14:07 | 28.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4837 | μmol/L | 34.4793 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.041 | 96585.5494 | 300775.1865 | 28.7 | 67.6
18009 | 2021-02-18 14:08 | 28.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.3985 | μmol/L | 34.4976 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96606.2218 | 300760.0101 | 28.7 | 67.6
18019 | 2021-02-18 14:08 | 28.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9655 | μmol/L | 34.5771 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.04 | 96611.9579 | 300720.1314 | 28.7 | 67.6
18029 | 2021-02-18 14:08 | 29.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9956 | μmol/L | 34.5526 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.047 | 96618.0451 | 300713.7467 | 28.7 | 67.6
18039 | 2021-02-18 14:09 | 29.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.0212 | μmol/L | 34.5587 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.043 | 96603.9031 | 300682.1045 | 28.7 | 67.6
18049 | 2021-02-18 14:09 | 29.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.1128 | μmol/L | 34.5771 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.03 | 96542.1475 | 300641.4609 | 28.7 | 67.6
18059 | 2021-02-18 14:09 | 30.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9833 | μmol/L | 34.5954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.032 | 96537.3969 | 300622.0459 | 28.7 | 67.6
18069 | 2021-02-18 14:10 | 30.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.1237 | μmol/L | 34.5832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.027 | 96529.8802 | 300600.8054 | 28.7 | 67.6
18079 | 2021-02-18 14:10 | 30.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.1974 | μmol/L | 34.5832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.022 | 96514.1886 | 300586.581 | 28.7 | 67.6
18089 | 2021-02-18 14:10 | 31.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.2827 | μmol/L | 34.5649 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.023 | 96529.8097 | 300577.812 | 28.7 | 67.6
18099 | 2021-02-18 14:11 | 31.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.1282 | μmol/L | 34.5526 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.038 | 96558.1459 | 300521.5842 | 28.7 | 67.6
18109 | 2021-02-18 14:11 | 31.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.2724 | μmol/L | 34.5343 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.035 | 96571.9425 | 300513.5482 | 28.7 | 67.6
18119 | 2021-02-18 14:11 | 32.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.1096 | μmol/L | 34.5587 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.037 | 96574.1884 | 300499.4165 | 28.7 | 67.6
18129 | 2021-02-18 14:12 | 32.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8578 | μmol/L | 34.6076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.036 | 96555.603 | 300457.6006 | 28.7 | 67.6
18139 | 2021-02-18 14:12 | 32.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6874 | μmol/L | 34.6443 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.034 | 96541.3544 | 300459.6918 | 28.7 | 67.6
18149 | 2021-02-18 14:12 | 33.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9686 | μmol/L | 34.5954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.033 | 96542.0105 | 300431.3857 | 28.7 | 67.6
18159 | 2021-02-18 14:13 | 33.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9686 | μmol/L | 34.5954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.033 | 96556.1238 | 300416.7032 | 28.7 | 67.6
18169 | 2021-02-18 14:13 | 33.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9763 | μmol/L | 34.5832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.037 | 96555.6036 | 300382.1962 | 28.7 | 67.6
18179 | 2021-02-18 14:13 | 34.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7108 | μmol/L | 34.6076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.046 | 96583.7172 | 300355.5717 | 28.7 | 67.6
18189 | 2021-02-18 14:14 | 34.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0495 | μmol/L | 34.7238 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.048 | 96625.8887 | 300340.7449 | 28.7 | 67.6
18199 | 2021-02-18 14:14 | 34.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.339 | μmol/L | 34.6382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.06 | 96656.8861 | 300319.3435 | 28.7 | 67.6
18209 | 2021-02-18 14:14 | 35.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4279 | μmol/L | 34.6137 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.063 | 96694.091 | 300310.0987 | 28.7 | 67.6
18219 | 2021-02-18 14:15 | 35.3389 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3732 | μmol/L | 34.6076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.069 | 96703.5415 | 300285.1045 | 28.7 | 67.6
18229 | 2021-02-18 14:15 | 35.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3644 | μmol/L | 34.6443 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 96643.7546 | 300261.934 | 28.7 | 67.6
18239 | 2021-02-18 14:15 | 36.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3605 | μmol/L | 34.6504 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.054 | 96608.1219 | 300246.7634 | 28.7 | 67.6
18249 | 2021-02-18 14:16 | 36.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6031 | μmol/L | 34.6382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.042 | 96552.7582 | 300229.8662 | 28.7 | 67.6
18259 | 2021-02-18 14:16 | 36.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7432 | μmol/L | 34.626 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.037 | 96508.2651 | 300215.2476 | 28.7 | 67.6
18269 | 2021-02-18 14:16 | 37.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8578 | μmol/L | 34.6076 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.036 | 96512.7111 | 300183.3039 | 28.7 | 67.6
18279 | 2021-02-18 14:17 | 37.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.0872 | μmol/L | 34.571 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.034 | 96509.7309 | 300179.7632 | 28.7 | 67.6
18289 | 2021-02-18 14:17 | 37.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8176 | μmol/L | 34.6015 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.041 | 96524.1803 | 300150.372 | 28.7 | 67.6
18299 | 2021-02-18 14:17 | 38.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.943 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.037 | 96507.842 | 300124.623 | 28.7 | 67.6
18309 | 2021-02-18 14:18 | 38.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8834 | μmol/L | 34.6137 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.032 | 96481.2946 | 300111.8642 | 28.7 | 67.6
18319 | 2021-02-18 14:18 | 38.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6541 | μmol/L | 34.6504 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.034 | 96474.2783 | 300083.7494 | 28.7 | 67.6
18329 | 2021-02-18 14:18 | 39.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.5141 | μmol/L | 34.6626 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.039 | 96503.2888 | 300073.9463 | 28.7 | 67.6
18339 | 2021-02-18 14:19 | 39.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.515 | μmol/L | 34.6382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.048 | 96540.5063 | 300037.2683 | 28.7 | 67.6
18349 | 2021-02-18 14:19 | 39.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4016 | μmol/L | 34.6321 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.058 | 96559.1261 | 300034.0122 | 28.7 | 67.6
18359 | 2021-02-18 14:19 | 40.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3243 | μmol/L | 34.6382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96577.438 | 300010.3122 | 28.7 | 67.6
18369 | 2021-02-18 14:20 | 40.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0321 | μmol/L | 34.7054 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 96534.6999 | 299993.2932 | 28.7 | 67.6
18379 | 2021-02-18 14:20 | 40.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1982 | μmol/L | 34.6749 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 96526.2852 | 299982.0983 | 28.7 | 67.6
18389 | 2021-02-18 14:20 | 41.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.5453 | μmol/L | 34.6137 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.055 | 96522.1692 | 299952.0495 | 28.7 | 67.6
18399 | 2021-02-18 14:21 | 41.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6636 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 96526.4215 | 299931.811 | 28.7 | 67.6
18409 | 2021-02-18 14:21 | 41.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6343 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.058 | 96544.6101 | 299921.8731 | 28.7 | 67.6
18419 | 2021-02-18 14:21 | 42.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6899 | μmol/L | 34.571 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.061 | 96541.0106 | 299900.5187 | 28.7 | 67.6
18429 | 2021-02-18 14:22 | 42.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4935 | μmol/L | 34.626 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.054 | 96513.3297 | 299884.3218 | 28.7 | 67.6
18439 | 2021-02-18 14:22 | 42.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4935 | μmol/L | 34.626 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.054 | 96497.6008 | 299856.8819 | 28.7 | 67.6
18449 | 2021-02-18 14:22 | 43.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4123 | μmol/L | 34.6382 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.055 | 96494.4744 | 299843.7877 | 28.7 | 67.6
18459 | 2021-02-18 14:23 | 43.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.421 | μmol/L | 34.6015 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.068 | 96550.3627 | 299840.7977 | 28.7 | 67.6
18469 | 2021-02-18 14:23 | 43.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4141 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.073 | 96570.4686 | 299798.7538 | 28.7 | 67.6
18479 | 2021-02-18 14:23 | 44.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1086 | μmol/L | 34.6321 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.078 | 96588.2057 | 299794.1002 | 28.7 | 67.6
18489 | 2021-02-18 14:24 | 44.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2344 | μmol/L | 34.5954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.083 | 96594.0002 | 299770.4828 | 28.7 | 67.6
18499 | 2021-02-18 14:24 | 44.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.371 | μmol/L | 34.5649 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.085 | 96609.5731 | 299770.5692 | 28.7 | 67.6
18509 | 2021-02-18 14:24 | 45.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4597 | μmol/L | 34.5404 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.088 | 96607.3426 | 299736.6743 | 28.7 | 67.6
18519 | 2021-02-18 14:25 | 45.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.092 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.095 | 96603.3935 | 299709.9497 | 28.7 | 67.6
18529 | 2021-02-18 14:25 | 45.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2245 | μmol/L | 34.5649 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.095 | 96611.3408 | 299680.3754 | 28.7 | 67.6
18539 | 2021-02-18 14:25 | 46.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0627 | μmol/L | 34.5893 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.097 | 96641.4104 | 299695.0355 | 28.7 | 67.6
18549 | 2021-02-18 14:26 | 46.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.205 | μmol/L | 34.5343 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.107 | 96664.095 | 299684.1139 | 28.7 | 67.6
18559 | 2021-02-18 14:26 | 46.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2127 | μmol/L | 34.5221 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.111 | 96668.8633 | 299664.2298 | 28.7 | 67.6
18569 | 2021-02-18 14:26 | 47.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3344 | μmol/L | 34.4915 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.114 | 96686.2095 | 299642.2988 | 28.7 | 67.6
18579 | 2021-02-18 14:27 | 47.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.3605 | μmol/L | 34.4732 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.119 | 96694.6351 | 299606.213 | 28.7 | 67.6
18589 | 2021-02-18 14:27 | 47.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0519 | μmol/L | 34.5221 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.122 | 96717.5195 | 299611.2198 | 28.7 | 67.6
18599 | 2021-02-18 14:27 | 48.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.155 | μmol/L | 34.4976 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.124 | 96734.6421 | 299587.3139 | 28.7 | 67.6
18609 | 2021-02-18 14:28 | 48.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.045 | μmol/L | 34.5099 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.127 | 96716.2956 | 299580.1798 | 28.7 | 67.6
18619 | 2021-02-18 14:28 | 48.6714 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2249 | μmol/L | 34.4793 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.126 | 96682.7047 | 299557.539 | 28.7 | 67.6
18629 | 2021-02-18 14:28 | 49.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2472 | μmol/L | 34.4671 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.129 | 96700.5648 | 299553.2079 | 28.7 | 67.6
18639 | 2021-02-18 14:29 | 49.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1893 | μmol/L | 34.4426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.142 | 96727.9648 | 299526.0711 | 28.7 | 67.6
18649 | 2021-02-18 14:29 | 49.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2955 | μmol/L | 34.4365 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.137 | 96729.9252 | 299504.6699 | 28.7 | 67.6
18659 | 2021-02-18 14:29 | 50.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.5085 | μmol/L | 34.3998 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.136 | 96714.2447 | 299495.8372 | 28.7 | 67.6
18669 | 2021-02-18 14:30 | 50.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4607 | μmol/L | 34.406 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.137 | 96691.122 | 299473.3582 | 28.7 | 67.6
18679 | 2021-02-18 14:30 | 50.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1677 | μmol/L | 34.4304 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.148 | 96716.2584 | 299459.5822 | 28.7 | 67.6
18689 | 2021-02-18 14:30 | 51.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.955 | μmol/L | 34.4671 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.149 | 96731.7869 | 299439.2239 | 28.7 | 67.6
18699 | 2021-02-18 14:31 | 51.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8636 | μmol/L | 34.4732 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.153 | 96748.3161 | 299446.6257 | 28.7 | 67.6
18709 | 2021-02-18 14:31 | 51.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0881 | μmol/L | 34.3937 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.167 | 96795.6379 | 299417.3118 | 28.7 | 67.6
18719 | 2021-02-18 14:31 | 52.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.9346 | μmol/L | 34.406 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.173 | 96868.0655 | 299415.8574 | 28.7 | 67.6
18729 | 2021-02-18 14:32 | 52.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.413 | μmol/L | 34.4487 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.193 | 96927.7578 | 299407.3471 | 28.7 | 67.6
18739 | 2021-02-18 14:32 | 52.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.4352 | μmol/L | 34.4365 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.196 | 96943.5187 | 299384.7676 | 28.7 | 67.6
18749 | 2021-02-18 14:32 | 53.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8556 | μmol/L | 34.3449 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.201 | 96957.4555 | 299357.5105 | 28.7 | 67.6
18759 | 2021-02-18 14:33 | 53.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.4649 | μmol/L | 34.4121 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.203 | 96977.7426 | 299348.5532 | 28.7 | 67.6
18769 | 2021-02-18 14:33 | 53.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.6546 | μmol/L | 34.3876 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.199 | 96943.7759 | 299340.2542 | 28.7 | 67.6
18779 | 2021-02-18 14:33 | 54.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8989 | μmol/L | 34.3693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.189 | 96875.2815 | 299328.114 | 28.7 | 67.6
18789 | 2021-02-18 14:34 | 54.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.217 | μmol/L | 34.3265 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.183 | 96835.3512 | 299303.958 | 28.7 | 67.6
18799 | 2021-02-18 14:34 | 54.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1073 | μmol/L | 34.3387 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.186 | 96821.1918 | 299266.621 | 28.7 | 67.6
18809 | 2021-02-18 14:34 | 55.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1694 | μmol/L | 34.3326 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.184 | 96814.4856 | 299270.8113 | 28.7 | 67.6
18819 | 2021-02-18 14:35 | 55.3384 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2537 | μmol/L | 34.3143 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.185 | 96798.0776 | 299262.7022 | 28.7 | 67.6
18829 | 2021-02-18 14:35 | 55.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1663 | μmol/L | 34.2899 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.2 | 96828.2114 | 299230.1839 | 28.7 | 67.6
18839 | 2021-02-18 14:35 | 56.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.2247 | μmol/L | 34.2899 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.196 | 96805.8171 | 299237.8442 | 28.7 | 67.6
18849 | 2021-02-18 14:36 | 56.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1294 | μmol/L | 34.3265 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.189 | 96767.8851 | 299214.9783 | 28.7 | 67.6
18859 | 2021-02-18 14:36 | 56.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.111 | μmol/L | 34.3326 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.188 | 96780.9675 | 299186.9123 | 28.7 | 67.6
18869 | 2021-02-18 14:36 | 57.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1334 | μmol/L | 34.296 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.2 | 96798.3226 | 299169.2814 | 28.7 | 67.6
18879 | 2021-02-18 14:37 | 57.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.4149 | μmol/L | 34.241 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.201 | 96782.3774 | 299164.2046 | 28.7 | 67.6
18889 | 2021-02-18 14:37 | 57.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.6417 | μmol/L | 34.2043 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.199 | 96802.4383 | 299147.2483 | 28.7 | 67.6
18899 | 2021-02-18 14:37 | 58.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.9618 | μmol/L | 34.3143 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.205 | 96821.7168 | 299156.314 | 28.7 | 67.6
18909 | 2021-02-18 14:38 | 58.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.0021 | μmol/L | 34.296 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.209 | 96842.8554 | 299139.8349 | 28.7 | 67.6
18919 | 2021-02-18 14:38 | 58.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.1703 | μmol/L | 34.2349 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.22 | 96865.2984 | 299118.0797 | 28.7 | 67.6
18929 | 2021-02-18 14:38 | 59.0048 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8892 | μmol/L | 34.2899 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.219 | 96880.343 | 299114.9779 | 28.7 | 67.6
18939 | 2021-02-18 14:39 | 59.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.5941 | μmol/L | 34.3204 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.228 | 96915.9185 | 299106.6376 | 28.7 | 67.6
18949 | 2021-02-18 14:39 | 59.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.7511 | μmol/L | 34.2776 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.233 | 96941.1364 | 299077.8222 | 28.7 | 67.6
18959 | 2021-02-18 14:39 | 60.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.8169 | μmol/L | 34.241 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.242 | 96977.5188 | 299081.596 | 28.7 | 67.6
18969 | 2021-02-18 14:40 | 60.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.2747 | μmol/L | 34.3204 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.25 | 97008.1261 | 299082.5421 | 28.7 | 67.6
18979 | 2021-02-18 14:40 | 60.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.2162 | μmol/L | 34.3449 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.245 | 97000.0522 | 299055.3352 | 28.7 | 67.6
18989 | 2021-02-18 14:40 | 61.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.4202 | μmol/L | 34.296 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.249 | 97019.8174 | 299026.9238 | 28.7 | 67.6
18999 | 2021-02-18 14:41 | 61.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 163.1506 | μmol/L | 34.3571 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.245 | 96995.2761 | 299027.7644 | 28.7 | 67.6
19009 | 2021-02-18 14:41 | 61.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.8673 | μmol/L | 34.3937 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.251 | 97001.6082 | 299019.301 | 28.7 | 67.6
19019 | 2021-02-18 14:41 | 62.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.7334 | μmol/L | 34.3998 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.258 | 97043.0049 | 299015.9234 | 28.7 | 67.6
19029 | 2021-02-18 14:42 | 62.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.7273 | μmol/L | 34.3632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.272 | 97110.7267 | 299012.22 | 28.7 | 67.6
19039 | 2021-02-18 14:42 | 62.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.8805 | μmol/L | 34.3021 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.284 | 97170.5924 | 298996.1879 | 28.7 | 67.6
19049 | 2021-02-18 14:42 | 63.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.34 | μmol/L | 34.406 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.283 | 97186.5575 | 298961.8268 | 28.7 | 67.6
19059 | 2021-02-18 14:43 | 63.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5107 | μmol/L | 34.3632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.287 | 97204.7796 | 298968.7544 | 28.7 | 67.6
19069 | 2021-02-18 14:43 | 63.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.2574 | μmol/L | 34.3998 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.291 | 97216.208 | 298957.9032 | 28.7 | 67.6
19079 | 2021-02-18 14:43 | 64.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.6124 | μmol/L | 34.3387 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.289 | 97215.1313 | 298941.8819 | 28.7 | 67.6
19089 | 2021-02-18 14:44 | 64.3388 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.1336 | μmol/L | 34.4365 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.286 | 97214.1294 | 298923.5642 | 28.7 | 67.6
19099 | 2021-02-18 14:44 | 64.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5183 | μmol/L | 34.351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.291 | 97251.2809 | 298919.4546 | 28.7 | 67.6
19109 | 2021-02-18 14:44 | 65.005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.102 | μmol/L | 34.4182 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.295 | 97264.5326 | 298918.4886 | 28.7 | 67.6
19119 | 2021-02-18 14:45 | 65.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5039 | μmol/L | 34.351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.292 | 97263.7008 | 298901.8463 | 28.7 | 67.6
19129 | 2021-02-18 14:45 | 65.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5654 | μmol/L | 34.3449 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.29 | 97242.8134 | 298891.3987 | 28.7 | 67.6
19139 | 2021-02-18 14:45 | 66.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.3984 | μmol/L | 34.3815 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.288 | 97231.0827 | 298888.8138 | 28.7 | 67.6
19149 | 2021-02-18 14:46 | 66.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5176 | μmol/L | 34.3754 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.282 | 97223.978 | 298868.2924 | 28.7 | 67.6
19159 | 2021-02-18 14:46 | 66.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.5935 | μmol/L | 34.3693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.279 | 97226.6575 | 298866.7584 | 28.7 | 67.6
19169 | 2021-02-18 14:46 | 67.0052 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.2449 | μmol/L | 34.4426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.276 | 97211.9007 | 298860.8734 | 28.7 | 67.6
19179 | 2021-02-18 14:47 | 67.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 162.1403 | μmol/L | 34.4487 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.281 | 97245.8965 | 298846.3654 | 28.7 | 67.6
19189 | 2021-02-18 14:47 | 67.6719 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.3901 | μmol/L | 34.5893 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.281 | 97262.0879 | 298841.6588 | 28.7 | 67.6
19199 | 2021-02-18 14:47 | 68.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.5102 | μmol/L | 34.5587 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.284 | 97287.2986 | 298841.3192 | 28.7 | 67.6
19209 | 2021-02-18 14:48 | 68.3385 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.7997 | μmol/L | 34.5099 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.282 | 97308.14 | 298841.38 | 28.7 | 67.6
19219 | 2021-02-18 14:48 | 68.6715 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.7749 | μmol/L | 34.5037 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.286 | 97317.646 | 298813.9559 | 28.7 | 67.6
19229 | 2021-02-18 14:48 | 69.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.6705 | μmol/L | 34.5099 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.291 | 97350.2937 | 298805.6574 | 28.7 | 67.6
19239 | 2021-02-18 14:49 | 69.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.8048 | μmol/L | 34.4793 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.293 | 97383.0774 | 298808.5219 | 28.7 | 67.6
19249 | 2021-02-18 14:49 | 69.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.6783 | μmol/L | 34.4976 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.295 | 97415.9602 | 298776.8812 | 28.7 | 67.6
19259 | 2021-02-18 14:49 | 70.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.7278 | μmol/L | 34.6626 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.3 | 97413.5499 | 298792.9152 | 28.7 | 67.6
19269 | 2021-02-18 14:50 | 70.3387 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.0253 | μmol/L | 34.6443 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.286 | 97389.9128 | 298766.2359 | 28.7 | 67.6
19279 | 2021-02-18 14:50 | 70.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.1715 | μmol/L | 34.5954 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.294 | 97401.5847 | 298751.157 | 28.7 | 67.6
19289 | 2021-02-18 14:50 | 71.0055 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.1651 | μmol/L | 34.5832 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.299 | 97433.1821 | 298739.3864 | 28.7 | 67.6
19299 | 2021-02-18 14:51 | 71.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.2001 | μmol/L | 34.5954 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.292 | 97440.2594 | 298727.1129 | 28.7 | 67.6
19309 | 2021-02-18 14:51 | 71.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.6935 | μmol/L | 34.6932 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.291 | 97445.341 | 298714.2693 | 28.7 | 67.6
19319 | 2021-02-18 14:51 | 72.0047 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.8339 | μmol/L | 34.6749 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.288 | 97429.6909 | 298725.8127 | 28.7 | 67.6
19329 | 2021-02-18 14:52 | 72.3382 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.0492 | μmol/L | 34.6076 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.298 | 97467.3195 | 298702.5406 | 28.7 | 67.6
19339 | 2021-02-18 14:52 | 72.6718 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 161.0881 | μmol/L | 34.6137 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.293 | 97475.0125 | 298678.6458 | 28.7 | 67.6
19349 | 2021-02-18 14:52 | 73.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.0633 | μmol/L | 34.7849 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.301 | 97531.0669 | 298690.2556 | 28.7 | 67.6
19359 | 2021-02-18 14:53 | 73.3386 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.9172 | μmol/L | 34.791 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.309 | 97587.7365 | 298673.0285 | 28.7 | 67.6
19369 | 2021-02-18 14:53 | 73.6721 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.7073 | μmol/L | 34.6504 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.306 | 97574.3861 | 298688.0162 | 28.7 | 67.6
19379 | 2021-02-18 14:53 | 74.0051 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.5367 | μmol/L | 34.6932 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.302 | 97561.7832 | 298653.635 | 28.7 | 67.6
19389 | 2021-02-18 14:54 | 74.338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.4249 | μmol/L | 34.7115 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.303 | 97586.7894 | 298635.9886 | 28.7 | 67.6
19399 | 2021-02-18 14:54 | 74.6716 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.3131 | μmol/L | 34.7299 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.304 | 97592.7166 | 298623.4893 | 28.7 | 67.6
19409 | 2021-02-18 14:54 | 75.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.1263 | μmol/L | 34.7543 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.308 | 97634.8444 | 298637.2712 | 28.7 | 67.6
19419 | 2021-02-18 14:55 | 75.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.1466 | μmol/L | 34.7238 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.318 | 97685.2275 | 298633.6408 | 28.7 | 67.6
19429 | 2021-02-18 14:55 | 75.672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 160.173 | μmol/L | 34.7054 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.323 | 97712.5461 | 298617.2358 | 28.7 | 67.6
19439 | 2021-02-18 14:55 | 76.0049 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.7635 | μmol/L | 34.7665 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.329 | 97729.7488 | 298612.9841 | 28.7 | 67.6
19449 | 2021-02-18 14:56 | 76.3381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.7717 | μmol/L | 34.7543 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.333 | 97754.9596 | 298606.801 | 28.7 | 67.6
19459 | 2021-02-18 14:56 | 76.6717 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.8021 | μmol/L | 34.7299 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.34 | 97793.1836 | 298604.6416 | 28.7 | 67.6
19469 | 2021-02-18 14:56 | 77.0054 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.9094 | μmol/L | 34.7176 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.337 | 97815.5191 | 298594.5484 | 28.7 | 67.6
19479 | 2021-02-18 14:57 | 77.3383 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.6137 | μmol/L | 34.7788 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.335 | 97784.141 | 298575.8664 | 28.7 | 67.6
19489 | 2021-02-18 14:57 | 77.6722 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.6196 | μmol/L | 34.791 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.33 | 97765.6833 | 298569.7901 | 28.7 | 67.6
19499 | 2021-02-18 14:57 | 78.0053 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 159.8142 | μmol/L | 34.7543 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.33 | 97772.9288 | 298562.3664 | 28.7 | 67.6