## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19519 | 2021-02-18 15:34 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0977 | μmol/L | 37.1999 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.09 | 99158.0485 | 298098.4186 | 28.7 | 67.6 | #N/A
19529 | 2021-02-18 15:34 | 0.33724 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5871 | μmol/L | 37.2978 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.089 | 99181.4061 | 298107.6575 | 28.7 | 67.6 | #N/A
19539 | 2021-02-18 15:35 | 0.67065 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0235 | μmol/L | 37.3161 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.049 | 99022.9327 | 298117.2891 | 28.7 | 67.6 | #N/A
19549 | 2021-02-18 15:35 | 1.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4563 | μmol/L | 37.2855 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.029 | 98905.8342 | 298118.8072 | 28.7 | 67.6 | #N/A
19559 | 2021-02-18 15:35 | 1.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3016 | μmol/L | 37.3467 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.016 | 98870.3798 | 298114.7074 | 28.7 | 67.6 | #N/A
19569 | 2021-02-18 15:36 | 1.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4067 | μmol/L | 37.3895 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.991 | 98793.1291 | 298110.1524 | 28.7 | 67.6 | #N/A | -0.50184 | 30.1106
19579 | 2021-02-18 15:36 | 2.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2746 | μmol/L | 37.414 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.991 | 98780.4675 | 298093.4247 | 28.7 | 67.6 | #N/A | 150.6976
19589 | 2021-02-18 15:36 | 2.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.7445 | μmol/L | 37.4874 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.001 | 98821.6181 | 298098.0729 | 28.7 | 67.6 | #N/A
19599 | 2021-02-18 15:37 | 2.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5795 | μmol/L | 37.518 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.001 | 98904.7523 | 298095.4576 | 28.7 | 67.6 | #N/A
19609 | 2021-02-18 15:37 | 3.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.1774 | μmol/L | 37.5975 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.999 | 98905.7446 | 298085.7299 | 28.7 | 67.6 | #N/A
19619 | 2021-02-18 15:37 | 3.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.4067 | μmol/L | 37.5302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.009 | 98973.1055 | 298088.486 | 28.7 | 67.6 | #N/A
19629 | 2021-02-18 15:38 | 3.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.7198 | μmol/L | 37.6281 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.021 | 99054.0698 | 298089.8973 | 28.7 | 67.6 | #N/A
19639 | 2021-02-18 15:38 | 4.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.688 | μmol/L | 37.6587 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.011 | 99043.932 | 298068.7901 | 28.7 | 67.6 | #N/A
19649 | 2021-02-18 15:38 | 4.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.6349 | μmol/L | 37.6587 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.015 | 99093.0346 | 298069.7249 | 28.7 | 67.6 | #N/A
19659 | 2021-02-18 15:39 | 4.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2791 | μmol/L | 37.7198 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.017 | 99111.5383 | 298056.219 | 28.7 | 67.6 | #N/A
19669 | 2021-02-18 15:39 | 5.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7913 | μmol/L | 37.781 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.029 | 99185.6978 | 298059.0481 | 28.7 | 67.6 | #N/A
19679 | 2021-02-18 15:39 | 5.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.8117 | μmol/L | 37.8116 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.015 | 99149.351 | 298045.1994 | 28.7 | 67.6 | #N/A
19689 | 2021-02-18 15:40 | 5.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9506 | μmol/L | 37.8177 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.002 | 99095.6171 | 298052.2479 | 28.7 | 67.6 | #N/A
19699 | 2021-02-18 15:40 | 6.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.9446 | μmol/L | 37.8605 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.985 | 99032.0329 | 298053.9709 | 28.7 | 67.6 | #N/A
19709 | 2021-02-18 15:40 | 6.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7531 | μmol/L | 37.8911 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.987 | 99080.0717 | 298056.4707 | 28.7 | 67.6 | #N/A
19719 | 2021-02-18 15:41 | 6.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4033 | μmol/L | 37.9584 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.986 | 99079.6083 | 298048.6463 | 28.7 | 67.6 | #N/A
19729 | 2021-02-18 15:41 | 7.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1195 | μmol/L | 38.0135 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.985 | 99091.2123 | 298032.6545 | 28.7 | 67.6 | #N/A
19739 | 2021-02-18 15:41 | 7.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.9939 | μmol/L | 38.044 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.982 | 99130.4795 | 298042.0698 | 28.7 | 67.6 | #N/A
19749 | 2021-02-18 15:42 | 7.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.9679 | μmol/L | 38.0318 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.989 | 99217.441 | 298026.7717 | 28.7 | 67.6 | #N/A
19759 | 2021-02-18 15:42 | 8.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.5792 | μmol/L | 38.0869 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.996 | 99252.8004 | 298032.0432 | 28.7 | 67.6 | #N/A
19769 | 2021-02-18 15:42 | 8.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.46 | μmol/L | 38.1236 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.99 | 99269.2871 | 298010.5176 | 28.7 | 67.6 | #N/A
19779 | 2021-02-18 15:43 | 8.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.3417 | μmol/L | 38.1358 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.994 | 99275.7459 | 298019.5364 | 28.7 | 67.6 | #N/A
19789 | 2021-02-18 15:43 | 9.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9523 | μmol/L | 38.2154 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.991 | 99303.948 | 298018.8797 | 28.7 | 67.6 | #N/A
19799 | 2021-02-18 15:43 | 9.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9577 | μmol/L | 38.2337 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.983 | 99302.0781 | 298026.4387 | 28.7 | 67.6 | #N/A
19809 | 2021-02-18 15:44 | 9.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0299 | μmol/L | 38.2276 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.98 | 99298.411 | 298020.784 | 28.7 | 67.6 | #N/A
19819 | 2021-02-18 15:44 | 10.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3448 | μmol/L | 38.3377 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.987 | 99342.0386 | 298017.95 | 28.7 | 67.6 | #N/A
19829 | 2021-02-18 15:44 | 10.3378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6486 | μmol/L | 38.2765 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.989 | 99357.441 | 298012.7993 | 28.7 | 67.6 | #N/A
19839 | 2021-02-18 15:45 | 10.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.0242 | μmol/L | 38.3683 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.999 | 99426.3889 | 297991.4365 | 28.7 | 67.6 | #N/A
19849 | 2021-02-18 15:45 | 11.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.9302 | μmol/L | 38.405 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.991 | 99467.7849 | 297992.5097 | 28.7 | 67.6 | #N/A
19859 | 2021-02-18 15:45 | 11.3378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5159 | μmol/L | 38.4723 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.995 | 99466.8804 | 297986.4577 | 28.7 | 67.6 | #N/A
19869 | 2021-02-18 15:46 | 11.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.2967 | μmol/L | 38.5274 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.989 | 99459.128 | 297974.6987 | 28.7 | 67.6 | #N/A
19879 | 2021-02-18 15:46 | 12.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5048 | μmol/L | 38.5152 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.978 | 99407.5844 | 297979.7158 | 28.7 | 67.6 | #N/A
19889 | 2021-02-18 15:46 | 12.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.9854 | μmol/L | 38.5029 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.946 | 99264.0029 | 297961.5265 | 28.7 | 67.6 | #N/A
19899 | 2021-02-18 15:47 | 12.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6214 | μmol/L | 38.5702 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.946 | 99277.0986 | 297979.4788 | 28.7 | 67.6 | #N/A
19909 | 2021-02-18 15:47 | 13.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.538 | μmol/L | 38.5641 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.955 | 99340.1189 | 297978.5044 | 28.7 | 67.6 | #N/A
19919 | 2021-02-18 15:47 | 13.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1267 | μmol/L | 38.6498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.951 | 99327.8034 | 297953.0235 | 28.7 | 67.6 | #N/A
19929 | 2021-02-18 15:48 | 13.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1289 | μmol/L | 38.6804 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.938 | 99275.728 | 297958.5068 | 28.7 | 67.6 | #N/A
19939 | 2021-02-18 15:48 | 14.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.8143 | μmol/L | 38.7171 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.947 | 99360.8095 | 297963.8432 | 28.7 | 67.6 | #N/A
19949 | 2021-02-18 15:48 | 14.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.447 | μmol/L | 38.7232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.973 | 99516.1162 | 297976.0693 | 28.7 | 67.6 | #N/A
19959 | 2021-02-18 15:49 | 14.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.0003 | μmol/L | 38.7538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.995 | 99669.5096 | 297954.7938 | 28.7 | 67.6 | #N/A
19969 | 2021-02-18 15:49 | 15.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4488 | μmol/L | 38.8089 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.015 | 99793.6303 | 297946.5949 | 28.7 | 67.6 | #N/A
19979 | 2021-02-18 15:49 | 15.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.9825 | μmol/L | 38.8578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.031 | 99905.6783 | 297951.7139 | 28.7 | 67.6 | #N/A
19989 | 2021-02-18 15:50 | 15.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.843 | μmol/L | 38.8578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.042 | 99993.6336 | 297952.2411 | 28.7 | 67.6 | #N/A
19999 | 2021-02-18 15:50 | 16.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.5697 | μmol/L | 38.8639 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.061 | 100084.5538 | 297939.9154 | 28.7 | 67.6 | #N/A
20009 | 2021-02-18 15:50 | 16.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.2672 | μmol/L | 38.8945 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.072 | 100181.6737 | 297943.7812 | 28.7 | 67.6 | #N/A
20019 | 2021-02-18 15:51 | 16.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.3321 | μmol/L | 38.8517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.085 | 100255.7737 | 297937.3587 | 28.7 | 67.6 | #N/A
20029 | 2021-02-18 15:51 | 17.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.8645 | μmol/L | 38.9251 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.091 | 100301.69 | 297945.62 | 28.7 | 67.6 | #N/A
20039 | 2021-02-18 15:51 | 17.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.8116 | μmol/L | 38.9068 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.103 | 100350.6594 | 297927.9401 | 28.7 | 67.6 | #N/A
20049 | 2021-02-18 15:52 | 17.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.0324 | μmol/L | 38.9129 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.082 | 100293.8929 | 297913.3178 | 28.7 | 67.6 | #N/A
20059 | 2021-02-18 15:52 | 18.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.1354 | μmol/L | 39.0781 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.084 | 100275.6882 | 297923.9959 | 28.7 | 67.6 | #N/A
20069 | 2021-02-18 15:52 | 18.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.6283 | μmol/L | 38.9741 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.089 | 100333.9683 | 297922.6633 | 28.7 | 67.6 | #N/A
20079 | 2021-02-18 15:53 | 18.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.8468 | μmol/L | 38.9802 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.069 | 100226.5666 | 297935.5216 | 28.7 | 67.6 | #N/A
20089 | 2021-02-18 15:53 | 19.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.198 | μmol/L | 39.1577 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.045 | 100108.5782 | 297914.0067 | 28.7 | 67.6 | #N/A
20099 | 2021-02-18 15:53 | 19.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.4498 | μmol/L | 39.1271 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.038 | 100057.4115 | 297924.2738 | 28.7 | 67.6 | #N/A
20109 | 2021-02-18 15:54 | 19.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.2559 | μmol/L | 39.1515 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.043 | 100097.1939 | 297910.865 | 28.7 | 67.6 | #N/A
20119 | 2021-02-18 15:54 | 20.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.3948 | μmol/L | 39.1209 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.045 | 100107.8439 | 297916.7395 | 28.7 | 67.6 | #N/A
20129 | 2021-02-18 15:54 | 20.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.1652 | μmol/L | 39.1638 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.045 | 100112.2955 | 297903.3363 | 28.7 | 67.6 | #N/A
20139 | 2021-02-18 15:55 | 20.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.201 | μmol/L | 39.1454 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.05 | 100146.8699 | 297902.6864 | 28.7 | 67.6 | #N/A
20149 | 2021-02-18 15:55 | 21.0045 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.2868 | μmol/L | 39.1271 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.051 | 100173.3624 | 297899.3865 | 28.7 | 67.6 | #N/A
20159 | 2021-02-18 15:55 | 21.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.1423 | μmol/L | 39.1026 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.073 | 100267.5322 | 297898.5719 | 28.7 | 67.6 | #N/A
20169 | 2021-02-18 15:56 | 21.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.7432 | μmol/L | 39.1515 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.084 | 100354.9199 | 297909.3103 | 28.7 | 67.6 | #N/A
20179 | 2021-02-18 15:56 | 22.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.4304 | μmol/L | 39.1821 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.096 | 100402.982 | 297911.6056 | 28.7 | 67.6 | #N/A
20189 | 2021-02-18 15:56 | 22.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.4102 | μmol/L | 39.1883 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.095 | 100420.1542 | 297898.9467 | 28.7 | 67.6 | #N/A
20199 | 2021-02-18 15:57 | 22.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.1724 | μmol/L | 39.2189 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.101 | 100467.7106 | 297891.6149 | 28.7 | 67.6 | #N/A
20209 | 2021-02-18 15:57 | 23.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.6514 | μmol/L | 39.2678 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.122 | 100579.1589 | 297899.4223 | 28.7 | 67.6 | #N/A
20219 | 2021-02-18 15:57 | 23.3378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.522 | μmol/L | 39.2433 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.143 | 100696.0999 | 297894.497 | 28.7 | 67.6 | #N/A
20229 | 2021-02-18 15:58 | 23.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3583 | μmol/L | 39.2556 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.151 | 100764.0427 | 297903.1116 | 28.7 | 67.6 | #N/A
20239 | 2021-02-18 15:58 | 24.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.7389 | μmol/L | 39.1699 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.157 | 100774.6734 | 297895.9899 | 28.7 | 67.6 | #N/A
20249 | 2021-02-18 15:58 | 24.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.318 | μmol/L | 39.2678 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.149 | 100743.1058 | 297891.8715 | 28.7 | 67.6 | #N/A
20259 | 2021-02-18 15:59 | 24.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3426 | μmol/L | 39.2678 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.147 | 100712.2119 | 297876.9898 | 28.7 | 67.6 | #N/A
20269 | 2021-02-18 15:59 | 25.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.9605 | μmol/L | 39.3351 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.149 | 100715.2141 | 297888.3804 | 28.7 | 67.6 | #N/A
20279 | 2021-02-18 15:59 | 25.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3236 | μmol/L | 39.2923 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.138 | 100697.2652 | 297879.6161 | 28.7 | 67.6 | #N/A
20289 | 2021-02-18 16:00 | 25.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.5981 | μmol/L | 39.2127 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.15 | 100751.4225 | 297892.6656 | 28.7 | 67.6 | #N/A
20299 | 2021-02-18 16:00 | 26.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3895 | μmol/L | 39.2311 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.159 | 100825.931 | 297879.5228 | 28.7 | 67.6 | #N/A
20309 | 2021-02-18 16:00 | 26.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.4057 | μmol/L | 39.3657 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.181 | 100937.2002 | 297888.4799 | 28.7 | 67.6 | #N/A
20319 | 2021-02-18 16:01 | 26.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6526 | μmol/L | 39.3168 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.182 | 100933.1324 | 297875.7291 | 28.7 | 67.6 | #N/A
20329 | 2021-02-18 16:01 | 27.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.7911 | μmol/L | 39.3045 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.176 | 100911.2164 | 297882.5195 | 28.7 | 67.6 | #N/A
20339 | 2021-02-18 16:01 | 27.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3207 | μmol/L | 39.3841 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.18 | 100941.2308 | 297876.6177 | 28.7 | 67.6 | #N/A
20349 | 2021-02-18 16:02 | 27.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.251 | μmol/L | 39.3719 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.191 | 100995.8942 | 297876.9698 | 28.7 | 67.6 | #N/A
20359 | 2021-02-18 16:02 | 28.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.9341 | μmol/L | 39.2311 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.196 | 101038.0296 | 297885.3044 | 28.7 | 67.6 | #N/A
20369 | 2021-02-18 16:02 | 28.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6341 | μmol/L | 39.2739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.202 | 101055.286 | 297869.5478 | 28.7 | 67.6 | #N/A
20379 | 2021-02-18 16:03 | 28.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6586 | μmol/L | 39.2739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.2 | 101052.0019 | 297884.3705 | 28.7 | 67.6 | #N/A
20389 | 2021-02-18 16:03 | 29.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6385 | μmol/L | 39.2801 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.199 | 101038.6423 | 297876.8542 | 28.7 | 67.6 | #N/A
20399 | 2021-02-18 16:03 | 29.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3028 | μmol/L | 39.3413 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.2 | 101050.3646 | 297872.861 | 28.7 | 67.6 | #N/A
20409 | 2021-02-18 16:04 | 29.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8733 | μmol/L | 39.3902 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.214 | 101149.0858 | 297882.6903 | 28.7 | 67.6 | #N/A
20419 | 2021-02-18 16:04 | 30.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2078 | μmol/L | 39.3107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.221 | 101150.7981 | 297880.9796 | 28.7 | 67.6 | #N/A
20429 | 2021-02-18 16:04 | 30.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.477 | μmol/L | 39.4331 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.228 | 101167.2577 | 297877.4604 | 28.7 | 67.6 | #N/A
20439 | 2021-02-18 16:05 | 30.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2113 | μmol/L | 39.2984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.226 | 101186.9813 | 297885.1073 | 28.7 | 67.6 | #N/A
20449 | 2021-02-18 16:05 | 31.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2574 | μmol/L | 39.2923 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.224 | 101167.5111 | 297879.1761 | 28.7 | 67.6 | #N/A
20459 | 2021-02-18 16:05 | 31.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.1196 | μmol/L | 39.3045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.23 | 101207.3697 | 297881.6717 | 28.7 | 67.6 | #N/A
20469 | 2021-02-18 16:06 | 31.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.799 | μmol/L | 39.3535 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.236 | 101238.4425 | 297885.1107 | 28.7 | 67.6 | #N/A
20479 | 2021-02-18 16:06 | 32.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0405 | μmol/L | 39.2984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.24 | 101268.968 | 297878.3989 | 28.7 | 67.6 | #N/A
20489 | 2021-02-18 16:06 | 32.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0004 | μmol/L | 39.3107 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.238 | 101230.8666 | 297878.0251 | 28.7 | 67.6 | #N/A
20499 | 2021-02-18 16:07 | 32.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2827 | μmol/L | 39.3107 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.214 | 101119.9316 | 297880.8421 | 28.7 | 67.6 | #N/A
20509 | 2021-02-18 16:07 | 33.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.5387 | μmol/L | 39.2923 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.201 | 101043.5283 | 297867.6513 | 28.7 | 67.6 | #N/A
20519 | 2021-02-18 16:07 | 33.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.5064 | μmol/L | 39.2984 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.201 | 101018.8901 | 297884.8969 | 28.7 | 67.6 | #N/A
20529 | 2021-02-18 16:08 | 33.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.5737 | μmol/L | 39.3413 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.177 | 100909.6353 | 297873.0923 | 28.7 | 67.6 | #N/A
20539 | 2021-02-18 16:08 | 34.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6342 | μmol/L | 39.3229 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.18 | 100920.2002 | 297889.8924 | 28.7 | 67.6 | #N/A
20549 | 2021-02-18 16:08 | 34.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2519 | μmol/L | 39.3535 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.198 | 100992.6685 | 297860.9206 | 28.7 | 67.6 | #N/A
20559 | 2021-02-18 16:09 | 34.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.106 | μmol/L | 39.3719 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.202 | 101047.3919 | 297880.2484 | 28.7 | 67.6 | #N/A
20569 | 2021-02-18 16:09 | 35.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6804 | μmol/L | 39.2678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.2 | 101031.6346 | 297882.9421 | 28.7 | 67.6 | #N/A
20579 | 2021-02-18 16:09 | 35.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6323 | μmol/L | 39.2862 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.196 | 100989.2867 | 297899.9688 | 28.7 | 67.6 | #N/A
20589 | 2021-02-18 16:10 | 35.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3591 | μmol/L | 39.3841 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.176 | 100887.848 | 297885.2802 | 28.7 | 67.6 | #N/A
20599 | 2021-02-18 16:10 | 36.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6026 | μmol/L | 39.3474 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.172 | 100842.1428 | 297879.0405 | 28.7 | 67.6 | #N/A
20609 | 2021-02-18 16:10 | 36.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.0476 | μmol/L | 39.2495 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.178 | 100876.8077 | 297892.6508 | 28.7 | 67.6 | #N/A
20619 | 2021-02-18 16:11 | 36.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.9973 | μmol/L | 39.2311 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.19 | 100956.2696 | 297898.957 | 28.7 | 67.6 | #N/A
20629 | 2021-02-18 16:11 | 37.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.7216 | μmol/L | 39.2739 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.194 | 100980.3749 | 297892.7998 | 28.7 | 67.6 | #N/A
20639 | 2021-02-18 16:11 | 37.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.432 | μmol/L | 39.2801 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.215 | 101082.0161 | 297897.2424 | 28.7 | 67.6 | #N/A
20649 | 2021-02-18 16:12 | 37.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.1074 | μmol/L | 39.3045 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.231 | 101198.2806 | 297906.4875 | 28.7 | 67.6 | #N/A
20659 | 2021-02-18 16:12 | 38.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3445 | μmol/L | 39.2433 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.238 | 101225.5006 | 297898.9759 | 28.7 | 67.6 | #N/A
20669 | 2021-02-18 16:12 | 38.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6681 | μmol/L | 39.2005 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.23 | 101164.9106 | 297890.5849 | 28.7 | 67.6 | #N/A
20679 | 2021-02-18 16:13 | 38.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.9454 | μmol/L | 39.3168 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.239 | 101219.5318 | 297918.2536 | 28.7 | 67.6 | #N/A
20689 | 2021-02-18 16:13 | 39.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.9934 | μmol/L | 39.2984 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.243 | 101237.8113 | 297911.3832 | 28.7 | 67.6 | #N/A
20699 | 2021-02-18 16:13 | 39.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2346 | μmol/L | 39.2433 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.247 | 101266.9543 | 297909.7864 | 28.7 | 67.6 | #N/A
20709 | 2021-02-18 16:14 | 39.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0682 | μmol/L | 39.2495 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.258 | 101321.7879 | 297910.8044 | 28.7 | 67.6 | #N/A
20719 | 2021-02-18 16:14 | 40.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0272 | μmol/L | 39.2433 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.264 | 101342.6548 | 297916.4297 | 28.7 | 67.6 | #N/A
20729 | 2021-02-18 16:14 | 40.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.1171 | μmol/L | 39.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.283 | 101414.973 | 297933.146 | 28.7 | 67.6 | #N/A
20739 | 2021-02-18 16:15 | 40.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4656 | μmol/L | 39.2739 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.297 | 101483.1161 | 297917.1606 | 28.7 | 67.6 | #N/A
20749 | 2021-02-18 16:15 | 41.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8538 | μmol/L | 39.1883 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.302 | 101559.6365 | 297926.1691 | 28.7 | 67.6 | #N/A
20759 | 2021-02-18 16:15 | 41.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.9267 | μmol/L | 39.1883 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.296 | 101505.2627 | 297926.6624 | 28.7 | 67.6 | #N/A
20769 | 2021-02-18 16:16 | 41.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8724 | μmol/L | 39.2311 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.282 | 101454.56 | 297935.1925 | 28.7 | 67.6 | #N/A
20779 | 2021-02-18 16:16 | 42.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3908 | μmol/L | 39.1393 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.279 | 101402.6433 | 297930.878 | 28.7 | 67.6 | #N/A
20789 | 2021-02-18 16:16 | 42.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.4016 | μmol/L | 39.1209 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.286 | 101423.9173 | 297930.5209 | 28.7 | 67.6 | #N/A
20799 | 2021-02-18 16:17 | 42.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3708 | μmol/L | 39.1454 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.278 | 101407.331 | 297931.1127 | 28.7 | 67.6 | #N/A
20809 | 2021-02-18 16:17 | 43.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2768 | μmol/L | 39.2005 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.262 | 101321.9945 | 297929.3131 | 28.7 | 67.6 | #N/A
20819 | 2021-02-18 16:17 | 43.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2956 | μmol/L | 39.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.271 | 101341.8373 | 297942.6166 | 28.7 | 67.6 | #N/A
20829 | 2021-02-18 16:18 | 43.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2247 | μmol/L | 39.2127 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.261 | 101330.6625 | 297933.2848 | 28.7 | 67.6 | #N/A
20839 | 2021-02-18 16:18 | 44.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3123 | μmol/L | 39.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.267 | 101337.5371 | 297950.5813 | 28.7 | 67.6 | #N/A
20849 | 2021-02-18 16:18 | 44.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2069 | μmol/L | 39.1883 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.273 | 101393.8047 | 297948.718 | 28.7 | 67.6 | #N/A
20859 | 2021-02-18 16:19 | 44.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0319 | μmol/L | 39.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.29 | 101468.029 | 297954.8125 | 28.7 | 67.6 | #N/A
20869 | 2021-02-18 16:19 | 45.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8162 | μmol/L | 39.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.313 | 101592.0938 | 297955.9918 | 28.7 | 67.6 | #N/A
20879 | 2021-02-18 16:19 | 45.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.5569 | μmol/L | 39.1638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.337 | 101717.3586 | 297964.6987 | 28.7 | 67.6 | #N/A
20889 | 2021-02-18 16:20 | 45.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.5437 | μmol/L | 39.1454 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.346 | 101784.4264 | 297979.7153 | 28.7 | 67.6 | #N/A
20899 | 2021-02-18 16:20 | 46.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4853 | μmol/L | 39.1821 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.335 | 101737.0342 | 297985.8308 | 28.7 | 67.6 | #N/A
20909 | 2021-02-18 16:20 | 46.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.6661 | μmol/L | 39.1638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.328 | 101708.7794 | 297968.086 | 28.7 | 67.6 | #N/A
20919 | 2021-02-18 16:21 | 46.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0012 | μmol/L | 39.0904 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.332 | 101714.9345 | 297968.2062 | 28.7 | 67.6 | #N/A
20929 | 2021-02-18 16:21 | 47.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.1777 | μmol/L | 39.2433 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.334 | 101734.9125 | 297980.3867 | 28.7 | 67.6 | #N/A
20939 | 2021-02-18 16:21 | 47.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.5149 | μmol/L | 39.2066 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.322 | 101691.0247 | 297976.492 | 28.7 | 67.6 | #N/A
20949 | 2021-02-18 16:22 | 47.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4275 | μmol/L | 39.2372 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.316 | 101660.2998 | 297978.5682 | 28.7 | 67.6 | #N/A
20959 | 2021-02-18 16:22 | 48.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8989 | μmol/L | 39.1332 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.322 | 101666.6375 | 297986.3209 | 28.7 | 67.6 | #N/A
20969 | 2021-02-18 16:22 | 48.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.7875 | μmol/L | 39.1638 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.318 | 101648.7802 | 297994.3822 | 28.7 | 67.6 | #N/A
20979 | 2021-02-18 16:23 | 48.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8272 | μmol/L | 39.1515 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.32 | 101694.6453 | 297983.567 | 28.7 | 67.6 | #N/A
20989 | 2021-02-18 16:23 | 49.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4896 | μmol/L | 39.1883 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.332 | 101769.8979 | 297991.7644 | 28.7 | 67.6 | #N/A
20999 | 2021-02-18 16:23 | 49.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.2485 | μmol/L | 39.2066 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.344 | 101835.29 | 297999.1801 | 28.7 | 67.6 | #N/A
21009 | 2021-02-18 16:24 | 49.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.2277 | μmol/L | 39.1944 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.351 | 101858.6597 | 298000.3835 | 28.7 | 67.6 | #N/A
21019 | 2021-02-18 16:24 | 50.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.8809 | μmol/L | 39.2678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.348 | 101874.1687 | 298002.9102 | 28.7 | 67.6 | #N/A
21029 | 2021-02-18 16:24 | 50.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.8894 | μmol/L | 39.2801 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.342 | 101840.1048 | 298002.4817 | 28.7 | 67.6 | #N/A
21039 | 2021-02-18 16:25 | 50.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.2805 | μmol/L | 39.2005 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.344 | 101837.2125 | 298007.9994 | 28.7 | 67.6 | #N/A
21049 | 2021-02-18 16:25 | 51.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.384 | μmol/L | 39.176 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.346 | 101875.2916 | 297998.7618 | 28.7 | 67.6 | #N/A
21059 | 2021-02-18 16:25 | 51.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.8043 | μmol/L | 39.2617 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.357 | 101946.6671 | 298010.8173 | 28.7 | 67.6 | #N/A
21069 | 2021-02-18 16:26 | 51.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.2777 | μmol/L | 39.3535 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.361 | 101953.791 | 297998.7262 | 28.7 | 67.6 | #N/A
21079 | 2021-02-18 16:26 | 52.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.917 | μmol/L | 39.2678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.345 | 101902.5026 | 298014.3255 | 28.7 | 67.6 | #N/A
21089 | 2021-02-18 16:26 | 52.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.917 | μmol/L | 39.2678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.345 | 101908.8376 | 298007.714 | 28.7 | 67.6 | #N/A
21099 | 2021-02-18 16:27 | 52.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.428 | μmol/L | 39.1699 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.345 | 101917.7755 | 298027.5114 | 28.7 | 67.6 | #N/A
21109 | 2021-02-18 16:27 | 53.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.8567 | μmol/L | 39.2678 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.35 | 101914.6854 | 298016.7139 | 28.7 | 67.6 | #N/A
21119 | 2021-02-18 16:27 | 53.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.1976 | μmol/L | 39.2372 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.335 | 101870.1124 | 298009.4669 | 28.7 | 67.6 | #N/A
21129 | 2021-02-18 16:28 | 53.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.2506 | μmol/L | 39.4208 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.334 | 101884.2689 | 297997.9919 | 28.7 | 67.6 | #N/A
21139 | 2021-02-18 16:28 | 54.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.2905 | μmol/L | 39.4086 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.336 | 101907.0908 | 298018.6564 | 28.7 | 67.6 | #N/A
21149 | 2021-02-18 16:28 | 54.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.7505 | μmol/L | 39.3413 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.327 | 101871.8582 | 298009.5992 | 28.7 | 67.6 | #N/A
21159 | 2021-02-18 16:29 | 54.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.7872 | μmol/L | 39.3596 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.316 | 101830.1799 | 298008.5568 | 28.7 | 67.6 | #N/A
21169 | 2021-02-18 16:29 | 55.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.6907 | μmol/L | 39.3596 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.324 | 101870.5246 | 298014.589 | 28.7 | 67.6 | #N/A
21179 | 2021-02-18 16:29 | 55.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.0548 | μmol/L | 39.4514 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.337 | 101958.4433 | 298015.5381 | 28.7 | 67.6 | #N/A
21189 | 2021-02-18 16:30 | 55.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.1544 | μmol/L | 39.4025 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.35 | 102040.0748 | 298016.899 | 28.7 | 67.6 | #N/A
21199 | 2021-02-18 16:30 | 56.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.4723 | μmol/L | 39.5126 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.359 | 102071.4105 | 298023.5285 | 28.7 | 67.6 | #N/A
21209 | 2021-02-18 16:30 | 56.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.5837 | μmol/L | 39.5188 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.347 | 102014.3789 | 298035.8239 | 28.7 | 67.6 | #N/A
21219 | 2021-02-18 16:31 | 56.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.835 | μmol/L | 39.5004 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.334 | 101978.4066 | 298019.5848 | 28.7 | 67.6 | #N/A
21229 | 2021-02-18 16:31 | 57.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.5115 | μmol/L | 39.5555 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.337 | 102009.0782 | 298021.6977 | 28.7 | 67.6 | #N/A
21239 | 2021-02-18 16:31 | 57.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.6276 | μmol/L | 39.5126 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.346 | 102072.1906 | 298033.9815 | 28.7 | 67.6 | #N/A
21249 | 2021-02-18 16:32 | 57.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.2729 | μmol/L | 39.5555 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.357 | 102119.6874 | 298027.3753 | 28.7 | 67.6 | #N/A
21259 | 2021-02-18 16:32 | 58.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.9889 | μmol/L | 39.635 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.346 | 102087.2153 | 298033.5302 | 28.7 | 67.6 | #N/A
21269 | 2021-02-18 16:32 | 58.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.5715 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.34 | 102034.9981 | 298029.7703 | 28.7 | 67.6 | #N/A
21279 | 2021-02-18 16:33 | 58.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.5157 | μmol/L | 39.5432 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.342 | 102069.8757 | 298032.0223 | 28.7 | 67.6 | #N/A
21289 | 2021-02-18 16:33 | 59.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.532 | μmol/L | 39.5126 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.354 | 102141.1905 | 298038.3786 | 28.7 | 67.6 | #N/A
21299 | 2021-02-18 16:33 | 59.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.683 | μmol/L | 39.6595 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.361 | 102183.4233 | 298029.0079 | 28.7 | 67.6 | #N/A
21309 | 2021-02-18 16:34 | 59.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.7245 | μmol/L | 39.6106 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.379 | 102268.6756 | 298034.2024 | 28.7 | 67.6 | #N/A
21319 | 2021-02-18 16:34 | 60.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.7688 | μmol/L | 39.5861 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.386 | 102331.4761 | 298037.0467 | 28.7 | 67.6 | #N/A
21329 | 2021-02-18 16:34 | 60.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.8842 | μmol/L | 39.5616 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.387 | 102374.3913 | 298026.2848 | 28.7 | 67.6 | #N/A
21339 | 2021-02-18 16:35 | 60.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0225 | μmol/L | 39.7024 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.398 | 102420.5516 | 298035.4265 | 28.7 | 67.6 | #N/A
21349 | 2021-02-18 16:35 | 61.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.6184 | μmol/L | 39.5922 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.396 | 102435.2132 | 298030.6556 | 28.7 | 67.6 | #N/A
21359 | 2021-02-18 16:35 | 61.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2185 | μmol/L | 39.7146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.376 | 102302.3699 | 298036.6204 | 28.7 | 67.6 | #N/A
21369 | 2021-02-18 16:36 | 61.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2436 | μmol/L | 39.7575 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.355 | 102198.1915 | 298036.729 | 28.7 | 67.6 | #N/A
21379 | 2021-02-18 16:36 | 62.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.3641 | μmol/L | 39.7207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.361 | 102242.8142 | 298048.8112 | 28.7 | 67.6 | #N/A
21389 | 2021-02-18 16:36 | 62.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.8187 | μmol/L | 39.6289 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.363 | 102267.1949 | 298038.7821 | 28.7 | 67.6 | #N/A
21399 | 2021-02-18 16:37 | 62.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2257 | μmol/L | 39.7269 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.37 | 102298.1762 | 298047.0109 | 28.7 | 67.6 | #N/A
21409 | 2021-02-18 16:37 | 63.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.1831 | μmol/L | 39.7146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.379 | 102356.3341 | 298041.3786 | 28.7 | 67.6 | #N/A
21419 | 2021-02-18 16:37 | 63.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.9624 | μmol/L | 39.7207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.395 | 102453.6618 | 298035.9598 | 28.7 | 67.6 | #N/A
21429 | 2021-02-18 16:38 | 63.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8784 | μmol/L | 39.6779 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.421 | 102571.386 | 298046.7199 | 28.7 | 67.6 | #N/A
21439 | 2021-02-18 16:38 | 64.0045 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7091 | μmol/L | 39.6901 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.43 | 102636.3077 | 298049.1057 | 28.7 | 67.6 | #N/A
21449 | 2021-02-18 16:38 | 64.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.2101 | μmol/L | 39.7819 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.432 | 102664.0328 | 298051.5709 | 28.7 | 67.6 | #N/A
21459 | 2021-02-18 16:39 | 64.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.3417 | μmol/L | 39.7452 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.437 | 102683.771 | 298036.6887 | 28.7 | 67.6 | #N/A
21469 | 2021-02-18 16:39 | 65.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1274 | μmol/L | 39.7391 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.458 | 102780.6571 | 298053.3121 | 28.7 | 67.6 | #N/A
21479 | 2021-02-18 16:39 | 65.3378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1308 | μmol/L | 39.7452 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.455 | 102800.3661 | 298062.3409 | 28.7 | 67.6 | #N/A
21489 | 2021-02-18 16:40 | 65.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7727 | μmol/L | 39.7942 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.464 | 102809.0267 | 298033.5438 | 28.7 | 67.6 | #N/A
21499 | 2021-02-18 16:40 | 66.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1321 | μmol/L | 39.7269 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.463 | 102848.6528 | 298036.3885 | 28.7 | 67.6 | #N/A
21509 | 2021-02-18 16:40 | 66.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.0281 | μmol/L | 39.7085 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.48 | 102926.687 | 298048.7868 | 28.7 | 67.6 | #N/A
21519 | 2021-02-18 16:41 | 66.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.792 | μmol/L | 39.7452 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.484 | 102931.47 | 298048.7472 | 28.7 | 67.6 | #N/A
21529 | 2021-02-18 16:41 | 67.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1263 | μmol/L | 39.6963 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.477 | 102922.3692 | 298041.8417 | 28.7 | 67.6 | #N/A
21539 | 2021-02-18 16:41 | 67.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.3086 | μmol/L | 39.6473 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.483 | 102930.8758 | 298061.0128 | 28.7 | 67.6 | #N/A
21549 | 2021-02-18 16:42 | 67.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8236 | μmol/L | 39.7391 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.484 | 102973.4486 | 298053.5202 | 28.7 | 67.6 | #N/A
21559 | 2021-02-18 16:42 | 68.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9242 | μmol/L | 39.6901 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.497 | 103031.895 | 298064.6332 | 28.7 | 67.6 | #N/A
21569 | 2021-02-18 16:42 | 68.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7772 | μmol/L | 39.6779 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.515 | 103137.6755 | 298058.9984 | 28.7 | 67.6 | #N/A
21579 | 2021-02-18 16:43 | 68.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7586 | μmol/L | 39.6656 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.522 | 103154.1148 | 298053.5984 | 28.7 | 67.6 | #N/A
21589 | 2021-02-18 16:43 | 69.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9427 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.517 | 103155.1047 | 298071.406 | 28.7 | 67.6 | #N/A
21599 | 2021-02-18 16:43 | 69.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.4776 | μmol/L | 39.7452 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.511 | 103109.0466 | 298054.2016 | 28.7 | 67.6 | #N/A
21609 | 2021-02-18 16:44 | 69.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.433 | μmol/L | 39.7697 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.504 | 103075.0493 | 298065.9573 | 28.7 | 67.6 | #N/A
21619 | 2021-02-18 16:44 | 70.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6268 | μmol/L | 39.7207 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.509 | 103091.9144 | 298064.8276 | 28.7 | 67.6 | #N/A
21629 | 2021-02-18 16:44 | 70.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.4694 | μmol/L | 39.7513 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.509 | 103074.4627 | 298063.457 | 28.7 | 67.6 | #N/A
21639 | 2021-02-18 16:45 | 70.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9451 | μmol/L | 39.6656 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.506 | 103097.0081 | 298056.9501 | 28.7 | 67.6 | #N/A
21649 | 2021-02-18 16:45 | 71.0044 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8564 | μmol/L | 39.6534 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.519 | 103138.814 | 298077.3989 | 28.7 | 67.6 | #N/A
21659 | 2021-02-18 16:45 | 71.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7388 | μmol/L | 39.6718 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.521 | 103160.4377 | 298082.4261 | 28.7 | 67.6 | #N/A
21669 | 2021-02-18 16:46 | 71.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.2438 | μmol/L | 39.7636 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.523 | 103171.4633 | 298078.8308 | 28.7 | 67.6 | #N/A
21679 | 2021-02-18 16:46 | 72.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.5979 | μmol/L | 39.6901 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.525 | 103180.0163 | 298077.5537 | 28.7 | 67.6 | #N/A
21689 | 2021-02-18 16:46 | 72.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8306 | μmol/L | 39.6289 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.532 | 103239.984 | 298079.4821 | 28.7 | 67.6 | #N/A
21699 | 2021-02-18 16:47 | 72.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6059 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.554 | 103338.3803 | 298079.4584 | 28.7 | 67.6 | #N/A
21709 | 2021-02-18 16:47 | 73.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.5604 | μmol/L | 39.6044 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.566 | 103396.522 | 298075.0301 | 28.7 | 67.6 | #N/A
21719 | 2021-02-18 16:47 | 73.3377 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.8693 | μmol/L | 39.7146 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.577 | 103478.7556 | 298067.0815 | 28.7 | 67.6 | #N/A
21729 | 2021-02-18 16:48 | 73.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.1186 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.596 | 103566.0093 | 298061.8272 | 28.7 | 67.6 | #N/A
21739 | 2021-02-18 16:48 | 74.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.8526 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.619 | 103685.6808 | 298079.8171 | 28.7 | 67.6 | #N/A
21749 | 2021-02-18 16:48 | 74.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.5422 | μmol/L | 39.6656 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.627 | 103753.8044 | 298082.8812 | 28.7 | 67.6 | #N/A
21759 | 2021-02-18 16:49 | 74.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.0583 | μmol/L | 39.6595 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.585 | 103507.7925 | 298080.6207 | 28.7 | 67.6 | #N/A
21769 | 2021-02-18 16:49 | 75.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9904 | μmol/L | 39.6228 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.521 | 103174.0906 | 298082.1397 | 28.7 | 67.6 | #N/A
21779 | 2021-02-18 16:49 | 75.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.5088 | μmol/L | 39.6289 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.474 | 102893.5834 | 298079.2608 | 28.7 | 67.6 | #N/A
21789 | 2021-02-18 16:50 | 75.6708 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.4105 | μmol/L | 39.6412 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.477 | 102903.0713 | 298082.0476 | 28.7 | 67.6 | #N/A
21799 | 2021-02-18 16:50 | 76.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.5113 | μmol/L | 39.5738 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.498 | 103030.5736 | 298081.8723 | 28.7 | 67.6 | #N/A
21809 | 2021-02-18 16:50 | 76.3374 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.0542 | μmol/L | 39.5922 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.529 | 103189.0871 | 298073.7153 | 28.7 | 67.6 | #N/A
21819 | 2021-02-18 16:51 | 76.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8245 | μmol/L | 39.5983 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.546 | 103280.2152 | 298079.6961 | 28.7 | 67.6 | #N/A
21829 | 2021-02-18 16:51 | 77.0043 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8057 | μmol/L | 39.5861 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.553 | 103328.0278 | 298071.8519 | 28.7 | 67.6 | #N/A
21839 | 2021-02-18 16:51 | 77.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.76 | μmol/L | 39.5677 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.565 | 103361.2432 | 298069.7232 | 28.7 | 67.6 | #N/A
21849 | 2021-02-18 16:52 | 77.6709 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6213 | μmol/L | 39.5494 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.585 | 103469.5046 | 298068.7742 | 28.7 | 67.6 | #N/A
21859 | 2021-02-18 16:52 | 78.0045 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7158 | μmol/L | 39.5126 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.593 | 103514.2321 | 298057.6384 | 28.7 | 67.6 | #N/A
21869 | 2021-02-18 16:52 | 78.3376 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6148 | μmol/L | 39.5188 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 103538.5024 | 298061.7311 | 28.7 | 67.6 | #N/A
21879 | 2021-02-18 16:53 | 78.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.3703 | μmol/L | 39.5371 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.612 | 103609.9956 | 298059.9592 | 28.7 | 67.6 | #N/A
21889 | 2021-02-18 16:53 | 79.0042 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6278 | μmol/L | 39.482 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.614 | 103635.3165 | 298041.1155 | 28.7 | 67.6 | #N/A
21899 | 2021-02-18 16:53 | 79.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.5618 | μmol/L | 39.4882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.617 | 103641.535 | 298049.9032 | 28.7 | 67.6 | #N/A
21909 | 2021-02-18 16:54 | 79.6711 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7832 | μmol/L | 39.4698 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.606 | 103552.2823 | 298063.7141 | 28.7 | 67.6 | #N/A
21919 | 2021-02-18 16:54 | 80.0041 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.0082 | μmol/L | 39.4759 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.584 | 103445.715 | 298061.4681 | 28.7 | 67.6 | #N/A
21929 | 2021-02-18 16:54 | 80.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9076 | μmol/L | 39.4637 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.598 | 103513.6107 | 298062.1361 | 28.7 | 67.6 | #N/A
21939 | 2021-02-18 16:55 | 80.671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8261 | μmol/L | 39.4637 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.605 | 103552.9622 | 298064.9213 | 28.7 | 67.6 | #N/A
21949 | 2021-02-18 16:55 | 81.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6707 | μmol/L | 39.4759 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.613 | 103568.7987 | 298072.4475 | 28.7 | 67.6 | #N/A
21959 | 2021-02-18 16:55 | 81.3378 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.648 | μmol/L | 39.4576 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.623 | 103630.3331 | 298072.88 | 28.7 | 67.6 | #N/A
21969 | 2021-02-18 16:56 | 81.6707 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8345 | μmol/L | 39.4392 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.615 | 103612.5583 | 298043.7747 | 28.7 | 67.6 | #N/A
21979 | 2021-02-18 16:56 | 82.0045 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7954 | μmol/L | 39.4514 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.613 | 103574.0942 | 298062.1864 | 28.7 | 67.6 | #N/A
21989 | 2021-02-18 16:56 | 82.3375 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1379 | μmol/L | 39.4208 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.597 | 103481.2556 | 298061.4479 | 28.7 | 67.6 | #N/A
21999 | 2021-02-18 16:57 | 82.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7128 | μmol/L | 39.4882 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.604 | 103293.4933 | 298065.4092 | 28.7 | 67.6 | #N/A