## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 15:00

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
17160 | 2021-02-18 13:39 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.231 | μmol/L | 33.9556 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.87 | 152248.0729 | 278468.7651 | 36.4 | 83.1
17170 | 2021-02-18 13:40 | 0.33706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3552 | μmol/L | 33.9802 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.853 | 152120.7275 | 278435.7585 | 36.4 | 83.1
17180 | 2021-02-18 13:40 | 0.66988 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2564 | μmol/L | 34.0048 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.85 | 152074.0488 | 278399.8291 | 36.4 | 83.1
17190 | 2021-02-18 13:40 | 1.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4237 | μmol/L | 33.974 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.851 | 152061.217 | 278374.3718 | 36.4 | 83.1
17200 | 2021-02-18 13:41 | 1.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.3473 | μmol/L | 33.8325 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.846 | 152013.0101 | 278351.5757 | 36.4 | 83.1
17210 | 2021-02-18 13:41 | 1.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.0471 | μmol/L | 33.8694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.851 | 152009.3281 | 278313.5489 | 36.4 | 83.1
17220 | 2021-02-18 13:41 | 2.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.7601 | μmol/L | 33.9309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.846 | 151940.4015 | 278286.9829 | 36.4 | 83.1
17230 | 2021-02-18 13:42 | 2.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.9341 | μmol/L | 33.9125 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.842 | 151895.7349 | 278273.6952 | 36.4 | 83.1
17240 | 2021-02-18 13:42 | 2.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.7204 | μmol/L | 33.9617 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.837 | 151821.7312 | 278247.3426 | 36.4 | 83.1
17250 | 2021-02-18 13:42 | 3.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3775 | μmol/L | 33.9925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.847 | 151886.1164 | 278210.6166 | 36.4 | 83.1
17260 | 2021-02-18 13:43 | 3.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3297 | μmol/L | 33.9925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.85 | 151875.2284 | 278187.2261 | 36.4 | 83.1
17270 | 2021-02-18 13:43 | 3.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4365 | μmol/L | 33.9986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.841 | 151799.3637 | 278166.7761 | 36.4 | 83.1
17280 | 2021-02-18 13:43 | 4.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.6661 | μmol/L | 33.9494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.845 | 151815.0843 | 278144.8411 | 36.4 | 83.1
17290 | 2021-02-18 13:44 | 4.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.8252 | μmol/L | 33.8879 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.858 | 151884.4821 | 278112.8427 | 36.4 | 83.1
17300 | 2021-02-18 13:44 | 4.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.5604 | μmol/L | 33.9002 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.87 | 151934.2976 | 278072.497 | 36.4 | 83.1
17310 | 2021-02-18 13:44 | 5.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.1132 | μmol/L | 33.9433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.882 | 152044.5059 | 278058.3054 | 36.4 | 83.1
17320 | 2021-02-18 13:45 | 5.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.6718 | μmol/L | 33.9802 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.896 | 152134.5144 | 278025.4607 | 36.4 | 83.1
17330 | 2021-02-18 13:45 | 5.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.1259 | μmol/L | 33.9063 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.895 | 152121.2002 | 278004.9499 | 36.4 | 83.1
17340 | 2021-02-18 13:45 | 6.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.002 | μmol/L | 33.9433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.889 | 152039.3932 | 277991.7528 | 36.4 | 83.1
17350 | 2021-02-18 13:46 | 6.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.9194 | μmol/L | 33.9679 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.885 | 151977.8778 | 277964.1936 | 36.4 | 83.1
17360 | 2021-02-18 13:46 | 6.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2548 | μmol/L | 33.9248 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.88 | 151916.3086 | 277934.0589 | 36.4 | 83.1
17370 | 2021-02-18 13:46 | 7.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.3232 | μmol/L | 33.9186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.878 | 151872.0778 | 277909.5695 | 36.4 | 83.1
17380 | 2021-02-18 13:47 | 7.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2818 | μmol/L | 33.9309 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.876 | 151852.1135 | 277880.6968 | 36.4 | 83.1
17390 | 2021-02-18 13:47 | 7.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.1132 | μmol/L | 33.9433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.882 | 151884.8643 | 277846.9638 | 36.4 | 83.1
17400 | 2021-02-18 13:47 | 8.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.4565 | μmol/L | 33.8694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.888 | 151896.1196 | 277825.9295 | 36.4 | 83.1
17410 | 2021-02-18 13:48 | 8.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.1624 | μmol/L | 33.9002 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.895 | 151937.1506 | 277805.1819 | 36.4 | 83.1
17420 | 2021-02-18 13:48 | 8.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2161 | μmol/L | 33.851 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.91 | 152015.1553 | 277789.9234 | 36.4 | 83.1
17430 | 2021-02-18 13:48 | 9.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.691 | μmol/L | 33.894 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.927 | 152151.8396 | 277753.7394 | 36.4 | 83.1
17440 | 2021-02-18 13:49 | 9.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.4172 | μmol/L | 33.9002 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.942 | 152287.9222 | 277730.285 | 36.4 | 83.1
17450 | 2021-02-18 13:49 | 9.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.4251 | μmol/L | 33.8694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.953 | 152296.4417 | 277702.6833 | 36.4 | 83.1
17460 | 2021-02-18 13:49 | 10.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.3872 | μmol/L | 33.8571 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.96 | 152362.9037 | 277682.8342 | 36.4 | 83.1
17470 | 2021-02-18 13:50 | 10.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.0114 | μmol/L | 33.894 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.97 | 152394.0781 | 277665.2493 | 36.4 | 83.1
17480 | 2021-02-18 13:50 | 10.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7502 | μmol/L | 33.8448 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.005 | 152655.8585 | 277631.5368 | 36.4 | 83.1
17490 | 2021-02-18 13:50 | 11.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.6354 | μmol/L | 33.851 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.01 | 152687.5204 | 277605.181 | 36.4 | 83.1
17500 | 2021-02-18 13:51 | 11.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7125 | μmol/L | 33.8325 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.012 | 152692.3095 | 277586.4292 | 36.4 | 83.1
17510 | 2021-02-18 13:51 | 11.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3133 | μmol/L | 33.8817 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.019 | 152730.5361 | 277559.5389 | 36.4 | 83.1
17520 | 2021-02-18 13:51 | 12.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.1504 | μmol/L | 33.8694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.034 | 152828.0754 | 277528.7501 | 36.4 | 83.1
17530 | 2021-02-18 13:52 | 12.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.6922 | μmol/L | 33.7771 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.034 | 152798.1375 | 277501.6615 | 36.4 | 83.1
17540 | 2021-02-18 13:52 | 12.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.2198 | μmol/L | 33.8202 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.048 | 152863.2651 | 277485.2064 | 36.4 | 83.1
17550 | 2021-02-18 13:52 | 13.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.0224 | μmol/L | 33.8325 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 152951.6404 | 277463.7659 | 36.4 | 83.1
17560 | 2021-02-18 13:53 | 13.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.8699 | μmol/L | 33.8879 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.045 | 152841.721 | 277443.7785 | 36.4 | 83.1
17570 | 2021-02-18 13:53 | 13.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3389 | μmol/L | 33.8079 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.045 | 152812.4728 | 277407.8861 | 36.4 | 83.1
17580 | 2021-02-18 13:53 | 14.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.8061 | μmol/L | 33.8694 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.056 | 152861.8303 | 277402.0574 | 36.4 | 83.1
17590 | 2021-02-18 13:54 | 14.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3812 | μmol/L | 33.894 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.074 | 152983.0759 | 277375.8026 | 36.4 | 83.1
17600 | 2021-02-18 13:54 | 14.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.6751 | μmol/L | 33.9617 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.094 | 153135.197 | 277340.0408 | 36.4 | 83.1
17610 | 2021-02-18 13:54 | 15.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.6159 | μmol/L | 33.9186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.114 | 153254.6427 | 277319.4709 | 36.4 | 83.1
17620 | 2021-02-18 13:55 | 15.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.2528 | μmol/L | 33.9863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.112 | 153245.3991 | 277292.2614 | 36.4 | 83.1
17630 | 2021-02-18 13:55 | 15.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.9852 | μmol/L | 33.9925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.127 | 153332.5753 | 277266.1832 | 36.4 | 83.1
17640 | 2021-02-18 13:55 | 16.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.0039 | μmol/L | 33.9494 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.142 | 153412.3543 | 277239.9068 | 36.4 | 83.1
17650 | 2021-02-18 13:56 | 16.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.739 | μmol/L | 34.0109 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.136 | 153394.633 | 277227.4731 | 36.4 | 83.1
17660 | 2021-02-18 13:56 | 16.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8861 | μmol/L | 33.9617 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.145 | 153412.7102 | 277211.3558 | 36.4 | 83.1
17670 | 2021-02-18 13:56 | 17.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.9015 | μmol/L | 33.9617 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.144 | 153404.8265 | 277176.9562 | 36.4 | 83.1
17680 | 2021-02-18 13:57 | 17.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.529 | μmol/L | 34.0232 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.145 | 153382.2485 | 277161.4717 | 36.4 | 83.1
17690 | 2021-02-18 13:57 | 17.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4175 | μmol/L | 34.0663 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.136 | 153302.1171 | 277137.5947 | 36.4 | 83.1
17700 | 2021-02-18 13:57 | 18.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.8211 | μmol/L | 34.0048 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.133 | 153243.5193 | 277120.811 | 36.4 | 83.1
17710 | 2021-02-18 13:58 | 18.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5764 | μmol/L | 34.0601 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.128 | 153208.4615 | 277084.2454 | 36.4 | 83.1
17720 | 2021-02-18 13:58 | 18.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.4994 | μmol/L | 34.0601 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.133 | 153219.7753 | 277081.0069 | 36.4 | 83.1
17730 | 2021-02-18 13:58 | 19.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.1011 | μmol/L | 34.1155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.138 | 153238.1338 | 277048.0863 | 36.4 | 83.1
17740 | 2021-02-18 13:59 | 19.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6577 | μmol/L | 34.0355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.132 | 153163.1317 | 277021.8208 | 36.4 | 83.1
17750 | 2021-02-18 13:59 | 19.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.2389 | μmol/L | 34.0971 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.136 | 153187.8445 | 277002.8736 | 36.4 | 83.1
17760 | 2021-02-18 13:59 | 20.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.9575 | μmol/L | 34.1032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.152 | 153292.7942 | 276976.4396 | 36.4 | 83.1
17770 | 2021-02-18 14:00 | 20.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.4478 | μmol/L | 34.1463 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.169 | 153425.1671 | 276966.9862 | 36.4 | 83.1
17780 | 2021-02-18 14:00 | 20.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.2288 | μmol/L | 34.1524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.181 | 153485.7734 | 276934.8166 | 36.4 | 83.1
17790 | 2021-02-18 14:00 | 21.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.6906 | μmol/L | 34.1771 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.207 | 153690.1303 | 276905.2847 | 36.4 | 83.1
17800 | 2021-02-18 14:01 | 21.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.5183 | μmol/L | 34.2017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.209 | 153704.3621 | 276896.0793 | 36.4 | 83.1
17810 | 2021-02-18 14:01 | 21.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.4829 | μmol/L | 34.2263 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.202 | 153627.0084 | 276883.6892 | 36.4 | 83.1
17820 | 2021-02-18 14:01 | 22.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.2903 | μmol/L | 34.2755 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.196 | 153593.7546 | 276861.2701 | 36.4 | 83.1
17830 | 2021-02-18 14:02 | 22.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.1078 | μmol/L | 34.3124 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.194 | 153546.4895 | 276834.7393 | 36.4 | 83.1
17840 | 2021-02-18 14:02 | 22.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.0425 | μmol/L | 34.2817 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.21 | 153648.6911 | 276815.693 | 36.4 | 83.1
17850 | 2021-02-18 14:02 | 23.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.9716 | μmol/L | 34.294 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.21 | 153620.1478 | 276788.1283 | 36.4 | 83.1
17860 | 2021-02-18 14:03 | 23.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.0726 | μmol/L | 34.3001 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.201 | 153559.2012 | 276760.8584 | 36.4 | 83.1
17870 | 2021-02-18 14:03 | 23.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.0623 | μmol/L | 34.3124 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.197 | 153508.592 | 276743.7806 | 36.4 | 83.1
17880 | 2021-02-18 14:03 | 24.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.8445 | μmol/L | 34.3555 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.195 | 153488.0971 | 276727.9253 | 36.4 | 83.1
17890 | 2021-02-18 14:04 | 24.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.7174 | μmol/L | 34.3986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.187 | 153389.602 | 276702.5715 | 36.4 | 83.1
17900 | 2021-02-18 14:04 | 24.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.5964 | μmol/L | 34.3986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.195 | 153442.4789 | 276677.1064 | 36.4 | 83.1
17910 | 2021-02-18 14:04 | 25.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.9054 | μmol/L | 34.337 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.198 | 153464.043 | 276664.7221 | 36.4 | 83.1
17920 | 2021-02-18 14:05 | 25.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.5614 | μmol/L | 34.3863 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.202 | 153479.9962 | 276631.5555 | 36.4 | 83.1
17930 | 2021-02-18 14:05 | 25.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.9511 | μmol/L | 34.3186 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.202 | 153489.499 | 276617.0754 | 36.4 | 83.1
17940 | 2021-02-18 14:05 | 26.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1285 | μmol/L | 34.3986 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.226 | 153635.7908 | 276603.5389 | 36.4 | 83.1
17950 | 2021-02-18 14:06 | 26.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9426 | μmol/L | 34.4047 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.236 | 153710.582 | 276579.462 | 36.4 | 83.1
17960 | 2021-02-18 14:06 | 26.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6909 | μmol/L | 34.4355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.241 | 153735.3433 | 276559.8199 | 36.4 | 83.1
17970 | 2021-02-18 14:06 | 27.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.715 | μmol/L | 34.4601 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.23 | 153623.4759 | 276544.5199 | 36.4 | 83.1
17980 | 2021-02-18 14:07 | 27.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5858 | μmol/L | 34.4355 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.248 | 153741.3951 | 276528.0083 | 36.4 | 83.1
17990 | 2021-02-18 14:07 | 27.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3203 | μmol/L | 34.4478 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.261 | 153820.6848 | 276486.3235 | 36.4 | 83.1
18000 | 2021-02-18 14:07 | 28.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1038 | μmol/L | 34.4909 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.259 | 153794.283 | 276470.9049 | 36.4 | 83.1
18010 | 2021-02-18 14:08 | 28.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3953 | μmol/L | 34.4478 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.256 | 153750.7836 | 276464.4899 | 36.4 | 83.1
18020 | 2021-02-18 14:08 | 28.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2183 | μmol/L | 34.497 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.249 | 153664.6623 | 276441.219 | 36.4 | 83.1
18030 | 2021-02-18 14:08 | 29.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5377 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.223 | 153458.8141 | 276419.7306 | 36.4 | 83.1
18040 | 2021-02-18 14:09 | 29.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8451 | μmol/L | 34.4663 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.219 | 153421.323 | 276399.9391 | 36.4 | 83.1
18050 | 2021-02-18 14:09 | 29.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.851 | μmol/L | 34.4416 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.228 | 153487.4564 | 276374.7376 | 36.4 | 83.1
18060 | 2021-02-18 14:09 | 30.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8066 | μmol/L | 34.4232 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.238 | 153563.5578 | 276375.8904 | 36.4 | 83.1
18070 | 2021-02-18 14:10 | 30.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1381 | μmol/L | 34.5032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.252 | 153648.142 | 276344.0965 | 36.4 | 83.1
18080 | 2021-02-18 14:10 | 30.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2782 | μmol/L | 34.497 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.245 | 153563.7954 | 276322.7923 | 36.4 | 83.1
18090 | 2021-02-18 14:10 | 31.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4926 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.226 | 153415.1988 | 276309.2398 | 36.4 | 83.1
18100 | 2021-02-18 14:11 | 31.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5174 | μmol/L | 34.5155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.222 | 153358.3232 | 276297.3119 | 36.4 | 83.1
18110 | 2021-02-18 14:11 | 31.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6323 | μmol/L | 34.5216 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.212 | 153275.5235 | 276265.0694 | 36.4 | 83.1
18120 | 2021-02-18 14:11 | 32.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2315 | μmol/L | 34.5339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.234 | 153420.5112 | 276252.3339 | 36.4 | 83.1
18130 | 2021-02-18 14:12 | 32.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0604 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.236 | 153419.623 | 276250.3059 | 36.4 | 83.1
18140 | 2021-02-18 14:12 | 32.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.9098 | μmol/L | 34.577 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.239 | 153445.6236 | 276222.9416 | 36.4 | 83.1
18150 | 2021-02-18 14:12 | 33.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5332 | μmol/L | 34.497 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.228 | 153331.5489 | 276200.3162 | 36.4 | 83.1
18160 | 2021-02-18 14:13 | 33.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6497 | μmol/L | 34.4663 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.232 | 153348.2481 | 276188.1177 | 36.4 | 83.1
18170 | 2021-02-18 14:13 | 33.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.947 | μmol/L | 34.5339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.253 | 153499.8941 | 276159.4382 | 36.4 | 83.1
18180 | 2021-02-18 14:13 | 34.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.043 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.256 | 153501.7935 | 276140.5891 | 36.4 | 83.1
18190 | 2021-02-18 14:14 | 34.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.131 | μmol/L | 34.5462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.236 | 153322.7416 | 276127.5722 | 36.4 | 83.1
18200 | 2021-02-18 14:14 | 34.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0754 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.235 | 153288.7647 | 276106.9293 | 36.4 | 83.1
18210 | 2021-02-18 14:14 | 35.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0305 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.238 | 153299.0042 | 276087.9921 | 36.4 | 83.1
18220 | 2021-02-18 14:15 | 35.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.9108 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.246 | 153356.263 | 276063.9948 | 36.4 | 83.1
18230 | 2021-02-18 14:15 | 35.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8659 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.249 | 153364.0549 | 276045.1167 | 36.4 | 83.1
18240 | 2021-02-18 14:15 | 36.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8659 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.249 | 153345.707 | 276034.8208 | 36.4 | 83.1
18250 | 2021-02-18 14:16 | 36.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2068 | μmol/L | 34.5278 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.238 | 153245.1962 | 276023.9556 | 36.4 | 83.1
18260 | 2021-02-18 14:16 | 36.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0102 | μmol/L | 34.5647 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.237 | 153206.6885 | 275991.6348 | 36.4 | 83.1
18270 | 2021-02-18 14:16 | 37.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5459 | μmol/L | 34.5832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.261 | 153390.2813 | 275980.4669 | 36.4 | 83.1
18280 | 2021-02-18 14:17 | 37.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.9981 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.259 | 153355.8142 | 275975.3948 | 36.4 | 83.1
18290 | 2021-02-18 14:17 | 37.6698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.85 | μmol/L | 34.577 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.243 | 153217.3184 | 275958.5088 | 36.4 | 83.1
18300 | 2021-02-18 14:17 | 38.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1416 | μmol/L | 34.5339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.24 | 153184.6008 | 275934.898 | 36.4 | 83.1
18310 | 2021-02-18 14:18 | 38.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7474 | μmol/L | 34.5401 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.264 | 153353.2023 | 275920.6412 | 36.4 | 83.1
18320 | 2021-02-18 14:18 | 38.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7368 | μmol/L | 34.5524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.26 | 153331.8032 | 275904.1272 | 36.4 | 83.1
18330 | 2021-02-18 14:18 | 39.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.9981 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.259 | 153307.847 | 275899.6946 | 36.4 | 83.1
18340 | 2021-02-18 14:19 | 39.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3086 | μmol/L | 34.5647 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.284 | 153465.6306 | 275874.8367 | 36.4 | 83.1
18350 | 2021-02-18 14:19 | 39.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3331 | μmol/L | 34.5709 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.28 | 153451.6464 | 275875.1828 | 36.4 | 83.1
18360 | 2021-02-18 14:19 | 40.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3437 | μmol/L | 34.5586 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.284 | 153446.347 | 275858.4776 | 36.4 | 83.1
18370 | 2021-02-18 14:20 | 40.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5875 | μmol/L | 34.5524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.27 | 153323.4145 | 275853.6904 | 36.4 | 83.1
18380 | 2021-02-18 14:20 | 40.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8713 | μmol/L | 34.5524 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.251 | 153169.6005 | 275829.2973 | 36.4 | 83.1
18390 | 2021-02-18 14:20 | 41.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7527 | μmol/L | 34.5339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.266 | 153271.6722 | 275813.9399 | 36.4 | 83.1
18400 | 2021-02-18 14:21 | 41.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0078 | μmol/L | 34.5155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.256 | 153183.8663 | 275802.6057 | 36.4 | 83.1
18410 | 2021-02-18 14:21 | 41.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7484 | μmol/L | 34.5216 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.271 | 153252.4154 | 275779.174 | 36.4 | 83.1
18420 | 2021-02-18 14:21 | 42.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3916 | μmol/L | 34.5032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.302 | 153511.67 | 275772.7919 | 36.4 | 83.1
18430 | 2021-02-18 14:22 | 42.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0885 | μmol/L | 34.5155 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.317 | 153624.0606 | 275763.8252 | 36.4 | 83.1
18440 | 2021-02-18 14:22 | 42.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.213 | μmol/L | 34.5032 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.314 | 153568.9986 | 275726.0357 | 36.4 | 83.1
18450 | 2021-02-18 14:22 | 43.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8496 | μmol/L | 34.4909 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.276 | 153256.4978 | 275732.0568 | 36.4 | 83.1
18460 | 2021-02-18 14:23 | 43.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8197 | μmol/L | 34.4909 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.278 | 153237.5417 | 275710.2733 | 36.4 | 83.1
18470 | 2021-02-18 14:23 | 43.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2173 | μmol/L | 34.5155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.309 | 153489.2578 | 275697.4999 | 36.4 | 83.1
18480 | 2021-02-18 14:23 | 44.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7687 | μmol/L | 34.5155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.272 | 153196.4742 | 275675.146 | 36.4 | 83.1
18490 | 2021-02-18 14:24 | 44.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2227 | μmol/L | 34.5093 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.244 | 152953.216 | 275669.1252 | 36.4 | 83.1
18500 | 2021-02-18 14:24 | 44.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3073 | μmol/L | 34.5155 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 21.236 | 152867.7014 | 275663.158 | 36.4 | 83.1
18510 | 2021-02-18 14:24 | 45.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4941 | μmol/L | 34.4786 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.237 | 152855.7406 | 275643.8877 | 36.4 | 83.1
18520 | 2021-02-18 14:25 | 45.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8457 | μmol/L | 34.4539 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.223 | 152717.6506 | 275632.6878 | 36.4 | 83.1
18530 | 2021-02-18 14:25 | 45.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1035 | μmol/L | 34.3986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.227 | 152764.3032 | 275609.5987 | 36.4 | 83.1
18540 | 2021-02-18 14:25 | 46.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9111 | μmol/L | 34.4478 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.221 | 152698.4415 | 275588.6684 | 36.4 | 83.1
18550 | 2021-02-18 14:26 | 46.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8051 | μmol/L | 34.4663 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.221 | 152704.241 | 275595.6805 | 36.4 | 83.1
18560 | 2021-02-18 14:26 | 46.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1324 | μmol/L | 34.4355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.211 | 152603.1516 | 275577.6083 | 36.4 | 83.1
18570 | 2021-02-18 14:26 | 47.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.198 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.209 | 152569.8571 | 275560.1014 | 36.4 | 83.1
18580 | 2021-02-18 14:27 | 47.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1626 | μmol/L | 34.4355 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.209 | 152552.7448 | 275548.2377 | 36.4 | 83.1
18590 | 2021-02-18 14:27 | 47.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.0826 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.219 | 152615.7226 | 275521.8643 | 36.4 | 83.1
18600 | 2021-02-18 14:27 | 48.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7313 | μmol/L | 34.4293 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.24 | 152752.3884 | 275517.9732 | 36.4 | 83.1
18610 | 2021-02-18 14:28 | 48.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8718 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.233 | 152708.1252 | 275496.2355 | 36.4 | 83.1
18620 | 2021-02-18 14:28 | 48.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1284 | μmol/L | 34.4047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.223 | 152633.4041 | 275491.1997 | 36.4 | 83.1
18630 | 2021-02-18 14:28 | 49.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1232 | μmol/L | 34.4109 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.221 | 152583.202 | 275467.7543 | 36.4 | 83.1
18640 | 2021-02-18 14:29 | 49.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9627 | μmol/L | 34.4047 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.234 | 152697.3919 | 275460.3386 | 36.4 | 83.1
18650 | 2021-02-18 14:29 | 49.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9559 | μmol/L | 34.2878 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.279 | 152999.7713 | 275451.0988 | 36.4 | 83.1
18660 | 2021-02-18 14:29 | 50.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5444 | μmol/L | 34.3309 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.29 | 153088.6918 | 275441.1018 | 36.4 | 83.1
18670 | 2021-02-18 14:30 | 50.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5536 | μmol/L | 34.3555 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.28 | 153017.7559 | 275426.885 | 36.4 | 83.1
18680 | 2021-02-18 14:30 | 50.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.519 | μmol/L | 34.3432 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.287 | 153042.669 | 275405.3379 | 36.4 | 83.1
18690 | 2021-02-18 14:30 | 51.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5744 | μmol/L | 34.3309 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.288 | 153029.2233 | 275402.9764 | 36.4 | 83.1
18700 | 2021-02-18 14:31 | 51.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7493 | μmol/L | 34.337 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.274 | 152935.8957 | 275395.7097 | 36.4 | 83.1
18710 | 2021-02-18 14:31 | 51.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7446 | μmol/L | 34.3247 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.279 | 152931.3546 | 275376.8816 | 36.4 | 83.1
18720 | 2021-02-18 14:31 | 52.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6546 | μmol/L | 34.3247 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.285 | 152938.6959 | 275359.4911 | 36.4 | 83.1
18730 | 2021-02-18 14:32 | 52.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7554 | μmol/L | 34.294 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.29 | 153017.7796 | 275357.3741 | 36.4 | 83.1
18740 | 2021-02-18 14:32 | 52.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6401 | μmol/L | 34.3063 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.293 | 153022.9314 | 275324.22 | 36.4 | 83.1
18750 | 2021-02-18 14:32 | 53.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4447 | μmol/L | 34.3247 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.299 | 153041.0624 | 275331.0537 | 36.4 | 83.1
18760 | 2021-02-18 14:33 | 53.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2201 | μmol/L | 34.3247 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.314 | 153162.03 | 275306.0817 | 36.4 | 83.1
18770 | 2021-02-18 14:33 | 53.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.551 | μmol/L | 34.2693 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.313 | 153138.3039 | 275292.2588 | 36.4 | 83.1
18780 | 2021-02-18 14:33 | 54.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1527 | μmol/L | 34.2447 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.349 | 153413.1911 | 275299.9477 | 36.4 | 83.1
18790 | 2021-02-18 14:34 | 54.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1284 | μmol/L | 34.2201 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.36 | 153479.3522 | 275292.9714 | 36.4 | 83.1
18800 | 2021-02-18 14:34 | 54.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1718 | μmol/L | 34.2755 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.336 | 153307.4265 | 275270.5205 | 36.4 | 83.1
18810 | 2021-02-18 14:34 | 55.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0384 | μmol/L | 34.2386 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.359 | 153431.1977 | 275262.5718 | 36.4 | 83.1
18820 | 2021-02-18 14:35 | 55.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7304 | μmol/L | 34.2324 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.382 | 153635.3896 | 275253.6494 | 36.4 | 83.1
18830 | 2021-02-18 14:35 | 55.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7063 | μmol/L | 34.2078 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.393 | 153707.8124 | 275242.0138 | 36.4 | 83.1
18840 | 2021-02-18 14:35 | 56.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1292 | μmol/L | 34.1832 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.374 | 153544.8519 | 275216.2799 | 36.4 | 83.1
18850 | 2021-02-18 14:36 | 56.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2115 | μmol/L | 34.1955 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.431 | 153986.8732 | 275219.3579 | 36.4 | 83.1
18860 | 2021-02-18 14:36 | 56.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7076 | μmol/L | 34.1524 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.414 | 153817.4395 | 275188.4766 | 36.4 | 83.1
18870 | 2021-02-18 14:36 | 57.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2314 | μmol/L | 34.1894 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.432 | 153997.7524 | 275180.5521 | 36.4 | 83.1
18880 | 2021-02-18 14:37 | 57.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3204 | μmol/L | 34.1894 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.426 | 153908.1885 | 275161.7629 | 36.4 | 83.1
18890 | 2021-02-18 14:37 | 57.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2816 | μmol/L | 34.1647 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.438 | 154015.0015 | 275153.9242 | 36.4 | 83.1
18900 | 2021-02-18 14:37 | 58.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0639 | μmol/L | 34.1771 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.448 | 154094.6293 | 275162.7881 | 36.4 | 83.1
18910 | 2021-02-18 14:38 | 58.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2426 | μmol/L | 34.1401 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.45 | 154082.5672 | 275158.9165 | 36.4 | 83.1
18920 | 2021-02-18 14:38 | 58.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1195 | μmol/L | 34.1278 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.463 | 154174.1815 | 275137.1009 | 36.4 | 83.1
18930 | 2021-02-18 14:38 | 59.0032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8033 | μmol/L | 34.1524 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.475 | 154229.9642 | 275120.04 | 36.4 | 83.1
18940 | 2021-02-18 14:39 | 59.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8339 | μmol/L | 34.1155 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.487 | 154344.3283 | 275115.825 | 36.4 | 83.1
18950 | 2021-02-18 14:39 | 59.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.6158 | μmol/L | 34.1647 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.483 | 154309.2502 | 275104.6624 | 36.4 | 83.1
18960 | 2021-02-18 14:39 | 60.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3076 | μmol/L | 34.1278 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.518 | 154565.206 | 275093.192 | 36.4 | 83.1
18970 | 2021-02-18 14:40 | 60.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6989 | μmol/L | 34.1709 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.543 | 154774.2801 | 275082.5312 | 36.4 | 83.1
18980 | 2021-02-18 14:40 | 60.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6498 | μmol/L | 34.1771 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.544 | 154760.8175 | 275074.4713 | 36.4 | 83.1
18990 | 2021-02-18 14:40 | 61.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3184 | μmol/L | 34.1709 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.569 | 154957.2153 | 275068.9236 | 36.4 | 83.1
19000 | 2021-02-18 14:41 | 61.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4456 | μmol/L | 34.1586 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.565 | 154940.5656 | 275075.2097 | 36.4 | 83.1
19010 | 2021-02-18 14:41 | 61.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3476 | μmol/L | 34.1709 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.567 | 154935.3615 | 275040.8062 | 36.4 | 83.1
19020 | 2021-02-18 14:41 | 62.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.7727 | μmol/L | 34.1955 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.597 | 155163.0207 | 275047.1519 | 36.4 | 83.1
19030 | 2021-02-18 14:42 | 62.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2702 | μmol/L | 34.257 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.608 | 155231.3418 | 275028.766 | 36.4 | 83.1
19040 | 2021-02-18 14:42 | 62.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.0364 | μmol/L | 34.2078 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.643 | 155511.3391 | 275008.2772 | 36.4 | 83.1
19050 | 2021-02-18 14:42 | 63.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8639 | μmol/L | 34.1894 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.662 | 155617.2921 | 275011.116 | 36.4 | 83.1
19060 | 2021-02-18 14:43 | 63.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6945 | μmol/L | 34.2017 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.669 | 155694.2955 | 275018.5624 | 36.4 | 83.1
19070 | 2021-02-18 14:43 | 63.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1628 | μmol/L | 34.2509 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.687 | 155853.5617 | 275004.6491 | 36.4 | 83.1
19080 | 2021-02-18 14:43 | 64.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0712 | μmol/L | 34.257 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.691 | 155866.9961 | 274995.1206 | 36.4 | 83.1
19090 | 2021-02-18 14:44 | 64.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.406 | μmol/L | 34.2017 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.689 | 155842.8678 | 274975.2254 | 36.4 | 83.1
19100 | 2021-02-18 14:44 | 64.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2596 | μmol/L | 34.2386 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.685 | 155787.2091 | 274972.5141 | 36.4 | 83.1
19110 | 2021-02-18 14:44 | 65.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1105 | μmol/L | 34.2447 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.693 | 155861.9606 | 274950.2245 | 36.4 | 83.1
19120 | 2021-02-18 14:45 | 65.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.4816 | μmol/L | 34.2755 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.725 | 156135.3631 | 274950.5626 | 36.4 | 83.1
19130 | 2021-02-18 14:45 | 65.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.3732 | μmol/L | 34.3186 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.716 | 156047.7414 | 274950.5241 | 36.4 | 83.1
19140 | 2021-02-18 14:45 | 66.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.328 | μmol/L | 34.2878 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.731 | 156146.5927 | 274935.6159 | 36.4 | 83.1
19150 | 2021-02-18 14:46 | 66.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.4643 | μmol/L | 34.3124 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.712 | 156014.2326 | 274928.292 | 36.4 | 83.1
19160 | 2021-02-18 14:46 | 66.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.5759 | μmol/L | 34.3493 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.69 | 155850.2353 | 274931.6107 | 36.4 | 83.1
19170 | 2021-02-18 14:46 | 67.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.4687 | μmol/L | 34.374 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.688 | 155792.7545 | 274923.1078 | 36.4 | 83.1
19180 | 2021-02-18 14:47 | 67.3366 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.2217 | μmol/L | 34.3616 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.71 | 155989.7495 | 274907.0576 | 36.4 | 83.1
19190 | 2021-02-18 14:47 | 67.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9967 | μmol/L | 34.374 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.721 | 156074.6689 | 274888.8438 | 36.4 | 83.1
19200 | 2021-02-18 14:47 | 68.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9612 | μmol/L | 34.3986 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.714 | 156027.0488 | 274878.1894 | 36.4 | 83.1
19210 | 2021-02-18 14:48 | 68.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5122 | μmol/L | 34.4232 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.736 | 156150.0379 | 274875.3758 | 36.4 | 83.1
19220 | 2021-02-18 14:48 | 68.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.0983 | μmol/L | 34.4416 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.758 | 156328.9896 | 274866.7113 | 36.4 | 83.1
19230 | 2021-02-18 14:48 | 69.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.7421 | μmol/L | 34.4601 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.776 | 156452.7964 | 274854.4334 | 36.4 | 83.1
19240 | 2021-02-18 14:49 | 69.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6693 | μmol/L | 34.4786 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.774 | 156455.136 | 274861.2346 | 36.4 | 83.1
19250 | 2021-02-18 14:49 | 69.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.5757 | μmol/L | 34.4724 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.783 | 156475.8771 | 274844.8122 | 36.4 | 83.1
19260 | 2021-02-18 14:49 | 70.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6855 | μmol/L | 34.4601 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.78 | 156483.1547 | 274836.8061 | 36.4 | 83.1
19270 | 2021-02-18 14:50 | 70.3365 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0332 | μmol/L | 34.5278 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.8 | 156635.6984 | 274836.2244 | 36.4 | 83.1
19280 | 2021-02-18 14:50 | 70.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.3318 | μmol/L | 34.5586 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.838 | 156928.7319 | 274821.2084 | 36.4 | 83.1
19290 | 2021-02-18 14:50 | 71.0033 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.9267 | μmol/L | 34.5893 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.855 | 157056.5904 | 274826.1341 | 36.4 | 83.1
19300 | 2021-02-18 14:51 | 71.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8903 | μmol/L | 34.5832 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.86 | 157132.7293 | 274816.1794 | 36.4 | 83.1
19310 | 2021-02-18 14:51 | 71.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.9352 | μmol/L | 34.5955 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.852 | 157040.3005 | 274806.4336 | 36.4 | 83.1
19320 | 2021-02-18 14:51 | 72.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.1419 | μmol/L | 34.5832 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.842 | 156953.6353 | 274798.1583 | 36.4 | 83.1
19330 | 2021-02-18 14:52 | 72.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8853 | μmol/L | 34.6201 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.846 | 156969.8313 | 274794.0278 | 36.4 | 83.1
19340 | 2021-02-18 14:52 | 72.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.1984 | μmol/L | 34.6139 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.826 | 156819.0219 | 274786.2517 | 36.4 | 83.1
19350 | 2021-02-18 14:52 | 73.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.394 | μmol/L | 34.5832 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.824 | 156783.2883 | 274788.8866 | 36.4 | 83.1
19360 | 2021-02-18 14:53 | 73.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.2514 | μmol/L | 34.6016 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.827 | 156811.7554 | 274756.4013 | 36.4 | 83.1
19370 | 2021-02-18 14:53 | 73.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.1959 | μmol/L | 34.6324 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.819 | 156766.1857 | 274759.7775 | 36.4 | 83.1
19380 | 2021-02-18 14:53 | 74.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8382 | μmol/L | 34.657 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.835 | 156877.0839 | 274745.6794 | 36.4 | 83.1
19390 | 2021-02-18 14:54 | 74.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6007 | μmol/L | 34.6262 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.864 | 157103.174 | 274749.4005 | 36.4 | 83.1
19400 | 2021-02-18 14:54 | 74.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7041 | μmol/L | 34.6509 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.847 | 156971.0859 | 274745.0392 | 36.4 | 83.1
19410 | 2021-02-18 14:54 | 75.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6567 | μmol/L | 34.657 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.848 | 156979.6463 | 274745.569 | 36.4 | 83.1
19420 | 2021-02-18 14:55 | 75.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.3502 | μmol/L | 34.657 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.87 | 157153.2671 | 274725.7379 | 36.4 | 83.1
19430 | 2021-02-18 14:55 | 75.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4765 | μmol/L | 34.657 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.933 | 157650.5904 | 274731.7721 | 36.4 | 83.1
19440 | 2021-02-18 14:55 | 76.0034 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.3605 | μmol/L | 34.6324 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.951 | 157766.8562 | 274712.2497 | 36.4 | 83.1
19450 | 2021-02-18 14:56 | 76.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.3052 | μmol/L | 34.6632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.943 | 157715.1989 | 274723.2831 | 36.4 | 83.1
19460 | 2021-02-18 14:56 | 76.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4572 | μmol/L | 34.6632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.932 | 157597.1149 | 274717.1239 | 36.4 | 83.1
19470 | 2021-02-18 14:56 | 77.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4736 | μmol/L | 34.7062 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.914 | 157451.4234 | 274704.2207 | 36.4 | 83.1
19480 | 2021-02-18 14:57 | 77.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1084 | μmol/L | 34.6939 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.873 | 157127.8091 | 274705.3708 | 36.4 | 83.1
19490 | 2021-02-18 14:57 | 77.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.2446 | μmol/L | 34.7124 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.856 | 156997.9031 | 274704.4027 | 36.4 | 83.1
19500 | 2021-02-18 14:57 | 78.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.5675 | μmol/L | 34.6632 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.852 | 156973.539 | 274694.7806 | 36.4 | 83.1
19506 | 2021-02-18 14:58 | 78.3367 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.6032 | μmol/L | 34.7616 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.883 | 157203.2968 | 274682.8764 | 36.4 | 83.1
19507 | 2021-02-18 14:58 | 78.67 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2048 | μmol/L | 34.7739 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.907 | 157423.7778 | 274673.1432 | 36.4 | 83.1
19508 | 2021-02-18 14:58 | 79.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.3269 | μmol/L | 34.7309 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.915 | 157471.8981 | 274676.8453 | 36.4 | 83.1
19509 | 2021-02-18 14:59 | 79.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2772 | μmol/L | 34.7247 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.921 | 157520.6118 | 274681.4752 | 36.4 | 83.1
19510 | 2021-02-18 14:59 | 79.6699 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8989 | μmol/L | 34.7616 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.934 | 157687.7549 | 274667.3523 | 36.4 | 83.1
19511 | 2021-02-18 14:59 | 80.0035 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4509 | μmol/L | 34.7616 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.894 | 157376.6791 | 274659.1098 | 36.4 | 83.1