## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-18 16:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19520 | 2021-02-18 15:34 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.8654 | μmol/L | 37.2611 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.988 | 158319.4053 | 274403.2755 | 36.4 | 83.1 | #N/A
19530 | 2021-02-18 15:34 | 0.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.3146 | μmol/L | 37.2919 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.019 | 158542.3153 | 274395.0021 | 36.4 | 83.1 | #N/A
19540 | 2021-02-18 15:35 | 0.67166 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.3997 | μmol/L | 37.3042 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.007 | 158437.9999 | 274375.6406 | 36.4 | 83.1 | #N/A
19550 | 2021-02-18 15:35 | 1.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.6881 | μmol/L | 37.335 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.971 | 158196.2214 | 274372.1813 | 36.4 | 83.1 | #N/A
19560 | 2021-02-18 15:35 | 1.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.1991 | μmol/L | 37.3904 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.907 | 157651.6704 | 274367.7961 | 36.4 | 83.1 | #N/A
19570 | 2021-02-18 15:36 | 1.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.6104 | μmol/L | 37.4397 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.933 | 157854.4659 | 274356.7559 | 36.4 | 83.1 | #N/A | -0.42437 | 25.4621
19580 | 2021-02-18 15:36 | 2.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.1493 | μmol/L | 37.4581 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.962 | 158083.9687 | 274361.1118 | 36.4 | 83.1 | #N/A | 146.9154
19590 | 2021-02-18 15:36 | 2.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.6353 | μmol/L | 37.4705 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.918 | 157777.3185 | 274355.0703 | 36.4 | 83.1 | #N/A
19600 | 2021-02-18 15:37 | 2.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.6924 | μmol/L | 37.5259 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.89 | 157550.5696 | 274333.5244 | 36.4 | 83.1 | #N/A
19610 | 2021-02-18 15:37 | 3.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.0149 | μmol/L | 37.5567 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.931 | 157849.0928 | 274345.0326 | 36.4 | 83.1 | #N/A
19620 | 2021-02-18 15:37 | 3.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.553 | μmol/L | 37.5875 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.875 | 157423.3074 | 274331.4314 | 36.4 | 83.1 | #N/A
19630 | 2021-02-18 15:38 | 3.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.5066 | μmol/L | 37.5813 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.802 | 156832.3791 | 274326.7678 | 36.4 | 83.1 | #N/A
19640 | 2021-02-18 15:38 | 4.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.3352 | μmol/L | 37.6676 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.779 | 156623.5291 | 274312.7311 | 36.4 | 83.1 | #N/A
19650 | 2021-02-18 15:38 | 4.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.1319 | μmol/L | 37.6984 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.782 | 156663.0281 | 274318.0132 | 36.4 | 83.1 | #N/A
19660 | 2021-02-18 15:39 | 4.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.9335 | μmol/L | 37.7353 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.782 | 156666.9199 | 274307.4728 | 36.4 | 83.1 | #N/A
19670 | 2021-02-18 15:39 | 5.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.5984 | μmol/L | 37.7599 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.719 | 156158.9687 | 274302.2266 | 36.4 | 83.1 | #N/A
19680 | 2021-02-18 15:39 | 5.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.4244 | μmol/L | 37.7969 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.717 | 156153.7767 | 274298.165 | 36.4 | 83.1 | #N/A
19690 | 2021-02-18 15:40 | 5.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.2233 | μmol/L | 37.8154 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.725 | 156194.556 | 274299.3262 | 36.4 | 83.1 | #N/A
19700 | 2021-02-18 15:40 | 6.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 146.0541 | μmol/L | 37.8585 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.72 | 156186.0718 | 274285.7563 | 36.4 | 83.1 | #N/A
19710 | 2021-02-18 15:40 | 6.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 145.6262 | μmol/L | 37.877 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.746 | 156362.2128 | 274282.9127 | 36.4 | 83.1 | #N/A
19720 | 2021-02-18 15:41 | 6.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.5222 | μmol/L | 37.9447 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.805 | 156836.9432 | 274284.61 | 36.4 | 83.1 | #N/A
19730 | 2021-02-18 15:41 | 7.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 143.8052 | μmol/L | 37.9694 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.852 | 157233.7832 | 274276.5621 | 36.4 | 83.1 | #N/A
19740 | 2021-02-18 15:41 | 7.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.1205 | μmol/L | 37.9755 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.824 | 156999.5446 | 274288.9319 | 36.4 | 83.1 | #N/A
19750 | 2021-02-18 15:42 | 7.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.2028 | μmol/L | 38.0556 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.783 | 156662.2372 | 274263.3696 | 36.4 | 83.1 | #N/A
19760 | 2021-02-18 15:42 | 8.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 144.4077 | μmol/L | 38.0803 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.756 | 156422.332 | 274264.0867 | 36.4 | 83.1 | #N/A
19770 | 2021-02-18 15:42 | 8.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 143.5868 | μmol/L | 38.1172 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.806 | 156834.4162 | 274250.3882 | 36.4 | 83.1 | #N/A
19780 | 2021-02-18 15:43 | 8.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.9106 | μmol/L | 38.1419 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.85 | 157215.8419 | 274259.9686 | 36.4 | 83.1 | #N/A
19790 | 2021-02-18 15:43 | 9.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.9643 | μmol/L | 38.1788 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.911 | 157674.8273 | 274266.0482 | 36.4 | 83.1 | #N/A
19800 | 2021-02-18 15:43 | 9.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.187 | μmol/L | 38.2219 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.956 | 158022.5751 | 274255.6654 | 36.4 | 83.1 | #N/A
19810 | 2021-02-18 15:44 | 9.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.5288 | μmol/L | 38.2712 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.988 | 158293.4726 | 274247.4587 | 36.4 | 83.1 | #N/A
19820 | 2021-02-18 15:44 | 10.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.3493 | μmol/L | 38.2774 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 22.001 | 158346.4682 | 274252.4193 | 36.4 | 83.1 | #N/A
19830 | 2021-02-18 15:44 | 10.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.3729 | μmol/L | 38.2959 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.991 | 158282.1088 | 274239.1206 | 36.4 | 83.1 | #N/A
19840 | 2021-02-18 15:45 | 10.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.6411 | μmol/L | 38.3575 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.942 | 157898.5258 | 274233.2382 | 36.4 | 83.1 | #N/A
19850 | 2021-02-18 15:45 | 11.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.7219 | μmol/L | 38.4068 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.913 | 157693.4057 | 274223.0666 | 36.4 | 83.1 | #N/A
19860 | 2021-02-18 15:45 | 11.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.1391 | μmol/L | 38.4129 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.876 | 157374.9412 | 274212.1479 | 36.4 | 83.1 | #N/A
19870 | 2021-02-18 15:46 | 11.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.4995 | μmol/L | 38.4068 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.85 | 157154.2067 | 274230.128 | 36.4 | 83.1 | #N/A
19880 | 2021-02-18 15:46 | 12.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.0682 | μmol/L | 38.493 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.766 | 156489.1317 | 274215.2865 | 36.4 | 83.1 | #N/A
19890 | 2021-02-18 15:46 | 12.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 143.0415 | μmol/L | 38.4868 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.689 | 155880.2449 | 274233.4155 | 36.4 | 83.1 | #N/A
19900 | 2021-02-18 15:47 | 12.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 143.358 | μmol/L | 38.5546 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.634 | 155456.333 | 274219.6466 | 36.4 | 83.1 | #N/A
19910 | 2021-02-18 15:47 | 13.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.6674 | μmol/L | 38.6039 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.669 | 155711.8313 | 274195.1954 | 36.4 | 83.1 | #N/A
19920 | 2021-02-18 15:47 | 13.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.4258 | μmol/L | 38.647 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.751 | 156364.4832 | 274207.9584 | 36.4 | 83.1 | #N/A
19930 | 2021-02-18 15:48 | 13.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.8874 | μmol/L | 38.684 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.778 | 156599.2249 | 274203.2167 | 36.4 | 83.1 | #N/A
19940 | 2021-02-18 15:48 | 14.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1239 | μmol/L | 38.6902 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.839 | 157070.9062 | 274204.9339 | 36.4 | 83.1 | #N/A
19950 | 2021-02-18 15:48 | 14.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.5649 | μmol/L | 38.7025 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.879 | 157364.2435 | 274203.4714 | 36.4 | 83.1 | #N/A
19960 | 2021-02-18 15:49 | 14.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.2053 | μmol/L | 38.7025 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.826 | 156939.4925 | 274198.6785 | 36.4 | 83.1 | #N/A
19970 | 2021-02-18 15:49 | 15.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.8559 | μmol/L | 38.7703 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.825 | 156940.3018 | 274187.4806 | 36.4 | 83.1 | #N/A
19980 | 2021-02-18 15:49 | 15.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.1149 | μmol/L | 38.8257 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.862 | 157203.4636 | 274197.017 | 36.4 | 83.1 | #N/A
19990 | 2021-02-18 15:50 | 15.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3353 | μmol/L | 38.8688 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.908 | 157546.1058 | 274178.1937 | 36.4 | 83.1 | #N/A
20000 | 2021-02-18 15:50 | 16.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.7796 | μmol/L | 38.8996 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.941 | 157807.2266 | 274182.3529 | 36.4 | 83.1 | #N/A
20010 | 2021-02-18 15:50 | 16.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.4388 | μmol/L | 38.9058 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.967 | 158012.4212 | 274181.5722 | 36.4 | 83.1 | #N/A
20020 | 2021-02-18 15:51 | 16.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.2529 | μmol/L | 38.9366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.969 | 158010.6416 | 274168.6462 | 36.4 | 83.1 | #N/A
20030 | 2021-02-18 15:51 | 17.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.0932 | μmol/L | 38.9243 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.988 | 158165.5043 | 274164.3045 | 36.4 | 83.1 | #N/A
20040 | 2021-02-18 15:51 | 17.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.4892 | μmol/L | 38.912 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.96 | 157972.2474 | 274164.4903 | 36.4 | 83.1 | #N/A
20050 | 2021-02-18 15:52 | 17.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3462 | μmol/L | 38.9366 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.877 | 157301.6591 | 274174.4026 | 36.4 | 83.1 | #N/A
20060 | 2021-02-18 15:52 | 18.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.7031 | μmol/L | 38.9797 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.828 | 156867.5097 | 274166.6479 | 36.4 | 83.1 | #N/A
20070 | 2021-02-18 15:52 | 18.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.55 | μmol/L | 38.9613 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.849 | 157063.8385 | 274162.4099 | 36.4 | 83.1 | #N/A
20080 | 2021-02-18 15:53 | 18.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3803 | μmol/L | 39.0044 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.844 | 157000.5425 | 274152.4786 | 36.4 | 83.1 | #N/A
20090 | 2021-02-18 15:53 | 19.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.5392 | μmol/L | 39.0352 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.817 | 156775.6197 | 274154.9804 | 36.4 | 83.1 | #N/A
20100 | 2021-02-18 15:53 | 19.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.5109 | μmol/L | 39.103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.873 | 157212.9579 | 274159.7356 | 36.4 | 83.1 | #N/A
20110 | 2021-02-18 15:54 | 19.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.8305 | μmol/L | 39.0907 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.936 | 157742.2737 | 274157.2432 | 36.4 | 83.1 | #N/A
20120 | 2021-02-18 15:54 | 20.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.3362 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.907 | 157471.2105 | 274150.757 | 36.4 | 83.1 | #N/A
20130 | 2021-02-18 15:54 | 20.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.0932 | μmol/L | 39.0968 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.911 | 157477.8797 | 274163.6761 | 36.4 | 83.1 | #N/A
20140 | 2021-02-18 15:55 | 20.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.8325 | μmol/L | 39.1461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.911 | 157479.621 | 274139.2374 | 36.4 | 83.1 | #N/A
20150 | 2021-02-18 15:55 | 21.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.0226 | μmol/L | 39.0783 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.841 | 156928.1348 | 274146.587 | 36.4 | 83.1 | #N/A
20160 | 2021-02-18 15:55 | 21.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.2136 | μmol/L | 39.0783 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.825 | 156780.8153 | 274142.6098 | 36.4 | 83.1 | #N/A
20170 | 2021-02-18 15:56 | 21.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.8555 | μmol/L | 39.1276 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.833 | 156853.9408 | 274135.9095 | 36.4 | 83.1 | #N/A
20180 | 2021-02-18 15:56 | 22.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.6117 | μmol/L | 39.1153 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 157067.2011 | 274137.0058 | 36.4 | 83.1 | #N/A
20190 | 2021-02-18 15:56 | 22.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.2464 | μmol/L | 39.1461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.876 | 157182.3703 | 274123.3005 | 36.4 | 83.1 | #N/A
20200 | 2021-02-18 15:57 | 22.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.8759 | μmol/L | 39.1338 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.745 | 156129.8381 | 274130.6135 | 36.4 | 83.1 | #N/A
20210 | 2021-02-18 15:57 | 23.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.0444 | μmol/L | 39.1584 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.72 | 155962.0441 | 274132.1912 | 36.4 | 83.1 | #N/A
20220 | 2021-02-18 15:57 | 23.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.9145 | μmol/L | 39.1769 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.806 | 156644.4479 | 274142.2296 | 36.4 | 83.1 | #N/A
20230 | 2021-02-18 15:58 | 23.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.4652 | μmol/L | 39.1831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.841 | 156900.6481 | 274127.411 | 36.4 | 83.1 | #N/A
20240 | 2021-02-18 15:58 | 24.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.8402 | μmol/L | 39.1892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.891 | 157283.5688 | 274126.2889 | 36.4 | 83.1 | #N/A
20250 | 2021-02-18 15:58 | 24.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.7887 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.8 | 156561.5021 | 274141.6093 | 36.4 | 83.1 | #N/A
20260 | 2021-02-18 15:59 | 24.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.6718 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.796 | 156494.9048 | 274125.1058 | 36.4 | 83.1 | #N/A
20270 | 2021-02-18 15:59 | 25.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.2625 | μmol/L | 39.257 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.741 | 156062.0534 | 274128.0681 | 36.4 | 83.1 | #N/A
20280 | 2021-02-18 15:59 | 25.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.7382 | μmol/L | 39.2509 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.705 | 155775.185 | 274142.4284 | 36.4 | 83.1 | #N/A
20290 | 2021-02-18 16:00 | 25.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.0918 | μmol/L | 39.257 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.672 | 155496.1586 | 274128.105 | 36.4 | 83.1 | #N/A
20300 | 2021-02-18 16:00 | 26.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.3797 | μmol/L | 39.2385 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.575 | 154734.25 | 274138.7094 | 36.4 | 83.1 | #N/A
20310 | 2021-02-18 16:00 | 26.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.108 | μmol/L | 39.2262 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.521 | 154282.8363 | 274139.1609 | 36.4 | 83.1 | #N/A
20320 | 2021-02-18 16:01 | 26.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.6346 | μmol/L | 39.2324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.556 | 154583.2334 | 274149.7236 | 36.4 | 83.1 | #N/A
20330 | 2021-02-18 16:01 | 27.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1952 | μmol/L | 39.2324 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.592 | 154851.0815 | 274142.3118 | 36.4 | 83.1 | #N/A
20340 | 2021-02-18 16:01 | 27.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.5296 | μmol/L | 39.2878 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.622 | 155094.2648 | 274130.4969 | 36.4 | 83.1 | #N/A
20350 | 2021-02-18 16:02 | 27.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.0666 | μmol/L | 39.2324 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.686 | 155582.8044 | 274130.7685 | 36.4 | 83.1 | #N/A
20360 | 2021-02-18 16:02 | 28.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.8176 | μmol/L | 39.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.692 | 155588.8189 | 274127.0608 | 36.4 | 83.1 | #N/A
20370 | 2021-02-18 16:02 | 28.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3872 | μmol/L | 39.2447 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.737 | 155992.5797 | 274133.9535 | 36.4 | 83.1 | #N/A
20380 | 2021-02-18 16:03 | 28.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.46 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.719 | 155845.1355 | 274131.8966 | 36.4 | 83.1 | #N/A
20390 | 2021-02-18 16:03 | 29.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.3943 | μmol/L | 39.3187 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.787 | 156351.2943 | 274125.8891 | 36.4 | 83.1 | #N/A
20400 | 2021-02-18 16:03 | 29.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.7762 | μmol/L | 39.2385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.79 | 156375.4148 | 274119.7035 | 36.4 | 83.1 | #N/A
20410 | 2021-02-18 16:04 | 29.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.6262 | μmol/L | 39.1461 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.844 | 156768.7389 | 274128.6914 | 36.4 | 83.1 | #N/A
20420 | 2021-02-18 16:04 | 30.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.6599 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.797 | 156406.7875 | 274124.5661 | 36.4 | 83.1 | #N/A
20430 | 2021-02-18 16:04 | 30.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.3983 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.819 | 156574.7225 | 274124.6694 | 36.4 | 83.1 | #N/A
20440 | 2021-02-18 16:05 | 30.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.2075 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.824 | 156611.4455 | 274125.4737 | 36.4 | 83.1 | #N/A
20450 | 2021-02-18 16:05 | 31.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.0296 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.766 | 156160.2977 | 274119.2502 | 36.4 | 83.1 | #N/A
20460 | 2021-02-18 16:05 | 31.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.083 | μmol/L | 39.2385 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.681 | 155467.772 | 274127.3892 | 36.4 | 83.1 | #N/A
20470 | 2021-02-18 16:06 | 31.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.2804 | μmol/L | 39.2077 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.596 | 154808.2088 | 274124.7584 | 36.4 | 83.1 | #N/A
20480 | 2021-02-18 16:06 | 32.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.4724 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.635 | 155124.973 | 274118.2855 | 36.4 | 83.1 | #N/A
20490 | 2021-02-18 16:06 | 32.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.8121 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.618 | 154961.6621 | 274124.9941 | 36.4 | 83.1 | #N/A
20500 | 2021-02-18 16:07 | 32.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.0124 | μmol/L | 39.2817 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.585 | 154700.5222 | 274118.8087 | 36.4 | 83.1 | #N/A
20510 | 2021-02-18 16:07 | 33.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.8332 | μmol/L | 39.2632 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.608 | 154881.1051 | 274114.7813 | 36.4 | 83.1 | #N/A
20520 | 2021-02-18 16:07 | 33.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.2458 | μmol/L | 39.2509 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.662 | 155353.6079 | 274139.2626 | 36.4 | 83.1 | #N/A
20530 | 2021-02-18 16:08 | 33.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.436 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.721 | 155782.5282 | 274121.6488 | 36.4 | 83.1 | #N/A
20540 | 2021-02-18 16:08 | 34.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.7601 | μmol/L | 39.2817 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.772 | 156157.1463 | 274117.3365 | 36.4 | 83.1 | #N/A
20550 | 2021-02-18 16:08 | 34.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.8446 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.687 | 155497.057 | 274125.3131 | 36.4 | 83.1 | #N/A
20560 | 2021-02-18 16:09 | 34.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.1558 | μmol/L | 39.1892 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.697 | 155563.3188 | 274132.9337 | 36.4 | 83.1 | #N/A
20570 | 2021-02-18 16:09 | 35.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.2946 | μmol/L | 39.1769 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.691 | 155503.4575 | 274134.2358 | 36.4 | 83.1 | #N/A
20580 | 2021-02-18 16:09 | 35.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.2461 | μmol/L | 39.2262 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.673 | 155381.1032 | 274133.5298 | 36.4 | 83.1 | #N/A
20590 | 2021-02-18 16:10 | 35.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.718 | μmol/L | 39.2817 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.692 | 155524.6388 | 274135.2785 | 36.4 | 83.1 | #N/A
20600 | 2021-02-18 16:10 | 36.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.0534 | μmol/L | 39.1523 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.722 | 155782.1136 | 274141.4689 | 36.4 | 83.1 | #N/A
20610 | 2021-02-18 16:10 | 36.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.1407 | μmol/L | 39.1831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.701 | 155579.2864 | 274131.74 | 36.4 | 83.1 | #N/A
20620 | 2021-02-18 16:11 | 36.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.6514 | μmol/L | 39.1646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.667 | 155339.5558 | 274133.6026 | 36.4 | 83.1 | #N/A
20630 | 2021-02-18 16:11 | 37.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.5061 | μmol/L | 39.1646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.679 | 155439.2546 | 274135.0598 | 36.4 | 83.1 | #N/A
20640 | 2021-02-18 16:11 | 37.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1962 | μmol/L | 39.066 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.666 | 155340.7204 | 274139.9659 | 36.4 | 83.1 | #N/A
20650 | 2021-02-18 16:12 | 37.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.8303 | μmol/L | 39.066 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.614 | 154906.5538 | 274141.2062 | 36.4 | 83.1 | #N/A
20660 | 2021-02-18 16:12 | 38.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.8567 | μmol/L | 39.14 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.579 | 154621.0492 | 274147.4976 | 36.4 | 83.1 | #N/A
20670 | 2021-02-18 16:12 | 38.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.6791 | μmol/L | 39.1276 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 154775.971 | 274144.2811 | 36.4 | 83.1 | #N/A
20680 | 2021-02-18 16:13 | 38.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.0405 | μmol/L | 39.14 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.564 | 154490.8559 | 274135.5283 | 36.4 | 83.1 | #N/A
20690 | 2021-02-18 16:13 | 39.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.5107 | μmol/L | 39.0537 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.564 | 154485.7832 | 274135.8803 | 36.4 | 83.1 | #N/A
20700 | 2021-02-18 16:13 | 39.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.0474 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.599 | 154769.239 | 274131.3419 | 36.4 | 83.1 | #N/A
20710 | 2021-02-18 16:14 | 39.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 141.4594 | μmol/L | 39.0044 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.59 | 154678.7727 | 274143.3542 | 36.4 | 83.1 | #N/A
20720 | 2021-02-18 16:14 | 40.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.3967 | μmol/L | 39.0475 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.495 | 153891.9185 | 274144.1464 | 36.4 | 83.1 | #N/A
20730 | 2021-02-18 16:14 | 40.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.9257 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.447 | 153557.3642 | 274151.1839 | 36.4 | 83.1 | #N/A
20740 | 2021-02-18 16:15 | 40.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 142.1929 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.506 | 154021.4742 | 274146.9769 | 36.4 | 83.1 | #N/A
20750 | 2021-02-18 16:15 | 41.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.9232 | μmol/L | 39.103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.59 | 154682.5582 | 274143.313 | 36.4 | 83.1 | #N/A
20760 | 2021-02-18 16:15 | 41.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.0229 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.683 | 155405.5941 | 274163.6256 | 36.4 | 83.1 | #N/A
20770 | 2021-02-18 16:16 | 41.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.0957 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.677 | 155366.697 | 274169.3092 | 36.4 | 83.1 | #N/A
20780 | 2021-02-18 16:16 | 42.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1137 | μmol/L | 38.9551 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.722 | 155694.7137 | 274166.7795 | 36.4 | 83.1 | #N/A
20790 | 2021-02-18 16:16 | 42.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.574 | μmol/L | 39.0352 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.731 | 155791.035 | 274173.2216 | 36.4 | 83.1 | #N/A
20800 | 2021-02-18 16:17 | 42.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.6345 | μmol/L | 39.0352 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.726 | 155760.4332 | 274184.8617 | 36.4 | 83.1 | #N/A
20810 | 2021-02-18 16:17 | 43.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.3687 | μmol/L | 39.0352 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.748 | 155915.0581 | 274170.1517 | 36.4 | 83.1 | #N/A
20820 | 2021-02-18 16:17 | 43.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.202 | μmol/L | 38.9921 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.781 | 156153.365 | 274174.0631 | 36.4 | 83.1 | #N/A
20830 | 2021-02-18 16:18 | 43.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.1963 | μmol/L | 39.0044 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.776 | 156119.4249 | 274181.665 | 36.4 | 83.1 | #N/A
20840 | 2021-02-18 16:18 | 44.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.6855 | μmol/L | 39.0167 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.73 | 155773.083 | 274174.423 | 36.4 | 83.1 | #N/A
20850 | 2021-02-18 16:18 | 44.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1769 | μmol/L | 39.029 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.684 | 155399.5466 | 274183.3217 | 36.4 | 83.1 | #N/A
20860 | 2021-02-18 16:19 | 44.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 140.1826 | μmol/L | 39.0167 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.689 | 155408.6649 | 274190.9255 | 36.4 | 83.1 | #N/A
20870 | 2021-02-18 16:19 | 45.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.9592 | μmol/L | 38.9613 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.732 | 155759.7105 | 274193.4161 | 36.4 | 83.1 | #N/A
20880 | 2021-02-18 16:19 | 45.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 139.4711 | μmol/L | 39.0229 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.745 | 155887.2931 | 274198.5684 | 36.4 | 83.1 | #N/A
20890 | 2021-02-18 16:20 | 45.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3181 | μmol/L | 39.0722 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.819 | 156469.8801 | 274200.3886 | 36.4 | 83.1 | #N/A
20900 | 2021-02-18 16:20 | 46.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.3243 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.908 | 157191.8631 | 274196.6858 | 36.4 | 83.1 | #N/A
20910 | 2021-02-18 16:20 | 46.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.0789 | μmol/L | 39.0414 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.937 | 157375.6531 | 274189.8495 | 36.4 | 83.1 | #N/A
20920 | 2021-02-18 16:21 | 46.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.9166 | μmol/L | 39.0229 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.959 | 157585.7587 | 274202.315 | 36.4 | 83.1 | #N/A
20930 | 2021-02-18 16:21 | 47.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.0435 | μmol/L | 39.0167 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.951 | 157530.7976 | 274198.273 | 36.4 | 83.1 | #N/A
20940 | 2021-02-18 16:21 | 47.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.7545 | μmol/L | 39.029 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.97 | 157688.3961 | 274211.2569 | 36.4 | 83.1 | #N/A
20950 | 2021-02-18 16:22 | 47.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.3486 | μmol/L | 39.0414 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.999 | 157886.252 | 274198.9683 | 36.4 | 83.1 | #N/A
20960 | 2021-02-18 16:22 | 48.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.5162 | μmol/L | 39.0229 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.993 | 157865.9705 | 274207.2447 | 36.4 | 83.1 | #N/A
20970 | 2021-02-18 16:22 | 48.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.2284 | μmol/L | 39.0352 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.012 | 158007.7891 | 274211.6634 | 36.4 | 83.1 | #N/A
20980 | 2021-02-18 16:23 | 48.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.4938 | μmol/L | 39.0907 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.05 | 158282.039 | 274200.4911 | 36.4 | 83.1 | #N/A
20990 | 2021-02-18 16:23 | 49.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.48 | μmol/L | 39.0598 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.065 | 158390.7566 | 274210.6463 | 36.4 | 83.1 | #N/A
21000 | 2021-02-18 16:23 | 49.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.4163 | μmol/L | 39.0475 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.076 | 158492.6824 | 274216.9569 | 36.4 | 83.1 | #N/A
21010 | 2021-02-18 16:24 | 49.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.4705 | μmol/L | 39.0907 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.052 | 158311.3025 | 274229.5316 | 36.4 | 83.1 | #N/A
21020 | 2021-02-18 16:24 | 50.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.1789 | μmol/L | 39.1153 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.066 | 158418.1392 | 274218.817 | 36.4 | 83.1 | #N/A
21030 | 2021-02-18 16:24 | 50.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.9974 | μmol/L | 39.0722 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.101 | 158694.6105 | 274218.2854 | 36.4 | 83.1 | #N/A
21040 | 2021-02-18 16:25 | 50.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.6554 | μmol/L | 39.0845 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.125 | 158906.1755 | 274219.0915 | 36.4 | 83.1 | #N/A
21050 | 2021-02-18 16:25 | 51.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.0867 | μmol/L | 39.103 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.166 | 159213.1479 | 274223.1791 | 36.4 | 83.1 | #N/A
21060 | 2021-02-18 16:25 | 51.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.1399 | μmol/L | 39.14 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.232 | 159777.0221 | 274217.6373 | 36.4 | 83.1 | #N/A
21070 | 2021-02-18 16:26 | 51.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.4568 | μmol/L | 39.1091 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.306 | 160339.4907 | 274225.9369 | 36.4 | 83.1 | #N/A
21080 | 2021-02-18 16:26 | 52.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.5242 | μmol/L | 39.1646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.275 | 160097.0363 | 274223.6981 | 36.4 | 83.1 | #N/A
21090 | 2021-02-18 16:26 | 52.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.4754 | μmol/L | 39.2139 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.257 | 159963.2973 | 274241.8524 | 36.4 | 83.1 | #N/A
21100 | 2021-02-18 16:27 | 52.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.6052 | μmol/L | 39.14 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.279 | 160124.6695 | 274239.4978 | 36.4 | 83.1 | #N/A
21110 | 2021-02-18 16:27 | 53.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.2298 | μmol/L | 39.1646 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.213 | 159593.9093 | 274236.4909 | 36.4 | 83.1 | #N/A
21120 | 2021-02-18 16:27 | 53.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.6803 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.225 | 159703.8268 | 274228.368 | 36.4 | 83.1 | #N/A
21130 | 2021-02-18 16:28 | 53.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.6606 | μmol/L | 39.1831 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.167 | 159219.2802 | 274231.8097 | 36.4 | 83.1 | #N/A
21140 | 2021-02-18 16:28 | 54.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.4535 | μmol/L | 39.2077 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.087 | 158623.4436 | 274231.9437 | 36.4 | 83.1 | #N/A
21150 | 2021-02-18 16:28 | 54.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.5407 | μmol/L | 39.2509 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.06 | 158387.0599 | 274232.1588 | 36.4 | 83.1 | #N/A
21160 | 2021-02-18 16:29 | 54.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.3063 | μmol/L | 39.3002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.058 | 158377.8314 | 274241.9572 | 36.4 | 83.1 | #N/A
21170 | 2021-02-18 16:29 | 55.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.8016 | μmol/L | 39.294 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.018 | 158072.8773 | 274247.1389 | 36.4 | 83.1 | #N/A
21180 | 2021-02-18 16:29 | 55.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.8389 | μmol/L | 39.3002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.012 | 158043.7095 | 274258.1538 | 36.4 | 83.1 | #N/A
21190 | 2021-02-18 16:30 | 55.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.5789 | μmol/L | 39.2878 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.04 | 158271.1238 | 274249.9878 | 36.4 | 83.1 | #N/A
21200 | 2021-02-18 16:30 | 56.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.208 | μmol/L | 39.3433 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.047 | 158313.1689 | 274253.9504 | 36.4 | 83.1 | #N/A
21210 | 2021-02-18 16:30 | 56.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.0842 | μmol/L | 39.4111 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.027 | 158185.569 | 274241.9605 | 36.4 | 83.1 | #N/A
21220 | 2021-02-18 16:31 | 56.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.1904 | μmol/L | 39.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.015 | 158055.5644 | 274236.8511 | 36.4 | 83.1 | #N/A
21230 | 2021-02-18 16:31 | 57.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.8298 | μmol/L | 39.3063 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.01 | 158018.6761 | 274246.2369 | 36.4 | 83.1 | #N/A
21240 | 2021-02-18 16:31 | 57.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.0584 | μmol/L | 39.3741 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.046 | 158318.8834 | 274254.7505 | 36.4 | 83.1 | #N/A
21250 | 2021-02-18 16:32 | 57.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.3505 | μmol/L | 39.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.088 | 158643.6878 | 274259.1241 | 36.4 | 83.1 | #N/A
21260 | 2021-02-18 16:32 | 58.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.4491 | μmol/L | 39.4049 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.085 | 158617.626 | 274257.0027 | 36.4 | 83.1 | #N/A
21270 | 2021-02-18 16:32 | 58.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.6558 | μmol/L | 39.4049 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.067 | 158489.2146 | 274266.934 | 36.4 | 83.1 | #N/A
21280 | 2021-02-18 16:33 | 58.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.7984 | μmol/L | 39.4173 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.049 | 158391.644 | 274254.1146 | 36.4 | 83.1 | #N/A
21290 | 2021-02-18 16:33 | 59.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.7293 | μmol/L | 39.3864 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.069 | 158513.0643 | 274261.7599 | 36.4 | 83.1 | #N/A
21300 | 2021-02-18 16:33 | 59.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.7432 | μmol/L | 39.4234 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.051 | 158387.4965 | 274257.8582 | 36.4 | 83.1 | #N/A
21310 | 2021-02-18 16:34 | 59.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.3961 | μmol/L | 39.4789 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.056 | 158403.9641 | 274257.6852 | 36.4 | 83.1 | #N/A
21320 | 2021-02-18 16:34 | 60.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.2792 | μmol/L | 39.4727 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.069 | 158515.0966 | 274253.9562 | 36.4 | 83.1 | #N/A
21330 | 2021-02-18 16:34 | 60.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.2976 | μmol/L | 39.4604 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.073 | 158550.2048 | 274268.7817 | 36.4 | 83.1 | #N/A
21340 | 2021-02-18 16:35 | 60.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.192 | μmol/L | 39.485 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.071 | 158560.7105 | 274265.8641 | 36.4 | 83.1 | #N/A
21350 | 2021-02-18 16:35 | 61.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.7078 | μmol/L | 39.4727 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.119 | 158903.6809 | 274259.0041 | 36.4 | 83.1 | #N/A
21360 | 2021-02-18 16:35 | 61.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.7442 | μmol/L | 39.4789 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.113 | 158867.6106 | 274263.7679 | 36.4 | 83.1 | #N/A
21370 | 2021-02-18 16:36 | 61.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.5705 | μmol/L | 39.5035 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.117 | 158907.9045 | 274261.7461 | 36.4 | 83.1 | #N/A
21380 | 2021-02-18 16:36 | 62.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.8639 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.168 | 159275.4652 | 274260.2405 | 36.4 | 83.1 | #N/A
21390 | 2021-02-18 16:36 | 62.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.6451 | μmol/L | 39.5159 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.193 | 159481.8883 | 274253.8112 | 36.4 | 83.1 | #N/A
21400 | 2021-02-18 16:37 | 62.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.6409 | μmol/L | 39.5035 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.199 | 159525.9235 | 274256.7734 | 36.4 | 83.1 | #N/A
21410 | 2021-02-18 16:37 | 63.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.2885 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.219 | 159693.2673 | 274261.811 | 36.4 | 83.1 | #N/A
21420 | 2021-02-18 16:37 | 63.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.0188 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.243 | 159879.1958 | 274262.2091 | 36.4 | 83.1 | #N/A
21430 | 2021-02-18 16:38 | 63.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 130.1306 | μmol/L | 39.5467 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.314 | 160448.4967 | 274260.4383 | 36.4 | 83.1 | #N/A
21440 | 2021-02-18 16:38 | 64.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 130.5012 | μmol/L | 39.485 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.309 | 160410.7258 | 274275.7627 | 36.4 | 83.1 | #N/A
21450 | 2021-02-18 16:38 | 64.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 130.898 | μmol/L | 39.5713 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.234 | 159833.9569 | 274262.855 | 36.4 | 83.1 | #N/A
21460 | 2021-02-18 16:39 | 64.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 130.707 | μmol/L | 39.5343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.268 | 160077.0249 | 274262.0194 | 36.4 | 83.1 | #N/A
21470 | 2021-02-18 16:39 | 65.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 130.5716 | μmol/L | 39.6021 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.249 | 159897.4217 | 274274.1779 | 36.4 | 83.1 | #N/A
21480 | 2021-02-18 16:39 | 65.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.5352 | μmol/L | 39.559 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.183 | 159391.3239 | 274247.9419 | 36.4 | 83.1 | #N/A
21490 | 2021-02-18 16:40 | 65.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.3833 | μmol/L | 39.5775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.188 | 159421.2919 | 274263.6974 | 36.4 | 83.1 | #N/A
21500 | 2021-02-18 16:40 | 66.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.4695 | μmol/L | 39.5652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.186 | 159409.7617 | 274269.509 | 36.4 | 83.1 | #N/A
21510 | 2021-02-18 16:40 | 66.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.0908 | μmol/L | 39.5775 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.214 | 159638.1112 | 274275.0362 | 36.4 | 83.1 | #N/A
21520 | 2021-02-18 16:41 | 66.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.5189 | μmol/L | 39.5097 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.207 | 159576.0769 | 274277.9715 | 36.4 | 83.1 | #N/A
21530 | 2021-02-18 16:41 | 67.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.4972 | μmol/L | 39.522 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.115 | 158830.7598 | 274275.0346 | 36.4 | 83.1 | #N/A
21540 | 2021-02-18 16:41 | 67.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.6609 | μmol/L | 39.5343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.095 | 158695.0362 | 274274.6935 | 36.4 | 83.1 | #N/A
21550 | 2021-02-18 16:42 | 67.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.7755 | μmol/L | 39.5343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.173 | 159307.5278 | 274288.3123 | 36.4 | 83.1 | #N/A
21560 | 2021-02-18 16:42 | 68.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.2163 | μmol/L | 39.5652 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.12 | 158915.5664 | 274279.281 | 36.4 | 83.1 | #N/A
21570 | 2021-02-18 16:42 | 68.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.7229 | μmol/L | 39.5159 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.098 | 158702.2596 | 274283.0977 | 36.4 | 83.1 | #N/A
21580 | 2021-02-18 16:43 | 68.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.83 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.171 | 159299.1806 | 274280.0671 | 36.4 | 83.1 | #N/A
21590 | 2021-02-18 16:43 | 69.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 131.721 | μmol/L | 39.5405 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.175 | 159305.5162 | 274278.2771 | 36.4 | 83.1 | #N/A
21600 | 2021-02-18 16:43 | 69.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.4808 | μmol/L | 39.5405 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.108 | 158776.7128 | 274272.5239 | 36.4 | 83.1 | #N/A
21610 | 2021-02-18 16:44 | 69.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.2534 | μmol/L | 39.5405 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.128 | 158950.0169 | 274299.4199 | 36.4 | 83.1 | #N/A
21620 | 2021-02-18 16:44 | 70.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.2492 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.134 | 158974.2866 | 274288.2386 | 36.4 | 83.1 | #N/A
21630 | 2021-02-18 16:44 | 70.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.0698 | μmol/L | 39.5343 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.147 | 159062.8179 | 274316.1104 | 36.4 | 83.1 | #N/A
21640 | 2021-02-18 16:45 | 70.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.0451 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.152 | 159097.5552 | 274302.0377 | 36.4 | 83.1 | #N/A
21650 | 2021-02-18 16:45 | 71.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.6958 | μmol/L | 39.5035 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.106 | 158759.5633 | 274300.2314 | 36.4 | 83.1 | #N/A
21660 | 2021-02-18 16:45 | 71.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.9408 | μmol/L | 39.4542 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.107 | 158760.758 | 274305.3586 | 36.4 | 83.1 | #N/A
21670 | 2021-02-18 16:46 | 71.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.1757 | μmol/L | 39.5035 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.064 | 158420.8567 | 274301.6073 | 36.4 | 83.1 | #N/A
21680 | 2021-02-18 16:46 | 72.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.26 | μmol/L | 39.4789 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.981 | 157769.1882 | 274297.0644 | 36.4 | 83.1 | #N/A
21690 | 2021-02-18 16:46 | 72.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.8934 | μmol/L | 39.5282 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.904 | 157162.3737 | 274305.1447 | 36.4 | 83.1 | #N/A
21700 | 2021-02-18 16:47 | 72.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.3202 | μmol/L | 39.5159 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.873 | 156900.2977 | 274294.8439 | 36.4 | 83.1 | #N/A
21710 | 2021-02-18 16:47 | 73.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.3688 | μmol/L | 39.4604 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.894 | 157057.4282 | 274291.9584 | 36.4 | 83.1 | #N/A
21720 | 2021-02-18 16:47 | 73.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.5515 | μmol/L | 39.4789 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.87 | 156872.6129 | 274298.9785 | 36.4 | 83.1 | #N/A
21730 | 2021-02-18 16:48 | 73.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.5422 | μmol/L | 39.485 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.868 | 156847.1863 | 274296.0557 | 36.4 | 83.1 | #N/A
21740 | 2021-02-18 16:48 | 74.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.6114 | μmol/L | 39.4234 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.89 | 157037.5497 | 274306.0637 | 36.4 | 83.1 | #N/A
21750 | 2021-02-18 16:48 | 74.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.297 | μmol/L | 39.4542 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.989 | 157796.5942 | 274291.7788 | 36.4 | 83.1 | #N/A
21760 | 2021-02-18 16:49 | 74.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.9683 | μmol/L | 39.4357 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.113 | 158747.1999 | 274302.2099 | 36.4 | 83.1 | #N/A
21770 | 2021-02-18 16:49 | 75.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 132.4963 | μmol/L | 39.4542 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.146 | 159038.3168 | 274305.1084 | 36.4 | 83.1 | #N/A
21780 | 2021-02-18 16:49 | 75.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.4582 | μmol/L | 39.368 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.101 | 158698.2506 | 274298.1117 | 36.4 | 83.1 | #N/A
21790 | 2021-02-18 16:50 | 75.6717 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 133.8306 | μmol/L | 39.4111 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.049 | 158260.457 | 274294.7256 | 36.4 | 83.1 | #N/A
21800 | 2021-02-18 16:50 | 76.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.458 | μmol/L | 39.3618 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.017 | 157975.3693 | 274295.7932 | 36.4 | 83.1 | #N/A
21810 | 2021-02-18 16:50 | 76.3382 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.6362 | μmol/L | 39.3125 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.938 | 157374.2241 | 274276.4683 | 36.4 | 83.1 | #N/A
21820 | 2021-02-18 16:51 | 76.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.8949 | μmol/L | 39.3125 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.831 | 156503.1786 | 274291.3096 | 36.4 | 83.1 | #N/A
21830 | 2021-02-18 16:51 | 77.005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.9004 | μmol/L | 39.3803 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.8 | 156250.6446 | 274286.5344 | 36.4 | 83.1 | #N/A
21840 | 2021-02-18 16:51 | 77.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.021 | μmol/L | 39.3926 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.869 | 156820.2014 | 274281.2965 | 36.4 | 83.1 | #N/A
21850 | 2021-02-18 16:52 | 77.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.6316 | μmol/L | 39.3864 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.905 | 157088.8694 | 274282.5547 | 36.4 | 83.1 | #N/A
21860 | 2021-02-18 16:52 | 78.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.2631 | μmol/L | 39.3248 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.879 | 156848.1656 | 274275.0108 | 36.4 | 83.1 | #N/A
21870 | 2021-02-18 16:52 | 78.3384 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.2924 | μmol/L | 39.3002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.803 | 156306.2671 | 274282.1836 | 36.4 | 83.1 | #N/A
21880 | 2021-02-18 16:53 | 78.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.7085 | μmol/L | 39.3803 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.732 | 155714.2596 | 274278.9789 | 36.4 | 83.1 | #N/A
21890 | 2021-02-18 16:53 | 79.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.52 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.714 | 155550.8514 | 274274.6776 | 36.4 | 83.1 | #N/A
21900 | 2021-02-18 16:53 | 79.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3407 | μmol/L | 39.3495 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.693 | 155376.2248 | 274279.2219 | 36.4 | 83.1 | #N/A
21910 | 2021-02-18 16:54 | 79.6716 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 138.3224 | μmol/L | 39.257 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.736 | 155731.8336 | 274281.9292 | 36.4 | 83.1 | #N/A
21920 | 2021-02-18 16:54 | 80.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.4763 | μmol/L | 39.3002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.872 | 156773.7983 | 274285.5812 | 36.4 | 83.1 | #N/A
21930 | 2021-02-18 16:54 | 80.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.539 | μmol/L | 39.2817 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.875 | 156801.224 | 274279.2459 | 36.4 | 83.1 | #N/A
21940 | 2021-02-18 16:55 | 80.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.8535 | μmol/L | 39.3002 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.925 | 157169.6926 | 274268.1909 | 36.4 | 83.1 | #N/A
21950 | 2021-02-18 16:55 | 81.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.3452 | μmol/L | 39.2694 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.897 | 156982.5413 | 274278.6448 | 36.4 | 83.1 | #N/A
21960 | 2021-02-18 16:55 | 81.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 137.2795 | μmol/L | 39.2447 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.829 | 156439.5166 | 274273.1815 | 36.4 | 83.1 | #N/A
21970 | 2021-02-18 16:56 | 81.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 136.8914 | μmol/L | 39.2509 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.859 | 156672.8654 | 274279.9325 | 36.4 | 83.1 | #N/A
21980 | 2021-02-18 16:56 | 82.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.8329 | μmol/L | 39.1708 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 21.985 | 157678.7043 | 274281.0154 | 36.4 | 83.1 | #N/A
21990 | 2021-02-18 16:56 | 82.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 135.3521 | μmol/L | 39.2201 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.004 | 157782.5669 | 274289.294 | 36.4 | 83.1 | #N/A
22000 | 2021-02-18 16:57 | 82.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 134.8908 | μmol/L | 39.257 | °C | 999 | hPa | Humid | 28 | 0 | 0 | 22.027 | 157809.7344 | 274286.8396 | 36.4 | 83.1 | #N/A