## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-19 17:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
22011 | 2021-02-19 16:07 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.2668 | μmol/L | 39.1728 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.574 | 107743.5931 | 302067.0531 | 30.45 | 114.2
22021 | 2021-02-19 16:07 | 0.33765 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.4374 | μmol/L | 39.1234 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.582 | 107788.3261 | 302084.4792 | 30.45 | 114.2
22034 | 2021-02-19 16:08 | 1.047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3845 | μmol/L | 39.1234 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.586 | 107851.2732 | 302117.3908 | 30.45 | 114.2
22041 | 2021-02-19 16:08 | 1.0471 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3104 | μmol/L | 39.1295 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.589 | 107839.3844 | 301946.621 | 30.45 | 114.2
22051 | 2021-02-19 16:08 | 1.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 146.3662 | μmol/L | 39.1172 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.59 | 107878.163 | 302125.1218 | 30.45 | 114.2
22061 | 2021-02-19 16:08 | 1.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.9148 | μmol/L | 39.2099 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.585 | 107863.503 | 302136.1734 | 30.45 | 114.2
22071 | 2021-02-19 16:09 | 2.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6305 | μmol/L | 39.2655 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.583 | 107849.2651 | 302134.3734 | 30.45 | 114.2
22081 | 2021-02-19 16:09 | 2.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7045 | μmol/L | 39.2593 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.58 | 107838.5997 | 302156.0939 | 30.45 | 114.2
22091 | 2021-02-19 16:09 | 2.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.6813 | μmol/L | 39.2964 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.566 | 107778.3595 | 302150.4989 | 30.45 | 114.2
22101 | 2021-02-19 16:10 | 3.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.7208 | μmol/L | 39.2964 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.563 | 107772.3503 | 302157.9148 | 30.45 | 114.2
22111 | 2021-02-19 16:10 | 3.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.4132 | μmol/L | 39.3397 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.568 | 107810.1876 | 302175.513 | 30.45 | 114.2
22121 | 2021-02-19 16:10 | 3.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.476 | μmol/L | 39.3026 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.579 | 107856.482 | 302167.4543 | 30.45 | 114.2
22131 | 2021-02-19 16:11 | 4.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.4298 | μmol/L | 39.3273 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.572 | 107847.7595 | 302177.0212 | 30.45 | 114.2
22141 | 2021-02-19 16:11 | 4.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0855 | μmol/L | 39.4077 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.564 | 107830.2908 | 302183.0254 | 30.45 | 114.2
22151 | 2021-02-19 16:11 | 4.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 145.0462 | μmol/L | 39.4077 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.567 | 107834.1999 | 302190.2618 | 30.45 | 114.2
22161 | 2021-02-19 16:12 | 5.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4887 | μmol/L | 39.5004 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 107868.8293 | 302186.7349 | 30.45 | 114.2
22171 | 2021-02-19 16:12 | 5.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.795 | μmol/L | 39.4386 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.573 | 107892.7003 | 302203.6782 | 30.45 | 114.2
22181 | 2021-02-19 16:12 | 5.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.8771 | μmol/L | 39.4262 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.572 | 107903.5665 | 302207.7218 | 30.45 | 114.2
22191 | 2021-02-19 16:13 | 6.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.6269 | μmol/L | 39.4757 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 107934.2008 | 302210.3303 | 30.45 | 114.2
22201 | 2021-02-19 16:13 | 6.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1688 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.576 | 107951.1974 | 302209.8894 | 30.45 | 114.2
22211 | 2021-02-19 16:13 | 6.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2203 | μmol/L | 39.5251 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.58 | 107968.3601 | 302214.0072 | 30.45 | 114.2
22221 | 2021-02-19 16:14 | 7.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.4757 | μmol/L | 39.5004 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 107985.8318 | 302220.1085 | 30.45 | 114.2
22231 | 2021-02-19 16:14 | 7.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.5102 | μmol/L | 39.4942 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 107981.0272 | 302209.5356 | 30.45 | 114.2
22241 | 2021-02-19 16:14 | 7.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2814 | μmol/L | 39.5375 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 107989.8532 | 302217.9177 | 30.45 | 114.2
22251 | 2021-02-19 16:15 | 8.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.2814 | μmol/L | 39.5375 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 107991.1691 | 302215.7898 | 30.45 | 114.2
22261 | 2021-02-19 16:15 | 8.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.0396 | μmol/L | 39.5808 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 107994.7289 | 302206.6392 | 30.45 | 114.2
22271 | 2021-02-19 16:15 | 8.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1688 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.576 | 108025.6954 | 302201.5246 | 30.45 | 114.2
22281 | 2021-02-19 16:16 | 9.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8367 | μmol/L | 39.624 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.567 | 108009.3983 | 302217.6727 | 30.45 | 114.2
22291 | 2021-02-19 16:16 | 9.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.893 | μmol/L | 39.6302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.56 | 107970.5371 | 302210.615 | 30.45 | 114.2
22301 | 2021-02-19 16:16 | 9.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.1265 | μmol/L | 39.5931 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.558 | 107943.4101 | 302206.4776 | 30.45 | 114.2
22311 | 2021-02-19 16:17 | 10.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.0529 | μmol/L | 39.5993 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.561 | 107979.0645 | 302215.133 | 30.45 | 114.2
22321 | 2021-02-19 16:17 | 10.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.612 | μmol/L | 39.6549 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 108026.6266 | 302207.0238 | 30.45 | 114.2
22331 | 2021-02-19 16:17 | 10.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4307 | μmol/L | 39.6735 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.577 | 108082.4879 | 302196.7188 | 30.45 | 114.2
22341 | 2021-02-19 16:18 | 11.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5645 | μmol/L | 39.6426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.58 | 108119.9802 | 302199.0524 | 30.45 | 114.2
22351 | 2021-02-19 16:18 | 11.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5516 | μmol/L | 39.6611 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.573 | 108072.0306 | 302193.2923 | 30.45 | 114.2
22361 | 2021-02-19 16:18 | 11.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.144 | μmol/L | 39.5993 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.554 | 107987.4453 | 302202.2365 | 30.45 | 114.2
22371 | 2021-02-19 16:19 | 12.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.01 | μmol/L | 39.6302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.551 | 107963.0973 | 302199.1132 | 30.45 | 114.2
22381 | 2021-02-19 16:19 | 12.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8412 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.556 | 107980.204 | 302189.3235 | 30.45 | 114.2
22391 | 2021-02-19 16:19 | 12.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 144.0012 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.557 | 107990.3621 | 302193.631 | 30.45 | 114.2
22401 | 2021-02-19 16:20 | 13.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8456 | μmol/L | 39.6549 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.553 | 108004.8672 | 302193.2955 | 30.45 | 114.2
22411 | 2021-02-19 16:20 | 13.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5213 | μmol/L | 39.692 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.562 | 108019.1532 | 302186.0742 | 30.45 | 114.2
22421 | 2021-02-19 16:20 | 13.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6726 | μmol/L | 39.6673 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.561 | 108048.0626 | 302192.2809 | 30.45 | 114.2
22431 | 2021-02-19 16:21 | 14.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8065 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.564 | 108043.9553 | 302183.7987 | 30.45 | 114.2
22441 | 2021-02-19 16:21 | 14.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7633 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.562 | 108032.6931 | 302194.9483 | 30.45 | 114.2
22451 | 2021-02-19 16:21 | 14.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.9058 | μmol/L | 39.6117 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.567 | 108049.9878 | 302161.7491 | 30.45 | 114.2
22461 | 2021-02-19 16:22 | 15.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6466 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 108096.1534 | 302172.2273 | 30.45 | 114.2
22471 | 2021-02-19 16:22 | 15.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.72 | μmol/L | 39.6426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.568 | 108081.3683 | 302170.7422 | 30.45 | 114.2
22481 | 2021-02-19 16:22 | 15.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8281 | μmol/L | 39.6302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.565 | 108070.2801 | 302166.331 | 30.45 | 114.2
22491 | 2021-02-19 16:23 | 16.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6639 | μmol/L | 39.6549 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.567 | 108068.5955 | 302151.7495 | 30.45 | 114.2
22501 | 2021-02-19 16:23 | 16.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7502 | μmol/L | 39.6302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 108091.0897 | 302143.828 | 30.45 | 114.2
22511 | 2021-02-19 16:23 | 16.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8539 | μmol/L | 39.6117 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.571 | 108105.5402 | 302141.2709 | 30.45 | 114.2
22521 | 2021-02-19 16:24 | 17.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.884 | μmol/L | 39.5993 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.574 | 108092.3469 | 302129.5116 | 30.45 | 114.2
22531 | 2021-02-19 16:24 | 17.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7718 | μmol/L | 39.624 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.572 | 108081.2018 | 302133.3939 | 30.45 | 114.2
22541 | 2021-02-19 16:24 | 17.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.625 | μmol/L | 39.6549 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.57 | 108091.3831 | 302134.2646 | 30.45 | 114.2
22551 | 2021-02-19 16:25 | 18.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.8583 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.568 | 108093.5742 | 302141.2984 | 30.45 | 114.2
22561 | 2021-02-19 16:25 | 18.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6768 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.574 | 108093.4406 | 302133.9911 | 30.45 | 114.2
22571 | 2021-02-19 16:25 | 18.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7544 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.576 | 108093.0366 | 302126.4363 | 30.45 | 114.2
22581 | 2021-02-19 16:26 | 19.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7371 | μmol/L | 39.6117 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.58 | 108117.728 | 302126.4705 | 30.45 | 114.2
22591 | 2021-02-19 16:26 | 19.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5686 | μmol/L | 39.6117 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.593 | 108174.7199 | 302109.8298 | 30.45 | 114.2
22601 | 2021-02-19 16:26 | 19.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.5558 | μmol/L | 39.6302 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.586 | 108148.8489 | 302117.1867 | 30.45 | 114.2
22611 | 2021-02-19 16:27 | 20.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6678 | μmol/L | 39.6055 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.588 | 108139.6244 | 302112.1922 | 30.45 | 114.2
22621 | 2021-02-19 16:27 | 20.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4996 | μmol/L | 39.624 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.593 | 108166.0336 | 302102.3571 | 30.45 | 114.2
22631 | 2021-02-19 16:27 | 20.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.7191 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.6 | 108225.3928 | 302107.7316 | 30.45 | 114.2
22641 | 2021-02-19 16:28 | 21.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.422 | μmol/L | 39.624 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.599 | 108220.3332 | 302095.3447 | 30.45 | 114.2
22651 | 2021-02-19 16:28 | 21.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.6155 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.608 | 108263.9604 | 302096.6435 | 30.45 | 114.2
22661 | 2021-02-19 16:28 | 21.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3399 | μmol/L | 39.5993 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.616 | 108311.1274 | 302080.8236 | 30.45 | 114.2
22671 | 2021-02-19 16:29 | 22.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.1979 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.619 | 108323.7199 | 302080.8944 | 30.45 | 114.2
22681 | 2021-02-19 16:29 | 22.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4302 | μmol/L | 39.5808 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.617 | 108325.8671 | 302074.7075 | 30.45 | 114.2
22691 | 2021-02-19 16:29 | 22.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3955 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.625 | 108352.0336 | 302062.917 | 30.45 | 114.2
22701 | 2021-02-19 16:30 | 23.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4425 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.632 | 108384.3221 | 302073.9842 | 30.45 | 114.2
22711 | 2021-02-19 16:30 | 23.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3782 | μmol/L | 39.5622 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.629 | 108382.2586 | 302058.3782 | 30.45 | 114.2
22721 | 2021-02-19 16:30 | 23.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3996 | μmol/L | 39.556 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.63 | 108395.8592 | 302058.3465 | 30.45 | 114.2
22731 | 2021-02-19 16:31 | 24.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3306 | μmol/L | 39.5498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.638 | 108410.6655 | 302045.9962 | 30.45 | 114.2
22741 | 2021-02-19 16:31 | 24.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.4118 | μmol/L | 39.5189 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.645 | 108459.9141 | 302037.672 | 30.45 | 114.2
22751 | 2021-02-19 16:31 | 24.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.1754 | μmol/L | 39.5313 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.658 | 108481.1586 | 302039.4186 | 30.45 | 114.2
22761 | 2021-02-19 16:32 | 25.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.9997 | μmol/L | 39.556 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.661 | 108519.1531 | 302032.5179 | 30.45 | 114.2
22771 | 2021-02-19 16:32 | 25.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.3165 | μmol/L | 39.4942 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.663 | 108554.0024 | 302027.2744 | 30.45 | 114.2
22781 | 2021-02-19 16:32 | 25.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.9523 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.67 | 108582.4724 | 302020.6812 | 30.45 | 114.2
22791 | 2021-02-19 16:33 | 26.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.9523 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.67 | 108578.517 | 302014.5154 | 30.45 | 114.2
22801 | 2021-02-19 16:33 | 26.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.9397 | μmol/L | 39.5622 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.663 | 108555.9154 | 302021.4265 | 30.45 | 114.2
22811 | 2021-02-19 16:33 | 26.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.0337 | μmol/L | 39.5313 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.669 | 108562.6229 | 302002.8154 | 30.45 | 114.2
22821 | 2021-02-19 16:34 | 27.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8923 | μmol/L | 39.5498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.672 | 108588.8519 | 302013.4381 | 30.45 | 114.2
22831 | 2021-02-19 16:34 | 27.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7382 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.676 | 108622.9134 | 301996.4304 | 30.45 | 114.2
22841 | 2021-02-19 16:34 | 27.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8622 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.677 | 108621.4383 | 302015.1504 | 30.45 | 114.2
22851 | 2021-02-19 16:35 | 28.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8622 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.677 | 108603.606 | 301997.5516 | 30.45 | 114.2
22861 | 2021-02-19 16:35 | 28.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7511 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.675 | 108610.0666 | 302003.4782 | 30.45 | 114.2
22871 | 2021-02-19 16:35 | 28.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7337 | μmol/L | 39.5437 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.687 | 108648.0318 | 301997.4188 | 30.45 | 114.2
22881 | 2021-02-19 16:36 | 29.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6353 | μmol/L | 39.5498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.692 | 108688.8429 | 301990.2158 | 30.45 | 114.2
22891 | 2021-02-19 16:36 | 29.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.2125 | μmol/L | 39.5869 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.709 | 108794.2796 | 301964.8647 | 30.45 | 114.2
22901 | 2021-02-19 16:36 | 29.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9398 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.717 | 108865.2104 | 301976.7616 | 30.45 | 114.2
22911 | 2021-02-19 16:37 | 30.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9441 | μmol/L | 39.6055 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.722 | 108863.7551 | 301988.6349 | 30.45 | 114.2
22921 | 2021-02-19 16:37 | 30.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3362 | μmol/L | 39.5622 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.71 | 108809.7801 | 301977.2444 | 30.45 | 114.2
22931 | 2021-02-19 16:37 | 30.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.9525 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.716 | 108845.2107 | 301974.2218 | 30.45 | 114.2
22941 | 2021-02-19 16:38 | 31.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.7014 | μmol/L | 39.6426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.725 | 108901.1903 | 301970.7452 | 30.45 | 114.2
22951 | 2021-02-19 16:38 | 31.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2971 | μmol/L | 39.7044 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.73 | 108945.72 | 301980.0559 | 30.45 | 114.2
22961 | 2021-02-19 16:38 | 31.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.6291 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.728 | 108917.3944 | 301966.1326 | 30.45 | 114.2
22971 | 2021-02-19 16:39 | 32.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2023 | μmol/L | 39.7538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.716 | 108868.211 | 301959.26 | 30.45 | 114.2
22981 | 2021-02-19 16:39 | 32.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.3387 | μmol/L | 39.7291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.716 | 108848.508 | 301969.9682 | 30.45 | 114.2
22991 | 2021-02-19 16:39 | 32.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.2919 | μmol/L | 39.7353 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.717 | 108862.7744 | 301955.424 | 30.45 | 114.2
23001 | 2021-02-19 16:40 | 33.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.1983 | μmol/L | 39.7477 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.719 | 108870.5372 | 301955.6263 | 30.45 | 114.2
23011 | 2021-02-19 16:40 | 33.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.1775 | μmol/L | 39.7353 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.726 | 108921.6951 | 301950.489 | 30.45 | 114.2
23021 | 2021-02-19 16:40 | 33.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.9485 | μmol/L | 39.7538 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.736 | 109007.7255 | 301948.5024 | 30.45 | 114.2
23031 | 2021-02-19 16:41 | 34.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5323 | μmol/L | 39.8157 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.742 | 109055.5348 | 301936.9237 | 30.45 | 114.2
23041 | 2021-02-19 16:41 | 34.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3632 | μmol/L | 39.828 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.75 | 109093.615 | 301943.4539 | 30.45 | 114.2
23051 | 2021-02-19 16:41 | 34.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2738 | μmol/L | 39.8466 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.749 | 109084.649 | 301933.3456 | 30.45 | 114.2
23061 | 2021-02-19 16:42 | 35.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5585 | μmol/L | 39.7971 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.748 | 109100.4424 | 301949.7538 | 30.45 | 114.2
23071 | 2021-02-19 16:42 | 35.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1 | μmol/L | 39.8713 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.752 | 109128.6601 | 301934.2656 | 30.45 | 114.2
23081 | 2021-02-19 16:42 | 35.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.794 | μmol/L | 39.9269 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.752 | 109162.1704 | 301937.0999 | 30.45 | 114.2
23091 | 2021-02-19 16:43 | 36.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8383 | μmol/L | 39.896 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.762 | 109186.3469 | 301933.1535 | 30.45 | 114.2
23101 | 2021-02-19 16:43 | 36.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.9314 | μmol/L | 39.8837 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.76 | 109207.1191 | 301927.965 | 30.45 | 114.2
23111 | 2021-02-19 16:43 | 36.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.0295 | μmol/L | 39.8589 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.763 | 109240.4726 | 301934.971 | 30.45 | 114.2
23121 | 2021-02-19 16:44 | 37.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8183 | μmol/L | 39.8837 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.769 | 109279.7452 | 301933.1605 | 30.45 | 114.2
23131 | 2021-02-19 16:44 | 37.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5769 | μmol/L | 39.9208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.772 | 109301.2497 | 301919.82 | 30.45 | 114.2
23141 | 2021-02-19 16:44 | 37.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6625 | μmol/L | 39.896 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.776 | 109299.4768 | 301929.9992 | 30.45 | 114.2
23151 | 2021-02-19 16:45 | 38.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5843 | μmol/L | 39.9331 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.766 | 109274.4637 | 301925.2567 | 30.45 | 114.2
23161 | 2021-02-19 16:45 | 38.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3895 | μmol/L | 39.964 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.768 | 109290.6809 | 301926.5966 | 30.45 | 114.2
23171 | 2021-02-19 16:45 | 38.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0679 | μmol/L | 40.0135 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.772 | 109329.0757 | 301919.0276 | 30.45 | 114.2
23181 | 2021-02-19 16:46 | 39.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5555 | μmol/L | 39.9269 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.771 | 109324.8293 | 301921.2433 | 30.45 | 114.2
23191 | 2021-02-19 16:46 | 39.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.4877 | μmol/L | 39.9393 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.771 | 109326.1363 | 301925.3667 | 30.45 | 114.2
23201 | 2021-02-19 16:46 | 39.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3608 | μmol/L | 39.9578 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.773 | 109365.4257 | 301927.1448 | 30.45 | 114.2
23211 | 2021-02-19 16:47 | 40.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.291 | μmol/L | 39.9455 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.784 | 109411.7079 | 301917.1855 | 30.45 | 114.2
23221 | 2021-02-19 16:47 | 40.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2373 | μmol/L | 39.9393 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.791 | 109446.403 | 301920.8957 | 30.45 | 114.2
23231 | 2021-02-19 16:47 | 40.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3447 | μmol/L | 39.9517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.777 | 109392.4152 | 301903.2478 | 30.45 | 114.2
23241 | 2021-02-19 16:48 | 41.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2161 | μmol/L | 39.9888 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.771 | 109347.4154 | 301918.9885 | 30.45 | 114.2
23251 | 2021-02-19 16:48 | 41.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9964 | μmol/L | 40.0197 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.775 | 109365.1495 | 301908.5783 | 30.45 | 114.2
23261 | 2021-02-19 16:48 | 41.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3572 | μmol/L | 39.9517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.776 | 109398.7911 | 301907.5445 | 30.45 | 114.2
23271 | 2021-02-19 16:49 | 42.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.403 | μmol/L | 39.9022 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.794 | 109465.0764 | 301896.5556 | 30.45 | 114.2
23281 | 2021-02-19 16:49 | 42.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3051 | μmol/L | 39.9269 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.791 | 109500.6527 | 301904.8501 | 30.45 | 114.2
23291 | 2021-02-19 16:49 | 42.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9894 | μmol/L | 39.964 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.8 | 109530.9198 | 301905.3097 | 30.45 | 114.2
23301 | 2021-02-19 16:50 | 43.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3405 | μmol/L | 39.9022 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.799 | 109543.6547 | 301906.1737 | 30.45 | 114.2
23311 | 2021-02-19 16:50 | 43.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2066 | μmol/L | 39.9084 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.807 | 109590.4429 | 301891.1661 | 30.45 | 114.2
23321 | 2021-02-19 16:50 | 43.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9501 | μmol/L | 39.9393 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.814 | 109640.0044 | 301893.2649 | 30.45 | 114.2
23331 | 2021-02-19 16:51 | 44.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9215 | μmol/L | 39.9331 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.819 | 109654.1305 | 301905.4693 | 30.45 | 114.2
23341 | 2021-02-19 16:51 | 44.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.8913 | μmol/L | 39.9455 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.816 | 109639.9533 | 301898.0735 | 30.45 | 114.2
23351 | 2021-02-19 16:51 | 44.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.8789 | μmol/L | 39.9455 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.817 | 109665.3668 | 301884.9198 | 30.45 | 114.2
23361 | 2021-02-19 16:52 | 45.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9393 | μmol/L | 39.9208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.823 | 109692.0565 | 301881.7555 | 30.45 | 114.2
23371 | 2021-02-19 16:52 | 45.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9569 | μmol/L | 39.9084 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.827 | 109713.5894 | 301893.9407 | 30.45 | 114.2
23381 | 2021-02-19 16:52 | 45.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6387 | μmol/L | 39.9393 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.839 | 109784.7028 | 301892.545 | 30.45 | 114.2
23391 | 2021-02-19 16:53 | 46.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4222 | μmol/L | 39.9517 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.851 | 109858.9498 | 301885.1118 | 30.45 | 114.2
23401 | 2021-02-19 16:53 | 46.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4293 | μmol/L | 39.9208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.864 | 109926.8358 | 301883.252 | 30.45 | 114.2
23411 | 2021-02-19 16:53 | 46.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2627 | μmol/L | 39.9331 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.872 | 109969.3093 | 301871.9139 | 30.45 | 114.2
23421 | 2021-02-19 16:54 | 47.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2468 | μmol/L | 39.9269 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.876 | 110016.6671 | 301882.6853 | 30.45 | 114.2
23431 | 2021-02-19 16:54 | 47.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1813 | μmol/L | 39.9208 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.884 | 110072.5323 | 301868.6494 | 30.45 | 114.2
23441 | 2021-02-19 16:54 | 47.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.213 | μmol/L | 39.8898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.895 | 110137.72 | 301870.4401 | 30.45 | 114.2
23451 | 2021-02-19 16:55 | 48.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0063 | μmol/L | 39.896 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.909 | 110198.5296 | 301860.3483 | 30.45 | 114.2
23461 | 2021-02-19 16:55 | 48.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.8704 | μmol/L | 39.896 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.92 | 110261.8606 | 301868.6864 | 30.45 | 114.2
23471 | 2021-02-19 16:55 | 48.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9004 | μmol/L | 39.8837 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.923 | 110285.3218 | 301862.3803 | 30.45 | 114.2
23481 | 2021-02-19 16:56 | 49.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1944 | μmol/L | 39.8157 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.929 | 110341.4041 | 301848.6326 | 30.45 | 114.2
23491 | 2021-02-19 16:56 | 49.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7998 | μmol/L | 39.8589 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.942 | 110394.6116 | 301853.2987 | 30.45 | 114.2
23501 | 2021-02-19 16:56 | 49.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6203 | μmol/L | 39.8898 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.943 | 110408.8604 | 301859.4705 | 30.45 | 114.2
23511 | 2021-02-19 16:57 | 50.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.8033 | μmol/L | 39.8651 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.939 | 110366.8406 | 301856.3549 | 30.45 | 114.2
23521 | 2021-02-19 16:57 | 50.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.879 | μmol/L | 39.8466 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.941 | 110373.9257 | 301855.9939 | 30.45 | 114.2
23531 | 2021-02-19 16:57 | 50.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9283 | μmol/L | 39.8466 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.937 | 110361.6228 | 301849.9691 | 30.45 | 114.2
23541 | 2021-02-19 16:58 | 51.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0977 | μmol/L | 39.8404 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.926 | 110275.1663 | 301862.1675 | 30.45 | 114.2
23551 | 2021-02-19 16:58 | 51.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4485 | μmol/L | 39.7848 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.922 | 110268.6479 | 301855.1897 | 30.45 | 114.2
23561 | 2021-02-19 16:58 | 51.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2453 | μmol/L | 39.7971 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.933 | 110307.617 | 301845.9359 | 30.45 | 114.2
23571 | 2021-02-19 16:59 | 52.0038 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2192 | μmol/L | 39.8157 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.927 | 110289.204 | 301848.3186 | 30.45 | 114.2
23581 | 2021-02-19 16:59 | 52.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2527 | μmol/L | 39.8095 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.927 | 110257.5884 | 301845.0897 | 30.45 | 114.2
23591 | 2021-02-19 16:59 | 52.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1573 | μmol/L | 39.8157 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.932 | 110269.3611 | 301836.0385 | 30.45 | 114.2
23601 | 2021-02-19 17:00 | 53.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.425 | μmol/L | 39.7662 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.932 | 110288.878 | 301833.8223 | 30.45 | 114.2
23611 | 2021-02-19 17:00 | 53.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4596 | μmol/L | 39.7415 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.94 | 110324.3438 | 301823.0048 | 30.45 | 114.2
23621 | 2021-02-19 17:00 | 53.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5782 | μmol/L | 39.692 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.952 | 110394.3626 | 301827.1445 | 30.45 | 114.2
23631 | 2021-02-19 17:01 | 54.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5038 | μmol/L | 39.692 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.958 | 110435.9942 | 301826.6979 | 30.45 | 114.2
23641 | 2021-02-19 17:01 | 54.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2627 | μmol/L | 39.7229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.964 | 110492.6956 | 301829.0668 | 30.45 | 114.2
23651 | 2021-02-19 17:01 | 54.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1799 | μmol/L | 39.7291 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.968 | 110481.8434 | 301833.7466 | 30.45 | 114.2
23661 | 2021-02-19 17:02 | 55.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0021 | μmol/L | 39.7415 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.977 | 110525.9093 | 301824.1467 | 30.45 | 114.2
23671 | 2021-02-19 17:02 | 55.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0157 | μmol/L | 39.7229 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.984 | 110556.9663 | 301823.5378 | 30.45 | 114.2
23681 | 2021-02-19 17:02 | 55.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5198 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 20.989 | 110597.3308 | 301817.9482 | 30.45 | 114.2
23691 | 2021-02-19 17:03 | 56.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6041 | μmol/L | 39.5746 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.001 | 110653.4582 | 301816.1945 | 30.45 | 114.2
23701 | 2021-02-19 17:03 | 56.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2592 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.002 | 110652.8317 | 301821.9726 | 30.45 | 114.2
23711 | 2021-02-19 17:03 | 56.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0388 | μmol/L | 39.6797 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.001 | 110644.7847 | 301790.875 | 30.45 | 114.2
23721 | 2021-02-19 17:04 | 57.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3095 | μmol/L | 39.6178 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.006 | 110660.2297 | 301799.4181 | 30.45 | 114.2
23731 | 2021-02-19 17:04 | 57.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.464 | μmol/L | 39.5684 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.015 | 110725.3735 | 301801.0033 | 30.45 | 114.2
23741 | 2021-02-19 17:04 | 57.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3781 | μmol/L | 39.5498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.03 | 110798.016 | 301790.4317 | 30.45 | 114.2
23751 | 2021-02-19 17:05 | 58.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5152 | μmol/L | 39.5128 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.035 | 110824.114 | 301798.2016 | 30.45 | 114.2
23761 | 2021-02-19 17:05 | 58.3371 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3747 | μmol/L | 39.5251 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.041 | 110869.1902 | 301793.4706 | 30.45 | 114.2
23771 | 2021-02-19 17:05 | 58.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2546 | μmol/L | 39.5498 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.04 | 110860.9131 | 301794.9867 | 30.45 | 114.2
23781 | 2021-02-19 17:06 | 59.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5882 | μmol/L | 39.6673 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.043 | 110867.205 | 301793.201 | 30.45 | 114.2
23791 | 2021-02-19 17:06 | 59.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6961 | μmol/L | 39.6426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.045 | 110881.337 | 301792.8343 | 30.45 | 114.2
23801 | 2021-02-19 17:06 | 59.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.6186 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.054 | 110924.4657 | 301798.0265 | 30.45 | 114.2
23811 | 2021-02-19 17:07 | 60.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5865 | μmol/L | 39.624 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.062 | 110967.1311 | 301793.9566 | 30.45 | 114.2
23821 | 2021-02-19 17:07 | 60.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3807 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.068 | 111006.4068 | 301785.067 | 30.45 | 114.2
23831 | 2021-02-19 17:07 | 60.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3402 | μmol/L | 39.6426 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.074 | 111041.8192 | 301777.6336 | 30.45 | 114.2
23841 | 2021-02-19 17:08 | 61.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.2385 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.085 | 111099.327 | 301795.5851 | 30.45 | 114.2
23851 | 2021-02-19 17:08 | 61.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0747 | μmol/L | 39.6488 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.093 | 111139.434 | 301795.1793 | 30.45 | 114.2
23861 | 2021-02-19 17:08 | 61.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1284 | μmol/L | 39.6364 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.094 | 111168.2712 | 301792.5528 | 30.45 | 114.2
23871 | 2021-02-19 17:09 | 62.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6767 | μmol/L | 39.6982 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.104 | 111189.6687 | 301792.1112 | 30.45 | 114.2
23881 | 2021-02-19 17:09 | 62.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6573 | μmol/L | 39.6858 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.111 | 111247.0062 | 301792.1668 | 30.45 | 114.2
23890 | 2021-02-19 17:09 | 62.6705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.5405 | μmol/L | 39.6735 | °C | 1000 | hPa | Humid | 28 | 0 | 0 | 21.126 | 111337.7658 | 301788.1315 | 30.45 | 114.2