## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-19 17:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
22012 | 2021-02-19 16:07 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.7488 | μmol/L | 38.6294 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.362 | 163864.5944 | 297816.9615 | 59.9307 | 49.4
22022 | 2021-02-19 16:07 | 0.32703 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.6466 | μmol/L | 38.6666 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.354 | 163906.8223 | 297824.2726 | 59.9307 | 49.4
22035 | 2021-02-19 16:08 | 1.0035 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.613 | μmol/L | 38.6604 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.359 | 163967.1562 | 297825.9798 | 59.9307 | 49.4
22042 | 2021-02-19 16:08 | 1.0035 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.6701 | μmol/L | 38.648 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.36 | 163920.8039 | 297721.0266 | 59.9307 | 49.4
22052 | 2021-02-19 16:08 | 1.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.201 | μmol/L | 38.7349 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.358 | 163991.6605 | 297845.985 | 59.9307 | 49.4
22062 | 2021-02-19 16:08 | 1.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.7194 | μmol/L | 38.6418 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.359 | 164031.473 | 297839.4724 | 59.9307 | 49.4
22072 | 2021-02-19 16:09 | 1.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.1596 | μmol/L | 38.7349 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.361 | 164057.6849 | 297846.704 | 59.9307 | 49.4
22082 | 2021-02-19 16:09 | 2.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.9939 | μmol/L | 38.7784 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.355 | 164061.0776 | 297843.4876 | 59.9307 | 49.4
22092 | 2021-02-19 16:09 | 2.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.0532 | μmol/L | 38.7535 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.361 | 164084.9769 | 297845.4202 | 59.9307 | 49.4
22102 | 2021-02-19 16:10 | 2.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.7498 | μmol/L | 38.797 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.365 | 164102.9908 | 297838.7429 | 59.9307 | 49.4
22112 | 2021-02-19 16:10 | 3.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.7911 | μmol/L | 38.797 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.362 | 164152.9192 | 297840.5314 | 59.9307 | 49.4
22122 | 2021-02-19 16:10 | 3.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.8758 | μmol/L | 38.7846 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.361 | 164167.9081 | 297849.5737 | 59.9307 | 49.4
22132 | 2021-02-19 16:11 | 3.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 152.0039 | μmol/L | 38.7597 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.362 | 164182.1247 | 297865.128 | 59.9307 | 49.4
22142 | 2021-02-19 16:11 | 4.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.7179 | μmol/L | 38.8218 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.357 | 164210.7694 | 297840.518 | 59.9307 | 49.4
22152 | 2021-02-19 16:11 | 4.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 151.346 | μmol/L | 38.8653 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.366 | 164240.7664 | 297847.9738 | 59.9307 | 49.4
22162 | 2021-02-19 16:12 | 4.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.9287 | μmol/L | 38.9336 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.368 | 164263.0787 | 297851.1695 | 59.9307 | 49.4
22172 | 2021-02-19 16:12 | 5.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.7296 | μmol/L | 38.9708 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.367 | 164302.4814 | 297855.8608 | 59.9307 | 49.4
22182 | 2021-02-19 16:12 | 5.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.9124 | μmol/L | 38.946 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.364 | 164296.9444 | 297858.8995 | 59.9307 | 49.4
22192 | 2021-02-19 16:13 | 5.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.6942 | μmol/L | 38.977 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.367 | 164359.4934 | 297873.0227 | 59.9307 | 49.4
22202 | 2021-02-19 16:13 | 6.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.6942 | μmol/L | 38.977 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.367 | 164360.7444 | 297864.6459 | 59.9307 | 49.4
22212 | 2021-02-19 16:13 | 6.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.6532 | μmol/L | 38.977 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.37 | 164386.0588 | 297853.5776 | 59.9307 | 49.4
22222 | 2021-02-19 16:14 | 6.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.555 | μmol/L | 38.9894 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.372 | 164387.3952 | 297857.4558 | 59.9307 | 49.4
22232 | 2021-02-19 16:14 | 7.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.596 | μmol/L | 38.9894 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.369 | 164447.7303 | 297860.6871 | 59.9307 | 49.4
22242 | 2021-02-19 16:14 | 7.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.0099 | μmol/L | 39.0826 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.373 | 164454.3275 | 297873.1127 | 59.9307 | 49.4
22252 | 2021-02-19 16:15 | 7.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.007 | μmol/L | 39.095 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.368 | 164483.6006 | 297863.1299 | 59.9307 | 49.4
22262 | 2021-02-19 16:15 | 8.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.0099 | μmol/L | 39.0826 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.373 | 164506.3531 | 297879.4112 | 59.9307 | 49.4
22272 | 2021-02-19 16:15 | 8.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.0943 | μmol/L | 39.0701 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.372 | 164517.0868 | 297834.4038 | 59.9307 | 49.4
22282 | 2021-02-19 16:16 | 8.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 150.1162 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.373 | 164526.1859 | 297854.2397 | 59.9307 | 49.4
22292 | 2021-02-19 16:16 | 9.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.8003 | μmol/L | 39.1074 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.378 | 164577.2013 | 297858.2589 | 59.9307 | 49.4
22302 | 2021-02-19 16:16 | 9.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.7649 | μmol/L | 39.1136 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.378 | 164548.451 | 297835.1483 | 59.9307 | 49.4
22312 | 2021-02-19 16:17 | 9.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.645 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.379 | 164586.5868 | 297819.906 | 59.9307 | 49.4
22322 | 2021-02-19 16:17 | 10.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.6315 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.38 | 164610.6311 | 297835.3295 | 59.9307 | 49.4
22332 | 2021-02-19 16:17 | 10.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.9667 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.384 | 164609.058 | 297809.2843 | 59.9307 | 49.4
22342 | 2021-02-19 16:18 | 10.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.2368 | μmol/L | 39.1943 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.383 | 164617.7477 | 297811.6741 | 59.9307 | 49.4
22352 | 2021-02-19 16:18 | 11.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.4815 | μmol/L | 39.1633 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.378 | 164649.3317 | 297816.9657 | 59.9307 | 49.4
22362 | 2021-02-19 16:18 | 11.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.1963 | μmol/L | 39.1943 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.386 | 164657.43 | 297806.8198 | 59.9307 | 49.4
22372 | 2021-02-19 16:19 | 11.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0715 | μmol/L | 39.2067 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.39 | 164679.1019 | 297808.9455 | 59.9307 | 49.4
22382 | 2021-02-19 16:19 | 12.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0901 | μmol/L | 39.2129 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.386 | 164720.4649 | 297802.5673 | 59.9307 | 49.4
22392 | 2021-02-19 16:19 | 12.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.3951 | μmol/L | 39.1571 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.387 | 164722.5673 | 297824.8113 | 59.9307 | 49.4
22402 | 2021-02-19 16:20 | 12.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8676 | μmol/L | 39.2378 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.392 | 164732.162 | 297788.1919 | 59.9307 | 49.4
22412 | 2021-02-19 16:20 | 13.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9737 | μmol/L | 39.2191 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.392 | 164752.573 | 297805.2532 | 59.9307 | 49.4
22422 | 2021-02-19 16:20 | 13.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9063 | μmol/L | 39.2191 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.397 | 164770.7869 | 297805.8657 | 59.9307 | 49.4
22432 | 2021-02-19 16:21 | 13.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.5209 | μmol/L | 39.1136 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.396 | 164790.9592 | 297799.8813 | 59.9307 | 49.4
22442 | 2021-02-19 16:21 | 14.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9416 | μmol/L | 39.2129 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.397 | 164803.6422 | 297789.3853 | 59.9307 | 49.4
22452 | 2021-02-19 16:21 | 14.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.6807 | μmol/L | 39.2564 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.398 | 164811.1401 | 297787.5075 | 59.9307 | 49.4
22462 | 2021-02-19 16:22 | 14.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5999 | μmol/L | 39.2564 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.404 | 164825.1864 | 297789.9252 | 59.9307 | 49.4
22472 | 2021-02-19 16:22 | 15.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8826 | μmol/L | 39.2067 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.404 | 164869.5415 | 297788.4715 | 59.9307 | 49.4
22482 | 2021-02-19 16:22 | 15.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0104 | μmol/L | 39.1819 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.405 | 164871.7959 | 297751.1825 | 59.9307 | 49.4
22492 | 2021-02-19 16:23 | 15.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5646 | μmol/L | 39.2626 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.404 | 164894.3368 | 297756.9545 | 59.9307 | 49.4
22502 | 2021-02-19 16:23 | 16.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.3595 | μmol/L | 39.275 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.414 | 164901.34 | 297769.3927 | 59.9307 | 49.4
22512 | 2021-02-19 16:23 | 16.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.674 | μmol/L | 39.0391 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.416 | 164915.8626 | 297763.342 | 59.9307 | 49.4
22522 | 2021-02-19 16:24 | 16.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.1933 | μmol/L | 39.126 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.415 | 164941.2811 | 297763.1179 | 59.9307 | 49.4
22532 | 2021-02-19 16:24 | 17.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.3546 | μmol/L | 39.2688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.417 | 164947.112 | 297735.7782 | 59.9307 | 49.4
22542 | 2021-02-19 16:24 | 17.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0687 | μmol/L | 39.1384 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.419 | 164970.9672 | 297733.8111 | 59.9307 | 49.4
22552 | 2021-02-19 16:25 | 17.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.6889 | μmol/L | 39.2005 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.421 | 164977.629 | 297731.36 | 59.9307 | 49.4
22562 | 2021-02-19 16:25 | 18.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9526 | μmol/L | 39.1446 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.425 | 165003.5267 | 297725.1834 | 59.9307 | 49.4
22572 | 2021-02-19 16:25 | 18.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.384 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.427 | 165020.4546 | 297730.4686 | 59.9307 | 49.4
22582 | 2021-02-19 16:26 | 18.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5108 | μmol/L | 39.2129 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.429 | 165045.3357 | 297712.6364 | 59.9307 | 49.4
22592 | 2021-02-19 16:26 | 19.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.5981 | μmol/L | 39.1881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.433 | 165055.4048 | 297731.7641 | 59.9307 | 49.4
22602 | 2021-02-19 16:26 | 19.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.7256 | μmol/L | 39.1633 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.434 | 165092.9301 | 297713.0311 | 59.9307 | 49.4
22612 | 2021-02-19 16:27 | 19.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.707 | μmol/L | 39.1571 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.438 | 165092.7633 | 297709.6114 | 59.9307 | 49.4
22622 | 2021-02-19 16:27 | 20.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.4419 | μmol/L | 39.1943 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.442 | 165120.4443 | 297729.3756 | 59.9307 | 49.4
22632 | 2021-02-19 16:27 | 20.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0271 | μmol/L | 39.0888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.443 | 165119.472 | 297703.3073 | 59.9307 | 49.4
22642 | 2021-02-19 16:28 | 20.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8593 | μmol/L | 39.1136 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.445 | 165140.3728 | 297704.251 | 59.9307 | 49.4
22652 | 2021-02-19 16:28 | 21.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8055 | μmol/L | 39.1136 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.449 | 165175.964 | 297702.2723 | 59.9307 | 49.4
22662 | 2021-02-19 16:28 | 21.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.0331 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.453 | 165182.7907 | 297679.6638 | 59.9307 | 49.4
22672 | 2021-02-19 16:29 | 21.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.063 | μmol/L | 39.0515 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.456 | 165192.5897 | 297677.1899 | 59.9307 | 49.4
22682 | 2021-02-19 16:29 | 22.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.1871 | μmol/L | 39.1943 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.461 | 165204.636 | 297676.7962 | 59.9307 | 49.4
22692 | 2021-02-19 16:29 | 22.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.7144 | μmol/L | 39.1012 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.461 | 165224.2409 | 297654.5539 | 59.9307 | 49.4
22702 | 2021-02-19 16:30 | 22.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.4229 | μmol/L | 39.1384 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.467 | 165268.6174 | 297685.3077 | 59.9307 | 49.4
22712 | 2021-02-19 16:30 | 23.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.704 | μmol/L | 39.0888 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.467 | 165290.8747 | 297684.1383 | 59.9307 | 49.4
22722 | 2021-02-19 16:30 | 23.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9231 | μmol/L | 39.0453 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.469 | 165308.3972 | 297677.6361 | 59.9307 | 49.4
22732 | 2021-02-19 16:31 | 23.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.1937 | μmol/L | 39.1695 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.471 | 165328.9608 | 297678.7828 | 59.9307 | 49.4
22742 | 2021-02-19 16:31 | 24.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.6564 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.481 | 165358.0973 | 297675.9658 | 59.9307 | 49.4
22752 | 2021-02-19 16:31 | 24.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 149.2529 | μmol/L | 38.9584 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.481 | 165371.2654 | 297662.388 | 59.9307 | 49.4
22762 | 2021-02-19 16:32 | 24.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.8213 | μmol/L | 39.0205 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.487 | 165396.2026 | 297659.9187 | 59.9307 | 49.4
22772 | 2021-02-19 16:32 | 25.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.9078 | μmol/L | 38.9956 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.491 | 165409.3276 | 297645.4093 | 59.9307 | 49.4
22782 | 2021-02-19 16:32 | 25.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.0797 | μmol/L | 39.1446 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.49 | 165435.4402 | 297646.5544 | 59.9307 | 49.4
22792 | 2021-02-19 16:33 | 25.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.4684 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.495 | 165453.8453 | 297620.3579 | 59.9307 | 49.4
22802 | 2021-02-19 16:33 | 26.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.9944 | μmol/L | 39.1384 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.499 | 165469.4388 | 297615.0696 | 59.9307 | 49.4
22812 | 2021-02-19 16:33 | 26.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.3715 | μmol/L | 39.0763 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.497 | 165502.7169 | 297621.9633 | 59.9307 | 49.4
22822 | 2021-02-19 16:34 | 26.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.016 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.5 | 165522.3349 | 297628.9578 | 59.9307 | 49.4
22832 | 2021-02-19 16:34 | 27.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.8958 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.509 | 165559.5275 | 297613.2939 | 59.9307 | 49.4
22842 | 2021-02-19 16:34 | 27.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 148.044 | μmol/L | 39.1012 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.511 | 165579.8138 | 297615.1092 | 59.9307 | 49.4
22852 | 2021-02-19 16:35 | 27.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.7457 | μmol/L | 39.1446 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.515 | 165593.0799 | 297612.481 | 59.9307 | 49.4
22862 | 2021-02-19 16:35 | 28.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.8589 | μmol/L | 39.1198 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.517 | 165616.7504 | 297612.0004 | 59.9307 | 49.4
22872 | 2021-02-19 16:35 | 28.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.8806 | μmol/L | 39.1136 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.518 | 165642.4587 | 297611.664 | 59.9307 | 49.4
22882 | 2021-02-19 16:36 | 28.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.5508 | μmol/L | 39.1508 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.527 | 165681.516 | 297608.7583 | 59.9307 | 49.4
22892 | 2021-02-19 16:36 | 29.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.5025 | μmol/L | 39.1571 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.528 | 165712.387 | 297591.5662 | 59.9307 | 49.4
22902 | 2021-02-19 16:36 | 29.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.9568 | μmol/L | 39.0763 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.528 | 165727.7547 | 297603.8683 | 59.9307 | 49.4
22912 | 2021-02-19 16:37 | 29.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.7636 | μmol/L | 39.1012 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.532 | 165755.8881 | 297594.7006 | 59.9307 | 49.4
22922 | 2021-02-19 16:37 | 30.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.85 | μmol/L | 39.0763 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.536 | 165789.7945 | 297595.4099 | 59.9307 | 49.4
22932 | 2021-02-19 16:37 | 30.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.391 | μmol/L | 39.1508 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.539 | 165823.4899 | 297591.6458 | 59.9307 | 49.4
22942 | 2021-02-19 16:38 | 30.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.3345 | μmol/L | 39.1633 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.538 | 165852.1411 | 297584.0856 | 59.9307 | 49.4
22952 | 2021-02-19 16:38 | 31.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.0719 | μmol/L | 39.2005 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.542 | 165869.8173 | 297579.3969 | 59.9307 | 49.4
22962 | 2021-02-19 16:38 | 31.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.4026 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.546 | 165920.6911 | 297569.7249 | 59.9307 | 49.4
22972 | 2021-02-19 16:39 | 31.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.9309 | μmol/L | 39.2067 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.55 | 165934.8017 | 297575.5966 | 59.9307 | 49.4
22982 | 2021-02-19 16:39 | 32.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.293 | μmol/L | 39.1446 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.549 | 165952.2903 | 297574.5691 | 59.9307 | 49.4
22992 | 2021-02-19 16:39 | 32.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.7552 | μmol/L | 39.2191 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.558 | 166002.3875 | 297562.1013 | 59.9307 | 49.4
23002 | 2021-02-19 16:40 | 32.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 147.3362 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.551 | 166009.4524 | 297548.9237 | 59.9307 | 49.4
23012 | 2021-02-19 16:40 | 33.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.8897 | μmol/L | 39.1881 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.561 | 166055.0685 | 297537.8418 | 59.9307 | 49.4
23022 | 2021-02-19 16:40 | 33.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.4801 | μmol/L | 39.2564 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.563 | 166087.3657 | 297538.4021 | 59.9307 | 49.4
23032 | 2021-02-19 16:41 | 33.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.3876 | μmol/L | 39.2564 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.57 | 166117.1379 | 297551.7856 | 59.9307 | 49.4
23042 | 2021-02-19 16:41 | 34.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.4092 | μmol/L | 39.2502 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.571 | 166143.6022 | 297550.5175 | 59.9307 | 49.4
23052 | 2021-02-19 16:41 | 34.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.2879 | μmol/L | 39.2812 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.567 | 166180.8565 | 297536.987 | 59.9307 | 49.4
23062 | 2021-02-19 16:42 | 34.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.2568 | μmol/L | 39.275 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.572 | 166206.3672 | 297546.6009 | 59.9307 | 49.4
23072 | 2021-02-19 16:42 | 35.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.9435 | μmol/L | 39.3309 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.572 | 166241.9766 | 297559.141 | 59.9307 | 49.4
23082 | 2021-02-19 16:42 | 35.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.8298 | μmol/L | 39.3371 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.578 | 166269.9456 | 297564.829 | 59.9307 | 49.4
23092 | 2021-02-19 16:43 | 35.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.7077 | μmol/L | 39.3495 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.582 | 166328.7253 | 297550.9078 | 59.9307 | 49.4
23102 | 2021-02-19 16:43 | 36.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.6335 | μmol/L | 39.3557 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.585 | 166369.8863 | 297551.1018 | 59.9307 | 49.4
23112 | 2021-02-19 16:43 | 36.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 146.0375 | μmol/L | 39.2812 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.586 | 166349.1999 | 297542.036 | 59.9307 | 49.4
23122 | 2021-02-19 16:44 | 36.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.859 | μmol/L | 39.3061 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.589 | 166389.8951 | 297550.9986 | 59.9307 | 49.4
23132 | 2021-02-19 16:44 | 37.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.9154 | μmol/L | 39.2936 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.59 | 166406.111 | 297543.5342 | 59.9307 | 49.4
23142 | 2021-02-19 16:44 | 37.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.7548 | μmol/L | 39.3247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.589 | 166438.186 | 297531.0024 | 59.9307 | 49.4
23152 | 2021-02-19 16:45 | 37.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.598 | μmol/L | 39.3433 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.593 | 166449.2637 | 297525.8367 | 59.9307 | 49.4
23162 | 2021-02-19 16:45 | 38.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 145.2586 | μmol/L | 39.3806 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.603 | 166492.149 | 297508.4084 | 59.9307 | 49.4
23172 | 2021-02-19 16:45 | 38.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.9245 | μmol/L | 39.4427 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.602 | 166536.4035 | 297518.4989 | 59.9307 | 49.4
23182 | 2021-02-19 16:46 | 38.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8204 | μmol/L | 39.4613 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.602 | 166590.1435 | 297513.1208 | 59.9307 | 49.4
23192 | 2021-02-19 16:46 | 39.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.7118 | μmol/L | 39.4737 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.605 | 166588.1164 | 297520.9397 | 59.9307 | 49.4
23202 | 2021-02-19 16:46 | 39.6606 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.8678 | μmol/L | 39.4364 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.609 | 166633.6209 | 297523.211 | 59.9307 | 49.4
23212 | 2021-02-19 16:47 | 39.9938 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.7724 | μmol/L | 39.4489 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.611 | 166648.0204 | 297502.7456 | 59.9307 | 49.4
23222 | 2021-02-19 16:47 | 40.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.6378 | μmol/L | 39.4613 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.616 | 166710.6771 | 297505.9535 | 59.9307 | 49.4
23232 | 2021-02-19 16:47 | 40.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.5078 | μmol/L | 39.4799 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.618 | 166738.2599 | 297519.5404 | 59.9307 | 49.4
23242 | 2021-02-19 16:48 | 40.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.4601 | μmol/L | 39.4861 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.619 | 166753.9582 | 297516.8763 | 59.9307 | 49.4
23252 | 2021-02-19 16:48 | 41.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.1958 | μmol/L | 39.5172 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.626 | 166800.0748 | 297515.8944 | 59.9307 | 49.4
23262 | 2021-02-19 16:48 | 41.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.1655 | μmol/L | 39.5296 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.623 | 166786.2122 | 297508.9229 | 59.9307 | 49.4
23272 | 2021-02-19 16:49 | 41.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0357 | μmol/L | 39.5296 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.633 | 166835.2851 | 297505.6701 | 59.9307 | 49.4
23282 | 2021-02-19 16:49 | 42.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.4251 | μmol/L | 39.4551 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.635 | 166882.2402 | 297481.673 | 59.9307 | 49.4
23292 | 2021-02-19 16:49 | 42.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0487 | μmol/L | 39.511 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.64 | 166917.9455 | 297504.2738 | 59.9307 | 49.4
23302 | 2021-02-19 16:50 | 42.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.252 | μmol/L | 39.4675 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.643 | 166931.435 | 297492.8126 | 59.9307 | 49.4
23312 | 2021-02-19 16:50 | 43.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.6194 | μmol/L | 39.3992 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.644 | 166964.4268 | 297481.9321 | 59.9307 | 49.4
23322 | 2021-02-19 16:50 | 43.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.2908 | μmol/L | 39.4489 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.648 | 166997.724 | 297480.3455 | 59.9307 | 49.4
23332 | 2021-02-19 16:51 | 43.9939 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0228 | μmol/L | 39.4923 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.65 | 167039.2461 | 297492.4382 | 59.9307 | 49.4
23342 | 2021-02-19 16:51 | 44.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.6145 | μmol/L | 39.3744 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.655 | 167069.7877 | 297489.5152 | 59.9307 | 49.4
23352 | 2021-02-19 16:51 | 44.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6773 | μmol/L | 39.5358 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.658 | 167112.4307 | 297487.1707 | 59.9307 | 49.4
23362 | 2021-02-19 16:52 | 44.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.0789 | μmol/L | 39.4613 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.659 | 167144.6415 | 297492.4449 | 59.9307 | 49.4
23372 | 2021-02-19 16:52 | 45.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7249 | μmol/L | 39.511 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.665 | 167170.8875 | 297477.1027 | 59.9307 | 49.4
23382 | 2021-02-19 16:52 | 45.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.1169 | μmol/L | 39.6041 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.672 | 167201.4785 | 297497.4192 | 59.9307 | 49.4
23392 | 2021-02-19 16:53 | 45.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.449 | μmol/L | 39.542 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.673 | 167215.8532 | 297489.0924 | 59.9307 | 49.4
23402 | 2021-02-19 16:53 | 46.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6173 | μmol/L | 39.5047 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.676 | 167257.6121 | 297463.3075 | 59.9307 | 49.4
23412 | 2021-02-19 16:53 | 46.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4019 | μmol/L | 39.5296 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.682 | 167290.8196 | 297472.1813 | 59.9307 | 49.4
23422 | 2021-02-19 16:54 | 46.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.1298 | μmol/L | 39.3868 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.687 | 167331.1618 | 297477.9258 | 59.9307 | 49.4
23432 | 2021-02-19 16:54 | 47.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6776 | μmol/L | 39.4613 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.69 | 167353.6774 | 297469.0506 | 59.9307 | 49.4
23442 | 2021-02-19 16:54 | 47.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.3535 | μmol/L | 39.3371 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.691 | 167397.0405 | 297482.0501 | 59.9307 | 49.4
23452 | 2021-02-19 16:55 | 47.9933 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.2198 | μmol/L | 39.3495 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.696 | 167428.5495 | 297459.6662 | 59.9307 | 49.4
23462 | 2021-02-19 16:55 | 48.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.9744 | μmol/L | 39.3868 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.699 | 167451.1201 | 297471.211 | 59.9307 | 49.4
23472 | 2021-02-19 16:55 | 48.6603 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.8409 | μmol/L | 39.3992 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.704 | 167469.1301 | 297453.6619 | 59.9307 | 49.4
23482 | 2021-02-19 16:56 | 48.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.9611 | μmol/L | 39.3682 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.708 | 167514.7269 | 297434.5576 | 59.9307 | 49.4
23492 | 2021-02-19 16:56 | 49.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7719 | μmol/L | 39.393 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.712 | 167534.6659 | 297447.2472 | 59.9307 | 49.4
23502 | 2021-02-19 16:56 | 49.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7974 | μmol/L | 39.3744 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.718 | 167576.8176 | 297457.6959 | 59.9307 | 49.4
23512 | 2021-02-19 16:57 | 49.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 144.1151 | μmol/L | 39.3123 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.72 | 167603.9051 | 297459.2478 | 59.9307 | 49.4
23522 | 2021-02-19 16:57 | 50.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.8573 | μmol/L | 39.3495 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.724 | 167648.2718 | 297443.3936 | 59.9307 | 49.4
23532 | 2021-02-19 16:57 | 50.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.9255 | μmol/L | 39.3185 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.732 | 167681.662 | 297444.9502 | 59.9307 | 49.4
23542 | 2021-02-19 16:58 | 50.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7797 | μmol/L | 39.3495 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.73 | 167712.8569 | 297437.4676 | 59.9307 | 49.4
23552 | 2021-02-19 16:58 | 51.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7922 | μmol/L | 39.3309 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.737 | 167738.9157 | 297447.6139 | 59.9307 | 49.4
23562 | 2021-02-19 16:58 | 51.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7878 | μmol/L | 39.3247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.74 | 167775.2752 | 297429.2368 | 59.9307 | 49.4
23572 | 2021-02-19 16:59 | 51.9941 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5519 | μmol/L | 39.3557 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.745 | 167803.1216 | 297435.0445 | 59.9307 | 49.4
23582 | 2021-02-19 16:59 | 52.327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7486 | μmol/L | 39.3061 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.751 | 167849.7241 | 297436.4338 | 59.9307 | 49.4
23592 | 2021-02-19 16:59 | 52.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6969 | μmol/L | 39.3061 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.755 | 167875.2576 | 297438.1157 | 59.9307 | 49.4
23602 | 2021-02-19 17:00 | 52.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4827 | μmol/L | 39.3309 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.761 | 167905.3653 | 297422.3114 | 59.9307 | 49.4
23612 | 2021-02-19 17:00 | 53.3268 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5338 | μmol/L | 39.3123 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.765 | 167948.6859 | 297438.8062 | 59.9307 | 49.4
23622 | 2021-02-19 17:00 | 53.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.3455 | μmol/L | 39.3371 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.769 | 167983.0647 | 297419.6346 | 59.9307 | 49.4
23632 | 2021-02-19 17:01 | 53.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.1657 | μmol/L | 39.3557 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.775 | 168018.2146 | 297422.1903 | 59.9307 | 49.4
23642 | 2021-02-19 17:01 | 54.3273 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2981 | μmol/L | 39.3247 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.778 | 168043.5369 | 297412.653 | 59.9307 | 49.4
23652 | 2021-02-19 17:01 | 54.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5412 | μmol/L | 39.2688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.783 | 168080.1399 | 297436.9303 | 59.9307 | 49.4
23662 | 2021-02-19 17:02 | 54.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.9419 | μmol/L | 39.1819 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.789 | 168118.3244 | 297429.4938 | 59.9307 | 49.4
23672 | 2021-02-19 17:02 | 55.3271 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4209 | μmol/L | 39.2626 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.795 | 168159.6878 | 297431.3444 | 59.9307 | 49.4
23682 | 2021-02-19 17:02 | 55.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5998 | μmol/L | 39.2253 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.797 | 168203.6057 | 297430.8878 | 59.9307 | 49.4
23692 | 2021-02-19 17:03 | 55.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6249 | μmol/L | 39.2067 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.803 | 168247.9997 | 297429.0937 | 59.9307 | 49.4
23702 | 2021-02-19 17:03 | 56.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2878 | μmol/L | 39.2564 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.808 | 168271.8477 | 297403.7213 | 59.9307 | 49.4
23712 | 2021-02-19 17:03 | 56.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5642 | μmol/L | 39.1943 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.813 | 168303.1741 | 297403.6167 | 59.9307 | 49.4
23722 | 2021-02-19 17:04 | 56.9937 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2018 | μmol/L | 39.244 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.82 | 168352.9843 | 297408.5066 | 59.9307 | 49.4
23732 | 2021-02-19 17:04 | 57.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.7631 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.824 | 168398.897 | 297407.6796 | 59.9307 | 49.4
23742 | 2021-02-19 17:04 | 57.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2012 | μmol/L | 39.2253 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.828 | 168429.5053 | 297406.1526 | 59.9307 | 49.4
23752 | 2021-02-19 17:05 | 57.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.9498 | μmol/L | 39.2502 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.837 | 168472.4195 | 297379.4075 | 59.9307 | 49.4
23762 | 2021-02-19 17:05 | 58.3269 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6379 | μmol/L | 39.1198 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.839 | 168505.6309 | 297368.2263 | 59.9307 | 49.4
23772 | 2021-02-19 17:05 | 58.6604 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.3651 | μmol/L | 39.1508 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.847 | 168553.4186 | 297397.992 | 59.9307 | 49.4
23782 | 2021-02-19 17:06 | 58.9935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5092 | μmol/L | 39.1198 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.849 | 168587.556 | 297366.1371 | 59.9307 | 49.4
23792 | 2021-02-19 17:06 | 59.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.4064 | μmol/L | 39.1198 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.857 | 168641.8144 | 297397.4795 | 59.9307 | 49.4
23802 | 2021-02-19 17:06 | 59.6605 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2616 | μmol/L | 39.1322 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.863 | 168668.9284 | 297389.4704 | 59.9307 | 49.4
23812 | 2021-02-19 17:07 | 59.9936 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.6978 | μmol/L | 39.0453 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.866 | 168713.3313 | 297379.2624 | 59.9307 | 49.4
23822 | 2021-02-19 17:07 | 60.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.5107 | μmol/L | 39.0701 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.87 | 168763.9903 | 297367.9104 | 59.9307 | 49.4
23832 | 2021-02-19 17:07 | 60.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.408 | μmol/L | 39.0701 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.878 | 168788.5091 | 297346.368 | 59.9307 | 49.4
23842 | 2021-02-19 17:08 | 60.994 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.1617 | μmol/L | 39.1012 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.884 | 168838.5512 | 297382.8214 | 59.9307 | 49.4
23852 | 2021-02-19 17:08 | 61.3272 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.8698 | μmol/L | 39.1571 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.883 | 168883.457 | 297386.8903 | 59.9307 | 49.4
23862 | 2021-02-19 17:08 | 61.6602 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 143.2494 | μmol/L | 39.0639 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.893 | 168924.9158 | 297376.6525 | 59.9307 | 49.4
23872 | 2021-02-19 17:09 | 61.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.8142 | μmol/L | 39.1508 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.89 | 168950.7755 | 297370.0088 | 59.9307 | 49.4
23882 | 2021-02-19 17:09 | 62.3274 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 142.1201 | μmol/L | 39.2502 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.902 | 169034.1911 | 297366.6731 | 59.9307 | 49.4
23891 | 2021-02-19 17:09 | 62.6607 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.9552 | μmol/L | 39.2688 | °C | 1002 | hPa | Humid | 28 | 1 | 0 | 20.907 | 169069.4894 | 297351.0887 | 59.9307 | 49.4