## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-19 17:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
22016 | 2021-02-19 16:07 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 155.0999 | μmol/L | 38.674 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.235 | 150153.5977 | 274464.0423 | 32.55 | 27.7 | #N/A
22026 | 2021-02-19 16:07 | 0.33288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.9856 | μmol/L | 38.6986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.233 | 150190.2314 | 274460.5982 | 32.55 | 27.7 | #N/A
22039 | 2021-02-19 16:08 | 0.87608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.9294 | μmol/L | 38.6986 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.237 | 150221.2698 | 274452.0695 | 32.55 | 27.7 | #N/A
22046 | 2021-02-19 16:08 | 0.99987 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.9378 | μmol/L | 38.6802 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150231.8903 | 274417.9621 | 32.55 | 27.7 | #N/A
22056 | 2021-02-19 16:08 | 1.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.6468 | μmol/L | 38.7232 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.247 | 150297.9479 | 274423.0768 | 32.55 | 27.7 | #N/A
22066 | 2021-02-19 16:08 | 1.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.4905 | μmol/L | 38.7478 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.248 | 150298.2345 | 274431.9342 | 32.55 | 27.7 | #N/A
22076 | 2021-02-19 16:09 | 2 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.6037 | μmol/L | 38.7355 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.245 | 150287.2295 | 274424.0321 | 32.55 | 27.7 | #N/A
22086 | 2021-02-19 16:09 | 2.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.5466 | μmol/L | 38.7478 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150303.3289 | 274418.0677 | 32.55 | 27.7 | #N/A
22096 | 2021-02-19 16:09 | 2.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.469 | μmol/L | 38.754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.247 | 150333.5809 | 274412.0991 | 32.55 | 27.7 | #N/A
22106 | 2021-02-19 16:10 | 3 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.9774 | μmol/L | 38.8463 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150329.9105 | 274413.0546 | 32.55 | 27.7 | #N/A
22116 | 2021-02-19 16:10 | 3.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.2416 | μmol/L | 38.7909 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.248 | 150367.7301 | 274414.7846 | 32.55 | 27.7 | #N/A
22126 | 2021-02-19 16:10 | 3.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 154.0828 | μmol/L | 38.8401 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.239 | 150327.9085 | 274403.0718 | 32.55 | 27.7 | #N/A
22136 | 2021-02-19 16:11 | 4.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.8923 | μmol/L | 38.8586 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.245 | 150361.0321 | 274398.9883 | 32.55 | 27.7 | #N/A
22146 | 2021-02-19 16:11 | 4.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.7856 | μmol/L | 38.877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.245 | 150392.4163 | 274391.1181 | 32.55 | 27.7 | #N/A
22156 | 2021-02-19 16:11 | 4.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.7284 | μmol/L | 38.8893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150370.7453 | 274377.9903 | 32.55 | 27.7 | #N/A
22166 | 2021-02-19 16:12 | 4.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.5073 | μmol/L | 38.9324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.242 | 150384.574 | 274386.8088 | 32.55 | 27.7 | #N/A
22176 | 2021-02-19 16:12 | 5.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.7919 | μmol/L | 38.8832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.242 | 150390.8823 | 274383.7922 | 32.55 | 27.7 | #N/A
22186 | 2021-02-19 16:12 | 5.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.5367 | μmol/L | 38.9201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.245 | 150410.7534 | 274364.1813 | 32.55 | 27.7 | #N/A
22196 | 2021-02-19 16:13 | 5.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.8827 | μmol/L | 39.0308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.246 | 150444.7814 | 274375.0866 | 32.55 | 27.7 | #N/A
22206 | 2021-02-19 16:13 | 6.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.0804 | μmol/L | 39.0062 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.242 | 150401.704 | 274369.8479 | 32.55 | 27.7 | #N/A
22216 | 2021-02-19 16:13 | 6.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.8037 | μmol/L | 39.0493 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150443.613 | 274367.8558 | 32.55 | 27.7 | #N/A
22226 | 2021-02-19 16:14 | 6.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.8392 | μmol/L | 39.0431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 150441.688 | 274353.8685 | 32.55 | 27.7 | #N/A
22236 | 2021-02-19 16:14 | 7.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.6515 | μmol/L | 39.0924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.237 | 150413.1142 | 274363.2471 | 32.55 | 27.7 | #N/A
22246 | 2021-02-19 16:14 | 7.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 153.0153 | μmol/L | 39.0247 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.239 | 150398.274 | 274349.1701 | 32.55 | 27.7 | #N/A
22256 | 2021-02-19 16:15 | 7.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.6416 | μmol/L | 39.0678 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.248 | 150474.5611 | 274341.6583 | 32.55 | 27.7 | #N/A
22266 | 2021-02-19 16:15 | 8.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.4915 | μmol/L | 39.0985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.246 | 150487.1581 | 274343.0279 | 32.55 | 27.7 | #N/A
22276 | 2021-02-19 16:15 | 8.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.3927 | μmol/L | 39.1108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.248 | 150494.2762 | 274345.0229 | 32.55 | 27.7 | #N/A
22286 | 2021-02-19 16:16 | 8.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.8887 | μmol/L | 39.037 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.243 | 150491.5403 | 274357.2165 | 32.55 | 27.7 | #N/A
22296 | 2021-02-19 16:16 | 9.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.2802 | μmol/L | 39.1231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.251 | 150541.1114 | 274343.4833 | 32.55 | 27.7 | #N/A
22306 | 2021-02-19 16:16 | 9.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.2388 | μmol/L | 39.1231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.254 | 150551.4573 | 274321.9312 | 32.55 | 27.7 | #N/A
22316 | 2021-02-19 16:17 | 10 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.9763 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.255 | 150556.537 | 274332.4852 | 32.55 | 27.7 | #N/A
22326 | 2021-02-19 16:17 | 10.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.9901 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.254 | 150573.976 | 274323.8014 | 32.55 | 27.7 | #N/A
22336 | 2021-02-19 16:17 | 10.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 152.1322 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.254 | 150593.2238 | 274312.9157 | 32.55 | 27.7 | #N/A
22346 | 2021-02-19 16:18 | 10.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.9901 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.254 | 150612.0261 | 274328.2414 | 32.55 | 27.7 | #N/A
22356 | 2021-02-19 16:18 | 11.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.9843 | μmol/L | 39.16 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.257 | 150634.5022 | 274317.4926 | 32.55 | 27.7 | #N/A
22366 | 2021-02-19 16:18 | 11.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.8066 | μmol/L | 39.1908 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.257 | 150631.949 | 274311.5543 | 32.55 | 27.7 | #N/A
22376 | 2021-02-19 16:19 | 12 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.9785 | μmol/L | 39.1539 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.26 | 150638.9495 | 274321.0721 | 32.55 | 27.7 | #N/A
22386 | 2021-02-19 16:19 | 12.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.8857 | μmol/L | 39.1724 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.259 | 150643.4797 | 274302.0247 | 32.55 | 27.7 | #N/A
22396 | 2021-02-19 16:19 | 12.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.557 | μmol/L | 39.2031 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.27 | 150713.7739 | 274305.8047 | 32.55 | 27.7 | #N/A
22406 | 2021-02-19 16:20 | 12.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.1884 | μmol/L | 39.2646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.271 | 150733.2808 | 274284.9593 | 32.55 | 27.7 | #N/A
22416 | 2021-02-19 16:20 | 13.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.2264 | μmol/L | 39.2462 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.276 | 150742.2748 | 274292.0287 | 32.55 | 27.7 | #N/A
22426 | 2021-02-19 16:20 | 13.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.3384 | μmol/L | 39.2339 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.273 | 150737.2877 | 274285.7173 | 32.55 | 27.7 | #N/A
22436 | 2021-02-19 16:21 | 13.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.2239 | μmol/L | 39.2585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.271 | 150752.8467 | 274268.1087 | 32.55 | 27.7 | #N/A
22446 | 2021-02-19 16:21 | 14.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.9862 | μmol/L | 39.2831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.278 | 150776.8394 | 274266.3414 | 32.55 | 27.7 | #N/A
22456 | 2021-02-19 16:21 | 14.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.0354 | μmol/L | 39.277 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.277 | 150784.0506 | 274279.8148 | 32.55 | 27.7 | #N/A
22466 | 2021-02-19 16:22 | 14.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.1007 | μmol/L | 39.2585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.28 | 150786.9149 | 274269.5776 | 32.55 | 27.7 | #N/A
22476 | 2021-02-19 16:22 | 15.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.5144 | μmol/L | 39.3508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.284 | 150824.2138 | 274254.9785 | 32.55 | 27.7 | #N/A
22486 | 2021-02-19 16:22 | 15.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.6207 | μmol/L | 39.3323 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.284 | 150815.027 | 274253.7351 | 32.55 | 27.7 | #N/A
22496 | 2021-02-19 16:23 | 15.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.2393 | μmol/L | 39.2154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.288 | 150843.8668 | 274259.28 | 32.55 | 27.7 | #N/A
22506 | 2021-02-19 16:23 | 16.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.8278 | μmol/L | 39.2893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.287 | 150852.9838 | 274253.3265 | 32.55 | 27.7 | #N/A
22516 | 2021-02-19 16:23 | 16.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.8602 | μmol/L | 39.2646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.295 | 150891.7218 | 274252.3864 | 32.55 | 27.7 | #N/A
22526 | 2021-02-19 16:24 | 17 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.1081 | μmol/L | 39.2216 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.295 | 150935.3594 | 274244.7768 | 32.55 | 27.7 | #N/A
22536 | 2021-02-19 16:24 | 17.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.792 | μmol/L | 39.2646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.3 | 150936.2814 | 274236.4975 | 32.55 | 27.7 | #N/A
22546 | 2021-02-19 16:24 | 17.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.6777 | μmol/L | 39.2893 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.298 | 150929.2868 | 274237.2628 | 32.55 | 27.7 | #N/A
22556 | 2021-02-19 16:25 | 17.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.936 | μmol/L | 39.2277 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.305 | 150973.8117 | 274218.563 | 32.55 | 27.7 | #N/A
22566 | 2021-02-19 16:25 | 18.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.7722 | μmol/L | 39.2277 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.317 | 151057.6678 | 274227.5843 | 32.55 | 27.7 | #N/A
22576 | 2021-02-19 16:25 | 18.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.8702 | μmol/L | 39.2154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.315 | 151051.0598 | 274215.7995 | 32.55 | 27.7 | #N/A
22586 | 2021-02-19 16:26 | 18.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.7257 | μmol/L | 39.2216 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.323 | 151099.4003 | 274220.1129 | 32.55 | 27.7 | #N/A
22596 | 2021-02-19 16:26 | 19.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.6798 | μmol/L | 39.2462 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.316 | 151054.0478 | 274210.9045 | 32.55 | 27.7 | #N/A
22606 | 2021-02-19 16:26 | 19.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.1165 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.328 | 151108.7958 | 274198.8534 | 32.55 | 27.7 | #N/A
22616 | 2021-02-19 16:27 | 20.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.53 | μmol/L | 39.2462 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.327 | 151103.7486 | 274212.0363 | 32.55 | 27.7 | #N/A
22626 | 2021-02-19 16:27 | 20.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.6464 | μmol/L | 39.2093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.334 | 151146.4674 | 274205.755 | 32.55 | 27.7 | #N/A
22636 | 2021-02-19 16:27 | 20.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.7498 | μmol/L | 39.2031 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.329 | 151117.3211 | 274194.8772 | 32.55 | 27.7 | #N/A
22646 | 2021-02-19 16:28 | 21.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.9992 | μmol/L | 39.1477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.334 | 151171.4534 | 274194.8849 | 32.55 | 27.7 | #N/A
22656 | 2021-02-19 16:28 | 21.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.757 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.344 | 151227.1147 | 274183.2205 | 32.55 | 27.7 | #N/A
22666 | 2021-02-19 16:28 | 21.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.4861 | μmol/L | 39.2277 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.338 | 151206.6544 | 274187.5926 | 32.55 | 27.7 | #N/A
22676 | 2021-02-19 16:29 | 21.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.4423 | μmol/L | 39.2093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.349 | 151273.9475 | 274189.7115 | 32.55 | 27.7 | #N/A
22686 | 2021-02-19 16:29 | 22.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.488 | μmol/L | 39.1847 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.356 | 151314.5819 | 274178.7052 | 32.55 | 27.7 | #N/A
22696 | 2021-02-19 16:29 | 22.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 151.0434 | μmol/L | 39.0924 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.354 | 151325.6788 | 274167.5809 | 32.55 | 27.7 | #N/A
22706 | 2021-02-19 16:30 | 22.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.5767 | μmol/L | 39.1477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.365 | 151398.5762 | 274176.7955 | 32.55 | 27.7 | #N/A
22716 | 2021-02-19 16:30 | 23.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.3817 | μmol/L | 39.1724 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.369 | 151412.1368 | 274191.3515 | 32.55 | 27.7 | #N/A
22726 | 2021-02-19 16:30 | 23.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.9444 | μmol/L | 39.0739 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.369 | 151434.8733 | 274166.9286 | 32.55 | 27.7 | #N/A
22736 | 2021-02-19 16:31 | 23.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.4975 | μmol/L | 39.1354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.376 | 151489.1579 | 274148.0392 | 32.55 | 27.7 | #N/A
22746 | 2021-02-19 16:31 | 24.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.4 | μmol/L | 39.1477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.378 | 151500.3072 | 274146.2695 | 32.55 | 27.7 | #N/A
22756 | 2021-02-19 16:31 | 24.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.1565 | μmol/L | 39.1785 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.383 | 151520.4425 | 274144.1451 | 32.55 | 27.7 | #N/A
22766 | 2021-02-19 16:32 | 25.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.1781 | μmol/L | 39.1724 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.384 | 151520.5759 | 274133.9922 | 32.55 | 27.7 | #N/A
22776 | 2021-02-19 16:32 | 25.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.2156 | μmol/L | 39.1539 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.389 | 151549.1049 | 274140.0368 | 32.55 | 27.7 | #N/A
22786 | 2021-02-19 16:32 | 25.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.2858 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.389 | 151545.3715 | 274148.7822 | 32.55 | 27.7 | #N/A
22796 | 2021-02-19 16:33 | 25.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.3729 | μmol/L | 39.1477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.38 | 151513.568 | 274130.2741 | 32.55 | 27.7 | #N/A
22806 | 2021-02-19 16:33 | 26.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.5746 | μmol/L | 39.0862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.391 | 151554.7002 | 274138.4289 | 32.55 | 27.7 | #N/A
22816 | 2021-02-19 16:33 | 26.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.2928 | μmol/L | 39.1047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.404 | 151636.0561 | 274136.858 | 32.55 | 27.7 | #N/A
22826 | 2021-02-19 16:34 | 26.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.2386 | μmol/L | 39.1047 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.408 | 151677.7951 | 274125.6388 | 32.55 | 27.7 | #N/A
22836 | 2021-02-19 16:34 | 27.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.19 | μmol/L | 39.1108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.409 | 151665.0762 | 274112.7465 | 32.55 | 27.7 | #N/A
22846 | 2021-02-19 16:34 | 27.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.8205 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.413 | 151706.603 | 274112.0152 | 32.55 | 27.7 | #N/A
22856 | 2021-02-19 16:35 | 27.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 150.2082 | μmol/L | 39.0862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.418 | 151763.6277 | 274124.9983 | 32.55 | 27.7 | #N/A
22866 | 2021-02-19 16:35 | 28.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.7935 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.415 | 151736.9676 | 274131.5645 | 32.55 | 27.7 | #N/A
22876 | 2021-02-19 16:35 | 28.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.5348 | μmol/L | 39.2093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.416 | 151771.8067 | 274104.9825 | 32.55 | 27.7 | #N/A
22886 | 2021-02-19 16:36 | 29 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.9034 | μmol/L | 39.1231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.425 | 151840.0938 | 274092.9915 | 32.55 | 27.7 | #N/A
22896 | 2021-02-19 16:36 | 29.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.7124 | μmol/L | 39.1662 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.421 | 151812.7574 | 274094.8143 | 32.55 | 27.7 | #N/A
22906 | 2021-02-19 16:36 | 29.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.7039 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.432 | 151891.0383 | 274092.3587 | 32.55 | 27.7 | #N/A
22916 | 2021-02-19 16:37 | 29.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.6634 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.435 | 151922.3867 | 274078.5315 | 32.55 | 27.7 | #N/A
22926 | 2021-02-19 16:37 | 30.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.5579 | μmol/L | 39.1293 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.448 | 151997.967 | 274085.3455 | 32.55 | 27.7 | #N/A
22936 | 2021-02-19 16:37 | 30.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.4342 | μmol/L | 39.1416 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.452 | 152033.7686 | 274074.05 | 32.55 | 27.7 | #N/A
22946 | 2021-02-19 16:38 | 30.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.9374 | μmol/L | 39.2339 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.45 | 152035.8489 | 274075.2593 | 32.55 | 27.7 | #N/A
22956 | 2021-02-19 16:38 | 31.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.9319 | μmol/L | 39.2585 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.44 | 151967.751 | 274077.9739 | 32.55 | 27.7 | #N/A
22966 | 2021-02-19 16:38 | 31.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.2382 | μmol/L | 39.1785 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.451 | 152059.392 | 274084.014 | 32.55 | 27.7 | #N/A
22976 | 2021-02-19 16:39 | 31.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.9642 | μmol/L | 39.2031 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.461 | 152116.2798 | 274078.4893 | 32.55 | 27.7 | #N/A
22986 | 2021-02-19 16:39 | 32.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.0233 | μmol/L | 39.2093 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.454 | 152098.2823 | 274068.0724 | 32.55 | 27.7 | #N/A
22996 | 2021-02-19 16:39 | 32.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.7603 | μmol/L | 39.2462 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.458 | 152141.9576 | 274060.4968 | 32.55 | 27.7 | #N/A
23006 | 2021-02-19 16:40 | 32.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.9911 | μmol/L | 39.2031 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.459 | 152160.8467 | 274072.8226 | 32.55 | 27.7 | #N/A
23016 | 2021-02-19 16:40 | 33.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 149.184 | μmol/L | 39.1477 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.468 | 152206.9881 | 274073.2864 | 32.55 | 27.7 | #N/A
23026 | 2021-02-19 16:40 | 33.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.7604 | μmol/L | 39.2154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.471 | 152235.1092 | 274080.8366 | 32.55 | 27.7 | #N/A
23036 | 2021-02-19 16:41 | 33.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.9372 | μmol/L | 39.1724 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.476 | 152285.2316 | 274071.1947 | 32.55 | 27.7 | #N/A
23046 | 2021-02-19 16:41 | 34.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.6505 | μmol/L | 39.2277 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.474 | 152267.4171 | 274064.269 | 32.55 | 27.7 | #N/A
23056 | 2021-02-19 16:41 | 34.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.8622 | μmol/L | 39.1785 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.479 | 152314.5281 | 274054.7605 | 32.55 | 27.7 | #N/A
23066 | 2021-02-19 16:42 | 34.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.546 | μmol/L | 39.2462 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.474 | 152305.1896 | 274067.059 | 32.55 | 27.7 | #N/A
23076 | 2021-02-19 16:42 | 35.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.814 | μmol/L | 39.2154 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.467 | 152270.1785 | 274062.1911 | 32.55 | 27.7 | #N/A
23086 | 2021-02-19 16:42 | 35.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.0937 | μmol/L | 39.2954 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.487 | 152407.4852 | 274049.1358 | 32.55 | 27.7 | #N/A
23096 | 2021-02-19 16:43 | 35.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.1367 | μmol/L | 39.2831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.489 | 152414.8302 | 274051.603 | 32.55 | 27.7 | #N/A
23106 | 2021-02-19 16:43 | 36.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.0056 | μmol/L | 39.3016 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.491 | 152445.8046 | 274057.2434 | 32.55 | 27.7 | #N/A
23116 | 2021-02-19 16:43 | 36.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.0775 | μmol/L | 39.3077 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.483 | 152428.7664 | 274053.8718 | 32.55 | 27.7 | #N/A
23126 | 2021-02-19 16:44 | 36.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.5103 | μmol/L | 39.3939 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.489 | 152476.0078 | 274045.4066 | 32.55 | 27.7 | #N/A
23136 | 2021-02-19 16:44 | 37.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.3826 | μmol/L | 39.4 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.496 | 152512.0187 | 274037.9593 | 32.55 | 27.7 | #N/A
23146 | 2021-02-19 16:44 | 37.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.1558 | μmol/L | 39.4308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.5 | 152546.6284 | 274039.8073 | 32.55 | 27.7 | #N/A
23156 | 2021-02-19 16:45 | 37.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.1177 | μmol/L | 39.4492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.495 | 152529.47 | 274031.2052 | 32.55 | 27.7 | #N/A
23166 | 2021-02-19 16:45 | 38.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2883 | μmol/L | 39.4308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.49 | 152513.497 | 274029.8195 | 32.55 | 27.7 | #N/A
23176 | 2021-02-19 16:45 | 38.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.9041 | μmol/L | 39.48 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.498 | 152574.4523 | 274048.491 | 32.55 | 27.7 | #N/A
23186 | 2021-02-19 16:46 | 38.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.116 | μmol/L | 39.4308 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.503 | 152606.6411 | 274038.1139 | 32.55 | 27.7 | #N/A
23196 | 2021-02-19 16:46 | 39.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.0283 | μmol/L | 39.4369 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.507 | 152629.5607 | 274024.933 | 32.55 | 27.7 | #N/A
23206 | 2021-02-19 16:46 | 39.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.7108 | μmol/L | 39.4862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.51 | 152661.1268 | 274037.7361 | 32.55 | 27.7 | #N/A
23216 | 2021-02-19 16:47 | 39.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.0581 | μmol/L | 39.4246 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.51 | 152697.1795 | 274037.7913 | 32.55 | 27.7 | #N/A
23226 | 2021-02-19 16:47 | 40.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.1043 | μmol/L | 39.4 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.517 | 152723.6719 | 274026.5295 | 32.55 | 27.7 | #N/A
23236 | 2021-02-19 16:47 | 40.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.7738 | μmol/L | 39.4492 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.521 | 152749.7269 | 274035.7079 | 32.55 | 27.7 | #N/A
23246 | 2021-02-19 16:48 | 40.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.3623 | μmol/L | 39.5292 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.518 | 152737.4479 | 274023.1398 | 32.55 | 27.7 | #N/A
23256 | 2021-02-19 16:48 | 41.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.4808 | μmol/L | 39.5292 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.509 | 152730.9735 | 274010.5711 | 32.55 | 27.7 | #N/A
23266 | 2021-02-19 16:48 | 41.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.032 | μmol/L | 39.5785 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.522 | 152794.8355 | 274023.8352 | 32.55 | 27.7 | #N/A
23276 | 2021-02-19 16:49 | 42 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.4602 | μmol/L | 39.4862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.529 | 152838.7377 | 274018.02 | 32.55 | 27.7 | #N/A
23286 | 2021-02-19 16:49 | 42.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1697 | μmol/L | 39.5354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.53 | 152853.1425 | 274014.7355 | 32.55 | 27.7 | #N/A
23296 | 2021-02-19 16:49 | 42.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.2426 | μmol/L | 39.5108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.535 | 152884.7492 | 274012.1077 | 32.55 | 27.7 | #N/A
23306 | 2021-02-19 16:50 | 43 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1601 | μmol/L | 39.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.536 | 152914.8339 | 274015.083 | 32.55 | 27.7 | #N/A
23316 | 2021-02-19 16:50 | 43.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.9737 | μmol/L | 39.5538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.537 | 152951.4326 | 274013.4815 | 32.55 | 27.7 | #N/A
23326 | 2021-02-19 16:50 | 43.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.8808 | μmol/L | 39.5354 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.552 | 153039.2823 | 274011.928 | 32.55 | 27.7 | #N/A
23336 | 2021-02-19 16:51 | 43.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.2483 | μmol/L | 39.4677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.553 | 153057.6897 | 274010.8788 | 32.55 | 27.7 | #N/A
23346 | 2021-02-19 16:51 | 44.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6984 | μmol/L | 39.5538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.558 | 153100.0517 | 274010.7995 | 32.55 | 27.7 | #N/A
23356 | 2021-02-19 16:51 | 44.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1397 | μmol/L | 39.48 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.556 | 153090.9671 | 274005.7848 | 32.55 | 27.7 | #N/A
23366 | 2021-02-19 16:52 | 44.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.7188 | μmol/L | 39.5292 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.567 | 153156.026 | 274008.9637 | 32.55 | 27.7 | #N/A
23376 | 2021-02-19 16:52 | 45.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.7963 | μmol/L | 39.5108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.569 | 153198.269 | 274024.8867 | 32.55 | 27.7 | #N/A
23386 | 2021-02-19 16:52 | 45.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.9821 | μmol/L | 39.48 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.568 | 153193.2715 | 273996.3695 | 32.55 | 27.7 | #N/A
23396 | 2021-02-19 16:53 | 45.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.0596 | μmol/L | 39.4615 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.57 | 153202.2833 | 274003.3973 | 32.55 | 27.7 | #N/A
23406 | 2021-02-19 16:53 | 46.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.7879 | μmol/L | 39.5169 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.567 | 153204.6756 | 273998.8097 | 32.55 | 27.7 | #N/A
23416 | 2021-02-19 16:53 | 46.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6523 | μmol/L | 39.5108 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.58 | 153278.4261 | 273995.9657 | 32.55 | 27.7 | #N/A
23426 | 2021-02-19 16:54 | 46.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.682 | μmol/L | 39.4985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.583 | 153302.4574 | 273996.7178 | 32.55 | 27.7 | #N/A
23436 | 2021-02-19 16:54 | 47.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.9367 | μmol/L | 39.4554 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.582 | 153313.9728 | 273993.6988 | 32.55 | 27.7 | #N/A
23446 | 2021-02-19 16:54 | 47.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.5774 | μmol/L | 39.4985 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.591 | 153368.5275 | 273990.3259 | 32.55 | 27.7 | #N/A
23456 | 2021-02-19 16:55 | 47.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.335 | μmol/L | 39.5231 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.599 | 153417.8439 | 273991.5865 | 32.55 | 27.7 | #N/A
23466 | 2021-02-19 16:55 | 48.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2019 | μmol/L | 39.5538 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.596 | 153408.9035 | 273980.931 | 32.55 | 27.7 | #N/A
23476 | 2021-02-19 16:55 | 48.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.4765 | μmol/L | 39.4862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.604 | 153466.042 | 273980.2501 | 32.55 | 27.7 | #N/A
23486 | 2021-02-19 16:56 | 49 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.4112 | μmol/L | 39.4862 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.609 | 153507.3634 | 273975.0554 | 32.55 | 27.7 | #N/A
23496 | 2021-02-19 16:56 | 49.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.785 | μmol/L | 39.4123 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.612 | 153532.7045 | 273978.6641 | 32.55 | 27.7 | #N/A
23506 | 2021-02-19 16:56 | 49.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6082 | μmol/L | 39.4369 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.615 | 153554.5648 | 273985.3713 | 32.55 | 27.7 | #N/A
23516 | 2021-02-19 16:57 | 50 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6116 | μmol/L | 39.4246 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.62 | 153596.0706 | 273981.3791 | 32.55 | 27.7 | #N/A
23526 | 2021-02-19 16:57 | 50.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6625 | μmol/L | 39.4062 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.624 | 153610.2818 | 273977.6798 | 32.55 | 27.7 | #N/A
23536 | 2021-02-19 16:57 | 50.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.3211 | μmol/L | 39.4369 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.637 | 153693.006 | 273959.3289 | 32.55 | 27.7 | #N/A
23546 | 2021-02-19 16:58 | 50.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6137 | μmol/L | 39.3939 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.633 | 153676.2332 | 273978.779 | 32.55 | 27.7 | #N/A
23556 | 2021-02-19 16:58 | 51.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6562 | μmol/L | 39.3816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.635 | 153716.0017 | 273969.5237 | 32.55 | 27.7 | #N/A
23566 | 2021-02-19 16:58 | 51.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.5697 | μmol/L | 39.3877 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.639 | 153764.5036 | 273984.6773 | 32.55 | 27.7 | #N/A
23576 | 2021-02-19 16:59 | 51.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.0323 | μmol/L | 39.4677 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.646 | 153809.2888 | 273965.2774 | 32.55 | 27.7 | #N/A
23586 | 2021-02-19 16:59 | 52.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.8467 | μmol/L | 39.48 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.655 | 153866.0406 | 273968.5692 | 32.55 | 27.7 | #N/A
23596 | 2021-02-19 16:59 | 52.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.9874 | μmol/L | 39.4431 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.66 | 153890.2023 | 273953.7526 | 32.55 | 27.7 | #N/A
23606 | 2021-02-19 17:00 | 52.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.141 | μmol/L | 39.4062 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.664 | 153928.5594 | 273940.3001 | 32.55 | 27.7 | #N/A
23616 | 2021-02-19 17:00 | 53.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.4869 | μmol/L | 39.3323 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.669 | 153975.0317 | 273942.6508 | 32.55 | 27.7 | #N/A
23626 | 2021-02-19 17:00 | 53.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.3942 | μmol/L | 39.3446 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.67 | 154007.6918 | 273944.7612 | 32.55 | 27.7 | #N/A
23636 | 2021-02-19 17:01 | 53.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.1956 | μmol/L | 39.3569 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.68 | 154051.5405 | 273955.0137 | 32.55 | 27.7 | #N/A
23646 | 2021-02-19 17:01 | 54.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.5279 | μmol/L | 39.2831 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.686 | 154059.5946 | 273941.119 | 32.55 | 27.7 | #N/A
23656 | 2021-02-19 17:01 | 54.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2948 | μmol/L | 39.32 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.689 | 154110.1889 | 273931.9696 | 32.55 | 27.7 | #N/A
23666 | 2021-02-19 17:02 | 54.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2398 | μmol/L | 39.3139 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.695 | 154168.1392 | 273934.6682 | 32.55 | 27.7 | #N/A
23676 | 2021-02-19 17:02 | 55.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2512 | μmol/L | 39.2954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.702 | 154216.9402 | 273937.4431 | 32.55 | 27.7 | #N/A
23686 | 2021-02-19 17:02 | 55.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2122 | μmol/L | 39.2954 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.705 | 154242.0192 | 273929.1627 | 32.55 | 27.7 | #N/A
23696 | 2021-02-19 17:03 | 56 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.7719 | μmol/L | 39.3631 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.71 | 154280.86 | 273945.3835 | 32.55 | 27.7 | #N/A
23706 | 2021-02-19 17:03 | 56.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.8176 | μmol/L | 39.3385 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.717 | 154321.0991 | 273943.7633 | 32.55 | 27.7 | #N/A
23716 | 2021-02-19 17:03 | 56.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2511 | μmol/L | 39.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.723 | 154370.0458 | 273932.0348 | 32.55 | 27.7 | #N/A
23726 | 2021-02-19 17:04 | 56.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2332 | μmol/L | 39.24 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.727 | 154389.3663 | 273925.1902 | 32.55 | 27.7 | #N/A
23736 | 2021-02-19 17:04 | 57.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.972 | μmol/L | 39.2708 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.734 | 154439.9647 | 273943.987 | 32.55 | 27.7 | #N/A
23746 | 2021-02-19 17:04 | 57.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.4747 | μmol/L | 39.1847 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.732 | 154434.2268 | 273932.6388 | 32.55 | 27.7 | #N/A
23756 | 2021-02-19 17:05 | 57.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.5227 | μmol/L | 39.1477 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.744 | 154530.9119 | 273941.9312 | 32.55 | 27.7 | #N/A
23766 | 2021-02-19 17:05 | 58.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2326 | μmol/L | 39.1908 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.748 | 154554.5551 | 273922.4733 | 32.55 | 27.7 | #N/A
23776 | 2021-02-19 17:05 | 58.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.823 | μmol/L | 39.2462 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.756 | 154609.1187 | 273923.0664 | 32.55 | 27.7 | #N/A
23786 | 2021-02-19 17:06 | 58.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.6322 | μmol/L | 39.2339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.776 | 154710.4596 | 273924.0784 | 32.55 | 27.7 | #N/A
23796 | 2021-02-19 17:06 | 59.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.8794 | μmol/L | 39.2031 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.77 | 154700.5151 | 273921.9894 | 32.55 | 27.7 | #N/A
23806 | 2021-02-19 17:06 | 59.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.7598 | μmol/L | 39.2154 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.774 | 154739.3678 | 273907.2326 | 32.55 | 27.7 | #N/A
23816 | 2021-02-19 17:07 | 59.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.8647 | μmol/L | 39.1847 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.779 | 154777.3117 | 273903.2369 | 32.55 | 27.7 | #N/A
23826 | 2021-02-19 17:07 | 60.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.5805 | μmol/L | 39.2339 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.78 | 154811.6418 | 273908.017 | 32.55 | 27.7 | #N/A
23836 | 2021-02-19 17:07 | 60.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.7482 | μmol/L | 39.1847 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.788 | 154863.7183 | 273908.4694 | 32.55 | 27.7 | #N/A
23846 | 2021-02-19 17:08 | 60.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.9755 | μmol/L | 39.1293 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.794 | 154907.8912 | 273908.7099 | 32.55 | 27.7 | #N/A
23856 | 2021-02-19 17:08 | 61.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.4432 | μmol/L | 39.1908 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.809 | 154984.0631 | 273891.4694 | 32.55 | 27.7 | #N/A
23866 | 2021-02-19 17:08 | 61.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.5335 | μmol/L | 39.1908 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.802 | 154993.7757 | 273904.6944 | 32.55 | 27.7 | #N/A
23876 | 2021-02-19 17:09 | 62 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.854 | μmol/L | 39.1231 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.806 | 155009.596 | 273899.9932 | 32.55 | 27.7 | #N/A