## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-19 17:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
22008 | 2021-02-19 16:06 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.149 | μmol/L | 38.1753 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.365 | 110259.3519 | 216618.763 | 27.3 | 43.4 | #N/A
22018 | 2021-02-19 16:07 | 0.33698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.1344 | μmol/L | 38.2121 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.351 | 110199.8033 | 216632.2747 | 27.3 | 43.4 | #N/A
22028 | 2021-02-19 16:07 | 0.66992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.8036 | μmol/L | 38.2551 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.354 | 110216.9457 | 216639.7475 | 27.3 | 43.4 | #N/A
22036 | 2021-02-19 16:08 | 1.1633 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.9574 | μmol/L | 38.249 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.347 | 110169.645 | 216658.43 | 27.3 | 43.4 | #N/A
22048 | 2021-02-19 16:08 | 1.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 176.1113 | μmol/L | 38.2429 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.34 | 110192.0923 | 216655.0276 | 27.3 | 43.4 | #N/A
22058 | 2021-02-19 16:08 | 1.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.6989 | μmol/L | 38.2736 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.353 | 110210.395 | 216668.0508 | 27.3 | 43.4 | #N/A
22068 | 2021-02-19 16:08 | 2.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.4648 | μmol/L | 38.292 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.36 | 110236.2966 | 216670.5285 | 27.3 | 43.4 | #N/A
22078 | 2021-02-19 16:09 | 2.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.328 | μmol/L | 38.3227 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.356 | 110247.8605 | 216671.5606 | 27.3 | 43.4 | #N/A
22088 | 2021-02-19 16:09 | 2.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.3685 | μmol/L | 38.3289 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.351 | 110176.3623 | 216679.0594 | 27.3 | 43.4 | #N/A
22098 | 2021-02-19 16:09 | 3.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.0621 | μmol/L | 38.3535 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.36 | 110304.8772 | 216679.0305 | 27.3 | 43.4 | #N/A
22108 | 2021-02-19 16:10 | 3.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.2317 | μmol/L | 38.3719 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.342 | 110229.9727 | 216677.7978 | 27.3 | 43.4 | #N/A
22118 | 2021-02-19 16:10 | 3.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.6916 | μmol/L | 38.4149 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.358 | 110280.8411 | 216668.9339 | 27.3 | 43.4 | #N/A
22128 | 2021-02-19 16:10 | 4.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.7319 | μmol/L | 38.3965 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.363 | 110302.6077 | 216676.4797 | 27.3 | 43.4 | #N/A
22138 | 2021-02-19 16:11 | 4.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.442 | μmol/L | 38.4456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.361 | 110304.7299 | 216679.4622 | 27.3 | 43.4 | #N/A
22148 | 2021-02-19 16:11 | 4.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.9494 | μmol/L | 38.3903 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.352 | 110270.9874 | 216679.2644 | 27.3 | 43.4 | #N/A
22158 | 2021-02-19 16:11 | 5.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 175.1188 | μmol/L | 38.4211 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.329 | 110200.9351 | 216685.4574 | 27.3 | 43.4 | #N/A
22168 | 2021-02-19 16:12 | 5.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.8603 | μmol/L | 38.4702 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.325 | 110184.0879 | 216686.6188 | 27.3 | 43.4 | #N/A
22178 | 2021-02-19 16:12 | 5.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.3526 | μmol/L | 38.501 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.344 | 110263.5963 | 216672.1051 | 27.3 | 43.4 | #N/A
22188 | 2021-02-19 16:12 | 6.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.3195 | μmol/L | 38.5378 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.331 | 110246.0168 | 216671.7033 | 27.3 | 43.4 | #N/A
22198 | 2021-02-19 16:13 | 6.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.8295 | μmol/L | 38.5563 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.354 | 110321.5969 | 216683.2018 | 27.3 | 43.4 | #N/A
22208 | 2021-02-19 16:13 | 6.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.9984 | μmol/L | 38.5378 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.351 | 110298.5153 | 216671.9001 | 27.3 | 43.4 | #N/A
22218 | 2021-02-19 16:13 | 7.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 174.1107 | μmol/L | 38.5378 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.344 | 110293.6675 | 216671.1569 | 27.3 | 43.4 | #N/A
22228 | 2021-02-19 16:14 | 7.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.6044 | μmol/L | 38.5808 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.358 | 110352.1451 | 216662.0125 | 27.3 | 43.4 | #N/A
22238 | 2021-02-19 16:14 | 7.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.7489 | μmol/L | 38.5686 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.354 | 110323.8055 | 216667.5514 | 27.3 | 43.4 | #N/A
22248 | 2021-02-19 16:14 | 8.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.9741 | μmol/L | 38.544 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.35 | 110341.6379 | 216667.2024 | 27.3 | 43.4 | #N/A
22258 | 2021-02-19 16:15 | 8.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.5712 | μmol/L | 38.6054 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.35 | 110352.5109 | 216664.1056 | 27.3 | 43.4 | #N/A
22268 | 2021-02-19 16:15 | 8.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.4421 | μmol/L | 38.63 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.348 | 110356.5019 | 216667.9281 | 27.3 | 43.4 | #N/A
22278 | 2021-02-19 16:15 | 9.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.6158 | μmol/L | 38.7099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.367 | 110441.5599 | 216666.2316 | 27.3 | 43.4 | #N/A
22288 | 2021-02-19 16:16 | 9.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.2983 | μmol/L | 38.63 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.357 | 110388.268 | 216662.5293 | 27.3 | 43.4 | #N/A
22298 | 2021-02-19 16:16 | 9.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.3232 | μmol/L | 38.6116 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.363 | 110432.9505 | 216653.0746 | 27.3 | 43.4 | #N/A
22308 | 2021-02-19 16:16 | 10.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.8638 | μmol/L | 38.6915 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.359 | 110415.3507 | 216650.7203 | 27.3 | 43.4 | #N/A
22318 | 2021-02-19 16:17 | 10.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 173.0575 | μmol/L | 38.6546 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.362 | 110450.2424 | 216644.8218 | 27.3 | 43.4 | #N/A
22328 | 2021-02-19 16:17 | 10.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.9148 | μmol/L | 38.6423 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.376 | 110509.6864 | 216634.7664 | 27.3 | 43.4 | #N/A
22338 | 2021-02-19 16:17 | 11.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.713 | μmol/L | 38.6853 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.371 | 110485.5369 | 216639.7419 | 27.3 | 43.4 | #N/A
22348 | 2021-02-19 16:18 | 11.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.7783 | μmol/L | 38.6607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.377 | 110499.7033 | 216636.593 | 27.3 | 43.4 | #N/A
22358 | 2021-02-19 16:18 | 11.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.641 | μmol/L | 38.6915 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.373 | 110488.9909 | 216638.4434 | 27.3 | 43.4 | #N/A
22368 | 2021-02-19 16:18 | 12.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.441 | μmol/L | 38.7099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.378 | 110524.9304 | 216645.1786 | 27.3 | 43.4 | #N/A
22378 | 2021-02-19 16:19 | 12.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.4877 | μmol/L | 38.7222 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.37 | 110485.9396 | 216637.6692 | 27.3 | 43.4 | #N/A
22388 | 2021-02-19 16:19 | 12.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.4017 | μmol/L | 38.7038 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.383 | 110539.599 | 216633.3502 | 27.3 | 43.4 | #N/A
22398 | 2021-02-19 16:19 | 13.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.5465 | μmol/L | 38.6792 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.384 | 110561.6733 | 216639.0531 | 27.3 | 43.4 | #N/A
22408 | 2021-02-19 16:20 | 13.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.0519 | μmol/L | 38.716 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.4 | 110627.6893 | 216631.8996 | 27.3 | 43.4 | #N/A
22418 | 2021-02-19 16:20 | 13.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 172.09 | μmol/L | 38.7345 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.39 | 110600.2449 | 216633.6227 | 27.3 | 43.4 | #N/A
22428 | 2021-02-19 16:20 | 14.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.9559 | μmol/L | 38.7283 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.401 | 110648.5571 | 216632.2014 | 27.3 | 43.4 | #N/A
22438 | 2021-02-19 16:21 | 14.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.8978 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.392 | 110611.2916 | 216615.678 | 27.3 | 43.4 | #N/A
22448 | 2021-02-19 16:21 | 14.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.6753 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.401 | 110640.9645 | 216614.0996 | 27.3 | 43.4 | #N/A
22458 | 2021-02-19 16:21 | 15.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.5477 | μmol/L | 38.7837 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.404 | 110685.825 | 216609.9406 | 27.3 | 43.4 | #N/A
22468 | 2021-02-19 16:22 | 15.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.572 | μmol/L | 38.7775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.405 | 110650.6037 | 216614.8997 | 27.3 | 43.4 | #N/A
22478 | 2021-02-19 16:22 | 15.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.2821 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.431 | 110801.3744 | 216603.5245 | 27.3 | 43.4 | #N/A
22488 | 2021-02-19 16:22 | 16.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.2021 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.431 | 110820.4878 | 216605.8465 | 27.3 | 43.4 | #N/A
22498 | 2021-02-19 16:23 | 16.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.0108 | μmol/L | 38.7959 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.433 | 110844.8718 | 216597.0554 | 27.3 | 43.4 | #N/A
22508 | 2021-02-19 16:23 | 16.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 171.2336 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.429 | 110826.3247 | 216588.6823 | 27.3 | 43.4 | #N/A
22518 | 2021-02-19 16:23 | 17.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5356 | μmol/L | 38.8328 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.448 | 110899.9955 | 216589.5369 | 27.3 | 43.4 | #N/A
22528 | 2021-02-19 16:24 | 17.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9178 | μmol/L | 38.7837 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.444 | 110866.3872 | 216585.7636 | 27.3 | 43.4 | #N/A
22538 | 2021-02-19 16:24 | 17.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.8366 | μmol/L | 38.8082 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.439 | 110857.1111 | 216574.8121 | 27.3 | 43.4 | #N/A
22548 | 2021-02-19 16:24 | 18.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.651 | μmol/L | 38.7837 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.461 | 110959.7131 | 216576.3013 | 27.3 | 43.4 | #N/A
22558 | 2021-02-19 16:25 | 18.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.8235 | μmol/L | 38.7837 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.45 | 110917.0749 | 216568.1796 | 27.3 | 43.4 | #N/A
22568 | 2021-02-19 16:25 | 18.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.8503 | μmol/L | 38.7529 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.461 | 110975.2269 | 216565.2338 | 27.3 | 43.4 | #N/A
22578 | 2021-02-19 16:25 | 19.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9216 | μmol/L | 38.7468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.459 | 110981.721 | 216572.1183 | 27.3 | 43.4 | #N/A
22588 | 2021-02-19 16:26 | 19.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9131 | μmol/L | 38.7529 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.457 | 110963.5838 | 216573.2259 | 27.3 | 43.4 | #N/A
22598 | 2021-02-19 16:26 | 19.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.8503 | μmol/L | 38.7529 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.461 | 110960.0631 | 216572.7716 | 27.3 | 43.4 | #N/A
22608 | 2021-02-19 16:26 | 20.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.7634 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.464 | 110990.5575 | 216565.8044 | 27.3 | 43.4 | #N/A
22618 | 2021-02-19 16:27 | 20.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.9228 | μmol/L | 38.7345 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.464 | 110980.6709 | 216567.2067 | 27.3 | 43.4 | #N/A
22628 | 2021-02-19 16:27 | 20.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.5909 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.475 | 111024.3038 | 216550.8277 | 27.3 | 43.4 | #N/A
22638 | 2021-02-19 16:27 | 21.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.3293 | μmol/L | 38.7898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.479 | 111056.3368 | 216537.3388 | 27.3 | 43.4 | #N/A
22648 | 2021-02-19 16:28 | 21.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.2695 | μmol/L | 38.7652 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.493 | 111148.3291 | 216541.6939 | 27.3 | 43.4 | #N/A
22658 | 2021-02-19 16:28 | 21.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.366 | μmol/L | 38.7406 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.497 | 111158.4303 | 216536.1568 | 27.3 | 43.4 | #N/A
22668 | 2021-02-19 16:28 | 22.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.2793 | μmol/L | 38.7468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.5 | 111164.3242 | 216537.6039 | 27.3 | 43.4 | #N/A
22678 | 2021-02-19 16:29 | 22.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.058 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.504 | 111178.0465 | 216527.8306 | 27.3 | 43.4 | #N/A
22688 | 2021-02-19 16:29 | 22.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.0607 | μmol/L | 38.7468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.514 | 111250.8569 | 216522.0186 | 27.3 | 43.4 | #N/A
22698 | 2021-02-19 16:29 | 23.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.014 | μmol/L | 38.7468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.517 | 111280.9449 | 216524.3975 | 27.3 | 43.4 | #N/A
22708 | 2021-02-19 16:30 | 23.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.585 | μmol/L | 38.6607 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.516 | 111290.8972 | 216527.5496 | 27.3 | 43.4 | #N/A
22718 | 2021-02-19 16:30 | 23.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.2051 | μmol/L | 38.7099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.52 | 111292.5383 | 216520.2323 | 27.3 | 43.4 | #N/A
22728 | 2021-02-19 16:30 | 24.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.7647 | μmol/L | 38.7468 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.533 | 111335.5226 | 216514.1146 | 27.3 | 43.4 | #N/A
22738 | 2021-02-19 16:31 | 24.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.874 | μmol/L | 38.5747 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.533 | 111362.5881 | 216515.7664 | 27.3 | 43.4 | #N/A
22748 | 2021-02-19 16:31 | 24.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.9699 | μmol/L | 38.7222 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.53 | 111336.6777 | 216501.3506 | 27.3 | 43.4 | #N/A
22758 | 2021-02-19 16:31 | 25.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.513 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.539 | 111366.8679 | 216501.0303 | 27.3 | 43.4 | #N/A
22768 | 2021-02-19 16:32 | 25.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.8083 | μmol/L | 38.7038 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.548 | 111390.4483 | 216506.4868 | 27.3 | 43.4 | #N/A
22778 | 2021-02-19 16:32 | 25.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.102 | μmol/L | 38.6484 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.552 | 111451.9148 | 216508.6398 | 27.3 | 43.4 | #N/A
22788 | 2021-02-19 16:32 | 26.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.8408 | μmol/L | 38.6915 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.551 | 111426.9674 | 216488.7728 | 27.3 | 43.4 | #N/A
22798 | 2021-02-19 16:33 | 26.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.1427 | μmol/L | 38.63 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.557 | 111457.2657 | 216492.4507 | 27.3 | 43.4 | #N/A
22808 | 2021-02-19 16:33 | 26.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 170.331 | μmol/L | 38.6177 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.55 | 111427.5962 | 216495.1239 | 27.3 | 43.4 | #N/A
22818 | 2021-02-19 16:33 | 27.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.6062 | μmol/L | 38.7038 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.561 | 111460.3157 | 216485.5252 | 27.3 | 43.4 | #N/A
22828 | 2021-02-19 16:34 | 27.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.7163 | μmol/L | 38.6915 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.559 | 111469.3935 | 216478.1464 | 27.3 | 43.4 | #N/A
22838 | 2021-02-19 16:34 | 27.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.6146 | μmol/L | 38.6976 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.563 | 111476.7473 | 216480.7181 | 27.3 | 43.4 | #N/A
22848 | 2021-02-19 16:34 | 28.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.5046 | μmol/L | 38.7099 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.565 | 111492.6469 | 216478.6152 | 27.3 | 43.4 | #N/A
22858 | 2021-02-19 16:35 | 28.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.6794 | μmol/L | 38.673 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.569 | 111515.5385 | 216477.3153 | 27.3 | 43.4 | #N/A
22868 | 2021-02-19 16:35 | 28.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.5693 | μmol/L | 38.6853 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.571 | 111527.9515 | 216453.8719 | 27.3 | 43.4 | #N/A
22878 | 2021-02-19 16:35 | 29.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.4594 | μmol/L | 38.6976 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.573 | 111528.9347 | 216464.5258 | 27.3 | 43.4 | #N/A
22888 | 2021-02-19 16:36 | 29.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.3268 | μmol/L | 38.7038 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.579 | 111558.3016 | 216459.7051 | 27.3 | 43.4 | #N/A
22898 | 2021-02-19 16:36 | 29.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.7571 | μmol/L | 38.673 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.564 | 111491.6544 | 216466.0995 | 27.3 | 43.4 | #N/A
22908 | 2021-02-19 16:36 | 30.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.5059 | μmol/L | 38.6976 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.57 | 111499.4186 | 216464.4131 | 27.3 | 43.4 | #N/A
22918 | 2021-02-19 16:37 | 30.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.1226 | μmol/L | 38.7283 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.582 | 111566.0705 | 216456.198 | 27.3 | 43.4 | #N/A
22928 | 2021-02-19 16:37 | 30.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 169.0282 | μmol/L | 38.7406 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.583 | 111596.362 | 216454.0222 | 27.3 | 43.4 | #N/A
22938 | 2021-02-19 16:37 | 31.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.7276 | μmol/L | 38.7345 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.605 | 111662.5827 | 216457.5563 | 27.3 | 43.4 | #N/A
22948 | 2021-02-19 16:38 | 31.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8566 | μmol/L | 38.7529 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.589 | 111618.6703 | 216455.7964 | 27.3 | 43.4 | #N/A
22958 | 2021-02-19 16:38 | 31.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8465 | μmol/L | 38.7714 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.582 | 111572.1891 | 216455.9609 | 27.3 | 43.4 | #N/A
22968 | 2021-02-19 16:38 | 32.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8172 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.589 | 111608.2317 | 216447.5747 | 27.3 | 43.4 | #N/A
22978 | 2021-02-19 16:39 | 32.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.8481 | μmol/L | 38.7591 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.587 | 111588.3666 | 216454.4787 | 27.3 | 43.4 | #N/A
22988 | 2021-02-19 16:39 | 32.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.5962 | μmol/L | 38.7959 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.588 | 111619.9267 | 216450.8533 | 27.3 | 43.4 | #N/A
22998 | 2021-02-19 16:39 | 33.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.5379 | μmol/L | 38.8267 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.579 | 111559.734 | 216449.2684 | 27.3 | 43.4 | #N/A
23008 | 2021-02-19 16:40 | 33.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.4248 | μmol/L | 38.8082 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.594 | 111642.6781 | 216438.2239 | 27.3 | 43.4 | #N/A
23018 | 2021-02-19 16:40 | 33.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.651 | μmol/L | 38.7898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.587 | 111602.6543 | 216445.3224 | 27.3 | 43.4 | #N/A
23028 | 2021-02-19 16:40 | 34.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.4727 | μmol/L | 38.7959 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.596 | 111631.691 | 216426.6512 | 27.3 | 43.4 | #N/A
23038 | 2021-02-19 16:41 | 34.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.2107 | μmol/L | 38.8513 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.59 | 111607.0655 | 216438.4039 | 27.3 | 43.4 | #N/A
23048 | 2021-02-19 16:41 | 34.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 168.1491 | μmol/L | 38.8513 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.594 | 111599.0164 | 216437.1374 | 27.3 | 43.4 | #N/A
23058 | 2021-02-19 16:41 | 35.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.6978 | μmol/L | 38.8881 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.608 | 111672.0706 | 216416.3713 | 27.3 | 43.4 | #N/A
23068 | 2021-02-19 16:42 | 35.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.8225 | μmol/L | 38.8758 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.605 | 111688.9621 | 216420.9489 | 27.3 | 43.4 | #N/A
23078 | 2021-02-19 16:42 | 35.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.4774 | μmol/L | 38.968 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.589 | 111587.6999 | 216431.934 | 27.3 | 43.4 | #N/A
23088 | 2021-02-19 16:42 | 36.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1296 | μmol/L | 38.9865 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.604 | 111648.6034 | 216433.1853 | 27.3 | 43.4 | #N/A
23098 | 2021-02-19 16:43 | 36.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.6611 | μmol/L | 38.925 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.595 | 111638.0103 | 216421.3936 | 27.3 | 43.4 | #N/A
23108 | 2021-02-19 16:43 | 36.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9856 | μmol/L | 38.9803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.616 | 111686.5778 | 216415.2365 | 27.3 | 43.4 | #N/A
23118 | 2021-02-19 16:43 | 37.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.3285 | μmol/L | 38.9435 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.609 | 111677.8318 | 216406.7768 | 27.3 | 43.4 | #N/A
23128 | 2021-02-19 16:44 | 37.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8112 | μmol/L | 38.9742 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.63 | 111739.242 | 216412.505 | 27.3 | 43.4 | #N/A
23138 | 2021-02-19 16:44 | 37.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7391 | μmol/L | 38.9926 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.627 | 111750.0352 | 216412.1255 | 27.3 | 43.4 | #N/A
23148 | 2021-02-19 16:44 | 38.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9245 | μmol/L | 38.9803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.62 | 111725.5711 | 216400.9436 | 27.3 | 43.4 | #N/A
23158 | 2021-02-19 16:45 | 38.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.942 | μmol/L | 38.968 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.624 | 111715.6665 | 216403.6129 | 27.3 | 43.4 | #N/A
23168 | 2021-02-19 16:45 | 38.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.7327 | μmol/L | 38.9865 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.63 | 111732.6821 | 216408.4225 | 27.3 | 43.4 | #N/A
23178 | 2021-02-19 16:45 | 39.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.4619 | μmol/L | 39.0479 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.622 | 111707.4805 | 216415.9335 | 27.3 | 43.4 | #N/A
23188 | 2021-02-19 16:46 | 39.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.377 | μmol/L | 39.0541 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.625 | 111679.341 | 216411.3556 | 27.3 | 43.4 | #N/A
23198 | 2021-02-19 16:46 | 39.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.4146 | μmol/L | 39.0172 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.638 | 111772.1395 | 216394.517 | 27.3 | 43.4 | #N/A
23208 | 2021-02-19 16:46 | 40.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.269 | μmol/L | 39.0234 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.645 | 111802.7273 | 216394.3738 | 27.3 | 43.4 | #N/A
23218 | 2021-02-19 16:47 | 40.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1323 | μmol/L | 39.0234 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.654 | 111881.309 | 216404.3288 | 27.3 | 43.4 | #N/A
23228 | 2021-02-19 16:47 | 40.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.3082 | μmol/L | 39.0172 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.645 | 111813.6669 | 216386.7522 | 27.3 | 43.4 | #N/A
23238 | 2021-02-19 16:47 | 41.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.9162 | μmol/L | 39.0787 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.645 | 111836.2344 | 216391.4554 | 27.3 | 43.4 | #N/A
23248 | 2021-02-19 16:48 | 41.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.8379 | μmol/L | 39.091 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.645 | 111844.7283 | 216397.2788 | 27.3 | 43.4 | #N/A
23258 | 2021-02-19 16:48 | 41.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6232 | μmol/L | 39.1033 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.654 | 111818.4469 | 216391.513 | 27.3 | 43.4 | #N/A
23268 | 2021-02-19 16:48 | 42.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5413 | μmol/L | 39.0971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.662 | 111896.1049 | 216375.2081 | 27.3 | 43.4 | #N/A
23278 | 2021-02-19 16:49 | 42.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2098 | μmol/L | 39.1278 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.671 | 111967.6656 | 216386.4462 | 27.3 | 43.4 | #N/A
23288 | 2021-02-19 16:49 | 42.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2516 | μmol/L | 39.1094 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.676 | 111962.6409 | 216382.1457 | 27.3 | 43.4 | #N/A
23298 | 2021-02-19 16:49 | 43.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.0376 | μmol/L | 39.134 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.679 | 111973.0943 | 216377.1412 | 27.3 | 43.4 | #N/A
23308 | 2021-02-19 16:50 | 43.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.9234 | μmol/L | 39.1278 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.69 | 112077.3248 | 216373.1034 | 27.3 | 43.4 | #N/A
23318 | 2021-02-19 16:50 | 43.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.0432 | μmol/L | 39.0971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.695 | 112084.8698 | 216376.7708 | 27.3 | 43.4 | #N/A
23328 | 2021-02-19 16:50 | 44.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.8303 | μmol/L | 39.1401 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.691 | 112063.3738 | 216377.4008 | 27.3 | 43.4 | #N/A
23338 | 2021-02-19 16:51 | 44.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.9413 | μmol/L | 39.1156 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.694 | 112090.495 | 216377.1076 | 27.3 | 43.4 | #N/A
23348 | 2021-02-19 16:51 | 44.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5955 | μmol/L | 39.1156 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.717 | 112176.7823 | 216371.1468 | 27.3 | 43.4 | #N/A
23358 | 2021-02-19 16:51 | 45.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.395 | μmol/L | 39.1709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.707 | 112135.7356 | 216375.3336 | 27.3 | 43.4 | #N/A
23368 | 2021-02-19 16:52 | 45.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.4429 | μmol/L | 39.1586 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.709 | 112162.2817 | 216370.7482 | 27.3 | 43.4 | #N/A
23378 | 2021-02-19 16:52 | 45.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.221 | μmol/L | 39.0049 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.722 | 112192.9561 | 216367.9904 | 27.3 | 43.4 | #N/A
23388 | 2021-02-19 16:52 | 46.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2239 | μmol/L | 39.134 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.734 | 112277.8763 | 216348.0408 | 27.3 | 43.4 | #N/A
23398 | 2021-02-19 16:53 | 46.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.4871 | μmol/L | 39.0971 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.732 | 112298.7136 | 216351.7724 | 27.3 | 43.4 | #N/A
23408 | 2021-02-19 16:53 | 46.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.468 | μmol/L | 39.0602 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.748 | 112359.3391 | 216358.8432 | 27.3 | 43.4 | #N/A
23418 | 2021-02-19 16:53 | 47.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.199 | μmol/L | 39.091 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.753 | 112392.6574 | 216352.6085 | 27.3 | 43.4 | #N/A
23428 | 2021-02-19 16:54 | 47.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.462 | μmol/L | 39.0418 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.757 | 112464.8178 | 216347.8166 | 27.3 | 43.4 | #N/A
23438 | 2021-02-19 16:54 | 47.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.8739 | μmol/L | 38.9865 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.752 | 112454.7877 | 216352.2322 | 27.3 | 43.4 | #N/A
23448 | 2021-02-19 16:54 | 48.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3032 | μmol/L | 39.0602 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.759 | 112433.429 | 216336.8894 | 27.3 | 43.4 | #N/A
23458 | 2021-02-19 16:55 | 48.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.7951 | μmol/L | 38.968 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.765 | 112505.2695 | 216351.1069 | 27.3 | 43.4 | #N/A
23468 | 2021-02-19 16:55 | 48.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2672 | μmol/L | 39.0541 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.764 | 112466.977 | 216350.9228 | 27.3 | 43.4 | #N/A
23478 | 2021-02-19 16:55 | 49.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.1149 | μmol/L | 39.0664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.769 | 112506.0477 | 216346.8735 | 27.3 | 43.4 | #N/A
23488 | 2021-02-19 16:56 | 49.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.751 | μmol/L | 39.091 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.783 | 112573.5442 | 216352.9835 | 27.3 | 43.4 | #N/A
23498 | 2021-02-19 16:56 | 49.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5991 | μmol/L | 39.1033 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.788 | 112642.5459 | 216348.6311 | 27.3 | 43.4 | #N/A
23508 | 2021-02-19 16:56 | 50.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.7541 | μmol/L | 39.0664 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.794 | 112673.9448 | 216340.7801 | 27.3 | 43.4 | #N/A
23518 | 2021-02-19 16:57 | 50.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.7446 | μmol/L | 39.0541 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.799 | 112677.335 | 216344.0185 | 27.3 | 43.4 | #N/A
23528 | 2021-02-19 16:57 | 50.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5184 | μmol/L | 39.0664 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.809 | 112746.0234 | 216338.4906 | 27.3 | 43.4 | #N/A
23538 | 2021-02-19 16:57 | 51.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.5935 | μmol/L | 38.8881 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.812 | 112750.6519 | 216341.8613 | 27.3 | 43.4 | #N/A
23548 | 2021-02-19 16:58 | 51.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4172 | μmol/L | 39.0541 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.821 | 112779.3945 | 216337.8195 | 27.3 | 43.4 | #N/A
23558 | 2021-02-19 16:58 | 51.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.3369 | μmol/L | 39.0479 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.829 | 112858.847 | 216332.9603 | 27.3 | 43.4 | #N/A
23568 | 2021-02-19 16:58 | 52.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.2746 | μmol/L | 39.0602 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.828 | 112845.1946 | 216334.8259 | 27.3 | 43.4 | #N/A
23578 | 2021-02-19 16:59 | 52.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4135 | μmol/L | 39.0049 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.842 | 112931.6152 | 216332.867 | 27.3 | 43.4 | #N/A
23588 | 2021-02-19 16:59 | 52.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.2509 | μmol/L | 39.0234 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.846 | 112956.7368 | 216335.2526 | 27.3 | 43.4 | #N/A
23598 | 2021-02-19 16:59 | 53.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.0373 | μmol/L | 39.0602 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.844 | 112956.8614 | 216327.8237 | 27.3 | 43.4 | #N/A
23608 | 2021-02-19 17:00 | 53.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8831 | μmol/L | 38.8943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.857 | 113052.7901 | 216335.2694 | 27.3 | 43.4 | #N/A
23618 | 2021-02-19 17:00 | 53.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.9884 | μmol/L | 38.8513 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.868 | 113113.7631 | 216326.6805 | 27.3 | 43.4 | #N/A
23628 | 2021-02-19 17:00 | 54.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.9715 | μmol/L | 38.9926 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.877 | 113156.5506 | 216325.7692 | 27.3 | 43.4 | #N/A
23638 | 2021-02-19 17:01 | 54.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8888 | μmol/L | 38.9988 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.88 | 113171.1831 | 216315.1106 | 27.3 | 43.4 | #N/A
23648 | 2021-02-19 17:01 | 54.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8701 | μmol/L | 38.8082 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.894 | 113243.371 | 216317.6648 | 27.3 | 43.4 | #N/A
23658 | 2021-02-19 17:01 | 55.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6671 | μmol/L | 38.9988 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.895 | 113267.7223 | 216307.6773 | 27.3 | 43.4 | #N/A
23668 | 2021-02-19 17:02 | 55.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.0173 | μmol/L | 38.9189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.905 | 113333.3109 | 216318.3608 | 27.3 | 43.4 | #N/A
23678 | 2021-02-19 17:02 | 55.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1705 | μmol/L | 38.8943 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.905 | 113348.4197 | 216311.3715 | 27.3 | 43.4 | #N/A
23688 | 2021-02-19 17:02 | 56.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.573 | μmol/L | 38.8082 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.914 | 113400.1203 | 216308.2345 | 27.3 | 43.4 | #N/A
23698 | 2021-02-19 17:03 | 56.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6454 | μmol/L | 38.9312 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.925 | 113448.2004 | 216305.4548 | 27.3 | 43.4 | #N/A
23708 | 2021-02-19 17:03 | 56.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.7393 | μmol/L | 38.9066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.929 | 113529.4117 | 216303.2359 | 27.3 | 43.4 | #N/A
23718 | 2021-02-19 17:03 | 57.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8356 | μmol/L | 38.8697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.938 | 113556.4558 | 216293.907 | 27.3 | 43.4 | #N/A
23728 | 2021-02-19 17:04 | 57.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.5215 | μmol/L | 38.925 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.936 | 113542.3897 | 216302.9948 | 27.3 | 43.4 | #N/A
23738 | 2021-02-19 17:04 | 57.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.061 | μmol/L | 38.8144 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.946 | 113586.2773 | 216304.6657 | 27.3 | 43.4 | #N/A
23748 | 2021-02-19 17:04 | 58.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2947 | μmol/L | 38.9189 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.954 | 113643.8174 | 216307.8541 | 27.3 | 43.4 | #N/A
23758 | 2021-02-19 17:05 | 58.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1591 | μmol/L | 38.7652 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.96 | 113681.5124 | 216300.6934 | 27.3 | 43.4 | #N/A
23768 | 2021-02-19 17:05 | 58.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1505 | μmol/L | 38.9066 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.969 | 113737.471 | 216299.5397 | 27.3 | 43.4 | #N/A
23778 | 2021-02-19 17:05 | 59.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2172 | μmol/L | 38.8697 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.98 | 113781.0147 | 216289.7984 | 27.3 | 43.4 | #N/A
23788 | 2021-02-19 17:06 | 59.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4982 | μmol/L | 38.8267 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.979 | 113815.6377 | 216287.8489 | 27.3 | 43.4 | #N/A
23798 | 2021-02-19 17:06 | 59.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.2761 | μmol/L | 38.6915 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.983 | 113816.0849 | 216276.9738 | 27.3 | 43.4 | #N/A
23808 | 2021-02-19 17:06 | 60.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3719 | μmol/L | 38.8328 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 19.985 | 113801.7575 | 216275.2701 | 27.3 | 43.4 | #N/A
23818 | 2021-02-19 17:07 | 60.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4578 | μmol/L | 38.7714 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.005 | 113955.4454 | 216281.363 | 27.3 | 43.4 | #N/A
23828 | 2021-02-19 17:07 | 60.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2681 | μmol/L | 38.8021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.005 | 113968.0291 | 216282.2581 | 27.3 | 43.4 | #N/A
23838 | 2021-02-19 17:07 | 61.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6928 | μmol/L | 38.8881 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.008 | 113963.6249 | 216281.8688 | 27.3 | 43.4 | #N/A
23848 | 2021-02-19 17:08 | 61.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.0799 | μmol/L | 38.7898 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.023 | 114031.9798 | 216277.1565 | 27.3 | 43.4 | #N/A
23858 | 2021-02-19 17:08 | 61.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6398 | μmol/L | 38.8636 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.022 | 114033.0809 | 216276.3577 | 27.3 | 43.4 | #N/A
23868 | 2021-02-19 17:08 | 62.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1874 | μmol/L | 38.7652 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.026 | 114096.3405 | 216272.3884 | 27.3 | 43.4 | #N/A
23878 | 2021-02-19 17:09 | 62.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.053 | μmol/L | 38.7775 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.03 | 114067.8744 | 216276.3773 | 27.3 | 43.4 | #N/A
23887 | 2021-02-19 17:09 | 62.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3742 | μmol/L | 38.8758 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.035 | 114077.4733 | 216287.1732 | 27.3 | 43.4 | #N/A