## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-19 17:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
22010 | 2021-02-19 16:07 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8518 | μmol/L | 38.456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.834 | 133327.6151 | 275230.4011 | 36.4 | 83.1
22020 | 2021-02-19 16:07 | 0.33132 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.9831 | μmol/L | 38.4499 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.828 | 133343.0424 | 275263.2298 | 36.4 | 83.1
22030 | 2021-02-19 16:07 | 0.66457 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5588 | μmol/L | 38.5238 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.825 | 133334.3555 | 275269.016 | 36.4 | 83.1
22040 | 2021-02-19 16:08 | 1.0911 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0053 | μmol/L | 38.456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.824 | 133357.3798 | 275286.6586 | 36.4 | 83.1
22050 | 2021-02-19 16:08 | 1.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.53 | μmol/L | 38.5115 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.832 | 133388.9032 | 275293.582 | 36.4 | 83.1
22060 | 2021-02-19 16:08 | 1.6651 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.0773 | μmol/L | 38.5731 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.836 | 133442.5485 | 275305.9435 | 36.4 | 83.1
22070 | 2021-02-19 16:09 | 1.9984 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8317 | μmol/L | 38.6285 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.829 | 133416.4614 | 275304.9213 | 36.4 | 83.1
22080 | 2021-02-19 16:09 | 2.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.3009 | μmol/L | 38.7025 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.833 | 133449.0634 | 275314.4743 | 36.4 | 83.1
22090 | 2021-02-19 16:09 | 2.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.3097 | μmol/L | 38.6963 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.835 | 133489.2376 | 275302.1554 | 36.4 | 83.1
22100 | 2021-02-19 16:10 | 2.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.788 | μmol/L | 38.6162 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.837 | 133515.0913 | 275302.1532 | 36.4 | 83.1
22110 | 2021-02-19 16:10 | 3.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.0362 | μmol/L | 38.5916 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.831 | 133496.7891 | 275325.1686 | 36.4 | 83.1
22120 | 2021-02-19 16:10 | 3.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4096 | μmol/L | 38.6902 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.831 | 133494.3889 | 275315.1311 | 36.4 | 83.1
22130 | 2021-02-19 16:11 | 3.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.177 | μmol/L | 38.7148 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.836 | 133547.3516 | 275312.9485 | 36.4 | 83.1
22140 | 2021-02-19 16:11 | 4.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.9271 | μmol/L | 38.7518 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.837 | 133598.9509 | 275327.9485 | 36.4 | 83.1
22150 | 2021-02-19 16:11 | 4.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.58 | μmol/L | 38.7826 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.847 | 133679.9075 | 275328.0169 | 36.4 | 83.1
22160 | 2021-02-19 16:12 | 4.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4023 | μmol/L | 38.8011 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.851 | 133689.0367 | 275324.5513 | 36.4 | 83.1
22170 | 2021-02-19 16:12 | 5.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2433 | μmol/L | 38.838 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.846 | 133694.6131 | 275321.6348 | 36.4 | 83.1
22180 | 2021-02-19 16:12 | 5.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1562 | μmol/L | 38.8565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.844 | 133700.8127 | 275337.3463 | 36.4 | 83.1
22190 | 2021-02-19 16:13 | 5.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6266 | μmol/L | 38.8134 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.831 | 133636.955 | 275316.7969 | 36.4 | 83.1
22200 | 2021-02-19 16:13 | 6.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4095 | μmol/L | 38.838 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.835 | 133644.7936 | 275317.1054 | 36.4 | 83.1
22210 | 2021-02-19 16:13 | 6.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1205 | μmol/L | 38.8812 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.836 | 133674.4386 | 275331.233 | 36.4 | 83.1
22220 | 2021-02-19 16:14 | 6.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.997 | μmol/L | 38.8935 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.839 | 133722.2322 | 275340.0254 | 36.4 | 83.1
22230 | 2021-02-19 16:14 | 7.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.6931 | μmol/L | 38.9366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.841 | 133722.4468 | 275333.4364 | 36.4 | 83.1
22240 | 2021-02-19 16:14 | 7.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.5577 | μmol/L | 38.9366 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.85 | 133773.7388 | 275338.3993 | 36.4 | 83.1
22250 | 2021-02-19 16:15 | 7.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.6118 | μmol/L | 38.9304 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.849 | 133751.7718 | 275322.0213 | 36.4 | 83.1
22260 | 2021-02-19 16:15 | 8.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0198 | μmol/L | 39.0167 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.852 | 133786.3312 | 275337.7596 | 36.4 | 83.1
22270 | 2021-02-19 16:15 | 8.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9899 | μmol/L | 39.0167 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.854 | 133828.5618 | 275323.879 | 36.4 | 83.1
22280 | 2021-02-19 16:16 | 8.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.7888 | μmol/L | 39.0414 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.857 | 133869.6835 | 275333.3322 | 36.4 | 83.1
22290 | 2021-02-19 16:16 | 9.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.7588 | μmol/L | 39.0414 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.859 | 133898.1929 | 275324.9482 | 36.4 | 83.1
22300 | 2021-02-19 16:16 | 9.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3845 | μmol/L | 39.0722 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.871 | 133960.6653 | 275317.9586 | 36.4 | 83.1
22310 | 2021-02-19 16:17 | 9.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.0555 | μmol/L | 39.103 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.88 | 134026.6085 | 275323.1912 | 36.4 | 83.1
22320 | 2021-02-19 16:17 | 10.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4359 | μmol/L | 39.0475 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.878 | 134050.1891 | 275320.9824 | 36.4 | 83.1
22330 | 2021-02-19 16:17 | 10.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3912 | μmol/L | 39.0475 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.881 | 134036.4734 | 275304.2477 | 36.4 | 83.1
22340 | 2021-02-19 16:18 | 10.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4807 | μmol/L | 39.0475 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.875 | 134029.6698 | 275300.555 | 36.4 | 83.1
22350 | 2021-02-19 16:18 | 11.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.1838 | μmol/L | 39.0968 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.874 | 134036.624 | 275297.0164 | 36.4 | 83.1
22360 | 2021-02-19 16:18 | 11.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.193 | μmol/L | 39.0907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.876 | 134035.0074 | 275300.7135 | 36.4 | 83.1
22370 | 2021-02-19 16:19 | 11.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3041 | μmol/L | 39.066 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.879 | 134031.1403 | 275292.5776 | 36.4 | 83.1
22380 | 2021-02-19 16:19 | 12.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.1185 | μmol/L | 39.0907 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.881 | 134068.0799 | 275310.0838 | 36.4 | 83.1
22390 | 2021-02-19 16:19 | 12.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.918 | μmol/L | 39.1153 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.884 | 134089.9762 | 275292.6446 | 36.4 | 83.1
22400 | 2021-02-19 16:20 | 12.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.8791 | μmol/L | 39.1215 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.884 | 134085.8563 | 275300.9081 | 36.4 | 83.1
22410 | 2021-02-19 16:20 | 13.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.7418 | μmol/L | 39.1338 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.888 | 134101.6499 | 275288.1008 | 36.4 | 83.1
22420 | 2021-02-19 16:20 | 13.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.9719 | μmol/L | 39.1091 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.883 | 134084.7511 | 275286.4607 | 36.4 | 83.1
22430 | 2021-02-19 16:21 | 13.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.918 | μmol/L | 39.1153 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.884 | 134094.4012 | 275288.1861 | 36.4 | 83.1
22440 | 2021-02-19 16:21 | 14.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6916 | μmol/L | 39.1276 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.894 | 134144.7983 | 275281.7263 | 36.4 | 83.1
22450 | 2021-02-19 16:21 | 14.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4934 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.889 | 134153.9542 | 275282.4567 | 36.4 | 83.1
22460 | 2021-02-19 16:22 | 14.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9228 | μmol/L | 39.2447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.896 | 134196.82 | 275268.978 | 36.4 | 83.1
22470 | 2021-02-19 16:22 | 15.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0915 | μmol/L | 39.2016 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.903 | 134230.8086 | 275259.8946 | 36.4 | 83.1
22480 | 2021-02-19 16:22 | 15.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.1304 | μmol/L | 39.1954 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.903 | 134271.6286 | 275273.0502 | 36.4 | 83.1
22490 | 2021-02-19 16:23 | 15.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9267 | μmol/L | 39.2324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.901 | 134222.022 | 275255.4071 | 36.4 | 83.1
22500 | 2021-02-19 16:23 | 16.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.1396 | μmol/L | 39.1892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.905 | 134245.6299 | 275255.2104 | 36.4 | 83.1
22510 | 2021-02-19 16:23 | 16.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0953 | μmol/L | 39.1892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.908 | 134279.7515 | 275259.3535 | 36.4 | 83.1
22520 | 2021-02-19 16:24 | 16.9984 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.258 | μmol/L | 39.14 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.918 | 134357.429 | 275239.3009 | 36.4 | 83.1
22530 | 2021-02-19 16:24 | 17.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0473 | μmol/L | 39.1523 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.927 | 134399.7457 | 275240.25 | 36.4 | 83.1
22540 | 2021-02-19 16:24 | 17.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9494 | μmol/L | 39.1584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.931 | 134431.854 | 275235.5935 | 36.4 | 83.1
22550 | 2021-02-19 16:25 | 17.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7391 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.94 | 134483.6199 | 275231.2181 | 36.4 | 83.1
22560 | 2021-02-19 16:25 | 18.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7336 | μmol/L | 39.1646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.943 | 134516.4337 | 275239.5404 | 36.4 | 83.1
22570 | 2021-02-19 16:25 | 18.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.4369 | μmol/L | 39.1954 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.95 | 134579.4709 | 275231.055 | 36.4 | 83.1
22580 | 2021-02-19 16:26 | 18.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.3394 | μmol/L | 39.2016 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.954 | 134607.1207 | 275212.8966 | 36.4 | 83.1
22590 | 2021-02-19 16:26 | 19.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.0338 | μmol/L | 39.2385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.959 | 134631.6902 | 275214.1928 | 36.4 | 83.1
22600 | 2021-02-19 16:26 | 19.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7192 | μmol/L | 39.2817 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.962 | 134670.474 | 275209.8208 | 36.4 | 83.1
22610 | 2021-02-19 16:27 | 19.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.554 | μmol/L | 39.294 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.968 | 134704.7153 | 275216.7949 | 36.4 | 83.1
22620 | 2021-02-19 16:27 | 20.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.0657 | μmol/L | 39.2077 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.97 | 134742.0124 | 275209.0378 | 36.4 | 83.1
22630 | 2021-02-19 16:27 | 20.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7647 | μmol/L | 39.2324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.98 | 134830.1405 | 275192.4471 | 36.4 | 83.1
22640 | 2021-02-19 16:28 | 20.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7141 | μmol/L | 39.2077 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 19.994 | 134899.9703 | 275191.8862 | 36.4 | 83.1
22650 | 2021-02-19 16:28 | 21.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6927 | μmol/L | 39.1831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.006 | 134956.3312 | 275189.4211 | 36.4 | 83.1
22660 | 2021-02-19 16:28 | 21.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7605 | μmol/L | 39.1769 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.004 | 134959.8119 | 275196.6279 | 36.4 | 83.1
22670 | 2021-02-19 16:29 | 21.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7312 | μmol/L | 39.1769 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.006 | 134944.583 | 275195.0453 | 36.4 | 83.1
22680 | 2021-02-19 16:29 | 22.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.5732 | μmol/L | 39.2139 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.001 | 134914.6703 | 275188.661 | 36.4 | 83.1
22690 | 2021-02-19 16:29 | 22.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7751 | μmol/L | 39.1769 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.003 | 134958.5789 | 275177.7428 | 36.4 | 83.1
22700 | 2021-02-19 16:30 | 22.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7259 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.009 | 134988.7906 | 275166.8188 | 36.4 | 83.1
22710 | 2021-02-19 16:30 | 23.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.4736 | μmol/L | 39.1831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.021 | 135027.2037 | 275159.285 | 36.4 | 83.1
22720 | 2021-02-19 16:30 | 23.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.7444 | μmol/L | 39.1584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.013 | 135020.224 | 275148.1043 | 36.4 | 83.1
22730 | 2021-02-19 16:31 | 23.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.622 | μmol/L | 39.1523 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.024 | 135069.5747 | 275149.2101 | 36.4 | 83.1
22740 | 2021-02-19 16:31 | 24.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.5252 | μmol/L | 39.1584 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.028 | 135088.7336 | 275151.4891 | 36.4 | 83.1
22750 | 2021-02-19 16:31 | 24.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.2694 | μmol/L | 39.1831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.035 | 135148.8576 | 275147.7646 | 36.4 | 83.1
22760 | 2021-02-19 16:32 | 24.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1144 | μmol/L | 39.1892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.043 | 135208.416 | 275146.3211 | 36.4 | 83.1
22770 | 2021-02-19 16:32 | 25.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.7783 | μmol/L | 39.2385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.045 | 135238.1686 | 275131.8595 | 36.4 | 83.1
22780 | 2021-02-19 16:32 | 25.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8882 | μmol/L | 39.2139 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.048 | 135253.4973 | 275125.3484 | 36.4 | 83.1
22790 | 2021-02-19 16:33 | 25.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1714 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.047 | 135230.0244 | 275121.0288 | 36.4 | 83.1
22800 | 2021-02-19 16:33 | 26.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.0986 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.052 | 135262.1211 | 275127.4987 | 36.4 | 83.1
22810 | 2021-02-19 16:33 | 26.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.0457 | μmol/L | 39.1769 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.053 | 135254.6049 | 275115.9222 | 36.4 | 83.1
22820 | 2021-02-19 16:34 | 26.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.002 | μmol/L | 39.1769 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.056 | 135305.171 | 275113.5832 | 36.4 | 83.1
22830 | 2021-02-19 16:34 | 27.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.0205 | μmol/L | 39.1646 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.06 | 135341.4293 | 275119.4832 | 36.4 | 83.1
22840 | 2021-02-19 16:34 | 27.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.9201 | μmol/L | 39.1831 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.059 | 135342.2941 | 275115.617 | 36.4 | 83.1
22850 | 2021-02-19 16:35 | 27.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.9531 | μmol/L | 39.1708 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.062 | 135374.1492 | 275117.2866 | 36.4 | 83.1
22860 | 2021-02-19 16:35 | 28.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.7075 | μmol/L | 39.1892 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.071 | 135427.3054 | 275103.9928 | 36.4 | 83.1
22870 | 2021-02-19 16:35 | 28.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4736 | μmol/L | 39.2385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.066 | 135413.3869 | 275099.4012 | 36.4 | 83.1
22880 | 2021-02-19 16:36 | 28.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4311 | μmol/L | 39.257 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.061 | 135429.6774 | 275104.2129 | 36.4 | 83.1
22890 | 2021-02-19 16:36 | 29.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.242 | μmol/L | 39.2385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.082 | 135525.1681 | 275094.7819 | 36.4 | 83.1
22900 | 2021-02-19 16:36 | 29.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9021 | μmol/L | 39.2817 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.087 | 135575.1858 | 275092.0045 | 36.4 | 83.1
22910 | 2021-02-19 16:37 | 29.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2565 | μmol/L | 39.2385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.081 | 135552.1129 | 275076.3004 | 36.4 | 83.1
22920 | 2021-02-19 16:37 | 30.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2844 | μmol/L | 39.2201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.087 | 135586.4196 | 275081.8458 | 36.4 | 83.1
22930 | 2021-02-19 16:37 | 30.6651 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9743 | μmol/L | 39.2817 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.082 | 135596.5133 | 275083.9949 | 36.4 | 83.1
22940 | 2021-02-19 16:38 | 30.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8588 | μmol/L | 39.2817 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.09 | 135646.9737 | 275081.1024 | 36.4 | 83.1
22950 | 2021-02-19 16:38 | 31.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.4761 | μmol/L | 39.3248 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.098 | 135693.2304 | 275090.1309 | 36.4 | 83.1
22960 | 2021-02-19 16:38 | 31.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9446 | μmol/L | 39.2632 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.092 | 135672.4843 | 275094.5411 | 36.4 | 83.1
22970 | 2021-02-19 16:39 | 31.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9353 | μmol/L | 39.2694 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.09 | 135698.4341 | 275083.1683 | 36.4 | 83.1
22980 | 2021-02-19 16:39 | 32.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.4092 | μmol/L | 39.331 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.1 | 135732.6063 | 275087.435 | 36.4 | 83.1
22990 | 2021-02-19 16:39 | 32.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.5713 | μmol/L | 39.3002 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.102 | 135775.1118 | 275094.1072 | 36.4 | 83.1
23000 | 2021-02-19 16:40 | 32.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0222 | μmol/L | 39.368 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.111 | 135807.8112 | 275085.1538 | 36.4 | 83.1
23010 | 2021-02-19 16:40 | 33.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.865 | μmol/L | 39.4049 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.106 | 135847.3089 | 275081.5225 | 36.4 | 83.1
23020 | 2021-02-19 16:40 | 33.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.003 | μmol/L | 39.3618 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.115 | 135865.8701 | 275075.452 | 36.4 | 83.1
23030 | 2021-02-19 16:41 | 33.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0744 | μmol/L | 39.3433 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.118 | 135899.5059 | 275085.6269 | 36.4 | 83.1
23040 | 2021-02-19 16:41 | 34.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0695 | μmol/L | 39.3371 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.121 | 135927.0814 | 275070.359 | 36.4 | 83.1
23050 | 2021-02-19 16:41 | 34.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8835 | μmol/L | 39.3556 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.126 | 135940.819 | 275070.1589 | 36.4 | 83.1
23060 | 2021-02-19 16:42 | 34.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.512 | μmol/L | 39.4111 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.128 | 135983.3895 | 275072.2789 | 36.4 | 83.1
23070 | 2021-02-19 16:42 | 35.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.5216 | μmol/L | 39.4049 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.13 | 136001.3273 | 275054.4551 | 36.4 | 83.1
23080 | 2021-02-19 16:42 | 35.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.4454 | μmol/L | 39.4173 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.13 | 136007.0038 | 275053.9124 | 36.4 | 83.1
23090 | 2021-02-19 16:43 | 35.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.1123 | μmol/L | 39.4666 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.132 | 136028.2338 | 275068.0527 | 36.4 | 83.1
23100 | 2021-02-19 16:43 | 36.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.7178 | μmol/L | 39.5097 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.141 | 136062.8531 | 275047.3473 | 36.4 | 83.1
23110 | 2021-02-19 16:43 | 36.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.5043 | μmol/L | 39.5282 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.148 | 136126.594 | 275061.6788 | 36.4 | 83.1
23120 | 2021-02-19 16:44 | 36.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3432 | μmol/L | 39.5405 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.154 | 136163.4526 | 275061.0677 | 36.4 | 83.1
23130 | 2021-02-19 16:44 | 37.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2485 | μmol/L | 39.5467 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.158 | 136217.7261 | 275049.9216 | 36.4 | 83.1
23140 | 2021-02-19 16:44 | 37.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2105 | μmol/L | 39.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.158 | 136224.9954 | 275051.4972 | 36.4 | 83.1
23150 | 2021-02-19 16:45 | 37.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.1539 | μmol/L | 39.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.162 | 136249.818 | 275043.541 | 36.4 | 83.1
23160 | 2021-02-19 16:45 | 38.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3534 | μmol/L | 39.5159 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.164 | 136292.8433 | 275045.4119 | 36.4 | 83.1
23170 | 2021-02-19 16:45 | 38.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.9604 | μmol/L | 39.559 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.173 | 136316.2794 | 275037.008 | 36.4 | 83.1
23180 | 2021-02-19 16:46 | 38.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.6993 | μmol/L | 39.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.17 | 136331.8364 | 275022.3357 | 36.4 | 83.1
23190 | 2021-02-19 16:46 | 39.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.5952 | μmol/L | 39.6206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.172 | 136378.6129 | 275024.4015 | 36.4 | 83.1
23200 | 2021-02-19 16:46 | 39.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.6253 | μmol/L | 39.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.186 | 136447.5242 | 275026.4658 | 36.4 | 83.1
23210 | 2021-02-19 16:47 | 39.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.73 | μmol/L | 39.5528 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.192 | 136502.0492 | 275014.8974 | 36.4 | 83.1
23220 | 2021-02-19 16:47 | 40.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.5698 | μmol/L | 39.5652 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.198 | 136552.1554 | 275007.1323 | 36.4 | 83.1
23230 | 2021-02-19 16:47 | 40.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.7308 | μmol/L | 39.5343 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.2 | 136558.8209 | 275025.1579 | 36.4 | 83.1
23240 | 2021-02-19 16:48 | 40.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.7115 | μmol/L | 39.5467 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.196 | 136529.5739 | 275021.204 | 36.4 | 83.1
23250 | 2021-02-19 16:48 | 41.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.5275 | μmol/L | 39.5652 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.201 | 136573.7213 | 275017.736 | 36.4 | 83.1
23260 | 2021-02-19 16:48 | 41.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.3859 | μmol/L | 39.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.203 | 136596.5539 | 275015.7069 | 36.4 | 83.1
23270 | 2021-02-19 16:49 | 41.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.1783 | μmol/L | 39.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.207 | 136627.2354 | 275026.6583 | 36.4 | 83.1
23280 | 2021-02-19 16:49 | 42.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.0844 | μmol/L | 39.6145 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.211 | 136668.8181 | 275022.3832 | 36.4 | 83.1
23290 | 2021-02-19 16:49 | 42.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.2505 | μmol/L | 39.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.218 | 136698.4591 | 275020.0375 | 36.4 | 83.1
23300 | 2021-02-19 16:50 | 42.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.1372 | μmol/L | 39.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.218 | 136711.0608 | 275022.7341 | 36.4 | 83.1
23310 | 2021-02-19 16:50 | 43.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.0627 | μmol/L | 39.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.226 | 136754.2066 | 275020.5515 | 36.4 | 83.1
23320 | 2021-02-19 16:50 | 43.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.7382 | μmol/L | 39.6206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.233 | 136808.3874 | 275012.4251 | 36.4 | 83.1
23330 | 2021-02-19 16:51 | 43.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.3609 | μmol/L | 39.6823 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.233 | 136819.5137 | 275001.622 | 36.4 | 83.1
23340 | 2021-02-19 16:51 | 44.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.1697 | μmol/L | 39.6884 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 136880.4448 | 275005.1313 | 36.4 | 83.1
23350 | 2021-02-19 16:51 | 44.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.2074 | μmol/L | 39.6823 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.244 | 136912.9384 | 274997.4259 | 36.4 | 83.1
23360 | 2021-02-19 16:52 | 44.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0443 | μmol/L | 39.6884 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.253 | 136972.332 | 275010.6118 | 36.4 | 83.1
23370 | 2021-02-19 16:52 | 45.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0138 | μmol/L | 39.6638 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.266 | 137033.5681 | 275006.2672 | 36.4 | 83.1
23380 | 2021-02-19 16:52 | 45.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.4973 | μmol/L | 39.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.261 | 137016.1 | 275001.1146 | 36.4 | 83.1
23390 | 2021-02-19 16:53 | 45.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.5361 | μmol/L | 39.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.269 | 137048.96 | 275000.8725 | 36.4 | 83.1
23400 | 2021-02-19 16:53 | 46.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.3771 | μmol/L | 39.5836 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.275 | 137075.5355 | 275002.7503 | 36.4 | 83.1
23410 | 2021-02-19 16:53 | 46.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.4662 | μmol/L | 39.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.274 | 137095.8895 | 274996.0458 | 36.4 | 83.1
23420 | 2021-02-19 16:54 | 46.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.7033 | μmol/L | 39.5282 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.275 | 137105.3384 | 274988.2306 | 36.4 | 83.1
23430 | 2021-02-19 16:54 | 47.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.099 | μmol/L | 39.6021 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.286 | 137173.1899 | 274984.2712 | 36.4 | 83.1
23440 | 2021-02-19 16:54 | 47.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.122 | μmol/L | 39.5775 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.296 | 137225.3925 | 274975.555 | 36.4 | 83.1
23450 | 2021-02-19 16:55 | 47.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.776 | μmol/L | 39.6206 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.302 | 137278.169 | 274985.7654 | 36.4 | 83.1
23460 | 2021-02-19 16:55 | 48.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.8107 | μmol/L | 39.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.313 | 137373.593 | 274978.3141 | 36.4 | 83.1
23470 | 2021-02-19 16:55 | 48.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.7015 | μmol/L | 39.5898 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.32 | 137400.4992 | 274980.2223 | 36.4 | 83.1
23480 | 2021-02-19 16:56 | 48.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.7498 | μmol/L | 39.559 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.33 | 137454.5257 | 274970.6934 | 36.4 | 83.1
23490 | 2021-02-19 16:56 | 49.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3795 | μmol/L | 39.6083 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.336 | 137513.5853 | 274980.543 | 36.4 | 83.1
23500 | 2021-02-19 16:56 | 49.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3298 | μmol/L | 39.596 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.345 | 137585.0127 | 274974.7355 | 36.4 | 83.1
23510 | 2021-02-19 16:57 | 49.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.1321 | μmol/L | 39.5898 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.362 | 137668.0481 | 274977.3756 | 36.4 | 83.1
23520 | 2021-02-19 16:57 | 50.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3546 | μmol/L | 39.5713 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 20.354 | 137641.7078 | 274976.314 | 36.4 | 83.1
23530 | 2021-02-19 16:57 | 50.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.1671 | μmol/L | 39.5775 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.364 | 137701.4827 | 274970.1312 | 36.4 | 83.1
23540 | 2021-02-19 16:58 | 50.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.1906 | μmol/L | 39.5713 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.365 | 137726.4455 | 274970.3692 | 36.4 | 83.1
23550 | 2021-02-19 16:58 | 51.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.2803 | μmol/L | 39.5405 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.372 | 137757.8377 | 274978.8083 | 36.4 | 83.1
23560 | 2021-02-19 16:58 | 51.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.9753 | μmol/L | 39.559 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.386 | 137838.1873 | 274975.3302 | 36.4 | 83.1
23570 | 2021-02-19 16:59 | 51.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.1626 | μmol/L | 39.5097 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.394 | 137933.8542 | 274972.0465 | 36.4 | 83.1
23580 | 2021-02-19 16:59 | 52.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.7935 | μmol/L | 39.5343 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.41 | 138008.8359 | 274962.7007 | 36.4 | 83.1
23590 | 2021-02-19 16:59 | 52.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6642 | μmol/L | 39.5467 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.414 | 138088.4447 | 274961.5859 | 36.4 | 83.1
23600 | 2021-02-19 17:00 | 52.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.5832 | μmol/L | 39.5282 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.428 | 138175.1343 | 274965.8253 | 36.4 | 83.1
23610 | 2021-02-19 17:00 | 53.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.5803 | μmol/L | 39.5035 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.439 | 138254.7706 | 274969.1327 | 36.4 | 83.1
23620 | 2021-02-19 17:00 | 53.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.3088 | μmol/L | 39.5282 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.448 | 138279.2124 | 274959.7496 | 36.4 | 83.1
23630 | 2021-02-19 17:01 | 53.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.4157 | μmol/L | 39.5035 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.451 | 138305.9249 | 274949.8091 | 36.4 | 83.1
23640 | 2021-02-19 17:01 | 54.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.3102 | μmol/L | 39.5097 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.456 | 138351.9144 | 274951.4718 | 36.4 | 83.1
23650 | 2021-02-19 17:01 | 54.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.3293 | μmol/L | 39.4974 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.46 | 138394.2446 | 274955.3093 | 36.4 | 83.1
23660 | 2021-02-19 17:02 | 54.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.124 | μmol/L | 39.4974 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.475 | 138470.8271 | 274949.0417 | 36.4 | 83.1
23670 | 2021-02-19 17:02 | 55.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.1158 | μmol/L | 39.485 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.481 | 138516.0715 | 274945.0642 | 36.4 | 83.1
23680 | 2021-02-19 17:02 | 55.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.1307 | μmol/L | 39.4666 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.488 | 138504.5785 | 274952.6651 | 36.4 | 83.1
23690 | 2021-02-19 17:03 | 55.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.9982 | μmol/L | 39.4727 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.495 | 138547.8206 | 274943.2171 | 36.4 | 83.1
23700 | 2021-02-19 17:03 | 56.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8931 | μmol/L | 39.4789 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.5 | 138623.6881 | 274939.0747 | 36.4 | 83.1
23710 | 2021-02-19 17:03 | 56.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8494 | μmol/L | 39.4542 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.514 | 138710.6508 | 274947.0951 | 36.4 | 83.1
23720 | 2021-02-19 17:04 | 56.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8874 | μmol/L | 39.4296 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.522 | 138752.5619 | 274941.6041 | 36.4 | 83.1
23730 | 2021-02-19 17:04 | 57.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.9201 | μmol/L | 39.4173 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.525 | 138768.042 | 274938.4176 | 36.4 | 83.1
23740 | 2021-02-19 17:04 | 57.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.9254 | μmol/L | 39.4049 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.53 | 138789.4081 | 274922.7507 | 36.4 | 83.1
23750 | 2021-02-19 17:05 | 57.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8697 | μmol/L | 39.4234 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.526 | 138813.9115 | 274927.8513 | 36.4 | 83.1
23760 | 2021-02-19 17:05 | 58.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8205 | μmol/L | 39.4111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.535 | 138873.6481 | 274930.2955 | 36.4 | 83.1
23770 | 2021-02-19 17:05 | 58.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6434 | μmol/L | 39.4111 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.548 | 138901.3275 | 274917.1181 | 36.4 | 83.1
23780 | 2021-02-19 17:06 | 58.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6718 | μmol/L | 39.3926 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.554 | 138945.3542 | 274918.7146 | 36.4 | 83.1
23790 | 2021-02-19 17:06 | 59.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6677 | μmol/L | 39.3864 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.557 | 138459.0123 | 274919.6721 | 36.4 | 83.1
23800 | 2021-02-19 17:06 | 59.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7368 | μmol/L | 39.368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.56 | 138469.7641 | 274910.4053 | 36.4 | 83.1
23810 | 2021-02-19 17:07 | 59.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7232 | μmol/L | 39.368 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.561 | 138499.6192 | 274911.6636 | 36.4 | 83.1
23820 | 2021-02-19 17:07 | 60.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.7294 | μmol/L | 39.3371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.574 | 138570.6198 | 274915.4341 | 36.4 | 83.1
23830 | 2021-02-19 17:07 | 60.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5517 | μmol/L | 39.3556 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.579 | 138620.7593 | 274921.0832 | 36.4 | 83.1
23840 | 2021-02-19 17:08 | 60.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.5569 | μmol/L | 39.3433 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.584 | 138661.319 | 274903.3428 | 36.4 | 83.1
23850 | 2021-02-19 17:08 | 61.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2018 | μmol/L | 39.3803 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.594 | 138714.0749 | 274906.4853 | 36.4 | 83.1
23860 | 2021-02-19 17:08 | 61.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.0976 | μmol/L | 39.3864 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.599 | 138726.3986 | 274914.3023 | 36.4 | 83.1
23870 | 2021-02-19 17:09 | 61.9984 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.226 | μmol/L | 39.3556 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.603 | 138748.8654 | 274912.8605 | 36.4 | 83.1
23880 | 2021-02-19 17:09 | 62.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.4451 | μmol/L | 39.3187 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.603 | 138771.0871 | 274911.9921 | 36.4 | 83.1
23889 | 2021-02-19 17:09 | 62.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2542 | μmol/L | 39.3371 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 20.609 | 138783.4494 | 274910.1082 | 36.4 | 83.1