## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23901 | 2021-02-22 10:23 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.625 | μmol/L | 19.0409 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.926 | 120575.648 | 308162.2129 | 30.45 | 114.2
23911 | 2021-02-22 10:23 | 0.33912 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.689 | μmol/L | 19.0224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.929 | 120549.7784 | 308140.8129 | 30.45 | 114.2
23921 | 2021-02-22 10:23 | 0.67273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6844 | μmol/L | 19.0347 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.925 | 120506.6002 | 308093.4735 | 30.45 | 114.2
23931 | 2021-02-22 10:24 | 1.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7628 | μmol/L | 19.0286 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.923 | 120479.8323 | 308060.0153 | 30.45 | 114.2
23941 | 2021-02-22 10:24 | 1.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6867 | μmol/L | 19.0286 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.927 | 120454.1574 | 308031.5525 | 30.45 | 114.2
23951 | 2021-02-22 10:24 | 1.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6486 | μmol/L | 19.0286 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.929 | 120418.6684 | 307976.7165 | 30.45 | 114.2
23961 | 2021-02-22 10:25 | 2.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6319 | μmol/L | 19.0224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.932 | 120400.1396 | 307965.0677 | 30.45 | 114.2
23971 | 2021-02-22 10:25 | 2.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.708 | μmol/L | 19.0224 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.928 | 120368.5263 | 307917.6179 | 30.45 | 114.2
23981 | 2021-02-22 10:25 | 2.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6936 | μmol/L | 19.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.933 | 120334.4516 | 307879.4813 | 30.45 | 114.2
23991 | 2021-02-22 10:26 | 3.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6723 | μmol/L | 19.0163 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.932 | 120320.4959 | 307851.5864 | 30.45 | 114.2
24001 | 2021-02-22 10:26 | 3.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6746 | μmol/L | 19.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.934 | 120290.7315 | 307810.278 | 30.45 | 114.2
24011 | 2021-02-22 10:26 | 3.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6389 | μmol/L | 19.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.938 | 120274.7701 | 307769.984 | 30.45 | 114.2
24021 | 2021-02-22 10:27 | 4.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6008 | μmol/L | 19.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.94 | 120269.5731 | 307752.109 | 30.45 | 114.2
24031 | 2021-02-22 10:27 | 4.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5985 | μmol/L | 19.0101 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.938 | 120260.5556 | 307716.9811 | 30.45 | 114.2
24041 | 2021-02-22 10:27 | 4.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4298 | μmol/L | 19.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.949 | 120240.4692 | 307687.8579 | 30.45 | 114.2
24051 | 2021-02-22 10:28 | 5.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5058 | μmol/L | 19.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.945 | 120228.1979 | 307648.7115 | 30.45 | 114.2
24061 | 2021-02-22 10:28 | 5.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4914 | μmol/L | 18.9917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.95 | 120209.9672 | 307616.2841 | 30.45 | 114.2
24071 | 2021-02-22 10:28 | 5.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4321 | μmol/L | 18.9979 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.951 | 120191.0952 | 307589.3634 | 30.45 | 114.2
24081 | 2021-02-22 10:29 | 6.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6506 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.948 | 120179.182 | 307549.3946 | 30.45 | 114.2
24091 | 2021-02-22 10:29 | 6.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5318 | μmol/L | 18.9856 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.95 | 120158.8646 | 307532.3958 | 30.45 | 114.2
24101 | 2021-02-22 10:29 | 6.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4961 | μmol/L | 18.9794 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.954 | 120144.1207 | 307500.4633 | 30.45 | 114.2
24111 | 2021-02-22 10:30 | 7.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3821 | μmol/L | 18.9794 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.96 | 120142.6969 | 307461.5795 | 30.45 | 114.2
24121 | 2021-02-22 10:30 | 7.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3845 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.962 | 120135.3616 | 307443.0888 | 30.45 | 114.2
24131 | 2021-02-22 10:30 | 7.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3465 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.964 | 120134.3732 | 307419.3547 | 30.45 | 114.2
24141 | 2021-02-22 10:31 | 8.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1923 | μmol/L | 18.9794 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.97 | 120119.9987 | 307383.7495 | 30.45 | 114.2
24151 | 2021-02-22 10:31 | 8.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1947 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.972 | 120107.528 | 307343.0533 | 30.45 | 114.2
24161 | 2021-02-22 10:31 | 8.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.979 | μmol/L | 18.9917 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.977 | 120114.0731 | 307328.0962 | 30.45 | 114.2
24171 | 2021-02-22 10:32 | 9.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.318 | μmol/L | 18.9487 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.974 | 120104.5794 | 307301.4057 | 30.45 | 114.2
24181 | 2021-02-22 10:32 | 9.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.005 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.982 | 120096.2717 | 307273.2419 | 30.45 | 114.2
24191 | 2021-02-22 10:32 | 9.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0998 | μmol/L | 18.9733 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.977 | 120083.3129 | 307239.6498 | 30.45 | 114.2
24201 | 2021-02-22 10:33 | 10.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1828 | μmol/L | 18.9548 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.979 | 120071.609 | 307222.5121 | 30.45 | 114.2
24211 | 2021-02-22 10:33 | 10.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1638 | μmol/L | 18.9548 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.98 | 120050.8002 | 307198.5748 | 30.45 | 114.2
24221 | 2021-02-22 10:33 | 10.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0477 | μmol/L | 18.961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.984 | 120049.4605 | 307152.7459 | 30.45 | 114.2
24231 | 2021-02-22 10:34 | 11.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0287 | μmol/L | 18.961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.985 | 120042.1079 | 307137.2389 | 30.45 | 114.2
24241 | 2021-02-22 10:34 | 11.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1283 | μmol/L | 18.9487 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.984 | 120030.2146 | 307114.7498 | 30.45 | 114.2
24251 | 2021-02-22 10:34 | 11.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0524 | μmol/L | 18.9487 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.988 | 120026.6858 | 307087.1597 | 30.45 | 114.2
24261 | 2021-02-22 10:35 | 12.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0762 | μmol/L | 18.9364 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.991 | 120017.588 | 307069.7133 | 30.45 | 114.2
24271 | 2021-02-22 10:35 | 12.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0762 | μmol/L | 18.9364 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.991 | 120016.0512 | 307036.1932 | 30.45 | 114.2
24281 | 2021-02-22 10:35 | 12.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0644 | μmol/L | 18.918 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.998 | 120010.252 | 307022.8238 | 30.45 | 114.2
24291 | 2021-02-22 10:36 | 13.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1236 | μmol/L | 18.9118 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.997 | 119995.3669 | 306991.0982 | 30.45 | 114.2
24301 | 2021-02-22 10:36 | 13.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.908 | μmol/L | 18.9303 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.002 | 119995.9139 | 306973.0084 | 30.45 | 114.2
24311 | 2021-02-22 10:36 | 13.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.991 | μmol/L | 18.9118 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.004 | 119990.4399 | 306954.0236 | 30.45 | 114.2
24321 | 2021-02-22 10:37 | 14.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8915 | μmol/L | 18.9241 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.005 | 119975.2365 | 306917.1006 | 30.45 | 114.2
24331 | 2021-02-22 10:37 | 14.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.695 | μmol/L | 18.9426 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.009 | 119980.0915 | 306905.978 | 30.45 | 114.2
24341 | 2021-02-22 10:37 | 14.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7992 | μmol/L | 18.918 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.012 | 119972.7677 | 306876.9146 | 30.45 | 114.2
24351 | 2021-02-22 10:38 | 15.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0171 | μmol/L | 18.8934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.009 | 119976.513 | 306849.7868 | 30.45 | 114.2
24361 | 2021-02-22 10:38 | 15.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8182 | μmol/L | 18.918 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.011 | 119965.6387 | 306838.7113 | 30.45 | 114.2
24371 | 2021-02-22 10:38 | 15.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.804 | μmol/L | 18.9057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.016 | 119958.0392 | 306804.2037 | 30.45 | 114.2
24381 | 2021-02-22 10:39 | 16.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7851 | μmol/L | 18.9057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.017 | 119961.3931 | 306781.9682 | 30.45 | 114.2
24391 | 2021-02-22 10:39 | 16.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7119 | μmol/L | 18.8996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.023 | 119950.6667 | 306760.0227 | 30.45 | 114.2
24401 | 2021-02-22 10:39 | 16.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8113 | μmol/L | 18.8873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.022 | 119957.3737 | 306728.3797 | 30.45 | 114.2
24411 | 2021-02-22 10:40 | 17.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7119 | μmol/L | 18.8996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.023 | 119940.1936 | 306721.479 | 30.45 | 114.2
24421 | 2021-02-22 10:40 | 17.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6527 | μmol/L | 18.9057 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.024 | 119933.2752 | 306682.3751 | 30.45 | 114.2
24431 | 2021-02-22 10:40 | 17.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5819 | μmol/L | 18.8934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.032 | 119927.3925 | 306671.281 | 30.45 | 114.2
24441 | 2021-02-22 10:41 | 18.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6386 | μmol/L | 18.8934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.029 | 119914.5192 | 306667.1614 | 30.45 | 114.2
24451 | 2021-02-22 10:41 | 18.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7405 | μmol/L | 18.875 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.03 | 119904.5118 | 306625.5947 | 30.45 | 114.2
24461 | 2021-02-22 10:41 | 18.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6411 | μmol/L | 18.8873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.031 | 119889.5946 | 306603.1171 | 30.45 | 114.2
24471 | 2021-02-22 10:42 | 19.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6837 | μmol/L | 18.875 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.033 | 119885.358 | 306589.237 | 30.45 | 114.2
24481 | 2021-02-22 10:42 | 19.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5277 | μmol/L | 18.8873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.037 | 119869.9987 | 306566.5797 | 30.45 | 114.2
24491 | 2021-02-22 10:42 | 19.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5441 | μmol/L | 18.8934 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.034 | 119864.1091 | 306549.9438 | 30.45 | 114.2
24501 | 2021-02-22 10:43 | 20.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5868 | μmol/L | 18.8811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.036 | 119852.5924 | 306523.6687 | 30.45 | 114.2
24511 | 2021-02-22 10:43 | 20.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5917 | μmol/L | 18.8688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.04 | 119841.777 | 306497.9148 | 30.45 | 114.2
24521 | 2021-02-22 10:43 | 20.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5325 | μmol/L | 18.875 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.041 | 119839.7689 | 306491.8233 | 30.45 | 114.2
24531 | 2021-02-22 10:44 | 21.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6459 | μmol/L | 18.875 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.035 | 119826.7972 | 306472.1278 | 30.45 | 114.2
24541 | 2021-02-22 10:44 | 21.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.6697 | μmol/L | 18.8627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.038 | 119818.651 | 306450.5546 | 30.45 | 114.2
24551 | 2021-02-22 10:44 | 21.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5539 | μmol/L | 18.8688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.042 | 119813.9056 | 306420.6885 | 30.45 | 114.2
24561 | 2021-02-22 10:45 | 22.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4405 | μmol/L | 18.8688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 119823.0789 | 306411.3812 | 30.45 | 114.2
24571 | 2021-02-22 10:45 | 22.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4192 | μmol/L | 18.875 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.047 | 119821.3169 | 306391.0716 | 30.45 | 114.2
24581 | 2021-02-22 10:45 | 22.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4052 | μmol/L | 18.8627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 119831.8482 | 306365.7539 | 30.45 | 114.2
24591 | 2021-02-22 10:46 | 23.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1338 | μmol/L | 18.8811 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 119839.4201 | 306352.5872 | 30.45 | 114.2
24601 | 2021-02-22 10:46 | 23.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2354 | μmol/L | 18.8627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.061 | 119848.2133 | 306335.8138 | 30.45 | 114.2
24611 | 2021-02-22 10:46 | 23.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2001 | μmol/L | 18.8565 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.065 | 119848.6991 | 306316.2632 | 30.45 | 114.2
24621 | 2021-02-22 10:47 | 24.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1247 | μmol/L | 18.8565 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.069 | 119848.0685 | 306297.4775 | 30.45 | 114.2
24631 | 2021-02-22 10:47 | 24.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.3018 | μmol/L | 18.8381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.066 | 119836.5727 | 306286.5686 | 30.45 | 114.2
24641 | 2021-02-22 10:47 | 24.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2428 | μmol/L | 18.8443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.067 | 119822.0373 | 306265.3598 | 30.45 | 114.2
24651 | 2021-02-22 10:48 | 25.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2239 | μmol/L | 18.8443 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.068 | 119822.0796 | 306247.2282 | 30.45 | 114.2
24661 | 2021-02-22 10:48 | 25.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.151 | μmol/L | 18.8381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.074 | 119814.9673 | 306232.9829 | 30.45 | 114.2
24671 | 2021-02-22 10:48 | 25.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.146 | μmol/L | 18.8504 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.07 | 119818.5662 | 306206.9717 | 30.45 | 114.2
24681 | 2021-02-22 10:49 | 26.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1698 | μmol/L | 18.8381 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.073 | 119817.128 | 306196.9618 | 30.45 | 114.2
24691 | 2021-02-22 10:49 | 26.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1911 | μmol/L | 18.832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.074 | 119810.9811 | 306180.7983 | 30.45 | 114.2
24701 | 2021-02-22 10:49 | 26.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1936 | μmol/L | 18.8258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.076 | 119812.9604 | 306172.9382 | 30.45 | 114.2
24711 | 2021-02-22 10:50 | 27.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1395 | μmol/L | 18.8197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.081 | 119805.2862 | 306153.5587 | 30.45 | 114.2
24721 | 2021-02-22 10:50 | 27.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2174 | μmol/L | 18.8135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.079 | 119797.5086 | 306126.1368 | 30.45 | 114.2
24731 | 2021-02-22 10:50 | 27.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1018 | μmol/L | 18.8197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.083 | 119792.1376 | 306113.9094 | 30.45 | 114.2
24741 | 2021-02-22 10:51 | 28.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0667 | μmol/L | 18.8135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 119799.7621 | 306094.6629 | 30.45 | 114.2
24751 | 2021-02-22 10:51 | 28.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1683 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.088 | 119795.9648 | 306085.4843 | 30.45 | 114.2
24761 | 2021-02-22 10:51 | 28.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1872 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.087 | 119795.8175 | 306073.9642 | 30.45 | 114.2
24771 | 2021-02-22 10:52 | 29.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1331 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.092 | 119797.0598 | 306046.3257 | 30.45 | 114.2
24781 | 2021-02-22 10:52 | 29.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1708 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.09 | 119793.4859 | 306040.321 | 30.45 | 114.2
24791 | 2021-02-22 10:52 | 29.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0578 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 119790.1317 | 306022.4275 | 30.45 | 114.2
24801 | 2021-02-22 10:53 | 30.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9988 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.097 | 119788.1365 | 306005.54 | 30.45 | 114.2
24811 | 2021-02-22 10:53 | 30.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0176 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 119775.4893 | 305982.8766 | 30.45 | 114.2
24821 | 2021-02-22 10:53 | 30.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.98 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.098 | 119758.7978 | 305967.4356 | 30.45 | 114.2
24831 | 2021-02-22 10:54 | 31.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.8645 | μmol/L | 18.8013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.102 | 119750.8688 | 305954.7677 | 30.45 | 114.2
24841 | 2021-02-22 10:54 | 31.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9423 | μmol/L | 18.7951 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.1 | 119742.6318 | 305919.7259 | 30.45 | 114.2
24851 | 2021-02-22 10:54 | 31.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9636 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.101 | 119734.6987 | 305887.0565 | 30.45 | 114.2
24861 | 2021-02-22 10:55 | 32.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.8131 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.109 | 119733.2607 | 305868.3748 | 30.45 | 114.2
24871 | 2021-02-22 10:55 | 32.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9473 | μmol/L | 18.7828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.104 | 119749.9597 | 305856.5582 | 30.45 | 114.2
24881 | 2021-02-22 10:55 | 32.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.8695 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.106 | 119745.0641 | 305853.3965 | 30.45 | 114.2
24891 | 2021-02-22 10:56 | 33.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.778 | μmol/L | 18.7828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.113 | 119751.7605 | 305846.7639 | 30.45 | 114.2
24901 | 2021-02-22 10:56 | 33.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7592 | μmol/L | 18.7828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.114 | 119750.7165 | 305811.8684 | 30.45 | 114.2
24911 | 2021-02-22 10:56 | 33.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7404 | μmol/L | 18.7828 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.115 | 119739.8655 | 305801.495 | 30.45 | 114.2
24921 | 2021-02-22 10:57 | 34.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7429 | μmol/L | 18.7767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.117 | 119740.7804 | 305791.5183 | 30.45 | 114.2
24931 | 2021-02-22 10:57 | 34.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7642 | μmol/L | 18.7705 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.118 | 119738.7593 | 305763.0249 | 30.45 | 114.2
24941 | 2021-02-22 10:57 | 34.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6865 | μmol/L | 18.7767 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.12 | 119743.6061 | 305759.133 | 30.45 | 114.2
24951 | 2021-02-22 10:58 | 35.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.654 | μmol/L | 18.7644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.126 | 119731.1463 | 305725.9479 | 30.45 | 114.2
24961 | 2021-02-22 10:58 | 35.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6916 | μmol/L | 18.7644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.124 | 119732.4712 | 305718.3506 | 30.45 | 114.2
24971 | 2021-02-22 10:58 | 35.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6728 | μmol/L | 18.7644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.125 | 119733.972 | 305707.7799 | 30.45 | 114.2
24981 | 2021-02-22 10:59 | 36.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.7317 | μmol/L | 18.7583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.124 | 119734.4029 | 305701.6261 | 30.45 | 114.2
24991 | 2021-02-22 10:59 | 36.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5814 | μmol/L | 18.7583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.132 | 119718.8678 | 305668.0968 | 30.45 | 114.2
25001 | 2021-02-22 10:59 | 36.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5814 | μmol/L | 18.7583 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.132 | 119725.6037 | 305664.0193 | 30.45 | 114.2
25011 | 2021-02-22 11:00 | 37.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6215 | μmol/L | 18.7521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.132 | 119725.4746 | 305634.6309 | 30.45 | 114.2
25021 | 2021-02-22 11:00 | 37.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6403 | μmol/L | 18.7521 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.131 | 119724.4277 | 305619.1478 | 30.45 | 114.2
25031 | 2021-02-22 11:00 | 37.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5301 | μmol/L | 18.746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.139 | 119723.7761 | 305608.1937 | 30.45 | 114.2
25041 | 2021-02-22 11:01 | 38.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4951 | μmol/L | 18.7398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.143 | 119730.3904 | 305610.0371 | 30.45 | 114.2
25051 | 2021-02-22 11:01 | 38.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5702 | μmol/L | 18.7398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.139 | 119727.7298 | 305584.5472 | 30.45 | 114.2
25061 | 2021-02-22 11:01 | 38.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4977 | μmol/L | 18.7337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.145 | 119733.1832 | 305550.1383 | 30.45 | 114.2
25071 | 2021-02-22 11:02 | 39.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5164 | μmol/L | 18.7337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.144 | 119730.8978 | 305540.6764 | 30.45 | 114.2
25081 | 2021-02-22 11:02 | 39.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4601 | μmol/L | 18.7337 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.147 | 119737.2694 | 305527.8586 | 30.45 | 114.2
25091 | 2021-02-22 11:02 | 39.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5028 | μmol/L | 18.7214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.149 | 119738.6891 | 305524.4489 | 30.45 | 114.2
25101 | 2021-02-22 11:03 | 40.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4277 | μmol/L | 18.7214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.153 | 119732.3795 | 305499.9634 | 30.45 | 114.2
25111 | 2021-02-22 11:03 | 40.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4303 | μmol/L | 18.7153 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.155 | 119749.7803 | 305488.8426 | 30.45 | 114.2
25121 | 2021-02-22 11:03 | 40.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3927 | μmol/L | 18.7153 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.157 | 119745.2489 | 305476.4571 | 30.45 | 114.2
25131 | 2021-02-22 11:04 | 41.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3765 | μmol/L | 18.7091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.16 | 119741.4521 | 305463.4624 | 30.45 | 114.2
25141 | 2021-02-22 11:04 | 41.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.299 | μmol/L | 18.7153 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.162 | 119746.7269 | 305459.8242 | 30.45 | 114.2
25151 | 2021-02-22 11:04 | 41.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2453 | μmol/L | 18.7091 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.167 | 119747.6762 | 305445.335 | 30.45 | 114.2
25161 | 2021-02-22 11:05 | 42.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2854 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.167 | 119754.2004 | 305429.5506 | 30.45 | 114.2
25171 | 2021-02-22 11:05 | 42.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2291 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.17 | 119751.7808 | 305431.2232 | 30.45 | 114.2
25181 | 2021-02-22 11:05 | 42.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1729 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.173 | 119750.9074 | 305415.0752 | 30.45 | 114.2
25191 | 2021-02-22 11:06 | 43.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2505 | μmol/L | 18.6968 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.171 | 119746.0499 | 305389.2854 | 30.45 | 114.2
25201 | 2021-02-22 11:06 | 43.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2718 | μmol/L | 18.6907 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.172 | 119752.5431 | 305383.866 | 30.45 | 114.2
25211 | 2021-02-22 11:06 | 43.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1781 | μmol/L | 18.6907 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.177 | 119763.4888 | 305383.6551 | 30.45 | 114.2
25221 | 2021-02-22 11:07 | 44.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2181 | μmol/L | 18.6845 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.177 | 119769.0128 | 305354.3116 | 30.45 | 114.2
25231 | 2021-02-22 11:07 | 44.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1619 | μmol/L | 18.6845 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.18 | 119786.54 | 305363.5464 | 30.45 | 114.2
25241 | 2021-02-22 11:07 | 44.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.087 | μmol/L | 18.6845 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.184 | 119787.2517 | 305329.9688 | 30.45 | 114.2
25251 | 2021-02-22 11:08 | 45.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0335 | μmol/L | 18.6784 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.189 | 119786.1381 | 305314.5978 | 30.45 | 114.2
25261 | 2021-02-22 11:08 | 45.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.916 | μmol/L | 18.6907 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.191 | 119802.1726 | 305311.8166 | 30.45 | 114.2
25271 | 2021-02-22 11:08 | 45.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9986 | μmol/L | 18.6723 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.193 | 119808.2236 | 305297.0903 | 30.45 | 114.2
25281 | 2021-02-22 11:09 | 46.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8864 | μmol/L | 18.6723 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.199 | 119829.2439 | 305290.6783 | 30.45 | 114.2
25291 | 2021-02-22 11:09 | 46.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8116 | μmol/L | 18.6723 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.203 | 119838.3974 | 305286.3211 | 30.45 | 114.2
25301 | 2021-02-22 11:09 | 46.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.849 | μmol/L | 18.6723 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.201 | 119844.6236 | 305270.1059 | 30.45 | 114.2
25311 | 2021-02-22 11:10 | 47.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7156 | μmol/L | 18.6784 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.206 | 119857.0213 | 305244.1384 | 30.45 | 114.2
25321 | 2021-02-22 11:10 | 47.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6648 | μmol/L | 18.6661 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 119865.4237 | 305248.1515 | 30.45 | 114.2
25331 | 2021-02-22 11:10 | 47.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6674 | μmol/L | 18.66 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 119858.9724 | 305218.526 | 30.45 | 114.2
25341 | 2021-02-22 11:11 | 48.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7047 | μmol/L | 18.66 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.213 | 119857.1385 | 305222.3221 | 30.45 | 114.2
25351 | 2021-02-22 11:11 | 48.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6487 | μmol/L | 18.66 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 119846.0514 | 305191.0363 | 30.45 | 114.2
25361 | 2021-02-22 11:11 | 48.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.67 | μmol/L | 18.6538 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 119854.0773 | 305201.1667 | 30.45 | 114.2
25371 | 2021-02-22 11:12 | 49.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.71 | μmol/L | 18.6477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.217 | 119857.8207 | 305188.8508 | 30.45 | 114.2
25381 | 2021-02-22 11:12 | 49.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6353 | μmol/L | 18.6477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.221 | 119852.8496 | 305167.7946 | 30.45 | 114.2
25391 | 2021-02-22 11:12 | 49.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7126 | μmol/L | 18.6415 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.219 | 119855.4334 | 305167.9623 | 30.45 | 114.2
25401 | 2021-02-22 11:13 | 50.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7313 | μmol/L | 18.6415 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.218 | 119843.3471 | 305153.1813 | 30.45 | 114.2
25411 | 2021-02-22 11:13 | 50.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8273 | μmol/L | 18.6354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.215 | 119830.8805 | 305135.0968 | 30.45 | 114.2
25421 | 2021-02-22 11:13 | 50.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8086 | μmol/L | 18.6354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.216 | 119808.8702 | 305132.6149 | 30.45 | 114.2
25431 | 2021-02-22 11:14 | 51.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9208 | μmol/L | 18.6354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.21 | 119790.591 | 305129.9208 | 30.45 | 114.2
25441 | 2021-02-22 11:14 | 51.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9769 | μmol/L | 18.6354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.207 | 119773.8764 | 305113.1884 | 30.45 | 114.2
25451 | 2021-02-22 11:14 | 51.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9395 | μmol/L | 18.6354 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.209 | 119751.0284 | 305104.3248 | 30.45 | 114.2
25461 | 2021-02-22 11:15 | 52.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9743 | μmol/L | 18.6415 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.205 | 119746.0658 | 305096.4 | 30.45 | 114.2
25471 | 2021-02-22 11:15 | 52.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7239 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.197 | 119721.6248 | 305083.586 | 30.45 | 114.2
25481 | 2021-02-22 11:15 | 52.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5268 | μmol/L | 18.7275 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.199 | 119708.5336 | 305068.9658 | 30.45 | 114.2
25491 | 2021-02-22 11:16 | 53.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7052 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.198 | 119692.7711 | 305081.6117 | 30.45 | 114.2
25501 | 2021-02-22 11:16 | 53.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8548 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.19 | 119659.8263 | 305064.7308 | 30.45 | 114.2
25511 | 2021-02-22 11:16 | 53.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7987 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.193 | 119645.2202 | 305059.8299 | 30.45 | 114.2
25521 | 2021-02-22 11:17 | 54.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9135 | μmol/L | 18.6968 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.189 | 119621.419 | 305055.1391 | 30.45 | 114.2
25531 | 2021-02-22 11:17 | 54.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0231 | μmol/L | 18.703 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.181 | 119579.53 | 305038.588 | 30.45 | 114.2
25541 | 2021-02-22 11:17 | 54.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9967 | μmol/L | 18.7214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.176 | 119540.8057 | 305009.0676 | 30.45 | 114.2
25551 | 2021-02-22 11:18 | 55.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0265 | μmol/L | 18.7398 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.168 | 119506.7214 | 305009.3936 | 30.45 | 114.2
25561 | 2021-02-22 11:18 | 55.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0239 | μmol/L | 18.746 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.166 | 119482.8747 | 304983.9152 | 30.45 | 114.2
25571 | 2021-02-22 11:18 | 55.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9227 | μmol/L | 18.7644 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.165 | 119448.6252 | 304971.4326 | 30.45 | 114.2
25581 | 2021-02-22 11:19 | 56.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9687 | μmol/L | 18.789 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.154 | 119402.4754 | 304965.47 | 30.45 | 114.2
25591 | 2021-02-22 11:19 | 56.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9449 | μmol/L | 18.8013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.151 | 119380.5089 | 304952.5301 | 30.45 | 114.2
25601 | 2021-02-22 11:19 | 56.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9961 | μmol/L | 18.8135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.144 | 119369.5285 | 304947.8501 | 30.45 | 114.2
25611 | 2021-02-22 11:20 | 57.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8949 | μmol/L | 18.832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.143 | 119349.5123 | 304936.8918 | 30.45 | 114.2
25621 | 2021-02-22 11:20 | 57.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8263 | μmol/L | 18.8627 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.136 | 119315.8053 | 304937.689 | 30.45 | 114.2
25631 | 2021-02-22 11:20 | 57.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8051 | μmol/L | 18.8688 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.135 | 119308.9761 | 304930.9991 | 30.45 | 114.2
25641 | 2021-02-22 11:21 | 58.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.779 | μmol/L | 18.8873 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.13 | 119258.9293 | 304899.9811 | 30.45 | 114.2
25651 | 2021-02-22 11:21 | 58.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7927 | μmol/L | 18.8996 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.125 | 119235.5655 | 304907.8825 | 30.45 | 114.2
25661 | 2021-02-22 11:21 | 58.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7853 | μmol/L | 18.918 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.119 | 119232.7673 | 304888.7219 | 30.45 | 114.2
25671 | 2021-02-22 11:22 | 59.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7967 | μmol/L | 18.9364 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.112 | 119181.4817 | 304875.7832 | 30.45 | 114.2
25681 | 2021-02-22 11:22 | 59.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7495 | μmol/L | 18.961 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.106 | 119165.6735 | 304860.8328 | 30.45 | 114.2
25691 | 2021-02-22 11:22 | 59.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6112 | μmol/L | 18.9794 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.107 | 119155.5381 | 304845.496 | 30.45 | 114.2
25701 | 2021-02-22 11:23 | 60.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4333 | μmol/L | 19.004 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.108 | 119169.3376 | 304846.1343 | 30.45 | 114.2
25711 | 2021-02-22 11:23 | 60.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2368 | μmol/L | 19.0286 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.11 | 119173.8204 | 304826.7827 | 30.45 | 114.2
25721 | 2021-02-22 11:23 | 60.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1338 | μmol/L | 19.0531 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.107 | 119148.719 | 304818.8993 | 30.45 | 114.2
25731 | 2021-02-22 11:24 | 61.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9401 | μmol/L | 19.0716 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.111 | 119141.2034 | 304822.0319 | 30.45 | 114.2
25741 | 2021-02-22 11:24 | 61.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0635 | μmol/L | 19.09 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.098 | 119100.1096 | 304804.3525 | 30.45 | 114.2
25751 | 2021-02-22 11:24 | 61.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0214 | μmol/L | 19.1023 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.096 | 119101.7292 | 304793.1763 | 30.45 | 114.2
25761 | 2021-02-22 11:25 | 62.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7672 | μmol/L | 19.133 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 119111.7636 | 304788.0612 | 30.45 | 114.2
25771 | 2021-02-22 11:25 | 62.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6087 | μmol/L | 19.1576 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 119092.6091 | 304781.4375 | 30.45 | 114.2
25781 | 2021-02-22 11:25 | 62.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6063 | μmol/L | 19.1637 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.097 | 119083.7001 | 304768.3903 | 30.45 | 114.2
25791 | 2021-02-22 11:26 | 63.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5993 | μmol/L | 19.1822 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.091 | 119054.5356 | 304752.8118 | 30.45 | 114.2
25801 | 2021-02-22 11:26 | 63.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6319 | μmol/L | 19.1945 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.085 | 119001.1565 | 304732.8369 | 30.45 | 114.2
25811 | 2021-02-22 11:26 | 63.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7717 | μmol/L | 19.219 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.069 | 118939.3612 | 304735.7727 | 30.45 | 114.2
25821 | 2021-02-22 11:27 | 64.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6553 | μmol/L | 19.2313 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.071 | 118920.1636 | 304731.4461 | 30.45 | 114.2
25831 | 2021-02-22 11:27 | 64.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6483 | μmol/L | 19.2498 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.065 | 118882.6995 | 304724.3636 | 30.45 | 114.2
25841 | 2021-02-22 11:27 | 64.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5715 | μmol/L | 19.2559 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.067 | 118881.2928 | 304724.3813 | 30.45 | 114.2
25851 | 2021-02-22 11:28 | 65.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5437 | μmol/L | 19.2805 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 118848.4183 | 304701.7088 | 30.45 | 114.2
25861 | 2021-02-22 11:28 | 65.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4855 | μmol/L | 19.2866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.061 | 118838.2289 | 304711.7186 | 30.45 | 114.2
25871 | 2021-02-22 11:28 | 65.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5719 | μmol/L | 19.3051 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 118797.5823 | 304699.1099 | 30.45 | 114.2
25881 | 2021-02-22 11:29 | 66.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5883 | μmol/L | 19.3112 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.047 | 118780.1778 | 304698.9303 | 30.45 | 114.2
25891 | 2021-02-22 11:29 | 66.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4905 | μmol/L | 19.3235 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.048 | 118775.5959 | 304685.8651 | 30.45 | 114.2
25901 | 2021-02-22 11:29 | 66.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3348 | μmol/L | 19.3419 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 118780.8606 | 304683.5523 | 30.45 | 114.2
25911 | 2021-02-22 11:30 | 67.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2558 | μmol/L | 19.3542 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 118781.9541 | 304672.7217 | 30.45 | 114.2
25921 | 2021-02-22 11:30 | 67.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1605 | μmol/L | 19.3603 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 118785.9683 | 304673.7471 | 30.45 | 114.2
25931 | 2021-02-22 11:30 | 67.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1188 | μmol/L | 19.3726 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 118790.7638 | 304665.9181 | 30.45 | 114.2
25941 | 2021-02-22 11:31 | 68.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0749 | μmol/L | 19.3911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.047 | 118774.9963 | 304650.1248 | 30.45 | 114.2
25951 | 2021-02-22 11:31 | 68.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0935 | μmol/L | 19.3911 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.046 | 118766.1048 | 304641.3339 | 30.45 | 114.2
25961 | 2021-02-22 11:31 | 68.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0355 | μmol/L | 19.3972 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.047 | 118753.7312 | 304634.8026 | 30.45 | 114.2
25971 | 2021-02-22 11:32 | 69.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9589 | μmol/L | 19.4034 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.049 | 118750.1466 | 304626.8261 | 30.45 | 114.2
25981 | 2021-02-22 11:32 | 69.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9685 | μmol/L | 19.4279 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.04 | 118708.2457 | 304627.257 | 30.45 | 114.2
25991 | 2021-02-22 11:32 | 69.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9314 | μmol/L | 19.4279 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.042 | 118724.4972 | 304612.7776 | 30.45 | 114.2
26001 | 2021-02-22 11:33 | 70.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.5533 | μmol/L | 19.4464 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.056 | 118787.5338 | 304617.4285 | 30.45 | 114.2
26011 | 2021-02-22 11:33 | 70.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.5118 | μmol/L | 19.4587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.054 | 118784.8181 | 304606.2679 | 30.45 | 114.2
26021 | 2021-02-22 11:33 | 70.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.4005 | μmol/L | 19.4587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 118815.5455 | 304613.7468 | 30.45 | 114.2
26031 | 2021-02-22 11:34 | 71.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.3613 | μmol/L | 19.4648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 118854.6916 | 304599.0294 | 30.45 | 114.2
26041 | 2021-02-22 11:34 | 71.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1575 | μmol/L | 19.4648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.071 | 118898.6526 | 304581.7236 | 30.45 | 114.2
26051 | 2021-02-22 11:34 | 71.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.079 | μmol/L | 19.4771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.071 | 118889.1725 | 304581.9894 | 30.45 | 114.2
26061 | 2021-02-22 11:35 | 72.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0561 | μmol/L | 19.4894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.068 | 118871.496 | 304580.8245 | 30.45 | 114.2
26071 | 2021-02-22 11:35 | 72.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1138 | μmol/L | 19.4832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.067 | 118843.394 | 304564.139 | 30.45 | 114.2
26081 | 2021-02-22 11:35 | 72.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1279 | μmol/L | 19.4955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.062 | 118824.0182 | 304564.9 | 30.45 | 114.2
26091 | 2021-02-22 11:36 | 73.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0658 | μmol/L | 19.514 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.059 | 118805.0574 | 304546.72 | 30.45 | 114.2
26101 | 2021-02-22 11:36 | 73.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.105 | μmol/L | 19.5078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.059 | 118800.0733 | 304537.3896 | 30.45 | 114.2
26111 | 2021-02-22 11:36 | 73.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.2161 | μmol/L | 19.5078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 118769.7169 | 304545.8266 | 30.45 | 114.2
26121 | 2021-02-22 11:37 | 74.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0614 | μmol/L | 19.5263 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.055 | 118754.2066 | 304518.957 | 30.45 | 114.2
26131 | 2021-02-22 11:37 | 74.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1932 | μmol/L | 19.5201 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.05 | 118730.5136 | 304527.5795 | 30.45 | 114.2
26141 | 2021-02-22 11:37 | 74.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.1562 | μmol/L | 19.5201 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 118726.7128 | 304519.7517 | 30.45 | 114.2
26151 | 2021-02-22 11:38 | 75.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.0592 | μmol/L | 19.5324 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 118727.0445 | 304516.5231 | 30.45 | 114.2
26161 | 2021-02-22 11:38 | 75.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9275 | μmol/L | 19.5385 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.058 | 118744.6174 | 304526.4852 | 30.45 | 114.2
26171 | 2021-02-22 11:38 | 75.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9482 | μmol/L | 19.5324 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.059 | 118766.8837 | 304515.5108 | 30.45 | 114.2
26181 | 2021-02-22 11:39 | 76.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9667 | μmol/L | 19.5324 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.058 | 118762.4114 | 304494.2536 | 30.45 | 114.2
26191 | 2021-02-22 11:39 | 76.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9025 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.053 | 118742.8949 | 304483.1483 | 30.45 | 114.2
26201 | 2021-02-22 11:39 | 76.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9438 | μmol/L | 19.5447 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.055 | 118729.6355 | 304491.963 | 30.45 | 114.2
26211 | 2021-02-22 11:40 | 77.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9253 | μmol/L | 19.5447 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.056 | 118735.7163 | 304485.0314 | 30.45 | 114.2
26221 | 2021-02-22 11:40 | 77.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9993 | μmol/L | 19.5447 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 118722.3137 | 304468.1594 | 30.45 | 114.2
26231 | 2021-02-22 11:40 | 77.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9047 | μmol/L | 19.5508 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.055 | 118723.7898 | 304479.7032 | 30.45 | 114.2
26241 | 2021-02-22 11:41 | 78.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.8078 | μmol/L | 19.5631 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.056 | 118715.5704 | 304467.5407 | 30.45 | 114.2
26251 | 2021-02-22 11:41 | 78.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.8818 | μmol/L | 19.5631 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 118714.2892 | 304462.6693 | 30.45 | 114.2
26261 | 2021-02-22 11:41 | 78.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.921 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.052 | 118705.0488 | 304458.7594 | 30.45 | 114.2
26271 | 2021-02-22 11:42 | 79.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9231 | μmol/L | 19.5508 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.054 | 118700.495 | 304446.8442 | 30.45 | 114.2
26281 | 2021-02-22 11:42 | 79.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9395 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 118693.4025 | 304443.029 | 30.45 | 114.2
26291 | 2021-02-22 11:42 | 79.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.884 | μmol/L | 19.557 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.054 | 118698.3587 | 304442.1165 | 30.45 | 114.2
26301 | 2021-02-22 11:43 | 80.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.9003 | μmol/L | 19.5631 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.051 | 118691.0202 | 304439.3334 | 30.45 | 114.2
26311 | 2021-02-22 11:43 | 80.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 216.7709 | μmol/L | 19.5631 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.058 | 118691.8895 | 304432.8848 | 30.45 | 114.2