## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26324 | 2021-02-22 12:43 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2474 | μmol/L | 19.2375 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.758 | 122733.752 | 304145.1026 | 30.45 | 114.2
26334 | 2021-02-22 12:43 | 0.32571 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.3621 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.76 | 122746.5113 | 304146.6704 | 30.45 | 114.2
26344 | 2021-02-22 12:44 | 0.65956 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2726 | μmol/L | 19.219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.763 | 122753.5413 | 304151.8016 | 30.45 | 114.2
26354 | 2021-02-22 12:44 | 0.99279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.2405 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.767 | 122757.1199 | 304158.007 | 30.45 | 114.2
26364 | 2021-02-22 12:44 | 1.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.0763 | μmol/L | 19.2313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.77 | 122771.9632 | 304132.8059 | 30.45 | 114.2
26374 | 2021-02-22 12:45 | 1.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.9774 | μmol/L | 19.219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.78 | 122799.9559 | 304158.1474 | 30.45 | 114.2
26384 | 2021-02-22 12:45 | 1.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 206.1094 | μmol/L | 19.1945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.781 | 122832.4478 | 304125.8015 | 30.45 | 114.2
26394 | 2021-02-22 12:45 | 2.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.7694 | μmol/L | 19.219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.792 | 122872.8394 | 304122.8915 | 30.45 | 114.2
26404 | 2021-02-22 12:46 | 2.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5537 | μmol/L | 19.2375 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.798 | 122920.0514 | 304123.2618 | 30.45 | 114.2
26414 | 2021-02-22 12:46 | 2.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.5642 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.806 | 122959.6066 | 304116.8337 | 30.45 | 114.2
26424 | 2021-02-22 12:46 | 3.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.3766 | μmol/L | 19.2067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.819 | 123016.4551 | 304107.0395 | 30.45 | 114.2
26434 | 2021-02-22 12:47 | 3.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.1839 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.828 | 123055.2025 | 304108.9136 | 30.45 | 114.2
26444 | 2021-02-22 12:47 | 3.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0113 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.838 | 123099.2089 | 304112.4941 | 30.45 | 114.2
26454 | 2021-02-22 12:47 | 4.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0883 | μmol/L | 19.1945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.84 | 123115.7239 | 304095.5573 | 30.45 | 114.2
26464 | 2021-02-22 12:48 | 4.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9105 | μmol/L | 19.2067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.846 | 123143.5256 | 304090.9586 | 30.45 | 114.2
26474 | 2021-02-22 12:48 | 4.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 205.0816 | μmol/L | 19.1699 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.849 | 123172.7704 | 304087.7001 | 30.45 | 114.2
26484 | 2021-02-22 12:48 | 5.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.9237 | μmol/L | 19.176 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.856 | 123196.6813 | 304082.0088 | 30.45 | 114.2
26494 | 2021-02-22 12:49 | 5.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.6746 | μmol/L | 19.1945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.864 | 123232.231 | 304073.2143 | 30.45 | 114.2
26504 | 2021-02-22 12:49 | 5.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.7097 | μmol/L | 19.1822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.866 | 123261.4513 | 304074.0657 | 30.45 | 114.2
26514 | 2021-02-22 12:49 | 6.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.629 | μmol/L | 19.1699 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.875 | 123294.0283 | 304074.5912 | 30.45 | 114.2
26524 | 2021-02-22 12:50 | 6.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5456 | μmol/L | 19.1637 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.882 | 123323.906 | 304066.8922 | 30.45 | 114.2
26534 | 2021-02-22 12:50 | 6.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5999 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.881 | 123349.5441 | 304069.3967 | 30.45 | 114.2
26544 | 2021-02-22 12:50 | 7.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5139 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.886 | 123349.9412 | 304069.0933 | 30.45 | 114.2
26554 | 2021-02-22 12:51 | 7.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5139 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.886 | 123342.4617 | 304054.6282 | 30.45 | 114.2
26564 | 2021-02-22 12:51 | 7.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.4452 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 123341.8683 | 304049.0336 | 30.45 | 114.2
26574 | 2021-02-22 12:51 | 8.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5112 | μmol/L | 19.1637 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.884 | 123338.0319 | 304044.2259 | 30.45 | 114.2
26584 | 2021-02-22 12:52 | 8.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5483 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.884 | 123331.6175 | 304047.6346 | 30.45 | 114.2
26594 | 2021-02-22 12:52 | 8.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.551 | μmol/L | 19.1514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.886 | 123325.5262 | 304038.1091 | 30.45 | 114.2
26604 | 2021-02-22 12:52 | 9.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.4795 | μmol/L | 19.1576 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.888 | 123326.7813 | 304050.0901 | 30.45 | 114.2
26614 | 2021-02-22 12:53 | 9.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.5338 | μmol/L | 19.1514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.887 | 123329.867 | 304036.0521 | 30.45 | 114.2
26624 | 2021-02-22 12:53 | 9.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.4822 | μmol/L | 19.1514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.89 | 123354.939 | 304038.0759 | 30.45 | 114.2
26634 | 2021-02-22 12:53 | 10.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.3474 | μmol/L | 19.1453 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.9 | 123375.3642 | 304027.196 | 30.45 | 114.2
26644 | 2021-02-22 12:54 | 10.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.3501 | μmol/L | 19.1392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.902 | 123403.9343 | 304031.8114 | 30.45 | 114.2
26654 | 2021-02-22 12:54 | 10.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2814 | μmol/L | 19.1392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.906 | 123419.1481 | 304022.8326 | 30.45 | 114.2
26664 | 2021-02-22 12:54 | 11.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.2155 | μmol/L | 19.133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.912 | 123470.958 | 304030.5954 | 30.45 | 114.2
26674 | 2021-02-22 12:55 | 11.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 204.0096 | μmol/L | 19.133 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.924 | 123517.4549 | 304021.4674 | 30.45 | 114.2
26684 | 2021-02-22 12:55 | 11.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.9095 | μmol/L | 19.1269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.932 | 123550.9205 | 304008.3666 | 30.45 | 114.2
26694 | 2021-02-22 12:55 | 12.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.841 | μmol/L | 19.1269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.936 | 123590.1382 | 304008.9998 | 30.45 | 114.2
26704 | 2021-02-22 12:56 | 12.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.7212 | μmol/L | 19.1269 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.943 | 123629.1659 | 303995.4249 | 30.45 | 114.2
26714 | 2021-02-22 12:56 | 12.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.6041 | μmol/L | 19.1207 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.952 | 123674.339 | 304015.3887 | 30.45 | 114.2
26724 | 2021-02-22 12:56 | 13.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4701 | μmol/L | 19.1146 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.962 | 123711.3011 | 304001.2057 | 30.45 | 114.2
26734 | 2021-02-22 12:57 | 13.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.4188 | μmol/L | 19.1146 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.965 | 123744.1178 | 303979.8556 | 30.45 | 114.2
26744 | 2021-02-22 12:57 | 13.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.3362 | μmol/L | 19.1084 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.972 | 123776.4759 | 303993.4655 | 30.45 | 114.2
26754 | 2021-02-22 12:57 | 14.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.231 | μmol/L | 19.1146 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.976 | 123814.6846 | 303981.8436 | 30.45 | 114.2
26764 | 2021-02-22 12:58 | 14.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 203.1881 | μmol/L | 19.0962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.985 | 123852.9058 | 303981.5802 | 30.45 | 114.2
26774 | 2021-02-22 12:58 | 14.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9808 | μmol/L | 19.1023 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.995 | 123878.8181 | 303993.2434 | 30.45 | 114.2
26784 | 2021-02-22 12:58 | 15.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.9494 | μmol/L | 19.0962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 23.999 | 123923.6504 | 303985.9624 | 30.45 | 114.2
26794 | 2021-02-22 12:59 | 15.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.8767 | μmol/L | 19.0962 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.003 | 123942.284 | 303975.1245 | 30.45 | 114.2
26804 | 2021-02-22 12:59 | 15.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.7773 | μmol/L | 19.09 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.011 | 123972.0079 | 303982.6583 | 30.45 | 114.2
26814 | 2021-02-22 12:59 | 16.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6215 | μmol/L | 19.0962 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.018 | 123997.9093 | 303982.0337 | 30.45 | 114.2
26824 | 2021-02-22 13:00 | 16.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.6583 | μmol/L | 19.09 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.018 | 124025.7148 | 303983.7614 | 30.45 | 114.2
26834 | 2021-02-22 13:00 | 16.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.61 | μmol/L | 19.0839 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.023 | 124043.9172 | 303964.0354 | 30.45 | 114.2
26844 | 2021-02-22 13:00 | 17.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5958 | μmol/L | 19.0777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.026 | 124073.9608 | 303971.2877 | 30.45 | 114.2
26854 | 2021-02-22 13:01 | 17.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.5278 | μmol/L | 19.0777 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.03 | 124100.8693 | 303965.3691 | 30.45 | 114.2
26864 | 2021-02-22 13:01 | 17.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.4626 | μmol/L | 19.0716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.036 | 124116.2133 | 303964.5892 | 30.45 | 114.2
26874 | 2021-02-22 13:01 | 18.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3947 | μmol/L | 19.0716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.04 | 124129.5688 | 303950.0899 | 30.45 | 114.2
26884 | 2021-02-22 13:02 | 18.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3975 | μmol/L | 19.0654 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.042 | 124151.006 | 303961.6042 | 30.45 | 114.2
26894 | 2021-02-22 13:02 | 18.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3099 | μmol/L | 19.0716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.045 | 124163.2749 | 303959.5581 | 30.45 | 114.2
26904 | 2021-02-22 13:02 | 19.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2251 | μmol/L | 19.0716 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.05 | 124169.443 | 303950.1659 | 30.45 | 114.2
26914 | 2021-02-22 13:03 | 19.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3154 | μmol/L | 19.0593 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.049 | 124176.8431 | 303952.5645 | 30.45 | 114.2
26924 | 2021-02-22 13:03 | 19.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.3379 | μmol/L | 19.047 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.052 | 124181.0394 | 303941.9547 | 30.45 | 114.2
26934 | 2021-02-22 13:03 | 20.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2673 | μmol/L | 19.0531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.054 | 124189.5902 | 303931.6005 | 30.45 | 114.2
26944 | 2021-02-22 13:04 | 20.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1995 | μmol/L | 19.0531 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.058 | 124200.8409 | 303943.6359 | 30.45 | 114.2
26954 | 2021-02-22 13:04 | 20.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2192 | μmol/L | 19.047 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.059 | 124216.3599 | 303939.4018 | 30.45 | 114.2
26964 | 2021-02-22 13:04 | 21.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.222 | μmol/L | 19.0409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.061 | 124232.3772 | 303941.3827 | 30.45 | 114.2
26974 | 2021-02-22 13:05 | 21.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1203 | μmol/L | 19.0409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.067 | 124242.2456 | 303930.7937 | 30.45 | 114.2
26984 | 2021-02-22 13:05 | 21.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.1203 | μmol/L | 19.0409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.067 | 124265.7423 | 303925.7385 | 30.45 | 114.2
26994 | 2021-02-22 13:05 | 22.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.0695 | μmol/L | 19.0409 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.07 | 124283.4335 | 303926.0439 | 30.45 | 114.2
27004 | 2021-02-22 13:06 | 22.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9876 | μmol/L | 19.0347 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.077 | 124293.2961 | 303925.5024 | 30.45 | 114.2
27014 | 2021-02-22 13:06 | 22.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9706 | μmol/L | 19.0347 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.078 | 124312.8728 | 303929.2484 | 30.45 | 114.2
27024 | 2021-02-22 13:06 | 23.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.9057 | μmol/L | 19.0286 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.084 | 124336.0694 | 303933.7451 | 30.45 | 114.2
27034 | 2021-02-22 13:07 | 23.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8916 | μmol/L | 19.0224 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.087 | 124367.7996 | 303917.9199 | 30.45 | 114.2
27044 | 2021-02-22 13:07 | 23.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8578 | μmol/L | 19.0224 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.089 | 124392.7203 | 303922.3747 | 30.45 | 114.2
27054 | 2021-02-22 13:07 | 24.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6915 | μmol/L | 19.0163 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.101 | 124422.3404 | 303903.4383 | 30.45 | 114.2
27064 | 2021-02-22 13:08 | 24.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6774 | μmol/L | 19.0101 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.104 | 124451.1234 | 303913.5536 | 30.45 | 114.2
27074 | 2021-02-22 13:08 | 24.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.6098 | μmol/L | 19.0101 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.108 | 124487.1972 | 303901.3866 | 30.45 | 114.2
27084 | 2021-02-22 13:08 | 25.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.4578 | μmol/L | 19.0101 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.117 | 124517.937 | 303911.3971 | 30.45 | 114.2
27094 | 2021-02-22 13:09 | 25.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.4044 | μmol/L | 19.0163 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.118 | 124547.6001 | 303907.0238 | 30.45 | 114.2
27104 | 2021-02-22 13:09 | 25.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.3566 | μmol/L | 19.0101 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.123 | 124563.4488 | 303904.0229 | 30.45 | 114.2
27114 | 2021-02-22 13:09 | 26.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.2431 | μmol/L | 19.0101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.13 | 124590.9049 | 303893.0311 | 30.45 | 114.2
27124 | 2021-02-22 13:10 | 26.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.2122 | μmol/L | 19.004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.134 | 124619.1659 | 303898.0878 | 30.45 | 114.2
27134 | 2021-02-22 13:10 | 26.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.1448 | μmol/L | 19.004 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.138 | 124646.8488 | 303895.2033 | 30.45 | 114.2
27144 | 2021-02-22 13:10 | 27.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0971 | μmol/L | 18.9979 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.143 | 124675.0026 | 303901.2132 | 30.45 | 114.2
27154 | 2021-02-22 13:11 | 27.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0158 | μmol/L | 18.9917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.15 | 124704.4871 | 303894.937 | 30.45 | 114.2
27164 | 2021-02-22 13:11 | 27.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.9681 | μmol/L | 18.9856 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.155 | 124734.3291 | 303887.334 | 30.45 | 114.2
27174 | 2021-02-22 13:11 | 28.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8139 | μmol/L | 18.9917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.162 | 124752.0748 | 303880.3378 | 30.45 | 114.2
27184 | 2021-02-22 13:12 | 28.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.8532 | μmol/L | 18.9794 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.164 | 124781.5932 | 303872.7938 | 30.45 | 114.2
27194 | 2021-02-22 13:12 | 28.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.6459 | μmol/L | 18.9917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.172 | 124814.5208 | 303872.2879 | 30.45 | 114.2
27204 | 2021-02-22 13:12 | 29.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.6348 | μmol/L | 18.9794 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.177 | 124858.785 | 303868.879 | 30.45 | 114.2
27214 | 2021-02-22 13:13 | 29.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.5369 | μmol/L | 18.9733 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.185 | 124902.0857 | 303868.6773 | 30.45 | 114.2
27224 | 2021-02-22 13:13 | 29.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.4726 | μmol/L | 18.9671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.191 | 124930.8276 | 303871.9374 | 30.45 | 114.2
27234 | 2021-02-22 13:13 | 30.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.3189 | μmol/L | 18.9733 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.198 | 124954.9848 | 303865.1861 | 30.45 | 114.2
27244 | 2021-02-22 13:14 | 30.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.2379 | μmol/L | 18.9671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.205 | 124982.9697 | 303846.2629 | 30.45 | 114.2
27254 | 2021-02-22 13:14 | 30.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.2044 | μmol/L | 18.9671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.207 | 125013.2371 | 303866.3958 | 30.45 | 114.2
27264 | 2021-02-22 13:14 | 31.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.1375 | μmol/L | 18.9671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.211 | 125035.806 | 303856.0054 | 30.45 | 114.2
27274 | 2021-02-22 13:15 | 31.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.0872 | μmol/L | 18.9671 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.214 | 125069.2033 | 303853.4325 | 30.45 | 114.2
27284 | 2021-02-22 13:15 | 31.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.9591 | μmol/L | 18.9548 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.226 | 125102.6805 | 303862.4667 | 30.45 | 114.2
27294 | 2021-02-22 13:15 | 32.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.8784 | μmol/L | 18.9487 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.233 | 125146.8372 | 303862.7831 | 30.45 | 114.2
27304 | 2021-02-22 13:16 | 32.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.7781 | μmol/L | 18.9487 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.239 | 125176.3441 | 303849.2825 | 30.45 | 114.2
27314 | 2021-02-22 13:16 | 32.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6946 | μmol/L | 18.9487 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.244 | 125209.1208 | 303855.114 | 30.45 | 114.2
27324 | 2021-02-22 13:16 | 33.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6083 | μmol/L | 18.9548 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.247 | 125237.3966 | 303838.4906 | 30.45 | 114.2
27334 | 2021-02-22 13:17 | 33.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.6503 | μmol/L | 18.9364 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.251 | 125253.6956 | 303842.9191 | 30.45 | 114.2
27344 | 2021-02-22 13:17 | 33.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.5473 | μmol/L | 18.9426 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.255 | 125283.2169 | 303849.0703 | 30.45 | 114.2
27354 | 2021-02-22 13:17 | 34.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.4168 | μmol/L | 18.9364 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.265 | 125300.7279 | 303845.3014 | 30.45 | 114.2
27364 | 2021-02-22 13:18 | 34.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.4139 | μmol/L | 18.9426 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.263 | 125322.9637 | 303844.6227 | 30.45 | 114.2
27374 | 2021-02-22 13:18 | 34.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.4726 | μmol/L | 18.9241 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.266 | 125338.874 | 303846.9783 | 30.45 | 114.2
27384 | 2021-02-22 13:18 | 35.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2669 | μmol/L | 18.9364 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.274 | 125354.3131 | 303843.4715 | 30.45 | 114.2
27394 | 2021-02-22 13:19 | 35.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2864 | μmol/L | 18.9303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.275 | 125365.7033 | 303844.3489 | 30.45 | 114.2
27404 | 2021-02-22 13:19 | 35.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2922 | μmol/L | 18.918 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.279 | 125390.5271 | 303846.1276 | 30.45 | 114.2
27414 | 2021-02-22 13:19 | 36.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.2118 | μmol/L | 18.9118 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.286 | 125418.4079 | 303839.8356 | 30.45 | 114.2
27424 | 2021-02-22 13:20 | 36.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.1757 | μmol/L | 18.918 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.286 | 125438.3299 | 303812.7147 | 30.45 | 114.2
27434 | 2021-02-22 13:20 | 36.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0758 | μmol/L | 18.918 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.292 | 125460.3142 | 303828.0256 | 30.45 | 114.2
27444 | 2021-02-22 13:20 | 37.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0455 | μmol/L | 18.9118 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.296 | 125481.7326 | 303816.6557 | 30.45 | 114.2
27454 | 2021-02-22 13:21 | 37.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0317 | μmol/L | 18.9057 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.299 | 125502.2741 | 303842.9787 | 30.45 | 114.2
27464 | 2021-02-22 13:21 | 37.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0317 | μmol/L | 18.9057 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.299 | 125519.1635 | 303836.4112 | 30.45 | 114.2
27474 | 2021-02-22 13:21 | 38.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0014 | μmol/L | 18.8996 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.303 | 125544.7295 | 303815.7039 | 30.45 | 114.2
27484 | 2021-02-22 13:22 | 38.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.0043 | μmol/L | 18.8934 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.305 | 125553.8257 | 303828.0771 | 30.45 | 114.2
27494 | 2021-02-22 13:22 | 38.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.8714 | μmol/L | 18.8934 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.313 | 125567.3709 | 303806.4884 | 30.45 | 114.2
27504 | 2021-02-22 13:22 | 39.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.9408 | μmol/L | 18.8873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.311 | 125585.3754 | 303818.75 | 30.45 | 114.2
27514 | 2021-02-22 13:23 | 39.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.8245 | μmol/L | 18.8873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.318 | 125599.6229 | 303805.9763 | 30.45 | 114.2
27524 | 2021-02-22 13:23 | 39.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.7747 | μmol/L | 18.8873 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.321 | 125621.5963 | 303813.4606 | 30.45 | 114.2
27534 | 2021-02-22 13:23 | 40.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.639 | μmol/L | 18.8934 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.327 | 125649.2191 | 303802.2484 | 30.45 | 114.2
27544 | 2021-02-22 13:24 | 40.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.6946 | μmol/L | 18.8811 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.328 | 125674.9143 | 303811.062 | 30.45 | 114.2
27554 | 2021-02-22 13:24 | 40.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5951 | μmol/L | 18.8811 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.334 | 125701.442 | 303807.3212 | 30.45 | 114.2
27564 | 2021-02-22 13:24 | 41.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4625 | μmol/L | 18.8811 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.342 | 125729.6545 | 303787.1866 | 30.45 | 114.2
27574 | 2021-02-22 13:25 | 41.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4654 | μmol/L | 18.875 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.344 | 125767.1345 | 303791.0264 | 30.45 | 114.2
27584 | 2021-02-22 13:25 | 41.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2998 | μmol/L | 18.875 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.354 | 125798.6547 | 303802.6771 | 30.45 | 114.2
27594 | 2021-02-22 13:25 | 42.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2726 | μmol/L | 18.8627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.36 | 125833.2353 | 303796.0585 | 30.45 | 114.2
27604 | 2021-02-22 13:26 | 42.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2064 | μmol/L | 18.8627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.364 | 125857.2169 | 303794.4294 | 30.45 | 114.2
27614 | 2021-02-22 13:26 | 42.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1597 | μmol/L | 18.8565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.369 | 125897.8752 | 303794.4895 | 30.45 | 114.2
27624 | 2021-02-22 13:26 | 43.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0741 | μmol/L | 18.8627 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.372 | 125926.5131 | 303795.3194 | 30.45 | 114.2
27634 | 2021-02-22 13:27 | 43.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9449 | μmol/L | 18.8565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.382 | 125955.607 | 303805.9608 | 30.45 | 114.2
27644 | 2021-02-22 13:27 | 43.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8818 | μmol/L | 18.8504 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.388 | 125970.5099 | 303793.0416 | 30.45 | 114.2
27654 | 2021-02-22 13:27 | 44.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8488 | μmol/L | 18.8504 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126001.2545 | 303789.8044 | 30.45 | 114.2
27664 | 2021-02-22 13:28 | 44.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7333 | μmol/L | 18.8504 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.397 | 126023.1529 | 303783.9811 | 30.45 | 114.2
27674 | 2021-02-22 13:28 | 44.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7527 | μmol/L | 18.8443 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.398 | 126031.9095 | 303791.4459 | 30.45 | 114.2
27684 | 2021-02-22 13:28 | 45.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7557 | μmol/L | 18.8381 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.4 | 126057.2071 | 303801.3733 | 30.45 | 114.2
27694 | 2021-02-22 13:29 | 45.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7227 | μmol/L | 18.8381 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.402 | 126066.5726 | 303783.6442 | 30.45 | 114.2
27704 | 2021-02-22 13:29 | 45.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6402 | μmol/L | 18.8381 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.407 | 126078.7385 | 303793.657 | 30.45 | 114.2
27714 | 2021-02-22 13:29 | 46.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.6927 | μmol/L | 18.832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.406 | 126109.3855 | 303794.9549 | 30.45 | 114.2
27724 | 2021-02-22 13:30 | 46.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5938 | μmol/L | 18.832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.412 | 126114.1909 | 303792.8879 | 30.45 | 114.2
27734 | 2021-02-22 13:30 | 46.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5279 | μmol/L | 18.832 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.416 | 126126.9148 | 303789.0486 | 30.45 | 114.2
27744 | 2021-02-22 13:30 | 47.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5967 | μmol/L | 18.8258 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.414 | 126151.3949 | 303790.2356 | 30.45 | 114.2
27754 | 2021-02-22 13:31 | 47.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.465 | μmol/L | 18.8258 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.422 | 126158.3863 | 303785.2067 | 30.45 | 114.2
27764 | 2021-02-22 13:31 | 47.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4844 | μmol/L | 18.8197 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.423 | 126181.3179 | 303800.5276 | 30.45 | 114.2
27774 | 2021-02-22 13:31 | 48.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4215 | μmol/L | 18.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.429 | 126193.89 | 303789.6808 | 30.45 | 114.2
27784 | 2021-02-22 13:32 | 48.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4739 | μmol/L | 18.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.428 | 126198.1074 | 303781.6079 | 30.45 | 114.2
27794 | 2021-02-22 13:32 | 48.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4051 | μmol/L | 18.8135 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.43 | 126207.1706 | 303777.9562 | 30.45 | 114.2
27804 | 2021-02-22 13:32 | 49.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.441 | μmol/L | 18.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.43 | 126223.8589 | 303788.729 | 30.45 | 114.2
27814 | 2021-02-22 13:33 | 49.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3587 | μmol/L | 18.8074 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.435 | 126229.1101 | 303776.5546 | 30.45 | 114.2
27824 | 2021-02-22 13:33 | 49.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3946 | μmol/L | 18.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.435 | 126240.3457 | 303774.0177 | 30.45 | 114.2
27834 | 2021-02-22 13:33 | 50.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3617 | μmol/L | 18.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.437 | 126257.2853 | 303784.6347 | 30.45 | 114.2
27844 | 2021-02-22 13:34 | 50.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3153 | μmol/L | 18.7951 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.442 | 126261.7317 | 303780.597 | 30.45 | 114.2
27854 | 2021-02-22 13:34 | 50.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3317 | μmol/L | 18.7951 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 126262.0709 | 303779.7765 | 30.45 | 114.2
27864 | 2021-02-22 13:34 | 51.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3317 | μmol/L | 18.7951 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 126275.5427 | 303771.7188 | 30.45 | 114.2
27874 | 2021-02-22 13:35 | 51.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3183 | μmol/L | 18.789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.444 | 126280.5232 | 303770.1253 | 30.45 | 114.2
27884 | 2021-02-22 13:35 | 51.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3377 | μmol/L | 18.7828 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.445 | 126285.9729 | 303773.6184 | 30.45 | 114.2
27894 | 2021-02-22 13:35 | 52.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3213 | μmol/L | 18.7828 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.446 | 126303.3264 | 303780.262 | 30.45 | 114.2
27904 | 2021-02-22 13:36 | 52.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2525 | μmol/L | 18.789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.448 | 126299.3792 | 303782.3066 | 30.45 | 114.2
27914 | 2021-02-22 13:36 | 52.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.239 | μmol/L | 18.7828 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.451 | 126292.2475 | 303773.9236 | 30.45 | 114.2
27924 | 2021-02-22 13:36 | 53.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2749 | μmol/L | 18.7767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.451 | 126297.086 | 303763.2668 | 30.45 | 114.2
27934 | 2021-02-22 13:37 | 53.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3796 | μmol/L | 18.7644 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.449 | 126311.4427 | 303771.7271 | 30.45 | 114.2
27944 | 2021-02-22 13:37 | 53.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3467 | μmol/L | 18.7644 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.451 | 126314.1236 | 303771.7496 | 30.45 | 114.2
27954 | 2021-02-22 13:37 | 54.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1927 | μmol/L | 18.7767 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.456 | 126322.5977 | 303777.7933 | 30.45 | 114.2
27964 | 2021-02-22 13:38 | 54.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1629 | μmol/L | 18.7705 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.46 | 126341.7956 | 303777.0765 | 30.45 | 114.2
27974 | 2021-02-22 13:38 | 54.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1987 | μmol/L | 18.7644 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.46 | 126369.067 | 303770.5111 | 30.45 | 114.2
27984 | 2021-02-22 13:38 | 55.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1032 | μmol/L | 18.7583 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.468 | 126377.0648 | 303772.3148 | 30.45 | 114.2
27994 | 2021-02-22 13:39 | 55.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1883 | μmol/L | 18.7521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.465 | 126400.9708 | 303768.5197 | 30.45 | 114.2
28004 | 2021-02-22 13:39 | 55.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1062 | μmol/L | 18.7521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.47 | 126405.3188 | 303767.4131 | 30.45 | 114.2
28014 | 2021-02-22 13:39 | 56.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0405 | μmol/L | 18.7521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.474 | 126418.0883 | 303770.8709 | 30.45 | 114.2
28024 | 2021-02-22 13:40 | 56.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0569 | μmol/L | 18.7521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.473 | 126429.5349 | 303760.1894 | 30.45 | 114.2
28034 | 2021-02-22 13:40 | 56.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0107 | μmol/L | 18.746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.478 | 126448.6421 | 303755.6965 | 30.45 | 114.2
28044 | 2021-02-22 13:40 | 57.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0271 | μmol/L | 18.746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.477 | 126456.754 | 303758.2668 | 30.45 | 114.2
28054 | 2021-02-22 13:41 | 57.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9286 | μmol/L | 18.746 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.483 | 126471.7344 | 303764.1777 | 30.45 | 114.2
28064 | 2021-02-22 13:41 | 57.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0137 | μmol/L | 18.7398 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.48 | 126479.4544 | 303772.34 | 30.45 | 114.2
28074 | 2021-02-22 13:41 | 58.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9675 | μmol/L | 18.7337 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.485 | 126500.6954 | 303758.0663 | 30.45 | 114.2
28084 | 2021-02-22 13:42 | 58.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9675 | μmol/L | 18.7337 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.485 | 126502.049 | 303755.7979 | 30.45 | 114.2
28094 | 2021-02-22 13:42 | 58.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9377 | μmol/L | 18.7275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.489 | 126505.2909 | 303763.443 | 30.45 | 114.2
28104 | 2021-02-22 13:42 | 59.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9183 | μmol/L | 18.7337 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.488 | 126524.8171 | 303767.531 | 30.45 | 114.2
28114 | 2021-02-22 13:43 | 59.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8885 | μmol/L | 18.7275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.492 | 126540.5746 | 303772.2988 | 30.45 | 114.2
28124 | 2021-02-22 13:43 | 59.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8229 | μmol/L | 18.7275 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.496 | 126549.4245 | 303754.2451 | 30.45 | 114.2
28134 | 2021-02-22 13:43 | 60.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8126 | μmol/L | 18.7153 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 126570.6327 | 303750.7659 | 30.45 | 114.2
28144 | 2021-02-22 13:44 | 60.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8812 | μmol/L | 18.7091 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 126581.2157 | 303753.069 | 30.45 | 114.2
28154 | 2021-02-22 13:44 | 60.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8514 | μmol/L | 18.703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126592.6245 | 303765.9092 | 30.45 | 114.2
28164 | 2021-02-22 13:44 | 61.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8156 | μmol/L | 18.7091 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126604.0715 | 303749.8995 | 30.45 | 114.2
28174 | 2021-02-22 13:45 | 61.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8678 | μmol/L | 18.703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.502 | 126600.6516 | 303764.1223 | 30.45 | 114.2
28184 | 2021-02-22 13:45 | 61.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9334 | μmol/L | 18.703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.498 | 126581.9594 | 303746.8557 | 30.45 | 114.2
28194 | 2021-02-22 13:45 | 62.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0483 | μmol/L | 18.703 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.491 | 126554.7202 | 303747.9541 | 30.45 | 114.2
28204 | 2021-02-22 13:46 | 62.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1499 | μmol/L | 18.6968 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.487 | 126515.4351 | 303747.8505 | 30.45 | 114.2
28214 | 2021-02-22 13:46 | 62.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2484 | μmol/L | 18.6968 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.481 | 126494.1942 | 303756.3241 | 30.45 | 114.2
28224 | 2021-02-22 13:46 | 63.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9256 | μmol/L | 18.7521 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.481 | 126492.4968 | 303756.3385 | 30.45 | 114.2
28234 | 2021-02-22 13:47 | 63.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6914 | μmol/L | 18.7951 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.48 | 126489.9124 | 303756.1205 | 30.45 | 114.2
28244 | 2021-02-22 13:47 | 63.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.541 | μmol/L | 18.8013 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.487 | 126539.5089 | 303751.4202 | 30.45 | 114.2
28254 | 2021-02-22 13:47 | 64.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4815 | μmol/L | 18.789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.495 | 126599.0269 | 303754.4102 | 30.45 | 114.2
28264 | 2021-02-22 13:48 | 64.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.419 | μmol/L | 18.7828 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 126629.3708 | 303767.2749 | 30.45 | 114.2
28274 | 2021-02-22 13:48 | 64.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4518 | μmol/L | 18.7828 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 126650.2071 | 303752.8458 | 30.45 | 114.2
28284 | 2021-02-22 13:48 | 65.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3016 | μmol/L | 18.789 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 126676.5414 | 303740.8093 | 30.45 | 114.2
28294 | 2021-02-22 13:49 | 65.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2659 | μmol/L | 18.7951 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 126697.3336 | 303745.89 | 30.45 | 114.2
28304 | 2021-02-22 13:49 | 65.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1231 | μmol/L | 18.8197 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.506 | 126700.2469 | 303754.7513 | 30.45 | 114.2
28314 | 2021-02-22 13:49 | 66.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1558 | μmol/L | 18.8197 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.504 | 126709.0412 | 303759.9246 | 30.45 | 114.2
28324 | 2021-02-22 13:50 | 66.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0652 | μmol/L | 18.8381 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126696.4286 | 303754.9352 | 30.45 | 114.2
28334 | 2021-02-22 13:50 | 66.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0725 | μmol/L | 18.8565 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.496 | 126666.9384 | 303754.508 | 30.45 | 114.2
28344 | 2021-02-22 13:50 | 67.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.129 | μmol/L | 18.875 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.486 | 126607.0751 | 303752.117 | 30.45 | 114.2
28354 | 2021-02-22 13:51 | 67.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1527 | μmol/L | 18.8934 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.478 | 126569.2924 | 303751.0745 | 30.45 | 114.2
28364 | 2021-02-22 13:51 | 67.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0295 | μmol/L | 18.9118 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.479 | 126580.3773 | 303747.74 | 30.45 | 114.2
28374 | 2021-02-22 13:51 | 68.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9939 | μmol/L | 18.918 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.479 | 126611.8421 | 303749.5202 | 30.45 | 114.2
28384 | 2021-02-22 13:52 | 68.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8085 | μmol/L | 18.9303 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.486 | 126656.3915 | 303745.1921 | 30.45 | 114.2
28394 | 2021-02-22 13:52 | 68.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5359 | μmol/L | 18.9548 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 126726.4904 | 303747.4433 | 30.45 | 114.2
28404 | 2021-02-22 13:52 | 69.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2474 | μmol/L | 18.9794 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126753.7509 | 303749.8408 | 30.45 | 114.2
28414 | 2021-02-22 13:53 | 69.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1603 | μmol/L | 18.9917 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.504 | 126779.8777 | 303749.6438 | 30.45 | 114.2
28424 | 2021-02-22 13:53 | 69.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1352 | μmol/L | 19.0101 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 126790.1642 | 303737.5695 | 30.45 | 114.2
28434 | 2021-02-22 13:53 | 70.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9286 | μmol/L | 19.0347 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126796.1757 | 303739.8793 | 30.45 | 114.2
28444 | 2021-02-22 13:54 | 70.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8521 | μmol/L | 19.0593 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 126780.3565 | 303740.5443 | 30.45 | 114.2
28454 | 2021-02-22 13:54 | 70.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9246 | μmol/L | 19.0777 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.488 | 126713.1415 | 303734.1552 | 30.45 | 114.2
28464 | 2021-02-22 13:54 | 71.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9646 | μmol/L | 19.0962 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.479 | 126669.2922 | 303727.9358 | 30.45 | 114.2
28474 | 2021-02-22 13:55 | 71.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8423 | μmol/L | 19.1146 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.48 | 126691.1673 | 303732.1018 | 30.45 | 114.2
28484 | 2021-02-22 13:55 | 71.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8958 | μmol/L | 19.1392 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.468 | 126642.4939 | 303732.124 | 30.45 | 114.2
28494 | 2021-02-22 13:55 | 72.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9063 | μmol/L | 19.1514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.463 | 126611.2238 | 303728.9511 | 30.45 | 114.2
28504 | 2021-02-22 13:56 | 72.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9818 | μmol/L | 19.1637 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.454 | 126562.9452 | 303733.2285 | 30.45 | 114.2
28514 | 2021-02-22 13:56 | 72.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9895 | μmol/L | 19.1822 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.447 | 126515.4194 | 303729.4151 | 30.45 | 114.2
28524 | 2021-02-22 13:56 | 73.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.981 | μmol/L | 19.2006 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 126470.6607 | 303702.8037 | 30.45 | 114.2
28534 | 2021-02-22 13:57 | 73.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8779 | μmol/L | 19.2129 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.443 | 126501.5961 | 303728.3755 | 30.45 | 114.2
28544 | 2021-02-22 13:57 | 73.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.716 | μmol/L | 19.2375 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.444 | 126502.8046 | 303733.0101 | 30.45 | 114.2
28554 | 2021-02-22 13:57 | 74.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7103 | μmol/L | 19.2498 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.44 | 126490.1145 | 303727.3658 | 30.45 | 114.2
28564 | 2021-02-22 13:58 | 74.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7254 | μmol/L | 19.262 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.435 | 126454.8375 | 303726.5474 | 30.45 | 114.2
28574 | 2021-02-22 13:58 | 74.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6151 | μmol/L | 19.2805 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.435 | 126449.01 | 303730.9849 | 30.45 | 114.2
28584 | 2021-02-22 13:58 | 75.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6285 | μmol/L | 19.2866 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.432 | 126434.2925 | 303715.9098 | 30.45 | 114.2
28594 | 2021-02-22 13:59 | 75.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6229 | μmol/L | 19.2989 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.428 | 126424.0515 | 303713.7165 | 30.45 | 114.2
28604 | 2021-02-22 13:59 | 75.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.473 | μmol/L | 19.3173 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.431 | 126437.3648 | 303730.9421 | 30.45 | 114.2
28614 | 2021-02-22 13:59 | 76.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4495 | μmol/L | 19.3235 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.43 | 126439.7965 | 303711.5833 | 30.45 | 114.2
28624 | 2021-02-22 14:00 | 76.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3467 | μmol/L | 19.3358 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.432 | 126466.2684 | 303720.6584 | 30.45 | 114.2
28634 | 2021-02-22 14:00 | 76.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2898 | μmol/L | 19.3542 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.429 | 126468.6818 | 303712.1161 | 30.45 | 114.2
28644 | 2021-02-22 14:00 | 77.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2546 | μmol/L | 19.3603 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.429 | 126448.5126 | 303718.5079 | 30.45 | 114.2
28654 | 2021-02-22 14:01 | 77.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2463 | μmol/L | 19.3788 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.423 | 126403.1972 | 303708.459 | 30.45 | 114.2
28664 | 2021-02-22 14:01 | 77.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3569 | μmol/L | 19.3849 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.414 | 126356.4324 | 303705.6583 | 30.45 | 114.2
28674 | 2021-02-22 14:01 | 78.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4353 | μmol/L | 19.3911 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.407 | 126315.1844 | 303702.4554 | 30.45 | 114.2
28684 | 2021-02-22 14:02 | 78.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4325 | μmol/L | 19.3972 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.405 | 126293.6859 | 303702.4713 | 30.45 | 114.2
28694 | 2021-02-22 14:02 | 78.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4135 | μmol/L | 19.4034 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.404 | 126311.5438 | 303711.729 | 30.45 | 114.2
28704 | 2021-02-22 14:02 | 79.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3621 | μmol/L | 19.4095 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.405 | 126297.5078 | 303700.8826 | 30.45 | 114.2
28714 | 2021-02-22 14:03 | 79.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.227 | μmol/L | 19.4218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.409 | 126330.5696 | 303699.3748 | 30.45 | 114.2
28724 | 2021-02-22 14:03 | 79.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1784 | μmol/L | 19.4218 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.412 | 126349.226 | 303693.3758 | 30.45 | 114.2
28734 | 2021-02-22 14:03 | 80.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0757 | μmol/L | 19.4341 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.414 | 126369.8756 | 303697.0394 | 30.45 | 114.2
28744 | 2021-02-22 14:04 | 80.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9921 | μmol/L | 19.4402 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.417 | 126381.498 | 303678.6066 | 30.45 | 114.2
28754 | 2021-02-22 14:04 | 80.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.894 | μmol/L | 19.4525 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.419 | 126401.5677 | 303689.3161 | 30.45 | 114.2
28764 | 2021-02-22 14:04 | 81.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.957 | μmol/L | 19.4464 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.417 | 126393.9598 | 303680.6949 | 30.45 | 114.2
28774 | 2021-02-22 14:05 | 81.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9838 | μmol/L | 19.4587 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.411 | 126368.8151 | 303661.2468 | 30.45 | 114.2
28784 | 2021-02-22 14:05 | 81.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9829 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.407 | 126332.3549 | 303689.6795 | 30.45 | 114.2
28794 | 2021-02-22 14:05 | 82.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0242 | μmol/L | 19.4771 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.402 | 126310.3475 | 303679.8102 | 30.45 | 114.2
28804 | 2021-02-22 14:06 | 82.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0377 | μmol/L | 19.4832 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.399 | 126293.9946 | 303666.7494 | 30.45 | 114.2
28814 | 2021-02-22 14:06 | 82.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.088 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.394 | 126267.9615 | 303666.1278 | 30.45 | 114.2
28824 | 2021-02-22 14:06 | 83.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0295 | μmol/L | 19.5017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126259.4254 | 303666.8495 | 30.45 | 114.2
28834 | 2021-02-22 14:07 | 83.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0295 | μmol/L | 19.5017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126239.2705 | 303656.1954 | 30.45 | 114.2
28844 | 2021-02-22 14:07 | 83.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0619 | μmol/L | 19.5017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.391 | 126252.5169 | 303659.4272 | 30.45 | 114.2
28854 | 2021-02-22 14:07 | 84.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0619 | μmol/L | 19.5017 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.391 | 126247.4403 | 303655.7202 | 30.45 | 114.2
28864 | 2021-02-22 14:08 | 84.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9989 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126250.0816 | 303653.3006 | 30.45 | 114.2
28874 | 2021-02-22 14:08 | 84.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9638 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126245.0147 | 303656.5472 | 30.45 | 114.2
28884 | 2021-02-22 14:08 | 85.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0124 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126235.0527 | 303650.6581 | 30.45 | 114.2
28894 | 2021-02-22 14:09 | 85.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9072 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126229.0226 | 303653.8569 | 30.45 | 114.2
28904 | 2021-02-22 14:09 | 85.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8721 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126221.7797 | 303641.9814 | 30.45 | 114.2
28914 | 2021-02-22 14:09 | 86.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8047 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.392 | 126242.13 | 303644.5454 | 30.45 | 114.2
28924 | 2021-02-22 14:10 | 86.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8209 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.391 | 126230.2529 | 303645.057 | 30.45 | 114.2
28934 | 2021-02-22 14:10 | 86.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8182 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.389 | 126229.3988 | 303636.8589 | 30.45 | 114.2
28944 | 2021-02-22 14:10 | 87.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8182 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.389 | 126229.9421 | 303625.0591 | 30.45 | 114.2
28954 | 2021-02-22 14:11 | 87.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.802 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126219.5234 | 303634.5383 | 30.45 | 114.2
28964 | 2021-02-22 14:11 | 87.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7859 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.391 | 126217.9 | 303627.6322 | 30.45 | 114.2
28974 | 2021-02-22 14:11 | 88.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.802 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126217.8052 | 303635.4655 | 30.45 | 114.2
28984 | 2021-02-22 14:12 | 88.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8155 | μmol/L | 19.557 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.387 | 126213.3733 | 303634.0705 | 30.45 | 114.2
28994 | 2021-02-22 14:12 | 88.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7805 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.387 | 126216.0039 | 303630.2623 | 30.45 | 114.2
29004 | 2021-02-22 14:12 | 89.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.732 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126221.8691 | 303620.6247 | 30.45 | 114.2
29014 | 2021-02-22 14:13 | 89.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.697 | μmol/L | 19.5693 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.39 | 126234.6143 | 303627.8197 | 30.45 | 114.2
29024 | 2021-02-22 14:13 | 89.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6458 | μmol/L | 19.5754 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.391 | 126236.3691 | 303596.7781 | 30.45 | 114.2
29034 | 2021-02-22 14:13 | 90.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5946 | μmol/L | 19.5816 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.392 | 126231.9219 | 303608.1276 | 30.45 | 114.2
29044 | 2021-02-22 14:14 | 90.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6835 | μmol/L | 19.5631 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126234.5129 | 303613.5526 | 30.45 | 114.2
29054 | 2021-02-22 14:14 | 90.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8425 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.394 | 126245.5682 | 303604.7394 | 30.45 | 114.2
29064 | 2021-02-22 14:14 | 91.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9989 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126236.354 | 303606.9645 | 30.45 | 114.2
29074 | 2021-02-22 14:15 | 91.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0151 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.392 | 126240.445 | 303599.6022 | 30.45 | 114.2
29084 | 2021-02-22 14:15 | 91.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8586 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126243.9856 | 303604.3824 | 30.45 | 114.2
29094 | 2021-02-22 14:15 | 92.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7535 | μmol/L | 19.5508 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.393 | 126248.9581 | 303587.3309 | 30.45 | 114.2
29104 | 2021-02-22 14:16 | 92.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7401 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.396 | 126253.615 | 303590.736 | 30.45 | 114.2
29114 | 2021-02-22 14:16 | 92.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7589 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.397 | 126273.1029 | 303595.6616 | 30.45 | 114.2
29124 | 2021-02-22 14:16 | 93.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6592 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.401 | 126279.02 | 303584.5884 | 30.45 | 114.2
29134 | 2021-02-22 14:17 | 93.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6108 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.404 | 126298.6389 | 303583.0743 | 30.45 | 114.2
29144 | 2021-02-22 14:17 | 93.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5901 | μmol/L | 19.5447 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.405 | 126304.843 | 303597.2802 | 30.45 | 114.2
29154 | 2021-02-22 14:17 | 94.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8587 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.406 | 126310.4427 | 303582.9839 | 30.45 | 114.2
29164 | 2021-02-22 14:18 | 94.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.662 | μmol/L | 19.5385 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.403 | 126306.5234 | 303576.191 | 30.45 | 114.2
29174 | 2021-02-22 14:18 | 94.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8731 | μmol/L | 19.4894 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.407 | 126306.4342 | 303582.5092 | 30.45 | 114.2
29184 | 2021-02-22 14:18 | 95.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8587 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.406 | 126316.5713 | 303576.246 | 30.45 | 114.2
29194 | 2021-02-22 14:19 | 95.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7267 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.412 | 126329.651 | 303566.4602 | 30.45 | 114.2
29204 | 2021-02-22 14:19 | 95.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6109 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.417 | 126339.3155 | 303586.3248 | 30.45 | 114.2
29214 | 2021-02-22 14:19 | 96.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6432 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.415 | 126347.3756 | 303564.6754 | 30.45 | 114.2
29224 | 2021-02-22 14:20 | 96.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6387 | μmol/L | 19.5078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.415 | 126348.6853 | 303566.8189 | 30.45 | 114.2
29234 | 2021-02-22 14:20 | 96.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.592 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.416 | 126360.3305 | 303565.1374 | 30.45 | 114.2
29244 | 2021-02-22 14:20 | 97.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5382 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.415 | 126353.2819 | 303558.1979 | 30.45 | 114.2
29254 | 2021-02-22 14:21 | 97.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5409 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.417 | 126355.4237 | 303563.699 | 30.45 | 114.2
29264 | 2021-02-22 14:21 | 97.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5597 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.418 | 126354.0544 | 303559.1668 | 30.45 | 114.2
29274 | 2021-02-22 14:21 | 98.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4736 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.419 | 126360.1985 | 303566.4755 | 30.45 | 114.2
29284 | 2021-02-22 14:22 | 98.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4736 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.419 | 126366.6388 | 303573.3582 | 30.45 | 114.2
29294 | 2021-02-22 14:22 | 98.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.453 | μmol/L | 19.5263 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.42 | 126360.042 | 303558.3579 | 30.45 | 114.2
29304 | 2021-02-22 14:22 | 99.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4745 | μmol/L | 19.514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.423 | 126373.9687 | 303568.1594 | 30.45 | 114.2
29314 | 2021-02-22 14:23 | 99.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4925 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.42 | 126380.0012 | 303557.7349 | 30.45 | 114.2
29324 | 2021-02-22 14:23 | 99.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5625 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.42 | 126392.5663 | 303546.9134 | 30.45 | 114.2
29334 | 2021-02-22 14:23 | 100.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3473 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.429 | 126402.1929 | 303551.1813 | 30.45 | 114.2
29344 | 2021-02-22 14:24 | 100.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2801 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.431 | 126417.3378 | 303552.4111 | 30.45 | 114.2
29354 | 2021-02-22 14:24 | 100.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2828 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.433 | 126435.1628 | 303562.3567 | 30.45 | 114.2
29364 | 2021-02-22 14:24 | 101.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3294 | μmol/L | 19.514 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.432 | 126446.703 | 303562.0022 | 30.45 | 114.2
29374 | 2021-02-22 14:25 | 101.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2344 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.436 | 126452.8021 | 303562.0391 | 30.45 | 114.2
29384 | 2021-02-22 14:25 | 101.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2533 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.437 | 126473.7873 | 303544.6341 | 30.45 | 114.2
29394 | 2021-02-22 14:25 | 102.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1539 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.441 | 126488.0369 | 303551.6797 | 30.45 | 114.2
29404 | 2021-02-22 14:26 | 102.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9499 | μmol/L | 19.5447 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.445 | 126506.1469 | 303562.4485 | 30.45 | 114.2
29414 | 2021-02-22 14:26 | 102.9924 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1432 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.446 | 126513.8248 | 303560.5001 | 30.45 | 114.2
29424 | 2021-02-22 14:26 | 103.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0251 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.449 | 126523.1418 | 303550.291 | 30.45 | 114.2
29434 | 2021-02-22 14:27 | 103.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9259 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.453 | 126537.8427 | 303551.7168 | 30.45 | 114.2
29444 | 2021-02-22 14:27 | 103.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.009 | μmol/L | 19.5201 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.45 | 126545.3204 | 303553.9222 | 30.45 | 114.2
29454 | 2021-02-22 14:27 | 104.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8588 | μmol/L | 19.5324 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.455 | 126547.7729 | 303556.3384 | 30.45 | 114.2
29464 | 2021-02-22 14:28 | 104.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8937 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.455 | 126566.1047 | 303552.8276 | 30.45 | 114.2
29474 | 2021-02-22 14:28 | 104.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9617 | μmol/L | 19.5078 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.457 | 126576.893 | 303544.2799 | 30.45 | 114.2
29484 | 2021-02-22 14:28 | 105.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8509 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.462 | 126582.0459 | 303534.2032 | 30.45 | 114.2
29494 | 2021-02-22 14:29 | 105.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.935 | μmol/L | 19.4955 | °C | 1001 | hPa | Humid | 28 | 0 | 0 | 24.463 | 126601.3322 | 303544.207 | 30.45 | 114.2
29504 | 2021-02-22 14:29 | 105.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7866 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.466 | 126617.2659 | 303551.0723 | 30.45 | 114.2
29514 | 2021-02-22 14:29 | 106.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7224 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.47 | 126634.8663 | 303541.9731 | 30.45 | 114.2
29524 | 2021-02-22 14:30 | 106.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6902 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.472 | 126654.9719 | 303552.1457 | 30.45 | 114.2
29534 | 2021-02-22 14:30 | 106.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.626 | μmol/L | 19.514 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.476 | 126667.1796 | 303542.9302 | 30.45 | 114.2
29544 | 2021-02-22 14:30 | 107.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4761 | μmol/L | 19.5263 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.481 | 126683.07 | 303535.0237 | 30.45 | 114.2
29554 | 2021-02-22 14:31 | 107.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5967 | μmol/L | 19.5078 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.48 | 126694.362 | 303535.6721 | 30.45 | 114.2
29564 | 2021-02-22 14:31 | 107.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5512 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.485 | 126705.3141 | 303538.2928 | 30.45 | 114.2
29574 | 2021-02-22 14:31 | 108.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6851 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.481 | 126708.1471 | 303540.6835 | 30.45 | 114.2
29584 | 2021-02-22 14:32 | 108.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6209 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.485 | 126719.3584 | 303539.8828 | 30.45 | 114.2
29594 | 2021-02-22 14:32 | 108.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6934 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.487 | 126730.3711 | 303543.7236 | 30.45 | 114.2
29604 | 2021-02-22 14:32 | 109.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6934 | μmol/L | 19.4709 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.487 | 126741.2562 | 303526.9853 | 30.45 | 114.2
29614 | 2021-02-22 14:33 | 109.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7122 | μmol/L | 19.4648 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.488 | 126736.6373 | 303510.7483 | 30.45 | 114.2
29624 | 2021-02-22 14:33 | 109.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6104 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.49 | 126755.2008 | 303526.0819 | 30.45 | 114.2
29634 | 2021-02-22 14:33 | 110.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4417 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.494 | 126779.7511 | 303533.248 | 30.45 | 114.2
29644 | 2021-02-22 14:34 | 110.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3428 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.498 | 126792.6596 | 303536.8661 | 30.45 | 114.2
29654 | 2021-02-22 14:34 | 110.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2947 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 126793.3673 | 303519.9765 | 30.45 | 114.2
29664 | 2021-02-22 14:34 | 111.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3643 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 126794.1294 | 303528.1989 | 30.45 | 114.2
29674 | 2021-02-22 14:35 | 111.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3616 | μmol/L | 19.4955 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.499 | 126796.1393 | 303521.9771 | 30.45 | 114.2
29684 | 2021-02-22 14:35 | 111.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2947 | μmol/L | 19.5017 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.501 | 126795.2954 | 303534.349 | 30.45 | 114.2
29694 | 2021-02-22 14:35 | 112.3257 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3483 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.502 | 126805.3588 | 303531.3974 | 30.45 | 114.2
29704 | 2021-02-22 14:36 | 112.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3323 | μmol/L | 19.4894 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.503 | 126806.8594 | 303535.8677 | 30.45 | 114.2
29714 | 2021-02-22 14:36 | 112.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3858 | μmol/L | 19.4771 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.504 | 126805.9049 | 303522.3464 | 30.45 | 114.2