## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23902 | 2021-02-22 10:23 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8434 | μmol/L | 19.0771 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.532 | 168658.9986 | 302303.0964 | 59.9307 | 49.4
23912 | 2021-02-22 10:23 | 0.33427 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.8679 | μmol/L | 19.0648 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.535 | 168630.5615 | 302247.1428 | 59.9307 | 49.4
23922 | 2021-02-22 10:24 | 0.66801 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6824 | μmol/L | 19.0833 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.538 | 168609.8352 | 302223.0643 | 59.9307 | 49.4
23932 | 2021-02-22 10:24 | 1.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6824 | μmol/L | 19.0833 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.538 | 168590.5652 | 302195.0917 | 59.9307 | 49.4
23942 | 2021-02-22 10:24 | 1.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.6427 | μmol/L | 19.0833 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.54 | 168557.8156 | 302164.8353 | 59.9307 | 49.4
23952 | 2021-02-22 10:25 | 1.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.5803 | μmol/L | 19.0771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.545 | 168535.0072 | 302113.3485 | 59.9307 | 49.4
23962 | 2021-02-22 10:25 | 2.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4223 | μmol/L | 19.0895 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.549 | 168505.8714 | 302096.1516 | 59.9307 | 49.4
23972 | 2021-02-22 10:25 | 2.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4444 | μmol/L | 19.0833 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.55 | 168500.4951 | 302072.3286 | 59.9307 | 49.4
23982 | 2021-02-22 10:26 | 2.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.449 | μmol/L | 19.071 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.554 | 168477.1651 | 302031.3363 | 59.9307 | 49.4
23992 | 2021-02-22 10:26 | 3.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4042 | μmol/L | 19.071 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.556 | 168477.0588 | 302022.3986 | 59.9307 | 49.4
24002 | 2021-02-22 10:26 | 3.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4932 | μmol/L | 19.0586 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.556 | 168450.6569 | 301992.5642 | 59.9307 | 49.4
24012 | 2021-02-22 10:27 | 3.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4163 | μmol/L | 19.0524 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.562 | 168429.2673 | 301955.4552 | 59.9307 | 49.4
24022 | 2021-02-22 10:27 | 4.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4554 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.564 | 168421.4833 | 301940.0256 | 59.9307 | 49.4
24032 | 2021-02-22 10:27 | 4.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.4135 | μmol/L | 19.0463 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.564 | 168388.5653 | 301873.2014 | 59.9307 | 49.4
24042 | 2021-02-22 10:28 | 4.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.396 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.567 | 168369.1185 | 301868.7869 | 59.9307 | 49.4
24052 | 2021-02-22 10:28 | 5.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3564 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.569 | 168352.3009 | 301840.8609 | 59.9307 | 49.4
24062 | 2021-02-22 10:28 | 5.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3587 | μmol/L | 19.0339 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.571 | 168323.4898 | 301821.4823 | 59.9307 | 49.4
24072 | 2021-02-22 10:29 | 5.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.3389 | μmol/L | 19.0339 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.572 | 168310.677 | 301802.4128 | 59.9307 | 49.4
24082 | 2021-02-22 10:29 | 6.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2795 | μmol/L | 19.0339 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.575 | 168301.8143 | 301761.9209 | 59.9307 | 49.4
24092 | 2021-02-22 10:29 | 6.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2201 | μmol/L | 19.0339 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.578 | 168274.3498 | 301749.9031 | 59.9307 | 49.4
24102 | 2021-02-22 10:30 | 6.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.262 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.578 | 168261.1015 | 301711.0836 | 59.9307 | 49.4
24112 | 2021-02-22 10:30 | 7.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.2027 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.581 | 168243.7465 | 301696.2803 | 59.9307 | 49.4
24122 | 2021-02-22 10:30 | 7.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1433 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.584 | 168234.2787 | 301681.4195 | 59.9307 | 49.4
24132 | 2021-02-22 10:31 | 7.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.084 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.587 | 168217.4678 | 301654.5049 | 59.9307 | 49.4
24142 | 2021-02-22 10:31 | 8.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0643 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.588 | 168209.2827 | 301643.5732 | 59.9307 | 49.4
24152 | 2021-02-22 10:31 | 8.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1038 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.586 | 168186.4923 | 301611.8268 | 59.9307 | 49.4
24162 | 2021-02-22 10:32 | 8.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1306 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.591 | 168178.0121 | 301601.357 | 59.9307 | 49.4
24172 | 2021-02-22 10:32 | 9.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1108 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.592 | 168166.7139 | 301562.2831 | 59.9307 | 49.4
24182 | 2021-02-22 10:32 | 9.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0911 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.593 | 168142.4551 | 301557.8979 | 59.9307 | 49.4
24192 | 2021-02-22 10:33 | 9.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9725 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.599 | 168126.0067 | 301528.5921 | 59.9307 | 49.4
24202 | 2021-02-22 10:33 | 10.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.1155 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.596 | 168104.6593 | 301483.8335 | 59.9307 | 49.4
24212 | 2021-02-22 10:33 | 10.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 230.0562 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.599 | 168095.6198 | 301467.7105 | 59.9307 | 49.4
24222 | 2021-02-22 10:34 | 10.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9725 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.599 | 168087.9783 | 301449.0479 | 59.9307 | 49.4
24232 | 2021-02-22 10:34 | 11.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8958 | μmol/L | 19.0031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.605 | 168069.0023 | 301422.7275 | 59.9307 | 49.4
24242 | 2021-02-22 10:34 | 11.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.9353 | μmol/L | 19.0031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.603 | 168047.0866 | 301401.1741 | 59.9307 | 49.4
24252 | 2021-02-22 10:35 | 11.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8784 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.608 | 168044.1267 | 301409.9185 | 59.9307 | 49.4
24262 | 2021-02-22 10:35 | 12.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8982 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.607 | 168021.9719 | 301370.3747 | 59.9307 | 49.4
24272 | 2021-02-22 10:35 | 12.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8168 | μmol/L | 19.0031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.609 | 168030.4653 | 301365.7399 | 59.9307 | 49.4
24282 | 2021-02-22 10:36 | 12.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7182 | μmol/L | 19.0031 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.614 | 168007.2528 | 301338.2745 | 59.9307 | 49.4
24292 | 2021-02-22 10:36 | 13.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7008 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.617 | 168010.6413 | 301338.3161 | 59.9307 | 49.4
24302 | 2021-02-22 10:36 | 13.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7205 | μmol/L | 18.9969 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.616 | 167995.4901 | 301305.6399 | 59.9307 | 49.4
24312 | 2021-02-22 10:37 | 13.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7229 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.618 | 167988.8583 | 301286.2775 | 59.9307 | 49.4
24322 | 2021-02-22 10:37 | 14.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.8113 | μmol/L | 18.966 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.622 | 167961.7013 | 301252.1437 | 59.9307 | 49.4
24332 | 2021-02-22 10:37 | 14.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7498 | μmol/L | 18.9722 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.623 | 167958.1852 | 301238.3909 | 59.9307 | 49.4
24342 | 2021-02-22 10:38 | 14.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.7892 | μmol/L | 18.9722 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.621 | 167955.3032 | 301249.8389 | 59.9307 | 49.4
24352 | 2021-02-22 10:38 | 15.0014 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6733 | μmol/L | 18.966 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.629 | 167946.2514 | 301230.0147 | 59.9307 | 49.4
24362 | 2021-02-22 10:38 | 15.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6338 | μmol/L | 18.966 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.631 | 167947.7708 | 301200.606 | 59.9307 | 49.4
24372 | 2021-02-22 10:39 | 15.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6165 | μmol/L | 18.9599 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.634 | 167943.2991 | 301180.9258 | 59.9307 | 49.4
24382 | 2021-02-22 10:39 | 16.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5992 | μmol/L | 18.9537 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.637 | 167941.8295 | 301150.7595 | 59.9307 | 49.4
24392 | 2021-02-22 10:39 | 16.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.6213 | μmol/L | 18.9475 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.638 | 167944.3483 | 301127.1696 | 59.9307 | 49.4
24402 | 2021-02-22 10:40 | 16.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.604 | μmol/L | 18.9414 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.641 | 167933.8586 | 301124.4523 | 59.9307 | 49.4
24412 | 2021-02-22 10:40 | 17.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5055 | μmol/L | 18.9414 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.646 | 167939.2489 | 301110.4906 | 59.9307 | 49.4
24422 | 2021-02-22 10:40 | 17.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5473 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.646 | 167927.3217 | 301079.9408 | 59.9307 | 49.4
24432 | 2021-02-22 10:41 | 17.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.567 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.645 | 167912.7815 | 301072.964 | 59.9307 | 49.4
24442 | 2021-02-22 10:41 | 18.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4291 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.652 | 167913.7386 | 301051.1441 | 59.9307 | 49.4
24452 | 2021-02-22 10:41 | 18.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4488 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.651 | 167902.0542 | 301054.5573 | 59.9307 | 49.4
24462 | 2021-02-22 10:42 | 18.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4291 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.652 | 167901.0729 | 301027.5377 | 59.9307 | 49.4
24472 | 2021-02-22 10:42 | 19.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3921 | μmol/L | 18.929 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.656 | 167899.5147 | 301012.6018 | 59.9307 | 49.4
24482 | 2021-02-22 10:42 | 19.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3725 | μmol/L | 18.929 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.657 | 167887.8621 | 301009.9654 | 59.9307 | 49.4
24492 | 2021-02-22 10:43 | 19.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.311 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.658 | 167869.6786 | 300980.4697 | 59.9307 | 49.4
24502 | 2021-02-22 10:43 | 20.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.2962 | μmol/L | 18.9228 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.663 | 167862.9096 | 300966.8742 | 59.9307 | 49.4
24512 | 2021-02-22 10:43 | 20.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4412 | μmol/L | 18.9043 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.662 | 167876.5667 | 300946.0327 | 59.9307 | 49.4
24522 | 2021-02-22 10:44 | 20.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4461 | μmol/L | 18.892 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.666 | 167860.8147 | 300959.2632 | 59.9307 | 49.4
24532 | 2021-02-22 10:44 | 21.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4461 | μmol/L | 18.892 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.666 | 167855.0824 | 300937.3069 | 59.9307 | 49.4
24542 | 2021-02-22 10:44 | 21.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4879 | μmol/L | 18.8858 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.666 | 167844.9596 | 300903.6094 | 59.9307 | 49.4
24552 | 2021-02-22 10:45 | 21.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.328 | μmol/L | 18.892 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.672 | 167841.2648 | 300875.6546 | 59.9307 | 49.4
24562 | 2021-02-22 10:45 | 22.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.269 | μmol/L | 18.892 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.675 | 167835.0855 | 300874.8965 | 59.9307 | 49.4
24572 | 2021-02-22 10:45 | 22.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3305 | μmol/L | 18.8858 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.674 | 167825.4167 | 300833.3314 | 59.9307 | 49.4
24582 | 2021-02-22 10:46 | 22.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3968 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.677 | 167829.6497 | 300839.6395 | 59.9307 | 49.4
24592 | 2021-02-22 10:46 | 23.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.3403 | μmol/L | 18.8611 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.682 | 167812.8264 | 300823.9343 | 59.9307 | 49.4
24602 | 2021-02-22 10:46 | 23.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4436 | μmol/L | 18.8488 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.681 | 167814.1281 | 300799.5359 | 59.9307 | 49.4
24612 | 2021-02-22 10:47 | 23.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.5519 | μmol/L | 18.8241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.684 | 167811.4218 | 300802.2825 | 59.9307 | 49.4
24622 | 2021-02-22 10:47 | 24.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.4264 | μmol/L | 18.8426 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.684 | 167800.4965 | 300759.8247 | 59.9307 | 49.4
24632 | 2021-02-22 10:47 | 24.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.2026 | μmol/L | 18.8611 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.689 | 167810.4534 | 300767.8831 | 59.9307 | 49.4
24642 | 2021-02-22 10:48 | 24.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.1412 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.69 | 167805.7154 | 300759.3489 | 59.9307 | 49.4
24652 | 2021-02-22 10:48 | 25.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.043 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.695 | 167803.9329 | 300728.8654 | 59.9307 | 49.4
24662 | 2021-02-22 10:48 | 25.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0037 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 167807.1137 | 300707.6384 | 59.9307 | 49.4
24672 | 2021-02-22 10:49 | 25.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0676 | μmol/L | 18.855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.698 | 167805.0607 | 300704.8379 | 59.9307 | 49.4
24682 | 2021-02-22 10:49 | 26.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 229.0872 | μmol/L | 18.855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.697 | 167808.5543 | 300700.6418 | 59.9307 | 49.4
24692 | 2021-02-22 10:49 | 26.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.9276 | μmol/L | 18.8611 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.703 | 167795.5579 | 300662.659 | 59.9307 | 49.4
24702 | 2021-02-22 10:50 | 26.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8074 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 167792.0724 | 300654.7105 | 59.9307 | 49.4
24712 | 2021-02-22 10:50 | 27.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8074 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.707 | 167794.7893 | 300652.6261 | 59.9307 | 49.4
24722 | 2021-02-22 10:50 | 27.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.729 | μmol/L | 18.8673 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.711 | 167791.0971 | 300641.7415 | 59.9307 | 49.4
24732 | 2021-02-22 10:51 | 27.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7903 | μmol/L | 18.8611 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 167780.0758 | 300624.5578 | 59.9307 | 49.4
24742 | 2021-02-22 10:51 | 28.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7511 | μmol/L | 18.8611 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.712 | 167771.4822 | 300597.7669 | 59.9307 | 49.4
24752 | 2021-02-22 10:51 | 28.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8149 | μmol/L | 18.8488 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.713 | 167769.1503 | 300594.0615 | 59.9307 | 49.4
24762 | 2021-02-22 10:52 | 28.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7978 | μmol/L | 18.8426 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.716 | 167764.8581 | 300568.2543 | 59.9307 | 49.4
24772 | 2021-02-22 10:52 | 29.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7781 | μmol/L | 18.8426 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.717 | 167759.6877 | 300563.519 | 59.9307 | 49.4
24782 | 2021-02-22 10:52 | 29.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6972 | μmol/L | 18.8488 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.719 | 167758.3737 | 300558.3393 | 59.9307 | 49.4
24792 | 2021-02-22 10:53 | 29.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6751 | μmol/L | 18.855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.718 | 167760.0556 | 300552.7011 | 59.9307 | 49.4
24802 | 2021-02-22 10:53 | 30.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6384 | μmol/L | 18.8488 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.722 | 167760.5532 | 300544.5679 | 59.9307 | 49.4
24812 | 2021-02-22 10:53 | 30.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6188 | μmol/L | 18.8488 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 167758.9177 | 300548.5667 | 59.9307 | 49.4
24822 | 2021-02-22 10:54 | 30.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.663 | μmol/L | 18.8365 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.725 | 167754.9883 | 300525.1972 | 59.9307 | 49.4
24832 | 2021-02-22 10:54 | 31.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7072 | μmol/L | 18.8241 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.727 | 167747.5759 | 300491.5208 | 59.9307 | 49.4
24842 | 2021-02-22 10:54 | 31.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6705 | μmol/L | 18.8179 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 167751.2422 | 300487.3312 | 59.9307 | 49.4
24852 | 2021-02-22 10:55 | 31.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7539 | μmol/L | 18.8056 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.731 | 167749.2374 | 300455.6513 | 59.9307 | 49.4
24862 | 2021-02-22 10:55 | 32.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7735 | μmol/L | 18.8056 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.73 | 167737.9011 | 300448.4775 | 59.9307 | 49.4
24872 | 2021-02-22 10:55 | 32.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7565 | μmol/L | 18.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.733 | 167731.9885 | 300428.4856 | 59.9307 | 49.4
24882 | 2021-02-22 10:56 | 32.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.8178 | μmol/L | 18.7933 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.732 | 167727.9824 | 300420.3336 | 59.9307 | 49.4
24892 | 2021-02-22 10:56 | 33.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.7786 | μmol/L | 18.7933 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 167714.7891 | 300418.1782 | 59.9307 | 49.4
24902 | 2021-02-22 10:56 | 33.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6364 | μmol/L | 18.8056 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.737 | 167706.8665 | 300397.0722 | 59.9307 | 49.4
24912 | 2021-02-22 10:57 | 33.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6585 | μmol/L | 18.7994 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.738 | 167717.228 | 300396.7808 | 59.9307 | 49.4
24922 | 2021-02-22 10:57 | 34.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5826 | μmol/L | 18.7933 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.744 | 167691.5654 | 300350.0567 | 59.9307 | 49.4
24932 | 2021-02-22 10:57 | 34.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6022 | μmol/L | 18.7933 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.743 | 167691.2156 | 300360.5103 | 59.9307 | 49.4
24942 | 2021-02-22 10:58 | 34.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6856 | μmol/L | 18.7809 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.743 | 167692.3496 | 300334.2689 | 59.9307 | 49.4
24952 | 2021-02-22 10:58 | 35.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6243 | μmol/L | 18.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.744 | 167678.3636 | 300331.9267 | 59.9307 | 49.4
24962 | 2021-02-22 10:58 | 35.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5264 | μmol/L | 18.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.749 | 167678.5033 | 300313.6276 | 59.9307 | 49.4
24972 | 2021-02-22 10:59 | 35.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5681 | μmol/L | 18.7809 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.749 | 167670.4825 | 300316.0709 | 59.9307 | 49.4
24982 | 2021-02-22 10:59 | 36.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4898 | μmol/L | 18.7809 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.753 | 167668.751 | 300291.5861 | 59.9307 | 49.4
24992 | 2021-02-22 10:59 | 36.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5315 | μmol/L | 18.7747 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.753 | 167651.1851 | 300273.2885 | 59.9307 | 49.4
25002 | 2021-02-22 11:00 | 36.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4532 | μmol/L | 18.7747 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 167637.0519 | 300264.6358 | 59.9307 | 49.4
25012 | 2021-02-22 11:00 | 37.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5145 | μmol/L | 18.7686 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.756 | 167645.4489 | 300274.8706 | 59.9307 | 49.4
25022 | 2021-02-22 11:00 | 37.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5783 | μmol/L | 18.7562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.757 | 167634.6158 | 300260.4734 | 59.9307 | 49.4
25032 | 2021-02-22 11:01 | 37.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5391 | μmol/L | 18.7562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.759 | 167635.7679 | 300220.7007 | 59.9307 | 49.4
25042 | 2021-02-22 11:01 | 38.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.6004 | μmol/L | 18.7501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.758 | 167629.8494 | 300217.0476 | 59.9307 | 49.4
25052 | 2021-02-22 11:01 | 38.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5417 | μmol/L | 18.7501 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.761 | 167636.0184 | 300201.1564 | 59.9307 | 49.4
25062 | 2021-02-22 11:02 | 38.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5051 | μmol/L | 18.7439 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.765 | 167613.7979 | 300184.5624 | 59.9307 | 49.4
25072 | 2021-02-22 11:02 | 39.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5077 | μmol/L | 18.7377 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.767 | 167625.1201 | 300174.2674 | 59.9307 | 49.4
25082 | 2021-02-22 11:02 | 39.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4685 | μmol/L | 18.7377 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.769 | 167616.2947 | 300152.7721 | 59.9307 | 49.4
25092 | 2021-02-22 11:03 | 39.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4294 | μmol/L | 18.7377 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 167614.7462 | 300146.1161 | 59.9307 | 49.4
25102 | 2021-02-22 11:03 | 40.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4294 | μmol/L | 18.7377 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 167601.5762 | 300128.3967 | 59.9307 | 49.4
25112 | 2021-02-22 11:03 | 40.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4099 | μmol/L | 18.7377 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.772 | 167612.0584 | 300116.2925 | 59.9307 | 49.4
25122 | 2021-02-22 11:04 | 40.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.5597 | μmol/L | 18.7069 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 167608.8798 | 300130.6052 | 59.9307 | 49.4
25132 | 2021-02-22 11:04 | 41.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.4567 | μmol/L | 18.7192 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.776 | 167610.1046 | 300118.0087 | 59.9307 | 49.4
25142 | 2021-02-22 11:04 | 41.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2951 | μmol/L | 18.7315 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.78 | 167620.8629 | 300105.0813 | 59.9307 | 49.4
25152 | 2021-02-22 11:05 | 41.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.3172 | μmol/L | 18.7254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.781 | 167614.8594 | 300096.6513 | 59.9307 | 49.4
25162 | 2021-02-22 11:05 | 42.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2977 | μmol/L | 18.7254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.782 | 167616.0272 | 300084.2347 | 59.9307 | 49.4
25172 | 2021-02-22 11:05 | 42.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1584 | μmol/L | 18.7315 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.787 | 167620.7626 | 300074.7245 | 59.9307 | 49.4
25182 | 2021-02-22 11:06 | 42.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2221 | μmol/L | 18.7192 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 167623.7769 | 300060.2603 | 59.9307 | 49.4
25192 | 2021-02-22 11:06 | 43.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.183 | μmol/L | 18.7192 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.79 | 167633.3824 | 300061.2365 | 59.9307 | 49.4
25202 | 2021-02-22 11:06 | 43.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0438 | μmol/L | 18.7254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.795 | 167632.7052 | 300056.4998 | 59.9307 | 49.4
25212 | 2021-02-22 11:07 | 43.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1049 | μmol/L | 18.7192 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.794 | 167629.1496 | 300028.8483 | 59.9307 | 49.4
25222 | 2021-02-22 11:07 | 44.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1101 | μmol/L | 18.7069 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.798 | 167639.1627 | 300026.4312 | 59.9307 | 49.4
25232 | 2021-02-22 11:07 | 44.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1127 | μmol/L | 18.7007 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.8 | 167650.197 | 300041.0021 | 59.9307 | 49.4
25242 | 2021-02-22 11:08 | 44.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1153 | μmol/L | 18.6945 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.802 | 167638.7996 | 299997.8791 | 59.9307 | 49.4
25252 | 2021-02-22 11:08 | 45.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0567 | μmol/L | 18.6945 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 167646.2574 | 300002.7836 | 59.9307 | 49.4
25262 | 2021-02-22 11:08 | 45.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0398 | μmol/L | 18.6884 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.808 | 167650.5147 | 299988.7138 | 59.9307 | 49.4
25272 | 2021-02-22 11:09 | 45.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9787 | μmol/L | 18.6945 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.809 | 167659.8834 | 299983.8313 | 59.9307 | 49.4
25282 | 2021-02-22 11:09 | 46.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9813 | μmol/L | 18.6884 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.811 | 167661.6324 | 299978.0968 | 59.9307 | 49.4
25292 | 2021-02-22 11:09 | 46.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8812 | μmol/L | 18.6945 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.814 | 167664.3866 | 299959.0139 | 59.9307 | 49.4
25302 | 2021-02-22 11:10 | 46.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9449 | μmol/L | 18.6822 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 167670.1893 | 299949.9754 | 59.9307 | 49.4
25312 | 2021-02-22 11:10 | 47.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9059 | μmol/L | 18.6822 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.817 | 167676.1081 | 299955.1108 | 59.9307 | 49.4
25322 | 2021-02-22 11:10 | 47.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8474 | μmol/L | 18.6822 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.82 | 167692.8683 | 299925.2915 | 59.9307 | 49.4
25332 | 2021-02-22 11:11 | 47.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9111 | μmol/L | 18.6698 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 167707.0315 | 299921.8205 | 59.9307 | 49.4
25342 | 2021-02-22 11:11 | 48.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8332 | μmol/L | 18.6698 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.825 | 167711.7125 | 299916.199 | 59.9307 | 49.4
25352 | 2021-02-22 11:11 | 48.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8943 | μmol/L | 18.6637 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.824 | 167720.0598 | 299908.3039 | 59.9307 | 49.4
25362 | 2021-02-22 11:12 | 48.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7773 | μmol/L | 18.6637 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.83 | 167724.3034 | 299895.9159 | 59.9307 | 49.4
25372 | 2021-02-22 11:12 | 49.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.6605 | μmol/L | 18.6637 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.836 | 167726.9083 | 299893.3952 | 59.9307 | 49.4
25382 | 2021-02-22 11:12 | 49.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7189 | μmol/L | 18.6637 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.833 | 167738.2971 | 299887.2627 | 59.9307 | 49.4
25392 | 2021-02-22 11:13 | 49.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7215 | μmol/L | 18.6575 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 167737.4204 | 299876.1153 | 59.9307 | 49.4
25402 | 2021-02-22 11:13 | 50.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7215 | μmol/L | 18.6575 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 167728.5456 | 299867.4391 | 59.9307 | 49.4
25412 | 2021-02-22 11:13 | 50.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7631 | μmol/L | 18.6513 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 167720.5913 | 299846.632 | 59.9307 | 49.4
25422 | 2021-02-22 11:14 | 50.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8047 | μmol/L | 18.6452 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 167725.1953 | 299845.273 | 59.9307 | 49.4
25432 | 2021-02-22 11:14 | 51.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8853 | μmol/L | 18.639 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.833 | 167725.803 | 299845.5269 | 59.9307 | 49.4
25442 | 2021-02-22 11:14 | 51.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8685 | μmol/L | 18.6328 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.836 | 167711.5046 | 299820.4517 | 59.9307 | 49.4
25452 | 2021-02-22 11:15 | 51.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9296 | μmol/L | 18.6266 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.835 | 167712.1179 | 299834.9006 | 59.9307 | 49.4
25462 | 2021-02-22 11:15 | 52.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0076 | μmol/L | 18.6266 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.831 | 167711.9639 | 299823.4561 | 59.9307 | 49.4
25472 | 2021-02-22 11:15 | 52.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1104 | μmol/L | 18.6143 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.83 | 167700.4532 | 299825.0882 | 59.9307 | 49.4
25482 | 2021-02-22 11:16 | 52.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2576 | μmol/L | 18.5896 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.831 | 167678.4572 | 299809.5378 | 59.9307 | 49.4
25492 | 2021-02-22 11:16 | 53.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2497 | μmol/L | 18.6081 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.825 | 167642.7978 | 299786.9098 | 59.9307 | 49.4
25502 | 2021-02-22 11:16 | 53.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1193 | μmol/L | 18.639 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 167635.4989 | 299787.1056 | 59.9307 | 49.4
25512 | 2021-02-22 11:17 | 53.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1193 | μmol/L | 18.639 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.821 | 167608.0497 | 299779.0286 | 59.9307 | 49.4
25522 | 2021-02-22 11:17 | 54.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.2586 | μmol/L | 18.6328 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.816 | 167593.2284 | 299768.0691 | 59.9307 | 49.4
25532 | 2021-02-22 11:17 | 54.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.1115 | μmol/L | 18.6575 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.815 | 167575.568 | 299777.2035 | 59.9307 | 49.4
25542 | 2021-02-22 11:18 | 54.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0841 | μmol/L | 18.676 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.81 | 167564.1994 | 299770.272 | 59.9307 | 49.4
25552 | 2021-02-22 11:18 | 55.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 228.0203 | μmol/L | 18.6884 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.809 | 167550.5632 | 299768.0617 | 59.9307 | 49.4
25562 | 2021-02-22 11:18 | 55.3344 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9956 | μmol/L | 18.7007 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.806 | 167540.6295 | 299747.3861 | 59.9307 | 49.4
25572 | 2021-02-22 11:19 | 55.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.9319 | μmol/L | 18.713 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 167522.0864 | 299742.1677 | 59.9307 | 49.4
25582 | 2021-02-22 11:19 | 56.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8487 | μmol/L | 18.7254 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.805 | 167484.0197 | 299732.6086 | 59.9307 | 49.4
25592 | 2021-02-22 11:19 | 56.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.88 | μmol/L | 18.7439 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.797 | 167443.8887 | 299726.98 | 59.9307 | 49.4
25602 | 2021-02-22 11:20 | 56.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8553 | μmol/L | 18.7562 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.794 | 167405.5046 | 299709.0702 | 59.9307 | 49.4
25612 | 2021-02-22 11:20 | 57.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8892 | μmol/L | 18.7686 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.788 | 167371.0653 | 299710.4094 | 59.9307 | 49.4
25622 | 2021-02-22 11:20 | 57.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.8035 | μmol/L | 18.7871 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.786 | 167348.2204 | 299684.9873 | 59.9307 | 49.4
25632 | 2021-02-22 11:21 | 57.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7738 | μmol/L | 18.8118 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.779 | 167300.9711 | 299679.3751 | 59.9307 | 49.4
25642 | 2021-02-22 11:21 | 58.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.7272 | μmol/L | 18.8303 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.775 | 167247.6763 | 299665.4249 | 59.9307 | 49.4
25652 | 2021-02-22 11:21 | 58.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.6392 | μmol/L | 18.855 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.771 | 167230.0812 | 299663.4004 | 59.9307 | 49.4
25662 | 2021-02-22 11:22 | 58.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.5537 | μmol/L | 18.8735 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.769 | 167201.8271 | 299661.4886 | 59.9307 | 49.4
25672 | 2021-02-22 11:22 | 59.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.4268 | μmol/L | 18.8982 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.767 | 167176.6313 | 299650.3992 | 59.9307 | 49.4
25682 | 2021-02-22 11:22 | 59.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.2367 | μmol/L | 18.9352 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.764 | 167153.6822 | 299638.4622 | 59.9307 | 49.4
25692 | 2021-02-22 11:23 | 59.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.2123 | μmol/L | 18.9475 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.761 | 167131.5916 | 299641.5451 | 59.9307 | 49.4
25702 | 2021-02-22 11:23 | 60.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.0468 | μmol/L | 18.9722 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.761 | 167107.639 | 299630.1294 | 59.9307 | 49.4
25712 | 2021-02-22 11:23 | 60.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 227.0808 | μmol/L | 18.9846 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.755 | 167070.5624 | 299615.7848 | 59.9307 | 49.4
25722 | 2021-02-22 11:24 | 60.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.9543 | μmol/L | 19.0092 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.753 | 167050.0463 | 299608.7156 | 59.9307 | 49.4
25732 | 2021-02-22 11:24 | 61.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.8693 | μmol/L | 19.0278 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.751 | 167033.1722 | 299604.1428 | 59.9307 | 49.4
25742 | 2021-02-22 11:24 | 61.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.8256 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.749 | 167029.1976 | 299601.8242 | 59.9307 | 49.4
25752 | 2021-02-22 11:25 | 61.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6799 | μmol/L | 19.0648 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.748 | 167006.8728 | 299597.2254 | 59.9307 | 49.4
25762 | 2021-02-22 11:25 | 62.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6363 | μmol/L | 19.0771 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.746 | 166974.1485 | 299581.7894 | 59.9307 | 49.4
25772 | 2021-02-22 11:25 | 62.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.6096 | μmol/L | 19.0956 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.741 | 166948.8207 | 299578.2666 | 59.9307 | 49.4
25782 | 2021-02-22 11:26 | 62.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.5517 | μmol/L | 19.108 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.74 | 166945.319 | 299564.1315 | 59.9307 | 49.4
25792 | 2021-02-22 11:26 | 63.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.4836 | μmol/L | 19.1203 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.739 | 166912.6311 | 299559.6787 | 59.9307 | 49.4
25802 | 2021-02-22 11:26 | 63.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.3846 | μmol/L | 19.1388 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.738 | 166896.1766 | 299544.2893 | 59.9307 | 49.4
25812 | 2021-02-22 11:27 | 63.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.3604 | μmol/L | 19.1512 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.735 | 166873.4659 | 299554.6135 | 59.9307 | 49.4
25822 | 2021-02-22 11:27 | 64.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.2513 | μmol/L | 19.1697 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.734 | 166852.531 | 299559.0953 | 59.9307 | 49.4
25832 | 2021-02-22 11:27 | 64.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.271 | μmol/L | 19.182 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.729 | 166838.2929 | 299535.8789 | 59.9307 | 49.4
25842 | 2021-02-22 11:28 | 64.6673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1643 | μmol/L | 19.1944 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.73 | 166821.1146 | 299520.1519 | 59.9307 | 49.4
25852 | 2021-02-22 11:28 | 65.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1619 | μmol/L | 19.2006 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.728 | 166793.9951 | 299519.8257 | 59.9307 | 49.4
25862 | 2021-02-22 11:28 | 65.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1185 | μmol/L | 19.2129 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.726 | 166766.2461 | 299523.4559 | 59.9307 | 49.4
25872 | 2021-02-22 11:29 | 65.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.1549 | μmol/L | 19.2191 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.722 | 166764.4037 | 299525.765 | 59.9307 | 49.4
25882 | 2021-02-22 11:29 | 66.0007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.0944 | μmol/L | 19.2252 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 166737.7415 | 299499.318 | 59.9307 | 49.4
25892 | 2021-02-22 11:29 | 66.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 226.0123 | μmol/L | 19.2376 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 166738.5868 | 299521.1356 | 59.9307 | 49.4
25902 | 2021-02-22 11:30 | 66.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.9302 | μmol/L | 19.2499 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.723 | 166732.4177 | 299500.662 | 59.9307 | 49.4
25912 | 2021-02-22 11:30 | 67.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.9085 | μmol/L | 19.2561 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.722 | 166712.6419 | 299486.0105 | 59.9307 | 49.4
25922 | 2021-02-22 11:30 | 67.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8651 | μmol/L | 19.2684 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.72 | 166704.8579 | 299496.5799 | 59.9307 | 49.4
25932 | 2021-02-22 11:31 | 67.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.8241 | μmol/L | 19.2746 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.72 | 166691.2746 | 299470.5035 | 59.9307 | 49.4
25942 | 2021-02-22 11:31 | 68.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7807 | μmol/L | 19.287 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.718 | 166689.4955 | 299458.7224 | 59.9307 | 49.4
25952 | 2021-02-22 11:31 | 68.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7955 | μmol/L | 19.2993 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.713 | 166686.6038 | 299479.92 | 59.9307 | 49.4
25962 | 2021-02-22 11:32 | 68.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.6554 | μmol/L | 19.3116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.716 | 166669.7132 | 299469.8459 | 59.9307 | 49.4
25972 | 2021-02-22 11:32 | 69.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.7135 | μmol/L | 19.3116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.713 | 166662.2388 | 299459.8892 | 59.9307 | 49.4
25982 | 2021-02-22 11:32 | 69.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5974 | μmol/L | 19.3116 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.719 | 166650.384 | 299456.9605 | 59.9307 | 49.4
25992 | 2021-02-22 11:33 | 69.6676 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.5325 | μmol/L | 19.3302 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.716 | 166652.8461 | 299455.7124 | 59.9307 | 49.4
26002 | 2021-02-22 11:33 | 70.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4722 | μmol/L | 19.3363 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.717 | 166648.8417 | 299463.8381 | 59.9307 | 49.4
26012 | 2021-02-22 11:33 | 70.334 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.3517 | μmol/L | 19.3487 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.719 | 166636.517 | 299434.2738 | 59.9307 | 49.4
26022 | 2021-02-22 11:34 | 70.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4847 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 166624.6319 | 299436.1534 | 59.9307 | 49.4
26032 | 2021-02-22 11:34 | 71.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.4074 | μmol/L | 19.3549 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.714 | 166617.5292 | 299445.2176 | 59.9307 | 49.4
26042 | 2021-02-22 11:34 | 71.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2268 | μmol/L | 19.3734 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.717 | 166599.7531 | 299425.5208 | 59.9307 | 49.4
26052 | 2021-02-22 11:35 | 71.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.2631 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.713 | 166594.3537 | 299421.6209 | 59.9307 | 49.4
26062 | 2021-02-22 11:35 | 72.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.3017 | μmol/L | 19.3795 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.711 | 166585.164 | 299419.1395 | 59.9307 | 49.4
26072 | 2021-02-22 11:35 | 72.3347 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1598 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.712 | 166579.7425 | 299427.8137 | 59.9307 | 49.4
26082 | 2021-02-22 11:36 | 72.6674 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1405 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.713 | 166578.8513 | 299402.0546 | 59.9307 | 49.4
26092 | 2021-02-22 11:36 | 73.0012 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.1984 | μmol/L | 19.3981 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.71 | 166565.8111 | 299400.6214 | 59.9307 | 49.4
26102 | 2021-02-22 11:36 | 73.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 225.0832 | μmol/L | 19.4104 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.712 | 166562.623 | 299381.4519 | 59.9307 | 49.4
26112 | 2021-02-22 11:37 | 73.6677 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9578 | μmol/L | 19.4227 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.714 | 166573.443 | 299390.02 | 59.9307 | 49.4
26122 | 2021-02-22 11:37 | 74.0013 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.9385 | μmol/L | 19.4227 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.715 | 166578.5032 | 299389.1686 | 59.9307 | 49.4
26132 | 2021-02-22 11:37 | 74.3342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.8598 | μmol/L | 19.4413 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.713 | 166565.2651 | 299369.955 | 59.9307 | 49.4
26142 | 2021-02-22 11:38 | 74.6679 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.8405 | μmol/L | 19.4413 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.714 | 166564.7858 | 299391.2806 | 59.9307 | 49.4
26152 | 2021-02-22 11:38 | 75.0008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.802 | μmol/L | 19.4413 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.716 | 166559.5264 | 299381.1682 | 59.9307 | 49.4
26162 | 2021-02-22 11:38 | 75.3346 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.8791 | μmol/L | 19.4413 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.712 | 166548.9905 | 299383.6231 | 59.9307 | 49.4
26172 | 2021-02-22 11:39 | 75.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7805 | μmol/L | 19.4474 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.715 | 166552.9625 | 299385.3007 | 59.9307 | 49.4
26182 | 2021-02-22 11:39 | 76.0005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.7612 | μmol/L | 19.4474 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.716 | 166551.6643 | 299373.731 | 59.9307 | 49.4
26192 | 2021-02-22 11:39 | 76.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6411 | μmol/L | 19.4598 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.718 | 166547.4201 | 299366.248 | 59.9307 | 49.4
26202 | 2021-02-22 11:40 | 76.6672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5789 | μmol/L | 19.4721 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.717 | 166555.2748 | 299355.8251 | 59.9307 | 49.4
26212 | 2021-02-22 11:40 | 77.001 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6026 | μmol/L | 19.4598 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.72 | 166557.4709 | 299362.5774 | 59.9307 | 49.4
26222 | 2021-02-22 11:40 | 77.3339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.6411 | μmol/L | 19.4598 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.718 | 166544.8875 | 299334.6331 | 59.9307 | 49.4
26232 | 2021-02-22 11:41 | 77.6678 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.5619 | μmol/L | 19.4659 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.72 | 166555.5503 | 299332.396 | 59.9307 | 49.4
26242 | 2021-02-22 11:41 | 78.0009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4397 | μmol/L | 19.4845 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.72 | 166556.0231 | 299324.5523 | 59.9307 | 49.4
26252 | 2021-02-22 11:41 | 78.3345 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.442 | μmol/L | 19.4783 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.722 | 166559.1803 | 299331.5716 | 59.9307 | 49.4
26262 | 2021-02-22 11:42 | 78.6675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.4035 | μmol/L | 19.4783 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.724 | 166548.0795 | 299308.9195 | 59.9307 | 49.4
26272 | 2021-02-22 11:42 | 79.0011 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.382 | μmol/L | 19.4845 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.723 | 166580.9241 | 299309.9147 | 59.9307 | 49.4
26282 | 2021-02-22 11:42 | 79.3341 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.2452 | μmol/L | 19.4906 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.728 | 166569.0097 | 299295.9908 | 59.9307 | 49.4
26292 | 2021-02-22 11:43 | 79.668 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3384 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.725 | 166587.2424 | 299322.7906 | 59.9307 | 49.4
26302 | 2021-02-22 11:43 | 80.0006 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.2807 | μmol/L | 19.4845 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.728 | 166589.1459 | 299311.055 | 59.9307 | 49.4
26312 | 2021-02-22 11:43 | 80.3343 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 224.3266 | μmol/L | 19.4783 | °C | 1006 | hPa | Humid | 28 | 1 | 0 | 22.728 | 166596.9362 | 299305.2653 | 59.9307 | 49.4