## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26325 | 2021-02-22 12:43 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1139 | μmol/L | 19.2438 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.03 | 168673.2619 | 299222.1673 | 59.9307 | 49.4
26335 | 2021-02-22 12:43 | 0.33558 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.234 | μmol/L | 19.2376 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.026 | 168688.0863 | 299213.1879 | 59.9307 | 49.4
26345 | 2021-02-22 12:44 | 0.66864 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.0389 | μmol/L | 19.2438 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.034 | 168693.401 | 299212.6886 | 59.9307 | 49.4
26355 | 2021-02-22 12:44 | 1.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1426 | μmol/L | 19.2314 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 23.033 | 168693.479 | 299189.6982 | 59.9307 | 49.4
26365 | 2021-02-22 12:44 | 1.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1402 | μmol/L | 19.2252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.035 | 168709.2061 | 299191.1649 | 59.9307 | 49.4
26375 | 2021-02-22 12:45 | 1.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1026 | μmol/L | 19.2252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.037 | 168705.3361 | 299177.6467 | 59.9307 | 49.4
26385 | 2021-02-22 12:45 | 2.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.0839 | μmol/L | 19.2252 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.038 | 168697.9497 | 299172.1093 | 59.9307 | 49.4
26395 | 2021-02-22 12:45 | 2.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.1452 | μmol/L | 19.2129 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.039 | 168711.5969 | 299167.1897 | 59.9307 | 49.4
26405 | 2021-02-22 12:46 | 2.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.0489 | μmol/L | 19.2191 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.042 | 168728.7163 | 299158.5277 | 59.9307 | 49.4
26415 | 2021-02-22 12:46 | 3.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.9926 | μmol/L | 19.2191 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.045 | 168746.3665 | 299162.2757 | 59.9307 | 49.4
26425 | 2021-02-22 12:46 | 3.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.9739 | μmol/L | 19.2191 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.046 | 168749.8755 | 299150.6273 | 59.9307 | 49.4
26435 | 2021-02-22 12:47 | 3.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.9389 | μmol/L | 19.2129 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.05 | 168772.5764 | 299149.2563 | 59.9307 | 49.4
26445 | 2021-02-22 12:47 | 4.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.864 | μmol/L | 19.2129 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.054 | 168771.1544 | 299133.2896 | 59.9307 | 49.4
26455 | 2021-02-22 12:47 | 4.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 220.0214 | μmol/L | 19.1944 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.052 | 168786.5625 | 299135.8586 | 59.9307 | 49.4
26465 | 2021-02-22 12:48 | 4.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.9702 | μmol/L | 19.182 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.059 | 168802.9545 | 299134.9776 | 59.9307 | 49.4
26475 | 2021-02-22 12:48 | 5.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8553 | μmol/L | 19.1882 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.063 | 168822.3109 | 299119.5484 | 59.9307 | 49.4
26485 | 2021-02-22 12:48 | 5.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.8179 | μmol/L | 19.1882 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.065 | 168833.9037 | 299128.1681 | 59.9307 | 49.4
26495 | 2021-02-22 12:49 | 5.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7217 | μmol/L | 19.1944 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.068 | 168856.197 | 299127.0659 | 59.9307 | 49.4
26505 | 2021-02-22 12:49 | 6.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7243 | μmol/L | 19.1882 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.07 | 168868.9609 | 299112.4014 | 59.9307 | 49.4
26515 | 2021-02-22 12:49 | 6.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6631 | μmol/L | 19.2006 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.069 | 168879.9646 | 299095.724 | 59.9307 | 49.4
26525 | 2021-02-22 12:50 | 6.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6469 | μmol/L | 19.1944 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.072 | 168893.5618 | 299109.1462 | 59.9307 | 49.4
26535 | 2021-02-22 12:50 | 7.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6707 | μmol/L | 19.182 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.075 | 168903.812 | 299110.0266 | 59.9307 | 49.4
26545 | 2021-02-22 12:50 | 7.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7157 | μmol/L | 19.1635 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.079 | 168917.0686 | 299108.7479 | 59.9307 | 49.4
26555 | 2021-02-22 12:51 | 7.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7744 | μmol/L | 19.1574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.078 | 168922.4742 | 299087.7392 | 59.9307 | 49.4
26565 | 2021-02-22 12:51 | 8.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7608 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.083 | 168947.2994 | 299094.2253 | 59.9307 | 49.4
26575 | 2021-02-22 12:51 | 8.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7233 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.085 | 168948.5747 | 299083.5283 | 59.9307 | 49.4
26585 | 2021-02-22 12:52 | 8.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.7046 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.086 | 168959.1294 | 299062.4908 | 59.9307 | 49.4
26595 | 2021-02-22 12:52 | 9.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.6086 | μmol/L | 19.1512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.089 | 168972.6001 | 299078.4956 | 59.9307 | 49.4
26605 | 2021-02-22 12:52 | 9.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4939 | μmol/L | 19.1574 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.093 | 168969.2035 | 299044.0596 | 59.9307 | 49.4
26615 | 2021-02-22 12:53 | 9.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5712 | μmol/L | 19.1512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.091 | 168993.8362 | 299077.4847 | 59.9307 | 49.4
26625 | 2021-02-22 12:53 | 10.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.5924 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.092 | 169008.4711 | 299081.7717 | 59.9307 | 49.4
26635 | 2021-02-22 12:53 | 10.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4591 | μmol/L | 19.1512 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.097 | 169017.3737 | 299071.4336 | 59.9307 | 49.4
26645 | 2021-02-22 12:54 | 10.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4616 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.099 | 169017.9299 | 299047.1463 | 59.9307 | 49.4
26655 | 2021-02-22 12:54 | 11.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.4243 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.101 | 169054.0208 | 299071.0889 | 59.9307 | 49.4
26665 | 2021-02-22 12:54 | 11.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3496 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.105 | 169061.7042 | 299060.8729 | 59.9307 | 49.4
26675 | 2021-02-22 12:55 | 11.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3334 | μmol/L | 19.1388 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.108 | 169075.1309 | 299038.3381 | 59.9307 | 49.4
26685 | 2021-02-22 12:55 | 12.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3122 | μmol/L | 19.145 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.107 | 169080.2863 | 299028.7671 | 59.9307 | 49.4
26695 | 2021-02-22 12:55 | 12.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.3759 | μmol/L | 19.1265 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.11 | 169095.729 | 299047.8161 | 59.9307 | 49.4
26705 | 2021-02-22 12:56 | 12.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2987 | μmol/L | 19.1327 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.112 | 169108.8393 | 299044.2165 | 59.9307 | 49.4
26715 | 2021-02-22 12:56 | 13.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2852 | μmol/L | 19.1203 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.117 | 169123.5978 | 299046.2763 | 59.9307 | 49.4
26725 | 2021-02-22 12:56 | 13.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.259 | μmol/L | 19.1265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.116 | 169146.1531 | 299055.4867 | 59.9307 | 49.4
26735 | 2021-02-22 12:57 | 13.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2217 | μmol/L | 19.1265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.118 | 169157.5064 | 299036.2794 | 59.9307 | 49.4
26745 | 2021-02-22 12:57 | 14.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.2455 | μmol/L | 19.1142 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.121 | 169165.1868 | 299033.0595 | 59.9307 | 49.4
26755 | 2021-02-22 12:57 | 14.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.1522 | μmol/L | 19.1142 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.126 | 169183.094 | 299035.5789 | 59.9307 | 49.4
26765 | 2021-02-22 12:58 | 14.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0378 | μmol/L | 19.1203 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.13 | 169202.0095 | 299045.6627 | 59.9307 | 49.4
26775 | 2021-02-22 12:58 | 15.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0616 | μmol/L | 19.108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.133 | 169230.0526 | 299022.8899 | 59.9307 | 49.4
26785 | 2021-02-22 12:58 | 15.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0829 | μmol/L | 19.1018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.134 | 169245.2173 | 299036.2923 | 59.9307 | 49.4
26795 | 2021-02-22 12:59 | 15.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0083 | μmol/L | 19.1018 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.138 | 169269.7354 | 299033.5413 | 59.9307 | 49.4
26805 | 2021-02-22 12:59 | 16.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0668 | μmol/L | 19.0956 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.137 | 169280.5927 | 299035.2497 | 59.9307 | 49.4
26815 | 2021-02-22 12:59 | 16.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0109 | μmol/L | 19.0956 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.14 | 169294.4404 | 299010.0133 | 59.9307 | 49.4
26825 | 2021-02-22 13:00 | 16.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9576 | μmol/L | 19.0895 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.145 | 169302.6065 | 299011.8366 | 59.9307 | 49.4
26835 | 2021-02-22 13:00 | 17.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9576 | μmol/L | 19.0895 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.145 | 169321.1547 | 299014.1727 | 59.9307 | 49.4
26845 | 2021-02-22 13:00 | 17.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 219.0959 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.144 | 169323.2424 | 299014.5504 | 59.9307 | 49.4
26855 | 2021-02-22 13:01 | 17.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9815 | μmol/L | 19.0771 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.148 | 169338.3912 | 299015.8726 | 59.9307 | 49.4
26865 | 2021-02-22 13:01 | 18.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.907 | μmol/L | 19.0771 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.152 | 169344.2214 | 299017.2127 | 59.9307 | 49.4
26875 | 2021-02-22 13:01 | 18.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.9629 | μmol/L | 19.0771 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.149 | 169359.723 | 299004.3553 | 59.9307 | 49.4
26885 | 2021-02-22 13:02 | 18.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8884 | μmol/L | 19.0771 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.153 | 169383.7449 | 299021.4821 | 59.9307 | 49.4
26895 | 2021-02-22 13:02 | 19.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8326 | μmol/L | 19.0771 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.156 | 169386.194 | 299024.9018 | 59.9307 | 49.4
26905 | 2021-02-22 13:02 | 19.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8352 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.158 | 169390.1872 | 299012.2924 | 59.9307 | 49.4
26915 | 2021-02-22 13:03 | 19.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7794 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.161 | 169401.5453 | 299003.8434 | 59.9307 | 49.4
26925 | 2021-02-22 13:03 | 20.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7607 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.162 | 169410.8178 | 298997.5101 | 59.9307 | 49.4
26935 | 2021-02-22 13:03 | 20.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7794 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.161 | 169417.4441 | 299004.0927 | 59.9307 | 49.4
26945 | 2021-02-22 13:04 | 20.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8404 | μmol/L | 19.0586 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.162 | 169423.8994 | 299000.6615 | 59.9307 | 49.4
26955 | 2021-02-22 13:04 | 21.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8244 | μmol/L | 19.0524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.165 | 169424.8899 | 299018.1581 | 59.9307 | 49.4
26965 | 2021-02-22 13:04 | 21.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7872 | μmol/L | 19.0524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.167 | 169445.5816 | 299005.3108 | 59.9307 | 49.4
26975 | 2021-02-22 13:05 | 21.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7899 | μmol/L | 19.0463 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.169 | 169457.0174 | 299010.4649 | 59.9307 | 49.4
26985 | 2021-02-22 13:05 | 22.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7527 | μmol/L | 19.0463 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.171 | 169471.3025 | 299013.2692 | 59.9307 | 49.4
26995 | 2021-02-22 13:05 | 22.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.8137 | μmol/L | 19.0339 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.172 | 169480.2177 | 299000.9119 | 59.9307 | 49.4
27005 | 2021-02-22 13:06 | 22.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7978 | μmol/L | 19.0278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.175 | 169493.7963 | 299001.5643 | 59.9307 | 49.4
27015 | 2021-02-22 13:06 | 23.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6013 | μmol/L | 19.0524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.177 | 169505.1664 | 299001.7016 | 59.9307 | 49.4
27025 | 2021-02-22 13:06 | 23.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5854 | μmol/L | 19.0463 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.18 | 169528.1215 | 299007.2848 | 59.9307 | 49.4
27035 | 2021-02-22 13:07 | 23.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6066 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.181 | 169533.8159 | 299000.0016 | 59.9307 | 49.4
27045 | 2021-02-22 13:07 | 24.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.588 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.182 | 169547.8396 | 299014.0678 | 59.9307 | 49.4
27055 | 2021-02-22 13:07 | 24.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5933 | μmol/L | 19.0278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.186 | 169554.1173 | 299000.9959 | 59.9307 | 49.4
27065 | 2021-02-22 13:08 | 24.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6119 | μmol/L | 19.0278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.185 | 169568.7199 | 298995.5098 | 59.9307 | 49.4
27075 | 2021-02-22 13:08 | 25.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6172 | μmol/L | 19.0154 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.189 | 169585.2326 | 299006.5679 | 59.9307 | 49.4
27085 | 2021-02-22 13:08 | 25.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6809 | μmol/L | 18.9969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.192 | 169581.5972 | 298980.7031 | 59.9307 | 49.4
27095 | 2021-02-22 13:09 | 25.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.7181 | μmol/L | 18.9969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.19 | 169593.6137 | 299001.9418 | 59.9307 | 49.4
27105 | 2021-02-22 13:09 | 26.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.6066 | μmol/L | 18.9969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.196 | 169614.1392 | 298993.3286 | 59.9307 | 49.4
27115 | 2021-02-22 13:09 | 26.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5854 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.195 | 169616.026 | 298974.3067 | 59.9307 | 49.4
27125 | 2021-02-22 13:10 | 26.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.588 | μmol/L | 18.9969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.197 | 169623.2736 | 298987.8946 | 59.9307 | 49.4
27135 | 2021-02-22 13:10 | 27.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5854 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.195 | 169618.9885 | 298976.6648 | 59.9307 | 49.4
27145 | 2021-02-22 13:10 | 27.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5111 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.199 | 169634.2086 | 298981.0306 | 59.9307 | 49.4
27155 | 2021-02-22 13:11 | 27.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5323 | μmol/L | 18.9969 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.2 | 169637.2934 | 298997.0106 | 59.9307 | 49.4
27165 | 2021-02-22 13:11 | 28.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4925 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.2 | 169643.834 | 298993.3467 | 59.9307 | 49.4
27175 | 2021-02-22 13:11 | 28.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5164 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.203 | 169637.1515 | 298979.7624 | 59.9307 | 49.4
27185 | 2021-02-22 13:12 | 28.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.596 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.203 | 169636.6055 | 298985.0434 | 59.9307 | 49.4
27195 | 2021-02-22 13:12 | 29.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5191 | μmol/L | 18.9846 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.205 | 169645.8864 | 298979.7918 | 59.9307 | 49.4
27205 | 2021-02-22 13:12 | 29.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4978 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.204 | 169642.7056 | 298986.7765 | 59.9307 | 49.4
27215 | 2021-02-22 13:13 | 29.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.5032 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.208 | 169665.623 | 298993.2359 | 59.9307 | 49.4
27225 | 2021-02-22 13:13 | 30.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4846 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.209 | 169672.1232 | 298961.1578 | 59.9307 | 49.4
27235 | 2021-02-22 13:13 | 30.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.4873 | μmol/L | 18.9722 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.211 | 169689.139 | 298954.6087 | 59.9307 | 49.4
27245 | 2021-02-22 13:14 | 30.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.429 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.212 | 169693.5557 | 298953.7218 | 59.9307 | 49.4
27255 | 2021-02-22 13:14 | 31.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3733 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.215 | 169708.4082 | 298948.8052 | 59.9307 | 49.4
27265 | 2021-02-22 13:14 | 31.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3177 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169729.2087 | 298972.884 | 59.9307 | 49.4
27275 | 2021-02-22 13:15 | 31.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3601 | μmol/L | 18.966 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.22 | 169739.4805 | 298970.5594 | 59.9307 | 49.4
27285 | 2021-02-22 13:15 | 32.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3628 | μmol/L | 18.9599 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.222 | 169754.1677 | 298966.7883 | 59.9307 | 49.4
27295 | 2021-02-22 13:15 | 32.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3655 | μmol/L | 18.9537 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.224 | 169762.9241 | 298956.0573 | 59.9307 | 49.4
27305 | 2021-02-22 13:16 | 32.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3284 | μmol/L | 18.9537 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.226 | 169774.2567 | 298969.7337 | 59.9307 | 49.4
27315 | 2021-02-22 13:16 | 33.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.3497 | μmol/L | 18.9475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169792.2488 | 298968.6054 | 59.9307 | 49.4
27325 | 2021-02-22 13:16 | 33.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.2728 | μmol/L | 18.9537 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 169802.1796 | 298966.515 | 59.9307 | 49.4
27335 | 2021-02-22 13:17 | 33.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1589 | μmol/L | 18.9599 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 169821.6967 | 298965.852 | 59.9307 | 49.4
27345 | 2021-02-22 13:17 | 34.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1589 | μmol/L | 18.9599 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 169834.9335 | 298962.5353 | 59.9307 | 49.4
27355 | 2021-02-22 13:17 | 34.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.2199 | μmol/L | 18.9475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.234 | 169857.04 | 298975.3022 | 59.9307 | 49.4
27365 | 2021-02-22 13:18 | 34.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.069 | μmol/L | 18.9537 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.24 | 169861.6924 | 298980.2322 | 59.9307 | 49.4
27375 | 2021-02-22 13:18 | 35.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1087 | μmol/L | 18.9475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.24 | 169870.8923 | 298954.9391 | 59.9307 | 49.4
27385 | 2021-02-22 13:18 | 35.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1327 | μmol/L | 18.9352 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.243 | 169886.5853 | 298977.839 | 59.9307 | 49.4
27395 | 2021-02-22 13:19 | 35.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1539 | μmol/L | 18.929 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 169902.4795 | 298965.3308 | 59.9307 | 49.4
27405 | 2021-02-22 13:19 | 36.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1381 | μmol/L | 18.9228 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.247 | 169913.429 | 298960.9051 | 59.9307 | 49.4
27415 | 2021-02-22 13:19 | 36.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1594 | μmol/L | 18.9167 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.248 | 169921.3014 | 298951.4493 | 59.9307 | 49.4
27425 | 2021-02-22 13:20 | 36.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1594 | μmol/L | 18.9167 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.248 | 169924.9566 | 298955.4848 | 59.9307 | 49.4
27435 | 2021-02-22 13:20 | 37.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1223 | μmol/L | 18.9167 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.25 | 169942.0798 | 298951.2772 | 59.9307 | 49.4
27445 | 2021-02-22 13:20 | 37.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.0908 | μmol/L | 18.9043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.256 | 169964.4342 | 298962.5672 | 59.9307 | 49.4
27455 | 2021-02-22 13:21 | 37.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1093 | μmol/L | 18.9043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.255 | 169968.1768 | 298945.8685 | 59.9307 | 49.4
27465 | 2021-02-22 13:21 | 38.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.1093 | μmol/L | 18.9043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.255 | 169984.3563 | 298940.1578 | 59.9307 | 49.4
27475 | 2021-02-22 13:21 | 38.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.075 | μmol/L | 18.8982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.259 | 169998.8282 | 298939.0793 | 59.9307 | 49.4
27485 | 2021-02-22 13:22 | 38.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 218.075 | μmol/L | 18.8982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.259 | 170006.6145 | 298954.0663 | 59.9307 | 49.4
27495 | 2021-02-22 13:22 | 39.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9215 | μmol/L | 18.9105 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.263 | 170027.2393 | 298944.3709 | 59.9307 | 49.4
27505 | 2021-02-22 13:22 | 39.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9057 | μmol/L | 18.9043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.266 | 170047.6051 | 298961.1253 | 59.9307 | 49.4
27515 | 2021-02-22 13:23 | 39.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9454 | μmol/L | 18.8982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.266 | 170046.8704 | 298942.0702 | 59.9307 | 49.4
27525 | 2021-02-22 13:23 | 40.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.9482 | μmol/L | 18.892 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.268 | 170061.9396 | 298951.4786 | 59.9307 | 49.4
27535 | 2021-02-22 13:23 | 40.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8742 | μmol/L | 18.892 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.272 | 170085.406 | 298945.5239 | 59.9307 | 49.4
27545 | 2021-02-22 13:24 | 40.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8742 | μmol/L | 18.892 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.272 | 170102.64 | 298939.9123 | 59.9307 | 49.4
27555 | 2021-02-22 13:24 | 41.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8243 | μmol/L | 18.8796 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.279 | 170115.7416 | 298940.0485 | 59.9307 | 49.4
27565 | 2021-02-22 13:24 | 41.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.84 | μmol/L | 18.8858 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.276 | 170122.3537 | 298949.767 | 59.9307 | 49.4
27575 | 2021-02-22 13:25 | 41.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.8243 | μmol/L | 18.8796 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.279 | 170135.2896 | 298964.3276 | 59.9307 | 49.4
27585 | 2021-02-22 13:25 | 42.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7873 | μmol/L | 18.8796 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.281 | 170147.8688 | 298954.8379 | 59.9307 | 49.4
27595 | 2021-02-22 13:25 | 42.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7503 | μmol/L | 18.8796 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.283 | 170160.0041 | 298940.203 | 59.9307 | 49.4
27605 | 2021-02-22 13:26 | 42.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7716 | μmol/L | 18.8735 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.284 | 170173.7145 | 298961.1155 | 59.9307 | 49.4
27615 | 2021-02-22 13:26 | 43.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7764 | μmol/L | 18.8735 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.284 | 170185.647 | 298929.3931 | 59.9307 | 49.4
27625 | 2021-02-22 13:26 | 43.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7025 | μmol/L | 18.8735 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.288 | 170194.6096 | 298925.1455 | 59.9307 | 49.4
27635 | 2021-02-22 13:27 | 43.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7265 | μmol/L | 18.8611 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.291 | 170200.8325 | 298938.6154 | 59.9307 | 49.4
27645 | 2021-02-22 13:27 | 44.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7662 | μmol/L | 18.855 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.291 | 170215.0556 | 298948.2196 | 59.9307 | 49.4
27655 | 2021-02-22 13:27 | 44.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.7847 | μmol/L | 18.855 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.29 | 170221.1828 | 298949.3424 | 59.9307 | 49.4
27665 | 2021-02-22 13:28 | 44.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.769 | μmol/L | 18.8488 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.293 | 170237.9188 | 298931.8166 | 59.9307 | 49.4
27675 | 2021-02-22 13:28 | 45.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6739 | μmol/L | 18.855 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.296 | 170246.4691 | 298928.8356 | 59.9307 | 49.4
27685 | 2021-02-22 13:28 | 45.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6951 | μmol/L | 18.8488 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.297 | 170242.9236 | 298926.329 | 59.9307 | 49.4
27695 | 2021-02-22 13:29 | 45.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6951 | μmol/L | 18.8488 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.297 | 170260.6305 | 298928.3259 | 59.9307 | 49.4
27705 | 2021-02-22 13:29 | 46.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6979 | μmol/L | 18.8426 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.299 | 170277.9334 | 298926.7738 | 59.9307 | 49.4
27715 | 2021-02-22 13:29 | 46.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6822 | μmol/L | 18.8365 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.302 | 170299.5929 | 298951.0039 | 59.9307 | 49.4
27725 | 2021-02-22 13:30 | 46.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6425 | μmol/L | 18.8426 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.302 | 170309.4131 | 298929.7129 | 59.9307 | 49.4
27735 | 2021-02-22 13:30 | 47.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6084 | μmol/L | 18.8365 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.306 | 170310.8432 | 298910.747 | 59.9307 | 49.4
27745 | 2021-02-22 13:30 | 47.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5927 | μmol/L | 18.8303 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.309 | 170332.829 | 298932.9202 | 59.9307 | 49.4
27755 | 2021-02-22 13:31 | 47.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.6508 | μmol/L | 18.8241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.308 | 170360.9699 | 298947.0873 | 59.9307 | 49.4
27765 | 2021-02-22 13:31 | 48.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5004 | μmol/L | 18.8303 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.314 | 170365.4096 | 298932.2026 | 59.9307 | 49.4
27775 | 2021-02-22 13:31 | 48.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.5245 | μmol/L | 18.8179 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.317 | 170389.5789 | 298934.7035 | 59.9307 | 49.4
27785 | 2021-02-22 13:32 | 48.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4848 | μmol/L | 18.8241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.317 | 170389.8868 | 298932.261 | 59.9307 | 49.4
27795 | 2021-02-22 13:32 | 49.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4663 | μmol/L | 18.8241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.318 | 170396.1354 | 298919.1437 | 59.9307 | 49.4
27805 | 2021-02-22 13:32 | 49.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4295 | μmol/L | 18.8241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.32 | 170417.3149 | 298907.52 | 59.9307 | 49.4
27815 | 2021-02-22 13:33 | 49.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4323 | μmol/L | 18.8179 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.322 | 170437.4241 | 298908.6869 | 59.9307 | 49.4
27825 | 2021-02-22 13:33 | 50.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3982 | μmol/L | 18.8118 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.326 | 170444.4445 | 298910.6461 | 59.9307 | 49.4
27835 | 2021-02-22 13:33 | 50.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3982 | μmol/L | 18.8118 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.326 | 170456.9762 | 298917.7108 | 59.9307 | 49.4
27845 | 2021-02-22 13:34 | 50.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2664 | μmol/L | 18.8179 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.331 | 170480.8671 | 298918.8366 | 59.9307 | 49.4
27855 | 2021-02-22 13:34 | 51.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2296 | μmol/L | 18.8179 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.333 | 170494.4128 | 298916.5564 | 59.9307 | 49.4
27865 | 2021-02-22 13:34 | 51.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2084 | μmol/L | 18.8241 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.332 | 170514.349 | 298907.3054 | 59.9307 | 49.4
27875 | 2021-02-22 13:35 | 51.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2904 | μmol/L | 18.8056 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.334 | 170529.0645 | 298916.5348 | 59.9307 | 49.4
27885 | 2021-02-22 13:35 | 52.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3329 | μmol/L | 18.7933 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.336 | 170532.5911 | 298908.892 | 59.9307 | 49.4
27895 | 2021-02-22 13:35 | 52.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1828 | μmol/L | 18.7994 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.342 | 170551.7263 | 298906.5907 | 59.9307 | 49.4
27905 | 2021-02-22 13:36 | 52.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2068 | μmol/L | 18.7871 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.345 | 170565.1034 | 298921.3908 | 59.9307 | 49.4
27915 | 2021-02-22 13:36 | 53.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.262 | μmol/L | 18.7871 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.342 | 170580.3893 | 298916.6973 | 59.9307 | 49.4
27925 | 2021-02-22 13:36 | 53.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.228 | μmol/L | 18.7809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.346 | 170599.0902 | 298944.2692 | 59.9307 | 49.4
27935 | 2021-02-22 13:37 | 53.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.17 | μmol/L | 18.7871 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.347 | 170607.002 | 298910.7874 | 59.9307 | 49.4
27945 | 2021-02-22 13:37 | 54.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2096 | μmol/L | 18.7809 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.347 | 170614.4975 | 298919.8508 | 59.9307 | 49.4
27955 | 2021-02-22 13:37 | 54.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1969 | μmol/L | 18.7686 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.352 | 170627.682 | 298919.1116 | 59.9307 | 49.4
27965 | 2021-02-22 13:38 | 54.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1969 | μmol/L | 18.7686 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.352 | 170639.9259 | 298923.2407 | 59.9307 | 49.4
27975 | 2021-02-22 13:38 | 55.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2365 | μmol/L | 18.7624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.352 | 170655.2326 | 298911.3386 | 59.9307 | 49.4
27985 | 2021-02-22 13:38 | 55.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1445 | μmol/L | 18.7624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.357 | 170675.9985 | 298919.4554 | 59.9307 | 49.4
27995 | 2021-02-22 13:39 | 55.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1261 | μmol/L | 18.7624 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.358 | 170675.0255 | 298911.4009 | 59.9307 | 49.4
28005 | 2021-02-22 13:39 | 56.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2054 | μmol/L | 18.7501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.358 | 170687.3599 | 298913.7349 | 59.9307 | 49.4
28015 | 2021-02-22 13:39 | 56.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1502 | μmol/L | 18.7501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.361 | 170698.6902 | 298916.8926 | 59.9307 | 49.4
28025 | 2021-02-22 13:40 | 56.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.095 | μmol/L | 18.7501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.364 | 170702.6586 | 298894.5481 | 59.9307 | 49.4
28035 | 2021-02-22 13:40 | 57.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.095 | μmol/L | 18.7501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.364 | 170718.5864 | 298909.5723 | 59.9307 | 49.4
28045 | 2021-02-22 13:40 | 57.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.0582 | μmol/L | 18.7501 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.366 | 170742.0341 | 298916.0783 | 59.9307 | 49.4
28055 | 2021-02-22 13:41 | 57.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.061 | μmol/L | 18.7439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.368 | 170756.6193 | 298908.095 | 59.9307 | 49.4
28065 | 2021-02-22 13:41 | 58.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.0243 | μmol/L | 18.7439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.37 | 170774.6594 | 298905.4376 | 59.9307 | 49.4
28075 | 2021-02-22 13:41 | 58.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.0011 | μmol/L | 18.7439 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.371 | 170786.0647 | 298909.4284 | 59.9307 | 49.4
28085 | 2021-02-22 13:42 | 58.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9875 | μmol/L | 18.7439 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.372 | 170797.4599 | 298900.0435 | 59.9307 | 49.4
28095 | 2021-02-22 13:42 | 59.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9092 | μmol/L | 18.7439 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.376 | 170801.2345 | 298896.9973 | 59.9307 | 49.4
28105 | 2021-02-22 13:42 | 59.335 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.8532 | μmol/L | 18.7562 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.375 | 170828.0849 | 298906.6 | 59.9307 | 49.4
28115 | 2021-02-22 13:43 | 59.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9304 | μmol/L | 18.7377 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.377 | 170817.134 | 298914.3332 | 59.9307 | 49.4
28125 | 2021-02-22 13:43 | 60.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9545 | μmol/L | 18.7254 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.38 | 170830.055 | 298895.8678 | 59.9307 | 49.4
28135 | 2021-02-22 13:43 | 60.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9178 | μmol/L | 18.7254 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.382 | 170833.6576 | 298903.7439 | 59.9307 | 49.4
28145 | 2021-02-22 13:44 | 60.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1286 | μmol/L | 18.7069 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.377 | 170845.1992 | 298899.8756 | 59.9307 | 49.4
28155 | 2021-02-22 13:44 | 61.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1866 | μmol/L | 18.7007 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.376 | 170845.9285 | 298882.3365 | 59.9307 | 49.4
28165 | 2021-02-22 13:44 | 61.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2505 | μmol/L | 18.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.379 | 170850.6449 | 298901.1078 | 59.9307 | 49.4
28175 | 2021-02-22 13:45 | 61.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3241 | μmol/L | 18.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.375 | 170848.7072 | 298884.0436 | 59.9307 | 49.4
28185 | 2021-02-22 13:45 | 62.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2844 | μmol/L | 18.6884 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.375 | 170843.858 | 298903.3103 | 59.9307 | 49.4
28195 | 2021-02-22 13:45 | 62.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3425 | μmol/L | 18.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.374 | 170848.4689 | 298909.5849 | 59.9307 | 49.4
28205 | 2021-02-22 13:46 | 62.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3425 | μmol/L | 18.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.374 | 170854.3138 | 298903.4992 | 59.9307 | 49.4
28215 | 2021-02-22 13:46 | 63.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2234 | μmol/L | 18.7007 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.374 | 170845.5771 | 298905.998 | 59.9307 | 49.4
28225 | 2021-02-22 13:46 | 63.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.239 | μmol/L | 18.7069 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.371 | 170832.1597 | 298887.8064 | 59.9307 | 49.4
28235 | 2021-02-22 13:47 | 63.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.453 | μmol/L | 18.6822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.368 | 170827.6338 | 298904.2493 | 59.9307 | 49.4
28245 | 2021-02-22 13:47 | 64.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4686 | μmol/L | 18.6884 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.365 | 170817.7253 | 298898.2714 | 59.9307 | 49.4
28255 | 2021-02-22 13:47 | 64.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.521 | μmol/L | 18.6945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.36 | 170801.5713 | 298889.0466 | 59.9307 | 49.4
28265 | 2021-02-22 13:48 | 64.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.365 | μmol/L | 18.713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.362 | 170791.0432 | 298885.7778 | 59.9307 | 49.4
28275 | 2021-02-22 13:48 | 65.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2799 | μmol/L | 18.7377 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.358 | 170784.0538 | 298902.3446 | 59.9307 | 49.4
28285 | 2021-02-22 13:48 | 65.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2926 | μmol/L | 18.7501 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.353 | 170772.0117 | 298900.3152 | 59.9307 | 49.4
28295 | 2021-02-22 13:49 | 65.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3479 | μmol/L | 18.7501 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.35 | 170733.3265 | 298914.8747 | 59.9307 | 49.4
28305 | 2021-02-22 13:49 | 66.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3791 | μmol/L | 18.7624 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.344 | 170717.5096 | 298892.6998 | 59.9307 | 49.4
28315 | 2021-02-22 13:49 | 66.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4528 | μmol/L | 18.7624 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.34 | 170700.5485 | 298902.4563 | 59.9307 | 49.4
28325 | 2021-02-22 13:50 | 66.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4074 | μmol/L | 18.7809 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.336 | 170671.8047 | 298915.5753 | 59.9307 | 49.4
28335 | 2021-02-22 13:50 | 67.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4543 | μmol/L | 18.7994 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.327 | 170639.1424 | 298911.6187 | 59.9307 | 49.4
28345 | 2021-02-22 13:50 | 67.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.4303 | μmol/L | 18.8118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.324 | 170620.7203 | 298900.4228 | 59.9307 | 49.4
28355 | 2021-02-22 13:51 | 67.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3297 | μmol/L | 18.8303 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.323 | 170603.981 | 298902.1621 | 59.9307 | 49.4
28365 | 2021-02-22 13:51 | 68.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3213 | μmol/L | 18.8488 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.317 | 170578.9075 | 298896.0131 | 59.9307 | 49.4
28375 | 2021-02-22 13:51 | 68.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2762 | μmol/L | 18.8673 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.313 | 170561.7996 | 298894.2768 | 59.9307 | 49.4
28385 | 2021-02-22 13:52 | 68.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.3047 | μmol/L | 18.8858 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.305 | 170508.3706 | 298902.6264 | 59.9307 | 49.4
28395 | 2021-02-22 13:52 | 69.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.278 | μmol/L | 18.9043 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.3 | 170484.7429 | 298895.7283 | 59.9307 | 49.4
28405 | 2021-02-22 13:52 | 69.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.2329 | μmol/L | 18.9228 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.296 | 170446.6864 | 298907.7324 | 59.9307 | 49.4
28415 | 2021-02-22 13:53 | 69.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.1298 | μmol/L | 18.9475 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.293 | 170424.6252 | 298881.6558 | 59.9307 | 49.4
28425 | 2021-02-22 13:53 | 70.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 217.061 | μmol/L | 18.9784 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.286 | 170394.4115 | 298912.4637 | 59.9307 | 49.4
28435 | 2021-02-22 13:53 | 70.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.9819 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.286 | 170387.2604 | 298904.3915 | 59.9307 | 49.4
28445 | 2021-02-22 13:54 | 70.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.7687 | μmol/L | 19.0154 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.289 | 170385.3052 | 298903.217 | 59.9307 | 49.4
28455 | 2021-02-22 13:54 | 71.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.8526 | μmol/L | 19.0339 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.278 | 170335.6074 | 298889.5563 | 59.9307 | 49.4
28465 | 2021-02-22 13:54 | 71.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.7157 | μmol/L | 19.0524 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.279 | 170337.0349 | 298902.2784 | 59.9307 | 49.4
28475 | 2021-02-22 13:55 | 71.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.6526 | μmol/L | 19.071 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.276 | 170311.5204 | 298904.9924 | 59.9307 | 49.4
28485 | 2021-02-22 13:55 | 72.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.5894 | μmol/L | 19.0895 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.273 | 170300.7352 | 298903.2527 | 59.9307 | 49.4
28495 | 2021-02-22 13:55 | 72.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.563 | μmol/L | 19.108 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.268 | 170274.0764 | 298902.6023 | 59.9307 | 49.4
28505 | 2021-02-22 13:56 | 72.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.5788 | μmol/L | 19.1142 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.265 | 170262.1627 | 298907.3373 | 59.9307 | 49.4
28515 | 2021-02-22 13:56 | 73.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.5341 | μmol/L | 19.1327 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.261 | 170241.0733 | 298911.2533 | 59.9307 | 49.4
28525 | 2021-02-22 13:56 | 73.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.3608 | μmol/L | 19.1512 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.264 | 170236.5385 | 298921.001 | 59.9307 | 49.4
28535 | 2021-02-22 13:57 | 73.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.3923 | μmol/L | 19.1635 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.258 | 170224.8995 | 298917.6119 | 59.9307 | 49.4
28545 | 2021-02-22 13:57 | 74.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.3136 | μmol/L | 19.1759 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.258 | 170213.9098 | 298899.4004 | 59.9307 | 49.4
28555 | 2021-02-22 13:57 | 74.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.2716 | μmol/L | 19.1882 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.256 | 170212.0984 | 298889.4076 | 59.9307 | 49.4
28565 | 2021-02-22 13:58 | 74.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.1536 | μmol/L | 19.2067 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.256 | 170206.3235 | 298886.5819 | 59.9307 | 49.4
28575 | 2021-02-22 13:58 | 75.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.2244 | μmol/L | 19.2129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.25 | 170194.3351 | 298880.7295 | 59.9307 | 49.4
28585 | 2021-02-22 13:58 | 75.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.1301 | μmol/L | 19.2191 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.253 | 170184.1704 | 298892.1579 | 59.9307 | 49.4
28595 | 2021-02-22 13:59 | 75.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.0672 | μmol/L | 19.2376 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.25 | 170170.3762 | 298881.5894 | 59.9307 | 49.4
28605 | 2021-02-22 13:59 | 76.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 216.083 | μmol/L | 19.2438 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.247 | 170175.919 | 298895.0588 | 59.9307 | 49.4
28615 | 2021-02-22 13:59 | 76.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9835 | μmol/L | 19.2623 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.246 | 170162.7436 | 298909.7978 | 59.9307 | 49.4
28625 | 2021-02-22 14:00 | 76.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9259 | μmol/L | 19.2684 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.247 | 170152.2891 | 298876.6477 | 59.9307 | 49.4
28635 | 2021-02-22 14:00 | 77.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.9024 | μmol/L | 19.2808 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 170128.1341 | 298876.3204 | 59.9307 | 49.4
28645 | 2021-02-22 14:00 | 77.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8632 | μmol/L | 19.287 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 170118.9968 | 298894.8627 | 59.9307 | 49.4
28655 | 2021-02-22 14:01 | 77.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8947 | μmol/L | 19.2993 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.238 | 170093.8554 | 298880.9817 | 59.9307 | 49.4
28665 | 2021-02-22 14:01 | 78.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.8163 | μmol/L | 19.3116 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.238 | 170097.6683 | 298901.9792 | 59.9307 | 49.4
28675 | 2021-02-22 14:01 | 78.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7562 | μmol/L | 19.324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 170090.116 | 298902.7331 | 59.9307 | 49.4
28685 | 2021-02-22 14:02 | 78.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7745 | μmol/L | 19.324 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.236 | 170079.2203 | 298874.14 | 59.9307 | 49.4
28695 | 2021-02-22 14:02 | 79.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7536 | μmol/L | 19.3302 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.235 | 170074.5326 | 298892.9558 | 59.9307 | 49.4
28705 | 2021-02-22 14:02 | 79.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.7119 | μmol/L | 19.3425 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.233 | 170071.6008 | 298878.2582 | 59.9307 | 49.4
28715 | 2021-02-22 14:03 | 79.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6701 | μmol/L | 19.3549 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.231 | 170056.6444 | 298873.5956 | 59.9307 | 49.4
28725 | 2021-02-22 14:03 | 80.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5735 | μmol/L | 19.3672 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.232 | 170048.0599 | 298864.383 | 59.9307 | 49.4
28735 | 2021-02-22 14:03 | 80.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5918 | μmol/L | 19.3672 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.231 | 170044.3509 | 298855.0929 | 59.9307 | 49.4
28745 | 2021-02-22 14:04 | 80.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6259 | μmol/L | 19.3734 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 170023.4437 | 298862.1882 | 59.9307 | 49.4
28755 | 2021-02-22 14:04 | 81.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.6025 | μmol/L | 19.3857 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.224 | 170016.0455 | 298856.6562 | 59.9307 | 49.4
28765 | 2021-02-22 14:04 | 81.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.451 | μmol/L | 19.3981 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.228 | 170011.0647 | 298879.7731 | 59.9307 | 49.4
28775 | 2021-02-22 14:05 | 81.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.4693 | μmol/L | 19.3981 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169996.1252 | 298867.935 | 59.9307 | 49.4
28785 | 2021-02-22 14:05 | 82.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5009 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.221 | 169981.8124 | 298857.1705 | 59.9307 | 49.4
28795 | 2021-02-22 14:05 | 82.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.4618 | μmol/L | 19.4166 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.221 | 169980.8518 | 298883.1415 | 59.9307 | 49.4
28805 | 2021-02-22 14:06 | 82.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5192 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.22 | 169957.4967 | 298870.8793 | 59.9307 | 49.4
28815 | 2021-02-22 14:06 | 83.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.5741 | μmol/L | 19.4104 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.217 | 169958.9753 | 298845.9448 | 59.9307 | 49.4
28825 | 2021-02-22 14:06 | 83.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.4227 | μmol/L | 19.4227 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.221 | 169954.704 | 298863.832 | 59.9307 | 49.4
28835 | 2021-02-22 14:07 | 83.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3993 | μmol/L | 19.4351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169950.3847 | 298866.7522 | 59.9307 | 49.4
28845 | 2021-02-22 14:07 | 84.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3993 | μmol/L | 19.4351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169939.0055 | 298858.4313 | 59.9307 | 49.4
28855 | 2021-02-22 14:07 | 84.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3993 | μmol/L | 19.4351 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169941.78 | 298873.6514 | 59.9307 | 49.4
28865 | 2021-02-22 14:08 | 84.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.3785 | μmol/L | 19.4413 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.217 | 169938.7406 | 298871.9916 | 59.9307 | 49.4
28875 | 2021-02-22 14:08 | 85.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.2846 | μmol/L | 19.4474 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.22 | 169938.8349 | 298847.6019 | 59.9307 | 49.4
28885 | 2021-02-22 14:08 | 85.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.2638 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.219 | 169948.1939 | 298846.681 | 59.9307 | 49.4
28895 | 2021-02-22 14:09 | 85.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.2039 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169947.1322 | 298863.005 | 59.9307 | 49.4
28905 | 2021-02-22 14:09 | 86.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.1857 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.219 | 169949.0526 | 298859.4867 | 59.9307 | 49.4
28915 | 2021-02-22 14:09 | 86.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.1649 | μmol/L | 19.4721 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.218 | 169962.6924 | 298859.4446 | 59.9307 | 49.4
28925 | 2021-02-22 14:10 | 86.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0918 | μmol/L | 19.4721 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.222 | 169971.812 | 298848.2235 | 59.9307 | 49.4
28935 | 2021-02-22 14:10 | 87.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0552 | μmol/L | 19.4721 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.224 | 169983.4459 | 298842.551 | 59.9307 | 49.4
28945 | 2021-02-22 14:10 | 87.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 215.0527 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.222 | 169977.7823 | 298862.4863 | 59.9307 | 49.4
28955 | 2021-02-22 14:11 | 87.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9955 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 169995.7004 | 298833.4587 | 59.9307 | 49.4
28965 | 2021-02-22 14:11 | 88.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8834 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169999.2928 | 298842.4275 | 59.9307 | 49.4
28975 | 2021-02-22 14:11 | 88.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9955 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 169996.329 | 298845.5648 | 59.9307 | 49.4
28985 | 2021-02-22 14:12 | 88.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9565 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.223 | 169994.1063 | 298836.0213 | 59.9307 | 49.4
28995 | 2021-02-22 14:12 | 89.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8834 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169997.1854 | 298821.4911 | 59.9307 | 49.4
29005 | 2021-02-22 14:12 | 89.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.9199 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.225 | 170006.2256 | 298828.7945 | 59.9307 | 49.4
29015 | 2021-02-22 14:13 | 89.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8834 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169995.1969 | 298826.3509 | 59.9307 | 49.4
29025 | 2021-02-22 14:13 | 90.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.8055 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 170000.3502 | 298830.7659 | 59.9307 | 49.4
29035 | 2021-02-22 14:13 | 90.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7482 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.228 | 169997.3088 | 298846.048 | 59.9307 | 49.4
29045 | 2021-02-22 14:14 | 90.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7458 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.226 | 169989.5734 | 298862.3961 | 59.9307 | 49.4
29055 | 2021-02-22 14:14 | 91.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6911 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 169999.3003 | 298875.7568 | 59.9307 | 49.4
29065 | 2021-02-22 14:14 | 91.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6935 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.231 | 170001.9163 | 298858.1804 | 59.9307 | 49.4
29075 | 2021-02-22 14:15 | 91.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.73 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 170008.8282 | 298843.3263 | 59.9307 | 49.4
29085 | 2021-02-22 14:15 | 92.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.7275 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.227 | 169991.361 | 298819.4327 | 59.9307 | 49.4
29095 | 2021-02-22 14:15 | 92.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6911 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.229 | 170005.7214 | 298816.6465 | 59.9307 | 49.4
29105 | 2021-02-22 14:16 | 92.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6339 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.23 | 170009.1217 | 298802.3435 | 59.9307 | 49.4
29115 | 2021-02-22 14:16 | 93.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6339 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.23 | 170022.5152 | 298829.9748 | 59.9307 | 49.4
29125 | 2021-02-22 14:16 | 93.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5585 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.232 | 170029.8789 | 298817.5314 | 59.9307 | 49.4
29135 | 2021-02-22 14:17 | 93.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.522 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.234 | 170034.603 | 298798.7716 | 59.9307 | 49.4
29145 | 2021-02-22 14:17 | 94.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5427 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.235 | 170051.3818 | 298823.0711 | 59.9307 | 49.4
29155 | 2021-02-22 14:17 | 94.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.5842 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 170053.4373 | 298817.0845 | 59.9307 | 49.4
29165 | 2021-02-22 14:18 | 94.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6231 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.237 | 170065.8066 | 298818.2102 | 59.9307 | 49.4
29175 | 2021-02-22 14:18 | 95.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.6256 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.239 | 170067.462 | 298820.7255 | 59.9307 | 49.4
29185 | 2021-02-22 14:18 | 95.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.4748 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.243 | 170087.3186 | 298842.6893 | 59.9307 | 49.4
29195 | 2021-02-22 14:19 | 95.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.4724 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.241 | 170072.8766 | 298812.7353 | 59.9307 | 49.4
29205 | 2021-02-22 14:19 | 96.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3399 | μmol/L | 19.5277 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 170088.4001 | 298824.3579 | 59.9307 | 49.4
29215 | 2021-02-22 14:19 | 96.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3193 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.243 | 170092.7444 | 298812.7226 | 59.9307 | 49.4
29225 | 2021-02-22 14:20 | 96.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3011 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.244 | 170103.7505 | 298825.5331 | 59.9307 | 49.4
29235 | 2021-02-22 14:20 | 97.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2415 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.243 | 170106.1056 | 298811.313 | 59.9307 | 49.4
29245 | 2021-02-22 14:20 | 97.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1869 | μmol/L | 19.5462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.246 | 170119.2145 | 298800.9741 | 59.9307 | 49.4
29255 | 2021-02-22 14:21 | 97.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2283 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.248 | 170129.6536 | 298798.9295 | 59.9307 | 49.4
29265 | 2021-02-22 14:21 | 98.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2878 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.249 | 170129.6915 | 298789.202 | 59.9307 | 49.4
29275 | 2021-02-22 14:21 | 98.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3499 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.252 | 170136.611 | 298783.1686 | 59.9307 | 49.4
29285 | 2021-02-22 14:22 | 98.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.4484 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.253 | 170144.8069 | 298795.0889 | 59.9307 | 49.4
29295 | 2021-02-22 14:22 | 99.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.4823 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.249 | 170156.3597 | 298799.9022 | 59.9307 | 49.4
29305 | 2021-02-22 14:22 | 99.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1787 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.255 | 170148.5825 | 298791.3943 | 59.9307 | 49.4
29315 | 2021-02-22 14:23 | 99.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1969 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.254 | 170161.8475 | 298811.167 | 59.9307 | 49.4
29325 | 2021-02-22 14:23 | 100.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1423 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.257 | 170168.5887 | 298798.0637 | 59.9307 | 49.4
29335 | 2021-02-22 14:23 | 100.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1969 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.254 | 170167.0783 | 298796.3759 | 59.9307 | 49.4
29345 | 2021-02-22 14:24 | 100.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2746 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.254 | 170178.6882 | 298784.3893 | 59.9307 | 49.4
29355 | 2021-02-22 14:24 | 101.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3185 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.258 | 170184.427 | 298791.6152 | 59.9307 | 49.4
29365 | 2021-02-22 14:24 | 101.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2796 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.258 | 170192.1034 | 298794.8303 | 59.9307 | 49.4
29375 | 2021-02-22 14:25 | 101.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3756 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.257 | 170186.3713 | 298789.2564 | 59.9307 | 49.4
29385 | 2021-02-22 14:25 | 102.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.3235 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.262 | 170204.1518 | 298786.296 | 59.9307 | 49.4
29395 | 2021-02-22 14:25 | 102.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2821 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.26 | 170203.2236 | 298793.0921 | 59.9307 | 49.4
29405 | 2021-02-22 14:26 | 102.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9738 | μmol/L | 19.5338 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.262 | 170210.4575 | 298799.6893 | 59.9307 | 49.4
29415 | 2021-02-22 14:26 | 103.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.2275 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.263 | 170224.7506 | 298797.8267 | 59.9307 | 49.4
29425 | 2021-02-22 14:26 | 103.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.1548 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.267 | 170230.7575 | 298788.0952 | 59.9307 | 49.4
29435 | 2021-02-22 14:27 | 103.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0746 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.265 | 170232.7545 | 298773.2338 | 59.9307 | 49.4
29445 | 2021-02-22 14:27 | 104.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0176 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.266 | 170237.984 | 298786.9491 | 59.9307 | 49.4
29455 | 2021-02-22 14:27 | 104.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0589 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.268 | 170236.9293 | 298786.8763 | 59.9307 | 49.4
29465 | 2021-02-22 14:28 | 104.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0383 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.267 | 170248.6337 | 298790.3448 | 59.9307 | 49.4
29475 | 2021-02-22 14:28 | 105.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.8335 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.274 | 170255.5059 | 298777.5222 | 59.9307 | 49.4
29485 | 2021-02-22 14:28 | 105.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9631 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.269 | 170267.7273 | 298772.7318 | 59.9307 | 49.4
29495 | 2021-02-22 14:29 | 105.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0821 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.271 | 170260.6074 | 298769.9621 | 59.9307 | 49.4
29505 | 2021-02-22 14:29 | 106.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 214.0069 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.273 | 170257.4063 | 298760.6713 | 59.9307 | 49.4
29515 | 2021-02-22 14:29 | 106.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9863 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.272 | 170272.3451 | 298779.2962 | 59.9307 | 49.4
29525 | 2021-02-22 14:30 | 106.6684 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9475 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.272 | 170276.6828 | 298780.2944 | 59.9307 | 49.4
29535 | 2021-02-22 14:30 | 107.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.836 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.276 | 170291.4895 | 298782.9065 | 59.9307 | 49.4
29545 | 2021-02-22 14:30 | 107.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.9318 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.275 | 170289.417 | 298773.3331 | 59.9307 | 49.4
29555 | 2021-02-22 14:31 | 107.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7428 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.279 | 170305.769 | 298763.4935 | 59.9307 | 49.4
29565 | 2021-02-22 14:31 | 108.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7791 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.277 | 170313.2825 | 298758.0906 | 59.9307 | 49.4
29575 | 2021-02-22 14:31 | 108.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.8047 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.282 | 170329.4059 | 298750.0294 | 59.9307 | 49.4
29585 | 2021-02-22 14:32 | 108.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.8849 | μmol/L | 19.4845 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.284 | 170336.0826 | 298764.2166 | 59.9307 | 49.4
29595 | 2021-02-22 14:32 | 109.0017 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.8642 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.283 | 170353.5213 | 298758.7203 | 59.9307 | 49.4
29605 | 2021-02-22 14:32 | 109.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7503 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.285 | 170356.2434 | 298764.2412 | 59.9307 | 49.4
29615 | 2021-02-22 14:33 | 109.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.6934 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.286 | 170370.4192 | 298749.4678 | 59.9307 | 49.4
29625 | 2021-02-22 14:33 | 110.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.6415 | μmol/L | 19.503 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.291 | 170391.1369 | 298756.8555 | 59.9307 | 49.4
29635 | 2021-02-22 14:33 | 110.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.838 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.293 | 170405.8316 | 298744.9967 | 59.9307 | 49.4
29645 | 2021-02-22 14:34 | 110.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.6828 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.293 | 170407.5612 | 298762.1224 | 59.9307 | 49.4
29655 | 2021-02-22 14:34 | 111.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.5122 | μmol/L | 19.5092 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.296 | 170424.2379 | 298747.9767 | 59.9307 | 49.4
29665 | 2021-02-22 14:34 | 111.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4191 | μmol/L | 19.5153 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.299 | 170443.1834 | 298752.1704 | 59.9307 | 49.4
29675 | 2021-02-22 14:35 | 111.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7705 | μmol/L | 19.4536 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.301 | 170444.7524 | 298753.147 | 59.9307 | 49.4
29685 | 2021-02-22 14:35 | 112.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.7292 | μmol/L | 19.4659 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.299 | 170462.4523 | 298773.1023 | 59.9307 | 49.4
29695 | 2021-02-22 14:35 | 112.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.561 | μmol/L | 19.4783 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.304 | 170475.3727 | 298773.5291 | 59.9307 | 49.4
29705 | 2021-02-22 14:36 | 112.6685 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4448 | μmol/L | 19.4968 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.304 | 170479.1222 | 298755.6595 | 59.9307 | 49.4
29715 | 2021-02-22 14:36 | 113.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4473 | μmol/L | 19.4906 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.306 | 170505.0304 | 298768.4567 | 59.9307 | 49.4