## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23903 | 2021-02-22 10:23 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.4247 | μmol/L | 19.2362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.85 | 174302.9324 | 317284.4788 | 33.25 | 68.6
23913 | 2021-02-22 10:23 | 0.32828 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.4429 | μmol/L | 19.2362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.849 | 174262.6087 | 317269.9648 | 33.25 | 68.6
23923 | 2021-02-22 10:24 | 0.66203 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.3798 | μmol/L | 19.2483 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.848 | 174215.2832 | 317208.9175 | 33.25 | 68.6
23933 | 2021-02-22 10:24 | 0.99508 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.2747 | μmol/L | 19.2422 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.856 | 174210.186 | 317168.8997 | 33.25 | 68.6
23943 | 2021-02-22 10:24 | 1.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.188 | μmol/L | 19.2362 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.863 | 174202.8112 | 317129.0286 | 33.25 | 68.6
23953 | 2021-02-22 10:25 | 1.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.0691 | μmol/L | 19.224 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.874 | 174228.9838 | 317091.8829 | 33.25 | 68.6
23963 | 2021-02-22 10:25 | 1.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.1764 | μmol/L | 19.1936 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.879 | 174211.1011 | 317020.1121 | 33.25 | 68.6
23973 | 2021-02-22 10:25 | 2.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.222 | μmol/L | 19.1875 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.879 | 174185.7023 | 316990.544 | 33.25 | 68.6
23983 | 2021-02-22 10:26 | 2.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.1407 | μmol/L | 19.1996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.879 | 174141.0231 | 316953.2563 | 33.25 | 68.6
23993 | 2021-02-22 10:26 | 2.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.991 | μmol/L | 19.2057 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.885 | 174110.815 | 316901.7767 | 33.25 | 68.6
24003 | 2021-02-22 10:26 | 3.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.0316 | μmol/L | 19.1996 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.885 | 174075.2737 | 316875.4362 | 33.25 | 68.6
24013 | 2021-02-22 10:27 | 3.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.0266 | μmol/L | 19.1996 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.885 | 174039.4442 | 316816.1138 | 33.25 | 68.6
24023 | 2021-02-22 10:27 | 3.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9721 | μmol/L | 19.1996 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.888 | 174002.8663 | 316778.6718 | 33.25 | 68.6
24033 | 2021-02-22 10:27 | 4.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 220.0127 | μmol/L | 19.1936 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.888 | 173953.0686 | 316746.9381 | 33.25 | 68.6
24043 | 2021-02-22 10:28 | 4.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9176 | μmol/L | 19.1996 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.891 | 173931.9184 | 316707.7449 | 33.25 | 68.6
24053 | 2021-02-22 10:28 | 4.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9219 | μmol/L | 19.1936 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.893 | 173901.4339 | 316678.2873 | 33.25 | 68.6
24063 | 2021-02-22 10:28 | 5.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7862 | μmol/L | 19.2057 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.896 | 173878.9815 | 316645.9369 | 33.25 | 68.6
24073 | 2021-02-22 10:29 | 5.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9262 | μmol/L | 19.1875 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.895 | 173845.7669 | 316603.6353 | 33.25 | 68.6
24083 | 2021-02-22 10:29 | 5.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8717 | μmol/L | 19.1875 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.898 | 173825.2964 | 316572.6639 | 33.25 | 68.6
24093 | 2021-02-22 10:29 | 6.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.9123 | μmol/L | 19.1814 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.898 | 173798.821 | 316537.8455 | 33.25 | 68.6
24103 | 2021-02-22 10:30 | 6.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8396 | μmol/L | 19.1814 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.902 | 173776.7205 | 316501.9948 | 33.25 | 68.6
24113 | 2021-02-22 10:30 | 6.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8215 | μmol/L | 19.1814 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.903 | 173747.9957 | 316477.2966 | 33.25 | 68.6
24123 | 2021-02-22 10:30 | 7.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8439 | μmol/L | 19.1753 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.904 | 173718.5985 | 316433.7368 | 33.25 | 68.6
24133 | 2021-02-22 10:31 | 7.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8664 | μmol/L | 19.1692 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.905 | 173689.9089 | 316403.9241 | 33.25 | 68.6
24143 | 2021-02-22 10:31 | 7.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8301 | μmol/L | 19.1692 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.907 | 173660.3941 | 316374.3218 | 33.25 | 68.6
24153 | 2021-02-22 10:31 | 8.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7799 | μmol/L | 19.1631 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.912 | 173648.5688 | 316345.9913 | 33.25 | 68.6
24163 | 2021-02-22 10:32 | 8.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7799 | μmol/L | 19.1631 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.912 | 173618.4033 | 316303.3761 | 33.25 | 68.6
24173 | 2021-02-22 10:32 | 8.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7347 | μmol/L | 19.1571 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 23.917 | 173600.409 | 316265.6978 | 33.25 | 68.6
24183 | 2021-02-22 10:32 | 9.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8066 | μmol/L | 19.151 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.915 | 173585.7823 | 316245.5478 | 33.25 | 68.6
24193 | 2021-02-22 10:33 | 9.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7479 | μmol/L | 19.1571 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.916 | 173558.9381 | 316210.0111 | 33.25 | 68.6
24203 | 2021-02-22 10:33 | 9.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7703 | μmol/L | 19.151 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.917 | 173534.9977 | 316185.733 | 33.25 | 68.6
24213 | 2021-02-22 10:33 | 10.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8152 | μmol/L | 19.1388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.919 | 173503.0537 | 316147.429 | 33.25 | 68.6
24223 | 2021-02-22 10:34 | 10.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7608 | μmol/L | 19.1388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.922 | 173516.6957 | 316136.8698 | 33.25 | 68.6
24233 | 2021-02-22 10:34 | 10.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.8049 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.933 | 173533.5184 | 316082.0603 | 33.25 | 68.6
24243 | 2021-02-22 10:34 | 11.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.7686 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.935 | 173525.0896 | 316035.0165 | 33.25 | 68.6
24253 | 2021-02-22 10:35 | 11.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.646 | μmol/L | 19.0962 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.944 | 173539.8927 | 316022.8054 | 33.25 | 68.6
24263 | 2021-02-22 10:35 | 11.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.5916 | μmol/L | 19.0962 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.947 | 173532.1549 | 315994.1928 | 33.25 | 68.6
24273 | 2021-02-22 10:35 | 12.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.5691 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.946 | 173519.7174 | 315968.6678 | 33.25 | 68.6
24283 | 2021-02-22 10:36 | 12.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4742 | μmol/L | 19.1084 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.949 | 173520.1049 | 315939.3341 | 33.25 | 68.6
24293 | 2021-02-22 10:36 | 12.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4061 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.955 | 173489.8275 | 315905.5034 | 33.25 | 68.6
24303 | 2021-02-22 10:36 | 13.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4242 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.954 | 173474.6991 | 315879.6747 | 33.25 | 68.6
24313 | 2021-02-22 10:37 | 13.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.4242 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.954 | 173440.5937 | 315839.7118 | 33.25 | 68.6
24323 | 2021-02-22 10:37 | 13.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3475 | μmol/L | 19.1084 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.956 | 173436.9388 | 315821.9814 | 33.25 | 68.6
24333 | 2021-02-22 10:37 | 14.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.3337 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.959 | 173414.7564 | 315792.5198 | 33.25 | 68.6
24343 | 2021-02-22 10:38 | 14.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2932 | μmol/L | 19.1084 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.959 | 173408.5712 | 315786.3266 | 33.25 | 68.6
24353 | 2021-02-22 10:38 | 14.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2794 | μmol/L | 19.1023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.962 | 173420.1401 | 315750.8684 | 33.25 | 68.6
24363 | 2021-02-22 10:38 | 15.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.2295 | μmol/L | 19.0962 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.967 | 173412.3413 | 315719.0087 | 33.25 | 68.6
24373 | 2021-02-22 10:39 | 15.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.1977 | μmol/L | 19.0901 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.971 | 173417.2835 | 315701.1199 | 33.25 | 68.6
24383 | 2021-02-22 10:39 | 15.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.1435 | μmol/L | 19.0901 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.974 | 173419.3043 | 315670.8985 | 33.25 | 68.6
24393 | 2021-02-22 10:39 | 16.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0712 | μmol/L | 19.0901 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.978 | 173408.7734 | 315648.4639 | 33.25 | 68.6
24403 | 2021-02-22 10:40 | 16.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0394 | μmol/L | 19.084 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.982 | 173408.626 | 315614.5777 | 33.25 | 68.6
24413 | 2021-02-22 10:40 | 16.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 219.0662 | μmol/L | 19.0719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.985 | 173407.303 | 315604.6477 | 33.25 | 68.6
24423 | 2021-02-22 10:40 | 17.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9173 | μmol/L | 19.0779 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.991 | 173417.747 | 315573.6292 | 33.25 | 68.6
24433 | 2021-02-22 10:41 | 17.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.9578 | μmol/L | 19.0719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.991 | 173411.0445 | 315559.1145 | 33.25 | 68.6
24443 | 2021-02-22 10:41 | 17.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.8134 | μmol/L | 19.0719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.999 | 173427.0824 | 315533.673 | 33.25 | 68.6
24453 | 2021-02-22 10:41 | 18.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.7052 | μmol/L | 19.0719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.005 | 173454.491 | 315487.6368 | 33.25 | 68.6
24463 | 2021-02-22 10:42 | 18.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.615 | μmol/L | 19.0719 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.01 | 173484.0798 | 315472.903 | 33.25 | 68.6
24473 | 2021-02-22 10:42 | 18.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5517 | μmol/L | 19.0597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.018 | 173492.0254 | 315439.79 | 33.25 | 68.6
24483 | 2021-02-22 10:42 | 19.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5517 | μmol/L | 19.0597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.018 | 173479.5391 | 315426.086 | 33.25 | 68.6
24493 | 2021-02-22 10:43 | 19.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.6145 | μmol/L | 19.0475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.019 | 173453.6094 | 315407.147 | 33.25 | 68.6
24503 | 2021-02-22 10:43 | 19.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5785 | μmol/L | 19.0475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.021 | 173463.6586 | 315387.453 | 33.25 | 68.6
24513 | 2021-02-22 10:43 | 20.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.5064 | μmol/L | 19.0475 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.025 | 173465.7796 | 315370.9584 | 33.25 | 68.6
24523 | 2021-02-22 10:44 | 20.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4208 | μmol/L | 19.0414 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.032 | 173454.344 | 315333.8886 | 33.25 | 68.6
24533 | 2021-02-22 10:44 | 20.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.4792 | μmol/L | 19.0353 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.031 | 173473.6721 | 315314.5368 | 33.25 | 68.6
24543 | 2021-02-22 10:44 | 21.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.2992 | μmol/L | 19.0353 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.041 | 173506.808 | 315299.3821 | 33.25 | 68.6
24553 | 2021-02-22 10:45 | 21.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.3216 | μmol/L | 19.0293 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.042 | 173491.5568 | 315262.1914 | 33.25 | 68.6
24563 | 2021-02-22 10:45 | 21.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.344 | μmol/L | 19.0232 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.043 | 173483.3574 | 315253.7495 | 33.25 | 68.6
24573 | 2021-02-22 10:45 | 22.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.344 | μmol/L | 19.0232 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.043 | 173471.5411 | 315229.037 | 33.25 | 68.6
24583 | 2021-02-22 10:46 | 22.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.1598 | μmol/L | 19.0293 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.051 | 173476.7534 | 315212.4526 | 33.25 | 68.6
24593 | 2021-02-22 10:46 | 22.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.1642 | μmol/L | 19.0232 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.053 | 173509.2404 | 315198.8396 | 33.25 | 68.6
24603 | 2021-02-22 10:46 | 23.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0564 | μmol/L | 19.0232 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.059 | 173529.1903 | 315182.2727 | 33.25 | 68.6
24613 | 2021-02-22 10:47 | 23.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0293 | μmol/L | 19.011 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.065 | 173550.0015 | 315147.8564 | 33.25 | 68.6
24623 | 2021-02-22 10:47 | 23.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.9934 | μmol/L | 19.011 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.067 | 173541.2377 | 315121.6114 | 33.25 | 68.6
24633 | 2021-02-22 10:47 | 24.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.9754 | μmol/L | 19.011 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.068 | 173518.5259 | 315107.7456 | 33.25 | 68.6
24643 | 2021-02-22 10:48 | 24.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0157 | μmol/L | 19.0049 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.068 | 173503.8225 | 315085.5942 | 33.25 | 68.6
24653 | 2021-02-22 10:48 | 24.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0561 | μmol/L | 18.9988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.068 | 173495.8222 | 315069.6787 | 33.25 | 68.6
24663 | 2021-02-22 10:48 | 25.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 218.0022 | μmol/L | 18.9988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.071 | 173491.1358 | 315040.71 | 33.25 | 68.6
24673 | 2021-02-22 10:49 | 25.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8542 | μmol/L | 19.0049 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.077 | 173502.6856 | 315020.2433 | 33.25 | 68.6
24683 | 2021-02-22 10:49 | 25.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.8048 | μmol/L | 18.9988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.082 | 173528.7059 | 314999.1972 | 33.25 | 68.6
24693 | 2021-02-22 10:49 | 26.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7331 | μmol/L | 18.9988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.086 | 173535.4149 | 314981.6109 | 33.25 | 68.6
24703 | 2021-02-22 10:50 | 26.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7331 | μmol/L | 18.9988 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.086 | 173542.353 | 314972.2443 | 33.25 | 68.6
24713 | 2021-02-22 10:50 | 26.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7464 | μmol/L | 18.9806 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.092 | 173536.1559 | 314962.8371 | 33.25 | 68.6
24723 | 2021-02-22 10:50 | 27.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.6926 | μmol/L | 18.9806 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.095 | 173529.109 | 314926.0171 | 33.25 | 68.6
24733 | 2021-02-22 10:51 | 27.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7329 | μmol/L | 18.9745 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.095 | 173526.9252 | 314914.1599 | 33.25 | 68.6
24743 | 2021-02-22 10:51 | 27.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.6836 | μmol/L | 18.9684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.1 | 173513.6706 | 314888.4164 | 33.25 | 68.6
24753 | 2021-02-22 10:51 | 28.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7194 | μmol/L | 18.9684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.098 | 173509.074 | 314889.8564 | 33.25 | 68.6
24763 | 2021-02-22 10:52 | 28.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.6657 | μmol/L | 18.9684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.101 | 173493.2668 | 314861.1524 | 33.25 | 68.6
24773 | 2021-02-22 10:52 | 28.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.7239 | μmol/L | 18.9623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.1 | 173486.737 | 314843.8819 | 33.25 | 68.6
24783 | 2021-02-22 10:52 | 29.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.6298 | μmol/L | 18.9684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.103 | 173484.5588 | 314824.0607 | 33.25 | 68.6
24793 | 2021-02-22 10:53 | 29.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.594 | μmol/L | 18.9684 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.105 | 173471.6749 | 314805.1123 | 33.25 | 68.6
24803 | 2021-02-22 10:53 | 29.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5985 | μmol/L | 18.9623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.107 | 173472.4797 | 314778.8217 | 33.25 | 68.6
24813 | 2021-02-22 10:53 | 30.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5447 | μmol/L | 18.9623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.11 | 173461.2465 | 314763.1687 | 33.25 | 68.6
24823 | 2021-02-22 10:54 | 30.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4955 | μmol/L | 18.9562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.115 | 173465.4027 | 314759.9403 | 33.25 | 68.6
24833 | 2021-02-22 10:54 | 30.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4955 | μmol/L | 18.9562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.115 | 173468.0451 | 314737.0865 | 33.25 | 68.6
24843 | 2021-02-22 10:54 | 31.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.5044 | μmol/L | 18.9441 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.119 | 173464.1255 | 314721.337 | 33.25 | 68.6
24853 | 2021-02-22 10:55 | 31.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4463 | μmol/L | 18.9502 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.12 | 173460.9416 | 314711.3404 | 33.25 | 68.6
24863 | 2021-02-22 10:55 | 31.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4865 | μmol/L | 18.9441 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.12 | 173443.9696 | 314681.3868 | 33.25 | 68.6
24873 | 2021-02-22 10:55 | 32.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.3926 | μmol/L | 18.9502 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.123 | 173439.9816 | 314662.3763 | 33.25 | 68.6
24883 | 2021-02-22 10:56 | 32.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.4507 | μmol/L | 18.9441 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.122 | 173427.3142 | 314627.2103 | 33.25 | 68.6
24893 | 2021-02-22 10:56 | 32.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.397 | μmol/L | 18.9441 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.125 | 173435.7118 | 314636.668 | 33.25 | 68.6
24903 | 2021-02-22 10:56 | 33.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.2719 | μmol/L | 18.9441 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.132 | 173447.888 | 314623.7543 | 33.25 | 68.6
24913 | 2021-02-22 10:57 | 33.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1557 | μmol/L | 18.9319 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.143 | 173504.384 | 314595.4714 | 33.25 | 68.6
24923 | 2021-02-22 10:57 | 33.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1602 | μmol/L | 18.9258 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.145 | 173509.7826 | 314570.2552 | 33.25 | 68.6
24933 | 2021-02-22 10:57 | 34.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1022 | μmol/L | 18.9319 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.146 | 173508.05 | 314539.5398 | 33.25 | 68.6
24943 | 2021-02-22 10:58 | 34.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1691 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.149 | 173511.4549 | 314517.7313 | 33.25 | 68.6
24953 | 2021-02-22 10:58 | 34.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 217.1558 | μmol/L | 18.9076 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.152 | 173500.9782 | 314500.3615 | 33.25 | 68.6
24963 | 2021-02-22 10:58 | 35.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.9193 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.163 | 173542.2453 | 314483.5381 | 33.25 | 68.6
24973 | 2021-02-22 10:59 | 35.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8123 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.169 | 173586.9948 | 314463.3684 | 33.25 | 68.6
24983 | 2021-02-22 10:59 | 35.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7766 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.171 | 173574.7752 | 314455.8689 | 33.25 | 68.6
24993 | 2021-02-22 10:59 | 36.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.8703 | μmol/L | 18.9076 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.168 | 173562.0262 | 314415.6399 | 33.25 | 68.6
25003 | 2021-02-22 11:00 | 36.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7588 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.172 | 173549.6844 | 314396.5232 | 33.25 | 68.6
25013 | 2021-02-22 11:00 | 36.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7678 | μmol/L | 18.9015 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.176 | 173577.4795 | 314383.6383 | 33.25 | 68.6
25023 | 2021-02-22 11:00 | 37.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.7367 | μmol/L | 18.8954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.18 | 173597.848 | 314369.5926 | 33.25 | 68.6
25033 | 2021-02-22 11:01 | 37.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.6877 | μmol/L | 18.8893 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.185 | 173607.4095 | 314350.7236 | 33.25 | 68.6
25043 | 2021-02-22 11:01 | 37.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.621 | μmol/L | 18.8832 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.191 | 173623.1535 | 314333.5414 | 33.25 | 68.6
25053 | 2021-02-22 11:01 | 38.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5676 | μmol/L | 18.8832 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.194 | 173619.6665 | 314321.9524 | 33.25 | 68.6
25063 | 2021-02-22 11:02 | 38.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5944 | μmol/L | 18.871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.197 | 173636.289 | 314276.3729 | 33.25 | 68.6
25073 | 2021-02-22 11:02 | 38.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.5232 | μmol/L | 18.871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.201 | 173643.6989 | 314262.2903 | 33.25 | 68.6
25083 | 2021-02-22 11:02 | 39.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.4921 | μmol/L | 18.865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.205 | 173665.6166 | 314259.4285 | 33.25 | 68.6
25093 | 2021-02-22 11:03 | 39.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.4255 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.211 | 173689.7966 | 314246.5709 | 33.25 | 68.6
25103 | 2021-02-22 11:03 | 39.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.3544 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.215 | 173699.676 | 314223.7149 | 33.25 | 68.6
25113 | 2021-02-22 11:03 | 40.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.3366 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.216 | 173693.9858 | 314195.0881 | 33.25 | 68.6
25123 | 2021-02-22 11:04 | 40.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2255 | μmol/L | 18.865 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.22 | 173688.3164 | 314177.9608 | 33.25 | 68.6
25133 | 2021-02-22 11:04 | 40.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2833 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.219 | 173691.594 | 314171.9527 | 33.25 | 68.6
25143 | 2021-02-22 11:04 | 41.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1945 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.224 | 173692.46 | 314144.3321 | 33.25 | 68.6
25153 | 2021-02-22 11:05 | 41.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1945 | μmol/L | 18.8589 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.224 | 173677.8237 | 314135.834 | 33.25 | 68.6
25163 | 2021-02-22 11:05 | 41.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2168 | μmol/L | 18.8528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.225 | 173671.739 | 314122.0861 | 33.25 | 68.6
25173 | 2021-02-22 11:05 | 42.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2569 | μmol/L | 18.8467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.225 | 173663.3375 | 314106.7126 | 33.25 | 68.6
25183 | 2021-02-22 11:06 | 42.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.2036 | μmol/L | 18.8467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.228 | 173661.9151 | 314096.3185 | 33.25 | 68.6
25193 | 2021-02-22 11:06 | 42.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0618 | μmol/L | 18.8528 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.234 | 173687.321 | 314079.7537 | 33.25 | 68.6
25203 | 2021-02-22 11:06 | 43.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0793 | μmol/L | 18.8467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.235 | 173673.5592 | 314062.585 | 33.25 | 68.6
25213 | 2021-02-22 11:07 | 43.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0438 | μmol/L | 18.8467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.237 | 173669.0353 | 314061.5766 | 33.25 | 68.6
25223 | 2021-02-22 11:07 | 43.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0083 | μmol/L | 18.8467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.239 | 173670.4652 | 314051.1873 | 33.25 | 68.6
25233 | 2021-02-22 11:07 | 44.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0306 | μmol/L | 18.8406 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.24 | 173656.1149 | 314017.9068 | 33.25 | 68.6
25243 | 2021-02-22 11:08 | 44.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0529 | μmol/L | 18.8345 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.241 | 173642.8639 | 314019.752 | 33.25 | 68.6
25253 | 2021-02-22 11:08 | 44.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0574 | μmol/L | 18.8285 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.243 | 173641.7072 | 313993.9287 | 33.25 | 68.6
25263 | 2021-02-22 11:08 | 45.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0665 | μmol/L | 18.8163 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173635.5101 | 313981.347 | 33.25 | 68.6
25273 | 2021-02-22 11:09 | 45.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9688 | μmol/L | 18.8285 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.248 | 173635.4599 | 313967.0239 | 33.25 | 68.6
25283 | 2021-02-22 11:09 | 45.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0797 | μmol/L | 18.8224 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.244 | 173612.4737 | 313947.9279 | 33.25 | 68.6
25293 | 2021-02-22 11:09 | 46.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0667 | μmol/L | 18.8224 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.245 | 173595.2839 | 313949.5497 | 33.25 | 68.6
25303 | 2021-02-22 11:10 | 46.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1066 | μmol/L | 18.8102 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173594.4684 | 313931.7641 | 33.25 | 68.6
25313 | 2021-02-22 11:10 | 46.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1466 | μmol/L | 18.8041 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173590.3194 | 313929.7345 | 33.25 | 68.6
25323 | 2021-02-22 11:10 | 47.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1466 | μmol/L | 18.8041 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173577.397 | 313913.8355 | 33.25 | 68.6
25333 | 2021-02-22 11:11 | 47.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1867 | μmol/L | 18.798 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173565.0478 | 313895.612 | 33.25 | 68.6
25343 | 2021-02-22 11:11 | 47.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1689 | μmol/L | 18.798 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.248 | 173565.2052 | 313897.7869 | 33.25 | 68.6
25353 | 2021-02-22 11:11 | 48.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1202 | μmol/L | 18.7919 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173564.1271 | 313855.3621 | 33.25 | 68.6
25363 | 2021-02-22 11:12 | 48.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1025 | μmol/L | 18.7919 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173561.8204 | 313863.7166 | 33.25 | 68.6
25373 | 2021-02-22 11:12 | 48.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1294 | μmol/L | 18.7798 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.257 | 173565.0545 | 313847.3322 | 33.25 | 68.6
25383 | 2021-02-22 11:12 | 49.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0584 | μmol/L | 18.7798 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173558.7556 | 313838.5472 | 33.25 | 68.6
25393 | 2021-02-22 11:13 | 49.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1872 | μmol/L | 18.7737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173545.923 | 313832.404 | 33.25 | 68.6
25403 | 2021-02-22 11:13 | 49.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1517 | μmol/L | 18.7737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.258 | 173537.5792 | 313811.9369 | 33.25 | 68.6
25413 | 2021-02-22 11:13 | 50.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1694 | μmol/L | 18.7737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.257 | 173540.0028 | 313812.3628 | 33.25 | 68.6
25423 | 2021-02-22 11:14 | 50.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.1563 | μmol/L | 18.7676 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173584.1021 | 313800.3021 | 33.25 | 68.6
25433 | 2021-02-22 11:14 | 50.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 216.0321 | μmol/L | 18.7676 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.267 | 173627.0098 | 313787.6736 | 33.25 | 68.6
25443 | 2021-02-22 11:14 | 51.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8903 | μmol/L | 18.7676 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173654.5039 | 313778.1783 | 33.25 | 68.6
25453 | 2021-02-22 11:15 | 51.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8949 | μmol/L | 18.7615 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173660.6569 | 313756.8514 | 33.25 | 68.6
25463 | 2021-02-22 11:15 | 51.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8463 | μmol/L | 18.7554 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173668.7915 | 313749.0957 | 33.25 | 68.6
25473 | 2021-02-22 11:15 | 52.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9395 | μmol/L | 18.7494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173666.6734 | 313749.6047 | 33.25 | 68.6
25483 | 2021-02-22 11:16 | 52.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9132 | μmol/L | 18.7372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.285 | 173646.5242 | 313735.6347 | 33.25 | 68.6
25493 | 2021-02-22 11:16 | 52.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8863 | μmol/L | 18.7494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173637.2785 | 313711.7326 | 33.25 | 68.6
25503 | 2021-02-22 11:16 | 53.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9664 | μmol/L | 18.7372 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173617.0952 | 313698.6361 | 33.25 | 68.6
25513 | 2021-02-22 11:17 | 53.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.9395 | μmol/L | 18.7494 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173608.6106 | 313701.6884 | 33.25 | 68.6
25523 | 2021-02-22 11:17 | 53.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.7663 | μmol/L | 18.7676 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.282 | 173600.59 | 313694.7916 | 33.25 | 68.6
25533 | 2021-02-22 11:17 | 54.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.8149 | μmol/L | 18.7737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173596.9878 | 313679.203 | 33.25 | 68.6
25543 | 2021-02-22 11:18 | 54.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.7349 | μmol/L | 18.7859 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.277 | 173588.4265 | 313665.6395 | 33.25 | 68.6
25553 | 2021-02-22 11:18 | 54.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.6595 | μmol/L | 18.7919 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.279 | 173591.4987 | 313653.6801 | 33.25 | 68.6
25563 | 2021-02-22 11:18 | 55.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.6951 | μmol/L | 18.798 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173567.4779 | 313642.1196 | 33.25 | 68.6
25573 | 2021-02-22 11:19 | 55.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5128 | μmol/L | 18.8224 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.276 | 173566.4867 | 313636.5793 | 33.25 | 68.6
25583 | 2021-02-22 11:19 | 55.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.5214 | μmol/L | 18.8345 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173555.8011 | 313619.9533 | 33.25 | 68.6
25593 | 2021-02-22 11:19 | 56.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.4017 | μmol/L | 18.8528 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173545.3412 | 313606.0741 | 33.25 | 68.6
25603 | 2021-02-22 11:20 | 56.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.229 | μmol/L | 18.871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.274 | 173540.8149 | 313590.5179 | 33.25 | 68.6
25613 | 2021-02-22 11:20 | 56.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0919 | μmol/L | 18.8893 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.275 | 173530.4609 | 313589.2299 | 33.25 | 68.6
25623 | 2021-02-22 11:20 | 57.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 215.0032 | μmol/L | 18.9136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173519.467 | 313569.0386 | 33.25 | 68.6
25633 | 2021-02-22 11:21 | 57.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.9015 | μmol/L | 18.9319 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.27 | 173518.5333 | 313551.4815 | 33.25 | 68.6
25643 | 2021-02-22 11:21 | 57.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7248 | μmol/L | 18.9562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173503.8427 | 313536.8455 | 33.25 | 68.6
25653 | 2021-02-22 11:21 | 58.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7203 | μmol/L | 18.9623 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.269 | 173487.8925 | 313523.8185 | 33.25 | 68.6
25663 | 2021-02-22 11:22 | 58.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.698 | μmol/L | 18.9927 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.259 | 173455.2682 | 313512.4128 | 33.25 | 68.6
25673 | 2021-02-22 11:22 | 58.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.9007 | μmol/L | 19.0049 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.243 | 173390.0201 | 313491.8101 | 33.25 | 68.6
25683 | 2021-02-22 11:22 | 59.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.7373 | μmol/L | 19.0353 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.241 | 173377.5327 | 313485.6645 | 33.25 | 68.6
25693 | 2021-02-22 11:23 | 59.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.4728 | μmol/L | 19.0597 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173385.9294 | 313474.7894 | 33.25 | 68.6
25703 | 2021-02-22 11:23 | 59.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.3539 | μmol/L | 19.0779 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.247 | 173373.3538 | 313461.61 | 33.25 | 68.6
25713 | 2021-02-22 11:23 | 60.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 214.1472 | μmol/L | 19.0962 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.252 | 173396.2954 | 313456.0407 | 33.25 | 68.6
25723 | 2021-02-22 11:24 | 60.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.9362 | μmol/L | 19.1205 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.255 | 173396.2786 | 313444.3319 | 33.25 | 68.6
25733 | 2021-02-22 11:24 | 60.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.8132 | μmol/L | 19.1449 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173417.3618 | 313444.0446 | 33.25 | 68.6
25743 | 2021-02-22 11:24 | 61.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.7123 | μmol/L | 19.1631 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.252 | 173419.0552 | 313420.6005 | 33.25 | 68.6
25753 | 2021-02-22 11:25 | 61.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5369 | μmol/L | 19.1875 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173407.8873 | 313422.1848 | 33.25 | 68.6
25763 | 2021-02-22 11:25 | 61.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.5326 | μmol/L | 19.1936 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.251 | 173406.1814 | 313396.0147 | 33.25 | 68.6
25773 | 2021-02-22 11:25 | 62.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.283 | μmol/L | 19.224 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173411.6968 | 313366.3426 | 33.25 | 68.6
25783 | 2021-02-22 11:26 | 62.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0822 | μmol/L | 19.2422 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.259 | 173422.9373 | 313363.3893 | 33.25 | 68.6
25793 | 2021-02-22 11:26 | 62.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 213.0162 | μmol/L | 19.2544 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.258 | 173441.0881 | 313365.0874 | 33.25 | 68.6
25803 | 2021-02-22 11:26 | 63.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.9075 | μmol/L | 19.2666 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173451.3565 | 313342.3528 | 33.25 | 68.6
25813 | 2021-02-22 11:27 | 63.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7324 | μmol/L | 19.2848 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.263 | 173466.5927 | 313333.9926 | 33.25 | 68.6
25823 | 2021-02-22 11:27 | 63.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.7063 | μmol/L | 19.297 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173473.9673 | 313324.1718 | 33.25 | 68.6
25833 | 2021-02-22 11:27 | 64.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.5934 | μmol/L | 19.3153 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173460.2285 | 313325.4831 | 33.25 | 68.6
25843 | 2021-02-22 11:28 | 64.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.4583 | μmol/L | 19.3335 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173462.4558 | 313313.2719 | 33.25 | 68.6
25853 | 2021-02-22 11:28 | 64.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.3577 | μmol/L | 19.3457 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.262 | 173464.9307 | 313302.5573 | 33.25 | 68.6
25863 | 2021-02-22 11:28 | 65.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.2451 | μmol/L | 19.364 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.262 | 173465.6539 | 313286.0777 | 33.25 | 68.6
25873 | 2021-02-22 11:29 | 65.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1577 | μmol/L | 19.3822 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173451.6841 | 313287.2794 | 33.25 | 68.6
25883 | 2021-02-22 11:29 | 65.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1402 | μmol/L | 19.3822 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173457.632 | 313274.0636 | 33.25 | 68.6
25893 | 2021-02-22 11:29 | 66.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 212.1191 | μmol/L | 19.3944 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.258 | 173460.5718 | 313272.7579 | 33.25 | 68.6
25903 | 2021-02-22 11:30 | 66.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.9838 | μmol/L | 19.4066 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173462.4996 | 313250.6725 | 33.25 | 68.6
25913 | 2021-02-22 11:30 | 66.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.9411 | μmol/L | 19.4248 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.257 | 173453.9269 | 313245.0695 | 33.25 | 68.6
25923 | 2021-02-22 11:30 | 67.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.8233 | μmol/L | 19.437 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.259 | 173440.7491 | 313243.035 | 33.25 | 68.6
25933 | 2021-02-22 11:31 | 67.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.8365 | μmol/L | 19.4431 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173432.8404 | 313231.1138 | 33.25 | 68.6
25943 | 2021-02-22 11:31 | 67.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7715 | μmol/L | 19.4613 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173420.6884 | 313212.2368 | 33.25 | 68.6
25953 | 2021-02-22 11:31 | 68.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6414 | μmol/L | 19.4735 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173418.1327 | 313213.1557 | 33.25 | 68.6
25963 | 2021-02-22 11:32 | 68.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.7109 | μmol/L | 19.4735 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.252 | 173399.8278 | 313204.1255 | 33.25 | 68.6
25973 | 2021-02-22 11:32 | 68.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.6155 | μmol/L | 19.4857 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173393.3249 | 313191.0945 | 33.25 | 68.6
25983 | 2021-02-22 11:32 | 69.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5939 | μmol/L | 19.4918 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.252 | 173375.8007 | 313192.6216 | 33.25 | 68.6
25993 | 2021-02-22 11:33 | 69.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.5202 | μmol/L | 19.4979 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173369.0224 | 313184.5892 | 33.25 | 68.6
26003 | 2021-02-22 11:33 | 69.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4812 | μmol/L | 19.5039 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173372.6402 | 313177.5267 | 33.25 | 68.6
26013 | 2021-02-22 11:33 | 70.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4986 | μmol/L | 19.5039 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173371.4936 | 313171.3949 | 33.25 | 68.6
26023 | 2021-02-22 11:34 | 70.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4082 | μmol/L | 19.5161 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173350.8222 | 313140.9205 | 33.25 | 68.6
26033 | 2021-02-22 11:34 | 70.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.4554 | μmol/L | 19.5161 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.251 | 173339.4787 | 313133.4184 | 33.25 | 68.6
26043 | 2021-02-22 11:34 | 71.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.3386 | μmol/L | 19.5344 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.251 | 173329.0073 | 313124.3489 | 33.25 | 68.6
26053 | 2021-02-22 11:35 | 71.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.226 | μmol/L | 19.5465 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.253 | 173330.7831 | 313127.9658 | 33.25 | 68.6
26063 | 2021-02-22 11:35 | 71.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.1698 | μmol/L | 19.5526 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.254 | 173339.5528 | 313112.3134 | 33.25 | 68.6
26073 | 2021-02-22 11:35 | 72.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.0574 | μmol/L | 19.5648 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173338.5004 | 313115.9443 | 33.25 | 68.6
26083 | 2021-02-22 11:36 | 72.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 211.0234 | μmol/L | 19.5709 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173352.0055 | 313109.3117 | 33.25 | 68.6
26093 | 2021-02-22 11:36 | 72.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9797 | μmol/L | 19.577 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173335.2914 | 313093.8183 | 33.25 | 68.6
26103 | 2021-02-22 11:36 | 73.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9457 | μmol/L | 19.5831 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173348.1118 | 313094.4994 | 33.25 | 68.6
26113 | 2021-02-22 11:37 | 73.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9457 | μmol/L | 19.5831 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173344.4102 | 313099.7908 | 33.25 | 68.6
26123 | 2021-02-22 11:37 | 73.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.9062 | μmol/L | 19.5831 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.258 | 173348.7765 | 313086.9278 | 33.25 | 68.6
26133 | 2021-02-22 11:37 | 74.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8681 | μmol/L | 19.5952 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.256 | 173330.4853 | 313079.2439 | 33.25 | 68.6
26143 | 2021-02-22 11:38 | 74.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8896 | μmol/L | 19.5891 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.257 | 173339.0058 | 313076.1126 | 33.25 | 68.6
26153 | 2021-02-22 11:38 | 74.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8508 | μmol/L | 19.5952 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.257 | 173326.5801 | 313057.9189 | 33.25 | 68.6
26163 | 2021-02-22 11:38 | 75.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.8078 | μmol/L | 19.6074 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.255 | 173320.0866 | 313061.4295 | 33.25 | 68.6
26173 | 2021-02-22 11:39 | 75.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7558 | μmol/L | 19.6074 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.258 | 173328.0378 | 313057.9749 | 33.25 | 68.6
26183 | 2021-02-22 11:39 | 75.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6997 | μmol/L | 19.6135 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.259 | 173339.6603 | 313050.2628 | 33.25 | 68.6
26193 | 2021-02-22 11:39 | 76.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.7254 | μmol/L | 19.6013 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.262 | 173337.5075 | 313031.188 | 33.25 | 68.6
26203 | 2021-02-22 11:40 | 76.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6306 | μmol/L | 19.6135 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.263 | 173340.3858 | 313035.56 | 33.25 | 68.6
26213 | 2021-02-22 11:40 | 76.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6264 | μmol/L | 19.6196 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173333.5577 | 313019.6585 | 33.25 | 68.6
26223 | 2021-02-22 11:40 | 77.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6264 | μmol/L | 19.6196 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173336.7786 | 313015.8988 | 33.25 | 68.6
26233 | 2021-02-22 11:41 | 77.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6997 | μmol/L | 19.6135 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.259 | 173336.875 | 313012.9465 | 33.25 | 68.6
26243 | 2021-02-22 11:41 | 77.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6651 | μmol/L | 19.6135 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.261 | 173339.6669 | 313008.6196 | 33.25 | 68.6
26253 | 2021-02-22 11:41 | 78.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6824 | μmol/L | 19.6135 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.26 | 173343.934 | 313000.3727 | 33.25 | 68.6
26263 | 2021-02-22 11:42 | 78.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6866 | μmol/L | 19.6074 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.262 | 173337.9796 | 313000.1669 | 33.25 | 68.6
26273 | 2021-02-22 11:42 | 78.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.6091 | μmol/L | 19.6196 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.262 | 173352.0492 | 312992.9439 | 33.25 | 68.6
26283 | 2021-02-22 11:42 | 79.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4666 | μmol/L | 19.6257 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.268 | 173358.947 | 312984.9972 | 33.25 | 68.6
26293 | 2021-02-22 11:43 | 79.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.4237 | μmol/L | 19.6378 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.266 | 173365.5932 | 312980.2784 | 33.25 | 68.6
26303 | 2021-02-22 11:43 | 79.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.3249 | μmol/L | 19.6561 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.265 | 173352.8854 | 312966.1568 | 33.25 | 68.6
26313 | 2021-02-22 11:43 | 80.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 210.1439 | μmol/L | 19.6683 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 24.271 | 173376.9388 | 312957.8186 | 33.25 | 68.6