## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26326 | 2021-02-22 12:43 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3665 | μmol/L | 19.364 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.664 | 176284.2438 | 312730.0791 | 33.25 | 68.6 | #N/A
26336 | 2021-02-22 12:44 | 0.32748 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3329 | μmol/L | 19.364 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.666 | 176293.0353 | 312750.2476 | 33.25 | 68.6 | #N/A
26346 | 2021-02-22 12:44 | 0.66118 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3544 | μmol/L | 19.364 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.665 | 176299.9766 | 312749.465 | 33.25 | 68.6 | #N/A
26356 | 2021-02-22 12:44 | 0.99408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3253 | μmol/L | 19.3579 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 24.669 | 176281.5567 | 312721.3831 | 33.25 | 68.6 | #N/A
26366 | 2021-02-22 12:45 | 1.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2703 | μmol/L | 19.3579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.672 | 176288.6192 | 312710.8973 | 33.25 | 68.6 | #N/A
26376 | 2021-02-22 12:45 | 1.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.3038 | μmol/L | 19.3579 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.67 | 176286.5668 | 312717.8956 | 33.25 | 68.6 | #N/A | -0.43135 | 25.8812
26386 | 2021-02-22 12:45 | 1.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2915 | μmol/L | 19.3518 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.673 | 176285.224 | 312702.2326 | 33.25 | 68.6 | #N/A | 207.9044
26396 | 2021-02-22 12:46 | 2.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2077 | μmol/L | 19.3518 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.678 | 176300.8866 | 312708.2095 | 33.25 | 68.6 | #N/A
26406 | 2021-02-22 12:46 | 2.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.2624 | μmol/L | 19.3457 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.677 | 176316.5316 | 312693.427 | 33.25 | 68.6 | #N/A
26416 | 2021-02-22 12:46 | 2.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1787 | μmol/L | 19.3457 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.682 | 176333.6639 | 312668.8932 | 33.25 | 68.6 | #N/A
26426 | 2021-02-22 12:47 | 3.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.1161 | μmol/L | 19.3396 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.688 | 176371.6397 | 312672.4775 | 33.25 | 68.6 | #N/A
26436 | 2021-02-22 12:47 | 3.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0158 | μmol/L | 19.3396 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.694 | 176411.0697 | 312671.7742 | 33.25 | 68.6 | #N/A
26446 | 2021-02-22 12:47 | 3.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 205.0079 | μmol/L | 19.3274 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.699 | 176441.9568 | 312676.396 | 33.25 | 68.6 | #N/A
26456 | 2021-02-22 12:48 | 4.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9032 | μmol/L | 19.3335 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.703 | 176462.0795 | 312662.149 | 33.25 | 68.6 | #N/A
26466 | 2021-02-22 12:48 | 4.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.9287 | μmol/L | 19.3214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.706 | 176493.3295 | 312666.3909 | 33.25 | 68.6 | #N/A
26476 | 2021-02-22 12:48 | 4.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.8118 | μmol/L | 19.3214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.713 | 176527.9968 | 312644.7341 | 33.25 | 68.6 | #N/A
26486 | 2021-02-22 12:49 | 5.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.7617 | μmol/L | 19.3214 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.716 | 176560.02 | 312642.0302 | 33.25 | 68.6 | #N/A
26496 | 2021-02-22 12:49 | 5.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.7037 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.724 | 176590.8319 | 312621.8839 | 33.25 | 68.6 | #N/A
26506 | 2021-02-22 12:49 | 5.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.6037 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.73 | 176645.8834 | 312622.4385 | 33.25 | 68.6 | #N/A
26516 | 2021-02-22 12:50 | 6.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.5036 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.736 | 176679.6729 | 312625.256 | 33.25 | 68.6 | #N/A
26526 | 2021-02-22 12:50 | 6.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.4203 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.741 | 176729.3276 | 312632.1042 | 33.25 | 68.6 | #N/A
26536 | 2021-02-22 12:50 | 6.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.3204 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.747 | 176774.2046 | 312628.8379 | 33.25 | 68.6 | #N/A
26546 | 2021-02-22 12:51 | 7.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.154 | μmol/L | 19.3092 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.757 | 176811.6737 | 312609.1585 | 33.25 | 68.6 | #N/A
26556 | 2021-02-22 12:51 | 7.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.1795 | μmol/L | 19.297 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.76 | 176840.9564 | 312601.0491 | 33.25 | 68.6 | #N/A
26566 | 2021-02-22 12:51 | 7.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0797 | μmol/L | 19.297 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.766 | 176893.647 | 312592.1807 | 33.25 | 68.6 | #N/A
26576 | 2021-02-22 12:52 | 8.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 204.0176 | μmol/L | 19.2909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.772 | 176949.6032 | 312600.0764 | 33.25 | 68.6 | #N/A
26586 | 2021-02-22 12:52 | 8.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.8515 | μmol/L | 19.2909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.782 | 176997.7186 | 312594.0758 | 33.25 | 68.6 | #N/A
26596 | 2021-02-22 12:52 | 8.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.8017 | μmol/L | 19.2909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.785 | 177056.5512 | 312574.7465 | 33.25 | 68.6 | #N/A
26606 | 2021-02-22 12:53 | 9.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.6193 | μmol/L | 19.2909 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.796 | 177111.6338 | 312576.3522 | 33.25 | 68.6 | #N/A
26616 | 2021-02-22 12:53 | 9.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.5242 | μmol/L | 19.2848 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.804 | 177169.9693 | 312578.8756 | 33.25 | 68.6 | #N/A
26626 | 2021-02-22 12:53 | 9.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.4624 | μmol/L | 19.2788 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.81 | 177217.7394 | 312567.5843 | 33.25 | 68.6 | #N/A
26636 | 2021-02-22 12:54 | 10.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.3841 | μmol/L | 19.2727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.817 | 177278.2046 | 312579.168 | 33.25 | 68.6 | #N/A
26646 | 2021-02-22 12:54 | 10.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.2517 | μmol/L | 19.2727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.825 | 177328.524 | 312575.0751 | 33.25 | 68.6 | #N/A
26656 | 2021-02-22 12:54 | 10.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.19 | μmol/L | 19.2666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.831 | 177372.5137 | 312545.2879 | 33.25 | 68.6 | #N/A
26666 | 2021-02-22 12:55 | 11.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 203.0202 | μmol/L | 19.2727 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.839 | 177431.0957 | 312553.3064 | 33.25 | 68.6 | #N/A
26676 | 2021-02-22 12:55 | 11.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.8926 | μmol/L | 19.2666 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.849 | 177479.1361 | 312547.3238 | 33.25 | 68.6 | #N/A
26686 | 2021-02-22 12:55 | 11.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.864 | μmol/L | 19.2605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.853 | 177545.1436 | 312552.2802 | 33.25 | 68.6 | #N/A
26696 | 2021-02-22 12:56 | 12.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.699 | μmol/L | 19.2605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.863 | 177621.0159 | 312542.7541 | 33.25 | 68.6 | #N/A
26706 | 2021-02-22 12:56 | 12.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.5178 | μmol/L | 19.2605 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.874 | 177686.9225 | 312534.2298 | 33.25 | 68.6 | #N/A
26716 | 2021-02-22 12:56 | 12.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.3741 | μmol/L | 19.2544 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.885 | 177773.5801 | 312539.5514 | 33.25 | 68.6 | #N/A
26726 | 2021-02-22 12:57 | 13.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.1931 | μmol/L | 19.2544 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.896 | 177858.5373 | 312535.1963 | 33.25 | 68.6 | #N/A
26736 | 2021-02-22 12:57 | 13.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 202.0242 | μmol/L | 19.2544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.906 | 177952.9738 | 312532.4338 | 33.25 | 68.6 | #N/A
26746 | 2021-02-22 12:57 | 13.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.8929 | μmol/L | 19.2544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.914 | 178021.4964 | 312524.8347 | 33.25 | 68.6 | #N/A
26756 | 2021-02-22 12:58 | 14.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.6841 | μmol/L | 19.2483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.929 | 178116.6496 | 312527.8281 | 33.25 | 68.6 | #N/A
26766 | 2021-02-22 12:58 | 14.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.5531 | μmol/L | 19.2483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.937 | 178196.0034 | 312525.3269 | 33.25 | 68.6 | #N/A
26776 | 2021-02-22 12:58 | 14.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.3939 | μmol/L | 19.2422 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.949 | 178281.1745 | 312523.9106 | 33.25 | 68.6 | #N/A
26786 | 2021-02-22 12:59 | 15.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.2675 | μmol/L | 19.2362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.959 | 178364.4981 | 312510.2345 | 33.25 | 68.6 | #N/A
26796 | 2021-02-22 12:59 | 15.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 201.0551 | μmol/L | 19.2362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.972 | 178439.6971 | 312515.867 | 33.25 | 68.6 | #N/A
26806 | 2021-02-22 12:59 | 15.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.9245 | μmol/L | 19.2362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.98 | 178528.2948 | 312506.2832 | 33.25 | 68.6 | #N/A
26816 | 2021-02-22 13:00 | 16.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.7659 | μmol/L | 19.2301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.992 | 178598.5532 | 312508.9861 | 33.25 | 68.6 | #N/A
26826 | 2021-02-22 13:00 | 16.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.6563 | μmol/L | 19.224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.001 | 178671.901 | 312496.8608 | 33.25 | 68.6 | #N/A
26836 | 2021-02-22 13:00 | 16.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.5306 | μmol/L | 19.2179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.011 | 178768.6895 | 312514.3138 | 33.25 | 68.6 | #N/A
26846 | 2021-02-22 13:01 | 17.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.2821 | μmol/L | 19.224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.024 | 178839.1994 | 312491.6242 | 33.25 | 68.6 | #N/A
26856 | 2021-02-22 13:01 | 17.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.2261 | μmol/L | 19.2118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.032 | 178925.5742 | 312511.661 | 33.25 | 68.6 | #N/A
26866 | 2021-02-22 13:01 | 17.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.1079 | μmol/L | 19.2179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.037 | 178985.4207 | 312491.6963 | 33.25 | 68.6 | #N/A
26876 | 2021-02-22 13:02 | 18.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.9825 | μmol/L | 19.2118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.047 | 179063.4267 | 312498.2158 | 33.25 | 68.6 | #N/A
26886 | 2021-02-22 13:02 | 18.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.8528 | μmol/L | 19.2118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.055 | 179125.6523 | 312488.0652 | 33.25 | 68.6 | #N/A
26896 | 2021-02-22 13:02 | 18.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.7115 | μmol/L | 19.2057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.066 | 179186.9198 | 312481.7269 | 33.25 | 68.6 | #N/A
26906 | 2021-02-22 13:03 | 19.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.5657 | μmol/L | 19.2057 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.075 | 179246.2781 | 312490.9222 | 33.25 | 68.6 | #N/A
26916 | 2021-02-22 13:03 | 19.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.5424 | μmol/L | 19.1936 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.081 | 179296.3725 | 312474.6151 | 33.25 | 68.6 | #N/A
26926 | 2021-02-22 13:03 | 19.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.4085 | μmol/L | 19.1996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.087 | 179363.6169 | 312473.1676 | 33.25 | 68.6 | #N/A
26936 | 2021-02-22 13:04 | 20.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.263 | μmol/L | 19.1996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.096 | 179412.1933 | 312476.1017 | 33.25 | 68.6 | #N/A
26946 | 2021-02-22 13:04 | 20.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.1016 | μmol/L | 19.1996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.106 | 179478.4508 | 312472.654 | 33.25 | 68.6 | #N/A
26956 | 2021-02-22 13:04 | 20.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.1267 | μmol/L | 19.1875 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.109 | 179526.2343 | 312466.7462 | 33.25 | 68.6 | #N/A
26966 | 2021-02-22 13:05 | 21.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.9332 | μmol/L | 19.1875 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.121 | 179604.7107 | 312452.2556 | 33.25 | 68.6 | #N/A
26976 | 2021-02-22 13:05 | 21.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.772 | μmol/L | 19.1875 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.131 | 179677.2455 | 312465.3963 | 33.25 | 68.6 | #N/A
26986 | 2021-02-22 13:05 | 21.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.7166 | μmol/L | 19.1753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.139 | 179750.7937 | 312461.4072 | 33.25 | 68.6 | #N/A
26996 | 2021-02-22 13:06 | 22.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.5557 | μmol/L | 19.1753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.149 | 179821.3162 | 312460.1818 | 33.25 | 68.6 | #N/A
27006 | 2021-02-22 13:06 | 22.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.4271 | μmol/L | 19.1753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.157 | 179909.2374 | 312452.0196 | 33.25 | 68.6 | #N/A
27016 | 2021-02-22 13:06 | 22.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.2504 | μmol/L | 19.1753 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.168 | 179979.2574 | 312453.79 | 33.25 | 68.6 | #N/A
27026 | 2021-02-22 13:07 | 23.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1104 | μmol/L | 19.1692 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.179 | 180050.4415 | 312442.2893 | 33.25 | 68.6 | #N/A
27036 | 2021-02-22 13:07 | 23.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.9501 | μmol/L | 19.1692 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.189 | 180131.6991 | 312434.3088 | 33.25 | 68.6 | #N/A
27046 | 2021-02-22 13:07 | 23.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.8425 | μmol/L | 19.1631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.198 | 180201.4898 | 312441.2484 | 33.25 | 68.6 | #N/A
27056 | 2021-02-22 13:08 | 24.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6709 | μmol/L | 19.1571 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.211 | 180275.0104 | 312434.7364 | 33.25 | 68.6 | #N/A
27066 | 2021-02-22 13:08 | 24.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6275 | μmol/L | 19.151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.216 | 180367.3194 | 312434.9063 | 33.25 | 68.6 | #N/A
27076 | 2021-02-22 13:08 | 24.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3467 | μmol/L | 19.1631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.229 | 180429.839 | 312432.5065 | 33.25 | 68.6 | #N/A
27086 | 2021-02-22 13:09 | 25.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3079 | μmol/L | 19.151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.236 | 180486.1777 | 312416.5959 | 33.25 | 68.6 | #N/A
27096 | 2021-02-22 13:09 | 25.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1529 | μmol/L | 19.1449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.248 | 180553.189 | 312412.7794 | 33.25 | 68.6 | #N/A
27106 | 2021-02-22 13:09 | 25.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0731 | μmol/L | 19.1449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.253 | 180627.3087 | 312422.6733 | 33.25 | 68.6 | #N/A
27116 | 2021-02-22 13:10 | 26.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9297 | μmol/L | 19.1449 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.262 | 180695.4155 | 312426.8053 | 33.25 | 68.6 | #N/A
27126 | 2021-02-22 13:10 | 26.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8865 | μmol/L | 19.1388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.267 | 180743.6754 | 312413.1597 | 33.25 | 68.6 | #N/A
27136 | 2021-02-22 13:10 | 26.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7478 | μmol/L | 19.1327 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.278 | 180804.1177 | 312406.7654 | 33.25 | 68.6 | #N/A
27146 | 2021-02-22 13:11 | 27.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5842 | μmol/L | 19.1388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.286 | 180866.7201 | 312410.4391 | 33.25 | 68.6 | #N/A
27156 | 2021-02-22 13:11 | 27.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4934 | μmol/L | 19.1327 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.294 | 180926.7094 | 312414.8838 | 33.25 | 68.6 | #N/A
27166 | 2021-02-22 13:11 | 27.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4457 | μmol/L | 19.1327 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.297 | 180979.1423 | 312411.5192 | 33.25 | 68.6 | #N/A
27176 | 2021-02-22 13:12 | 28.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2916 | μmol/L | 19.1266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.309 | 181022.8276 | 312396.474 | 33.25 | 68.6 | #N/A
27186 | 2021-02-22 13:12 | 28.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2327 | μmol/L | 19.1205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.315 | 181090.168 | 312387.0418 | 33.25 | 68.6 | #N/A
27196 | 2021-02-22 13:12 | 28.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1013 | μmol/L | 19.1266 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.321 | 181145.2066 | 312387.2458 | 33.25 | 68.6 | #N/A
27206 | 2021-02-22 13:13 | 29.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0108 | μmol/L | 19.1205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.329 | 181199.3632 | 312390.3305 | 33.25 | 68.6 | #N/A
27216 | 2021-02-22 13:13 | 29.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8999 | μmol/L | 19.1205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.336 | 181258.3114 | 312390.1245 | 33.25 | 68.6 | #N/A
27226 | 2021-02-22 13:13 | 29.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7983 | μmol/L | 19.1084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.347 | 181316.8574 | 312385.7074 | 33.25 | 68.6 | #N/A
27236 | 2021-02-22 13:14 | 30.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7667 | μmol/L | 19.1084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.349 | 181373.3266 | 312385.0963 | 33.25 | 68.6 | #N/A
27246 | 2021-02-22 13:14 | 30.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6494 | μmol/L | 19.0962 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.361 | 181426.7231 | 312372.4629 | 33.25 | 68.6 | #N/A
27256 | 2021-02-22 13:14 | 30.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4868 | μmol/L | 19.1023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.369 | 181501.4124 | 312365.78 | 33.25 | 68.6 | #N/A
27266 | 2021-02-22 13:15 | 31.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3967 | μmol/L | 19.0962 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.377 | 181578.0864 | 312371.9499 | 33.25 | 68.6 | #N/A
27276 | 2021-02-22 13:15 | 31.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.124 | μmol/L | 19.1023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.392 | 181647.4007 | 312363.8574 | 33.25 | 68.6 | #N/A
27286 | 2021-02-22 13:15 | 31.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0702 | μmol/L | 19.0901 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.4 | 181729.3902 | 312376.6439 | 33.25 | 68.6 | #N/A
27296 | 2021-02-22 13:16 | 32.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9082 | μmol/L | 19.0962 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.408 | 181804.343 | 312366.7828 | 33.25 | 68.6 | #N/A
27306 | 2021-02-22 13:16 | 32.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8656 | μmol/L | 19.0901 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.413 | 181860.6661 | 312368.5647 | 33.25 | 68.6 | #N/A
27316 | 2021-02-22 13:16 | 32.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6344 | μmol/L | 19.084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.43 | 181935.1353 | 312357.3646 | 33.25 | 68.6 | #N/A
27326 | 2021-02-22 13:17 | 33.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.603 | μmol/L | 19.084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.432 | 181990.9926 | 312349.8053 | 33.25 | 68.6 | #N/A
27336 | 2021-02-22 13:17 | 33.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4303 | μmol/L | 19.084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.443 | 182071.9061 | 312371.9308 | 33.25 | 68.6 | #N/A
27346 | 2021-02-22 13:17 | 33.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3205 | μmol/L | 19.084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.45 | 182127.9711 | 312357.9365 | 33.25 | 68.6 | #N/A
27356 | 2021-02-22 13:18 | 34.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1997 | μmol/L | 19.0779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.46 | 182199.4843 | 312353.9042 | 33.25 | 68.6 | #N/A
27366 | 2021-02-22 13:18 | 34.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0119 | μmol/L | 19.0779 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.472 | 182259.7878 | 312348.9642 | 33.25 | 68.6 | #N/A
27376 | 2021-02-22 13:18 | 34.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9695 | μmol/L | 19.0719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.477 | 182338.1145 | 312353.4613 | 33.25 | 68.6 | #N/A
27386 | 2021-02-22 13:19 | 35.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8757 | μmol/L | 19.0719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.483 | 182394.9887 | 312336.7622 | 33.25 | 68.6 | #N/A
27396 | 2021-02-22 13:19 | 35.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8177 | μmol/L | 19.0658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.489 | 182460.6192 | 312329.8436 | 33.25 | 68.6 | #N/A
27406 | 2021-02-22 13:19 | 35.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5789 | μmol/L | 19.0719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.502 | 182533.2033 | 312338.8129 | 33.25 | 68.6 | #N/A
27416 | 2021-02-22 13:20 | 36.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4742 | μmol/L | 19.0658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.511 | 182593.14 | 312345.3107 | 33.25 | 68.6 | #N/A
27426 | 2021-02-22 13:20 | 36.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4367 | μmol/L | 19.0536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.518 | 182646.6649 | 312328.2195 | 33.25 | 68.6 | #N/A
27436 | 2021-02-22 13:20 | 36.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3322 | μmol/L | 19.0475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.527 | 182717.0895 | 312315.6561 | 33.25 | 68.6 | #N/A
27446 | 2021-02-22 13:21 | 37.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1251 | μmol/L | 19.0536 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.538 | 182797.3679 | 312327.8076 | 33.25 | 68.6 | #N/A
27456 | 2021-02-22 13:21 | 37.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0877 | μmol/L | 19.0414 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.545 | 182864.2814 | 312328.6429 | 33.25 | 68.6 | #N/A
27466 | 2021-02-22 13:21 | 37.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9477 | μmol/L | 19.0414 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.554 | 182933.28 | 312327.373 | 33.25 | 68.6 | #N/A
27476 | 2021-02-22 13:22 | 38.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8124 | μmol/L | 19.0353 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.565 | 183007.2287 | 312324.3502 | 33.25 | 68.6 | #N/A
27486 | 2021-02-22 13:22 | 38.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7193 | μmol/L | 19.0353 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.571 | 183081.3127 | 312326.671 | 33.25 | 68.6 | #N/A
27496 | 2021-02-22 13:22 | 38.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5641 | μmol/L | 19.0353 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.581 | 183162.2555 | 312337.7533 | 33.25 | 68.6 | #N/A
27506 | 2021-02-22 13:23 | 39.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4447 | μmol/L | 19.0293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.591 | 183227.4848 | 312312.7842 | 33.25 | 68.6 | #N/A
27516 | 2021-02-22 13:23 | 39.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3207 | μmol/L | 19.0293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.599 | 183301.8978 | 312312.4595 | 33.25 | 68.6 | #N/A
27526 | 2021-02-22 13:23 | 39.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1969 | μmol/L | 19.0293 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.607 | 183364.7868 | 312317.9709 | 33.25 | 68.6 | #N/A
27536 | 2021-02-22 13:24 | 40.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0932 | μmol/L | 19.0232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.616 | 183424.4028 | 312310.0956 | 33.25 | 68.6 | #N/A
27546 | 2021-02-22 13:24 | 40.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9386 | μmol/L | 19.0232 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.626 | 183492.2594 | 312307.2561 | 33.25 | 68.6 | #N/A
27556 | 2021-02-22 13:24 | 40.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8969 | μmol/L | 19.0171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.631 | 183545.4997 | 312304.798 | 33.25 | 68.6 | #N/A
27566 | 2021-02-22 13:25 | 41.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7888 | μmol/L | 19.0171 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.638 | 183605.8632 | 312311.1286 | 33.25 | 68.6 | #N/A
27576 | 2021-02-22 13:25 | 41.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6854 | μmol/L | 19.011 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.647 | 183671.1518 | 312306.1913 | 33.25 | 68.6 | #N/A
27586 | 2021-02-22 13:25 | 41.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5818 | μmol/L | 19.011 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.654 | 183736.2995 | 312312.4293 | 33.25 | 68.6 | #N/A
27596 | 2021-02-22 13:26 | 42.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4434 | μmol/L | 19.0049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.665 | 183801.3353 | 312294.4144 | 33.25 | 68.6 | #N/A
27606 | 2021-02-22 13:26 | 42.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2737 | μmol/L | 19.011 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.674 | 183870.1162 | 312300.3492 | 33.25 | 68.6 | #N/A
27616 | 2021-02-22 13:26 | 42.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2215 | μmol/L | 18.9988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.682 | 183927.606 | 312300.7463 | 33.25 | 68.6 | #N/A
27626 | 2021-02-22 13:27 | 43.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0985 | μmol/L | 18.9988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.69 | 183982.4679 | 312285.0744 | 33.25 | 68.6 | #N/A
27636 | 2021-02-22 13:27 | 43.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0063 | μmol/L | 18.9988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.696 | 184051.9648 | 312302.3048 | 33.25 | 68.6 | #N/A
27646 | 2021-02-22 13:27 | 43.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8527 | μmol/L | 18.9988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.706 | 184122.2245 | 312294.0528 | 33.25 | 68.6 | #N/A
27656 | 2021-02-22 13:28 | 44.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8313 | μmol/L | 18.9867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.712 | 184173.9951 | 312294.0488 | 33.25 | 68.6 | #N/A
27666 | 2021-02-22 13:28 | 44.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7086 | μmol/L | 18.9867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.72 | 184238.4667 | 312289.1433 | 33.25 | 68.6 | #N/A
27676 | 2021-02-22 13:28 | 44.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5553 | μmol/L | 18.9867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.73 | 184287.5118 | 312290.4961 | 33.25 | 68.6 | #N/A
27686 | 2021-02-22 13:29 | 45.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4834 | μmol/L | 18.9806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.737 | 184355.1332 | 312299.0331 | 33.25 | 68.6 | #N/A
27696 | 2021-02-22 13:29 | 45.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4115 | μmol/L | 18.9745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.744 | 184417.6113 | 312293.9883 | 33.25 | 68.6 | #N/A
27706 | 2021-02-22 13:29 | 45.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2492 | μmol/L | 18.9867 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.75 | 184467.7861 | 312295.7999 | 33.25 | 68.6 | #N/A
27716 | 2021-02-22 13:30 | 46.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2127 | μmol/L | 18.9745 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.757 | 184520.7672 | 312283.9169 | 33.25 | 68.6 | #N/A
27726 | 2021-02-22 13:30 | 46.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1316 | μmol/L | 18.9806 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.76 | 184559.1783 | 312289.2616 | 33.25 | 68.6 | #N/A
27736 | 2021-02-22 13:30 | 46.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.115 | μmol/L | 18.9623 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.768 | 184610.8247 | 312290.0676 | 33.25 | 68.6 | #N/A
27746 | 2021-02-22 13:31 | 47.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0234 | μmol/L | 18.9623 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.774 | 184651.6075 | 312292.5259 | 33.25 | 68.6 | #N/A
27756 | 2021-02-22 13:31 | 47.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8966 | μmol/L | 18.9684 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.78 | 184704.7571 | 312290.52 | 33.25 | 68.6 | #N/A
27766 | 2021-02-22 13:31 | 47.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8555 | μmol/L | 18.9623 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.785 | 184747.0537 | 312287.6697 | 33.25 | 68.6 | #N/A
27776 | 2021-02-22 13:32 | 48.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7945 | μmol/L | 18.9623 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.789 | 184788.6594 | 312285.0649 | 33.25 | 68.6 | #N/A
27786 | 2021-02-22 13:32 | 48.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6925 | μmol/L | 18.9562 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.798 | 184843.9765 | 312288.9177 | 33.25 | 68.6 | #N/A
27796 | 2021-02-22 13:32 | 48.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6514 | μmol/L | 18.9502 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.803 | 184885.8713 | 312279.442 | 33.25 | 68.6 | #N/A
27806 | 2021-02-22 13:33 | 49.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5296 | μmol/L | 18.9502 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.811 | 184935.259 | 312280.9432 | 33.25 | 68.6 | #N/A
27816 | 2021-02-22 13:33 | 49.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5647 | μmol/L | 18.9441 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.811 | 184960.9651 | 312277.9599 | 33.25 | 68.6 | #N/A
27826 | 2021-02-22 13:33 | 49.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4079 | μmol/L | 18.9502 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.819 | 185003.328 | 312290.3128 | 33.25 | 68.6 | #N/A
27836 | 2021-02-22 13:34 | 50.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3821 | μmol/L | 18.9441 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.823 | 185037.2078 | 312280.027 | 33.25 | 68.6 | #N/A
27846 | 2021-02-22 13:34 | 50.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2909 | μmol/L | 18.9441 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.829 | 185083.1301 | 312283.9986 | 33.25 | 68.6 | #N/A
27856 | 2021-02-22 13:34 | 50.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1845 | μmol/L | 18.9441 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.836 | 185106.3853 | 312271.548 | 33.25 | 68.6 | #N/A
27866 | 2021-02-22 13:35 | 51.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1892 | μmol/L | 18.938 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.838 | 185145.8258 | 312271.0122 | 33.25 | 68.6 | #N/A
27876 | 2021-02-22 13:35 | 51.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0934 | μmol/L | 18.9441 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.842 | 185167.6508 | 312275.0393 | 33.25 | 68.6 | #N/A
27886 | 2021-02-22 13:35 | 51.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1028 | μmol/L | 18.9319 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.846 | 185217.47 | 312272.2857 | 33.25 | 68.6 | #N/A
27896 | 2021-02-22 13:36 | 52.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0269 | μmol/L | 18.9319 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.851 | 185242.4849 | 312277.2996 | 33.25 | 68.6 | #N/A
27906 | 2021-02-22 13:36 | 52.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.986 | μmol/L | 18.9258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.856 | 185276.0766 | 312267.6798 | 33.25 | 68.6 | #N/A
27916 | 2021-02-22 13:36 | 52.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9557 | μmol/L | 18.9258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.858 | 185310.2812 | 312274.711 | 33.25 | 68.6 | #N/A
27926 | 2021-02-22 13:37 | 53.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8799 | μmol/L | 18.9258 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.863 | 185339.1789 | 312272.4982 | 33.25 | 68.6 | #N/A
27936 | 2021-02-22 13:37 | 53.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8391 | μmol/L | 18.9197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.868 | 185370.237 | 312264.8507 | 33.25 | 68.6 | #N/A
27946 | 2021-02-22 13:37 | 53.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8438 | μmol/L | 18.9136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.87 | 185411.2707 | 312271.6384 | 33.25 | 68.6 | #N/A
27956 | 2021-02-22 13:38 | 54.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7027 | μmol/L | 18.9197 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.877 | 185430.009 | 312258.5835 | 33.25 | 68.6 | #N/A
27966 | 2021-02-22 13:38 | 54.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.662 | μmol/L | 18.9136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.882 | 185458.4966 | 312271.5461 | 33.25 | 68.6 | #N/A
27976 | 2021-02-22 13:38 | 54.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6469 | μmol/L | 18.9136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.883 | 185466.8555 | 312253.7957 | 33.25 | 68.6 | #N/A
27986 | 2021-02-22 13:39 | 55.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6317 | μmol/L | 18.9136 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.884 | 185490.7222 | 312260.3339 | 33.25 | 68.6 | #N/A
27996 | 2021-02-22 13:39 | 55.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6062 | μmol/L | 18.9076 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.888 | 185519.2475 | 312256.7421 | 33.25 | 68.6 | #N/A
28006 | 2021-02-22 13:39 | 55.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6458 | μmol/L | 18.8954 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.89 | 185552.8745 | 312256.6883 | 33.25 | 68.6 | #N/A
28016 | 2021-02-22 13:40 | 56.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5655 | μmol/L | 18.9015 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.893 | 185583.2143 | 312260.9228 | 33.25 | 68.6 | #N/A
28026 | 2021-02-22 13:40 | 56.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4596 | μmol/L | 18.9015 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.9 | 185604.9071 | 312255.2373 | 33.25 | 68.6 | #N/A
28036 | 2021-02-22 13:40 | 56.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.469 | μmol/L | 18.8893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.904 | 185639.1032 | 312253.981 | 33.25 | 68.6 | #N/A
28046 | 2021-02-22 13:41 | 57.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4539 | μmol/L | 18.8893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.905 | 185661.1758 | 312245.8522 | 33.25 | 68.6 | #N/A
28056 | 2021-02-22 13:41 | 57.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3981 | μmol/L | 18.8832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.911 | 185694.5959 | 312243.8298 | 33.25 | 68.6 | #N/A
28066 | 2021-02-22 13:41 | 57.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2829 | μmol/L | 18.8954 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.914 | 185709.2133 | 312251.2116 | 33.25 | 68.6 | #N/A
28076 | 2021-02-22 13:42 | 58.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3074 | μmol/L | 18.8832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.917 | 185745.3876 | 312258.307 | 33.25 | 68.6 | #N/A
28086 | 2021-02-22 13:42 | 58.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2621 | μmol/L | 18.8832 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.92 | 185761.1966 | 312257.5373 | 33.25 | 68.6 | #N/A
28096 | 2021-02-22 13:42 | 58.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2278 | μmol/L | 18.8832 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.922 | 185783.9568 | 312252.3554 | 33.25 | 68.6 | #N/A
28106 | 2021-02-22 13:43 | 59.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2064 | μmol/L | 18.8771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.926 | 185794.099 | 312240.7117 | 33.25 | 68.6 | #N/A
28116 | 2021-02-22 13:43 | 59.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1872 | μmol/L | 18.8771 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.927 | 185814.0555 | 312242.2235 | 33.25 | 68.6 | #N/A
28126 | 2021-02-22 13:43 | 59.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2612 | μmol/L | 18.865 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 25.927 | 185830.5473 | 312252.0002 | 33.25 | 68.6 | #N/A
28136 | 2021-02-22 13:44 | 60.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1466 | μmol/L | 18.871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.932 | 185849.0219 | 312248.9793 | 33.25 | 68.6 | #N/A
28146 | 2021-02-22 13:44 | 60.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0863 | μmol/L | 18.871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.936 | 185866.7656 | 312242.5516 | 33.25 | 68.6 | #N/A
28156 | 2021-02-22 13:44 | 60.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0863 | μmol/L | 18.871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.936 | 185884.0538 | 312245.4782 | 33.25 | 68.6 | #N/A
28166 | 2021-02-22 13:45 | 61.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1061 | μmol/L | 18.865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.937 | 185900.2562 | 312236.6952 | 33.25 | 68.6 | #N/A
28176 | 2021-02-22 13:45 | 61.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0806 | μmol/L | 18.8589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.941 | 185918.8643 | 312240.8521 | 33.25 | 68.6 | #N/A
28186 | 2021-02-22 13:45 | 61.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0655 | μmol/L | 18.8589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.942 | 185944.8661 | 312250.2516 | 33.25 | 68.6 | #N/A
28196 | 2021-02-22 13:46 | 62.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0354 | μmol/L | 18.8589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.944 | 185960.9864 | 312237.7323 | 33.25 | 68.6 | #N/A
28206 | 2021-02-22 13:46 | 62.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9949 | μmol/L | 18.8528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.949 | 185989.117 | 312244.6703 | 33.25 | 68.6 | #N/A
28216 | 2021-02-22 13:46 | 62.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9496 | μmol/L | 18.8528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.952 | 186023.0512 | 312249.7038 | 33.25 | 68.6 | #N/A
28226 | 2021-02-22 13:47 | 63.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.944 | μmol/L | 18.8406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.957 | 186058.1716 | 312240.9032 | 33.25 | 68.6 | #N/A
28236 | 2021-02-22 13:47 | 63.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9883 | μmol/L | 18.8224 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.961 | 186095.0735 | 312243.0556 | 33.25 | 68.6 | #N/A
28246 | 2021-02-22 13:47 | 63.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8631 | μmol/L | 18.8285 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.967 | 186143.4622 | 312242.5626 | 33.25 | 68.6 | #N/A
28256 | 2021-02-22 13:48 | 64.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6833 | μmol/L | 18.8467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.972 | 186229.8728 | 312246.2678 | 33.25 | 68.6 | #N/A
28266 | 2021-02-22 13:48 | 64.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4831 | μmol/L | 18.8528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.983 | 186316.851 | 312256.0531 | 33.25 | 68.6 | #N/A
28276 | 2021-02-22 13:48 | 64.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.378 | μmol/L | 18.8528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.99 | 186398.8424 | 312238.9902 | 33.25 | 68.6 | #N/A
28286 | 2021-02-22 13:49 | 65.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2721 | μmol/L | 18.8345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 26.004 | 186472.4768 | 312233.3054 | 33.25 | 68.6 | #N/A
28296 | 2021-02-22 13:49 | 65.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2121 | μmol/L | 18.8345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 26.008 | 186546.6105 | 312231.7333 | 33.25 | 68.6 | #N/A
28306 | 2021-02-22 13:49 | 65.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0282 | μmol/L | 18.8589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 26.011 | 186566.269 | 312238.4417 | 33.25 | 68.6 | #N/A
28316 | 2021-02-22 13:50 | 66.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0685 | μmol/L | 18.865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 26.006 | 186507.7714 | 312241.9093 | 33.25 | 68.6 | #N/A
28326 | 2021-02-22 13:50 | 66.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0749 | μmol/L | 18.8954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.994 | 186410.8592 | 312243.6917 | 33.25 | 68.6 | #N/A
28336 | 2021-02-22 13:50 | 66.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.285 | μmol/L | 18.8954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.98 | 186294.1388 | 312245.3764 | 33.25 | 68.6 | #N/A
28346 | 2021-02-22 13:51 | 67.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2962 | μmol/L | 18.9197 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.97 | 186184.6169 | 312248.6375 | 33.25 | 68.6 | #N/A
28356 | 2021-02-22 13:51 | 67.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4972 | μmol/L | 18.9319 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.952 | 186072.8484 | 312241.5883 | 33.25 | 68.6 | #N/A
28366 | 2021-02-22 13:51 | 67.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5236 | μmol/L | 18.9562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.941 | 185955.0833 | 312236.6352 | 33.25 | 68.6 | #N/A
28376 | 2021-02-22 13:52 | 68.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6346 | μmol/L | 18.9684 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.929 | 185858.1165 | 312249.5894 | 33.25 | 68.6 | #N/A
28386 | 2021-02-22 13:52 | 68.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8071 | μmol/L | 18.9988 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.906 | 185717.8683 | 312223.3321 | 33.25 | 68.6 | #N/A
28396 | 2021-02-22 13:52 | 68.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2202 | μmol/L | 19.011 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.874 | 185556.9315 | 312244.5113 | 33.25 | 68.6 | #N/A
28406 | 2021-02-22 13:53 | 69.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2469 | μmol/L | 19.0353 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.863 | 185475.9999 | 312232.2777 | 33.25 | 68.6 | #N/A
28416 | 2021-02-22 13:53 | 69.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1785 | μmol/L | 19.0658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.856 | 185379.6712 | 312235.7443 | 33.25 | 68.6 | #N/A
28426 | 2021-02-22 13:53 | 69.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2053 | μmol/L | 19.0901 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.845 | 185306.4288 | 312241.3573 | 33.25 | 68.6 | #N/A
28436 | 2021-02-22 13:54 | 70.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2868 | μmol/L | 19.1023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.835 | 185217.9884 | 312238.937 | 33.25 | 68.6 | #N/A
28446 | 2021-02-22 13:54 | 70.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.273 | μmol/L | 19.1205 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.829 | 185160.742 | 312221.2022 | 33.25 | 68.6 | #N/A
28456 | 2021-02-22 13:54 | 70.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3348 | μmol/L | 19.1388 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.818 | 185092.2365 | 312226.7947 | 33.25 | 68.6 | #N/A
28466 | 2021-02-22 13:55 | 71.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4375 | μmol/L | 19.1631 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.802 | 184996.9736 | 312229.0888 | 33.25 | 68.6 | #N/A
28476 | 2021-02-22 13:55 | 71.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4844 | μmol/L | 19.1814 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.792 | 184905.5167 | 312233.929 | 33.25 | 68.6 | #N/A
28486 | 2021-02-22 13:55 | 71.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.607 | μmol/L | 19.1996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.777 | 184824.1564 | 312233.2531 | 33.25 | 68.6 | #N/A
28496 | 2021-02-22 13:56 | 72.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6131 | μmol/L | 19.2118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.772 | 184753.3744 | 312219.0618 | 33.25 | 68.6 | #N/A
28506 | 2021-02-22 13:56 | 72.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5494 | μmol/L | 19.2362 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.767 | 184703.46 | 312224.1001 | 33.25 | 68.6 | #N/A
28516 | 2021-02-22 13:56 | 72.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6116 | μmol/L | 19.2544 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.756 | 184631.589 | 312228.6462 | 33.25 | 68.6 | #N/A
28526 | 2021-02-22 13:57 | 73.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6783 | μmol/L | 19.2666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.747 | 184576.1435 | 312224.5832 | 33.25 | 68.6 | #N/A
28536 | 2021-02-22 13:57 | 73.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6996 | μmol/L | 19.2788 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.741 | 184525.9452 | 312225.7422 | 33.25 | 68.6 | #N/A
28546 | 2021-02-22 13:57 | 73.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6905 | μmol/L | 19.2909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.737 | 184474.375 | 312208.3752 | 33.25 | 68.6 | #N/A
28556 | 2021-02-22 13:58 | 74.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6922 | μmol/L | 19.3092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.73 | 184416.2922 | 312209.6062 | 33.25 | 68.6 | #N/A
28566 | 2021-02-22 13:58 | 74.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7545 | μmol/L | 19.3274 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.719 | 184357.2239 | 312215.0698 | 33.25 | 68.6 | #N/A
28576 | 2021-02-22 13:58 | 74.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8366 | μmol/L | 19.3396 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.709 | 184303.6513 | 312199.3822 | 33.25 | 68.6 | #N/A
28586 | 2021-02-22 13:59 | 75.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8383 | μmol/L | 19.3579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.702 | 184254.796 | 312193.2178 | 33.25 | 68.6 | #N/A
28596 | 2021-02-22 13:59 | 75.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9295 | μmol/L | 19.3579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.696 | 184205.6026 | 312192.4798 | 33.25 | 68.6 | #N/A
28606 | 2021-02-22 13:59 | 75.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9008 | μmol/L | 19.3761 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.691 | 184158.5505 | 312201.268 | 33.25 | 68.6 | #N/A
28616 | 2021-02-22 14:00 | 76.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9723 | μmol/L | 19.3822 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.684 | 184113.8886 | 312194.5455 | 33.25 | 68.6 | #N/A
28626 | 2021-02-22 14:00 | 76.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0242 | μmol/L | 19.3944 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.676 | 184063.4094 | 312199.2899 | 33.25 | 68.6 | #N/A
28636 | 2021-02-22 14:00 | 76.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0716 | μmol/L | 19.4126 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.666 | 184019.1294 | 312187.9472 | 33.25 | 68.6 | #N/A
28646 | 2021-02-22 14:01 | 77.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1128 | μmol/L | 19.4187 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.661 | 183979.7936 | 312188.645 | 33.25 | 68.6 | #N/A
28656 | 2021-02-22 14:01 | 77.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1692 | μmol/L | 19.4248 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.655 | 183944.5134 | 312198.7146 | 33.25 | 68.6 | #N/A
28666 | 2021-02-22 14:01 | 77.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1648 | μmol/L | 19.4309 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.653 | 183882.789 | 312197.2495 | 33.25 | 68.6 | #N/A
28676 | 2021-02-22 14:02 | 78.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2428 | μmol/L | 19.4492 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.641 | 183841.5019 | 312182.4792 | 33.25 | 68.6 | #N/A
28686 | 2021-02-22 14:02 | 78.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2491 | μmol/L | 19.4613 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.636 | 183778.5589 | 312180.4203 | 33.25 | 68.6 | #N/A
28696 | 2021-02-22 14:02 | 78.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2663 | μmol/L | 19.4796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.628 | 183710.1255 | 312184.1818 | 33.25 | 68.6 | #N/A
28706 | 2021-02-22 14:03 | 79.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3577 | μmol/L | 19.4796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.622 | 183667.4066 | 312180.8231 | 33.25 | 68.6 | #N/A
28716 | 2021-02-22 14:03 | 79.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4448 | μmol/L | 19.4857 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.614 | 183602.3077 | 312172.825 | 33.25 | 68.6 | #N/A
28726 | 2021-02-22 14:03 | 79.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4468 | μmol/L | 19.5039 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.607 | 183560.3325 | 312179.2646 | 33.25 | 68.6 | #N/A
28736 | 2021-02-22 14:04 | 80.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5186 | μmol/L | 19.51 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.6 | 183519.2694 | 312167.9563 | 33.25 | 68.6 | #N/A
28746 | 2021-02-22 14:04 | 80.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6211 | μmol/L | 19.5161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.591 | 183456.7837 | 312172.416 | 33.25 | 68.6 | #N/A
28756 | 2021-02-22 14:04 | 80.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.597 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.588 | 183400.8289 | 312156.6123 | 33.25 | 68.6 | #N/A
28766 | 2021-02-22 14:05 | 81.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6449 | μmol/L | 19.5465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.578 | 183339.0396 | 312167.9065 | 33.25 | 68.6 | #N/A
28776 | 2021-02-22 14:05 | 81.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7627 | μmol/L | 19.5526 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.568 | 183280.9532 | 312162.7868 | 33.25 | 68.6 | #N/A
28786 | 2021-02-22 14:05 | 81.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8501 | μmol/L | 19.5587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.56 | 183229.9004 | 312173.6257 | 33.25 | 68.6 | #N/A
28796 | 2021-02-22 14:06 | 82.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.861 | μmol/L | 19.5648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.557 | 183164.4658 | 312160.9814 | 33.25 | 68.6 | #N/A
28806 | 2021-02-22 14:06 | 82.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0294 | μmol/L | 19.5648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.546 | 183115.8747 | 312162.265 | 33.25 | 68.6 | #N/A
28816 | 2021-02-22 14:06 | 82.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0862 | μmol/L | 19.5709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.54 | 183051.148 | 312138.0042 | 33.25 | 68.6 | #N/A
28826 | 2021-02-22 14:07 | 83.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0928 | μmol/L | 19.5831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.535 | 183004.4147 | 312142.0142 | 33.25 | 68.6 | #N/A
28836 | 2021-02-22 14:07 | 83.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1541 | μmol/L | 19.5831 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.531 | 182950.5217 | 312148.7403 | 33.25 | 68.6 | #N/A
28846 | 2021-02-22 14:07 | 83.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3579 | μmol/L | 19.577 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.52 | 182902.4013 | 312149.3126 | 33.25 | 68.6 | #N/A
28856 | 2021-02-22 14:08 | 84.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3491 | μmol/L | 19.5891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.516 | 182846.1412 | 312138.1757 | 33.25 | 68.6 | #N/A
28866 | 2021-02-22 14:08 | 84.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4215 | μmol/L | 19.5952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.509 | 182793.1318 | 312139.0106 | 33.25 | 68.6 | #N/A
28876 | 2021-02-22 14:08 | 84.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4939 | μmol/L | 19.6013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.502 | 182736.5903 | 312142.9486 | 33.25 | 68.6 | #N/A
28886 | 2021-02-22 14:09 | 85.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5466 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.494 | 182682.0982 | 312133.4128 | 33.25 | 68.6 | #N/A
28896 | 2021-02-22 14:09 | 85.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6278 | μmol/L | 19.6074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.491 | 182630.9779 | 312121.685 | 33.25 | 68.6 | #N/A
28906 | 2021-02-22 14:09 | 85.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7465 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.481 | 182590.0913 | 312131.6816 | 33.25 | 68.6 | #N/A
28916 | 2021-02-22 14:10 | 86.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7773 | μmol/L | 19.6135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.479 | 182544.0649 | 312121.9605 | 33.25 | 68.6 | #N/A
28926 | 2021-02-22 14:10 | 86.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7949 | μmol/L | 19.6317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.471 | 182488.6178 | 312126.7196 | 33.25 | 68.6 | #N/A
28936 | 2021-02-22 14:10 | 86.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9027 | μmol/L | 19.6317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.464 | 182430.3494 | 312117.5413 | 33.25 | 68.6 | #N/A
28946 | 2021-02-22 14:11 | 87.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9446 | μmol/L | 19.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.459 | 182397.4403 | 312127.8246 | 33.25 | 68.6 | #N/A
28956 | 2021-02-22 14:11 | 87.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0679 | μmol/L | 19.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.451 | 182344.2775 | 312130.4308 | 33.25 | 68.6 | #N/A
28966 | 2021-02-22 14:11 | 87.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1141 | μmol/L | 19.6378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.448 | 182278.8265 | 312124.36 | 33.25 | 68.6 | #N/A
28976 | 2021-02-22 14:12 | 88.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1517 | μmol/L | 19.65 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.441 | 182227.2331 | 312115.6193 | 33.25 | 68.6 | #N/A
28986 | 2021-02-22 14:12 | 88.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3104 | μmol/L | 19.6439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.433 | 182172.0077 | 312116.9779 | 33.25 | 68.6 | #N/A
28996 | 2021-02-22 14:12 | 88.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3635 | μmol/L | 19.6561 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.425 | 182129.2132 | 312118.8427 | 33.25 | 68.6 | #N/A
29006 | 2021-02-22 14:13 | 89.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4098 | μmol/L | 19.6561 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.422 | 182062.7668 | 312110.0125 | 33.25 | 68.6 | #N/A
29016 | 2021-02-22 14:13 | 89.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4827 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.415 | 182022.5557 | 312102.3067 | 33.25 | 68.6 | #N/A
29026 | 2021-02-22 14:13 | 89.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5557 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.408 | 181967.906 | 312097.9058 | 33.25 | 68.6 | #N/A
29036 | 2021-02-22 14:14 | 90.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5866 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.406 | 181936.3686 | 312094.5595 | 33.25 | 68.6 | #N/A
29046 | 2021-02-22 14:14 | 90.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6751 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.398 | 181895.9732 | 312094.9434 | 33.25 | 68.6 | #N/A
29056 | 2021-02-22 14:14 | 90.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.768 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.392 | 181852.561 | 312090.6409 | 33.25 | 68.6 | #N/A
29066 | 2021-02-22 14:15 | 91.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7594 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.388 | 181814.5998 | 312087.0087 | 33.25 | 68.6 | #N/A
29076 | 2021-02-22 14:15 | 91.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8765 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.385 | 181782.8725 | 312094.0055 | 33.25 | 68.6 | #N/A
29086 | 2021-02-22 14:15 | 91.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.954 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.38 | 181736.1755 | 312101.3595 | 33.25 | 68.6 | #N/A
29096 | 2021-02-22 14:16 | 92.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9807 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.376 | 181690.1659 | 312085.058 | 33.25 | 68.6 | #N/A
29106 | 2021-02-22 14:16 | 92.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1091 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.37 | 181637.1167 | 312078.0971 | 33.25 | 68.6 | #N/A
29116 | 2021-02-22 14:16 | 92.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2376 | μmol/L | 19.6683 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.364 | 181603.2157 | 312082.4687 | 33.25 | 68.6 | #N/A
29126 | 2021-02-22 14:17 | 93.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2488 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.361 | 181540.3133 | 312077.8887 | 33.25 | 68.6 | #N/A
29136 | 2021-02-22 14:17 | 93.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3576 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.354 | 181508.0361 | 312075.9975 | 33.25 | 68.6 | #N/A
29146 | 2021-02-22 14:17 | 93.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3532 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.352 | 181457.3506 | 312069.6389 | 33.25 | 68.6 | #N/A
29156 | 2021-02-22 14:18 | 94.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4422 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.344 | 181414.3269 | 312065.6798 | 33.25 | 68.6 | #N/A
29166 | 2021-02-22 14:18 | 94.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.52 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.339 | 181365.4221 | 312071.0346 | 33.25 | 68.6 | #N/A
29176 | 2021-02-22 14:18 | 94.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5978 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.334 | 181345.0643 | 312072.0716 | 33.25 | 68.6 | #N/A
29186 | 2021-02-22 14:19 | 95.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6557 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.328 | 181293.1089 | 312075.1664 | 33.25 | 68.6 | #N/A
29196 | 2021-02-22 14:19 | 95.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7379 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.325 | 181251.4686 | 312068.5295 | 33.25 | 68.6 | #N/A
29206 | 2021-02-22 14:19 | 95.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7691 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.323 | 181211.2736 | 312066.7639 | 33.25 | 68.6 | #N/A
29216 | 2021-02-22 14:20 | 96.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9094 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.314 | 181171.3681 | 312074.3379 | 33.25 | 68.6 | #N/A
29226 | 2021-02-22 14:20 | 96.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0117 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.312 | 181134.1585 | 312068.5259 | 33.25 | 68.6 | #N/A
29236 | 2021-02-22 14:20 | 96.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2077 | μmol/L | 19.6622 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.304 | 181098.2199 | 312073.1094 | 33.25 | 68.6 | #N/A
29246 | 2021-02-22 14:21 | 97.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1834 | μmol/L | 19.6744 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.301 | 181063.3759 | 312064.7624 | 33.25 | 68.6 | #N/A
29256 | 2021-02-22 14:21 | 97.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1947 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.298 | 181009.2864 | 312060.5797 | 33.25 | 68.6 | #N/A
29266 | 2021-02-22 14:21 | 97.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2485 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.29 | 180967.4542 | 312050.0377 | 33.25 | 68.6 | #N/A
29276 | 2021-02-22 14:22 | 98.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2954 | μmol/L | 19.6926 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.287 | 180933.2652 | 312055.721 | 33.25 | 68.6 | #N/A
29286 | 2021-02-22 14:22 | 98.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2668 | μmol/L | 19.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.282 | 180891.0778 | 312057.558 | 33.25 | 68.6 | #N/A
29296 | 2021-02-22 14:22 | 98.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3763 | μmol/L | 19.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.275 | 180858.8188 | 312048.6066 | 33.25 | 68.6 | #N/A
29306 | 2021-02-22 14:23 | 99.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3563 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.274 | 180827.7472 | 312045.4337 | 33.25 | 68.6 | #N/A
29316 | 2021-02-22 14:23 | 99.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4502 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.268 | 180784.5995 | 312058.4279 | 33.25 | 68.6 | #N/A
29326 | 2021-02-22 14:23 | 99.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5171 | μmol/L | 19.7109 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.266 | 180761.0391 | 312053.5139 | 33.25 | 68.6 | #N/A
29336 | 2021-02-22 14:24 | 100.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6824 | μmol/L | 19.6987 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.26 | 180714.0789 | 312043.4751 | 33.25 | 68.6 | #N/A
29346 | 2021-02-22 14:24 | 100.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6624 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.259 | 180681.7053 | 312045.0547 | 33.25 | 68.6 | #N/A
29356 | 2021-02-22 14:24 | 100.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8321 | μmol/L | 19.6865 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.255 | 180651.1353 | 312044.3157 | 33.25 | 68.6 | #N/A
29366 | 2021-02-22 14:25 | 101.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7878 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.251 | 180618.5427 | 312054.2129 | 33.25 | 68.6 | #N/A
29376 | 2021-02-22 14:25 | 101.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0247 | μmol/L | 19.6804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.245 | 180584.9495 | 312037.7682 | 33.25 | 68.6 | #N/A
29386 | 2021-02-22 14:25 | 101.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9289 | μmol/L | 19.7048 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.242 | 180532.6705 | 312031.7181 | 33.25 | 68.6 | #N/A
29396 | 2021-02-22 14:26 | 102.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.936 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.237 | 180515.7022 | 312043.0015 | 33.25 | 68.6 | #N/A
29406 | 2021-02-22 14:26 | 102.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.809 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.236 | 180473.2441 | 312041.525 | 33.25 | 68.6 | #N/A
29416 | 2021-02-22 14:26 | 102.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.836 | μmol/L | 19.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.232 | 180449.8921 | 312040.8406 | 33.25 | 68.6 | #N/A
29426 | 2021-02-22 14:27 | 103.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9659 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.226 | 180427.0933 | 312034.2601 | 33.25 | 68.6 | #N/A
29436 | 2021-02-22 14:27 | 103.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8945 | μmol/L | 19.7535 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.226 | 180396.9101 | 312014.7203 | 33.25 | 68.6 | #N/A
29446 | 2021-02-22 14:27 | 103.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0487 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.223 | 180369.5063 | 312029.7857 | 33.25 | 68.6 | #N/A
29456 | 2021-02-22 14:28 | 104.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0401 | μmol/L | 19.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.219 | 180331.7532 | 312021.1361 | 33.25 | 68.6 | #N/A
29466 | 2021-02-22 14:28 | 104.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0401 | μmol/L | 19.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.219 | 180297.9872 | 312016.0627 | 33.25 | 68.6 | #N/A
29476 | 2021-02-22 14:28 | 104.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2015 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.211 | 180265.6622 | 312017.5219 | 33.25 | 68.6 | #N/A
29486 | 2021-02-22 14:29 | 105.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2487 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.208 | 180236.5094 | 312018.0954 | 33.25 | 68.6 | #N/A
29496 | 2021-02-22 14:29 | 105.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2644 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.207 | 180203.7077 | 312034.8543 | 33.25 | 68.6 | #N/A
29506 | 2021-02-22 14:29 | 105.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3903 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.199 | 180168.0776 | 312017.6414 | 33.25 | 68.6 | #N/A
29516 | 2021-02-22 14:30 | 106.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4218 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.197 | 180134.4528 | 312032.9292 | 33.25 | 68.6 | #N/A
29526 | 2021-02-22 14:30 | 106.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5521 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.191 | 180084.5316 | 312020.5616 | 33.25 | 68.6 | #N/A
29536 | 2021-02-22 14:30 | 106.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5478 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.189 | 180066.2309 | 312025.5234 | 33.25 | 68.6 | #N/A
29546 | 2021-02-22 14:31 | 107.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6939 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.182 | 180032.1917 | 312011.3735 | 33.25 | 68.6 | #N/A
29556 | 2021-02-22 14:31 | 107.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6423 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.183 | 179991.8231 | 312008.5332 | 33.25 | 68.6 | #N/A
29566 | 2021-02-22 14:31 | 107.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6896 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.18 | 179977.9848 | 312014.6409 | 33.25 | 68.6 | #N/A
29576 | 2021-02-22 14:32 | 108.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8043 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.175 | 179933.3565 | 312017.9779 | 33.25 | 68.6 | #N/A
29586 | 2021-02-22 14:32 | 108.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7642 | μmol/L | 19.7474 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.173 | 179906.5339 | 312012.3533 | 33.25 | 68.6 | #N/A
29596 | 2021-02-22 14:32 | 108.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9306 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.167 | 179880.9906 | 312007.0222 | 33.25 | 68.6 | #N/A
29606 | 2021-02-22 14:33 | 109.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9737 | μmol/L | 19.7413 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.162 | 179855.5103 | 312020.079 | 33.25 | 68.6 | #N/A
29616 | 2021-02-22 14:33 | 109.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0412 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.16 | 179824.6068 | 312004.3513 | 33.25 | 68.6 | #N/A
29626 | 2021-02-22 14:33 | 109.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0728 | μmol/L | 19.7352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.158 | 179803.6836 | 312023.7991 | 33.25 | 68.6 | #N/A
29636 | 2021-02-22 14:34 | 110.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1403 | μmol/L | 19.7291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.156 | 179771.291 | 312013.9139 | 33.25 | 68.6 | #N/A
29646 | 2021-02-22 14:34 | 110.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2237 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.153 | 179751.4079 | 312001.9742 | 33.25 | 68.6 | #N/A
29656 | 2021-02-22 14:34 | 110.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2869 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.149 | 179722.5621 | 312013.6062 | 33.25 | 68.6 | #N/A
29666 | 2021-02-22 14:35 | 111.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3071 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.15 | 179700.7591 | 312014.2536 | 33.25 | 68.6 | #N/A
29676 | 2021-02-22 14:35 | 111.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3862 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.145 | 179662.6741 | 312013.8909 | 33.25 | 68.6 | #N/A
29686 | 2021-02-22 14:35 | 111.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3819 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.143 | 179637.4488 | 311988.1027 | 33.25 | 68.6 | #N/A
29696 | 2021-02-22 14:36 | 112.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4971 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.138 | 179608.7113 | 311999.7892 | 33.25 | 68.6 | #N/A
29706 | 2021-02-22 14:36 | 112.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4611 | μmol/L | 19.723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.138 | 179584.2981 | 311990.1091 | 33.25 | 68.6 | #N/A
29716 | 2021-02-22 14:36 | 112.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5922 | μmol/L | 19.717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 25.132 | 179571.1411 | 311987.144 | 33.25 | 68.6 | #N/A