## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23905 | 2021-02-22 10:23 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.7934 | μmol/L | 19.1254 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.005 | 143271.1713 | 278875.7604 | 26.25 | 74
23915 | 2021-02-22 10:23 | 0.33359 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8039 | μmol/L | 19.101 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.013 | 143285.4104 | 278847.969 | 26.25 | 74
23925 | 2021-02-22 10:24 | 0.66641 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.8228 | μmol/L | 19.101 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.012 | 143271.0631 | 278805.2586 | 26.25 | 74
23935 | 2021-02-22 10:24 | 1.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.4901 | μmol/L | 19.1254 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.021 | 143282.2917 | 278758.5851 | 26.25 | 74
23945 | 2021-02-22 10:24 | 1.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.5306 | μmol/L | 19.1193 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.021 | 143256.1709 | 278721.7312 | 26.25 | 74
23955 | 2021-02-22 10:25 | 1.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.417 | μmol/L | 19.1193 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.027 | 143262.3289 | 278689.9872 | 26.25 | 74
23965 | 2021-02-22 10:25 | 2.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.2603 | μmol/L | 19.1315 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.031 | 143250.6313 | 278653.3383 | 26.25 | 74
23975 | 2021-02-22 10:25 | 2.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1658 | μmol/L | 19.1315 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.036 | 143249.8917 | 278617.8969 | 26.25 | 74
23985 | 2021-02-22 10:26 | 2.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1847 | μmol/L | 19.1315 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.035 | 143235.0404 | 278580.6357 | 26.25 | 74
23995 | 2021-02-22 10:26 | 3.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.1306 | μmol/L | 19.1254 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.04 | 143224.4512 | 278546.3481 | 26.25 | 74
24005 | 2021-02-22 10:26 | 3.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0928 | μmol/L | 19.1254 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.042 | 143212.4538 | 278499.5215 | 26.25 | 74
24015 | 2021-02-22 10:27 | 3.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0954 | μmol/L | 19.1193 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.044 | 143204.6975 | 278468.7869 | 26.25 | 74
24025 | 2021-02-22 10:27 | 4.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0251 | μmol/L | 19.1071 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.052 | 143215.1182 | 278449.2205 | 26.25 | 74
24035 | 2021-02-22 10:27 | 4.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0062 | μmol/L | 19.1071 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.053 | 143206.705 | 278398.1364 | 26.25 | 74
24045 | 2021-02-22 10:28 | 4.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8714 | μmol/L | 19.1132 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.058 | 143217.1346 | 278379.9561 | 26.25 | 74
24055 | 2021-02-22 10:28 | 4.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8956 | μmol/L | 19.101 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.061 | 143232.9428 | 278346.798 | 26.25 | 74
24065 | 2021-02-22 10:28 | 5.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9198 | μmol/L | 19.0889 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 143215.8422 | 278318.002 | 26.25 | 74
24075 | 2021-02-22 10:29 | 5.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9655 | μmol/L | 19.0706 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 143183.672 | 278281.5088 | 26.25 | 74
24085 | 2021-02-22 10:29 | 6.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9602 | μmol/L | 19.0828 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.064 | 143157.5503 | 278248.3898 | 26.25 | 74
24095 | 2021-02-22 10:29 | 6.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9655 | μmol/L | 19.0706 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 143134.5283 | 278237.0785 | 26.25 | 74
24105 | 2021-02-22 10:30 | 6.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9655 | μmol/L | 19.0706 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.068 | 143123.7917 | 278195.1198 | 26.25 | 74
24115 | 2021-02-22 10:30 | 6.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9709 | μmol/L | 19.0584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.072 | 143127.5785 | 278169.2587 | 26.25 | 74
24125 | 2021-02-22 10:30 | 7.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.793 | μmol/L | 19.0767 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.075 | 143124.7641 | 278160.6235 | 26.25 | 74
24135 | 2021-02-22 10:31 | 7.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8361 | μmol/L | 19.0645 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 143118.5922 | 278122.3453 | 26.25 | 74
24145 | 2021-02-22 10:31 | 8 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9978 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.077 | 143101.7267 | 278082.8693 | 26.25 | 74
24155 | 2021-02-22 10:31 | 8.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7822 | μmol/L | 19.0584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.082 | 143081.1924 | 278059.8919 | 26.25 | 74
24165 | 2021-02-22 10:32 | 8.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9385 | μmol/L | 19.0462 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 143065.1071 | 278027.7722 | 26.25 | 74
24175 | 2021-02-22 10:32 | 9.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0598 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.078 | 143043.0609 | 278004.1959 | 26.25 | 74
24185 | 2021-02-22 10:32 | 9.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9816 | μmol/L | 19.034 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.08 | 143027.2582 | 277980.0886 | 26.25 | 74
24195 | 2021-02-22 10:33 | 9.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.9465 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.084 | 143005.1011 | 277960.799 | 26.25 | 74
24205 | 2021-02-22 10:33 | 10 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0032 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.081 | 142973.2898 | 277923.8623 | 26.25 | 74
24215 | 2021-02-22 10:33 | 10.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0274 | μmol/L | 19.0157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.084 | 142959.4373 | 277887.0948 | 26.25 | 74
24225 | 2021-02-22 10:34 | 10.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 224.0868 | μmol/L | 19.0097 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.083 | 142943.1226 | 277866.8199 | 26.25 | 74
24235 | 2021-02-22 10:34 | 11.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.8899 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.087 | 142932.4979 | 277845.6232 | 26.25 | 74
24245 | 2021-02-22 10:34 | 11.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7337 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.091 | 142930.0079 | 277812.4386 | 26.25 | 74
24255 | 2021-02-22 10:35 | 11.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.7337 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.091 | 142928.5135 | 277795.7528 | 26.25 | 74
24265 | 2021-02-22 10:35 | 11.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.6395 | μmol/L | 19.0401 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.096 | 142947.9749 | 277774.0349 | 26.25 | 74
24275 | 2021-02-22 10:35 | 12.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.626 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.101 | 142964.6842 | 277751.6355 | 26.25 | 74
24285 | 2021-02-22 10:36 | 12.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.5911 | μmol/L | 19.0218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.105 | 142974.3048 | 277722.7451 | 26.25 | 74
24295 | 2021-02-22 10:36 | 13.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.5185 | μmol/L | 19.0157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.111 | 142993.4748 | 277701.7041 | 26.25 | 74
24305 | 2021-02-22 10:36 | 13.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.4432 | μmol/L | 19.0157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.115 | 142986.4953 | 277671.8616 | 26.25 | 74
24315 | 2021-02-22 10:37 | 13.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.3868 | μmol/L | 19.0157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.118 | 142981.074 | 277649.3609 | 26.25 | 74
24325 | 2021-02-22 10:37 | 14.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.2685 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.12 | 142985.2999 | 277635.8871 | 26.25 | 74
24335 | 2021-02-22 10:37 | 14.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.2309 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.122 | 142999.2504 | 277606.1133 | 26.25 | 74
24345 | 2021-02-22 10:38 | 14.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 223.1557 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.126 | 143006.7564 | 277577.0112 | 26.25 | 74
24355 | 2021-02-22 10:38 | 14.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.8741 | μmol/L | 19.0279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.141 | 143082.7748 | 277571.4321 | 26.25 | 74
24365 | 2021-02-22 10:38 | 15.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.6816 | μmol/L | 18.9975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.162 | 143220.4031 | 277544.1747 | 26.25 | 74
24375 | 2021-02-22 10:39 | 15.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1177 | μmol/L | 19.0036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.19 | 143382.5304 | 277514.8271 | 26.25 | 74
24385 | 2021-02-22 10:39 | 16.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7391 | μmol/L | 19.0157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.206 | 143502.4775 | 277505.4955 | 26.25 | 74
24395 | 2021-02-22 10:39 | 16.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5397 | μmol/L | 19.0036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.221 | 143571.9877 | 277482.0364 | 26.25 | 74
24405 | 2021-02-22 10:40 | 16.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5239 | μmol/L | 18.9975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.224 | 143590.9587 | 277442.9646 | 26.25 | 74
24415 | 2021-02-22 10:40 | 16.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.5239 | μmol/L | 18.9975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.224 | 143561.8539 | 277428.6785 | 26.25 | 74
24425 | 2021-02-22 10:40 | 17.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6756 | μmol/L | 18.9914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.218 | 143518.3153 | 277406.6366 | 26.25 | 74
24435 | 2021-02-22 10:41 | 17.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.8089 | μmol/L | 18.9853 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.213 | 143465.4477 | 277403.2503 | 26.25 | 74
24445 | 2021-02-22 10:41 | 17.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.9235 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 143419.8918 | 277376.4584 | 26.25 | 74
24455 | 2021-02-22 10:41 | 18.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.8834 | μmol/L | 18.9853 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 143379.4965 | 277357.7349 | 26.25 | 74
24465 | 2021-02-22 10:42 | 18.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.9366 | μmol/L | 18.9914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.204 | 143336.867 | 277333.663 | 26.25 | 74
24475 | 2021-02-22 10:42 | 19.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1316 | μmol/L | 18.9731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.2 | 143295.298 | 277325.388 | 26.25 | 74
24485 | 2021-02-22 10:42 | 19.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.0887 | μmol/L | 18.9853 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.198 | 143248.555 | 277306.5843 | 26.25 | 74
24495 | 2021-02-22 10:43 | 19.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1849 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.195 | 143211.7106 | 277286.0621 | 26.25 | 74
24505 | 2021-02-22 10:43 | 19.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2409 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.192 | 143186.6315 | 277256.4636 | 26.25 | 74
24515 | 2021-02-22 10:43 | 20.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2596 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.191 | 143165.0673 | 277237.5228 | 26.25 | 74
24525 | 2021-02-22 10:44 | 20.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2596 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.191 | 143147.9066 | 277224.0348 | 26.25 | 74
24535 | 2021-02-22 10:44 | 21.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.198 | μmol/L | 18.9914 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.19 | 143128.2924 | 277202.6675 | 26.25 | 74
24545 | 2021-02-22 10:44 | 21.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2008 | μmol/L | 18.9853 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.192 | 143107.8865 | 277176.6153 | 26.25 | 74
24555 | 2021-02-22 10:45 | 21.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3427 | μmol/L | 18.9609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.193 | 143098.1654 | 277157.2657 | 26.25 | 74
24565 | 2021-02-22 10:45 | 22.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.3268 | μmol/L | 18.9548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.196 | 143111.2009 | 277150.3297 | 26.25 | 74
24575 | 2021-02-22 10:45 | 22.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2278 | μmol/L | 18.967 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.197 | 143110.5329 | 277130.4394 | 26.25 | 74
24585 | 2021-02-22 10:46 | 22.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.1932 | μmol/L | 18.9609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.201 | 143113.7428 | 277109.0277 | 26.25 | 74
24595 | 2021-02-22 10:46 | 22.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2044 | μmol/L | 18.9365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.209 | 143149.8384 | 277107.8244 | 26.25 | 74
24605 | 2021-02-22 10:46 | 23.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.2156 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.217 | 143187.8659 | 277084.9831 | 26.25 | 74
24615 | 2021-02-22 10:47 | 23.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 222.0477 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.226 | 143262.878 | 277052.304 | 26.25 | 74
24625 | 2021-02-22 10:47 | 23.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7167 | μmol/L | 18.9426 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.233 | 143283.2915 | 277041.6013 | 26.25 | 74
24635 | 2021-02-22 10:47 | 24.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6822 | μmol/L | 18.9365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.237 | 143292.1236 | 277013.3622 | 26.25 | 74
24645 | 2021-02-22 10:48 | 24.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6822 | μmol/L | 18.9365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.237 | 143287.8735 | 277009.1914 | 26.25 | 74
24655 | 2021-02-22 10:48 | 24.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.7709 | μmol/L | 18.9061 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.243 | 143299.819 | 276985.0885 | 26.25 | 74
24665 | 2021-02-22 10:48 | 25.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.6591 | μmol/L | 18.9061 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.249 | 143324.1972 | 276971.6105 | 26.25 | 74
24675 | 2021-02-22 10:49 | 25.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.3902 | μmol/L | 18.9244 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.257 | 143344.6147 | 276951.0216 | 26.25 | 74
24685 | 2021-02-22 10:49 | 26.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.4116 | μmol/L | 18.9183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.258 | 143360.9739 | 276941.7359 | 26.25 | 74
24695 | 2021-02-22 10:49 | 26.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.2415 | μmol/L | 18.9244 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.265 | 143374.8111 | 276932.8785 | 26.25 | 74
24705 | 2021-02-22 10:50 | 26.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.1858 | μmol/L | 18.9244 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.268 | 143398.2916 | 276918.4455 | 26.25 | 74
24715 | 2021-02-22 10:50 | 26.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.2472 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.269 | 143403.2729 | 276893.9964 | 26.25 | 74
24725 | 2021-02-22 10:50 | 27.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.1944 | μmol/L | 18.9061 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.274 | 143424.2182 | 276891.5088 | 26.25 | 74
24735 | 2021-02-22 10:51 | 27.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0245 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.281 | 143429.0379 | 276863.5221 | 26.25 | 74
24745 | 2021-02-22 10:51 | 27.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.966 | μmol/L | 18.9183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.282 | 143448.8455 | 276842.8962 | 26.25 | 74
24755 | 2021-02-22 10:51 | 28.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9874 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.283 | 143454.5932 | 276837.6942 | 26.25 | 74
24765 | 2021-02-22 10:52 | 28.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9318 | μmol/L | 18.9122 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.286 | 143463.185 | 276827.8416 | 26.25 | 74
24775 | 2021-02-22 10:52 | 29.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9104 | μmol/L | 18.9183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.285 | 143431.7117 | 276796.5344 | 26.25 | 74
24785 | 2021-02-22 10:52 | 29.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8548 | μmol/L | 18.9183 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.288 | 143426.0896 | 276773.3789 | 26.25 | 74
24795 | 2021-02-22 10:53 | 29.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9746 | μmol/L | 18.9 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.288 | 143413.3593 | 276767.5946 | 26.25 | 74
24805 | 2021-02-22 10:53 | 30.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9033 | μmol/L | 18.8939 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.294 | 143450.5497 | 276755.4957 | 26.25 | 74
24815 | 2021-02-22 10:53 | 30.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8477 | μmol/L | 18.8939 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 143452.5902 | 276718.5019 | 26.25 | 74
24825 | 2021-02-22 10:54 | 30.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8106 | μmol/L | 18.8939 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.299 | 143451.7593 | 276726.0869 | 26.25 | 74
24835 | 2021-02-22 10:54 | 31.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.7764 | μmol/L | 18.8878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.303 | 143456.9856 | 276705.3184 | 26.25 | 74
24845 | 2021-02-22 10:54 | 31.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.681 | μmol/L | 18.8939 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.306 | 143454.3741 | 276680.489 | 26.25 | 74
24855 | 2021-02-22 10:55 | 31.6672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.6995 | μmol/L | 18.8939 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.305 | 143454.4887 | 276677.8204 | 26.25 | 74
24865 | 2021-02-22 10:55 | 32.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.6226 | μmol/L | 18.9 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.307 | 143441.4977 | 276644.1453 | 26.25 | 74
24875 | 2021-02-22 10:55 | 32.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9148 | μmol/L | 18.8695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.302 | 143417.0366 | 276631.0877 | 26.25 | 74
24885 | 2021-02-22 10:56 | 32.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8962 | μmol/L | 18.8695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.303 | 143386.0893 | 276618.2078 | 26.25 | 74
24895 | 2021-02-22 10:56 | 33.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8748 | μmol/L | 18.8756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.302 | 143361.9945 | 276606.817 | 26.25 | 74
24905 | 2021-02-22 10:56 | 33.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9704 | μmol/L | 18.8695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.299 | 143341.767 | 276583.139 | 26.25 | 74
24915 | 2021-02-22 10:57 | 33.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0474 | μmol/L | 18.8634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 143318.8753 | 276570.9885 | 26.25 | 74
24925 | 2021-02-22 10:57 | 33.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0816 | μmol/L | 18.8695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.293 | 143280.8954 | 276549.0157 | 26.25 | 74
24935 | 2021-02-22 10:57 | 34.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0231 | μmol/L | 18.8756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.294 | 143268.989 | 276529.0802 | 26.25 | 74
24945 | 2021-02-22 10:58 | 34.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0417 | μmol/L | 18.8756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.293 | 143253.4638 | 276533.6405 | 26.25 | 74
24955 | 2021-02-22 10:58 | 35.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.0474 | μmol/L | 18.8634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.297 | 143246.3991 | 276512.5595 | 26.25 | 74
24965 | 2021-02-22 10:58 | 35.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 221.1645 | μmol/L | 18.8513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.295 | 143240.0363 | 276494.529 | 26.25 | 74
24975 | 2021-02-22 10:59 | 35.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.9733 | μmol/L | 18.8634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.301 | 143254.3422 | 276480.5067 | 26.25 | 74
24985 | 2021-02-22 10:59 | 35.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8991 | μmol/L | 18.8634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.305 | 143290.6011 | 276459.4734 | 26.25 | 74
24995 | 2021-02-22 10:59 | 36.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.8308 | μmol/L | 18.8513 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.313 | 143329.3914 | 276442.9551 | 26.25 | 74
25005 | 2021-02-22 11:00 | 36.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.6145 | μmol/L | 18.8391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.329 | 143376.9031 | 276432.3972 | 26.25 | 74
25015 | 2021-02-22 11:00 | 36.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.4578 | μmol/L | 18.8573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.331 | 143407.2189 | 276400.7308 | 26.25 | 74
25025 | 2021-02-22 11:00 | 37.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.4637 | μmol/L | 18.8452 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.335 | 143424.459 | 276391.8829 | 26.25 | 74
25035 | 2021-02-22 11:01 | 37.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.4851 | μmol/L | 18.8391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.336 | 143424.9705 | 276374.9592 | 26.25 | 74
25045 | 2021-02-22 11:01 | 38.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.5279 | μmol/L | 18.8269 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.338 | 143421.692 | 276363.0322 | 26.25 | 74
25055 | 2021-02-22 11:01 | 38.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.5493 | μmol/L | 18.8208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.339 | 143428.9217 | 276355.767 | 26.25 | 74
25065 | 2021-02-22 11:02 | 38.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.4539 | μmol/L | 18.8269 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.342 | 143431.4892 | 276324.1307 | 26.25 | 74
25075 | 2021-02-22 11:02 | 39.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.3829 | μmol/L | 18.8208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.348 | 143441.8739 | 276309.6356 | 26.25 | 74
25085 | 2021-02-22 11:02 | 39.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.3246 | μmol/L | 18.8269 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.349 | 143465.2991 | 276290.9625 | 26.25 | 74
25095 | 2021-02-22 11:03 | 39.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.2411 | μmol/L | 18.8086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.36 | 143506.49 | 276274.0136 | 26.25 | 74
25105 | 2021-02-22 11:03 | 40.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.1887 | μmol/L | 18.8025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.365 | 143522.1164 | 276269.6724 | 26.25 | 74
25115 | 2021-02-22 11:03 | 40.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.9829 | μmol/L | 18.8086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.374 | 143588.9846 | 276253.1143 | 26.25 | 74
25125 | 2021-02-22 11:04 | 40.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.0014 | μmol/L | 18.8086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.373 | 143554.8683 | 276235.7484 | 26.25 | 74
25135 | 2021-02-22 11:04 | 41 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.0751 | μmol/L | 18.8086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.369 | 143521.7182 | 276229.0749 | 26.25 | 74
25145 | 2021-02-22 11:04 | 41.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.977 | μmol/L | 18.8208 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.37 | 143522.4432 | 276217.1711 | 26.25 | 74
25155 | 2021-02-22 11:05 | 41.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.1393 | μmol/L | 18.7903 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.372 | 143527.7833 | 276193.0172 | 26.25 | 74
25165 | 2021-02-22 11:05 | 42.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.2404 | μmol/L | 18.7721 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.373 | 143539.5476 | 276186.7705 | 26.25 | 74
25175 | 2021-02-22 11:05 | 42.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 220.0869 | μmol/L | 18.7842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.377 | 143552.5085 | 276176.579 | 26.25 | 74
25185 | 2021-02-22 11:06 | 42.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.8967 | μmol/L | 18.7964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.383 | 143563.5714 | 276163.6158 | 26.25 | 74
25195 | 2021-02-22 11:06 | 42.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.8046 | μmol/L | 18.7964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.388 | 143595.685 | 276157.4169 | 26.25 | 74
25205 | 2021-02-22 11:06 | 43.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.6361 | μmol/L | 18.8025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.395 | 143629.5026 | 276143.6067 | 26.25 | 74
25215 | 2021-02-22 11:07 | 43.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5655 | μmol/L | 18.7964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.401 | 143656.6297 | 276140.7296 | 26.25 | 74
25225 | 2021-02-22 11:07 | 44.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5163 | μmol/L | 18.7842 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.408 | 143683.6436 | 276122.4539 | 26.25 | 74
25235 | 2021-02-22 11:07 | 44.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5928 | μmol/L | 18.7781 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.406 | 143693.3936 | 276123.1205 | 26.25 | 74
25245 | 2021-02-22 11:08 | 44.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5406 | μmol/L | 18.7721 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.411 | 143708.6803 | 276091.5235 | 26.25 | 74
25255 | 2021-02-22 11:08 | 44.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4885 | μmol/L | 18.766 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.416 | 143723.2159 | 276084.0496 | 26.25 | 74
25265 | 2021-02-22 11:08 | 45.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.5496 | μmol/L | 18.7538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.417 | 143728.3741 | 276075.2142 | 26.25 | 74
25275 | 2021-02-22 11:09 | 45.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4731 | μmol/L | 18.7599 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.419 | 143729.8561 | 276066.827 | 26.25 | 74
25285 | 2021-02-22 11:09 | 46.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.4364 | μmol/L | 18.7599 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.421 | 143731.9923 | 276048.9145 | 26.25 | 74
25295 | 2021-02-22 11:09 | 46.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.3966 | μmol/L | 18.766 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.421 | 143751.6674 | 276051.3311 | 26.25 | 74
25305 | 2021-02-22 11:10 | 46.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.3078 | μmol/L | 18.7599 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.428 | 143766.0445 | 276047.292 | 26.25 | 74
25315 | 2021-02-22 11:10 | 47.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.2558 | μmol/L | 18.7538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.433 | 143802.2638 | 276028.9257 | 26.25 | 74
25325 | 2021-02-22 11:10 | 47.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.0908 | μmol/L | 18.7538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.442 | 143836.7701 | 276022.9967 | 26.25 | 74
25335 | 2021-02-22 11:11 | 47.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.0541 | μmol/L | 18.7538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.444 | 143863.1797 | 275997.2913 | 26.25 | 74
25345 | 2021-02-22 11:11 | 48 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 219.0235 | μmol/L | 18.7416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.45 | 143886.9322 | 276004.9917 | 26.25 | 74
25355 | 2021-02-22 11:11 | 48.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.8739 | μmol/L | 18.7477 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.456 | 143924.0813 | 275994.3593 | 26.25 | 74
25365 | 2021-02-22 11:12 | 48.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.8251 | μmol/L | 18.7355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.463 | 143981.3022 | 275978.265 | 26.25 | 74
25375 | 2021-02-22 11:12 | 49.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.6239 | μmol/L | 18.7355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.474 | 144036.2507 | 275972.4043 | 26.25 | 74
25385 | 2021-02-22 11:12 | 49.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.6117 | μmol/L | 18.7233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.479 | 144076.7447 | 275958.0231 | 26.25 | 74
25395 | 2021-02-22 11:13 | 49.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.5173 | μmol/L | 18.7294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.482 | 144078.689 | 275936.6254 | 26.25 | 74
25405 | 2021-02-22 11:13 | 50.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.4838 | μmol/L | 18.7233 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 144083.2958 | 275932.3464 | 26.25 | 74
25415 | 2021-02-22 11:13 | 50.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.4625 | μmol/L | 18.7294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 144094.069 | 275913.6952 | 26.25 | 74
25425 | 2021-02-22 11:14 | 50.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.3317 | μmol/L | 18.7355 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.49 | 144116.8881 | 275918.3289 | 26.25 | 74
25435 | 2021-02-22 11:14 | 51.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.353 | μmol/L | 18.7294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 144122.0309 | 275904.3385 | 26.25 | 74
25445 | 2021-02-22 11:14 | 51.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.28 | μmol/L | 18.7294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.495 | 144122.0276 | 275894.6069 | 26.25 | 74
25455 | 2021-02-22 11:15 | 51.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.4503 | μmol/L | 18.7172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.49 | 144091.7939 | 275896.0997 | 26.25 | 74
25465 | 2021-02-22 11:15 | 52.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.566 | μmol/L | 18.705 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 144050.106 | 275885.1257 | 26.25 | 74
25475 | 2021-02-22 11:15 | 52.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.5538 | μmol/L | 18.6929 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.493 | 144054.576 | 275872.1136 | 26.25 | 74
25485 | 2021-02-22 11:16 | 52.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.3682 | μmol/L | 18.699 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.501 | 144122.8052 | 275869.5975 | 26.25 | 74
25495 | 2021-02-22 11:16 | 52.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.2374 | μmol/L | 18.705 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.506 | 144175.7473 | 275865.2255 | 26.25 | 74
25505 | 2021-02-22 11:16 | 53.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.0521 | μmol/L | 18.7111 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.514 | 144223.5488 | 275842.3591 | 26.25 | 74
25515 | 2021-02-22 11:17 | 53.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.1098 | μmol/L | 18.705 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.513 | 144200.2372 | 275837.124 | 26.25 | 74
25525 | 2021-02-22 11:17 | 54 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.1037 | μmol/L | 18.7172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.509 | 144162.3391 | 275830.2055 | 26.25 | 74
25535 | 2021-02-22 11:17 | 54.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.1037 | μmol/L | 18.7172 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.509 | 144142.4202 | 275834.3545 | 26.25 | 74
25545 | 2021-02-22 11:18 | 54.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 218.043 | μmol/L | 18.7294 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.508 | 144138.0299 | 275817.6969 | 26.25 | 74
25555 | 2021-02-22 11:18 | 55.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.9276 | μmol/L | 18.7416 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.51 | 144138.4004 | 275807.5775 | 26.25 | 74
25565 | 2021-02-22 11:18 | 55.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.7759 | μmol/L | 18.7538 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.514 | 144133.5758 | 275793.9541 | 26.25 | 74
25575 | 2021-02-22 11:19 | 55.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.7334 | μmol/L | 18.766 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.512 | 144146.2697 | 275790.6679 | 26.25 | 74
25585 | 2021-02-22 11:19 | 56.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.6395 | μmol/L | 18.7721 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.515 | 144149.6763 | 275761.9773 | 26.25 | 74
25595 | 2021-02-22 11:19 | 56.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.4638 | μmol/L | 18.7964 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.516 | 144161.5508 | 275757.8153 | 26.25 | 74
25605 | 2021-02-22 11:20 | 56.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.4244 | μmol/L | 18.8025 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.516 | 144174.8645 | 275752.5824 | 26.25 | 74
25615 | 2021-02-22 11:20 | 57.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.3306 | μmol/L | 18.8086 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.519 | 144184.511 | 275743.4224 | 26.25 | 74
25625 | 2021-02-22 11:20 | 57.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.243 | μmol/L | 18.8391 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.513 | 144163.7886 | 275737.2217 | 26.25 | 74
25635 | 2021-02-22 11:21 | 57.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0888 | μmol/L | 18.8573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.515 | 144145.9762 | 275725.2786 | 26.25 | 74
25645 | 2021-02-22 11:21 | 58.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 217.0284 | μmol/L | 18.8695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.514 | 144131.2675 | 275695.383 | 26.25 | 74
25655 | 2021-02-22 11:21 | 58.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.8926 | μmol/L | 18.8878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.515 | 144127.6253 | 275685.4154 | 26.25 | 74
25665 | 2021-02-22 11:22 | 58.6667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7931 | μmol/L | 18.9061 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.514 | 144115.5942 | 275675.0557 | 26.25 | 74
25675 | 2021-02-22 11:22 | 59.0003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.7117 | μmol/L | 18.9244 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.512 | 144106.1245 | 275674.2931 | 26.25 | 74
25685 | 2021-02-22 11:22 | 59.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6877 | μmol/L | 18.9365 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.509 | 144071.5817 | 275655.015 | 26.25 | 74
25695 | 2021-02-22 11:23 | 59.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.6035 | μmol/L | 18.9609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.505 | 144045.3425 | 275651.6485 | 26.25 | 74
25705 | 2021-02-22 11:23 | 59.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.5042 | μmol/L | 18.9792 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.504 | 144027.3439 | 275635.1444 | 26.25 | 74
25715 | 2021-02-22 11:23 | 60.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.4049 | μmol/L | 18.9975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.503 | 144017.5772 | 275629.0899 | 26.25 | 74
25725 | 2021-02-22 11:24 | 60.6664 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.2667 | μmol/L | 19.0218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.502 | 144008.7252 | 275631.7484 | 26.25 | 74
25735 | 2021-02-22 11:24 | 61 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.1286 | μmol/L | 19.0462 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.501 | 143997.4862 | 275617.9486 | 26.25 | 74
25745 | 2021-02-22 11:24 | 61.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 216.0505 | μmol/L | 19.0584 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.501 | 143986.6951 | 275605.8705 | 26.25 | 74
25755 | 2021-02-22 11:25 | 61.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.9097 | μmol/L | 19.0889 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.498 | 143960.5805 | 275585.5448 | 26.25 | 74
25765 | 2021-02-22 11:25 | 61.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.8469 | μmol/L | 19.1071 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.495 | 143945.2638 | 275588.3986 | 26.25 | 74
25775 | 2021-02-22 11:25 | 62.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.7871 | μmol/L | 19.1193 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.494 | 143921.491 | 275563.9752 | 26.25 | 74
25785 | 2021-02-22 11:26 | 62.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6703 | μmol/L | 19.1376 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.494 | 143901.0065 | 275572.7924 | 26.25 | 74
25795 | 2021-02-22 11:26 | 63.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.6645 | μmol/L | 19.1498 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.49 | 143882.8126 | 275567.9714 | 26.25 | 74
25805 | 2021-02-22 11:26 | 63.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.5298 | μmol/L | 19.1681 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 143865.0727 | 275559.7901 | 26.25 | 74
25815 | 2021-02-22 11:27 | 63.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.5033 | μmol/L | 19.1863 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 143849.39 | 275548.1699 | 26.25 | 74
25825 | 2021-02-22 11:27 | 64.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3507 | μmol/L | 19.2046 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 143830.4614 | 275538.3295 | 26.25 | 74
25835 | 2021-02-22 11:27 | 64.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.3782 | μmol/L | 19.2229 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.48 | 143807.506 | 275535.1713 | 26.25 | 74
25845 | 2021-02-22 11:28 | 64.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2286 | μmol/L | 19.2351 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.484 | 143787.9448 | 275519.9183 | 26.25 | 74
25855 | 2021-02-22 11:28 | 65.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2589 | μmol/L | 19.2473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.478 | 143766.3973 | 275506.6583 | 26.25 | 74
25865 | 2021-02-22 11:28 | 65.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.2173 | μmol/L | 19.2595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.476 | 143739.536 | 275495.1821 | 26.25 | 74
25875 | 2021-02-22 11:29 | 65.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.1218 | μmol/L | 19.2716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.477 | 143734.7687 | 275495.0579 | 26.25 | 74
25885 | 2021-02-22 11:29 | 65.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0982 | μmol/L | 19.2838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.474 | 143722.4267 | 275485.5554 | 26.25 | 74
25895 | 2021-02-22 11:29 | 66.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 215.0774 | μmol/L | 19.2899 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.473 | 143710.8647 | 275474.6144 | 26.25 | 74
25905 | 2021-02-22 11:30 | 66.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.9999 | μmol/L | 19.3021 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.473 | 143711.2205 | 275464.5575 | 26.25 | 74
25915 | 2021-02-22 11:30 | 67.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.8478 | μmol/L | 19.3204 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.475 | 143712.8267 | 275461.5051 | 26.25 | 74
25925 | 2021-02-22 11:30 | 67.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.7552 | μmol/L | 19.3265 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.478 | 143710.3297 | 275456.0008 | 26.25 | 74
25935 | 2021-02-22 11:31 | 67.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6958 | μmol/L | 19.3387 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.477 | 143726.3796 | 275449.549 | 26.25 | 74
25945 | 2021-02-22 11:31 | 68.0005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.6032 | μmol/L | 19.3448 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.48 | 143726.3653 | 275434.243 | 26.25 | 74
25955 | 2021-02-22 11:31 | 68.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4694 | μmol/L | 19.363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.481 | 143734.7721 | 275424.9279 | 26.25 | 74
25965 | 2021-02-22 11:32 | 68.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.4514 | μmol/L | 19.363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.482 | 143740.4824 | 275414.0534 | 26.25 | 74
25975 | 2021-02-22 11:32 | 68.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.3356 | μmol/L | 19.3813 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.482 | 143739.9386 | 275401.4155 | 26.25 | 74
25985 | 2021-02-22 11:32 | 69.3338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.2818 | μmol/L | 19.3813 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 143748.4307 | 275403.6889 | 26.25 | 74
25995 | 2021-02-22 11:33 | 69.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1689 | μmol/L | 19.3935 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.487 | 143742.5722 | 275394.1982 | 26.25 | 74
26005 | 2021-02-22 11:33 | 70.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.1661 | μmol/L | 19.3996 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 143742.3896 | 275394.3288 | 26.25 | 74
26015 | 2021-02-22 11:33 | 70.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0504 | μmol/L | 19.4179 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 143734.1632 | 275376.2135 | 26.25 | 74
26025 | 2021-02-22 11:34 | 70.667 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0119 | μmol/L | 19.424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 143737.4031 | 275375.2844 | 26.25 | 74
26035 | 2021-02-22 11:34 | 70.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 214.0092 | μmol/L | 19.4301 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.483 | 143728.1691 | 275364.0302 | 26.25 | 74
26045 | 2021-02-22 11:34 | 71.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.9528 | μmol/L | 19.4362 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.484 | 143730.5386 | 275357.022 | 26.25 | 74
26055 | 2021-02-22 11:35 | 71.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.84 | μmol/L | 19.4483 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 143732.703 | 275350.3206 | 26.25 | 74
26065 | 2021-02-22 11:35 | 71.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7451 | μmol/L | 19.4605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.487 | 143737.8944 | 275358.8853 | 26.25 | 74
26075 | 2021-02-22 11:35 | 72.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.7451 | μmol/L | 19.4605 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.487 | 143737.7137 | 275348.1502 | 26.25 | 74
26085 | 2021-02-22 11:36 | 72.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6861 | μmol/L | 19.4727 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 143730.4555 | 275338.5428 | 26.25 | 74
26095 | 2021-02-22 11:36 | 73.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6504 | μmol/L | 19.4727 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 143736.1429 | 275353.0476 | 26.25 | 74
26105 | 2021-02-22 11:36 | 73.3332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6504 | μmol/L | 19.4727 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 143724.3228 | 275335.1299 | 26.25 | 74
26115 | 2021-02-22 11:37 | 73.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.6271 | μmol/L | 19.4849 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.485 | 143720.0686 | 275320.4904 | 26.25 | 74
26125 | 2021-02-22 11:37 | 73.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5529 | μmol/L | 19.491 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.487 | 143723.6744 | 275332.8313 | 26.25 | 74
26135 | 2021-02-22 11:37 | 74.3336 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.5708 | μmol/L | 19.491 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 143716.2319 | 275330.8951 | 26.25 | 74
26145 | 2021-02-22 11:38 | 74.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4939 | μmol/L | 19.5032 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.486 | 143716.3829 | 275322.6976 | 26.25 | 74
26155 | 2021-02-22 11:38 | 75.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.4198 | μmol/L | 19.5093 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.488 | 143712.8555 | 275320.413 | 26.25 | 74
26165 | 2021-02-22 11:38 | 75.3333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.3636 | μmol/L | 19.5154 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.489 | 143718.106 | 275309.4002 | 26.25 | 74
26175 | 2021-02-22 11:39 | 75.6671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2512 | μmol/L | 19.5276 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.491 | 143741.2843 | 275318.9349 | 26.25 | 74
26185 | 2021-02-22 11:39 | 75.9999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2539 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.493 | 143750.183 | 275312.9232 | 26.25 | 74
26195 | 2021-02-22 11:39 | 76.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.2182 | μmol/L | 19.5215 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.495 | 143745.6333 | 275295.0055 | 26.25 | 74
26205 | 2021-02-22 11:40 | 76.6668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1772 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.493 | 143749.902 | 275297.9363 | 26.25 | 74
26215 | 2021-02-22 11:40 | 77.0004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1032 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.495 | 143752.3881 | 275298.8693 | 26.25 | 74
26225 | 2021-02-22 11:40 | 77.3334 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1237 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.496 | 143748.7564 | 275282.8673 | 26.25 | 74
26235 | 2021-02-22 11:41 | 77.6666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0676 | μmol/L | 19.5397 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.497 | 143754.5485 | 275279.0207 | 26.25 | 74
26245 | 2021-02-22 11:41 | 78.0002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.1059 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.497 | 143766.8936 | 275296.6551 | 26.25 | 74
26255 | 2021-02-22 11:41 | 78.3331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0525 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.5 | 143763.8116 | 275284.6836 | 26.25 | 74
26265 | 2021-02-22 11:42 | 78.6669 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0525 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.5 | 143761.9874 | 275290.7636 | 26.25 | 74
26275 | 2021-02-22 11:42 | 78.9998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0703 | μmol/L | 19.5337 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.499 | 143777.6817 | 275279.8205 | 26.25 | 74
26285 | 2021-02-22 11:42 | 79.3335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 213.0114 | μmol/L | 19.5458 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.498 | 143756.8776 | 275277.8292 | 26.25 | 74
26295 | 2021-02-22 11:43 | 79.6665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9553 | μmol/L | 19.5519 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.499 | 143747.1241 | 275258.9374 | 26.25 | 74
26305 | 2021-02-22 11:43 | 80.0001 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9143 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.497 | 143738.4149 | 275256.0409 | 26.25 | 74
26314 | 2021-02-22 11:43 | 80.3337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 212.9321 | μmol/L | 19.5641 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 23.496 | 143735.2866 | 275248.0358 | 26.25 | 74