## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26328 | 2021-02-22 12:43 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5381 | μmol/L | 19.3387 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.942 | 146698.2136 | 275050.5658 | 26.25 | 74
26337 | 2021-02-22 12:44 | 0.32701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5411 | μmol/L | 19.3326 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.944 | 146725.6596 | 275065.633 | 26.25 | 74
26347 | 2021-02-22 12:44 | 0.66079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.5411 | μmol/L | 19.3326 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.944 | 146744.8632 | 275053.6824 | 26.25 | 74
26358 | 2021-02-22 12:44 | 0.99431 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4927 | μmol/L | 19.3265 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.949 | 146744.1956 | 275041.5577 | 26.25 | 74
26367 | 2021-02-22 12:45 | 1.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4072 | μmol/L | 19.3265 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.954 | 146768.5937 | 275042.9778 | 26.25 | 74
26378 | 2021-02-22 12:45 | 1.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.4273 | μmol/L | 19.3204 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.955 | 146772.3484 | 275027.9816 | 26.25 | 74
26387 | 2021-02-22 12:45 | 1.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3589 | μmol/L | 19.3204 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.959 | 146785.4444 | 275030.4762 | 26.25 | 74
26397 | 2021-02-22 12:46 | 2.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3418 | μmol/L | 19.3204 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.96 | 146804.535 | 275019.16 | 26.25 | 74
26408 | 2021-02-22 12:46 | 2.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3619 | μmol/L | 19.3143 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.961 | 146803.011 | 275018.4119 | 26.25 | 74
26417 | 2021-02-22 12:46 | 2.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.3277 | μmol/L | 19.3143 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.963 | 146814.4371 | 275010.2232 | 26.25 | 74
26427 | 2021-02-22 12:47 | 3.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.2563 | μmol/L | 19.3204 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.965 | 146832.9017 | 275009.0267 | 26.25 | 74
26438 | 2021-02-22 12:47 | 3.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.2623 | μmol/L | 19.3082 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.969 | 146834.3126 | 275004.893 | 26.25 | 74
26448 | 2021-02-22 12:47 | 3.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.2512 | μmol/L | 19.296 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.974 | 146856.3185 | 274986.5587 | 26.25 | 74
26457 | 2021-02-22 12:48 | 4.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.2884 | μmol/L | 19.2899 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.974 | 146867.3349 | 274984.5098 | 26.25 | 74
26468 | 2021-02-22 12:48 | 4.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.1286 | μmol/L | 19.3021 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.979 | 146895.3166 | 274994.0203 | 26.25 | 74
26478 | 2021-02-22 12:48 | 4.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.1346 | μmol/L | 19.2899 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.983 | 146912.7829 | 274987.6101 | 26.25 | 74
26487 | 2021-02-22 12:49 | 5.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.1376 | μmol/L | 19.2838 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.985 | 146919.5518 | 274978.2688 | 26.25 | 74
26498 | 2021-02-22 12:49 | 5.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0694 | μmol/L | 19.2838 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.989 | 146933.2904 | 274985.3145 | 26.25 | 74
26507 | 2021-02-22 12:49 | 5.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0894 | μmol/L | 19.2777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.99 | 146944.7749 | 274975.6955 | 26.25 | 74
26517 | 2021-02-22 12:50 | 6.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0925 | μmol/L | 19.2716 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.992 | 146946.8908 | 274967.8614 | 26.25 | 74
26528 | 2021-02-22 12:50 | 6.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0212 | μmol/L | 19.2777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.994 | 146960.6819 | 274956.7453 | 26.25 | 74
26537 | 2021-02-22 12:50 | 6.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9529 | μmol/L | 19.2777 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.998 | 146978.5767 | 274963.8776 | 26.25 | 74
26547 | 2021-02-22 12:51 | 7.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.956 | μmol/L | 19.2716 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24 | 146997.6579 | 274956.8509 | 26.25 | 74
26558 | 2021-02-22 12:51 | 7.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9048 | μmol/L | 19.2716 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.003 | 147011.2172 | 274961.9395 | 26.25 | 74
26568 | 2021-02-22 12:51 | 7.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8567 | μmol/L | 19.2656 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.008 | 147026.9094 | 274947.7998 | 26.25 | 74
26577 | 2021-02-22 12:52 | 8.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9511 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.009 | 147021.9427 | 274949.2437 | 26.25 | 74
26587 | 2021-02-22 12:52 | 8.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8969 | μmol/L | 19.2534 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.01 | 147034.1506 | 274936.8225 | 26.25 | 74
26597 | 2021-02-22 12:52 | 8.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.917 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.011 | 147035.5927 | 274935.271 | 26.25 | 74
26607 | 2021-02-22 12:53 | 9.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.8829 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.013 | 147050.8531 | 274942.04 | 26.25 | 74
26618 | 2021-02-22 12:53 | 9.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0424 | μmol/L | 19.2351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 24.008 | 147059.052 | 274941.8565 | 26.25 | 74
26627 | 2021-02-22 12:53 | 9.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.9726 | μmol/L | 19.229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.014 | 147085.8681 | 274945.39 | 26.25 | 74
26637 | 2021-02-22 12:54 | 10.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.7388 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.019 | 147099.2721 | 274933.7911 | 26.25 | 74
26647 | 2021-02-22 12:54 | 10.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6908 | μmol/L | 19.2473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.024 | 147125.5084 | 274930.2531 | 26.25 | 74
26657 | 2021-02-22 12:54 | 10.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6196 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.026 | 147147.8227 | 274924.163 | 26.25 | 74
26668 | 2021-02-22 12:55 | 11.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5376 | μmol/L | 19.2473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 147143.4065 | 274919.7238 | 26.25 | 74
26678 | 2021-02-22 12:55 | 11.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5516 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.03 | 147161.8984 | 274925.8982 | 26.25 | 74
26687 | 2021-02-22 12:55 | 11.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5917 | μmol/L | 19.2412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 147166.1954 | 274923.4993 | 26.25 | 74
26697 | 2021-02-22 12:56 | 12.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6087 | μmol/L | 19.2412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.031 | 147173.2873 | 274915.9922 | 26.25 | 74
26707 | 2021-02-22 12:56 | 12.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.703 | μmol/L | 19.2229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.032 | 147182.0479 | 274911.3041 | 26.25 | 74
26717 | 2021-02-22 12:56 | 12.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.686 | μmol/L | 19.2229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.033 | 147180.4752 | 274925.5199 | 26.25 | 74
26727 | 2021-02-22 12:57 | 13.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6319 | μmol/L | 19.229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.034 | 147179.3623 | 274905.9587 | 26.25 | 74
26737 | 2021-02-22 12:57 | 13.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6179 | μmol/L | 19.2229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.037 | 147187.6782 | 274919.1483 | 26.25 | 74
26747 | 2021-02-22 12:57 | 13.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.655 | μmol/L | 19.2168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.037 | 147200.7506 | 274912.7929 | 26.25 | 74
26757 | 2021-02-22 12:58 | 14.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.604 | μmol/L | 19.2168 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.04 | 147187.8186 | 274902.5759 | 26.25 | 74
26768 | 2021-02-22 12:58 | 14.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.624 | μmol/L | 19.2107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.041 | 147201.467 | 274899.7174 | 26.25 | 74
26778 | 2021-02-22 12:58 | 14.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5931 | μmol/L | 19.2046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.045 | 147220.5681 | 274898.2846 | 26.25 | 74
26788 | 2021-02-22 12:59 | 15.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.522 | μmol/L | 19.2107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.047 | 147227.908 | 274904.1305 | 26.25 | 74
26798 | 2021-02-22 12:59 | 15.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5962 | μmol/L | 19.1985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.047 | 147241.4356 | 274905.9453 | 26.25 | 74
26807 | 2021-02-22 12:59 | 15.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6163 | μmol/L | 19.1924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.048 | 147249.2578 | 274891.2257 | 26.25 | 74
26818 | 2021-02-22 13:00 | 16.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.491 | μmol/L | 19.2046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.051 | 147257.332 | 274883.2551 | 26.25 | 74
26828 | 2021-02-22 13:00 | 16.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5482 | μmol/L | 19.1924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.052 | 147263.28 | 274884.578 | 26.25 | 74
26838 | 2021-02-22 13:00 | 16.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5683 | μmol/L | 19.1863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.053 | 147275.792 | 274888.3678 | 26.25 | 74
26847 | 2021-02-22 13:01 | 17.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5683 | μmol/L | 19.1863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.053 | 147277.3204 | 274895.0048 | 26.25 | 74
26858 | 2021-02-22 13:01 | 17.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6054 | μmol/L | 19.1803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.053 | 147284.2799 | 274890.4018 | 26.25 | 74
26868 | 2021-02-22 13:01 | 17.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5173 | μmol/L | 19.1863 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.056 | 147299.9159 | 274886.5184 | 26.25 | 74
26877 | 2021-02-22 13:02 | 18.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5204 | μmol/L | 19.1803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.058 | 147313.8651 | 274875.9123 | 26.25 | 74
26887 | 2021-02-22 13:02 | 18.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4385 | μmol/L | 19.1742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.065 | 147327.3857 | 274868.7337 | 26.25 | 74
26897 | 2021-02-22 13:02 | 18.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4307 | μmol/L | 19.1803 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.063 | 147333.2179 | 274872.6339 | 26.25 | 74
26907 | 2021-02-22 13:03 | 19.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4215 | μmol/L | 19.1742 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.066 | 147335.6483 | 274869.4936 | 26.25 | 74
26918 | 2021-02-22 13:03 | 19.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4617 | μmol/L | 19.162 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.068 | 147341.324 | 274871.4092 | 26.25 | 74
26927 | 2021-02-22 13:03 | 19.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.5312 | μmol/L | 19.1498 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.068 | 147346.6076 | 274861.8018 | 26.25 | 74
26937 | 2021-02-22 13:04 | 20.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4972 | μmol/L | 19.1498 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 24.07 | 147354.0807 | 274866.2838 | 26.25 | 74
26947 | 2021-02-22 13:04 | 20.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4648 | μmol/L | 19.1559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.07 | 147363.415 | 274861.1875 | 26.25 | 74
26958 | 2021-02-22 13:04 | 20.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3597 | μmol/L | 19.162 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.074 | 147367.8148 | 274849.2157 | 26.25 | 74
26967 | 2021-02-22 13:05 | 21.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3597 | μmol/L | 19.162 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.074 | 147384.3819 | 274858.592 | 26.25 | 74
26977 | 2021-02-22 13:05 | 21.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.4169 | μmol/L | 19.1498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.075 | 147398.9155 | 274852.7687 | 26.25 | 74
26987 | 2021-02-22 13:05 | 21.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.437 | μmol/L | 19.1437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.076 | 147398.606 | 274855.4673 | 26.25 | 74
26997 | 2021-02-22 13:06 | 22.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.349 | μmol/L | 19.1498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.079 | 147403.9571 | 274842.8089 | 26.25 | 74
27007 | 2021-02-22 13:06 | 22.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.315 | μmol/L | 19.1498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.081 | 147417.9338 | 274856.9365 | 26.25 | 74
27018 | 2021-02-22 13:06 | 22.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3119 | μmol/L | 19.1559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.079 | 147437.6929 | 274856.4315 | 26.25 | 74
27028 | 2021-02-22 13:07 | 23.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2301 | μmol/L | 19.1498 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.086 | 147448.4208 | 274844.8791 | 26.25 | 74
27037 | 2021-02-22 13:07 | 23.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2364 | μmol/L | 19.1376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.09 | 147475.4859 | 274839.792 | 26.25 | 74
27047 | 2021-02-22 13:07 | 23.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1654 | μmol/L | 19.1437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.092 | 147478.4717 | 274835.7656 | 26.25 | 74
27058 | 2021-02-22 13:08 | 24.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1346 | μmol/L | 19.1376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.096 | 147508.5954 | 274826.1675 | 26.25 | 74
27067 | 2021-02-22 13:08 | 24.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2256 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.095 | 147507.1651 | 274840.3441 | 26.25 | 74
27077 | 2021-02-22 13:08 | 24.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0837 | μmol/L | 19.1376 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.099 | 147513.9182 | 274836.2696 | 26.25 | 74
27087 | 2021-02-22 13:09 | 25.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1917 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.097 | 147511.4927 | 274830.6564 | 26.25 | 74
27098 | 2021-02-22 13:09 | 25.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1578 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.099 | 147508.6108 | 274830.8076 | 26.25 | 74
27107 | 2021-02-22 13:09 | 25.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1609 | μmol/L | 19.1193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.101 | 147506.5793 | 274829.049 | 26.25 | 74
27118 | 2021-02-22 13:10 | 26.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2489 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.098 | 147520.37 | 274841.2692 | 26.25 | 74
27128 | 2021-02-22 13:10 | 26.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.269 | μmol/L | 19.1071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.099 | 147532.1811 | 274828.7298 | 26.25 | 74
27138 | 2021-02-22 13:10 | 26.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1641 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.103 | 147546.5028 | 274827.1943 | 26.25 | 74
27147 | 2021-02-22 13:11 | 27.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0962 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.107 | 147564.0037 | 274819.9997 | 26.25 | 74
27157 | 2021-02-22 13:11 | 27.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2042 | μmol/L | 19.101 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.105 | 147549.2074 | 274817.1818 | 26.25 | 74
27167 | 2021-02-22 13:11 | 27.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1873 | μmol/L | 19.101 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.106 | 147561.0825 | 274825.3773 | 26.25 | 74
27177 | 2021-02-22 13:12 | 28.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2074 | μmol/L | 19.095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.107 | 147568.82 | 274820.4415 | 26.25 | 74
27188 | 2021-02-22 13:12 | 28.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2275 | μmol/L | 19.0889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.108 | 147570.3899 | 274820.4918 | 26.25 | 74
27198 | 2021-02-22 13:12 | 28.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2105 | μmol/L | 19.0889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.109 | 147564.1181 | 274809.6042 | 26.25 | 74
27208 | 2021-02-22 13:13 | 29.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1396 | μmol/L | 19.095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.111 | 147581.1469 | 274810.213 | 26.25 | 74
27217 | 2021-02-22 13:13 | 29.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.2105 | μmol/L | 19.0889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.109 | 147584.3129 | 274811.4175 | 26.25 | 74
27227 | 2021-02-22 13:13 | 29.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1427 | μmol/L | 19.0889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.113 | 147596.0757 | 274797.5307 | 26.25 | 74
27238 | 2021-02-22 13:14 | 30.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1289 | μmol/L | 19.0828 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.116 | 147616.2008 | 274807.3373 | 26.25 | 74
27247 | 2021-02-22 13:14 | 30.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.149 | μmol/L | 19.0767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.117 | 147637.1173 | 274809.8752 | 26.25 | 74
27257 | 2021-02-22 13:14 | 30.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0643 | μmol/L | 19.0767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.122 | 147652.5519 | 274810.6255 | 26.25 | 74
27268 | 2021-02-22 13:15 | 31.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0304 | μmol/L | 19.0767 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.124 | 147663.2773 | 274808.9351 | 26.25 | 74
27277 | 2021-02-22 13:15 | 31.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1214 | μmol/L | 19.0645 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.123 | 147676.1635 | 274810.2466 | 26.25 | 74
27288 | 2021-02-22 13:15 | 31.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.1616 | μmol/L | 19.0523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.125 | 147673.883 | 274790.1622 | 26.25 | 74
27297 | 2021-02-22 13:16 | 32.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0938 | μmol/L | 19.0523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.129 | 147683.4271 | 274791.4468 | 26.25 | 74
27308 | 2021-02-22 13:16 | 32.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.097 | μmol/L | 19.0462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.131 | 147705.041 | 274795.3039 | 26.25 | 74
27318 | 2021-02-22 13:16 | 32.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0663 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.135 | 147713.5014 | 274790.9718 | 26.25 | 74
27328 | 2021-02-22 13:17 | 33.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9922 | μmol/L | 19.0523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.135 | 147722.0395 | 274781.2333 | 26.25 | 74
27337 | 2021-02-22 13:17 | 33.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9954 | μmol/L | 19.0462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.137 | 147744.3883 | 274792.1573 | 26.25 | 74
27348 | 2021-02-22 13:17 | 33.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9615 | μmol/L | 19.0462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.139 | 147753.6983 | 274798.0687 | 26.25 | 74
27358 | 2021-02-22 13:18 | 34.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9986 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.139 | 147762.1517 | 274785.6953 | 26.25 | 74
27367 | 2021-02-22 13:18 | 34.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9478 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.142 | 147767.1024 | 274788.3152 | 26.25 | 74
27378 | 2021-02-22 13:18 | 34.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.86 | μmol/L | 19.0462 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.145 | 147784.6398 | 274783.3178 | 26.25 | 74
27387 | 2021-02-22 13:19 | 35.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8801 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.146 | 147792.8401 | 274782.7053 | 26.25 | 74
27397 | 2021-02-22 13:19 | 35.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8526 | μmol/L | 19.0279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.152 | 147813.6657 | 274787.6311 | 26.25 | 74
27408 | 2021-02-22 13:19 | 35.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8864 | μmol/L | 19.0279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.15 | 147829.2836 | 274789.7762 | 26.25 | 74
27418 | 2021-02-22 13:20 | 36.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8156 | μmol/L | 19.034 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.152 | 147841.8326 | 274782.3712 | 26.25 | 74
27427 | 2021-02-22 13:20 | 36.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8727 | μmol/L | 19.0218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.153 | 147845.453 | 274774.7689 | 26.25 | 74
27438 | 2021-02-22 13:20 | 36.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7881 | μmol/L | 19.0218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.158 | 147851.4756 | 274780.4528 | 26.25 | 74
27447 | 2021-02-22 13:21 | 37.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.768 | μmol/L | 19.0279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.157 | 147865.6287 | 274773.4604 | 26.25 | 74
27457 | 2021-02-22 13:21 | 37.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7543 | μmol/L | 19.0218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.16 | 147867.5002 | 274785.7728 | 26.25 | 74
27467 | 2021-02-22 13:21 | 37.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7374 | μmol/L | 19.0218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.161 | 147876.5968 | 274786.4299 | 26.25 | 74
27477 | 2021-02-22 13:22 | 38.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7543 | μmol/L | 19.0218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.16 | 147873.2004 | 274773.8229 | 26.25 | 74
27487 | 2021-02-22 13:22 | 38.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7237 | μmol/L | 19.0157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.164 | 147887.5492 | 274766.0289 | 26.25 | 74
27498 | 2021-02-22 13:22 | 38.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.9628 | μmol/L | 18.9792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.163 | 147913.2326 | 274769.3258 | 26.25 | 74
27507 | 2021-02-22 13:23 | 39.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7534 | μmol/L | 18.9914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.171 | 147954.0878 | 274764.3549 | 26.25 | 74
27518 | 2021-02-22 13:23 | 39.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.6086 | μmol/L | 19.0097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.173 | 147954.6238 | 274769.9419 | 26.25 | 74
27527 | 2021-02-22 13:23 | 39.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5917 | μmol/L | 19.0097 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.174 | 147963.882 | 274772.1677 | 26.25 | 74
27538 | 2021-02-22 13:24 | 40.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7164 | μmol/L | 18.9975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.171 | 147960.4725 | 274773.8404 | 26.25 | 74
27547 | 2021-02-22 13:24 | 40.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.6995 | μmol/L | 18.9975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.172 | 147959.3856 | 274768.8851 | 26.25 | 74
27557 | 2021-02-22 13:24 | 40.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8274 | μmol/L | 18.9792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.171 | 147941.5878 | 274764.1607 | 26.25 | 74
27568 | 2021-02-22 13:25 | 41.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8242 | μmol/L | 18.9853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.169 | 147952.7337 | 274765.2863 | 26.25 | 74
27577 | 2021-02-22 13:25 | 41.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8645 | μmol/L | 18.9731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.171 | 147943.7173 | 274759.4492 | 26.25 | 74
27587 | 2021-02-22 13:25 | 41.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8983 | μmol/L | 18.9731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.169 | 147946.3883 | 274758.1671 | 26.25 | 74
27597 | 2021-02-22 13:26 | 42.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7598 | μmol/L | 18.9792 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.175 | 147955.8717 | 274771.876 | 26.25 | 74
27607 | 2021-02-22 13:26 | 42.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8137 | μmol/L | 18.9731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.174 | 147970.7855 | 274763.2617 | 26.25 | 74
27618 | 2021-02-22 13:26 | 42.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7799 | μmol/L | 18.9731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.176 | 147978.9666 | 274766.8611 | 26.25 | 74
27627 | 2021-02-22 13:27 | 43.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8001 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.177 | 147998.8154 | 274761.3962 | 26.25 | 74
27638 | 2021-02-22 13:27 | 43.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7324 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.181 | 148005.0511 | 274767.1904 | 26.25 | 74
27647 | 2021-02-22 13:27 | 43.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7019 | μmol/L | 18.9609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.185 | 148017.7926 | 274774.7051 | 26.25 | 74
27657 | 2021-02-22 13:28 | 44.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5804 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.19 | 148073.4729 | 274763.2716 | 26.25 | 74
27667 | 2021-02-22 13:28 | 44.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5499 | μmol/L | 18.9609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.194 | 148095.4838 | 274766.4344 | 26.25 | 74
27677 | 2021-02-22 13:28 | 44.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4791 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.196 | 148097.9217 | 274750.6679 | 26.25 | 74
27687 | 2021-02-22 13:29 | 45.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4791 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.196 | 148103.8534 | 274751.3022 | 26.25 | 74
27697 | 2021-02-22 13:29 | 45.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5395 | μmol/L | 18.9487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.199 | 148117.8183 | 274749.698 | 26.25 | 74
27707 | 2021-02-22 13:29 | 45.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.6304 | μmol/L | 18.9365 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.198 | 148131.2774 | 274763.5474 | 26.25 | 74
27718 | 2021-02-22 13:30 | 46.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5765 | μmol/L | 18.9426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.199 | 148134.4906 | 274764.8219 | 26.25 | 74
27728 | 2021-02-22 13:30 | 46.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5258 | μmol/L | 18.9426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.202 | 148140.035 | 274768.0089 | 26.25 | 74
27738 | 2021-02-22 13:30 | 46.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5258 | μmol/L | 18.9426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.202 | 148146.8217 | 274744.57 | 26.25 | 74
27747 | 2021-02-22 13:31 | 47.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4752 | μmol/L | 18.9426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.205 | 148154.6134 | 274759.7034 | 26.25 | 74
27757 | 2021-02-22 13:31 | 47.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4583 | μmol/L | 18.9426 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.206 | 148165.4775 | 274753.6096 | 26.25 | 74
27767 | 2021-02-22 13:31 | 47.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.3539 | μmol/L | 18.9487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.21 | 148185.0083 | 274754.152 | 26.25 | 74
27778 | 2021-02-22 13:32 | 48.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5323 | μmol/L | 18.9305 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.206 | 148185.256 | 274746.0744 | 26.25 | 74
27787 | 2021-02-22 13:32 | 48.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5524 | μmol/L | 18.9244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.207 | 148186.1507 | 274754.2545 | 26.25 | 74
27798 | 2021-02-22 13:32 | 48.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4681 | μmol/L | 18.9244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.212 | 148203.5016 | 274745.8529 | 26.25 | 74
27808 | 2021-02-22 13:33 | 49.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4343 | μmol/L | 18.9244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.214 | 148215.8164 | 274753.4185 | 26.25 | 74
27817 | 2021-02-22 13:33 | 49.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.3332 | μmol/L | 18.9244 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.22 | 148270.1655 | 274749.7073 | 26.25 | 74
27828 | 2021-02-22 13:33 | 49.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.2185 | μmol/L | 18.9183 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.229 | 148313.2777 | 274752.9536 | 26.25 | 74
27837 | 2021-02-22 13:34 | 50.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.2723 | μmol/L | 18.9122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.228 | 148336.1356 | 274751.6877 | 26.25 | 74
27847 | 2021-02-22 13:34 | 50.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.1913 | μmol/L | 18.9061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.235 | 148369.2113 | 274754.8272 | 26.25 | 74
27858 | 2021-02-22 13:34 | 50.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.0903 | μmol/L | 18.9061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.241 | 148392.8948 | 274747.3847 | 26.25 | 74
27867 | 2021-02-22 13:35 | 51.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.08 | μmol/L | 18.8939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.246 | 148427.8264 | 274745.109 | 26.25 | 74
27877 | 2021-02-22 13:35 | 51.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.8381 | μmol/L | 18.9061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.256 | 148518.687 | 274746.0737 | 26.25 | 74
27887 | 2021-02-22 13:35 | 51.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.6165 | μmol/L | 18.9122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.267 | 148588.0878 | 274753.7114 | 26.25 | 74
27898 | 2021-02-22 13:36 | 52.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.576 | μmol/L | 18.8939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.276 | 148653.5746 | 274749.954 | 26.25 | 74
27907 | 2021-02-22 13:36 | 52.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.4586 | μmol/L | 18.8939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 148720.936 | 274747.2038 | 26.25 | 74
27918 | 2021-02-22 13:36 | 52.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.291 | μmol/L | 18.8939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.293 | 148773.883 | 274749.4052 | 26.25 | 74
27927 | 2021-02-22 13:37 | 53.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.2474 | μmol/L | 18.8817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.3 | 148796.9028 | 274753.4997 | 26.25 | 74
27938 | 2021-02-22 13:37 | 53.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.1637 | μmol/L | 18.8817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.305 | 148858.4389 | 274745.5752 | 26.25 | 74
27947 | 2021-02-22 13:37 | 53.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9263 | μmol/L | 18.8878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.317 | 148922.6618 | 274750.7552 | 26.25 | 74
27958 | 2021-02-22 13:38 | 54.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8861 | μmol/L | 18.8695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.326 | 148982.8693 | 274747.1741 | 26.25 | 74
27967 | 2021-02-22 13:38 | 54.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7325 | μmol/L | 18.8756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149032.8286 | 274757.3286 | 26.25 | 74
27977 | 2021-02-22 13:38 | 54.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7358 | μmol/L | 18.8695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.335 | 149051.7981 | 274737.9292 | 26.25 | 74
27987 | 2021-02-22 13:39 | 55.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.6591 | μmol/L | 18.8878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149059.1627 | 274739.2933 | 26.25 | 74
27997 | 2021-02-22 13:39 | 55.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.6657 | μmol/L | 18.8756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.337 | 149057.6914 | 274735.3252 | 26.25 | 74
28007 | 2021-02-22 13:39 | 55.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7725 | μmol/L | 18.8634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.335 | 149057.2917 | 274745.9297 | 26.25 | 74
28018 | 2021-02-22 13:40 | 56.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9161 | μmol/L | 18.8452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149046.5478 | 274745.2279 | 26.25 | 74
28027 | 2021-02-22 13:40 | 56.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9328 | μmol/L | 18.8452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.332 | 149025.8657 | 274736.3285 | 26.25 | 74
28037 | 2021-02-22 13:40 | 56.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9695 | μmol/L | 18.8391 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.332 | 149018.9918 | 274745.8477 | 26.25 | 74
28047 | 2021-02-22 13:41 | 57.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9461 | μmol/L | 18.8513 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.329 | 149016.6767 | 274737.8673 | 26.25 | 74
28057 | 2021-02-22 13:41 | 57.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8927 | μmol/L | 18.8573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.33 | 149023.2537 | 274760.9822 | 26.25 | 74
28067 | 2021-02-22 13:41 | 57.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8793 | μmol/L | 18.8513 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149015.0394 | 274741.5074 | 26.25 | 74
28077 | 2021-02-22 13:42 | 58.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9495 | μmol/L | 18.8452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.331 | 149027.6241 | 274750.9935 | 26.25 | 74
28088 | 2021-02-22 13:42 | 58.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8426 | μmol/L | 18.8573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149036.2317 | 274748.041 | 26.25 | 74
28098 | 2021-02-22 13:42 | 58.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.896 | μmol/L | 18.8513 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.332 | 149048.2291 | 274756.0518 | 26.25 | 74
28108 | 2021-02-22 13:43 | 59.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8659 | μmol/L | 18.8452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.336 | 149032.2391 | 274742.4633 | 26.25 | 74
28117 | 2021-02-22 13:43 | 59.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9561 | μmol/L | 18.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.335 | 149032.8771 | 274753.3741 | 26.25 | 74
28127 | 2021-02-22 13:43 | 59.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9227 | μmol/L | 18.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.337 | 149043.305 | 274749.2889 | 26.25 | 74
28137 | 2021-02-22 13:44 | 60.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9561 | μmol/L | 18.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.335 | 149038.5183 | 274735.8716 | 26.25 | 74
28147 | 2021-02-22 13:44 | 60.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9595 | μmol/L | 18.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.337 | 149053.7614 | 274746.6569 | 26.25 | 74
28157 | 2021-02-22 13:44 | 60.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8926 | μmol/L | 18.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 149063.5421 | 274737.1415 | 26.25 | 74
28168 | 2021-02-22 13:45 | 61.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8592 | μmol/L | 18.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.343 | 149101.905 | 274759.0478 | 26.25 | 74
28178 | 2021-02-22 13:45 | 61.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7825 | μmol/L | 18.8147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.352 | 149145.0326 | 274751.9174 | 26.25 | 74
28187 | 2021-02-22 13:45 | 61.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7491 | μmol/L | 18.8147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.354 | 149169.285 | 274756.2217 | 26.25 | 74
28197 | 2021-02-22 13:46 | 62.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7858 | μmol/L | 18.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.354 | 149182.7366 | 274761.6738 | 26.25 | 74
28208 | 2021-02-22 13:46 | 62.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7524 | μmol/L | 18.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.356 | 149174.8223 | 274763.0126 | 26.25 | 74
28217 | 2021-02-22 13:46 | 62.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8025 | μmol/L | 18.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.353 | 149153.6082 | 274754.7312 | 26.25 | 74
28228 | 2021-02-22 13:47 | 63.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9461 | μmol/L | 18.7903 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.351 | 149138.3536 | 274744.732 | 26.25 | 74
28237 | 2021-02-22 13:47 | 63.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.886 | μmol/L | 18.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.348 | 149119.577 | 274747.3024 | 26.25 | 74
28247 | 2021-02-22 13:47 | 63.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7424 | μmol/L | 18.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.35 | 149123.6376 | 274757.1121 | 26.25 | 74
28258 | 2021-02-22 13:48 | 64.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8092 | μmol/L | 18.8269 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.346 | 149131.5575 | 274750.4104 | 26.25 | 74
28267 | 2021-02-22 13:48 | 64.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.886 | μmol/L | 18.8086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.348 | 149134.9103 | 274765.3157 | 26.25 | 74
28278 | 2021-02-22 13:48 | 64.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8659 | μmol/L | 18.8147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.347 | 149129.7831 | 274766.321 | 26.25 | 74
28288 | 2021-02-22 13:49 | 65.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8626 | μmol/L | 18.8208 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.345 | 149127.7425 | 274747.9121 | 26.25 | 74
28297 | 2021-02-22 13:49 | 65.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7391 | μmol/L | 18.833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.348 | 149123.4908 | 274763.0114 | 26.25 | 74
28308 | 2021-02-22 13:49 | 65.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7491 | μmol/L | 18.8452 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.343 | 149130.4526 | 274762.9619 | 26.25 | 74
28317 | 2021-02-22 13:50 | 66.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.6256 | μmol/L | 18.8573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.346 | 149132.075 | 274754.7526 | 26.25 | 74
28327 | 2021-02-22 13:50 | 66.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5123 | μmol/L | 18.8817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.344 | 149141.9223 | 274761.3847 | 26.25 | 74
28337 | 2021-02-22 13:50 | 66.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.4057 | μmol/L | 18.8939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.346 | 149140.3207 | 274764.9897 | 26.25 | 74
28347 | 2021-02-22 13:51 | 67.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3991 | μmol/L | 18.9061 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.342 | 149139.2625 | 274762.5594 | 26.25 | 74
28357 | 2021-02-22 13:51 | 67.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3792 | μmol/L | 18.9122 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 149129.984 | 274761.7482 | 26.25 | 74
28368 | 2021-02-22 13:51 | 67.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.2693 | μmol/L | 18.9305 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 149128.0475 | 274770.6328 | 26.25 | 74
28377 | 2021-02-22 13:52 | 68.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1596 | μmol/L | 18.9487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 149133.4552 | 274767.8169 | 26.25 | 74
28387 | 2021-02-22 13:52 | 68.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0499 | μmol/L | 18.967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.341 | 149132.0899 | 274766.8955 | 26.25 | 74
28397 | 2021-02-22 13:52 | 68.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9205 | μmol/L | 18.9914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.34 | 149137.7278 | 274755.0362 | 26.25 | 74
28408 | 2021-02-22 13:53 | 69.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9139 | μmol/L | 19.0036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.336 | 149134.9275 | 274748.6828 | 26.25 | 74
28418 | 2021-02-22 13:53 | 69.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.7182 | μmol/L | 19.0279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.339 | 149140.6922 | 274748.385 | 26.25 | 74
28428 | 2021-02-22 13:53 | 69.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6785 | μmol/L | 19.0401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.337 | 149136.5652 | 274757.4623 | 26.25 | 74
28437 | 2021-02-22 13:54 | 70.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6355 | μmol/L | 19.0584 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.333 | 149133.9368 | 274753.4165 | 26.25 | 74
28448 | 2021-02-22 13:54 | 70.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.5032 | μmol/L | 19.0889 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.33 | 149110.3803 | 274760.106 | 26.25 | 74
28457 | 2021-02-22 13:54 | 70.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4668 | μmol/L | 19.095 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.33 | 149097.676 | 274745.2399 | 26.25 | 74
28467 | 2021-02-22 13:55 | 71.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.3545 | μmol/L | 19.1193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.328 | 149075.0834 | 274762.4097 | 26.25 | 74
28478 | 2021-02-22 13:55 | 71.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2919 | μmol/L | 19.1437 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.323 | 149075.8387 | 274756.6533 | 26.25 | 74
28488 | 2021-02-22 13:55 | 71.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2689 | μmol/L | 19.1559 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.32 | 149063.7314 | 274748.6714 | 26.25 | 74
28497 | 2021-02-22 13:56 | 72.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1568 | μmol/L | 19.1803 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.318 | 149042.2812 | 274758.144 | 26.25 | 74
28508 | 2021-02-22 13:56 | 72.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1141 | μmol/L | 19.1985 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.314 | 149021.9252 | 274752.4554 | 26.25 | 74
28517 | 2021-02-22 13:56 | 72.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0912 | μmol/L | 19.2107 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.311 | 148998.8178 | 274738.4436 | 26.25 | 74
28527 | 2021-02-22 13:57 | 73.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0021 | μmol/L | 19.2229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.312 | 148991.0006 | 274738.6896 | 26.25 | 74
28538 | 2021-02-22 13:57 | 73.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9595 | μmol/L | 19.2412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.308 | 148992.8716 | 274741.4374 | 26.25 | 74
28547 | 2021-02-22 13:57 | 73.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9367 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.305 | 148967.5502 | 274739.8453 | 26.25 | 74
28557 | 2021-02-22 13:58 | 74.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8476 | μmol/L | 19.2656 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.306 | 148964.6634 | 274740.5949 | 26.25 | 74
28567 | 2021-02-22 13:58 | 74.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8744 | μmol/L | 19.2777 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.3 | 148946.3997 | 274746.2055 | 26.25 | 74
28577 | 2021-02-22 13:58 | 74.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.7327 | μmol/L | 19.296 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.302 | 148943.2278 | 274730.7947 | 26.25 | 74
28588 | 2021-02-22 13:59 | 75.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.713 | μmol/L | 19.3021 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.301 | 148937.5778 | 274738.7187 | 26.25 | 74
28597 | 2021-02-22 13:59 | 75.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6541 | μmol/L | 19.3204 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148921.5228 | 274732.8264 | 26.25 | 74
28607 | 2021-02-22 13:59 | 75.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6014 | μmol/L | 19.3265 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.299 | 148929.0404 | 274736.5881 | 26.25 | 74
28617 | 2021-02-22 14:00 | 76.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6148 | μmol/L | 19.3326 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.296 | 148925.04 | 274746.4468 | 26.25 | 74
28628 | 2021-02-22 14:00 | 76.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4733 | μmol/L | 19.3509 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148924.9766 | 274732.942 | 26.25 | 74
28637 | 2021-02-22 14:00 | 76.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4371 | μmol/L | 19.3569 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148919.1604 | 274748.9966 | 26.25 | 74
28648 | 2021-02-22 14:01 | 77.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4867 | μmol/L | 19.3569 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148923.673 | 274740.4011 | 26.25 | 74
28658 | 2021-02-22 14:01 | 77.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3092 | μmol/L | 19.3813 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.297 | 148927.6338 | 274733.6412 | 26.25 | 74
28668 | 2021-02-22 14:01 | 77.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3061 | μmol/L | 19.3874 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148931.9723 | 274738.2421 | 26.25 | 74
28678 | 2021-02-22 14:02 | 78.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2339 | μmol/L | 19.3996 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148922.1294 | 274725.4424 | 26.25 | 74
28688 | 2021-02-22 14:02 | 78.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2277 | μmol/L | 19.4118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.291 | 148918.497 | 274736.1885 | 26.25 | 74
28697 | 2021-02-22 14:02 | 78.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1257 | μmol/L | 19.4179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148920.2917 | 274732.7778 | 26.25 | 74
28707 | 2021-02-22 14:03 | 79.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.0896 | μmol/L | 19.424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148926.5644 | 274711.2456 | 26.25 | 74
28717 | 2021-02-22 14:03 | 79.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8961 | μmol/L | 19.4483 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148934.5226 | 274719.576 | 26.25 | 74
28727 | 2021-02-22 14:03 | 79.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.965 | μmol/L | 19.4423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.296 | 148933.0578 | 274726.0343 | 26.25 | 74
28738 | 2021-02-22 14:04 | 80.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7552 | μmol/L | 19.4666 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.3 | 148932.3286 | 274724.9079 | 26.25 | 74
28747 | 2021-02-22 14:04 | 80.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9394 | μmol/L | 19.4605 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.291 | 148915.8696 | 274724.8463 | 26.25 | 74
28757 | 2021-02-22 14:04 | 80.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8344 | μmol/L | 19.4727 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.293 | 148917.7494 | 274722.302 | 26.25 | 74
28768 | 2021-02-22 14:05 | 81.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7789 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.292 | 148902.1095 | 274720.298 | 26.25 | 74
28778 | 2021-02-22 14:05 | 81.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7789 | μmol/L | 19.4849 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.292 | 148898.2249 | 274711.4484 | 26.25 | 74
28788 | 2021-02-22 14:05 | 81.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7429 | μmol/L | 19.491 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.292 | 148893.727 | 274695.0115 | 26.25 | 74
28797 | 2021-02-22 14:06 | 82.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7728 | μmol/L | 19.4971 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.288 | 148885.7185 | 274701.8685 | 26.25 | 74
28807 | 2021-02-22 14:06 | 82.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7039 | μmol/L | 19.5032 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.29 | 148890.8379 | 274702.0277 | 26.25 | 74
28817 | 2021-02-22 14:06 | 82.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.632 | μmol/L | 19.5154 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.29 | 148898.4504 | 274690.8601 | 26.25 | 74
28828 | 2021-02-22 14:07 | 83.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6454 | μmol/L | 19.5215 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.287 | 148888.1214 | 274691.3491 | 26.25 | 74
28838 | 2021-02-22 14:07 | 83.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5273 | μmol/L | 19.5276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.292 | 148883.7699 | 274690.2096 | 26.25 | 74
28848 | 2021-02-22 14:07 | 83.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6095 | μmol/L | 19.5276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.287 | 148876.8323 | 274692.7985 | 26.25 | 74
28857 | 2021-02-22 14:08 | 84.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5571 | μmol/L | 19.5337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.288 | 148871.5093 | 274696.5104 | 26.25 | 74
28867 | 2021-02-22 14:08 | 84.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6065 | μmol/L | 19.5337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.285 | 148863.1259 | 274700.8236 | 26.25 | 74
28877 | 2021-02-22 14:08 | 84.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5511 | μmol/L | 19.5458 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.284 | 148859.8697 | 274699.2466 | 26.25 | 74
28888 | 2021-02-22 14:09 | 85.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5152 | μmol/L | 19.5519 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.284 | 148854.6256 | 274687.9561 | 26.25 | 74
28897 | 2021-02-22 14:09 | 85.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5809 | μmol/L | 19.5519 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 148848.32 | 274689.0277 | 26.25 | 74
28908 | 2021-02-22 14:09 | 85.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4957 | μmol/L | 19.558 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 148831.0638 | 274675.1626 | 26.25 | 74
28917 | 2021-02-22 14:10 | 86.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4762 | μmol/L | 19.5641 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148831.4146 | 274693.8376 | 26.25 | 74
28928 | 2021-02-22 14:10 | 86.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4403 | μmol/L | 19.5702 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148814.289 | 274668.0845 | 26.25 | 74
28937 | 2021-02-22 14:10 | 86.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4044 | μmol/L | 19.5763 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148819.1226 | 274670.8464 | 26.25 | 74
28947 | 2021-02-22 14:11 | 87.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3686 | μmol/L | 19.5824 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148811.7948 | 274661.262 | 26.25 | 74
28957 | 2021-02-22 14:11 | 87.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.382 | μmol/L | 19.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 148809.4303 | 274671.1775 | 26.25 | 74
28968 | 2021-02-22 14:11 | 87.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3491 | μmol/L | 19.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.281 | 148816.7581 | 274665.184 | 26.25 | 74
28977 | 2021-02-22 14:12 | 88.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3297 | μmol/L | 19.5946 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 148810.2619 | 274657.2835 | 26.25 | 74
28987 | 2021-02-22 14:12 | 88.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.261 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148814.6653 | 274659.3987 | 26.25 | 74
28997 | 2021-02-22 14:12 | 88.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2251 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148827.9559 | 274657.2519 | 26.25 | 74
29008 | 2021-02-22 14:13 | 89.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1565 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.284 | 148828.6202 | 274654.6969 | 26.25 | 74
29017 | 2021-02-22 14:13 | 89.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1206 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.284 | 148837.6069 | 274649.7958 | 26.25 | 74
29027 | 2021-02-22 14:13 | 89.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.052 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.286 | 148848.3797 | 274657.5614 | 26.25 | 74
29037 | 2021-02-22 14:14 | 90.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1236 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.286 | 148843.0581 | 274653.2556 | 26.25 | 74
29047 | 2021-02-22 14:14 | 90.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1729 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 148850.9099 | 274661.5452 | 26.25 | 74
29057 | 2021-02-22 14:14 | 90.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.14 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.285 | 148839.6816 | 274634.7264 | 26.25 | 74
29068 | 2021-02-22 14:15 | 91.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1699 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.281 | 148833.8799 | 274649.5446 | 26.25 | 74
29078 | 2021-02-22 14:15 | 91.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.134 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.281 | 148818.016 | 274655.0519 | 26.25 | 74
29088 | 2021-02-22 14:15 | 91.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2191 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.278 | 148795.4531 | 274641.8932 | 26.25 | 74
29098 | 2021-02-22 14:16 | 92.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2714 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.277 | 148775.1493 | 274638.0708 | 26.25 | 74
29107 | 2021-02-22 14:16 | 92.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3401 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.275 | 148780.4077 | 274644.4882 | 26.25 | 74
29117 | 2021-02-22 14:16 | 92.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3924 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.274 | 148765.5041 | 274624.1976 | 26.25 | 74
29127 | 2021-02-22 14:17 | 93.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3237 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.276 | 148766.9253 | 274629.6697 | 26.25 | 74
29137 | 2021-02-22 14:17 | 93.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3401 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.275 | 148773.0806 | 274640.9125 | 26.25 | 74
29147 | 2021-02-22 14:17 | 93.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2355 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.277 | 148786.2889 | 274638.7557 | 26.25 | 74
29157 | 2021-02-22 14:18 | 94.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2385 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 148792.5699 | 274625.0424 | 26.25 | 74
29167 | 2021-02-22 14:18 | 94.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2191 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.278 | 148805.6745 | 274641.6844 | 26.25 | 74
29177 | 2021-02-22 14:18 | 94.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2057 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.281 | 148814.5313 | 274636.743 | 26.25 | 74
29187 | 2021-02-22 14:19 | 95.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2221 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 148825.1234 | 274632.4759 | 26.25 | 74
29198 | 2021-02-22 14:19 | 95.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1729 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 148810.8691 | 274624.5301 | 26.25 | 74
29207 | 2021-02-22 14:19 | 95.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.258 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 148831.915 | 274627.4445 | 26.25 | 74
29218 | 2021-02-22 14:20 | 96.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2834 | μmol/L | 19.5885 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.285 | 148828.5968 | 274641.1937 | 26.25 | 74
29228 | 2021-02-22 14:20 | 96.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.261 | μmol/L | 19.6007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148824.4745 | 274629.0689 | 26.25 | 74
29238 | 2021-02-22 14:20 | 96.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2087 | μmol/L | 19.6068 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.283 | 148814.8507 | 274629.3438 | 26.25 | 74
29247 | 2021-02-22 14:21 | 97.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2221 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.28 | 148802.218 | 274620.5981 | 26.25 | 74
29257 | 2021-02-22 14:21 | 97.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.255 | μmol/L | 19.6129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.278 | 148803.1554 | 274630.268 | 26.25 | 74
29267 | 2021-02-22 14:21 | 97.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0818 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148787.2842 | 274614.1436 | 26.25 | 74
29277 | 2021-02-22 14:22 | 98.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1803 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.276 | 148770.1318 | 274640.4817 | 26.25 | 74
29288 | 2021-02-22 14:22 | 98.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2101 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.272 | 148760.3037 | 274632.0259 | 26.25 | 74
29297 | 2021-02-22 14:22 | 98.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1579 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.273 | 148734.8012 | 274624.3206 | 26.25 | 74
29307 | 2021-02-22 14:23 | 99.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.24 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.268 | 148697.8669 | 274623.2657 | 26.25 | 74
29317 | 2021-02-22 14:23 | 99.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3251 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.265 | 148679.2481 | 274628.0323 | 26.25 | 74
29327 | 2021-02-22 14:23 | 99.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4073 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.26 | 148648.5751 | 274624.4684 | 26.25 | 74
29338 | 2021-02-22 14:24 | 100.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4955 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.259 | 148629.705 | 274610.5142 | 26.25 | 74
29348 | 2021-02-22 14:24 | 100.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4432 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.26 | 148628.3013 | 274611.8405 | 26.25 | 74
29357 | 2021-02-22 14:24 | 100.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.358 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.263 | 148638.4738 | 274602.1901 | 26.25 | 74
29367 | 2021-02-22 14:25 | 101.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2863 | μmol/L | 19.6494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.263 | 148673.051 | 274608.8221 | 26.25 | 74
29377 | 2021-02-22 14:25 | 101.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.24 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.268 | 148718.7439 | 274611.794 | 26.25 | 74
29387 | 2021-02-22 14:25 | 101.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1415 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.274 | 148732.4324 | 274603.5768 | 26.25 | 74
29397 | 2021-02-22 14:26 | 102.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1415 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.274 | 148753.3244 | 274609.4304 | 26.25 | 74
29408 | 2021-02-22 14:26 | 102.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0594 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.279 | 148768.2842 | 274608.1591 | 26.25 | 74
29417 | 2021-02-22 14:26 | 102.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.046 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.282 | 148780.7389 | 274609.7447 | 26.25 | 74
29428 | 2021-02-22 14:27 | 103.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0356 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.287 | 148813.5099 | 274606.2008 | 26.25 | 74
29437 | 2021-02-22 14:27 | 103.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0192 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.288 | 148840.3868 | 274606.4196 | 26.25 | 74
29448 | 2021-02-22 14:27 | 103.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8687 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.295 | 148872.974 | 274593.8451 | 26.25 | 74
29457 | 2021-02-22 14:28 | 104.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8717 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.297 | 148886.4275 | 274612.866 | 26.25 | 74
29468 | 2021-02-22 14:28 | 104.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7704 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.301 | 148916.9688 | 274594.8006 | 26.25 | 74
29477 | 2021-02-22 14:28 | 104.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.757 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.304 | 148929.5975 | 274605.0045 | 26.25 | 74
29487 | 2021-02-22 14:29 | 105.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7897 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.302 | 148929.0325 | 274603.5807 | 26.25 | 74
29497 | 2021-02-22 14:29 | 105.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8359 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.297 | 148919.8701 | 274603.5859 | 26.25 | 74
29507 | 2021-02-22 14:29 | 105.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.751 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.3 | 148893.2235 | 274591.5469 | 26.25 | 74
29517 | 2021-02-22 14:30 | 106.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7837 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148877.6655 | 274594.6683 | 26.25 | 74
29527 | 2021-02-22 14:30 | 106.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8165 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.296 | 148867.9653 | 274590.5708 | 26.25 | 74
29537 | 2021-02-22 14:30 | 106.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9834 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.288 | 148847.8316 | 274585.7766 | 26.25 | 74
29547 | 2021-02-22 14:31 | 107.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0028 | μmol/L | 19.6251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.289 | 148825.6201 | 274589.0562 | 26.25 | 74
29557 | 2021-02-22 14:31 | 107.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0878 | μmol/L | 19.619 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.286 | 148809.613 | 274588.7154 | 26.25 | 74
29567 | 2021-02-22 14:31 | 107.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9834 | μmol/L | 19.6311 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.288 | 148813.806 | 274595.6915 | 26.25 | 74
29577 | 2021-02-22 14:32 | 108.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9148 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.29 | 148845.4984 | 274590.6017 | 26.25 | 74
29587 | 2021-02-22 14:32 | 108.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8135 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.294 | 148873.9594 | 274589.1558 | 26.25 | 74
29597 | 2021-02-22 14:32 | 108.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7122 | μmol/L | 19.6494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.298 | 148899.424 | 274592.0551 | 26.25 | 74
29608 | 2021-02-22 14:33 | 109.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6438 | μmol/L | 19.6555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.3 | 148922.728 | 274594.1324 | 26.25 | 74
29617 | 2021-02-22 14:33 | 109.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.562 | μmol/L | 19.6555 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.305 | 148927.869 | 274578.8412 | 26.25 | 74
29628 | 2021-02-22 14:33 | 109.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6661 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.303 | 148918.6973 | 274595.4864 | 26.25 | 74
29638 | 2021-02-22 14:34 | 110.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6989 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.301 | 148920.1094 | 274596.9244 | 26.25 | 74
29647 | 2021-02-22 14:34 | 110.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7674 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.299 | 148923.6958 | 274589.7383 | 26.25 | 74
29658 | 2021-02-22 14:34 | 110.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6825 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.302 | 148936.5972 | 274594.6469 | 26.25 | 74
29667 | 2021-02-22 14:35 | 111.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6528 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.306 | 148936.2827 | 274581.1693 | 26.25 | 74
29678 | 2021-02-22 14:35 | 111.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6691 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.305 | 148943.8108 | 274583.068 | 26.25 | 74
29687 | 2021-02-22 14:35 | 111.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5516 | μmol/L | 19.6433 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.31 | 148960.6309 | 274596.7882 | 26.25 | 74
29697 | 2021-02-22 14:36 | 112.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5322 | μmol/L | 19.6494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.309 | 148962.1937 | 274579.6228 | 26.25 | 74
29707 | 2021-02-22 14:36 | 112.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4505 | μmol/L | 19.6494 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.314 | 148990.7494 | 274584.7557 | 26.25 | 74
29717 | 2021-02-22 14:36 | 112.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4728 | μmol/L | 19.6372 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.317 | 149007.2224 | 274568.8606 | 26.25 | 74