## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26330 | 2021-02-22 12:43 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5239 | μmol/L | 19.2906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.062 | 134733.9729 | 276264.2062 | 32.55 | 27.7 | #N/A
26340 | 2021-02-22 12:44 | 0.32938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5053 | μmol/L | 19.2906 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.063 | 134723.7472 | 276247.5209 | 32.55 | 27.7 | #N/A
26350 | 2021-02-22 12:44 | 0.66299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5823 | μmol/L | 19.2844 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.061 | 134707.1904 | 276225.9694 | 32.55 | 27.7 | #N/A
26360 | 2021-02-22 12:44 | 0.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6407 | μmol/L | 19.2783 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.06 | 134701.102 | 276186.2068 | 32.55 | 27.7 | #N/A
26370 | 2021-02-22 12:45 | 1.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.5823 | μmol/L | 19.2844 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.061 | 134692.2204 | 276178.1258 | 32.55 | 27.7 | #N/A | -0.049923 | 2.9954
26380 | 2021-02-22 12:45 | 1.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6671 | μmol/L | 19.26 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.065 | 134699.6489 | 276158.6929 | 32.55 | 27.7 | #N/A | 220.5924
26390 | 2021-02-22 12:45 | 1.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6325 | μmol/L | 19.2539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.069 | 134727.707 | 276147.9333 | 32.55 | 27.7 | #N/A
26400 | 2021-02-22 12:46 | 2.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.7147 | μmol/L | 19.2355 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.071 | 134725.8871 | 276135.8599 | 32.55 | 27.7 | #N/A
26410 | 2021-02-22 12:46 | 2.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6935 | μmol/L | 19.2416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.07 | 134700.7362 | 276121.2123 | 32.55 | 27.7 | #N/A
26420 | 2021-02-22 12:46 | 2.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.6058 | μmol/L | 19.2294 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.079 | 134758.347 | 276107.5323 | 32.55 | 27.7 | #N/A
26430 | 2021-02-22 12:47 | 3.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3166 | μmol/L | 19.2539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.086 | 134801.685 | 276101.6168 | 32.55 | 27.7 | #N/A
26440 | 2021-02-22 12:47 | 3.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2424 | μmol/L | 19.2539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.09 | 134816.6714 | 276074.2076 | 32.55 | 27.7 | #N/A
26450 | 2021-02-22 12:47 | 3.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1867 | μmol/L | 19.2539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.093 | 134836.7825 | 276084.9743 | 32.55 | 27.7 | #N/A
26460 | 2021-02-22 12:48 | 4.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2053 | μmol/L | 19.2539 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.092 | 134829.3541 | 276069.373 | 32.55 | 27.7 | #N/A
26470 | 2021-02-22 12:48 | 4.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1893 | μmol/L | 19.2477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.095 | 134830.6352 | 276060.0907 | 32.55 | 27.7 | #N/A
26480 | 2021-02-22 12:48 | 4.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2079 | μmol/L | 19.2477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.094 | 134829.2578 | 276057.5173 | 32.55 | 27.7 | #N/A
26490 | 2021-02-22 12:49 | 5.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.192 | μmol/L | 19.2416 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.097 | 134839.4717 | 276061.5408 | 32.55 | 27.7 | #N/A
26500 | 2021-02-22 12:49 | 5.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0781 | μmol/L | 19.2477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.101 | 134852.8251 | 276049.5567 | 32.55 | 27.7 | #N/A
26510 | 2021-02-22 12:49 | 5.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0781 | μmol/L | 19.2477 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.101 | 134837.7729 | 276036.6077 | 32.55 | 27.7 | #N/A
26520 | 2021-02-22 12:50 | 6.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2343 | μmol/L | 19.2294 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.099 | 134832.2529 | 276044.3911 | 32.55 | 27.7 | #N/A
26530 | 2021-02-22 12:50 | 6.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2158 | μmol/L | 19.2294 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.1 | 134833.1231 | 276025.6431 | 32.55 | 27.7 | #N/A
26540 | 2021-02-22 12:50 | 6.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2979 | μmol/L | 19.211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.102 | 134837.5064 | 276037.0759 | 32.55 | 27.7 | #N/A
26550 | 2021-02-22 12:51 | 7.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2767 | μmol/L | 19.2172 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.101 | 134834.8806 | 276013.1139 | 32.55 | 27.7 | #N/A
26560 | 2021-02-22 12:51 | 7.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2396 | μmol/L | 19.2172 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.103 | 134839.4072 | 276018.4399 | 32.55 | 27.7 | #N/A
26570 | 2021-02-22 12:51 | 7.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.282 | μmol/L | 19.2049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.105 | 134853.3821 | 276013.6283 | 32.55 | 27.7 | #N/A
26580 | 2021-02-22 12:52 | 8.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.3456 | μmol/L | 19.1866 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.108 | 134852.1776 | 276013.8604 | 32.55 | 27.7 | #N/A
26590 | 2021-02-22 12:52 | 8.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1707 | μmol/L | 19.2049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.111 | 134868.469 | 276010.6166 | 32.55 | 27.7 | #N/A
26600 | 2021-02-22 12:52 | 8.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1124 | μmol/L | 19.211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.112 | 134877.1944 | 275996.3912 | 32.55 | 27.7 | #N/A
26610 | 2021-02-22 12:53 | 9.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1866 | μmol/L | 19.211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.108 | 134861.091 | 275981.6288 | 32.55 | 27.7 | #N/A
26620 | 2021-02-22 12:53 | 9.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1707 | μmol/L | 19.2049 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.111 | 134855.4841 | 275987.0504 | 32.55 | 27.7 | #N/A
26630 | 2021-02-22 12:53 | 9.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1124 | μmol/L | 19.211 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.112 | 134859.8748 | 275988.3481 | 32.55 | 27.7 | #N/A
26640 | 2021-02-22 12:54 | 10.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1363 | μmol/L | 19.1988 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.115 | 134872.6078 | 275989.907 | 32.55 | 27.7 | #N/A
26650 | 2021-02-22 12:54 | 10.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.2609 | μmol/L | 19.1682 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.119 | 134880.993 | 275978.8029 | 32.55 | 27.7 | #N/A
26660 | 2021-02-22 12:54 | 10.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.1764 | μmol/L | 19.1805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.119 | 134899.2869 | 275980.4097 | 32.55 | 27.7 | #N/A
26670 | 2021-02-22 12:55 | 11.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0995 | μmol/L | 19.1866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.121 | 134890.741 | 275969.7422 | 32.55 | 27.7 | #N/A
26680 | 2021-02-22 12:55 | 11.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9857 | μmol/L | 19.1927 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 134919.4006 | 275973.6848 | 32.55 | 27.7 | #N/A
26690 | 2021-02-22 12:55 | 11.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9328 | μmol/L | 19.1866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 134942.4422 | 275962.3876 | 32.55 | 27.7 | #N/A
26700 | 2021-02-22 12:56 | 12.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8218 | μmol/L | 19.1866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.136 | 134966.6894 | 275958.9289 | 32.55 | 27.7 | #N/A
26710 | 2021-02-22 12:56 | 12.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7901 | μmol/L | 19.1743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.142 | 135015.0572 | 275959.1474 | 32.55 | 27.7 | #N/A
26720 | 2021-02-22 12:56 | 12.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7689 | μmol/L | 19.1805 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.141 | 135023.1362 | 275950.1779 | 32.55 | 27.7 | #N/A
26730 | 2021-02-22 12:57 | 13.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7716 | μmol/L | 19.1743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.143 | 135016.8006 | 275952.9336 | 32.55 | 27.7 | #N/A
26740 | 2021-02-22 12:57 | 13.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9038 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.138 | 135009.5651 | 275954.8909 | 32.55 | 27.7 | #N/A
26750 | 2021-02-22 12:57 | 13.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7901 | μmol/L | 19.1743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.142 | 135005.7299 | 275952.7167 | 32.55 | 27.7 | #N/A
26760 | 2021-02-22 12:58 | 14.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8113 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.143 | 134998.4194 | 275949.7789 | 32.55 | 27.7 | #N/A
26770 | 2021-02-22 12:58 | 14.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7928 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 135011.4308 | 275935.2189 | 32.55 | 27.7 | #N/A
26780 | 2021-02-22 12:58 | 14.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7928 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 135011.9057 | 275939.4462 | 32.55 | 27.7 | #N/A
26790 | 2021-02-22 12:59 | 15.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.74 | μmol/L | 19.1621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.149 | 135029.2324 | 275934.1266 | 32.55 | 27.7 | #N/A
26800 | 2021-02-22 12:59 | 15.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7373 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.147 | 135031.1216 | 275929.6185 | 32.55 | 27.7 | #N/A
26810 | 2021-02-22 12:59 | 15.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7824 | μmol/L | 19.1499 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 135030.7508 | 275929.971 | 32.55 | 27.7 | #N/A
26820 | 2021-02-22 13:00 | 16.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8618 | μmol/L | 19.1377 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 135020.9883 | 275929.7461 | 32.55 | 27.7 | #N/A
26830 | 2021-02-22 13:00 | 16.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 220.0022 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 135032.4262 | 275926.7114 | 32.55 | 27.7 | #N/A
26840 | 2021-02-22 13:00 | 16.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.9597 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.15 | 135024.5595 | 275912.8073 | 32.55 | 27.7 | #N/A
26850 | 2021-02-22 13:01 | 17.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.8672 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 135041.0652 | 275914.0285 | 32.55 | 27.7 | #N/A
26860 | 2021-02-22 13:01 | 17.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7535 | μmol/L | 19.1315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.159 | 135069.5567 | 275917.7788 | 32.55 | 27.7 | #N/A
26870 | 2021-02-22 13:01 | 17.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7165 | μmol/L | 19.1315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.161 | 135096.2997 | 275923.4588 | 32.55 | 27.7 | #N/A
26880 | 2021-02-22 13:02 | 18.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7589 | μmol/L | 19.1193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.163 | 135094.5105 | 275918.7991 | 32.55 | 27.7 | #N/A
26890 | 2021-02-22 13:02 | 18.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7247 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 135102.855 | 275909.3055 | 32.55 | 27.7 | #N/A
26900 | 2021-02-22 13:02 | 18.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.6296 | μmol/L | 19.1193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 135103.8655 | 275910.0449 | 32.55 | 27.7 | #N/A
26910 | 2021-02-22 13:03 | 19.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.6453 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 135099.0006 | 275906.0019 | 32.55 | 27.7 | #N/A
26920 | 2021-02-22 13:03 | 19.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.5714 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.171 | 135122.8482 | 275902.2568 | 32.55 | 27.7 | #N/A
26930 | 2021-02-22 13:03 | 19.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7035 | μmol/L | 19.1193 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 135094.2531 | 275893.611 | 32.55 | 27.7 | #N/A
26940 | 2021-02-22 13:04 | 20.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7247 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 135102.4018 | 275895.6662 | 32.55 | 27.7 | #N/A
26950 | 2021-02-22 13:04 | 20.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7486 | μmol/L | 19.101 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.17 | 135120.6453 | 275896.4511 | 32.55 | 27.7 | #N/A
26960 | 2021-02-22 13:04 | 20.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.7117 | μmol/L | 19.101 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.172 | 135131.7319 | 275878.9847 | 32.55 | 27.7 | #N/A
26970 | 2021-02-22 13:05 | 21.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.5796 | μmol/L | 19.1071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 135151.2497 | 275899.2775 | 32.55 | 27.7 | #N/A
26980 | 2021-02-22 13:05 | 21.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.5611 | μmol/L | 19.1071 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.178 | 135142.5414 | 275892.6203 | 32.55 | 27.7 | #N/A
26990 | 2021-02-22 13:05 | 21.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.6248 | μmol/L | 19.0887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.181 | 135158.1063 | 275889.2028 | 32.55 | 27.7 | #N/A
27000 | 2021-02-22 13:06 | 22.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.6515 | μmol/L | 19.0704 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.186 | 135178.6221 | 275878.53 | 32.55 | 27.7 | #N/A
27010 | 2021-02-22 13:06 | 22.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4771 | μmol/L | 19.0887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.189 | 135211.2954 | 275877.5516 | 32.55 | 27.7 | #N/A
27020 | 2021-02-22 13:06 | 22.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.3267 | μmol/L | 19.0948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.195 | 135247.1507 | 275871.6102 | 32.55 | 27.7 | #N/A
27030 | 2021-02-22 13:07 | 23.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.182 | μmol/L | 19.0887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.205 | 135291.3797 | 275869.099 | 32.55 | 27.7 | #N/A
27040 | 2021-02-22 13:07 | 23.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.182 | μmol/L | 19.0887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.205 | 135311.9128 | 275868.8183 | 32.55 | 27.7 | #N/A
27050 | 2021-02-22 13:07 | 23.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2032 | μmol/L | 19.0826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.206 | 135315.8464 | 275859.6189 | 32.55 | 27.7 | #N/A
27060 | 2021-02-22 13:08 | 24.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1664 | μmol/L | 19.0826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 135310.2403 | 275845.7232 | 32.55 | 27.7 | #N/A
27070 | 2021-02-22 13:08 | 24.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1268 | μmol/L | 19.0887 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 135307.4802 | 275860.6053 | 32.55 | 27.7 | #N/A
27080 | 2021-02-22 13:08 | 24.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2456 | μmol/L | 19.0704 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.208 | 135298.9541 | 275850.8152 | 32.55 | 27.7 | #N/A
27090 | 2021-02-22 13:09 | 25.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2981 | μmol/L | 19.0765 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.203 | 135279.674 | 275853.706 | 32.55 | 27.7 | #N/A
27100 | 2021-02-22 13:09 | 25.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2087 | μmol/L | 19.0704 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.21 | 135306.22 | 275851.3924 | 32.55 | 27.7 | #N/A
27110 | 2021-02-22 13:09 | 25.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2244 | μmol/L | 19.0765 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.207 | 135306.4833 | 275843.4105 | 32.55 | 27.7 | #N/A
27120 | 2021-02-22 13:10 | 26.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2907 | μmol/L | 19.052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.212 | 135308.596 | 275851.2408 | 32.55 | 27.7 | #N/A
27130 | 2021-02-22 13:10 | 26.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4309 | μmol/L | 19.0276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.213 | 135310.4999 | 275835.933 | 32.55 | 27.7 | #N/A
27140 | 2021-02-22 13:10 | 26.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.4309 | μmol/L | 19.0276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.213 | 135320.1548 | 275840.0877 | 32.55 | 27.7 | #N/A
27150 | 2021-02-22 13:11 | 27.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.3544 | μmol/L | 19.0337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.215 | 135321.6491 | 275841.4795 | 32.55 | 27.7 | #N/A
27160 | 2021-02-22 13:11 | 27.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.3516 | μmol/L | 19.0398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.213 | 135319.4252 | 275841.3253 | 32.55 | 27.7 | #N/A
27170 | 2021-02-22 13:11 | 27.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2198 | μmol/L | 19.0459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.218 | 135339.6555 | 275832.2474 | 32.55 | 27.7 | #N/A
27180 | 2021-02-22 13:12 | 28.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.2014 | μmol/L | 19.0459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.219 | 135353.6287 | 275844.4385 | 32.55 | 27.7 | #N/A
27190 | 2021-02-22 13:12 | 28.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0909 | μmol/L | 19.0459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.225 | 135377.5427 | 275849.9315 | 32.55 | 27.7 | #N/A
27200 | 2021-02-22 13:12 | 28.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0937 | μmol/L | 19.0398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.227 | 135401.0312 | 275836.8411 | 32.55 | 27.7 | #N/A
27210 | 2021-02-22 13:13 | 29.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9621 | μmol/L | 19.0459 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135401.3932 | 275832.3766 | 32.55 | 27.7 | #N/A
27220 | 2021-02-22 13:13 | 29.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0965 | μmol/L | 19.0337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.229 | 135390.8578 | 275827.1673 | 32.55 | 27.7 | #N/A
27230 | 2021-02-22 13:13 | 29.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0753 | μmol/L | 19.0398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.228 | 135385.3316 | 275821.2963 | 32.55 | 27.7 | #N/A
27240 | 2021-02-22 13:14 | 30.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1149 | μmol/L | 19.0337 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.228 | 135388.6556 | 275817.2961 | 32.55 | 27.7 | #N/A
27250 | 2021-02-22 13:14 | 30.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0808 | μmol/L | 19.0276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135390.9535 | 275833.8818 | 32.55 | 27.7 | #N/A
27260 | 2021-02-22 13:14 | 30.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0808 | μmol/L | 19.0276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.232 | 135400.7735 | 275816.4087 | 32.55 | 27.7 | #N/A
27270 | 2021-02-22 13:15 | 31.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0652 | μmol/L | 19.0214 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135393.5974 | 275810.2155 | 32.55 | 27.7 | #N/A
27280 | 2021-02-22 13:15 | 31.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0652 | μmol/L | 19.0214 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135395.434 | 275819.6834 | 32.55 | 27.7 | #N/A
27290 | 2021-02-22 13:15 | 31.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1841 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.235 | 135422.7313 | 275809.3795 | 32.55 | 27.7 | #N/A
27300 | 2021-02-22 13:16 | 32.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0708 | μmol/L | 19.0092 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.239 | 135431.8812 | 275806.71 | 32.55 | 27.7 | #N/A
27310 | 2021-02-22 13:16 | 32.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1133 | μmol/L | 18.997 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.241 | 135451.6803 | 275807.8713 | 32.55 | 27.7 | #N/A
27320 | 2021-02-22 13:16 | 32.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0184 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.244 | 135456.3895 | 275789.1963 | 32.55 | 27.7 | #N/A
27330 | 2021-02-22 13:17 | 33.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0241 | μmol/L | 18.9909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.248 | 135461.2521 | 275792.96 | 32.55 | 27.7 | #N/A
27340 | 2021-02-22 13:17 | 33.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.1033 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.248 | 135468.3088 | 275800.163 | 32.55 | 27.7 | #N/A
27350 | 2021-02-22 13:17 | 33.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9505 | μmol/L | 18.9909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.252 | 135485.365 | 275799.3899 | 32.55 | 27.7 | #N/A
27360 | 2021-02-22 13:18 | 34.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0481 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.251 | 135493.4267 | 275799.4974 | 32.55 | 27.7 | #N/A
27370 | 2021-02-22 13:18 | 34.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 219.0849 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.249 | 135501.8718 | 275792.121 | 32.55 | 27.7 | #N/A
27380 | 2021-02-22 13:18 | 34.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.9349 | μmol/L | 18.9848 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.255 | 135523.2565 | 275804.7663 | 32.55 | 27.7 | #N/A
27390 | 2021-02-22 13:19 | 35.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.7667 | μmol/L | 18.9909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.262 | 135560.4991 | 275785.8012 | 32.55 | 27.7 | #N/A
27400 | 2021-02-22 13:19 | 35.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6199 | μmol/L | 18.9909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.27 | 135596.3789 | 275789.953 | 32.55 | 27.7 | #N/A
27410 | 2021-02-22 13:19 | 35.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5465 | μmol/L | 18.9909 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.274 | 135621.7526 | 275776.4813 | 32.55 | 27.7 | #N/A
27420 | 2021-02-22 13:20 | 36.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6072 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.275 | 135622.8816 | 275792.7329 | 32.55 | 27.7 | #N/A
27430 | 2021-02-22 13:20 | 36.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6043 | μmol/L | 18.9848 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 135628.7157 | 275792.834 | 32.55 | 27.7 | #N/A
27440 | 2021-02-22 13:20 | 36.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6439 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.273 | 135626.4857 | 275781.3367 | 32.55 | 27.7 | #N/A
27450 | 2021-02-22 13:21 | 37.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5917 | μmol/L | 18.9725 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.278 | 135643.9985 | 275780.3997 | 32.55 | 27.7 | #N/A
27460 | 2021-02-22 13:21 | 37.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4633 | μmol/L | 18.9725 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.285 | 135676.2126 | 275787.3695 | 32.55 | 27.7 | #N/A
27470 | 2021-02-22 13:21 | 37.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4999 | μmol/L | 18.9725 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.283 | 135670.9074 | 275783.5769 | 32.55 | 27.7 | #N/A
27480 | 2021-02-22 13:22 | 38.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5056 | μmol/L | 18.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.287 | 135687.5913 | 275798.5665 | 32.55 | 27.7 | #N/A
27490 | 2021-02-22 13:22 | 38.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4506 | μmol/L | 18.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.29 | 135684.4567 | 275795.935 | 32.55 | 27.7 | #N/A
27500 | 2021-02-22 13:22 | 38.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.524 | μmol/L | 18.9603 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.286 | 135666.748 | 275784.0566 | 32.55 | 27.7 | #N/A
27510 | 2021-02-22 13:23 | 39.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5297 | μmol/L | 18.9481 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.29 | 135708.0313 | 275789.9311 | 32.55 | 27.7 | #N/A
27520 | 2021-02-22 13:23 | 39.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5537 | μmol/L | 18.9358 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.293 | 135716.8745 | 275788.4009 | 32.55 | 27.7 | #N/A
27530 | 2021-02-22 13:23 | 39.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4959 | μmol/L | 18.9419 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.294 | 135709.177 | 275783.0311 | 32.55 | 27.7 | #N/A
27540 | 2021-02-22 13:24 | 40.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5354 | μmol/L | 18.9358 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.294 | 135723.5735 | 275788.0536 | 32.55 | 27.7 | #N/A
27550 | 2021-02-22 13:24 | 40.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6724 | μmol/L | 18.9175 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.293 | 135726.4522 | 275787.4512 | 32.55 | 27.7 | #N/A
27560 | 2021-02-22 13:24 | 40.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6174 | μmol/L | 18.9175 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.296 | 135725.4112 | 275786.3533 | 32.55 | 27.7 | #N/A
27570 | 2021-02-22 13:25 | 41.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5199 | μmol/L | 18.9297 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135732.6821 | 275780.9359 | 32.55 | 27.7 | #N/A
27580 | 2021-02-22 13:25 | 41.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5199 | μmol/L | 18.9297 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135726.7039 | 275771.8241 | 32.55 | 27.7 | #N/A
27590 | 2021-02-22 13:25 | 41.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4833 | μmol/L | 18.9297 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.299 | 135717.9937 | 275773.206 | 32.55 | 27.7 | #N/A
27600 | 2021-02-22 13:26 | 42.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5595 | μmol/L | 18.9236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135724.444 | 275784.6212 | 32.55 | 27.7 | #N/A
27610 | 2021-02-22 13:26 | 42.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5595 | μmol/L | 18.9236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135722.6153 | 275778.7182 | 32.55 | 27.7 | #N/A
27620 | 2021-02-22 13:26 | 42.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5228 | μmol/L | 18.9236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.299 | 135726.9215 | 275779.92 | 32.55 | 27.7 | #N/A
27630 | 2021-02-22 13:27 | 43.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6782 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.297 | 135731.8881 | 275789.8304 | 32.55 | 27.7 | #N/A
27640 | 2021-02-22 13:27 | 43.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.739 | μmol/L | 18.893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.298 | 135722.7992 | 275770.6977 | 32.55 | 27.7 | #N/A
27650 | 2021-02-22 13:27 | 43.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.6231 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.3 | 135726.24 | 275769.8964 | 32.55 | 27.7 | #N/A
27660 | 2021-02-22 13:28 | 44.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5681 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.303 | 135741.9339 | 275767.1172 | 32.55 | 27.7 | #N/A
27670 | 2021-02-22 13:28 | 44.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5314 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.305 | 135746.8812 | 275777.3771 | 32.55 | 27.7 | #N/A
27680 | 2021-02-22 13:28 | 44.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5681 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.303 | 135753.6938 | 275758.1848 | 32.55 | 27.7 | #N/A
27690 | 2021-02-22 13:29 | 45.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4948 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.307 | 135751.472 | 275764.8358 | 32.55 | 27.7 | #N/A
27700 | 2021-02-22 13:29 | 45.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4977 | μmol/L | 18.8991 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.309 | 135771.6788 | 275756.68 | 32.55 | 27.7 | #N/A
27710 | 2021-02-22 13:29 | 45.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5604 | μmol/L | 18.893 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.308 | 135796.1168 | 275764.3531 | 32.55 | 27.7 | #N/A
27720 | 2021-02-22 13:30 | 46.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5613 | μmol/L | 18.8808 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.312 | 135793.4257 | 275763.4916 | 32.55 | 27.7 | #N/A
27730 | 2021-02-22 13:30 | 46.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.627 | μmol/L | 18.8686 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.313 | 135824.8565 | 275771.1491 | 32.55 | 27.7 | #N/A
27740 | 2021-02-22 13:30 | 46.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.5324 | μmol/L | 18.8747 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.316 | 135827.7836 | 275761.1064 | 32.55 | 27.7 | #N/A
27750 | 2021-02-22 13:31 | 47.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.4331 | μmol/L | 18.8808 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.319 | 135855.4146 | 275770.1172 | 32.55 | 27.7 | #N/A
27760 | 2021-02-22 13:31 | 47.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.328 | μmol/L | 18.8808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.325 | 135893.7913 | 275768.9625 | 32.55 | 27.7 | #N/A
27770 | 2021-02-22 13:31 | 47.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1421 | μmol/L | 18.8869 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.333 | 135910.3204 | 275778.0746 | 32.55 | 27.7 | #N/A
27780 | 2021-02-22 13:32 | 48.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1633 | μmol/L | 18.8808 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.334 | 135935.7433 | 275763.353 | 32.55 | 27.7 | #N/A
27790 | 2021-02-22 13:32 | 48.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0882 | μmol/L | 18.8747 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.34 | 135965.2732 | 275772.7581 | 32.55 | 27.7 | #N/A
27800 | 2021-02-22 13:32 | 48.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0565 | μmol/L | 18.8747 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.342 | 135983.9611 | 275761.7661 | 32.55 | 27.7 | #N/A
27810 | 2021-02-22 13:33 | 49.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0181 | μmol/L | 18.8686 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.346 | 135995.9451 | 275765.0665 | 32.55 | 27.7 | #N/A
27820 | 2021-02-22 13:33 | 49.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1307 | μmol/L | 18.8624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 135988.846 | 275755.3927 | 32.55 | 27.7 | #N/A
27830 | 2021-02-22 13:33 | 49.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0604 | μmol/L | 18.8563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.348 | 135985.7009 | 275759.7057 | 32.55 | 27.7 | #N/A
27840 | 2021-02-22 13:34 | 50.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1567 | μmol/L | 18.8563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.343 | 135988.6848 | 275752.0422 | 32.55 | 27.7 | #N/A
27850 | 2021-02-22 13:34 | 50.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2067 | μmol/L | 18.8563 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.34 | 135976.5749 | 275762.1035 | 32.55 | 27.7 | #N/A
27860 | 2021-02-22 13:34 | 50.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1567 | μmol/L | 18.8563 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.343 | 135980.4129 | 275754.5658 | 32.55 | 27.7 | #N/A
27870 | 2021-02-22 13:35 | 51.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3041 | μmol/L | 18.8441 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.339 | 135967.694 | 275751.3827 | 32.55 | 27.7 | #N/A
27880 | 2021-02-22 13:35 | 51.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1731 | μmol/L | 18.8502 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 135965.2257 | 275769.1423 | 32.55 | 27.7 | #N/A
27890 | 2021-02-22 13:35 | 51.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1548 | μmol/L | 18.8502 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 135978.2487 | 275765.047 | 32.55 | 27.7 | #N/A
27900 | 2021-02-22 13:36 | 52.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1211 | μmol/L | 18.8441 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.349 | 135988.0956 | 275778.4781 | 32.55 | 27.7 | #N/A
27910 | 2021-02-22 13:36 | 52.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3187 | μmol/L | 18.8135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.349 | 135984.7521 | 275762.3151 | 32.55 | 27.7 | #N/A
27920 | 2021-02-22 13:36 | 52.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2609 | μmol/L | 18.8196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.35 | 136002.1798 | 275758.043 | 32.55 | 27.7 | #N/A
27930 | 2021-02-22 13:37 | 53.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3004 | μmol/L | 18.8135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.35 | 135994.7502 | 275749.2528 | 32.55 | 27.7 | #N/A
27940 | 2021-02-22 13:37 | 53.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3217 | μmol/L | 18.8074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 136001.8117 | 275749.9847 | 32.55 | 27.7 | #N/A
27950 | 2021-02-22 13:37 | 53.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.3141 | μmol/L | 18.7952 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.356 | 136026.3967 | 275759.6144 | 32.55 | 27.7 | #N/A
27960 | 2021-02-22 13:38 | 54.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.2881 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.355 | 136047.1208 | 275757.3708 | 32.55 | 27.7 | #N/A
27970 | 2021-02-22 13:38 | 54.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1359 | μmol/L | 18.8135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.359 | 136061.5398 | 275751.2278 | 32.55 | 27.7 | #N/A
27980 | 2021-02-22 13:38 | 54.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9945 | μmol/L | 18.8135 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136079.7715 | 275743.9463 | 32.55 | 27.7 | #N/A
27990 | 2021-02-22 13:39 | 55.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0262 | μmol/L | 18.8135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136093.1566 | 275745.2272 | 32.55 | 27.7 | #N/A
28000 | 2021-02-22 13:39 | 55.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9473 | μmol/L | 18.8257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136093.8428 | 275751.534 | 32.55 | 27.7 | #N/A
28010 | 2021-02-22 13:39 | 55.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9473 | μmol/L | 18.8257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136082.8437 | 275736.8723 | 32.55 | 27.7 | #N/A
28020 | 2021-02-22 13:40 | 56.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0523 | μmol/L | 18.8074 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136065.8012 | 275746.9843 | 32.55 | 27.7 | #N/A
28030 | 2021-02-22 13:40 | 56.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.1052 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.365 | 136084.5745 | 275723.8325 | 32.55 | 27.7 | #N/A
28040 | 2021-02-22 13:40 | 56.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0139 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136110.6102 | 275736.2698 | 32.55 | 27.7 | #N/A
28050 | 2021-02-22 13:41 | 57.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9226 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.375 | 136125.3025 | 275741.6025 | 32.55 | 27.7 | #N/A
28060 | 2021-02-22 13:41 | 57.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 218.0168 | μmol/L | 18.7952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.372 | 136135.9413 | 275743.0596 | 32.55 | 27.7 | #N/A
28070 | 2021-02-22 13:41 | 57.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9043 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136149.2448 | 275743.9621 | 32.55 | 27.7 | #N/A
28080 | 2021-02-22 13:42 | 58.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8343 | μmol/L | 18.7952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136172.2604 | 275734.4901 | 32.55 | 27.7 | #N/A
28090 | 2021-02-22 13:42 | 58.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.895 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.383 | 136206.6672 | 275740.3935 | 32.55 | 27.7 | #N/A
28100 | 2021-02-22 13:42 | 58.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8402 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136205.2187 | 275735.2194 | 32.55 | 27.7 | #N/A
28110 | 2021-02-22 13:43 | 59.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9192 | μmol/L | 18.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136215.6787 | 275744.6117 | 32.55 | 27.7 | #N/A
28120 | 2021-02-22 13:43 | 59.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.8614 | μmol/L | 18.7768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136217.0838 | 275736.7651 | 32.55 | 27.7 | #N/A
28130 | 2021-02-22 13:43 | 59.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9404 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.387 | 136220.3919 | 275747.2619 | 32.55 | 27.7 | #N/A
28140 | 2021-02-22 13:44 | 60.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9222 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136221.0505 | 275742.2643 | 32.55 | 27.7 | #N/A
28150 | 2021-02-22 13:44 | 60.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.755 | μmol/L | 18.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.395 | 136241.4268 | 275741.5609 | 32.55 | 27.7 | #N/A
28160 | 2021-02-22 13:44 | 60.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6791 | μmol/L | 18.7768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.397 | 136269.9344 | 275745.0191 | 32.55 | 27.7 | #N/A
28170 | 2021-02-22 13:45 | 61.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6608 | μmol/L | 18.7768 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.398 | 136275.4804 | 275732.506 | 32.55 | 27.7 | #N/A
28180 | 2021-02-22 13:45 | 61.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6851 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.401 | 136296.2926 | 275726.0318 | 32.55 | 27.7 | #N/A
28190 | 2021-02-22 13:45 | 61.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5757 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.407 | 136331.8473 | 275734.2254 | 32.55 | 27.7 | #N/A
28200 | 2021-02-22 13:46 | 62.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4817 | μmol/L | 18.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.41 | 136363.0643 | 275721.2647 | 32.55 | 27.7 | #N/A
28210 | 2021-02-22 13:46 | 62.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.5089 | μmol/L | 18.7524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136381.6276 | 275745.6436 | 32.55 | 27.7 | #N/A
28220 | 2021-02-22 13:46 | 62.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.9461 | μmol/L | 18.679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.417 | 136410.7225 | 275748.2813 | 32.55 | 27.7 | #N/A
28230 | 2021-02-22 13:47 | 63.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.6545 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.42 | 136405.6233 | 275736.7687 | 32.55 | 27.7 | #N/A
28240 | 2021-02-22 13:47 | 63.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7425 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.413 | 136376.7327 | 275713.4333 | 32.55 | 27.7 | #N/A
28250 | 2021-02-22 13:47 | 63.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7912 | μmol/L | 18.734 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 136330.2569 | 275733.7491 | 32.55 | 27.7 | #N/A
28260 | 2021-02-22 13:48 | 64.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.7063 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.402 | 136325.9488 | 275730.7518 | 32.55 | 27.7 | #N/A
28270 | 2021-02-22 13:48 | 64.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.688 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 136348.2628 | 275740.119 | 32.55 | 27.7 | #N/A
28280 | 2021-02-22 13:48 | 64.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3453 | μmol/L | 18.7891 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 136381.6033 | 275728.761 | 32.55 | 27.7 | #N/A
28290 | 2021-02-22 13:49 | 65.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.2332 | μmol/L | 18.7952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136386.319 | 275725.5772 | 32.55 | 27.7 | #N/A
28300 | 2021-02-22 13:49 | 65.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4211 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.409 | 136376.5317 | 275729.5969 | 32.55 | 27.7 | #N/A
28310 | 2021-02-22 13:49 | 65.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4757 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.406 | 136344.1644 | 275728.1648 | 32.55 | 27.7 | #N/A
28320 | 2021-02-22 13:50 | 66.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.4029 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.41 | 136352.6125 | 275730.0956 | 32.55 | 27.7 | #N/A
28330 | 2021-02-22 13:50 | 66.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.3364 | μmol/L | 18.8074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.405 | 136352.921 | 275730.149 | 32.55 | 27.7 | #N/A
28340 | 2021-02-22 13:50 | 66.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0851 | μmol/L | 18.838 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136358.9265 | 275720.5611 | 32.55 | 27.7 | #N/A
28350 | 2021-02-22 13:51 | 67.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.1003 | μmol/L | 18.8441 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.405 | 136360.21 | 275728.6003 | 32.55 | 27.7 | #N/A
28360 | 2021-02-22 13:51 | 67.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9795 | μmol/L | 18.8686 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 136349.7334 | 275732.9511 | 32.55 | 27.7 | #N/A
28370 | 2021-02-22 13:51 | 67.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9372 | μmol/L | 18.8808 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.401 | 136329.1618 | 275718.7186 | 32.55 | 27.7 | #N/A
28380 | 2021-02-22 13:52 | 68.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 217.0164 | μmol/L | 18.9052 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136297.0002 | 275715.4843 | 32.55 | 27.7 | #N/A
28390 | 2021-02-22 13:52 | 68.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8078 | μmol/L | 18.9236 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 136336.3509 | 275709.0545 | 32.55 | 27.7 | #N/A
28400 | 2021-02-22 13:52 | 68.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6538 | μmol/L | 18.9419 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.395 | 136348.4282 | 275720.2043 | 32.55 | 27.7 | #N/A
28410 | 2021-02-22 13:53 | 69.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6966 | μmol/L | 18.9664 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136262.0401 | 275712.7835 | 32.55 | 27.7 | #N/A
28420 | 2021-02-22 13:53 | 69.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8725 | μmol/L | 18.9786 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136174.6904 | 275725.1362 | 32.55 | 27.7 | #N/A
28430 | 2021-02-22 13:53 | 69.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.8246 | μmol/L | 19.0031 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 136154.5046 | 275732.7269 | 32.55 | 27.7 | #N/A
28440 | 2021-02-22 13:54 | 70.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.904 | μmol/L | 19.0276 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.351 | 136097.1601 | 275723.9334 | 32.55 | 27.7 | #N/A
28450 | 2021-02-22 13:54 | 70.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9893 | μmol/L | 19.0398 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 136036.8399 | 275721.725 | 32.55 | 27.7 | #N/A
28460 | 2021-02-22 13:54 | 70.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.9444 | μmol/L | 19.0581 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 136010.3919 | 275717.6329 | 32.55 | 27.7 | #N/A
28470 | 2021-02-22 13:55 | 71.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.824 | μmol/L | 19.0826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.336 | 136010.2102 | 275703.9401 | 32.55 | 27.7 | #N/A
28480 | 2021-02-22 13:55 | 71.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.7456 | μmol/L | 19.0948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.336 | 136002.8172 | 275712.2982 | 32.55 | 27.7 | #N/A
28490 | 2021-02-22 13:55 | 71.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.6282 | μmol/L | 19.1132 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.336 | 136021.3771 | 275707.3536 | 32.55 | 27.7 | #N/A
28500 | 2021-02-22 13:56 | 72.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4773 | μmol/L | 19.1254 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.34 | 136022.9683 | 275702.8896 | 32.55 | 27.7 | #N/A
28510 | 2021-02-22 13:56 | 72.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4871 | μmol/L | 19.1438 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.333 | 136004.6536 | 275695.0805 | 32.55 | 27.7 | #N/A
28520 | 2021-02-22 13:56 | 72.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5206 | μmol/L | 19.1499 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.329 | 135975.5393 | 275697.1062 | 32.55 | 27.7 | #N/A
28530 | 2021-02-22 13:57 | 73.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5667 | μmol/L | 19.1682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.32 | 135954.2721 | 275693.3079 | 32.55 | 27.7 | #N/A
28540 | 2021-02-22 13:57 | 73.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.5039 | μmol/L | 19.1866 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.317 | 135924.413 | 275695.6873 | 32.55 | 27.7 | #N/A
28550 | 2021-02-22 13:57 | 73.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.4983 | μmol/L | 19.1988 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.313 | 135939.8939 | 275693.4147 | 32.55 | 27.7 | #N/A
28560 | 2021-02-22 13:58 | 74.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 216.2959 | μmol/L | 19.2049 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.322 | 136022.9697 | 275706.6944 | 32.55 | 27.7 | #N/A
28570 | 2021-02-22 13:58 | 74.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.7985 | μmol/L | 19.2233 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.343 | 136135.3735 | 275701.7854 | 32.55 | 27.7 | #N/A
28580 | 2021-02-22 13:58 | 74.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.4496 | μmol/L | 19.2355 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.358 | 136262.8424 | 275711.5501 | 32.55 | 27.7 | #N/A
28590 | 2021-02-22 13:59 | 75.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.2483 | μmol/L | 19.2416 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136307.6166 | 275697.9266 | 32.55 | 27.7 | #N/A
28600 | 2021-02-22 13:59 | 75.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 215.0569 | μmol/L | 19.2661 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.369 | 136334.8641 | 275693.4717 | 32.55 | 27.7 | #N/A
28610 | 2021-02-22 13:59 | 75.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.7785 | μmol/L | 19.2844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136401.6689 | 275689.3704 | 32.55 | 27.7 | #N/A
28620 | 2021-02-22 14:00 | 76.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.6858 | μmol/L | 19.2906 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136441.887 | 275703.6056 | 32.55 | 27.7 | #N/A
28630 | 2021-02-22 14:00 | 76.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.5572 | μmol/L | 19.2967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136474.5661 | 275700.8201 | 32.55 | 27.7 | #N/A
28640 | 2021-02-22 14:00 | 76.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.4107 | μmol/L | 19.3028 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.392 | 136509.2317 | 275686.6631 | 32.55 | 27.7 | #N/A
28650 | 2021-02-22 14:01 | 77.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.2975 | μmol/L | 19.315 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.394 | 136540.1857 | 275695.3488 | 32.55 | 27.7 | #N/A
28660 | 2021-02-22 14:01 | 77.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.1126 | μmol/L | 19.3273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.4 | 136558.0294 | 275687.9887 | 32.55 | 27.7 | #N/A
28670 | 2021-02-22 14:01 | 77.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.074 | μmol/L | 19.3334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.4 | 136562.905 | 275680.4293 | 32.55 | 27.7 | #N/A
28680 | 2021-02-22 14:02 | 78.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0837 | μmol/L | 19.3517 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 136539.7319 | 275674.9007 | 32.55 | 27.7 | #N/A
28690 | 2021-02-22 14:02 | 78.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0961 | μmol/L | 19.364 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136519.3366 | 275678.1667 | 32.55 | 27.7 | #N/A
28700 | 2021-02-22 14:02 | 78.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 214.0217 | μmol/L | 19.3701 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136532.7303 | 275681.3439 | 32.55 | 27.7 | #N/A
28710 | 2021-02-22 14:03 | 79.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.9445 | μmol/L | 19.3823 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136527.9318 | 275687.3426 | 32.55 | 27.7 | #N/A
28720 | 2021-02-22 14:03 | 79.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.9418 | μmol/L | 19.3884 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.388 | 136526.7287 | 275681.8492 | 32.55 | 27.7 | #N/A
28730 | 2021-02-22 14:03 | 79.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8288 | μmol/L | 19.4007 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136534.6187 | 275674.0937 | 32.55 | 27.7 | #N/A
28740 | 2021-02-22 14:04 | 80.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6623 | μmol/L | 19.4129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.395 | 136579.5945 | 275678.2777 | 32.55 | 27.7 | #N/A
28750 | 2021-02-22 14:04 | 80.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5522 | μmol/L | 19.419 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.399 | 136620.8976 | 275663.7961 | 32.55 | 27.7 | #N/A
28760 | 2021-02-22 14:04 | 80.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3529 | μmol/L | 19.4251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136696.9934 | 275667.0803 | 32.55 | 27.7 | #N/A
28770 | 2021-02-22 14:05 | 81.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1895 | μmol/L | 19.4312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136734.203 | 275658.2048 | 32.55 | 27.7 | #N/A
28780 | 2021-02-22 14:05 | 81.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.151 | μmol/L | 19.4374 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.415 | 136743.6765 | 275675.0029 | 32.55 | 27.7 | #N/A
28790 | 2021-02-22 14:05 | 81.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0948 | μmol/L | 19.4435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.416 | 136727.1296 | 275674.7066 | 32.55 | 27.7 | #N/A
28800 | 2021-02-22 14:06 | 82.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1072 | μmol/L | 19.4557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 136719.0795 | 275661.6917 | 32.55 | 27.7 | #N/A
28810 | 2021-02-22 14:06 | 82.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0894 | μmol/L | 19.4557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.412 | 136724.571 | 275675.464 | 32.55 | 27.7 | #N/A
28820 | 2021-02-22 14:06 | 82.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.084 | μmol/L | 19.4679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136725.4122 | 275674.5103 | 32.55 | 27.7 | #N/A
28830 | 2021-02-22 14:07 | 83.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0456 | μmol/L | 19.4741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136729.566 | 275689.0015 | 32.55 | 27.7 | #N/A
28840 | 2021-02-22 14:07 | 83.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9921 | μmol/L | 19.4741 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.411 | 136720.6653 | 275670.065 | 32.55 | 27.7 | #N/A
28850 | 2021-02-22 14:07 | 83.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.084 | μmol/L | 19.4679 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.408 | 136716.8907 | 275662.2124 | 32.55 | 27.7 | #N/A
28860 | 2021-02-22 14:08 | 84.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9127 | μmol/L | 19.4924 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.409 | 136701.8991 | 275647.141 | 32.55 | 27.7 | #N/A
28870 | 2021-02-22 14:08 | 84.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9429 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.403 | 136690.5382 | 275658.8904 | 32.55 | 27.7 | #N/A
28880 | 2021-02-22 14:08 | 84.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.05 | μmol/L | 19.5046 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.397 | 136649.5544 | 275663.6856 | 32.55 | 27.7 | #N/A
28890 | 2021-02-22 14:09 | 85.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.083 | μmol/L | 19.5108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 136631.5759 | 275660.231 | 32.55 | 27.7 | #N/A
28900 | 2021-02-22 14:09 | 85.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0241 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.392 | 136629.5033 | 275664.0831 | 32.55 | 27.7 | #N/A
28910 | 2021-02-22 14:09 | 85.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9144 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.396 | 136627.8086 | 275648.8541 | 32.55 | 27.7 | #N/A
28920 | 2021-02-22 14:10 | 86.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0446 | μmol/L | 19.5169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.393 | 136630.4012 | 275646.2004 | 32.55 | 27.7 | #N/A
28930 | 2021-02-22 14:10 | 86.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9884 | μmol/L | 19.523 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.394 | 136623.7642 | 275658.0946 | 32.55 | 27.7 | #N/A
28940 | 2021-02-22 14:10 | 86.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0036 | μmol/L | 19.5291 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.391 | 136617.509 | 275651.9587 | 32.55 | 27.7 | #N/A
28950 | 2021-02-22 14:11 | 87.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8939 | μmol/L | 19.5352 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.395 | 136615.7466 | 275643.8857 | 32.55 | 27.7 | #N/A
28960 | 2021-02-22 14:11 | 87.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9064 | μmol/L | 19.5475 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.39 | 136609.2553 | 275641.1839 | 32.55 | 27.7 | #N/A
28970 | 2021-02-22 14:11 | 87.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8476 | μmol/L | 19.5597 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.389 | 136607.4596 | 275658.2028 | 32.55 | 27.7 | #N/A
28980 | 2021-02-22 14:12 | 88.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8092 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.389 | 136602.4824 | 275638.1706 | 32.55 | 27.7 | #N/A
28990 | 2021-02-22 14:12 | 88.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8627 | μmol/L | 19.5658 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.386 | 136573.1917 | 275635.7517 | 32.55 | 27.7 | #N/A
29000 | 2021-02-22 14:12 | 88.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8957 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136558.3943 | 275623.6263 | 32.55 | 27.7 | #N/A
29010 | 2021-02-22 14:13 | 89.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9314 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136535.1599 | 275627.0145 | 32.55 | 27.7 | #N/A
29020 | 2021-02-22 14:13 | 89.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0028 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136503.7522 | 275640.1486 | 32.55 | 27.7 | #N/A
29030 | 2021-02-22 14:13 | 89.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0563 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136482.3225 | 275644.4276 | 32.55 | 27.7 | #N/A
29040 | 2021-02-22 14:14 | 90.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1814 | μmol/L | 19.5719 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136443.8365 | 275628.4213 | 32.55 | 27.7 | #N/A
29050 | 2021-02-22 14:14 | 90.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0636 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.364 | 136435.4763 | 275639.3855 | 32.55 | 27.7 | #N/A
29060 | 2021-02-22 14:14 | 90.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9896 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.366 | 136460.3924 | 275629.9619 | 32.55 | 27.7 | #N/A
29070 | 2021-02-22 14:15 | 91.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9182 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.37 | 136470.2093 | 275632.2085 | 32.55 | 27.7 | #N/A
29080 | 2021-02-22 14:15 | 91.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9004 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.371 | 136496.4329 | 275639.8786 | 32.55 | 27.7 | #N/A
29090 | 2021-02-22 14:15 | 91.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.796 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.379 | 136518.6828 | 275631.7924 | 32.55 | 27.7 | #N/A
29100 | 2021-02-22 14:16 | 92.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7782 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.38 | 136543.5926 | 275619.5407 | 32.55 | 27.7 | #N/A
29110 | 2021-02-22 14:16 | 92.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7425 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.382 | 136543.2679 | 275625.7219 | 32.55 | 27.7 | #N/A
29120 | 2021-02-22 14:16 | 92.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7221 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136553.3244 | 275638.1963 | 32.55 | 27.7 | #N/A
29130 | 2021-02-22 14:17 | 93.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7069 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136558.9524 | 275629.2614 | 32.55 | 27.7 | #N/A
29140 | 2021-02-22 14:17 | 93.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8369 | μmol/L | 19.5842 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136570.3229 | 275627.6998 | 32.55 | 27.7 | #N/A
29150 | 2021-02-22 14:17 | 93.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7452 | μmol/L | 19.5903 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.384 | 136581.3571 | 275622.6924 | 32.55 | 27.7 | #N/A
29160 | 2021-02-22 14:18 | 94.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7986 | μmol/L | 19.5903 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136553.7793 | 275625.0018 | 32.55 | 27.7 | #N/A
29170 | 2021-02-22 14:18 | 94.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.903 | μmol/L | 19.5964 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.373 | 136520.2649 | 275627.5851 | 32.55 | 27.7 | #N/A
29180 | 2021-02-22 14:18 | 94.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8086 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.374 | 136505.5626 | 275639.1144 | 32.55 | 27.7 | #N/A
29190 | 2021-02-22 14:19 | 95.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6811 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.379 | 136517.2959 | 275628.155 | 32.55 | 27.7 | #N/A
29200 | 2021-02-22 14:19 | 95.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.699 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.378 | 136542.4863 | 275631.5559 | 32.55 | 27.7 | #N/A
29210 | 2021-02-22 14:19 | 95.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6072 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.381 | 136548.5964 | 275623.5677 | 32.55 | 27.7 | #N/A
29220 | 2021-02-22 14:20 | 96.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6402 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.377 | 136556.9229 | 275616.8487 | 32.55 | 27.7 | #N/A
29230 | 2021-02-22 14:20 | 96.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.6581 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.376 | 136517.0454 | 275622.27 | 32.55 | 27.7 | #N/A
29240 | 2021-02-22 14:20 | 96.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7294 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.372 | 136491.8247 | 275595.1584 | 32.55 | 27.7 | #N/A
29250 | 2021-02-22 14:21 | 97.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.7802 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136468.4521 | 275612.4265 | 32.55 | 27.7 | #N/A
29260 | 2021-02-22 14:21 | 97.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8185 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.367 | 136457.0418 | 275620.16 | 32.55 | 27.7 | #N/A
29270 | 2021-02-22 14:21 | 97.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.8489 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.361 | 136429.1896 | 275610.0512 | 32.55 | 27.7 | #N/A
29280 | 2021-02-22 14:22 | 98.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9586 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.357 | 136391.927 | 275606.1699 | 32.55 | 27.7 | #N/A
29290 | 2021-02-22 14:22 | 98.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9356 | μmol/L | 19.6453 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.354 | 136368.024 | 275600.7329 | 32.55 | 27.7 | #N/A
29300 | 2021-02-22 14:22 | 98.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1398 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.349 | 136333.5398 | 275604.5006 | 32.55 | 27.7 | #N/A
29310 | 2021-02-22 14:23 | 99.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2113 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 136303.7141 | 275607.5711 | 32.55 | 27.7 | #N/A
29320 | 2021-02-22 14:23 | 99.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2292 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 136292.1446 | 275595.9278 | 32.55 | 27.7 | #N/A
29330 | 2021-02-22 14:23 | 99.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2113 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 136299.1455 | 275610.2966 | 32.55 | 27.7 | #N/A
29340 | 2021-02-22 14:24 | 100.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1372 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.347 | 136303.0728 | 275604.804 | 32.55 | 27.7 | #N/A
29350 | 2021-02-22 14:24 | 100.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.1015 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.349 | 136328.87 | 275611.6374 | 32.55 | 27.7 | #N/A
29360 | 2021-02-22 14:24 | 100.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.03 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.353 | 136337.2086 | 275607.224 | 32.55 | 27.7 | #N/A
29370 | 2021-02-22 14:25 | 101.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 212.9917 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.353 | 136344.1497 | 275598.5818 | 32.55 | 27.7 | #N/A
29380 | 2021-02-22 14:25 | 101.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.0096 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.352 | 136346.2909 | 275597.8793 | 32.55 | 27.7 | #N/A
29390 | 2021-02-22 14:25 | 101.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2139 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.347 | 136312.6287 | 275588.7664 | 32.55 | 27.7 | #N/A
29400 | 2021-02-22 14:26 | 102.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2881 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 136285.6001 | 275592.243 | 32.55 | 27.7 | #N/A
29410 | 2021-02-22 14:26 | 102.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3264 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 136281.0834 | 275595.7999 | 32.55 | 27.7 | #N/A
29420 | 2021-02-22 14:26 | 102.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.265 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 136289.2045 | 275585.2737 | 32.55 | 27.7 | #N/A
29430 | 2021-02-22 14:27 | 103.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2266 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 136262.3689 | 275582.2675 | 32.55 | 27.7 | #N/A
29440 | 2021-02-22 14:27 | 103.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3544 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.337 | 136251.1445 | 275595.1184 | 32.55 | 27.7 | #N/A
29450 | 2021-02-22 14:27 | 103.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.2981 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 136220.067 | 275587.6415 | 32.55 | 27.7 | #N/A
29460 | 2021-02-22 14:28 | 104.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3876 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.333 | 136212.9286 | 275579.2963 | 32.55 | 27.7 | #N/A
29470 | 2021-02-22 14:28 | 104.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3697 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.334 | 136201.2996 | 275582.3754 | 32.55 | 27.7 | #N/A
29480 | 2021-02-22 14:28 | 104.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3671 | μmol/L | 19.6392 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.332 | 136186.7575 | 275575.2232 | 32.55 | 27.7 | #N/A
29490 | 2021-02-22 14:29 | 105.3288 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5129 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.326 | 136164.5841 | 275580.7444 | 32.55 | 27.7 | #N/A
29500 | 2021-02-22 14:29 | 105.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4413 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.33 | 136163.6757 | 275568.9465 | 32.55 | 27.7 | #N/A
29510 | 2021-02-22 14:29 | 105.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5308 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.325 | 136137.4642 | 275571.1683 | 32.55 | 27.7 | #N/A
29520 | 2021-02-22 14:30 | 106.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5129 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.326 | 136126.3182 | 275570.9574 | 32.55 | 27.7 | #N/A
29530 | 2021-02-22 14:30 | 106.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6024 | μmol/L | 19.6331 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.321 | 136105.0526 | 275567.846 | 32.55 | 27.7 | #N/A
29540 | 2021-02-22 14:30 | 106.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6409 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.321 | 136108.4295 | 275569.0617 | 32.55 | 27.7 | #N/A
29550 | 2021-02-22 14:31 | 107.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6588 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.32 | 136081.0888 | 275554.229 | 32.55 | 27.7 | #N/A
29560 | 2021-02-22 14:31 | 107.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7869 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.315 | 136048.2894 | 275562.6122 | 32.55 | 27.7 | #N/A
29570 | 2021-02-22 14:31 | 107.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8407 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.312 | 136049.7193 | 275573.0965 | 32.55 | 27.7 | #N/A
29580 | 2021-02-22 14:32 | 108.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.7664 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.314 | 136048.5247 | 275562.5115 | 32.55 | 27.7 | #N/A
29590 | 2021-02-22 14:32 | 108.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8022 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.312 | 136039.811 | 275563.6247 | 32.55 | 27.7 | #N/A
29600 | 2021-02-22 14:32 | 108.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8381 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.31 | 136036.0697 | 275568.79 | 32.55 | 27.7 | #N/A
29610 | 2021-02-22 14:33 | 109.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.8381 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.31 | 136046.8738 | 275559.1598 | 32.55 | 27.7 | #N/A
29620 | 2021-02-22 14:33 | 109.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.6229 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.322 | 136100.7651 | 275571.8153 | 32.55 | 27.7 | #N/A
29630 | 2021-02-22 14:33 | 109.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.5718 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.327 | 136126.6358 | 275553.419 | 32.55 | 27.7 | #N/A
29640 | 2021-02-22 14:34 | 110.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4797 | μmol/L | 19.627 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.33 | 136175.1912 | 275563.5586 | 32.55 | 27.7 | #N/A
29650 | 2021-02-22 14:34 | 110.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4312 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.337 | 136202.0806 | 275565.3354 | 32.55 | 27.7 | #N/A
29660 | 2021-02-22 14:34 | 110.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3417 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 136211.8309 | 275565.7308 | 32.55 | 27.7 | #N/A
29670 | 2021-02-22 14:35 | 111.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4133 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 136209.2042 | 275564.2332 | 32.55 | 27.7 | #N/A
29680 | 2021-02-22 14:35 | 111.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3749 | μmol/L | 19.6209 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.338 | 136198.2373 | 275564.1584 | 32.55 | 27.7 | #N/A
29690 | 2021-02-22 14:35 | 111.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3622 | μmol/L | 19.6086 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.343 | 136213.0709 | 275566.7519 | 32.55 | 27.7 | #N/A
29700 | 2021-02-22 14:36 | 112.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3059 | μmol/L | 19.6147 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.344 | 136229.3581 | 275562.2724 | 32.55 | 27.7 | #N/A
29710 | 2021-02-22 14:36 | 112.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.4185 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.342 | 136233.1409 | 275559.5927 | 32.55 | 27.7 | #N/A
29718 | 2021-02-22 14:36 | 112.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 213.3648 | μmol/L | 19.6025 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.345 | 136237.5701 | 275550.3202 | 32.55 | 27.7 | #N/A