## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26316 | 2021-02-22 11:48 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2795 | μmol/L | 19.4681 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.975 | 224005.222 | 279002.1064 | 62.0402 | 75.7
26317 | 2021-02-22 11:48 | 0.10984 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 220.2773 | μmol/L | 19.4742 | °C | 1005 | hPa | Humid | 28 | 1 | 0 | 22.973 | 224002.0398 | 279001.5866 | 62.0402 | 75.7
26319 | 2021-02-22 12:43 | 55.0769 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.6018 | μmol/L | 19.3025 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.45 | 228838.1163 | 279047.7384 | 62.0402 | 75.7
26327 | 2021-02-22 12:43 | 55.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.5455 | μmol/L | 19.3086 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.451 | 228873.2337 | 279059.166 | 62.0402 | 75.7
26338 | 2021-02-22 12:44 | 55.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.5479 | μmol/L | 19.3025 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.453 | 228897.5035 | 279058.4852 | 62.0402 | 75.7
26348 | 2021-02-22 12:44 | 56.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.5479 | μmol/L | 19.3025 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.453 | 228887.9007 | 279038.451 | 62.0402 | 75.7
26357 | 2021-02-22 12:44 | 56.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.5503 | μmol/L | 19.2964 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.455 | 228886.842 | 279015.9718 | 62.0402 | 75.7
26368 | 2021-02-22 12:45 | 56.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.6606 | μmol/L | 19.2902 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.451 | 228857.7818 | 279009.43 | 62.0402 | 75.7
26377 | 2021-02-22 12:45 | 57.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.699 | μmol/L | 19.2841 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.451 | 228855.1655 | 278994.3779 | 62.0402 | 75.7
26388 | 2021-02-22 12:45 | 57.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.6965 | μmol/L | 19.2902 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.449 | 228851.4214 | 279005.8213 | 62.0402 | 75.7
26398 | 2021-02-22 12:46 | 57.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.699 | μmol/L | 19.2841 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.451 | 228844.7224 | 278991.752 | 62.0402 | 75.7
26407 | 2021-02-22 12:46 | 58.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.7194 | μmol/L | 19.278 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.452 | 228845.3112 | 278978.4607 | 62.0402 | 75.7
26418 | 2021-02-22 12:46 | 58.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.699 | μmol/L | 19.2841 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.451 | 228838.4813 | 278966.0345 | 62.0402 | 75.7
26428 | 2021-02-22 12:47 | 58.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.7014 | μmol/L | 19.278 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.453 | 228843.133 | 278967.7328 | 62.0402 | 75.7
26437 | 2021-02-22 12:47 | 59.0824 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.663 | μmol/L | 19.2841 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.453 | 228849.3303 | 278962.4028 | 62.0402 | 75.7
26447 | 2021-02-22 12:47 | 59.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.6475 | μmol/L | 19.278 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.456 | 228858.9636 | 278934.5116 | 62.0402 | 75.7
26458 | 2021-02-22 12:48 | 59.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.6703 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.459 | 228896.1123 | 278938.1516 | 62.0402 | 75.7
26467 | 2021-02-22 12:48 | 60.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.5985 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.463 | 228914.4144 | 278932.2607 | 62.0402 | 75.7
26477 | 2021-02-22 12:48 | 60.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.4703 | μmol/L | 19.2718 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.468 | 228955.0731 | 278929.3295 | 62.0402 | 75.7
26488 | 2021-02-22 12:49 | 60.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.4727 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.47 | 228980.2231 | 278904.259 | 62.0402 | 75.7
26497 | 2021-02-22 12:49 | 61.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.383 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.475 | 229026.0138 | 278918.4485 | 62.0402 | 75.7
26508 | 2021-02-22 12:49 | 61.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.2753 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.481 | 229080.1036 | 278901.1517 | 62.0402 | 75.7
26518 | 2021-02-22 12:50 | 61.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.1857 | μmol/L | 19.2657 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.486 | 229153.4773 | 278901.9849 | 62.0402 | 75.7
26527 | 2021-02-22 12:50 | 62.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.0806 | μmol/L | 19.2596 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.494 | 229224.7755 | 278902.9287 | 62.0402 | 75.7
26538 | 2021-02-22 12:50 | 62.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 212.0139 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.502 | 229297.4358 | 278896.5814 | 62.0402 | 75.7
26548 | 2021-02-22 12:51 | 62.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.9065 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.508 | 229375.4071 | 278887.9164 | 62.0402 | 75.7
26557 | 2021-02-22 12:51 | 63.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.7634 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.516 | 229448.5669 | 278873.7773 | 62.0402 | 75.7
26567 | 2021-02-22 12:51 | 63.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.6764 | μmol/L | 19.2412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.523 | 229506.6014 | 278883.3592 | 62.0402 | 75.7
26578 | 2021-02-22 12:52 | 63.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.5132 | μmol/L | 19.2473 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.53 | 229569.6124 | 278880.6595 | 62.0402 | 75.7
26588 | 2021-02-22 12:52 | 64.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.5003 | μmol/L | 19.235 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.535 | 229623.9841 | 278882.9883 | 62.0402 | 75.7
26598 | 2021-02-22 12:52 | 64.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.3907 | μmol/L | 19.2412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.539 | 229675.2918 | 278892.8824 | 62.0402 | 75.7
26608 | 2021-02-22 12:53 | 64.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.3754 | μmol/L | 19.235 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.542 | 229720.8185 | 278869.8245 | 62.0402 | 75.7
26617 | 2021-02-22 12:53 | 65.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1945 | μmol/L | 19.2412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 229761.2573 | 278868.3229 | 62.0402 | 75.7
26628 | 2021-02-22 12:53 | 65.4166 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1945 | μmol/L | 19.2412 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.55 | 229797.461 | 278859.9987 | 62.0402 | 75.7
26638 | 2021-02-22 12:54 | 65.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1817 | μmol/L | 19.2289 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.555 | 229846.6412 | 278864.382 | 62.0402 | 75.7
26648 | 2021-02-22 12:54 | 66.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.07 | μmol/L | 19.2289 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.561 | 229899.7789 | 278855.8904 | 62.0402 | 75.7
26658 | 2021-02-22 12:54 | 66.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.0394 | μmol/L | 19.2166 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.567 | 229957.3098 | 278872.3987 | 62.0402 | 75.7
26667 | 2021-02-22 12:55 | 66.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.9707 | μmol/L | 19.2105 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.573 | 229999.0335 | 278852.4243 | 62.0402 | 75.7
26677 | 2021-02-22 12:55 | 67.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.8818 | μmol/L | 19.2105 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.578 | 230056.527 | 278849.6461 | 62.0402 | 75.7
26688 | 2021-02-22 12:55 | 67.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.8665 | μmol/L | 19.2044 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.581 | 230097.6248 | 278846.0007 | 62.0402 | 75.7
26698 | 2021-02-22 12:56 | 67.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.704 | μmol/L | 19.2105 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.588 | 230136.1824 | 278841.9006 | 62.0402 | 75.7
26708 | 2021-02-22 12:56 | 68.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.7243 | μmol/L | 19.2044 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.589 | 230158.9254 | 278847.9494 | 62.0402 | 75.7
26718 | 2021-02-22 12:56 | 68.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.6735 | μmol/L | 19.1982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.594 | 230183.4828 | 278849.1845 | 62.0402 | 75.7
26728 | 2021-02-22 12:57 | 68.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.6532 | μmol/L | 19.2044 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.593 | 230219.8875 | 278842.4564 | 62.0402 | 75.7
26738 | 2021-02-22 12:57 | 69.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.6202 | μmol/L | 19.1982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.597 | 230239.134 | 278836.4278 | 62.0402 | 75.7
26748 | 2021-02-22 12:57 | 69.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.5492 | μmol/L | 19.1982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.601 | 230259.6861 | 278831.1368 | 62.0402 | 75.7
26758 | 2021-02-22 12:58 | 69.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.5339 | μmol/L | 19.1921 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.604 | 230285.0486 | 278819.3975 | 62.0402 | 75.7
26767 | 2021-02-22 12:58 | 70.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.4604 | μmol/L | 19.1982 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.606 | 230339.5842 | 278831.9257 | 62.0402 | 75.7
26777 | 2021-02-22 12:58 | 70.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.3743 | μmol/L | 19.1921 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.613 | 230380.8624 | 278832.6381 | 62.0402 | 75.7
26787 | 2021-02-22 12:59 | 70.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.3033 | μmol/L | 19.1921 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.617 | 230451.0354 | 278827.2227 | 62.0402 | 75.7
26797 | 2021-02-22 12:59 | 71.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1844 | μmol/L | 19.1798 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.628 | 230512.2913 | 278825.246 | 62.0402 | 75.7
26808 | 2021-02-22 12:59 | 71.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1287 | μmol/L | 19.186 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230574.4353 | 278813.8675 | 62.0402 | 75.7
26817 | 2021-02-22 13:00 | 71.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.154 | μmol/L | 19.1676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.634 | 230630.3959 | 278813.2935 | 62.0402 | 75.7
26827 | 2021-02-22 13:00 | 72.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.9542 | μmol/L | 19.1798 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.641 | 230676.5652 | 278822.4248 | 62.0402 | 75.7
26837 | 2021-02-22 13:00 | 72.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.9214 | μmol/L | 19.1737 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.645 | 230708.6104 | 278806.8354 | 62.0402 | 75.7
26848 | 2021-02-22 13:01 | 72.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8127 | μmol/L | 19.1798 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.649 | 230735.2679 | 278814.4818 | 62.0402 | 75.7
26857 | 2021-02-22 13:01 | 73.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8532 | μmol/L | 19.1676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.651 | 230780.085 | 278821.4645 | 62.0402 | 75.7
26867 | 2021-02-22 13:01 | 73.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7825 | μmol/L | 19.1676 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.655 | 230803.9687 | 278809.1505 | 62.0402 | 75.7
26878 | 2021-02-22 13:02 | 73.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7674 | μmol/L | 19.1614 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.658 | 230839.2752 | 278804.3187 | 62.0402 | 75.7
26888 | 2021-02-22 13:02 | 74.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6993 | μmol/L | 19.1553 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.664 | 230879.6173 | 278803.1145 | 62.0402 | 75.7
26898 | 2021-02-22 13:02 | 74.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6816 | μmol/L | 19.1553 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.665 | 230897.8872 | 278791.249 | 62.0402 | 75.7
26908 | 2021-02-22 13:03 | 74.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.664 | μmol/L | 19.1553 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.666 | 230933.3275 | 278791.0957 | 62.0402 | 75.7
26917 | 2021-02-22 13:03 | 75.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6338 | μmol/L | 19.143 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.672 | 230962.3918 | 278798.5621 | 62.0402 | 75.7
26928 | 2021-02-22 13:03 | 75.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5253 | μmol/L | 19.1492 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.676 | 231009.2999 | 278790.5981 | 62.0402 | 75.7
26938 | 2021-02-22 13:04 | 75.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4548 | μmol/L | 19.1492 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.68 | 231049.6059 | 278793.3973 | 62.0402 | 75.7
26948 | 2021-02-22 13:04 | 76.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3868 | μmol/L | 19.143 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.686 | 231099.7678 | 278771.6703 | 62.0402 | 75.7
26957 | 2021-02-22 13:04 | 76.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2987 | μmol/L | 19.143 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.691 | 231151.1535 | 278789.0219 | 62.0402 | 75.7
26968 | 2021-02-22 13:05 | 76.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2106 | μmol/L | 19.143 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.696 | 231208.2526 | 278789.2911 | 62.0402 | 75.7
26978 | 2021-02-22 13:05 | 77.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1075 | μmol/L | 19.1369 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.704 | 231263.0508 | 278769.4958 | 62.0402 | 75.7
26988 | 2021-02-22 13:05 | 77.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0899 | μmol/L | 19.1369 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 231300.8926 | 278770.1456 | 62.0402 | 75.7
26998 | 2021-02-22 13:06 | 77.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1656 | μmol/L | 19.1246 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 231327.8281 | 278788.3632 | 62.0402 | 75.7
27008 | 2021-02-22 13:06 | 78.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0573 | μmol/L | 19.1308 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 231331.2257 | 278789.9381 | 62.0402 | 75.7
27017 | 2021-02-22 13:06 | 78.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0951 | μmol/L | 19.1246 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.709 | 231327.0169 | 278777.8287 | 62.0402 | 75.7
27027 | 2021-02-22 13:07 | 78.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0802 | μmol/L | 19.1185 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 231309.7477 | 278766.7349 | 62.0402 | 75.7
27038 | 2021-02-22 13:07 | 79.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1858 | μmol/L | 19.1185 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 231293.7476 | 278767.2651 | 62.0402 | 75.7
27048 | 2021-02-22 13:07 | 79.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2562 | μmol/L | 19.1185 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.702 | 231244.3391 | 278763.8121 | 62.0402 | 75.7
27057 | 2021-02-22 13:08 | 79.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3469 | μmol/L | 19.1124 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.699 | 231184.372 | 278759.5402 | 62.0402 | 75.7
27068 | 2021-02-22 13:08 | 80.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4174 | μmol/L | 19.1124 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231132.5475 | 278756.5987 | 62.0402 | 75.7
27078 | 2021-02-22 13:08 | 80.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.488 | μmol/L | 19.1124 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.691 | 231093.3615 | 278759.5213 | 62.0402 | 75.7
27088 | 2021-02-22 13:09 | 80.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5611 | μmol/L | 19.1062 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.689 | 231067.9858 | 278748.6732 | 62.0402 | 75.7
27097 | 2021-02-22 13:09 | 81.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5637 | μmol/L | 19.1001 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.691 | 231061.6162 | 278747.3009 | 62.0402 | 75.7
27108 | 2021-02-22 13:09 | 81.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5285 | μmol/L | 19.1001 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.693 | 231091.3769 | 278748.8941 | 62.0402 | 75.7
27117 | 2021-02-22 13:10 | 81.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4932 | μmol/L | 19.1001 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231124.0438 | 278743.1399 | 62.0402 | 75.7
27127 | 2021-02-22 13:10 | 82.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4429 | μmol/L | 19.094 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.7 | 231155.7936 | 278743.3392 | 62.0402 | 75.7
27137 | 2021-02-22 13:10 | 82.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3574 | μmol/L | 19.0878 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 231205.1051 | 278739.6876 | 62.0402 | 75.7
27148 | 2021-02-22 13:11 | 82.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3424 | μmol/L | 19.0817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.71 | 231256.8253 | 278740.5006 | 62.0402 | 75.7
27158 | 2021-02-22 13:11 | 83.0824 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2543 | μmol/L | 19.0817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.715 | 231320.958 | 278734.6157 | 62.0402 | 75.7
27168 | 2021-02-22 13:11 | 83.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0607 | μmol/L | 19.0817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 231387.654 | 278729.4976 | 62.0402 | 75.7
27178 | 2021-02-22 13:12 | 83.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1187 | μmol/L | 19.0694 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 231451.8878 | 278730.9859 | 62.0402 | 75.7
27187 | 2021-02-22 13:12 | 84.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9226 | μmol/L | 19.0756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.736 | 231535.2166 | 278735.4591 | 62.0402 | 75.7
27197 | 2021-02-22 13:12 | 84.4157 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.8523 | μmol/L | 19.0756 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.74 | 231590.5381 | 278719.7202 | 62.0402 | 75.7
27207 | 2021-02-22 13:13 | 84.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.7671 | μmol/L | 19.0694 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.747 | 231637.742 | 278722.2584 | 62.0402 | 75.7
27218 | 2021-02-22 13:13 | 85.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.7145 | μmol/L | 19.0694 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.75 | 231681.2036 | 278720.3529 | 62.0402 | 75.7
27228 | 2021-02-22 13:13 | 85.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6469 | μmol/L | 19.0633 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.756 | 231720.9862 | 278716.8892 | 62.0402 | 75.7
27237 | 2021-02-22 13:14 | 85.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6145 | μmol/L | 19.0572 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.76 | 231766.1318 | 278719.0623 | 62.0402 | 75.7
27248 | 2021-02-22 13:14 | 86.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5443 | μmol/L | 19.0572 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.764 | 231796.0142 | 278714.7799 | 62.0402 | 75.7
27258 | 2021-02-22 13:14 | 86.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4715 | μmol/L | 19.0633 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.766 | 231835.6784 | 278712.7814 | 62.0402 | 75.7
27267 | 2021-02-22 13:15 | 86.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4943 | μmol/L | 19.051 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.769 | 231854.6002 | 278709.3248 | 62.0402 | 75.7
27278 | 2021-02-22 13:15 | 87.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4593 | μmol/L | 19.051 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.771 | 231876.3514 | 278693.3448 | 62.0402 | 75.7
27287 | 2021-02-22 13:15 | 87.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4444 | μmol/L | 19.0449 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.774 | 231907.221 | 278703.5865 | 62.0402 | 75.7
27298 | 2021-02-22 13:16 | 87.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3918 | μmol/L | 19.0449 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.777 | 231934.3258 | 278688.8584 | 62.0402 | 75.7
27307 | 2021-02-22 13:16 | 88.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2114 | μmol/L | 19.0572 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.783 | 231968.1463 | 278694.9385 | 62.0402 | 75.7
27317 | 2021-02-22 13:16 | 88.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2894 | μmol/L | 19.0388 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.785 | 232007.6132 | 278694.1125 | 62.0402 | 75.7
27327 | 2021-02-22 13:17 | 88.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1844 | μmol/L | 19.0388 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.791 | 232043.1505 | 278697.7818 | 62.0402 | 75.7
27338 | 2021-02-22 13:17 | 89.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1669 | μmol/L | 19.0388 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.792 | 232050.9378 | 278687.4582 | 62.0402 | 75.7
27347 | 2021-02-22 13:17 | 89.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1319 | μmol/L | 19.0388 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.794 | 232071.969 | 278691.9546 | 62.0402 | 75.7
27357 | 2021-02-22 13:18 | 89.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1722 | μmol/L | 19.0265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.796 | 232085.976 | 278698.68 | 62.0402 | 75.7
27368 | 2021-02-22 13:18 | 90.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1722 | μmol/L | 19.0265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.796 | 232097.7741 | 278700.3143 | 62.0402 | 75.7
27377 | 2021-02-22 13:18 | 90.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1722 | μmol/L | 19.0265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.796 | 232104.3791 | 278693.7486 | 62.0402 | 75.7
27388 | 2021-02-22 13:19 | 90.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0996 | μmol/L | 19.0326 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.798 | 232093.3453 | 278686.2411 | 62.0402 | 75.7
27398 | 2021-02-22 13:19 | 91.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1547 | μmol/L | 19.0265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.797 | 232092.8221 | 278679.6063 | 62.0402 | 75.7
27407 | 2021-02-22 13:19 | 91.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1924 | μmol/L | 19.0204 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.797 | 232063.4193 | 278667.7777 | 62.0402 | 75.7
27417 | 2021-02-22 13:20 | 91.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3149 | μmol/L | 19.0204 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.79 | 232027.2246 | 278668.471 | 62.0402 | 75.7
27428 | 2021-02-22 13:20 | 92.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4079 | μmol/L | 19.0081 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.789 | 231964.6171 | 278674.5888 | 62.0402 | 75.7
27437 | 2021-02-22 13:20 | 92.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5683 | μmol/L | 19.002 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.782 | 231924.497 | 278675.3277 | 62.0402 | 75.7
27448 | 2021-02-22 13:21 | 92.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5305 | μmol/L | 19.0081 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.782 | 231900.6631 | 278669.4157 | 62.0402 | 75.7
27458 | 2021-02-22 13:21 | 93.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5656 | μmol/L | 19.0081 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.78 | 231873.8977 | 278667.0295 | 62.0402 | 75.7
27468 | 2021-02-22 13:21 | 93.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5683 | μmol/L | 19.002 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.782 | 231874.5231 | 278668.4832 | 62.0402 | 75.7
27478 | 2021-02-22 13:22 | 93.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6587 | μmol/L | 18.9958 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.779 | 231876.5164 | 278653.2916 | 62.0402 | 75.7
27488 | 2021-02-22 13:22 | 94.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.664 | μmol/L | 18.9836 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.783 | 231886.7323 | 278663.8122 | 62.0402 | 75.7
27497 | 2021-02-22 13:22 | 94.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6438 | μmol/L | 18.9897 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.782 | 231892.7123 | 278665.6378 | 62.0402 | 75.7
27508 | 2021-02-22 13:23 | 94.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6465 | μmol/L | 18.9836 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.784 | 231904.3184 | 278664.8606 | 62.0402 | 75.7
27517 | 2021-02-22 13:23 | 95.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6465 | μmol/L | 18.9836 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.784 | 231910.6626 | 278656.0614 | 62.0402 | 75.7
27528 | 2021-02-22 13:23 | 95.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6114 | μmol/L | 18.9836 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.786 | 231917.0225 | 278661.1824 | 62.0402 | 75.7
27537 | 2021-02-22 13:24 | 95.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5966 | μmol/L | 18.9774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.789 | 231913.406 | 278670.4925 | 62.0402 | 75.7
27548 | 2021-02-22 13:24 | 96.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6168 | μmol/L | 18.9713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.79 | 231965.3057 | 278661.9729 | 62.0402 | 75.7
27558 | 2021-02-22 13:24 | 96.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6141 | μmol/L | 18.9774 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.788 | 231985.3966 | 278665.784 | 62.0402 | 75.7
27567 | 2021-02-22 13:25 | 96.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6168 | μmol/L | 18.9713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.79 | 231987.1003 | 278653.5075 | 62.0402 | 75.7
27578 | 2021-02-22 13:25 | 97.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6168 | μmol/L | 18.9713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.79 | 231991.0168 | 278651.2764 | 62.0402 | 75.7
27588 | 2021-02-22 13:25 | 97.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5844 | μmol/L | 18.9652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.794 | 231997.652 | 278652.4004 | 62.0402 | 75.7
27598 | 2021-02-22 13:26 | 97.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5318 | μmol/L | 18.9652 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.797 | 231996.9443 | 278658.9056 | 62.0402 | 75.7
27608 | 2021-02-22 13:26 | 98.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6748 | μmol/L | 18.959 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.791 | 232015.8742 | 278659.0552 | 62.0402 | 75.7
27617 | 2021-02-22 13:26 | 98.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6222 | μmol/L | 18.959 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.794 | 232020.7162 | 278657.2777 | 62.0402 | 75.7
27628 | 2021-02-22 13:27 | 98.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6222 | μmol/L | 18.959 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.794 | 232026.8756 | 278646.1465 | 62.0402 | 75.7
27637 | 2021-02-22 13:27 | 99.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5871 | μmol/L | 18.959 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.796 | 232038.8073 | 278646.0333 | 62.0402 | 75.7
27648 | 2021-02-22 13:27 | 99.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.517 | μmol/L | 18.959 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.8 | 232065.8644 | 278660.3302 | 62.0402 | 75.7
27658 | 2021-02-22 13:28 | 99.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4847 | μmol/L | 18.9529 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.804 | 232088.7403 | 278645.5531 | 62.0402 | 75.7
27668 | 2021-02-22 13:28 | 100.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.5049 | μmol/L | 18.9468 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.805 | 232125.186 | 278627.3921 | 62.0402 | 75.7
27678 | 2021-02-22 13:28 | 100.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3998 | μmol/L | 18.9468 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.811 | 232164.1821 | 278642.6735 | 62.0402 | 75.7
27688 | 2021-02-22 13:29 | 100.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3123 | μmol/L | 18.9468 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.816 | 232223.7861 | 278641.1772 | 62.0402 | 75.7
27698 | 2021-02-22 13:29 | 101.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2975 | μmol/L | 18.9406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.819 | 232285.9698 | 278637.6156 | 62.0402 | 75.7
27708 | 2021-02-22 13:29 | 101.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2127 | μmol/L | 18.9345 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.826 | 232336.7867 | 278635.0093 | 62.0402 | 75.7
27717 | 2021-02-22 13:30 | 101.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0728 | μmol/L | 18.9345 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.834 | 232391.0161 | 278630.3958 | 62.0402 | 75.7
27727 | 2021-02-22 13:30 | 102.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0406 | μmol/L | 18.9284 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.838 | 232424.674 | 278644.5733 | 62.0402 | 75.7
27737 | 2021-02-22 13:30 | 102.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0636 | μmol/L | 18.9161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.841 | 232468.2954 | 278625.7186 | 62.0402 | 75.7
27748 | 2021-02-22 13:31 | 102.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0461 | μmol/L | 18.9161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.842 | 232476.2912 | 278634.1443 | 62.0402 | 75.7
27758 | 2021-02-22 13:31 | 103.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1362 | μmol/L | 18.91 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.839 | 232478.7697 | 278634.528 | 62.0402 | 75.7
27768 | 2021-02-22 13:31 | 103.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1537 | μmol/L | 18.91 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.838 | 232443.8282 | 278630.3041 | 62.0402 | 75.7
27777 | 2021-02-22 13:32 | 103.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1712 | μmol/L | 18.91 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.837 | 232422.6376 | 278633.1721 | 62.0402 | 75.7
27788 | 2021-02-22 13:32 | 104.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.151 | μmol/L | 18.9161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.836 | 232409.5321 | 278625.197 | 62.0402 | 75.7
27797 | 2021-02-22 13:32 | 104.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1859 | μmol/L | 18.9161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.834 | 232392.2596 | 278633.9965 | 62.0402 | 75.7
27807 | 2021-02-22 13:33 | 104.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2586 | μmol/L | 18.91 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.832 | 232366.648 | 278623.546 | 62.0402 | 75.7
27818 | 2021-02-22 13:33 | 105.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.301 | μmol/L | 18.9038 | °C | 1004 | hPa | Humid | 28 | 1 | 0 | 23.832 | 232345.4089 | 278632.3034 | 62.0402 | 75.7
27827 | 2021-02-22 13:33 | 105.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3866 | μmol/L | 18.8977 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.829 | 232328.5366 | 278637.6234 | 62.0402 | 75.7
27838 | 2021-02-22 13:34 | 105.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4216 | μmol/L | 18.8977 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.827 | 232326.1476 | 278633.6134 | 62.0402 | 75.7
27848 | 2021-02-22 13:34 | 106.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4419 | μmol/L | 18.8916 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.828 | 232310.1245 | 278623.9283 | 62.0402 | 75.7
27857 | 2021-02-22 13:34 | 106.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3691 | μmol/L | 18.8977 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.83 | 232306.9707 | 278616.9514 | 62.0402 | 75.7
27868 | 2021-02-22 13:35 | 106.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3691 | μmol/L | 18.8977 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.83 | 232330.4183 | 278629.1757 | 62.0402 | 75.7
27878 | 2021-02-22 13:35 | 107.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4271 | μmol/L | 18.8854 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.831 | 232330.7185 | 278631.9846 | 62.0402 | 75.7
27888 | 2021-02-22 13:35 | 107.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3571 | μmol/L | 18.8854 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.835 | 232334.9518 | 278621.8447 | 62.0402 | 75.7
27897 | 2021-02-22 13:36 | 107.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3598 | μmol/L | 18.8793 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.837 | 232373.9203 | 278628.3422 | 62.0402 | 75.7
27908 | 2021-02-22 13:36 | 108.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3101 | μmol/L | 18.8732 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.842 | 232417.0555 | 278626.304 | 62.0402 | 75.7
27917 | 2021-02-22 13:36 | 108.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2778 | μmol/L | 18.867 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.846 | 232482.425 | 278629.049 | 62.0402 | 75.7
27928 | 2021-02-22 13:37 | 108.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1877 | μmol/L | 18.8732 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.849 | 232514.9694 | 278616.3132 | 62.0402 | 75.7
27937 | 2021-02-22 13:37 | 109.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1554 | μmol/L | 18.867 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.853 | 232550.9593 | 278620.4585 | 62.0402 | 75.7
27948 | 2021-02-22 13:37 | 109.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0681 | μmol/L | 18.867 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.858 | 232574.643 | 278629.7688 | 62.0402 | 75.7
27957 | 2021-02-22 13:38 | 109.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0681 | μmol/L | 18.867 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.858 | 232566.5775 | 278620.4102 | 62.0402 | 75.7
27968 | 2021-02-22 13:38 | 110.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1582 | μmol/L | 18.8609 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.855 | 232560.9001 | 278617.7782 | 62.0402 | 75.7
27978 | 2021-02-22 13:38 | 110.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.138 | μmol/L | 18.867 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.854 | 232539.1666 | 278626.7742 | 62.0402 | 75.7
27988 | 2021-02-22 13:39 | 110.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2484 | μmol/L | 18.8548 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.852 | 232506.2606 | 278619.9173 | 62.0402 | 75.7
27998 | 2021-02-22 13:39 | 111.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2834 | μmol/L | 18.8548 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.85 | 232483.4231 | 278611.3868 | 62.0402 | 75.7
28008 | 2021-02-22 13:39 | 111.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3009 | μmol/L | 18.8548 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.849 | 232465.3229 | 278623.5783 | 62.0402 | 75.7
28017 | 2021-02-22 13:40 | 111.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3386 | μmol/L | 18.8486 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.849 | 232454.0624 | 278616.5647 | 62.0402 | 75.7
28028 | 2021-02-22 13:40 | 112.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3561 | μmol/L | 18.8486 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.848 | 232441.516 | 278614.1654 | 62.0402 | 75.7
28038 | 2021-02-22 13:40 | 112.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3939 | μmol/L | 18.8425 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.848 | 232436.7048 | 278616.0332 | 62.0402 | 75.7
28048 | 2021-02-22 13:41 | 112.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3939 | μmol/L | 18.8425 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.848 | 232435.603 | 278604.9448 | 62.0402 | 75.7
28058 | 2021-02-22 13:41 | 113.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4141 | μmol/L | 18.8364 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.849 | 232444.8428 | 278613.9045 | 62.0402 | 75.7
28068 | 2021-02-22 13:41 | 113.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4491 | μmol/L | 18.8364 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.847 | 232444.8956 | 278611.1741 | 62.0402 | 75.7
28078 | 2021-02-22 13:42 | 113.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3966 | μmol/L | 18.8364 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.85 | 232451.5806 | 278611.5937 | 62.0402 | 75.7
28087 | 2021-02-22 13:42 | 114.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3994 | μmol/L | 18.8302 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.852 | 232476.802 | 278614.899 | 62.0402 | 75.7
28097 | 2021-02-22 13:42 | 114.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3994 | μmol/L | 18.8302 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.852 | 232500.0035 | 278616.6511 | 62.0402 | 75.7
28107 | 2021-02-22 13:43 | 114.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3672 | μmol/L | 18.8241 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.856 | 232539.4626 | 278614.941 | 62.0402 | 75.7
28118 | 2021-02-22 13:43 | 115.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2245 | μmol/L | 18.8302 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.862 | 232600.7497 | 278617.8777 | 62.0402 | 75.7
28128 | 2021-02-22 13:43 | 115.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.105 | μmol/L | 18.8241 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.871 | 232677.5665 | 278625.4694 | 62.0402 | 75.7
28138 | 2021-02-22 13:44 | 115.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1077 | μmol/L | 18.818 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.873 | 232730.0602 | 278606.8181 | 62.0402 | 75.7
28148 | 2021-02-22 13:44 | 116.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0176 | μmol/L | 18.8241 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.876 | 232765.318 | 278604.3429 | 62.0402 | 75.7
28158 | 2021-02-22 13:44 | 116.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0407 | μmol/L | 18.8118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.879 | 232760.6501 | 278610.7341 | 62.0402 | 75.7
28167 | 2021-02-22 13:45 | 116.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1105 | μmol/L | 18.8118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.875 | 232770.5743 | 278625.7584 | 62.0402 | 75.7
28177 | 2021-02-22 13:45 | 117.0824 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2035 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.874 | 232745.0085 | 278616.7027 | 62.0402 | 75.7
28188 | 2021-02-22 13:45 | 117.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2182 | μmol/L | 18.8057 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.871 | 232698.7116 | 278619.6313 | 62.0402 | 75.7
28198 | 2021-02-22 13:46 | 117.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1511 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.877 | 232786.9303 | 278606.2164 | 62.0402 | 75.7
28207 | 2021-02-22 13:46 | 118.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.8717 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.893 | 232991.6274 | 278613.2578 | 62.0402 | 75.7
28218 | 2021-02-22 13:46 | 118.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.5754 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.91 | 233191.8744 | 278618.6603 | 62.0402 | 75.7
28227 | 2021-02-22 13:47 | 118.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.7755 | μmol/L | 18.7812 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.905 | 233131.3826 | 278605.4186 | 62.0402 | 75.7
28238 | 2021-02-22 13:47 | 119.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.0924 | μmol/L | 18.775 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.889 | 232947.5673 | 278605.8559 | 62.0402 | 75.7
28248 | 2021-02-22 13:47 | 119.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4798 | μmol/L | 18.7689 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.869 | 232749.164 | 278604.2823 | 62.0402 | 75.7
28257 | 2021-02-22 13:48 | 119.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.8533 | μmol/L | 18.7566 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.852 | 232559.1973 | 278611.7056 | 62.0402 | 75.7
28268 | 2021-02-22 13:48 | 120.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1693 | μmol/L | 18.7566 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.834 | 232394.7355 | 278610.8044 | 62.0402 | 75.7
28277 | 2021-02-22 13:48 | 120.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2839 | μmol/L | 18.775 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.821 | 232228.6367 | 278598.228 | 62.0402 | 75.7
28287 | 2021-02-22 13:49 | 120.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4691 | μmol/L | 18.7934 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.804 | 232055.3736 | 278606.7416 | 62.0402 | 75.7
28298 | 2021-02-22 13:49 | 121.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8364 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.781 | 231855.6147 | 278588.7594 | 62.0402 | 75.7
28307 | 2021-02-22 13:49 | 121.4157 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1746 | μmol/L | 18.7934 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.764 | 231660.3261 | 278589.3456 | 62.0402 | 75.7
28318 | 2021-02-22 13:50 | 121.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.6021 | μmol/L | 18.7873 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.742 | 231447.983 | 278607.5473 | 62.0402 | 75.7
28328 | 2021-02-22 13:50 | 122.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.8093 | μmol/L | 18.7996 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.726 | 231266.2863 | 278616.4413 | 62.0402 | 75.7
28338 | 2021-02-22 13:50 | 122.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1084 | μmol/L | 18.8057 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.707 | 231071.4096 | 278595.4019 | 62.0402 | 75.7
28348 | 2021-02-22 13:51 | 122.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.319 | μmol/L | 18.8118 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.693 | 230934.6942 | 278596.1855 | 62.0402 | 75.7
28358 | 2021-02-22 13:51 | 123.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.4025 | μmol/L | 18.8241 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.684 | 230829.3009 | 278603.5336 | 62.0402 | 75.7
28367 | 2021-02-22 13:51 | 123.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.5423 | μmol/L | 18.8302 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230784.0174 | 278600.6783 | 62.0402 | 75.7
28378 | 2021-02-22 13:52 | 123.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.4656 | μmol/L | 18.8425 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230751.9139 | 278600.5434 | 62.0402 | 75.7
28388 | 2021-02-22 13:52 | 124.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.3631 | μmol/L | 18.8732 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.669 | 230705.6987 | 278592.6005 | 62.0402 | 75.7
28398 | 2021-02-22 13:52 | 124.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.3194 | μmol/L | 18.8916 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.665 | 230655.5405 | 278599.0354 | 62.0402 | 75.7
28407 | 2021-02-22 13:53 | 124.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.291 | μmol/L | 18.9161 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.658 | 230617.7187 | 278598.9646 | 62.0402 | 75.7
28417 | 2021-02-22 13:53 | 125.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.2625 | μmol/L | 18.9406 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.651 | 230532.355 | 278596.4657 | 62.0402 | 75.7
28427 | 2021-02-22 13:53 | 125.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1682 | μmol/L | 18.9529 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.652 | 230571.5136 | 278601.4557 | 62.0402 | 75.7
28438 | 2021-02-22 13:54 | 125.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1247 | μmol/L | 18.9713 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.648 | 230537.8212 | 278599.2905 | 62.0402 | 75.7
28447 | 2021-02-22 13:54 | 126.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1017 | μmol/L | 18.9836 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.645 | 230502.6346 | 278593.0296 | 62.0402 | 75.7
28458 | 2021-02-22 13:54 | 126.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.9693 | μmol/L | 19.002 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.646 | 230480.4605 | 278595.6943 | 62.0402 | 75.7
28468 | 2021-02-22 13:55 | 126.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.9436 | μmol/L | 19.0204 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.641 | 230438.8876 | 278592.6177 | 62.0402 | 75.7
28477 | 2021-02-22 13:55 | 127.0824 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.0477 | μmol/L | 19.0265 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.633 | 230359.8729 | 278595.1206 | 62.0402 | 75.7
28487 | 2021-02-22 13:55 | 127.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1644 | μmol/L | 19.0449 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.62 | 230275.3383 | 278595.5324 | 62.0402 | 75.7
28498 | 2021-02-22 13:56 | 127.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.1058 | μmol/L | 19.0572 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.619 | 230235.3549 | 278595.3453 | 62.0402 | 75.7
28507 | 2021-02-22 13:56 | 128.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 211.0473 | μmol/L | 19.0694 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.618 | 230205.72 | 278596.0809 | 62.0402 | 75.7
28518 | 2021-02-22 13:56 | 128.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.971 | μmol/L | 19.0817 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.618 | 230231.5078 | 278580.3732 | 62.0402 | 75.7
28528 | 2021-02-22 13:57 | 128.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.6992 | μmol/L | 19.094 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230360.2939 | 278589.0612 | 62.0402 | 75.7
28537 | 2021-02-22 13:57 | 129.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.4253 | μmol/L | 19.1124 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.638 | 230452.5516 | 278579.8178 | 62.0402 | 75.7
28548 | 2021-02-22 13:57 | 129.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.3315 | μmol/L | 19.1246 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.639 | 230496.4715 | 278574.3994 | 62.0402 | 75.7
28558 | 2021-02-22 13:58 | 129.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.2023 | μmol/L | 19.1369 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.642 | 230536.0064 | 278578.8608 | 62.0402 | 75.7
28568 | 2021-02-22 13:58 | 130.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1112 | μmol/L | 19.143 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.645 | 230528.2685 | 278578.6024 | 62.0402 | 75.7
28578 | 2021-02-22 13:58 | 130.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1212 | μmol/L | 19.1614 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.638 | 230486.6291 | 278578.6023 | 62.0402 | 75.7
28587 | 2021-02-22 13:59 | 130.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.2046 | μmol/L | 19.1737 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230410.4407 | 278568.5461 | 62.0402 | 75.7
28598 | 2021-02-22 13:59 | 131.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.1287 | μmol/L | 19.186 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230392.406 | 278579.7329 | 62.0402 | 75.7
28608 | 2021-02-22 13:59 | 131.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.0856 | μmol/L | 19.2044 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.625 | 230380.9518 | 278573.5132 | 62.0402 | 75.7
28618 | 2021-02-22 14:00 | 131.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.0856 | μmol/L | 19.2044 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.625 | 230366.7036 | 278569.2558 | 62.0402 | 75.7
28627 | 2021-02-22 14:00 | 132.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.0426 | μmol/L | 19.2228 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.621 | 230297.3097 | 278561.1532 | 62.0402 | 75.7
28638 | 2021-02-22 14:00 | 132.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 210.0755 | μmol/L | 19.2289 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.617 | 230273.998 | 278561.9243 | 62.0402 | 75.7
28647 | 2021-02-22 14:01 | 132.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.9819 | μmol/L | 19.2412 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.618 | 230265.6763 | 278550.5799 | 62.0402 | 75.7
28657 | 2021-02-22 14:01 | 133.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.9617 | μmol/L | 19.2473 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.617 | 230287.3607 | 278548.6344 | 62.0402 | 75.7
28667 | 2021-02-22 14:01 | 133.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.9238 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.617 | 230280.1181 | 278551.7571 | 62.0402 | 75.7
28677 | 2021-02-22 14:02 | 133.7494 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8075 | μmol/L | 19.278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.615 | 230263.7188 | 278548.5183 | 62.0402 | 75.7
28687 | 2021-02-22 14:02 | 134.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8606 | μmol/L | 19.278 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.612 | 230232.0789 | 278555.3728 | 62.0402 | 75.7
28698 | 2021-02-22 14:02 | 134.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.752 | μmol/L | 19.2841 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.616 | 230257.2259 | 278559.3651 | 62.0402 | 75.7
28708 | 2021-02-22 14:03 | 134.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6586 | μmol/L | 19.2964 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.617 | 230246.4161 | 278537.0678 | 62.0402 | 75.7
28718 | 2021-02-22 14:03 | 135.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7647 | μmol/L | 19.2964 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.611 | 230228.7208 | 278539.2632 | 62.0402 | 75.7
28728 | 2021-02-22 14:03 | 135.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7622 | μmol/L | 19.3025 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.609 | 230194.8281 | 278537.2772 | 62.0402 | 75.7
28737 | 2021-02-22 14:04 | 135.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7622 | μmol/L | 19.3025 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.609 | 230212.9831 | 278534.8959 | 62.0402 | 75.7
28748 | 2021-02-22 14:04 | 136.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6889 | μmol/L | 19.3086 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.611 | 230215.2149 | 278531.321 | 62.0402 | 75.7
28758 | 2021-02-22 14:04 | 136.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6511 | μmol/L | 19.3148 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.611 | 230236.8149 | 278534.8453 | 62.0402 | 75.7
28767 | 2021-02-22 14:05 | 136.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5426 | μmol/L | 19.3209 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.615 | 230231.3334 | 278516.5735 | 62.0402 | 75.7
28777 | 2021-02-22 14:05 | 137.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6107 | μmol/L | 19.327 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.609 | 230207.9507 | 278511.7589 | 62.0402 | 75.7
28787 | 2021-02-22 14:05 | 137.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6083 | μmol/L | 19.3332 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.607 | 230196.771 | 278520.7137 | 62.0402 | 75.7
28798 | 2021-02-22 14:06 | 137.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5326 | μmol/L | 19.3454 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.607 | 230174.4143 | 278518.5979 | 62.0402 | 75.7
28808 | 2021-02-22 14:06 | 138.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5605 | μmol/L | 19.3638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.599 | 230129.9153 | 278515.7236 | 62.0402 | 75.7
28818 | 2021-02-22 14:06 | 138.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7221 | μmol/L | 19.3577 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.592 | 230044.186 | 278515.4858 | 62.0402 | 75.7
28827 | 2021-02-22 14:07 | 138.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.846 | μmol/L | 19.3577 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 229981.1856 | 278519.1578 | 62.0402 | 75.7
28837 | 2021-02-22 14:07 | 139.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8966 | μmol/L | 19.3638 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.58 | 229930.5907 | 278496.6258 | 62.0402 | 75.7
28847 | 2021-02-22 14:07 | 139.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8764 | μmol/L | 19.37 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.579 | 229909.5998 | 278498.3387 | 62.0402 | 75.7
28858 | 2021-02-22 14:08 | 139.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.8032 | μmol/L | 19.3761 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.581 | 229924.137 | 278504.0196 | 62.0402 | 75.7
28868 | 2021-02-22 14:08 | 140.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7299 | μmol/L | 19.3822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 229945.1798 | 278497.4081 | 62.0402 | 75.7
28878 | 2021-02-22 14:08 | 140.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7299 | μmol/L | 19.3822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 229958.5512 | 278511.5004 | 62.0402 | 75.7
28887 | 2021-02-22 14:09 | 140.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7299 | μmol/L | 19.3822 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 229946.0363 | 278497.948 | 62.0402 | 75.7
28898 | 2021-02-22 14:09 | 141.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.7098 | μmol/L | 19.3884 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.582 | 229935.765 | 278498.127 | 62.0402 | 75.7
28907 | 2021-02-22 14:09 | 141.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6543 | μmol/L | 19.3945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.583 | 229952.6786 | 278504.2703 | 62.0402 | 75.7
28918 | 2021-02-22 14:10 | 141.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.6189 | μmol/L | 19.3945 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.585 | 229967.1437 | 278498.1251 | 62.0402 | 75.7
28927 | 2021-02-22 14:10 | 142.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.5457 | μmol/L | 19.4006 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.587 | 229998.1604 | 278478.7396 | 62.0402 | 75.7
28938 | 2021-02-22 14:10 | 142.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.4348 | μmol/L | 19.4129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.589 | 230016.545 | 278488.2416 | 62.0402 | 75.7
28948 | 2021-02-22 14:11 | 142.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3642 | μmol/L | 19.4129 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.593 | 230019.6118 | 278490.0372 | 62.0402 | 75.7
28958 | 2021-02-22 14:11 | 143.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3617 | μmol/L | 19.419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.591 | 230020.7919 | 278479.3348 | 62.0402 | 75.7
28967 | 2021-02-22 14:11 | 143.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.3441 | μmol/L | 19.419 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.592 | 230029.2396 | 278481.1089 | 62.0402 | 75.7
28978 | 2021-02-22 14:12 | 143.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.2156 | μmol/L | 19.4313 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.595 | 230040.963 | 278481.9554 | 62.0402 | 75.7
28988 | 2021-02-22 14:12 | 144.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1225 | μmol/L | 19.4436 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.596 | 230055.0202 | 278489.1454 | 62.0402 | 75.7
28998 | 2021-02-22 14:12 | 144.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.1779 | μmol/L | 19.4374 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.595 | 230065.6191 | 278475.789 | 62.0402 | 75.7
29007 | 2021-02-22 14:13 | 144.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0848 | μmol/L | 19.4497 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.596 | 230071.7761 | 278483.1544 | 62.0402 | 75.7
29018 | 2021-02-22 14:13 | 145.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0094 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.596 | 230076.4359 | 278473.7868 | 62.0402 | 75.7
29028 | 2021-02-22 14:13 | 145.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0119 | μmol/L | 19.4558 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 230088.2287 | 278475.6003 | 62.0402 | 75.7
29038 | 2021-02-22 14:14 | 145.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 209.0119 | μmol/L | 19.4558 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 230079.179 | 278482.0842 | 62.0402 | 75.7
29048 | 2021-02-22 14:14 | 146.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9742 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 230071.8528 | 278465.1167 | 62.0402 | 75.7
29058 | 2021-02-22 14:14 | 146.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9943 | μmol/L | 19.4558 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.599 | 230073.3182 | 278454.2927 | 62.0402 | 75.7
29067 | 2021-02-22 14:15 | 146.7491 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9742 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.598 | 230077.7623 | 278457.3072 | 62.0402 | 75.7
29077 | 2021-02-22 14:15 | 147.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9189 | μmol/L | 19.4681 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.599 | 230085.791 | 278463.1267 | 62.0402 | 75.7
29087 | 2021-02-22 14:15 | 147.4166 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9013 | μmol/L | 19.4681 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.6 | 230110.5085 | 278461.4842 | 62.0402 | 75.7
29097 | 2021-02-22 14:16 | 147.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.8861 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.603 | 230124.7456 | 278460.213 | 62.0402 | 75.7
29108 | 2021-02-22 14:16 | 148.0824 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.9213 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.601 | 230125.6666 | 278448.6221 | 62.0402 | 75.7
29118 | 2021-02-22 14:16 | 148.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.8533 | μmol/L | 19.4558 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.607 | 230124.1676 | 278453.8759 | 62.0402 | 75.7
29128 | 2021-02-22 14:17 | 148.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.7452 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.611 | 230182.6868 | 278457.2607 | 62.0402 | 75.7
29138 | 2021-02-22 14:17 | 149.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.6573 | μmol/L | 19.462 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.616 | 230235.7966 | 278447.2046 | 62.0402 | 75.7
29148 | 2021-02-22 14:17 | 149.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4941 | μmol/L | 19.4742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.621 | 230304.1023 | 278446.0222 | 62.0402 | 75.7
29158 | 2021-02-22 14:18 | 149.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.4238 | μmol/L | 19.4742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.625 | 230364.4524 | 278448.6924 | 62.0402 | 75.7
29168 | 2021-02-22 14:18 | 150.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.3887 | μmol/L | 19.4742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.627 | 230374.1084 | 278441.0244 | 62.0402 | 75.7
29178 | 2021-02-22 14:18 | 150.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2785 | μmol/L | 19.4865 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230386.2767 | 278443.9914 | 62.0402 | 75.7
29188 | 2021-02-22 14:19 | 150.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.316 | μmol/L | 19.4804 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.629 | 230394.9255 | 278433.3219 | 62.0402 | 75.7
29197 | 2021-02-22 14:19 | 151.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2658 | μmol/L | 19.4742 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.634 | 230420.5797 | 278424.267 | 62.0402 | 75.7
29208 | 2021-02-22 14:19 | 151.4164 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1931 | μmol/L | 19.4804 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.636 | 230447.4979 | 278426.5683 | 62.0402 | 75.7
29217 | 2021-02-22 14:20 | 151.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.1732 | μmol/L | 19.4865 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.635 | 230438.5049 | 278434.7293 | 62.0402 | 75.7
29227 | 2021-02-22 14:20 | 152.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2107 | μmol/L | 19.4804 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.635 | 230435.5293 | 278440.6085 | 62.0402 | 75.7
29237 | 2021-02-22 14:20 | 152.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.2282 | μmol/L | 19.4804 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.634 | 230441.5011 | 278435.3781 | 62.0402 | 75.7
29248 | 2021-02-22 14:21 | 152.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 208.158 | μmol/L | 19.4804 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.638 | 230484.1019 | 278442.0342 | 62.0402 | 75.7
29258 | 2021-02-22 14:21 | 153.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.9953 | μmol/L | 19.4926 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.643 | 230528.1502 | 278438.4699 | 62.0402 | 75.7
29268 | 2021-02-22 14:21 | 153.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.8153 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.649 | 230590.5389 | 278425.7649 | 62.0402 | 75.7
29278 | 2021-02-22 14:22 | 153.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.6952 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.658 | 230678.5464 | 278433.0665 | 62.0402 | 75.7
29287 | 2021-02-22 14:22 | 154.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.5927 | μmol/L | 19.4926 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.666 | 230769.329 | 278443.5588 | 62.0402 | 75.7
29298 | 2021-02-22 14:22 | 154.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.4678 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.671 | 230818.1951 | 278431.6793 | 62.0402 | 75.7
29308 | 2021-02-22 14:23 | 154.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.4154 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230866.867 | 278428.0567 | 62.0402 | 75.7
29318 | 2021-02-22 14:23 | 155.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.3057 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.676 | 230878.5578 | 278420.4219 | 62.0402 | 75.7
29328 | 2021-02-22 14:23 | 155.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.216 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.679 | 230895.4889 | 278421.9157 | 62.0402 | 75.7
29337 | 2021-02-22 14:24 | 155.7498 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.2359 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.68 | 230882.0078 | 278421.8411 | 62.0402 | 75.7
29347 | 2021-02-22 14:24 | 156.0825 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.2684 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.676 | 230840.1689 | 278423.3201 | 62.0402 | 75.7
29358 | 2021-02-22 14:24 | 156.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.2659 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230824.3463 | 278424.7946 | 62.0402 | 75.7
29368 | 2021-02-22 14:25 | 156.7497 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.231 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.676 | 230829.5344 | 278405.8459 | 62.0402 | 75.7
29378 | 2021-02-22 14:25 | 157.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.231 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.676 | 230850.8128 | 278420.4848 | 62.0402 | 75.7
29388 | 2021-02-22 14:25 | 157.4162 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.1762 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.677 | 230842.6099 | 278422.9585 | 62.0402 | 75.7
29398 | 2021-02-22 14:26 | 157.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.2286 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230844.706 | 278414.1143 | 62.0402 | 75.7
29407 | 2021-02-22 14:26 | 158.0827 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.2485 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.675 | 230846.0364 | 278418.2741 | 62.0402 | 75.7
29418 | 2021-02-22 14:26 | 158.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.3033 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.674 | 230829.9109 | 278416.0881 | 62.0402 | 75.7
29427 | 2021-02-22 14:27 | 158.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.1762 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.677 | 230848.0693 | 278415.2292 | 62.0402 | 75.7
29438 | 2021-02-22 14:27 | 159.083 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.1239 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.68 | 230878.5282 | 278409.3857 | 62.0402 | 75.7
29447 | 2021-02-22 14:27 | 159.4158 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.0043 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.689 | 230953.6753 | 278407.5525 | 62.0402 | 75.7
29458 | 2021-02-22 14:28 | 159.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9694 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.691 | 231006.8755 | 278411.1382 | 62.0402 | 75.7
29467 | 2021-02-22 14:28 | 160.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.937 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231014.3544 | 278413.1864 | 62.0402 | 75.7
29478 | 2021-02-22 14:28 | 160.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9544 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.694 | 231022.9219 | 278406.4552 | 62.0402 | 75.7
29488 | 2021-02-22 14:29 | 160.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9196 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.696 | 231028.0159 | 278401.8533 | 62.0402 | 75.7
29498 | 2021-02-22 14:29 | 161.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.8997 | μmol/L | 19.5233 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231025.7465 | 278416.5846 | 62.0402 | 75.7
29508 | 2021-02-22 14:29 | 161.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.937 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231027.5502 | 278395.2937 | 62.0402 | 75.7
29518 | 2021-02-22 14:30 | 161.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9942 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.696 | 231005.2079 | 278388.3174 | 62.0402 | 75.7
29528 | 2021-02-22 14:30 | 162.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 207.0116 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231002.6591 | 278398.0328 | 62.0402 | 75.7
29538 | 2021-02-22 14:30 | 162.4165 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9544 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.694 | 230990.12 | 278393.1102 | 62.0402 | 75.7
29548 | 2021-02-22 14:31 | 162.7492 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.937 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.695 | 231015.093 | 278400.7815 | 62.0402 | 75.7
29558 | 2021-02-22 14:31 | 163.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.845 | μmol/L | 19.5294 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.696 | 231028.9678 | 278391.7759 | 62.0402 | 75.7
29568 | 2021-02-22 14:31 | 163.4163 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.8673 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.699 | 231043.645 | 278388.8231 | 62.0402 | 75.7
29578 | 2021-02-22 14:32 | 163.7493 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.9792 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.699 | 231060.5623 | 278406.5911 | 62.0402 | 75.7
29588 | 2021-02-22 14:32 | 164.0831 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.8722 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.703 | 231082.0811 | 278395.4191 | 62.0402 | 75.7
29598 | 2021-02-22 14:32 | 164.4159 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.8747 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.705 | 231110.1382 | 278394.9192 | 62.0402 | 75.7
29607 | 2021-02-22 14:33 | 164.7495 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.8573 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.706 | 231111.0698 | 278389.3521 | 62.0402 | 75.7
29618 | 2021-02-22 14:33 | 165.0829 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.7852 | μmol/L | 19.5049 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.708 | 231136.3472 | 278388.3716 | 62.0402 | 75.7
29627 | 2021-02-22 14:33 | 165.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.7901 | μmol/L | 19.4926 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.712 | 231179.8988 | 278391.5658 | 62.0402 | 75.7
29637 | 2021-02-22 14:34 | 165.7496 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.718 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.714 | 231206.2715 | 278390.2138 | 62.0402 | 75.7
29648 | 2021-02-22 14:34 | 166.0832 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.6832 | μmol/L | 19.4988 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.716 | 231240.2118 | 278390.27 | 62.0402 | 75.7
29657 | 2021-02-22 14:34 | 166.416 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.5193 | μmol/L | 19.5172 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.719 | 231268.5039 | 278383.6534 | 62.0402 | 75.7
29668 | 2021-02-22 14:35 | 166.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.487 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.723 | 231294.8257 | 278387.4096 | 62.0402 | 75.7
29677 | 2021-02-22 14:35 | 167.0826 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.4002 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.728 | 231319.433 | 278388.0339 | 62.0402 | 75.7
29688 | 2021-02-22 14:35 | 167.4161 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.4175 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.727 | 231340.3274 | 278389.9065 | 62.0402 | 75.7
29698 | 2021-02-22 14:36 | 167.7499 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.3307 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.732 | 231353.9404 | 278390.3094 | 62.0402 | 75.7
29708 | 2021-02-22 14:36 | 168.0828 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 206.3481 | μmol/L | 19.511 | °C | 1003 | hPa | Humid | 28 | 1 | 0 | 23.731 | 231367.8263 | 278373.5349 | 62.0402 | 75.7