## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23898 | 2021-02-22 10:23 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.5595 | μmol/L | 19.0273 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.69 | 118760.7762 | 219705.6903 | 27.3 | 43.4 | #N/A
23908 | 2021-02-22 10:23 | 0.33676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.636 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.693 | 118730.4006 | 219697.5316 | 27.3 | 43.4 | #N/A
23918 | 2021-02-22 10:23 | 0.67033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.5655 | μmol/L | 19.0151 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.694 | 118692.4262 | 219666.0703 | 27.3 | 43.4 | #N/A
23928 | 2021-02-22 10:24 | 1.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.546 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.697 | 118671.6407 | 219634.9136 | 27.3 | 43.4 | #N/A
23938 | 2021-02-22 10:24 | 1.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.501 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.699 | 118637.585 | 219615.0306 | 27.3 | 43.4 | #N/A
23948 | 2021-02-22 10:24 | 1.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.5295 | μmol/L | 18.9968 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.702 | 118606.7049 | 219605.1579 | 27.3 | 43.4 | #N/A | -0.23525 | 14.115
23958 | 2021-02-22 10:25 | 2.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.4366 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.704 | 118594.5521 | 219584.3429 | 27.3 | 43.4 | #N/A | 269.1373
23968 | 2021-02-22 10:25 | 2.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.4366 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.704 | 118554.9501 | 219565.4555 | 27.3 | 43.4 | #N/A
23978 | 2021-02-22 10:25 | 2.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.3752 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.711 | 118536.5171 | 219549.5958 | 27.3 | 43.4 | #N/A
23988 | 2021-02-22 10:26 | 3.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.4711 | μmol/L | 18.9784 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.711 | 118514.4247 | 219511.4073 | 27.3 | 43.4 | #N/A
23998 | 2021-02-22 10:26 | 3.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1356 | μmol/L | 19.0212 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.711 | 118495.1604 | 219492.3603 | 27.3 | 43.4 | #N/A
24008 | 2021-02-22 10:26 | 3.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0683 | μmol/L | 19.0212 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.714 | 118473.5322 | 219479.3535 | 27.3 | 43.4 | #N/A
24018 | 2021-02-22 10:27 | 4.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1192 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.716 | 118451.7804 | 219463.5142 | 27.3 | 43.4 | #N/A
24028 | 2021-02-22 10:27 | 4.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0549 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.721 | 118429.6244 | 219447.7028 | 27.3 | 43.4 | #N/A
24038 | 2021-02-22 10:27 | 4.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1222 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.718 | 118415.9162 | 219410.7211 | 27.3 | 43.4 | #N/A
24048 | 2021-02-22 10:28 | 5.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1955 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.719 | 118383.6582 | 219394.6955 | 27.3 | 43.4 | #N/A
24058 | 2021-02-22 10:28 | 5.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0773 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.72 | 118371.4624 | 219376.5976 | 27.3 | 43.4 | #N/A
24068 | 2021-02-22 10:28 | 5.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.007 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.721 | 118361.5226 | 219360.6698 | 27.3 | 43.4 | #N/A
24078 | 2021-02-22 10:29 | 6.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.01 | μmol/L | 19.0029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.723 | 118343.0884 | 219347.6918 | 27.3 | 43.4 | #N/A
24088 | 2021-02-22 10:29 | 6.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9712 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.729 | 118326.2347 | 219331.561 | 27.3 | 43.4 | #N/A
24098 | 2021-02-22 10:29 | 6.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9936 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.728 | 118326.1875 | 219308.0653 | 27.3 | 43.4 | #N/A
24108 | 2021-02-22 10:30 | 7.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9967 | μmol/L | 18.9845 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.73 | 118297.6756 | 219283.5669 | 27.3 | 43.4 | #N/A
24118 | 2021-02-22 10:30 | 7.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9803 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.735 | 118281.5236 | 219263.7775 | 27.3 | 43.4 | #N/A
24128 | 2021-02-22 10:30 | 7.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9549 | μmol/L | 18.9784 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.734 | 118273.9492 | 219253.1436 | 27.3 | 43.4 | #N/A
24138 | 2021-02-22 10:31 | 8.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0058 | μmol/L | 18.9662 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.736 | 118219.6786 | 219235.4178 | 27.3 | 43.4 | #N/A
24148 | 2021-02-22 10:31 | 8.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9131 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.738 | 118208.5405 | 219218.9715 | 27.3 | 43.4 | #N/A
24158 | 2021-02-22 10:31 | 8.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.0567 | μmol/L | 18.954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.738 | 118198.2106 | 219202.982 | 27.3 | 43.4 | #N/A
24168 | 2021-02-22 10:32 | 9.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1749 | μmol/L | 18.9418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.737 | 118178.9038 | 219189.1962 | 27.3 | 43.4 | #N/A
24178 | 2021-02-22 10:32 | 9.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 260.1331 | μmol/L | 18.9357 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.741 | 118159.7174 | 219169.34 | 27.3 | 43.4 | #N/A
24188 | 2021-02-22 10:32 | 9.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.9446 | μmol/L | 18.954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.743 | 118158.1552 | 219154.3013 | 27.3 | 43.4 | #N/A
24198 | 2021-02-22 10:33 | 10.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.8011 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.743 | 118148.508 | 219141.0162 | 27.3 | 43.4 | #N/A
24208 | 2021-02-22 10:33 | 10.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.7339 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.746 | 118131.0668 | 219128.571 | 27.3 | 43.4 | #N/A
24218 | 2021-02-22 10:33 | 10.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.6667 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.749 | 118124.3093 | 219120.4859 | 27.3 | 43.4 | #N/A
24228 | 2021-02-22 10:34 | 11.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.5711 | μmol/L | 18.9845 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.749 | 118111.8619 | 219095.1145 | 27.3 | 43.4 | #N/A
24238 | 2021-02-22 10:34 | 11.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.5996 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.752 | 118104.4243 | 219096.3298 | 27.3 | 43.4 | #N/A
24248 | 2021-02-22 10:34 | 11.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.5741 | μmol/L | 18.9784 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.751 | 118102.9485 | 219079.7093 | 27.3 | 43.4 | #N/A
24258 | 2021-02-22 10:35 | 12.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.7715 | μmol/L | 18.9418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.755 | 118086.3749 | 219050.5015 | 27.3 | 43.4 | #N/A
24268 | 2021-02-22 10:35 | 12.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.6311 | μmol/L | 18.954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.757 | 118083.478 | 219033.1522 | 27.3 | 43.4 | #N/A
24278 | 2021-02-22 10:35 | 12.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4877 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.757 | 118073.3061 | 219024.3138 | 27.3 | 43.4 | #N/A
24288 | 2021-02-22 10:36 | 13.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4013 | μmol/L | 18.9662 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.763 | 118067.5306 | 219004.4618 | 27.3 | 43.4 | #N/A
24298 | 2021-02-22 10:36 | 13.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4491 | μmol/L | 18.9601 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.763 | 118050.0417 | 218988.5643 | 27.3 | 43.4 | #N/A
24308 | 2021-02-22 10:36 | 13.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4075 | μmol/L | 18.954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.767 | 118038.7213 | 218978.0375 | 27.3 | 43.4 | #N/A
24318 | 2021-02-22 10:37 | 14.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4522 | μmol/L | 18.954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.765 | 118042.7064 | 218970.5999 | 27.3 | 43.4 | #N/A
24328 | 2021-02-22 10:37 | 14.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4329 | μmol/L | 18.9479 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.768 | 118024.748 | 218957.7499 | 27.3 | 43.4 | #N/A
24338 | 2021-02-22 10:37 | 14.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2703 | μmol/L | 18.9601 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.771 | 118014.5744 | 218943.8314 | 27.3 | 43.4 | #N/A
24348 | 2021-02-22 10:38 | 15.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1556 | μmol/L | 18.9662 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.774 | 118009.1112 | 218923.8726 | 27.3 | 43.4 | #N/A
24358 | 2021-02-22 10:38 | 15.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1302 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.773 | 117999.0903 | 218912.5994 | 27.3 | 43.4 | #N/A
24368 | 2021-02-22 10:38 | 15.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1556 | μmol/L | 18.9662 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.774 | 117992.6183 | 218901.3978 | 27.3 | 43.4 | #N/A
24378 | 2021-02-22 10:39 | 16.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.305 | μmol/L | 18.9357 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.778 | 117988.6138 | 218881.1766 | 27.3 | 43.4 | #N/A
24388 | 2021-02-22 10:39 | 16.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2572 | μmol/L | 18.9418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.778 | 117989.8777 | 218872.7594 | 27.3 | 43.4 | #N/A
24398 | 2021-02-22 10:39 | 16.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3273 | μmol/L | 18.9357 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.777 | 117973.4427 | 218857.7434 | 27.3 | 43.4 | #N/A
24408 | 2021-02-22 10:40 | 17.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.4769 | μmol/L | 18.9051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.781 | 117972.1097 | 218846.274 | 27.3 | 43.4 | #N/A
24418 | 2021-02-22 10:40 | 17.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3428 | μmol/L | 18.9051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.787 | 117950.9341 | 218823.6059 | 27.3 | 43.4 | #N/A
24428 | 2021-02-22 10:40 | 17.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3875 | μmol/L | 18.9051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.785 | 117954.3294 | 218804.5392 | 27.3 | 43.4 | #N/A
24438 | 2021-02-22 10:41 | 18.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1995 | μmol/L | 18.9234 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.787 | 117933.4754 | 218805.1128 | 27.3 | 43.4 | #N/A
24448 | 2021-02-22 10:41 | 18.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2281 | μmol/L | 18.9112 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.79 | 117941.1192 | 218782.7959 | 27.3 | 43.4 | #N/A
24458 | 2021-02-22 10:41 | 18.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9956 | μmol/L | 18.9296 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.794 | 117929.3986 | 218771.3723 | 27.3 | 43.4 | #N/A
24468 | 2021-02-22 10:42 | 19.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0656 | μmol/L | 18.9234 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.793 | 117921.8112 | 218756.5435 | 27.3 | 43.4 | #N/A
24478 | 2021-02-22 10:42 | 19.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0911 | μmol/L | 18.9173 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.794 | 117920.8258 | 218743.7869 | 27.3 | 43.4 | #N/A
24488 | 2021-02-22 10:42 | 19.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0527 | μmol/L | 18.9051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.8 | 117903.2366 | 218732.5632 | 27.3 | 43.4 | #N/A
24498 | 2021-02-22 10:43 | 20.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0081 | μmol/L | 18.9051 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.802 | 117914.67 | 218722.298 | 27.3 | 43.4 | #N/A
24508 | 2021-02-22 10:43 | 20.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2406 | μmol/L | 18.8868 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.798 | 117896.1035 | 218713.3153 | 27.3 | 43.4 | #N/A
24518 | 2021-02-22 10:43 | 20.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.2468 | μmol/L | 18.8746 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.802 | 117905.5498 | 218703.7618 | 27.3 | 43.4 | #N/A
24528 | 2021-02-22 10:44 | 21.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0844 | μmol/L | 18.8868 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.805 | 117881.9222 | 218686.9912 | 27.3 | 43.4 | #N/A
24538 | 2021-02-22 10:44 | 21.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3424 | μmol/L | 18.8624 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.802 | 117883.1649 | 218667.6541 | 27.3 | 43.4 | #N/A
24548 | 2021-02-22 10:44 | 21.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3009 | μmol/L | 18.8562 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.806 | 117882.2015 | 218659.5142 | 27.3 | 43.4 | #N/A
24558 | 2021-02-22 10:45 | 22.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.046 | μmol/L | 18.8746 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.811 | 117882.6072 | 218659.966 | 27.3 | 43.4 | #N/A
24568 | 2021-02-22 10:45 | 22.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0683 | μmol/L | 18.8746 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.81 | 117862.457 | 218619.7588 | 27.3 | 43.4 | #N/A
24578 | 2021-02-22 10:45 | 22.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0206 | μmol/L | 18.8807 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.81 | 117860.0612 | 218643.4013 | 27.3 | 43.4 | #N/A
24588 | 2021-02-22 10:46 | 23.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1925 | μmol/L | 18.8501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.813 | 117855.4169 | 218624.5594 | 27.3 | 43.4 | #N/A
24598 | 2021-02-22 10:46 | 23.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.3135 | μmol/L | 18.8318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.814 | 117845.5626 | 218601.2463 | 27.3 | 43.4 | #N/A
24608 | 2021-02-22 10:46 | 23.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1064 | μmol/L | 18.844 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.819 | 117841.3571 | 218604.1501 | 27.3 | 43.4 | #N/A
24618 | 2021-02-22 10:47 | 24.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.1733 | μmol/L | 18.844 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.816 | 117821.787 | 218580.0009 | 27.3 | 43.4 | #N/A
24628 | 2021-02-22 10:47 | 24.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.151 | μmol/L | 18.844 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.817 | 117833.9395 | 218576.7905 | 27.3 | 43.4 | #N/A
24638 | 2021-02-22 10:47 | 24.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0427 | μmol/L | 18.8379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.824 | 117815.573 | 218562.4079 | 27.3 | 43.4 | #N/A
24648 | 2021-02-22 10:48 | 25.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9695 | μmol/L | 18.8501 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.823 | 117823.9367 | 218546.1723 | 27.3 | 43.4 | #N/A
24658 | 2021-02-22 10:48 | 25.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0491 | μmol/L | 18.8257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.828 | 117813.0594 | 218529.3958 | 27.3 | 43.4 | #N/A
24668 | 2021-02-22 10:48 | 25.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9759 | μmol/L | 18.8379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.827 | 117822.6792 | 218524.7134 | 27.3 | 43.4 | #N/A
24678 | 2021-02-22 10:49 | 26.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.8867 | μmol/L | 18.8379 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.831 | 117801.5874 | 218511.0096 | 27.3 | 43.4 | #N/A
24688 | 2021-02-22 10:49 | 26.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0236 | μmol/L | 18.8318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.827 | 117791.6964 | 218499.7836 | 27.3 | 43.4 | #N/A
24698 | 2021-02-22 10:49 | 26.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0268 | μmol/L | 18.8257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.829 | 117794.6546 | 218499.4538 | 27.3 | 43.4 | #N/A
24708 | 2021-02-22 10:50 | 27.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0809 | μmol/L | 18.8074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.833 | 117792.2451 | 218496.9897 | 27.3 | 43.4 | #N/A
24718 | 2021-02-22 10:50 | 27.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 259.0364 | μmol/L | 18.8074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.835 | 117802.5382 | 218478.2858 | 27.3 | 43.4 | #N/A
24728 | 2021-02-22 10:50 | 27.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9377 | μmol/L | 18.8257 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.833 | 117777.3978 | 218467.7237 | 27.3 | 43.4 | #N/A
24738 | 2021-02-22 10:51 | 28.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9027 | μmol/L | 18.8074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.841 | 117781.6415 | 218445.2993 | 27.3 | 43.4 | #N/A
24748 | 2021-02-22 10:51 | 28.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9727 | μmol/L | 18.8013 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.84 | 117776.1769 | 218439.9237 | 27.3 | 43.4 | #N/A
24758 | 2021-02-22 10:51 | 28.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.9759 | μmol/L | 18.7951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.842 | 117788.8397 | 218435.8496 | 27.3 | 43.4 | #N/A
24768 | 2021-02-22 10:52 | 29.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.7182 | μmol/L | 18.8196 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.845 | 117762.6962 | 218435.8044 | 27.3 | 43.4 | #N/A
24778 | 2021-02-22 10:52 | 29.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.6006 | μmol/L | 18.8318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.846 | 117784.6203 | 218426.296 | 27.3 | 43.4 | #N/A
24788 | 2021-02-22 10:52 | 29.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5561 | μmol/L | 18.8318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.848 | 117765.6729 | 218405.7106 | 27.3 | 43.4 | #N/A
24798 | 2021-02-22 10:53 | 30.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.7024 | μmol/L | 18.8074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.85 | 117766.6907 | 218399.1216 | 27.3 | 43.4 | #N/A
24808 | 2021-02-22 10:53 | 30.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.8201 | μmol/L | 18.7951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.849 | 117742.0932 | 218386.2943 | 27.3 | 43.4 | #N/A
24818 | 2021-02-22 10:53 | 30.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.801 | μmol/L | 18.789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.852 | 117742.8105 | 218384.878 | 27.3 | 43.4 | #N/A
24828 | 2021-02-22 10:54 | 31.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.7565 | μmol/L | 18.789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.854 | 117718.2982 | 218373.3221 | 27.3 | 43.4 | #N/A
24838 | 2021-02-22 10:54 | 31.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.6421 | μmol/L | 18.7951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.857 | 117725.8636 | 218356.1312 | 27.3 | 43.4 | #N/A
24848 | 2021-02-22 10:54 | 31.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.712 | μmol/L | 18.789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.856 | 117728.4203 | 218351.4465 | 27.3 | 43.4 | #N/A
24858 | 2021-02-22 10:55 | 32.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.712 | μmol/L | 18.789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.856 | 117719.9199 | 218342.0877 | 27.3 | 43.4 | #N/A
24868 | 2021-02-22 10:55 | 32.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.7375 | μmol/L | 18.7829 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.857 | 117697.9539 | 218329.3322 | 27.3 | 43.4 | #N/A
24878 | 2021-02-22 10:55 | 32.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4897 | μmol/L | 18.789 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.866 | 117713.7334 | 218315.7049 | 27.3 | 43.4 | #N/A
24888 | 2021-02-22 10:56 | 33.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.6073 | μmol/L | 18.7768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.865 | 117705.0257 | 218298.9422 | 27.3 | 43.4 | #N/A
24898 | 2021-02-22 10:56 | 33.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5628 | μmol/L | 18.7768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.867 | 117709.8792 | 218297.6562 | 27.3 | 43.4 | #N/A
24908 | 2021-02-22 10:56 | 33.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5184 | μmol/L | 18.7768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.869 | 117699.508 | 218278.1246 | 27.3 | 43.4 | #N/A
24918 | 2021-02-22 10:57 | 34.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5374 | μmol/L | 18.7829 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.866 | 117695.0162 | 218270.4153 | 27.3 | 43.4 | #N/A
24928 | 2021-02-22 10:57 | 34.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4517 | μmol/L | 18.7768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.872 | 117689.4757 | 218258.5595 | 27.3 | 43.4 | #N/A
24938 | 2021-02-22 10:57 | 34.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4994 | μmol/L | 18.7707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.872 | 117688.1787 | 218241.3189 | 27.3 | 43.4 | #N/A
24948 | 2021-02-22 10:58 | 35.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4327 | μmol/L | 18.7707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.875 | 117683.0073 | 218229.8271 | 27.3 | 43.4 | #N/A
24958 | 2021-02-22 10:58 | 35.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5249 | μmol/L | 18.7646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.873 | 117675.8034 | 218218.5737 | 27.3 | 43.4 | #N/A
24968 | 2021-02-22 10:58 | 35.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4804 | μmol/L | 18.7646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.875 | 117682.9947 | 218216.9981 | 27.3 | 43.4 | #N/A
24978 | 2021-02-22 10:59 | 36.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4393 | μmol/L | 18.7585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.879 | 117682.5807 | 218203.1646 | 27.3 | 43.4 | #N/A
24988 | 2021-02-22 10:59 | 36.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4425 | μmol/L | 18.7524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.881 | 117664.5204 | 218184.2026 | 27.3 | 43.4 | #N/A
24998 | 2021-02-22 10:59 | 36.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.5124 | μmol/L | 18.7463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.88 | 117670.2568 | 218178.5477 | 27.3 | 43.4 | #N/A
25008 | 2021-02-22 11:00 | 37.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4713 | μmol/L | 18.7402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.884 | 117672.4964 | 218167.1041 | 27.3 | 43.4 | #N/A
25018 | 2021-02-22 11:00 | 37.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.338 | μmol/L | 18.7402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.89 | 117668.9735 | 218150.6763 | 27.3 | 43.4 | #N/A
25028 | 2021-02-22 11:00 | 37.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.4523 | μmol/L | 18.7341 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.887 | 117671.5761 | 218151.8932 | 27.3 | 43.4 | #N/A
25038 | 2021-02-22 11:01 | 38.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2937 | μmol/L | 18.7402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.892 | 117675.6064 | 218158.2989 | 27.3 | 43.4 | #N/A
25048 | 2021-02-22 11:01 | 38.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2016 | μmol/L | 18.7463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.894 | 117659.7554 | 218146.1344 | 27.3 | 43.4 | #N/A
25058 | 2021-02-22 11:01 | 38.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.1794 | μmol/L | 18.7463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.895 | 117665.9857 | 218132.5973 | 27.3 | 43.4 | #N/A
25068 | 2021-02-22 11:02 | 39.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2049 | μmol/L | 18.7402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.896 | 117671.5633 | 218134.24 | 27.3 | 43.4 | #N/A
25078 | 2021-02-22 11:02 | 39.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3224 | μmol/L | 18.7279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.895 | 117661.7562 | 218110.4177 | 27.3 | 43.4 | #N/A
25088 | 2021-02-22 11:02 | 39.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3068 | μmol/L | 18.7157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.9 | 117660.273 | 218111.8655 | 27.3 | 43.4 | #N/A
25098 | 2021-02-22 11:03 | 40.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3134 | μmol/L | 18.7035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.904 | 117680.9868 | 218113.0307 | 27.3 | 43.4 | #N/A
25108 | 2021-02-22 11:03 | 40.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3356 | μmol/L | 18.7035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.903 | 117668.1154 | 218099.7363 | 27.3 | 43.4 | #N/A
25118 | 2021-02-22 11:03 | 40.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.1482 | μmol/L | 18.7218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.905 | 117662.865 | 218092.1266 | 27.3 | 43.4 | #N/A
25128 | 2021-02-22 11:04 | 41.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2879 | μmol/L | 18.7096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.903 | 117660.6063 | 218087.245 | 27.3 | 43.4 | #N/A
25138 | 2021-02-22 11:04 | 41.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.3833 | μmol/L | 18.6974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.903 | 117665.5177 | 218068.6683 | 27.3 | 43.4 | #N/A
25148 | 2021-02-22 11:04 | 41.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.1105 | μmol/L | 18.7096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.911 | 117664.6969 | 218073.7184 | 27.3 | 43.4 | #N/A
25158 | 2021-02-22 11:05 | 42.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.0152 | μmol/L | 18.7218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.911 | 117662.828 | 218067.9252 | 27.3 | 43.4 | #N/A
25168 | 2021-02-22 11:05 | 42.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.228 | μmol/L | 18.6974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.91 | 117659.9895 | 218045.8092 | 27.3 | 43.4 | #N/A
25178 | 2021-02-22 11:05 | 42.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.2535 | μmol/L | 18.6913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.911 | 117651.992 | 218043.7686 | 27.3 | 43.4 | #N/A
25188 | 2021-02-22 11:06 | 43.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9521 | μmol/L | 18.7157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.916 | 117653.6502 | 218039.6922 | 27.3 | 43.4 | #N/A
25198 | 2021-02-22 11:06 | 43.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9521 | μmol/L | 18.7157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.916 | 117647.2966 | 218034.4002 | 27.3 | 43.4 | #N/A
25208 | 2021-02-22 11:06 | 43.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9521 | μmol/L | 18.7157 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.916 | 117651.6287 | 218023.1709 | 27.3 | 43.4 | #N/A
25218 | 2021-02-22 11:07 | 44.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8668 | μmol/L | 18.7096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.922 | 117642.9951 | 218014.7692 | 27.3 | 43.4 | #N/A
25228 | 2021-02-22 11:07 | 44.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 258.0097 | μmol/L | 18.6913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.922 | 117649.1947 | 217996.9702 | 27.3 | 43.4 | #N/A
25238 | 2021-02-22 11:07 | 44.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9908 | μmol/L | 18.6852 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.925 | 117645.3069 | 217997.1899 | 27.3 | 43.4 | #N/A
25248 | 2021-02-22 11:08 | 45.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9432 | μmol/L | 18.6913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.925 | 117650.2401 | 217989.752 | 27.3 | 43.4 | #N/A
25258 | 2021-02-22 11:08 | 45.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.9465 | μmol/L | 18.6852 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 117644.5427 | 217974.7918 | 27.3 | 43.4 | #N/A
25268 | 2021-02-22 11:08 | 45.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.8513 | μmol/L | 18.6974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.927 | 117643.7192 | 217970.8597 | 27.3 | 43.4 | #N/A
25278 | 2021-02-22 11:09 | 46.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6455 | μmol/L | 18.7096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.932 | 117636.9872 | 217965.8607 | 27.3 | 43.4 | #N/A
25288 | 2021-02-22 11:09 | 46.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7407 | μmol/L | 18.6974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.932 | 117651.7095 | 217951.3489 | 27.3 | 43.4 | #N/A
25298 | 2021-02-22 11:09 | 46.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5825 | μmol/L | 18.7035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.937 | 117648.3136 | 217958.522 | 27.3 | 43.4 | #N/A
25308 | 2021-02-22 11:10 | 47.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.608 | μmol/L | 18.6974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.938 | 117648.0648 | 217948.2578 | 27.3 | 43.4 | #N/A
25318 | 2021-02-22 11:10 | 47.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7031 | μmol/L | 18.6852 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.938 | 117656.4124 | 217947.6944 | 27.3 | 43.4 | #N/A
25328 | 2021-02-22 11:10 | 47.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5671 | μmol/L | 18.6913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.942 | 117661.8282 | 217939.5912 | 27.3 | 43.4 | #N/A
25338 | 2021-02-22 11:11 | 48.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6434 | μmol/L | 18.673 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.945 | 117669.9796 | 217933.2311 | 27.3 | 43.4 | #N/A
25348 | 2021-02-22 11:11 | 48.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6468 | μmol/L | 18.6669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.947 | 117667.6299 | 217930.5701 | 27.3 | 43.4 | #N/A
25358 | 2021-02-22 11:11 | 48.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7641 | μmol/L | 18.6546 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.946 | 117667.4634 | 217923.9591 | 27.3 | 43.4 | #N/A
25368 | 2021-02-22 11:12 | 49.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.7232 | μmol/L | 18.6485 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.95 | 117686.2509 | 217908.2508 | 27.3 | 43.4 | #N/A
25378 | 2021-02-22 11:12 | 49.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5719 | μmol/L | 18.6424 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.959 | 117681.4182 | 217905.3468 | 27.3 | 43.4 | #N/A
25388 | 2021-02-22 11:12 | 49.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6415 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.958 | 117688.1684 | 217906.0608 | 27.3 | 43.4 | #N/A
25398 | 2021-02-22 11:13 | 50.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6637 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.957 | 117684.6524 | 217892.9254 | 27.3 | 43.4 | #N/A
25408 | 2021-02-22 11:13 | 50.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.6415 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.958 | 117699.0195 | 217886.4932 | 27.3 | 43.4 | #N/A
25418 | 2021-02-22 11:13 | 50.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4427 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.967 | 117699.0823 | 217878.9929 | 27.3 | 43.4 | #N/A
25428 | 2021-02-22 11:14 | 51.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4427 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.967 | 117708.7187 | 217878.1435 | 27.3 | 43.4 | #N/A
25438 | 2021-02-22 11:14 | 51.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4495 | μmol/L | 18.6241 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.971 | 117706.0727 | 217875.3524 | 27.3 | 43.4 | #N/A
25448 | 2021-02-22 11:14 | 51.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5124 | μmol/L | 18.6302 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.966 | 117700.08 | 217859.1957 | 27.3 | 43.4 | #N/A
25458 | 2021-02-22 11:15 | 52.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.402 | μmol/L | 18.6302 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.971 | 117713.61 | 217854.0556 | 27.3 | 43.4 | #N/A
25468 | 2021-02-22 11:15 | 52.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5736 | μmol/L | 18.5997 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.974 | 117723.8863 | 217854.4039 | 27.3 | 43.4 | #N/A
25478 | 2021-02-22 11:15 | 52.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.5736 | μmol/L | 18.5997 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.974 | 117726.067 | 217843.1893 | 27.3 | 43.4 | #N/A
25488 | 2021-02-22 11:16 | 53.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.4376 | μmol/L | 18.6058 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117727.7453 | 217840.2386 | 27.3 | 43.4 | #N/A
25498 | 2021-02-22 11:16 | 53.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.2984 | μmol/L | 18.618 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117738.0367 | 217838.2004 | 27.3 | 43.4 | #N/A
25508 | 2021-02-22 11:16 | 53.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.1406 | μmol/L | 18.6241 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.985 | 117730.1939 | 217828.9686 | 27.3 | 43.4 | #N/A
25518 | 2021-02-22 11:17 | 54.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.2034 | μmol/L | 18.6302 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117732.9977 | 217827.6869 | 27.3 | 43.4 | #N/A
25528 | 2021-02-22 11:17 | 54.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.0897 | μmol/L | 18.6363 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117728.6244 | 217818.5915 | 27.3 | 43.4 | #N/A
25538 | 2021-02-22 11:17 | 54.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 257.0168 | μmol/L | 18.6485 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117726.7612 | 217817.9633 | 27.3 | 43.4 | #N/A
25548 | 2021-02-22 11:18 | 55.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8084 | μmol/L | 18.6669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.985 | 117729.8758 | 217802.0078 | 27.3 | 43.4 | #N/A
25558 | 2021-02-22 11:18 | 55.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.8524 | μmol/L | 18.6669 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117730.2633 | 217791.2853 | 27.3 | 43.4 | #N/A
25568 | 2021-02-22 11:18 | 55.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5782 | μmol/L | 18.6852 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117730.4455 | 217796.552 | 27.3 | 43.4 | #N/A
25578 | 2021-02-22 11:19 | 56.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.5782 | μmol/L | 18.6852 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.989 | 117715.5329 | 217785.5471 | 27.3 | 43.4 | #N/A
25588 | 2021-02-22 11:19 | 56.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.4868 | μmol/L | 18.6913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.991 | 117713.7266 | 217782.903 | 27.3 | 43.4 | #N/A
25598 | 2021-02-22 11:19 | 56.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.3228 | μmol/L | 18.7096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.992 | 117725.6772 | 217778.8009 | 27.3 | 43.4 | #N/A
25608 | 2021-02-22 11:20 | 57.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.2063 | μmol/L | 18.7218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.993 | 117720.5441 | 217764.0993 | 27.3 | 43.4 | #N/A
25618 | 2021-02-22 11:20 | 57.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.1337 | μmol/L | 18.7341 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.992 | 117708.8062 | 217762.2731 | 27.3 | 43.4 | #N/A
25628 | 2021-02-22 11:20 | 57.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 256.0206 | μmol/L | 18.7402 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.995 | 117724.5876 | 217749.8464 | 27.3 | 43.4 | #N/A
25638 | 2021-02-22 11:21 | 58.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7945 | μmol/L | 18.7524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.001 | 117742.2087 | 217738.3835 | 27.3 | 43.4 | #N/A
25648 | 2021-02-22 11:21 | 58.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.7625 | μmol/L | 18.7707 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.996 | 117740.3712 | 217723.4179 | 27.3 | 43.4 | #N/A
25658 | 2021-02-22 11:21 | 58.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.6277 | μmol/L | 18.7768 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22 | 117732.3929 | 217717.5279 | 27.3 | 43.4 | #N/A
25668 | 2021-02-22 11:22 | 59.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.4206 | μmol/L | 18.7951 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.003 | 117737.8968 | 217708.7669 | 27.3 | 43.4 | #N/A
25678 | 2021-02-22 11:22 | 59.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.5015 | μmol/L | 18.8074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.995 | 117730.2136 | 217695.3892 | 27.3 | 43.4 | #N/A
25688 | 2021-02-22 11:22 | 59.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.2694 | μmol/L | 18.8318 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117721.9821 | 217699.2114 | 27.3 | 43.4 | #N/A
25698 | 2021-02-22 11:23 | 60.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.1753 | μmol/L | 18.844 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.997 | 117720.9657 | 217684.7012 | 27.3 | 43.4 | #N/A
25708 | 2021-02-22 11:23 | 60.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 255.0123 | μmol/L | 18.8624 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.998 | 117712.0606 | 217684.0959 | 27.3 | 43.4 | #N/A
25718 | 2021-02-22 11:23 | 60.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.8495 | μmol/L | 18.8807 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.999 | 117702.2718 | 217678.7154 | 27.3 | 43.4 | #N/A
25728 | 2021-02-22 11:24 | 61.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.7556 | μmol/L | 18.8929 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.999 | 117693.9841 | 217669.0832 | 27.3 | 43.4 | #N/A
25738 | 2021-02-22 11:24 | 61.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.7457 | μmol/L | 18.9112 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.993 | 117686.3618 | 217669.0042 | 27.3 | 43.4 | #N/A
25748 | 2021-02-22 11:24 | 61.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.5831 | μmol/L | 18.9296 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.994 | 117683.557 | 217670.7849 | 27.3 | 43.4 | #N/A
25758 | 2021-02-22 11:25 | 62.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.533 | μmol/L | 18.9418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.992 | 117673.174 | 217658.6203 | 27.3 | 43.4 | #N/A
25768 | 2021-02-22 11:25 | 62.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.4142 | μmol/L | 18.9601 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.991 | 117664.6934 | 217649.7482 | 27.3 | 43.4 | #N/A
25778 | 2021-02-22 11:25 | 62.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.4077 | μmol/L | 18.9723 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.987 | 117655.0441 | 217647.4182 | 27.3 | 43.4 | #N/A
25788 | 2021-02-22 11:26 | 63.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2672 | μmol/L | 18.9907 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.987 | 117640.1335 | 217637.101 | 27.3 | 43.4 | #N/A
25798 | 2021-02-22 11:26 | 63.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.1986 | μmol/L | 18.9968 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.988 | 117638.2896 | 217651.8082 | 27.3 | 43.4 | #N/A
25808 | 2021-02-22 11:26 | 63.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.2358 | μmol/L | 19.009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117623.8875 | 217641.8831 | 27.3 | 43.4 | #N/A
25818 | 2021-02-22 11:27 | 64.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 254.0115 | μmol/L | 19.0212 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.988 | 117620.8583 | 217632.8384 | 27.3 | 43.4 | #N/A
25828 | 2021-02-22 11:27 | 64.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.918 | μmol/L | 19.0334 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.988 | 117607.6257 | 217622.689 | 27.3 | 43.4 | #N/A
25838 | 2021-02-22 11:27 | 64.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.9116 | μmol/L | 19.0456 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.984 | 117626.1779 | 217627.5648 | 27.3 | 43.4 | #N/A
25848 | 2021-02-22 11:28 | 65.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.8367 | μmol/L | 19.064 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117606.5413 | 217620.5809 | 27.3 | 43.4 | #N/A
25858 | 2021-02-22 11:28 | 65.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7247 | μmol/L | 19.0701 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.984 | 117612.6615 | 217616.5157 | 27.3 | 43.4 | #N/A
25868 | 2021-02-22 11:28 | 65.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.7216 | μmol/L | 19.0762 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117598.4892 | 217616.3804 | 27.3 | 43.4 | #N/A
25878 | 2021-02-22 11:29 | 66.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.5816 | μmol/L | 19.0945 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117599.9345 | 217611.4299 | 27.3 | 43.4 | #N/A
25888 | 2021-02-22 11:29 | 66.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4665 | μmol/L | 19.1067 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117593.5973 | 217601.5011 | 27.3 | 43.4 | #N/A
25898 | 2021-02-22 11:29 | 66.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4416 | μmol/L | 19.1129 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117589.5573 | 217599.1214 | 27.3 | 43.4 | #N/A
25908 | 2021-02-22 11:30 | 67.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.4168 | μmol/L | 19.119 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117582.569 | 217590.3408 | 27.3 | 43.4 | #N/A
25918 | 2021-02-22 11:30 | 67.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.3204 | μmol/L | 19.1373 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117589.417 | 217586.2091 | 27.3 | 43.4 | #N/A
25928 | 2021-02-22 11:30 | 67.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.2024 | μmol/L | 19.1556 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117574.016 | 217588.4798 | 27.3 | 43.4 | #N/A
25938 | 2021-02-22 11:31 | 68.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.0659 | μmol/L | 19.1678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117569.5876 | 217584.077 | 27.3 | 43.4 | #N/A
25948 | 2021-02-22 11:31 | 68.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.1962 | μmol/L | 19.1678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.974 | 117565.4754 | 217577.4797 | 27.3 | 43.4 | #N/A
25958 | 2021-02-22 11:31 | 68.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 253.038 | μmol/L | 19.1801 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117557.3219 | 217582.2798 | 27.3 | 43.4 | #N/A
25968 | 2021-02-22 11:32 | 69.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.9449 | μmol/L | 19.1923 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117563.4107 | 217576.3199 | 27.3 | 43.4 | #N/A
25978 | 2021-02-22 11:32 | 69.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.7219 | μmol/L | 19.2045 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117575.604 | 217588.6718 | 27.3 | 43.4 | #N/A
25988 | 2021-02-22 11:32 | 69.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.8303 | μmol/L | 19.2045 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117576.9532 | 217582.1083 | 27.3 | 43.4 | #N/A
25998 | 2021-02-22 11:33 | 70.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6723 | μmol/L | 19.2167 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117564.7949 | 217575.2969 | 27.3 | 43.4 | #N/A
26008 | 2021-02-22 11:33 | 70.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6476 | μmol/L | 19.2228 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117566.4822 | 217567.4093 | 27.3 | 43.4 | #N/A
26018 | 2021-02-22 11:33 | 70.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5826 | μmol/L | 19.2228 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.983 | 117554.1211 | 217549.7199 | 27.3 | 43.4 | #N/A
26028 | 2021-02-22 11:34 | 71.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.6012 | μmol/L | 19.2289 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117572.6839 | 217563.0249 | 27.3 | 43.4 | #N/A
26038 | 2021-02-22 11:34 | 71.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.5083 | μmol/L | 19.2412 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117557.9108 | 217554.6635 | 27.3 | 43.4 | #N/A
26048 | 2021-02-22 11:34 | 71.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.4186 | μmol/L | 19.2473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117562.5329 | 217555.1506 | 27.3 | 43.4 | #N/A
26058 | 2021-02-22 11:35 | 72.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3475 | μmol/L | 19.2595 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117558.1845 | 217541.9147 | 27.3 | 43.4 | #N/A
26068 | 2021-02-22 11:35 | 72.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3661 | μmol/L | 19.2656 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117547.1362 | 217550.1663 | 27.3 | 43.4 | #N/A
26078 | 2021-02-22 11:35 | 72.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.3197 | μmol/L | 19.2717 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117554.3895 | 217535.6483 | 27.3 | 43.4 | #N/A
26088 | 2021-02-22 11:36 | 73.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2085 | μmol/L | 19.2778 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117544.1092 | 217535.899 | 27.3 | 43.4 | #N/A
26098 | 2021-02-22 11:36 | 73.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2703 | μmol/L | 19.2839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117544.2442 | 217531.9676 | 27.3 | 43.4 | #N/A
26108 | 2021-02-22 11:36 | 73.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.2487 | μmol/L | 19.2839 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117528.0342 | 217529.98 | 27.3 | 43.4 | #N/A
26118 | 2021-02-22 11:37 | 74.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.0449 | μmol/L | 19.3023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117534.9319 | 217520.7916 | 27.3 | 43.4 | #N/A
26128 | 2021-02-22 11:37 | 74.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 252.1097 | μmol/L | 19.3023 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117516.6123 | 217524.7015 | 27.3 | 43.4 | #N/A
26138 | 2021-02-22 11:37 | 74.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.9277 | μmol/L | 19.3206 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117536.201 | 217510.3513 | 27.3 | 43.4 | #N/A
26148 | 2021-02-22 11:38 | 75.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.9955 | μmol/L | 19.3145 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117519.3765 | 217513.5152 | 27.3 | 43.4 | #N/A
26158 | 2021-02-22 11:38 | 75.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.9277 | μmol/L | 19.3206 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117506.0409 | 217506.0761 | 27.3 | 43.4 | #N/A
26168 | 2021-02-22 11:38 | 75.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.9462 | μmol/L | 19.3267 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117504.3983 | 217506.7962 | 27.3 | 43.4 | #N/A
26178 | 2021-02-22 11:39 | 76.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.9678 | μmol/L | 19.3267 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.975 | 117514.8548 | 217499.5942 | 27.3 | 43.4 | #N/A
26188 | 2021-02-22 11:39 | 76.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.8321 | μmol/L | 19.3389 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.977 | 117515.1467 | 217499.1892 | 27.3 | 43.4 | #N/A
26198 | 2021-02-22 11:39 | 76.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.8507 | μmol/L | 19.345 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.974 | 117497.647 | 217499.3767 | 27.3 | 43.4 | #N/A
26208 | 2021-02-22 11:40 | 77.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.7643 | μmol/L | 19.345 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.978 | 117517.2418 | 217483.428 | 27.3 | 43.4 | #N/A
26218 | 2021-02-22 11:40 | 77.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.6317 | μmol/L | 19.3512 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117500.2015 | 217474.2815 | 27.3 | 43.4 | #N/A
26228 | 2021-02-22 11:40 | 77.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.6503 | μmol/L | 19.3573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117505.9341 | 217477.2477 | 27.3 | 43.4 | #N/A
26238 | 2021-02-22 11:41 | 78.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.715 | μmol/L | 19.3573 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.976 | 117496.781 | 217479.4167 | 27.3 | 43.4 | #N/A
26248 | 2021-02-22 11:41 | 78.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.5825 | μmol/L | 19.3634 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.98 | 117507.5631 | 217464.7919 | 27.3 | 43.4 | #N/A
26258 | 2021-02-22 11:41 | 78.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.45 | μmol/L | 19.3695 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.984 | 117485.8971 | 217466.368 | 27.3 | 43.4 | #N/A
26268 | 2021-02-22 11:42 | 79.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4686 | μmol/L | 19.3756 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.981 | 117498.493 | 217461.5832 | 27.3 | 43.4 | #N/A
26278 | 2021-02-22 11:42 | 79.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.595 | μmol/L | 19.3817 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.973 | 117484.1171 | 217461.5029 | 27.3 | 43.4 | #N/A
26288 | 2021-02-22 11:42 | 79.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4194 | μmol/L | 19.3878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117504.4965 | 217448.3657 | 27.3 | 43.4 | #N/A
26298 | 2021-02-22 11:43 | 80.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.4194 | μmol/L | 19.3878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.979 | 117509.457 | 217449.5406 | 27.3 | 43.4 | #N/A
26308 | 2021-02-22 11:43 | 80.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 251.3547 | μmol/L | 19.3878 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 21.982 | 117498.8002 | 217459.1553 | 27.3 | 43.4 | #N/A