## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26321 | 2021-02-22 12:43 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4509 | μmol/L | 19.2289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.412 | 119890.0743 | 217353.4241 | 27.3 | 43.4
26331 | 2021-02-22 12:43 | 0.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4682 | μmol/L | 19.2351 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.409 | 119912.4257 | 217360.0794 | 27.3 | 43.4
26341 | 2021-02-22 12:44 | 0.66061 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4543 | μmol/L | 19.2228 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.414 | 119896.9774 | 217351.7411 | 27.3 | 43.4
26351 | 2021-02-22 12:44 | 0.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.3268 | μmol/L | 19.2289 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.418 | 119904.7696 | 217358.4614 | 27.3 | 43.4
26361 | 2021-02-22 12:44 | 1.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4611 | μmol/L | 19.2106 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.418 | 119905.8095 | 217351.1456 | 27.3 | 43.4
26371 | 2021-02-22 12:45 | 1.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4024 | μmol/L | 19.2045 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.423 | 119910.2331 | 217348.2662 | 27.3 | 43.4
26381 | 2021-02-22 12:45 | 1.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.5195 | μmol/L | 19.1801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.426 | 119916.725 | 217341.2749 | 27.3 | 43.4
26391 | 2021-02-22 12:45 | 2.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.5952 | μmol/L | 19.1556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.431 | 119921.4875 | 217349.0599 | 27.3 | 43.4
26401 | 2021-02-22 12:46 | 2.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.4195 | μmol/L | 19.174 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.433 | 119926.4355 | 217332.0698 | 27.3 | 43.4
26411 | 2021-02-22 12:46 | 2.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.3954 | μmol/L | 19.1801 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.432 | 119934.1493 | 217332.9599 | 27.3 | 43.4
26421 | 2021-02-22 12:46 | 3.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1648 | μmol/L | 19.1862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.441 | 119937.4497 | 217335.2267 | 27.3 | 43.4
26431 | 2021-02-22 12:47 | 3.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1923 | μmol/L | 19.174 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.444 | 119956.194 | 217319.8592 | 27.3 | 43.4
26441 | 2021-02-22 12:47 | 3.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.1235 | μmol/L | 19.1862 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.443 | 119962.9906 | 217314.5662 | 27.3 | 43.4
26451 | 2021-02-22 12:47 | 4.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.955 | μmol/L | 19.1923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.449 | 119982.124 | 217332.5862 | 27.3 | 43.4
26461 | 2021-02-22 12:48 | 4.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.766 | μmol/L | 19.1984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.456 | 119994.9085 | 217306.8925 | 27.3 | 43.4
26471 | 2021-02-22 12:48 | 4.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.8072 | μmol/L | 19.1984 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.454 | 119997.7465 | 217303.3102 | 27.3 | 43.4
26481 | 2021-02-22 12:48 | 5.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7694 | μmol/L | 19.1923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.458 | 119992.3634 | 217313.1691 | 27.3 | 43.4
26491 | 2021-02-22 12:49 | 5.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.4674 | μmol/L | 19.2167 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.464 | 120005.6545 | 217306.6259 | 27.3 | 43.4
26501 | 2021-02-22 12:49 | 5.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.687 | μmol/L | 19.1923 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.462 | 120022.5086 | 217300.4952 | 27.3 | 43.4
26511 | 2021-02-22 12:49 | 6.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6767 | μmol/L | 19.174 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.469 | 120037.343 | 217307.3759 | 27.3 | 43.4
26521 | 2021-02-22 12:50 | 6.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7042 | μmol/L | 19.1617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.472 | 120047.6799 | 217285.7714 | 27.3 | 43.4
26531 | 2021-02-22 12:50 | 6.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.6219 | μmol/L | 19.1617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.476 | 120068.0365 | 217307.2206 | 27.3 | 43.4
26541 | 2021-02-22 12:50 | 7.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.7042 | μmol/L | 19.1617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.472 | 120066.4488 | 217294.2506 | 27.3 | 43.4
26551 | 2021-02-22 12:51 | 7.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 243.0068 | μmol/L | 19.1006 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.479 | 120083.808 | 217297.9568 | 27.3 | 43.4
26561 | 2021-02-22 12:51 | 7.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.5671 | μmol/L | 19.1495 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.483 | 120099.692 | 217302.5795 | 27.3 | 43.4
26571 | 2021-02-22 12:51 | 8.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.399 | μmol/L | 19.1556 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.489 | 120115.1751 | 217307.9501 | 27.3 | 43.4
26581 | 2021-02-22 12:52 | 8.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.3099 | μmol/L | 19.1678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.489 | 120124.0197 | 217296.276 | 27.3 | 43.4
26591 | 2021-02-22 12:52 | 8.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.2688 | μmol/L | 19.1678 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.491 | 120128.4427 | 217298.1342 | 27.3 | 43.4
26601 | 2021-02-22 12:52 | 9.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1846 | μmol/L | 19.1617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.497 | 120154.3805 | 217288.7592 | 27.3 | 43.4
26611 | 2021-02-22 12:53 | 9.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1284 | μmol/L | 19.1617 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.5 | 120168.4085 | 217292.3001 | 27.3 | 43.4
26621 | 2021-02-22 12:53 | 9.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1539 | μmol/L | 19.1434 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.505 | 120184.9098 | 217291.1846 | 27.3 | 43.4
26631 | 2021-02-22 12:53 | 10.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1094 | μmol/L | 19.1495 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.505 | 120194.3614 | 217294.0591 | 27.3 | 43.4
26641 | 2021-02-22 12:54 | 10.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0993 | μmol/L | 19.1312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.512 | 120216.3277 | 217285.7216 | 27.3 | 43.4
26651 | 2021-02-22 12:54 | 10.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0788 | μmol/L | 19.1312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.513 | 120216.8267 | 217292.2285 | 27.3 | 43.4
26661 | 2021-02-22 12:54 | 11.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0788 | μmol/L | 19.1312 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.513 | 120224.0139 | 217282.1907 | 27.3 | 43.4
26671 | 2021-02-22 12:55 | 11.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.0413 | μmol/L | 19.1251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.517 | 120242.0958 | 217283.9493 | 27.3 | 43.4
26681 | 2021-02-22 12:55 | 11.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 242.1063 | μmol/L | 19.119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.516 | 120252.4802 | 217285.8676 | 27.3 | 43.4
26691 | 2021-02-22 12:55 | 12.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.9217 | μmol/L | 19.119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.525 | 120274.3948 | 217274.6721 | 27.3 | 43.4
26701 | 2021-02-22 12:56 | 12.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.8772 | μmol/L | 19.1251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.525 | 120285.9295 | 217279.0359 | 27.3 | 43.4
26711 | 2021-02-22 12:56 | 12.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.8192 | μmol/L | 19.119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.53 | 120303.9481 | 217267.4378 | 27.3 | 43.4
26721 | 2021-02-22 12:56 | 13.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.7577 | μmol/L | 19.119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.533 | 120318.5343 | 217273.1532 | 27.3 | 43.4
26731 | 2021-02-22 12:57 | 13.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.6793 | μmol/L | 19.1129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.539 | 120333.7434 | 217256.8423 | 27.3 | 43.4
26741 | 2021-02-22 12:57 | 13.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.5974 | μmol/L | 19.1129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.543 | 120355.0497 | 217265.0227 | 27.3 | 43.4
26751 | 2021-02-22 12:57 | 14.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.5325 | μmol/L | 19.119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.544 | 120371.7074 | 217266.4768 | 27.3 | 43.4
26761 | 2021-02-22 12:58 | 14.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4542 | μmol/L | 19.1129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.55 | 120385.6702 | 217270.154 | 27.3 | 43.4
26771 | 2021-02-22 12:58 | 14.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4817 | μmol/L | 19.1006 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.553 | 120399.7826 | 217265.2269 | 27.3 | 43.4
26781 | 2021-02-22 12:58 | 15.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.335 | μmol/L | 19.1067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.558 | 120417.3518 | 217260.6459 | 27.3 | 43.4
26791 | 2021-02-22 12:59 | 15.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.4034 | μmol/L | 19.0945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.559 | 120443.3651 | 217254.9977 | 27.3 | 43.4
26801 | 2021-02-22 12:59 | 15.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.2843 | μmol/L | 19.0884 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.567 | 120463.0932 | 217253.0576 | 27.3 | 43.4
26811 | 2021-02-22 12:59 | 16.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.1751 | μmol/L | 19.1006 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.568 | 120490.3792 | 217255.7243 | 27.3 | 43.4
26821 | 2021-02-22 13:00 | 16.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0491 | μmol/L | 19.1067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.572 | 120493.8091 | 217256.7197 | 27.3 | 43.4
26831 | 2021-02-22 13:00 | 16.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.0286 | μmol/L | 19.1067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.573 | 120508.7589 | 217256.1135 | 27.3 | 43.4
26841 | 2021-02-22 13:00 | 17.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.2408 | μmol/L | 19.0579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.58 | 120539.3917 | 217261.7079 | 27.3 | 43.4
26851 | 2021-02-22 13:01 | 17.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.1796 | μmol/L | 19.0579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.583 | 120557.9684 | 217250.7484 | 27.3 | 43.4
26861 | 2021-02-22 13:01 | 17.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 241.1148 | μmol/L | 19.064 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.584 | 120567.7089 | 217255.0907 | 27.3 | 43.4
26871 | 2021-02-22 13:01 | 18.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.939 | μmol/L | 19.0762 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.588 | 120577.6094 | 217244.9548 | 27.3 | 43.4
26881 | 2021-02-22 13:02 | 18.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.9072 | μmol/L | 19.0701 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.592 | 120602.6983 | 217255.3392 | 27.3 | 43.4
26891 | 2021-02-22 13:02 | 18.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.9293 | μmol/L | 19.0579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.595 | 120611.4477 | 217252.1553 | 27.3 | 43.4
26901 | 2021-02-22 13:02 | 19.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.783 | μmol/L | 19.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.6 | 120622.3635 | 217248.4576 | 27.3 | 43.4
26911 | 2021-02-22 13:03 | 19.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.7866 | μmol/L | 19.0579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.602 | 120636.9266 | 217251.3751 | 27.3 | 43.4
26921 | 2021-02-22 13:03 | 19.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.6219 | μmol/L | 19.0701 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.606 | 120653.7763 | 217248.7129 | 27.3 | 43.4
26931 | 2021-02-22 13:03 | 20.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.5758 | μmol/L | 19.0701 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.608 | 120673.9286 | 217251.0505 | 27.3 | 43.4
26941 | 2021-02-22 13:04 | 20.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.583 | μmol/L | 19.0579 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.612 | 120682.1289 | 217254.2389 | 27.3 | 43.4
26951 | 2021-02-22 13:04 | 20.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.498 | μmol/L | 19.064 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.614 | 120698.4154 | 217251.002 | 27.3 | 43.4
26961 | 2021-02-22 13:04 | 21.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4866 | μmol/L | 19.0579 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.617 | 120703.6163 | 217249.0913 | 27.3 | 43.4
26971 | 2021-02-22 13:05 | 21.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4884 | μmol/L | 19.0456 | °C | 1002 | hPa | Humid | 28 | 0 | 0 | 22.621 | 120722.255 | 217243.8469 | 27.3 | 43.4
26981 | 2021-02-22 13:05 | 21.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.4531 | μmol/L | 19.0456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.623 | 120732.9983 | 217237.9997 | 27.3 | 43.4
26991 | 2021-02-22 13:05 | 22.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3718 | μmol/L | 19.0456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.627 | 120747.7231 | 217237.8114 | 27.3 | 43.4
27001 | 2021-02-22 13:06 | 22.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.2869 | μmol/L | 19.0518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.629 | 120766.5062 | 217236.3538 | 27.3 | 43.4
27011 | 2021-02-22 13:06 | 22.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.2295 | μmol/L | 19.0456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.634 | 120779.6253 | 217229.2998 | 27.3 | 43.4
27021 | 2021-02-22 13:06 | 23.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3384 | μmol/L | 19.0334 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.633 | 120785.2814 | 217226.3281 | 27.3 | 43.4
27031 | 2021-02-22 13:07 | 23.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3013 | μmol/L | 19.0273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.637 | 120799.8529 | 217226.4066 | 27.3 | 43.4
27041 | 2021-02-22 13:07 | 23.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3695 | μmol/L | 19.0151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.638 | 120809.2496 | 217233.8564 | 27.3 | 43.4
27051 | 2021-02-22 13:07 | 24.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.3971 | μmol/L | 19.0029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.641 | 120831.589 | 217236.3383 | 27.3 | 43.4
27061 | 2021-02-22 13:08 | 24.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.2309 | μmol/L | 19.009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.647 | 120846.7061 | 217227.0653 | 27.3 | 43.4
27071 | 2021-02-22 13:08 | 24.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.1903 | μmol/L | 19.009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.649 | 120859.0693 | 217227.2112 | 27.3 | 43.4
27081 | 2021-02-22 13:08 | 25.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.0446 | μmol/L | 19.0151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.654 | 120883.6363 | 217225.0997 | 27.3 | 43.4
27091 | 2021-02-22 13:09 | 25.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.0482 | μmol/L | 19.009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.656 | 120910.1922 | 217206.3056 | 27.3 | 43.4
27101 | 2021-02-22 13:09 | 25.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 240.0555 | μmol/L | 18.9968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.66 | 120917.5615 | 217211.3295 | 27.3 | 43.4
27111 | 2021-02-22 13:09 | 26.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9541 | μmol/L | 18.9968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.665 | 120934.6953 | 217215.4341 | 27.3 | 43.4
27121 | 2021-02-22 13:10 | 26.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9375 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.668 | 120938.2075 | 217213.1574 | 27.3 | 43.4
27131 | 2021-02-22 13:10 | 26.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9172 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 120951.943 | 217212.9829 | 27.3 | 43.4
27141 | 2021-02-22 13:10 | 27.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.9172 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.669 | 120961.015 | 217215.7256 | 27.3 | 43.4
27151 | 2021-02-22 13:11 | 27.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.7311 | μmol/L | 18.9968 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.676 | 120966.993 | 217210.3636 | 27.3 | 43.4
27161 | 2021-02-22 13:11 | 27.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.8158 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.674 | 120978.0147 | 217215.8601 | 27.3 | 43.4
27171 | 2021-02-22 13:11 | 28.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6943 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.68 | 120992.7697 | 217203.6641 | 27.3 | 43.4
27181 | 2021-02-22 13:12 | 28.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.7255 | μmol/L | 18.9723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.685 | 121021.774 | 217208.0987 | 27.3 | 43.4
27191 | 2021-02-22 13:12 | 28.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6887 | μmol/L | 18.9662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.689 | 121035.4364 | 217207.0051 | 27.3 | 43.4
27201 | 2021-02-22 13:12 | 29.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6482 | μmol/L | 18.9662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.691 | 121051.2698 | 217207.3999 | 27.3 | 43.4
27211 | 2021-02-22 13:13 | 29.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.6685 | μmol/L | 18.9662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.69 | 121071.3377 | 217205.9914 | 27.3 | 43.4
27221 | 2021-02-22 13:13 | 29.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.571 | μmol/L | 18.9601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.697 | 121085.6138 | 217198.8239 | 27.3 | 43.4
27231 | 2021-02-22 13:13 | 30.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.571 | μmol/L | 18.9601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.697 | 121103.6548 | 217202.9056 | 27.3 | 43.4
27241 | 2021-02-22 13:14 | 30.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.4496 | μmol/L | 18.9601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.703 | 121127.749 | 217202.165 | 27.3 | 43.4
27251 | 2021-02-22 13:14 | 30.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.2677 | μmol/L | 18.9601 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.712 | 121138.7782 | 217189.4162 | 27.3 | 43.4
27261 | 2021-02-22 13:14 | 31.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.264 | μmol/L | 18.9662 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.71 | 121161.1414 | 217198.1925 | 27.3 | 43.4
27271 | 2021-02-22 13:15 | 31.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.299 | μmol/L | 18.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.717 | 121171.3998 | 217196.9262 | 27.3 | 43.4
27281 | 2021-02-22 13:15 | 31.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.2788 | μmol/L | 18.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.718 | 121194.0779 | 217216.281 | 27.3 | 43.4
27291 | 2021-02-22 13:15 | 32.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.1098 | μmol/L | 18.954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.722 | 121211.0541 | 217193.8291 | 27.3 | 43.4
27301 | 2021-02-22 13:16 | 32.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 239.0493 | μmol/L | 18.954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.725 | 121229.1144 | 217204.1069 | 27.3 | 43.4
27311 | 2021-02-22 13:16 | 32.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9925 | μmol/L | 18.9479 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.73 | 121247.8981 | 217202.6841 | 27.3 | 43.4
27321 | 2021-02-22 13:16 | 33.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9925 | μmol/L | 18.9479 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.73 | 121263.3676 | 217210.5617 | 27.3 | 43.4
27331 | 2021-02-22 13:17 | 33.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9081 | μmol/L | 18.954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.732 | 121273.7378 | 217204.0227 | 27.3 | 43.4
27341 | 2021-02-22 13:17 | 33.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8752 | μmol/L | 18.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.738 | 121292.7379 | 217198.386 | 27.3 | 43.4
27351 | 2021-02-22 13:17 | 34.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8147 | μmol/L | 18.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.741 | 121310.4081 | 217205.9383 | 27.3 | 43.4
27361 | 2021-02-22 13:18 | 34.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9909 | μmol/L | 18.9173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.741 | 121327.3732 | 217196.9555 | 27.3 | 43.4
27371 | 2021-02-22 13:18 | 34.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9984 | μmol/L | 18.9051 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.745 | 121341.8665 | 217209.6201 | 27.3 | 43.4
27381 | 2021-02-22 13:18 | 35.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.9782 | μmol/L | 18.9051 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.746 | 121353.1217 | 217201.9837 | 27.3 | 43.4
27391 | 2021-02-22 13:19 | 35.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.8334 | μmol/L | 18.9112 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.751 | 121368.2859 | 217201.0578 | 27.3 | 43.4
27401 | 2021-02-22 13:19 | 35.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.6446 | μmol/L | 18.9234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.756 | 121383.9029 | 217198.7758 | 27.3 | 43.4
27411 | 2021-02-22 13:19 | 36.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.5 | μmol/L | 18.9296 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.761 | 121402.4915 | 217188.5714 | 27.3 | 43.4
27421 | 2021-02-22 13:20 | 36.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4635 | μmol/L | 18.9234 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.765 | 121426.9072 | 217195.6237 | 27.3 | 43.4
27431 | 2021-02-22 13:20 | 36.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3593 | μmol/L | 18.9296 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.768 | 121439.989 | 217192.4784 | 27.3 | 43.4
27441 | 2021-02-22 13:20 | 37.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.407 | μmol/L | 18.9173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.77 | 121455.4124 | 217186.4867 | 27.3 | 43.4
27451 | 2021-02-22 13:21 | 37.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.3466 | μmol/L | 18.9173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.773 | 121466.6154 | 217199.1197 | 27.3 | 43.4
27461 | 2021-02-22 13:21 | 37.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4346 | μmol/L | 18.9051 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.773 | 121485.0148 | 217186.9163 | 27.3 | 43.4
27471 | 2021-02-22 13:21 | 38.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4421 | μmol/L | 18.8929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.777 | 121502.3402 | 217190.5757 | 27.3 | 43.4
27481 | 2021-02-22 13:22 | 38.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4257 | μmol/L | 18.8868 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.78 | 121502.6242 | 217183.8267 | 27.3 | 43.4
27491 | 2021-02-22 13:22 | 38.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.4132 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.785 | 121534.3379 | 217186.5105 | 27.3 | 43.4
27501 | 2021-02-22 13:22 | 39.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.2888 | μmol/L | 18.8807 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.789 | 121540.9799 | 217183.5263 | 27.3 | 43.4
27511 | 2021-02-22 13:23 | 39.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.221 | μmol/L | 18.8929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.788 | 121558.2381 | 217182.5594 | 27.3 | 43.4
27521 | 2021-02-22 13:23 | 39.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.1608 | μmol/L | 18.8929 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.791 | 121571.9879 | 217182.2706 | 27.3 | 43.4
27531 | 2021-02-22 13:23 | 40.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.1244 | μmol/L | 18.8868 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.795 | 121582.9811 | 217180.7177 | 27.3 | 43.4
27541 | 2021-02-22 13:24 | 40.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0881 | μmol/L | 18.8807 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.799 | 121603.6902 | 217177.6752 | 27.3 | 43.4
27551 | 2021-02-22 13:24 | 40.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0479 | μmol/L | 18.8807 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.801 | 121624.9239 | 217187.6082 | 27.3 | 43.4
27561 | 2021-02-22 13:24 | 41.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0555 | μmol/L | 18.8685 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.805 | 121631.2827 | 217176.6943 | 27.3 | 43.4
27571 | 2021-02-22 13:25 | 41.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 238.0392 | μmol/L | 18.8624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.808 | 121654.8229 | 217180.312 | 27.3 | 43.4
27581 | 2021-02-22 13:25 | 41.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.7911 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.816 | 121675.878 | 217181.5242 | 27.3 | 43.4
27591 | 2021-02-22 13:25 | 42.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.771 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.817 | 121691.5695 | 217182.6946 | 27.3 | 43.4
27601 | 2021-02-22 13:26 | 42.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.6709 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.822 | 121717.3262 | 217186.3173 | 27.3 | 43.4
27611 | 2021-02-22 13:26 | 42.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.5908 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.826 | 121731.6479 | 217177.7598 | 27.3 | 43.4
27621 | 2021-02-22 13:26 | 43.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.5708 | μmol/L | 18.8746 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.827 | 121749.7545 | 217164.5475 | 27.3 | 43.4
27631 | 2021-02-22 13:27 | 43.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4946 | μmol/L | 18.8685 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.833 | 121767.7326 | 217173.9107 | 27.3 | 43.4
27641 | 2021-02-22 13:27 | 43.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4346 | μmol/L | 18.8685 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.836 | 121780.4503 | 217164.801 | 27.3 | 43.4
27651 | 2021-02-22 13:27 | 44.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4822 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.838 | 121794.8496 | 217175.8278 | 27.3 | 43.4
27661 | 2021-02-22 13:28 | 44.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.526 | μmol/L | 18.8501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.838 | 121808.6885 | 217171.018 | 27.3 | 43.4
27671 | 2021-02-22 13:28 | 44.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.3784 | μmol/L | 18.8624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.841 | 121825.0381 | 217173.9898 | 27.3 | 43.4
27681 | 2021-02-22 13:28 | 45.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.4022 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.842 | 121838.0601 | 217176.7812 | 27.3 | 43.4
27691 | 2021-02-22 13:29 | 45.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2385 | μmol/L | 18.8624 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.848 | 121851.0235 | 217175.9178 | 27.3 | 43.4
27701 | 2021-02-22 13:29 | 45.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2823 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.848 | 121868.2358 | 217178.8125 | 27.3 | 43.4
27711 | 2021-02-22 13:29 | 46.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1824 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.853 | 121875.7299 | 217171.2103 | 27.3 | 43.4
27721 | 2021-02-22 13:30 | 46.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.2262 | μmol/L | 18.8501 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.853 | 121880.9117 | 217171.1348 | 27.3 | 43.4
27731 | 2021-02-22 13:30 | 46.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0826 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.858 | 121900.7858 | 217162.3395 | 27.3 | 43.4
27741 | 2021-02-22 13:30 | 47.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1501 | μmol/L | 18.844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.859 | 121920.8804 | 217175.5235 | 27.3 | 43.4
27751 | 2021-02-22 13:31 | 47.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.1102 | μmol/L | 18.844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.861 | 121934.6777 | 217164.8086 | 27.3 | 43.4
27761 | 2021-02-22 13:31 | 47.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0741 | μmol/L | 18.8379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.865 | 121944.8583 | 217169.7432 | 27.3 | 43.4
27771 | 2021-02-22 13:31 | 48.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0143 | μmol/L | 18.8379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.868 | 121960.3878 | 217162.8598 | 27.3 | 43.4
27781 | 2021-02-22 13:32 | 48.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.9583 | μmol/L | 18.8318 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.873 | 121982.6645 | 217162.8325 | 27.3 | 43.4
27791 | 2021-02-22 13:32 | 48.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 237.0219 | μmol/L | 18.8257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.872 | 121990.2685 | 217166.3286 | 27.3 | 43.4
27801 | 2021-02-22 13:32 | 49.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.9859 | μmol/L | 18.8196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.876 | 122003.0053 | 217158.5017 | 27.3 | 43.4
27811 | 2021-02-22 13:33 | 49.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.8862 | μmol/L | 18.8196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.881 | 122024.6504 | 217155.7528 | 27.3 | 43.4
27821 | 2021-02-22 13:33 | 49.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7667 | μmol/L | 18.8196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 122034.8246 | 217153.5925 | 27.3 | 43.4
27831 | 2021-02-22 13:33 | 50.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7667 | μmol/L | 18.8196 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.887 | 122051.4228 | 217166.2578 | 27.3 | 43.4
27841 | 2021-02-22 13:34 | 50.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.8502 | μmol/L | 18.8135 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 122064.984 | 217159.6677 | 27.3 | 43.4
27851 | 2021-02-22 13:34 | 50.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.7345 | μmol/L | 18.8074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 122090.7629 | 217156.2645 | 27.3 | 43.4
27861 | 2021-02-22 13:34 | 51.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.6787 | μmol/L | 18.8013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.898 | 122130.6107 | 217169.1601 | 27.3 | 43.4
27871 | 2021-02-22 13:35 | 51.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.5631 | μmol/L | 18.7951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.906 | 122171.1425 | 217165.6668 | 27.3 | 43.4
27881 | 2021-02-22 13:35 | 51.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4637 | μmol/L | 18.7951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.911 | 122191.734 | 217163.2206 | 27.3 | 43.4
27891 | 2021-02-22 13:35 | 52.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.5034 | μmol/L | 18.7951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.909 | 122192.958 | 217167.8492 | 27.3 | 43.4
27901 | 2021-02-22 13:36 | 52.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4239 | μmol/L | 18.7951 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.913 | 122199.0848 | 217166.3124 | 27.3 | 43.4
27911 | 2021-02-22 13:36 | 52.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4477 | μmol/L | 18.789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.914 | 122217.0861 | 217163.0289 | 27.3 | 43.4
27921 | 2021-02-22 13:36 | 53.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.4079 | μmol/L | 18.789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.916 | 122234.7259 | 217163.7875 | 27.3 | 43.4
27931 | 2021-02-22 13:37 | 53.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.3323 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.922 | 122246.4248 | 217168.6027 | 27.3 | 43.4
27941 | 2021-02-22 13:37 | 53.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.3798 | μmol/L | 18.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.924 | 122246.279 | 217154.7664 | 27.3 | 43.4
27951 | 2021-02-22 13:37 | 54.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.3798 | μmol/L | 18.7707 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.924 | 122263.3182 | 217159.0743 | 27.3 | 43.4
27961 | 2021-02-22 13:38 | 54.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.344 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.928 | 122284.0436 | 217171.8057 | 27.3 | 43.4
27971 | 2021-02-22 13:38 | 54.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.328 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.931 | 122312.7643 | 217167.478 | 27.3 | 43.4
27981 | 2021-02-22 13:38 | 55.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.3081 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.932 | 122329.0087 | 217167.8686 | 27.3 | 43.4
27991 | 2021-02-22 13:39 | 55.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.2128 | μmol/L | 18.7524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.939 | 122348.7462 | 217172.5584 | 27.3 | 43.4
28001 | 2021-02-22 13:39 | 55.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.0699 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 122361.3066 | 217176.2761 | 27.3 | 43.4
28011 | 2021-02-22 13:39 | 56.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.0937 | μmol/L | 18.7524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.945 | 122375.1563 | 217168.2507 | 27.3 | 43.4
28021 | 2021-02-22 13:40 | 56.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1135 | μmol/L | 18.7524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 122390.8897 | 217161.0897 | 27.3 | 43.4
28031 | 2021-02-22 13:40 | 56.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 236.1015 | μmol/L | 18.7402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 122411.2 | 217170.002 | 27.3 | 43.4
28041 | 2021-02-22 13:40 | 57.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.9627 | μmol/L | 18.7402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.956 | 122426.9751 | 217165.0879 | 27.3 | 43.4
28051 | 2021-02-22 13:41 | 57.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8795 | μmol/L | 18.7463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.958 | 122445.8539 | 217164.7563 | 27.3 | 43.4
28061 | 2021-02-22 13:41 | 57.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8636 | μmol/L | 18.7402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.961 | 122469.4204 | 217177.3127 | 27.3 | 43.4
28071 | 2021-02-22 13:41 | 58.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.7408 | μmol/L | 18.7463 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.965 | 122490.0266 | 217169.2154 | 27.3 | 43.4
28081 | 2021-02-22 13:42 | 58.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.8081 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 122500.4548 | 217165.2753 | 27.3 | 43.4
28091 | 2021-02-22 13:42 | 58.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6695 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.973 | 122514.7118 | 217162.0636 | 27.3 | 43.4
28101 | 2021-02-22 13:42 | 59.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.527 | μmol/L | 18.7402 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 122536.4571 | 217171.2396 | 27.3 | 43.4
28111 | 2021-02-22 13:43 | 59.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6576 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 122538.5883 | 217167.7922 | 27.3 | 43.4
28121 | 2021-02-22 13:43 | 59.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6219 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.982 | 122556.1018 | 217171.0111 | 27.3 | 43.4
28131 | 2021-02-22 13:43 | 60.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.6219 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.982 | 122576.6842 | 217177.5678 | 27.3 | 43.4
28141 | 2021-02-22 13:44 | 60.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.5191 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.985 | 122588.3318 | 217171.2954 | 27.3 | 43.4
28151 | 2021-02-22 13:44 | 60.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.4835 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.989 | 122602.1697 | 217163.889 | 27.3 | 43.4
28161 | 2021-02-22 13:44 | 61.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.4439 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.991 | 122629.1611 | 217171.4166 | 27.3 | 43.4
28171 | 2021-02-22 13:45 | 61.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.5389 | μmol/L | 18.6913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.995 | 122651.4603 | 217164.6815 | 27.3 | 43.4
28181 | 2021-02-22 13:45 | 61.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.4796 | μmol/L | 18.6913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.998 | 122671.9627 | 217176.7457 | 27.3 | 43.4
28191 | 2021-02-22 13:45 | 62.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.44 | μmol/L | 18.6913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23 | 122667.5104 | 217163.2221 | 27.3 | 43.4
28201 | 2021-02-22 13:46 | 62.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.2622 | μmol/L | 18.6913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 122706.519 | 217182.7701 | 27.3 | 43.4
28211 | 2021-02-22 13:46 | 62.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.3255 | μmol/L | 18.6852 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.008 | 122732.7507 | 217170.1148 | 27.3 | 43.4
28221 | 2021-02-22 13:46 | 63.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 235.1635 | μmol/L | 18.6913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 122734.695 | 217174.54 | 27.3 | 43.4
28231 | 2021-02-22 13:47 | 63.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.911 | μmol/L | 18.7157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 122756.1564 | 217183.6306 | 27.3 | 43.4
28241 | 2021-02-22 13:47 | 63.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.9464 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.014 | 122775.9873 | 217176.3207 | 27.3 | 43.4
28251 | 2021-02-22 13:47 | 64.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.7887 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 122800.7812 | 217184.0945 | 27.3 | 43.4
28261 | 2021-02-22 13:48 | 64.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.7887 | μmol/L | 18.7218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 122811.0097 | 217174.348 | 27.3 | 43.4
28271 | 2021-02-22 13:48 | 64.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.6076 | μmol/L | 18.7279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 122838.0459 | 217184.3753 | 27.3 | 43.4
28281 | 2021-02-22 13:48 | 65.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.5839 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.028 | 122855.591 | 217172.9224 | 27.3 | 43.4
28291 | 2021-02-22 13:49 | 65.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.3479 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 122880.2233 | 217175.3185 | 27.3 | 43.4
28301 | 2021-02-22 13:49 | 65.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.4659 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 122893.6255 | 217176.6831 | 27.3 | 43.4
28311 | 2021-02-22 13:49 | 66.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.3675 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 122904.3189 | 217168.7812 | 27.3 | 43.4
28321 | 2021-02-22 13:50 | 66.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.3086 | μmol/L | 18.7341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 122915.2895 | 217173.4549 | 27.3 | 43.4
28331 | 2021-02-22 13:50 | 66.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.1159 | μmol/L | 18.7585 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 122927.8244 | 217174.125 | 27.3 | 43.4
28341 | 2021-02-22 13:50 | 67.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.1199 | μmol/L | 18.7524 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 122948.6743 | 217166.6698 | 27.3 | 43.4
28351 | 2021-02-22 13:51 | 67.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 234.0531 | μmol/L | 18.7646 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 122949.4567 | 217177.9083 | 27.3 | 43.4
28361 | 2021-02-22 13:51 | 67.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.9038 | μmol/L | 18.7829 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 122955.6713 | 217183.2915 | 27.3 | 43.4
28371 | 2021-02-22 13:51 | 68.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.8607 | μmol/L | 18.789 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 122963.1042 | 217167.7523 | 27.3 | 43.4
28381 | 2021-02-22 13:52 | 68.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.7116 | μmol/L | 18.8074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 122972.9463 | 217175.5374 | 27.3 | 43.4
28391 | 2021-02-22 13:52 | 68.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.543 | μmol/L | 18.8257 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 122975.1544 | 217167.3645 | 27.3 | 43.4
28401 | 2021-02-22 13:52 | 69.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.5548 | μmol/L | 18.8379 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 122978.2719 | 217175.7342 | 27.3 | 43.4
28411 | 2021-02-22 13:53 | 69.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.4529 | μmol/L | 18.844 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 122996.9445 | 217169.8173 | 27.3 | 43.4
28421 | 2021-02-22 13:53 | 69.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.3864 | μmol/L | 18.8562 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 123000.5481 | 217183.9267 | 27.3 | 43.4
28431 | 2021-02-22 13:53 | 70.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.1751 | μmol/L | 18.8807 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 122991.068 | 217183.9231 | 27.3 | 43.4
28441 | 2021-02-22 13:54 | 70.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 233.0461 | μmol/L | 18.899 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 123002.481 | 217172.8449 | 27.3 | 43.4
28451 | 2021-02-22 13:54 | 70.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.9758 | μmol/L | 18.9173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 123015.9709 | 217187.6056 | 27.3 | 43.4
28461 | 2021-02-22 13:54 | 71.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.8118 | μmol/L | 18.9296 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 123014.8405 | 217169.3944 | 27.3 | 43.4
28471 | 2021-02-22 13:55 | 71.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.7455 | μmol/L | 18.9418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 123015.2578 | 217169.8498 | 27.3 | 43.4
28481 | 2021-02-22 13:55 | 71.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.6792 | μmol/L | 18.954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 123024.1582 | 217164.9379 | 27.3 | 43.4
28491 | 2021-02-22 13:55 | 72.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.5701 | μmol/L | 18.9723 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 123047.377 | 217161.9145 | 27.3 | 43.4
28501 | 2021-02-22 13:56 | 72.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.3441 | μmol/L | 18.9907 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 123051.9094 | 217161.7237 | 27.3 | 43.4
28511 | 2021-02-22 13:56 | 72.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.3364 | μmol/L | 19.0029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 123053.92 | 217164.6214 | 27.3 | 43.4
28521 | 2021-02-22 13:56 | 73.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.2508 | μmol/L | 19.0151 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 123074.1435 | 217163.3454 | 27.3 | 43.4
28531 | 2021-02-22 13:57 | 73.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 232.1068 | μmol/L | 19.0273 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 123069.5193 | 217158.033 | 27.3 | 43.4
28541 | 2021-02-22 13:57 | 73.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.9981 | μmol/L | 19.0456 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 123067.4067 | 217161.4598 | 27.3 | 43.4
28551 | 2021-02-22 13:57 | 74.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.9359 | μmol/L | 19.0518 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 123089.2219 | 217165.5657 | 27.3 | 43.4
28561 | 2021-02-22 13:58 | 74.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.7883 | μmol/L | 19.0701 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 123080.1598 | 217165.6231 | 27.3 | 43.4
28571 | 2021-02-22 13:58 | 74.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.8234 | μmol/L | 19.0762 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 123090.2669 | 217164.7594 | 27.3 | 43.4
28581 | 2021-02-22 13:58 | 75.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.7148 | μmol/L | 19.0945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 123093.7554 | 217173.1491 | 27.3 | 43.4
28591 | 2021-02-22 13:59 | 75.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.6371 | μmol/L | 19.0945 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 123090.4879 | 217164.3489 | 27.3 | 43.4
28601 | 2021-02-22 13:59 | 75.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.5907 | μmol/L | 19.1067 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 123089.844 | 217155.4086 | 27.3 | 43.4
28611 | 2021-02-22 13:59 | 76.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.5674 | μmol/L | 19.1129 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 123087.5667 | 217156.0361 | 27.3 | 43.4
28621 | 2021-02-22 14:00 | 76.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.4628 | μmol/L | 19.1251 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 123092.9887 | 217163.1052 | 27.3 | 43.4
28631 | 2021-02-22 14:00 | 76.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.3582 | μmol/L | 19.1373 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 123102.4487 | 217155.7703 | 27.3 | 43.4
28641 | 2021-02-22 14:00 | 77.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.1723 | μmol/L | 19.1556 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 123118.7136 | 217148.7219 | 27.3 | 43.4
28651 | 2021-02-22 14:01 | 77.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.2111 | μmol/L | 19.1556 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 123126.2718 | 217147.5079 | 27.3 | 43.4
28661 | 2021-02-22 14:01 | 77.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.1454 | μmol/L | 19.1678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 123112.2456 | 217146.1693 | 27.3 | 43.4
28671 | 2021-02-22 14:01 | 78.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.1223 | μmol/L | 19.174 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 123131.7362 | 217147.6881 | 27.3 | 43.4
28681 | 2021-02-22 14:02 | 78.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.9404 | μmol/L | 19.1862 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 123130.4246 | 217142.3651 | 27.3 | 43.4
28691 | 2021-02-22 14:02 | 78.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.8904 | μmol/L | 19.2045 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 123131.9457 | 217146.2012 | 27.3 | 43.4
28701 | 2021-02-22 14:02 | 79.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.7318 | μmol/L | 19.2106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 123127.1087 | 217137.8834 | 27.3 | 43.4
28711 | 2021-02-22 14:03 | 79.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.7705 | μmol/L | 19.2106 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 123128.0579 | 217149.1259 | 27.3 | 43.4
28721 | 2021-02-22 14:03 | 79.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.6856 | μmol/L | 19.2228 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 123138.5486 | 217139.5169 | 27.3 | 43.4
28731 | 2021-02-22 14:03 | 80.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.5234 | μmol/L | 19.2351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.056 | 123137.1683 | 217152.496 | 27.3 | 43.4
28741 | 2021-02-22 14:04 | 80.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.6394 | μmol/L | 19.2351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 123140.452 | 217138.3342 | 27.3 | 43.4
28751 | 2021-02-22 14:04 | 80.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.4773 | μmol/L | 19.2473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 123153.0013 | 217142.8119 | 27.3 | 43.4
28761 | 2021-02-22 14:04 | 81.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.4929 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 123154.5164 | 217142.2324 | 27.3 | 43.4
28771 | 2021-02-22 14:05 | 81.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.3925 | μmol/L | 19.2595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 123154.6837 | 217137.3249 | 27.3 | 43.4
28781 | 2021-02-22 14:05 | 81.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.4542 | μmol/L | 19.2534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 123138.7537 | 217127.98 | 27.3 | 43.4
28791 | 2021-02-22 14:05 | 82.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.4119 | μmol/L | 19.2595 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 123155.5318 | 217127.4293 | 27.3 | 43.4
28801 | 2021-02-22 14:06 | 82.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.3272 | μmol/L | 19.2717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 123157.6312 | 217123.1983 | 27.3 | 43.4
28811 | 2021-02-22 14:06 | 82.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.2499 | μmol/L | 19.2717 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 123159.3086 | 217127.258 | 27.3 | 43.4
28821 | 2021-02-22 14:06 | 83.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.1459 | μmol/L | 19.2839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 123164.6849 | 217118.3573 | 27.3 | 43.4
28831 | 2021-02-22 14:07 | 83.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.1267 | μmol/L | 19.2839 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 123168.5196 | 217126.825 | 27.3 | 43.4
28841 | 2021-02-22 14:07 | 83.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 230.0384 | μmol/L | 19.3023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 123170.0914 | 217123.8387 | 27.3 | 43.4
28851 | 2021-02-22 14:07 | 84.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.9612 | μmol/L | 19.3023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 123186.4355 | 217119.62 | 27.3 | 43.4
28861 | 2021-02-22 14:08 | 84.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.9612 | μmol/L | 19.3023 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 123187.4386 | 217120.5457 | 27.3 | 43.4
28871 | 2021-02-22 14:08 | 84.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.9345 | μmol/L | 19.3145 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.058 | 123181.7137 | 217129.812 | 27.3 | 43.4
28881 | 2021-02-22 14:08 | 85.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.8997 | μmol/L | 19.3084 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 123189.435 | 217138.896 | 27.3 | 43.4
28891 | 2021-02-22 14:09 | 85.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.9152 | μmol/L | 19.3145 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 123183.2736 | 217128.479 | 27.3 | 43.4
28901 | 2021-02-22 14:09 | 85.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.8537 | μmol/L | 19.3206 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.06 | 123188.4623 | 217119.7381 | 27.3 | 43.4
28911 | 2021-02-22 14:09 | 86.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.7729 | μmol/L | 19.3267 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 123194.5986 | 217120.6766 | 27.3 | 43.4
28921 | 2021-02-22 14:10 | 86.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.6537 | μmol/L | 19.3328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.066 | 123204.6439 | 217127.0142 | 27.3 | 43.4
28931 | 2021-02-22 14:10 | 86.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.6537 | μmol/L | 19.3328 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.066 | 123215.286 | 217130.4357 | 27.3 | 43.4
28941 | 2021-02-22 14:10 | 87.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.573 | μmol/L | 19.3389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.068 | 123226.4032 | 217114.9501 | 27.3 | 43.4
28951 | 2021-02-22 14:11 | 87.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.496 | μmol/L | 19.3389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 123236.1792 | 217112.4326 | 27.3 | 43.4
28961 | 2021-02-22 14:11 | 87.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.4538 | μmol/L | 19.345 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 123239.4497 | 217112.0997 | 27.3 | 43.4
28971 | 2021-02-22 14:11 | 88.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.4501 | μmol/L | 19.3512 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 123245.3673 | 217119.6533 | 27.3 | 43.4
28981 | 2021-02-22 14:12 | 88.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.4383 | μmol/L | 19.3389 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.075 | 123253.0045 | 217123.599 | 27.3 | 43.4
28991 | 2021-02-22 14:12 | 88.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.3311 | μmol/L | 19.3573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.074 | 123263.5787 | 217118.2113 | 27.3 | 43.4
29001 | 2021-02-22 14:12 | 89.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.235 | μmol/L | 19.3573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.079 | 123268.6987 | 217109.3675 | 27.3 | 43.4
29011 | 2021-02-22 14:13 | 89.6609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.2542 | μmol/L | 19.3573 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.078 | 123269.7696 | 217111.4102 | 27.3 | 43.4
29021 | 2021-02-22 14:13 | 89.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.1544 | μmol/L | 19.3634 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 123286.9255 | 217114.3755 | 27.3 | 43.4
29031 | 2021-02-22 14:13 | 90.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.1086 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.079 | 123284.3488 | 217112.4822 | 27.3 | 43.4
29041 | 2021-02-22 14:14 | 90.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.0894 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.08 | 123286.776 | 217111.8843 | 27.3 | 43.4
29051 | 2021-02-22 14:14 | 90.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.1123 | μmol/L | 19.3695 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 123289.1241 | 217105.1922 | 27.3 | 43.4
29061 | 2021-02-22 14:14 | 91.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.0282 | μmol/L | 19.3817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.081 | 123287.4992 | 217099.4022 | 27.3 | 43.4
29071 | 2021-02-22 14:15 | 91.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.8901 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 123290.7653 | 217105.8366 | 27.3 | 43.4
29081 | 2021-02-22 14:15 | 91.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.9477 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.083 | 123305.4226 | 217104.2367 | 27.3 | 43.4
29091 | 2021-02-22 14:15 | 92.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.9514 | μmol/L | 19.3817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.085 | 123312.821 | 217105.594 | 27.3 | 43.4
29101 | 2021-02-22 14:16 | 92.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.871 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.087 | 123316.2922 | 217111.0478 | 27.3 | 43.4
29111 | 2021-02-22 14:16 | 92.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.8097 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.088 | 123305.7025 | 217100.8477 | 27.3 | 43.4
29121 | 2021-02-22 14:16 | 93.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.733 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 123320.7485 | 217108.0493 | 27.3 | 43.4
29131 | 2021-02-22 14:17 | 93.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.6299 | μmol/L | 19.4062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.093 | 123328.1832 | 217087.7034 | 27.3 | 43.4
29141 | 2021-02-22 14:17 | 93.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.6947 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.094 | 123339.2372 | 217099.749 | 27.3 | 43.4
29151 | 2021-02-22 14:17 | 94.3274 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.5569 | μmol/L | 19.4 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.099 | 123370.1252 | 217108.2574 | 27.3 | 43.4
29161 | 2021-02-22 14:18 | 94.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.4803 | μmol/L | 19.4 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.103 | 123397.8679 | 217104.1868 | 27.3 | 43.4
29171 | 2021-02-22 14:18 | 94.9939 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.3618 | μmol/L | 19.4062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.107 | 123416.6042 | 217090.4966 | 27.3 | 43.4
29181 | 2021-02-22 14:18 | 95.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.186 | μmol/L | 19.4123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.114 | 123440.2866 | 217108.9997 | 27.3 | 43.4
29191 | 2021-02-22 14:19 | 95.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.0677 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.118 | 123448.6485 | 217092.9525 | 27.3 | 43.4
29201 | 2021-02-22 14:19 | 95.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.0104 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.121 | 123490.4221 | 217095.9027 | 27.3 | 43.4
29211 | 2021-02-22 14:19 | 96.3275 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.9759 | μmol/L | 19.4123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.125 | 123516.6122 | 217099.8894 | 27.3 | 43.4
29221 | 2021-02-22 14:20 | 96.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.7967 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.13 | 123553.2283 | 217094.2146 | 27.3 | 43.4
29231 | 2021-02-22 14:20 | 96.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.6786 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.134 | 123577.3301 | 217099.9352 | 27.3 | 43.4
29241 | 2021-02-22 14:20 | 97.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.7813 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.133 | 123581.9055 | 217099.872 | 27.3 | 43.4
29251 | 2021-02-22 14:21 | 97.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.6897 | μmol/L | 19.4123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.14 | 123584.6868 | 217099.595 | 27.3 | 43.4
29261 | 2021-02-22 14:21 | 97.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5716 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.144 | 123599.2571 | 217096.3719 | 27.3 | 43.4
29271 | 2021-02-22 14:21 | 98.3272 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5907 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.143 | 123610.3182 | 217093.2234 | 27.3 | 43.4
29281 | 2021-02-22 14:22 | 98.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5108 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 123615.336 | 217090.3317 | 27.3 | 43.4
29291 | 2021-02-22 14:22 | 98.994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5526 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.145 | 123613.93 | 217103.0191 | 27.3 | 43.4
29301 | 2021-02-22 14:22 | 99.3278 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.4536 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 123628.1207 | 217099.3533 | 27.3 | 43.4
29311 | 2021-02-22 14:23 | 99.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.4764 | μmol/L | 19.4184 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.149 | 123639.5798 | 217083.2494 | 27.3 | 43.4
29321 | 2021-02-22 14:23 | 99.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.4119 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.148 | 123635.0075 | 217087.5769 | 27.3 | 43.4
29331 | 2021-02-22 14:23 | 100.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3928 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.149 | 123643.7483 | 217080.6679 | 27.3 | 43.4
29341 | 2021-02-22 14:24 | 100.6611 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3357 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 123663.1556 | 217089.0701 | 27.3 | 43.4
29351 | 2021-02-22 14:24 | 100.9941 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3548 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.151 | 123664.2893 | 217083.6612 | 27.3 | 43.4
29361 | 2021-02-22 14:24 | 101.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3167 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.153 | 123656.1153 | 217086.3227 | 27.3 | 43.4
29371 | 2021-02-22 14:25 | 101.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3584 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.153 | 123661.7774 | 217087.802 | 27.3 | 43.4
29381 | 2021-02-22 14:25 | 101.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3775 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.152 | 123663.0382 | 217078.3729 | 27.3 | 43.4
29391 | 2021-02-22 14:25 | 102.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3204 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 123665.3105 | 217084.8564 | 27.3 | 43.4
29401 | 2021-02-22 14:26 | 102.6606 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2786 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.155 | 123678.8968 | 217098.4617 | 27.3 | 43.4
29411 | 2021-02-22 14:26 | 102.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2253 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.16 | 123693.7871 | 217081.7554 | 27.3 | 43.4
29421 | 2021-02-22 14:26 | 103.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2216 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.158 | 123699.4301 | 217086.0828 | 27.3 | 43.4
29431 | 2021-02-22 14:27 | 103.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2026 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.159 | 123686.9624 | 217074.1331 | 27.3 | 43.4
29441 | 2021-02-22 14:27 | 103.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1799 | μmol/L | 19.4367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.158 | 123703.0925 | 217074.071 | 27.3 | 43.4
29451 | 2021-02-22 14:27 | 104.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1645 | μmol/L | 19.4306 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.161 | 123700.8054 | 217083.1348 | 27.3 | 43.4
29461 | 2021-02-22 14:28 | 104.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0468 | μmol/L | 19.4367 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.165 | 123720.2172 | 217086.4085 | 27.3 | 43.4
29471 | 2021-02-22 14:28 | 104.9944 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1112 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 123727.9649 | 217088.3698 | 27.3 | 43.4
29481 | 2021-02-22 14:28 | 105.328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2364 | μmol/L | 19.4062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.166 | 123730.7137 | 217083.0408 | 27.3 | 43.4
29491 | 2021-02-22 14:29 | 105.6607 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3389 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.165 | 123738.3458 | 217081.6585 | 27.3 | 43.4
29501 | 2021-02-22 14:29 | 105.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3426 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 123740.2174 | 217070.698 | 27.3 | 43.4
29511 | 2021-02-22 14:29 | 106.3279 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2818 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.168 | 123745.5197 | 217089.7594 | 27.3 | 43.4
29521 | 2021-02-22 14:30 | 106.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3426 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.167 | 123747.489 | 217089.3587 | 27.3 | 43.4
29531 | 2021-02-22 14:30 | 106.9946 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.2248 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.171 | 123750.89 | 217076.5806 | 27.3 | 43.4
29541 | 2021-02-22 14:30 | 107.3277 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1487 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.175 | 123759.8199 | 217084.1243 | 27.3 | 43.4
29551 | 2021-02-22 14:31 | 107.6614 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0843 | μmol/L | 19.4062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.174 | 123771.0442 | 217082.2343 | 27.3 | 43.4
29561 | 2021-02-22 14:31 | 107.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1107 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 123763.2452 | 217073.7365 | 27.3 | 43.4
29571 | 2021-02-22 14:31 | 108.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.126 | μmol/L | 19.4 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.174 | 123772.6846 | 217071.5776 | 27.3 | 43.4
29581 | 2021-02-22 14:32 | 108.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.107 | μmol/L | 19.4 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.175 | 123777.7927 | 217070.8558 | 27.3 | 43.4
29591 | 2021-02-22 14:32 | 108.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9893 | μmol/L | 19.4062 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.179 | 123781.5952 | 217074.1271 | 27.3 | 43.4
29601 | 2021-02-22 14:32 | 109.3276 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1487 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.175 | 123792.0684 | 217071.6801 | 27.3 | 43.4
29611 | 2021-02-22 14:33 | 109.6612 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1107 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.177 | 123791.4034 | 217078.0977 | 27.3 | 43.4
29621 | 2021-02-22 14:33 | 109.9942 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0574 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 123802.2053 | 217076.1382 | 27.3 | 43.4
29631 | 2021-02-22 14:33 | 110.3273 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1029 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.184 | 123803.4792 | 217081.0667 | 27.3 | 43.4
29641 | 2021-02-22 14:34 | 110.6608 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1409 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 123806.1564 | 217073.7551 | 27.3 | 43.4
29651 | 2021-02-22 14:34 | 110.9943 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1409 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 123807.0007 | 217082.951 | 27.3 | 43.4
29661 | 2021-02-22 14:34 | 111.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0991 | μmol/L | 19.3817 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 123808.8664 | 217072.1494 | 27.3 | 43.4
29671 | 2021-02-22 14:35 | 111.661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0574 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.182 | 123828.334 | 217080.7495 | 27.3 | 43.4
29681 | 2021-02-22 14:35 | 111.9947 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9435 | μmol/L | 19.3878 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.188 | 123833.6233 | 217075.9072 | 27.3 | 43.4
29691 | 2021-02-22 14:35 | 112.3281 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9208 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.187 | 123839.011 | 217075.0375 | 27.3 | 43.4
29701 | 2021-02-22 14:36 | 112.6613 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9587 | μmol/L | 19.3939 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.185 | 123839.1578 | 217069.2513 | 27.3 | 43.4
29711 | 2021-02-22 14:36 | 112.9945 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.0649 | μmol/L | 19.3756 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.186 | 123857.6088 | 217064.9967 | 27.3 | 43.4