## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23899 | 2021-02-22 10:23 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4654 | μmol/L | 19.1324 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 113464.4417 | 304591.7464 | 28.7 | 67.6 | #N/A
23909 | 2021-02-22 10:23 | 0.33246 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4654 | μmol/L | 19.1324 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.644 | 113438.3531 | 304566.4262 | 28.7 | 67.6 | #N/A
23919 | 2021-02-22 10:23 | 0.66596 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4637 | μmol/L | 19.1203 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.648 | 113416.5742 | 304533.2153 | 28.7 | 67.6 | #N/A
23929 | 2021-02-22 10:24 | 0.99967 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4424 | μmol/L | 19.1264 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.647 | 113389.2918 | 304518.3891 | 28.7 | 67.6 | #N/A
23939 | 2021-02-22 10:24 | 1.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4051 | μmol/L | 19.1203 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.651 | 113365.3396 | 304483.1819 | 28.7 | 67.6 | #N/A | -0.4218 | 25.3082
23949 | 2021-02-22 10:24 | 1.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4459 | μmol/L | 19.1142 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.651 | 113349.9903 | 304448.5701 | 28.7 | 67.6 | #N/A | 245.529
23959 | 2021-02-22 10:25 | 1.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4281 | μmol/L | 19.1081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.654 | 113325.8057 | 304407.9415 | 28.7 | 67.6 | #N/A
23969 | 2021-02-22 10:25 | 2.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3695 | μmol/L | 19.1081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.657 | 113316.8957 | 304392.1221 | 28.7 | 67.6 | #N/A
23979 | 2021-02-22 10:25 | 2.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.4103 | μmol/L | 19.102 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.657 | 113292.8826 | 304357.06 | 28.7 | 67.6 | #N/A
23989 | 2021-02-22 10:26 | 2.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3108 | μmol/L | 19.1081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.66 | 113275.9706 | 304318.903 | 28.7 | 67.6 | #N/A
23999 | 2021-02-22 10:26 | 3.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3695 | μmol/L | 19.1081 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.657 | 113255.8853 | 304286.3454 | 28.7 | 67.6 | #N/A
24009 | 2021-02-22 10:26 | 3.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.373 | μmol/L | 19.0959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.661 | 113238.2558 | 304248.3324 | 28.7 | 67.6 | #N/A
24019 | 2021-02-22 10:27 | 3.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3161 | μmol/L | 19.0899 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.666 | 113221.5227 | 304227.3747 | 28.7 | 67.6 | #N/A
24029 | 2021-02-22 10:27 | 4.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3552 | μmol/L | 19.0899 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.664 | 113196.8376 | 304184.1522 | 28.7 | 67.6 | #N/A
24039 | 2021-02-22 10:27 | 4.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3179 | μmol/L | 19.0838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.668 | 113187.8498 | 304159.6088 | 28.7 | 67.6 | #N/A
24049 | 2021-02-22 10:28 | 4.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3801 | μmol/L | 19.0716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.669 | 113170.2824 | 304134.8305 | 28.7 | 67.6 | #N/A
24059 | 2021-02-22 10:28 | 5.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.3019 | μmol/L | 19.0716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.673 | 113149.2618 | 304081.9419 | 28.7 | 67.6 | #N/A
24069 | 2021-02-22 10:28 | 5.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.2842 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.676 | 113138.3457 | 304060.489 | 28.7 | 67.6 | #N/A
24079 | 2021-02-22 10:29 | 5.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.2238 | μmol/L | 19.0716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.677 | 113125.4987 | 304046.7804 | 28.7 | 67.6 | #N/A
24089 | 2021-02-22 10:29 | 6.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.2628 | μmol/L | 19.0716 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.675 | 113112.8695 | 304009.2949 | 28.7 | 67.6 | #N/A
24099 | 2021-02-22 10:29 | 6.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.1475 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.683 | 113101.8465 | 303980.0833 | 28.7 | 67.6 | #N/A
24109 | 2021-02-22 10:30 | 6.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.1883 | μmol/L | 19.0594 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.683 | 113096.5044 | 303960.9515 | 28.7 | 67.6 | #N/A
24119 | 2021-02-22 10:30 | 7.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.167 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.682 | 113073.9514 | 303907.637 | 28.7 | 67.6 | #N/A
24129 | 2021-02-22 10:30 | 7.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.2451 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.678 | 113058.0275 | 303899.4178 | 28.7 | 67.6 | #N/A
24139 | 2021-02-22 10:31 | 7.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.128 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.684 | 113046.4971 | 303856.2911 | 28.7 | 67.6 | #N/A
24149 | 2021-02-22 10:31 | 8.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0694 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.687 | 113037.1987 | 303825.3042 | 28.7 | 67.6 | #N/A
24159 | 2021-02-22 10:31 | 8.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0109 | μmol/L | 19.0655 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.69 | 113018.2458 | 303804.1223 | 28.7 | 67.6 | #N/A
24169 | 2021-02-22 10:32 | 8.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.112 | μmol/L | 19.0534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.689 | 113000.1102 | 303773.4668 | 28.7 | 67.6 | #N/A
24179 | 2021-02-22 10:32 | 9.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.073 | μmol/L | 19.0534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.691 | 112994.6546 | 303744.1201 | 28.7 | 67.6 | #N/A
24189 | 2021-02-22 10:32 | 9.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0358 | μmol/L | 19.0473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.695 | 112982.4094 | 303727.2653 | 28.7 | 67.6 | #N/A
24199 | 2021-02-22 10:33 | 9.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0943 | μmol/L | 19.0473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.692 | 112975.7861 | 303708.7813 | 28.7 | 67.6 | #N/A
24209 | 2021-02-22 10:33 | 10.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0163 | μmol/L | 19.0473 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.696 | 112955.9214 | 303684.6535 | 28.7 | 67.6 | #N/A
24219 | 2021-02-22 10:33 | 10.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0571 | μmol/L | 19.0412 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.696 | 112956.4822 | 303665.7197 | 28.7 | 67.6 | #N/A
24229 | 2021-02-22 10:34 | 10.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0802 | μmol/L | 19.029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.699 | 112944.5564 | 303636.4743 | 28.7 | 67.6 | #N/A
24239 | 2021-02-22 10:34 | 11.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9809 | μmol/L | 19.0351 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.702 | 112942.2172 | 303621.4319 | 28.7 | 67.6 | #N/A
24249 | 2021-02-22 10:34 | 11.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9632 | μmol/L | 19.029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.705 | 112937.774 | 303598.3776 | 28.7 | 67.6 | #N/A
24259 | 2021-02-22 10:35 | 11.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9243 | μmol/L | 19.029 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.707 | 112925.9834 | 303571.4232 | 28.7 | 67.6 | #N/A
24269 | 2021-02-22 10:35 | 12.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9669 | μmol/L | 19.0169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.709 | 112914.5423 | 303534.2419 | 28.7 | 67.6 | #N/A
24279 | 2021-02-22 10:35 | 12.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9474 | μmol/L | 19.0169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.71 | 112900.2069 | 303505.4646 | 28.7 | 67.6 | #N/A
24289 | 2021-02-22 10:36 | 12.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 227.0254 | μmol/L | 19.0169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.706 | 112889.8495 | 303483.4521 | 28.7 | 67.6 | #N/A
24299 | 2021-02-22 10:36 | 13.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.85 | μmol/L | 19.0169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.715 | 112881.6871 | 303462.3176 | 28.7 | 67.6 | #N/A
24309 | 2021-02-22 10:36 | 13.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8926 | μmol/L | 19.0047 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.717 | 112875.5267 | 303434.0401 | 28.7 | 67.6 | #N/A
24319 | 2021-02-22 10:37 | 13.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8926 | μmol/L | 19.0047 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.717 | 112866.9039 | 303396.6942 | 28.7 | 67.6 | #N/A
24329 | 2021-02-22 10:37 | 14.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8926 | μmol/L | 19.0047 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.717 | 112869.5041 | 303396.2403 | 28.7 | 67.6 | #N/A
24339 | 2021-02-22 10:37 | 14.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8749 | μmol/L | 18.9986 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.72 | 112853.3192 | 303357.6468 | 28.7 | 67.6 | #N/A
24349 | 2021-02-22 10:38 | 14.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8963 | μmol/L | 18.9925 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.721 | 112845.9163 | 303349.7084 | 28.7 | 67.6 | #N/A
24359 | 2021-02-22 10:38 | 15.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.9584 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.722 | 112844.1391 | 303325.9217 | 28.7 | 67.6 | #N/A
24369 | 2021-02-22 10:38 | 15.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7812 | μmol/L | 18.9864 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.729 | 112825.2412 | 303291.8045 | 28.7 | 67.6 | #N/A
24379 | 2021-02-22 10:39 | 15.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8026 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.73 | 112826.3844 | 303247.6073 | 28.7 | 67.6 | #N/A
24389 | 2021-02-22 10:39 | 16.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.8026 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.73 | 112815.4297 | 303265.0511 | 28.7 | 67.6 | #N/A
24399 | 2021-02-22 10:39 | 16.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7423 | μmol/L | 18.9864 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.731 | 112807.7281 | 303238.8212 | 28.7 | 67.6 | #N/A
24409 | 2021-02-22 10:40 | 16.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7655 | μmol/L | 18.9743 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.734 | 112795.8026 | 303198.8288 | 28.7 | 67.6 | #N/A
24419 | 2021-02-22 10:40 | 17.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7052 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.735 | 112794.6489 | 303173.669 | 28.7 | 67.6 | #N/A
24429 | 2021-02-22 10:40 | 17.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7655 | μmol/L | 18.9743 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.734 | 112794.8207 | 303157.3344 | 28.7 | 67.6 | #N/A
24439 | 2021-02-22 10:41 | 17.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.7071 | μmol/L | 18.9743 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.737 | 112783.2226 | 303133.4018 | 28.7 | 67.6 | #N/A
24449 | 2021-02-22 10:41 | 18.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.67 | μmol/L | 18.9682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.741 | 112772.7735 | 303116.606 | 28.7 | 67.6 | #N/A
24459 | 2021-02-22 10:41 | 18.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6098 | μmol/L | 18.9743 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.742 | 112778.4255 | 303092.1779 | 28.7 | 67.6 | #N/A
24469 | 2021-02-22 10:42 | 18.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6117 | μmol/L | 18.9682 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.744 | 112759.9544 | 303068.8946 | 28.7 | 67.6 | #N/A
24479 | 2021-02-22 10:42 | 19.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5746 | μmol/L | 18.9621 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.748 | 112754.1864 | 303051.6936 | 28.7 | 67.6 | #N/A
24489 | 2021-02-22 10:42 | 19.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6348 | μmol/L | 18.956 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.747 | 112754.9409 | 303015.1174 | 28.7 | 67.6 | #N/A
24499 | 2021-02-22 10:43 | 19.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6367 | μmol/L | 18.9499 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.749 | 112745.1524 | 303008.1918 | 28.7 | 67.6 | #N/A
24509 | 2021-02-22 10:43 | 20.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.798 | μmol/L | 18.9317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.747 | 112745.564 | 302996.3772 | 28.7 | 67.6 | #N/A
24519 | 2021-02-22 10:43 | 20.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6405 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.753 | 112735.3322 | 302964.4495 | 28.7 | 67.6 | #N/A
24529 | 2021-02-22 10:44 | 20.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.6191 | μmol/L | 18.9439 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.752 | 112735.2747 | 302952.3214 | 28.7 | 67.6 | #N/A
24539 | 2021-02-22 10:44 | 21.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5627 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.757 | 112725.4349 | 302930.2573 | 28.7 | 67.6 | #N/A
24549 | 2021-02-22 10:44 | 21.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5821 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.756 | 112725.7639 | 302922.1805 | 28.7 | 67.6 | #N/A
24559 | 2021-02-22 10:45 | 21.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.4849 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.761 | 112716.758 | 302897.7916 | 28.7 | 67.6 | #N/A
24569 | 2021-02-22 10:45 | 22.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.4461 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.763 | 112711.665 | 302883.5503 | 28.7 | 67.6 | #N/A
24579 | 2021-02-22 10:45 | 22.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.5276 | μmol/L | 18.9256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.763 | 112711.8346 | 302866.7297 | 28.7 | 67.6 | #N/A
24589 | 2021-02-22 10:46 | 22.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.4267 | μmol/L | 18.9378 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.764 | 112699.0349 | 302839.4891 | 28.7 | 67.6 | #N/A
24599 | 2021-02-22 10:46 | 23.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.4091 | μmol/L | 18.9317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.767 | 112702.4458 | 302822.075 | 28.7 | 67.6 | #N/A
24609 | 2021-02-22 10:46 | 23.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3897 | μmol/L | 18.9317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.768 | 112694.4223 | 302806.326 | 28.7 | 67.6 | #N/A
24619 | 2021-02-22 10:47 | 23.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3509 | μmol/L | 18.9317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.77 | 112690.4292 | 302791.9229 | 28.7 | 67.6 | #N/A
24629 | 2021-02-22 10:47 | 24.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3509 | μmol/L | 18.9317 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.77 | 112686.8694 | 302766.8478 | 28.7 | 67.6 | #N/A
24639 | 2021-02-22 10:47 | 24.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3528 | μmol/L | 18.9256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.772 | 112678.4224 | 302751.0958 | 28.7 | 67.6 | #N/A
24649 | 2021-02-22 10:48 | 24.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.277 | μmol/L | 18.9195 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.778 | 112672.5281 | 302721.3726 | 28.7 | 67.6 | #N/A
24659 | 2021-02-22 10:48 | 25.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3566 | μmol/L | 18.9134 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.776 | 112670.3829 | 302708.8969 | 28.7 | 67.6 | #N/A
24669 | 2021-02-22 10:48 | 25.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.4594 | μmol/L | 18.8952 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.777 | 112665.6554 | 302688.4838 | 28.7 | 67.6 | #N/A
24679 | 2021-02-22 10:49 | 25.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3196 | μmol/L | 18.9074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.78 | 112665.8498 | 302690.4164 | 28.7 | 67.6 | #N/A
24689 | 2021-02-22 10:49 | 26.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2614 | μmol/L | 18.9074 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.783 | 112654.535 | 302651.8721 | 28.7 | 67.6 | #N/A
24699 | 2021-02-22 10:49 | 26.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3215 | μmol/L | 18.9013 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.782 | 112641.8332 | 302636.5544 | 28.7 | 67.6 | #N/A
24709 | 2021-02-22 10:50 | 26.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3235 | μmol/L | 18.8952 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.784 | 112647.7711 | 302623.125 | 28.7 | 67.6 | #N/A
24719 | 2021-02-22 10:50 | 27.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.3041 | μmol/L | 18.8952 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.785 | 112644.6853 | 302611.0461 | 28.7 | 67.6 | #N/A
24729 | 2021-02-22 10:50 | 27.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.207 | μmol/L | 18.8952 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.79 | 112642.0937 | 302578.45 | 28.7 | 67.6 | #N/A
24739 | 2021-02-22 10:51 | 27.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.2284 | μmol/L | 18.8891 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.791 | 112642.0532 | 302582.7376 | 28.7 | 67.6 | #N/A
24749 | 2021-02-22 10:51 | 28.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1702 | μmol/L | 18.8891 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.794 | 112632.8461 | 302546.0151 | 28.7 | 67.6 | #N/A
24759 | 2021-02-22 10:51 | 28.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1915 | μmol/L | 18.883 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.795 | 112628.1141 | 302528.1505 | 28.7 | 67.6 | #N/A
24769 | 2021-02-22 10:52 | 28.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1934 | μmol/L | 18.877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.797 | 112623.1748 | 302521.167 | 28.7 | 67.6 | #N/A
24779 | 2021-02-22 10:52 | 29.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1352 | μmol/L | 18.877 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.8 | 112625.8288 | 302503.0151 | 28.7 | 67.6 | #N/A
24789 | 2021-02-22 10:52 | 29.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1953 | μmol/L | 18.8709 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 112609.4495 | 302471.8508 | 28.7 | 67.6 | #N/A
24799 | 2021-02-22 10:53 | 29.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1953 | μmol/L | 18.8709 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.799 | 112609.6389 | 302455.9078 | 28.7 | 67.6 | #N/A
24809 | 2021-02-22 10:53 | 30.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.079 | μmol/L | 18.8709 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 112632.1594 | 302438.6023 | 28.7 | 67.6 | #N/A
24819 | 2021-02-22 10:53 | 30.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.079 | μmol/L | 18.8709 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.805 | 112623.4101 | 302437.9776 | 28.7 | 67.6 | #N/A
24829 | 2021-02-22 10:54 | 30.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0616 | μmol/L | 18.8648 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.808 | 112620.7002 | 302427.6483 | 28.7 | 67.6 | #N/A
24839 | 2021-02-22 10:54 | 31.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0422 | μmol/L | 18.8648 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.809 | 112617.129 | 302407.315 | 28.7 | 67.6 | #N/A
24849 | 2021-02-22 10:54 | 31.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0267 | μmol/L | 18.8526 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 112613.6342 | 302376.9979 | 28.7 | 67.6 | #N/A
24859 | 2021-02-22 10:55 | 31.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.1042 | μmol/L | 18.8526 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.81 | 112605.8775 | 302363.9961 | 28.7 | 67.6 | #N/A
24869 | 2021-02-22 10:55 | 32.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.986 | μmol/L | 18.8587 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 112599.4318 | 302342.4486 | 28.7 | 67.6 | #N/A
24879 | 2021-02-22 10:55 | 32.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0267 | μmol/L | 18.8526 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.814 | 112589.2074 | 302317.2481 | 28.7 | 67.6 | #N/A
24889 | 2021-02-22 10:56 | 32.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9899 | μmol/L | 18.8465 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.818 | 112594.5322 | 302306.6448 | 28.7 | 67.6 | #N/A
24899 | 2021-02-22 10:56 | 33.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0093 | μmol/L | 18.8465 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.817 | 112577.1626 | 302266.6988 | 28.7 | 67.6 | #N/A
24909 | 2021-02-22 10:56 | 33.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0113 | μmol/L | 18.8405 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.819 | 112573.4015 | 302265.1679 | 28.7 | 67.6 | #N/A
24919 | 2021-02-22 10:57 | 33.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9338 | μmol/L | 18.8405 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.823 | 112567.5995 | 302237.6384 | 28.7 | 67.6 | #N/A
24929 | 2021-02-22 10:57 | 34.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 226.0713 | μmol/L | 18.8344 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.818 | 112569.8442 | 302219.3475 | 28.7 | 67.6 | #N/A
24939 | 2021-02-22 10:57 | 34.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9958 | μmol/L | 18.8283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.824 | 112565.7484 | 302204.5555 | 28.7 | 67.6 | #N/A
24949 | 2021-02-22 10:58 | 34.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9377 | μmol/L | 18.8283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.827 | 112559.3245 | 302178.5118 | 28.7 | 67.6 | #N/A
24959 | 2021-02-22 10:58 | 35.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9184 | μmol/L | 18.8283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.828 | 112552.728 | 302176.3823 | 28.7 | 67.6 | #N/A
24969 | 2021-02-22 10:58 | 35.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.899 | μmol/L | 18.8283 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.829 | 112548.5945 | 302140.5569 | 28.7 | 67.6 | #N/A
24979 | 2021-02-22 10:59 | 35.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9397 | μmol/L | 18.8222 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.829 | 112560.1027 | 302135.3577 | 28.7 | 67.6 | #N/A
24989 | 2021-02-22 10:59 | 36.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.9223 | μmol/L | 18.8161 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.832 | 112540.5501 | 302118.5588 | 28.7 | 67.6 | #N/A
24999 | 2021-02-22 10:59 | 36.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.8449 | μmol/L | 18.8161 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.836 | 112542.4632 | 302094.4276 | 28.7 | 67.6 | #N/A
25009 | 2021-02-22 11:00 | 36.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.8082 | μmol/L | 18.81 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.84 | 112534.2225 | 302071.6944 | 28.7 | 67.6 | #N/A
25019 | 2021-02-22 11:00 | 37.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.8469 | μmol/L | 18.81 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.838 | 112542.1293 | 302075.0014 | 28.7 | 67.6 | #N/A
25029 | 2021-02-22 11:00 | 37.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7308 | μmol/L | 18.81 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.844 | 112542.8027 | 302060.5935 | 28.7 | 67.6 | #N/A
25039 | 2021-02-22 11:01 | 37.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7715 | μmol/L | 18.804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.844 | 112540.2922 | 302041.6641 | 28.7 | 67.6 | #N/A
25049 | 2021-02-22 11:01 | 38.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7928 | μmol/L | 18.7979 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 112540.9395 | 302031.1796 | 28.7 | 67.6 | #N/A
25059 | 2021-02-22 11:01 | 38.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7928 | μmol/L | 18.7979 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.845 | 112553.5005 | 302011.3474 | 28.7 | 67.6 | #N/A
25069 | 2021-02-22 11:02 | 38.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7368 | μmol/L | 18.7918 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.85 | 112534.2559 | 302011.931 | 28.7 | 67.6 | #N/A
25079 | 2021-02-22 11:02 | 39.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7368 | μmol/L | 18.7918 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.85 | 112539.5893 | 302002.6962 | 28.7 | 67.6 | #N/A
25089 | 2021-02-22 11:02 | 39.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6981 | μmol/L | 18.7918 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.852 | 112536.5678 | 301980.6118 | 28.7 | 67.6 | #N/A
25099 | 2021-02-22 11:03 | 39.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6808 | μmol/L | 18.7857 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.855 | 112540.1837 | 301978.3578 | 28.7 | 67.6 | #N/A
25109 | 2021-02-22 11:03 | 40.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6228 | μmol/L | 18.7857 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.858 | 112536.4618 | 301964.115 | 28.7 | 67.6 | #N/A
25119 | 2021-02-22 11:03 | 40.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.7408 | μmol/L | 18.7796 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.854 | 112543.6238 | 301959.9251 | 28.7 | 67.6 | #N/A
25129 | 2021-02-22 11:04 | 40.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6635 | μmol/L | 18.7796 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.858 | 112538.25 | 301939.114 | 28.7 | 67.6 | #N/A
25139 | 2021-02-22 11:04 | 41.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6248 | μmol/L | 18.7796 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.86 | 112542.9374 | 301956.9958 | 28.7 | 67.6 | #N/A
25149 | 2021-02-22 11:04 | 41.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5282 | μmol/L | 18.7796 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.865 | 112528.5027 | 301908.24 | 28.7 | 67.6 | #N/A
25159 | 2021-02-22 11:05 | 41.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5689 | μmol/L | 18.7735 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.865 | 112533.822 | 301895.4905 | 28.7 | 67.6 | #N/A
25169 | 2021-02-22 11:05 | 42.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5729 | μmol/L | 18.7614 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.869 | 112536.1571 | 301875.3031 | 28.7 | 67.6 | #N/A
25179 | 2021-02-22 11:05 | 42.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5322 | μmol/L | 18.7675 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.869 | 112530.4888 | 301873.4509 | 28.7 | 67.6 | #N/A
25189 | 2021-02-22 11:06 | 42.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5729 | μmol/L | 18.7614 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.869 | 112537.5013 | 301868.478 | 28.7 | 67.6 | #N/A
25199 | 2021-02-22 11:06 | 43.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5343 | μmol/L | 18.7614 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.871 | 112534.3138 | 301845.2727 | 28.7 | 67.6 | #N/A
25209 | 2021-02-22 11:06 | 43.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5749 | μmol/L | 18.7553 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.871 | 112538.5959 | 301835.6205 | 28.7 | 67.6 | #N/A
25219 | 2021-02-22 11:07 | 43.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.6176 | μmol/L | 18.7431 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.873 | 112534.5253 | 301832.4013 | 28.7 | 67.6 | #N/A
25229 | 2021-02-22 11:07 | 44.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4611 | μmol/L | 18.7492 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.879 | 112529.5284 | 301808.8121 | 28.7 | 67.6 | #N/A
25239 | 2021-02-22 11:07 | 44.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4012 | μmol/L | 18.7553 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.88 | 112533.0462 | 301799.4062 | 28.7 | 67.6 | #N/A
25249 | 2021-02-22 11:08 | 44.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.581 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.877 | 112530.0119 | 301792.5992 | 28.7 | 67.6 | #N/A
25259 | 2021-02-22 11:08 | 45.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4052 | μmol/L | 18.7431 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.884 | 112527.2311 | 301781.8085 | 28.7 | 67.6 | #N/A
25269 | 2021-02-22 11:08 | 45.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.5038 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.881 | 112529.5206 | 301785.628 | 28.7 | 67.6 | #N/A
25279 | 2021-02-22 11:09 | 45.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4073 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.886 | 112531.3229 | 301769.5135 | 28.7 | 67.6 | #N/A
25289 | 2021-02-22 11:09 | 46.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.388 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.887 | 112535.8665 | 301755.6057 | 28.7 | 67.6 | #N/A
25299 | 2021-02-22 11:09 | 46.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4479 | μmol/L | 18.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.886 | 112532.1368 | 301742.0458 | 28.7 | 67.6 | #N/A
25309 | 2021-02-22 11:10 | 46.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3494 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.889 | 112532.4467 | 301733.8553 | 28.7 | 67.6 | #N/A
25319 | 2021-02-22 11:10 | 47.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.4306 | μmol/L | 18.7249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.889 | 112537.9119 | 301720.0497 | 28.7 | 67.6 | #N/A
25329 | 2021-02-22 11:10 | 47.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.3149 | μmol/L | 18.7249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.895 | 112548.3546 | 301711.52 | 28.7 | 67.6 | #N/A
25339 | 2021-02-22 11:11 | 47.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.255 | μmol/L | 18.731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.896 | 112538.4214 | 301690.3926 | 28.7 | 67.6 | #N/A
25349 | 2021-02-22 11:11 | 48.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.2185 | μmol/L | 18.7249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.9 | 112544.7412 | 301684.5597 | 28.7 | 67.6 | #N/A
25359 | 2021-02-22 11:11 | 48.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.182 | μmol/L | 18.7188 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.904 | 112552.6811 | 301686.1097 | 28.7 | 67.6 | #N/A
25369 | 2021-02-22 11:12 | 48.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.2632 | μmol/L | 18.7066 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.904 | 112553.2697 | 301659.266 | 28.7 | 67.6 | #N/A
25379 | 2021-02-22 11:12 | 49.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.1669 | μmol/L | 18.7066 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.909 | 112546.6285 | 301644.265 | 28.7 | 67.6 | #N/A
25389 | 2021-02-22 11:12 | 49.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0857 | μmol/L | 18.7188 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.909 | 112557.2753 | 301625.9119 | 28.7 | 67.6 | #N/A
25399 | 2021-02-22 11:13 | 49.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 225.0259 | μmol/L | 18.7249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.91 | 112544.1998 | 301611.2795 | 28.7 | 67.6 | #N/A
25409 | 2021-02-22 11:13 | 50.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9489 | μmol/L | 18.7249 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.914 | 112563.8942 | 301626.1905 | 28.7 | 67.6 | #N/A
25419 | 2021-02-22 11:13 | 50.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.9063 | μmol/L | 18.737 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.912 | 112554.0093 | 301604.8089 | 28.7 | 67.6 | #N/A
25429 | 2021-02-22 11:14 | 50.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.7655 | μmol/L | 18.7553 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.913 | 112558.7891 | 301589.7189 | 28.7 | 67.6 | #N/A
25439 | 2021-02-22 11:14 | 51.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.6824 | μmol/L | 18.7735 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.911 | 112570.6596 | 301592.3567 | 28.7 | 67.6 | #N/A
25449 | 2021-02-22 11:14 | 51.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.3437 | μmol/L | 18.81 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112570.2691 | 301579.8967 | 28.7 | 67.6 | #N/A
25459 | 2021-02-22 11:15 | 51.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 224.0862 | μmol/L | 18.8344 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112563.3275 | 301571.7972 | 28.7 | 67.6 | #N/A
25469 | 2021-02-22 11:15 | 52.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.9209 | μmol/L | 18.8709 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112569.0873 | 301566.2507 | 28.7 | 67.6 | #N/A
25479 | 2021-02-22 11:15 | 52.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.4437 | μmol/L | 18.9256 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112573.1605 | 301562.0426 | 28.7 | 67.6 | #N/A
25489 | 2021-02-22 11:16 | 52.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.1394 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112572.7829 | 301534.7729 | 28.7 | 67.6 | #N/A
25499 | 2021-02-22 11:16 | 53.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 223.065 | μmol/L | 18.9743 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.926 | 112577.7166 | 301530.66 | 28.7 | 67.6 | #N/A
25509 | 2021-02-22 11:16 | 53.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.9867 | μmol/L | 18.9804 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.928 | 112574.6828 | 301520.6323 | 28.7 | 67.6 | #N/A
25519 | 2021-02-22 11:17 | 53.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.7462 | μmol/L | 19.0169 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.928 | 112592.2578 | 301493.9875 | 28.7 | 67.6 | #N/A
25529 | 2021-02-22 11:17 | 54.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.569 | μmol/L | 19.0351 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.931 | 112592.0214 | 301488.9898 | 28.7 | 67.6 | #N/A
25539 | 2021-02-22 11:17 | 54.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.3538 | μmol/L | 19.0534 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.936 | 112596.2435 | 301477.6418 | 28.7 | 67.6 | #N/A
25549 | 2021-02-22 11:18 | 54.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.1921 | μmol/L | 19.0838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.934 | 112605.7242 | 301478.4337 | 28.7 | 67.6 | #N/A
25559 | 2021-02-22 11:18 | 55.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.1731 | μmol/L | 19.0838 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.935 | 112605.1195 | 301472.7528 | 28.7 | 67.6 | #N/A
25569 | 2021-02-22 11:18 | 55.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 222.1122 | μmol/L | 19.0959 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.934 | 112596.9158 | 301443.4895 | 28.7 | 67.6 | #N/A
25579 | 2021-02-22 11:19 | 55.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.9356 | μmol/L | 19.1142 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.937 | 112598.9207 | 301440.2838 | 28.7 | 67.6 | #N/A
25589 | 2021-02-22 11:19 | 56.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.7401 | μmol/L | 19.1324 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.941 | 112590.5957 | 301418.2977 | 28.7 | 67.6 | #N/A
25599 | 2021-02-22 11:19 | 56.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.5789 | μmol/L | 19.1629 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.939 | 112585.3847 | 301407.3108 | 28.7 | 67.6 | #N/A
25609 | 2021-02-22 11:20 | 56.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.4785 | μmol/L | 19.1811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.938 | 112590.505 | 301401.2538 | 28.7 | 67.6 | #N/A
25619 | 2021-02-22 11:20 | 57.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2968 | μmol/L | 19.2176 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.935 | 112569.6549 | 301387.695 | 28.7 | 67.6 | #N/A
25629 | 2021-02-22 11:20 | 57.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.2211 | μmol/L | 19.2176 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.939 | 112580.4533 | 301396.6333 | 28.7 | 67.6 | #N/A
25639 | 2021-02-22 11:21 | 57.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 221.1001 | μmol/L | 19.2419 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.937 | 112580.6468 | 301359.5459 | 28.7 | 67.6 | #N/A
25649 | 2021-02-22 11:21 | 58.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.9036 | μmol/L | 19.2663 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.939 | 112584.9354 | 301351.4227 | 28.7 | 67.6 | #N/A
25659 | 2021-02-22 11:21 | 58.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.8262 | μmol/L | 19.2724 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.941 | 112573.6461 | 301338.4377 | 28.7 | 67.6 | #N/A
25669 | 2021-02-22 11:22 | 58.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.6677 | μmol/L | 19.2967 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.941 | 112562.3374 | 301332.2902 | 28.7 | 67.6 | #N/A
25679 | 2021-02-22 11:22 | 59.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.5453 | μmol/L | 19.3271 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.937 | 112565.6061 | 301326.5221 | 28.7 | 67.6 | #N/A
25689 | 2021-02-22 11:22 | 59.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.423 | μmol/L | 19.3575 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.933 | 112553.7226 | 301302.7191 | 28.7 | 67.6 | #N/A
25699 | 2021-02-22 11:23 | 59.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.3269 | μmol/L | 19.3636 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.936 | 112553.5116 | 301299.9772 | 28.7 | 67.6 | #N/A
25709 | 2021-02-22 11:23 | 60.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.406 | μmol/L | 19.3515 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.936 | 112548.6725 | 301290.1961 | 28.7 | 67.6 | #N/A
25719 | 2021-02-22 11:23 | 60.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.423 | μmol/L | 19.3575 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.933 | 112536.3744 | 301275.1563 | 28.7 | 67.6 | #N/A
25729 | 2021-02-22 11:24 | 60.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.2838 | μmol/L | 19.3819 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.932 | 112529.1258 | 301256.9809 | 28.7 | 67.6 | #N/A
25739 | 2021-02-22 11:24 | 61.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.282 | μmol/L | 19.388 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.93 | 112515.0291 | 301251.1384 | 28.7 | 67.6 | #N/A
25749 | 2021-02-22 11:24 | 61.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.2765 | μmol/L | 19.4062 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112510.4103 | 301243.8308 | 28.7 | 67.6 | #N/A
25759 | 2021-02-22 11:25 | 61.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.2559 | μmol/L | 19.4123 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112509.7125 | 301235.8268 | 28.7 | 67.6 | #N/A
25769 | 2021-02-22 11:25 | 62.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.0227 | μmol/L | 19.4366 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.927 | 112506.444 | 301233.8615 | 28.7 | 67.6 | #N/A
25779 | 2021-02-22 11:25 | 62.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 220.0191 | μmol/L | 19.4488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112503.5434 | 301215.909 | 28.7 | 67.6 | #N/A
25789 | 2021-02-22 11:26 | 62.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.9439 | μmol/L | 19.4488 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.927 | 112489.6559 | 301203.3997 | 28.7 | 67.6 | #N/A
25799 | 2021-02-22 11:26 | 63.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.8239 | μmol/L | 19.4731 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.925 | 112500.1003 | 301197.7101 | 28.7 | 67.6 | #N/A
25809 | 2021-02-22 11:26 | 63.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.6476 | μmol/L | 19.4975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.926 | 112487.4061 | 301186.7388 | 28.7 | 67.6 | #N/A
25819 | 2021-02-22 11:27 | 63.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.7228 | μmol/L | 19.4975 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112494.8535 | 301189.0628 | 28.7 | 67.6 | #N/A
25829 | 2021-02-22 11:27 | 64.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.6065 | μmol/L | 19.5096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112490.4862 | 301181.1015 | 28.7 | 67.6 | #N/A
25839 | 2021-02-22 11:27 | 64.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5278 | μmol/L | 19.5218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112490.1419 | 301162.2616 | 28.7 | 67.6 | #N/A
25849 | 2021-02-22 11:28 | 64.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5842 | μmol/L | 19.5218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112485.5707 | 301160.3739 | 28.7 | 67.6 | #N/A
25859 | 2021-02-22 11:28 | 65.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.526 | μmol/L | 19.5279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112485.0887 | 301177.4313 | 28.7 | 67.6 | #N/A
25869 | 2021-02-22 11:28 | 65.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.5636 | μmol/L | 19.5279 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112488.2092 | 301161.209 | 28.7 | 67.6 | #N/A
25879 | 2021-02-22 11:29 | 65.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3688 | μmol/L | 19.5522 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112489.7146 | 301158.7181 | 28.7 | 67.6 | #N/A
25889 | 2021-02-22 11:29 | 66.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.2528 | μmol/L | 19.5644 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112492.6316 | 301152.998 | 28.7 | 67.6 | #N/A
25899 | 2021-02-22 11:29 | 66.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3073 | μmol/L | 19.5705 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112480.4763 | 301129.5863 | 28.7 | 67.6 | #N/A
25909 | 2021-02-22 11:30 | 66.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.3056 | μmol/L | 19.5766 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112475.9097 | 301139.3923 | 28.7 | 67.6 | #N/A
25919 | 2021-02-22 11:30 | 67.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.2066 | μmol/L | 19.5948 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112471.3341 | 301141.7512 | 28.7 | 67.6 | #N/A
25929 | 2021-02-22 11:30 | 67.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.0923 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112478.3687 | 301128.269 | 28.7 | 67.6 | #N/A
25939 | 2021-02-22 11:31 | 67.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9952 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112475.7189 | 301120.0445 | 28.7 | 67.6 | #N/A
25949 | 2021-02-22 11:31 | 68.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9934 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112481.0302 | 301117.8452 | 28.7 | 67.6 | #N/A
25959 | 2021-02-22 11:31 | 68.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9952 | μmol/L | 19.6131 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112473.6773 | 301104.1159 | 28.7 | 67.6 | #N/A
25969 | 2021-02-22 11:32 | 68.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.0548 | μmol/L | 19.6009 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112479.8554 | 301094.7704 | 28.7 | 67.6 | #N/A
25979 | 2021-02-22 11:32 | 69.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.1093 | μmol/L | 19.607 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112484.0134 | 301096.8146 | 28.7 | 67.6 | #N/A
25989 | 2021-02-22 11:32 | 69.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 219.0497 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.916 | 112486.0831 | 301107.1005 | 28.7 | 67.6 | #N/A
25999 | 2021-02-22 11:33 | 69.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.9747 | μmol/L | 19.6191 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112482.3522 | 301093.9088 | 28.7 | 67.6 | #N/A
26009 | 2021-02-22 11:33 | 70.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8759 | μmol/L | 19.6374 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112486.348 | 301076.719 | 28.7 | 67.6 | #N/A
26019 | 2021-02-22 11:33 | 70.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.818 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112487.0926 | 301083.4733 | 28.7 | 67.6 | #N/A
26029 | 2021-02-22 11:34 | 70.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7414 | μmol/L | 19.6496 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112477.1092 | 301061.7921 | 28.7 | 67.6 | #N/A
26039 | 2021-02-22 11:34 | 71.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.8554 | μmol/L | 19.6435 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.918 | 112477.2624 | 301070.1459 | 28.7 | 67.6 | #N/A
26049 | 2021-02-22 11:34 | 71.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7397 | μmol/L | 19.6557 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112470.3089 | 301068.8121 | 28.7 | 67.6 | #N/A
26059 | 2021-02-22 11:35 | 71.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.7567 | μmol/L | 19.6617 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112466.765 | 301051.6038 | 28.7 | 67.6 | #N/A
26069 | 2021-02-22 11:35 | 72.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6427 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112468.3549 | 301056.2914 | 28.7 | 67.6 | #N/A
26079 | 2021-02-22 11:35 | 72.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6614 | μmol/L | 19.6678 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.92 | 112468.1852 | 301059.0717 | 28.7 | 67.6 | #N/A
26089 | 2021-02-22 11:36 | 72.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6597 | μmol/L | 19.6739 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.918 | 112457.4986 | 301032.8892 | 28.7 | 67.6 | #N/A
26099 | 2021-02-22 11:36 | 73.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6393 | μmol/L | 19.68 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112455.85 | 301039.0727 | 28.7 | 67.6 | #N/A
26109 | 2021-02-22 11:36 | 73.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.5237 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112459.9832 | 301035.5208 | 28.7 | 67.6 | #N/A
26119 | 2021-02-22 11:37 | 73.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.6002 | μmol/L | 19.6861 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112452.2819 | 301014.2093 | 28.7 | 67.6 | #N/A
26129 | 2021-02-22 11:37 | 74.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4676 | μmol/L | 19.6922 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112461.1541 | 301018.3563 | 28.7 | 67.6 | #N/A
26139 | 2021-02-22 11:37 | 74.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4098 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112458.5213 | 301006.7121 | 28.7 | 67.6 | #N/A
26149 | 2021-02-22 11:38 | 74.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3894 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112455.0658 | 301005.0479 | 28.7 | 67.6 | #N/A
26159 | 2021-02-22 11:38 | 75.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4846 | μmol/L | 19.6982 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112462.4595 | 300999.4217 | 28.7 | 67.6 | #N/A
26169 | 2021-02-22 11:38 | 75.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4829 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.917 | 112451.2109 | 300988.5446 | 28.7 | 67.6 | #N/A
26179 | 2021-02-22 11:39 | 75.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.4081 | μmol/L | 19.7043 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112451.8893 | 300985.2931 | 28.7 | 67.6 | #N/A
26189 | 2021-02-22 11:39 | 76.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.369 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112446.2371 | 300976.2699 | 28.7 | 67.6 | #N/A
26199 | 2021-02-22 11:39 | 76.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3504 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112452.9923 | 300970.2414 | 28.7 | 67.6 | #N/A
26209 | 2021-02-22 11:40 | 76.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3368 | μmol/L | 19.7104 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.923 | 112447.0574 | 300975.5695 | 28.7 | 67.6 | #N/A
26219 | 2021-02-22 11:40 | 77.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3504 | μmol/L | 19.7104 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112451.9915 | 300955.7673 | 28.7 | 67.6 | #N/A
26229 | 2021-02-22 11:40 | 77.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3113 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112438.9584 | 300942.419 | 28.7 | 67.6 | #N/A
26239 | 2021-02-22 11:41 | 77.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.3674 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.919 | 112434.4836 | 300953.7434 | 28.7 | 67.6 | #N/A
26249 | 2021-02-22 11:41 | 78.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2909 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112432.75 | 300946.4016 | 28.7 | 67.6 | #N/A
26259 | 2021-02-22 11:41 | 78.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.33 | μmol/L | 19.7165 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.921 | 112438.6726 | 300954.0224 | 28.7 | 67.6 | #N/A
26269 | 2021-02-22 11:42 | 78.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2774 | μmol/L | 19.7226 | °C | 1006 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112437.7799 | 300937.96 | 28.7 | 67.6 | #N/A
26279 | 2021-02-22 11:42 | 79.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2349 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112436.4056 | 300926.1286 | 28.7 | 67.6 | #N/A
26289 | 2021-02-22 11:42 | 79.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2723 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112442.6344 | 300937.8978 | 28.7 | 67.6 | #N/A
26299 | 2021-02-22 11:43 | 79.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2723 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.922 | 112441.8538 | 300924.6007 | 28.7 | 67.6 | #N/A
26309 | 2021-02-22 11:43 | 80.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 218.2349 | μmol/L | 19.7226 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.924 | 112434.7556 | 300921.2056 | 28.7 | 67.6 | #N/A