## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26322 | 2021-02-22 12:43 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2365 | μmol/L | 19.2845 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.458 | 115304.5678 | 300675.5217 | 28.7 | 67.6 | #N/A
26332 | 2021-02-22 12:43 | 0.33206 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2587 | μmol/L | 19.2724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.461 | 115313.1039 | 300677.0044 | 28.7 | 67.6 | #N/A
26342 | 2021-02-22 12:44 | 0.66589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2923 | μmol/L | 19.2784 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.457 | 115328.5203 | 300686.8759 | 28.7 | 67.6 | #N/A
26352 | 2021-02-22 12:44 | 0.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.2608 | μmol/L | 19.2663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.463 | 115342.6384 | 300685.4613 | 28.7 | 67.6 | #N/A | -0.15564 | 9.3385
26362 | 2021-02-22 12:44 | 1.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1892 | μmol/L | 19.2663 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.467 | 115343.0313 | 300680.1595 | 28.7 | 67.6 | #N/A | 214.2345
26372 | 2021-02-22 12:45 | 1.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0439 | μmol/L | 19.2724 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.473 | 115352.6693 | 300671.3231 | 28.7 | 67.6 | #N/A
26382 | 2021-02-22 12:45 | 1.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1376 | μmol/L | 19.2602 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.472 | 115363.5528 | 300684.2138 | 28.7 | 67.6 | #N/A
26392 | 2021-02-22 12:45 | 2.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.1598 | μmol/L | 19.248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.475 | 115365.6881 | 300682.6167 | 28.7 | 67.6 | #N/A
26402 | 2021-02-22 12:46 | 2.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0661 | μmol/L | 19.2602 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.476 | 115381.3221 | 300671.5271 | 28.7 | 67.6 | #N/A
26412 | 2021-02-22 12:46 | 2.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0703 | μmol/L | 19.248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.48 | 115386.0463 | 300675.4738 | 28.7 | 67.6 | #N/A
26422 | 2021-02-22 12:46 | 3.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0167 | μmol/L | 19.248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.483 | 115387.9152 | 300652.4453 | 28.7 | 67.6 | #N/A
26432 | 2021-02-22 12:47 | 3.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 211.0367 | μmol/L | 19.2419 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.484 | 115395.306 | 300641.0387 | 28.7 | 67.6 | #N/A
26442 | 2021-02-22 12:47 | 3.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9809 | μmol/L | 19.248 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.485 | 115401.3126 | 300667.2742 | 28.7 | 67.6 | #N/A
26452 | 2021-02-22 12:47 | 4.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.9116 | μmol/L | 19.2419 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.491 | 115407.2466 | 300655.94 | 28.7 | 67.6 | #N/A
26462 | 2021-02-22 12:48 | 4.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8959 | μmol/L | 19.2359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.494 | 115419.1892 | 300645.1006 | 28.7 | 67.6 | #N/A
26472 | 2021-02-22 12:48 | 4.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8066 | μmol/L | 19.2359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.499 | 115431.1454 | 300640.8182 | 28.7 | 67.6 | #N/A
26482 | 2021-02-22 12:48 | 5.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.8244 | μmol/L | 19.2359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.498 | 115446.5441 | 300650.1008 | 28.7 | 67.6 | #N/A
26492 | 2021-02-22 12:49 | 5.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.7173 | μmol/L | 19.2359 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.504 | 115458.6667 | 300639.4766 | 28.7 | 67.6 | #N/A
26502 | 2021-02-22 12:49 | 5.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.7016 | μmol/L | 19.2298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.507 | 115468.0491 | 300627.8763 | 28.7 | 67.6 | #N/A
26512 | 2021-02-22 12:49 | 6.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.7038 | μmol/L | 19.2237 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.509 | 115481.8708 | 300627.1613 | 28.7 | 67.6 | #N/A
26522 | 2021-02-22 12:50 | 6.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5946 | μmol/L | 19.2298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.513 | 115500.1827 | 300638.8528 | 28.7 | 67.6 | #N/A
26532 | 2021-02-22 12:50 | 6.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4877 | μmol/L | 19.2298 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.519 | 115509.8194 | 300625.5538 | 28.7 | 67.6 | #N/A
26542 | 2021-02-22 12:50 | 7.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.5276 | μmol/L | 19.2176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.521 | 115531.914 | 300627.9522 | 28.7 | 67.6 | #N/A
26552 | 2021-02-22 12:51 | 7.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4742 | μmol/L | 19.2176 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.524 | 115557.6562 | 300619.3168 | 28.7 | 67.6 | #N/A
26562 | 2021-02-22 12:51 | 7.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4585 | μmol/L | 19.2115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.527 | 115575.8535 | 300610.7706 | 28.7 | 67.6 | #N/A
26572 | 2021-02-22 12:51 | 8.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.4229 | μmol/L | 19.2115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.529 | 115582.0851 | 300616.9374 | 28.7 | 67.6 | #N/A
26582 | 2021-02-22 12:52 | 8.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3182 | μmol/L | 19.2054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.537 | 115598.2829 | 300619.8416 | 28.7 | 67.6 | #N/A
26592 | 2021-02-22 12:52 | 8.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.3182 | μmol/L | 19.2054 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.537 | 115613.495 | 300622.3872 | 28.7 | 67.6 | #N/A
26602 | 2021-02-22 12:52 | 9.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.2093 | μmol/L | 19.2115 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.541 | 115623.068 | 300613.6904 | 28.7 | 67.6 | #N/A
26612 | 2021-02-22 12:53 | 9.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.267 | μmol/L | 19.1994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.542 | 115633.7664 | 300602.851 | 28.7 | 67.6 | #N/A
26622 | 2021-02-22 12:53 | 9.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1603 | μmol/L | 19.1994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.548 | 115650.0847 | 300615.4004 | 28.7 | 67.6 | #N/A
26632 | 2021-02-22 12:53 | 10.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1624 | μmol/L | 19.1933 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.55 | 115662.6434 | 300603.3725 | 28.7 | 67.6 | #N/A
26642 | 2021-02-22 12:54 | 10.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.1468 | μmol/L | 19.1872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.553 | 115667.0806 | 300591.568 | 28.7 | 67.6 | #N/A
26652 | 2021-02-22 12:54 | 10.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0891 | μmol/L | 19.1994 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.552 | 115692.02 | 300589.4791 | 28.7 | 67.6 | #N/A
26662 | 2021-02-22 12:54 | 11.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0402 | μmol/L | 19.1872 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.559 | 115706.0396 | 300588.7777 | 28.7 | 67.6 | #N/A
26672 | 2021-02-22 12:55 | 11.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 210.0446 | μmol/L | 19.175 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.563 | 115732.8123 | 300583.3951 | 28.7 | 67.6 | #N/A
26682 | 2021-02-22 12:55 | 11.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9887 | μmol/L | 19.1689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.568 | 115751.0016 | 300585.7044 | 28.7 | 67.6 | #N/A
26692 | 2021-02-22 12:55 | 12.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9177 | μmol/L | 19.1689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.572 | 115768.9278 | 300576.7231 | 28.7 | 67.6 | #N/A
26702 | 2021-02-22 12:56 | 12.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.9177 | μmol/L | 19.1689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.572 | 115783.1073 | 300601.4801 | 28.7 | 67.6 | #N/A
26712 | 2021-02-22 12:56 | 12.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7934 | μmol/L | 19.1689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.579 | 115801.6249 | 300584.5383 | 28.7 | 67.6 | #N/A
26722 | 2021-02-22 12:56 | 13.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.7602 | μmol/L | 19.1629 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.583 | 115814.938 | 300574.0941 | 28.7 | 67.6 | #N/A
26732 | 2021-02-22 12:57 | 13.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6515 | μmol/L | 19.1689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.587 | 115821.8941 | 300576.3768 | 28.7 | 67.6 | #N/A
26742 | 2021-02-22 12:57 | 13.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6914 | μmol/L | 19.1568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.589 | 115843.461 | 300568.5213 | 28.7 | 67.6 | #N/A
26752 | 2021-02-22 12:57 | 14.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.5851 | μmol/L | 19.1568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.595 | 115852.2346 | 300567.9494 | 28.7 | 67.6 | #N/A
26762 | 2021-02-22 12:58 | 14.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.6028 | μmol/L | 19.1568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.594 | 115884.3948 | 300562.518 | 28.7 | 67.6 | #N/A
26772 | 2021-02-22 12:58 | 14.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.481 | μmol/L | 19.1507 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.603 | 115905.2786 | 300577.9142 | 28.7 | 67.6 | #N/A
26782 | 2021-02-22 12:58 | 15.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.4279 | μmol/L | 19.1507 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.606 | 115915.504 | 300574.4799 | 28.7 | 67.6 | #N/A
26792 | 2021-02-22 12:59 | 15.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.357 | μmol/L | 19.1507 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.61 | 115943.1907 | 300569.955 | 28.7 | 67.6 | #N/A
26802 | 2021-02-22 12:59 | 15.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2531 | μmol/L | 19.1446 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.618 | 115953.3341 | 300557.4724 | 28.7 | 67.6 | #N/A
26812 | 2021-02-22 12:59 | 16.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.2686 | μmol/L | 19.1507 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.615 | 115972.4878 | 300562.2493 | 28.7 | 67.6 | #N/A
26822 | 2021-02-22 13:00 | 16.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.1647 | μmol/L | 19.1446 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.623 | 115996.6886 | 300552.4991 | 28.7 | 67.6 | #N/A
26832 | 2021-02-22 13:00 | 16.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.147 | μmol/L | 19.1446 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.624 | 116013.875 | 300549.6332 | 28.7 | 67.6 | #N/A
26842 | 2021-02-22 13:00 | 17.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0609 | μmol/L | 19.1385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.631 | 116030.4782 | 300563.4601 | 28.7 | 67.6 | #N/A
26852 | 2021-02-22 13:01 | 17.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0256 | μmol/L | 19.1385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.633 | 116050.1947 | 300565.2829 | 28.7 | 67.6 | #N/A
26862 | 2021-02-22 13:01 | 17.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9925 | μmol/L | 19.1324 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.637 | 116062.8706 | 300559.4679 | 28.7 | 67.6 | #N/A
26872 | 2021-02-22 13:01 | 18.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0853 | μmol/L | 19.1203 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.636 | 116073.8301 | 300530.605 | 28.7 | 67.6 | #N/A
26882 | 2021-02-22 13:02 | 18.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0147 | μmol/L | 19.1203 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.64 | 116092.4266 | 300541.9339 | 28.7 | 67.6 | #N/A
26892 | 2021-02-22 13:02 | 18.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9993 | μmol/L | 19.1142 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.643 | 116092.9293 | 300546.4855 | 28.7 | 67.6 | #N/A
26902 | 2021-02-22 13:02 | 19.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 209.0545 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.642 | 116093.1563 | 300526.9362 | 28.7 | 67.6 | #N/A
26912 | 2021-02-22 13:03 | 19.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9662 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.647 | 116105.2418 | 300523.2282 | 28.7 | 67.6 | #N/A
26922 | 2021-02-22 13:03 | 19.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9132 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.65 | 116124.1547 | 300530.2134 | 28.7 | 67.6 | #N/A
26932 | 2021-02-22 13:03 | 20.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.9132 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.65 | 116137.9814 | 300541.8671 | 28.7 | 67.6 | #N/A
26942 | 2021-02-22 13:04 | 20.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.8956 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.651 | 116158.5408 | 300547.9429 | 28.7 | 67.6 | #N/A
26952 | 2021-02-22 13:04 | 20.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.7897 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.657 | 116164.2061 | 300543.8513 | 28.7 | 67.6 | #N/A
26962 | 2021-02-22 13:04 | 21.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.8096 | μmol/L | 19.102 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.658 | 116169.3633 | 300536.993 | 28.7 | 67.6 | #N/A
26972 | 2021-02-22 13:05 | 21.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.7038 | μmol/L | 19.102 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.664 | 116197.9045 | 300548.7093 | 28.7 | 67.6 | #N/A
26982 | 2021-02-22 13:05 | 21.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.6862 | μmol/L | 19.102 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.665 | 116208.7243 | 300541.3427 | 28.7 | 67.6 | #N/A
26992 | 2021-02-22 13:05 | 22.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.6356 | μmol/L | 19.0959 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.67 | 116212.1654 | 300542.5103 | 28.7 | 67.6 | #N/A
27002 | 2021-02-22 13:06 | 22.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.618 | μmol/L | 19.0959 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.671 | 116223.0271 | 300529.2593 | 28.7 | 67.6 | #N/A
27012 | 2021-02-22 13:06 | 22.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5475 | μmol/L | 19.0959 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.675 | 116226.1795 | 300519.0659 | 28.7 | 67.6 | #N/A
27022 | 2021-02-22 13:06 | 23.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5851 | μmol/L | 19.0899 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.675 | 116242.9908 | 300519.5737 | 28.7 | 67.6 | #N/A
27032 | 2021-02-22 13:07 | 23.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5498 | μmol/L | 19.0899 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.677 | 116259.9228 | 300511.9226 | 28.7 | 67.6 | #N/A
27042 | 2021-02-22 13:07 | 23.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4641 | μmol/L | 19.0838 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.684 | 116265.7742 | 300520.2996 | 28.7 | 67.6 | #N/A
27052 | 2021-02-22 13:07 | 24.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5192 | μmol/L | 19.0777 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.683 | 116278.0858 | 300527.9586 | 28.7 | 67.6 | #N/A
27062 | 2021-02-22 13:08 | 24.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.5368 | μmol/L | 19.0777 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.682 | 116281.9498 | 300506.2173 | 28.7 | 67.6 | #N/A
27072 | 2021-02-22 13:08 | 24.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4863 | μmol/L | 19.0716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.687 | 116300.858 | 300512.4012 | 28.7 | 67.6 | #N/A
27082 | 2021-02-22 13:08 | 25.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4136 | μmol/L | 19.0777 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.689 | 116310.462 | 300503.551 | 28.7 | 67.6 | #N/A
27092 | 2021-02-22 13:09 | 25.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.4358 | μmol/L | 19.0655 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.692 | 116317.5988 | 300501.0896 | 28.7 | 67.6 | #N/A
27102 | 2021-02-22 13:09 | 25.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.2927 | μmol/L | 19.0716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.698 | 116332.2615 | 300505.6695 | 28.7 | 67.6 | #N/A
27112 | 2021-02-22 13:09 | 26.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3126 | μmol/L | 19.0655 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.699 | 116338.8827 | 300521.3352 | 28.7 | 67.6 | #N/A
27122 | 2021-02-22 13:10 | 26.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3172 | μmol/L | 19.0534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.703 | 116355.8349 | 300491.4592 | 28.7 | 67.6 | #N/A
27132 | 2021-02-22 13:10 | 26.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3172 | μmol/L | 19.0534 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.703 | 116374.3342 | 300497.0286 | 28.7 | 67.6 | #N/A
27142 | 2021-02-22 13:10 | 27.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.3371 | μmol/L | 19.0473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.704 | 116378.5129 | 300492.8377 | 28.7 | 67.6 | #N/A
27152 | 2021-02-22 13:11 | 27.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.2668 | μmol/L | 19.0473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.708 | 116393.2911 | 300501.3214 | 28.7 | 67.6 | #N/A
27162 | 2021-02-22 13:11 | 27.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.2164 | μmol/L | 19.0412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.713 | 116400.8395 | 300507.0627 | 28.7 | 67.6 | #N/A
27172 | 2021-02-22 13:11 | 28.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1988 | μmol/L | 19.0412 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.714 | 116406.4949 | 300488.2378 | 28.7 | 67.6 | #N/A
27182 | 2021-02-22 13:12 | 28.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.166 | μmol/L | 19.0351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.718 | 116431.1318 | 300500.7991 | 28.7 | 67.6 | #N/A
27192 | 2021-02-22 13:12 | 28.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1859 | μmol/L | 19.029 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.719 | 116432.0943 | 300491.959 | 28.7 | 67.6 | #N/A
27202 | 2021-02-22 13:12 | 29.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.0782 | μmol/L | 19.0351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.723 | 116444.6159 | 300494.0626 | 28.7 | 67.6 | #N/A
27212 | 2021-02-22 13:13 | 29.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.118 | μmol/L | 19.0229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.725 | 116462.459 | 300476.1683 | 28.7 | 67.6 | #N/A
27222 | 2021-02-22 13:13 | 29.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.0828 | μmol/L | 19.0229 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.727 | 116474.1841 | 300486.7767 | 28.7 | 67.6 | #N/A
27232 | 2021-02-22 13:13 | 30.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.0852 | μmol/L | 19.0169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.729 | 116484.0364 | 300483.6332 | 28.7 | 67.6 | #N/A
27242 | 2021-02-22 13:14 | 30.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.1203 | μmol/L | 19.0169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.727 | 116487.9987 | 300487.0254 | 28.7 | 67.6 | #N/A
27252 | 2021-02-22 13:14 | 30.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 208.0547 | μmol/L | 19.0047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.735 | 116500.8032 | 300493.8848 | 28.7 | 67.6 | #N/A
27262 | 2021-02-22 13:14 | 31.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9997 | μmol/L | 19.0108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.736 | 116507.4188 | 300472.4229 | 28.7 | 67.6 | #N/A
27272 | 2021-02-22 13:15 | 31.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9799 | μmol/L | 19.0169 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.735 | 116519.349 | 300472.6278 | 28.7 | 67.6 | #N/A
27282 | 2021-02-22 13:15 | 31.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8945 | μmol/L | 19.0108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.742 | 116538.8326 | 300492.4463 | 28.7 | 67.6 | #N/A
27292 | 2021-02-22 13:15 | 32.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.9494 | μmol/L | 19.0047 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.741 | 116548.0568 | 300488.1821 | 28.7 | 67.6 | #N/A
27302 | 2021-02-22 13:16 | 32.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8419 | μmol/L | 19.0108 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.745 | 116551.8672 | 300481.44 | 28.7 | 67.6 | #N/A
27312 | 2021-02-22 13:16 | 32.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8466 | μmol/L | 18.9986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.749 | 116556.9939 | 300484.4136 | 28.7 | 67.6 | #N/A
27322 | 2021-02-22 13:16 | 33.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8641 | μmol/L | 18.9986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.748 | 116555.5406 | 300456.6674 | 28.7 | 67.6 | #N/A
27332 | 2021-02-22 13:17 | 33.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8992 | μmol/L | 18.9986 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.746 | 116564.868 | 300472.3644 | 28.7 | 67.6 | #N/A
27342 | 2021-02-22 13:17 | 33.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.884 | μmol/L | 18.9925 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.749 | 116574.7133 | 300466.8231 | 28.7 | 67.6 | #N/A
27352 | 2021-02-22 13:17 | 34.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8863 | μmol/L | 18.9864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.751 | 116587.1062 | 300475.6448 | 28.7 | 67.6 | #N/A
27362 | 2021-02-22 13:18 | 34.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7987 | μmol/L | 18.9864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 116589.4711 | 300458.8047 | 28.7 | 67.6 | #N/A
27372 | 2021-02-22 13:18 | 34.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8361 | μmol/L | 18.9804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.756 | 116598.2677 | 300460.6482 | 28.7 | 67.6 | #N/A
27382 | 2021-02-22 13:18 | 35.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.8034 | μmol/L | 18.9743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.76 | 116613.505 | 300458.5416 | 28.7 | 67.6 | #N/A
27392 | 2021-02-22 13:19 | 35.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7859 | μmol/L | 18.9743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.761 | 116627.8466 | 300452.4362 | 28.7 | 67.6 | #N/A
27402 | 2021-02-22 13:19 | 35.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.7158 | μmol/L | 18.9743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.765 | 116635.1177 | 300451.1484 | 28.7 | 67.6 | #N/A
27412 | 2021-02-22 13:19 | 36.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.6282 | μmol/L | 18.9743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.77 | 116643.4066 | 300441.4709 | 28.7 | 67.6 | #N/A
27422 | 2021-02-22 13:20 | 36.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5932 | μmol/L | 18.9743 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.772 | 116665.8682 | 300455.919 | 28.7 | 67.6 | #N/A
27432 | 2021-02-22 13:20 | 36.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.668 | μmol/L | 18.9621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.772 | 116667.5897 | 300452.3237 | 28.7 | 67.6 | #N/A
27442 | 2021-02-22 13:20 | 37.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5781 | μmol/L | 18.9682 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.775 | 116677.0535 | 300447.2605 | 28.7 | 67.6 | #N/A
27452 | 2021-02-22 13:21 | 37.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5455 | μmol/L | 18.9621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.779 | 116693.6376 | 300440.1539 | 28.7 | 67.6 | #N/A
27462 | 2021-02-22 13:21 | 37.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.458 | μmol/L | 18.9621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.784 | 116719.6998 | 300447.7424 | 28.7 | 67.6 | #N/A
27472 | 2021-02-22 13:21 | 38.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.4056 | μmol/L | 18.9621 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.787 | 116729.0925 | 300431.0609 | 28.7 | 67.6 | #N/A
27482 | 2021-02-22 13:22 | 38.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.5327 | μmol/L | 18.9499 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.784 | 116739.2976 | 300446.6474 | 28.7 | 67.6 | #N/A
27492 | 2021-02-22 13:22 | 38.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.4302 | μmol/L | 18.9439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.792 | 116766.6807 | 300443.4499 | 28.7 | 67.6 | #N/A
27502 | 2021-02-22 13:22 | 39.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.52 | μmol/L | 18.9378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.789 | 116764.5621 | 300442.7032 | 28.7 | 67.6 | #N/A
27512 | 2021-02-22 13:23 | 39.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.485 | μmol/L | 18.9378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.791 | 116763.8648 | 300438.1501 | 28.7 | 67.6 | #N/A
27522 | 2021-02-22 13:23 | 39.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.3976 | μmol/L | 18.9378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.796 | 116767.2143 | 300436.3068 | 28.7 | 67.6 | #N/A
27532 | 2021-02-22 13:23 | 40.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.3253 | μmol/L | 18.9439 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.798 | 116776.8599 | 300417.6059 | 28.7 | 67.6 | #N/A
27542 | 2021-02-22 13:24 | 40.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.3277 | μmol/L | 18.9378 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.8 | 116782.318 | 300433.822 | 28.7 | 67.6 | #N/A
27552 | 2021-02-22 13:24 | 40.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.4373 | μmol/L | 18.9256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.798 | 116787.8823 | 300428.771 | 28.7 | 67.6 | #N/A
27562 | 2021-02-22 13:24 | 41.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2952 | μmol/L | 18.9317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.804 | 116802.3045 | 300423.1605 | 28.7 | 67.6 | #N/A
27572 | 2021-02-22 13:25 | 41.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2626 | μmol/L | 18.9256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.808 | 116814.8719 | 300442.1163 | 28.7 | 67.6 | #N/A
27582 | 2021-02-22 13:25 | 41.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2452 | μmol/L | 18.9256 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.809 | 116823.2333 | 300437.3574 | 28.7 | 67.6 | #N/A
27592 | 2021-02-22 13:25 | 42.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2476 | μmol/L | 18.9195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.811 | 116834.3251 | 300436.6537 | 28.7 | 67.6 | #N/A
27602 | 2021-02-22 13:26 | 42.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2674 | μmol/L | 18.9134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.812 | 116847.8216 | 300432.2282 | 28.7 | 67.6 | #N/A
27612 | 2021-02-22 13:26 | 42.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2476 | μmol/L | 18.9195 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.811 | 116864.3634 | 300436.022 | 28.7 | 67.6 | #N/A
27622 | 2021-02-22 13:26 | 43.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.2698 | μmol/L | 18.9074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.814 | 116872.9146 | 300438.7215 | 28.7 | 67.6 | #N/A
27632 | 2021-02-22 13:27 | 43.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.1278 | μmol/L | 18.9134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.82 | 116878.5283 | 300425.4173 | 28.7 | 67.6 | #N/A
27642 | 2021-02-22 13:27 | 43.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0929 | μmol/L | 18.9134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.822 | 116893.3959 | 300435.6011 | 28.7 | 67.6 | #N/A
27652 | 2021-02-22 13:27 | 44.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0778 | μmol/L | 18.9074 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.825 | 116895.3065 | 300432.4374 | 28.7 | 67.6 | #N/A
27662 | 2021-02-22 13:28 | 44.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0405 | μmol/L | 18.9134 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.825 | 116907.7228 | 300428.1164 | 28.7 | 67.6 | #N/A
27672 | 2021-02-22 13:28 | 44.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0628 | μmol/L | 18.9013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.828 | 116908.1102 | 300413.8444 | 28.7 | 67.6 | #N/A
27682 | 2021-02-22 13:28 | 45.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0105 | μmol/L | 18.9013 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.831 | 116922.5155 | 300440.3916 | 28.7 | 67.6 | #N/A
27692 | 2021-02-22 13:29 | 45.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0478 | μmol/L | 18.8952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.831 | 116948.5088 | 300439.4438 | 28.7 | 67.6 | #N/A
27702 | 2021-02-22 13:29 | 45.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8931 | μmol/L | 18.9013 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.838 | 116954.519 | 300432.5112 | 28.7 | 67.6 | #N/A
27712 | 2021-02-22 13:29 | 46.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0025 | μmol/L | 18.8891 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.836 | 116964.2818 | 300441.9716 | 28.7 | 67.6 | #N/A
27722 | 2021-02-22 13:30 | 46.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.97 | μmol/L | 18.883 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.84 | 116972.1021 | 300428.2327 | 28.7 | 67.6 | #N/A
27732 | 2021-02-22 13:30 | 46.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0073 | μmol/L | 18.877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.84 | 116967.4302 | 300419.2759 | 28.7 | 67.6 | #N/A
27742 | 2021-02-22 13:30 | 47.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.955 | μmol/L | 18.877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.843 | 116972.979 | 300427.1745 | 28.7 | 67.6 | #N/A
27752 | 2021-02-22 13:31 | 47.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 207.0073 | μmol/L | 18.877 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.84 | 116974.0796 | 300423.1416 | 28.7 | 67.6 | #N/A
27762 | 2021-02-22 13:31 | 47.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9853 | μmol/L | 18.877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.841 | 116986.9892 | 300429.6716 | 28.7 | 67.6 | #N/A
27772 | 2021-02-22 13:31 | 48.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9923 | μmol/L | 18.8709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.843 | 116983.7571 | 300418.132 | 28.7 | 67.6 | #N/A
27782 | 2021-02-22 13:32 | 48.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9923 | μmol/L | 18.8709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.843 | 116981.8271 | 300415.1542 | 28.7 | 67.6 | #N/A
27792 | 2021-02-22 13:32 | 48.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9226 | μmol/L | 18.8709 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.847 | 116996.9076 | 300413.5237 | 28.7 | 67.6 | #N/A
27802 | 2021-02-22 13:32 | 49.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9599 | μmol/L | 18.8648 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.847 | 116998.5464 | 300417.3869 | 28.7 | 67.6 | #N/A
27812 | 2021-02-22 13:33 | 49.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9229 | μmol/L | 18.8587 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 117011.3339 | 300414.9103 | 28.7 | 67.6 | #N/A
27822 | 2021-02-22 13:33 | 49.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8926 | μmol/L | 18.8587 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.853 | 117010.8395 | 300416.6215 | 28.7 | 67.6 | #N/A
27832 | 2021-02-22 13:33 | 50.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.9975 | μmol/L | 18.8465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.851 | 117025.2961 | 300396.0685 | 28.7 | 67.6 | #N/A
27842 | 2021-02-22 13:34 | 50.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8905 | μmol/L | 18.8526 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.855 | 117035.7583 | 300419.7443 | 28.7 | 67.6 | #N/A
27852 | 2021-02-22 13:34 | 50.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8929 | μmol/L | 18.8465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.857 | 117043.4984 | 300395.5644 | 28.7 | 67.6 | #N/A
27862 | 2021-02-22 13:34 | 51.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8755 | μmol/L | 18.8465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.858 | 117066.2547 | 300414.4126 | 28.7 | 67.6 | #N/A
27872 | 2021-02-22 13:35 | 51.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8581 | μmol/L | 18.8465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.859 | 117076.7792 | 300405.0949 | 28.7 | 67.6 | #N/A
27882 | 2021-02-22 13:35 | 51.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.8153 | μmol/L | 18.8344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.866 | 117093.5018 | 300418.3141 | 28.7 | 67.6 | #N/A
27892 | 2021-02-22 13:35 | 52.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.783 | μmol/L | 18.8283 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.87 | 117102.2979 | 300417.6419 | 28.7 | 67.6 | #N/A
27902 | 2021-02-22 13:36 | 52.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.783 | μmol/L | 18.8283 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.87 | 117114.1702 | 300415.6293 | 28.7 | 67.6 | #N/A
27912 | 2021-02-22 13:36 | 52.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.7283 | μmol/L | 18.8344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.871 | 117129.0343 | 300412.4774 | 28.7 | 67.6 | #N/A
27922 | 2021-02-22 13:36 | 53.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.674 | μmol/L | 18.8283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.876 | 117137.9126 | 300426.794 | 28.7 | 67.6 | #N/A
27932 | 2021-02-22 13:37 | 53.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6413 | μmol/L | 18.8344 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.876 | 117141.504 | 300409.5454 | 28.7 | 67.6 | #N/A
27942 | 2021-02-22 13:37 | 53.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6115 | μmol/L | 18.8222 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.882 | 117150.7635 | 300420.3854 | 28.7 | 67.6 | #N/A
27952 | 2021-02-22 13:37 | 54.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6115 | μmol/L | 18.8222 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.882 | 117167.187 | 300422.2587 | 28.7 | 67.6 | #N/A
27962 | 2021-02-22 13:38 | 54.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.5419 | μmol/L | 18.8222 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.886 | 117182.3809 | 300416.6781 | 28.7 | 67.6 | #N/A
27972 | 2021-02-22 13:38 | 54.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.5245 | μmol/L | 18.8222 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.887 | 117180.7206 | 300406.196 | 28.7 | 67.6 | #N/A
27982 | 2021-02-22 13:38 | 55.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.6143 | μmol/L | 18.804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.888 | 117194.7228 | 300415.449 | 28.7 | 67.6 | #N/A
27992 | 2021-02-22 13:39 | 55.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.5295 | μmol/L | 18.81 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.891 | 117206.3873 | 300415.2135 | 28.7 | 67.6 | #N/A
28002 | 2021-02-22 13:39 | 55.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.532 | μmol/L | 18.804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.893 | 117213.1225 | 300411.8269 | 28.7 | 67.6 | #N/A
28012 | 2021-02-22 13:39 | 56.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.4625 | μmol/L | 18.804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.897 | 117234.1324 | 300416.058 | 28.7 | 67.6 | #N/A
28022 | 2021-02-22 13:40 | 56.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.4625 | μmol/L | 18.804 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 23.897 | 117233.7893 | 300405.915 | 28.7 | 67.6 | #N/A
28032 | 2021-02-22 13:40 | 56.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3562 | μmol/L | 18.7979 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.905 | 117249.1529 | 300410.6121 | 28.7 | 67.6 | #N/A
28042 | 2021-02-22 13:40 | 57.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3165 | μmol/L | 18.81 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.903 | 117272.4349 | 300415.4762 | 28.7 | 67.6 | #N/A
28052 | 2021-02-22 13:41 | 57.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.376 | μmol/L | 18.7918 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.906 | 117293.9119 | 300415.0769 | 28.7 | 67.6 | #N/A
28062 | 2021-02-22 13:41 | 57.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3041 | μmol/L | 18.7979 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.908 | 117294.9121 | 300409.0099 | 28.7 | 67.6 | #N/A
28072 | 2021-02-22 13:41 | 58.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.2892 | μmol/L | 18.7918 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.911 | 117300.7322 | 300400.7314 | 28.7 | 67.6 | #N/A
28082 | 2021-02-22 13:42 | 58.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3091 | μmol/L | 18.7857 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.912 | 117311.156 | 300407.7423 | 28.7 | 67.6 | #N/A
28092 | 2021-02-22 13:42 | 58.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3463 | μmol/L | 18.7796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.912 | 117315.4458 | 300425.1341 | 28.7 | 67.6 | #N/A
28102 | 2021-02-22 13:42 | 59.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3314 | μmol/L | 18.7735 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.915 | 117320.7517 | 300404.9858 | 28.7 | 67.6 | #N/A
28112 | 2021-02-22 13:43 | 59.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.2769 | μmol/L | 18.7796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.916 | 117324.273 | 300412.9773 | 28.7 | 67.6 | #N/A
28122 | 2021-02-22 13:43 | 59.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.3141 | μmol/L | 18.7735 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.916 | 117337.7877 | 300417.7319 | 28.7 | 67.6 | #N/A
28132 | 2021-02-22 13:43 | 60.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.21 | μmol/L | 18.7735 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.922 | 117348.2953 | 300416.373 | 28.7 | 67.6 | #N/A
28142 | 2021-02-22 13:44 | 60.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.1555 | μmol/L | 18.7796 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.923 | 117362.8874 | 300418.2495 | 28.7 | 67.6 | #N/A
28152 | 2021-02-22 13:44 | 60.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 206.1703 | μmol/L | 18.7857 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.92 | 117361.1536 | 300393.8062 | 28.7 | 67.6 | #N/A
28162 | 2021-02-22 13:44 | 61.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.9548 | μmol/L | 18.804 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.926 | 117377.6777 | 300421.5732 | 28.7 | 67.6 | #N/A
28172 | 2021-02-22 13:45 | 61.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.8287 | μmol/L | 18.8161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.929 | 117380.7454 | 300418.8436 | 28.7 | 67.6 | #N/A
28182 | 2021-02-22 13:45 | 61.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.7891 | μmol/L | 18.8283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.927 | 117394.1372 | 300410.0715 | 28.7 | 67.6 | #N/A
28192 | 2021-02-22 13:45 | 62.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.6432 | μmol/L | 18.8465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.929 | 117399.4164 | 300385.9735 | 28.7 | 67.6 | #N/A
28202 | 2021-02-22 13:46 | 62.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.3717 | μmol/L | 18.877 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.934 | 117412.013 | 300403.2313 | 28.7 | 67.6 | #N/A
28212 | 2021-02-22 13:46 | 62.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.2779 | μmol/L | 18.8952 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.933 | 117424.2453 | 300414.1218 | 28.7 | 67.6 | #N/A
28222 | 2021-02-22 13:46 | 63.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 205.0045 | μmol/L | 18.9317 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.936 | 117433.2364 | 300401.0048 | 28.7 | 67.6 | #N/A
28232 | 2021-02-22 13:47 | 63.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.6725 | μmol/L | 18.9864 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.936 | 117442.5735 | 300415.6055 | 28.7 | 67.6 | #N/A
28242 | 2021-02-22 13:47 | 63.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.3093 | μmol/L | 19.0351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.94 | 117444.606 | 300410.8018 | 28.7 | 67.6 | #N/A
28252 | 2021-02-22 13:47 | 64.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.2578 | μmol/L | 19.0351 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.943 | 117464.6367 | 300398.8062 | 28.7 | 67.6 | #N/A
28262 | 2021-02-22 13:48 | 64.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.1671 | μmol/L | 19.0473 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.944 | 117474.4721 | 300422.0158 | 28.7 | 67.6 | #N/A
28272 | 2021-02-22 13:48 | 64.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.9688 | μmol/L | 19.0716 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117489.9507 | 300409.5359 | 28.7 | 67.6 | #N/A
28282 | 2021-02-22 13:48 | 65.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.9149 | μmol/L | 19.0777 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117513.7927 | 300422.2838 | 28.7 | 67.6 | #N/A
28292 | 2021-02-22 13:49 | 65.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.6802 | μmol/L | 19.1081 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117534.4688 | 300418.4995 | 28.7 | 67.6 | #N/A
28302 | 2021-02-22 13:49 | 65.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.4116 | μmol/L | 19.1385 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117539.2073 | 300410.6892 | 28.7 | 67.6 | #N/A
28312 | 2021-02-22 13:49 | 66.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.2849 | μmol/L | 19.1568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.957 | 117558.521 | 300413.3118 | 28.7 | 67.6 | #N/A
28322 | 2021-02-22 13:50 | 66.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.2142 | μmol/L | 19.1629 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.959 | 117559.061 | 300423.1316 | 28.7 | 67.6 | #N/A
28332 | 2021-02-22 13:50 | 66.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.1022 | μmol/L | 19.1872 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.957 | 117565.9691 | 300416.503 | 28.7 | 67.6 | #N/A
28342 | 2021-02-22 13:50 | 67.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.9975 | μmol/L | 19.1933 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.961 | 117577.1627 | 300421.3702 | 28.7 | 67.6 | #N/A
28352 | 2021-02-22 13:51 | 67.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.9028 | μmol/L | 19.2176 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.958 | 117577.7432 | 300418.8031 | 28.7 | 67.6 | #N/A
28362 | 2021-02-22 13:51 | 67.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.7911 | μmol/L | 19.2419 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117589.4465 | 300424.1353 | 28.7 | 67.6 | #N/A
28372 | 2021-02-22 13:51 | 68.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.5239 | μmol/L | 19.2724 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.961 | 117596.1192 | 300434.0192 | 28.7 | 67.6 | #N/A
28382 | 2021-02-22 13:52 | 68.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.4682 | μmol/L | 19.2845 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.96 | 117603.8319 | 300421.8692 | 28.7 | 67.6 | #N/A
28392 | 2021-02-22 13:52 | 68.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.4125 | μmol/L | 19.2967 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.959 | 117601.1994 | 300420.3078 | 28.7 | 67.6 | #N/A
28402 | 2021-02-22 13:52 | 69.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.3035 | μmol/L | 19.3149 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.959 | 117612.8263 | 300435.529 | 28.7 | 67.6 | #N/A
28412 | 2021-02-22 13:53 | 69.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1775 | μmol/L | 19.3332 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.96 | 117607.9908 | 300420.0809 | 28.7 | 67.6 | #N/A
28422 | 2021-02-22 13:53 | 69.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1366 | μmol/L | 19.3515 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117610.6508 | 300420.5793 | 28.7 | 67.6 | #N/A
28432 | 2021-02-22 13:53 | 70.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1173 | μmol/L | 19.3575 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.955 | 117604.7589 | 300416.5329 | 28.7 | 67.6 | #N/A
28442 | 2021-02-22 13:54 | 70.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.0448 | μmol/L | 19.3697 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.955 | 117600.8966 | 300413.0083 | 28.7 | 67.6 | #N/A
28452 | 2021-02-22 13:54 | 70.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9723 | μmol/L | 19.3819 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.955 | 117600.8637 | 300403.0279 | 28.7 | 67.6 | #N/A
28462 | 2021-02-22 13:54 | 71.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.9654 | μmol/L | 19.4001 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117609.0982 | 300416.9137 | 28.7 | 67.6 | #N/A
28472 | 2021-02-22 13:55 | 71.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.876 | μmol/L | 19.4123 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117609.5077 | 300415.576 | 28.7 | 67.6 | #N/A
28482 | 2021-02-22 13:55 | 71.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.7142 | μmol/L | 19.4366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117610.1751 | 300412.1863 | 28.7 | 67.6 | #N/A
28492 | 2021-02-22 13:55 | 72.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.8715 | μmol/L | 19.4245 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117619.0291 | 300410.5993 | 28.7 | 67.6 | #N/A
28502 | 2021-02-22 13:56 | 72.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.7142 | μmol/L | 19.4366 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117614.4839 | 300397.7397 | 28.7 | 67.6 | #N/A
28512 | 2021-02-22 13:56 | 72.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.6035 | μmol/L | 19.461 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117621.7079 | 300401.7257 | 28.7 | 67.6 | #N/A
28522 | 2021-02-22 13:56 | 73.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.5311 | μmol/L | 19.4731 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117627.9859 | 300412.5948 | 28.7 | 67.6 | #N/A
28532 | 2021-02-22 13:57 | 73.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4566 | μmol/L | 19.4914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117617.3575 | 300382.3113 | 28.7 | 67.6 | #N/A
28542 | 2021-02-22 13:57 | 73.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.3866 | μmol/L | 19.4975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117619.125 | 300393.7328 | 28.7 | 67.6 | #N/A
28552 | 2021-02-22 13:57 | 74.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4036 | μmol/L | 19.4975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117624.9952 | 300396.2415 | 28.7 | 67.6 | #N/A
28562 | 2021-02-22 13:58 | 74.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4013 | μmol/L | 19.5035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117637.8577 | 300374.9209 | 28.7 | 67.6 | #N/A
28572 | 2021-02-22 13:58 | 74.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.3291 | μmol/L | 19.5157 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117646.9763 | 300392.5658 | 28.7 | 67.6 | #N/A
28582 | 2021-02-22 13:58 | 75.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.2423 | μmol/L | 19.5218 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117648.6415 | 300382.3828 | 28.7 | 67.6 | #N/A
28592 | 2021-02-22 13:59 | 75.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.2231 | μmol/L | 19.5279 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117648.4145 | 300384.1432 | 28.7 | 67.6 | #N/A
28602 | 2021-02-22 13:59 | 75.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.151 | μmol/L | 19.5401 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117659.424 | 300375.7388 | 28.7 | 67.6 | #N/A
28612 | 2021-02-22 13:59 | 76.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.973 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117671.2006 | 300378.3568 | 28.7 | 67.6 | #N/A
28622 | 2021-02-22 14:00 | 76.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.0282 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117675.2948 | 300375.3424 | 28.7 | 67.6 | #N/A
28632 | 2021-02-22 14:00 | 76.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9032 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.952 | 117680.1609 | 300392.0638 | 28.7 | 67.6 | #N/A
28642 | 2021-02-22 14:00 | 77.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9561 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117688.8647 | 300380.4739 | 28.7 | 67.6 | #N/A
28652 | 2021-02-22 14:01 | 77.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9708 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117690.1706 | 300369.1483 | 28.7 | 67.6 | #N/A
28662 | 2021-02-22 14:01 | 77.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.8312 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.952 | 117696.9035 | 300389.3402 | 28.7 | 67.6 | #N/A
28672 | 2021-02-22 14:01 | 78.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.793 | μmol/L | 19.5948 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117700.7446 | 300393.9783 | 28.7 | 67.6 | #N/A
28682 | 2021-02-22 14:02 | 78.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.7233 | μmol/L | 19.6009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.952 | 117697.1516 | 300377.7015 | 28.7 | 67.6 | #N/A
28692 | 2021-02-22 14:02 | 78.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.7908 | μmol/L | 19.6009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117698.0752 | 300363.9031 | 28.7 | 67.6 | #N/A
28702 | 2021-02-22 14:02 | 79.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.7211 | μmol/L | 19.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117698.7825 | 300372.1026 | 28.7 | 67.6 | #N/A
28712 | 2021-02-22 14:03 | 79.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.7358 | μmol/L | 19.6131 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117698.4012 | 300364.0304 | 28.7 | 67.6 | #N/A
28722 | 2021-02-22 14:03 | 79.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.6829 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117702.0012 | 300344.8008 | 28.7 | 67.6 | #N/A
28732 | 2021-02-22 14:03 | 80.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.5773 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117699.7685 | 300358.0512 | 28.7 | 67.6 | #N/A
28742 | 2021-02-22 14:04 | 80.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.6132 | μmol/L | 19.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117705.5387 | 300357.7791 | 28.7 | 67.6 | #N/A
28752 | 2021-02-22 14:04 | 80.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4886 | μmol/L | 19.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117704.0548 | 300358.6269 | 28.7 | 67.6 | #N/A
28762 | 2021-02-22 14:04 | 81.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.5898 | μmol/L | 19.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117697.1923 | 300346.9739 | 28.7 | 67.6 | #N/A
28772 | 2021-02-22 14:05 | 81.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.5392 | μmol/L | 19.6435 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117699.9588 | 300337.9047 | 28.7 | 67.6 | #N/A
28782 | 2021-02-22 14:05 | 81.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4674 | μmol/L | 19.6557 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117697.2269 | 300355.989 | 28.7 | 67.6 | #N/A
28792 | 2021-02-22 14:05 | 82.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4652 | μmol/L | 19.6617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117701.476 | 300334.2964 | 28.7 | 67.6 | #N/A
28802 | 2021-02-22 14:06 | 82.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3787 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117697.9663 | 300338.8222 | 28.7 | 67.6 | #N/A
28812 | 2021-02-22 14:06 | 82.9985 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4124 | μmol/L | 19.6678 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117693.5023 | 300331.8576 | 28.7 | 67.6 | #N/A
28822 | 2021-02-22 14:06 | 83.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4081 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.943 | 117688.4421 | 300322.3782 | 28.7 | 67.6 | #N/A
28832 | 2021-02-22 14:07 | 83.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3048 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117697.2125 | 300325.7623 | 28.7 | 67.6 | #N/A
28842 | 2021-02-22 14:07 | 83.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3238 | μmol/L | 19.68 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117705.3269 | 300332.9515 | 28.7 | 67.6 | #N/A
28852 | 2021-02-22 14:07 | 84.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2879 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117699.0998 | 300337.9269 | 28.7 | 67.6 | #N/A
28862 | 2021-02-22 14:08 | 84.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3385 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117682.045 | 300318.4654 | 28.7 | 67.6 | #N/A
28872 | 2021-02-22 14:08 | 84.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3363 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.943 | 117689.4584 | 300322.0698 | 28.7 | 67.6 | #N/A
28882 | 2021-02-22 14:08 | 85.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2668 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117696.9313 | 300329.6534 | 28.7 | 67.6 | #N/A
28892 | 2021-02-22 14:09 | 85.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3385 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117692.7001 | 300323.3575 | 28.7 | 67.6 | #N/A
28902 | 2021-02-22 14:09 | 85.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3026 | μmol/L | 19.6922 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117688.2103 | 300318.8208 | 28.7 | 67.6 | #N/A
28912 | 2021-02-22 14:09 | 86.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2162 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117690.5214 | 300323.8521 | 28.7 | 67.6 | #N/A
28922 | 2021-02-22 14:10 | 86.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2309 | μmol/L | 19.7043 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117696.1696 | 300309.941 | 28.7 | 67.6 | #N/A
28932 | 2021-02-22 14:10 | 86.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1972 | μmol/L | 19.7043 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117689.1087 | 300315.1245 | 28.7 | 67.6 | #N/A
28942 | 2021-02-22 14:10 | 87.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0919 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117684.7392 | 300315.6063 | 28.7 | 67.6 | #N/A
28952 | 2021-02-22 14:11 | 87.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1592 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117699.2899 | 300300.7733 | 28.7 | 67.6 | #N/A
28962 | 2021-02-22 14:11 | 87.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1277 | μmol/L | 19.7104 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117705.2912 | 300297.4169 | 28.7 | 67.6 | #N/A
28972 | 2021-02-22 14:11 | 88.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1592 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117692.1102 | 300307.4162 | 28.7 | 67.6 | #N/A
28982 | 2021-02-22 14:12 | 88.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0897 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117688.3715 | 300300.2155 | 28.7 | 67.6 | #N/A
28992 | 2021-02-22 14:12 | 88.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2097 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.942 | 117685.7561 | 300314.4605 | 28.7 | 67.6 | #N/A
29002 | 2021-02-22 14:12 | 89.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1592 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117683.0625 | 300298.9551 | 28.7 | 67.6 | #N/A
29012 | 2021-02-22 14:13 | 89.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1402 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.944 | 117678.4422 | 300294.0127 | 28.7 | 67.6 | #N/A
29022 | 2021-02-22 14:13 | 89.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1592 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117679.8642 | 300290.9641 | 28.7 | 67.6 | #N/A
29032 | 2021-02-22 14:13 | 90.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1044 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.944 | 117689.3381 | 300293.573 | 28.7 | 67.6 | #N/A
29042 | 2021-02-22 14:14 | 90.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1066 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117689.4613 | 300284.0635 | 28.7 | 67.6 | #N/A
29052 | 2021-02-22 14:14 | 90.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1234 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117682.2522 | 300280.4131 | 28.7 | 67.6 | #N/A
29062 | 2021-02-22 14:14 | 91.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1234 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117682.8482 | 300289.774 | 28.7 | 67.6 | #N/A
29072 | 2021-02-22 14:15 | 91.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0561 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117693.9568 | 300286.5388 | 28.7 | 67.6 | #N/A
29082 | 2021-02-22 14:15 | 91.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0876 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.945 | 117697.1058 | 300285.9042 | 28.7 | 67.6 | #N/A
29092 | 2021-02-22 14:15 | 92.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0203 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.949 | 117685.907 | 300265.989 | 28.7 | 67.6 | #N/A
29102 | 2021-02-22 14:16 | 92.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0371 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117683.0451 | 300275.6478 | 28.7 | 67.6 | #N/A
29112 | 2021-02-22 14:16 | 92.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0707 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117693.7207 | 300272.4995 | 28.7 | 67.6 | #N/A
29122 | 2021-02-22 14:16 | 93.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1212 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.943 | 117688.1661 | 300273.3283 | 28.7 | 67.6 | #N/A
29132 | 2021-02-22 14:17 | 93.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0349 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.946 | 117689.5049 | 300278.2067 | 28.7 | 67.6 | #N/A
29142 | 2021-02-22 14:17 | 93.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0539 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.947 | 117690.3424 | 300255.9108 | 28.7 | 67.6 | #N/A
29152 | 2021-02-22 14:17 | 94.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9866 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117697.7218 | 300275.6029 | 28.7 | 67.6 | #N/A
29162 | 2021-02-22 14:18 | 94.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0013 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117696.2008 | 300264.0216 | 28.7 | 67.6 | #N/A
29172 | 2021-02-22 14:18 | 94.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0013 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117702.9906 | 300255.5449 | 28.7 | 67.6 | #N/A
29182 | 2021-02-22 14:18 | 95.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9508 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117700.2421 | 300254.3164 | 28.7 | 67.6 | #N/A
29192 | 2021-02-22 14:19 | 95.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9677 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117702.0004 | 300260.938 | 28.7 | 67.6 | #N/A
29202 | 2021-02-22 14:19 | 95.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9655 | μmol/L | 19.7408 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117708.4587 | 300257.0318 | 28.7 | 67.6 | #N/A
29212 | 2021-02-22 14:19 | 96.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9677 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117707.2743 | 300257.2477 | 28.7 | 67.6 | #N/A
29222 | 2021-02-22 14:20 | 96.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9319 | μmol/L | 19.7408 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.95 | 117697.4334 | 300254.5116 | 28.7 | 67.6 | #N/A
29232 | 2021-02-22 14:20 | 96.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9655 | μmol/L | 19.7408 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.948 | 117688.9312 | 300236.7129 | 28.7 | 67.6 | #N/A
29242 | 2021-02-22 14:20 | 97.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.934 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.952 | 117698.2985 | 300256.6788 | 28.7 | 67.6 | #N/A
29252 | 2021-02-22 14:21 | 97.6652 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.934 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.952 | 117699.4176 | 300256.1036 | 28.7 | 67.6 | #N/A
29262 | 2021-02-22 14:21 | 97.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9508 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.951 | 117697.4182 | 300252.5654 | 28.7 | 67.6 | #N/A
29272 | 2021-02-22 14:21 | 98.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9194 | μmol/L | 19.7287 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.955 | 117691.5796 | 300244.4108 | 28.7 | 67.6 | #N/A
29282 | 2021-02-22 14:22 | 98.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9004 | μmol/L | 19.7348 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.954 | 117709.0486 | 300259.7187 | 28.7 | 67.6 | #N/A
29292 | 2021-02-22 14:22 | 98.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9384 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117713.5444 | 300255.2645 | 28.7 | 67.6 | #N/A
29302 | 2021-02-22 14:22 | 99.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9384 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117714.9307 | 300247.3295 | 28.7 | 67.6 | #N/A
29312 | 2021-02-22 14:23 | 99.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9552 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.955 | 117713.3848 | 300244.7329 | 28.7 | 67.6 | #N/A
29322 | 2021-02-22 14:23 | 99.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9215 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.957 | 117714.6079 | 300242.1651 | 28.7 | 67.6 | #N/A
29332 | 2021-02-22 14:23 | 100.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8901 | μmol/L | 19.7165 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.961 | 117726.4714 | 300241.1894 | 28.7 | 67.6 | #N/A
29342 | 2021-02-22 14:24 | 100.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9384 | μmol/L | 19.7226 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.956 | 117724.5576 | 300252.5901 | 28.7 | 67.6 | #N/A
29352 | 2021-02-22 14:24 | 100.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9595 | μmol/L | 19.7104 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.959 | 117733.8195 | 300258.5792 | 28.7 | 67.6 | #N/A
29362 | 2021-02-22 14:24 | 101.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9259 | μmol/L | 19.7104 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.961 | 117738.1248 | 300251.3648 | 28.7 | 67.6 | #N/A
29372 | 2021-02-22 14:25 | 101.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9617 | μmol/L | 19.7043 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.961 | 117748.6675 | 300254.4275 | 28.7 | 67.6 | #N/A
29382 | 2021-02-22 14:25 | 101.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9134 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.966 | 117750.8718 | 300246.9864 | 28.7 | 67.6 | #N/A
29392 | 2021-02-22 14:25 | 102.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9471 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.964 | 117755.4052 | 300234.8732 | 28.7 | 67.6 | #N/A
29402 | 2021-02-22 14:26 | 102.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9302 | μmol/L | 19.6982 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.965 | 117765.7247 | 300271.1679 | 28.7 | 67.6 | #N/A
29412 | 2021-02-22 14:26 | 102.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0019 | μmol/L | 19.6861 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.965 | 117764.1374 | 300237.825 | 28.7 | 67.6 | #N/A
29422 | 2021-02-22 14:26 | 103.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1071 | μmol/L | 19.6739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.963 | 117761.8179 | 300239.3717 | 28.7 | 67.6 | #N/A
29432 | 2021-02-22 14:27 | 103.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9894 | μmol/L | 19.6739 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.97 | 117766.0535 | 300250.8075 | 28.7 | 67.6 | #N/A
29442 | 2021-02-22 14:27 | 103.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0947 | μmol/L | 19.6617 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.968 | 117782.0579 | 300248.5265 | 28.7 | 67.6 | #N/A
29452 | 2021-02-22 14:27 | 104.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1664 | μmol/L | 19.6496 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.968 | 117783.4174 | 300250.0751 | 28.7 | 67.6 | #N/A
29462 | 2021-02-22 14:28 | 104.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2571 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.969 | 117778.2487 | 300266.2044 | 28.7 | 67.6 | #N/A
29472 | 2021-02-22 14:28 | 104.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2403 | μmol/L | 19.6313 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.97 | 117780.7203 | 300254.2304 | 28.7 | 67.6 | #N/A
29482 | 2021-02-22 14:28 | 105.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.192 | μmol/L | 19.6252 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 117797.0719 | 300254.7285 | 28.7 | 67.6 | #N/A
29492 | 2021-02-22 14:29 | 105.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2616 | μmol/L | 19.6191 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 117805.5033 | 300247.6082 | 28.7 | 67.6 | #N/A
29502 | 2021-02-22 14:29 | 105.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3333 | μmol/L | 19.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.973 | 117802.5527 | 300237.9742 | 28.7 | 67.6 | #N/A
29512 | 2021-02-22 14:29 | 106.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.266 | μmol/L | 19.607 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.977 | 117811.4404 | 300253.9766 | 28.7 | 67.6 | #N/A
29522 | 2021-02-22 14:30 | 106.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.285 | μmol/L | 19.6009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.978 | 117815.6148 | 300248.7839 | 28.7 | 67.6 | #N/A
29532 | 2021-02-22 14:30 | 106.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3355 | μmol/L | 19.6009 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.975 | 117830.9329 | 300249.9655 | 28.7 | 67.6 | #N/A
29542 | 2021-02-22 14:30 | 107.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.359 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.98 | 117837.8219 | 300242.6388 | 28.7 | 67.6 | #N/A
29552 | 2021-02-22 14:31 | 107.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3422 | μmol/L | 19.5826 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.981 | 117839.6289 | 300248.145 | 28.7 | 67.6 | #N/A
29562 | 2021-02-22 14:31 | 107.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3613 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.982 | 117844.2196 | 300230.829 | 28.7 | 67.6 | #N/A
29572 | 2021-02-22 14:31 | 108.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3276 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.984 | 117865.8401 | 300240.4413 | 28.7 | 67.6 | #N/A
29582 | 2021-02-22 14:32 | 108.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2603 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.988 | 117875.2074 | 300240.7906 | 28.7 | 67.6 | #N/A
29592 | 2021-02-22 14:32 | 108.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2816 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.991 | 117880.7571 | 300238.5317 | 28.7 | 67.6 | #N/A
29602 | 2021-02-22 14:32 | 109.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1616 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.996 | 117892.384 | 300242.0576 | 28.7 | 67.6 | #N/A
29612 | 2021-02-22 14:33 | 109.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1279 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.998 | 117914.7597 | 300227.8509 | 28.7 | 67.6 | #N/A
29622 | 2021-02-22 14:33 | 109.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.008 | μmol/L | 19.5766 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.003 | 117941.2484 | 300219.5563 | 28.7 | 67.6 | #N/A
29632 | 2021-02-22 14:33 | 110.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0271 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.004 | 117953.3267 | 300236.8343 | 28.7 | 67.6 | #N/A
29642 | 2021-02-22 14:34 | 110.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0439 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.003 | 117953.5995 | 300229.7002 | 28.7 | 67.6 | #N/A
29652 | 2021-02-22 14:34 | 110.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0607 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.002 | 117968.0218 | 300242.1914 | 28.7 | 67.6 | #N/A
29662 | 2021-02-22 14:34 | 111.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9095 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.011 | 117988.9799 | 300230.7667 | 28.7 | 67.6 | #N/A
29672 | 2021-02-22 14:35 | 111.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8613 | μmol/L | 19.5644 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.016 | 118000.6456 | 300226.3369 | 28.7 | 67.6 | #N/A
29682 | 2021-02-22 14:35 | 111.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7584 | μmol/L | 19.5705 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.02 | 118028.9231 | 300229.1095 | 28.7 | 67.6 | #N/A
29692 | 2021-02-22 14:35 | 112.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8132 | μmol/L | 19.5583 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.021 | 118049.6157 | 300234.71 | 28.7 | 67.6 | #N/A
29702 | 2021-02-22 14:36 | 112.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7461 | μmol/L | 19.5583 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.025 | 118058.8427 | 300223.8555 | 28.7 | 67.6 | #N/A
29712 | 2021-02-22 14:36 | 112.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8322 | μmol/L | 19.5522 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 24.022 | 118054.7809 | 300245.6873 | 28.7 | 67.6 | #N/A