## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23900 | 2021-02-22 10:23 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.2249 | μmol/L | 19.0628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 147299.89 | 280360.3246 | 36.4 | 83.1 | #N/A
23910 | 2021-02-22 10:23 | 0.33492 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.2914 | μmol/L | 19.0566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.487 | 147274.4824 | 280337.4339 | 36.4 | 83.1 | #N/A
23920 | 2021-02-22 10:23 | 0.66847 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.2876 | μmol/L | 19.0628 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 147227.8771 | 280295.0165 | 36.4 | 83.1 | #N/A
23930 | 2021-02-22 10:24 | 1.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.1964 | μmol/L | 19.075 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 147192.7094 | 280261.9579 | 36.4 | 83.1 | #N/A | -0.19025 | 11.415
23940 | 2021-02-22 10:24 | 1.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.1223 | μmol/L | 19.0934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 147154.7336 | 280229.281 | 36.4 | 83.1 | #N/A | 257.8686
23950 | 2021-02-22 10:24 | 1.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4453 | μmol/L | 19.0444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.484 | 147118.3672 | 280198.1693 | 36.4 | 83.1 | #N/A
23960 | 2021-02-22 10:25 | 2.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.3255 | μmol/L | 19.0689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.481 | 147076.1745 | 280169.8837 | 36.4 | 83.1 | #N/A
23970 | 2021-02-22 10:25 | 2.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.3255 | μmol/L | 19.0689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.481 | 147052.1914 | 280125.9192 | 36.4 | 83.1 | #N/A
23980 | 2021-02-22 10:25 | 2.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.3958 | μmol/L | 19.0566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 147010.36 | 280116.4785 | 36.4 | 83.1 | #N/A
23990 | 2021-02-22 10:26 | 3.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.5575 | μmol/L | 19.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 146973.4426 | 280074.4403 | 36.4 | 83.1 | #N/A
24000 | 2021-02-22 10:26 | 3.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7193 | μmol/L | 19.0076 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.484 | 146940.2994 | 280046.1381 | 36.4 | 83.1 | #N/A
24010 | 2021-02-22 10:26 | 3.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.5212 | μmol/L | 19.0566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146904.4208 | 280024.8175 | 36.4 | 83.1 | #N/A
24020 | 2021-02-22 10:27 | 4.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4091 | μmol/L | 19.0689 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 146871.3124 | 279987.9207 | 36.4 | 83.1 | #N/A
24030 | 2021-02-22 10:27 | 4.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7782 | μmol/L | 19.0138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 146835.9861 | 279974.5239 | 36.4 | 83.1 | #N/A
24040 | 2021-02-22 10:27 | 4.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4376 | μmol/L | 19.0566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 146801.2718 | 279937.2809 | 36.4 | 83.1 | #N/A
24050 | 2021-02-22 10:28 | 5.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4794 | μmol/L | 19.0566 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 146774.3065 | 279915.1927 | 36.4 | 83.1 | #N/A
24060 | 2021-02-22 10:28 | 5.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.82 | μmol/L | 19.0138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 146741.6196 | 279869.5942 | 36.4 | 83.1 | #N/A
24070 | 2021-02-22 10:28 | 5.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.8867 | μmol/L | 19.0076 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146698.9078 | 279844.0819 | 36.4 | 83.1 | #N/A
24080 | 2021-02-22 10:29 | 6.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.8867 | μmol/L | 19.0076 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146669.4049 | 279828.8442 | 36.4 | 83.1 | #N/A
24090 | 2021-02-22 10:29 | 6.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7039 | μmol/L | 19.0321 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146634.8731 | 279800.287 | 36.4 | 83.1 | #N/A
24100 | 2021-02-22 10:29 | 6.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7914 | μmol/L | 19.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146617.5132 | 279784.3175 | 36.4 | 83.1 | #N/A
24110 | 2021-02-22 10:30 | 7.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.6544 | μmol/L | 19.0444 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146576.2235 | 279748.4418 | 36.4 | 83.1 | #N/A
24120 | 2021-02-22 10:30 | 7.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.6505 | μmol/L | 19.0505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 146549.0006 | 279723.4521 | 36.4 | 83.1 | #N/A
24130 | 2021-02-22 10:30 | 7.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7419 | μmol/L | 19.0383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 146519.4199 | 279707.2097 | 36.4 | 83.1 | #N/A
24140 | 2021-02-22 10:31 | 8.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9247 | μmol/L | 19.0138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 146486.5168 | 279667.5287 | 36.4 | 83.1 | #N/A
24150 | 2021-02-22 10:31 | 8.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.8371 | μmol/L | 19.0199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146467.8106 | 279657.7452 | 36.4 | 83.1 | #N/A
24160 | 2021-02-22 10:31 | 8.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7496 | μmol/L | 19.026 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146439.58 | 279626.4585 | 36.4 | 83.1 | #N/A
24170 | 2021-02-22 10:32 | 9.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.841 | μmol/L | 19.0138 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146414.6692 | 279600.5346 | 36.4 | 83.1 | #N/A
24180 | 2021-02-22 10:32 | 9.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.0449 | μmol/L | 18.9893 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146388.1922 | 279591.5255 | 36.4 | 83.1 | #N/A
24190 | 2021-02-22 10:32 | 9.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9743 | μmol/L | 19.0015 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146372.8649 | 279563.9935 | 36.4 | 83.1 | #N/A
24200 | 2021-02-22 10:33 | 10.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9115 | μmol/L | 19.0015 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 146345.8766 | 279550.2351 | 36.4 | 83.1 | #N/A
24210 | 2021-02-22 10:33 | 10.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.2948 | μmol/L | 18.9586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146317.6208 | 279512.8564 | 36.4 | 83.1 | #N/A
24220 | 2021-02-22 10:33 | 10.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.0906 | μmol/L | 18.9831 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146288.1997 | 279497.776 | 36.4 | 83.1 | #N/A
24230 | 2021-02-22 10:34 | 11.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9782 | μmol/L | 18.9954 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146270.228 | 279475.4496 | 36.4 | 83.1 | #N/A
24240 | 2021-02-22 10:34 | 11.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9534 | μmol/L | 19.0015 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146248.7483 | 279468.0331 | 36.4 | 83.1 | #N/A
24250 | 2021-02-22 10:34 | 11.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.0239 | μmol/L | 18.9893 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 146232.5502 | 279437.9624 | 36.4 | 83.1 | #N/A
24260 | 2021-02-22 10:35 | 12.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1287 | μmol/L | 18.9893 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.471 | 146212.3045 | 279428.6352 | 36.4 | 83.1 | #N/A
24270 | 2021-02-22 10:35 | 12.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.0906 | μmol/L | 18.9831 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146174.5771 | 279390.7247 | 36.4 | 83.1 | #N/A
24280 | 2021-02-22 10:35 | 12.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1574 | μmol/L | 18.977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 146159.3802 | 279380.7211 | 36.4 | 83.1 | #N/A
24290 | 2021-02-22 10:36 | 13.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4152 | μmol/L | 18.9341 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 146129.4423 | 279348.0096 | 36.4 | 83.1 | #N/A
24300 | 2021-02-22 10:36 | 13.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.2738 | μmol/L | 18.9586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146105.0976 | 279321.9826 | 36.4 | 83.1 | #N/A
24310 | 2021-02-22 10:36 | 13.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3484 | μmol/L | 18.9403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 146090.7499 | 279309.8123 | 36.4 | 83.1 | #N/A
24320 | 2021-02-22 10:37 | 14.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3196 | μmol/L | 18.9525 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146069.0297 | 279295.0965 | 36.4 | 83.1 | #N/A
24330 | 2021-02-22 10:37 | 14.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5069 | μmol/L | 18.9219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 146049.1091 | 279274.9607 | 36.4 | 83.1 | #N/A
24340 | 2021-02-22 10:37 | 14.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6407 | μmol/L | 18.9096 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 146020.5471 | 279241.2036 | 36.4 | 83.1 | #N/A
24350 | 2021-02-22 10:38 | 15.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4743 | μmol/L | 18.9403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 146004.7337 | 279230.5319 | 36.4 | 83.1 | #N/A
24360 | 2021-02-22 10:38 | 15.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3025 | μmol/L | 18.9464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 145982.8778 | 279218.6998 | 36.4 | 83.1 | #N/A
24370 | 2021-02-22 10:38 | 15.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3732 | μmol/L | 18.9341 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 145962.8608 | 279192.6832 | 36.4 | 83.1 | #N/A
24380 | 2021-02-22 10:39 | 16.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.482 | μmol/L | 18.928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 145940.9291 | 279169.8858 | 36.4 | 83.1 | #N/A
24390 | 2021-02-22 10:39 | 16.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3235 | μmol/L | 18.9464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 145909.8613 | 279161.4926 | 36.4 | 83.1 | #N/A
24400 | 2021-02-22 10:39 | 16.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3484 | μmol/L | 18.9403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 145904.9462 | 279132.476 | 36.4 | 83.1 | #N/A
24410 | 2021-02-22 10:40 | 17.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4649 | μmol/L | 18.9219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 145900.22 | 279120.7908 | 36.4 | 83.1 | #N/A
24420 | 2021-02-22 10:40 | 17.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1899 | μmol/L | 18.9586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 145870.0091 | 279112.9318 | 36.4 | 83.1 | #N/A
24430 | 2021-02-22 10:40 | 17.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1729 | μmol/L | 18.9525 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 145855.7384 | 279096.5755 | 36.4 | 83.1 | #N/A
24440 | 2021-02-22 10:41 | 18.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1558 | μmol/L | 18.9464 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 145833.2961 | 279071.6918 | 36.4 | 83.1 | #N/A
24450 | 2021-02-22 10:41 | 18.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3849 | μmol/L | 18.9158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 145821.7607 | 279045.6702 | 36.4 | 83.1 | #N/A
24460 | 2021-02-22 10:41 | 18.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3601 | μmol/L | 18.9219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.484 | 145810.4062 | 279024.6017 | 36.4 | 83.1 | #N/A
24470 | 2021-02-22 10:42 | 19.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3849 | μmol/L | 18.9158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 145788.5296 | 279008.3224 | 36.4 | 83.1 | #N/A
24480 | 2021-02-22 10:42 | 19.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5606 | μmol/L | 18.9035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.481 | 145764.4629 | 279001.3316 | 36.4 | 83.1 | #N/A
24490 | 2021-02-22 10:42 | 19.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6983 | μmol/L | 18.8851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.481 | 145751.118 | 278965.5135 | 36.4 | 83.1 | #N/A
24500 | 2021-02-22 10:43 | 20.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4269 | μmol/L | 18.9158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 145731.0953 | 278945.8824 | 36.4 | 83.1 | #N/A
24510 | 2021-02-22 10:43 | 20.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4898 | μmol/L | 18.9158 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 145706.7128 | 278938.7704 | 36.4 | 83.1 | #N/A
24520 | 2021-02-22 10:43 | 20.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4649 | μmol/L | 18.9219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 145695.8496 | 278921.2034 | 36.4 | 83.1 | #N/A
24530 | 2021-02-22 10:44 | 21.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4191 | μmol/L | 18.928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 145675.7876 | 278920.966 | 36.4 | 83.1 | #N/A
24540 | 2021-02-22 10:44 | 21.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.3981 | μmol/L | 18.928 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 145662.1182 | 278901.346 | 36.4 | 83.1 | #N/A
24550 | 2021-02-22 10:44 | 21.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5396 | μmol/L | 18.9035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 145636.8287 | 278885.7481 | 36.4 | 83.1 | #N/A
24560 | 2021-02-22 10:45 | 22.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5645 | μmol/L | 18.8974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 145615.2987 | 278859.3851 | 36.4 | 83.1 | #N/A
24570 | 2021-02-22 10:45 | 22.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5855 | μmol/L | 18.8974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 145605.4073 | 278844.7859 | 36.4 | 83.1 | #N/A
24580 | 2021-02-22 10:45 | 22.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5816 | μmol/L | 18.9035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 145578.4524 | 278826.9215 | 36.4 | 83.1 | #N/A
24590 | 2021-02-22 10:46 | 23.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6183 | μmol/L | 18.879 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.487 | 145571.248 | 278815.4496 | 36.4 | 83.1 | #N/A
24600 | 2021-02-22 10:46 | 23.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6314 | μmol/L | 18.8913 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 145559.0027 | 278790.8734 | 36.4 | 83.1 | #N/A
24610 | 2021-02-22 10:46 | 23.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4977 | μmol/L | 18.9035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.484 | 145535.345 | 278768.1412 | 36.4 | 83.1 | #N/A
24620 | 2021-02-22 10:47 | 24.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6983 | μmol/L | 18.8851 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.481 | 145512.2878 | 278765.002 | 36.4 | 83.1 | #N/A
24630 | 2021-02-22 10:47 | 24.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.7482 | μmol/L | 18.8729 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 145516.7756 | 278751.893 | 36.4 | 83.1 | #N/A
24640 | 2021-02-22 10:47 | 24.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5645 | μmol/L | 18.8974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 145496.8043 | 278737.6282 | 36.4 | 83.1 | #N/A
24650 | 2021-02-22 10:48 | 25.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.5226 | μmol/L | 18.8974 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 145473.2826 | 278719.7643 | 36.4 | 83.1 | #N/A
24660 | 2021-02-22 10:48 | 25.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6393 | μmol/L | 18.879 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.486 | 145445.0438 | 278704.0556 | 36.4 | 83.1 | #N/A
24670 | 2021-02-22 10:48 | 25.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8401 | μmol/L | 18.8606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 145436.5721 | 278694.2699 | 36.4 | 83.1 | #N/A
24680 | 2021-02-22 10:49 | 26.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.936 | μmol/L | 18.8423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 145430.2703 | 278684.0511 | 36.4 | 83.1 | #N/A
24690 | 2021-02-22 10:49 | 26.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9859 | μmol/L | 18.83 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.487 | 145418.308 | 278652.3237 | 36.4 | 83.1 | #N/A
24700 | 2021-02-22 10:49 | 26.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.827 | μmol/L | 18.8484 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 145404.4873 | 278633.7388 | 36.4 | 83.1 | #N/A
24710 | 2021-02-22 10:50 | 27.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.823 | μmol/L | 18.8545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.486 | 145384.0616 | 278628.748 | 36.4 | 83.1 | #N/A
24720 | 2021-02-22 10:50 | 27.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.7351 | μmol/L | 18.8606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 145362.281 | 278599.7798 | 36.4 | 83.1 | #N/A
24730 | 2021-02-22 10:50 | 27.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9439 | μmol/L | 18.83 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.489 | 145350.4077 | 278606.2072 | 36.4 | 83.1 | #N/A
24740 | 2021-02-22 10:51 | 28.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8979 | μmol/L | 18.8361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.489 | 145336.472 | 278590.9904 | 36.4 | 83.1 | #N/A
24750 | 2021-02-22 10:51 | 28.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9189 | μmol/L | 18.8361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 145333.066 | 278564.7193 | 36.4 | 83.1 | #N/A
24760 | 2021-02-22 10:51 | 28.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8519 | μmol/L | 18.8423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.489 | 145323.9737 | 278544.1404 | 36.4 | 83.1 | #N/A
24770 | 2021-02-22 10:52 | 29.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9439 | μmol/L | 18.83 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.489 | 145304.8959 | 278538.5785 | 36.4 | 83.1 | #N/A
24780 | 2021-02-22 10:52 | 29.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.739 | μmol/L | 18.8545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.49 | 145289.092 | 278539.5745 | 36.4 | 83.1 | #N/A
24790 | 2021-02-22 10:52 | 29.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.7351 | μmol/L | 18.8606 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 145281.3386 | 278514.6567 | 36.4 | 83.1 | #N/A
24800 | 2021-02-22 10:53 | 30.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0109 | μmol/L | 18.8239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 145270.2368 | 278507.9782 | 36.4 | 83.1 | #N/A
24810 | 2021-02-22 10:53 | 30.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9058 | μmol/L | 18.8239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.493 | 145218.592 | 278497.5537 | 36.4 | 83.1 | #N/A
24820 | 2021-02-22 10:53 | 30.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.7679 | μmol/L | 18.8423 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.493 | 145208.2382 | 278475.2044 | 36.4 | 83.1 | #N/A
24830 | 2021-02-22 10:54 | 31.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8559 | μmol/L | 18.8361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.491 | 145179.221 | 278452.8938 | 36.4 | 83.1 | #N/A
24840 | 2021-02-22 10:54 | 31.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9058 | μmol/L | 18.8239 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.493 | 145167.6942 | 278438.4343 | 36.4 | 83.1 | #N/A
24850 | 2021-02-22 10:54 | 31.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8808 | μmol/L | 18.83 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.492 | 145153.5103 | 278420.7047 | 36.4 | 83.1 | #N/A
24860 | 2021-02-22 10:55 | 32.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.8138 | μmol/L | 18.8361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.493 | 145137.0304 | 278410.1803 | 36.4 | 83.1 | #N/A
24870 | 2021-02-22 10:55 | 32.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0398 | μmol/L | 18.8116 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.491 | 145111.4812 | 278397.9722 | 36.4 | 83.1 | #N/A
24880 | 2021-02-22 10:55 | 32.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0438 | μmol/L | 18.8055 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.493 | 145112.91 | 278374.1594 | 36.4 | 83.1 | #N/A
24890 | 2021-02-22 10:56 | 33.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0018 | μmol/L | 18.8055 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.495 | 145097.1123 | 278367.1249 | 36.4 | 83.1 | #N/A
24900 | 2021-02-22 10:56 | 33.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0938 | μmol/L | 18.7933 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.495 | 145085.9001 | 278346.2223 | 36.4 | 83.1 | #N/A
24910 | 2021-02-22 10:56 | 33.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9558 | μmol/L | 18.8116 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.495 | 145079.5393 | 278322.1646 | 36.4 | 83.1 | #N/A
24920 | 2021-02-22 10:57 | 34.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9137 | μmol/L | 18.8116 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.497 | 145079.5772 | 278320.3241 | 36.4 | 83.1 | #N/A
24930 | 2021-02-22 10:57 | 34.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2109 | μmol/L | 18.7749 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.496 | 145066.8415 | 278304.9637 | 36.4 | 83.1 | #N/A
24940 | 2021-02-22 10:57 | 34.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1228 | μmol/L | 18.781 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.498 | 145052.4133 | 278291.2064 | 36.4 | 83.1 | #N/A
24950 | 2021-02-22 10:58 | 35.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.253 | μmol/L | 18.7749 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.494 | 145039.8688 | 278275.7693 | 36.4 | 83.1 | #N/A
24960 | 2021-02-22 10:58 | 35.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1188 | μmol/L | 18.7871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.496 | 145024.75 | 278263.3783 | 36.4 | 83.1 | #N/A
24970 | 2021-02-22 10:58 | 35.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1228 | μmol/L | 18.781 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.498 | 145019.8824 | 278246.3306 | 36.4 | 83.1 | #N/A
24980 | 2021-02-22 10:59 | 36.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1939 | μmol/L | 18.7688 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.499 | 145010.0672 | 278233.7776 | 36.4 | 83.1 | #N/A
24990 | 2021-02-22 10:59 | 36.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0597 | μmol/L | 18.781 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.501 | 144990.8214 | 278204.2531 | 36.4 | 83.1 | #N/A
25000 | 2021-02-22 10:59 | 36.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1979 | μmol/L | 18.7626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.501 | 144993.5151 | 278196.9714 | 36.4 | 83.1 | #N/A
25010 | 2021-02-22 11:00 | 37.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1518 | μmol/L | 18.7688 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.501 | 144976.5748 | 278202.8917 | 36.4 | 83.1 | #N/A
25020 | 2021-02-22 11:00 | 37.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0177 | μmol/L | 18.781 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.503 | 144973.1581 | 278188.8154 | 36.4 | 83.1 | #N/A
25030 | 2021-02-22 11:00 | 37.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1058 | μmol/L | 18.7749 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.501 | 144959.3917 | 278168.2392 | 36.4 | 83.1 | #N/A
25040 | 2021-02-22 11:01 | 38.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0887 | μmol/L | 18.7688 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.504 | 144945.4491 | 278153.1765 | 36.4 | 83.1 | #N/A
25050 | 2021-02-22 11:01 | 38.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1849 | μmol/L | 18.7504 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.506 | 144943.8911 | 278149.5135 | 36.4 | 83.1 | #N/A
25060 | 2021-02-22 11:01 | 38.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.281 | μmol/L | 18.732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.508 | 144935.6389 | 278138.0535 | 36.4 | 83.1 | #N/A
25070 | 2021-02-22 11:02 | 39.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1388 | μmol/L | 18.7565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.506 | 144920.8191 | 278125.2508 | 36.4 | 83.1 | #N/A
25080 | 2021-02-22 11:02 | 39.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1678 | μmol/L | 18.7443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.509 | 144917.0089 | 278124.73 | 36.4 | 83.1 | #N/A
25090 | 2021-02-22 11:02 | 39.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1468 | μmol/L | 18.7443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.51 | 144897.0222 | 278096.2044 | 36.4 | 83.1 | #N/A
25100 | 2021-02-22 11:03 | 40.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.294 | μmol/L | 18.7443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.503 | 144875.7723 | 278086.307 | 36.4 | 83.1 | #N/A
25110 | 2021-02-22 11:03 | 40.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0757 | μmol/L | 18.7565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.509 | 144876.2037 | 278079.7645 | 36.4 | 83.1 | #N/A
25120 | 2021-02-22 11:03 | 40.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1678 | μmol/L | 18.7443 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.509 | 144859.1874 | 278059.6835 | 36.4 | 83.1 | #N/A
25130 | 2021-02-22 11:04 | 41.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2139 | μmol/L | 18.7381 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.509 | 144859.2353 | 278060.5122 | 36.4 | 83.1 | #N/A
25140 | 2021-02-22 11:04 | 41.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.9666 | μmol/L | 18.7626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.512 | 144860.0135 | 278073.7938 | 36.4 | 83.1 | #N/A
25150 | 2021-02-22 11:04 | 41.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1718 | μmol/L | 18.7381 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.511 | 144838.3344 | 278056.6121 | 36.4 | 83.1 | #N/A
25160 | 2021-02-22 11:05 | 42.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3522 | μmol/L | 18.7198 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.509 | 144834.0559 | 278030.5159 | 36.4 | 83.1 | #N/A
25170 | 2021-02-22 11:05 | 42.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3141 | μmol/L | 18.7136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.513 | 144829.5971 | 278027.2541 | 36.4 | 83.1 | #N/A
25180 | 2021-02-22 11:05 | 42.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.285 | μmol/L | 18.7259 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.51 | 144815.2541 | 278014.9227 | 36.4 | 83.1 | #N/A
25190 | 2021-02-22 11:06 | 43.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.243 | μmol/L | 18.7259 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.512 | 144808.448 | 277993.6053 | 36.4 | 83.1 | #N/A
25200 | 2021-02-22 11:06 | 43.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.268 | μmol/L | 18.7198 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.513 | 144793.5288 | 277979.766 | 36.4 | 83.1 | #N/A
25210 | 2021-02-22 11:06 | 43.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3182 | μmol/L | 18.7075 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.515 | 144798.9654 | 277982.2982 | 36.4 | 83.1 | #N/A
25220 | 2021-02-22 11:07 | 44.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3603 | μmol/L | 18.7075 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.513 | 144796.729 | 277971.8705 | 36.4 | 83.1 | #N/A
25230 | 2021-02-22 11:07 | 44.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3643 | μmol/L | 18.7014 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.515 | 144780.5702 | 277948.5101 | 36.4 | 83.1 | #N/A
25240 | 2021-02-22 11:07 | 44.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2931 | μmol/L | 18.7136 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.514 | 144762.2114 | 277934.725 | 36.4 | 83.1 | #N/A
25250 | 2021-02-22 11:08 | 45.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.5068 | μmol/L | 18.6769 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.517 | 144758.6537 | 277939.069 | 36.4 | 83.1 | #N/A
25260 | 2021-02-22 11:08 | 45.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3263 | μmol/L | 18.6953 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.519 | 144743.6176 | 277915.863 | 36.4 | 83.1 | #N/A
25270 | 2021-02-22 11:08 | 45.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.5068 | μmol/L | 18.6769 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.517 | 144743.5491 | 277907.3356 | 36.4 | 83.1 | #N/A
25280 | 2021-02-22 11:09 | 46.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.5821 | μmol/L | 18.6585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.52 | 144751.002 | 277895.8929 | 36.4 | 83.1 | #N/A
25290 | 2021-02-22 11:09 | 46.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3263 | μmol/L | 18.6953 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.519 | 144743.9177 | 277891.148 | 36.4 | 83.1 | #N/A
25300 | 2021-02-22 11:09 | 46.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.4647 | μmol/L | 18.6769 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.519 | 144741.5462 | 277876.0363 | 36.4 | 83.1 | #N/A
25310 | 2021-02-22 11:10 | 47.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.6324 | μmol/L | 18.6463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.522 | 144724.382 | 277879.9791 | 36.4 | 83.1 | #N/A
25320 | 2021-02-22 11:10 | 47.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.6534 | μmol/L | 18.6463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.521 | 144726.0988 | 277848.2078 | 36.4 | 83.1 | #N/A
25330 | 2021-02-22 11:10 | 47.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.4687 | μmol/L | 18.6708 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.521 | 144724.9194 | 277857.0547 | 36.4 | 83.1 | #N/A
25340 | 2021-02-22 11:11 | 48.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2001 | μmol/L | 18.6953 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.525 | 144719.4898 | 277834.0637 | 36.4 | 83.1 | #N/A
25350 | 2021-02-22 11:11 | 48.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3554 | μmol/L | 18.683 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.522 | 144722.8218 | 277838.583 | 36.4 | 83.1 | #N/A
25360 | 2021-02-22 11:11 | 48.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2794 | μmol/L | 18.6708 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.53 | 144718.4827 | 277831.6973 | 36.4 | 83.1 | #N/A
25370 | 2021-02-22 11:12 | 49.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3004 | μmol/L | 18.6708 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.529 | 144721.4361 | 277809.8781 | 36.4 | 83.1 | #N/A
25380 | 2021-02-22 11:12 | 49.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1743 | μmol/L | 18.6708 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.535 | 144715.7879 | 277819.5104 | 36.4 | 83.1 | #N/A
25390 | 2021-02-22 11:12 | 49.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3255 | μmol/L | 18.6646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.53 | 144717.4341 | 277804.6399 | 36.4 | 83.1 | #N/A
25400 | 2021-02-22 11:13 | 50.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3757 | μmol/L | 18.6524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.532 | 144719.2801 | 277802.8899 | 36.4 | 83.1 | #N/A
25410 | 2021-02-22 11:13 | 50.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.3336 | μmol/L | 18.6524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.534 | 144714.3275 | 277795.9543 | 36.4 | 83.1 | #N/A
25420 | 2021-02-22 11:13 | 50.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2957 | μmol/L | 18.6463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.538 | 144709.4157 | 277775.0579 | 36.4 | 83.1 | #N/A
25430 | 2021-02-22 11:14 | 51.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.4049 | μmol/L | 18.6401 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.535 | 144716.5448 | 277769.8508 | 36.4 | 83.1 | #N/A
25440 | 2021-02-22 11:14 | 51.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2244 | μmol/L | 18.6585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.537 | 144713.685 | 277759.2721 | 36.4 | 83.1 | #N/A
25450 | 2021-02-22 11:14 | 51.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2414 | μmol/L | 18.6646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.534 | 144693.7382 | 277738.9364 | 36.4 | 83.1 | #N/A
25460 | 2021-02-22 11:15 | 52.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.6528 | μmol/L | 18.6156 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.532 | 144705.5134 | 277740.3098 | 36.4 | 83.1 | #N/A
25470 | 2021-02-22 11:15 | 52.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.0902 | μmol/L | 18.6708 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.539 | 144699.9696 | 277727.6993 | 36.4 | 83.1 | #N/A
25480 | 2021-02-22 11:15 | 52.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1573 | μmol/L | 18.6646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.538 | 144703.3954 | 277726.7532 | 36.4 | 83.1 | #N/A
25490 | 2021-02-22 11:16 | 53.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2285 | μmol/L | 18.6524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.539 | 144691.668 | 277725.359 | 36.4 | 83.1 | #N/A
25500 | 2021-02-22 11:16 | 53.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1153 | μmol/L | 18.6646 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 144690.4164 | 277708.2617 | 36.4 | 83.1 | #N/A
25510 | 2021-02-22 11:16 | 53.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2495 | μmol/L | 18.6524 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.538 | 144686.8465 | 277710.0187 | 36.4 | 83.1 | #N/A
25520 | 2021-02-22 11:17 | 54.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.4382 | μmol/L | 18.6218 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 144667.1754 | 277696.3229 | 36.4 | 83.1 | #N/A
25530 | 2021-02-22 11:17 | 54.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.2536 | μmol/L | 18.6463 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 144649.5933 | 277685.2491 | 36.4 | 83.1 | #N/A
25540 | 2021-02-22 11:17 | 54.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 248.1614 | μmol/L | 18.6585 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 144645.9514 | 277675.7837 | 36.4 | 83.1 | #N/A
25550 | 2021-02-22 11:18 | 55.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.868 | μmol/L | 18.6891 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.543 | 144641.1948 | 277676.6928 | 36.4 | 83.1 | #N/A
25560 | 2021-02-22 11:18 | 55.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.797 | μmol/L | 18.7014 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.542 | 144631.2041 | 277661.1588 | 36.4 | 83.1 | #N/A
25570 | 2021-02-22 11:18 | 55.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.709 | μmol/L | 18.7075 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.544 | 144630.9225 | 277659.2178 | 36.4 | 83.1 | #N/A
25580 | 2021-02-22 11:19 | 56.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.613 | μmol/L | 18.7259 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.542 | 144617.2257 | 277649.3345 | 36.4 | 83.1 | #N/A
25590 | 2021-02-22 11:19 | 56.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.6468 | μmol/L | 18.7381 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.536 | 144613.2038 | 277634.6454 | 36.4 | 83.1 | #N/A
25600 | 2021-02-22 11:19 | 56.6686 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4251 | μmol/L | 18.7565 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.54 | 144627.6219 | 277626.0625 | 36.4 | 83.1 | #N/A
25610 | 2021-02-22 11:20 | 57.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.4002 | μmol/L | 18.7626 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.539 | 144625.0261 | 277625.7533 | 36.4 | 83.1 | #N/A
25620 | 2021-02-22 11:20 | 57.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.2375 | μmol/L | 18.7871 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.538 | 144629.6806 | 277600.9765 | 36.4 | 83.1 | #N/A
25630 | 2021-02-22 11:20 | 57.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.2086 | μmol/L | 18.7994 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.535 | 144627.0317 | 277603.0149 | 36.4 | 83.1 | #N/A
25640 | 2021-02-22 11:21 | 58.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 247.1627 | μmol/L | 18.8055 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.535 | 144618.0898 | 277583.7171 | 36.4 | 83.1 | #N/A
25650 | 2021-02-22 11:21 | 58.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.9754 | μmol/L | 18.8361 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.533 | 144614.2414 | 277584.2411 | 36.4 | 83.1 | #N/A
25660 | 2021-02-22 11:21 | 58.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.8798 | μmol/L | 18.8545 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.531 | 144615.0918 | 277570.4994 | 36.4 | 83.1 | #N/A
25670 | 2021-02-22 11:22 | 59.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.7634 | μmol/L | 18.8729 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.53 | 144618.9232 | 277551.5336 | 36.4 | 83.1 | #N/A
25680 | 2021-02-22 11:22 | 59.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.5139 | μmol/L | 18.9035 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.531 | 144604.059 | 277540.2218 | 36.4 | 83.1 | #N/A
25690 | 2021-02-22 11:22 | 59.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4603 | μmol/L | 18.9219 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.527 | 144601.788 | 277543.4366 | 36.4 | 83.1 | #N/A
25700 | 2021-02-22 11:23 | 60.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.4277 | μmol/L | 18.9403 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.522 | 144599.0288 | 277523.2911 | 36.4 | 83.1 | #N/A
25710 | 2021-02-22 11:23 | 60.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.2699 | μmol/L | 18.9586 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.523 | 144600.7261 | 277522.3059 | 36.4 | 83.1 | #N/A
25720 | 2021-02-22 11:23 | 60.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.15 | μmol/L | 18.9831 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.52 | 144591.1385 | 277509.8306 | 36.4 | 83.1 | #N/A
25730 | 2021-02-22 11:24 | 61.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 246.0549 | μmol/L | 19.0015 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.518 | 144585.1198 | 277518.195 | 36.4 | 83.1 | #N/A
25740 | 2021-02-22 11:24 | 61.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.9599 | μmol/L | 19.0199 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.516 | 144568.9432 | 277499.6078 | 36.4 | 83.1 | #N/A
25750 | 2021-02-22 11:24 | 61.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.9275 | μmol/L | 19.0383 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.511 | 144573.6854 | 277500.9063 | 36.4 | 83.1 | #N/A
25760 | 2021-02-22 11:25 | 62.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.9198 | μmol/L | 19.0505 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.507 | 144552.7499 | 277481.8605 | 36.4 | 83.1 | #N/A
25770 | 2021-02-22 11:25 | 62.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.7169 | μmol/L | 19.075 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.508 | 144558.6404 | 277475.3849 | 36.4 | 83.1 | #N/A
25780 | 2021-02-22 11:25 | 62.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.6922 | μmol/L | 19.0811 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.507 | 144545.7147 | 277469.2919 | 36.4 | 83.1 | #N/A
25790 | 2021-02-22 11:26 | 63.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.7054 | μmol/L | 19.0934 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.502 | 144541.3314 | 277461.5473 | 36.4 | 83.1 | #N/A
25800 | 2021-02-22 11:26 | 63.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.5274 | μmol/L | 19.1118 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.504 | 144528.4152 | 277469.3348 | 36.4 | 83.1 | #N/A
25810 | 2021-02-22 11:26 | 63.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.5576 | μmol/L | 19.1301 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.496 | 144525.659 | 277464.9078 | 36.4 | 83.1 | #N/A
25820 | 2021-02-22 11:27 | 64.0019 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.3136 | μmol/L | 19.1546 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.499 | 144526.6522 | 277439.7853 | 36.4 | 83.1 | #N/A
25830 | 2021-02-22 11:27 | 64.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.289 | μmol/L | 19.1608 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.498 | 144538.98 | 277452.5001 | 36.4 | 83.1 | #N/A
25840 | 2021-02-22 11:27 | 64.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.2153 | μmol/L | 19.1791 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.495 | 144539.7186 | 277437.5691 | 36.4 | 83.1 | #N/A
25850 | 2021-02-22 11:28 | 65.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.1699 | μmol/L | 19.1853 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.495 | 144527.6269 | 277426.4488 | 36.4 | 83.1 | #N/A
25860 | 2021-02-22 11:28 | 65.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.9924 | μmol/L | 19.2036 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.497 | 144528.9141 | 277422.9955 | 36.4 | 83.1 | #N/A
25870 | 2021-02-22 11:28 | 65.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.0057 | μmol/L | 19.2159 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.492 | 144525.3291 | 277426.6365 | 36.4 | 83.1 | #N/A
25880 | 2021-02-22 11:29 | 66.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 245.0019 | μmol/L | 19.222 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.49 | 144520.1949 | 277400.4793 | 36.4 | 83.1 | #N/A
25890 | 2021-02-22 11:29 | 66.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.8245 | μmol/L | 19.2404 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.492 | 144523.4966 | 277416.5974 | 36.4 | 83.1 | #N/A
25900 | 2021-02-22 11:29 | 66.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.8623 | μmol/L | 19.2465 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 144515.9411 | 277408.3162 | 36.4 | 83.1 | #N/A
25910 | 2021-02-22 11:30 | 67.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.7718 | μmol/L | 19.2588 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.488 | 144502.1852 | 277398.1713 | 36.4 | 83.1 | #N/A
25920 | 2021-02-22 11:30 | 67.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.7473 | μmol/L | 19.2649 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.487 | 144510.0918 | 277395.8984 | 36.4 | 83.1 | #N/A
25930 | 2021-02-22 11:30 | 67.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.5665 | μmol/L | 19.2894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.487 | 144501.9255 | 277387.0401 | 36.4 | 83.1 | #N/A
25940 | 2021-02-22 11:31 | 68.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.608 | μmol/L | 19.2894 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.485 | 144505.7638 | 277376.8811 | 36.4 | 83.1 | #N/A
25950 | 2021-02-22 11:31 | 68.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.6665 | μmol/L | 19.2955 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 144507.1917 | 277375.0521 | 36.4 | 83.1 | #N/A
25960 | 2021-02-22 11:31 | 68.6685 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.5761 | μmol/L | 19.3078 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 144503.191 | 277371.3826 | 36.4 | 83.1 | #N/A
25970 | 2021-02-22 11:32 | 69.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.4687 | μmol/L | 19.3139 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 144497.7807 | 277366.6408 | 36.4 | 83.1 | #N/A
25980 | 2021-02-22 11:32 | 69.3351 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.5065 | μmol/L | 19.32 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 144507.1854 | 277367.2731 | 36.4 | 83.1 | #N/A
25990 | 2021-02-22 11:32 | 69.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.3333 | μmol/L | 19.3323 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.483 | 144501.2352 | 277353.1027 | 36.4 | 83.1 | #N/A
26000 | 2021-02-22 11:33 | 70.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.2637 | μmol/L | 19.3445 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.482 | 144507.5611 | 277345.008 | 36.4 | 83.1 | #N/A
26010 | 2021-02-22 11:33 | 70.3354 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.2356 | μmol/L | 19.3568 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 144497.7724 | 277357.5108 | 36.4 | 83.1 | #N/A
26020 | 2021-02-22 11:33 | 70.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.1698 | μmol/L | 19.3629 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 144502.9425 | 277326.9568 | 36.4 | 83.1 | #N/A
26030 | 2021-02-22 11:34 | 71.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.2076 | μmol/L | 19.369 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 144494.6923 | 277351.3282 | 36.4 | 83.1 | #N/A
26040 | 2021-02-22 11:34 | 71.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.9896 | μmol/L | 19.3874 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.48 | 144509.434 | 277330.944 | 36.4 | 83.1 | #N/A
26050 | 2021-02-22 11:34 | 71.6688 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.9652 | μmol/L | 19.3935 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 144509.9157 | 277331.9848 | 36.4 | 83.1 | #N/A
26060 | 2021-02-22 11:35 | 72.0018 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 244.0516 | μmol/L | 19.3874 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 144516.495 | 277315.4107 | 36.4 | 83.1 | #N/A
26070 | 2021-02-22 11:35 | 72.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.9165 | μmol/L | 19.4058 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 144516.137 | 277326.8216 | 36.4 | 83.1 | #N/A
26080 | 2021-02-22 11:35 | 72.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.8751 | μmol/L | 19.4058 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 144518.2517 | 277317.3292 | 36.4 | 83.1 | #N/A
26090 | 2021-02-22 11:36 | 73.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.8265 | μmol/L | 19.418 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.477 | 144523.6103 | 277307.1152 | 36.4 | 83.1 | #N/A
26100 | 2021-02-22 11:36 | 73.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.7608 | μmol/L | 19.4242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 144515.2237 | 277303.9387 | 36.4 | 83.1 | #N/A
26110 | 2021-02-22 11:36 | 73.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.7608 | μmol/L | 19.4242 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 144520.618 | 277301.6899 | 36.4 | 83.1 | #N/A
26120 | 2021-02-22 11:37 | 74.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.6259 | μmol/L | 19.4425 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 144527.2386 | 277298.2319 | 36.4 | 83.1 | #N/A
26130 | 2021-02-22 11:37 | 74.3355 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.6052 | μmol/L | 19.4425 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.479 | 144489.7769 | 277281.5498 | 36.4 | 83.1 | #N/A
26140 | 2021-02-22 11:37 | 74.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.5809 | μmol/L | 19.4487 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 144499.8366 | 277298.2773 | 36.4 | 83.1 | #N/A
26150 | 2021-02-22 11:38 | 75.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.536 | μmol/L | 19.4548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.478 | 144491.7139 | 277285.529 | 36.4 | 83.1 | #N/A
26160 | 2021-02-22 11:38 | 75.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.5773 | μmol/L | 19.4548 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 144485.3935 | 277276.83 | 36.4 | 83.1 | #N/A
26170 | 2021-02-22 11:38 | 75.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.5737 | μmol/L | 19.4609 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 144489.6991 | 277274.1513 | 36.4 | 83.1 | #N/A
26180 | 2021-02-22 11:39 | 76.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.57 | μmol/L | 19.467 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 144478.1143 | 277266.4063 | 36.4 | 83.1 | #N/A
26190 | 2021-02-22 11:39 | 76.3352 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.4838 | μmol/L | 19.4732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 144466.9135 | 277263.8329 | 36.4 | 83.1 | #N/A
26200 | 2021-02-22 11:39 | 76.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.5251 | μmol/L | 19.4732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 144460.7105 | 277257.6609 | 36.4 | 83.1 | #N/A
26210 | 2021-02-22 11:40 | 77.0021 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.4631 | μmol/L | 19.4732 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144463.6666 | 277255.0345 | 36.4 | 83.1 | #N/A
26220 | 2021-02-22 11:40 | 77.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.4352 | μmol/L | 19.4854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.472 | 144471.7168 | 277257.1125 | 36.4 | 83.1 | #N/A
26230 | 2021-02-22 11:40 | 77.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.3284 | μmol/L | 19.4916 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144465.0227 | 277247.1585 | 36.4 | 83.1 | #N/A
26240 | 2021-02-22 11:41 | 78.002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.2835 | μmol/L | 19.4977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144486.038 | 277258.6306 | 36.4 | 83.1 | #N/A
26250 | 2021-02-22 11:41 | 78.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.3042 | μmol/L | 19.4977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 144474.1205 | 277249.8224 | 36.4 | 83.1 | #N/A
26260 | 2021-02-22 11:41 | 78.6687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.3078 | μmol/L | 19.4916 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 144486.4665 | 277239.3202 | 36.4 | 83.1 | #N/A
26270 | 2021-02-22 11:42 | 79.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.3733 | μmol/L | 19.4854 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144475.0178 | 277233.2705 | 36.4 | 83.1 | #N/A
26280 | 2021-02-22 11:42 | 79.3353 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.3284 | μmol/L | 19.4916 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144483.1067 | 277237.8051 | 36.4 | 83.1 | #N/A
26290 | 2021-02-22 11:42 | 79.6684 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.2835 | μmol/L | 19.4977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.475 | 144486.6405 | 277219.0374 | 36.4 | 83.1 | #N/A
26300 | 2021-02-22 11:43 | 80.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.2629 | μmol/L | 19.4977 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.476 | 144489.7472 | 277210.616 | 36.4 | 83.1 | #N/A
26310 | 2021-02-22 11:43 | 80.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 243.2144 | μmol/L | 19.5099 | °C | 1005 | hPa | Humid | 28 | 0 | 0 | 22.474 | 144483.8714 | 277209.887 | 36.4 | 83.1 | #N/A