## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-22 20:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
26323 | 2021-02-22 12:43 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8136 | μmol/L | 19.3139 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.71 | 145730.6908 | 277076.953 | 36.4 | 83.1 | #N/A
26333 | 2021-02-22 12:43 | 0.34067 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7972 | μmol/L | 19.3078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.713 | 145740.3122 | 277059.6102 | 36.4 | 83.1 | #N/A
26343 | 2021-02-22 12:44 | 0.67374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8579 | μmol/L | 19.3078 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.71 | 145740.9513 | 277058.4089 | 36.4 | 83.1 | #N/A
26353 | 2021-02-22 12:44 | 1.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.801 | μmol/L | 19.3017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.715 | 145746.6487 | 277050.5305 | 36.4 | 83.1 | #N/A | -0.12156 | 7.2938
26363 | 2021-02-22 12:44 | 1.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7808 | μmol/L | 19.3017 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.716 | 145744.5919 | 277052.6317 | 36.4 | 83.1 | #N/A | 243.0279
26373 | 2021-02-22 12:45 | 1.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8087 | μmol/L | 19.2894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.719 | 145748.9161 | 277016.2626 | 36.4 | 83.1 | #N/A
26383 | 2021-02-22 12:45 | 2.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7239 | μmol/L | 19.2955 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.721 | 145763.0983 | 277027.6367 | 36.4 | 83.1 | #N/A
26393 | 2021-02-22 12:45 | 2.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.8289 | μmol/L | 19.2894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.718 | 145765.7221 | 277019.02 | 36.4 | 83.1 | #N/A
26403 | 2021-02-22 12:46 | 2.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7278 | μmol/L | 19.2894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.723 | 145772.6774 | 277018.7867 | 36.4 | 83.1 | #N/A
26413 | 2021-02-22 12:46 | 3.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.7278 | μmol/L | 19.2894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.723 | 145784.1669 | 277015.093 | 36.4 | 83.1 | #N/A
26423 | 2021-02-22 12:46 | 3.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.6469 | μmol/L | 19.2894 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.727 | 145778.436 | 277003.1934 | 36.4 | 83.1 | #N/A
26433 | 2021-02-22 12:47 | 3.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.6507 | μmol/L | 19.2833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.729 | 145783.1058 | 276995.0012 | 36.4 | 83.1 | #N/A
26443 | 2021-02-22 12:47 | 4.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.6507 | μmol/L | 19.2833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.729 | 145787.7752 | 276988.231 | 36.4 | 83.1 | #N/A
26453 | 2021-02-22 12:47 | 4.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.6507 | μmol/L | 19.2833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.729 | 145801.5273 | 276991.5955 | 36.4 | 83.1 | #N/A
26463 | 2021-02-22 12:48 | 4.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4891 | μmol/L | 19.2833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.737 | 145821.5535 | 276986.8775 | 36.4 | 83.1 | #N/A
26473 | 2021-02-22 12:48 | 5.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.5535 | μmol/L | 19.2771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.736 | 145815.4333 | 276987.2475 | 36.4 | 83.1 | #N/A
26483 | 2021-02-22 12:48 | 5.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4727 | μmol/L | 19.2771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.74 | 145823.8903 | 276968.5263 | 36.4 | 83.1 | #N/A
26493 | 2021-02-22 12:49 | 5.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4929 | μmol/L | 19.2771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.739 | 145830.2631 | 276981.7009 | 36.4 | 83.1 | #N/A
26503 | 2021-02-22 12:49 | 6.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4083 | μmol/L | 19.2833 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.741 | 145834.4052 | 276965.4684 | 36.4 | 83.1 | #N/A
26513 | 2021-02-22 12:49 | 6.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.392 | μmol/L | 19.2771 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.744 | 145849.1841 | 276970.714 | 36.4 | 83.1 | #N/A
26523 | 2021-02-22 12:50 | 6.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4805 | μmol/L | 19.2649 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.744 | 145849.394 | 276964.85 | 36.4 | 83.1 | #N/A
26533 | 2021-02-22 12:50 | 7.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.444 | μmol/L | 19.2588 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.748 | 145847.9325 | 276963.2292 | 36.4 | 83.1 | #N/A
26543 | 2021-02-22 12:50 | 7.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.468 | μmol/L | 19.2526 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.749 | 145863.7749 | 276965.8099 | 36.4 | 83.1 | #N/A
26553 | 2021-02-22 12:51 | 7.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.496 | μmol/L | 19.2404 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.752 | 145874.4272 | 276951.1476 | 36.4 | 83.1 | #N/A
26563 | 2021-02-22 12:51 | 8.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.3306 | μmol/L | 19.2465 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.758 | 145871.0421 | 276953.7973 | 36.4 | 83.1 | #N/A
26573 | 2021-02-22 12:51 | 8.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.4152 | μmol/L | 19.2404 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.756 | 145885.837 | 276941.8442 | 36.4 | 83.1 | #N/A
26583 | 2021-02-22 12:52 | 8.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.371 | μmol/L | 19.2465 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.756 | 145895.5373 | 276940.6551 | 36.4 | 83.1 | #N/A
26593 | 2021-02-22 12:52 | 9.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.3143 | μmol/L | 19.2404 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.761 | 145912.1704 | 276944.9754 | 36.4 | 83.1 | #N/A
26603 | 2021-02-22 12:52 | 9.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.3788 | μmol/L | 19.2343 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.76 | 145924.6892 | 276940.8141 | 36.4 | 83.1 | #N/A
26613 | 2021-02-22 12:53 | 9.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.3625 | μmol/L | 19.2281 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.763 | 145928.1322 | 276931.883 | 36.4 | 83.1 | #N/A
26623 | 2021-02-22 12:53 | 10.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1933 | μmol/L | 19.2404 | °C | 1004 | hPa | Humid | 28 | 0 | 0 | 22.767 | 145942.7202 | 276943.9876 | 36.4 | 83.1 | #N/A
26633 | 2021-02-22 12:53 | 10.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.2159 | μmol/L | 19.2281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.77 | 145954.6607 | 276931.2868 | 36.4 | 83.1 | #N/A
26643 | 2021-02-22 12:54 | 10.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1313 | μmol/L | 19.2343 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.772 | 145960.2783 | 276926.4759 | 36.4 | 83.1 | #N/A
26653 | 2021-02-22 12:54 | 11.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.091 | μmol/L | 19.2343 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.774 | 145968.697 | 276936.3852 | 36.4 | 83.1 | #N/A
26663 | 2021-02-22 12:54 | 11.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1352 | μmol/L | 19.2281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.774 | 145974.1364 | 276927.9535 | 36.4 | 83.1 | #N/A
26673 | 2021-02-22 12:55 | 11.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0748 | μmol/L | 19.2281 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.777 | 145987.1106 | 276938.5102 | 36.4 | 83.1 | #N/A
26683 | 2021-02-22 12:55 | 12.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.1632 | μmol/L | 19.2159 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.777 | 146000.2472 | 276942.0538 | 36.4 | 83.1 | #N/A
26693 | 2021-02-22 12:55 | 12.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0384 | μmol/L | 19.222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.781 | 146008.3575 | 276941.2586 | 36.4 | 83.1 | #N/A
26703 | 2021-02-22 12:56 | 12.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0423 | μmol/L | 19.2159 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.783 | 146006.9246 | 276939.5957 | 36.4 | 83.1 | #N/A
26713 | 2021-02-22 12:56 | 13.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0624 | μmol/L | 19.2159 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.782 | 146019.64 | 276919.403 | 36.4 | 83.1 | #N/A
26723 | 2021-02-22 12:56 | 13.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9858 | μmol/L | 19.2098 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.788 | 146032.9145 | 276917.5371 | 36.4 | 83.1 | #N/A
26733 | 2021-02-22 12:57 | 13.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 239.0059 | μmol/L | 19.2098 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.787 | 146043.2131 | 276915.2956 | 36.4 | 83.1 | #N/A
26743 | 2021-02-22 12:57 | 14.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8851 | μmol/L | 19.2098 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.793 | 146055.1646 | 276916.1846 | 36.4 | 83.1 | #N/A
26753 | 2021-02-22 12:57 | 14.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8891 | μmol/L | 19.2036 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.795 | 146059.4274 | 276900.7713 | 36.4 | 83.1 | #N/A
26763 | 2021-02-22 12:58 | 14.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9333 | μmol/L | 19.1975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.795 | 146074.3973 | 276910.7581 | 36.4 | 83.1 | #N/A
26773 | 2021-02-22 12:58 | 15.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9131 | μmol/L | 19.1975 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.796 | 146087.0479 | 276898.6946 | 36.4 | 83.1 | #N/A
26783 | 2021-02-22 12:58 | 15.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8969 | μmol/L | 19.1914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.799 | 146112.9197 | 276895.0759 | 36.4 | 83.1 | #N/A
26793 | 2021-02-22 12:59 | 15.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.9411 | μmol/L | 19.1853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.799 | 146121.426 | 276893.2447 | 36.4 | 83.1 | #N/A
26803 | 2021-02-22 12:59 | 16.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8204 | μmol/L | 19.1853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.805 | 146127.0589 | 276900.8662 | 36.4 | 83.1 | #N/A
26813 | 2021-02-22 12:59 | 16.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8204 | μmol/L | 19.1853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.805 | 146143.5891 | 276887.6797 | 36.4 | 83.1 | #N/A
26823 | 2021-02-22 13:00 | 16.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6958 | μmol/L | 19.1914 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.809 | 146147.3894 | 276878.2613 | 36.4 | 83.1 | #N/A
26833 | 2021-02-22 13:00 | 17.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8966 | μmol/L | 19.1608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.81 | 146172.7019 | 276892.2065 | 36.4 | 83.1 | #N/A
26843 | 2021-02-22 13:00 | 17.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.8121 | μmol/L | 19.1669 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.812 | 146167.9014 | 276881.7229 | 36.4 | 83.1 | #N/A
26853 | 2021-02-22 13:01 | 17.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.7238 | μmol/L | 19.1791 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.812 | 146179.9253 | 276887.2407 | 36.4 | 83.1 | #N/A
26863 | 2021-02-22 13:01 | 18.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5992 | μmol/L | 19.1853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.816 | 146183.3398 | 276866.1865 | 36.4 | 83.1 | #N/A
26873 | 2021-02-22 13:01 | 18.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6072 | μmol/L | 19.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.82 | 146208.7824 | 276873.3524 | 36.4 | 83.1 | #N/A
26883 | 2021-02-22 13:02 | 18.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6473 | μmol/L | 19.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.818 | 146215.6263 | 276862.6276 | 36.4 | 83.1 | #N/A
26893 | 2021-02-22 13:02 | 19.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6352 | μmol/L | 19.1608 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.823 | 146220.9355 | 276859.7094 | 36.4 | 83.1 | #N/A
26903 | 2021-02-22 13:02 | 19.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6793 | μmol/L | 19.1546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.823 | 146228.7782 | 276869.8071 | 36.4 | 83.1 | #N/A
26913 | 2021-02-22 13:03 | 19.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.7476 | μmol/L | 19.1424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.824 | 146229.7313 | 276876.8067 | 36.4 | 83.1 | #N/A
26923 | 2021-02-22 13:03 | 20.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.7114 | μmol/L | 19.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.828 | 146245.5576 | 276862.1464 | 36.4 | 83.1 | #N/A
26933 | 2021-02-22 13:03 | 20.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6712 | μmol/L | 19.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.83 | 146252.5648 | 276862.9547 | 36.4 | 83.1 | #N/A
26943 | 2021-02-22 13:04 | 20.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6511 | μmol/L | 19.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.831 | 146252.2111 | 276858.4635 | 36.4 | 83.1 | #N/A
26953 | 2021-02-22 13:04 | 21.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6069 | μmol/L | 19.1424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.831 | 146251.1661 | 276858.86 | 36.4 | 83.1 | #N/A
26963 | 2021-02-22 13:04 | 21.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6109 | μmol/L | 19.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.833 | 146255.2417 | 276856.4704 | 36.4 | 83.1 | #N/A
26973 | 2021-02-22 13:05 | 21.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6149 | μmol/L | 19.1301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.835 | 146269.7819 | 276848.3727 | 36.4 | 83.1 | #N/A
26983 | 2021-02-22 13:05 | 22.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5306 | μmol/L | 19.1363 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.837 | 146265.6916 | 276846.7647 | 36.4 | 83.1 | #N/A
26993 | 2021-02-22 13:05 | 22.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6189 | μmol/L | 19.124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.837 | 146261.6111 | 276838.1735 | 36.4 | 83.1 | #N/A
27003 | 2021-02-22 13:06 | 22.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5586 | μmol/L | 19.124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.84 | 146272.7709 | 276837.6708 | 36.4 | 83.1 | #N/A
27013 | 2021-02-22 13:06 | 23.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5145 | μmol/L | 19.1301 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.84 | 146271.0527 | 276833.8033 | 36.4 | 83.1 | #N/A
27023 | 2021-02-22 13:06 | 23.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4783 | μmol/L | 19.124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.844 | 146283.2919 | 276831.9936 | 36.4 | 83.1 | #N/A
27033 | 2021-02-22 13:07 | 23.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.6068 | μmol/L | 19.1118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.842 | 146283.7297 | 276838.43 | 36.4 | 83.1 | #N/A
27043 | 2021-02-22 13:07 | 24.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4583 | μmol/L | 19.124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.845 | 146288.5479 | 276835.238 | 36.4 | 83.1 | #N/A
27053 | 2021-02-22 13:07 | 24.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4221 | μmol/L | 19.1179 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.849 | 146284.9922 | 276838.4235 | 36.4 | 83.1 | #N/A
27063 | 2021-02-22 13:08 | 24.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4903 | μmol/L | 19.1056 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.85 | 146297.5373 | 276838.3521 | 36.4 | 83.1 | #N/A
27073 | 2021-02-22 13:08 | 25.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5746 | μmol/L | 19.0995 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.848 | 146316.5331 | 276835.1637 | 36.4 | 83.1 | #N/A
27083 | 2021-02-22 13:08 | 25.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.386 | μmol/L | 19.1118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.853 | 146315.5284 | 276823.4449 | 36.4 | 83.1 | #N/A
27093 | 2021-02-22 13:09 | 25.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4261 | μmol/L | 19.1118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.851 | 146318.4809 | 276828.6125 | 36.4 | 83.1 | #N/A
27103 | 2021-02-22 13:09 | 26.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3659 | μmol/L | 19.1118 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.854 | 146321.3467 | 276839.5584 | 36.4 | 83.1 | #N/A
27113 | 2021-02-22 13:09 | 26.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4341 | μmol/L | 19.0995 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.855 | 146321.7287 | 276823.257 | 36.4 | 83.1 | #N/A
27123 | 2021-02-22 13:10 | 26.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4101 | μmol/L | 19.1056 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.854 | 146331.4943 | 276832.2087 | 36.4 | 83.1 | #N/A
27133 | 2021-02-22 13:10 | 27.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3339 | μmol/L | 19.0995 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.86 | 146332.7138 | 276820.4395 | 36.4 | 83.1 | #N/A
27143 | 2021-02-22 13:10 | 27.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2496 | μmol/L | 19.1056 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 146340.7492 | 276820.8495 | 36.4 | 83.1 | #N/A
27153 | 2021-02-22 13:11 | 27.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3379 | μmol/L | 19.0934 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 146342.9507 | 276826.1301 | 36.4 | 83.1 | #N/A
27163 | 2021-02-22 13:11 | 28.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.382 | μmol/L | 19.0873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.862 | 146347.4095 | 276823.6409 | 36.4 | 83.1 | #N/A
27173 | 2021-02-22 13:11 | 28.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.5104 | μmol/L | 19.075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.86 | 146350.6745 | 276808.0705 | 36.4 | 83.1 | #N/A
27183 | 2021-02-22 13:12 | 28.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.4101 | μmol/L | 19.075 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.865 | 146374.1893 | 276826.9085 | 36.4 | 83.1 | #N/A
27193 | 2021-02-22 13:12 | 29.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2577 | μmol/L | 19.0934 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.866 | 146375.1421 | 276832.4559 | 36.4 | 83.1 | #N/A
27203 | 2021-02-22 13:12 | 29.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3259 | μmol/L | 19.0811 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.867 | 146365.4455 | 276809.0485 | 36.4 | 83.1 | #N/A
27213 | 2021-02-22 13:13 | 29.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3981 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.87 | 146373.8767 | 276817.7178 | 36.4 | 83.1 | #N/A
27223 | 2021-02-22 13:13 | 30.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.374 | μmol/L | 19.0689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.869 | 146379.5417 | 276794.4802 | 36.4 | 83.1 | #N/A
27233 | 2021-02-22 13:13 | 30.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.374 | μmol/L | 19.0689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.869 | 146392.6384 | 276799.7096 | 36.4 | 83.1 | #N/A
27243 | 2021-02-22 13:14 | 30.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3139 | μmol/L | 19.0689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.872 | 146390.8572 | 276796.8489 | 36.4 | 83.1 | #N/A
27253 | 2021-02-22 13:14 | 31.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.3179 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.874 | 146401.7701 | 276791.0967 | 36.4 | 83.1 | #N/A
27263 | 2021-02-22 13:14 | 31.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2137 | μmol/L | 19.0689 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.877 | 146413.5606 | 276803.3244 | 36.4 | 83.1 | #N/A
27273 | 2021-02-22 13:15 | 31.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1977 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.88 | 146419.51 | 276806.9683 | 36.4 | 83.1 | #N/A
27283 | 2021-02-22 13:15 | 32.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2177 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.879 | 146433.0226 | 276793.3738 | 36.4 | 83.1 | #N/A
27293 | 2021-02-22 13:15 | 32.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1376 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.883 | 146424.4295 | 276786.2951 | 36.4 | 83.1 | #N/A
27303 | 2021-02-22 13:16 | 32.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1858 | μmol/L | 19.0505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.885 | 146440.4506 | 276801.7463 | 36.4 | 83.1 | #N/A
27313 | 2021-02-22 13:16 | 33.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.2098 | μmol/L | 19.0444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.886 | 146445.8003 | 276795.8471 | 36.4 | 83.1 | #N/A
27323 | 2021-02-22 13:16 | 33.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1498 | μmol/L | 19.0444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.889 | 146448.9922 | 276799.7341 | 36.4 | 83.1 | #N/A
27333 | 2021-02-22 13:17 | 33.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1297 | μmol/L | 19.0444 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.89 | 146467.3731 | 276796.9794 | 36.4 | 83.1 | #N/A
27343 | 2021-02-22 13:17 | 34.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0937 | μmol/L | 19.0383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.894 | 146479.4857 | 276795.3178 | 36.4 | 83.1 | #N/A
27353 | 2021-02-22 13:17 | 34.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0937 | μmol/L | 19.0383 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.894 | 146482.3916 | 276791.3477 | 36.4 | 83.1 | #N/A
27363 | 2021-02-22 13:18 | 34.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1579 | μmol/L | 19.0321 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.893 | 146486.9071 | 276806.7906 | 36.4 | 83.1 | #N/A
27373 | 2021-02-22 13:18 | 35.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1619 | μmol/L | 19.026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.895 | 146481.6772 | 276787.5331 | 36.4 | 83.1 | #N/A
27383 | 2021-02-22 13:18 | 35.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.186 | μmol/L | 19.0199 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.896 | 146505.8497 | 276792.5687 | 36.4 | 83.1 | #N/A
27393 | 2021-02-22 13:19 | 35.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0819 | μmol/L | 19.026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.899 | 146513.8782 | 276785.2198 | 36.4 | 83.1 | #N/A
27403 | 2021-02-22 13:19 | 36.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.11 | μmol/L | 19.0138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.902 | 146523.0197 | 276778.4551 | 36.4 | 83.1 | #N/A
27413 | 2021-02-22 13:19 | 36.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.1341 | μmol/L | 19.0076 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.903 | 146526.0463 | 276786.7555 | 36.4 | 83.1 | #N/A
27423 | 2021-02-22 13:20 | 36.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0941 | μmol/L | 19.0076 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.905 | 146524.1989 | 276767.933 | 36.4 | 83.1 | #N/A
27433 | 2021-02-22 13:20 | 37.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0741 | μmol/L | 19.0076 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.906 | 146541.4531 | 276772.5655 | 36.4 | 83.1 | #N/A
27443 | 2021-02-22 13:20 | 37.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0782 | μmol/L | 19.0015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.908 | 146550.493 | 276773.9737 | 36.4 | 83.1 | #N/A
27453 | 2021-02-22 13:21 | 37.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0582 | μmol/L | 19.0015 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.909 | 146552.4021 | 276774.9316 | 36.4 | 83.1 | #N/A
27463 | 2021-02-22 13:21 | 38.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0222 | μmol/L | 18.9954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.913 | 146558.4552 | 276781.8483 | 36.4 | 83.1 | #N/A
27473 | 2021-02-22 13:21 | 38.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 238.0663 | μmol/L | 18.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.913 | 146560.9051 | 276772.5689 | 36.4 | 83.1 | #N/A
27483 | 2021-02-22 13:22 | 38.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9622 | μmol/L | 18.9954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.916 | 146574.237 | 276775.7536 | 36.4 | 83.1 | #N/A
27493 | 2021-02-22 13:22 | 39.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9222 | μmol/L | 18.9954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.918 | 146587.0054 | 276772.7585 | 36.4 | 83.1 | #N/A
27503 | 2021-02-22 13:22 | 39.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8623 | μmol/L | 18.9954 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.921 | 146590.5303 | 276765.214 | 36.4 | 83.1 | #N/A
27513 | 2021-02-22 13:23 | 39.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9263 | μmol/L | 18.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.92 | 146585.0063 | 276769.5811 | 36.4 | 83.1 | #N/A
27523 | 2021-02-22 13:23 | 40.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8863 | μmol/L | 18.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.922 | 146585.8515 | 276763.0527 | 36.4 | 83.1 | #N/A
27533 | 2021-02-22 13:23 | 40.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8664 | μmol/L | 18.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.923 | 146599.4756 | 276770.1099 | 36.4 | 83.1 | #N/A
27543 | 2021-02-22 13:24 | 40.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9146 | μmol/L | 18.977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.925 | 146612.779 | 276766.6001 | 36.4 | 83.1 | #N/A
27553 | 2021-02-22 13:24 | 41.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9146 | μmol/L | 18.977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.925 | 146615.8738 | 276778.1561 | 36.4 | 83.1 | #N/A
27563 | 2021-02-22 13:24 | 41.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8746 | μmol/L | 18.977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.927 | 146605.6512 | 276754.6605 | 36.4 | 83.1 | #N/A
27573 | 2021-02-22 13:25 | 41.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9187 | μmol/L | 18.9709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.927 | 146621.8683 | 276772.0663 | 36.4 | 83.1 | #N/A
27583 | 2021-02-22 13:25 | 42.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8787 | μmol/L | 18.9709 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.929 | 146619.5019 | 276768.4672 | 36.4 | 83.1 | #N/A
27593 | 2021-02-22 13:25 | 42.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8428 | μmol/L | 18.9648 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.933 | 146632.5423 | 276742.0544 | 36.4 | 83.1 | #N/A
27603 | 2021-02-22 13:26 | 42.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8869 | μmol/L | 18.9586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.933 | 146638.4272 | 276758.2617 | 36.4 | 83.1 | #N/A
27613 | 2021-02-22 13:26 | 43.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.911 | μmol/L | 18.9525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.934 | 146634.8965 | 276764.2127 | 36.4 | 83.1 | #N/A
27623 | 2021-02-22 13:26 | 43.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8669 | μmol/L | 18.9586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.934 | 146644.4877 | 276750.5292 | 36.4 | 83.1 | #N/A
27633 | 2021-02-22 13:27 | 43.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8311 | μmol/L | 18.9525 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.938 | 146655.0285 | 276757.1526 | 36.4 | 83.1 | #N/A
27643 | 2021-02-22 13:27 | 44.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.7471 | μmol/L | 18.9586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.94 | 146673.3214 | 276760.4085 | 36.4 | 83.1 | #N/A
27653 | 2021-02-22 13:27 | 44.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8752 | μmol/L | 18.9464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.938 | 146665.3731 | 276765.028 | 36.4 | 83.1 | #N/A
27663 | 2021-02-22 13:28 | 44.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.9193 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.938 | 146678.9462 | 276762.7346 | 36.4 | 83.1 | #N/A
27673 | 2021-02-22 13:28 | 45.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8194 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.943 | 146681.949 | 276765.5104 | 36.4 | 83.1 | #N/A
27683 | 2021-02-22 13:28 | 45.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.8435 | μmol/L | 18.9341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.944 | 146686.5393 | 276754.3041 | 36.4 | 83.1 | #N/A
27693 | 2021-02-22 13:29 | 45.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6596 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.951 | 146697.9109 | 276757.8028 | 36.4 | 83.1 | #N/A
27703 | 2021-02-22 13:29 | 46.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.7595 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.946 | 146702.2299 | 276746.9459 | 36.4 | 83.1 | #N/A
27713 | 2021-02-22 13:29 | 46.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6996 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.949 | 146715.3829 | 276755.6466 | 36.4 | 83.1 | #N/A
27723 | 2021-02-22 13:30 | 46.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6596 | μmol/L | 18.9403 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.951 | 146708.2307 | 276749.9028 | 36.4 | 83.1 | #N/A
27733 | 2021-02-22 13:30 | 47.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6837 | μmol/L | 18.9341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 146724.8933 | 276751.9816 | 36.4 | 83.1 | #N/A
27743 | 2021-02-22 13:30 | 47.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6837 | μmol/L | 18.9341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.952 | 146730.5549 | 276748.1107 | 36.4 | 83.1 | #N/A
27753 | 2021-02-22 13:31 | 47.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6721 | μmol/L | 18.9219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.957 | 146753.6256 | 276756.3398 | 36.4 | 83.1 | #N/A
27763 | 2021-02-22 13:31 | 48.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5881 | μmol/L | 18.928 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.959 | 146761.0797 | 276743.9895 | 36.4 | 83.1 | #N/A
27773 | 2021-02-22 13:31 | 48.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6322 | μmol/L | 18.9219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.959 | 146742.7892 | 276747.9879 | 36.4 | 83.1 | #N/A
27783 | 2021-02-22 13:32 | 48.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5923 | μmol/L | 18.9219 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.961 | 146763.8794 | 276750.6911 | 36.4 | 83.1 | #N/A
27793 | 2021-02-22 13:32 | 49.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6164 | μmol/L | 18.9158 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.962 | 146772.8954 | 276744.6922 | 36.4 | 83.1 | #N/A
27803 | 2021-02-22 13:32 | 49.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6405 | μmol/L | 18.9096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.963 | 146780.7205 | 276741.2019 | 36.4 | 83.1 | #N/A
27813 | 2021-02-22 13:33 | 49.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.6247 | μmol/L | 18.9035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.966 | 146791.2554 | 276736.5161 | 36.4 | 83.1 | #N/A
27823 | 2021-02-22 13:33 | 50.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5009 | μmol/L | 18.9096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.97 | 146797.3693 | 276742.5144 | 36.4 | 83.1 | #N/A
27833 | 2021-02-22 13:33 | 50.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5649 | μmol/L | 18.9035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 146807.8935 | 276742.5788 | 36.4 | 83.1 | #N/A
27843 | 2021-02-22 13:34 | 50.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5649 | μmol/L | 18.9035 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.969 | 146817.9441 | 276735.5427 | 36.4 | 83.1 | #N/A
27853 | 2021-02-22 13:34 | 51.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.569 | μmol/L | 18.8974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.971 | 146840.3379 | 276748.2059 | 36.4 | 83.1 | #N/A
27863 | 2021-02-22 13:34 | 51.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4893 | μmol/L | 18.8974 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.975 | 146843.5519 | 276738.0335 | 36.4 | 83.1 | #N/A
27873 | 2021-02-22 13:35 | 51.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5375 | μmol/L | 18.8851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.977 | 146835.863 | 276725.2767 | 36.4 | 83.1 | #N/A
27883 | 2021-02-22 13:35 | 52.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5574 | μmol/L | 18.8851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.976 | 146834.143 | 276732.9195 | 36.4 | 83.1 | #N/A
27893 | 2021-02-22 13:35 | 52.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5176 | μmol/L | 18.8851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 146851.7331 | 276735.2235 | 36.4 | 83.1 | #N/A
27903 | 2021-02-22 13:36 | 52.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4735 | μmol/L | 18.8913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.978 | 146869.9771 | 276740.8029 | 36.4 | 83.1 | #N/A
27913 | 2021-02-22 13:36 | 53.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3581 | μmol/L | 18.8851 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.986 | 146875.0681 | 276733.666 | 36.4 | 83.1 | #N/A
27923 | 2021-02-22 13:36 | 53.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.506 | μmol/L | 18.8729 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.983 | 146885.1183 | 276744.176 | 36.4 | 83.1 | #N/A
27933 | 2021-02-22 13:37 | 53.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4221 | μmol/L | 18.879 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.985 | 146877.8831 | 276736.6482 | 36.4 | 83.1 | #N/A
27943 | 2021-02-22 13:37 | 54.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.5301 | μmol/L | 18.8668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.984 | 146893.0635 | 276740.178 | 36.4 | 83.1 | #N/A
27953 | 2021-02-22 13:37 | 54.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4504 | μmol/L | 18.8668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.988 | 146910.4386 | 276742.1585 | 36.4 | 83.1 | #N/A
27963 | 2021-02-22 13:38 | 54.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4305 | μmol/L | 18.8668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.989 | 146906.0465 | 276727.1596 | 36.4 | 83.1 | #N/A
27973 | 2021-02-22 13:38 | 55.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3906 | μmol/L | 18.8668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.991 | 146914.558 | 276730.7002 | 36.4 | 83.1 | #N/A
27983 | 2021-02-22 13:38 | 55.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.4189 | μmol/L | 18.8545 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.994 | 146921.4234 | 276724.3196 | 36.4 | 83.1 | #N/A
27993 | 2021-02-22 13:39 | 55.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3749 | μmol/L | 18.8606 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.994 | 146937.9021 | 276716.3926 | 36.4 | 83.1 | #N/A
28003 | 2021-02-22 13:39 | 56.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.355 | μmol/L | 18.8606 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.995 | 146945.1899 | 276716.128 | 36.4 | 83.1 | #N/A
28013 | 2021-02-22 13:39 | 56.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3833 | μmol/L | 18.8484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 22.998 | 146955.718 | 276723.6734 | 36.4 | 83.1 | #N/A
28023 | 2021-02-22 13:40 | 56.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3477 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.002 | 146965.6549 | 276724.176 | 36.4 | 83.1 | #N/A
28033 | 2021-02-22 13:40 | 57.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.3079 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.004 | 146984.7473 | 276718.805 | 36.4 | 83.1 | #N/A
28043 | 2021-02-22 13:40 | 57.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.2481 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.007 | 146997.98 | 276725.8235 | 36.4 | 83.1 | #N/A
28053 | 2021-02-22 13:41 | 57.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1643 | μmol/L | 18.8484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.009 | 147022.3268 | 276713.9027 | 36.4 | 83.1 | #N/A
28063 | 2021-02-22 13:41 | 58.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1686 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.011 | 147027.1144 | 276723.4944 | 36.4 | 83.1 | #N/A
28073 | 2021-02-22 13:41 | 58.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1288 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.013 | 147031.4874 | 276715.0701 | 36.4 | 83.1 | #N/A
28083 | 2021-02-22 13:42 | 58.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1487 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.012 | 147041.7884 | 276714.6002 | 36.4 | 83.1 | #N/A
28093 | 2021-02-22 13:42 | 59.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1571 | μmol/L | 18.83 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.016 | 147052.8983 | 276718.4298 | 36.4 | 83.1 | #N/A
28103 | 2021-02-22 13:42 | 59.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1173 | μmol/L | 18.83 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.018 | 147065.8248 | 276723.3891 | 36.4 | 83.1 | #N/A
28113 | 2021-02-22 13:43 | 59.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0137 | μmol/L | 18.8361 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.021 | 147071.5978 | 276717.4831 | 36.4 | 83.1 | #N/A
28123 | 2021-02-22 13:43 | 60.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0336 | μmol/L | 18.8361 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.02 | 147084.2785 | 276713.882 | 36.4 | 83.1 | #N/A
28133 | 2021-02-22 13:43 | 60.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0023 | μmol/L | 18.8239 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.026 | 147103.4642 | 276717.9518 | 36.4 | 83.1 | #N/A
28143 | 2021-02-22 13:44 | 60.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0818 | μmol/L | 18.8239 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.022 | 147118.0268 | 276720.9014 | 36.4 | 83.1 | #N/A
28153 | 2021-02-22 13:44 | 61.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9384 | μmol/L | 18.83 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.027 | 147117.7012 | 276715.265 | 36.4 | 83.1 | #N/A
28163 | 2021-02-22 13:44 | 61.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0065 | μmol/L | 18.8178 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.028 | 147123.3432 | 276704.6821 | 36.4 | 83.1 | #N/A
28173 | 2021-02-22 13:45 | 61.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0306 | μmol/L | 18.8116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.029 | 147137.2006 | 276715.1355 | 36.4 | 83.1 | #N/A
28183 | 2021-02-22 13:45 | 62.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9951 | μmol/L | 18.8055 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.033 | 147157.5128 | 276717.8814 | 36.4 | 83.1 | #N/A
28193 | 2021-02-22 13:45 | 62.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0632 | μmol/L | 18.7933 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.034 | 147166.117 | 276706.1814 | 36.4 | 83.1 | #N/A
28203 | 2021-02-22 13:46 | 62.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.0235 | μmol/L | 18.7933 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.036 | 147164.4873 | 276697.9764 | 36.4 | 83.1 | #N/A
28213 | 2021-02-22 13:46 | 63.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9199 | μmol/L | 18.7994 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 147182.9551 | 276707.7862 | 36.4 | 83.1 | #N/A
28223 | 2021-02-22 13:46 | 63.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9398 | μmol/L | 18.7994 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 147209.129 | 276720.4565 | 36.4 | 83.1 | #N/A
28233 | 2021-02-22 13:47 | 63.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9483 | μmol/L | 18.7871 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147213.2582 | 276713.9829 | 36.4 | 83.1 | #N/A
28243 | 2021-02-22 13:47 | 64.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 237.1485 | μmol/L | 18.7565 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147230.7267 | 276712.0342 | 36.4 | 83.1 | #N/A
28253 | 2021-02-22 13:47 | 64.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.9724 | μmol/L | 18.781 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147225.7783 | 276710.9984 | 36.4 | 83.1 | #N/A
28263 | 2021-02-22 13:48 | 64.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.8844 | μmol/L | 18.7933 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147236.5785 | 276701.8265 | 36.4 | 83.1 | #N/A
28273 | 2021-02-22 13:48 | 65.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.7852 | μmol/L | 18.7933 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 147270.8369 | 276709.5865 | 36.4 | 83.1 | #N/A
28283 | 2021-02-22 13:48 | 65.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.7611 | μmol/L | 18.7994 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 147284.9442 | 276712.8586 | 36.4 | 83.1 | #N/A
28293 | 2021-02-22 13:49 | 65.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.5938 | μmol/L | 18.8116 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147291.3798 | 276721.3892 | 36.4 | 83.1 | #N/A
28303 | 2021-02-22 13:49 | 66.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.4622 | μmol/L | 18.83 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147312.7803 | 276723.7425 | 36.4 | 83.1 | #N/A
28313 | 2021-02-22 13:49 | 66.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.4423 | μmol/L | 18.83 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 147325.2441 | 276732.6281 | 36.4 | 83.1 | #N/A
28323 | 2021-02-22 13:50 | 66.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.3942 | μmol/L | 18.8423 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.05 | 147346.0508 | 276727.9978 | 36.4 | 83.1 | #N/A
28333 | 2021-02-22 13:50 | 67.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.2513 | μmol/L | 18.8484 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147346.9801 | 276729.4981 | 36.4 | 83.1 | #N/A
28343 | 2021-02-22 13:50 | 67.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 236.1199 | μmol/L | 18.8668 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147358.6825 | 276711.4826 | 36.4 | 83.1 | #N/A
28353 | 2021-02-22 13:51 | 67.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.9447 | μmol/L | 18.8913 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147382.9196 | 276718.721 | 36.4 | 83.1 | #N/A
28363 | 2021-02-22 13:51 | 68.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.8333 | μmol/L | 18.9096 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 147393.6231 | 276705.6525 | 36.4 | 83.1 | #N/A
28373 | 2021-02-22 13:51 | 68.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.6979 | μmol/L | 18.9341 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 147396.4584 | 276711.6988 | 36.4 | 83.1 | #N/A
28383 | 2021-02-22 13:52 | 68.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.6698 | μmol/L | 18.9464 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 147388.8419 | 276704.1699 | 36.4 | 83.1 | #N/A
28393 | 2021-02-22 13:52 | 69.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.5429 | μmol/L | 18.9586 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147424.8655 | 276725.4548 | 36.4 | 83.1 | #N/A
28403 | 2021-02-22 13:52 | 69.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.3247 | μmol/L | 18.9893 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147434.1871 | 276729.5711 | 36.4 | 83.1 | #N/A
28413 | 2021-02-22 13:53 | 69.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.1307 | μmol/L | 19.0138 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 147440.4647 | 276730.348 | 36.4 | 83.1 | #N/A
28423 | 2021-02-22 13:53 | 70.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 235.0633 | μmol/L | 19.026 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147445.9967 | 276723.6355 | 36.4 | 83.1 | #N/A
28433 | 2021-02-22 13:53 | 70.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.9285 | μmol/L | 19.0505 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 147461.7776 | 276731.5768 | 36.4 | 83.1 | #N/A
28443 | 2021-02-22 13:54 | 70.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.7628 | μmol/L | 19.0628 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 147487.1231 | 276721.0584 | 36.4 | 83.1 | #N/A
28453 | 2021-02-22 13:54 | 71.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.707 | μmol/L | 19.0873 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 147491.4481 | 276717.3248 | 36.4 | 83.1 | #N/A
28463 | 2021-02-22 13:54 | 71.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.5963 | μmol/L | 19.1056 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147503.3829 | 276718.4009 | 36.4 | 83.1 | #N/A
28473 | 2021-02-22 13:55 | 71.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.4267 | μmol/L | 19.124 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 147515.7514 | 276718.1399 | 36.4 | 83.1 | #N/A
28483 | 2021-02-22 13:55 | 72.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.3359 | μmol/L | 19.1424 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147530.6963 | 276711.8613 | 36.4 | 83.1 | #N/A
28493 | 2021-02-22 13:55 | 72.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.1903 | μmol/L | 19.1546 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 147528.9915 | 276708.1599 | 36.4 | 83.1 | #N/A
28503 | 2021-02-22 13:56 | 72.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.1584 | μmol/L | 19.173 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147540.615 | 276712.1905 | 36.4 | 83.1 | #N/A
28513 | 2021-02-22 13:56 | 73.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 234.0718 | μmol/L | 19.1853 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147555.5155 | 276700.7425 | 36.4 | 83.1 | #N/A
28523 | 2021-02-22 13:56 | 73.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.8594 | μmol/L | 19.2098 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147568.7177 | 276694.8997 | 36.4 | 83.1 | #N/A
28533 | 2021-02-22 13:57 | 73.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.8358 | μmol/L | 19.2159 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 147570.0935 | 276694.6786 | 36.4 | 83.1 | #N/A
28543 | 2021-02-22 13:57 | 74.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.706 | μmol/L | 19.2343 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 147587.7547 | 276690.8536 | 36.4 | 83.1 | #N/A
28553 | 2021-02-22 13:57 | 74.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.6784 | μmol/L | 19.2465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147602.7059 | 276698.073 | 36.4 | 83.1 | #N/A
28563 | 2021-02-22 13:58 | 74.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.6784 | μmol/L | 19.2465 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147607.9213 | 276694.508 | 36.4 | 83.1 | #N/A
28573 | 2021-02-22 13:58 | 75.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.5488 | μmol/L | 19.2649 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147621.3665 | 276694.0104 | 36.4 | 83.1 | #N/A
28583 | 2021-02-22 13:58 | 75.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3997 | μmol/L | 19.2833 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147624.1961 | 276702.5176 | 36.4 | 83.1 | #N/A
28593 | 2021-02-22 13:59 | 75.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.3566 | μmol/L | 19.2894 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147629.185 | 276696.4237 | 36.4 | 83.1 | #N/A
28603 | 2021-02-22 13:59 | 76.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.329 | μmol/L | 19.3017 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147648.4937 | 276692.9106 | 36.4 | 83.1 | #N/A
28613 | 2021-02-22 13:59 | 76.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.1685 | μmol/L | 19.3078 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147684.5945 | 276689.3237 | 36.4 | 83.1 | #N/A
28623 | 2021-02-22 14:00 | 76.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.0588 | μmol/L | 19.3262 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 147673.3407 | 276684.9489 | 36.4 | 83.1 | #N/A
28633 | 2021-02-22 14:00 | 77.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.9922 | μmol/L | 19.3384 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147694.6302 | 276689.7142 | 36.4 | 83.1 | #N/A
28643 | 2021-02-22 14:00 | 77.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.9922 | μmol/L | 19.3384 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147699.9022 | 276698.1659 | 36.4 | 83.1 | #N/A
28653 | 2021-02-22 14:01 | 77.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 233.0078 | μmol/L | 19.3445 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147710.256 | 276689.897 | 36.4 | 83.1 | #N/A
28663 | 2021-02-22 14:01 | 78.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.8631 | μmol/L | 19.3568 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147710.1302 | 276673.6173 | 36.4 | 83.1 | #N/A
28673 | 2021-02-22 14:01 | 78.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.8201 | μmol/L | 19.3629 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147714.7251 | 276678.0606 | 36.4 | 83.1 | #N/A
28683 | 2021-02-22 14:02 | 78.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.8591 | μmol/L | 19.3629 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147694.0607 | 276667.5511 | 36.4 | 83.1 | #N/A
28693 | 2021-02-22 14:02 | 79.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.7887 | μmol/L | 19.3813 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 147697.0494 | 276673.6251 | 36.4 | 83.1 | #N/A
28703 | 2021-02-22 14:02 | 79.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.7067 | μmol/L | 19.3874 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147694.5996 | 276659.7372 | 36.4 | 83.1 | #N/A
28713 | 2021-02-22 14:03 | 79.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.6637 | μmol/L | 19.3935 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147689.2513 | 276661.0689 | 36.4 | 83.1 | #N/A
28723 | 2021-02-22 14:03 | 80.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.5972 | μmol/L | 19.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147705.2982 | 276653.2525 | 36.4 | 83.1 | #N/A
28733 | 2021-02-22 14:03 | 80.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.5777 | μmol/L | 19.4058 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147716.444 | 276657.7075 | 36.4 | 83.1 | #N/A
28743 | 2021-02-22 14:04 | 80.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.5543 | μmol/L | 19.4119 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147712.365 | 276656.9797 | 36.4 | 83.1 | #N/A
28753 | 2021-02-22 14:04 | 81.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.5113 | μmol/L | 19.418 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147710.419 | 276648.3752 | 36.4 | 83.1 | #N/A
28763 | 2021-02-22 14:04 | 81.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.3865 | μmol/L | 19.4303 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147717.1933 | 276653.8236 | 36.4 | 83.1 | #N/A
28773 | 2021-02-22 14:05 | 81.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.4021 | μmol/L | 19.4364 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 147717.3867 | 276654.3416 | 36.4 | 83.1 | #N/A
28783 | 2021-02-22 14:05 | 82.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.2384 | μmol/L | 19.4487 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147742.0682 | 276646.5198 | 36.4 | 83.1 | #N/A
28793 | 2021-02-22 14:05 | 82.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.3786 | μmol/L | 19.4425 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 147740.6802 | 276639.3133 | 36.4 | 83.1 | #N/A
28803 | 2021-02-22 14:06 | 82.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.215 | μmol/L | 19.4548 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147741.781 | 276645.9312 | 36.4 | 83.1 | #N/A
28813 | 2021-02-22 14:06 | 83.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.1916 | μmol/L | 19.4609 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147743.6059 | 276646.4304 | 36.4 | 83.1 | #N/A
28823 | 2021-02-22 14:06 | 83.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.1487 | μmol/L | 19.467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147748.3648 | 276643.1754 | 36.4 | 83.1 | #N/A
28833 | 2021-02-22 14:07 | 83.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.1253 | μmol/L | 19.4732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147754.014 | 276640.3667 | 36.4 | 83.1 | #N/A
28843 | 2021-02-22 14:07 | 84.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.0864 | μmol/L | 19.4732 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147747.8121 | 276645.866 | 36.4 | 83.1 | #N/A
28853 | 2021-02-22 14:07 | 84.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.9618 | μmol/L | 19.4854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147756.5176 | 276640.9624 | 36.4 | 83.1 | #N/A
28863 | 2021-02-22 14:08 | 84.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 232.0785 | μmol/L | 19.4854 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.038 | 147741.8211 | 276630.7724 | 36.4 | 83.1 | #N/A
28873 | 2021-02-22 14:08 | 85.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.9345 | μmol/L | 19.4977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147761.0963 | 276638.4704 | 36.4 | 83.1 | #N/A
28883 | 2021-02-22 14:08 | 85.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.9306 | μmol/L | 19.5038 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.039 | 147755.4804 | 276634.1114 | 36.4 | 83.1 | #N/A
28893 | 2021-02-22 14:09 | 85.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.9345 | μmol/L | 19.4977 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147770.1658 | 276627.9558 | 36.4 | 83.1 | #N/A
28903 | 2021-02-22 14:09 | 86.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.8101 | μmol/L | 19.5099 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.043 | 147779.5621 | 276640.7415 | 36.4 | 83.1 | #N/A
28913 | 2021-02-22 14:09 | 86.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7867 | μmol/L | 19.5161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147784.063 | 276644.5966 | 36.4 | 83.1 | #N/A
28923 | 2021-02-22 14:10 | 86.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7401 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.04 | 147776.5566 | 276619.3936 | 36.4 | 83.1 | #N/A
28933 | 2021-02-22 14:10 | 87.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7479 | μmol/L | 19.5161 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147784.1742 | 276640.4412 | 36.4 | 83.1 | #N/A
28943 | 2021-02-22 14:10 | 87.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.6624 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147783.4173 | 276623.9406 | 36.4 | 83.1 | #N/A
28953 | 2021-02-22 14:11 | 87.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7051 | μmol/L | 19.5222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.044 | 147793.4007 | 276632.2927 | 36.4 | 83.1 | #N/A
28963 | 2021-02-22 14:11 | 88.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.744 | μmol/L | 19.5222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.042 | 147818 | 276626.4169 | 36.4 | 83.1 | #N/A
28973 | 2021-02-22 14:11 | 88.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.7206 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.041 | 147797.9246 | 276628.9318 | 36.4 | 83.1 | #N/A
28983 | 2021-02-22 14:12 | 88.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.6429 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 147807.3585 | 276625.9255 | 36.4 | 83.1 | #N/A
28993 | 2021-02-22 14:12 | 89.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.6468 | μmol/L | 19.5222 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 147817.6478 | 276625.948 | 36.4 | 83.1 | #N/A
29003 | 2021-02-22 14:12 | 89.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.6429 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.045 | 147830.6777 | 276620.4964 | 36.4 | 83.1 | #N/A
29013 | 2021-02-22 14:13 | 89.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.6041 | μmol/L | 19.5283 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.047 | 147817.1532 | 276620.9707 | 36.4 | 83.1 | #N/A
29023 | 2021-02-22 14:13 | 90.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.542 | μmol/L | 19.5344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 147814.0045 | 276614.6932 | 36.4 | 83.1 | #N/A
29033 | 2021-02-22 14:13 | 90.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.5225 | μmol/L | 19.5344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 147831.8956 | 276613.6094 | 36.4 | 83.1 | #N/A
29043 | 2021-02-22 14:14 | 90.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.5808 | μmol/L | 19.5344 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147835.5548 | 276609.9164 | 36.4 | 83.1 | #N/A
29053 | 2021-02-22 14:14 | 91.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.4992 | μmol/L | 19.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.048 | 147830.2801 | 276608.7137 | 36.4 | 83.1 | #N/A
29063 | 2021-02-22 14:14 | 91.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.4953 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.046 | 147842.4537 | 276608.0622 | 36.4 | 83.1 | #N/A
29073 | 2021-02-22 14:15 | 91.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.3944 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.049 | 147855.8917 | 276600.3402 | 36.4 | 83.1 | #N/A
29083 | 2021-02-22 14:15 | 92.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.3556 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147858.1077 | 276609.0041 | 36.4 | 83.1 | #N/A
29093 | 2021-02-22 14:15 | 92.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.2975 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 147866.0968 | 276598.9088 | 36.4 | 83.1 | #N/A
29103 | 2021-02-22 14:16 | 92.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.2509 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.052 | 147873.3649 | 276596.4199 | 36.4 | 83.1 | #N/A
29113 | 2021-02-22 14:16 | 93.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.1889 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.053 | 147875.7799 | 276592.4885 | 36.4 | 83.1 | #N/A
29123 | 2021-02-22 14:16 | 93.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0997 | μmol/L | 19.5896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.051 | 147871.5697 | 276586.1641 | 36.4 | 83.1 | #N/A
29133 | 2021-02-22 14:17 | 93.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.1075 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147891.2337 | 276580.6236 | 36.4 | 83.1 | #N/A
29143 | 2021-02-22 14:17 | 94.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9797 | μmol/L | 19.5957 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147891.5155 | 276575.6244 | 36.4 | 83.1 | #N/A
29153 | 2021-02-22 14:17 | 94.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9797 | μmol/L | 19.5957 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.055 | 147889.192 | 276589.1776 | 36.4 | 83.1 | #N/A
29163 | 2021-02-22 14:18 | 94.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.2121 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.054 | 147886.1428 | 276584.1753 | 36.4 | 83.1 | #N/A
29173 | 2021-02-22 14:18 | 95.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.282 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 147910.1811 | 276591.0085 | 36.4 | 83.1 | #N/A
29183 | 2021-02-22 14:18 | 95.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.154 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 147903.5971 | 276583.5539 | 36.4 | 83.1 | #N/A
29193 | 2021-02-22 14:19 | 95.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0339 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.061 | 147915.4804 | 276579.8454 | 36.4 | 83.1 | #N/A
29203 | 2021-02-22 14:19 | 96.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0726 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.059 | 147918.3644 | 276576.4184 | 36.4 | 83.1 | #N/A
29213 | 2021-02-22 14:19 | 96.3409 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0688 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.057 | 147933.253 | 276576.7167 | 36.4 | 83.1 | #N/A
29223 | 2021-02-22 14:20 | 96.6738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9293 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.062 | 147934.2871 | 276565.4976 | 36.4 | 83.1 | #N/A
29233 | 2021-02-22 14:20 | 97.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9526 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.063 | 147925.4897 | 276564.2385 | 36.4 | 83.1 | #N/A
29243 | 2021-02-22 14:20 | 97.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8674 | μmol/L | 19.5896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.063 | 147933.5942 | 276586.1049 | 36.4 | 83.1 | #N/A
29253 | 2021-02-22 14:21 | 97.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9139 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.065 | 147951.8414 | 276571.1507 | 36.4 | 83.1 | #N/A
29263 | 2021-02-22 14:21 | 98.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8674 | μmol/L | 19.5896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.063 | 147943.3753 | 276576.2392 | 36.4 | 83.1 | #N/A
29273 | 2021-02-22 14:21 | 98.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7049 | μmol/L | 19.6018 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 147950.5286 | 276573.9481 | 36.4 | 83.1 | #N/A
29283 | 2021-02-22 14:22 | 98.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8132 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.068 | 147963.0279 | 276568.8882 | 36.4 | 83.1 | #N/A
29293 | 2021-02-22 14:22 | 99.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.9177 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.067 | 147969.1949 | 276579.0544 | 36.4 | 83.1 | #N/A
29303 | 2021-02-22 14:22 | 99.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7746 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 147968.7262 | 276582.09 | 36.4 | 83.1 | #N/A
29313 | 2021-02-22 14:23 | 99.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0534 | μmol/L | 19.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.071 | 147968.0863 | 276569.6295 | 36.4 | 83.1 | #N/A
29323 | 2021-02-22 14:23 | 100.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.0069 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.069 | 147978.7591 | 276567.8342 | 36.4 | 83.1 | #N/A
29333 | 2021-02-22 14:23 | 100.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8597 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 147987.3534 | 276573.5469 | 36.4 | 83.1 | #N/A
29343 | 2021-02-22 14:24 | 100.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.8597 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.07 | 147985.4558 | 276565.2235 | 36.4 | 83.1 | #N/A
29353 | 2021-02-22 14:24 | 101.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.821 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 147983.3857 | 276570.0824 | 36.4 | 83.1 | #N/A
29363 | 2021-02-22 14:24 | 101.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7591 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.073 | 147990.5431 | 276574.0447 | 36.4 | 83.1 | #N/A
29373 | 2021-02-22 14:25 | 101.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7359 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.072 | 147993.7683 | 276565.3008 | 36.4 | 83.1 | #N/A
29383 | 2021-02-22 14:25 | 102.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6586 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 147995.4192 | 276574.4472 | 36.4 | 83.1 | #N/A
29393 | 2021-02-22 14:25 | 102.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7165 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.073 | 148001.1273 | 276562.4163 | 36.4 | 83.1 | #N/A
29403 | 2021-02-22 14:26 | 102.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7437 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 148013.3329 | 276562.5083 | 36.4 | 83.1 | #N/A
29413 | 2021-02-22 14:26 | 103.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7204 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.075 | 148012.6273 | 276573.9388 | 36.4 | 83.1 | #N/A
29423 | 2021-02-22 14:26 | 103.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.7011 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.076 | 148020.234 | 276575.4785 | 36.4 | 83.1 | #N/A
29433 | 2021-02-22 14:27 | 103.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6702 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.082 | 148027.2309 | 276569.0215 | 36.4 | 83.1 | #N/A
29443 | 2021-02-22 14:27 | 104.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6663 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.08 | 148033.9626 | 276572.254 | 36.4 | 83.1 | #N/A
29453 | 2021-02-22 14:27 | 104.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5813 | μmol/L | 19.5834 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.08 | 148046.0597 | 276579.556 | 36.4 | 83.1 | #N/A
29463 | 2021-02-22 14:28 | 104.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6084 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.083 | 148041.0463 | 276572.1353 | 36.4 | 83.1 | #N/A
29473 | 2021-02-22 14:28 | 105.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6316 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.084 | 148044.5328 | 276549.5034 | 36.4 | 83.1 | #N/A
29483 | 2021-02-22 14:28 | 105.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.6935 | μmol/L | 19.5589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.083 | 148056.2713 | 276560.3483 | 36.4 | 83.1 | #N/A
29493 | 2021-02-22 14:29 | 105.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5736 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.087 | 148062.1675 | 276556.9077 | 36.4 | 83.1 | #N/A
29503 | 2021-02-22 14:29 | 106.0071 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5079 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 148053.5521 | 276550.4918 | 36.4 | 83.1 | #N/A
29513 | 2021-02-22 14:29 | 106.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4229 | μmol/L | 19.5896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.086 | 148068.6846 | 276559.7328 | 36.4 | 83.1 | #N/A
29523 | 2021-02-22 14:30 | 106.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3843 | μmol/L | 19.5896 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.088 | 148085.0469 | 276557.6593 | 36.4 | 83.1 | #N/A
29533 | 2021-02-22 14:30 | 107.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4307 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.09 | 148091.3486 | 276547.3476 | 36.4 | 83.1 | #N/A
29543 | 2021-02-22 14:30 | 107.3405 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3921 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.092 | 148080.9464 | 276560.1761 | 36.4 | 83.1 | #N/A
29553 | 2021-02-22 14:31 | 107.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3767 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.095 | 148090.8415 | 276555.5798 | 36.4 | 83.1 | #N/A
29563 | 2021-02-22 14:31 | 108.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3767 | μmol/L | 19.5712 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.095 | 148100.5721 | 276555.9602 | 36.4 | 83.1 | #N/A
29573 | 2021-02-22 14:31 | 108.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3342 | μmol/L | 19.5773 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.095 | 148105.7588 | 276541.1108 | 36.4 | 83.1 | #N/A
29583 | 2021-02-22 14:32 | 108.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3806 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.097 | 148111.34 | 276549.6611 | 36.4 | 83.1 | #N/A
29593 | 2021-02-22 14:32 | 109.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4888 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 148110.5039 | 276540.058 | 36.4 | 83.1 | #N/A
29603 | 2021-02-22 14:32 | 109.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5313 | μmol/L | 19.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 148111.6917 | 276541.9121 | 36.4 | 83.1 | #N/A
29613 | 2021-02-22 14:33 | 109.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5313 | μmol/L | 19.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 148123.0634 | 276547.1147 | 36.4 | 83.1 | #N/A
29623 | 2021-02-22 14:33 | 110.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4038 | μmol/L | 19.5589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.098 | 148128.086 | 276542.7911 | 36.4 | 83.1 | #N/A
29633 | 2021-02-22 14:33 | 110.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.3652 | μmol/L | 19.5589 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.1 | 148136.0797 | 276556.3015 | 36.4 | 83.1 | #N/A
29643 | 2021-02-22 14:34 | 110.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.5081 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.097 | 148128.4258 | 276539.7691 | 36.4 | 83.1 | #N/A
29653 | 2021-02-22 14:34 | 111.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.4927 | μmol/L | 19.5406 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.1 | 148146.0883 | 276544.1052 | 36.4 | 83.1 | #N/A
29663 | 2021-02-22 14:34 | 111.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2919 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 148153.2866 | 276552.7277 | 36.4 | 83.1 | #N/A
29673 | 2021-02-22 14:35 | 111.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2263 | μmol/L | 19.5651 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.105 | 148147.1895 | 276553.5966 | 36.4 | 83.1 | #N/A
29683 | 2021-02-22 14:35 | 112.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2919 | μmol/L | 19.5528 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.106 | 148156.4249 | 276543.4772 | 36.4 | 83.1 | #N/A
29693 | 2021-02-22 14:35 | 112.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2958 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.108 | 148165.3412 | 276547.8929 | 36.4 | 83.1 | #N/A
29703 | 2021-02-22 14:36 | 112.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.2573 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.11 | 148182.0995 | 276550.1075 | 36.4 | 83.1 | #N/A
29713 | 2021-02-22 14:36 | 113.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 230.238 | μmol/L | 19.5467 | °C | 1003 | hPa | Humid | 28 | 0 | 0 | 23.111 | 148192.1956 | 276549.3455 | 36.4 | 83.1 | #N/A