## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38222 | 2021-03-03 10:59 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3392 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.051 | 126259.7654 | 303103.432 | 30.45 | 114.2
38232 | 2021-03-03 10:59 | 0.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1812 | μmol/L | 34.1948 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.05 | 126249.0574 | 303090.636 | 30.45 | 114.2
38242 | 2021-03-03 10:59 | 0.66417 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.9546 | μmol/L | 34.2442 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.05 | 126232.6348 | 303090.2184 | 30.45 | 114.2
38252 | 2021-03-03 11:00 | 0.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3219 | μmol/L | 34.1825 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.043 | 126188.5411 | 303080.1009 | 30.45 | 114.2
38262 | 2021-03-03 11:00 | 1.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3315 | μmol/L | 34.1516 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.054 | 126231.5245 | 303064.4267 | 30.45 | 114.2
38272 | 2021-03-03 11:00 | 1.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2311 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.06 | 126255.9232 | 303055.6332 | 30.45 | 114.2
38282 | 2021-03-03 11:01 | 1.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1831 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.064 | 126271.7375 | 303041.9104 | 30.45 | 114.2
38292 | 2021-03-03 11:01 | 2.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1557 | μmol/L | 34.1454 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.071 | 126317.1653 | 303039.9591 | 30.45 | 114.2
38302 | 2021-03-03 11:01 | 2.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.9793 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.081 | 126350.6672 | 303038.0298 | 30.45 | 114.2
38312 | 2021-03-03 11:02 | 2.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.4297 | μmol/L | 34.2257 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.101 | 126438.2229 | 303020.343 | 30.45 | 114.2
38322 | 2021-03-03 11:02 | 3.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.6401 | μmol/L | 34.164 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.107 | 126498.2369 | 303006.6642 | 30.45 | 114.2
38332 | 2021-03-03 11:02 | 3.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3192 | μmol/L | 34.2133 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.115 | 126518.4716 | 303001.795 | 30.45 | 114.2
38342 | 2021-03-03 11:03 | 3.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.665 | μmol/L | 34.1454 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.112 | 126502.588 | 302982.806 | 30.45 | 114.2
38352 | 2021-03-03 11:03 | 4.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1589 | μmol/L | 34.238 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.119 | 126518.7719 | 302983.4365 | 30.45 | 114.2
38362 | 2021-03-03 11:03 | 4.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9674 | μmol/L | 34.2565 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.128 | 126582.3321 | 302973.9659 | 30.45 | 114.2
38372 | 2021-03-03 11:04 | 4.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3581 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.133 | 126591.7668 | 302956.8149 | 30.45 | 114.2
38382 | 2021-03-03 11:04 | 5.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.4459 | μmol/L | 34.1516 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.128 | 126553.7859 | 302947.0783 | 30.45 | 114.2
38392 | 2021-03-03 11:04 | 5.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.7309 | μmol/L | 34.1022 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.123 | 126530.0487 | 302939.0386 | 30.45 | 114.2
38402 | 2021-03-03 11:05 | 5.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1493 | μmol/L | 34.201 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.134 | 126572.611 | 302933.83 | 30.45 | 114.2
38412 | 2021-03-03 11:05 | 6.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.931 | μmol/L | 34.2072 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.15 | 126641.9114 | 302928.3857 | 30.45 | 114.2
38422 | 2021-03-03 11:05 | 6.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0531 | μmol/L | 34.1516 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.161 | 126729.1061 | 302928.5826 | 30.45 | 114.2
38432 | 2021-03-03 11:06 | 6.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.819 | μmol/L | 34.164 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.176 | 126808.2797 | 302916.5461 | 30.45 | 114.2
38442 | 2021-03-03 11:06 | 7.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7759 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.182 | 126855.5004 | 302918.4019 | 30.45 | 114.2
38452 | 2021-03-03 11:06 | 7.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.708 | μmol/L | 34.1701 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.183 | 126850.1547 | 302895.2695 | 30.45 | 114.2
38462 | 2021-03-03 11:07 | 7.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5959 | μmol/L | 34.1948 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.183 | 126844.7147 | 302893.1912 | 30.45 | 114.2
38472 | 2021-03-03 11:07 | 8.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0784 | μmol/L | 34.275 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.196 | 126893.4207 | 302883.207 | 30.45 | 114.2
38482 | 2021-03-03 11:07 | 8.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5745 | μmol/L | 34.1578 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.199 | 126912.5296 | 302866.2228 | 30.45 | 114.2
38492 | 2021-03-03 11:08 | 8.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4744 | μmol/L | 34.1825 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.198 | 126914.3945 | 302864.5569 | 30.45 | 114.2
38502 | 2021-03-03 11:08 | 9.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7392 | μmol/L | 34.1084 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.204 | 126932.6306 | 302860.6012 | 30.45 | 114.2
38512 | 2021-03-03 11:08 | 9.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4456 | μmol/L | 34.1393 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.217 | 127027.0315 | 302859.6779 | 30.45 | 114.2
38522 | 2021-03-03 11:09 | 9.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.538 | μmol/L | 34.1084 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.221 | 127057.5097 | 302849.8296 | 30.45 | 114.2
38532 | 2021-03-03 11:09 | 10.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.5466 | μmol/L | 34.0961 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.225 | 127053.3956 | 302823.4056 | 30.45 | 114.2
38542 | 2021-03-03 11:09 | 10.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6379 | μmol/L | 34.0837 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.222 | 127006.5408 | 302820.5444 | 30.45 | 114.2
38552 | 2021-03-03 11:10 | 10.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.4337 | μmol/L | 34.1393 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.218 | 126994.7111 | 302822.0853 | 30.45 | 114.2
38562 | 2021-03-03 11:10 | 11.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.438 | μmol/L | 34.1331 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.22 | 126995.9555 | 302829.221 | 30.45 | 114.2
38572 | 2021-03-03 11:10 | 11.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1481 | μmol/L | 34.1763 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.228 | 127033.8282 | 302811.701 | 30.45 | 114.2
38582 | 2021-03-03 11:11 | 11.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3532 | μmol/L | 34.1022 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.239 | 127078.8085 | 302809.1649 | 30.45 | 114.2
38592 | 2021-03-03 11:11 | 12.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1077 | μmol/L | 34.1331 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.248 | 127144.9856 | 302817.935 | 30.45 | 114.2
38602 | 2021-03-03 11:11 | 12.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3478 | μmol/L | 34.059 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.256 | 127207.5052 | 302797.4082 | 30.45 | 114.2
38612 | 2021-03-03 11:12 | 12.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.9761 | μmol/L | 34.1022 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.271 | 127279.0401 | 302790.1876 | 30.45 | 114.2
38622 | 2021-03-03 11:12 | 13.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.0168 | μmol/L | 34.0776 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.277 | 127316.6173 | 302790.2696 | 30.45 | 114.2
38632 | 2021-03-03 11:12 | 13.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.678 | μmol/L | 34.1084 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.294 | 127380.5785 | 302779.6073 | 30.45 | 114.2
38642 | 2021-03-03 11:13 | 13.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.913 | μmol/L | 34.0405 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.3 | 127419.0891 | 302771.1327 | 30.45 | 114.2
38652 | 2021-03-03 11:13 | 14.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7752 | μmol/L | 34.0529 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.307 | 127448.1292 | 302761.6755 | 30.45 | 114.2
38662 | 2021-03-03 11:13 | 14.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5427 | μmol/L | 34.0837 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.315 | 127495.1421 | 302749.9453 | 30.45 | 114.2
38672 | 2021-03-03 11:14 | 14.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3104 | μmol/L | 34.1146 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.323 | 127533.4336 | 302744.7981 | 30.45 | 114.2
38682 | 2021-03-03 11:14 | 15.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.3436 | μmol/L | 34.0837 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.332 | 127575.4276 | 302731.2711 | 30.45 | 114.2
38692 | 2021-03-03 11:14 | 15.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5151 | μmol/L | 34.022 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.341 | 127616.7393 | 302732.0313 | 30.45 | 114.2
38702 | 2021-03-03 11:15 | 15.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6937 | μmol/L | 34.1454 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.364 | 127739.1441 | 302723.7165 | 30.45 | 114.2
38712 | 2021-03-03 11:15 | 16.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0654 | μmol/L | 34.0467 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.37 | 127792.2904 | 302718.426 | 30.45 | 114.2
38722 | 2021-03-03 11:15 | 16.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0316 | μmol/L | 34.0282 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.38 | 127837.6311 | 302704.0469 | 30.45 | 114.2
38732 | 2021-03-03 11:16 | 16.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.9807 | μmol/L | 34.0344 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.382 | 127833.0847 | 302692.2137 | 30.45 | 114.2
38742 | 2021-03-03 11:16 | 17.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6945 | μmol/L | 34.0776 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.39 | 127892.6972 | 302697.9446 | 30.45 | 114.2
38752 | 2021-03-03 11:16 | 17.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.7496 | μmol/L | 34.0652 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.39 | 127889.8668 | 302687.1814 | 30.45 | 114.2
38762 | 2021-03-03 11:17 | 17.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.5189 | μmol/L | 34.0961 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.398 | 127901.9472 | 302659.867 | 30.45 | 114.2
38772 | 2021-03-03 11:17 | 18.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.8303 | μmol/L | 34.0158 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.402 | 127918.2244 | 302662.3053 | 30.45 | 114.2
38782 | 2021-03-03 11:17 | 18.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0517 | μmol/L | 33.948 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.409 | 127964.3753 | 302661.756 | 30.45 | 114.2
38792 | 2021-03-03 11:18 | 18.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6622 | μmol/L | 33.9726 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.433 | 128073.3703 | 302649.7462 | 30.45 | 114.2
38802 | 2021-03-03 11:18 | 19.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.3528 | μmol/L | 34.0344 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.436 | 128115.8403 | 302634.1562 | 30.45 | 114.2
38812 | 2021-03-03 11:18 | 19.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.4564 | μmol/L | 33.985 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.446 | 128174.2106 | 302619.0826 | 30.45 | 114.2
38822 | 2021-03-03 11:19 | 19.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.7212 | μmol/L | 33.8863 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.461 | 128241.5292 | 302608.8938 | 30.45 | 114.2
38832 | 2021-03-03 11:19 | 20.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0212 | μmol/L | 34.0282 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.467 | 128273.2167 | 302607.453 | 30.45 | 114.2
38842 | 2021-03-03 11:19 | 20.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.2079 | μmol/L | 33.9418 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.484 | 128358.4844 | 302591.4866 | 30.45 | 114.2
38852 | 2021-03-03 11:20 | 20.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.4004 | μmol/L | 33.8801 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.491 | 128392.5224 | 302586.431 | 30.45 | 114.2
38862 | 2021-03-03 11:20 | 21.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.6416 | μmol/L | 34.0097 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.507 | 128447.3155 | 302584.2858 | 30.45 | 114.2
38872 | 2021-03-03 11:20 | 21.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9746 | μmol/L | 33.9109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.516 | 128497.844 | 302584.0456 | 30.45 | 114.2
38882 | 2021-03-03 11:21 | 21.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0565 | μmol/L | 33.8924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.516 | 128500.1135 | 302564.8186 | 30.45 | 114.2
38892 | 2021-03-03 11:21 | 22.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9462 | μmol/L | 33.9356 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.509 | 128484.2649 | 302561.8557 | 30.45 | 114.2
38902 | 2021-03-03 11:21 | 22.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.1111 | μmol/L | 33.8801 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.516 | 128517.2875 | 302557.923 | 30.45 | 114.2
38912 | 2021-03-03 11:22 | 22.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0491 | μmol/L | 33.8863 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.519 | 128543.1742 | 302544.3565 | 30.45 | 114.2
38922 | 2021-03-03 11:22 | 23.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.6663 | μmol/L | 33.9233 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.538 | 128604.3164 | 302537.9508 | 30.45 | 114.2
38932 | 2021-03-03 11:22 | 23.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9525 | μmol/L | 33.8924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.525 | 128555.0454 | 302532.6874 | 30.45 | 114.2
38942 | 2021-03-03 11:23 | 23.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.8099 | μmol/L | 33.8986 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.535 | 128575.9493 | 302520.0173 | 30.45 | 114.2
38952 | 2021-03-03 11:23 | 24.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.328 | μmol/L | 33.7813 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.535 | 128589.6004 | 302512.2763 | 30.45 | 114.2
38962 | 2021-03-03 11:23 | 24.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.769 | μmol/L | 33.8739 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.548 | 128670.9508 | 302505.3896 | 30.45 | 114.2
38972 | 2021-03-03 11:24 | 24.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.6737 | μmol/L | 33.8616 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.561 | 128761.1622 | 302506.0217 | 30.45 | 114.2
38982 | 2021-03-03 11:24 | 25.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.43 | μmol/L | 33.8986 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.568 | 128802.1181 | 302499.8323 | 30.45 | 114.2
38992 | 2021-03-03 11:24 | 25.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.2065 | μmol/L | 33.9233 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.578 | 128845.4616 | 302478.9415 | 30.45 | 114.2
39002 | 2021-03-03 11:25 | 25.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.4479 | μmol/L | 33.8554 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.583 | 128892.7954 | 302486.0313 | 30.45 | 114.2
39012 | 2021-03-03 11:25 | 26.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.2443 | μmol/L | 33.8677 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.596 | 128929.6623 | 302481.4842 | 30.45 | 114.2
39022 | 2021-03-03 11:25 | 26.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.0556 | μmol/L | 33.8924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.603 | 128988.5293 | 302454.8934 | 30.45 | 114.2
39032 | 2021-03-03 11:26 | 26.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.7047 | μmol/L | 33.9541 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.61 | 129027.4146 | 302471.3578 | 30.45 | 114.2
39042 | 2021-03-03 11:26 | 27.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.7787 | μmol/L | 33.9294 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.613 | 129032.9895 | 302454.7098 | 30.45 | 114.2
39052 | 2021-03-03 11:26 | 27.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.6747 | μmol/L | 33.948 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.615 | 129072.0635 | 302450.4852 | 30.45 | 114.2
39062 | 2021-03-03 11:27 | 27.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3199 | μmol/L | 33.9665 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.639 | 129162.3761 | 302436.1345 | 30.45 | 114.2
39072 | 2021-03-03 11:27 | 28.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3967 | μmol/L | 33.9541 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.637 | 129179.8765 | 302448.8021 | 30.45 | 114.2
39082 | 2021-03-03 11:27 | 28.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3681 | μmol/L | 33.9294 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.649 | 129260.764 | 302422.9688 | 30.45 | 114.2
39092 | 2021-03-03 11:28 | 28.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.8329 | μmol/L | 33.9973 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.67 | 129388.7532 | 302425.4305 | 30.45 | 114.2
39102 | 2021-03-03 11:28 | 29.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.7932 | μmol/L | 33.9726 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.683 | 129491.3242 | 302421.4304 | 30.45 | 114.2
39112 | 2021-03-03 11:28 | 29.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.5484 | μmol/L | 34.0158 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.688 | 129534.1736 | 302405.4126 | 30.45 | 114.2
39122 | 2021-03-03 11:29 | 29.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.687 | μmol/L | 33.9788 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.69 | 129509.3618 | 302395.039 | 30.45 | 114.2
39132 | 2021-03-03 11:29 | 30.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.5597 | μmol/L | 34.0158 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.687 | 129498.3036 | 302389.4499 | 30.45 | 114.2
39142 | 2021-03-03 11:29 | 30.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.5511 | μmol/L | 34.0282 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.683 | 129499.4599 | 302391.6254 | 30.45 | 114.2
39152 | 2021-03-03 11:30 | 30.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.1061 | μmol/L | 34.0837 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.701 | 129600.1063 | 302379.8283 | 30.45 | 114.2
39162 | 2021-03-03 11:30 | 31.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.9918 | μmol/L | 34.1022 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.704 | 129649.4641 | 302386.057 | 30.45 | 114.2
39172 | 2021-03-03 11:30 | 31.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8127 | μmol/L | 34.1331 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.708 | 129684.05 | 302382.9474 | 30.45 | 114.2
39182 | 2021-03-03 11:31 | 31.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.9061 | μmol/L | 34.0961 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.714 | 129712.4091 | 302375.6361 | 30.45 | 114.2
39192 | 2021-03-03 11:31 | 32.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8032 | μmol/L | 34.1146 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.716 | 129760.0307 | 302363.3316 | 30.45 | 114.2
39202 | 2021-03-03 11:31 | 32.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6709 | μmol/L | 34.1269 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.723 | 129794.4165 | 302353.9205 | 30.45 | 114.2
39212 | 2021-03-03 11:32 | 32.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6372 | μmol/L | 34.1269 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.726 | 129817.3584 | 302350.976 | 30.45 | 114.2
39222 | 2021-03-03 11:32 | 33.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6416 | μmol/L | 34.1208 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.728 | 129818.8377 | 302340.6949 | 30.45 | 114.2
39232 | 2021-03-03 11:32 | 33.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.3645 | μmol/L | 34.164 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.736 | 129879.9218 | 302335.9693 | 30.45 | 114.2
39242 | 2021-03-03 11:33 | 33.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.1146 | μmol/L | 34.201 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.744 | 129935.4941 | 302324.3409 | 30.45 | 114.2
39252 | 2021-03-03 11:33 | 34.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.2371 | μmol/L | 34.1701 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.745 | 129960.9415 | 302321.5433 | 30.45 | 114.2
39262 | 2021-03-03 11:33 | 34.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.1053 | μmol/L | 34.1825 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.752 | 129995.7682 | 302321.5897 | 30.45 | 114.2
39272 | 2021-03-03 11:34 | 34.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.8423 | μmol/L | 34.2072 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.766 | 130064.8433 | 302310.2192 | 30.45 | 114.2
39282 | 2021-03-03 11:34 | 35.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.631 | μmol/L | 34.238 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.773 | 130127.9886 | 302302.7201 | 30.45 | 114.2
39292 | 2021-03-03 11:34 | 35.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3887 | μmol/L | 34.2504 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.79 | 130234.2426 | 302300.6382 | 30.45 | 114.2
39302 | 2021-03-03 11:35 | 35.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3331 | μmol/L | 34.2504 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.795 | 130268.546 | 302302.8271 | 30.45 | 114.2
39312 | 2021-03-03 11:35 | 36.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0108 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.809 | 130324.2057 | 302293.0054 | 30.45 | 114.2
39322 | 2021-03-03 11:35 | 36.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.9909 | μmol/L | 34.2997 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.806 | 130312.9072 | 302270.6517 | 30.45 | 114.2
39332 | 2021-03-03 11:36 | 36.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8038 | μmol/L | 34.3553 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.802 | 130314.1561 | 302272.4857 | 30.45 | 114.2
39342 | 2021-03-03 11:36 | 37.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7219 | μmol/L | 34.3615 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.807 | 130313.8348 | 302274.4126 | 30.45 | 114.2
39352 | 2021-03-03 11:36 | 37.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.2855 | μmol/L | 34.2442 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.801 | 130320.0857 | 302273.9977 | 30.45 | 114.2
39362 | 2021-03-03 11:37 | 37.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0228 | μmol/L | 34.2812 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.811 | 130349.009 | 302260.4436 | 30.45 | 114.2
39372 | 2021-03-03 11:37 | 38.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8006 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.828 | 130466.2282 | 302253.0798 | 30.45 | 114.2
39382 | 2021-03-03 11:37 | 38.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.9761 | μmol/L | 34.238 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 23.832 | 130523.5761 | 302264.1462 | 30.45 | 114.2
39392 | 2021-03-03 11:38 | 38.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.6526 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.839 | 130542.5268 | 302247.8447 | 30.45 | 114.2
39402 | 2021-03-03 11:38 | 39.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5908 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.847 | 130563.5498 | 302247.7249 | 30.45 | 114.2
39412 | 2021-03-03 11:38 | 39.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8402 | μmol/L | 34.2318 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.846 | 130567.598 | 302257.5136 | 30.45 | 114.2
39422 | 2021-03-03 11:39 | 39.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5423 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.849 | 130632.5203 | 302240.5857 | 30.45 | 114.2
39432 | 2021-03-03 11:39 | 40.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5401 | μmol/L | 34.2812 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.854 | 130635.8525 | 302251.9861 | 30.45 | 114.2
39442 | 2021-03-03 11:39 | 40.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4298 | μmol/L | 34.2812 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.864 | 130682.5091 | 302232.7499 | 30.45 | 114.2
39452 | 2021-03-03 11:40 | 40.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4937 | μmol/L | 34.238 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.875 | 130757.9666 | 302220.8332 | 30.45 | 114.2
39462 | 2021-03-03 11:40 | 41.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.1548 | μmol/L | 34.2812 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.889 | 130835.253 | 302225.816 | 30.45 | 114.2
39472 | 2021-03-03 11:40 | 41.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.0229 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.889 | 130843.9863 | 302222.4493 | 30.45 | 114.2
39482 | 2021-03-03 11:41 | 41.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.0712 | μmol/L | 34.3059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.887 | 130837.2684 | 302209.8309 | 30.45 | 114.2
39492 | 2021-03-03 11:41 | 42.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.2405 | μmol/L | 34.2689 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.886 | 130845.7262 | 302207.2773 | 30.45 | 114.2
39502 | 2021-03-03 11:41 | 42.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.0009 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.891 | 130880.0622 | 302209.6489 | 30.45 | 114.2
39512 | 2021-03-03 11:42 | 42.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.2185 | μmol/L | 34.238 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.9 | 130927.129 | 302206.1267 | 30.45 | 114.2
39522 | 2021-03-03 11:42 | 43.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.1877 | μmol/L | 34.2195 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.91 | 130963.3918 | 302197.9097 | 30.45 | 114.2
39532 | 2021-03-03 11:42 | 43.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.9879 | μmol/L | 34.238 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.921 | 131038.8149 | 302196.66 | 30.45 | 114.2
39542 | 2021-03-03 11:43 | 43.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.9726 | μmol/L | 34.2133 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.932 | 131122.5292 | 302193.7897 | 30.45 | 114.2
39552 | 2021-03-03 11:43 | 44.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.458 | μmol/L | 34.3059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.943 | 131190.4021 | 302190.9962 | 30.45 | 114.2
39562 | 2021-03-03 11:43 | 44.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.1696 | μmol/L | 34.3429 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.955 | 131257.0987 | 302181.2375 | 30.45 | 114.2
39572 | 2021-03-03 11:44 | 44.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.2639 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.968 | 131328.1987 | 302185.7978 | 30.45 | 114.2
39582 | 2021-03-03 11:44 | 45.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3818 | μmol/L | 34.275 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.962 | 131293.1879 | 302184.5609 | 30.45 | 114.2
39592 | 2021-03-03 11:44 | 45.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.7163 | μmol/L | 34.2195 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.953 | 131238.6041 | 302174.9305 | 30.45 | 114.2
39602 | 2021-03-03 11:45 | 45.997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.48 | μmol/L | 34.275 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.953 | 131223.8416 | 302176.1958 | 30.45 | 114.2
39612 | 2021-03-03 11:45 | 46.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3491 | μmol/L | 34.275 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.965 | 131290.1875 | 302167.6866 | 30.45 | 114.2
39622 | 2021-03-03 11:45 | 46.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3295 | μmol/L | 34.2565 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.974 | 131363.7593 | 302171.3283 | 30.45 | 114.2
39632 | 2021-03-03 11:46 | 46.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.0464 | μmol/L | 34.2565 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24 | 131477.0682 | 302151.2494 | 30.45 | 114.2
39642 | 2021-03-03 11:46 | 47.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.8505 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.006 | 131554.9454 | 302158.0011 | 30.45 | 114.2
39652 | 2021-03-03 11:46 | 47.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.516 | μmol/L | 34.3306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.02 | 131627.6086 | 302160.5218 | 30.45 | 114.2
39662 | 2021-03-03 11:47 | 47.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.4619 | μmol/L | 34.3306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.025 | 131665.9422 | 302137.8004 | 30.45 | 114.2
39672 | 2021-03-03 11:47 | 48.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.5578 | μmol/L | 34.2874 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.033 | 131685.5884 | 302137.1298 | 30.45 | 114.2
39682 | 2021-03-03 11:47 | 48.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.7448 | μmol/L | 34.2072 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.047 | 131776.2485 | 302142.9513 | 30.45 | 114.2
39692 | 2021-03-03 11:48 | 48.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.695 | μmol/L | 34.201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.054 | 131827.9832 | 302133.4344 | 30.45 | 114.2
39702 | 2021-03-03 11:48 | 49.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.3786 | μmol/L | 34.2504 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.064 | 131856.974 | 302131.203 | 30.45 | 114.2
39712 | 2021-03-03 11:48 | 49.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.5282 | μmol/L | 34.2072 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.067 | 131872.0191 | 302129.478 | 30.45 | 114.2
39722 | 2021-03-03 11:49 | 49.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.7645 | μmol/L | 34.164 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.062 | 131853.1757 | 302118.3246 | 30.45 | 114.2
39732 | 2021-03-03 11:49 | 50.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.6409 | μmol/L | 34.1701 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.071 | 131915.4954 | 302115.7687 | 30.45 | 114.2
39742 | 2021-03-03 11:49 | 50.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.2122 | μmol/L | 34.2565 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.077 | 131955.4972 | 302115.8842 | 30.45 | 114.2
39752 | 2021-03-03 11:50 | 50.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.4331 | μmol/L | 34.1886 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.083 | 131959.9808 | 302109.0689 | 30.45 | 114.2
39762 | 2021-03-03 11:50 | 51.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1822 | μmol/L | 34.238 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.087 | 131978.3637 | 302112.3596 | 30.45 | 114.2
39772 | 2021-03-03 11:50 | 51.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0983 | μmol/L | 34.2195 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.102 | 132063.7895 | 302093.4303 | 30.45 | 114.2
39782 | 2021-03-03 11:51 | 51.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.2086 | μmol/L | 34.1701 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.111 | 132123.0005 | 302085.204 | 30.45 | 114.2
39792 | 2021-03-03 11:51 | 52.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9431 | μmol/L | 34.2257 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.114 | 132143.6429 | 302089.4957 | 30.45 | 114.2
39802 | 2021-03-03 11:51 | 52.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7989 | μmol/L | 34.2318 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.125 | 132186.3617 | 302083.2506 | 30.45 | 114.2
39812 | 2021-03-03 11:52 | 52.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1397 | μmol/L | 34.1454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.127 | 132209.7254 | 302096.4502 | 30.45 | 114.2
39822 | 2021-03-03 11:52 | 53.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1072 | μmol/L | 34.1763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.118 | 132137.4691 | 302098.2407 | 30.45 | 114.2
39832 | 2021-03-03 11:52 | 53.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1157 | μmol/L | 34.1948 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.11 | 132101.36 | 302093.2062 | 30.45 | 114.2
39842 | 2021-03-03 11:53 | 53.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1308 | μmol/L | 34.1886 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.111 | 132109.6751 | 302089.5149 | 30.45 | 114.2
39852 | 2021-03-03 11:53 | 54.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0382 | μmol/L | 34.1825 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.122 | 132146.1686 | 302083.0281 | 30.45 | 114.2
39862 | 2021-03-03 11:53 | 54.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0749 | μmol/L | 34.1763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.121 | 132167.5771 | 302076.4813 | 30.45 | 114.2
39872 | 2021-03-03 11:54 | 54.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7173 | μmol/L | 34.2257 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.135 | 132246.416 | 302075.9246 | 30.45 | 114.2
39882 | 2021-03-03 11:54 | 55.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5173 | μmol/L | 34.2504 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.144 | 132245.2624 | 302076.2907 | 30.45 | 114.2
39892 | 2021-03-03 11:54 | 55.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.823 | μmol/L | 34.1825 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.142 | 132245.1976 | 302081.6339 | 30.45 | 114.2
39902 | 2021-03-03 11:55 | 55.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7092 | μmol/L | 34.1763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.155 | 132322.2703 | 302072.9783 | 30.45 | 114.2
39912 | 2021-03-03 11:55 | 56.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.7439 | μmol/L | 34.1269 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.171 | 132405.8558 | 302077.8411 | 30.45 | 114.2
39922 | 2021-03-03 11:55 | 56.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2778 | μmol/L | 34.2257 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.176 | 132432.8501 | 302056.2831 | 30.45 | 114.2
39932 | 2021-03-03 11:56 | 56.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5054 | μmol/L | 34.1763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.174 | 132426.8819 | 302044.2923 | 30.45 | 114.2
39942 | 2021-03-03 11:56 | 57.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4327 | μmol/L | 34.1578 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.188 | 132509.1064 | 302044.8808 | 30.45 | 114.2
39952 | 2021-03-03 11:56 | 57.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.3881 | μmol/L | 34.1146 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.209 | 132619.2485 | 302045.6133 | 30.45 | 114.2
39962 | 2021-03-03 11:57 | 57.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.4718 | μmol/L | 34.0405 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.23 | 132706.328 | 302035.0737 | 30.45 | 114.2
39972 | 2021-03-03 11:57 | 58.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1699 | μmol/L | 34.1208 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.227 | 132748.232 | 302041.8248 | 30.45 | 114.2
39982 | 2021-03-03 11:57 | 58.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.104 | μmol/L | 34.0776 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.25 | 132855.3552 | 302045.4771 | 30.45 | 114.2
39992 | 2021-03-03 11:58 | 58.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.0464 | μmol/L | 34.0837 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.253 | 132858.1576 | 302033.9591 | 30.45 | 114.2
40002 | 2021-03-03 11:58 | 59.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9951 | μmol/L | 34.0961 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.253 | 132870.4266 | 302040.2458 | 30.45 | 114.2
40012 | 2021-03-03 11:58 | 59.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.9291 | μmol/L | 34.0837 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.264 | 132907.9303 | 302026.9829 | 30.45 | 114.2
40022 | 2021-03-03 11:59 | 59.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4882 | μmol/L | 34.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.279 | 133001.9672 | 302033.1076 | 30.45 | 114.2
40032 | 2021-03-03 11:59 | 60.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.6931 | μmol/L | 34.0405 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.303 | 133102.8165 | 302019.0368 | 30.45 | 114.2
40042 | 2021-03-03 11:59 | 60.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.659 | μmol/L | 34.059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.299 | 133122.8676 | 302027.4075 | 30.45 | 114.2
40052 | 2021-03-03 12:00 | 60.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3656 | μmol/L | 34.1146 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.305 | 133165.2838 | 302020.8116 | 30.45 | 114.2
40062 | 2021-03-03 12:00 | 61.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.6422 | μmol/L | 34.022 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.315 | 133225.2079 | 302025.5744 | 30.45 | 114.2
40072 | 2021-03-03 12:00 | 61.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.2494 | μmol/L | 34.0837 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.328 | 133285.3094 | 302021.3678 | 30.45 | 114.2
40082 | 2021-03-03 12:01 | 61.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.6869 | μmol/L | 33.9726 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.33 | 133295.3423 | 302014.3406 | 30.45 | 114.2
40092 | 2021-03-03 12:01 | 62.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.5297 | μmol/L | 34.0158 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.328 | 133277.0488 | 302008.7184 | 30.45 | 114.2
40102 | 2021-03-03 12:01 | 62.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4765 | μmol/L | 34.0467 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.321 | 133260.7635 | 302021.9521 | 30.45 | 114.2
40112 | 2021-03-03 12:02 | 62.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.0884 | μmol/L | 34.1022 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.336 | 133313.2179 | 302009.0558 | 30.45 | 114.2
40122 | 2021-03-03 12:02 | 63.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4363 | μmol/L | 34.0282 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.332 | 133312.3517 | 302012.5001 | 30.45 | 114.2
40132 | 2021-03-03 12:02 | 63.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3937 | μmol/L | 34.059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.324 | 133278.3668 | 302009.3887 | 30.45 | 114.2
40142 | 2021-03-03 12:03 | 63.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4659 | μmol/L | 34.0467 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.322 | 133256.5097 | 301994.8772 | 30.45 | 114.2
40152 | 2021-03-03 12:03 | 64.3302 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4043 | μmol/L | 34.059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.323 | 133263.0542 | 301993.3465 | 30.45 | 114.2
40162 | 2021-03-03 12:03 | 64.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3811 | μmol/L | 34.0467 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.33 | 133309.6109 | 301989.765 | 30.45 | 114.2
40172 | 2021-03-03 12:04 | 64.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.1713 | μmol/L | 34.059 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.345 | 133421.8402 | 301984.9088 | 30.45 | 114.2
40182 | 2021-03-03 12:04 | 65.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.2944 | μmol/L | 34.0035 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.355 | 133470.0362 | 301992.1016 | 30.45 | 114.2
40192 | 2021-03-03 12:04 | 65.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.8201 | μmol/L | 34.1084 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.359 | 133506.0863 | 301984.7458 | 30.45 | 114.2
40202 | 2021-03-03 12:05 | 65.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.8627 | μmol/L | 34.0776 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.367 | 133556.1229 | 301986.0833 | 30.45 | 114.2
40212 | 2021-03-03 12:05 | 66.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.5773 | μmol/L | 34.1393 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.37 | 133556.7752 | 301973.8867 | 30.45 | 114.2
40222 | 2021-03-03 12:05 | 66.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7084 | μmol/L | 34.1022 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.372 | 133570.9203 | 301984.4974 | 30.45 | 114.2
40232 | 2021-03-03 12:06 | 66.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.5773 | μmol/L | 34.1393 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.37 | 133566.1548 | 301981.0013 | 30.45 | 114.2
40242 | 2021-03-03 12:06 | 67.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.4294 | μmol/L | 34.1701 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.372 | 133594.9725 | 301974.4039 | 30.45 | 114.2
40252 | 2021-03-03 12:06 | 67.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.3348 | μmol/L | 34.1701 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.381 | 133649.6876 | 301976.9525 | 30.45 | 114.2
40262 | 2021-03-03 12:07 | 67.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.0674 | μmol/L | 34.2072 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.392 | 133723.1256 | 301965.3824 | 30.45 | 114.2
40272 | 2021-03-03 12:07 | 68.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.8938 | μmol/L | 34.201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.411 | 133829.266 | 301966.3747 | 30.45 | 114.2
40282 | 2021-03-03 12:07 | 68.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6482 | μmol/L | 34.238 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.42 | 133888.0908 | 301962.2091 | 30.45 | 114.2
40292 | 2021-03-03 12:08 | 68.9974 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6647 | μmol/L | 34.2442 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.416 | 133880.2343 | 301961.4798 | 30.45 | 114.2
40302 | 2021-03-03 12:08 | 69.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6812 | μmol/L | 34.2504 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.412 | 133880.6157 | 301962.7359 | 30.45 | 114.2
40312 | 2021-03-03 12:08 | 69.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.5115 | μmol/L | 34.2689 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.421 | 133915.752 | 301977.06 | 30.45 | 114.2
40322 | 2021-03-03 12:09 | 69.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6054 | μmol/L | 34.2689 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.412 | 133880.363 | 301948.0532 | 30.45 | 114.2
40332 | 2021-03-03 12:09 | 70.3304 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.4523 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.417 | 133919.4467 | 301950.5193 | 30.45 | 114.2
40342 | 2021-03-03 12:09 | 70.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.1908 | μmol/L | 34.3244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.43 | 134007.1293 | 301947.728 | 30.45 | 114.2
40352 | 2021-03-03 12:10 | 70.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.1804 | μmol/L | 34.3244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.431 | 133994.959 | 301957.2606 | 30.45 | 114.2
40362 | 2021-03-03 12:10 | 71.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.1952 | μmol/L | 34.3182 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.432 | 134033.0144 | 301958.9238 | 30.45 | 114.2
40372 | 2021-03-03 12:10 | 71.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.158 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.438 | 134094.6583 | 301949.3844 | 30.45 | 114.2
40382 | 2021-03-03 12:11 | 71.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.8068 | μmol/L | 34.3676 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.45 | 134168.282 | 301953.2485 | 30.45 | 114.2
40392 | 2021-03-03 12:11 | 72.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.9295 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.46 | 134235.0712 | 301958.5412 | 30.45 | 114.2
40402 | 2021-03-03 12:11 | 72.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.7696 | μmol/L | 34.3182 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.473 | 134301.7113 | 301957.5592 | 30.45 | 114.2
40412 | 2021-03-03 12:12 | 72.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.5879 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.476 | 134349.0654 | 301943.0883 | 30.45 | 114.2
40422 | 2021-03-03 12:12 | 73.3307 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.8729 | μmol/L | 34.275 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.48 | 134382.4133 | 301957.424 | 30.45 | 114.2
40432 | 2021-03-03 12:12 | 73.6634 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.5229 | μmol/L | 34.3306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.492 | 134438.6612 | 301950.6697 | 30.45 | 114.2
40442 | 2021-03-03 12:13 | 73.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4343 | μmol/L | 34.3244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.503 | 134499.2098 | 301950.5615 | 30.45 | 114.2
40452 | 2021-03-03 12:13 | 74.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4844 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.503 | 134521.1021 | 301941.0536 | 30.45 | 114.2
40462 | 2021-03-03 12:13 | 74.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2736 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.504 | 134553.1741 | 301954.0462 | 30.45 | 114.2
40472 | 2021-03-03 12:14 | 74.9968 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2781 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.506 | 134542.4346 | 301954.6529 | 30.45 | 114.2
40482 | 2021-03-03 12:14 | 75.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3753 | μmol/L | 34.3491 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.499 | 134507.7737 | 301941.8452 | 30.45 | 114.2
40492 | 2021-03-03 12:14 | 75.6636 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3827 | μmol/L | 34.3676 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.491 | 134486.1097 | 301944.6368 | 30.45 | 114.2
40502 | 2021-03-03 12:15 | 75.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.4903 | μmol/L | 34.3182 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.5 | 134513.4619 | 301953.5853 | 30.45 | 114.2
40512 | 2021-03-03 12:15 | 76.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2987 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.504 | 134548.7644 | 301941.9865 | 30.45 | 114.2
40522 | 2021-03-03 12:15 | 76.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0646 | μmol/L | 34.38 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.517 | 134633.1731 | 301943.2687 | 30.45 | 114.2
40532 | 2021-03-03 12:16 | 76.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1618 | μmol/L | 34.3306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.527 | 134687.2364 | 301940.9593 | 30.45 | 114.2
40542 | 2021-03-03 12:16 | 77.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.3634 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.522 | 134667.6632 | 301953.1973 | 30.45 | 114.2
40552 | 2021-03-03 12:16 | 77.6637 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.2971 | μmol/L | 34.2997 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.526 | 134664.8178 | 301943.2986 | 30.45 | 114.2
40562 | 2021-03-03 12:17 | 77.9973 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9278 | μmol/L | 34.3985 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.523 | 134661.0547 | 301947.7963 | 30.45 | 114.2
40572 | 2021-03-03 12:17 | 78.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0073 | μmol/L | 34.3738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.525 | 134684.3931 | 301940.6549 | 30.45 | 114.2
40582 | 2021-03-03 12:17 | 78.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.1647 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.534 | 134728.0556 | 301939.299 | 30.45 | 114.2
40592 | 2021-03-03 12:18 | 78.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.225 | μmol/L | 34.2997 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.533 | 134725.3709 | 301937.9701 | 30.45 | 114.2
40602 | 2021-03-03 12:18 | 79.3303 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0735 | μmol/L | 34.3244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.538 | 134761.0777 | 301917.3052 | 30.45 | 114.2
40612 | 2021-03-03 12:18 | 79.664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.0397 | μmol/L | 34.3429 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.534 | 134756.7169 | 301915.1353 | 30.45 | 114.2
40622 | 2021-03-03 12:19 | 79.9969 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.7751 | μmol/L | 34.4108 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.533 | 134735.5151 | 301926.1866 | 30.45 | 114.2
40632 | 2021-03-03 12:19 | 80.3305 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9692 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.536 | 134739.8894 | 301928.3468 | 30.45 | 114.2
40642 | 2021-03-03 12:19 | 80.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.7987 | μmol/L | 34.3923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.538 | 134738.2877 | 301931.5677 | 30.45 | 114.2
40652 | 2021-03-03 12:20 | 80.9971 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.5304 | μmol/L | 34.4232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.552 | 134805.0096 | 301920.5728 | 30.45 | 114.2
40662 | 2021-03-03 12:20 | 81.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6786 | μmol/L | 34.3738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.557 | 134852.2266 | 301911.8679 | 30.45 | 114.2
40672 | 2021-03-03 12:20 | 81.6639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.821 | μmol/L | 34.3182 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.565 | 134920.5198 | 301915.5979 | 30.45 | 114.2
40682 | 2021-03-03 12:21 | 81.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9896 | μmol/L | 34.2689 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.568 | 134956.2759 | 301919.1603 | 30.45 | 114.2
40692 | 2021-03-03 12:21 | 82.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9207 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.565 | 134925.8965 | 301910.3828 | 30.45 | 114.2
40702 | 2021-03-03 12:21 | 82.6635 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6714 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.565 | 134905.1919 | 301907.1949 | 30.45 | 114.2
40712 | 2021-03-03 12:22 | 82.9972 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.5014 | μmol/L | 34.3923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.567 | 134900.8515 | 301900.6667 | 30.45 | 114.2
40722 | 2021-03-03 12:22 | 83.3301 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.8562 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.564 | 134896.0145 | 301905.0201 | 30.45 | 114.2
40732 | 2021-03-03 12:22 | 83.6638 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.9104 | μmol/L | 34.2936 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.566 | 134892.8043 | 301896.1672 | 30.45 | 114.2
40742 | 2021-03-03 12:23 | 83.9967 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.7638 | μmol/L | 34.3121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.573 | 134945.8328 | 301895.5225 | 30.45 | 114.2
40752 | 2021-03-03 12:23 | 84.3306 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 122.6935 | μmol/L | 34.2812 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 24.592 | 135051.1155 | 301898.95 | 30.45 | 114.2