## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38225 | 2021-03-03 10:59 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5532 | μmol/L | 33.8734 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.165 | 162698.9316 | 312367.2354 | 33.25 | 68.6
38235 | 2021-03-03 10:59 | 0.33477 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2436 | μmol/L | 33.9284 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.166 | 162688.0682 | 312379.873 | 33.25 | 68.6
38245 | 2021-03-03 10:59 | 0.66838 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6518 | μmol/L | 33.855 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.165 | 162676.3155 | 312371.0669 | 33.25 | 68.6
38255 | 2021-03-03 11:00 | 1.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.1084 | μmol/L | 33.9406 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.171 | 162651.6888 | 312355.567 | 33.25 | 68.6
38265 | 2021-03-03 11:00 | 1.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0478 | μmol/L | 33.9467 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.173 | 162651.0607 | 312354.909 | 33.25 | 68.6
38275 | 2021-03-03 11:00 | 1.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0806 | μmol/L | 33.9406 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.173 | 162643.6834 | 312332.2996 | 33.25 | 68.6
38285 | 2021-03-03 11:01 | 2.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3811 | μmol/L | 33.8795 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.175 | 162633.1408 | 312310.1294 | 33.25 | 68.6
38295 | 2021-03-03 11:01 | 2.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4468 | μmol/L | 33.8673 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.175 | 162626.0389 | 312311.7177 | 33.25 | 68.6
38305 | 2021-03-03 11:01 | 2.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4289 | μmol/L | 33.855 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.181 | 162647.7699 | 312304.0477 | 33.25 | 68.6
38315 | 2021-03-03 11:02 | 3.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3226 | μmol/L | 33.8489 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.191 | 162650.9264 | 312284.268 | 33.25 | 68.6
38325 | 2021-03-03 11:02 | 3.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4807 | μmol/L | 33.8428 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.182 | 162624.4132 | 312275.0819 | 33.25 | 68.6
38335 | 2021-03-03 11:02 | 3.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2898 | μmol/L | 33.855 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.191 | 162653.7628 | 312264.5833 | 33.25 | 68.6
38345 | 2021-03-03 11:03 | 4.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3087 | μmol/L | 33.8489 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.192 | 162646.5778 | 312257.0503 | 33.25 | 68.6
38355 | 2021-03-03 11:03 | 4.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2481 | μmol/L | 33.855 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.194 | 162658.8257 | 312246.3845 | 33.25 | 68.6
38365 | 2021-03-03 11:03 | 4.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6566 | μmol/L | 33.7634 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.2 | 162671.8049 | 312244.9437 | 33.25 | 68.6
38375 | 2021-03-03 11:04 | 5.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.6188 | μmol/L | 33.7756 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.198 | 162665.0217 | 312226.2795 | 33.25 | 68.6
38385 | 2021-03-03 11:04 | 5.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3992 | μmol/L | 33.8062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.202 | 162680.2381 | 312207.9662 | 33.25 | 68.6
38395 | 2021-03-03 11:04 | 5.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4836 | μmol/L | 33.7878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.203 | 162674.3791 | 312201.4885 | 33.25 | 68.6
38405 | 2021-03-03 11:05 | 6.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3197 | μmol/L | 33.8184 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.203 | 162683.5285 | 312185.8266 | 33.25 | 68.6
38415 | 2021-03-03 11:05 | 6.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3445 | μmol/L | 33.7878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.213 | 162709.6313 | 312181.8703 | 33.25 | 68.6
38425 | 2021-03-03 11:05 | 6.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4666 | μmol/L | 33.7573 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.216 | 162717.0436 | 312169.8864 | 33.25 | 68.6
38435 | 2021-03-03 11:06 | 7.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3683 | μmol/L | 33.7756 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.216 | 162722.2506 | 312165.9862 | 33.25 | 68.6
38445 | 2021-03-03 11:06 | 7.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4298 | μmol/L | 33.7511 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.221 | 162741.0296 | 312141.4605 | 33.25 | 68.6
38455 | 2021-03-03 11:06 | 7.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9854 | μmol/L | 33.8367 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.22 | 162744.6656 | 312140.9266 | 33.25 | 68.6
38465 | 2021-03-03 11:07 | 8.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.5936 | μmol/L | 33.7206 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.221 | 162754.8469 | 312131.7428 | 33.25 | 68.6
38475 | 2021-03-03 11:07 | 8.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0519 | μmol/L | 33.8062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.227 | 162752.0307 | 312114.9974 | 33.25 | 68.6
38485 | 2021-03-03 11:07 | 8.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8656 | μmol/L | 33.8306 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.231 | 162778.0716 | 312131.1968 | 33.25 | 68.6
38495 | 2021-03-03 11:08 | 9.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8745 | μmol/L | 33.8367 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.228 | 162781.9357 | 312117.3441 | 33.25 | 68.6
38505 | 2021-03-03 11:08 | 9.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2819 | μmol/L | 33.745 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.234 | 162786.8739 | 312095.287 | 33.25 | 68.6
38515 | 2021-03-03 11:08 | 9.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.2967 | μmol/L | 33.7267 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.24 | 162815.0527 | 312087.1977 | 33.25 | 68.6
38525 | 2021-03-03 11:09 | 10.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.3988 | μmol/L | 33.7206 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.235 | 162792.2025 | 312072.435 | 33.25 | 68.6
38535 | 2021-03-03 11:09 | 10.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4929 | μmol/L | 33.69 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.24 | 162818.1947 | 312078.834 | 33.25 | 68.6
38545 | 2021-03-03 11:09 | 10.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.4422 | μmol/L | 33.6839 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.246 | 162841.9833 | 312056.0019 | 33.25 | 68.6
38555 | 2021-03-03 11:10 | 11.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.8257 | μmol/L | 33.6045 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.249 | 162864.7674 | 312072.0091 | 33.25 | 68.6
38565 | 2021-03-03 11:10 | 11.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.1677 | μmol/L | 33.7145 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.254 | 162874.3304 | 312070.5393 | 33.25 | 68.6
38575 | 2021-03-03 11:10 | 11.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0746 | μmol/L | 33.7267 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.256 | 162881.9496 | 312044.7477 | 33.25 | 68.6
38585 | 2021-03-03 11:11 | 12.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9163 | μmol/L | 33.7511 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.258 | 162898.7847 | 312041.2248 | 33.25 | 68.6
38595 | 2021-03-03 11:11 | 12.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9677 | μmol/L | 33.7389 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.259 | 162920.0121 | 312039.2191 | 33.25 | 68.6
38605 | 2021-03-03 11:11 | 12.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7027 | μmol/L | 33.7756 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.264 | 162936.6026 | 312025.8065 | 33.25 | 68.6
38615 | 2021-03-03 11:12 | 13.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.122 | μmol/L | 33.7022 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.262 | 162930.3339 | 312023.8871 | 33.25 | 68.6
38625 | 2021-03-03 11:12 | 13.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9776 | μmol/L | 33.7267 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.263 | 162926.5534 | 312005.0974 | 33.25 | 68.6
38635 | 2021-03-03 11:12 | 13.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0992 | μmol/L | 33.6961 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.266 | 162956.3803 | 311994.306 | 33.25 | 68.6
38645 | 2021-03-03 11:13 | 14.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.1188 | μmol/L | 33.6717 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.274 | 162993.4528 | 311990.9111 | 33.25 | 68.6
38655 | 2021-03-03 11:13 | 14.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.1107 | μmol/L | 33.6472 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.284 | 163016.8037 | 311987.9206 | 33.25 | 68.6
38665 | 2021-03-03 11:13 | 14.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9713 | μmol/L | 33.6656 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.287 | 163027.2873 | 311972.9296 | 33.25 | 68.6
38675 | 2021-03-03 11:14 | 15.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 162.0088 | μmol/L | 33.6534 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.289 | 163027.0423 | 311970.1315 | 33.25 | 68.6
38685 | 2021-03-03 11:14 | 15.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.679 | μmol/L | 33.7022 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.294 | 163039.9046 | 311959.7959 | 33.25 | 68.6
38695 | 2021-03-03 11:14 | 15.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7678 | μmol/L | 33.6778 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.297 | 163056.0422 | 311945.3787 | 33.25 | 68.6
38705 | 2021-03-03 11:15 | 16.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8606 | μmol/L | 33.6656 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.295 | 163070.5983 | 311938.1127 | 33.25 | 68.6
38715 | 2021-03-03 11:15 | 16.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3545 | μmol/L | 33.745 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.301 | 163083.2265 | 311932.7463 | 33.25 | 68.6
38725 | 2021-03-03 11:15 | 16.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3032 | μmol/L | 33.7573 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.3 | 163092.3 | 311918.6253 | 33.25 | 68.6
38735 | 2021-03-03 11:16 | 17.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.5685 | μmol/L | 33.7022 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.302 | 163082.5818 | 311892.3344 | 33.25 | 68.6
38745 | 2021-03-03 11:16 | 17.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6532 | μmol/L | 33.6656 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.31 | 163119.9205 | 311888.9911 | 33.25 | 68.6
38755 | 2021-03-03 11:16 | 17.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8858 | μmol/L | 33.6167 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.312 | 163128.8589 | 311884.0436 | 33.25 | 68.6
38765 | 2021-03-03 11:17 | 18.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6313 | μmol/L | 33.6411 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.321 | 163163.5202 | 311877.1004 | 33.25 | 68.6
38775 | 2021-03-03 11:17 | 18.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7191 | μmol/L | 33.635 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.317 | 163156.2459 | 311863.0378 | 33.25 | 68.6
38785 | 2021-03-03 11:17 | 18.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.9191 | μmol/L | 33.5922 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.319 | 163184.8413 | 311869.3343 | 33.25 | 68.6
38795 | 2021-03-03 11:18 | 19.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7711 | μmol/L | 33.6045 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.325 | 163214.0803 | 311840.0513 | 33.25 | 68.6
38805 | 2021-03-03 11:18 | 19.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8459 | μmol/L | 33.58 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.329 | 163229.6613 | 311840.3597 | 33.25 | 68.6
38815 | 2021-03-03 11:18 | 19.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.8971 | μmol/L | 33.5678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.33 | 163234.5605 | 311832.8865 | 33.25 | 68.6
38825 | 2021-03-03 11:19 | 20.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.7678 | μmol/L | 33.5739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.337 | 163267.1589 | 311815.7841 | 33.25 | 68.6
38835 | 2021-03-03 11:19 | 20.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2306 | μmol/L | 33.6595 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.343 | 163290.4199 | 311811.8813 | 33.25 | 68.6
38845 | 2021-03-03 11:19 | 20.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3368 | μmol/L | 33.6472 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.34 | 163278.514 | 311796.2663 | 33.25 | 68.6
38855 | 2021-03-03 11:20 | 21.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2866 | μmol/L | 33.6411 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.346 | 163282.9067 | 311785.5928 | 33.25 | 68.6
38865 | 2021-03-03 11:20 | 21.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6484 | μmol/L | 33.5678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.348 | 163311.7913 | 311775.2224 | 33.25 | 68.6
38875 | 2021-03-03 11:20 | 21.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2826 | μmol/L | 33.6289 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.351 | 163315.7078 | 311773.8618 | 33.25 | 68.6
38885 | 2021-03-03 11:21 | 22.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2875 | μmol/L | 33.6228 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.353 | 163334.7987 | 311768.0087 | 33.25 | 68.6
38895 | 2021-03-03 11:21 | 22.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.4229 | μmol/L | 33.5739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.362 | 163366.2185 | 311746.2294 | 33.25 | 68.6
38905 | 2021-03-03 11:21 | 22.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.5291 | μmol/L | 33.5617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.359 | 163378.931 | 311741.8362 | 33.25 | 68.6
38915 | 2021-03-03 11:22 | 23.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.6167 | μmol/L | 33.5556 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.355 | 163390.9264 | 311736.9607 | 33.25 | 68.6
38925 | 2021-03-03 11:22 | 23.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.3491 | μmol/L | 33.58 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.365 | 163415.1622 | 311726.4314 | 33.25 | 68.6
38935 | 2021-03-03 11:22 | 23.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.4277 | μmol/L | 33.5678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.364 | 163426.2098 | 311723.2181 | 33.25 | 68.6
38945 | 2021-03-03 11:23 | 24.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.1232 | μmol/L | 33.6045 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.372 | 163445.038 | 311716.5006 | 33.25 | 68.6
38955 | 2021-03-03 11:23 | 24.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.2852 | μmol/L | 33.5739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.372 | 163447.4878 | 311696.9531 | 33.25 | 68.6
38965 | 2021-03-03 11:23 | 24.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 161.0163 | μmol/L | 33.635 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.368 | 163447.5758 | 311690.0015 | 33.25 | 68.6
38975 | 2021-03-03 11:24 | 25.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.7809 | μmol/L | 33.6717 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.371 | 163473.2588 | 311684.4191 | 33.25 | 68.6
38985 | 2021-03-03 11:24 | 25.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.8142 | μmol/L | 33.6472 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.378 | 163494.9416 | 311683.7303 | 33.25 | 68.6
38995 | 2021-03-03 11:24 | 25.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.5232 | μmol/L | 33.7022 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.378 | 163495.8974 | 311670.3094 | 33.25 | 68.6
39005 | 2021-03-03 11:25 | 26.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.6388 | μmol/L | 33.6778 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.379 | 163512.3911 | 311663.6338 | 33.25 | 68.6
39015 | 2021-03-03 11:25 | 26.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.5144 | μmol/L | 33.6961 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.381 | 163536.6111 | 311646.4451 | 33.25 | 68.6
39025 | 2021-03-03 11:25 | 26.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4733 | μmol/L | 33.6961 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.384 | 163549.3068 | 311651.4807 | 33.25 | 68.6
39035 | 2021-03-03 11:26 | 27.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.487 | μmol/L | 33.6961 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.383 | 163553.2092 | 311630.489 | 33.25 | 68.6
39045 | 2021-03-03 11:26 | 27.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.3813 | μmol/L | 33.7084 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.386 | 163557.3104 | 311620.754 | 33.25 | 68.6
39055 | 2021-03-03 11:26 | 27.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.4087 | μmol/L | 33.7084 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.384 | 163576.637 | 311611.9857 | 33.25 | 68.6
39065 | 2021-03-03 11:27 | 28.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.2981 | μmol/L | 33.7267 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.385 | 163590.5632 | 311612.0924 | 33.25 | 68.6
39075 | 2021-03-03 11:27 | 28.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.257 | μmol/L | 33.7267 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.388 | 163594.8934 | 311602.4359 | 33.25 | 68.6
39085 | 2021-03-03 11:27 | 28.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 160.1925 | μmol/L | 33.7389 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.388 | 163612.347 | 311577.7969 | 33.25 | 68.6
39095 | 2021-03-03 11:28 | 29.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.9801 | μmol/L | 33.7817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.387 | 163625.1947 | 311592.8819 | 33.25 | 68.6
39105 | 2021-03-03 11:28 | 29.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8982 | μmol/L | 33.7817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.393 | 163646.644 | 311576.8804 | 33.25 | 68.6
39115 | 2021-03-03 11:28 | 29.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.8982 | μmol/L | 33.7817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.393 | 163647.5714 | 311568.597 | 33.25 | 68.6
39125 | 2021-03-03 11:29 | 30.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.7233 | μmol/L | 33.8123 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.394 | 163650.0938 | 311563.291 | 33.25 | 68.6
39135 | 2021-03-03 11:29 | 30.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.6452 | μmol/L | 33.8245 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.395 | 163678.1614 | 311558.6024 | 33.25 | 68.6
39145 | 2021-03-03 11:29 | 30.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.5534 | μmol/L | 33.8367 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.397 | 163684.3858 | 311554.5392 | 33.25 | 68.6
39155 | 2021-03-03 11:30 | 31.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.3887 | μmol/L | 33.855 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.402 | 163699.0869 | 311532.7492 | 33.25 | 68.6
39165 | 2021-03-03 11:30 | 31.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.3973 | μmol/L | 33.8612 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.399 | 163707.6526 | 311545.8147 | 33.25 | 68.6
39175 | 2021-03-03 11:30 | 31.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.2548 | μmol/L | 33.8856 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.4 | 163719.4994 | 311524.2879 | 33.25 | 68.6
39185 | 2021-03-03 11:31 | 32.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 159.0581 | μmol/L | 33.9101 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.405 | 163752.4728 | 311522.496 | 33.25 | 68.6
39195 | 2021-03-03 11:31 | 32.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.9379 | μmol/L | 33.9406 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.402 | 163748.1672 | 311516.6188 | 33.25 | 68.6
39205 | 2021-03-03 11:31 | 32.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.8464 | μmol/L | 33.9528 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.404 | 163753.5783 | 311519.0047 | 33.25 | 68.6
39215 | 2021-03-03 11:32 | 33.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.5721 | μmol/L | 33.9895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.41 | 163775.4164 | 311506.8593 | 33.25 | 68.6
39225 | 2021-03-03 11:32 | 33.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.5213 | μmol/L | 34.0017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.409 | 163784.5073 | 311499.5221 | 33.25 | 68.6
39235 | 2021-03-03 11:32 | 33.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.3843 | μmol/L | 34.0201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.412 | 163775.6073 | 311483.7075 | 33.25 | 68.6
39245 | 2021-03-03 11:33 | 34.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.3979 | μmol/L | 34.0201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.411 | 163802.1389 | 311491.3316 | 33.25 | 68.6
39255 | 2021-03-03 11:33 | 34.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.2879 | μmol/L | 34.0384 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.412 | 163808.4553 | 311463.4145 | 33.25 | 68.6
39265 | 2021-03-03 11:33 | 34.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.2931 | μmol/L | 34.0323 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.414 | 163817.2049 | 311452.9899 | 33.25 | 68.6
39275 | 2021-03-03 11:34 | 35.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 158.1292 | μmol/L | 34.0506 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.419 | 163842.9006 | 311451.3137 | 33.25 | 68.6
39285 | 2021-03-03 11:34 | 35.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.9822 | μmol/L | 34.0812 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.418 | 163854.3925 | 311450.0334 | 33.25 | 68.6
39295 | 2021-03-03 11:34 | 35.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.8051 | μmol/L | 34.0995 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.424 | 163868.9472 | 311448.7379 | 33.25 | 68.6
39305 | 2021-03-03 11:35 | 36.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.8558 | μmol/L | 34.0873 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.425 | 163877.3026 | 311429.2473 | 33.25 | 68.6
39315 | 2021-03-03 11:35 | 36.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.8372 | μmol/L | 34.0934 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.424 | 163887.1401 | 311431.1426 | 33.25 | 68.6
39325 | 2021-03-03 11:35 | 36.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.6096 | μmol/L | 34.124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.429 | 163898.642 | 311421.5283 | 33.25 | 68.6
39335 | 2021-03-03 11:36 | 37.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.4038 | μmol/L | 34.1607 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.43 | 163911.0405 | 311412.1123 | 33.25 | 68.6
39345 | 2021-03-03 11:36 | 37.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.5216 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.426 | 163920.0822 | 311409.1383 | 33.25 | 68.6
39355 | 2021-03-03 11:36 | 37.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3687 | μmol/L | 34.1546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.435 | 163953.3738 | 311405.121 | 33.25 | 68.6
39365 | 2021-03-03 11:37 | 38.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.3553 | μmol/L | 34.1546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.436 | 163957.4218 | 311404.0189 | 33.25 | 68.6
39375 | 2021-03-03 11:37 | 38.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.2376 | μmol/L | 34.1668 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.44 | 163986.374 | 311405.7205 | 33.25 | 68.6
39385 | 2021-03-03 11:37 | 38.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.088 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.444 | 163992.6258 | 311386.34 | 33.25 | 68.6
39395 | 2021-03-03 11:38 | 39.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9146 | μmol/L | 34.2157 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.445 | 164007.7798 | 311380.727 | 33.25 | 68.6
39405 | 2021-03-03 11:38 | 39.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9332 | μmol/L | 34.2096 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.446 | 164030.7207 | 311390.1171 | 33.25 | 68.6
39415 | 2021-03-03 11:38 | 39.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9891 | μmol/L | 34.1912 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.449 | 164034.2176 | 311371.0923 | 33.25 | 68.6
39425 | 2021-03-03 11:39 | 40.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 157.0129 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.452 | 164058.7321 | 311375.579 | 33.25 | 68.6
39435 | 2021-03-03 11:39 | 40.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9594 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.456 | 164073.7055 | 311362.9446 | 33.25 | 68.6
39445 | 2021-03-03 11:39 | 40.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.9222 | μmol/L | 34.1912 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.454 | 164094.8123 | 311371.668 | 33.25 | 68.6
39455 | 2021-03-03 11:40 | 41.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5997 | μmol/L | 34.2401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.459 | 164107.5921 | 311367.4203 | 33.25 | 68.6
39465 | 2021-03-03 11:40 | 41.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5411 | μmol/L | 34.2462 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.461 | 164133.2843 | 311359.7548 | 33.25 | 68.6
39475 | 2021-03-03 11:40 | 41.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6422 | μmol/L | 34.2218 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.463 | 164145.0015 | 311358.3652 | 33.25 | 68.6
39485 | 2021-03-03 11:41 | 42.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.626 | μmol/L | 34.2096 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.469 | 164163.0389 | 311349.1695 | 33.25 | 68.6
39495 | 2021-03-03 11:41 | 42.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.7857 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.469 | 164184.1909 | 311351.7148 | 33.25 | 68.6
39505 | 2021-03-03 11:41 | 42.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6818 | μmol/L | 34.1912 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.472 | 164195.7404 | 311340.2808 | 33.25 | 68.6
39515 | 2021-03-03 11:42 | 43.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5912 | μmol/L | 34.2035 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.474 | 164215.1357 | 311336.4099 | 33.25 | 68.6
39525 | 2021-03-03 11:42 | 43.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6203 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.479 | 164233.5441 | 311338.6024 | 33.25 | 68.6
39535 | 2021-03-03 11:42 | 43.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6441 | μmol/L | 34.1729 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.482 | 164251.8917 | 311332.5824 | 33.25 | 68.6
39545 | 2021-03-03 11:43 | 44.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6626 | μmol/L | 34.1668 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.483 | 164265.4589 | 311320.2128 | 33.25 | 68.6
39555 | 2021-03-03 11:43 | 44.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6783 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.489 | 164296.1618 | 311319.525 | 33.25 | 68.6
39565 | 2021-03-03 11:43 | 44.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.6464 | μmol/L | 34.1546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.489 | 164305.1678 | 311312.3052 | 33.25 | 68.6
39575 | 2021-03-03 11:44 | 45.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.123 | μmol/L | 34.2524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.49 | 164323.9432 | 311313.831 | 33.25 | 68.6
39585 | 2021-03-03 11:44 | 45.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.7125 | μmol/L | 34.124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.496 | 164343.2829 | 311323.946 | 33.25 | 68.6
39595 | 2021-03-03 11:44 | 45.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.545 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.499 | 164353.6724 | 311307.7467 | 33.25 | 68.6
39605 | 2021-03-03 11:45 | 46.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.359 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.501 | 164372.213 | 311290.6533 | 33.25 | 68.6
39615 | 2021-03-03 11:45 | 46.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.2872 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.504 | 164389.1073 | 311280.2164 | 33.25 | 68.6
39625 | 2021-03-03 11:45 | 46.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1385 | μmol/L | 34.2035 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.508 | 164419.3685 | 311297.3879 | 33.25 | 68.6
39635 | 2021-03-03 11:46 | 47.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.0298 | μmol/L | 34.2218 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.509 | 164423.7426 | 311289.3222 | 33.25 | 68.6
39645 | 2021-03-03 11:46 | 47.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.4303 | μmol/L | 34.1423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.51 | 164441.245 | 311281.995 | 33.25 | 68.6
39655 | 2021-03-03 11:46 | 47.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.5629 | μmol/L | 34.1118 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.512 | 164454.8252 | 311266.6402 | 33.25 | 68.6
39665 | 2021-03-03 11:47 | 48.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.178 | μmol/L | 34.1729 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.517 | 164465.6519 | 311265.7874 | 33.25 | 68.6
39675 | 2021-03-03 11:47 | 48.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9156 | μmol/L | 34.2157 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.52 | 164485.044 | 311261.1799 | 33.25 | 68.6
39685 | 2021-03-03 11:47 | 48.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.2943 | μmol/L | 34.1301 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.525 | 164511.6106 | 311242.993 | 33.25 | 68.6
39695 | 2021-03-03 11:48 | 49.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1828 | μmol/L | 34.1362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.531 | 164534.1291 | 311254.0428 | 33.25 | 68.6
39705 | 2021-03-03 11:48 | 49.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9788 | μmol/L | 34.1729 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.532 | 164557.6963 | 311248.8514 | 33.25 | 68.6
39715 | 2021-03-03 11:48 | 49.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1932 | μmol/L | 34.124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.535 | 164588.6463 | 311248.0175 | 33.25 | 68.6
39725 | 2021-03-03 11:49 | 50.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1851 | μmol/L | 34.1179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.538 | 164600.1177 | 311249.8866 | 33.25 | 68.6
39735 | 2021-03-03 11:49 | 50.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1638 | μmol/L | 34.1118 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.542 | 164613.7297 | 311238.1084 | 33.25 | 68.6
39745 | 2021-03-03 11:49 | 50.6676 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.0339 | μmol/L | 34.124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.547 | 164637.6484 | 311226.7796 | 33.25 | 68.6
39755 | 2021-03-03 11:50 | 51.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1978 | μmol/L | 34.0873 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.549 | 164650.2851 | 311235.0782 | 33.25 | 68.6
39765 | 2021-03-03 11:50 | 51.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9756 | μmol/L | 34.1301 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.549 | 164670.5493 | 311241.9303 | 33.25 | 68.6
39775 | 2021-03-03 11:50 | 51.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.8539 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.551 | 164690.9881 | 311231.7993 | 33.25 | 68.6
39785 | 2021-03-03 11:51 | 52.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9751 | μmol/L | 34.0995 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.561 | 164716.7054 | 311234.4688 | 33.25 | 68.6
39795 | 2021-03-03 11:51 | 52.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.1071 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.563 | 164731.7918 | 311231.2836 | 33.25 | 68.6
39805 | 2021-03-03 11:51 | 52.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.2842 | μmol/L | 34.0323 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.564 | 164743.9181 | 311203.404 | 33.25 | 68.6
39815 | 2021-03-03 11:52 | 53.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.0806 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.565 | 164773.1391 | 311219.5507 | 33.25 | 68.6
39825 | 2021-03-03 11:52 | 53.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.9192 | μmol/L | 34.0873 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.57 | 164785.4355 | 311215.6947 | 33.25 | 68.6
39835 | 2021-03-03 11:52 | 53.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.7896 | μmol/L | 34.0995 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.575 | 164818.6037 | 311216.0772 | 33.25 | 68.6
39845 | 2021-03-03 11:53 | 54.0012 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.6761 | μmol/L | 34.124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.574 | 164829.8269 | 311198.8826 | 33.25 | 68.6
39855 | 2021-03-03 11:53 | 54.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.3435 | μmol/L | 34.1729 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.58 | 164838.9541 | 311205.423 | 33.25 | 68.6
39865 | 2021-03-03 11:53 | 54.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4252 | μmol/L | 34.1546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.581 | 164857.5541 | 311193.1622 | 33.25 | 68.6
39875 | 2021-03-03 11:54 | 55.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.7574 | μmol/L | 34.0751 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.587 | 164895.2895 | 311187.6391 | 33.25 | 68.6
39885 | 2021-03-03 11:54 | 55.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.483 | μmol/L | 34.1179 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.591 | 164918.0646 | 311188.012 | 33.25 | 68.6
39895 | 2021-03-03 11:54 | 55.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4618 | μmol/L | 34.1118 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.595 | 164938.5886 | 311174.4973 | 33.25 | 68.6
39905 | 2021-03-03 11:55 | 56.0009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1797 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.602 | 164970.8522 | 311176.8801 | 33.25 | 68.6
39915 | 2021-03-03 11:55 | 56.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.5406 | μmol/L | 34.0812 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.601 | 164987.8974 | 311179.4963 | 33.25 | 68.6
39925 | 2021-03-03 11:55 | 56.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.3297 | μmol/L | 34.1118 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.605 | 165019.917 | 311177.7383 | 33.25 | 68.6
39935 | 2021-03-03 11:56 | 57.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.6377 | μmol/L | 34.0445 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.608 | 165033.2767 | 311175.3986 | 33.25 | 68.6
39945 | 2021-03-03 11:56 | 57.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.8245 | μmol/L | 33.9956 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.613 | 165035.9534 | 311161.8292 | 33.25 | 68.6
39955 | 2021-03-03 11:56 | 57.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.8877 | μmol/L | 33.9834 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.613 | 165052.9822 | 311162.1191 | 33.25 | 68.6
39965 | 2021-03-03 11:57 | 58.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.7003 | μmol/L | 34.0017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.62 | 165087.2721 | 311160.6984 | 33.25 | 68.6
39975 | 2021-03-03 11:57 | 58.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 156.0162 | μmol/L | 33.9406 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.62 | 165101.8599 | 311154.35 | 33.25 | 68.6
39985 | 2021-03-03 11:57 | 58.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.3633 | μmol/L | 34.0568 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.624 | 165120.6989 | 311146.2477 | 33.25 | 68.6
39995 | 2021-03-03 11:58 | 59.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.7076 | μmol/L | 33.9773 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.629 | 165156.3423 | 311144.9275 | 33.25 | 68.6
40005 | 2021-03-03 11:58 | 59.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4448 | μmol/L | 34.0384 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.625 | 165174.6444 | 311137.4566 | 33.25 | 68.6
40015 | 2021-03-03 11:58 | 59.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.2079 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.631 | 165194.6037 | 311129.2019 | 33.25 | 68.6
40025 | 2021-03-03 11:59 | 60.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1185 | μmol/L | 34.0812 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.633 | 165213.3758 | 311131.5466 | 33.25 | 68.6
40035 | 2021-03-03 11:59 | 60.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.5307 | μmol/L | 33.9834 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.64 | 165245.8334 | 311143.2709 | 33.25 | 68.6
40045 | 2021-03-03 11:59 | 60.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.4464 | μmol/L | 33.9895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.644 | 165274.4708 | 311116.4784 | 33.25 | 68.6
40055 | 2021-03-03 12:00 | 61.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.2441 | μmol/L | 34.0262 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.645 | 165279.4315 | 311113.1857 | 33.25 | 68.6
40065 | 2021-03-03 12:00 | 61.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.0945 | μmol/L | 34.0629 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.642 | 165293.7584 | 311116.8199 | 33.25 | 68.6
40075 | 2021-03-03 12:00 | 61.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.0156 | μmol/L | 34.0629 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.648 | 165318.4856 | 311107.9608 | 33.25 | 68.6
40085 | 2021-03-03 12:01 | 62.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.2544 | μmol/L | 34.014 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.649 | 165350.9543 | 311119.486 | 33.25 | 68.6
40095 | 2021-03-03 12:01 | 62.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9446 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.651 | 165373.8463 | 311111.1221 | 33.25 | 68.6
40105 | 2021-03-03 12:01 | 62.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1307 | μmol/L | 34.0201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.656 | 165393.6968 | 311103.6426 | 33.25 | 68.6
40115 | 2021-03-03 12:02 | 63.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.1805 | μmol/L | 34.0079 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.657 | 165410.8237 | 311096.961 | 33.25 | 68.6
40125 | 2021-03-03 12:02 | 63.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.808 | μmol/L | 34.0751 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.659 | 165424.088 | 311082.6359 | 33.25 | 68.6
40135 | 2021-03-03 12:02 | 63.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 155.0598 | μmol/L | 34.0262 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.659 | 165449.1744 | 311087.0084 | 33.25 | 68.6
40145 | 2021-03-03 12:03 | 64.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.9311 | μmol/L | 34.0384 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.664 | 165477.9934 | 311083.9467 | 33.25 | 68.6
40155 | 2021-03-03 12:03 | 64.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.91 | μmol/L | 34.0323 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.668 | 165498.8499 | 311090.3493 | 33.25 | 68.6
40165 | 2021-03-03 12:03 | 64.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.7527 | μmol/L | 34.0629 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.668 | 165523.3466 | 311095.5728 | 33.25 | 68.6
40175 | 2021-03-03 12:04 | 65.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.5693 | μmol/L | 34.0934 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.67 | 165536.1313 | 311091.0184 | 33.25 | 68.6
40185 | 2021-03-03 12:04 | 65.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.5614 | μmol/L | 34.0873 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.673 | 165572.6564 | 311085.2616 | 33.25 | 68.6
40195 | 2021-03-03 12:04 | 65.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.4854 | μmol/L | 34.0995 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.674 | 165585.1414 | 311075.8314 | 33.25 | 68.6
40205 | 2021-03-03 12:05 | 66.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.2211 | μmol/L | 34.1484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.675 | 165616.8344 | 311079.5765 | 33.25 | 68.6
40215 | 2021-03-03 12:05 | 66.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.0196 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.676 | 165635.5021 | 311077.8112 | 33.25 | 68.6
40225 | 2021-03-03 12:05 | 66.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 154.1504 | μmol/L | 34.1546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.678 | 165649.947 | 311069.5609 | 33.25 | 68.6
40235 | 2021-03-03 12:06 | 67.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.9255 | μmol/L | 34.2035 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.676 | 165654.8695 | 311070.1738 | 33.25 | 68.6
40245 | 2021-03-03 12:06 | 67.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.7661 | μmol/L | 34.2218 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.681 | 165689.4259 | 311062.962 | 33.25 | 68.6
40255 | 2021-03-03 12:06 | 67.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.6329 | μmol/L | 34.2401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.684 | 165713.2305 | 311069.3786 | 33.25 | 68.6
40265 | 2021-03-03 12:07 | 68.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.4005 | μmol/L | 34.2829 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.685 | 165730.0183 | 311078.1371 | 33.25 | 68.6
40275 | 2021-03-03 12:07 | 68.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.3745 | μmol/L | 34.2829 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.687 | 165742.3575 | 311062.3218 | 33.25 | 68.6
40285 | 2021-03-03 12:07 | 68.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.2675 | μmol/L | 34.3013 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.688 | 165756.9162 | 311066.9816 | 33.25 | 68.6
40295 | 2021-03-03 12:08 | 69.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.2415 | μmol/L | 34.3013 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.69 | 165777.4668 | 311056.5854 | 33.25 | 68.6
40305 | 2021-03-03 12:08 | 69.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 153.0903 | μmol/L | 34.3257 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.692 | 165792.6461 | 311059.3135 | 33.25 | 68.6
40315 | 2021-03-03 12:08 | 69.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.8949 | μmol/L | 34.3563 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.695 | 165815.0421 | 311055.4261 | 33.25 | 68.6
40325 | 2021-03-03 12:09 | 70.001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.801 | μmol/L | 34.3746 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.695 | 165823.7577 | 311049.5596 | 33.25 | 68.6
40335 | 2021-03-03 12:09 | 70.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.7568 | μmol/L | 34.3807 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.696 | 165842.2972 | 311039.1191 | 33.25 | 68.6
40345 | 2021-03-03 12:09 | 70.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.6683 | μmol/L | 34.393 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.698 | 165873.1963 | 311056.9041 | 33.25 | 68.6
40355 | 2021-03-03 12:10 | 71.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.4786 | μmol/L | 34.4174 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.703 | 165886.2071 | 311062.8821 | 33.25 | 68.6
40365 | 2021-03-03 12:10 | 71.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.2782 | μmol/L | 34.4541 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.704 | 165915.1287 | 311051.9639 | 33.25 | 68.6
40375 | 2021-03-03 12:10 | 71.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.2449 | μmol/L | 34.448 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.709 | 165945.5395 | 311043.9373 | 33.25 | 68.6
40385 | 2021-03-03 12:11 | 72.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1696 | μmol/L | 34.4602 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.71 | 165965.4868 | 311042.1967 | 33.25 | 68.6
40395 | 2021-03-03 12:11 | 72.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.2999 | μmol/L | 34.4296 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.712 | 165985.892 | 311036.7185 | 33.25 | 68.6
40405 | 2021-03-03 12:11 | 72.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 152.1729 | μmol/L | 34.4419 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.717 | 166012.4212 | 311031.4266 | 33.25 | 68.6
40415 | 2021-03-03 12:12 | 73.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8589 | μmol/L | 34.4908 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.722 | 166038.1799 | 311035.9722 | 33.25 | 68.6
40425 | 2021-03-03 12:12 | 73.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7397 | μmol/L | 34.5091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.724 | 166052.1276 | 311036.0887 | 33.25 | 68.6
40435 | 2021-03-03 12:12 | 73.6678 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7268 | μmol/L | 34.5091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.725 | 166096.9163 | 311032.781 | 33.25 | 68.6
40445 | 2021-03-03 12:13 | 74.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7506 | μmol/L | 34.4969 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.728 | 166113.2095 | 311043.3177 | 33.25 | 68.6
40455 | 2021-03-03 12:13 | 74.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.6442 | μmol/L | 34.5152 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.729 | 166140.3258 | 311038.406 | 33.25 | 68.6
40465 | 2021-03-03 12:13 | 74.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.8055 | μmol/L | 34.4785 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.731 | 166146.2513 | 311027.7411 | 33.25 | 68.6
40475 | 2021-03-03 12:14 | 75.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.7595 | μmol/L | 34.4724 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.737 | 166175.0654 | 311029.3468 | 33.25 | 68.6
40485 | 2021-03-03 12:14 | 75.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.5029 | μmol/L | 34.5152 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.74 | 166216.0447 | 311040.5843 | 33.25 | 68.6
40495 | 2021-03-03 12:14 | 75.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4022 | μmol/L | 34.5274 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.743 | 166230.1353 | 311032.3572 | 33.25 | 68.6
40505 | 2021-03-03 12:15 | 76.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.5559 | μmol/L | 34.4847 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.748 | 166256.6041 | 311039.8621 | 33.25 | 68.6
40515 | 2021-03-03 12:15 | 76.3343 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4991 | μmol/L | 34.4908 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.75 | 166274.4954 | 311041.7379 | 33.25 | 68.6
40525 | 2021-03-03 12:15 | 76.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.3856 | μmol/L | 34.503 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.754 | 166309.0386 | 311036.1311 | 33.25 | 68.6
40535 | 2021-03-03 12:16 | 77.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.3343 | μmol/L | 34.503 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.758 | 166335.428 | 311037.9828 | 33.25 | 68.6
40545 | 2021-03-03 12:16 | 77.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.466 | μmol/L | 34.4847 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.755 | 166353.7174 | 311020.2584 | 33.25 | 68.6
40555 | 2021-03-03 12:16 | 77.6679 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.4073 | μmol/L | 34.4785 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.762 | 166379.0323 | 311019.8441 | 33.25 | 68.6
40565 | 2021-03-03 12:17 | 78.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.5864 | μmol/L | 34.4358 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.765 | 166401.5732 | 311017.668 | 33.25 | 68.6
40575 | 2021-03-03 12:17 | 78.3345 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0381 | μmol/L | 34.5336 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.769 | 166415.6906 | 311014.1928 | 33.25 | 68.6
40585 | 2021-03-03 12:17 | 78.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.2609 | μmol/L | 34.4847 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.771 | 166459.6532 | 311016.8995 | 33.25 | 68.6
40595 | 2021-03-03 12:18 | 79.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9742 | μmol/L | 34.5336 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.774 | 166478.8552 | 311006.9178 | 33.25 | 68.6
40605 | 2021-03-03 12:18 | 79.3346 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1038 | μmol/L | 34.503 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.776 | 166497.5773 | 311011.6668 | 33.25 | 68.6
40615 | 2021-03-03 12:18 | 79.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1566 | μmol/L | 34.4724 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.784 | 166519.599 | 311004.0079 | 33.25 | 68.6
40625 | 2021-03-03 12:19 | 80.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1748 | μmol/L | 34.4663 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.785 | 166548.3272 | 310999.7739 | 33.25 | 68.6
40635 | 2021-03-03 12:19 | 80.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0233 | μmol/L | 34.4785 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.792 | 166572.3411 | 310988.6442 | 33.25 | 68.6
40645 | 2021-03-03 12:19 | 80.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.799 | μmol/L | 34.5152 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.795 | 166598.6878 | 310991.5615 | 33.25 | 68.6
40655 | 2021-03-03 12:20 | 81.0011 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9539 | μmol/L | 34.4847 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.795 | 166605.8018 | 310992.6551 | 33.25 | 68.6
40665 | 2021-03-03 12:20 | 81.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.8409 | μmol/L | 34.4969 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.799 | 166644.8347 | 310989.6443 | 33.25 | 68.6
40675 | 2021-03-03 12:20 | 81.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.1232 | μmol/L | 34.4235 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.806 | 166668.5917 | 310993.8813 | 33.25 | 68.6
40685 | 2021-03-03 12:21 | 82.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0849 | μmol/L | 34.4235 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.809 | 166693.4258 | 310976.9815 | 33.25 | 68.6
40695 | 2021-03-03 12:21 | 82.3347 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.8608 | μmol/L | 34.4602 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.812 | 166709.6702 | 310981.5489 | 33.25 | 68.6
40705 | 2021-03-03 12:21 | 82.6677 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 151.0156 | μmol/L | 34.4296 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.812 | 166738.1959 | 310980.1479 | 33.25 | 68.6
40715 | 2021-03-03 12:22 | 83.0013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.9153 | μmol/L | 34.4419 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.815 | 166753.2643 | 310979.574 | 33.25 | 68.6
40725 | 2021-03-03 12:22 | 83.3344 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.7533 | μmol/L | 34.4663 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.818 | 166778.2548 | 310968.6637 | 33.25 | 68.6
40735 | 2021-03-03 12:22 | 83.668 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.6385 | μmol/L | 34.4663 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.827 | 166808.8318 | 310962.0501 | 33.25 | 68.6
40745 | 2021-03-03 12:23 | 84.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.5585 | μmol/L | 34.4847 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.826 | 166820.0136 | 310949.5884 | 33.25 | 68.6
40754 | 2021-03-03 12:23 | 84.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 150.5876 | μmol/L | 34.4663 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.831 | 166860.2206 | 310961.8828 | 33.25 | 68.6