## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38229 | 2021-03-03 10:59 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.1816 | μmol/L | 34.3583 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.538 | 159656.4475 | 275373.0147 | 32.55 | 27.7
38239 | 2021-03-03 10:59 | 0.32955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0298 | μmol/L | 34.3644 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.549 | 159761.5984 | 275340.5395 | 32.55 | 27.7
38249 | 2021-03-03 11:00 | 0.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8713 | μmol/L | 34.3644 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.563 | 159876.6585 | 275313.0966 | 32.55 | 27.7
38258 | 2021-03-03 11:00 | 0.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0342 | μmol/L | 34.2968 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.575 | 159940.5279 | 275286.8737 | 32.55 | 27.7
38269 | 2021-03-03 11:00 | 1.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.5867 | μmol/L | 34.3828 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.581 | 159977.5601 | 275277.4244 | 32.55 | 27.7
38278 | 2021-03-03 11:01 | 1.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8217 | μmol/L | 34.3091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.589 | 160022.2516 | 275282.6927 | 32.55 | 27.7
38288 | 2021-03-03 11:01 | 1.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9072 | μmol/L | 34.2231 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.615 | 160160.3495 | 275247.8665 | 32.55 | 27.7
38299 | 2021-03-03 11:01 | 2.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.4946 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.63 | 160265.0913 | 275228.2137 | 32.55 | 27.7
38308 | 2021-03-03 11:02 | 2.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.3168 | μmol/L | 34.2907 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.641 | 160331.8846 | 275234.8919 | 32.55 | 27.7
38319 | 2021-03-03 11:02 | 2.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.1236 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.663 | 160510.3062 | 275216.6173 | 32.55 | 27.7
38329 | 2021-03-03 11:02 | 3.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.3818 | μmol/L | 34.389 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.686 | 160689.448 | 275202.1753 | 32.55 | 27.7
38338 | 2021-03-03 11:03 | 3.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.5187 | μmol/L | 34.3398 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.693 | 160721.323 | 275192.5914 | 32.55 | 27.7
38348 | 2021-03-03 11:03 | 3.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.537 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.713 | 160856.6728 | 275178.345 | 32.55 | 27.7
38359 | 2021-03-03 11:03 | 4.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2576 | μmol/L | 34.346 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.714 | 160916.6868 | 275174.6783 | 32.55 | 27.7
38369 | 2021-03-03 11:04 | 4.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.0972 | μmol/L | 34.3521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.726 | 160957.4605 | 275150.015 | 32.55 | 27.7
38378 | 2021-03-03 11:04 | 4.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.1022 | μmol/L | 34.3153 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.74 | 161088.1297 | 275150.3134 | 32.55 | 27.7
38388 | 2021-03-03 11:04 | 5.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.7574 | μmol/L | 34.346 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.759 | 161208.9545 | 275137.8243 | 32.55 | 27.7
38398 | 2021-03-03 11:05 | 5.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.31 | μmol/L | 34.1985 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.767 | 161246.519 | 275132.0866 | 32.55 | 27.7
38409 | 2021-03-03 11:05 | 5.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.1453 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.777 | 161308.8868 | 275138.0474 | 32.55 | 27.7
38419 | 2021-03-03 11:05 | 6.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2811 | μmol/L | 34.1617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.784 | 161370.4798 | 275119.22 | 32.55 | 27.7
38429 | 2021-03-03 11:06 | 6.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.6901 | μmol/L | 34.2415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.806 | 161508.3513 | 275115.8168 | 32.55 | 27.7
38438 | 2021-03-03 11:06 | 6.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.4308 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.815 | 161575.5867 | 275100.3678 | 32.55 | 27.7
38449 | 2021-03-03 11:06 | 7.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.4443 | μmol/L | 34.26 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.821 | 161618.155 | 275100.6206 | 32.55 | 27.7
38458 | 2021-03-03 11:07 | 7.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.1103 | μmol/L | 34.3091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.832 | 161730.6167 | 275098.9356 | 32.55 | 27.7
38468 | 2021-03-03 11:07 | 7.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.8616 | μmol/L | 34.303 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.857 | 161867.1921 | 275077.2706 | 32.55 | 27.7
38478 | 2021-03-03 11:07 | 8.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.5973 | μmol/L | 34.3337 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.869 | 161934.2226 | 275069.5573 | 32.55 | 27.7
38489 | 2021-03-03 11:08 | 8.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.6019 | μmol/L | 34.3275 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.871 | 161936.8366 | 275056.0513 | 32.55 | 27.7
38499 | 2021-03-03 11:08 | 8.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.6774 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.881 | 161975.5566 | 275055.2266 | 32.55 | 27.7
38509 | 2021-03-03 11:08 | 9.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.013 | μmol/L | 34.1862 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.889 | 162071.4171 | 275055.2081 | 32.55 | 27.7
38519 | 2021-03-03 11:09 | 9.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.0728 | μmol/L | 34.1494 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.898 | 162121.6489 | 275044.4396 | 32.55 | 27.7
38529 | 2021-03-03 11:09 | 9.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.6526 | μmol/L | 34.1985 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.917 | 162233.2486 | 275050.5569 | 32.55 | 27.7
38538 | 2021-03-03 11:09 | 10.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.5101 | μmol/L | 34.1985 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.93 | 162333.2401 | 275036.0802 | 32.55 | 27.7
38548 | 2021-03-03 11:10 | 10.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.1173 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.937 | 162392.6241 | 275050.8471 | 32.55 | 27.7
38559 | 2021-03-03 11:10 | 10.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.901 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.952 | 162477.6022 | 275041.4831 | 32.55 | 27.7
38569 | 2021-03-03 11:10 | 11.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.705 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.97 | 162591.9463 | 275029.2811 | 32.55 | 27.7
38579 | 2021-03-03 11:11 | 11.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.2024 | μmol/L | 34.1555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.975 | 162618.6767 | 275020.3757 | 32.55 | 27.7
38589 | 2021-03-03 11:11 | 11.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.1329 | μmol/L | 34.1309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 23.991 | 162721.1091 | 275028.7238 | 32.55 | 27.7
38599 | 2021-03-03 11:11 | 12.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.6836 | μmol/L | 34.1801 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.013 | 162894.0449 | 275013.6912 | 32.55 | 27.7
38609 | 2021-03-03 11:12 | 12.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.0116 | μmol/L | 34.0572 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.031 | 163001.3487 | 275012.1993 | 32.55 | 27.7
38619 | 2021-03-03 11:12 | 12.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.7808 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.045 | 163106.5673 | 275003.1073 | 32.55 | 27.7
38629 | 2021-03-03 11:12 | 13.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.1684 | μmol/L | 34.1432 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.075 | 163272.8539 | 274996.065 | 32.55 | 27.7
38639 | 2021-03-03 11:13 | 13.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.169 | μmol/L | 34.1125 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.087 | 163384.056 | 274992.5907 | 32.55 | 27.7
38649 | 2021-03-03 11:13 | 13.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.9873 | μmol/L | 34.1248 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.099 | 163491.9021 | 274983.2948 | 32.55 | 27.7
38658 | 2021-03-03 11:13 | 14.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5683 | μmol/L | 34.1678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.121 | 163620.3063 | 274966.1979 | 32.55 | 27.7
38669 | 2021-03-03 11:14 | 14.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6469 | μmol/L | 34.1187 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.133 | 163684.4784 | 274966.1413 | 32.55 | 27.7
38678 | 2021-03-03 11:14 | 14.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.5982 | μmol/L | 34.0818 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.152 | 163814.921 | 274955.9648 | 32.55 | 27.7
38689 | 2021-03-03 11:14 | 15.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4415 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.169 | 163941.2474 | 274942.5517 | 32.55 | 27.7
38699 | 2021-03-03 11:15 | 15.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2377 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.188 | 164072.5691 | 274953.2977 | 32.55 | 27.7
38709 | 2021-03-03 11:15 | 15.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.9953 | μmol/L | 34.1002 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.201 | 164128.2092 | 274941.8132 | 32.55 | 27.7
38719 | 2021-03-03 11:15 | 16.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7737 | μmol/L | 34.1555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.2 | 164140.2901 | 274933.4439 | 32.55 | 27.7
38729 | 2021-03-03 11:16 | 16.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0004 | μmol/L | 34.0634 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.215 | 164212.5326 | 274929.4167 | 32.55 | 27.7
38739 | 2021-03-03 11:16 | 16.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7034 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.238 | 164348.7037 | 274924.1624 | 32.55 | 27.7
38748 | 2021-03-03 11:16 | 17.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.587 | μmol/L | 34.0449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.261 | 164553.7392 | 274921.8627 | 32.55 | 27.7
38759 | 2021-03-03 11:17 | 17.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.1779 | μmol/L | 34.0818 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.285 | 164719.6622 | 274900.3472 | 32.55 | 27.7
38769 | 2021-03-03 11:17 | 17.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.0489 | μmol/L | 34.0695 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.302 | 164833.4759 | 274901.9036 | 32.55 | 27.7
38779 | 2021-03-03 11:17 | 18.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.9994 | μmol/L | 34.0204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.326 | 164982.5251 | 274899.902 | 32.55 | 27.7
38789 | 2021-03-03 11:18 | 18.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.0787 | μmol/L | 33.9835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.333 | 165007.7192 | 274893.279 | 32.55 | 27.7
38798 | 2021-03-03 11:18 | 18.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.8003 | μmol/L | 34.0326 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.34 | 165034.3078 | 274884.353 | 32.55 | 27.7
38809 | 2021-03-03 11:18 | 19.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.9075 | μmol/L | 33.9712 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.354 | 165143.199 | 274872.392 | 32.55 | 27.7
38818 | 2021-03-03 11:19 | 19.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5874 | μmol/L | 34.0204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.365 | 165183.0893 | 274871.4275 | 32.55 | 27.7
38829 | 2021-03-03 11:19 | 19.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.2749 | μmol/L | 34.0449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.385 | 165337.2521 | 274854.2451 | 32.55 | 27.7
38839 | 2021-03-03 11:19 | 20.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.2803 | μmol/L | 34.0081 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.399 | 165411.026 | 274860.7554 | 32.55 | 27.7
38849 | 2021-03-03 11:20 | 20.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.353 | μmol/L | 33.9651 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.409 | 165495.3075 | 274845.7119 | 32.55 | 27.7
38859 | 2021-03-03 11:20 | 20.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5525 | μmol/L | 33.8914 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.419 | 165554.8693 | 274841.4091 | 32.55 | 27.7
38869 | 2021-03-03 11:20 | 21.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.3686 | μmol/L | 33.9282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.422 | 165581.8174 | 274860.5852 | 32.55 | 27.7
38878 | 2021-03-03 11:21 | 21.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.1183 | μmol/L | 33.9405 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.441 | 165702.4664 | 274837.2556 | 32.55 | 27.7
38888 | 2021-03-03 11:21 | 21.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.8152 | μmol/L | 33.9835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.453 | 165762.924 | 274827.454 | 32.55 | 27.7
38898 | 2021-03-03 11:21 | 22.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5747 | μmol/L | 33.8299 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.441 | 165697.5135 | 274822.0814 | 32.55 | 27.7
38908 | 2021-03-03 11:22 | 22.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.995 | μmol/L | 33.9221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.46 | 165801.7124 | 274798.447 | 32.55 | 27.7
38918 | 2021-03-03 11:22 | 22.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.1364 | μmol/L | 33.8852 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.461 | 165829.1329 | 274791.394 | 32.55 | 27.7
38928 | 2021-03-03 11:22 | 23.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.0106 | μmol/L | 33.8852 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.473 | 165923.6501 | 274795.2426 | 32.55 | 27.7
38939 | 2021-03-03 11:23 | 23.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.7612 | μmol/L | 33.8975 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.492 | 166091.3765 | 274796.1842 | 32.55 | 27.7
38949 | 2021-03-03 11:23 | 23.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.4558 | μmol/L | 33.9159 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.514 | 166215.5371 | 274795.0385 | 32.55 | 27.7
38959 | 2021-03-03 11:23 | 24.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.4106 | μmol/L | 33.8914 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.528 | 166317.8607 | 274783.0056 | 32.55 | 27.7
38968 | 2021-03-03 11:24 | 24.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.2501 | μmol/L | 33.8975 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.541 | 166426.0946 | 274781.3425 | 32.55 | 27.7
38979 | 2021-03-03 11:24 | 24.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.9626 | μmol/L | 33.9221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.559 | 166538.0902 | 274780.1127 | 32.55 | 27.7
38988 | 2021-03-03 11:24 | 25.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.8812 | μmol/L | 33.9344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.562 | 166587.2643 | 274776.0139 | 32.55 | 27.7
38999 | 2021-03-03 11:25 | 25.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.9428 | μmol/L | 33.8914 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.573 | 166617.2736 | 274779.9937 | 32.55 | 27.7
39008 | 2021-03-03 11:25 | 25.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.7569 | μmol/L | 33.9344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.574 | 166702.4736 | 274757.0554 | 32.55 | 27.7
39018 | 2021-03-03 11:25 | 26.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.7285 | μmol/L | 33.9159 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.584 | 166783.3448 | 274755.1784 | 32.55 | 27.7
39028 | 2021-03-03 11:26 | 26.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.2628 | μmol/L | 33.9896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.6 | 166877.8441 | 274751.2258 | 32.55 | 27.7
39039 | 2021-03-03 11:26 | 26.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.4259 | μmol/L | 33.9344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.606 | 166919.4691 | 274747.2832 | 32.55 | 27.7
39048 | 2021-03-03 11:26 | 27.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.3465 | μmol/L | 33.9589 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.604 | 166921.2881 | 274747.3386 | 32.55 | 27.7
39059 | 2021-03-03 11:27 | 27.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.3656 | μmol/L | 33.9466 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.607 | 166983.4787 | 274731.7478 | 32.55 | 27.7
39068 | 2021-03-03 11:27 | 27.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.4966 | μmol/L | 33.9221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.604 | 166971.8528 | 274734.9406 | 32.55 | 27.7
39079 | 2021-03-03 11:27 | 28.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.1494 | μmol/L | 33.9896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.611 | 167008.6856 | 274735.4047 | 32.55 | 27.7
39088 | 2021-03-03 11:28 | 28.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 125.1475 | μmol/L | 33.9344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.633 | 167159.6638 | 274732.996 | 32.55 | 27.7
39098 | 2021-03-03 11:28 | 28.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.98 | μmol/L | 33.9528 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.642 | 167224.7483 | 274722.7603 | 32.55 | 27.7
39108 | 2021-03-03 11:28 | 29.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.9243 | μmol/L | 33.9589 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.645 | 167269.4066 | 274722.3232 | 32.55 | 27.7
39118 | 2021-03-03 11:29 | 29.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.8171 | μmol/L | 33.9651 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.653 | 167349.5727 | 274709.7574 | 32.55 | 27.7
39129 | 2021-03-03 11:29 | 29.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.343 | μmol/L | 34.0265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.675 | 167497.8269 | 274705.0487 | 32.55 | 27.7
39138 | 2021-03-03 11:29 | 30.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.5154 | μmol/L | 33.9712 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.68 | 167549.6696 | 274691.9636 | 32.55 | 27.7
39148 | 2021-03-03 11:30 | 30.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2305 | μmol/L | 34.0265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.686 | 167640.052 | 274691.3583 | 32.55 | 27.7
39159 | 2021-03-03 11:30 | 30.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.2466 | μmol/L | 33.9896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.699 | 167743.5545 | 274698.7088 | 32.55 | 27.7
39168 | 2021-03-03 11:30 | 31.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 124.1256 | μmol/L | 34.0019 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.706 | 167800.9954 | 274693.3541 | 32.55 | 27.7
39179 | 2021-03-03 11:31 | 31.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.6597 | μmol/L | 34.0695 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.725 | 167944.5347 | 274679.4693 | 32.55 | 27.7
39189 | 2021-03-03 11:31 | 31.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2551 | μmol/L | 34.1801 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.721 | 167947.3686 | 274687.83 | 32.55 | 27.7
39199 | 2021-03-03 11:31 | 32.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.2945 | μmol/L | 34.1678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.722 | 167973.0046 | 274678.8825 | 32.55 | 27.7
39209 | 2021-03-03 11:32 | 32.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.5118 | μmol/L | 34.0634 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.742 | 168110.891 | 274675.4809 | 32.55 | 27.7
39219 | 2021-03-03 11:32 | 32.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.4611 | μmol/L | 34.0634 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.747 | 168168.9981 | 274659.6251 | 32.55 | 27.7
39229 | 2021-03-03 11:32 | 33.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.0738 | μmol/L | 34.1371 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.756 | 168229.5377 | 274654.0463 | 32.55 | 27.7
39238 | 2021-03-03 11:33 | 33.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 123.1611 | μmol/L | 34.1002 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.762 | 168240.2516 | 274670.5291 | 32.55 | 27.7
39249 | 2021-03-03 11:33 | 33.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9707 | μmol/L | 34.1678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.754 | 168247.1005 | 274640.1227 | 32.55 | 27.7
39258 | 2021-03-03 11:33 | 34.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.9545 | μmol/L | 34.1064 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.78 | 168390.2386 | 274641.4824 | 32.55 | 27.7
39268 | 2021-03-03 11:34 | 34.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.6826 | μmol/L | 34.1617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.785 | 168461.9368 | 274637.5596 | 32.55 | 27.7
39278 | 2021-03-03 11:34 | 34.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.053 | μmol/L | 34.2538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.811 | 168673.8275 | 274648.0428 | 32.55 | 27.7
39289 | 2021-03-03 11:34 | 35.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.0944 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.824 | 168776.5063 | 274650.9967 | 32.55 | 27.7
39299 | 2021-03-03 11:35 | 35.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 122.0878 | μmol/L | 34.1924 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.832 | 168801.4519 | 274639.3212 | 32.55 | 27.7
39308 | 2021-03-03 11:35 | 35.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 121.5508 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.849 | 168933.7821 | 274630.7038 | 32.55 | 27.7
39318 | 2021-03-03 11:35 | 36.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 121.6621 | μmol/L | 34.2415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.855 | 168995.7608 | 274621.9984 | 32.55 | 27.7
39329 | 2021-03-03 11:36 | 36.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 121.3586 | μmol/L | 34.2477 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.883 | 169197.0347 | 274620.5091 | 32.55 | 27.7
39338 | 2021-03-03 11:36 | 36.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 121.066 | μmol/L | 34.2538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.91 | 169405.6103 | 274619.8913 | 32.55 | 27.7
39348 | 2021-03-03 11:36 | 37.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.9803 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.926 | 169509.1387 | 274607.6357 | 32.55 | 27.7
39359 | 2021-03-03 11:37 | 37.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 121.0899 | μmol/L | 34.1801 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.937 | 169586.8065 | 274607.8937 | 32.55 | 27.7
39369 | 2021-03-03 11:37 | 37.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.6618 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.941 | 169621.7469 | 274622.507 | 32.55 | 27.7
39378 | 2021-03-03 11:37 | 38.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.5289 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.952 | 169725.7816 | 274603.913 | 32.55 | 27.7
39389 | 2021-03-03 11:38 | 38.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.4958 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.975 | 169856.7193 | 274614.686 | 32.55 | 27.7
39399 | 2021-03-03 11:38 | 38.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.2082 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.987 | 169972.0933 | 274603.4837 | 32.55 | 27.7
39409 | 2021-03-03 11:38 | 39.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.3175 | μmol/L | 34.2231 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 24.998 | 170050.8522 | 274588.3407 | 32.55 | 27.7
39419 | 2021-03-03 11:39 | 39.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 120.0769 | μmol/L | 34.2292 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.02 | 170183.7591 | 274599.1395 | 32.55 | 27.7
39428 | 2021-03-03 11:39 | 39.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.6949 | μmol/L | 34.3091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.027 | 170248.3509 | 274594.7684 | 32.55 | 27.7
39439 | 2021-03-03 11:39 | 40.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.2737 | μmol/L | 34.3767 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.043 | 170421.1709 | 274585.6102 | 32.55 | 27.7
39448 | 2021-03-03 11:40 | 40.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.1066 | μmol/L | 34.3521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.07 | 170588.9463 | 274572.553 | 32.55 | 27.7
39459 | 2021-03-03 11:40 | 40.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.4652 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.08 | 170640.3501 | 274589.406 | 32.55 | 27.7
39468 | 2021-03-03 11:40 | 41.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.3204 | μmol/L | 34.26 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.085 | 170686.2154 | 274576.9973 | 32.55 | 27.7
39479 | 2021-03-03 11:41 | 41.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 119.0499 | μmol/L | 34.2968 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.098 | 170774.7923 | 274582.5412 | 32.55 | 27.7
39488 | 2021-03-03 11:41 | 41.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.8278 | μmol/L | 34.3214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.111 | 170853.4523 | 274585.4754 | 32.55 | 27.7
39498 | 2021-03-03 11:41 | 42.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.7553 | μmol/L | 34.3275 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.116 | 170900.0658 | 274572.0876 | 32.55 | 27.7
39509 | 2021-03-03 11:42 | 42.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.7846 | μmol/L | 34.2477 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.145 | 171089.7244 | 274574.7202 | 32.55 | 27.7
39519 | 2021-03-03 11:42 | 42.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.7652 | μmol/L | 34.2477 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.147 | 171133.1632 | 274560.368 | 32.55 | 27.7
39529 | 2021-03-03 11:42 | 43.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.9799 | μmol/L | 34.3828 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.174 | 171340.1886 | 274566.0006 | 32.55 | 27.7
39538 | 2021-03-03 11:43 | 43.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 118.2004 | μmol/L | 34.2661 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.198 | 171493.0092 | 274569.3503 | 32.55 | 27.7
39548 | 2021-03-03 11:43 | 43.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.8083 | μmol/L | 34.3153 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.219 | 171670.4907 | 274573.2104 | 32.55 | 27.7
39558 | 2021-03-03 11:43 | 44.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.3795 | μmol/L | 34.3767 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.239 | 171801.4947 | 274568.4231 | 32.55 | 27.7
39568 | 2021-03-03 11:44 | 44.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.464 | μmol/L | 34.3398 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.245 | 171860.3036 | 274568.8188 | 32.55 | 27.7
39578 | 2021-03-03 11:44 | 44.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.4674 | μmol/L | 34.3091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.257 | 171958.0412 | 274542.5147 | 32.55 | 27.7
39589 | 2021-03-03 11:44 | 45.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.5511 | μmol/L | 34.26 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.268 | 172073.0614 | 274555.5781 | 32.55 | 27.7
39599 | 2021-03-03 11:45 | 45.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.1473 | μmol/L | 34.3153 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.288 | 172151.1711 | 274561.9309 | 32.55 | 27.7
39609 | 2021-03-03 11:45 | 45.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.1327 | μmol/L | 34.3091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.292 | 172171.729 | 274560.2957 | 32.55 | 27.7
39619 | 2021-03-03 11:45 | 46.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.2028 | μmol/L | 34.2784 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.297 | 172225.4424 | 274538.358 | 32.55 | 27.7
39628 | 2021-03-03 11:46 | 46.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 117.0197 | μmol/L | 34.2415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.331 | 172465.1466 | 274536.0097 | 32.55 | 27.7
39638 | 2021-03-03 11:46 | 46.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.522 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.371 | 172800.0779 | 274526.3196 | 32.55 | 27.7
39648 | 2021-03-03 11:46 | 47.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.4779 | μmol/L | 34.2415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.388 | 172913.7387 | 274526.1306 | 32.55 | 27.7
39658 | 2021-03-03 11:47 | 47.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.6367 | μmol/L | 34.1924 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.391 | 172934.8005 | 274525.521 | 32.55 | 27.7
39669 | 2021-03-03 11:47 | 47.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.5475 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.393 | 172897.3368 | 274511.9114 | 32.55 | 27.7
39678 | 2021-03-03 11:47 | 48.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.4918 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.389 | 172887.35 | 274524.9527 | 32.55 | 27.7
39688 | 2021-03-03 11:48 | 48.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.5943 | μmol/L | 34.1985 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.393 | 172904.8609 | 274513.0371 | 32.55 | 27.7
39698 | 2021-03-03 11:48 | 48.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.3653 | μmol/L | 34.2661 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.39 | 172880.3621 | 274502.5812 | 32.55 | 27.7
39709 | 2021-03-03 11:48 | 49.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.0508 | μmol/L | 34.3214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.401 | 172962.0771 | 274502.7084 | 32.55 | 27.7
39719 | 2021-03-03 11:49 | 49.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.3308 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.406 | 173001.7012 | 274510.0232 | 32.55 | 27.7
39728 | 2021-03-03 11:49 | 49.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.2539 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.424 | 173085.6511 | 274502.3919 | 32.55 | 27.7
39739 | 2021-03-03 11:49 | 50.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.8324 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.439 | 173206.7937 | 274511.0678 | 32.55 | 27.7
39748 | 2021-03-03 11:50 | 50.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 116.0561 | μmol/L | 34.2231 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.44 | 173249.8618 | 274505.2221 | 32.55 | 27.7
39759 | 2021-03-03 11:50 | 50.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.7654 | μmol/L | 34.26 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.456 | 173314.81 | 274513.0864 | 32.55 | 27.7
39769 | 2021-03-03 11:50 | 51.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.9123 | μmol/L | 34.1739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.475 | 173475.8828 | 274496.3708 | 32.55 | 27.7
39779 | 2021-03-03 11:51 | 51.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.6029 | μmol/L | 34.1985 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.498 | 173642.0157 | 274496.6948 | 32.55 | 27.7
39788 | 2021-03-03 11:51 | 51.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.5599 | μmol/L | 34.1801 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.51 | 173709.7764 | 274497.8917 | 32.55 | 27.7
39798 | 2021-03-03 11:51 | 52.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.4428 | μmol/L | 34.1862 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.52 | 173745.0244 | 274488.4487 | 32.55 | 27.7
39808 | 2021-03-03 11:52 | 52.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.1358 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.533 | 173842.7227 | 274482.0239 | 32.55 | 27.7
39819 | 2021-03-03 11:52 | 52.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.1348 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.543 | 173939.9702 | 274485.908 | 32.55 | 27.7
39828 | 2021-03-03 11:52 | 53.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.9169 | μmol/L | 34.2538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.549 | 173966.3489 | 274485.5519 | 32.55 | 27.7
39838 | 2021-03-03 11:53 | 53.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.8649 | μmol/L | 34.2354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.562 | 174050.5874 | 274484.1245 | 32.55 | 27.7
39848 | 2021-03-03 11:53 | 53.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.913 | μmol/L | 34.1555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.589 | 174187.2916 | 274472.6091 | 32.55 | 27.7
39859 | 2021-03-03 11:53 | 54.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.7659 | μmol/L | 34.2047 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.585 | 174190.4487 | 274460.2184 | 32.55 | 27.7
39868 | 2021-03-03 11:54 | 54.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 115.1299 | μmol/L | 34.1002 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.588 | 174198.9094 | 274461.3436 | 32.55 | 27.7
39878 | 2021-03-03 11:54 | 54.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.7458 | μmol/L | 34.1678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.602 | 174297.249 | 274459.9783 | 32.55 | 27.7
39888 | 2021-03-03 11:54 | 55.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.7579 | μmol/L | 34.1248 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.618 | 174394.0956 | 274460.193 | 32.55 | 27.7
39899 | 2021-03-03 11:55 | 55.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.6364 | μmol/L | 34.1125 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.636 | 174524.631 | 274459.2103 | 32.55 | 27.7
39908 | 2021-03-03 11:55 | 55.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.19 | μmol/L | 34.2047 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.647 | 174599.1916 | 274445.3547 | 32.55 | 27.7
39918 | 2021-03-03 11:55 | 56.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.1234 | μmol/L | 34.1555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.674 | 174746.1401 | 274456.0117 | 32.55 | 27.7
39929 | 2021-03-03 11:56 | 56.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.4211 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.674 | 174771.4527 | 274457.0145 | 32.55 | 27.7
39938 | 2021-03-03 11:56 | 56.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.3164 | μmol/L | 34.1187 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.668 | 174703.293 | 274459.2786 | 32.55 | 27.7
39949 | 2021-03-03 11:56 | 57.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.3109 | μmol/L | 34.1002 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.676 | 174753.1976 | 274441.0406 | 32.55 | 27.7
39958 | 2021-03-03 11:57 | 57.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.9886 | μmol/L | 34.1371 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.696 | 174888.4297 | 274464.1425 | 32.55 | 27.7
39969 | 2021-03-03 11:57 | 57.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 114.023 | μmol/L | 34.0757 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.717 | 175067.4303 | 274450.5892 | 32.55 | 27.7
39978 | 2021-03-03 11:57 | 58.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.878 | μmol/L | 34.0326 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.75 | 175310.9468 | 274458.2273 | 32.55 | 27.7
39988 | 2021-03-03 11:58 | 58.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.5113 | μmol/L | 34.0695 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.775 | 175492.9082 | 274443.7756 | 32.55 | 27.7
39999 | 2021-03-03 11:58 | 58.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.0812 | μmol/L | 34.0941 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.812 | 175752.1085 | 274453.6416 | 32.55 | 27.7
40008 | 2021-03-03 11:58 | 59.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.1973 | μmol/L | 34.0204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.829 | 175915.2275 | 274456.3245 | 32.55 | 27.7
40019 | 2021-03-03 11:59 | 59.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.0335 | μmol/L | 34.0449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.837 | 175984.1943 | 274427.2695 | 32.55 | 27.7
40028 | 2021-03-03 11:59 | 59.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.1693 | μmol/L | 34.0081 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.837 | 175997.3943 | 274443.6907 | 32.55 | 27.7
40038 | 2021-03-03 11:59 | 60.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 113.0729 | μmol/L | 34.0019 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.85 | 176060.7094 | 274433.8767 | 32.55 | 27.7
40048 | 2021-03-03 12:00 | 60.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.6463 | μmol/L | 34.0634 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.872 | 176173.7118 | 274424.5507 | 32.55 | 27.7
40059 | 2021-03-03 12:00 | 60.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.7935 | μmol/L | 33.9835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.888 | 176318.5506 | 274429.5334 | 32.55 | 27.7
40069 | 2021-03-03 12:00 | 61.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.3634 | μmol/L | 34.0388 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.913 | 176524.193 | 274428.8962 | 32.55 | 27.7
40079 | 2021-03-03 12:01 | 61.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.6328 | μmol/L | 33.9528 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.918 | 176573.3046 | 274420.5003 | 32.55 | 27.7
40088 | 2021-03-03 12:01 | 61.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.3252 | μmol/L | 33.9896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.937 | 176725.5431 | 274407.9792 | 32.55 | 27.7
40098 | 2021-03-03 12:01 | 62.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.2975 | μmol/L | 33.9774 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.945 | 176800.6801 | 274415.0889 | 32.55 | 27.7
40108 | 2021-03-03 12:02 | 62.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.3232 | μmol/L | 33.9405 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.957 | 176882.0831 | 274406.8591 | 32.55 | 27.7
40118 | 2021-03-03 12:02 | 62.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.8471 | μmol/L | 34.0388 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.97 | 176980.8534 | 274423.3663 | 32.55 | 27.7
40128 | 2021-03-03 12:02 | 63.3298 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 112.0705 | μmol/L | 33.9651 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.975 | 177019.295 | 274421.1889 | 32.55 | 27.7
40138 | 2021-03-03 12:03 | 63.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.7921 | μmol/L | 34.0142 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 25.986 | 177115.5176 | 274413.1089 | 32.55 | 27.7
40149 | 2021-03-03 12:03 | 63.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.4198 | μmol/L | 34.0695 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.005 | 177244.0105 | 274410.1123 | 32.55 | 27.7
40159 | 2021-03-03 12:03 | 64.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.5349 | μmol/L | 34.0081 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.017 | 177335.7577 | 274407.6488 | 32.55 | 27.7
40169 | 2021-03-03 12:04 | 64.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.5241 | μmol/L | 33.9589 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.038 | 177512.9169 | 274415.2181 | 32.55 | 27.7
40179 | 2021-03-03 12:04 | 64.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.4128 | μmol/L | 33.9896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.038 | 177587.0674 | 274415.355 | 32.55 | 27.7
40189 | 2021-03-03 12:04 | 65.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 111.2002 | μmol/L | 33.9466 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.079 | 177872.2714 | 274412.1038 | 32.55 | 27.7
40199 | 2021-03-03 12:05 | 65.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.8401 | μmol/L | 34.0265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.087 | 177952.8682 | 274410.6847 | 32.55 | 27.7
40209 | 2021-03-03 12:05 | 65.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.6743 | μmol/L | 34.0081 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.113 | 178136.125 | 274408.3278 | 32.55 | 27.7
40218 | 2021-03-03 12:05 | 66.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 110.1378 | μmol/L | 34.0879 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.141 | 178355.4058 | 274396.9477 | 32.55 | 27.7
40228 | 2021-03-03 12:06 | 66.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.4783 | μmol/L | 34.0695 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.223 | 178991.0852 | 274400.2118 | 32.55 | 27.7
40238 | 2021-03-03 12:06 | 66.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.5526 | μmol/L | 34.0388 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.227 | 179048.3886 | 274397.4621 | 32.55 | 27.7
40248 | 2021-03-03 12:06 | 67.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.1364 | μmol/L | 34.1678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.222 | 179017.3265 | 274385.5782 | 32.55 | 27.7
40258 | 2021-03-03 12:07 | 67.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.0085 | μmol/L | 34.1248 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.254 | 179276.1954 | 274385.1837 | 32.55 | 27.7
40268 | 2021-03-03 12:07 | 67.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 109.013 | μmol/L | 34.1309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.251 | 179280.2443 | 274379.9089 | 32.55 | 27.7
40279 | 2021-03-03 12:07 | 68.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.7593 | μmol/L | 34.1801 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.26 | 179336.8038 | 274375.4667 | 32.55 | 27.7
40288 | 2021-03-03 12:08 | 68.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.6936 | μmol/L | 34.1739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.27 | 179445.6671 | 274373.5784 | 32.55 | 27.7
40299 | 2021-03-03 12:08 | 68.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.5974 | μmol/L | 34.1739 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.281 | 179499.4004 | 274375.6834 | 32.55 | 27.7
40309 | 2021-03-03 12:08 | 69.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.4055 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.288 | 179557.5343 | 274385.1513 | 32.55 | 27.7
40319 | 2021-03-03 12:09 | 69.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 108.5797 | μmol/L | 34.1494 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.293 | 179618.6855 | 274373.3346 | 32.55 | 27.7
40329 | 2021-03-03 12:09 | 69.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.827 | μmol/L | 34.2538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.337 | 179960.2924 | 274379.6811 | 32.55 | 27.7
40338 | 2021-03-03 12:09 | 70.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.5973 | μmol/L | 34.2845 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.351 | 180083.9948 | 274386.1753 | 32.55 | 27.7
40348 | 2021-03-03 12:10 | 70.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.7837 | μmol/L | 34.1924 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.367 | 180198.7824 | 274368.986 | 32.55 | 27.7
40358 | 2021-03-03 12:10 | 70.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.7794 | μmol/L | 34.2108 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.36 | 180177.1654 | 274382.0669 | 32.55 | 27.7
40368 | 2021-03-03 12:10 | 71.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.7187 | μmol/L | 34.2231 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.362 | 180175.9129 | 274379.1307 | 32.55 | 27.7
40379 | 2021-03-03 12:11 | 71.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.5282 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.364 | 180157.2681 | 274366.7387 | 32.55 | 27.7
40388 | 2021-03-03 12:11 | 71.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.4545 | μmol/L | 34.303 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.36 | 180170.2475 | 274368.5844 | 32.55 | 27.7
40399 | 2021-03-03 12:11 | 72.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.3419 | μmol/L | 34.3398 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.358 | 180173.18 | 274354.9678 | 32.55 | 27.7
40408 | 2021-03-03 12:12 | 72.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.2041 | μmol/L | 34.3153 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.384 | 180393.2775 | 274361.3897 | 32.55 | 27.7
40419 | 2021-03-03 12:12 | 72.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.3899 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.38 | 180369.888 | 274361.7045 | 32.55 | 27.7
40429 | 2021-03-03 12:12 | 73.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.2605 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.395 | 180500.0936 | 274368.8578 | 32.55 | 27.7
40438 | 2021-03-03 12:13 | 73.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.7994 | μmol/L | 34.3521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.416 | 180614.0286 | 274351.5931 | 32.55 | 27.7
40449 | 2021-03-03 12:13 | 73.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.1658 | μmol/L | 34.26 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.411 | 180590.3583 | 274362.1073 | 32.55 | 27.7
40458 | 2021-03-03 12:13 | 74.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 107.0624 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.418 | 180657.0731 | 274353.2633 | 32.55 | 27.7
40469 | 2021-03-03 12:14 | 74.6632 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.6325 | μmol/L | 34.3337 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.443 | 180805.0131 | 274355.8428 | 32.55 | 27.7
40478 | 2021-03-03 12:14 | 74.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.2779 | μmol/L | 34.3153 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.492 | 181203.0684 | 274348.3804 | 32.55 | 27.7
40489 | 2021-03-03 12:14 | 75.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.368 | μmol/L | 34.2722 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.499 | 181249.614 | 274354.788 | 32.55 | 27.7
40499 | 2021-03-03 12:15 | 75.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.1711 | μmol/L | 34.3214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.502 | 181276.7896 | 274351.9864 | 32.55 | 27.7
40508 | 2021-03-03 12:15 | 75.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 106.1398 | μmol/L | 34.2968 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.515 | 181363.4918 | 274354.7788 | 32.55 | 27.7
40519 | 2021-03-03 12:15 | 76.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.4437 | μmol/L | 34.389 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.56 | 181708.7138 | 274361.5217 | 32.55 | 27.7
40529 | 2021-03-03 12:16 | 76.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.343 | μmol/L | 34.3521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.587 | 181912.9547 | 274357.1734 | 32.55 | 27.7
40538 | 2021-03-03 12:16 | 76.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.3483 | μmol/L | 34.2968 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.609 | 182106.4012 | 274367.6668 | 32.55 | 27.7
40548 | 2021-03-03 12:16 | 77.3301 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 105.1608 | μmol/L | 34.2907 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.633 | 182251.1915 | 274362.3365 | 32.55 | 27.7
40558 | 2021-03-03 12:17 | 77.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.886 | μmol/L | 34.346 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.643 | 182323.1393 | 274358.9498 | 32.55 | 27.7
40568 | 2021-03-03 12:17 | 77.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.8312 | μmol/L | 34.3521 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.647 | 182351.9141 | 274345.7037 | 32.55 | 27.7
40578 | 2021-03-03 12:17 | 78.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.7516 | μmol/L | 34.346 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.659 | 182439.7253 | 274355.0589 | 32.55 | 27.7
40588 | 2021-03-03 12:18 | 78.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.4968 | μmol/L | 34.3828 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.675 | 182574.189 | 274359.2573 | 32.55 | 27.7
40598 | 2021-03-03 12:18 | 78.9967 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.2057 | μmol/L | 34.4074 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.699 | 182733.5897 | 274347.2227 | 32.55 | 27.7
40609 | 2021-03-03 12:18 | 79.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.2057 | μmol/L | 34.4074 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.699 | 182736.8309 | 274335.2437 | 32.55 | 27.7
40618 | 2021-03-03 12:19 | 79.6631 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.8579 | μmol/L | 34.4627 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.718 | 182872.8789 | 274336.7168 | 32.55 | 27.7
40629 | 2021-03-03 12:19 | 79.9968 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.1229 | μmol/L | 34.3828 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.719 | 182904.3726 | 274343.5891 | 32.55 | 27.7
40638 | 2021-03-03 12:19 | 80.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.8877 | μmol/L | 34.4443 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.722 | 182950.6596 | 274332.1989 | 32.55 | 27.7
40649 | 2021-03-03 12:20 | 80.6634 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.7454 | μmol/L | 34.4688 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.729 | 182989.8968 | 274330.304 | 32.55 | 27.7
40658 | 2021-03-03 12:20 | 80.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 104.0365 | μmol/L | 34.3398 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.747 | 183110.1218 | 274333.6409 | 32.55 | 27.7
40669 | 2021-03-03 12:20 | 81.3299 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.8397 | μmol/L | 34.3828 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.753 | 183164.5557 | 274330.7094 | 32.55 | 27.7
40678 | 2021-03-03 12:21 | 81.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.5349 | μmol/L | 34.4381 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.767 | 183214.9425 | 274328.2459 | 32.55 | 27.7
40688 | 2021-03-03 12:21 | 81.9965 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.3678 | μmol/L | 34.475 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.772 | 183272.0765 | 274323.6853 | 32.55 | 27.7
40698 | 2021-03-03 12:21 | 82.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.3866 | μmol/L | 34.4136 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.795 | 183465.6308 | 274323.0472 | 32.55 | 27.7
40709 | 2021-03-03 12:22 | 82.6633 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.5127 | μmol/L | 34.3521 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.805 | 183511.9668 | 274311.798 | 32.55 | 27.7
40718 | 2021-03-03 12:22 | 82.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 103.3917 | μmol/L | 34.3828 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.807 | 183566.1364 | 274317.9841 | 32.55 | 27.7
40728 | 2021-03-03 12:22 | 83.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.9684 | μmol/L | 34.4443 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.833 | 183736.3332 | 274329.795 | 32.55 | 27.7
40738 | 2021-03-03 12:23 | 83.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.9511 | μmol/L | 34.4074 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 26.851 | 183859.4248 | 274321.4019 | 32.55 | 27.7
40749 | 2021-03-03 12:23 | 83.9966 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.7718 | μmol/L | 34.4197 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.867 | 183954.5458 | 274294.315 | 32.55 | 27.7
40756 | 2021-03-03 12:23 | 84.33 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 102.6253 | μmol/L | 34.3828 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 26.9 | 184207.1729 | 274296.3576 | 32.55 | 27.7