## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40762 | 2021-03-03 14:24 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 143.2635 | μmol/L | 35.2256 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.399 | 121912.3725 | 301376.4723 | 30.45 | 114.2
40772 | 2021-03-03 14:24 | 0.34064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.8124 | μmol/L | 35.2935 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.409 | 121990.7436 | 301394.477 | 30.45 | 114.2
40782 | 2021-03-03 14:24 | 0.67348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7729 | μmol/L | 35.2812 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.417 | 122071.3128 | 301378.9646 | 30.45 | 114.2
40792 | 2021-03-03 14:25 | 1.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.7432 | μmol/L | 35.2565 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.429 | 122120.3314 | 301382.9549 | 30.45 | 114.2
40802 | 2021-03-03 14:25 | 1.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.6369 | μmol/L | 35.2503 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.44 | 122163.648 | 301389.6413 | 30.45 | 114.2
40812 | 2021-03-03 14:25 | 1.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.422 | μmol/L | 35.2874 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.443 | 122192.1908 | 301374.68 | 30.45 | 114.2
40822 | 2021-03-03 14:26 | 2.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.3802 | μmol/L | 35.2627 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.456 | 122267.2742 | 301383.1042 | 30.45 | 114.2
40832 | 2021-03-03 14:26 | 2.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.2398 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.477 | 122348.6884 | 301385.1806 | 30.45 | 114.2
40842 | 2021-03-03 14:26 | 2.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.1954 | μmol/L | 35.2627 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.471 | 122353.6258 | 301381.0884 | 30.45 | 114.2
40852 | 2021-03-03 14:27 | 3.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.1733 | μmol/L | 35.2441 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.48 | 122407.8108 | 301366.1094 | 30.45 | 114.2
40862 | 2021-03-03 14:27 | 3.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.8633 | μmol/L | 35.2935 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.486 | 122436.7531 | 301379.8147 | 30.45 | 114.2
40872 | 2021-03-03 14:27 | 3.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.0626 | μmol/L | 35.2441 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.489 | 122463.44 | 301379.6156 | 30.45 | 114.2
40882 | 2021-03-03 14:28 | 4.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 142.183 | μmol/L | 35.1701 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.508 | 122572.0377 | 301376.5999 | 30.45 | 114.2
40892 | 2021-03-03 14:28 | 4.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.4447 | μmol/L | 35.2503 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.537 | 122690.7583 | 301375.2302 | 30.45 | 114.2
40902 | 2021-03-03 14:28 | 4.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.5133 | μmol/L | 35.2256 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.541 | 122748.3797 | 301383.7006 | 30.45 | 114.2
40912 | 2021-03-03 14:29 | 5.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.8219 | μmol/L | 35.1454 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.547 | 122802.9905 | 301374.4164 | 30.45 | 114.2
40922 | 2021-03-03 14:29 | 5.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.4646 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.557 | 122848.8444 | 301376.5401 | 30.45 | 114.2
40932 | 2021-03-03 14:29 | 5.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.1298 | μmol/L | 35.2318 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.57 | 122905.4449 | 301378.5419 | 30.45 | 114.2
40942 | 2021-03-03 14:30 | 6.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.8665 | μmol/L | 35.2565 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.582 | 122971.2559 | 301377.9436 | 30.45 | 114.2
40952 | 2021-03-03 14:30 | 6.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 141.0497 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.591 | 123011.0628 | 301381.8918 | 30.45 | 114.2
40962 | 2021-03-03 14:30 | 6.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7962 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.595 | 123042.9908 | 301383.3159 | 30.45 | 114.2
40972 | 2021-03-03 14:31 | 7.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7285 | μmol/L | 35.2009 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.615 | 123120.8252 | 301376.9341 | 30.45 | 114.2
40982 | 2021-03-03 14:31 | 7.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.4194 | μmol/L | 35.2688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.614 | 123113.561 | 301384.8489 | 30.45 | 114.2
40992 | 2021-03-03 14:31 | 7.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5896 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.612 | 123087.963 | 301390.5346 | 30.45 | 114.2
41002 | 2021-03-03 14:32 | 8.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7941 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.612 | 123109.332 | 301370.7052 | 30.45 | 114.2
41012 | 2021-03-03 14:32 | 8.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5097 | μmol/L | 35.2318 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.621 | 123134.4675 | 301362.4061 | 30.45 | 114.2
41022 | 2021-03-03 14:32 | 8.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.4127 | μmol/L | 35.2318 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.629 | 123217.0886 | 301371.3727 | 30.45 | 114.2
41032 | 2021-03-03 14:33 | 9.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.4275 | μmol/L | 35.2133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.635 | 123254.8599 | 301361.1552 | 30.45 | 114.2
41042 | 2021-03-03 14:33 | 9.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1854 | μmol/L | 35.2133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.655 | 123354.2202 | 301366.9886 | 30.45 | 114.2
41052 | 2021-03-03 14:33 | 9.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3139 | μmol/L | 35.1886 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.654 | 123345.1052 | 301375.4182 | 30.45 | 114.2
41062 | 2021-03-03 14:34 | 10.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5905 | μmol/L | 35.1454 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123331.0688 | 301369.4936 | 30.45 | 114.2
41072 | 2021-03-03 14:34 | 10.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.3987 | μmol/L | 35.1886 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.647 | 123292.6549 | 301359.4655 | 30.45 | 114.2
41082 | 2021-03-03 14:34 | 10.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.418 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.643 | 123264.521 | 301374.3749 | 30.45 | 114.2
41092 | 2021-03-03 14:35 | 11.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.7288 | μmol/L | 35.1392 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.639 | 123255.9251 | 301366.9035 | 30.45 | 114.2
41102 | 2021-03-03 14:35 | 11.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6366 | μmol/L | 35.133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.649 | 123305.2156 | 301359.4252 | 30.45 | 114.2
41112 | 2021-03-03 14:35 | 11.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.5542 | μmol/L | 35.1145 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.663 | 123382.1955 | 301368.9615 | 30.45 | 114.2
41122 | 2021-03-03 14:36 | 12.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.6415 | μmol/L | 35.0651 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.675 | 123446.1088 | 301359.8283 | 30.45 | 114.2
41132 | 2021-03-03 14:36 | 12.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.2056 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.687 | 123483.3785 | 301365.0182 | 30.45 | 114.2
41142 | 2021-03-03 14:36 | 12.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 140.1331 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.693 | 123531.6519 | 301375.6562 | 30.45 | 114.2
41152 | 2021-03-03 14:37 | 13.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.8797 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.714 | 123648.8714 | 301375.3017 | 30.45 | 114.2
41162 | 2021-03-03 14:37 | 13.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.5018 | μmol/L | 35.133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.743 | 123825.8388 | 301377.1146 | 30.45 | 114.2
41172 | 2021-03-03 14:37 | 13.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2907 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.763 | 123939.1726 | 301366.6621 | 30.45 | 114.2
41182 | 2021-03-03 14:38 | 14.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2528 | μmol/L | 35.0836 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.783 | 124025.5362 | 301362.479 | 30.45 | 114.2
41192 | 2021-03-03 14:38 | 14.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2843 | μmol/L | 35.0281 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.802 | 124162.016 | 301368.7368 | 30.45 | 114.2
41202 | 2021-03-03 14:38 | 14.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.1311 | μmol/L | 35.0096 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.822 | 124296.1691 | 301363.06 | 30.45 | 114.2
41212 | 2021-03-03 14:39 | 15.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.6958 | μmol/L | 35.0775 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.832 | 124354.0192 | 301370.0484 | 30.45 | 114.2
41222 | 2021-03-03 14:39 | 15.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9755 | μmol/L | 35.0404 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.823 | 124280.1446 | 301376.4211 | 30.45 | 114.2
41232 | 2021-03-03 14:39 | 15.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2795 | μmol/L | 35.0034 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.812 | 124208.9261 | 301375.454 | 30.45 | 114.2
41242 | 2021-03-03 14:40 | 16.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.3897 | μmol/L | 34.954 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.822 | 124204.0781 | 301373.602 | 30.45 | 114.2
41252 | 2021-03-03 14:40 | 16.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.2651 | μmol/L | 35.0219 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.806 | 124108.171 | 301361.7101 | 30.45 | 114.2
41262 | 2021-03-03 14:40 | 16.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.4833 | μmol/L | 34.9725 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.807 | 124121.5474 | 301368.3422 | 30.45 | 114.2
41272 | 2021-03-03 14:41 | 17.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.021 | μmol/L | 35.0281 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.824 | 124170.3775 | 301371.73 | 30.45 | 114.2
41282 | 2021-03-03 14:41 | 17.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9564 | μmol/L | 35.0343 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.827 | 124234.3435 | 301362.5955 | 30.45 | 114.2
41292 | 2021-03-03 14:41 | 17.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.9863 | μmol/L | 35.0157 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.831 | 124256.4739 | 301370.629 | 30.45 | 114.2
41302 | 2021-03-03 14:42 | 18.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0928 | μmol/L | 34.9972 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.83 | 124266.6138 | 301369.5341 | 30.45 | 114.2
41312 | 2021-03-03 14:42 | 18.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0163 | μmol/L | 35.0034 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.834 | 124238.1136 | 301375.703 | 30.45 | 114.2
41322 | 2021-03-03 14:42 | 18.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.8299 | μmol/L | 35.0281 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.84 | 124268.6775 | 301368.0488 | 30.45 | 114.2
41332 | 2021-03-03 14:43 | 19.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 139.0737 | μmol/L | 34.9602 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.846 | 124308.9819 | 301379.0253 | 30.45 | 114.2
41342 | 2021-03-03 14:43 | 19.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7072 | μmol/L | 34.991 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.864 | 124416.6851 | 301370.7149 | 30.45 | 114.2
41352 | 2021-03-03 14:43 | 19.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.7085 | μmol/L | 34.9849 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.867 | 124467.6229 | 301364.4306 | 30.45 | 114.2
41362 | 2021-03-03 14:44 | 20.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.3966 | μmol/L | 35.0034 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.886 | 124544.2405 | 301376.6975 | 30.45 | 114.2
41372 | 2021-03-03 14:44 | 20.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1706 | μmol/L | 35.0343 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.893 | 124609.699 | 301367.3723 | 30.45 | 114.2
41382 | 2021-03-03 14:44 | 20.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1684 | μmol/L | 35.0219 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.898 | 124647.5015 | 301380.022 | 30.45 | 114.2
41392 | 2021-03-03 14:45 | 21.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7985 | μmol/L | 35.0404 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.922 | 124766.3337 | 301374.7981 | 30.45 | 114.2
41402 | 2021-03-03 14:45 | 21.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.1545 | μmol/L | 34.9787 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.916 | 124773.6839 | 301384.3711 | 30.45 | 114.2
41412 | 2021-03-03 14:45 | 21.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 138.2425 | μmol/L | 34.9417 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.923 | 124823.7649 | 301378.3502 | 30.45 | 114.2
41422 | 2021-03-03 14:46 | 22.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.7254 | μmol/L | 35.0281 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.933 | 124874.7065 | 301363.4641 | 30.45 | 114.2
41432 | 2021-03-03 14:46 | 22.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5005 | μmol/L | 35.0589 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.94 | 124943.7217 | 301375.9058 | 30.45 | 114.2
41442 | 2021-03-03 14:46 | 22.6741 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5399 | μmol/L | 35.0281 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 22.948 | 125004.8086 | 301382.857 | 30.45 | 114.2
41452 | 2021-03-03 14:47 | 23.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.5273 | μmol/L | 35.0096 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.957 | 125080.2168 | 301365.7356 | 30.45 | 114.2
41462 | 2021-03-03 14:47 | 23.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.2959 | μmol/L | 35.0343 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.967 | 125123.1227 | 301375.0008 | 30.45 | 114.2
41472 | 2021-03-03 14:47 | 23.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1264 | μmol/L | 35.0404 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.979 | 125197.0695 | 301375.1848 | 30.45 | 114.2
41482 | 2021-03-03 14:48 | 24.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.1077 | μmol/L | 35.0343 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.983 | 125268.313 | 301387.4853 | 30.45 | 114.2
41492 | 2021-03-03 14:48 | 24.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 137.0116 | μmol/L | 35.0219 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 22.996 | 125364.2457 | 301375.5747 | 30.45 | 114.2
41502 | 2021-03-03 14:48 | 24.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.6163 | μmol/L | 35.0775 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.008 | 125443.4419 | 301370.4736 | 30.45 | 114.2
41512 | 2021-03-03 14:49 | 25.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.2714 | μmol/L | 35.1145 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.023 | 125523.102 | 301379.2145 | 30.45 | 114.2
41522 | 2021-03-03 14:49 | 25.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.0799 | μmol/L | 35.1207 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.037 | 125611.2005 | 301380.3897 | 30.45 | 114.2
41532 | 2021-03-03 14:49 | 25.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.9702 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.044 | 125673.9407 | 301371.1791 | 30.45 | 114.2
41542 | 2021-03-03 14:50 | 26.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 136.046 | μmol/L | 35.0898 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.052 | 125730.9898 | 301369.9211 | 30.45 | 114.2
41552 | 2021-03-03 14:50 | 26.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.7143 | μmol/L | 35.1269 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.066 | 125823.8674 | 301378.7973 | 30.45 | 114.2
41562 | 2021-03-03 14:50 | 26.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.7773 | μmol/L | 35.1207 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.063 | 125845.8883 | 301378.8623 | 30.45 | 114.2
41572 | 2021-03-03 14:51 | 27.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.6776 | μmol/L | 35.1145 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.074 | 125919.4955 | 301369.8468 | 30.45 | 114.2
41582 | 2021-03-03 14:51 | 27.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.1931 | μmol/L | 35.1701 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.094 | 125994.0162 | 301372.6481 | 30.45 | 114.2
41592 | 2021-03-03 14:51 | 27.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 135.3053 | μmol/L | 35.1454 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.094 | 126031.8689 | 301389.9411 | 30.45 | 114.2
41602 | 2021-03-03 14:52 | 28.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.972 | μmol/L | 35.2009 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.101 | 126108.5108 | 301378.9971 | 30.45 | 114.2
41612 | 2021-03-03 14:52 | 28.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.8467 | μmol/L | 35.2133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.107 | 126134.8719 | 301378.734 | 30.45 | 114.2
41622 | 2021-03-03 14:52 | 28.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.9966 | μmol/L | 35.1701 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.111 | 126173.5513 | 301371.6556 | 30.45 | 114.2
41632 | 2021-03-03 14:53 | 29.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.8433 | μmol/L | 35.1886 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.117 | 126199.9862 | 301367.2152 | 30.45 | 114.2
41642 | 2021-03-03 14:53 | 29.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.8153 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.117 | 126244.3193 | 301369.6448 | 30.45 | 114.2
41652 | 2021-03-03 14:53 | 29.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3434 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.141 | 126347.3011 | 301377.9987 | 30.45 | 114.2
41662 | 2021-03-03 14:54 | 30.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.322 | μmol/L | 35.2503 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.138 | 126380.9339 | 301370.4473 | 30.45 | 114.2
41672 | 2021-03-03 14:54 | 30.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.2352 | μmol/L | 35.2441 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.148 | 126434.6194 | 301371.3668 | 30.45 | 114.2
41682 | 2021-03-03 14:54 | 30.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.3369 | μmol/L | 35.2071 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.153 | 126483.2892 | 301380.849 | 30.45 | 114.2
41692 | 2021-03-03 14:55 | 31.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.4026 | μmol/L | 35.2071 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.148 | 126452.4881 | 301368.241 | 30.45 | 114.2
41702 | 2021-03-03 14:55 | 31.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.2286 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.151 | 126459.4444 | 301379.1126 | 30.45 | 114.2
41712 | 2021-03-03 14:55 | 31.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.1566 | μmol/L | 35.2133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.167 | 126539.5917 | 301372.1882 | 30.45 | 114.2
41722 | 2021-03-03 14:56 | 32.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.973 | μmol/L | 35.2565 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.166 | 126541.2034 | 301372.1083 | 30.45 | 114.2
41732 | 2021-03-03 14:56 | 32.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.0009 | μmol/L | 35.2503 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.166 | 126587.9899 | 301371.4667 | 30.45 | 114.2
41742 | 2021-03-03 14:56 | 32.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 134.0223 | μmol/L | 35.2133 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.178 | 126657.1461 | 301366.3192 | 30.45 | 114.2
41752 | 2021-03-03 14:57 | 33.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.6678 | μmol/L | 35.238 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.2 | 126745.407 | 301379.1388 | 30.45 | 114.2
41762 | 2021-03-03 14:57 | 33.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.447 | μmol/L | 35.2997 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.195 | 126730.981 | 301383.513 | 30.45 | 114.2
41772 | 2021-03-03 14:57 | 33.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.7358 | μmol/L | 35.2812 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.177 | 126694.6982 | 301382.8573 | 30.45 | 114.2
41782 | 2021-03-03 14:58 | 34.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.6117 | μmol/L | 35.2935 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.183 | 126710.5082 | 301381.0643 | 30.45 | 114.2
41792 | 2021-03-03 14:58 | 34.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.432 | μmol/L | 35.3182 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.189 | 126776.3747 | 301378.5046 | 30.45 | 114.2
41802 | 2021-03-03 14:58 | 34.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.0768 | μmol/L | 35.3491 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.208 | 126848.858 | 301373.9265 | 30.45 | 114.2
41812 | 2021-03-03 14:59 | 35.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.9709 | μmol/L | 35.3676 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.21 | 126890.7025 | 301380.4325 | 30.45 | 114.2
41822 | 2021-03-03 14:59 | 35.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8965 | μmol/L | 35.3614 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.219 | 126952.7111 | 301368.0114 | 30.45 | 114.2
41832 | 2021-03-03 14:59 | 35.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 133.4203 | μmol/L | 35.2195 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.229 | 127017.4313 | 301371.6449 | 30.45 | 114.2
41842 | 2021-03-03 15:00 | 36.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.8735 | μmol/L | 35.3059 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.243 | 127105.8946 | 301380.3638 | 30.45 | 114.2
41852 | 2021-03-03 15:00 | 36.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6369 | μmol/L | 35.3182 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.259 | 127164.9753 | 301377.2409 | 30.45 | 114.2
41862 | 2021-03-03 15:00 | 36.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.7764 | μmol/L | 35.2997 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.254 | 127161.2912 | 301381.7965 | 30.45 | 114.2
41872 | 2021-03-03 15:01 | 37.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.4483 | μmol/L | 35.2997 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.283 | 127283.9726 | 301369.7408 | 30.45 | 114.2
41882 | 2021-03-03 15:01 | 37.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.6138 | μmol/L | 35.2627 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.283 | 127308.179 | 301370.897 | 30.45 | 114.2
41892 | 2021-03-03 15:01 | 37.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.4972 | μmol/L | 35.2812 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.286 | 127339.3105 | 301370.6509 | 30.45 | 114.2
41902 | 2021-03-03 15:02 | 38.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.1162 | μmol/L | 35.3614 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.288 | 127352.7465 | 301374.6555 | 30.45 | 114.2
41912 | 2021-03-03 15:02 | 38.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.1438 | μmol/L | 35.3553 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.288 | 127356.9526 | 301375.0443 | 30.45 | 114.2
41922 | 2021-03-03 15:02 | 38.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.1187 | μmol/L | 35.3306 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.3 | 127419.225 | 301367.3891 | 30.45 | 114.2
41932 | 2021-03-03 15:03 | 39.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.2026 | μmol/L | 35.3244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.295 | 127441.4004 | 301379.3988 | 30.45 | 114.2
41942 | 2021-03-03 15:03 | 39.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 132.349 | μmol/L | 35.2688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.304 | 127473.849 | 301385.3414 | 30.45 | 114.2
41952 | 2021-03-03 15:03 | 39.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.8799 | μmol/L | 35.3059 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.331 | 127578.4276 | 301376.5149 | 30.45 | 114.2
41962 | 2021-03-03 15:04 | 40.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7488 | μmol/L | 35.3429 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.328 | 127567.0126 | 301395.2117 | 30.45 | 114.2
41972 | 2021-03-03 15:04 | 40.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.8425 | μmol/L | 35.3244 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.327 | 127598.5689 | 301387.1255 | 30.45 | 114.2
41982 | 2021-03-03 15:04 | 40.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7213 | μmol/L | 35.3491 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.328 | 127641.5338 | 301383.1507 | 30.45 | 114.2
41992 | 2021-03-03 15:05 | 41.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7177 | μmol/L | 35.3121 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.343 | 127704.6297 | 301377.255 | 30.45 | 114.2
42002 | 2021-03-03 15:05 | 41.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.9323 | μmol/L | 35.2688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.341 | 127700.1936 | 301382.5479 | 30.45 | 114.2
42012 | 2021-03-03 15:05 | 41.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.8112 | μmol/L | 35.2935 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.342 | 127688.3329 | 301389.8506 | 30.45 | 114.2
42022 | 2021-03-03 15:06 | 42.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.8549 | μmol/L | 35.2812 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.343 | 127674.5573 | 301374.7659 | 30.45 | 114.2
42032 | 2021-03-03 15:06 | 42.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7439 | μmol/L | 35.2935 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.348 | 127736.0133 | 301380.688 | 30.45 | 114.2
42042 | 2021-03-03 15:06 | 42.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.7943 | μmol/L | 35.2627 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.355 | 127776.0604 | 301369.9811 | 30.45 | 114.2
42052 | 2021-03-03 15:07 | 43.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.5146 | μmol/L | 35.2997 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.366 | 127863.2415 | 301392.8608 | 30.45 | 114.2
42062 | 2021-03-03 15:07 | 43.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.5059 | μmol/L | 35.2688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.379 | 127927.6333 | 301370.4048 | 30.45 | 114.2
42072 | 2021-03-03 15:07 | 43.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3045 | μmol/L | 35.2688 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.397 | 127980.783 | 301374.366 | 30.45 | 114.2
42082 | 2021-03-03 15:08 | 44.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.2387 | μmol/L | 35.2812 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.398 | 128026.3938 | 301368.8188 | 30.45 | 114.2
42092 | 2021-03-03 15:08 | 44.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.3602 | μmol/L | 35.2133 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.414 | 128091.9539 | 301370.8292 | 30.45 | 114.2
42102 | 2021-03-03 15:08 | 44.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0663 | μmol/L | 35.2318 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.433 | 128166.8252 | 301357.1721 | 30.45 | 114.2
42112 | 2021-03-03 15:09 | 45.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.2311 | μmol/L | 35.2071 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.428 | 128177.6389 | 301363.3218 | 30.45 | 114.2
42122 | 2021-03-03 15:09 | 45.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.1503 | μmol/L | 35.1824 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.445 | 128217.5671 | 301365.6167 | 30.45 | 114.2
42132 | 2021-03-03 15:09 | 45.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.2079 | μmol/L | 35.1701 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.444 | 128225.5462 | 301370.343 | 30.45 | 114.2
42142 | 2021-03-03 15:10 | 46.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.9214 | μmol/L | 35.2318 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.446 | 128258.6985 | 301359.8976 | 30.45 | 114.2
42152 | 2021-03-03 15:10 | 46.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7236 | μmol/L | 35.2565 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.454 | 128285.2585 | 301346.3512 | 30.45 | 114.2
42162 | 2021-03-03 15:10 | 46.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.9375 | μmol/L | 35.2256 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.447 | 128255.4246 | 301354.3839 | 30.45 | 114.2
42172 | 2021-03-03 15:11 | 47.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0598 | μmol/L | 35.1701 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.458 | 128333.4758 | 301362.7581 | 30.45 | 114.2
42182 | 2021-03-03 15:11 | 47.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.5897 | μmol/L | 35.2195 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.48 | 128393.3777 | 301363.8209 | 30.45 | 114.2
42192 | 2021-03-03 15:11 | 47.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8647 | μmol/L | 35.1392 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.487 | 128464.2019 | 301361.9211 | 30.45 | 114.2
42202 | 2021-03-03 15:12 | 48.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4732 | μmol/L | 35.1948 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.501 | 128542.539 | 301363.094 | 30.45 | 114.2
42212 | 2021-03-03 15:12 | 48.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 131.0578 | μmol/L | 35.1022 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.485 | 128453.9127 | 301382.518 | 30.45 | 114.2
42222 | 2021-03-03 15:12 | 48.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7086 | μmol/L | 35.1639 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.492 | 128436.5347 | 301361.3975 | 30.45 | 114.2
42232 | 2021-03-03 15:13 | 49.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.8286 | μmol/L | 35.1145 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.5 | 128469.61 | 301368.4558 | 30.45 | 114.2
42242 | 2021-03-03 15:13 | 49.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.7571 | μmol/L | 35.1207 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.504 | 128505.4728 | 301357.2522 | 30.45 | 114.2
42252 | 2021-03-03 15:13 | 49.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.6922 | μmol/L | 35.1145 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.513 | 128577.5609 | 301364.5383 | 30.45 | 114.2
42262 | 2021-03-03 15:14 | 50.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.4708 | μmol/L | 35.0898 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.542 | 128740.0449 | 301372.8512 | 30.45 | 114.2
42272 | 2021-03-03 15:14 | 50.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.3839 | μmol/L | 35.0836 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.553 | 128826.4817 | 301351.6677 | 30.45 | 114.2
42282 | 2021-03-03 15:14 | 50.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.3888 | μmol/L | 35.0775 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.555 | 128846.7489 | 301352.2144 | 30.45 | 114.2
42292 | 2021-03-03 15:15 | 51.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.1296 | μmol/L | 35.0836 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.576 | 128950.6271 | 301357.2757 | 30.45 | 114.2
42302 | 2021-03-03 15:15 | 51.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.13 | μmol/L | 35.0589 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.585 | 128992.9751 | 301364.1433 | 30.45 | 114.2
42312 | 2021-03-03 15:15 | 51.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.1172 | μmol/L | 35.0713 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.582 | 128971.7729 | 301346.5381 | 30.45 | 114.2
42322 | 2021-03-03 15:16 | 52.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.9874 | μmol/L | 35.096 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.584 | 128978.5682 | 301350.0398 | 30.45 | 114.2
42332 | 2021-03-03 15:16 | 52.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.3849 | μmol/L | 35.0157 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.579 | 128939.7248 | 301354.4943 | 30.45 | 114.2
42342 | 2021-03-03 15:16 | 52.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.0558 | μmol/L | 35.0651 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.59 | 128976.7257 | 301361.3417 | 30.45 | 114.2
42352 | 2021-03-03 15:17 | 53.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 130.0331 | μmol/L | 35.0096 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.614 | 129101.5996 | 301360.7915 | 30.45 | 114.2
42362 | 2021-03-03 15:17 | 53.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.8523 | μmol/L | 34.991 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.637 | 129241.1017 | 301364.5363 | 30.45 | 114.2
42372 | 2021-03-03 15:17 | 53.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.4778 | μmol/L | 35.0343 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.654 | 129329.0311 | 301356.2585 | 30.45 | 114.2
42382 | 2021-03-03 15:18 | 54.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.6388 | μmol/L | 34.9787 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.662 | 129367.0228 | 301354.4648 | 30.45 | 114.2
42392 | 2021-03-03 15:18 | 54.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.8184 | μmol/L | 34.917 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.67 | 129419.987 | 301348.0022 | 30.45 | 114.2
42402 | 2021-03-03 15:18 | 54.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3799 | μmol/L | 34.991 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.68 | 129459.0848 | 301349.2801 | 30.45 | 114.2
42412 | 2021-03-03 15:19 | 55.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.5591 | μmol/L | 34.954 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.679 | 129470.4987 | 301357.2626 | 30.45 | 114.2
42422 | 2021-03-03 15:19 | 55.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.5309 | μmol/L | 34.9478 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.684 | 129473.1701 | 301367.8958 | 30.45 | 114.2
42432 | 2021-03-03 15:19 | 55.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.478 | μmol/L | 34.917 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.701 | 129600.3252 | 301353.5069 | 30.45 | 114.2
42442 | 2021-03-03 15:20 | 56.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.3026 | μmol/L | 34.917 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.717 | 129655.1763 | 301353.4886 | 30.45 | 114.2
42452 | 2021-03-03 15:20 | 56.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.389 | μmol/L | 34.8799 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.723 | 129685.4693 | 301348.3284 | 30.45 | 114.2
42462 | 2021-03-03 15:20 | 56.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 129.4157 | μmol/L | 34.8552 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.731 | 129714.9229 | 301365.6985 | 30.45 | 114.2
42472 | 2021-03-03 15:21 | 57.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.9976 | μmol/L | 34.9478 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.732 | 129717.1589 | 301346.1878 | 30.45 | 114.2
42482 | 2021-03-03 15:21 | 57.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.6967 | μmol/L | 34.9664 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.753 | 129808.552 | 301343.2558 | 30.45 | 114.2
42492 | 2021-03-03 15:21 | 57.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.6144 | μmol/L | 34.9602 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.763 | 129875.4447 | 301368.966 | 30.45 | 114.2
42502 | 2021-03-03 15:22 | 58.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.5974 | μmol/L | 34.954 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.767 | 129914.5284 | 301361.4655 | 30.45 | 114.2
42512 | 2021-03-03 15:22 | 58.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.6304 | μmol/L | 34.9293 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.773 | 129986.307 | 301362.6149 | 30.45 | 114.2
42522 | 2021-03-03 15:22 | 58.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.5176 | μmol/L | 34.8923 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.798 | 130149.3167 | 301363.1762 | 30.45 | 114.2
42532 | 2021-03-03 15:23 | 59.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.1804 | μmol/L | 34.9355 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.812 | 130232.3662 | 301364.067 | 30.45 | 114.2
42542 | 2021-03-03 15:23 | 59.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.4345 | μmol/L | 34.8305 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.83 | 130304.9472 | 301350.451 | 30.45 | 114.2
42552 | 2021-03-03 15:23 | 59.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 128.0712 | μmol/L | 34.9046 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.835 | 130359.1226 | 301355.8558 | 30.45 | 114.2
42562 | 2021-03-03 15:24 | 60.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.9319 | μmol/L | 34.917 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.843 | 130404.977 | 301356.5703 | 30.45 | 114.2
42572 | 2021-03-03 15:24 | 60.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5813 | μmol/L | 34.9417 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.865 | 130502.4103 | 301346.2422 | 30.45 | 114.2
42582 | 2021-03-03 15:24 | 60.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.5819 | μmol/L | 34.9787 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.851 | 130474.1988 | 301341.1181 | 30.45 | 114.2
42592 | 2021-03-03 15:25 | 61.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.6417 | μmol/L | 34.9293 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.865 | 130572.1915 | 301351.8699 | 30.45 | 114.2
42602 | 2021-03-03 15:25 | 61.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2692 | μmol/L | 34.9417 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.894 | 130726.0842 | 301349.0083 | 30.45 | 114.2
42612 | 2021-03-03 15:25 | 61.674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.2572 | μmol/L | 34.9293 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.9 | 130788.0598 | 301338.3118 | 30.45 | 114.2
42622 | 2021-03-03 15:26 | 62.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 127.1611 | μmol/L | 34.9108 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.917 | 130914.6795 | 301352.6771 | 30.45 | 114.2
42632 | 2021-03-03 15:26 | 62.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.8248 | μmol/L | 34.9478 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.933 | 131020.0728 | 301349.9687 | 30.45 | 114.2
42642 | 2021-03-03 15:26 | 62.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.5989 | μmol/L | 34.991 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.937 | 131038.7719 | 301341.6544 | 30.45 | 114.2
42652 | 2021-03-03 15:27 | 63.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.2828 | μmol/L | 35.0096 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.96 | 131160.173 | 301353.2838 | 30.45 | 114.2
42662 | 2021-03-03 15:27 | 63.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.244 | μmol/L | 34.991 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.971 | 131241.2546 | 301354.1328 | 30.45 | 114.2
42672 | 2021-03-03 15:27 | 63.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4413 | μmol/L | 34.9602 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.964 | 131239.2755 | 301349.0456 | 30.45 | 114.2
42682 | 2021-03-03 15:28 | 64.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.4621 | μmol/L | 34.9293 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.975 | 131266.1521 | 301343.9374 | 30.45 | 114.2
42692 | 2021-03-03 15:28 | 64.3407 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3571 | μmol/L | 34.9725 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.967 | 131231.1199 | 301340.4683 | 30.45 | 114.2
42702 | 2021-03-03 15:28 | 64.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.1077 | μmol/L | 35.0157 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.974 | 131281.5891 | 301338.2335 | 30.45 | 114.2
42712 | 2021-03-03 15:29 | 65.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 126.3791 | μmol/L | 34.954 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 23.973 | 131329.2829 | 301332.9765 | 30.45 | 114.2
42722 | 2021-03-03 15:29 | 65.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7989 | μmol/L | 35.0343 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.995 | 131410.4994 | 301338.4515 | 30.45 | 114.2
42732 | 2021-03-03 15:29 | 65.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.664 | μmol/L | 35.0713 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.993 | 131396.4154 | 301332.253 | 30.45 | 114.2
42742 | 2021-03-03 15:30 | 66.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7931 | μmol/L | 35.0281 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.998 | 131478.7039 | 301339.4302 | 30.45 | 114.2
42752 | 2021-03-03 15:30 | 66.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.6418 | μmol/L | 35.0281 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.013 | 131597.8434 | 301345.2601 | 30.45 | 114.2
42762 | 2021-03-03 15:30 | 66.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.4956 | μmol/L | 35.0528 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.017 | 131593.163 | 301350.76 | 30.45 | 114.2
42772 | 2021-03-03 15:31 | 67.0073 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.5254 | μmol/L | 35.0589 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.011 | 131566.6874 | 301348.1269 | 30.45 | 114.2
42782 | 2021-03-03 15:31 | 67.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.6582 | μmol/L | 35.0651 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 23.996 | 131492.8764 | 301333.1221 | 30.45 | 114.2
42792 | 2021-03-03 15:31 | 67.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.7035 | μmol/L | 35.0343 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.004 | 131556.7886 | 301334.7991 | 30.45 | 114.2
42802 | 2021-03-03 15:32 | 68.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.4629 | μmol/L | 35.0713 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.012 | 131607.5268 | 301353.6214 | 30.45 | 114.2
42812 | 2021-03-03 15:32 | 68.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.0401 | μmol/L | 35.1392 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.025 | 131676.8744 | 301345.1682 | 30.45 | 114.2
42822 | 2021-03-03 15:32 | 68.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.1561 | μmol/L | 35.1392 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.014 | 131620.9321 | 301350.4947 | 30.45 | 114.2
42832 | 2021-03-03 15:33 | 69.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.2899 | μmol/L | 35.0898 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.021 | 131700.5834 | 301351.5186 | 30.45 | 114.2
42842 | 2021-03-03 15:33 | 69.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.1251 | μmol/L | 35.0713 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.044 | 131798.1118 | 301337.725 | 30.45 | 114.2
42852 | 2021-03-03 15:33 | 69.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.9186 | μmol/L | 35.133 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.039 | 131763.6517 | 301339.4537 | 30.45 | 114.2
42862 | 2021-03-03 15:34 | 70.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.9146 | μmol/L | 35.1515 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.032 | 131748.6077 | 301336.3937 | 30.45 | 114.2
42872 | 2021-03-03 15:34 | 70.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.9012 | μmol/L | 35.1515 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.034 | 131810.9216 | 301339.3383 | 30.45 | 114.2
42882 | 2021-03-03 15:34 | 70.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.0202 | μmol/L | 35.1207 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.035 | 131799.2446 | 301330.1665 | 30.45 | 114.2
42892 | 2021-03-03 15:35 | 71.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 125.0936 | μmol/L | 35.1515 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.015 | 131689.4086 | 301345.7977 | 30.45 | 114.2
42902 | 2021-03-03 15:35 | 71.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.921 | μmol/L | 35.1701 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.024 | 131770.5729 | 301332.9154 | 30.45 | 114.2
42912 | 2021-03-03 15:35 | 71.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.3094 | μmol/L | 35.2133 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.065 | 131969.1582 | 301346.2327 | 30.45 | 114.2
42922 | 2021-03-03 15:36 | 72.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.4078 | μmol/L | 35.1948 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.063 | 131998.2551 | 301338.1021 | 30.45 | 114.2
42932 | 2021-03-03 15:36 | 72.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.5056 | μmol/L | 35.1639 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.066 | 132013.9314 | 301335.5518 | 30.45 | 114.2
42942 | 2021-03-03 15:36 | 72.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.5 | μmol/L | 35.2071 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.05 | 131930.3435 | 301352.7317 | 30.45 | 114.2
42952 | 2021-03-03 15:37 | 73.0074 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.6874 | μmol/L | 35.133 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.061 | 131992.1773 | 301350.9294 | 30.45 | 114.2
42962 | 2021-03-03 15:37 | 73.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.4917 | μmol/L | 35.1948 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.055 | 132004.4559 | 301334.6749 | 30.45 | 114.2
42972 | 2021-03-03 15:37 | 73.6736 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.1992 | μmol/L | 35.2071 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.078 | 132134.1328 | 301343.3384 | 30.45 | 114.2
42982 | 2021-03-03 15:38 | 74.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.0793 | μmol/L | 35.1701 | °C | 992 | hPa | Humid | 28 | 0 | 0 | 24.105 | 132247.1249 | 301334.0853 | 30.45 | 114.2
42992 | 2021-03-03 15:38 | 74.3406 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.2681 | μmol/L | 35.133 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.101 | 132226.075 | 301345.4184 | 30.45 | 114.2
43002 | 2021-03-03 15:38 | 74.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 123.8797 | μmol/L | 35.1886 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.116 | 132308.3394 | 301337.3109 | 30.45 | 114.2
43012 | 2021-03-03 15:39 | 75.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 124.046 | μmol/L | 35.1762 | °C | 991 | hPa | Humid | 28 | 0 | 0 | 24.105 | 132323.1993 | 301342.4771 | 30.45 | 114.2