## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40763 | 2021-03-03 14:24 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3265 | μmol/L | 35.124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.721 | 175702.5176 | 297249.4141 | 59.9307 | 49.4
40773 | 2021-03-03 14:24 | 0.32799 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.258 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.717 | 175620.3486 | 297234.9644 | 59.9307 | 49.4
40783 | 2021-03-03 14:24 | 0.66168 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.3114 | μmol/L | 35.1426 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.715 | 175604.9715 | 297253.9778 | 59.9307 | 49.4
40793 | 2021-03-03 14:25 | 0.99518 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.4544 | μmol/L | 35.1302 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.708 | 175580.0509 | 297255.2969 | 59.9307 | 49.4
40803 | 2021-03-03 14:25 | 1.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.8257 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.687 | 175366.2727 | 297221.1365 | 59.9307 | 49.4
40813 | 2021-03-03 14:25 | 1.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.9542 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.674 | 175246.6431 | 297211.6984 | 59.9307 | 49.4
40823 | 2021-03-03 14:26 | 1.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.9906 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.671 | 175228.7838 | 297207.2267 | 59.9307 | 49.4
40833 | 2021-03-03 14:26 | 2.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 141.0299 | μmol/L | 35.093 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.675 | 175254.77 | 297205.6516 | 59.9307 | 49.4
40843 | 2021-03-03 14:26 | 2.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.7287 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.695 | 175409.6883 | 297220.4118 | 59.9307 | 49.4
40853 | 2021-03-03 14:27 | 2.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.4624 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.717 | 175583.618 | 297206.4481 | 59.9307 | 49.4
40863 | 2021-03-03 14:27 | 3.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.4987 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.714 | 175549.0912 | 297200.1444 | 59.9307 | 49.4
40873 | 2021-03-03 14:27 | 3.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.6276 | μmol/L | 35.0806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.713 | 175539.5945 | 297184.1482 | 59.9307 | 49.4
40883 | 2021-03-03 14:28 | 3.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.1645 | μmol/L | 35.1302 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.732 | 175701.0642 | 297200.4447 | 59.9307 | 49.4
40893 | 2021-03-03 14:28 | 4.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.8183 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.768 | 175992.4454 | 297163.5271 | 59.9307 | 49.4
40903 | 2021-03-03 14:28 | 4.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.0148 | μmol/L | 35.062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.771 | 176050.5265 | 297175.3472 | 59.9307 | 49.4
40913 | 2021-03-03 14:29 | 4.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.7612 | μmol/L | 35.093 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.78 | 176108.0098 | 297183.4721 | 59.9307 | 49.4
40923 | 2021-03-03 14:29 | 5.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.5281 | μmol/L | 35.0992 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.797 | 176242.0792 | 297214.9432 | 59.9307 | 49.4
40933 | 2021-03-03 14:29 | 5.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.3734 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.822 | 176422.9876 | 297225.7107 | 59.9307 | 49.4
40943 | 2021-03-03 14:30 | 5.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.2985 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.821 | 176462.1544 | 297202.7418 | 59.9307 | 49.4
40953 | 2021-03-03 14:30 | 6.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.4053 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.829 | 176531.8062 | 297196.3151 | 59.9307 | 49.4
40963 | 2021-03-03 14:30 | 6.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.61 | μmol/L | 35.0124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.824 | 176467.0121 | 297180.0118 | 59.9307 | 49.4
40973 | 2021-03-03 14:31 | 6.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.696 | μmol/L | 35.0248 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.812 | 176358.0605 | 297175.1322 | 59.9307 | 49.4
40983 | 2021-03-03 14:31 | 7.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.5751 | μmol/L | 35.0558 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.81 | 176335.6142 | 297156.0387 | 59.9307 | 49.4
40993 | 2021-03-03 14:31 | 7.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.6989 | μmol/L | 35.0062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.819 | 176429.6588 | 297172.4717 | 59.9307 | 49.4
41003 | 2021-03-03 14:32 | 7.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.3385 | μmol/L | 35.0372 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.837 | 176536.9133 | 297160.0974 | 59.9307 | 49.4
41013 | 2021-03-03 14:32 | 8.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.2787 | μmol/L | 35.0372 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.842 | 176543.4664 | 297155.5665 | 59.9307 | 49.4
41023 | 2021-03-03 14:32 | 8.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.6579 | μmol/L | 35.0124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.82 | 176383.4861 | 297149.9555 | 59.9307 | 49.4
41033 | 2021-03-03 14:33 | 8.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 140.0274 | μmol/L | 34.9256 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.823 | 176410.8234 | 297166.848 | 59.9307 | 49.4
41043 | 2021-03-03 14:33 | 9.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.7385 | μmol/L | 34.9566 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.835 | 176509.3722 | 297156.2587 | 59.9307 | 49.4
41053 | 2021-03-03 14:33 | 9.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 139.3373 | μmol/L | 34.9938 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.854 | 176679.7489 | 297162.5104 | 59.9307 | 49.4
41063 | 2021-03-03 14:34 | 9.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.9929 | μmol/L | 35.0062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.878 | 176868.6766 | 297155.5882 | 59.9307 | 49.4
41073 | 2021-03-03 14:34 | 10.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.6376 | μmol/L | 35.0186 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.903 | 177074.4026 | 297158.5374 | 59.9307 | 49.4
41083 | 2021-03-03 14:34 | 10.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.7338 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.907 | 177086.0997 | 297142.1773 | 59.9307 | 49.4
41093 | 2021-03-03 14:35 | 10.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.4574 | μmol/L | 35.0062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.923 | 177268.7926 | 297158.3893 | 59.9307 | 49.4
41103 | 2021-03-03 14:35 | 11.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.1678 | μmol/L | 35.0124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.945 | 177436.4172 | 297155.6232 | 59.9307 | 49.4
41113 | 2021-03-03 14:35 | 11.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.488 | μmol/L | 34.938 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.947 | 177427.2124 | 297160.52 | 59.9307 | 49.4
41123 | 2021-03-03 14:36 | 11.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3496 | μmol/L | 34.9628 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.949 | 177437.0556 | 297148.243 | 59.9307 | 49.4
41133 | 2021-03-03 14:36 | 12.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2113 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.951 | 177416.9691 | 297158.367 | 59.9307 | 49.4
41143 | 2021-03-03 14:36 | 12.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3644 | μmol/L | 34.9442 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.955 | 177479.7087 | 297150.2592 | 59.9307 | 49.4
41153 | 2021-03-03 14:37 | 12.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.5203 | μmol/L | 34.8822 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.966 | 177561.9299 | 297156.0208 | 59.9307 | 49.4
41163 | 2021-03-03 14:37 | 13.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.8352 | μmol/L | 34.814 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.966 | 177554.7648 | 297162.2028 | 59.9307 | 49.4
41173 | 2021-03-03 14:37 | 13.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.7185 | μmol/L | 34.8264 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.971 | 177616.3988 | 297158.3305 | 59.9307 | 49.4
41183 | 2021-03-03 14:38 | 13.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.6455 | μmol/L | 34.783 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.994 | 177795.6813 | 297160.6401 | 59.9307 | 49.4
41193 | 2021-03-03 14:38 | 14.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.2516 | μmol/L | 34.8016 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.02 | 177977.2108 | 297141.4953 | 59.9307 | 49.4
41203 | 2021-03-03 14:38 | 14.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.1452 | μmol/L | 34.8016 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.029 | 178063.7708 | 297145.8315 | 59.9307 | 49.4
41213 | 2021-03-03 14:39 | 14.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.9652 | μmol/L | 34.8202 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.037 | 178130.4318 | 297157.7257 | 59.9307 | 49.4
41223 | 2021-03-03 14:39 | 15.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6648 | μmol/L | 34.8574 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.048 | 178210.8756 | 297169.607 | 59.9307 | 49.4
41233 | 2021-03-03 14:39 | 15.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.4226 | μmol/L | 34.8512 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.071 | 178357.792 | 297156.6949 | 59.9307 | 49.4
41243 | 2021-03-03 14:40 | 15.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.8714 | μmol/L | 34.7892 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.057 | 178250.4775 | 297165.7581 | 59.9307 | 49.4
41253 | 2021-03-03 14:40 | 16.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7668 | μmol/L | 34.8326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.049 | 178193.2632 | 297153.4201 | 59.9307 | 49.4
41263 | 2021-03-03 14:40 | 16.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7071 | μmol/L | 34.8636 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.042 | 178113.1721 | 297152.9878 | 59.9307 | 49.4
41273 | 2021-03-03 14:41 | 16.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.3398 | μmol/L | 34.7644 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.027 | 177985.8385 | 297155.261 | 59.9307 | 49.4
41283 | 2021-03-03 14:41 | 17.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 138.122 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.043 | 178168.6672 | 297152.4576 | 59.9307 | 49.4
41293 | 2021-03-03 14:41 | 17.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.7252 | μmol/L | 34.7954 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.067 | 178355.7308 | 297169.4481 | 59.9307 | 49.4
41303 | 2021-03-03 14:42 | 17.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.6717 | μmol/L | 34.7582 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.086 | 178523.8813 | 297169.717 | 59.9307 | 49.4
41313 | 2021-03-03 14:42 | 18.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.3751 | μmol/L | 34.7768 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.104 | 178675.2756 | 297150.2206 | 59.9307 | 49.4
41323 | 2021-03-03 14:42 | 18.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.2625 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.116 | 178743.6361 | 297170.03 | 59.9307 | 49.4
41333 | 2021-03-03 14:43 | 18.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 137.0936 | μmol/L | 34.7768 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.128 | 178825.6245 | 297158.8914 | 59.9307 | 49.4
41343 | 2021-03-03 14:43 | 19.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.887 | μmol/L | 34.8016 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.136 | 178943.8125 | 297160.3257 | 59.9307 | 49.4
41353 | 2021-03-03 14:43 | 19.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.8245 | μmol/L | 34.7768 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.151 | 179054.962 | 297160.8758 | 59.9307 | 49.4
41363 | 2021-03-03 14:44 | 19.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.5319 | μmol/L | 34.8078 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.164 | 179198.2361 | 297172.0479 | 59.9307 | 49.4
41373 | 2021-03-03 14:44 | 20.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.4455 | μmol/L | 34.814 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.169 | 179242.7221 | 297158.0365 | 59.9307 | 49.4
41383 | 2021-03-03 14:44 | 20.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.5873 | μmol/L | 34.8264 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.152 | 179098.2229 | 297159.3829 | 59.9307 | 49.4
41393 | 2021-03-03 14:45 | 20.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.5455 | μmol/L | 34.8202 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.158 | 179152.0505 | 297151.9369 | 59.9307 | 49.4
41403 | 2021-03-03 14:45 | 21.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.2747 | μmol/L | 34.8388 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.174 | 179267.0397 | 297167.7208 | 59.9307 | 49.4
41413 | 2021-03-03 14:45 | 21.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 136.1206 | μmol/L | 34.8574 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.18 | 179361.4772 | 297147.7682 | 59.9307 | 49.4
41423 | 2021-03-03 14:46 | 21.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.6986 | μmol/L | 34.907 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.197 | 179499.2999 | 297162.8845 | 59.9307 | 49.4
41433 | 2021-03-03 14:46 | 22.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.6755 | μmol/L | 34.907 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.199 | 179516.7004 | 297175.6587 | 59.9307 | 49.4
41443 | 2021-03-03 14:46 | 22.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.8029 | μmol/L | 34.907 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.188 | 179415.4725 | 297166.4591 | 59.9307 | 49.4
41453 | 2021-03-03 14:47 | 22.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.7815 | μmol/L | 34.9194 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.185 | 179431.7812 | 297169.4886 | 59.9307 | 49.4
41463 | 2021-03-03 14:47 | 23.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 135.3124 | μmol/L | 34.9566 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.211 | 179640.4132 | 297140.2357 | 59.9307 | 49.4
41473 | 2021-03-03 14:47 | 23.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.9321 | μmol/L | 34.9566 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.244 | 179933.7344 | 297141.2658 | 59.9307 | 49.4
41483 | 2021-03-03 14:48 | 23.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.6661 | μmol/L | 34.9442 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.272 | 180174.4924 | 297159.0114 | 59.9307 | 49.4
41493 | 2021-03-03 14:48 | 24.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.4499 | μmol/L | 34.9566 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.286 | 180308.3004 | 297129.7962 | 59.9307 | 49.4
41503 | 2021-03-03 14:48 | 24.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.2176 | μmol/L | 34.9752 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.299 | 180436.3721 | 297140.5106 | 59.9307 | 49.4
41513 | 2021-03-03 14:49 | 24.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.2534 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.291 | 180408.7863 | 297138.3419 | 59.9307 | 49.4
41523 | 2021-03-03 14:49 | 25.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.0686 | μmol/L | 35.0186 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.295 | 180445.3728 | 297152.3254 | 59.9307 | 49.4
41533 | 2021-03-03 14:49 | 25.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.165 | μmol/L | 35.0124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.289 | 180411.8105 | 297156.3856 | 59.9307 | 49.4
41543 | 2021-03-03 14:50 | 25.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 134.008 | μmol/L | 35.0372 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.293 | 180455.362 | 297158.3985 | 59.9307 | 49.4
41553 | 2021-03-03 14:50 | 26.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.7521 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.313 | 180651.6739 | 297162.2738 | 59.9307 | 49.4
41563 | 2021-03-03 14:50 | 26.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.3455 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.339 | 180864.5036 | 297165.1244 | 59.9307 | 49.4
41573 | 2021-03-03 14:51 | 26.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 133.1137 | μmol/L | 35.0744 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.357 | 181052.1572 | 297152.1421 | 59.9307 | 49.4
41583 | 2021-03-03 14:51 | 27.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.866 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.374 | 181204.4815 | 297153.7667 | 59.9307 | 49.4
41593 | 2021-03-03 14:51 | 27.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.5825 | μmol/L | 35.0744 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.404 | 181435.1524 | 297136.6406 | 59.9307 | 49.4
41603 | 2021-03-03 14:52 | 27.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4698 | μmol/L | 35.0744 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.414 | 181548.2954 | 297142.0287 | 59.9307 | 49.4
41613 | 2021-03-03 14:52 | 28.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.126 | μmol/L | 35.124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.425 | 181682.4642 | 297136.6874 | 59.9307 | 49.4
41623 | 2021-03-03 14:52 | 28.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.1558 | μmol/L | 35.1426 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.415 | 181600.0991 | 297143.6434 | 59.9307 | 49.4
41633 | 2021-03-03 14:53 | 28.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.9487 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.431 | 181715.2282 | 297142.9513 | 59.9307 | 49.4
41643 | 2021-03-03 14:53 | 29.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8718 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.455 | 181913.086 | 297156.1407 | 59.9307 | 49.4
41653 | 2021-03-03 14:53 | 29.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8069 | μmol/L | 35.1302 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.451 | 181908.1475 | 297143.2285 | 59.9307 | 49.4
41663 | 2021-03-03 14:54 | 29.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7296 | μmol/L | 35.1426 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.453 | 181951.2275 | 297151.6507 | 59.9307 | 49.4
41673 | 2021-03-03 14:54 | 30.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.563 | μmol/L | 35.155 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.463 | 182066.7576 | 297157.6791 | 59.9307 | 49.4
41683 | 2021-03-03 14:54 | 30.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6159 | μmol/L | 35.186 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.446 | 181912.4745 | 297157.7693 | 59.9307 | 49.4
41693 | 2021-03-03 14:55 | 30.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7889 | μmol/L | 35.1798 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.433 | 181772.787 | 297140.8802 | 59.9307 | 49.4
41703 | 2021-03-03 14:55 | 31.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6993 | μmol/L | 35.1798 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.441 | 181858.4865 | 297133.0031 | 59.9307 | 49.4
41713 | 2021-03-03 14:55 | 31.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7593 | μmol/L | 35.1612 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.443 | 181858.4883 | 297139.885 | 59.9307 | 49.4
41723 | 2021-03-03 14:56 | 31.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.9414 | μmol/L | 35.1302 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.439 | 181829.6695 | 297130.4038 | 59.9307 | 49.4
41733 | 2021-03-03 14:56 | 32.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.5669 | μmol/L | 35.1364 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.47 | 182072.1555 | 297119.1439 | 59.9307 | 49.4
41743 | 2021-03-03 14:56 | 32.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.6167 | μmol/L | 35.1302 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.468 | 182095.7808 | 297135.5243 | 59.9307 | 49.4
41753 | 2021-03-03 14:57 | 32.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.3194 | μmol/L | 35.1798 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.475 | 182136.8171 | 297116.4807 | 59.9307 | 49.4
41763 | 2021-03-03 14:57 | 33.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8091 | μmol/L | 35.155 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.441 | 181851.1352 | 297125.9419 | 59.9307 | 49.4
41773 | 2021-03-03 14:57 | 33.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8041 | μmol/L | 35.1612 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.439 | 181818.5001 | 297133.2412 | 59.9307 | 49.4
41783 | 2021-03-03 14:58 | 33.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7206 | μmol/L | 35.1674 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.444 | 181890.5613 | 297133.7295 | 59.9307 | 49.4
41793 | 2021-03-03 14:58 | 34.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8532 | μmol/L | 35.2108 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.415 | 181657.2488 | 297132.2667 | 59.9307 | 49.4
41803 | 2021-03-03 14:58 | 34.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.1603 | μmol/L | 35.1922 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.395 | 181455.7981 | 297137.8611 | 59.9307 | 49.4
41813 | 2021-03-03 14:59 | 34.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4771 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.384 | 181380.7381 | 297144.8101 | 59.9307 | 49.4
41823 | 2021-03-03 14:59 | 35.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.4973 | μmol/L | 35.124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.392 | 181440.2339 | 297141.9811 | 59.9307 | 49.4
41833 | 2021-03-03 14:59 | 35.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.1709 | μmol/L | 35.124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.421 | 181727.1683 | 297145.8928 | 59.9307 | 49.4
41843 | 2021-03-03 15:00 | 35.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.7318 | μmol/L | 35.1674 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.443 | 181950.1945 | 297139.6339 | 59.9307 | 49.4
41853 | 2021-03-03 15:00 | 36.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8532 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.464 | 182092.0278 | 297120.4105 | 59.9307 | 49.4
41863 | 2021-03-03 15:00 | 36.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.435 | μmol/L | 35.1612 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.472 | 182118.7221 | 297126.9744 | 59.9307 | 49.4
41873 | 2021-03-03 15:01 | 36.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.8247 | μmol/L | 35.2046 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.42 | 181668.6907 | 297131.2404 | 59.9307 | 49.4
41883 | 2021-03-03 15:01 | 37.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.3633 | μmol/L | 35.1364 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.399 | 181503.5206 | 297130.8526 | 59.9307 | 49.4
41893 | 2021-03-03 15:01 | 37.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.2492 | μmol/L | 35.1798 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.392 | 181497.0276 | 297137.7254 | 59.9307 | 49.4
41903 | 2021-03-03 15:02 | 37.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.0458 | μmol/L | 35.1674 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.415 | 181674.3425 | 297137.4266 | 59.9307 | 49.4
41913 | 2021-03-03 15:02 | 38.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.0663 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.445 | 181897.8277 | 297147.6539 | 59.9307 | 49.4
41923 | 2021-03-03 15:02 | 38.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 132.0028 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.458 | 182019.1214 | 297133.9023 | 59.9307 | 49.4
41933 | 2021-03-03 15:03 | 38.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.3497 | μmol/L | 35.1426 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.487 | 182297.4041 | 297147.6399 | 59.9307 | 49.4
41943 | 2021-03-03 15:03 | 39.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 131.1025 | μmol/L | 35.1178 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.519 | 182558.7001 | 297133.4886 | 59.9307 | 49.4
41953 | 2021-03-03 15:03 | 39.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.7198 | μmol/L | 35.124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.551 | 182816.6516 | 297129.4811 | 59.9307 | 49.4
41963 | 2021-03-03 15:04 | 39.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.5525 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.571 | 182994.081 | 297135.319 | 59.9307 | 49.4
41973 | 2021-03-03 15:04 | 40.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1025 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.597 | 183243.8835 | 297147.0161 | 59.9307 | 49.4
41983 | 2021-03-03 15:04 | 40.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.0434 | μmol/L | 35.0992 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.622 | 183461.2458 | 297154.7923 | 59.9307 | 49.4
41993 | 2021-03-03 15:05 | 40.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1015 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.629 | 183504.6079 | 297139.0558 | 59.9307 | 49.4
42003 | 2021-03-03 15:05 | 41.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.2449 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.616 | 183366.976 | 297147.5541 | 59.9307 | 49.4
42013 | 2021-03-03 15:05 | 41.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1988 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.603 | 183245.6569 | 297150.1193 | 59.9307 | 49.4
42023 | 2021-03-03 15:06 | 41.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.3956 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.595 | 183191.082 | 297146.4219 | 59.9307 | 49.4
42033 | 2021-03-03 15:06 | 42.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.3142 | μmol/L | 35.1054 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.595 | 183151.1711 | 297139.6415 | 59.9307 | 49.4
42043 | 2021-03-03 15:06 | 42.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.3293 | μmol/L | 35.0868 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.601 | 183245.7046 | 297138.0042 | 59.9307 | 49.4
42053 | 2021-03-03 15:07 | 42.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.0995 | μmol/L | 35.1116 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.612 | 183315.1053 | 297141.6272 | 59.9307 | 49.4
42063 | 2021-03-03 15:07 | 43.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1926 | μmol/L | 35.0372 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.633 | 183497.3441 | 297138.4367 | 59.9307 | 49.4
42073 | 2021-03-03 15:07 | 43.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1782 | μmol/L | 35 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.649 | 183627.4268 | 297144.1053 | 59.9307 | 49.4
42083 | 2021-03-03 15:08 | 43.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.6764 | μmol/L | 35.0496 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.675 | 183857.3518 | 297141.8148 | 59.9307 | 49.4
42093 | 2021-03-03 15:08 | 44.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.1661 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.655 | 183678.7159 | 297125.131 | 59.9307 | 49.4
42103 | 2021-03-03 15:08 | 44.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.5269 | μmol/L | 34.9504 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.637 | 183447.7548 | 297143.6988 | 59.9307 | 49.4
42113 | 2021-03-03 15:09 | 44.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.3658 | μmol/L | 35 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.632 | 183415.9254 | 297127.1636 | 59.9307 | 49.4
42123 | 2021-03-03 15:09 | 45.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.5045 | μmol/L | 35.0062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.617 | 183295.4691 | 297135.4508 | 59.9307 | 49.4
42133 | 2021-03-03 15:09 | 45.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.4908 | μmol/L | 35.0372 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.606 | 183168.6358 | 297132.5509 | 59.9307 | 49.4
42143 | 2021-03-03 15:10 | 45.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.2615 | μmol/L | 35.0062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.639 | 183410.5423 | 297128.5573 | 59.9307 | 49.4
42153 | 2021-03-03 15:10 | 46.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.2018 | μmol/L | 34.9566 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.664 | 183699.2934 | 297126.4738 | 59.9307 | 49.4
42163 | 2021-03-03 15:10 | 46.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.8961 | μmol/L | 34.9256 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.704 | 184028.979 | 297122.5048 | 59.9307 | 49.4
42173 | 2021-03-03 15:11 | 46.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.6163 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.705 | 184030.2471 | 297120.2453 | 59.9307 | 49.4
42183 | 2021-03-03 15:11 | 47.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.7655 | μmol/L | 34.938 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.711 | 184049.183 | 297119.353 | 59.9307 | 49.4
42193 | 2021-03-03 15:11 | 47.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.8535 | μmol/L | 34.8822 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.725 | 184165.4178 | 297120.7219 | 59.9307 | 49.4
42203 | 2021-03-03 15:12 | 47.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.3982 | μmol/L | 35 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.72 | 184135.6267 | 297132.7978 | 59.9307 | 49.4
42213 | 2021-03-03 15:12 | 48.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 130.0233 | μmol/L | 34.876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.712 | 184030.7406 | 297127.1054 | 59.9307 | 49.4
42223 | 2021-03-03 15:12 | 48.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.8755 | μmol/L | 34.8822 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.723 | 184129.3446 | 297135.984 | 59.9307 | 49.4
42233 | 2021-03-03 15:13 | 48.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.4169 | μmol/L | 34.9628 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.733 | 184202.0042 | 297138.3961 | 59.9307 | 49.4
42243 | 2021-03-03 15:13 | 49.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.2944 | μmol/L | 34.938 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.754 | 184408.0862 | 297135.1244 | 59.9307 | 49.4
42253 | 2021-03-03 15:13 | 49.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.1987 | μmol/L | 34.907 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.775 | 184567.383 | 297109.4831 | 59.9307 | 49.4
42263 | 2021-03-03 15:14 | 49.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.8254 | μmol/L | 34.938 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.797 | 184753.592 | 297128.09 | 59.9307 | 49.4
42273 | 2021-03-03 15:14 | 50.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.3751 | μmol/L | 34.9442 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.836 | 185093.5367 | 297101.8279 | 59.9307 | 49.4
42283 | 2021-03-03 15:14 | 50.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.3049 | μmol/L | 34.8822 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.867 | 185313.2472 | 297115.4707 | 59.9307 | 49.4
42293 | 2021-03-03 15:15 | 50.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 129.0931 | μmol/L | 34.721 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.858 | 185272.3737 | 297121.5029 | 59.9307 | 49.4
42303 | 2021-03-03 15:15 | 51.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.6982 | μmol/L | 34.7954 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.865 | 185273.78 | 297113.3303 | 59.9307 | 49.4
42313 | 2021-03-03 15:15 | 51.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.7066 | μmol/L | 34.8264 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.852 | 185209.6545 | 297135.7596 | 59.9307 | 49.4
42323 | 2021-03-03 15:16 | 51.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.4413 | μmol/L | 34.8326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.874 | 185426.1544 | 297103.4818 | 59.9307 | 49.4
42333 | 2021-03-03 15:16 | 52.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.2128 | μmol/L | 34.8202 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.9 | 185600.4358 | 297132.4397 | 59.9307 | 49.4
42343 | 2021-03-03 15:16 | 52.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.2501 | μmol/L | 34.814 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.899 | 185562.8092 | 297123.7067 | 59.9307 | 49.4
42353 | 2021-03-03 15:17 | 52.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 128.1757 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.923 | 185763.3509 | 297116.2838 | 59.9307 | 49.4
42363 | 2021-03-03 15:17 | 53.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.7143 | μmol/L | 34.7954 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.956 | 186067.4835 | 297111.4064 | 59.9307 | 49.4
42373 | 2021-03-03 15:17 | 53.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.9227 | μmol/L | 34.721 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.966 | 186150.5453 | 297105.7868 | 59.9307 | 49.4
42383 | 2021-03-03 15:18 | 53.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.5688 | μmol/L | 34.7334 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.994 | 186323.2998 | 297126.5249 | 59.9307 | 49.4
42393 | 2021-03-03 15:18 | 54.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.9415 | μmol/L | 34.6404 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.996 | 186365.8939 | 297106.33 | 59.9307 | 49.4
42403 | 2021-03-03 15:18 | 54.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.9837 | μmol/L | 34.6838 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.975 | 186170.5837 | 297122.544 | 59.9307 | 49.4
42413 | 2021-03-03 15:19 | 54.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.4863 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.987 | 186279.3949 | 297109.2906 | 59.9307 | 49.4
42423 | 2021-03-03 15:19 | 55.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.5366 | μmol/L | 34.7334 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.997 | 186307.1119 | 297116.2942 | 59.9307 | 49.4
42433 | 2021-03-03 15:19 | 55.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.7981 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.958 | 186023.3167 | 297124.0844 | 59.9307 | 49.4
42443 | 2021-03-03 15:20 | 55.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.8102 | μmol/L | 34.7272 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.974 | 186151.3011 | 297120.65 | 59.9307 | 49.4
42453 | 2021-03-03 15:20 | 56.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.5784 | μmol/L | 34.721 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.998 | 186317.3741 | 297118.0068 | 59.9307 | 49.4
42463 | 2021-03-03 15:20 | 56.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.3386 | μmol/L | 34.7396 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.013 | 186475.7432 | 297115.3153 | 59.9307 | 49.4
42473 | 2021-03-03 15:21 | 56.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.2517 | μmol/L | 34.7272 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.026 | 186613.6054 | 297103.0185 | 59.9307 | 49.4
42483 | 2021-03-03 15:21 | 57.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 127.2637 | μmol/L | 34.6838 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.042 | 186745.7958 | 297099.3035 | 59.9307 | 49.4
42493 | 2021-03-03 15:21 | 57.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5694 | μmol/L | 34.7396 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.085 | 187014.5067 | 297118.3649 | 59.9307 | 49.4
42503 | 2021-03-03 15:22 | 57.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.7803 | μmol/L | 34.7148 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.075 | 186981.8306 | 297109.135 | 59.9307 | 49.4
42513 | 2021-03-03 15:22 | 58.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.6828 | μmol/L | 34.7582 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.067 | 186848.0153 | 297113.8033 | 59.9307 | 49.4
42523 | 2021-03-03 15:22 | 58.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.7809 | μmol/L | 34.783 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.048 | 186749.9134 | 297117.3128 | 59.9307 | 49.4
42533 | 2021-03-03 15:23 | 58.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.8145 | μmol/L | 34.7396 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.062 | 186848.3969 | 297118.6623 | 59.9307 | 49.4
42543 | 2021-03-03 15:23 | 59.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.8679 | μmol/L | 34.7396 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.057 | 186834.8393 | 297116.659 | 59.9307 | 49.4
42553 | 2021-03-03 15:23 | 59.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.5348 | μmol/L | 34.7706 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.076 | 187007.4391 | 297127.8833 | 59.9307 | 49.4
42563 | 2021-03-03 15:24 | 59.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 126.1899 | μmol/L | 34.7768 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.106 | 187295.5882 | 297118.0237 | 59.9307 | 49.4
42573 | 2021-03-03 15:24 | 60.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.8202 | μmol/L | 34.7892 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.136 | 187541.4908 | 297111.498 | 59.9307 | 49.4
42583 | 2021-03-03 15:24 | 60.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.5974 | μmol/L | 34.7768 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.162 | 187751.181 | 297101.6423 | 59.9307 | 49.4
42593 | 2021-03-03 15:25 | 60.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.5159 | μmol/L | 34.7458 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.182 | 187946.6272 | 297112.5046 | 59.9307 | 49.4
42603 | 2021-03-03 15:25 | 61.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.3589 | μmol/L | 34.7582 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.192 | 188064.6717 | 297110.8105 | 59.9307 | 49.4
42613 | 2021-03-03 15:25 | 61.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.0786 | μmol/L | 34.8078 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.199 | 188115.9691 | 297115.357 | 59.9307 | 49.4
42623 | 2021-03-03 15:26 | 61.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 125.0843 | μmol/L | 34.814 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.196 | 188108.27 | 297094.9217 | 59.9307 | 49.4
42633 | 2021-03-03 15:26 | 62.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.6876 | μmol/L | 34.8388 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.224 | 188349.2698 | 297097.3271 | 59.9307 | 49.4
42643 | 2021-03-03 15:26 | 62.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.5556 | μmol/L | 34.8202 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.244 | 188575.6865 | 297100.0191 | 59.9307 | 49.4
42653 | 2021-03-03 15:27 | 62.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.3107 | μmol/L | 34.8264 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.265 | 188706.4283 | 297107.4423 | 59.9307 | 49.4
42663 | 2021-03-03 15:27 | 63.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.2247 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.256 | 188629.9235 | 297101.0836 | 59.9307 | 49.4
42673 | 2021-03-03 15:27 | 63.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.0678 | μmol/L | 34.8574 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.276 | 188809.1368 | 297105.5372 | 59.9307 | 49.4
42683 | 2021-03-03 15:28 | 63.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.8606 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.291 | 188967.4624 | 297097.608 | 59.9307 | 49.4
42693 | 2021-03-03 15:28 | 64.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 124.0463 | μmol/L | 34.845 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.283 | 188895.0753 | 297101.981 | 59.9307 | 49.4
42703 | 2021-03-03 15:28 | 64.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.8295 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.294 | 189001.7692 | 297094.9613 | 59.9307 | 49.4
42713 | 2021-03-03 15:29 | 64.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7063 | μmol/L | 34.8946 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.296 | 189054.2399 | 297099.6203 | 59.9307 | 49.4
42723 | 2021-03-03 15:29 | 65.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.7679 | μmol/L | 34.8822 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.295 | 189065.4936 | 297106.4484 | 59.9307 | 49.4
42733 | 2021-03-03 15:29 | 65.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.568 | μmol/L | 34.9256 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.297 | 189053.4553 | 297096.1365 | 59.9307 | 49.4
42743 | 2021-03-03 15:30 | 65.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.5485 | μmol/L | 34.9504 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.289 | 189024.4213 | 297087.2344 | 59.9307 | 49.4
42753 | 2021-03-03 15:30 | 66.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.4139 | μmol/L | 34.9504 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.302 | 189163.2736 | 297104.0128 | 59.9307 | 49.4
42763 | 2021-03-03 15:30 | 66.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.3658 | μmol/L | 34.9194 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.319 | 189280.4931 | 297090.8628 | 59.9307 | 49.4
42773 | 2021-03-03 15:31 | 66.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 123.0534 | μmol/L | 34.9752 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.327 | 189388.8116 | 297102.2354 | 59.9307 | 49.4
42783 | 2021-03-03 15:31 | 67.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.8013 | μmol/L | 34.9814 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.349 | 189563.1031 | 297102.5163 | 59.9307 | 49.4
42793 | 2021-03-03 15:31 | 67.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6628 | μmol/L | 34.9876 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.36 | 189679.7397 | 297093.714 | 59.9307 | 49.4
42803 | 2021-03-03 15:32 | 67.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3202 | μmol/L | 35.0186 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.381 | 189894.8024 | 297109.2589 | 59.9307 | 49.4
42813 | 2021-03-03 15:32 | 68.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.192 | μmol/L | 35.0124 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.396 | 189975.1582 | 297104.6606 | 59.9307 | 49.4
42823 | 2021-03-03 15:32 | 68.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3144 | μmol/L | 35 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.389 | 189946.537 | 297114.6893 | 59.9307 | 49.4
42833 | 2021-03-03 15:33 | 68.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2387 | μmol/L | 35.031 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.384 | 189932.6699 | 297102.9096 | 59.9307 | 49.4
42843 | 2021-03-03 15:33 | 69.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4383 | μmol/L | 35.0248 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.367 | 189751.8641 | 297101.1818 | 59.9307 | 49.4
42853 | 2021-03-03 15:33 | 69.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.5409 | μmol/L | 35.0248 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.357 | 189681.2189 | 297107.0314 | 59.9307 | 49.4
42863 | 2021-03-03 15:34 | 69.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.3616 | μmol/L | 35.031 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.372 | 189828.9939 | 297119.4689 | 59.9307 | 49.4
42873 | 2021-03-03 15:34 | 70.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.8923 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.403 | 190101.6864 | 297092.0358 | 59.9307 | 49.4
42883 | 2021-03-03 15:34 | 70.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.0296 | μmol/L | 35.0496 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.397 | 190080.5329 | 297117.3456 | 59.9307 | 49.4
42893 | 2021-03-03 15:35 | 70.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2698 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.376 | 189869.4527 | 297084.6647 | 59.9307 | 49.4
42903 | 2021-03-03 15:35 | 71.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.5877 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.345 | 189586.4399 | 297096.3829 | 59.9307 | 49.4
42913 | 2021-03-03 15:35 | 71.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.7938 | μmol/L | 35.0558 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.32 | 189354.1483 | 297104.5339 | 59.9307 | 49.4
42923 | 2021-03-03 15:36 | 71.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.6151 | μmol/L | 35.0992 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.32 | 189437.3654 | 297104.7541 | 59.9307 | 49.4
42933 | 2021-03-03 15:36 | 72.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.4338 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.36 | 189768.5006 | 297095.1963 | 59.9307 | 49.4
42943 | 2021-03-03 15:36 | 72.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2546 | μmol/L | 35.0496 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.375 | 189849.9629 | 297099.6624 | 59.9307 | 49.4
42953 | 2021-03-03 15:37 | 72.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.1269 | μmol/L | 35.0558 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.385 | 189938.3894 | 297088.3181 | 59.9307 | 49.4
42963 | 2021-03-03 15:37 | 73.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 122.2596 | μmol/L | 35.0434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.377 | 189891.0301 | 297097.5936 | 59.9307 | 49.4
42973 | 2021-03-03 15:37 | 73.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.9993 | μmol/L | 35.062 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.395 | 190037.3164 | 297101.3509 | 59.9307 | 49.4
42983 | 2021-03-03 15:38 | 73.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7236 | μmol/L | 35.0496 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.427 | 190320.2785 | 297105.6311 | 59.9307 | 49.4
42993 | 2021-03-03 15:38 | 74.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.881 | μmol/L | 35.031 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.419 | 190259.1032 | 297088.349 | 59.9307 | 49.4
43003 | 2021-03-03 15:38 | 74.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.7791 | μmol/L | 35.031 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.429 | 190383.3852 | 297090.8274 | 59.9307 | 49.4
43013 | 2021-03-03 15:39 | 74.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 121.4036 | μmol/L | 35.0682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 24.451 | 190541.4679 | 297099.6387 | 59.9307 | 49.4