## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40765 | 2021-03-03 14:24 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.7769 | μmol/L | 35.2856 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.804 | 167057.2318 | 310539.1412 | 33.25 | 68.6
40775 | 2021-03-03 14:24 | 0.33527 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1096 | μmol/L | 35.2244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.802 | 167034.7401 | 310553.7614 | 33.25 | 68.6
40785 | 2021-03-03 14:24 | 0.66884 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.9124 | μmol/L | 35.2611 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.803 | 167014.4957 | 310534.6919 | 33.25 | 68.6
40795 | 2021-03-03 14:25 | 1.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.4419 | μmol/L | 35.1511 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.805 | 167021.2749 | 310543.0925 | 33.25 | 68.6
40805 | 2021-03-03 14:25 | 1.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.337 | μmol/L | 35.1694 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.806 | 167012.4164 | 310524.8186 | 33.25 | 68.6
40815 | 2021-03-03 14:25 | 1.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.2505 | μmol/L | 35.1816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.808 | 166995.1411 | 310521.2181 | 33.25 | 68.6
40825 | 2021-03-03 14:26 | 2.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5277 | μmol/L | 35.1266 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.808 | 166999.1487 | 310510.7457 | 33.25 | 68.6
40835 | 2021-03-03 14:26 | 2.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0467 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.812 | 166999.9858 | 310499.6614 | 33.25 | 68.6
40845 | 2021-03-03 14:26 | 2.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1201 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.816 | 167002.7041 | 310498.4296 | 33.25 | 68.6
40855 | 2021-03-03 14:27 | 3.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.997 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.816 | 166998.8204 | 310481.8683 | 33.25 | 68.6
40865 | 2021-03-03 14:27 | 3.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9514 | μmol/L | 35.0227 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.816 | 167004.2343 | 310488.3698 | 33.25 | 68.6
40875 | 2021-03-03 14:27 | 3.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1065 | μmol/L | 35.0043 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.811 | 167008.2099 | 310480.9702 | 33.25 | 68.6
40885 | 2021-03-03 14:28 | 4.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5443 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.819 | 167015.1961 | 310466.6934 | 33.25 | 68.6
40895 | 2021-03-03 14:28 | 4.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7281 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.824 | 167015.3727 | 310474.1195 | 33.25 | 68.6
40905 | 2021-03-03 14:28 | 4.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6117 | μmol/L | 35.0777 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.821 | 167030.6985 | 310467.486 | 33.25 | 68.6
40915 | 2021-03-03 14:29 | 5.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6175 | μmol/L | 35.0716 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.823 | 167033.7382 | 310466.5058 | 33.25 | 68.6
40925 | 2021-03-03 14:29 | 5.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.2907 | μmol/L | 35.1266 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.827 | 167040.8258 | 310462.9515 | 33.25 | 68.6
40935 | 2021-03-03 14:29 | 5.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3705 | μmol/L | 35.1083 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.828 | 167045.4919 | 310456.4025 | 33.25 | 68.6
40945 | 2021-03-03 14:30 | 6.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1918 | μmol/L | 35.1388 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.83 | 167067.2716 | 310453.6376 | 33.25 | 68.6
40955 | 2021-03-03 14:30 | 6.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7455 | μmol/L | 35.0288 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.83 | 167064.7368 | 310463.1599 | 33.25 | 68.6
40965 | 2021-03-03 14:30 | 6.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.437 | μmol/L | 35.0777 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.835 | 167071.8336 | 310455.9424 | 33.25 | 68.6
40975 | 2021-03-03 14:31 | 7.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.2592 | μmol/L | 35.1205 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.832 | 167067.4787 | 310457.0631 | 33.25 | 68.6
40985 | 2021-03-03 14:31 | 7.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7936 | μmol/L | 35.0043 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.836 | 167077.1881 | 310466.1329 | 33.25 | 68.6
40995 | 2021-03-03 14:31 | 7.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8416 | μmol/L | 34.9799 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.842 | 167103.1912 | 310454.202 | 33.25 | 68.6
41005 | 2021-03-03 14:32 | 8.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5831 | μmol/L | 35.0288 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.843 | 167100.7699 | 310444.4411 | 33.25 | 68.6
41015 | 2021-03-03 14:32 | 8.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5341 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.842 | 167121.8082 | 310447.2883 | 33.25 | 68.6
41025 | 2021-03-03 14:32 | 8.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6811 | μmol/L | 35.0043 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.845 | 167129.1658 | 310448.5629 | 33.25 | 68.6
41035 | 2021-03-03 14:33 | 9.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.4036 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.85 | 167135.7686 | 310420.6596 | 33.25 | 68.6
41045 | 2021-03-03 14:33 | 9.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9385 | μmol/L | 34.9432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.849 | 167147.2623 | 310447.1522 | 33.25 | 68.6
41055 | 2021-03-03 14:33 | 9.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3663 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.853 | 167161.1953 | 310445.971 | 33.25 | 68.6
41065 | 2021-03-03 14:34 | 10.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8203 | μmol/L | 34.9493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.856 | 167169.7424 | 310448.3785 | 33.25 | 68.6
41075 | 2021-03-03 14:34 | 10.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6235 | μmol/L | 34.986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.857 | 167174.1115 | 310450.3183 | 33.25 | 68.6
41085 | 2021-03-03 14:34 | 10.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5246 | μmol/L | 34.9982 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.86 | 167186.1764 | 310444.0397 | 33.25 | 68.6
41095 | 2021-03-03 14:35 | 11.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.5486 | μmol/L | 34.986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.863 | 167199.3216 | 310439.1655 | 33.25 | 68.6
41105 | 2021-03-03 14:35 | 11.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.611 | μmol/L | 34.986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.858 | 167194.9342 | 310440.3169 | 33.25 | 68.6
41115 | 2021-03-03 14:35 | 11.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.2789 | μmol/L | 34.8331 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.866 | 167214.2775 | 310435.5852 | 33.25 | 68.6
41125 | 2021-03-03 14:36 | 12.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.2663 | μmol/L | 34.8331 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.867 | 167230.6657 | 310439.6325 | 33.25 | 68.6
41135 | 2021-03-03 14:36 | 12.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9649 | μmol/L | 34.8882 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.869 | 167238.4049 | 310436.557 | 33.25 | 68.6
41145 | 2021-03-03 14:36 | 12.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.6512 | μmol/L | 34.9432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.872 | 167246.0809 | 310443.6621 | 33.25 | 68.6
41155 | 2021-03-03 14:37 | 13.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9945 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.874 | 167268.417 | 310437.0258 | 33.25 | 68.6
41165 | 2021-03-03 14:37 | 13.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1047 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.875 | 167281.173 | 310449.2156 | 33.25 | 68.6
41175 | 2021-03-03 14:37 | 13.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7286 | μmol/L | 34.9004 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.883 | 167295.6346 | 310434.4907 | 33.25 | 68.6
41185 | 2021-03-03 14:38 | 14.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1274 | μmol/L | 34.8209 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.883 | 167314.2449 | 310431.0349 | 33.25 | 68.6
41195 | 2021-03-03 14:38 | 14.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1217 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.881 | 167303.5455 | 310414.2579 | 33.25 | 68.6
41205 | 2021-03-03 14:38 | 14.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1092 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.882 | 167326.0977 | 310432.1453 | 33.25 | 68.6
41215 | 2021-03-03 14:39 | 15.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0273 | μmol/L | 34.8209 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.891 | 167332.9732 | 310415.6374 | 33.25 | 68.6
41225 | 2021-03-03 14:39 | 15.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1068 | μmol/L | 34.8026 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.892 | 167360.4065 | 310423.9137 | 33.25 | 68.6
41235 | 2021-03-03 14:39 | 15.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.525 | μmol/L | 34.7292 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.888 | 167347.9408 | 310416.0196 | 33.25 | 68.6
41245 | 2021-03-03 14:40 | 16.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.175 | μmol/L | 34.7964 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.889 | 167365.1835 | 310420.4498 | 33.25 | 68.6
41255 | 2021-03-03 14:40 | 16.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.334 | μmol/L | 34.7598 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.891 | 167376.5028 | 310416.7031 | 33.25 | 68.6
41265 | 2021-03-03 14:40 | 16.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.2601 | μmol/L | 34.772 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.892 | 167381.2412 | 310420.2708 | 33.25 | 68.6
41275 | 2021-03-03 14:41 | 17.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8865 | μmol/L | 34.8515 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.89 | 167386.2363 | 310417.4261 | 33.25 | 68.6
41285 | 2021-03-03 14:41 | 17.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.2657 | μmol/L | 34.7659 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 167405.5544 | 310416.3961 | 33.25 | 68.6
41295 | 2021-03-03 14:41 | 17.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.3521 | μmol/L | 34.7537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.892 | 167408.5745 | 310410.5032 | 33.25 | 68.6
41305 | 2021-03-03 14:42 | 18.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.0011 | μmol/L | 34.8087 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167427.9647 | 310412.4929 | 33.25 | 68.6
41315 | 2021-03-03 14:42 | 18.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1124 | μmol/L | 34.7964 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 167426.4313 | 310424.8335 | 33.25 | 68.6
41325 | 2021-03-03 14:42 | 18.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8422 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.896 | 167444.5521 | 310429.3852 | 33.25 | 68.6
41335 | 2021-03-03 14:43 | 19.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7752 | μmol/L | 34.8637 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 167448.4247 | 310432.5359 | 33.25 | 68.6
41345 | 2021-03-03 14:43 | 19.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 148.1487 | μmol/L | 34.7842 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.896 | 167453.1512 | 310428.8521 | 33.25 | 68.6
41355 | 2021-03-03 14:43 | 19.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.9466 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.895 | 167468.4981 | 310428.0697 | 33.25 | 68.6
41365 | 2021-03-03 14:44 | 20.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.8172 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167477.4176 | 310409.5719 | 33.25 | 68.6
41375 | 2021-03-03 14:44 | 20.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7253 | μmol/L | 34.8637 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167482.7479 | 310416.1728 | 33.25 | 68.6
41385 | 2021-03-03 14:44 | 20.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.7196 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.896 | 167503.0059 | 310423.3718 | 33.25 | 68.6
41395 | 2021-03-03 14:45 | 21.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.4995 | μmol/L | 34.9187 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 167504.8539 | 310422.2952 | 33.25 | 68.6
41405 | 2021-03-03 14:45 | 21.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3272 | μmol/L | 34.9432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167519.363 | 310415.8543 | 33.25 | 68.6
41415 | 2021-03-03 14:45 | 21.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1684 | μmol/L | 34.9799 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.896 | 167520.3933 | 310416.3034 | 33.25 | 68.6
41425 | 2021-03-03 14:46 | 22.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0268 | μmol/L | 34.9982 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.9 | 167531.8773 | 310429.2726 | 33.25 | 68.6
41435 | 2021-03-03 14:46 | 22.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.3463 | μmol/L | 34.9493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 167518.7589 | 310400.1571 | 33.25 | 68.6
41445 | 2021-03-03 14:46 | 22.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0574 | μmol/L | 34.9921 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.9 | 167537.5491 | 310411.0267 | 33.25 | 68.6
41455 | 2021-03-03 14:47 | 23.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.112 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.903 | 167530.9914 | 310405.8379 | 33.25 | 68.6
41465 | 2021-03-03 14:47 | 23.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.0144 | μmol/L | 34.9982 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.901 | 167557.9816 | 310423.0173 | 33.25 | 68.6
41475 | 2021-03-03 14:47 | 23.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 147.1244 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.902 | 167557.2855 | 310401.2372 | 33.25 | 68.6
41485 | 2021-03-03 14:48 | 24.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.8375 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167564.2851 | 310413.5479 | 33.25 | 68.6
41495 | 2021-03-03 14:48 | 24.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.7697 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.901 | 167571.2143 | 310415.1406 | 33.25 | 68.6
41505 | 2021-03-03 14:48 | 24.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.8375 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.898 | 167569.0312 | 310414.8177 | 33.25 | 68.6
41515 | 2021-03-03 14:49 | 25.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.5498 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.899 | 167579.8467 | 310407.9263 | 33.25 | 68.6
41525 | 2021-03-03 14:49 | 25.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.5375 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.9 | 167588.1574 | 310398.0778 | 33.25 | 68.6
41535 | 2021-03-03 14:49 | 25.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.2682 | μmol/L | 35.145 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.902 | 167593.3399 | 310407.0124 | 33.25 | 68.6
41545 | 2021-03-03 14:50 | 26.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.3235 | μmol/L | 35.1388 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.9 | 167606.4842 | 310407.576 | 33.25 | 68.6
41555 | 2021-03-03 14:50 | 26.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.1213 | μmol/L | 35.1694 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.904 | 167623.0343 | 310406.6673 | 33.25 | 68.6
41565 | 2021-03-03 14:50 | 26.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.2071 | μmol/L | 35.1572 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.902 | 167610.9678 | 310404.9912 | 33.25 | 68.6
41575 | 2021-03-03 14:51 | 27.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0608 | μmol/L | 35.1939 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.899 | 167624.4019 | 310400.5861 | 33.25 | 68.6
41585 | 2021-03-03 14:51 | 27.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8769 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.904 | 167636.504 | 310402.1981 | 33.25 | 68.6
41595 | 2021-03-03 14:51 | 27.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.9444 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.901 | 167655.4631 | 310408.249 | 33.25 | 68.6
41605 | 2021-03-03 14:52 | 28.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.968 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.909 | 167670.8116 | 310392.6253 | 33.25 | 68.6
41615 | 2021-03-03 14:52 | 28.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8587 | μmol/L | 35.2244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.903 | 167677.3875 | 310406.7374 | 33.25 | 68.6
41625 | 2021-03-03 14:52 | 28.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7912 | μmol/L | 35.2306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.906 | 167682.75 | 310396.1165 | 33.25 | 68.6
41635 | 2021-03-03 14:53 | 29.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4614 | μmol/L | 35.2917 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.908 | 167697.2748 | 310404.0692 | 33.25 | 68.6
41645 | 2021-03-03 14:53 | 29.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5953 | μmol/L | 35.255 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.912 | 167715.2257 | 310412.0538 | 33.25 | 68.6
41655 | 2021-03-03 14:53 | 29.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7361 | μmol/L | 35.2367 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.908 | 167716.0496 | 310411.1924 | 33.25 | 68.6
41665 | 2021-03-03 14:54 | 30.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7115 | μmol/L | 35.2367 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.91 | 167720.1606 | 310402.5177 | 33.25 | 68.6
41675 | 2021-03-03 14:54 | 30.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7356 | μmol/L | 35.2244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.913 | 167730.2701 | 310396.2368 | 33.25 | 68.6
41685 | 2021-03-03 14:54 | 30.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7297 | μmol/L | 35.2306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.911 | 167729.7785 | 310395.2225 | 33.25 | 68.6
41695 | 2021-03-03 14:55 | 31.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7966 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.913 | 167747.6109 | 310397.338 | 33.25 | 68.6
41705 | 2021-03-03 14:55 | 31.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7233 | μmol/L | 35.2244 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.914 | 167763.4486 | 310400.7432 | 33.25 | 68.6
41715 | 2021-03-03 14:55 | 31.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6622 | μmol/L | 35.2367 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.914 | 167756.8907 | 310388.7034 | 33.25 | 68.6
41725 | 2021-03-03 14:56 | 32.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6558 | μmol/L | 35.2306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.917 | 167773.9561 | 310390.111 | 33.25 | 68.6
41735 | 2021-03-03 14:56 | 32.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7292 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.916 | 167805.0068 | 310404.4211 | 33.25 | 68.6
41745 | 2021-03-03 14:56 | 32.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3873 | μmol/L | 35.2795 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.919 | 167797.4643 | 310392.6556 | 33.25 | 68.6
41755 | 2021-03-03 14:57 | 33.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3382 | μmol/L | 35.2795 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.923 | 167819.4495 | 310389.382 | 33.25 | 68.6
41765 | 2021-03-03 14:57 | 33.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3869 | μmol/L | 35.2672 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.924 | 167835.8591 | 310397.1112 | 33.25 | 68.6
41775 | 2021-03-03 14:57 | 33.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8864 | μmol/L | 35.1572 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.928 | 167856.3503 | 310398.1957 | 33.25 | 68.6
41785 | 2021-03-03 14:58 | 34.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0629 | μmol/L | 35.1144 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.931 | 167859.7678 | 310392.9105 | 33.25 | 68.6
41795 | 2021-03-03 14:58 | 34.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5816 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.928 | 167866.7611 | 310379.0284 | 33.25 | 68.6
41805 | 2021-03-03 14:58 | 34.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5201 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.933 | 167874.9002 | 310387.4164 | 33.25 | 68.6
41815 | 2021-03-03 14:59 | 35.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3737 | μmol/L | 35.2428 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.935 | 167898.8051 | 310389.9004 | 33.25 | 68.6
41825 | 2021-03-03 14:59 | 35.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3192 | μmol/L | 35.2611 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.932 | 167905.9589 | 310386.9985 | 33.25 | 68.6
41835 | 2021-03-03 14:59 | 35.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4464 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.939 | 167917.2644 | 310376.3315 | 33.25 | 68.6
41845 | 2021-03-03 15:00 | 36.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4342 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.94 | 167940.5969 | 310380.5832 | 33.25 | 68.6
41855 | 2021-03-03 15:00 | 36.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4401 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.942 | 167949.022 | 310379.6119 | 33.25 | 68.6
41865 | 2021-03-03 15:00 | 36.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6468 | μmol/L | 35.1633 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.945 | 167969.1346 | 310383.1077 | 33.25 | 68.6
41875 | 2021-03-03 15:01 | 37.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1598 | μmol/L | 35.2611 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.945 | 167972.919 | 310384.502 | 33.25 | 68.6
41885 | 2021-03-03 15:01 | 37.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2997 | μmol/L | 35.2306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.946 | 168010.3474 | 310394.9788 | 33.25 | 68.6
41895 | 2021-03-03 15:01 | 37.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4326 | μmol/L | 35.1816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.955 | 168024.0052 | 310393.7668 | 33.25 | 68.6
41905 | 2021-03-03 15:02 | 38.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3659 | μmol/L | 35.2 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.953 | 168029.236 | 310388.6167 | 33.25 | 68.6
41915 | 2021-03-03 15:02 | 38.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2987 | μmol/L | 35.2061 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.956 | 168033.0758 | 310378.3808 | 33.25 | 68.6
41925 | 2021-03-03 15:02 | 38.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2561 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.957 | 168058.943 | 310389.543 | 33.25 | 68.6
41935 | 2021-03-03 15:03 | 39.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7362 | μmol/L | 35.1083 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.96 | 168075.2386 | 310392.3251 | 33.25 | 68.6
41945 | 2021-03-03 15:03 | 39.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2071 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.961 | 168089.5014 | 310394.8978 | 33.25 | 68.6
41955 | 2021-03-03 15:03 | 39.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4924 | μmol/L | 35.145 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.965 | 168109.5127 | 310394.3111 | 33.25 | 68.6
41965 | 2021-03-03 15:04 | 40.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3526 | μmol/L | 35.1755 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.964 | 168114.1886 | 310388.5672 | 33.25 | 68.6
41975 | 2021-03-03 15:04 | 40.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3702 | μmol/L | 35.1572 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.97 | 168140.816 | 310387.1973 | 33.25 | 68.6
41985 | 2021-03-03 15:04 | 40.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3884 | μmol/L | 35.1511 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.971 | 168143.4591 | 310372.8211 | 33.25 | 68.6
41995 | 2021-03-03 15:05 | 41.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6069 | μmol/L | 35.1022 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.973 | 168172.3544 | 310394.4566 | 33.25 | 68.6
42005 | 2021-03-03 15:05 | 41.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4001 | μmol/L | 35.1388 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.975 | 168193.5591 | 310394.5584 | 33.25 | 68.6
42015 | 2021-03-03 15:05 | 41.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1081 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.979 | 168207.3676 | 310389.6013 | 33.25 | 68.6
42025 | 2021-03-03 15:06 | 42.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2232 | μmol/L | 35.1572 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.982 | 168228.1534 | 310381.7224 | 33.25 | 68.6
42035 | 2021-03-03 15:06 | 42.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4835 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.988 | 168240.1753 | 310370.6561 | 33.25 | 68.6
42045 | 2021-03-03 15:06 | 42.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1375 | μmol/L | 35.1572 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.989 | 168264.5456 | 310380.8382 | 33.25 | 68.6
42055 | 2021-03-03 15:07 | 43.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3014 | μmol/L | 35.1266 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.988 | 168267.134 | 310374.0413 | 33.25 | 68.6
42065 | 2021-03-03 15:07 | 43.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4041 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.992 | 168289.1565 | 310378.9751 | 33.25 | 68.6
42075 | 2021-03-03 15:07 | 43.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.7731 | μmol/L | 35.2183 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.994 | 168295.1148 | 310371.8302 | 33.25 | 68.6
42085 | 2021-03-03 15:08 | 44.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.979 | μmol/L | 35.1694 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.997 | 168321.0945 | 310374.654 | 33.25 | 68.6
42095 | 2021-03-03 15:08 | 44.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.7058 | μmol/L | 35.2122 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.002 | 168329.2548 | 310364.3526 | 33.25 | 68.6
42105 | 2021-03-03 15:08 | 44.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.9482 | μmol/L | 35.1633 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.002 | 168340.896 | 310372.5946 | 33.25 | 68.6
42115 | 2021-03-03 15:09 | 45.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4996 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.004 | 168374.1633 | 310371.2685 | 33.25 | 68.6
42125 | 2021-03-03 15:09 | 45.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4686 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.009 | 168379.9945 | 310366.8857 | 33.25 | 68.6
42135 | 2021-03-03 15:09 | 45.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2868 | μmol/L | 35.0777 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.009 | 168393.0518 | 310348.7674 | 33.25 | 68.6
42145 | 2021-03-03 15:10 | 46.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1772 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.013 | 168406.8154 | 310353.926 | 33.25 | 68.6
42155 | 2021-03-03 15:10 | 46.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2919 | μmol/L | 35.0594 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.016 | 168420.4493 | 310362.8198 | 33.25 | 68.6
42165 | 2021-03-03 15:10 | 46.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.54 | μmol/L | 35.0043 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.018 | 168443.8976 | 310366.3212 | 33.25 | 68.6
42175 | 2021-03-03 15:11 | 47.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7579 | μmol/L | 34.9554 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.02 | 168454.8009 | 310369.071 | 33.25 | 68.6
42185 | 2021-03-03 15:11 | 47.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6424 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.022 | 168475.1133 | 310361.6387 | 33.25 | 68.6
42195 | 2021-03-03 15:11 | 47.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6048 | μmol/L | 34.9615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.03 | 168499.4077 | 310369.0749 | 33.25 | 68.6
42205 | 2021-03-03 15:12 | 48.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6171 | μmol/L | 34.9615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.029 | 168520.9721 | 310366.9018 | 33.25 | 68.6
42215 | 2021-03-03 15:12 | 48.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6466 | μmol/L | 34.9432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.034 | 168538.0955 | 310371.6042 | 33.25 | 68.6
42225 | 2021-03-03 15:12 | 48.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5075 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.033 | 168558.185 | 310368.8888 | 33.25 | 68.6
42235 | 2021-03-03 15:13 | 49.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.259 | μmol/L | 35.0166 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.036 | 168570.1745 | 310367.2977 | 33.25 | 68.6
42245 | 2021-03-03 15:13 | 49.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.609 | μmol/L | 34.931 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.042 | 168593.4083 | 310355.3536 | 33.25 | 68.6
42255 | 2021-03-03 15:13 | 49.6681 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6204 | μmol/L | 34.9187 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.046 | 168617.8977 | 310355.2306 | 33.25 | 68.6
42265 | 2021-03-03 15:14 | 50.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6016 | μmol/L | 34.9126 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.05 | 168630.0908 | 310346.901 | 33.25 | 68.6
42275 | 2021-03-03 15:14 | 50.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3965 | μmol/L | 34.9615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.047 | 168651.1279 | 310356.3614 | 33.25 | 68.6
42285 | 2021-03-03 15:14 | 50.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2503 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.054 | 168657.8141 | 310356.841 | 33.25 | 68.6
42295 | 2021-03-03 15:15 | 51.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.595 | μmol/L | 34.9065 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.053 | 168667.8884 | 310344.7938 | 33.25 | 68.6
42305 | 2021-03-03 15:15 | 51.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.2561 | μmol/L | 34.9676 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.056 | 168700.7733 | 310344.8223 | 33.25 | 68.6
42315 | 2021-03-03 15:15 | 51.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7207 | μmol/L | 34.8637 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.06 | 168720.1957 | 310345.0887 | 33.25 | 68.6
42325 | 2021-03-03 15:16 | 52.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8407 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.065 | 168733.918 | 310353.4838 | 33.25 | 68.6
42335 | 2021-03-03 15:16 | 52.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6887 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.07 | 168740.3845 | 310344.6358 | 33.25 | 68.6
42345 | 2021-03-03 15:16 | 52.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7425 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.073 | 168771.2853 | 310343.4339 | 33.25 | 68.6
42355 | 2021-03-03 15:17 | 53.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8029 | μmol/L | 34.8148 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.073 | 168783.8856 | 310361.911 | 33.25 | 68.6
42365 | 2021-03-03 15:17 | 53.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6934 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.077 | 168802.2157 | 310354.344 | 33.25 | 68.6
42375 | 2021-03-03 15:17 | 53.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8557 | μmol/L | 34.7842 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.081 | 168832.9418 | 310350.1153 | 33.25 | 68.6
42385 | 2021-03-03 15:18 | 54.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0424 | μmol/L | 34.7414 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.083 | 168848.6276 | 310351.2918 | 33.25 | 68.6
42395 | 2021-03-03 15:18 | 54.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.9519 | μmol/L | 34.7598 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.083 | 168861.2389 | 310342.0935 | 33.25 | 68.6
42405 | 2021-03-03 15:18 | 54.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0358 | μmol/L | 34.7353 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.086 | 168870.9522 | 310340.8303 | 33.25 | 68.6
42415 | 2021-03-03 15:19 | 55.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7519 | μmol/L | 34.7903 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.087 | 168901.6668 | 310338.4617 | 33.25 | 68.6
42425 | 2021-03-03 15:19 | 55.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8659 | μmol/L | 34.7598 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.09 | 168895.8739 | 310345.0712 | 33.25 | 68.6
42435 | 2021-03-03 15:19 | 55.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5586 | μmol/L | 34.827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.088 | 168893.3238 | 310328.8191 | 33.25 | 68.6
42445 | 2021-03-03 15:20 | 56.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.9631 | μmol/L | 34.7475 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.087 | 168907.2374 | 310334.007 | 33.25 | 68.6
42455 | 2021-03-03 15:20 | 56.3356 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 146.0771 | μmol/L | 34.717 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.09 | 168934.627 | 310337.3903 | 33.25 | 68.6
42465 | 2021-03-03 15:20 | 56.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.4314 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.091 | 168947.7479 | 310349.9993 | 33.25 | 68.6
42475 | 2021-03-03 15:21 | 57.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8046 | μmol/L | 34.7598 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.095 | 168972.1516 | 310345.542 | 33.25 | 68.6
42485 | 2021-03-03 15:21 | 57.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.5388 | μmol/L | 34.8087 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.097 | 168993.4925 | 310335.2915 | 33.25 | 68.6
42495 | 2021-03-03 15:21 | 57.6689 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.3947 | μmol/L | 34.8454 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.094 | 168993.0302 | 310337.7279 | 33.25 | 68.6
42505 | 2021-03-03 15:22 | 58.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6538 | μmol/L | 34.7903 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.095 | 169008.7933 | 310342.8069 | 33.25 | 68.6
42515 | 2021-03-03 15:22 | 58.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.31 | μmol/L | 34.8576 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.096 | 169021.4037 | 310335.4636 | 33.25 | 68.6
42525 | 2021-03-03 15:22 | 58.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.8761 | μmol/L | 34.7353 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.099 | 169025.1502 | 310322.3773 | 33.25 | 68.6
42535 | 2021-03-03 15:23 | 59.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.6349 | μmol/L | 34.7842 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.099 | 169037.982 | 310322.024 | 33.25 | 68.6
42545 | 2021-03-03 15:23 | 59.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.9119 | μmol/L | 34.7231 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.101 | 169061.3652 | 310324.9474 | 33.25 | 68.6
42555 | 2021-03-03 15:23 | 59.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.7243 | μmol/L | 34.7537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.104 | 169066.9335 | 310324.1278 | 33.25 | 68.6
42565 | 2021-03-03 15:24 | 60.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1398 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.105 | 169086.9765 | 310330.7816 | 33.25 | 68.6
42575 | 2021-03-03 15:24 | 60.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.0193 | μmol/L | 34.8943 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.105 | 169099.8736 | 310321.4316 | 33.25 | 68.6
42585 | 2021-03-03 15:24 | 60.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.1153 | μmol/L | 34.8698 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.107 | 169115.602 | 310323.4943 | 33.25 | 68.6
42595 | 2021-03-03 15:25 | 61.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.9705 | μmol/L | 34.8943 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.109 | 169121.6132 | 310318.006 | 33.25 | 68.6
42605 | 2021-03-03 15:25 | 61.3353 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.0128 | μmol/L | 34.8882 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.108 | 169150.784 | 310327.4427 | 33.25 | 68.6
42615 | 2021-03-03 15:25 | 61.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.012 | μmol/L | 34.8759 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.113 | 169166.3544 | 310318.9152 | 33.25 | 68.6
42625 | 2021-03-03 15:26 | 62.0015 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.8258 | μmol/L | 34.9187 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.111 | 169174.7811 | 310317.2594 | 33.25 | 68.6
42635 | 2021-03-03 15:26 | 62.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 145.0128 | μmol/L | 34.8882 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.108 | 169192.3813 | 310313.0208 | 33.25 | 68.6
42645 | 2021-03-03 15:26 | 62.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.8072 | μmol/L | 34.9126 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.115 | 169205.621 | 310313.7977 | 33.25 | 68.6
42655 | 2021-03-03 15:27 | 63.0018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.518 | μmol/L | 34.9615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.119 | 169230.3277 | 310320.8725 | 33.25 | 68.6
42665 | 2021-03-03 15:27 | 63.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.4944 | μmol/L | 34.9738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.116 | 169239.7166 | 310327.9134 | 33.25 | 68.6
42675 | 2021-03-03 15:27 | 63.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.4099 | μmol/L | 34.986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.118 | 169258.5533 | 310328.8144 | 33.25 | 68.6
42685 | 2021-03-03 15:28 | 64.0014 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.3134 | μmol/L | 34.9982 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.121 | 169264.3031 | 310302.0777 | 33.25 | 68.6
42695 | 2021-03-03 15:28 | 64.3348 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.3863 | μmol/L | 34.9982 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.115 | 169281.2906 | 310313.9572 | 33.25 | 68.6
42705 | 2021-03-03 15:28 | 64.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.1396 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.118 | 169290.5871 | 310320.7116 | 33.25 | 68.6
42715 | 2021-03-03 15:29 | 65.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.079 | μmol/L | 35.041 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.123 | 169313.4245 | 310321.3167 | 33.25 | 68.6
42725 | 2021-03-03 15:29 | 65.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.8993 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.118 | 169322.6914 | 310323.5028 | 33.25 | 68.6
42735 | 2021-03-03 15:29 | 65.6684 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.9526 | μmol/L | 35.0594 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.126 | 169344.2781 | 310311.7152 | 33.25 | 68.6
42745 | 2021-03-03 15:30 | 66.0021 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.8567 | μmol/L | 35.0838 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.124 | 169355.0322 | 310322.5544 | 33.25 | 68.6
42755 | 2021-03-03 15:30 | 66.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.8509 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.122 | 169361.9491 | 310313.3661 | 33.25 | 68.6
42765 | 2021-03-03 15:30 | 66.6687 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 144.0484 | μmol/L | 35.0349 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.128 | 169373.6718 | 310311.8218 | 33.25 | 68.6
42775 | 2021-03-03 15:31 | 67.0016 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.7663 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.129 | 169394.4313 | 310308.9585 | 33.25 | 68.6
42785 | 2021-03-03 15:31 | 67.3355 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.6704 | μmol/L | 35.1144 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.127 | 169402.013 | 310306.718 | 33.25 | 68.6
42795 | 2021-03-03 15:31 | 67.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.5621 | μmol/L | 35.1266 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.131 | 169409.9355 | 310308.9777 | 33.25 | 68.6
42805 | 2021-03-03 15:32 | 68.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.5143 | μmol/L | 35.1388 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.13 | 169428.107 | 310309.2166 | 33.25 | 68.6
42815 | 2021-03-03 15:32 | 68.3351 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.7421 | μmol/L | 35.0899 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.131 | 169450.6666 | 310311.2241 | 33.25 | 68.6
42825 | 2021-03-03 15:32 | 68.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.5376 | μmol/L | 35.1144 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.138 | 169472.118 | 310307.8938 | 33.25 | 68.6
42835 | 2021-03-03 15:33 | 69.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.4057 | μmol/L | 35.1388 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.139 | 169488.1092 | 310305.2712 | 33.25 | 68.6
42845 | 2021-03-03 15:33 | 69.335 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.6633 | μmol/L | 35.0838 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.14 | 169499.0477 | 310292.7843 | 33.25 | 68.6
42855 | 2021-03-03 15:33 | 69.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.5671 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.143 | 169519.1857 | 310294.4789 | 33.25 | 68.6
42865 | 2021-03-03 15:34 | 70.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.4053 | μmol/L | 35.1266 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.144 | 169524.792 | 310287.2819 | 33.25 | 68.6
42875 | 2021-03-03 15:34 | 70.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.4947 | μmol/L | 35.096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.149 | 169563.4356 | 310296.3044 | 33.25 | 68.6
42885 | 2021-03-03 15:34 | 70.6688 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.6566 | μmol/L | 35.0655 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.148 | 169562.2755 | 310288.4651 | 33.25 | 68.6
42895 | 2021-03-03 15:35 | 71.0017 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.9859 | μmol/L | 35.2 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.149 | 169581.4079 | 310293.2078 | 33.25 | 68.6
42905 | 2021-03-03 15:35 | 71.3354 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.303 | μmol/L | 35.1327 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.15 | 169600.1098 | 310290.5885 | 33.25 | 68.6
42915 | 2021-03-03 15:35 | 71.6685 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.6199 | μmol/L | 35.0532 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.156 | 169613.0059 | 310289.7744 | 33.25 | 68.6
42925 | 2021-03-03 15:36 | 72.0022 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.686 | μmol/L | 35.0471 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.153 | 169631.9713 | 310285.5236 | 33.25 | 68.6
42935 | 2021-03-03 15:36 | 72.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.2304 | μmol/L | 35.1205 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.161 | 169648.9501 | 310301.5945 | 33.25 | 68.6
42945 | 2021-03-03 15:36 | 72.6682 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.422 | μmol/L | 35.0838 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.16 | 169662.0378 | 310292.6693 | 33.25 | 68.6
42955 | 2021-03-03 15:37 | 73.0019 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.9912 | μmol/L | 35.1694 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.161 | 169680.0649 | 310293.5478 | 33.25 | 68.6
42965 | 2021-03-03 15:37 | 73.3349 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.9191 | μmol/L | 35.1694 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.167 | 169713.7543 | 310294.9354 | 33.25 | 68.6
42975 | 2021-03-03 15:37 | 73.6686 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.0088 | μmol/L | 35.1511 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.167 | 169711.0647 | 310286.8963 | 33.25 | 68.6
42985 | 2021-03-03 15:38 | 74.0023 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.1939 | μmol/L | 35.1083 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.169 | 169739.9227 | 310284.6358 | 33.25 | 68.6
42995 | 2021-03-03 15:38 | 74.3352 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 143.14 | μmol/L | 35.1144 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.171 | 169752.1026 | 310301.3316 | 33.25 | 68.6
43005 | 2021-03-03 15:38 | 74.6683 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.7513 | μmol/L | 35.1816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.176 | 169766.7092 | 310298.7836 | 33.25 | 68.6
43014 | 2021-03-03 15:39 | 75.002 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 142.4526 | μmol/L | 35.2306 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.181 | 169796.8155 | 310304.716 | 33.25 | 68.6