## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40769 | 2021-03-03 14:24 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.3008 | μmol/L | 35.2861 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.087 | 147043.0557 | 274421.8087 | 32.55 | 27.7
40779 | 2021-03-03 14:24 | 0.33277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.3195 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.076 | 146975.7651 | 274384.2383 | 32.55 | 27.7
40789 | 2021-03-03 14:24 | 0.66552 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.4755 | μmol/L | 35.2923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.071 | 146883.9705 | 274354.8684 | 32.55 | 27.7
40799 | 2021-03-03 14:25 | 0.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.6721 | μmol/L | 35.2554 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.07 | 146883.8145 | 274337.1015 | 32.55 | 27.7
40809 | 2021-03-03 14:25 | 1.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.7382 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.072 | 146890.7458 | 274309.7438 | 32.55 | 27.7
40819 | 2021-03-03 14:25 | 1.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.8203 | μmol/L | 35.2308 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.068 | 146847.5126 | 274278.6416 | 32.55 | 27.7
40829 | 2021-03-03 14:26 | 1.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.7977 | μmol/L | 35.2431 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.065 | 146840.5581 | 274278.0842 | 32.55 | 27.7
40839 | 2021-03-03 14:26 | 2.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.7738 | μmol/L | 35.2247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.074 | 146901.5887 | 274266.0242 | 32.55 | 27.7
40849 | 2021-03-03 14:26 | 2.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.3541 | μmol/L | 35.2677 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.09 | 147003.5446 | 274250.7318 | 32.55 | 27.7
40859 | 2021-03-03 14:27 | 2.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 148.09 | μmol/L | 35.2615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.113 | 147156.3875 | 274242.2842 | 32.55 | 27.7
40869 | 2021-03-03 14:27 | 3.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.9601 | μmol/L | 35.28 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.116 | 147212.5904 | 274223.5293 | 32.55 | 27.7
40879 | 2021-03-03 14:27 | 3.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.8216 | μmol/L | 35.2615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.134 | 147313.0191 | 274223.9881 | 32.55 | 27.7
40889 | 2021-03-03 14:28 | 3.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.6282 | μmol/L | 35.28 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.142 | 147368.6978 | 274212.09 | 32.55 | 27.7
40899 | 2021-03-03 14:28 | 4.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.6343 | μmol/L | 35.2247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.163 | 147526.0091 | 274209.6944 | 32.55 | 27.7
40909 | 2021-03-03 14:28 | 4.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.3248 | μmol/L | 35.2615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.173 | 147598.589 | 274206.5952 | 32.55 | 27.7
40919 | 2021-03-03 14:29 | 4.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.4375 | μmol/L | 35.2001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.188 | 147707.3438 | 274203.8198 | 32.55 | 27.7
40929 | 2021-03-03 14:29 | 5.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.5989 | μmol/L | 35.1571 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.192 | 147743.247 | 274191.444 | 32.55 | 27.7
40939 | 2021-03-03 14:29 | 5.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2039 | μmol/L | 35.2062 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.204 | 147803.7989 | 274201.7641 | 32.55 | 27.7
40949 | 2021-03-03 14:30 | 5.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.4189 | μmol/L | 35.1755 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.199 | 147777.3141 | 274185.3551 | 32.55 | 27.7
40959 | 2021-03-03 14:30 | 6.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2821 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.205 | 147818.5197 | 274182.1504 | 32.55 | 27.7
40969 | 2021-03-03 14:30 | 6.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.0799 | μmol/L | 35.2185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.209 | 147848.0865 | 274176.242 | 32.55 | 27.7
40979 | 2021-03-03 14:31 | 6.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.0313 | μmol/L | 35.2001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.22 | 147915.229 | 274172.2644 | 32.55 | 27.7
40989 | 2021-03-03 14:31 | 7.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.7992 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.224 | 147933.4499 | 274165.7728 | 32.55 | 27.7
40999 | 2021-03-03 14:31 | 7.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.0177 | μmol/L | 35.1693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.233 | 147967.3388 | 274150.3494 | 32.55 | 27.7
41009 | 2021-03-03 14:32 | 7.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.75 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.247 | 148056.9232 | 274139.4074 | 32.55 | 27.7
41019 | 2021-03-03 14:32 | 8.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.8474 | μmol/L | 35.1448 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.256 | 148176.9085 | 274155.7378 | 32.55 | 27.7
41029 | 2021-03-03 14:32 | 8.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.2636 | μmol/L | 35.0341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.266 | 148261.599 | 274152.207 | 32.55 | 27.7
41039 | 2021-03-03 14:33 | 8.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.9758 | μmol/L | 35.1263 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.253 | 148167.9373 | 274145.9538 | 32.55 | 27.7
41049 | 2021-03-03 14:33 | 9.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 147.1442 | μmol/L | 35.0895 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.254 | 148118.8582 | 274132.9585 | 32.55 | 27.7
41059 | 2021-03-03 14:33 | 9.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.8474 | μmol/L | 35.1448 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.256 | 148163.9555 | 274137.7957 | 32.55 | 27.7
41069 | 2021-03-03 14:34 | 9.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.9669 | μmol/L | 35.0895 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.268 | 148208.8249 | 274119.6032 | 32.55 | 27.7
41079 | 2021-03-03 14:34 | 10.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.7045 | μmol/L | 35.1017 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.284 | 148331.2567 | 274121.0689 | 32.55 | 27.7
41089 | 2021-03-03 14:34 | 10.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.6025 | μmol/L | 35.071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.304 | 148453.5022 | 274113.9076 | 32.55 | 27.7
41099 | 2021-03-03 14:35 | 10.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.3292 | μmol/L | 35.114 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.309 | 148527.6623 | 274119.2631 | 32.55 | 27.7
41109 | 2021-03-03 14:35 | 11.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.2585 | μmol/L | 35.1079 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.317 | 148554.0872 | 274117.0618 | 32.55 | 27.7
41119 | 2021-03-03 14:35 | 11.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.6236 | μmol/L | 35.028 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.319 | 148579.3304 | 274111.5087 | 32.55 | 27.7
41129 | 2021-03-03 14:36 | 11.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1377 | μmol/L | 35.1017 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.329 | 148645.5266 | 274118.9121 | 32.55 | 27.7
41139 | 2021-03-03 14:36 | 12.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.5971 | μmol/L | 34.9973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.333 | 148665.597 | 274105.9468 | 32.55 | 27.7
41149 | 2021-03-03 14:36 | 12.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.128 | μmol/L | 35.0341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.356 | 148829.8592 | 274101.6371 | 32.55 | 27.7
41159 | 2021-03-03 14:37 | 12.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.0151 | μmol/L | 35.0341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.365 | 148886.7478 | 274103.5661 | 32.55 | 27.7
41169 | 2021-03-03 14:37 | 13.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.0516 | μmol/L | 35.0034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.374 | 148932.312 | 274103.3847 | 32.55 | 27.7
41179 | 2021-03-03 14:37 | 13.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.1018 | μmol/L | 35.0034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.37 | 148932.3256 | 274096.2114 | 32.55 | 27.7
41189 | 2021-03-03 14:38 | 13.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.7221 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.386 | 149011.5689 | 274106.2659 | 32.55 | 27.7
41199 | 2021-03-03 14:38 | 14.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 146.0099 | μmol/L | 34.9604 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.394 | 149073.3777 | 274093.457 | 32.55 | 27.7
41209 | 2021-03-03 14:38 | 14.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.649 | μmol/L | 35.0219 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.399 | 149109.7331 | 274090.2472 | 32.55 | 27.7
41219 | 2021-03-03 14:39 | 14.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6384 | μmol/L | 35.0034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.407 | 149166.4423 | 274100.2769 | 32.55 | 27.7
41229 | 2021-03-03 14:39 | 15.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6807 | μmol/L | 34.9973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.406 | 149128.1487 | 274100.4032 | 32.55 | 27.7
41239 | 2021-03-03 14:39 | 15.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6546 | μmol/L | 34.9666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.42 | 149230.6044 | 274093.0469 | 32.55 | 27.7
41249 | 2021-03-03 14:40 | 15.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.9054 | μmol/L | 34.9174 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.419 | 149256.8712 | 274097.9168 | 32.55 | 27.7
41259 | 2021-03-03 14:40 | 16.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.619 | μmol/L | 34.9481 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.43 | 149331.6998 | 274106.625 | 32.55 | 27.7
41269 | 2021-03-03 14:40 | 16.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.8165 | μmol/L | 34.8867 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.438 | 149379.1882 | 274094.5056 | 32.55 | 27.7
41279 | 2021-03-03 14:41 | 16.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.5037 | μmol/L | 34.9358 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.444 | 149441.1455 | 274094.211 | 32.55 | 27.7
41289 | 2021-03-03 14:41 | 17.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.6183 | μmol/L | 34.8682 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.461 | 149568.6248 | 274073.3502 | 32.55 | 27.7
41299 | 2021-03-03 14:41 | 17.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 145.2075 | μmol/L | 34.9481 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.463 | 149583.3273 | 274083.9991 | 32.55 | 27.7
41309 | 2021-03-03 14:42 | 17.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.8575 | μmol/L | 34.9666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.484 | 149726.9746 | 274090.4408 | 32.55 | 27.7
41319 | 2021-03-03 14:42 | 18.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.3751 | μmol/L | 34.9973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.511 | 149907.4679 | 274075.1344 | 32.55 | 27.7
41329 | 2021-03-03 14:42 | 18.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.052 | μmol/L | 35.0157 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.53 | 150075.4568 | 274072.362 | 32.55 | 27.7
41339 | 2021-03-03 14:43 | 18.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 144.3253 | μmol/L | 34.8867 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.558 | 150282.812 | 274073.8945 | 32.55 | 27.7
41349 | 2021-03-03 14:43 | 19.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.9912 | μmol/L | 34.9358 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.566 | 150355.8756 | 274072.1216 | 32.55 | 27.7
41359 | 2021-03-03 14:43 | 19.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.356 | μmol/L | 35.0096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.589 | 150490.1373 | 274067.1095 | 32.55 | 27.7
41369 | 2021-03-03 14:44 | 19.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.3338 | μmol/L | 34.9911 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.598 | 150587.4855 | 274074.5833 | 32.55 | 27.7
41379 | 2021-03-03 14:44 | 20.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.9889 | μmol/L | 35.0096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.619 | 150775.2454 | 274072.7143 | 32.55 | 27.7
41389 | 2021-03-03 14:44 | 20.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 143.1641 | μmol/L | 34.942 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.631 | 150857.6515 | 274061.5259 | 32.55 | 27.7
41399 | 2021-03-03 14:45 | 20.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.7177 | μmol/L | 34.9666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.658 | 151020.7228 | 274061.6226 | 32.55 | 27.7
41409 | 2021-03-03 14:45 | 21.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.1806 | μmol/L | 35.0464 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.671 | 151170.6843 | 274057.2937 | 32.55 | 27.7
41419 | 2021-03-03 14:45 | 21.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 142.0835 | μmol/L | 35.0464 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.679 | 151227.7727 | 274048.7484 | 32.55 | 27.7
41429 | 2021-03-03 14:46 | 21.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.9091 | μmol/L | 35.0526 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.691 | 151342.7838 | 274051.9577 | 32.55 | 27.7
41439 | 2021-03-03 14:46 | 22.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.597 | μmol/L | 35.0649 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.712 | 151527.8856 | 274060.55 | 32.55 | 27.7
41449 | 2021-03-03 14:46 | 22.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.532 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.727 | 151604.8661 | 274059.5723 | 32.55 | 27.7
41459 | 2021-03-03 14:47 | 22.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.3509 | μmol/L | 35.071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.73 | 151663.851 | 274069.6368 | 32.55 | 27.7
41469 | 2021-03-03 14:47 | 23.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 141.013 | μmol/L | 35.1325 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.734 | 151701.1152 | 274061.6257 | 32.55 | 27.7
41479 | 2021-03-03 14:47 | 23.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.9338 | μmol/L | 35.1263 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.743 | 151797.7449 | 274054.354 | 32.55 | 27.7
41489 | 2021-03-03 14:48 | 23.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.8748 | μmol/L | 35.0649 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.772 | 151990.063 | 274059.709 | 32.55 | 27.7
41499 | 2021-03-03 14:48 | 24.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.3152 | μmol/L | 35.1509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.785 | 152117.044 | 274053.065 | 32.55 | 27.7
41509 | 2021-03-03 14:48 | 24.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 140.1052 | μmol/L | 35.1448 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.805 | 152279.9945 | 274054.5019 | 32.55 | 27.7
41519 | 2021-03-03 14:49 | 24.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.6559 | μmol/L | 35.2001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.821 | 152395.6582 | 274052.8749 | 32.55 | 27.7
41529 | 2021-03-03 14:49 | 25.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.6421 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.827 | 152452.3311 | 274052.0079 | 32.55 | 27.7
41539 | 2021-03-03 14:49 | 25.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.6114 | μmol/L | 35.1816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.832 | 152512.7055 | 274047.2999 | 32.55 | 27.7
41549 | 2021-03-03 14:50 | 25.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.1162 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.852 | 152666.0475 | 274047.0101 | 32.55 | 27.7
41559 | 2021-03-03 14:50 | 26.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.9875 | μmol/L | 35.2062 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.875 | 152824.4078 | 274037.3954 | 32.55 | 27.7
41569 | 2021-03-03 14:50 | 26.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.8258 | μmol/L | 35.2308 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.879 | 152890.7596 | 274037.4748 | 32.55 | 27.7
41579 | 2021-03-03 14:51 | 26.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.0302 | μmol/L | 35.2554 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.852 | 152719.2348 | 274047.8389 | 32.55 | 27.7
41589 | 2021-03-03 14:51 | 27.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.333 | μmol/L | 35.2615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.824 | 152471.5272 | 274029.8735 | 32.55 | 27.7
41599 | 2021-03-03 14:51 | 27.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2892 | μmol/L | 35.2861 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.818 | 152455.8054 | 274040.1006 | 32.55 | 27.7
41609 | 2021-03-03 14:52 | 27.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.1926 | μmol/L | 35.2738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.831 | 152577.7158 | 274038.3451 | 32.55 | 27.7
41619 | 2021-03-03 14:52 | 28.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2819 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.838 | 152603.5893 | 274034.2925 | 32.55 | 27.7
41629 | 2021-03-03 14:52 | 28.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.9309 | μmol/L | 35.3045 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.841 | 152668.1303 | 274036.6435 | 32.55 | 27.7
41639 | 2021-03-03 14:53 | 28.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.7572 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.846 | 152706.6669 | 274039.1228 | 32.55 | 27.7
41649 | 2021-03-03 14:53 | 29.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2819 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.838 | 152665.7047 | 274032.4191 | 32.55 | 27.7
41659 | 2021-03-03 14:53 | 29.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.9528 | μmol/L | 35.2923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.844 | 152709.1348 | 274043.867 | 32.55 | 27.7
41669 | 2021-03-03 14:54 | 29.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.9376 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.838 | 152666.765 | 274030.4756 | 32.55 | 27.7
41679 | 2021-03-03 14:54 | 30.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 139.2701 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.839 | 152671.9612 | 274017.7909 | 32.55 | 27.7
41689 | 2021-03-03 14:54 | 30.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.5365 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.855 | 152787.6495 | 274034.0583 | 32.55 | 27.7
41699 | 2021-03-03 14:55 | 30.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.6156 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.858 | 152833.3775 | 274028.941 | 32.55 | 27.7
41709 | 2021-03-03 14:55 | 31.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.4155 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.875 | 152964.0883 | 274037.216 | 32.55 | 27.7
41719 | 2021-03-03 14:55 | 31.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.3013 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.892 | 153082.8021 | 274017.5859 | 32.55 | 27.7
41729 | 2021-03-03 14:56 | 31.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.0983 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.902 | 153180.798 | 274034.6172 | 32.55 | 27.7
41739 | 2021-03-03 14:56 | 32.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.1621 | μmol/L | 35.28 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.916 | 153289.3941 | 274020.1849 | 32.55 | 27.7
41749 | 2021-03-03 14:56 | 32.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 138.1571 | μmol/L | 35.2861 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.914 | 153278.9007 | 274032.0846 | 32.55 | 27.7
41759 | 2021-03-03 14:57 | 32.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.7785 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.922 | 153316.8664 | 274034.1466 | 32.55 | 27.7
41769 | 2021-03-03 14:57 | 33.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.7149 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.925 | 153367.8664 | 274021.7293 | 32.55 | 27.7
41779 | 2021-03-03 14:57 | 33.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.4158 | μmol/L | 35.3906 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.936 | 153471.072 | 274035.0241 | 32.55 | 27.7
41789 | 2021-03-03 14:58 | 33.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.321 | μmol/L | 35.3783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.949 | 153563.3533 | 274026.8731 | 32.55 | 27.7
41799 | 2021-03-03 14:58 | 34.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.2344 | μmol/L | 35.3844 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.954 | 153628.0002 | 274027.4448 | 32.55 | 27.7
41809 | 2021-03-03 14:58 | 34.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.0213 | μmol/L | 35.4029 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.965 | 153685.1263 | 274019.1941 | 32.55 | 27.7
41819 | 2021-03-03 14:59 | 34.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.0575 | μmol/L | 35.4152 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.957 | 153645.9585 | 274029.381 | 32.55 | 27.7
41829 | 2021-03-03 14:59 | 35.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.2162 | μmol/L | 35.3783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.958 | 153653.2868 | 274015.8124 | 32.55 | 27.7
41839 | 2021-03-03 14:59 | 35.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.0845 | μmol/L | 35.3967 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.962 | 153694.9145 | 274021.9745 | 32.55 | 27.7
41849 | 2021-03-03 15:00 | 35.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.19 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.97 | 153741.7917 | 274031.8881 | 32.55 | 27.7
41859 | 2021-03-03 15:00 | 36.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.017 | μmol/L | 35.366 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.98 | 153861.1646 | 274028.3572 | 32.55 | 27.7
41869 | 2021-03-03 15:00 | 36.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.8943 | μmol/L | 35.3599 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.993 | 153939.1099 | 274020.1209 | 32.55 | 27.7
41879 | 2021-03-03 15:01 | 36.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.919 | μmol/L | 35.3721 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.986 | 153889.4971 | 274035.792 | 32.55 | 27.7
41889 | 2021-03-03 15:01 | 37.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 137.1157 | μmol/L | 35.3168 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.991 | 153927.7466 | 274019.5063 | 32.55 | 27.7
41899 | 2021-03-03 15:01 | 37.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.6267 | μmol/L | 35.4029 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.999 | 153949.1119 | 274010.7814 | 32.55 | 27.7
41909 | 2021-03-03 15:02 | 37.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.5624 | μmol/L | 35.3967 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.007 | 154034.6973 | 274023.0917 | 32.55 | 27.7
41919 | 2021-03-03 15:02 | 38.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.4647 | μmol/L | 35.4029 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.013 | 154069.826 | 274000.6923 | 32.55 | 27.7
41929 | 2021-03-03 15:02 | 38.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.5508 | μmol/L | 35.3967 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.008 | 154047.3686 | 274027.3124 | 32.55 | 27.7
41939 | 2021-03-03 15:03 | 38.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.4698 | μmol/L | 35.3967 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.015 | 154094.78 | 274014.3117 | 32.55 | 27.7
41949 | 2021-03-03 15:03 | 39.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.7296 | μmol/L | 35.3906 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.995 | 153955.3203 | 274016.3705 | 32.55 | 27.7
41959 | 2021-03-03 15:03 | 39.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.9938 | μmol/L | 35.366 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.982 | 153849.2637 | 274019.4779 | 32.55 | 27.7
41969 | 2021-03-03 15:04 | 39.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.579 | μmol/L | 35.3906 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.008 | 154013.4612 | 274007.3575 | 32.55 | 27.7
41979 | 2021-03-03 15:04 | 40.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.4181 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.039 | 154237.1434 | 274015.6427 | 32.55 | 27.7
41989 | 2021-03-03 15:04 | 40.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.3372 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.046 | 154346.4331 | 274017.5438 | 32.55 | 27.7
41999 | 2021-03-03 15:05 | 40.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.0899 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.065 | 154476.1371 | 274011.0376 | 32.55 | 27.7
42009 | 2021-03-03 15:05 | 41.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 136.0936 | μmol/L | 35.3353 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.072 | 154500.8234 | 274015.06 | 32.55 | 27.7
42019 | 2021-03-03 15:05 | 41.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.7536 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.104 | 154722.8703 | 274007.4953 | 32.55 | 27.7
42029 | 2021-03-03 15:06 | 41.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.658 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.105 | 154748.9423 | 274022.6246 | 32.55 | 27.7
42039 | 2021-03-03 15:06 | 42.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.7725 | μmol/L | 35.2923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.117 | 154838.5648 | 274013.257 | 32.55 | 27.7
42049 | 2021-03-03 15:06 | 42.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.6503 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.113 | 154835.7142 | 274010.626 | 32.55 | 27.7
42059 | 2021-03-03 15:07 | 42.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.5113 | μmol/L | 35.3168 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.13 | 154956.8675 | 273997.9427 | 32.55 | 27.7
42069 | 2021-03-03 15:07 | 43.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.4285 | μmol/L | 35.2923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.147 | 155085.7942 | 274014.6124 | 32.55 | 27.7
42079 | 2021-03-03 15:07 | 43.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.4029 | μmol/L | 35.2677 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.159 | 155158.1089 | 274013.1235 | 32.55 | 27.7
42089 | 2021-03-03 15:08 | 43.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.1578 | μmol/L | 35.2738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.178 | 155289.74 | 274006.6306 | 32.55 | 27.7
42099 | 2021-03-03 15:08 | 44.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9918 | μmol/L | 35.2677 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.195 | 155399.2533 | 273999.5924 | 32.55 | 27.7
42109 | 2021-03-03 15:08 | 44.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.9512 | μmol/L | 35.2615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.201 | 155479.1245 | 274015.7619 | 32.55 | 27.7
42119 | 2021-03-03 15:09 | 44.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.2438 | μmol/L | 35.2247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.19 | 155398.3659 | 274013.4928 | 32.55 | 27.7
42129 | 2021-03-03 15:09 | 45.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8766 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.188 | 155371.1726 | 274008.9917 | 32.55 | 27.7
42139 | 2021-03-03 15:09 | 45.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8968 | μmol/L | 35.2861 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.196 | 155390.0049 | 273989.6404 | 32.55 | 27.7
42149 | 2021-03-03 15:10 | 45.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.7843 | μmol/L | 35.2984 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.201 | 155454.4157 | 274004.948 | 32.55 | 27.7
42159 | 2021-03-03 15:10 | 46.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.6882 | μmol/L | 35.3045 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.207 | 155490.2597 | 274006.2083 | 32.55 | 27.7
42169 | 2021-03-03 15:10 | 46.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.6945 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.204 | 155455.7341 | 274002.8438 | 32.55 | 27.7
42179 | 2021-03-03 15:11 | 46.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.7059 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.203 | 155418.0418 | 273985.0427 | 32.55 | 27.7
42189 | 2021-03-03 15:11 | 47.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.8222 | μmol/L | 35.28 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.205 | 155415.9212 | 273986.1502 | 32.55 | 27.7
42199 | 2021-03-03 15:11 | 47.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0776 | μmol/L | 35.2185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.207 | 155457.0902 | 274007.3456 | 32.55 | 27.7
42209 | 2021-03-03 15:12 | 47.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0876 | μmol/L | 35.2062 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.211 | 155484.847 | 274004.7671 | 32.55 | 27.7
42219 | 2021-03-03 15:12 | 48.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 135.0092 | μmol/L | 35.2185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.213 | 155484.3818 | 273997.9219 | 32.55 | 27.7
42229 | 2021-03-03 15:12 | 48.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.928 | μmol/L | 35.2062 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.225 | 155551.4631 | 274003.7131 | 32.55 | 27.7
42239 | 2021-03-03 15:13 | 48.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.7446 | μmol/L | 35.1939 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.246 | 155752.1721 | 273994.8527 | 32.55 | 27.7
42249 | 2021-03-03 15:13 | 49.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.5048 | μmol/L | 35.1816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.272 | 155931.4447 | 273988.9614 | 32.55 | 27.7
42259 | 2021-03-03 15:13 | 49.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 134.454 | μmol/L | 35.1325 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.296 | 156105.6295 | 273989.6093 | 32.55 | 27.7
42269 | 2021-03-03 15:14 | 49.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.9141 | μmol/L | 35.1571 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.334 | 156363.0597 | 273999.3591 | 32.55 | 27.7
42279 | 2021-03-03 15:14 | 50.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.9362 | μmol/L | 35.1017 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.354 | 156518.9064 | 273987.5464 | 32.55 | 27.7
42289 | 2021-03-03 15:14 | 50.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.6623 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.371 | 156627.4819 | 273978.671 | 32.55 | 27.7
42299 | 2021-03-03 15:15 | 50.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2905 | μmol/L | 35.1632 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.387 | 156794.7349 | 273990.3599 | 32.55 | 27.7
42309 | 2021-03-03 15:15 | 51.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.1474 | μmol/L | 35.1325 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.412 | 156947.7031 | 273983.0549 | 32.55 | 27.7
42319 | 2021-03-03 15:15 | 51.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.4125 | μmol/L | 35.0956 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.403 | 156861.5396 | 273984.8732 | 32.55 | 27.7
42329 | 2021-03-03 15:16 | 51.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.1685 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.415 | 156933.6937 | 273987.7106 | 32.55 | 27.7
42339 | 2021-03-03 15:16 | 52.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.0031 | μmol/L | 35.1448 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.42 | 156991.4075 | 273983.3181 | 32.55 | 27.7
42349 | 2021-03-03 15:16 | 52.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.9895 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.431 | 157044.735 | 273985.921 | 32.55 | 27.7
42359 | 2021-03-03 15:17 | 52.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.9448 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.435 | 157102.0426 | 273975.7909 | 32.55 | 27.7
42369 | 2021-03-03 15:17 | 53.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.5508 | μmol/L | 35.0772 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.398 | 156781.0816 | 273969.9521 | 32.55 | 27.7
42379 | 2021-03-03 15:17 | 53.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.4905 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.418 | 156897.8589 | 273955.578 | 32.55 | 27.7
42389 | 2021-03-03 15:18 | 53.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2466 | μmol/L | 35.0649 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.43 | 157005.1127 | 273960.6418 | 32.55 | 27.7
42399 | 2021-03-03 15:18 | 54.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2788 | μmol/L | 35.0526 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.432 | 157012.5623 | 273978.2218 | 32.55 | 27.7
42409 | 2021-03-03 15:18 | 54.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.2264 | μmol/L | 35.0341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.444 | 157078.5278 | 273958.9038 | 32.55 | 27.7
42419 | 2021-03-03 15:19 | 54.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.1593 | μmol/L | 35.0341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.45 | 157135.845 | 273968.648 | 32.55 | 27.7
42429 | 2021-03-03 15:19 | 55.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 133.0831 | μmol/L | 35.0034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.469 | 157263.7178 | 273966.3096 | 32.55 | 27.7
42439 | 2021-03-03 15:19 | 55.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.6199 | μmol/L | 35.0526 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.491 | 157437.2076 | 273966.5176 | 32.55 | 27.7
42449 | 2021-03-03 15:20 | 55.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.558 | μmol/L | 35.0464 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.499 | 157515.4069 | 273975.2861 | 32.55 | 27.7
42459 | 2021-03-03 15:20 | 56.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.3418 | μmol/L | 35.0526 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.516 | 157636.5798 | 273971.4339 | 32.55 | 27.7
42469 | 2021-03-03 15:20 | 56.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.0264 | μmol/L | 35.0587 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.542 | 157849.862 | 273962.7717 | 32.55 | 27.7
42479 | 2021-03-03 15:21 | 56.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.8973 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.561 | 157965.578 | 273947.1105 | 32.55 | 27.7
42489 | 2021-03-03 15:21 | 57.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.669 | μmol/L | 35.0219 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.589 | 158180.09 | 273956.1601 | 32.55 | 27.7
42499 | 2021-03-03 15:21 | 57.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.734 | μmol/L | 35.0096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.588 | 158157.3451 | 273955.1882 | 32.55 | 27.7
42509 | 2021-03-03 15:22 | 57.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 132.0371 | μmol/L | 34.9481 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.585 | 158179.0193 | 273963.6898 | 32.55 | 27.7
42519 | 2021-03-03 15:22 | 58.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.5085 | μmol/L | 35.0157 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.606 | 158289.6177 | 273972.6758 | 32.55 | 27.7
42529 | 2021-03-03 15:22 | 58.6654 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.4778 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.599 | 158277.4533 | 273966.6885 | 32.55 | 27.7
42539 | 2021-03-03 15:23 | 58.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.5097 | μmol/L | 35.028 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.601 | 158278.8084 | 273965.6727 | 32.55 | 27.7
42549 | 2021-03-03 15:23 | 59.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.2528 | μmol/L | 35.0464 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.617 | 158413.8437 | 273960.055 | 32.55 | 27.7
42559 | 2021-03-03 15:23 | 59.6655 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 131.0528 | μmol/L | 35.0219 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.645 | 158596.8689 | 273961.9317 | 32.55 | 27.7
42569 | 2021-03-03 15:24 | 59.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.775 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.663 | 158748.2721 | 273954.9113 | 32.55 | 27.7
42579 | 2021-03-03 15:24 | 60.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.6491 | μmol/L | 34.9788 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.699 | 159019.2209 | 273945.7448 | 32.55 | 27.7
42589 | 2021-03-03 15:24 | 60.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 130.0214 | μmol/L | 35.028 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.737 | 159309.025 | 273943.6596 | 32.55 | 27.7
42599 | 2021-03-03 15:25 | 60.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.6102 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.77 | 159561.0617 | 273932.3304 | 32.55 | 27.7
42609 | 2021-03-03 15:25 | 61.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7015 | μmol/L | 34.9666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.791 | 159753.1982 | 273949.0228 | 32.55 | 27.7
42619 | 2021-03-03 15:25 | 61.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2918 | μmol/L | 35.0464 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.797 | 159796.1558 | 273944.5127 | 32.55 | 27.7
42629 | 2021-03-03 15:26 | 61.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4646 | μmol/L | 34.9788 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.808 | 159865.2276 | 273943.3991 | 32.55 | 27.7
42639 | 2021-03-03 15:26 | 62.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0918 | μmol/L | 35.0403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.818 | 159974.2933 | 273948.6369 | 32.55 | 27.7
42649 | 2021-03-03 15:26 | 62.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.7503 | μmol/L | 35.0772 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.835 | 160097.3075 | 273947.0854 | 32.55 | 27.7
42659 | 2021-03-03 15:27 | 62.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.4902 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.842 | 160147.5182 | 273936.7094 | 32.55 | 27.7
42669 | 2021-03-03 15:27 | 63.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6503 | μmol/L | 35.1079 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.832 | 160096.8008 | 273953.8104 | 32.55 | 27.7
42679 | 2021-03-03 15:27 | 63.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.5868 | μmol/L | 35.1202 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.833 | 160119.8735 | 273939.3379 | 32.55 | 27.7
42689 | 2021-03-03 15:28 | 63.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.4768 | μmol/L | 35.1632 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.826 | 160087.5466 | 273942.3337 | 32.55 | 27.7
42699 | 2021-03-03 15:28 | 64.3322 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.2855 | μmol/L | 35.1878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.834 | 160153.463 | 273929.9797 | 32.55 | 27.7
42709 | 2021-03-03 15:28 | 64.6657 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.9825 | μmol/L | 35.2185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.85 | 160293.0597 | 273930.7977 | 32.55 | 27.7
42719 | 2021-03-03 15:29 | 64.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.7911 | μmol/L | 35.2308 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.863 | 160392.4382 | 273948.5041 | 32.55 | 27.7
42729 | 2021-03-03 15:29 | 65.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6615 | μmol/L | 35.2001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.794 | 159901.6882 | 273938.6425 | 32.55 | 27.7
42739 | 2021-03-03 15:29 | 65.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.008 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.747 | 159593.3211 | 273944.118 | 32.55 | 27.7
42749 | 2021-03-03 15:30 | 65.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2779 | μmol/L | 35.2369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.722 | 159340.6448 | 273933.2815 | 32.55 | 27.7
42759 | 2021-03-03 15:30 | 66.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3933 | μmol/L | 35.2677 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.699 | 159195.9696 | 273934.4554 | 32.55 | 27.7
42769 | 2021-03-03 15:30 | 66.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7135 | μmol/L | 35.2738 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.667 | 158982.8691 | 273936.0225 | 32.55 | 27.7
42779 | 2021-03-03 15:31 | 66.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.9432 | μmol/L | 35.2984 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.636 | 158769.4954 | 273938.6124 | 32.55 | 27.7
42789 | 2021-03-03 15:31 | 67.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7483 | μmol/L | 35.3107 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.649 | 158845.2909 | 273927.7039 | 32.55 | 27.7
42799 | 2021-03-03 15:31 | 67.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.7149 | μmol/L | 35.2984 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.657 | 158906.3818 | 273926.2599 | 32.55 | 27.7
42809 | 2021-03-03 15:32 | 67.999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.4286 | μmol/L | 35.3168 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.676 | 159031.2111 | 273933.3285 | 32.55 | 27.7
42819 | 2021-03-03 15:32 | 68.3323 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.3318 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.68 | 159099.6561 | 273929.0339 | 32.55 | 27.7
42829 | 2021-03-03 15:32 | 68.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.2345 | μmol/L | 35.3291 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.689 | 159166.1677 | 273932.9118 | 32.55 | 27.7
42839 | 2021-03-03 15:33 | 68.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0311 | μmol/L | 35.366 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.693 | 159185.4136 | 273928.1232 | 32.55 | 27.7
42849 | 2021-03-03 15:33 | 69.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.1544 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.689 | 159169.5174 | 273927.196 | 32.55 | 27.7
42859 | 2021-03-03 15:33 | 69.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 129.0209 | μmol/L | 35.3783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.689 | 159166.4496 | 273940.263 | 32.55 | 27.7
42869 | 2021-03-03 15:34 | 69.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8647 | μmol/L | 35.3844 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.701 | 159242.3641 | 273935.0028 | 32.55 | 27.7
42879 | 2021-03-03 15:34 | 70.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.8528 | μmol/L | 35.3599 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.712 | 159361.03 | 273931.1182 | 32.55 | 27.7
42889 | 2021-03-03 15:34 | 70.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.6947 | μmol/L | 35.3168 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.744 | 159591.671 | 273915.8306 | 32.55 | 27.7
42899 | 2021-03-03 15:35 | 70.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.2506 | μmol/L | 35.3476 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.773 | 159807.3124 | 273932.6607 | 32.55 | 27.7
42909 | 2021-03-03 15:35 | 71.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.0742 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.787 | 159957.4177 | 273916.4691 | 32.55 | 27.7
42919 | 2021-03-03 15:35 | 71.6656 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 128.0344 | μmol/L | 35.2984 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.813 | 160143.3527 | 273917.8934 | 32.55 | 27.7
42929 | 2021-03-03 15:36 | 71.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.5042 | μmol/L | 35.3721 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.833 | 160297.6807 | 273923.5374 | 32.55 | 27.7
42939 | 2021-03-03 15:36 | 72.3321 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.8366 | μmol/L | 35.2923 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.834 | 160321.5355 | 273912.936 | 32.55 | 27.7
42949 | 2021-03-03 15:36 | 72.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.6686 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.825 | 160223.6024 | 273925.6494 | 32.55 | 27.7
42959 | 2021-03-03 15:37 | 72.9989 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.588 | μmol/L | 35.3353 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.84 | 160337.1541 | 273901.6046 | 32.55 | 27.7
42969 | 2021-03-03 15:37 | 73.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.4238 | μmol/L | 35.3537 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.848 | 160428.323 | 273913.305 | 32.55 | 27.7
42979 | 2021-03-03 15:37 | 73.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 127.0218 | μmol/L | 35.3906 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.871 | 160610.5027 | 273921.5624 | 32.55 | 27.7
42989 | 2021-03-03 15:38 | 73.9988 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.5631 | μmol/L | 35.4336 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.897 | 160790.6408 | 273919.1646 | 32.55 | 27.7
42999 | 2021-03-03 15:38 | 74.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.5782 | μmol/L | 35.4029 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.908 | 160890.2011 | 273917.0758 | 32.55 | 27.7
43009 | 2021-03-03 15:38 | 74.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.4101 | μmol/L | 35.4275 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.914 | 160941.7133 | 273917.9369 | 32.55 | 27.7
43016 | 2021-03-03 15:39 | 74.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 126.263 | μmol/L | 35.4397 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.923 | 160992.5563 | 273917.4067 | 32.55 | 27.7