## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38217 | 2021-03-03 10:58 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.1875 | μmol/L | 34.1543 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.574 | 202953.7738 | 279031.8336 | 62.0402 | 75.7
38224 | 2021-03-03 10:59 | 0.32926 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.378 | μmol/L | 34.1358 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.566 | 202863.6348 | 279026.1891 | 62.0402 | 75.7
38234 | 2021-03-03 10:59 | 0.66219 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.3356 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.567 | 202876.9584 | 279019.5109 | 62.0402 | 75.7
38244 | 2021-03-03 10:59 | 0.99629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.179 | μmol/L | 34.1666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.57 | 202891.3443 | 278985.7196 | 62.0402 | 75.7
38254 | 2021-03-03 11:00 | 1.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.124 | μmol/L | 34.1543 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.579 | 202984.456 | 278993.9829 | 62.0402 | 75.7
38264 | 2021-03-03 11:00 | 1.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.731 | μmol/L | 34.2098 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.589 | 203046.5375 | 278973.4039 | 62.0402 | 75.7
38274 | 2021-03-03 11:00 | 1.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.9128 | μmol/L | 34.1666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.591 | 203039.3513 | 278952.7828 | 62.0402 | 75.7
38284 | 2021-03-03 11:01 | 2.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.6553 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.602 | 203148.6047 | 278941.5395 | 62.0402 | 75.7
38294 | 2021-03-03 11:01 | 2.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.6765 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.605 | 203168.779 | 278940.5246 | 62.0402 | 75.7
38304 | 2021-03-03 11:01 | 2.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.6473 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.619 | 203273.4431 | 278930.0299 | 62.0402 | 75.7
38314 | 2021-03-03 11:02 | 3.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.3607 | μmol/L | 34.1974 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.623 | 203308.0521 | 278911.7179 | 62.0402 | 75.7
38324 | 2021-03-03 11:02 | 3.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.34 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.634 | 203387.704 | 278899.8315 | 62.0402 | 75.7
38334 | 2021-03-03 11:02 | 3.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.0834 | μmol/L | 34.2159 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.638 | 203425.5035 | 278893.0044 | 62.0402 | 75.7
38344 | 2021-03-03 11:03 | 4.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.2269 | μmol/L | 34.1543 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.65 | 203525.8144 | 278887.1175 | 62.0402 | 75.7
38354 | 2021-03-03 11:03 | 4.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.0085 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.658 | 203573.2671 | 278862.7125 | 62.0402 | 75.7
38364 | 2021-03-03 11:03 | 4.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.0211 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.657 | 203575.5305 | 278861.1272 | 62.0402 | 75.7
38374 | 2021-03-03 11:04 | 5.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.0297 | μmol/L | 34.1666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.661 | 203597.9614 | 278838.7701 | 62.0402 | 75.7
38384 | 2021-03-03 11:04 | 5.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.7614 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.673 | 203726.3779 | 278843.7881 | 62.0402 | 75.7
38394 | 2021-03-03 11:04 | 5.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.5862 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.694 | 203900.0935 | 278835.1477 | 62.0402 | 75.7
38404 | 2021-03-03 11:05 | 6.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.1862 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.726 | 204236.566 | 278809.1124 | 62.0402 | 75.7
38414 | 2021-03-03 11:05 | 6.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.0489 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.737 | 204299.8469 | 278805.4801 | 62.0402 | 75.7
38424 | 2021-03-03 11:05 | 6.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.3574 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.724 | 204162.0683 | 278798.5681 | 62.0402 | 75.7
38434 | 2021-03-03 11:06 | 7.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.4031 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.718 | 204084.6231 | 278792.5186 | 62.0402 | 75.7
38444 | 2021-03-03 11:06 | 7.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.1195 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.729 | 204188.4667 | 278792.5328 | 62.0402 | 75.7
38454 | 2021-03-03 11:06 | 7.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.3074 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.728 | 204159.155 | 278779.6042 | 62.0402 | 75.7
38464 | 2021-03-03 11:07 | 8.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.1358 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.723 | 204130.7695 | 278771.8048 | 62.0402 | 75.7
38474 | 2021-03-03 11:07 | 8.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.3531 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.722 | 204112.946 | 278754.5197 | 62.0402 | 75.7
38484 | 2021-03-03 11:07 | 8.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.1986 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.725 | 204109.3128 | 278753.2946 | 62.0402 | 75.7
38494 | 2021-03-03 11:08 | 9.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.0988 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.733 | 204157.6163 | 278740.1851 | 62.0402 | 75.7
38504 | 2021-03-03 11:08 | 9.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.9368 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.746 | 204305.4585 | 278752.5966 | 62.0402 | 75.7
38514 | 2021-03-03 11:08 | 9.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.7625 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.76 | 204440.2043 | 278736.3057 | 62.0402 | 75.7
38524 | 2021-03-03 11:09 | 10.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.0837 | μmol/L | 34.0865 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.767 | 204477.7767 | 278728.8316 | 62.0402 | 75.7
38534 | 2021-03-03 11:09 | 10.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.9418 | μmol/L | 34.1297 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.762 | 204435.2712 | 278711.7668 | 62.0402 | 75.7
38544 | 2021-03-03 11:09 | 10.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.0959 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.759 | 204390.4766 | 278702.6722 | 62.0402 | 75.7
38554 | 2021-03-03 11:10 | 11.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.675 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.76 | 204406.3256 | 278716.2831 | 62.0402 | 75.7
38564 | 2021-03-03 11:10 | 11.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.5097 | μmol/L | 34.179 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.778 | 204552.9243 | 278710.1324 | 62.0402 | 75.7
38574 | 2021-03-03 11:10 | 11.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.6146 | μmol/L | 34.1174 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.793 | 204699.4323 | 278697.724 | 62.0402 | 75.7
38584 | 2021-03-03 11:11 | 12.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.4862 | μmol/L | 34.1235 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.801 | 204754.565 | 278687.6034 | 62.0402 | 75.7
38594 | 2021-03-03 11:11 | 12.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.3823 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.8 | 204745.9896 | 278677.5934 | 62.0402 | 75.7
38604 | 2021-03-03 11:11 | 12.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.4742 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.809 | 204833.2491 | 278674.3085 | 62.0402 | 75.7
38614 | 2021-03-03 11:12 | 13.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.2469 | μmol/L | 34.1112 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.825 | 204999.2316 | 278664.1612 | 62.0402 | 75.7
38624 | 2021-03-03 11:12 | 13.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.8553 | μmol/L | 34.1235 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.852 | 205210.8061 | 278666.5413 | 62.0402 | 75.7
38634 | 2021-03-03 11:12 | 13.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.8761 | μmol/L | 34.1112 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.855 | 205216.4385 | 278650.491 | 62.0402 | 75.7
38644 | 2021-03-03 11:13 | 14.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.0166 | μmol/L | 34.0865 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.853 | 205212.3547 | 278645.2672 | 62.0402 | 75.7
38654 | 2021-03-03 11:13 | 14.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.9668 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.85 | 205155.2362 | 278638.171 | 62.0402 | 75.7
38664 | 2021-03-03 11:13 | 14.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.0618 | μmol/L | 34.0927 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.847 | 205104.2892 | 278635.6741 | 62.0402 | 75.7
38674 | 2021-03-03 11:14 | 15.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.1819 | μmol/L | 34.0619 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.849 | 205155.7118 | 278615.9731 | 62.0402 | 75.7
38684 | 2021-03-03 11:14 | 15.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.0131 | μmol/L | 34.0557 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.865 | 205306.0913 | 278613.8478 | 62.0402 | 75.7
38694 | 2021-03-03 11:14 | 15.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.8692 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.879 | 205401.3148 | 278600.951 | 62.0402 | 75.7
38704 | 2021-03-03 11:15 | 16.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.6509 | μmol/L | 34.0804 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.885 | 205441.2462 | 278596.3292 | 62.0402 | 75.7
38714 | 2021-03-03 11:15 | 16.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.7209 | μmol/L | 34.0681 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.884 | 205447.5517 | 278593.1243 | 62.0402 | 75.7
38724 | 2021-03-03 11:15 | 16.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.6598 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.896 | 205562.1964 | 278586.716 | 62.0402 | 75.7
38734 | 2021-03-03 11:16 | 17.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.4256 | μmol/L | 34.0681 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.908 | 205674.2118 | 278576.9831 | 62.0402 | 75.7
38744 | 2021-03-03 11:16 | 17.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.3769 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.919 | 205759.8392 | 278569.8074 | 62.0402 | 75.7
38754 | 2021-03-03 11:16 | 17.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.3608 | μmol/L | 34.0373 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.925 | 205813.7871 | 278568.6262 | 62.0402 | 75.7
38764 | 2021-03-03 11:17 | 18.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.2169 | μmol/L | 34.0681 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.925 | 205793.1416 | 278544.9281 | 62.0402 | 75.7
38774 | 2021-03-03 11:17 | 18.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.2296 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.931 | 205844.8907 | 278547.2598 | 62.0402 | 75.7
38784 | 2021-03-03 11:17 | 18.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.1768 | μmol/L | 34.0373 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.94 | 205913.1124 | 278528.5704 | 62.0402 | 75.7
38794 | 2021-03-03 11:18 | 19.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.3412 | μmol/L | 33.9941 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.943 | 205933.6149 | 278524.3893 | 62.0402 | 75.7
38804 | 2021-03-03 11:18 | 19.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.4317 | μmol/L | 33.9695 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.945 | 205939.9676 | 278515.992 | 62.0402 | 75.7
38814 | 2021-03-03 11:18 | 19.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.2921 | μmol/L | 33.9941 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.947 | 205975.2256 | 278499.4452 | 62.0402 | 75.7
38824 | 2021-03-03 11:19 | 20.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.5675 | μmol/L | 33.914 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.955 | 206036.6983 | 278501.4574 | 62.0402 | 75.7
38834 | 2021-03-03 11:19 | 20.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.3789 | μmol/L | 33.9387 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.961 | 206068.8955 | 278484.9402 | 62.0402 | 75.7
38844 | 2021-03-03 11:19 | 20.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.2643 | μmol/L | 33.9449 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.968 | 206122.2331 | 278482.8046 | 62.0402 | 75.7
38854 | 2021-03-03 11:20 | 21.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.9778 | μmol/L | 33.988 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.975 | 206190.8364 | 278478.829 | 62.0402 | 75.7
38864 | 2021-03-03 11:20 | 21.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.9495 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.982 | 206241.9615 | 278467.416 | 62.0402 | 75.7
38874 | 2021-03-03 11:20 | 21.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.9006 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.986 | 206259.9505 | 278467.5706 | 62.0402 | 75.7
38884 | 2021-03-03 11:21 | 22.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.1301 | μmol/L | 33.9079 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.993 | 206348.2596 | 278447.2621 | 62.0402 | 75.7
38894 | 2021-03-03 11:21 | 22.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.8929 | μmol/L | 33.951 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.996 | 206358.4576 | 278453.0312 | 62.0402 | 75.7
38904 | 2021-03-03 11:21 | 22.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.9096 | μmol/L | 33.9264 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.004 | 206456.8892 | 278435.9756 | 62.0402 | 75.7
38914 | 2021-03-03 11:22 | 23.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.9096 | μmol/L | 33.9264 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.004 | 206436.0866 | 278421.5978 | 62.0402 | 75.7
38924 | 2021-03-03 11:22 | 23.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.6448 | μmol/L | 33.9387 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.021 | 206595.5725 | 278428.6786 | 62.0402 | 75.7
38934 | 2021-03-03 11:22 | 23.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.4582 | μmol/L | 33.9264 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.041 | 206790.3003 | 278416.0486 | 62.0402 | 75.7
38944 | 2021-03-03 11:23 | 24.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.577 | μmol/L | 33.8586 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.057 | 206942.0438 | 278399.7795 | 62.0402 | 75.7
38954 | 2021-03-03 11:23 | 24.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.1424 | μmol/L | 33.9079 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.074 | 207073.2697 | 278395.3698 | 62.0402 | 75.7
38964 | 2021-03-03 11:23 | 24.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.3336 | μmol/L | 33.8586 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.077 | 207125.4646 | 278391.824 | 62.0402 | 75.7
38974 | 2021-03-03 11:24 | 25.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.3988 | μmol/L | 33.834 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.081 | 207179.3358 | 278383.3123 | 62.0402 | 75.7
38984 | 2021-03-03 11:24 | 25.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.3015 | μmol/L | 33.834 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.089 | 207241.7053 | 278391.6938 | 62.0402 | 75.7
38994 | 2021-03-03 11:24 | 25.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.2859 | μmol/L | 33.7847 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.109 | 207392.3751 | 278374.7204 | 62.0402 | 75.7
39004 | 2021-03-03 11:25 | 26.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.1196 | μmol/L | 33.8155 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.111 | 207436.5108 | 278367.7586 | 62.0402 | 75.7
39014 | 2021-03-03 11:25 | 26.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.8687 | μmol/L | 33.8463 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.12 | 207506.1339 | 278355.0827 | 62.0402 | 75.7
39024 | 2021-03-03 11:25 | 26.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.5698 | μmol/L | 33.8771 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.133 | 207618.9192 | 278353.6202 | 62.0402 | 75.7
39034 | 2021-03-03 11:26 | 27.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.9652 | μmol/L | 33.951 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.155 | 207849.3815 | 278339.5484 | 62.0402 | 75.7
39044 | 2021-03-03 11:26 | 27.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.869 | μmol/L | 33.951 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.163 | 207921.3166 | 278337.9439 | 62.0402 | 75.7
39054 | 2021-03-03 11:26 | 27.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.0866 | μmol/L | 33.914 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.159 | 207866.471 | 278336.9731 | 62.0402 | 75.7
39064 | 2021-03-03 11:27 | 28.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.1426 | μmol/L | 33.9202 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.152 | 207815.6116 | 278337.8608 | 62.0402 | 75.7
39074 | 2021-03-03 11:27 | 28.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.1096 | μmol/L | 33.951 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.143 | 207739.6607 | 278321.5716 | 62.0402 | 75.7
39084 | 2021-03-03 11:27 | 28.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.1347 | μmol/L | 33.914 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.155 | 207842.6711 | 278314.0558 | 62.0402 | 75.7
39094 | 2021-03-03 11:28 | 29.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.8126 | μmol/L | 33.9633 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.163 | 207907.0539 | 278312.856 | 62.0402 | 75.7
39104 | 2021-03-03 11:28 | 29.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.7687 | μmol/L | 33.9572 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.169 | 207950.0737 | 278302.7416 | 62.0402 | 75.7
39114 | 2021-03-03 11:28 | 29.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.9579 | μmol/L | 33.9264 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.165 | 207921.68 | 278287.9106 | 62.0402 | 75.7
39124 | 2021-03-03 11:29 | 30.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.5846 | μmol/L | 33.9633 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.182 | 208124.0761 | 278292.9091 | 62.0402 | 75.7
39134 | 2021-03-03 11:29 | 30.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.4965 | μmol/L | 33.9695 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.187 | 208131.241 | 278286.5815 | 62.0402 | 75.7
39144 | 2021-03-03 11:29 | 30.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.5282 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.182 | 208100.8364 | 278279.2204 | 62.0402 | 75.7
39154 | 2021-03-03 11:30 | 31.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.7333 | μmol/L | 33.9387 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.179 | 208068.1396 | 278265.2606 | 62.0402 | 75.7
39164 | 2021-03-03 11:30 | 31.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.5163 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.183 | 208104.5716 | 278268.7388 | 62.0402 | 75.7
39174 | 2021-03-03 11:30 | 31.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.184 | μmol/L | 34.0065 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.199 | 208239.0976 | 278251.1681 | 62.0402 | 75.7
39184 | 2021-03-03 11:31 | 32.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.1355 | μmol/L | 34.0249 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.196 | 208227.4411 | 278251.6536 | 62.0402 | 75.7
39194 | 2021-03-03 11:31 | 32.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.2769 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.203 | 208300.6736 | 278246.635 | 62.0402 | 75.7
39204 | 2021-03-03 11:31 | 32.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.1728 | μmol/L | 33.988 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.207 | 208340.1212 | 278232.3639 | 62.0402 | 75.7
39214 | 2021-03-03 11:32 | 33.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.336 | μmol/L | 33.9941 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.191 | 208181.942 | 278229.9205 | 62.0402 | 75.7
39224 | 2021-03-03 11:32 | 33.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.4324 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.19 | 208165.5028 | 278220.8593 | 62.0402 | 75.7
39234 | 2021-03-03 11:32 | 33.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.1389 | μmol/L | 34.0373 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.191 | 208174.0882 | 278224.4339 | 62.0402 | 75.7
39244 | 2021-03-03 11:33 | 34.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.6369 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.193 | 208174.1224 | 278217.0101 | 62.0402 | 75.7
39254 | 2021-03-03 11:33 | 34.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.744 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.184 | 208082.4785 | 278199.3347 | 62.0402 | 75.7
39264 | 2021-03-03 11:33 | 34.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.4974 | μmol/L | 34.1543 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.2 | 208220.773 | 278206.7697 | 62.0402 | 75.7
39274 | 2021-03-03 11:34 | 35.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.5384 | μmol/L | 34.1297 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.206 | 208272.482 | 278184.5683 | 62.0402 | 75.7
39284 | 2021-03-03 11:34 | 35.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.1487 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.227 | 208488.0398 | 278192.5086 | 62.0402 | 75.7
39294 | 2021-03-03 11:34 | 35.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.0184 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.238 | 208608.1781 | 278180.7685 | 62.0402 | 75.7
39304 | 2021-03-03 11:35 | 36.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.1153 | μmol/L | 34.1235 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.244 | 208676.872 | 278178.2385 | 62.0402 | 75.7
39314 | 2021-03-03 11:35 | 36.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.1756 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.246 | 208679.1768 | 278176.8592 | 62.0402 | 75.7
39324 | 2021-03-03 11:35 | 36.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.7893 | μmol/L | 34.1666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.255 | 208780.6336 | 278168.6984 | 62.0402 | 75.7
39334 | 2021-03-03 11:36 | 37.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.7613 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.255 | 208766.3652 | 278163.2995 | 62.0402 | 75.7
39344 | 2021-03-03 11:36 | 37.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.697 | μmol/L | 34.1297 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.277 | 208937.5146 | 278152.4244 | 62.0402 | 75.7
39354 | 2021-03-03 11:36 | 37.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.4191 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.284 | 209014.4678 | 278143.0972 | 62.0402 | 75.7
39364 | 2021-03-03 11:37 | 38.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.8834 | μmol/L | 34.2652 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.294 | 209123.3695 | 278137.6915 | 62.0402 | 75.7
39374 | 2021-03-03 11:37 | 38.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.9083 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.299 | 209195.9818 | 278132.1683 | 62.0402 | 75.7
39384 | 2021-03-03 11:37 | 38.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.7381 | μmol/L | 34.2221 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.323 | 209407.2801 | 278129.9126 | 62.0402 | 75.7
39394 | 2021-03-03 11:38 | 39.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.7117 | μmol/L | 34.2098 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.33 | 209478.0154 | 278123.1901 | 62.0402 | 75.7
39404 | 2021-03-03 11:38 | 39.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.3916 | μmol/L | 34.2652 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.336 | 209506.4462 | 278105.8759 | 62.0402 | 75.7
39414 | 2021-03-03 11:38 | 39.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.7378 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.342 | 209561.5729 | 278101.7602 | 62.0402 | 75.7
39424 | 2021-03-03 11:39 | 40.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.5536 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.353 | 209672.7042 | 278116.8749 | 62.0402 | 75.7
39434 | 2021-03-03 11:39 | 40.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.307 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.348 | 209625.8566 | 278104.0032 | 62.0402 | 75.7
39444 | 2021-03-03 11:39 | 40.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.2646 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.354 | 209729.4532 | 278112.6549 | 62.0402 | 75.7
39454 | 2021-03-03 11:40 | 41.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.2078 | μmol/L | 34.2282 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.366 | 209819.355 | 278110.3895 | 62.0402 | 75.7
39464 | 2021-03-03 11:40 | 41.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1174 | μmol/L | 34.2406 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.369 | 209822.0826 | 278101.9304 | 62.0402 | 75.7
39474 | 2021-03-03 11:40 | 41.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.081 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.365 | 209790.2775 | 278099.7739 | 62.0402 | 75.7
39484 | 2021-03-03 11:41 | 42.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9878 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.373 | 209891.6923 | 278100.1155 | 62.0402 | 75.7
39494 | 2021-03-03 11:41 | 42.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1815 | μmol/L | 34.2159 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.373 | 209889.4519 | 278096.1239 | 62.0402 | 75.7
39504 | 2021-03-03 11:41 | 42.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.0271 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.372 | 209871.4234 | 278092.5473 | 62.0402 | 75.7
39514 | 2021-03-03 11:42 | 43.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.0752 | μmol/L | 34.2344 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.375 | 209895.9543 | 278080.2987 | 62.0402 | 75.7
39524 | 2021-03-03 11:42 | 43.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.8685 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.388 | 210021.1503 | 278085.489 | 62.0402 | 75.7
39534 | 2021-03-03 11:42 | 43.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9166 | μmol/L | 34.2282 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.391 | 210040.9285 | 278078.9212 | 62.0402 | 75.7
39544 | 2021-03-03 11:43 | 44.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.7175 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.401 | 210113.0276 | 278072.7744 | 62.0402 | 75.7
39554 | 2021-03-03 11:43 | 44.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.7205 | μmol/L | 34.2098 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.415 | 210260.2812 | 278069.0446 | 62.0402 | 75.7
39564 | 2021-03-03 11:43 | 44.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.2566 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.436 | 210422.64 | 278070.4757 | 62.0402 | 75.7
39574 | 2021-03-03 11:44 | 45.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.3536 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.43 | 210396.7196 | 278060.1752 | 62.0402 | 75.7
39584 | 2021-03-03 11:44 | 45.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.2842 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.436 | 210438.5076 | 278058.6926 | 62.0402 | 75.7
39594 | 2021-03-03 11:44 | 45.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.1339 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.449 | 210554.0983 | 278049.7151 | 62.0402 | 75.7
39604 | 2021-03-03 11:45 | 46.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.9678 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.461 | 210653.8651 | 278037.602 | 62.0402 | 75.7
39614 | 2021-03-03 11:45 | 46.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.965 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.466 | 210738.9833 | 278036.3653 | 62.0402 | 75.7
39624 | 2021-03-03 11:45 | 46.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.8827 | μmol/L | 34.2652 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.466 | 210774.9071 | 278029.5091 | 62.0402 | 75.7
39634 | 2021-03-03 11:46 | 47.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7658 | μmol/L | 34.2837 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.469 | 210785.2954 | 278025.9306 | 62.0402 | 75.7
39644 | 2021-03-03 11:46 | 47.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7027 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.484 | 210902.1118 | 278027.4999 | 62.0402 | 75.7
39654 | 2021-03-03 11:46 | 47.9964 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.5734 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.5 | 211067.4975 | 278028.9189 | 62.0402 | 75.7
39664 | 2021-03-03 11:47 | 48.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7623 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.505 | 211130.959 | 278015.1032 | 62.0402 | 75.7
39674 | 2021-03-03 11:47 | 48.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.4717 | μmol/L | 34.2282 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.516 | 211152.7704 | 278019.8681 | 62.0402 | 75.7
39684 | 2021-03-03 11:47 | 48.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.4475 | μmol/L | 34.1974 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.53 | 211292.2445 | 278005.4474 | 62.0402 | 75.7
39694 | 2021-03-03 11:48 | 49.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.2667 | μmol/L | 34.2098 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.541 | 211388.7386 | 277999.8286 | 62.0402 | 75.7
39704 | 2021-03-03 11:48 | 49.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.4808 | μmol/L | 34.1666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.539 | 211404.0608 | 277992.8057 | 62.0402 | 75.7
39714 | 2021-03-03 11:48 | 49.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.9798 | μmol/L | 34.2591 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.547 | 211454.1662 | 277998.0199 | 62.0402 | 75.7
39724 | 2021-03-03 11:49 | 50.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.993 | μmol/L | 34.2406 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.553 | 211493.3233 | 277990.3196 | 62.0402 | 75.7
39734 | 2021-03-03 11:49 | 50.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.9842 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.549 | 211505.1749 | 277992.1313 | 62.0402 | 75.7
39744 | 2021-03-03 11:49 | 50.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.0131 | μmol/L | 34.2282 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.556 | 211539.3123 | 277987.9612 | 62.0402 | 75.7
39754 | 2021-03-03 11:50 | 51.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.927 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.554 | 211524.2872 | 277994.0949 | 62.0402 | 75.7
39764 | 2021-03-03 11:50 | 51.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.8857 | μmol/L | 34.2467 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.56 | 211568.2044 | 277981.0979 | 62.0402 | 75.7
39774 | 2021-03-03 11:50 | 51.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.138 | μmol/L | 34.1974 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.557 | 211572.6693 | 277964.8187 | 62.0402 | 75.7
39784 | 2021-03-03 11:51 | 52.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.9603 | μmol/L | 34.2221 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.563 | 211602.3479 | 277956.7211 | 62.0402 | 75.7
39794 | 2021-03-03 11:51 | 52.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.8803 | μmol/L | 34.2221 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.57 | 211668.1402 | 277962.2191 | 62.0402 | 75.7
39804 | 2021-03-03 11:51 | 52.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.8961 | μmol/L | 34.2159 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.571 | 211665.3416 | 277960.9716 | 62.0402 | 75.7
39814 | 2021-03-03 11:52 | 53.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.901 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.592 | 211857.8155 | 277958.5743 | 62.0402 | 75.7
39824 | 2021-03-03 11:52 | 53.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.6722 | μmol/L | 34.2098 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.593 | 211887.5817 | 277952.5525 | 62.0402 | 75.7
39834 | 2021-03-03 11:52 | 53.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.4654 | μmol/L | 34.2282 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.604 | 211986.6421 | 277944.3943 | 62.0402 | 75.7
39844 | 2021-03-03 11:53 | 54.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.5512 | μmol/L | 34.2036 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.606 | 211995.9709 | 277948.6308 | 62.0402 | 75.7
39854 | 2021-03-03 11:53 | 54.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.6044 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.618 | 212121.5894 | 277942.3881 | 62.0402 | 75.7
39864 | 2021-03-03 11:53 | 54.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.5599 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.61 | 212052.0437 | 277945.1628 | 62.0402 | 75.7
39874 | 2021-03-03 11:54 | 55.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.4119 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.623 | 212147.0866 | 277937.7127 | 62.0402 | 75.7
39884 | 2021-03-03 11:54 | 55.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.5187 | μmol/L | 34.1851 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.616 | 212083.9106 | 277940.2251 | 62.0402 | 75.7
39894 | 2021-03-03 11:54 | 55.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.3882 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.637 | 212311.8648 | 277939.6711 | 62.0402 | 75.7
39904 | 2021-03-03 11:55 | 56.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.2832 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.651 | 212458.1756 | 277931.2618 | 62.0402 | 75.7
39914 | 2021-03-03 11:55 | 56.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.0249 | μmol/L | 34.1605 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.669 | 212629.8018 | 277932.0733 | 62.0402 | 75.7
39924 | 2021-03-03 11:55 | 56.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.8454 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.692 | 212829.9201 | 277917.1213 | 62.0402 | 75.7
39934 | 2021-03-03 11:56 | 57.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.8826 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.703 | 212953.386 | 277920.9966 | 62.0402 | 75.7
39944 | 2021-03-03 11:56 | 57.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.6366 | μmol/L | 34.1174 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.72 | 213094.5097 | 277915.0582 | 62.0402 | 75.7
39954 | 2021-03-03 11:56 | 57.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.3555 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.733 | 213211.3256 | 277921.4876 | 62.0402 | 75.7
39964 | 2021-03-03 11:57 | 58.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.2204 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.745 | 213350.8946 | 277917.9124 | 62.0402 | 75.7
39974 | 2021-03-03 11:57 | 58.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.4378 | μmol/L | 34.1112 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.74 | 213308.7965 | 277917.5885 | 62.0402 | 75.7
39984 | 2021-03-03 11:57 | 58.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.4465 | μmol/L | 34.0989 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.744 | 213361.8778 | 277919.5383 | 62.0402 | 75.7
39994 | 2021-03-03 11:58 | 59.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.2342 | μmol/L | 34.0804 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.77 | 213626.9323 | 277916.3799 | 62.0402 | 75.7
40004 | 2021-03-03 11:58 | 59.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.9516 | μmol/L | 34.0989 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.788 | 213770.5611 | 277908.3727 | 62.0402 | 75.7
40014 | 2021-03-03 11:58 | 59.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8688 | μmol/L | 34.105 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.793 | 213838.9325 | 277890.1621 | 62.0402 | 75.7
40024 | 2021-03-03 11:59 | 60.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.9443 | μmol/L | 34.0126 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.822 | 214140.2235 | 277913.089 | 62.0402 | 75.7
40034 | 2021-03-03 11:59 | 60.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.661 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.833 | 214279.8205 | 277902.6461 | 62.0402 | 75.7
40044 | 2021-03-03 11:59 | 60.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.5699 | μmol/L | 34.0681 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.834 | 214249.7555 | 277905.4187 | 62.0402 | 75.7
40054 | 2021-03-03 12:00 | 61.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.9795 | μmol/L | 33.9941 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.826 | 214163.7537 | 277882.2416 | 62.0402 | 75.7
40064 | 2021-03-03 12:00 | 61.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0987 | μmol/L | 34.0003 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.813 | 214068.038 | 277887.778 | 62.0402 | 75.7
40074 | 2021-03-03 12:00 | 61.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1169 | μmol/L | 34.0065 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.809 | 214033.0909 | 277874.3439 | 62.0402 | 75.7
40084 | 2021-03-03 12:01 | 62.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1549 | μmol/L | 34.0003 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.808 | 214021.3987 | 277882.6291 | 62.0402 | 75.7
40094 | 2021-03-03 12:01 | 62.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1576 | μmol/L | 34.0126 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.803 | 213969.6922 | 277869.4286 | 62.0402 | 75.7
40104 | 2021-03-03 12:01 | 62.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.2099 | μmol/L | 33.9695 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.815 | 214048.9383 | 277879.6293 | 62.0402 | 75.7
40114 | 2021-03-03 12:02 | 63.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0592 | μmol/L | 34.0249 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.807 | 214012.5584 | 277863.6935 | 62.0402 | 75.7
40124 | 2021-03-03 12:02 | 63.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.4152 | μmol/L | 33.9325 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.811 | 214047.0224 | 277870.0993 | 62.0402 | 75.7
40134 | 2021-03-03 12:02 | 63.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.3547 | μmol/L | 33.9387 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.814 | 214081.7217 | 277855.4136 | 62.0402 | 75.7
40144 | 2021-03-03 12:03 | 64.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1986 | μmol/L | 33.9695 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.816 | 214112.3038 | 277863.3989 | 62.0402 | 75.7
40154 | 2021-03-03 12:03 | 64.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0255 | μmol/L | 34.0249 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.81 | 214078.8972 | 277849.6398 | 62.0402 | 75.7
40164 | 2021-03-03 12:03 | 64.9961 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.1677 | μmol/L | 33.9818 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.814 | 214096.8163 | 277838.7238 | 62.0402 | 75.7
40174 | 2021-03-03 12:04 | 65.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0074 | μmol/L | 34.0188 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.814 | 214073.5259 | 277850.5056 | 62.0402 | 75.7
40184 | 2021-03-03 12:04 | 65.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.9134 | μmol/L | 34.0249 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.82 | 214138.7436 | 277848.6479 | 62.0402 | 75.7
40194 | 2021-03-03 12:04 | 65.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8221 | μmol/L | 34.0434 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.821 | 214175.6224 | 277853.4999 | 62.0402 | 75.7
40204 | 2021-03-03 12:05 | 66.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.7591 | μmol/L | 34.0373 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.829 | 214261.315 | 277856.9464 | 62.0402 | 75.7
40214 | 2021-03-03 12:05 | 66.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8898 | μmol/L | 33.9941 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.834 | 214304.2069 | 277845.341 | 62.0402 | 75.7
40224 | 2021-03-03 12:05 | 66.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8647 | μmol/L | 33.9818 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.841 | 214397.6112 | 277825.2695 | 62.0402 | 75.7
40234 | 2021-03-03 12:06 | 67.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.1354 | μmol/L | 34.0989 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.861 | 214599.3325 | 277827.2391 | 62.0402 | 75.7
40244 | 2021-03-03 12:06 | 67.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.4125 | μmol/L | 34.0373 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.86 | 214602.454 | 277844.3052 | 62.0402 | 75.7
40254 | 2021-03-03 12:06 | 67.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.6451 | μmol/L | 33.9757 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.863 | 214612.1023 | 277834.6429 | 62.0402 | 75.7
40264 | 2021-03-03 12:07 | 68.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.6281 | μmol/L | 34.0003 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.855 | 214525.0069 | 277821.395 | 62.0402 | 75.7
40274 | 2021-03-03 12:07 | 68.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.5268 | μmol/L | 34.0496 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.845 | 214472.8726 | 277818.8249 | 62.0402 | 75.7
40284 | 2021-03-03 12:07 | 68.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.1454 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.841 | 214420.3538 | 277824.2694 | 62.0402 | 75.7
40294 | 2021-03-03 12:08 | 69.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.9256 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.844 | 214453.2272 | 277817.6034 | 62.0402 | 75.7
40304 | 2021-03-03 12:08 | 69.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.0389 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.841 | 214457.9544 | 277828.4039 | 62.0402 | 75.7
40314 | 2021-03-03 12:08 | 69.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.2159 | μmol/L | 34.1112 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.849 | 214530.9098 | 277815.0908 | 62.0402 | 75.7
40324 | 2021-03-03 12:09 | 70.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.1731 | μmol/L | 34.0927 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.86 | 214648.2484 | 277816.8304 | 62.0402 | 75.7
40334 | 2021-03-03 12:09 | 70.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.8115 | μmol/L | 34.1482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.871 | 214764.6903 | 277828.7164 | 62.0402 | 75.7
40344 | 2021-03-03 12:09 | 70.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.8048 | μmol/L | 34.142 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.874 | 214812.5774 | 277816.7212 | 62.0402 | 75.7
40354 | 2021-03-03 12:10 | 71.3297 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.5278 | μmol/L | 34.1728 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.887 | 214927.9 | 277818.8708 | 62.0402 | 75.7
40364 | 2021-03-03 12:10 | 71.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.2184 | μmol/L | 34.2344 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.891 | 214950.2621 | 277828.6198 | 62.0402 | 75.7
40374 | 2021-03-03 12:10 | 71.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.1963 | μmol/L | 34.2344 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.893 | 215022.5117 | 277825.6167 | 62.0402 | 75.7
40384 | 2021-03-03 12:11 | 72.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.238 | μmol/L | 34.1913 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.906 | 215132.5735 | 277815.3137 | 62.0402 | 75.7
40394 | 2021-03-03 12:11 | 72.6629 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 131.0437 | μmol/L | 34.2159 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.914 | 215251.4958 | 277819.9371 | 62.0402 | 75.7
40404 | 2021-03-03 12:11 | 72.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.8101 | μmol/L | 34.2652 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.916 | 215263.2995 | 277812.4011 | 62.0402 | 75.7
40414 | 2021-03-03 12:12 | 73.3295 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.7176 | μmol/L | 34.2714 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.922 | 215307.9116 | 277815.5366 | 62.0402 | 75.7
40424 | 2021-03-03 12:12 | 73.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.6229 | μmol/L | 34.296 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.921 | 215341.4133 | 277807.3712 | 62.0402 | 75.7
40434 | 2021-03-03 12:12 | 73.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.6538 | μmol/L | 34.2529 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.935 | 215488.8946 | 277805.7069 | 62.0402 | 75.7
40444 | 2021-03-03 12:13 | 74.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.2771 | μmol/L | 34.2775 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.959 | 215719.5479 | 277813.587 | 62.0402 | 75.7
40454 | 2021-03-03 12:13 | 74.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 130.0273 | μmol/L | 34.2899 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.977 | 215899.0839 | 277820.1447 | 62.0402 | 75.7
40464 | 2021-03-03 12:13 | 74.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.8872 | μmol/L | 34.3022 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.985 | 215980.5153 | 277809.9944 | 62.0402 | 75.7
40474 | 2021-03-03 12:14 | 75.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.7917 | μmol/L | 34.3391 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.98 | 215918.2325 | 277792.3918 | 62.0402 | 75.7
40484 | 2021-03-03 12:14 | 75.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.901 | μmol/L | 34.3391 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.97 | 215848.7002 | 277810.6463 | 62.0402 | 75.7
40494 | 2021-03-03 12:14 | 75.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.7019 | μmol/L | 34.3576 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 23.981 | 215956.1458 | 277811.969 | 62.0402 | 75.7
40504 | 2021-03-03 12:15 | 76.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.5615 | μmol/L | 34.3453 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.998 | 216155.4145 | 277802.6613 | 62.0402 | 75.7
40514 | 2021-03-03 12:15 | 76.6628 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.1258 | μmol/L | 34.3761 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.026 | 216406.938 | 277810.3861 | 62.0402 | 75.7
40524 | 2021-03-03 12:15 | 76.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.1185 | μmol/L | 34.3515 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 24.037 | 216520.254 | 277797.6139 | 62.0402 | 75.7
40534 | 2021-03-03 12:16 | 77.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.4924 | μmol/L | 34.2899 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.026 | 216445.9527 | 277794.8789 | 62.0402 | 75.7
40544 | 2021-03-03 12:16 | 77.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.2232 | μmol/L | 34.3268 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 24.037 | 216532.2337 | 277803.6632 | 62.0402 | 75.7
40554 | 2021-03-03 12:16 | 77.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.2551 | μmol/L | 34.3022 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.043 | 216600.7516 | 277789.1684 | 62.0402 | 75.7
40564 | 2021-03-03 12:17 | 78.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.0198 | μmol/L | 34.3576 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.043 | 216620.6191 | 277792.8904 | 62.0402 | 75.7
40574 | 2021-03-03 12:17 | 78.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.2748 | μmol/L | 34.2899 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.046 | 216650.6784 | 277786.9545 | 62.0402 | 75.7
40584 | 2021-03-03 12:17 | 78.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.9783 | μmol/L | 34.37 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.042 | 216599.8142 | 277792.8534 | 62.0402 | 75.7
40594 | 2021-03-03 12:18 | 79.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.0281 | μmol/L | 34.3761 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.035 | 216572.4179 | 277778.6524 | 62.0402 | 75.7
40604 | 2021-03-03 12:18 | 79.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7674 | μmol/L | 34.4069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.047 | 216680.0427 | 277774.0433 | 62.0402 | 75.7
40614 | 2021-03-03 12:18 | 79.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7259 | μmol/L | 34.4192 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.046 | 216653.9383 | 277778.7526 | 62.0402 | 75.7
40624 | 2021-03-03 12:19 | 80.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.9024 | μmol/L | 34.37 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.049 | 216701.0264 | 277778.1115 | 62.0402 | 75.7
40634 | 2021-03-03 12:19 | 80.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.9094 | μmol/L | 34.3453 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.058 | 216784.6571 | 277765.6072 | 62.0402 | 75.7
40644 | 2021-03-03 12:19 | 80.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 129.0444 | μmol/L | 34.3083 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.06 | 216831.5324 | 277777.5023 | 62.0402 | 75.7
40654 | 2021-03-03 12:20 | 81.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7597 | μmol/L | 34.3576 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.067 | 216901.6844 | 277760.814 | 62.0402 | 75.7
40664 | 2021-03-03 12:20 | 81.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.6668 | μmol/L | 34.3515 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.078 | 216968.0773 | 277767.6638 | 62.0402 | 75.7
40674 | 2021-03-03 12:20 | 81.9962 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.7519 | μmol/L | 34.3083 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.087 | 217056.26 | 277768.7168 | 62.0402 | 75.7
40684 | 2021-03-03 12:21 | 82.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.4445 | μmol/L | 34.3453 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.101 | 217232.6392 | 277765.5985 | 62.0402 | 75.7
40694 | 2021-03-03 12:21 | 82.663 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.3411 | μmol/L | 34.3391 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.113 | 217344.6099 | 277752.3281 | 62.0402 | 75.7
40704 | 2021-03-03 12:21 | 82.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.4519 | μmol/L | 34.2899 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.122 | 217411.4419 | 277756.7363 | 62.0402 | 75.7
40714 | 2021-03-03 12:22 | 83.3296 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.2618 | μmol/L | 34.3145 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.13 | 217491.0577 | 277758.9597 | 62.0402 | 75.7
40724 | 2021-03-03 12:22 | 83.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.2751 | μmol/L | 34.296 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.136 | 217554.2408 | 277753.6227 | 62.0402 | 75.7
40734 | 2021-03-03 12:22 | 83.9963 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.2345 | μmol/L | 34.2775 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.147 | 217663.804 | 277744.4141 | 62.0402 | 75.7
40744 | 2021-03-03 12:23 | 84.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 128.2457 | μmol/L | 34.2467 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 24.158 | 217773.4939 | 277744.3731 | 62.0402 | 75.7