## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38218 | 2021-03-03 10:58 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.3974 | μmol/L | 34.1549 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.904 | 142470.3859 | 303021.7661 | 59.9307 | 38.1
38226 | 2021-03-03 10:59 | 0.33552 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.3394 | μmol/L | 34.161 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.906 | 142467.4087 | 303016.9214 | 59.9307 | 38.1
38237 | 2021-03-03 10:59 | 0.66944 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.5078 | μmol/L | 34.1304 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.905 | 142462.798 | 302995.2646 | 59.9307 | 38.1
38246 | 2021-03-03 10:59 | 1.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.2369 | μmol/L | 34.1733 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.909 | 142467.9444 | 302989.4667 | 59.9307 | 38.1
38257 | 2021-03-03 11:00 | 1.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0534 | μmol/L | 34.1856 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.918 | 142519.1846 | 302961.8293 | 59.9307 | 38.1
38267 | 2021-03-03 11:00 | 1.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.1986 | μmol/L | 34.1488 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.921 | 142500.7215 | 302963.9559 | 59.9307 | 38.1
38277 | 2021-03-03 11:00 | 2.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.2373 | μmol/L | 34.1304 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.925 | 142548.8276 | 302945.6365 | 59.9307 | 38.1
38287 | 2021-03-03 11:01 | 2.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0945 | μmol/L | 34.1426 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.931 | 142559.2525 | 302936.9464 | 59.9307 | 38.1
38297 | 2021-03-03 11:01 | 2.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.1197 | μmol/L | 34.1242 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.936 | 142578.3277 | 302919.1462 | 59.9307 | 38.1
38307 | 2021-03-03 11:01 | 3.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154 | μmol/L | 34.1426 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.938 | 142617.6142 | 302909.7191 | 59.9307 | 38.1
38316 | 2021-03-03 11:02 | 3.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0949 | μmol/L | 34.0997 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.947 | 142659.0449 | 302898.1692 | 59.9307 | 38.1
38327 | 2021-03-03 11:02 | 3.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.1066 | μmol/L | 34.0813 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.953 | 142711.4578 | 302891.7729 | 59.9307 | 38.1
38336 | 2021-03-03 11:02 | 4.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 154.0083 | μmol/L | 34.0874 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.958 | 142722.6485 | 302887.5109 | 59.9307 | 38.1
38347 | 2021-03-03 11:03 | 4.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6538 | μmol/L | 34.1365 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.966 | 142773.761 | 302867.0583 | 59.9307 | 38.1
38357 | 2021-03-03 11:03 | 4.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6214 | μmol/L | 34.1242 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.973 | 142811.7202 | 302858.7867 | 59.9307 | 38.1
38367 | 2021-03-03 11:03 | 5.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3963 | μmol/L | 34.161 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.976 | 142846.6399 | 302870.1212 | 59.9307 | 38.1
38377 | 2021-03-03 11:04 | 5.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.5329 | μmol/L | 34.1365 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.975 | 142828.4536 | 302847.834 | 59.9307 | 38.1
38386 | 2021-03-03 11:04 | 5.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.4215 | μmol/L | 34.1426 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.981 | 142848.2611 | 302833.1152 | 59.9307 | 38.1
38397 | 2021-03-03 11:04 | 6.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6834 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.989 | 142908.8854 | 302827.4986 | 59.9307 | 38.1
38406 | 2021-03-03 11:05 | 6.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6547 | μmol/L | 34.0506 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.998 | 142981.0746 | 302816.9856 | 59.9307 | 38.1
38417 | 2021-03-03 11:05 | 6.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.8259 | μmol/L | 34.0138 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 21.999 | 142980.5515 | 302805.8981 | 59.9307 | 38.1
38426 | 2021-03-03 11:05 | 7.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.6837 | μmol/L | 34.0261 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.005 | 143001.6064 | 302804.7408 | 59.9307 | 38.1
38437 | 2021-03-03 11:06 | 7.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.1903 | μmol/L | 34.1058 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.012 | 143060.763 | 302795.0487 | 59.9307 | 38.1
38446 | 2021-03-03 11:06 | 7.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3478 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.014 | 143064.031 | 302795.7176 | 59.9307 | 38.1
38457 | 2021-03-03 11:06 | 8.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2924 | μmol/L | 34.0506 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.025 | 143154.6178 | 302795.8248 | 59.9307 | 38.1
38467 | 2021-03-03 11:07 | 8.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2216 | μmol/L | 34.0567 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.028 | 143147.7457 | 302770.5948 | 59.9307 | 38.1
38477 | 2021-03-03 11:07 | 8.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.1468 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.029 | 143173.3274 | 302767.3114 | 59.9307 | 38.1
38487 | 2021-03-03 11:07 | 9.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.0704 | μmol/L | 34.0629 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.037 | 143213.4724 | 302773.5689 | 59.9307 | 38.1
38496 | 2021-03-03 11:08 | 9.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2794 | μmol/L | 34.0077 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.042 | 143249.7281 | 302753.3083 | 59.9307 | 38.1
38506 | 2021-03-03 11:08 | 9.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.3063 | μmol/L | 33.9647 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.056 | 143303.5731 | 302749.8751 | 59.9307 | 38.1
38516 | 2021-03-03 11:08 | 10.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2489 | μmol/L | 33.9709 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.058 | 143333.8193 | 302723.2379 | 59.9307 | 38.1
38526 | 2021-03-03 11:09 | 10.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2222 | μmol/L | 33.9709 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.06 | 143344.6891 | 302737.9288 | 59.9307 | 38.1
38537 | 2021-03-03 11:09 | 10.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.1018 | μmol/L | 33.9709 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.069 | 143403.4482 | 302717.1715 | 59.9307 | 38.1
38546 | 2021-03-03 11:09 | 11.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.2069 | μmol/L | 33.9525 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.068 | 143410.1947 | 302698.916 | 59.9307 | 38.1
38557 | 2021-03-03 11:10 | 11.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.121 | μmol/L | 33.9402 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.079 | 143471.9439 | 302705.5747 | 59.9307 | 38.1
38566 | 2021-03-03 11:10 | 11.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.0351 | μmol/L | 33.9279 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.09 | 143521.9012 | 302700.3962 | 59.9307 | 38.1
38577 | 2021-03-03 11:10 | 12.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.7774 | μmol/L | 33.977 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.091 | 143546.6362 | 302700.7132 | 59.9307 | 38.1
38586 | 2021-03-03 11:11 | 12.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.7185 | μmol/L | 33.9647 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.1 | 143578.6599 | 302698.4459 | 59.9307 | 38.1
38596 | 2021-03-03 11:11 | 12.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.9359 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.102 | 143598.368 | 302691.4622 | 59.9307 | 38.1
38606 | 2021-03-03 11:11 | 13.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 153.0046 | μmol/L | 33.8911 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.106 | 143620.3315 | 302667.1947 | 59.9307 | 38.1
38616 | 2021-03-03 11:12 | 13.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.8825 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.106 | 143636.2682 | 302670.8873 | 59.9307 | 38.1
38626 | 2021-03-03 11:12 | 13.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.7454 | μmol/L | 33.9218 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.114 | 143660.6411 | 302669.24 | 59.9307 | 38.1
38636 | 2021-03-03 11:12 | 14.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.6787 | μmol/L | 33.9218 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.119 | 143693.3584 | 302642.7282 | 59.9307 | 38.1
38647 | 2021-03-03 11:13 | 14.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.9301 | μmol/L | 33.8604 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.123 | 143702.3486 | 302641.9446 | 59.9307 | 38.1
38656 | 2021-03-03 11:13 | 14.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.6902 | μmol/L | 33.9034 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.125 | 143731.2049 | 302621.3796 | 59.9307 | 38.1
38667 | 2021-03-03 11:13 | 15.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.5894 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.128 | 143760.7867 | 302642.4998 | 59.9307 | 38.1
38676 | 2021-03-03 11:14 | 15.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.4203 | μmol/L | 33.9095 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.143 | 143822.4579 | 302612.7062 | 59.9307 | 38.1
38686 | 2021-03-03 11:14 | 15.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.1753 | μmol/L | 33.9402 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.15 | 143842.3444 | 302598.3196 | 59.9307 | 38.1
38696 | 2021-03-03 11:14 | 16.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.3007 | μmol/L | 33.9095 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.152 | 143880.1675 | 302602.6011 | 59.9307 | 38.1
38707 | 2021-03-03 11:15 | 16.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.109 | μmol/L | 33.9402 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.155 | 143910.2847 | 302588.9708 | 59.9307 | 38.1
38717 | 2021-03-03 11:15 | 16.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.1642 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.16 | 143938.5519 | 302593.5435 | 59.9307 | 38.1
38726 | 2021-03-03 11:15 | 17.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.1756 | μmol/L | 33.8972 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.166 | 143954.3053 | 302564.3593 | 59.9307 | 38.1
38736 | 2021-03-03 11:16 | 17.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.9256 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.178 | 144001.1363 | 302576.5198 | 59.9307 | 38.1
38747 | 2021-03-03 11:16 | 17.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8424 | μmol/L | 33.9218 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.182 | 144018.0026 | 302567.8633 | 59.9307 | 38.1
38757 | 2021-03-03 11:16 | 18.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.8274 | μmol/L | 33.9034 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.19 | 144055.4893 | 302561.8926 | 59.9307 | 38.1
38767 | 2021-03-03 11:17 | 18.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.7101 | μmol/L | 33.9218 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.192 | 144085.4759 | 302540.5754 | 59.9307 | 38.1
38777 | 2021-03-03 11:17 | 18.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.7519 | μmol/L | 33.8972 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.198 | 144118.2213 | 302553.5582 | 59.9307 | 38.1
38787 | 2021-03-03 11:17 | 19.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.9412 | μmol/L | 33.8482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.202 | 144142.6408 | 302532.4601 | 59.9307 | 38.1
38796 | 2021-03-03 11:18 | 19.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 152.1909 | μmol/L | 33.7868 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.206 | 144171.6147 | 302531.547 | 59.9307 | 38.1
38807 | 2021-03-03 11:18 | 19.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.9148 | μmol/L | 33.8052 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.22 | 144203.9535 | 302534.7643 | 59.9307 | 38.1
38816 | 2021-03-03 11:18 | 20.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.928 | μmol/L | 33.8052 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.219 | 144230.3963 | 302498.5688 | 59.9307 | 38.1
38827 | 2021-03-03 11:19 | 20.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.4032 | μmol/L | 33.885 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.229 | 144264.1977 | 302500.4179 | 59.9307 | 38.1
38837 | 2021-03-03 11:19 | 20.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.2731 | μmol/L | 33.9034 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.232 | 144289.4117 | 302506.354 | 59.9307 | 38.1
38847 | 2021-03-03 11:19 | 21.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.345 | μmol/L | 33.8727 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.238 | 144319.2402 | 302491.6829 | 59.9307 | 38.1
38857 | 2021-03-03 11:20 | 21.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.7788 | μmol/L | 33.7684 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.244 | 144353.1099 | 302472.57 | 59.9307 | 38.1
38867 | 2021-03-03 11:20 | 21.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.7995 | μmol/L | 33.7562 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.247 | 144390.0279 | 302483.9145 | 59.9307 | 38.1
38876 | 2021-03-03 11:20 | 22.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.6128 | μmol/L | 33.7807 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.252 | 144409.8584 | 302448.5632 | 59.9307 | 38.1
38886 | 2021-03-03 11:21 | 22.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.3754 | μmol/L | 33.8236 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.254 | 144464.2222 | 302465.2033 | 59.9307 | 38.1
38897 | 2021-03-03 11:21 | 22.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.3605 | μmol/L | 33.8052 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.262 | 144485.269 | 302434.4956 | 59.9307 | 38.1
38906 | 2021-03-03 11:21 | 23.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.1348 | μmol/L | 33.8298 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.27 | 144512.6764 | 302441.1911 | 59.9307 | 38.1
38917 | 2021-03-03 11:22 | 23.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.1932 | μmol/L | 33.7991 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.277 | 144534.4426 | 302429.631 | 59.9307 | 38.1
38927 | 2021-03-03 11:22 | 23.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.3042 | μmol/L | 33.7684 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.28 | 144574.8387 | 302431.3215 | 59.9307 | 38.1
38936 | 2021-03-03 11:22 | 24.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 151.2046 | μmol/L | 33.7807 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.283 | 144581.3065 | 302424.0133 | 59.9307 | 38.1
38946 | 2021-03-03 11:23 | 24.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.7558 | μmol/L | 33.8482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.292 | 144626.5486 | 302411.5348 | 59.9307 | 38.1
38956 | 2021-03-03 11:23 | 24.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.7465 | μmol/L | 33.842 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.295 | 144655.8058 | 302414.1683 | 59.9307 | 38.1
38966 | 2021-03-03 11:23 | 25.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.5855 | μmol/L | 33.8482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.305 | 144689.5934 | 302396.5136 | 59.9307 | 38.1
38977 | 2021-03-03 11:24 | 25.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.5593 | μmol/L | 33.8482 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.307 | 144718.3861 | 302381.3609 | 59.9307 | 38.1
38987 | 2021-03-03 11:24 | 25.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.3348 | μmol/L | 33.8727 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.315 | 144752.065 | 302392.399 | 59.9307 | 38.1
38996 | 2021-03-03 11:24 | 26.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.026 | μmol/L | 33.9279 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.318 | 144776.3329 | 302384.898 | 59.9307 | 38.1
39006 | 2021-03-03 11:25 | 26.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.0767 | μmol/L | 33.9095 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.321 | 144820.1897 | 302372.7407 | 59.9307 | 38.1
39016 | 2021-03-03 11:25 | 26.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.9034 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.332 | 144863.6225 | 302395.8481 | 59.9307 | 38.1
39026 | 2021-03-03 11:25 | 27.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.0998 | μmol/L | 33.8727 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.333 | 144891.732 | 302377.6287 | 59.9307 | 38.1
39037 | 2021-03-03 11:26 | 27.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 150.1167 | μmol/L | 33.8666 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.334 | 144940.5714 | 302369.678 | 59.9307 | 38.1
39046 | 2021-03-03 11:26 | 27.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.6952 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.348 | 144975.4922 | 302347.7081 | 59.9307 | 38.1
39057 | 2021-03-03 11:26 | 28.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.5121 | μmol/L | 33.9586 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.346 | 145005.1999 | 302337.6385 | 59.9307 | 38.1
39066 | 2021-03-03 11:27 | 28.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.5913 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.356 | 145053.7691 | 302334.387 | 59.9307 | 38.1
39077 | 2021-03-03 11:27 | 28.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.886 | μmol/L | 33.8604 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.354 | 145072.2951 | 302321.2924 | 59.9307 | 38.1
39086 | 2021-03-03 11:27 | 29.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.9534 | μmol/L | 33.8359 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.358 | 145105.768 | 302316.3082 | 59.9307 | 38.1
39096 | 2021-03-03 11:28 | 29.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.3965 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.371 | 145130.0921 | 302322.7316 | 59.9307 | 38.1
39106 | 2021-03-03 11:28 | 29.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.877 | μmol/L | 34.0199 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.372 | 145181.8389 | 302315.8548 | 59.9307 | 38.1
39117 | 2021-03-03 11:28 | 30.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.9703 | μmol/L | 33.9954 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.374 | 145225.3978 | 302316.719 | 59.9307 | 38.1
39127 | 2021-03-03 11:29 | 30.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.0714 | μmol/L | 33.9586 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.38 | 145254.7652 | 302315.0531 | 59.9307 | 38.1
39137 | 2021-03-03 11:29 | 30.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.263 | μmol/L | 33.9218 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.379 | 145288.5445 | 302297.9423 | 59.9307 | 38.1
39146 | 2021-03-03 11:29 | 31.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.2151 | μmol/L | 33.9157 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.385 | 145315.9884 | 302296.7803 | 59.9307 | 38.1
39157 | 2021-03-03 11:30 | 31.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.0869 | μmol/L | 33.9341 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.388 | 145340.4333 | 302267.783 | 59.9307 | 38.1
39166 | 2021-03-03 11:30 | 31.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 149.1581 | μmol/L | 33.9034 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.394 | 145377.1116 | 302291.1657 | 59.9307 | 38.1
39177 | 2021-03-03 11:30 | 32.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.7624 | μmol/L | 33.977 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.397 | 145401.4509 | 302275.2408 | 59.9307 | 38.1
39186 | 2021-03-03 11:31 | 32.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.6939 | μmol/L | 33.9831 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.4 | 145411.1664 | 302269.5593 | 59.9307 | 38.1
39196 | 2021-03-03 11:31 | 32.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.672 | μmol/L | 33.977 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.404 | 145443.1167 | 302259.3462 | 59.9307 | 38.1
39207 | 2021-03-03 11:31 | 33.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.366 | μmol/L | 34.0322 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.407 | 145476.1358 | 302254.9465 | 59.9307 | 38.1
39216 | 2021-03-03 11:32 | 33.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.3017 | μmol/L | 34.0322 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.412 | 145499.0365 | 302220.4778 | 59.9307 | 38.1
39227 | 2021-03-03 11:32 | 33.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.0426 | μmol/L | 34.0751 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.416 | 145520.519 | 302243.791 | 59.9307 | 38.1
39236 | 2021-03-03 11:32 | 34.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.9744 | μmol/L | 34.0813 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.419 | 145525.4884 | 302237.537 | 59.9307 | 38.1
39246 | 2021-03-03 11:33 | 34.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.3304 | μmol/L | 34.204 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.423 | 145549.8947 | 302232.5728 | 59.9307 | 38.1
39257 | 2021-03-03 11:33 | 34.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.4785 | μmol/L | 34.1733 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.423 | 145558.9894 | 302227.9102 | 59.9307 | 38.1
39266 | 2021-03-03 11:33 | 35.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.2323 | μmol/L | 34.1978 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.433 | 145592.0973 | 302215.2931 | 59.9307 | 38.1
39276 | 2021-03-03 11:34 | 35.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7081 | μmol/L | 34.296 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.437 | 145602.5046 | 302206.3258 | 59.9307 | 38.1
39287 | 2021-03-03 11:34 | 35.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0165 | μmol/L | 34.2346 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.436 | 145607.7679 | 302224.9841 | 59.9307 | 38.1
39297 | 2021-03-03 11:34 | 36.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0201 | μmol/L | 34.2101 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.445 | 145660.4114 | 302205.2941 | 59.9307 | 38.1
39307 | 2021-03-03 11:35 | 36.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9778 | μmol/L | 34.2162 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.446 | 145626.8297 | 302205.2998 | 59.9307 | 38.1
39317 | 2021-03-03 11:35 | 36.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0108 | μmol/L | 34.1856 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.455 | 145703.1445 | 302209.0988 | 59.9307 | 38.1
39326 | 2021-03-03 11:35 | 37.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.9008 | μmol/L | 34.1978 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.459 | 145726.5115 | 302193.5902 | 59.9307 | 38.1
39337 | 2021-03-03 11:36 | 37.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3356 | μmol/L | 34.3021 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.464 | 145753.1328 | 302178.2466 | 59.9307 | 38.1
39346 | 2021-03-03 11:36 | 37.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.9607 | μmol/L | 34.3696 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.468 | 145786.2639 | 302176.4176 | 59.9307 | 38.1
39357 | 2021-03-03 11:36 | 38.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8493 | μmol/L | 34.1794 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.47 | 145771.6263 | 302169.6255 | 59.9307 | 38.1
39367 | 2021-03-03 11:37 | 38.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6047 | μmol/L | 34.2224 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.473 | 145813.0346 | 302175.9145 | 59.9307 | 38.1
39376 | 2021-03-03 11:37 | 38.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.5748 | μmol/L | 34.2101 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.48 | 145836.287 | 302168.8962 | 59.9307 | 38.1
39386 | 2021-03-03 11:37 | 39.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4356 | μmol/L | 34.2285 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.484 | 145887.9694 | 302153.4675 | 59.9307 | 38.1
39396 | 2021-03-03 11:38 | 39.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4438 | μmol/L | 34.2162 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.488 | 145892.7101 | 302150.5909 | 59.9307 | 38.1
39406 | 2021-03-03 11:38 | 39.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2667 | μmol/L | 34.2346 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.495 | 145944.0912 | 302142.8831 | 59.9307 | 38.1
39416 | 2021-03-03 11:38 | 40.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.9596 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.503 | 145984.4394 | 302130.1624 | 59.9307 | 38.1
39426 | 2021-03-03 11:39 | 40.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2618 | μmol/L | 34.204 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.507 | 146030.9188 | 302141.3591 | 59.9307 | 38.1
39437 | 2021-03-03 11:39 | 40.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2279 | μmol/L | 34.1978 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.512 | 146072.294 | 302136.3764 | 59.9307 | 38.1
39446 | 2021-03-03 11:39 | 41.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0638 | μmol/L | 34.2162 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.518 | 146107.0189 | 302113.4459 | 59.9307 | 38.1
39457 | 2021-03-03 11:40 | 41.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.2816 | μmol/L | 34.1549 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.524 | 146137.41 | 302111.2799 | 59.9307 | 38.1
39466 | 2021-03-03 11:40 | 41.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0882 | μmol/L | 34.1794 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.53 | 146189.8334 | 302131.0549 | 59.9307 | 38.1
39477 | 2021-03-03 11:40 | 42.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.9162 | μmol/L | 34.2101 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.532 | 146212.2286 | 302127.6522 | 59.9307 | 38.1
39486 | 2021-03-03 11:41 | 42.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.79 | μmol/L | 34.2101 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.542 | 146264.2852 | 302128.7136 | 59.9307 | 38.1
39496 | 2021-03-03 11:41 | 42.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.882 | μmol/L | 34.1856 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.544 | 146281.7118 | 302129.9624 | 59.9307 | 38.1
39506 | 2021-03-03 11:41 | 43.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.8943 | μmol/L | 34.1733 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.547 | 146307.5905 | 302112.3388 | 59.9307 | 38.1
39516 | 2021-03-03 11:42 | 43.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.9523 | μmol/L | 34.1365 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.557 | 146355.4043 | 302112.2242 | 59.9307 | 38.1
39527 | 2021-03-03 11:42 | 43.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.768 | μmol/L | 34.1672 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.56 | 146374.9466 | 302099.9985 | 59.9307 | 38.1
39536 | 2021-03-03 11:42 | 44.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.3913 | μmol/L | 34.2224 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.569 | 146412.3692 | 302104.5253 | 59.9307 | 38.1
39546 | 2021-03-03 11:43 | 44.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.5079 | μmol/L | 34.1794 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.576 | 146464.02 | 302106.9031 | 59.9307 | 38.1
39556 | 2021-03-03 11:43 | 44.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.6874 | μmol/L | 34.1365 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.578 | 146487.0638 | 302101.8561 | 59.9307 | 38.1
39567 | 2021-03-03 11:43 | 45.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.6703 | μmol/L | 34.1242 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.584 | 146525.0168 | 302087.3832 | 59.9307 | 38.1
39576 | 2021-03-03 11:44 | 45.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.695 | μmol/L | 34.1058 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.589 | 146564.8688 | 302085.6963 | 59.9307 | 38.1
39587 | 2021-03-03 11:44 | 45.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.7615 | μmol/L | 34.0813 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.593 | 146583.2334 | 302080.9956 | 59.9307 | 38.1
39597 | 2021-03-03 11:44 | 46.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.6653 | μmol/L | 34.0935 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.596 | 146618.8869 | 302069.5857 | 59.9307 | 38.1
39607 | 2021-03-03 11:45 | 46.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.481 | μmol/L | 34.1058 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.606 | 146659.7725 | 302070.6771 | 59.9307 | 38.1
39617 | 2021-03-03 11:45 | 46.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.1307 | μmol/L | 34.161 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.613 | 146712.0649 | 302067.2121 | 59.9307 | 38.1
39627 | 2021-03-03 11:45 | 47.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.9474 | μmol/L | 34.1917 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.616 | 146730.5132 | 302073.7707 | 59.9307 | 38.1
39637 | 2021-03-03 11:46 | 47.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.4938 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.622 | 146760.3929 | 302063.5094 | 59.9307 | 38.1
39646 | 2021-03-03 11:46 | 47.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2776 | μmol/L | 34.3021 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.627 | 146807.7589 | 302064.5379 | 59.9307 | 38.1
39657 | 2021-03-03 11:46 | 48.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1987 | μmol/L | 34.3021 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.634 | 146836.8144 | 302047.9872 | 59.9307 | 38.1
39666 | 2021-03-03 11:47 | 48.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.589 | μmol/L | 34.2101 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.637 | 146878.3459 | 302065.727 | 59.9307 | 38.1
39676 | 2021-03-03 11:47 | 48.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5806 | μmol/L | 34.1978 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.643 | 146908.5357 | 302053.2692 | 59.9307 | 38.1
39686 | 2021-03-03 11:47 | 49.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.8709 | μmol/L | 34.1181 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.65 | 146938.647 | 302044.3988 | 59.9307 | 38.1
39696 | 2021-03-03 11:48 | 49.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.8374 | μmol/L | 34.1119 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.655 | 146983.6039 | 302041.5821 | 59.9307 | 38.1
39707 | 2021-03-03 11:48 | 49.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.9449 | μmol/L | 34.069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.662 | 147015.9308 | 302038.4028 | 59.9307 | 38.1
39717 | 2021-03-03 11:48 | 50.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.7912 | μmol/L | 34.0935 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.665 | 147040.8838 | 302028.696 | 59.9307 | 38.1
39727 | 2021-03-03 11:49 | 50.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.6793 | μmol/L | 34.1242 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.663 | 147057.658 | 302027.8115 | 59.9307 | 38.1
39736 | 2021-03-03 11:49 | 50.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5796 | μmol/L | 34.1304 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.668 | 147105.7947 | 302025.1343 | 59.9307 | 38.1
39746 | 2021-03-03 11:49 | 51.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.7281 | μmol/L | 34.069 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.68 | 147141.6104 | 302017.9252 | 59.9307 | 38.1
39757 | 2021-03-03 11:50 | 51.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2723 | μmol/L | 34.1426 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.688 | 147174.0396 | 302007.7973 | 59.9307 | 38.1
39766 | 2021-03-03 11:50 | 51.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1976 | μmol/L | 34.1426 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.694 | 147223.6494 | 302003.8432 | 59.9307 | 38.1
39777 | 2021-03-03 11:50 | 52.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.9908 | μmol/L | 34.1856 | °C | 995 | hPa | Humid | 28 | 1 | 0 | 22.695 | 147246.5209 | 301996.6567 | 59.9307 | 38.1
39786 | 2021-03-03 11:51 | 52.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8294 | μmol/L | 34.1917 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.705 | 147320.628 | 302013.339 | 59.9307 | 38.1
39797 | 2021-03-03 11:51 | 52.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.9449 | μmol/L | 34.1488 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.712 | 147354.1056 | 302008.0818 | 59.9307 | 38.1
39807 | 2021-03-03 11:51 | 53.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2959 | μmol/L | 34.069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.714 | 147353.8821 | 301998.1167 | 59.9307 | 38.1
39817 | 2021-03-03 11:52 | 53.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.3738 | μmol/L | 34.0261 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.724 | 147438.9982 | 301997.1389 | 59.9307 | 38.1
39827 | 2021-03-03 11:52 | 53.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.4067 | μmol/L | 34.0138 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.726 | 147453.7984 | 301986.4637 | 59.9307 | 38.1
39836 | 2021-03-03 11:52 | 54.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.4968 | μmol/L | 33.9709 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.735 | 147483.3234 | 301987.7294 | 59.9307 | 38.1
39847 | 2021-03-03 11:53 | 54.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.3728 | μmol/L | 33.9893 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.738 | 147525.1631 | 301978.2665 | 59.9307 | 38.1
39857 | 2021-03-03 11:53 | 54.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.3191 | μmol/L | 33.9954 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.74 | 147556.5089 | 301970.247 | 59.9307 | 38.1
39867 | 2021-03-03 11:53 | 55.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.4051 | μmol/L | 33.9586 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.747 | 147570.3686 | 301977.0386 | 59.9307 | 38.1
39876 | 2021-03-03 11:54 | 55.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1699 | μmol/L | 33.9954 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.752 | 147629.8261 | 301970.5379 | 59.9307 | 38.1
39887 | 2021-03-03 11:54 | 55.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.0377 | μmol/L | 34.0077 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.758 | 147663.6135 | 301974.6124 | 59.9307 | 38.1
39897 | 2021-03-03 11:54 | 56.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.9628 | μmol/L | 33.9893 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.771 | 147721.4766 | 301973.411 | 59.9307 | 38.1
39907 | 2021-03-03 11:55 | 56.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1892 | μmol/L | 33.9463 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.769 | 147726.622 | 301962.8982 | 59.9307 | 38.1
39917 | 2021-03-03 11:55 | 56.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.3988 | μmol/L | 33.8911 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.773 | 147755.0537 | 301967.8691 | 59.9307 | 38.1
39927 | 2021-03-03 11:55 | 57.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.2129 | μmol/L | 33.9095 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.781 | 147813.7063 | 301968.0146 | 59.9307 | 38.1
39937 | 2021-03-03 11:56 | 57.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.937 | μmol/L | 33.9525 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.787 | 147862.2506 | 301969.7403 | 59.9307 | 38.1
39946 | 2021-03-03 11:56 | 57.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.998 | μmol/L | 33.9157 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.796 | 147941.0355 | 301961.8406 | 59.9307 | 38.1
39957 | 2021-03-03 11:56 | 58.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8086 | μmol/L | 33.9402 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.802 | 148021.2045 | 301961.9947 | 59.9307 | 38.1
39967 | 2021-03-03 11:57 | 58.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8735 | μmol/L | 33.8972 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.813 | 148067.7834 | 301964.2257 | 59.9307 | 38.1
39976 | 2021-03-03 11:57 | 58.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.9146 | μmol/L | 33.8911 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.812 | 148061.3699 | 301951.2563 | 59.9307 | 38.1
39986 | 2021-03-03 11:57 | 59.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.762 | μmol/L | 33.8972 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.822 | 148164.7908 | 301949.7248 | 59.9307 | 38.1
39996 | 2021-03-03 11:58 | 59.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8723 | μmol/L | 33.8604 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.827 | 148175.1484 | 301959.8496 | 59.9307 | 38.1
40007 | 2021-03-03 11:58 | 59.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.7491 | μmol/L | 33.8788 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.83 | 148200.8266 | 301943.8932 | 59.9307 | 38.1
40016 | 2021-03-03 11:58 | 60.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.4249 | μmol/L | 33.9218 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.84 | 148293.8648 | 301942.8861 | 59.9307 | 38.1
40027 | 2021-03-03 11:59 | 60.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.265 | μmol/L | 33.9402 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.846 | 148312.8181 | 301932.8202 | 59.9307 | 38.1
40037 | 2021-03-03 11:59 | 60.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.2443 | μmol/L | 33.9341 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.85 | 148341.2635 | 301932.7555 | 59.9307 | 38.1
40047 | 2021-03-03 11:59 | 61.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5182 | μmol/L | 33.8727 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.851 | 148366.5265 | 301915.0612 | 59.9307 | 38.1
40057 | 2021-03-03 12:00 | 61.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.452 | μmol/L | 33.8604 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.861 | 148387.3522 | 301918.4844 | 59.9307 | 38.1
40066 | 2021-03-03 12:00 | 61.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.1823 | μmol/L | 33.9157 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.862 | 148417.4481 | 301931.5875 | 59.9307 | 38.1
40076 | 2021-03-03 12:00 | 62.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9858 | μmol/L | 33.9341 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.871 | 148465.5539 | 301929.5215 | 59.9307 | 38.1
40086 | 2021-03-03 12:01 | 62.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.8632 | μmol/L | 33.9525 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.874 | 148534.326 | 301911.414 | 59.9307 | 38.1
40096 | 2021-03-03 12:01 | 62.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9322 | μmol/L | 33.9218 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.88 | 148552.0757 | 301917.2736 | 59.9307 | 38.1
40107 | 2021-03-03 12:01 | 63.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.8422 | μmol/L | 33.9279 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.885 | 148584.2831 | 301912.9916 | 59.9307 | 38.1
40116 | 2021-03-03 12:02 | 63.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.9353 | μmol/L | 33.8788 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.896 | 148676.315 | 301916.909 | 59.9307 | 38.1
40127 | 2021-03-03 12:02 | 63.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.5482 | μmol/L | 33.9463 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.902 | 148719.7957 | 301922.5051 | 59.9307 | 38.1
40137 | 2021-03-03 12:02 | 64.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.3935 | μmol/L | 33.977 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.903 | 148727.7237 | 301920.8143 | 59.9307 | 38.1
40146 | 2021-03-03 12:03 | 64.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.617 | μmol/L | 33.9157 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.908 | 148730.5058 | 301908.1387 | 59.9307 | 38.1
40156 | 2021-03-03 12:03 | 64.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.4621 | μmol/L | 33.9279 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.916 | 148799.5941 | 301921.8976 | 59.9307 | 38.1
40166 | 2021-03-03 12:03 | 65.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.1205 | μmol/L | 33.9831 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.923 | 148846.7538 | 301909.6028 | 59.9307 | 38.1
40177 | 2021-03-03 12:04 | 65.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.0961 | μmol/L | 33.9831 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.925 | 148863.903 | 301907.7803 | 59.9307 | 38.1
40186 | 2021-03-03 12:04 | 65.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.1041 | μmol/L | 33.9709 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.929 | 148897.7999 | 301903.2775 | 59.9307 | 38.1
40196 | 2021-03-03 12:04 | 66.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.7875 | μmol/L | 34.0261 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.934 | 148925.1801 | 301902.0673 | 59.9307 | 38.1
40207 | 2021-03-03 12:05 | 66.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.8767 | μmol/L | 34.0015 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.936 | 148950.6353 | 301901.1314 | 59.9307 | 38.1
40216 | 2021-03-03 12:05 | 66.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.5199 | μmol/L | 34.0629 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.942 | 148979.0965 | 301898.3095 | 59.9307 | 38.1
40227 | 2021-03-03 12:05 | 67.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.4308 | μmol/L | 34.069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.947 | 148973.1398 | 301880.0922 | 59.9307 | 38.1
40236 | 2021-03-03 12:06 | 67.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.4875 | μmol/L | 34.0383 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.954 | 149003.943 | 301895.8597 | 59.9307 | 38.1
40246 | 2021-03-03 12:06 | 67.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.5077 | μmol/L | 34.0261 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.957 | 149024.9707 | 301891.2059 | 59.9307 | 38.1
40257 | 2021-03-03 12:06 | 68.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.4146 | μmol/L | 34.0383 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.96 | 149057.5301 | 301881.7973 | 59.9307 | 38.1
40267 | 2021-03-03 12:07 | 68.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.2325 | μmol/L | 34.0751 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.961 | 149078.8997 | 301890.8406 | 59.9307 | 38.1
40276 | 2021-03-03 12:07 | 68.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.2204 | μmol/L | 34.0567 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.969 | 149099.029 | 301875.4721 | 59.9307 | 38.1
40286 | 2021-03-03 12:07 | 69.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.1154 | μmol/L | 34.069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.973 | 149141.4244 | 301882.008 | 59.9307 | 38.1
40296 | 2021-03-03 12:08 | 69.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.079 | μmol/L | 34.069 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.976 | 149160.7598 | 301870.2938 | 59.9307 | 38.1
40306 | 2021-03-03 12:08 | 69.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.8045 | μmol/L | 34.1181 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.98 | 149187.0712 | 301895.198 | 59.9307 | 38.1
40316 | 2021-03-03 12:08 | 70.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.6029 | μmol/L | 34.1488 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.985 | 149226.436 | 301874.6674 | 59.9307 | 38.1
40326 | 2021-03-03 12:09 | 70.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.2964 | μmol/L | 34.2101 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.987 | 149253.9799 | 301873.612 | 59.9307 | 38.1
40336 | 2021-03-03 12:09 | 70.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.3491 | μmol/L | 34.1856 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.992 | 149296.0157 | 301877.172 | 59.9307 | 38.1
40346 | 2021-03-03 12:09 | 71.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.164 | μmol/L | 34.2101 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 22.998 | 149328.6931 | 301866.0992 | 59.9307 | 38.1
40357 | 2021-03-03 12:10 | 71.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.281 | μmol/L | 34.1794 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23 | 149358.9909 | 301868.0443 | 59.9307 | 38.1
40366 | 2021-03-03 12:10 | 71.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.0757 | μmol/L | 34.2162 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.003 | 149393.0711 | 301863.3383 | 59.9307 | 38.1
40377 | 2021-03-03 12:10 | 72.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.8347 | μmol/L | 34.253 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.009 | 149454.6344 | 301872.0402 | 59.9307 | 38.1
40387 | 2021-03-03 12:11 | 72.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.9639 | μmol/L | 34.204 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.017 | 149486.6164 | 301876.7011 | 59.9307 | 38.1
40397 | 2021-03-03 12:11 | 72.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.2851 | μmol/L | 34.3389 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.022 | 149542.5952 | 301866.5077 | 59.9307 | 38.1
40407 | 2021-03-03 12:11 | 73.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6548 | μmol/L | 34.253 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.024 | 149619.8383 | 301868.5707 | 59.9307 | 38.1
40417 | 2021-03-03 12:12 | 73.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.4705 | μmol/L | 34.2776 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.03 | 149649.7827 | 301873.5047 | 59.9307 | 38.1
40427 | 2021-03-03 12:12 | 73.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.3342 | μmol/L | 34.3021 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.032 | 149682.3867 | 301872.9349 | 59.9307 | 38.1
40437 | 2021-03-03 12:12 | 74.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.4794 | μmol/L | 34.2469 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.041 | 149722.5058 | 301864.4208 | 59.9307 | 38.1
40447 | 2021-03-03 12:13 | 74.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.8686 | μmol/L | 34.1672 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.039 | 149784.716 | 301869.4518 | 59.9307 | 38.1
40457 | 2021-03-03 12:13 | 74.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6926 | μmol/L | 34.1794 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.049 | 149821.1883 | 301874.7915 | 59.9307 | 38.1
40467 | 2021-03-03 12:13 | 75.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.364 | μmol/L | 34.2408 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.053 | 149852.0359 | 301885.2719 | 59.9307 | 38.1
40477 | 2021-03-03 12:14 | 75.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.296 | μmol/L | 34.253 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.054 | 149905.186 | 301871.6867 | 59.9307 | 38.1
40487 | 2021-03-03 12:14 | 75.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.4124 | μmol/L | 34.2224 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.056 | 149922.744 | 301877.1878 | 59.9307 | 38.1
40497 | 2021-03-03 12:14 | 76.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.2529 | μmol/L | 34.2285 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.067 | 149944.3903 | 301863.9222 | 59.9307 | 38.1
40506 | 2021-03-03 12:15 | 76.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.1772 | μmol/L | 34.2346 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.071 | 149976.1065 | 301873.9232 | 59.9307 | 38.1
40516 | 2021-03-03 12:15 | 76.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.1372 | μmol/L | 34.2408 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.072 | 150039.6622 | 301859.8906 | 59.9307 | 38.1
40526 | 2021-03-03 12:15 | 77.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.1139 | μmol/L | 34.2224 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.081 | 150083.0046 | 301876.1266 | 59.9307 | 38.1
40536 | 2021-03-03 12:16 | 77.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.9543 | μmol/L | 34.2469 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.085 | 150102.3505 | 301877.4577 | 59.9307 | 38.1
40546 | 2021-03-03 12:16 | 77.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.0186 | μmol/L | 34.2224 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.089 | 150137.9156 | 301869.6806 | 59.9307 | 38.1
40557 | 2021-03-03 12:16 | 78.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.8234 | μmol/L | 34.2469 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.096 | 150162.2585 | 301861.731 | 59.9307 | 38.1
40567 | 2021-03-03 12:17 | 78.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.7598 | μmol/L | 34.253 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.099 | 150210.6381 | 301850.9866 | 59.9307 | 38.1
40577 | 2021-03-03 12:17 | 78.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.581 | μmol/L | 34.2715 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.107 | 150239.9259 | 301855.5716 | 59.9307 | 38.1
40586 | 2021-03-03 12:17 | 79.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.685 | μmol/L | 34.2408 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.11 | 150268.7435 | 301849.2137 | 59.9307 | 38.1
40597 | 2021-03-03 12:18 | 79.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.7574 | μmol/L | 34.204 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.118 | 150311.0462 | 301852.631 | 59.9307 | 38.1
40607 | 2021-03-03 12:18 | 79.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.5181 | μmol/L | 34.2592 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.117 | 150359.8043 | 301839.9832 | 59.9307 | 38.1
40616 | 2021-03-03 12:18 | 80.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.2045 | μmol/L | 34.3021 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.127 | 150365.977 | 301845.3112 | 59.9307 | 38.1
40626 | 2021-03-03 12:19 | 80.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.3041 | μmol/L | 34.2776 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.128 | 150417.4907 | 301853.9113 | 59.9307 | 38.1
40636 | 2021-03-03 12:19 | 80.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.2693 | μmol/L | 34.2592 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.138 | 150454.2356 | 301836.3409 | 59.9307 | 38.1
40646 | 2021-03-03 12:19 | 81.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.3215 | μmol/L | 34.2346 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.143 | 150482.172 | 301841.4746 | 59.9307 | 38.1
40656 | 2021-03-03 12:20 | 81.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.453 | μmol/L | 34.1978 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.146 | 150533.3562 | 301827.5836 | 59.9307 | 38.1
40667 | 2021-03-03 12:20 | 81.6693 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.925 | μmol/L | 34.296 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.153 | 150553.2625 | 301834.234 | 59.9307 | 38.1
40676 | 2021-03-03 12:20 | 82.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.786 | μmol/L | 34.3267 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.153 | 150615.1297 | 301836.6071 | 59.9307 | 38.1
40687 | 2021-03-03 12:21 | 82.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.2558 | μmol/L | 34.4126 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.165 | 150646.3325 | 301828.2949 | 59.9307 | 38.1
40696 | 2021-03-03 12:21 | 82.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.2569 | μmol/L | 34.3941 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.172 | 150669.1509 | 301832.2205 | 59.9307 | 38.1
40706 | 2021-03-03 12:21 | 83.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.3966 | μmol/L | 34.3451 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.179 | 150717.4599 | 301841.2827 | 59.9307 | 38.1
40717 | 2021-03-03 12:22 | 83.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.6824 | μmol/L | 34.2715 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.183 | 150737.7791 | 301815.2217 | 59.9307 | 38.1
40727 | 2021-03-03 12:22 | 83.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.7268 | μmol/L | 34.2408 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.191 | 150761.534 | 301823.2908 | 59.9307 | 38.1
40737 | 2021-03-03 12:22 | 84.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.8176 | μmol/L | 34.2285 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.188 | 150831.4115 | 301822.9858 | 59.9307 | 38.1
40747 | 2021-03-03 12:23 | 84.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.0402 | μmol/L | 34.161 | °C | 994 | hPa | Humid | 28 | 1 | 0 | 23.195 | 150861.8028 | 301817.0869 | 59.9307 | 38.1