## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38219 | 2021-03-03 10:59 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.8938 | μmol/L | 33.9993 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.528 | 110588.9918 | 217757.828 | 27.3 | 43.4
38228 | 2021-03-03 10:59 | 0.33625 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.8452 | μmol/L | 34.0055 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.529 | 110590.6891 | 217765.0119 | 27.3 | 43.4
38238 | 2021-03-03 10:59 | 0.67005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.7285 | μmol/L | 34.0055 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.537 | 110584.6021 | 217765.3807 | 27.3 | 43.4
38248 | 2021-03-03 11:00 | 1.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.4422 | μmol/L | 34.0546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.538 | 110582.6441 | 217759.4853 | 27.3 | 43.4
38259 | 2021-03-03 11:00 | 1.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.195 | μmol/L | 34.073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.548 | 110586.5069 | 217741.9589 | 27.3 | 43.4
38268 | 2021-03-03 11:00 | 1.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.2967 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.555 | 110606.397 | 217749.5944 | 27.3 | 43.4
38279 | 2021-03-03 11:01 | 2.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.1902 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.56 | 110616.9174 | 217738.0993 | 27.3 | 43.4
38289 | 2021-03-03 11:01 | 2.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.258 | μmol/L | 34.03 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.56 | 110612.3584 | 217740.6132 | 27.3 | 43.4
38298 | 2021-03-03 11:01 | 2.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.5631 | μmol/L | 33.9748 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.56 | 110609.2036 | 217736.0343 | 27.3 | 43.4
38309 | 2021-03-03 11:02 | 3.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9482 | μmol/L | 34.0546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.572 | 110622.5313 | 217720.5371 | 27.3 | 43.4
38318 | 2021-03-03 11:02 | 3.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.2143 | μmol/L | 33.9932 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.577 | 110637.5221 | 217716.5811 | 27.3 | 43.4
38328 | 2021-03-03 11:02 | 3.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9676 | μmol/L | 34.03 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.58 | 110656.7286 | 217706.6827 | 27.3 | 43.4
38339 | 2021-03-03 11:03 | 4.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.6633 | μmol/L | 34.0669 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.587 | 110674.4624 | 217712.8531 | 27.3 | 43.4
38349 | 2021-03-03 11:03 | 4.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9386 | μmol/L | 34.0116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.589 | 110700.0785 | 217711.0837 | 27.3 | 43.4
38358 | 2021-03-03 11:03 | 4.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.6586 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.599 | 110720.9072 | 217700.9328 | 27.3 | 43.4
38368 | 2021-03-03 11:04 | 5.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.4368 | μmol/L | 34.0607 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.605 | 110743.4659 | 217693.1196 | 27.3 | 43.4
38379 | 2021-03-03 11:04 | 5.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.6105 | μmol/L | 34.0239 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.607 | 110753.5483 | 217689.5243 | 27.3 | 43.4
38389 | 2021-03-03 11:04 | 5.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.6346 | μmol/L | 34.0116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.61 | 110772.8642 | 217695.6012 | 27.3 | 43.4
38399 | 2021-03-03 11:05 | 6.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1577 | μmol/L | 34.0669 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.622 | 110814.402 | 217684.4582 | 27.3 | 43.4
38408 | 2021-03-03 11:05 | 6.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.0761 | μmol/L | 34.0607 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.63 | 110836.9905 | 217676.1659 | 27.3 | 43.4
38418 | 2021-03-03 11:05 | 6.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1147 | μmol/L | 34.0484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.632 | 110859.4866 | 217682.4665 | 27.3 | 43.4
38428 | 2021-03-03 11:06 | 7.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.9417 | μmol/L | 34.0669 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.637 | 110878.6716 | 217666.5698 | 27.3 | 43.4
38439 | 2021-03-03 11:06 | 7.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.9082 | μmol/L | 34.0546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.644 | 110903.4957 | 217644.7552 | 27.3 | 43.4
38448 | 2021-03-03 11:06 | 7.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5964 | μmol/L | 34.0853 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.654 | 110940.321 | 217650.1709 | 27.3 | 43.4
38459 | 2021-03-03 11:07 | 8.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.827 | μmol/L | 34.03 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.659 | 110968.0653 | 217653.0065 | 27.3 | 43.4
38469 | 2021-03-03 11:07 | 8.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.4532 | μmol/L | 34.0669 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.671 | 111004.2797 | 217648.1719 | 27.3 | 43.4
38479 | 2021-03-03 11:07 | 8.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5493 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.676 | 111041.7033 | 217638.1188 | 27.3 | 43.4
38488 | 2021-03-03 11:08 | 9.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.4105 | μmol/L | 34.0484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.681 | 111058.7676 | 217637.6475 | 27.3 | 43.4
38498 | 2021-03-03 11:08 | 9.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5114 | μmol/L | 34.0116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.688 | 111091.7403 | 217638.9865 | 27.3 | 43.4
38508 | 2021-03-03 11:08 | 9.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.3105 | μmol/L | 34.03 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.695 | 111116.179 | 217637.4645 | 27.3 | 43.4
38518 | 2021-03-03 11:09 | 10.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.1863 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.699 | 111134.7032 | 217622.6773 | 27.3 | 43.4
38528 | 2021-03-03 11:09 | 10.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.1197 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.706 | 111181.1979 | 217624.8568 | 27.3 | 43.4
38539 | 2021-03-03 11:09 | 10.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.0147 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.711 | 111214.6091 | 217624.2866 | 27.3 | 43.4
38549 | 2021-03-03 11:10 | 11.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.9147 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.718 | 111247.4073 | 217614.1438 | 27.3 | 43.4
38558 | 2021-03-03 11:10 | 11.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.7769 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.73 | 111294.1326 | 217620.4033 | 27.3 | 43.4
38568 | 2021-03-03 11:10 | 11.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.6295 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.738 | 111343.3729 | 217608.3788 | 27.3 | 43.4
38578 | 2021-03-03 11:11 | 12.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3444 | μmol/L | 34.0607 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.751 | 111385.0187 | 217611.5054 | 27.3 | 43.4
38588 | 2021-03-03 11:11 | 12.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.416 | μmol/L | 34.0423 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.753 | 111406.7121 | 217614.3887 | 27.3 | 43.4
38598 | 2021-03-03 11:11 | 12.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2689 | μmol/L | 34.0484 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.761 | 111448.4272 | 217614.9359 | 27.3 | 43.4
38608 | 2021-03-03 11:12 | 13.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.9513 | μmol/L | 34.073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.774 | 111502.2148 | 217599.3202 | 27.3 | 43.4
38618 | 2021-03-03 11:12 | 13.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.9235 | μmol/L | 34.0546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.783 | 111553.8698 | 217593.451 | 27.3 | 43.4
38628 | 2021-03-03 11:12 | 13.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8816 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.793 | 111608.605 | 217601.824 | 27.3 | 43.4
38638 | 2021-03-03 11:13 | 14.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.7541 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.802 | 111640.6667 | 217577.2405 | 27.3 | 43.4
38648 | 2021-03-03 11:13 | 14.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.6693 | μmol/L | 34.0362 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.808 | 111670.473 | 217593.4738 | 27.3 | 43.4
38659 | 2021-03-03 11:13 | 14.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.547 | μmol/L | 34.03 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.819 | 111709.8204 | 217579.6182 | 27.3 | 43.4
38668 | 2021-03-03 11:14 | 15.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5992 | μmol/L | 34.0178 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.82 | 111743.3017 | 217586.5446 | 27.3 | 43.4
38679 | 2021-03-03 11:14 | 15.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5622 | μmol/L | 33.9932 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.832 | 111777.1324 | 217571.8505 | 27.3 | 43.4
38688 | 2021-03-03 11:14 | 15.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5578 | μmol/L | 33.9809 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.837 | 111821.8697 | 217565.8287 | 27.3 | 43.4
38698 | 2021-03-03 11:15 | 16.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4449 | μmol/L | 33.9809 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.845 | 111851.13 | 217558.9977 | 27.3 | 43.4
38708 | 2021-03-03 11:15 | 16.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4313 | μmol/L | 33.9625 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.853 | 111890.9136 | 217568.3637 | 27.3 | 43.4
38718 | 2021-03-03 11:15 | 16.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.3282 | μmol/L | 33.9503 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.865 | 111941.6602 | 217554.1095 | 27.3 | 43.4
38728 | 2021-03-03 11:16 | 17.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.3763 | μmol/L | 33.9073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.878 | 112004.5572 | 217549.9228 | 27.3 | 43.4
38738 | 2021-03-03 11:16 | 17.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1743 | μmol/L | 33.9134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.89 | 112057.0174 | 217540.6335 | 27.3 | 43.4
38749 | 2021-03-03 11:16 | 17.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.9067 | μmol/L | 33.9318 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.902 | 112096.4716 | 217535.3446 | 27.3 | 43.4
38758 | 2021-03-03 11:17 | 18.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6816 | μmol/L | 33.9503 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.911 | 112163.1744 | 217535.1231 | 27.3 | 43.4
38768 | 2021-03-03 11:17 | 18.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.8796 | μmol/L | 33.895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.918 | 112211.3717 | 217532.6141 | 27.3 | 43.4
38778 | 2021-03-03 11:17 | 18.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6493 | μmol/L | 33.938 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.918 | 112210.5403 | 217525.9904 | 27.3 | 43.4
38788 | 2021-03-03 11:18 | 19.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4532 | μmol/L | 33.938 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.932 | 112269.7889 | 217529.4713 | 27.3 | 43.4
38799 | 2021-03-03 11:18 | 19.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6272 | μmol/L | 33.895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.936 | 112282.7406 | 217537.7115 | 27.3 | 43.4
38808 | 2021-03-03 11:18 | 19.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.3376 | μmol/L | 33.9073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.952 | 112351.8782 | 217510.1513 | 27.3 | 43.4
38819 | 2021-03-03 11:19 | 20.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2307 | μmol/L | 33.9012 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.962 | 112404.3463 | 217513.6084 | 27.3 | 43.4
38828 | 2021-03-03 11:19 | 20.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.2118 | μmol/L | 33.9073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.961 | 112406.998 | 217513.2649 | 27.3 | 43.4
38838 | 2021-03-03 11:19 | 20.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1705 | μmol/L | 33.8889 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.971 | 112460.6005 | 217502.6571 | 27.3 | 43.4
38848 | 2021-03-03 11:20 | 21.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9983 | μmol/L | 33.895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.981 | 112495.4982 | 217495.7167 | 27.3 | 43.4
38858 | 2021-03-03 11:20 | 21.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.9244 | μmol/L | 33.8827 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.991 | 112549.8058 | 217494.4067 | 27.3 | 43.4
38868 | 2021-03-03 11:20 | 21.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.8311 | μmol/L | 33.895 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.993 | 112569.7348 | 217479.8553 | 27.3 | 43.4
38879 | 2021-03-03 11:21 | 22.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.8039 | μmol/L | 33.8766 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.002 | 112596.48 | 217475.909 | 27.3 | 43.4
38889 | 2021-03-03 11:21 | 22.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.8511 | μmol/L | 33.8521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.008 | 112633.3958 | 217475.9503 | 27.3 | 43.4
38899 | 2021-03-03 11:21 | 22.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6654 | μmol/L | 33.8582 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.019 | 112675.4838 | 217472.9478 | 27.3 | 43.4
38909 | 2021-03-03 11:22 | 23.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.5216 | μmol/L | 33.8643 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.027 | 112720.2718 | 217473.5597 | 27.3 | 43.4
38919 | 2021-03-03 11:22 | 23.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3828 | μmol/L | 33.8643 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.037 | 112756.9566 | 217457.8865 | 27.3 | 43.4
38929 | 2021-03-03 11:22 | 23.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2906 | μmol/L | 33.8582 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.046 | 112804.0716 | 217467.9756 | 27.3 | 43.4
38938 | 2021-03-03 11:23 | 24.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2955 | μmol/L | 33.8521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.048 | 112819.8498 | 217461.8142 | 27.3 | 43.4
38948 | 2021-03-03 11:23 | 24.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2732 | μmol/L | 33.8275 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.059 | 112864.7069 | 217447.3126 | 27.3 | 43.4
38958 | 2021-03-03 11:23 | 24.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.1769 | μmol/L | 33.8091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.073 | 112915.4958 | 217443.5555 | 27.3 | 43.4
38969 | 2021-03-03 11:24 | 25.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0006 | μmol/L | 33.8398 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.074 | 112935.8119 | 217442.5582 | 27.3 | 43.4
38978 | 2021-03-03 11:24 | 25.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8713 | μmol/L | 33.8459 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.081 | 112968.1992 | 217441.4341 | 27.3 | 43.4
38989 | 2021-03-03 11:24 | 25.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7747 | μmol/L | 33.8459 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.088 | 113004.2962 | 217439.0154 | 27.3 | 43.4
38998 | 2021-03-03 11:25 | 26.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8817 | μmol/L | 33.8152 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.092 | 113024.7399 | 217436.0349 | 27.3 | 43.4
39009 | 2021-03-03 11:25 | 26.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9701 | μmol/L | 33.7907 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.095 | 113041.9762 | 217430.5915 | 27.3 | 43.4
39019 | 2021-03-03 11:25 | 26.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.8644 | μmol/L | 33.7846 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.105 | 113072.1376 | 217425.4315 | 27.3 | 43.4
39029 | 2021-03-03 11:26 | 27.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.5361 | μmol/L | 33.8336 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.11 | 113107.823 | 217410.4204 | 27.3 | 43.4
39038 | 2021-03-03 11:26 | 27.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.592 | μmol/L | 33.8152 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.113 | 113117.1578 | 217416.5799 | 27.3 | 43.4
39049 | 2021-03-03 11:26 | 27.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4114 | μmol/L | 33.8521 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.112 | 113141.9373 | 217406.3478 | 27.3 | 43.4
39058 | 2021-03-03 11:27 | 28.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3984 | μmol/L | 33.8336 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.12 | 113165.5852 | 217404.6261 | 27.3 | 43.4
39069 | 2021-03-03 11:27 | 28.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.5975 | μmol/L | 33.7907 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.122 | 113175.8816 | 217394.9442 | 27.3 | 43.4
39078 | 2021-03-03 11:27 | 28.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4178 | μmol/L | 33.8091 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.128 | 113188.2584 | 217393.9493 | 27.3 | 43.4
39089 | 2021-03-03 11:28 | 29.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2835 | μmol/L | 33.8398 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.126 | 113196.1156 | 217384.2326 | 27.3 | 43.4
39099 | 2021-03-03 11:28 | 29.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.1962 | μmol/L | 33.8459 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.13 | 113197.9897 | 217377.399 | 27.3 | 43.4
39109 | 2021-03-03 11:28 | 29.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.2293 | μmol/L | 33.8214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.137 | 113239.2927 | 217386.2838 | 27.3 | 43.4
39119 | 2021-03-03 11:29 | 30.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.7642 | μmol/L | 33.8889 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113264.8285 | 217374.7278 | 27.3 | 43.4
39128 | 2021-03-03 11:29 | 30.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8151 | μmol/L | 33.8766 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.146 | 113285.8064 | 217377.355 | 27.3 | 43.4
39139 | 2021-03-03 11:29 | 30.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.5383 | μmol/L | 33.9318 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113284.1805 | 217373.1085 | 27.3 | 43.4
39149 | 2021-03-03 11:30 | 31.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4874 | μmol/L | 33.9441 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.144 | 113272.2995 | 217365.4845 | 27.3 | 43.4
39158 | 2021-03-03 11:30 | 31.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.5197 | μmol/L | 33.938 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.144 | 113257.6314 | 217363.3542 | 27.3 | 43.4
39169 | 2021-03-03 11:30 | 31.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4092 | μmol/L | 33.9564 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113264.9875 | 217355.1615 | 27.3 | 43.4
39178 | 2021-03-03 11:31 | 32.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.1747 | μmol/L | 33.9932 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.148 | 113268.5424 | 217356.8513 | 27.3 | 43.4
39188 | 2021-03-03 11:31 | 32.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4229 | μmol/L | 33.9564 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.144 | 113232.7469 | 217351.7402 | 27.3 | 43.4
39198 | 2021-03-03 11:31 | 32.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.4666 | μmol/L | 33.9871 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.129 | 113161.6389 | 217358.3458 | 27.3 | 43.4
39208 | 2021-03-03 11:32 | 33.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.3001 | μmol/L | 34.0239 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.127 | 113158.3285 | 217348.3054 | 27.3 | 43.4
39218 | 2021-03-03 11:32 | 33.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.0655 | μmol/L | 34.0607 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.13 | 113143.299 | 217341.9611 | 27.3 | 43.4
39228 | 2021-03-03 11:32 | 33.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.955 | μmol/L | 34.0791 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.131 | 113149.1366 | 217331.5829 | 27.3 | 43.4
39239 | 2021-03-03 11:33 | 34.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.9005 | μmol/L | 34.0791 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.135 | 113183.561 | 217326.4632 | 27.3 | 43.4
39248 | 2021-03-03 11:33 | 34.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.732 | μmol/L | 34.0853 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.145 | 113211.6167 | 217329.1338 | 27.3 | 43.4
39259 | 2021-03-03 11:33 | 34.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.6131 | μmol/L | 34.0975 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.149 | 113216.9298 | 217313.769 | 27.3 | 43.4
39269 | 2021-03-03 11:34 | 35.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.4943 | μmol/L | 34.1098 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.153 | 113242.7659 | 217319.696 | 27.3 | 43.4
39279 | 2021-03-03 11:34 | 35.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.4249 | μmol/L | 34.1282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.151 | 113240.0129 | 217311.1817 | 27.3 | 43.4
39288 | 2021-03-03 11:34 | 35.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.3927 | μmol/L | 34.1344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.151 | 113245.1946 | 217323.5672 | 27.3 | 43.4
39298 | 2021-03-03 11:35 | 36.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.1046 | μmol/L | 34.1712 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.158 | 113253.8906 | 217310.6232 | 27.3 | 43.4
39309 | 2021-03-03 11:35 | 36.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.1182 | μmol/L | 34.1712 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.157 | 113265.1754 | 217316.4491 | 27.3 | 43.4
39319 | 2021-03-03 11:35 | 36.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.0047 | μmol/L | 34.1773 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.163 | 113276.8118 | 217304.8861 | 27.3 | 43.4
39328 | 2021-03-03 11:36 | 37.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.8119 | μmol/L | 34.2142 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.163 | 113280.4703 | 217311.7454 | 27.3 | 43.4
39339 | 2021-03-03 11:36 | 37.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7713 | μmol/L | 34.2142 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.166 | 113295.9326 | 217305.5425 | 27.3 | 43.4
39349 | 2021-03-03 11:36 | 37.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.8694 | μmol/L | 34.1773 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.173 | 113309.3536 | 217296.9116 | 27.3 | 43.4
39358 | 2021-03-03 11:37 | 38.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7967 | μmol/L | 34.1835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.176 | 113344.2146 | 217292.8225 | 27.3 | 43.4
39368 | 2021-03-03 11:37 | 38.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.55 | μmol/L | 34.2203 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.18 | 113350.797 | 217300.0307 | 27.3 | 43.4
39379 | 2021-03-03 11:37 | 38.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.7645 | μmol/L | 34.1896 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.176 | 113346.6205 | 217304.0901 | 27.3 | 43.4
39388 | 2021-03-03 11:38 | 39.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.8102 | μmol/L | 34.1835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.175 | 113340.3092 | 217302.7869 | 27.3 | 43.4
39398 | 2021-03-03 11:38 | 39.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.4891 | μmol/L | 34.2448 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.175 | 113330.407 | 217293.7151 | 27.3 | 43.4
39408 | 2021-03-03 11:38 | 39.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.4216 | μmol/L | 34.2448 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.18 | 113346.1504 | 217295.4216 | 27.3 | 43.4
39418 | 2021-03-03 11:39 | 40.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.1906 | μmol/L | 34.2633 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.19 | 113382.8361 | 217283.9234 | 27.3 | 43.4
39429 | 2021-03-03 11:39 | 40.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.621 | μmol/L | 34.1835 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.189 | 113406.3511 | 217279.7247 | 27.3 | 43.4
39438 | 2021-03-03 11:39 | 40.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.1822 | μmol/L | 34.2571 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.193 | 113409.8842 | 217278.0661 | 27.3 | 43.4
39449 | 2021-03-03 11:40 | 41.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.805 | μmol/L | 34.3062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.202 | 113443.3777 | 217269.172 | 27.3 | 43.4
39458 | 2021-03-03 11:40 | 41.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6976 | μmol/L | 34.3062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.21 | 113474.6248 | 217276.9247 | 27.3 | 43.4
39469 | 2021-03-03 11:40 | 41.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.5768 | μmol/L | 34.3062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.219 | 113521.2083 | 217274.8883 | 27.3 | 43.4
39478 | 2021-03-03 11:41 | 42.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.2698 | μmol/L | 34.3369 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.23 | 113565.2343 | 217272.047 | 27.3 | 43.4
39489 | 2021-03-03 11:41 | 42.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.5253 | μmol/L | 34.2878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.23 | 113587.7272 | 217267.0574 | 27.3 | 43.4
39499 | 2021-03-03 11:41 | 42.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.312 | μmol/L | 34.3185 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.234 | 113594.7017 | 217267.0282 | 27.3 | 43.4
39508 | 2021-03-03 11:42 | 43.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.692 | μmol/L | 34.2326 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.239 | 113620.2557 | 217279.8256 | 27.3 | 43.4
39518 | 2021-03-03 11:42 | 43.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.6065 | μmol/L | 34.2387 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.243 | 113644.9361 | 217282.9159 | 27.3 | 43.4
39528 | 2021-03-03 11:42 | 43.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.3934 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.247 | 113672.2739 | 217268.9703 | 27.3 | 43.4
39539 | 2021-03-03 11:43 | 44.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1989 | μmol/L | 34.2939 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.252 | 113700.2605 | 217267.0905 | 27.3 | 43.4
39549 | 2021-03-03 11:43 | 44.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.2329 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.259 | 113727.6207 | 217257.5969 | 27.3 | 43.4
39559 | 2021-03-03 11:43 | 44.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1609 | μmol/L | 34.2755 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.262 | 113741.0127 | 217247.8492 | 27.3 | 43.4
39569 | 2021-03-03 11:44 | 45.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1794 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.263 | 113752.4238 | 217247.1075 | 27.3 | 43.4
39579 | 2021-03-03 11:44 | 45.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.9216 | μmol/L | 34.3062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.268 | 113771.3778 | 217250.7067 | 27.3 | 43.4
39588 | 2021-03-03 11:44 | 45.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8231 | μmol/L | 34.3124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.273 | 113794.5919 | 217250.7117 | 27.3 | 43.4
39598 | 2021-03-03 11:45 | 46.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8755 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.281 | 113798.5318 | 217231.1842 | 27.3 | 43.4
39608 | 2021-03-03 11:45 | 46.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.9258 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.282 | 113825.8016 | 217241.9789 | 27.3 | 43.4
39618 | 2021-03-03 11:45 | 46.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7565 | μmol/L | 34.3124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.278 | 113812.8759 | 217243.3846 | 27.3 | 43.4
39629 | 2021-03-03 11:46 | 47.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8519 | μmol/L | 34.2939 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.278 | 113799.2955 | 217234.4668 | 27.3 | 43.4
39639 | 2021-03-03 11:46 | 47.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7883 | μmol/L | 34.3062 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.278 | 113799.0235 | 217233.2499 | 27.3 | 43.4
39649 | 2021-03-03 11:46 | 47.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.9576 | μmol/L | 34.2633 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.282 | 113814.7062 | 217223.9797 | 27.3 | 43.4
39659 | 2021-03-03 11:47 | 48.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7505 | μmol/L | 34.2878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.288 | 113852.1712 | 217229.0637 | 27.3 | 43.4
39668 | 2021-03-03 11:47 | 48.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7157 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.293 | 113872.22 | 217223.9543 | 27.3 | 43.4
39679 | 2021-03-03 11:47 | 48.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.7526 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.295 | 113882.9276 | 217227.5817 | 27.3 | 43.4
39689 | 2021-03-03 11:48 | 49.0036 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.6963 | μmol/L | 34.2571 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.304 | 113919.3352 | 217220.0305 | 27.3 | 43.4
39699 | 2021-03-03 11:48 | 49.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.4579 | μmol/L | 34.2878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.31 | 113956.1506 | 217208.838 | 27.3 | 43.4
39708 | 2021-03-03 11:48 | 49.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.3066 | μmol/L | 34.2939 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.319 | 113996.4123 | 217209.1712 | 27.3 | 43.4
39718 | 2021-03-03 11:49 | 50.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1954 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.325 | 114008.6326 | 217215.3769 | 27.3 | 43.4
39729 | 2021-03-03 11:49 | 50.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1453 | μmol/L | 34.3124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.324 | 114045.8517 | 217212.0582 | 27.3 | 43.4
39738 | 2021-03-03 11:49 | 50.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.0893 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.333 | 114078.0839 | 217212.2158 | 27.3 | 43.4
39749 | 2021-03-03 11:50 | 51.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.9437 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.344 | 114115.9956 | 217205.8672 | 27.3 | 43.4
39758 | 2021-03-03 11:50 | 51.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8695 | μmol/L | 34.2939 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.352 | 114167.335 | 217207.8973 | 27.3 | 43.4
39768 | 2021-03-03 11:50 | 51.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.8585 | μmol/L | 34.2755 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.36 | 114190.7899 | 217195.8969 | 27.3 | 43.4
39778 | 2021-03-03 11:51 | 52.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6661 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.365 | 114237.5979 | 217199.6697 | 27.3 | 43.4
39789 | 2021-03-03 11:51 | 52.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.6001 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.37 | 114280.878 | 217199.1991 | 27.3 | 43.4
39799 | 2021-03-03 11:51 | 52.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4866 | μmol/L | 34.2939 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.381 | 114297.5447 | 217188.5085 | 27.3 | 43.4
39809 | 2021-03-03 11:52 | 53.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.5732 | μmol/L | 34.2694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.384 | 114340.9872 | 217188.5944 | 27.3 | 43.4
39818 | 2021-03-03 11:52 | 53.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4465 | μmol/L | 34.2633 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.396 | 114386.92 | 217182.7861 | 27.3 | 43.4
39829 | 2021-03-03 11:52 | 53.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3463 | μmol/L | 34.2571 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.406 | 114454.6195 | 217195.9812 | 27.3 | 43.4
39839 | 2021-03-03 11:53 | 54.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.1152 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.414 | 114498.3787 | 217187.7713 | 27.3 | 43.4
39849 | 2021-03-03 11:53 | 54.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.065 | μmol/L | 34.2633 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.425 | 114543.7905 | 217183.0136 | 27.3 | 43.4
39858 | 2021-03-03 11:53 | 54.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0439 | μmol/L | 34.2571 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.429 | 114581.0886 | 217184.7282 | 27.3 | 43.4
39869 | 2021-03-03 11:54 | 55.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0228 | μmol/L | 34.251 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.433 | 114602.1841 | 217185.0145 | 27.3 | 43.4
39879 | 2021-03-03 11:54 | 55.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.9178 | μmol/L | 34.251 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.441 | 114644.0839 | 217181.501 | 27.3 | 43.4
39889 | 2021-03-03 11:54 | 55.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.7656 | μmol/L | 34.2448 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.455 | 114677.1054 | 217182.0007 | 27.3 | 43.4
39898 | 2021-03-03 11:55 | 56.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8728 | μmol/L | 34.2264 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.454 | 114681.191 | 217194.1983 | 27.3 | 43.4
39909 | 2021-03-03 11:55 | 56.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.98 | μmol/L | 34.208 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.453 | 114683.3108 | 217183.2172 | 27.3 | 43.4
39919 | 2021-03-03 11:55 | 56.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8984 | μmol/L | 34.1957 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.464 | 114733.5293 | 217185.5732 | 27.3 | 43.4
39928 | 2021-03-03 11:56 | 57.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8278 | μmol/L | 34.2019 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.467 | 114747.6771 | 217177.6647 | 27.3 | 43.4
39939 | 2021-03-03 11:56 | 57.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.1483 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.476 | 114793.9731 | 217188.0491 | 27.3 | 43.4
39948 | 2021-03-03 11:56 | 57.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.3282 | μmol/L | 34.073 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.479 | 114807.1326 | 217186.7767 | 27.3 | 43.4
39959 | 2021-03-03 11:57 | 58.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0019 | μmol/L | 34.1344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.48 | 114805.0726 | 217186.9354 | 27.3 | 43.4
39968 | 2021-03-03 11:57 | 58.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.9181 | μmol/L | 34.1405 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.484 | 114814.8318 | 217188.0312 | 27.3 | 43.4
39979 | 2021-03-03 11:57 | 58.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0484 | μmol/L | 34.1098 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.486 | 114861.4601 | 217174.252 | 27.3 | 43.4
39989 | 2021-03-03 11:58 | 59.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6744 | μmol/L | 34.1344 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.505 | 114917.0296 | 217170.5143 | 27.3 | 43.4
39998 | 2021-03-03 11:58 | 59.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.604 | μmol/L | 34.1405 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.508 | 114966.5545 | 217170.9564 | 27.3 | 43.4
40009 | 2021-03-03 11:58 | 59.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.5118 | μmol/L | 34.1098 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.527 | 115043.0516 | 217162.883 | 27.3 | 43.4
40018 | 2021-03-03 11:59 | 60.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4103 | μmol/L | 34.1221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.53 | 115072.3601 | 217162.6407 | 27.3 | 43.4
40029 | 2021-03-03 11:59 | 60.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.4284 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.531 | 115084.5163 | 217161.1042 | 27.3 | 43.4
40039 | 2021-03-03 11:59 | 60.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.2487 | μmol/L | 34.1282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.54 | 115136.1293 | 217171.1258 | 27.3 | 43.4
40049 | 2021-03-03 12:00 | 61.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.2197 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.547 | 115168.5473 | 217160.9712 | 27.3 | 43.4
40058 | 2021-03-03 12:00 | 61.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.0765 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.558 | 115202.7567 | 217151.5243 | 27.3 | 43.4
40068 | 2021-03-03 12:00 | 61.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9255 | μmol/L | 34.1098 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.572 | 115275.3745 | 217155.5389 | 27.3 | 43.4
40078 | 2021-03-03 12:01 | 62.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.8684 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.574 | 115326.3936 | 217159.2156 | 27.3 | 43.4
40089 | 2021-03-03 12:01 | 62.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.7377 | μmol/L | 34.1221 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.581 | 115353.3314 | 217152.957 | 27.3 | 43.4
40099 | 2021-03-03 12:01 | 62.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6839 | μmol/L | 34.1037 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.593 | 115401.8946 | 217156.5395 | 27.3 | 43.4
40109 | 2021-03-03 12:02 | 63.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.57 | μmol/L | 34.116 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.597 | 115421.6625 | 217137.5187 | 27.3 | 43.4
40119 | 2021-03-03 12:02 | 63.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.7149 | μmol/L | 34.0975 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.593 | 115404.319 | 217141.6233 | 27.3 | 43.4
40129 | 2021-03-03 12:02 | 63.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6579 | μmol/L | 34.1037 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.595 | 115431.0803 | 217139.4357 | 27.3 | 43.4
40139 | 2021-03-03 12:03 | 64.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.769 | μmol/L | 34.0791 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.596 | 115427.2238 | 217134.6653 | 27.3 | 43.4
40148 | 2021-03-03 12:03 | 64.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.7349 | μmol/L | 34.1098 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.586 | 115378.0439 | 217139.2484 | 27.3 | 43.4
40158 | 2021-03-03 12:03 | 64.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9841 | μmol/L | 34.0546 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.589 | 115385.5921 | 217138.1985 | 27.3 | 43.4
40168 | 2021-03-03 12:04 | 65.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.7062 | μmol/L | 34.0975 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.593 | 115417.2368 | 217140.7691 | 27.3 | 43.4
40178 | 2021-03-03 12:04 | 65.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6241 | μmol/L | 34.0975 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.6 | 115452.2499 | 217133.8935 | 27.3 | 43.4
40188 | 2021-03-03 12:04 | 65.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6365 | μmol/L | 34.0669 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.611 | 115502.4482 | 217141.7782 | 27.3 | 43.4
40198 | 2021-03-03 12:05 | 66.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.2635 | μmol/L | 34.116 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.62 | 115562.006 | 217136.4361 | 27.3 | 43.4
40208 | 2021-03-03 12:05 | 66.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3674 | μmol/L | 34.0791 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.627 | 115600.1016 | 217145.299 | 27.3 | 43.4
40219 | 2021-03-03 12:05 | 66.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.161 | μmol/L | 34.1098 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.631 | 115628.0127 | 217126.3382 | 27.3 | 43.4
40229 | 2021-03-03 12:06 | 67.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7709 | μmol/L | 34.1651 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.639 | 115660.0656 | 217129.8136 | 27.3 | 43.4
40239 | 2021-03-03 12:06 | 67.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7965 | μmol/L | 34.1344 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.649 | 115699.0854 | 217123.1669 | 27.3 | 43.4
40249 | 2021-03-03 12:06 | 67.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.5959 | μmol/L | 34.1589 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.655 | 115748.6732 | 217125.8639 | 27.3 | 43.4
40259 | 2021-03-03 12:07 | 68.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.4134 | μmol/L | 34.1773 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.662 | 115795.9018 | 217133.6723 | 27.3 | 43.4
40269 | 2021-03-03 12:07 | 68.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.209 | μmol/L | 34.2019 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.669 | 115833.6589 | 217127.8631 | 27.3 | 43.4
40278 | 2021-03-03 12:07 | 68.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1798 | μmol/L | 34.1957 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.673 | 115868.6881 | 217129.6043 | 27.3 | 43.4
40289 | 2021-03-03 12:08 | 69.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.385 | μmol/L | 34.1344 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.681 | 115897.1638 | 217129.1407 | 27.3 | 43.4
40298 | 2021-03-03 12:08 | 69.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.149 | μmol/L | 34.1712 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.685 | 115924.7604 | 217124.9749 | 27.3 | 43.4
40308 | 2021-03-03 12:08 | 69.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.7391 | μmol/L | 34.2326 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.693 | 115945.1296 | 217130.3563 | 27.3 | 43.4
40318 | 2021-03-03 12:09 | 70.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.483 | μmol/L | 34.2939 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.689 | 115943.3632 | 217123.4581 | 27.3 | 43.4
40328 | 2021-03-03 12:09 | 70.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.5368 | μmol/L | 34.2755 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.692 | 115953.8156 | 217127.2889 | 27.3 | 43.4
40339 | 2021-03-03 12:09 | 70.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4447 | μmol/L | 34.2939 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.692 | 115968.1594 | 217122.4801 | 27.3 | 43.4
40349 | 2021-03-03 12:10 | 71.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.396 | μmol/L | 34.3062 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.691 | 115973.2756 | 217124.4111 | 27.3 | 43.4
40359 | 2021-03-03 12:10 | 71.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.5491 | μmol/L | 34.3062 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.679 | 115869.6921 | 217124.5035 | 27.3 | 43.4
40369 | 2021-03-03 12:10 | 71.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.6908 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.671 | 115838.5656 | 217129.925 | 27.3 | 43.4
40378 | 2021-03-03 12:11 | 72.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.577 | μmol/L | 34.3185 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.672 | 115852.6719 | 217122.9396 | 27.3 | 43.4
40389 | 2021-03-03 12:11 | 72.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4807 | μmol/L | 34.3369 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.673 | 115862.6945 | 217118.0706 | 27.3 | 43.4
40398 | 2021-03-03 12:11 | 72.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.2882 | μmol/L | 34.343 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.685 | 115915.2669 | 217126.2647 | 27.3 | 43.4
40409 | 2021-03-03 12:12 | 73.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0964 | μmol/L | 34.3737 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.688 | 115937.7861 | 217129.2612 | 27.3 | 43.4
40418 | 2021-03-03 12:12 | 73.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8868 | μmol/L | 34.4106 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.69 | 115940.9473 | 217130.3367 | 27.3 | 43.4
40428 | 2021-03-03 12:12 | 73.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.0687 | μmol/L | 34.3615 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.695 | 115982.4042 | 217116.251 | 27.3 | 43.4
40439 | 2021-03-03 12:13 | 74.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.967 | μmol/L | 34.3615 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.703 | 116000.5251 | 217123.266 | 27.3 | 43.4
40448 | 2021-03-03 12:13 | 74.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.151 | μmol/L | 34.3246 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.703 | 116029.3724 | 217130.025 | 27.3 | 43.4
40459 | 2021-03-03 12:13 | 74.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.7607 | μmol/L | 34.3799 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.712 | 116055.5627 | 217129.2138 | 27.3 | 43.4
40468 | 2021-03-03 12:14 | 75.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.8377 | μmol/L | 34.3492 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.718 | 116109.1213 | 217128.8097 | 27.3 | 43.4
40479 | 2021-03-03 12:14 | 75.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.448 | μmol/L | 34.4044 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.727 | 116152.1242 | 217125.2573 | 27.3 | 43.4
40488 | 2021-03-03 12:14 | 75.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.3056 | μmol/L | 34.4228 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.731 | 116155.941 | 217116.7254 | 27.3 | 43.4
40498 | 2021-03-03 12:15 | 76.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.0789 | μmol/L | 34.4658 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.732 | 116159.7471 | 217117.401 | 27.3 | 43.4
40509 | 2021-03-03 12:15 | 76.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.525 | μmol/L | 34.3737 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.733 | 116168.668 | 217125.7479 | 27.3 | 43.4
40518 | 2021-03-03 12:15 | 76.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.1286 | μmol/L | 34.4228 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.745 | 116228.1015 | 217132.9911 | 27.3 | 43.4
40528 | 2021-03-03 12:16 | 77.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.8929 | μmol/L | 34.4474 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.754 | 116284.064 | 217123.9209 | 27.3 | 43.4
40539 | 2021-03-03 12:16 | 77.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.8763 | μmol/L | 34.4228 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.765 | 116347.1695 | 217128.7089 | 27.3 | 43.4
40549 | 2021-03-03 12:16 | 77.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.5675 | μmol/L | 34.4597 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.775 | 116382.0918 | 217121.6559 | 27.3 | 43.4
40559 | 2021-03-03 12:17 | 78.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.7251 | μmol/L | 34.4228 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.777 | 116402.37 | 217124.6455 | 27.3 | 43.4
40569 | 2021-03-03 12:17 | 78.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.5814 | μmol/L | 34.429 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.786 | 116466.5665 | 217116.9143 | 27.3 | 43.4
40579 | 2021-03-03 12:17 | 78.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.5291 | μmol/L | 34.4167 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.795 | 116490.1239 | 217116.7138 | 27.3 | 43.4
40589 | 2021-03-03 12:18 | 79.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.3017 | μmol/L | 34.4474 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.801 | 116500.4687 | 217118.2876 | 27.3 | 43.4
40599 | 2021-03-03 12:18 | 79.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2014 | μmol/L | 34.4474 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.809 | 116533.706 | 217111.3118 | 27.3 | 43.4
40608 | 2021-03-03 12:18 | 79.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.2892 | μmol/L | 34.4474 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.802 | 116500.4014 | 217105.2858 | 27.3 | 43.4
40619 | 2021-03-03 12:19 | 80.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.334 | μmol/L | 34.4535 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.796 | 116474.5337 | 217087.555 | 27.3 | 43.4
40628 | 2021-03-03 12:19 | 80.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1999 | μmol/L | 34.4781 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.797 | 116473.7652 | 217095.2272 | 27.3 | 43.4
40639 | 2021-03-03 12:19 | 80.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0567 | μmol/L | 34.4842 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.806 | 116517.0046 | 217094.1574 | 27.3 | 43.4
40648 | 2021-03-03 12:20 | 81.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8958 | μmol/L | 34.4965 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.814 | 116552.8766 | 217094.3805 | 27.3 | 43.4
40659 | 2021-03-03 12:20 | 81.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9565 | μmol/L | 34.4842 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.814 | 116575.7058 | 217088.2473 | 27.3 | 43.4
40668 | 2021-03-03 12:20 | 81.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9368 | μmol/L | 34.4781 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.818 | 116593.7251 | 217097.654 | 27.3 | 43.4
40679 | 2021-03-03 12:21 | 82.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9421 | μmol/L | 34.4719 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.82 | 116578.1669 | 217101.8323 | 27.3 | 43.4
40689 | 2021-03-03 12:21 | 82.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0654 | μmol/L | 34.4597 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.815 | 116575.045 | 217096.2956 | 27.3 | 43.4
40699 | 2021-03-03 12:21 | 82.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.8527 | μmol/L | 34.4597 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.832 | 116654.6435 | 217096.8549 | 27.3 | 43.4
40708 | 2021-03-03 12:22 | 83.0032 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.4783 | μmol/L | 34.5026 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.845 | 116710.3428 | 217095.1046 | 27.3 | 43.4
40719 | 2021-03-03 12:22 | 83.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.3946 | μmol/L | 34.4842 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.859 | 116805.4113 | 217091.4131 | 27.3 | 43.4
40729 | 2021-03-03 12:22 | 83.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2968 | μmol/L | 34.4965 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.862 | 116834.1194 | 217095.1477 | 27.3 | 43.4
40739 | 2021-03-03 12:23 | 84.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2399 | μmol/L | 34.4904 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.869 | 116866.2755 | 217092.2549 | 27.3 | 43.4
40748 | 2021-03-03 12:23 | 84.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.1635 | μmol/L | 34.4781 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.88 | 116906.8602 | 217093.2705 | 27.3 | 43.4