## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38220 | 2021-03-03 10:59 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.2503 | μmol/L | 34.2287 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22 | 109267.1506 | 300465.2817 | 28.7 | 67.6
38230 | 2021-03-03 10:59 | 0.33567 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.3502 | μmol/L | 34.1982 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.004 | 109262.6174 | 300487.4959 | 28.7 | 67.6
38240 | 2021-03-03 10:59 | 0.66939 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.3675 | μmol/L | 34.1921 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.005 | 109288.776 | 300482.2011 | 28.7 | 67.6
38250 | 2021-03-03 11:00 | 1.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.0952 | μmol/L | 34.241 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.007 | 109300.9168 | 300472.6285 | 28.7 | 67.6
38260 | 2021-03-03 11:00 | 1.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.107 | μmol/L | 34.2226 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.013 | 109315.0044 | 300479.0918 | 28.7 | 67.6
38270 | 2021-03-03 11:00 | 1.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153.1376 | μmol/L | 34.2165 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.013 | 109324.8694 | 300447.6988 | 28.7 | 67.6
38280 | 2021-03-03 11:01 | 2.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9253 | μmol/L | 34.2349 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.022 | 109334.5206 | 300457.6533 | 28.7 | 67.6
38290 | 2021-03-03 11:01 | 2.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 153 | μmol/L | 34.2226 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.021 | 109340.0087 | 300440.0301 | 28.7 | 67.6
38300 | 2021-03-03 11:01 | 2.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.6096 | μmol/L | 34.2899 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.025 | 109370.3697 | 300434.2186 | 28.7 | 67.6
38310 | 2021-03-03 11:02 | 3.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.853 | μmol/L | 34.2226 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.032 | 109380.945 | 300429.5371 | 28.7 | 67.6
38320 | 2021-03-03 11:02 | 3.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.9164 | μmol/L | 34.186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.041 | 109391.0538 | 300427.7598 | 28.7 | 67.6
38330 | 2021-03-03 11:02 | 3.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.794 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.041 | 109409.8925 | 300412.3325 | 28.7 | 67.6
38340 | 2021-03-03 11:03 | 4.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.2594 | μmol/L | 34.296 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.049 | 109428.8453 | 300402.2723 | 28.7 | 67.6
38350 | 2021-03-03 11:03 | 4.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.2939 | μmol/L | 34.2837 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.051 | 109457.7224 | 300409.6329 | 28.7 | 67.6
38360 | 2021-03-03 11:03 | 4.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.3801 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.056 | 109464.6051 | 300389.3863 | 28.7 | 67.6
38370 | 2021-03-03 11:04 | 5.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.7374 | μmol/L | 34.1737 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.059 | 109489.2732 | 300381.5092 | 28.7 | 67.6
38380 | 2021-03-03 11:04 | 5.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.291 | μmol/L | 34.2471 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.065 | 109501.67 | 300378.9874 | 28.7 | 67.6
38390 | 2021-03-03 11:04 | 5.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.0852 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.069 | 109522.6773 | 300362.7842 | 28.7 | 67.6
38400 | 2021-03-03 11:05 | 6.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.5031 | μmol/L | 34.186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.072 | 109538.0235 | 300356.1167 | 28.7 | 67.6
38410 | 2021-03-03 11:05 | 6.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.1409 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.074 | 109559.8112 | 300349.9834 | 28.7 | 67.6
38420 | 2021-03-03 11:05 | 6.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.8041 | μmol/L | 34.3021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.081 | 109576.9477 | 300357.4149 | 28.7 | 67.6
38430 | 2021-03-03 11:06 | 7.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.0253 | μmol/L | 34.2471 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.085 | 109592.3415 | 300353.6153 | 28.7 | 67.6
38440 | 2021-03-03 11:06 | 7.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 152.2371 | μmol/L | 34.186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.092 | 109629.0448 | 300336.6733 | 28.7 | 67.6
38450 | 2021-03-03 11:06 | 7.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.988 | μmol/L | 34.2226 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.097 | 109629.7103 | 300319.5625 | 28.7 | 67.6
38460 | 2021-03-03 11:07 | 8.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6915 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.101 | 109652.0411 | 300318.6272 | 28.7 | 67.6
38470 | 2021-03-03 11:07 | 8.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6082 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.105 | 109672.0422 | 300309.4749 | 28.7 | 67.6
38480 | 2021-03-03 11:07 | 8.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6809 | μmol/L | 34.2471 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.111 | 109680.2852 | 300306.3028 | 28.7 | 67.6
38490 | 2021-03-03 11:08 | 9.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.7839 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.117 | 109719.3712 | 300304.0252 | 28.7 | 67.6
38500 | 2021-03-03 11:08 | 9.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.6794 | μmol/L | 34.2287 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.118 | 109712.7317 | 300293.1993 | 28.7 | 67.6
38510 | 2021-03-03 11:08 | 9.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.4707 | μmol/L | 34.2654 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.12 | 109737.3082 | 300286.5562 | 28.7 | 67.6
38520 | 2021-03-03 11:09 | 10.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.278 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.13 | 109758.0003 | 300274.3219 | 28.7 | 67.6
38530 | 2021-03-03 11:09 | 10.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2516 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.132 | 109780.4322 | 300278.3159 | 28.7 | 67.6
38540 | 2021-03-03 11:09 | 10.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.5272 | μmol/L | 34.1982 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.141 | 109793.0719 | 300273.4905 | 28.7 | 67.6
38550 | 2021-03-03 11:10 | 11.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.7264 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.142 | 109817.1533 | 300264.8966 | 28.7 | 67.6
38560 | 2021-03-03 11:10 | 11.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3663 | μmol/L | 34.2226 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.144 | 109853.5079 | 300261.9716 | 28.7 | 67.6
38570 | 2021-03-03 11:10 | 11.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0092 | μmol/L | 34.2654 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.155 | 109859.1765 | 300248.5751 | 28.7 | 67.6
38580 | 2021-03-03 11:11 | 12.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3635 | μmol/L | 34.186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.158 | 109868.0628 | 300260.6646 | 28.7 | 67.6
38590 | 2021-03-03 11:11 | 12.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2238 | μmol/L | 34.1982 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.164 | 109885.8929 | 300265.2063 | 28.7 | 67.6
38600 | 2021-03-03 11:11 | 12.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1501 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.165 | 109903.0265 | 300242.8674 | 28.7 | 67.6
38610 | 2021-03-03 11:12 | 13.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3962 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.167 | 109920.7197 | 300239.1795 | 28.7 | 67.6
38620 | 2021-03-03 11:12 | 13.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.3171 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.173 | 109943.6413 | 300233.6111 | 28.7 | 67.6
38630 | 2021-03-03 11:12 | 13.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0907 | μmol/L | 34.1799 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.181 | 109947.8995 | 300215.0438 | 28.7 | 67.6
38640 | 2021-03-03 11:13 | 14.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1722 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.184 | 109960.3801 | 300205.8157 | 28.7 | 67.6
38650 | 2021-03-03 11:13 | 14.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0591 | μmol/L | 34.1676 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.188 | 109987.8309 | 300212.8511 | 28.7 | 67.6
38660 | 2021-03-03 11:13 | 14.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0025 | μmol/L | 34.1737 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.19 | 110011.7787 | 300209.4825 | 28.7 | 67.6
38670 | 2021-03-03 11:14 | 15.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8803 | μmol/L | 34.1799 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.197 | 110015.3376 | 300178.3105 | 28.7 | 67.6
38680 | 2021-03-03 11:14 | 15.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8278 | μmol/L | 34.1799 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.201 | 110026.7739 | 300181.5596 | 28.7 | 67.6
38690 | 2021-03-03 11:14 | 15.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9091 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.204 | 110038.1738 | 300169.8062 | 28.7 | 67.6
38700 | 2021-03-03 11:15 | 16.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9811 | μmol/L | 34.1249 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.21 | 110046.025 | 300168.4355 | 28.7 | 67.6
38710 | 2021-03-03 11:15 | 16.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0887 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.211 | 110058.6753 | 300148.8101 | 28.7 | 67.6
38720 | 2021-03-03 11:15 | 16.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.2626 | μmol/L | 34.0332 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.223 | 110071.4061 | 300150.0143 | 28.7 | 67.6
38730 | 2021-03-03 11:16 | 17.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8838 | μmol/L | 34.1126 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.222 | 110093.7835 | 300135.6922 | 28.7 | 67.6
38740 | 2021-03-03 11:16 | 17.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9178 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.224 | 110101.4904 | 300116.7076 | 28.7 | 67.6
38750 | 2021-03-03 11:16 | 17.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8862 | μmol/L | 34.0882 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.231 | 110121.8318 | 300099.0807 | 28.7 | 67.6
38760 | 2021-03-03 11:17 | 18.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0708 | μmol/L | 34.0454 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.233 | 110142.6119 | 300112.8867 | 28.7 | 67.6
38770 | 2021-03-03 11:17 | 18.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1387 | μmol/L | 34.021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.237 | 110151.7726 | 300091.4961 | 28.7 | 67.6
38780 | 2021-03-03 11:17 | 18.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9734 | μmol/L | 34.0332 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.245 | 110170.1854 | 300103.7888 | 28.7 | 67.6
38790 | 2021-03-03 11:18 | 19.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8776 | μmol/L | 34.0393 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.25 | 110171.1164 | 300075.3105 | 28.7 | 67.6
38800 | 2021-03-03 11:18 | 19.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.9679 | μmol/L | 34.021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.25 | 110178.4271 | 300061.53 | 28.7 | 67.6
38810 | 2021-03-03 11:18 | 19.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.812 | μmol/L | 34.0393 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.255 | 110200.2313 | 300055.4715 | 28.7 | 67.6
38820 | 2021-03-03 11:19 | 20.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8197 | μmol/L | 34.0271 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.259 | 110210.2243 | 300055.1276 | 28.7 | 67.6
38830 | 2021-03-03 11:19 | 20.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.0811 | μmol/L | 33.966 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.262 | 110229.3926 | 300040.4585 | 28.7 | 67.6
38840 | 2021-03-03 11:19 | 20.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1657 | μmol/L | 33.9354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.267 | 110244.3906 | 300031.9305 | 28.7 | 67.6
38850 | 2021-03-03 11:20 | 21.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.473 | μmol/L | 34.0576 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.274 | 110244.8085 | 300034.6088 | 28.7 | 67.6
38860 | 2021-03-03 11:20 | 21.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4468 | μmol/L | 34.0576 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.276 | 110261.1499 | 300016.4709 | 28.7 | 67.6
38870 | 2021-03-03 11:20 | 21.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5877 | μmol/L | 34.021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.279 | 110268.6926 | 300012.4513 | 28.7 | 67.6
38880 | 2021-03-03 11:21 | 22.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.8862 | μmol/L | 33.9415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.286 | 110292.5995 | 300010.3229 | 28.7 | 67.6
38890 | 2021-03-03 11:21 | 22.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.723 | μmol/L | 33.9721 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.287 | 110311.8634 | 299996.8423 | 28.7 | 67.6
38900 | 2021-03-03 11:21 | 22.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.77 | μmol/L | 33.9599 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.288 | 110320.4531 | 299982.4342 | 28.7 | 67.6
38910 | 2021-03-03 11:22 | 23.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 151.1114 | μmol/L | 33.8743 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.294 | 110340.7728 | 299981.6633 | 28.7 | 67.6
38920 | 2021-03-03 11:22 | 23.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.7082 | μmol/L | 33.9538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.295 | 110356.1337 | 299976.4939 | 28.7 | 67.6
38930 | 2021-03-03 11:22 | 23.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.669 | μmol/L | 33.9538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.298 | 110384.3293 | 299962.669 | 28.7 | 67.6
38940 | 2021-03-03 11:23 | 24.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.6204 | μmol/L | 33.9477 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.304 | 110396.0448 | 299963.4254 | 28.7 | 67.6
38950 | 2021-03-03 11:23 | 24.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5588 | μmol/L | 33.9415 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.311 | 110417.1975 | 299955.4835 | 28.7 | 67.6
38960 | 2021-03-03 11:23 | 24.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4221 | μmol/L | 33.9721 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.31 | 110446.3156 | 299935.4466 | 28.7 | 67.6
38970 | 2021-03-03 11:24 | 25.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2316 | μmol/L | 33.9843 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.32 | 110454.4176 | 299924.5124 | 28.7 | 67.6
38980 | 2021-03-03 11:24 | 25.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3736 | μmol/L | 33.966 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.316 | 110464.9672 | 299912.6639 | 28.7 | 67.6
38990 | 2021-03-03 11:24 | 25.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.316 | μmol/L | 33.9538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.325 | 110494.7064 | 299923.808 | 28.7 | 67.6
39000 | 2021-03-03 11:25 | 26.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3029 | μmol/L | 33.9538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.326 | 110510.1192 | 299914.0072 | 28.7 | 67.6
39010 | 2021-03-03 11:25 | 26.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.3665 | μmol/L | 33.9354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.328 | 110527.2787 | 299907.9195 | 28.7 | 67.6
39020 | 2021-03-03 11:25 | 26.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.5498 | μmol/L | 33.8927 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.33 | 110546.3987 | 299884.6192 | 28.7 | 67.6
39030 | 2021-03-03 11:26 | 27.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2806 | μmol/L | 33.9477 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.33 | 110579.6797 | 299892.2782 | 28.7 | 67.6
39040 | 2021-03-03 11:26 | 27.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2752 | μmol/L | 33.9354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.335 | 110602.1371 | 299889.1191 | 28.7 | 67.6
39050 | 2021-03-03 11:26 | 27.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.279 | μmol/L | 33.9293 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.337 | 110616.915 | 299875.8846 | 28.7 | 67.6
39060 | 2021-03-03 11:27 | 28.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.4174 | μmol/L | 33.8743 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.347 | 110637.8919 | 299872.1285 | 28.7 | 67.6
39070 | 2021-03-03 11:27 | 28.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.2512 | μmol/L | 33.911 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.346 | 110669.4101 | 299853.9725 | 28.7 | 67.6
39080 | 2021-03-03 11:27 | 28.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.951 | μmol/L | 33.9538 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.353 | 110688.766 | 299857.1549 | 28.7 | 67.6
39090 | 2021-03-03 11:28 | 29.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 150.0666 | μmol/L | 33.9354 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.351 | 110717.0997 | 299839.0299 | 28.7 | 67.6
39100 | 2021-03-03 11:28 | 29.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.9395 | μmol/L | 33.9721 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.347 | 110744.353 | 299839.4581 | 28.7 | 67.6
39110 | 2021-03-03 11:28 | 29.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.5372 | μmol/L | 34.0332 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.355 | 110757.7326 | 299840.542 | 28.7 | 67.6
39120 | 2021-03-03 11:29 | 30.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.4852 | μmol/L | 34.0332 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.359 | 110792.959 | 299829.3388 | 28.7 | 67.6
39130 | 2021-03-03 11:29 | 30.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.8041 | μmol/L | 33.9599 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.362 | 110794.3747 | 299825.7651 | 28.7 | 67.6
39140 | 2021-03-03 11:29 | 30.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.6756 | μmol/L | 33.9782 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.365 | 110825.541 | 299818.613 | 28.7 | 67.6
39150 | 2021-03-03 11:30 | 31.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.3906 | μmol/L | 34.0393 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.364 | 110868.6984 | 299817.5481 | 28.7 | 67.6
39160 | 2021-03-03 11:30 | 31.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.3906 | μmol/L | 34.0393 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.364 | 110887.0337 | 299806.5144 | 28.7 | 67.6
39170 | 2021-03-03 11:30 | 31.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.2067 | μmol/L | 34.0638 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.369 | 110917.3502 | 299789.0736 | 28.7 | 67.6
39180 | 2021-03-03 11:31 | 32.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 149.1005 | μmol/L | 34.0882 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.368 | 110944.4146 | 299799.2868 | 28.7 | 67.6
39190 | 2021-03-03 11:31 | 32.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.9207 | μmol/L | 34.1065 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.375 | 110961.7739 | 299783.5253 | 28.7 | 67.6
39200 | 2021-03-03 11:31 | 32.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.777 | μmol/L | 34.1493 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.37 | 110976.4144 | 299783.7974 | 28.7 | 67.6
39210 | 2021-03-03 11:32 | 33.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.772 | μmol/L | 34.1371 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.375 | 110998.1473 | 299759.8502 | 28.7 | 67.6
39220 | 2021-03-03 11:32 | 33.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.8819 | μmol/L | 34.1065 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.378 | 111041.7364 | 299765.5566 | 28.7 | 67.6
39230 | 2021-03-03 11:32 | 33.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.6311 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.379 | 111071.3211 | 299749.3203 | 28.7 | 67.6
39240 | 2021-03-03 11:33 | 34.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.4657 | μmol/L | 34.1921 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.378 | 111068.9922 | 299749.1153 | 28.7 | 67.6
39250 | 2021-03-03 11:33 | 34.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.4221 | μmol/L | 34.1799 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.386 | 111091.0973 | 299748.6042 | 28.7 | 67.6
39260 | 2021-03-03 11:33 | 34.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.5023 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.389 | 111115.4559 | 299738.577 | 28.7 | 67.6
39270 | 2021-03-03 11:34 | 35.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.5191 | μmol/L | 34.1493 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.39 | 111143.9856 | 299743.7653 | 28.7 | 67.6
39280 | 2021-03-03 11:34 | 35.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.2261 | μmol/L | 34.2043 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.392 | 111151.1166 | 299724.6979 | 28.7 | 67.6
39290 | 2021-03-03 11:34 | 35.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.23 | μmol/L | 34.1982 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.394 | 111185.2105 | 299727.2036 | 28.7 | 67.6
39300 | 2021-03-03 11:35 | 36.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 148.0263 | μmol/L | 34.2349 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.396 | 111205.9403 | 299721.271 | 28.7 | 67.6
39310 | 2021-03-03 11:35 | 36.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.8179 | μmol/L | 34.2593 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.403 | 111230.3084 | 299708.0178 | 28.7 | 67.6
39320 | 2021-03-03 11:35 | 36.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.898 | μmol/L | 34.2349 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.406 | 111257.0649 | 299700.5141 | 28.7 | 67.6
39330 | 2021-03-03 11:36 | 37.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.6265 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.411 | 111251.1448 | 299703.721 | 28.7 | 67.6
39340 | 2021-03-03 11:36 | 37.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4447 | μmol/L | 34.3204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.409 | 111284.3344 | 299708.6758 | 28.7 | 67.6
39350 | 2021-03-03 11:36 | 37.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.7073 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.407 | 111315.2196 | 299697.1328 | 28.7 | 67.6
39360 | 2021-03-03 11:37 | 38.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4104 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.414 | 111318.6744 | 299689.9452 | 28.7 | 67.6
39370 | 2021-03-03 11:37 | 38.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.3849 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.416 | 111327.7064 | 299673.1942 | 28.7 | 67.6
39380 | 2021-03-03 11:37 | 38.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1435 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.421 | 111355.5033 | 299685.3172 | 28.7 | 67.6
39390 | 2021-03-03 11:38 | 39.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.9701 | μmol/L | 34.3815 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.423 | 111388.3582 | 299674.1494 | 28.7 | 67.6
39400 | 2021-03-03 11:38 | 39.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0925 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.425 | 111381.286 | 299652.9456 | 28.7 | 67.6
39410 | 2021-03-03 11:38 | 39.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.3116 | μmol/L | 34.2899 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.431 | 111408.9773 | 299668.9872 | 28.7 | 67.6
39420 | 2021-03-03 11:39 | 40.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.4339 | μmol/L | 34.2593 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.433 | 111423.9282 | 299651.6392 | 28.7 | 67.6
39430 | 2021-03-03 11:39 | 40.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1463 | μmol/L | 34.3082 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.437 | 111452.1499 | 299660.2717 | 28.7 | 67.6
39440 | 2021-03-03 11:39 | 40.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.8255 | μmol/L | 34.3693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.439 | 111471.3611 | 299664.4953 | 28.7 | 67.6
39450 | 2021-03-03 11:40 | 41.0029 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.1168 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.437 | 111475.2198 | 299661.1295 | 28.7 | 67.6
39460 | 2021-03-03 11:40 | 41.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0276 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.444 | 111505.7121 | 299657.9715 | 28.7 | 67.6
39470 | 2021-03-03 11:40 | 41.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6184 | μmol/L | 34.3937 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.446 | 111521.1725 | 299656.2322 | 28.7 | 67.6
39480 | 2021-03-03 11:41 | 42.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.9257 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.452 | 111545.3886 | 299658.5093 | 28.7 | 67.6
39490 | 2021-03-03 11:41 | 42.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.8539 | μmol/L | 34.3265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.453 | 111543.9859 | 299646.7633 | 28.7 | 67.6
39500 | 2021-03-03 11:41 | 42.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0518 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.456 | 111548.199 | 299631.6978 | 28.7 | 67.6
39510 | 2021-03-03 11:42 | 43.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6764 | μmol/L | 34.3449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.46 | 111569.1491 | 299632.5301 | 28.7 | 67.6
39520 | 2021-03-03 11:42 | 43.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 147.0933 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.462 | 111583.5733 | 299627.7011 | 28.7 | 67.6
39530 | 2021-03-03 11:42 | 43.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6886 | μmol/L | 34.3265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.466 | 111602.4813 | 299619.2997 | 28.7 | 67.6
39540 | 2021-03-03 11:43 | 44.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.5118 | μmol/L | 34.3632 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.466 | 111626.0794 | 299626.9553 | 28.7 | 67.6
39550 | 2021-03-03 11:43 | 44.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.3474 | μmol/L | 34.3815 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.472 | 111634.3165 | 299609.4911 | 28.7 | 67.6
39560 | 2021-03-03 11:43 | 44.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2967 | μmol/L | 34.3815 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.476 | 111645.3723 | 299616.6062 | 28.7 | 67.6
39570 | 2021-03-03 11:44 | 45.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2967 | μmol/L | 34.3815 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.476 | 111663.3014 | 299604.4465 | 28.7 | 67.6
39580 | 2021-03-03 11:44 | 45.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.452 | μmol/L | 34.3387 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.48 | 111685.1579 | 299590.5247 | 28.7 | 67.6
39590 | 2021-03-03 11:44 | 45.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.3931 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.48 | 111693.3982 | 299594.9375 | 28.7 | 67.6
39600 | 2021-03-03 11:45 | 46.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4769 | μmol/L | 34.3204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.485 | 111697.936 | 299591.334 | 28.7 | 67.6
39610 | 2021-03-03 11:45 | 46.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2578 | μmol/L | 34.3449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.493 | 111701.5757 | 299587.7189 | 28.7 | 67.6
39620 | 2021-03-03 11:45 | 46.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2578 | μmol/L | 34.3449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.493 | 111725.4826 | 299592.3169 | 28.7 | 67.6
39630 | 2021-03-03 11:46 | 47.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2827 | μmol/L | 34.3265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.498 | 111726.023 | 299587.799 | 28.7 | 67.6
39640 | 2021-03-03 11:46 | 47.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0643 | μmol/L | 34.3693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.499 | 111739.7901 | 299569.0848 | 28.7 | 67.6
39650 | 2021-03-03 11:46 | 47.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9216 | μmol/L | 34.3937 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.501 | 111759.7888 | 299572.229 | 28.7 | 67.6
39660 | 2021-03-03 11:47 | 48.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.11 | μmol/L | 34.3387 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.507 | 111751.9497 | 299559.64 | 28.7 | 67.6
39670 | 2021-03-03 11:47 | 48.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.387 | μmol/L | 34.2837 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.506 | 111778.1227 | 299559.0717 | 28.7 | 67.6
39680 | 2021-03-03 11:47 | 48.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4458 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.506 | 111789.3629 | 299555.8486 | 28.7 | 67.6
39690 | 2021-03-03 11:48 | 49.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0387 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.508 | 111811.2305 | 299560.8463 | 28.7 | 67.6
39700 | 2021-03-03 11:48 | 49.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0423 | μmol/L | 34.3265 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.517 | 111812.534 | 299555.736 | 28.7 | 67.6
39710 | 2021-03-03 11:48 | 49.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9457 | μmol/L | 34.3387 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.52 | 111824.9259 | 299553.7843 | 28.7 | 67.6
39720 | 2021-03-03 11:49 | 50.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.1425 | μmol/L | 34.2899 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.523 | 111833.833 | 299538.2854 | 28.7 | 67.6
39730 | 2021-03-03 11:49 | 50.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.3099 | μmol/L | 34.2471 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.526 | 111847.0706 | 299550.6217 | 28.7 | 67.6
39740 | 2021-03-03 11:49 | 50.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.05 | μmol/L | 34.296 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.528 | 111857.1634 | 299527.2278 | 28.7 | 67.6
39750 | 2021-03-03 11:50 | 51.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9241 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.531 | 111870.3501 | 299530.065 | 28.7 | 67.6
39760 | 2021-03-03 11:50 | 51.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0661 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.536 | 111874.6478 | 299544.7723 | 28.7 | 67.6
39770 | 2021-03-03 11:50 | 51.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0954 | μmol/L | 34.2654 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.536 | 111892.9102 | 299529.2863 | 28.7 | 67.6
39780 | 2021-03-03 11:51 | 52.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8691 | μmol/L | 34.3021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.54 | 111914.5501 | 299522.3566 | 28.7 | 67.6
39790 | 2021-03-03 11:51 | 52.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6556 | μmol/L | 34.3387 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.543 | 111916.2032 | 299520.1574 | 28.7 | 67.6
39800 | 2021-03-03 11:51 | 52.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7308 | μmol/L | 34.3204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.544 | 111928.7771 | 299516.1299 | 28.7 | 67.6
39810 | 2021-03-03 11:52 | 53.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6678 | μmol/L | 34.3204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.549 | 111940.6922 | 299508.7891 | 28.7 | 67.6
39820 | 2021-03-03 11:52 | 53.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7637 | μmol/L | 34.2899 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.553 | 111958.6174 | 299502.4359 | 28.7 | 67.6
39830 | 2021-03-03 11:52 | 53.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7844 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.556 | 111966.3564 | 299501.5235 | 28.7 | 67.6
39840 | 2021-03-03 11:53 | 54.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9427 | μmol/L | 34.2287 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.562 | 111979.526 | 299509.0846 | 28.7 | 67.6
39850 | 2021-03-03 11:53 | 54.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0558 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.56 | 111983.0912 | 299516.0263 | 28.7 | 67.6
39860 | 2021-03-03 11:53 | 54.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9422 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.569 | 112000.4073 | 299508.3636 | 28.7 | 67.6
39870 | 2021-03-03 11:54 | 55.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6791 | μmol/L | 34.2654 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.569 | 112012.397 | 299485.0857 | 28.7 | 67.6
39880 | 2021-03-03 11:54 | 55.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6579 | μmol/L | 34.2593 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.573 | 112018.8821 | 299487.15 | 28.7 | 67.6
39890 | 2021-03-03 11:54 | 55.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8831 | μmol/L | 34.2043 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.576 | 112034.7537 | 299490.1891 | 28.7 | 67.6
39900 | 2021-03-03 11:55 | 56.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6242 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.578 | 112053.9939 | 299490.8473 | 28.7 | 67.6
39910 | 2021-03-03 11:55 | 56.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5864 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.581 | 112039.7669 | 299476.6211 | 28.7 | 67.6
39920 | 2021-03-03 11:55 | 56.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4607 | μmol/L | 34.2532 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.591 | 112053.7863 | 299484.8872 | 28.7 | 67.6
39930 | 2021-03-03 11:56 | 57.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4939 | μmol/L | 34.241 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.593 | 112063.681 | 299475.1796 | 28.7 | 67.6
39940 | 2021-03-03 11:56 | 57.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7319 | μmol/L | 34.2043 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.588 | 112071.5967 | 299474.0035 | 28.7 | 67.6
39950 | 2021-03-03 11:56 | 57.6693 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8566 | μmol/L | 34.1676 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.592 | 112100.4971 | 299487.1531 | 28.7 | 67.6
39960 | 2021-03-03 11:57 | 58.0023 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2187 | μmol/L | 34.076 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.598 | 112104.3339 | 299475.9539 | 28.7 | 67.6
39970 | 2021-03-03 11:57 | 58.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9931 | μmol/L | 34.1126 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.602 | 112113.8252 | 299471.2815 | 28.7 | 67.6
39980 | 2021-03-03 11:57 | 58.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6631 | μmol/L | 34.1554 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.612 | 112102.3199 | 299466.4073 | 28.7 | 67.6
39990 | 2021-03-03 11:58 | 59.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8876 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.615 | 112097.968 | 299457.1401 | 28.7 | 67.6
40000 | 2021-03-03 11:58 | 59.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6962 | μmol/L | 34.1432 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.614 | 112110.074 | 299467.8047 | 28.7 | 67.6
40010 | 2021-03-03 11:58 | 59.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.771 | μmol/L | 34.1249 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.615 | 112117.7136 | 299465.6991 | 28.7 | 67.6
40020 | 2021-03-03 11:59 | 60.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9128 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.613 | 112138.5542 | 299452.3273 | 28.7 | 67.6
40030 | 2021-03-03 11:59 | 60.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7544 | μmol/L | 34.131 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.614 | 112158.7351 | 299445.9613 | 28.7 | 67.6
40040 | 2021-03-03 11:59 | 60.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8332 | μmol/L | 34.1065 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.617 | 112173.0275 | 299442.2878 | 28.7 | 67.6
40050 | 2021-03-03 12:00 | 61.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8703 | μmol/L | 34.0882 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.621 | 112198.0776 | 299451.2802 | 28.7 | 67.6
40060 | 2021-03-03 12:00 | 61.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7994 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.622 | 112207.4068 | 299444.7283 | 28.7 | 67.6
40070 | 2021-03-03 12:00 | 61.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7073 | μmol/L | 34.1065 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.627 | 112233.9861 | 299444.4266 | 28.7 | 67.6
40080 | 2021-03-03 12:01 | 62.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5909 | μmol/L | 34.131 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.627 | 112250.8301 | 299433.1211 | 28.7 | 67.6
40090 | 2021-03-03 12:01 | 62.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6656 | μmol/L | 34.1126 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.628 | 112251.9166 | 299420.7481 | 28.7 | 67.6
40100 | 2021-03-03 12:01 | 62.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8191 | μmol/L | 34.0699 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.632 | 112273.3727 | 299420.2552 | 28.7 | 67.6
40110 | 2021-03-03 12:02 | 63.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6775 | μmol/L | 34.0943 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.634 | 112297.3885 | 299412.0996 | 28.7 | 67.6
40120 | 2021-03-03 12:02 | 63.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4943 | μmol/L | 34.1249 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.637 | 112319.3559 | 299418.5047 | 28.7 | 67.6
40130 | 2021-03-03 12:02 | 63.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5855 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.639 | 112339.1965 | 299409.0961 | 28.7 | 67.6
40140 | 2021-03-03 12:03 | 64.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6893 | μmol/L | 34.076 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.64 | 112346.6615 | 299416.6834 | 28.7 | 67.6
40150 | 2021-03-03 12:03 | 64.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8882 | μmol/L | 34.021 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.645 | 112368.3743 | 299415.0739 | 28.7 | 67.6
40160 | 2021-03-03 12:03 | 64.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4269 | μmol/L | 34.1126 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.647 | 112390.0134 | 299408.5039 | 28.7 | 67.6
40170 | 2021-03-03 12:04 | 65.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4599 | μmol/L | 34.1004 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.649 | 112392.2264 | 299400.8235 | 28.7 | 67.6
40180 | 2021-03-03 12:04 | 65.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5015 | μmol/L | 34.0943 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.648 | 112434.4083 | 299387.9476 | 28.7 | 67.6
40190 | 2021-03-03 12:04 | 65.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4057 | μmol/L | 34.1065 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.651 | 112455.2053 | 299393.0597 | 28.7 | 67.6
40200 | 2021-03-03 12:05 | 66.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5055 | μmol/L | 34.0882 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.65 | 112481.1802 | 299389.5104 | 28.7 | 67.6
40210 | 2021-03-03 12:05 | 66.3355 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6005 | μmol/L | 34.0576 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.654 | 112505.1299 | 299390.0936 | 28.7 | 67.6
40220 | 2021-03-03 12:05 | 66.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4136 | μmol/L | 34.0943 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.655 | 112521.0774 | 299404.7806 | 28.7 | 67.6
40230 | 2021-03-03 12:06 | 67.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4592 | μmol/L | 34.0821 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.656 | 112539.999 | 299401.7973 | 28.7 | 67.6
40240 | 2021-03-03 12:06 | 67.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4011 | μmol/L | 34.0943 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.656 | 112581.4049 | 299404.6237 | 28.7 | 67.6
40250 | 2021-03-03 12:06 | 67.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.2183 | μmol/L | 34.1249 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.659 | 112601.5138 | 299388.1169 | 28.7 | 67.6
40260 | 2021-03-03 12:07 | 68.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.1681 | μmol/L | 34.1249 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.663 | 112632.4429 | 299396.9613 | 28.7 | 67.6
40270 | 2021-03-03 12:07 | 68.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.1147 | μmol/L | 34.1493 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.658 | 112661.2905 | 299392.2239 | 28.7 | 67.6
40280 | 2021-03-03 12:07 | 68.6691 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.878 | μmol/L | 34.186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.663 | 112677.455 | 299386.094 | 28.7 | 67.6
40290 | 2021-03-03 12:08 | 69.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.82 | μmol/L | 34.1982 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.663 | 112706.6899 | 299379.4569 | 28.7 | 67.6
40300 | 2021-03-03 12:08 | 69.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.596 | μmol/L | 34.2349 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.667 | 112729.6728 | 299389.224 | 28.7 | 67.6
40310 | 2021-03-03 12:08 | 69.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6621 | μmol/L | 34.2104 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.671 | 112750.7917 | 299384.4511 | 28.7 | 67.6
40320 | 2021-03-03 12:09 | 70.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5047 | μmol/L | 34.241 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.672 | 112778.6501 | 299396.6446 | 28.7 | 67.6
40330 | 2021-03-03 12:09 | 70.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.3972 | μmol/L | 34.2715 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.669 | 112799.2297 | 299381.367 | 28.7 | 67.6
40340 | 2021-03-03 12:09 | 70.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.2232 | μmol/L | 34.2899 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.676 | 112810.0683 | 299386.2408 | 28.7 | 67.6
40350 | 2021-03-03 12:10 | 71.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.2811 | μmol/L | 34.2776 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.676 | 112842.981 | 299395.6346 | 28.7 | 67.6
40360 | 2021-03-03 12:10 | 71.3361 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9751 | μmol/L | 34.3449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.675 | 112861.5107 | 299378.2235 | 28.7 | 67.6
40370 | 2021-03-03 12:10 | 71.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.946 | μmol/L | 34.3326 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.682 | 112877.2817 | 299377.0872 | 28.7 | 67.6
40380 | 2021-03-03 12:11 | 72.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.8344 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.684 | 112909.5188 | 299377.8682 | 28.7 | 67.6
40390 | 2021-03-03 12:11 | 72.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9293 | μmol/L | 34.3204 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.688 | 112922.8711 | 299386.4731 | 28.7 | 67.6
40400 | 2021-03-03 12:11 | 72.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9334 | μmol/L | 34.3143 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.69 | 112953.6406 | 299386.3082 | 28.7 | 67.6
40410 | 2021-03-03 12:12 | 73.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6444 | μmol/L | 34.3754 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.69 | 112974.1392 | 299362.0692 | 28.7 | 67.6
40420 | 2021-03-03 12:12 | 73.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.1946 | μmol/L | 34.4548 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.696 | 112998.8062 | 299376.5987 | 28.7 | 67.6
40430 | 2021-03-03 12:12 | 73.669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6897 | μmol/L | 34.3449 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.698 | 113019.0388 | 299371.8491 | 28.7 | 67.6
40440 | 2021-03-03 12:13 | 74.0028 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6112 | μmol/L | 34.351 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.702 | 113033.1504 | 299396.6656 | 28.7 | 67.6
40450 | 2021-03-03 12:13 | 74.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.2895 | μmol/L | 34.4243 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.7 | 113054.9895 | 299408.1207 | 28.7 | 67.6
40460 | 2021-03-03 12:13 | 74.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.3597 | μmol/L | 34.3937 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.706 | 113086.328 | 299382.7154 | 28.7 | 67.6
40470 | 2021-03-03 12:14 | 75.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.2979 | μmol/L | 34.3937 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.711 | 113094.3943 | 299386.7591 | 28.7 | 67.6
40480 | 2021-03-03 12:14 | 75.3362 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.0383 | μmol/L | 34.4487 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.711 | 113133.8895 | 299369.0153 | 28.7 | 67.6
40490 | 2021-03-03 12:14 | 75.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.8038 | μmol/L | 34.4854 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.716 | 113144.0598 | 299381.3242 | 28.7 | 67.6
40500 | 2021-03-03 12:15 | 76.002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.7504 | μmol/L | 34.4915 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.718 | 113159.648 | 299378.9137 | 28.7 | 67.6
40510 | 2021-03-03 12:15 | 76.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.6063 | μmol/L | 34.5221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.718 | 113182.352 | 299391.4931 | 28.7 | 67.6
40520 | 2021-03-03 12:15 | 76.6687 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.5737 | μmol/L | 34.516 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.723 | 113201.5489 | 299391.3211 | 28.7 | 67.6
40530 | 2021-03-03 12:16 | 77.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4136 | μmol/L | 34.5343 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.729 | 113217.6393 | 299379.9316 | 28.7 | 67.6
40540 | 2021-03-03 12:16 | 77.3356 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.5161 | μmol/L | 34.516 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.727 | 113238.5666 | 299375.9656 | 28.7 | 67.6
40550 | 2021-03-03 12:16 | 77.6692 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.307 | μmol/L | 34.5465 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.733 | 113259.3112 | 299378.6497 | 28.7 | 67.6
40560 | 2021-03-03 12:17 | 78.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4673 | μmol/L | 34.5099 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.734 | 113274.9333 | 299347.1576 | 28.7 | 67.6
40570 | 2021-03-03 12:17 | 78.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.3646 | μmol/L | 34.5221 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.737 | 113318.3809 | 299365.471 | 28.7 | 67.6
40580 | 2021-03-03 12:17 | 78.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.2665 | μmol/L | 34.5221 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.745 | 113318.458 | 299358.8392 | 28.7 | 67.6
40590 | 2021-03-03 12:18 | 79.0021 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.2461 | μmol/L | 34.5282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.745 | 113331.6057 | 299358.2481 | 28.7 | 67.6
40600 | 2021-03-03 12:18 | 79.3357 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.2013 | μmol/L | 34.5221 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.751 | 113353.665 | 299353.1838 | 28.7 | 67.6
40610 | 2021-03-03 12:18 | 79.6695 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.0784 | μmol/L | 34.5404 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.754 | 113380.6172 | 299347.0519 | 28.7 | 67.6
40620 | 2021-03-03 12:19 | 80.0024 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.972 | μmol/L | 34.5526 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.758 | 113378.3345 | 299340.5521 | 28.7 | 67.6
40630 | 2021-03-03 12:19 | 80.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.0623 | μmol/L | 34.5282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.76 | 113395.7874 | 299354.9669 | 28.7 | 67.6
40640 | 2021-03-03 12:19 | 80.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8903 | μmol/L | 34.5526 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.764 | 113433.9754 | 299345.7837 | 28.7 | 67.6
40650 | 2021-03-03 12:20 | 81.0025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.9071 | μmol/L | 34.5404 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.768 | 113430.7811 | 299337.7425 | 28.7 | 67.6
40660 | 2021-03-03 12:20 | 81.336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8663 | μmol/L | 34.5343 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.773 | 113458.251 | 299331.5919 | 28.7 | 67.6
40670 | 2021-03-03 12:20 | 81.6688 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.8461 | μmol/L | 34.5282 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.777 | 113483.7435 | 299330.2443 | 28.7 | 67.6
40680 | 2021-03-03 12:21 | 82.0026 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6991 | μmol/L | 34.5465 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.782 | 113500.5839 | 299323.7215 | 28.7 | 67.6
40690 | 2021-03-03 12:21 | 82.3358 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.871 | μmol/L | 34.5099 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.782 | 113519.966 | 299327.4919 | 28.7 | 67.6
40700 | 2021-03-03 12:21 | 82.6694 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.7362 | μmol/L | 34.5282 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.786 | 113544.6979 | 299327.0907 | 28.7 | 67.6
40710 | 2021-03-03 12:22 | 83.0022 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6104 | μmol/L | 34.5282 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.797 | 113552.7896 | 299339.4172 | 28.7 | 67.6
40720 | 2021-03-03 12:22 | 83.3359 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6676 | μmol/L | 34.516 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.797 | 113576.4032 | 299331.6644 | 28.7 | 67.6
40730 | 2021-03-03 12:22 | 83.6689 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6475 | μmol/L | 34.4976 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.805 | 113604.726 | 299323.5789 | 28.7 | 67.6
40740 | 2021-03-03 12:23 | 84.0027 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.6067 | μmol/L | 34.5037 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.806 | 113625.5771 | 299305.1425 | 28.7 | 67.6
40750 | 2021-03-03 12:23 | 84.3354 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.5622 | μmol/L | 34.4976 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.812 | 113645.3447 | 299315.2807 | 28.7 | 67.6