## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
38221 | 2021-03-03 10:59 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.211 | μmol/L | 34.3124 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.316 | 141787.4252 | 275892.168 | 36.4 | 83.1
38231 | 2021-03-03 10:59 | 0.32778 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7377 | μmol/L | 34.2201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.316 | 141797.2981 | 275887.9669 | 36.4 | 83.1
38241 | 2021-03-03 10:59 | 0.66153 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1616 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.324 | 141814.6544 | 275876.2915 | 36.4 | 83.1
38251 | 2021-03-03 11:00 | 0.99499 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4376 | μmol/L | 34.2386 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.329 | 141839.9235 | 275864.8481 | 36.4 | 83.1
38261 | 2021-03-03 11:00 | 1.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2174 | μmol/L | 34.2693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.332 | 141873.9051 | 275846.425 | 36.4 | 83.1
38271 | 2021-03-03 11:00 | 1.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1127 | μmol/L | 34.2693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.339 | 141902.9626 | 275835.3254 | 36.4 | 83.1
38281 | 2021-03-03 11:01 | 1.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4585 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.344 | 141932.3229 | 275837.2895 | 36.4 | 83.1
38291 | 2021-03-03 11:01 | 2.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0185 | μmol/L | 34.257 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.35 | 141949.128 | 275833.697 | 36.4 | 83.1
38301 | 2021-03-03 11:01 | 2.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2039 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.354 | 141976.9987 | 275807.5965 | 36.4 | 83.1
38311 | 2021-03-03 11:02 | 2.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0392 | μmol/L | 34.2324 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.358 | 142008.5396 | 275806.7369 | 36.4 | 83.1
38321 | 2021-03-03 11:02 | 3.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7696 | μmol/L | 34.2693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.362 | 142040.4891 | 275791.5268 | 36.4 | 83.1
38331 | 2021-03-03 11:02 | 3.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7204 | μmol/L | 34.257 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.37 | 142082.1754 | 275783.2517 | 36.4 | 83.1
38341 | 2021-03-03 11:03 | 3.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.4215 | μmol/L | 34.294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.376 | 142100.5156 | 275768.4564 | 36.4 | 83.1
38351 | 2021-03-03 11:03 | 4.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.576 | μmol/L | 34.2693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.375 | 142142.1388 | 275767.3845 | 36.4 | 83.1
38361 | 2021-03-03 11:03 | 4.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.7349 | μmol/L | 34.3863 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.387 | 142182.109 | 275757.8059 | 36.4 | 83.1
38371 | 2021-03-03 11:04 | 4.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2284 | μmol/L | 34.294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.389 | 142217.2986 | 275737.671 | 36.4 | 83.1
38381 | 2021-03-03 11:04 | 5.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0295 | μmol/L | 34.3186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.393 | 142254.937 | 275738.532 | 36.4 | 83.1
38391 | 2021-03-03 11:04 | 5.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.9711 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.404 | 142274.7119 | 275742.5057 | 36.4 | 83.1
38401 | 2021-03-03 11:05 | 5.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0111 | μmol/L | 34.2878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.406 | 142310.6535 | 275732.8177 | 36.4 | 83.1
38411 | 2021-03-03 11:05 | 6.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.3801 | μmol/L | 34.2017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.414 | 142335.5066 | 275714.4286 | 36.4 | 83.1
38421 | 2021-03-03 11:05 | 6.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2266 | μmol/L | 34.2078 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.422 | 142361.3802 | 275715.1189 | 36.4 | 83.1
38431 | 2021-03-03 11:06 | 6.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2762 | μmol/L | 34.2017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.421 | 142398.3214 | 275699.4561 | 36.4 | 83.1
38441 | 2021-03-03 11:06 | 7.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1331 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.433 | 142452.381 | 275694.6229 | 36.4 | 83.1
38451 | 2021-03-03 11:06 | 7.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.059 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.438 | 142484.6022 | 275704.5489 | 36.4 | 83.1
38461 | 2021-03-03 11:07 | 7.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2978 | μmol/L | 34.1401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.443 | 142505.4054 | 275691.6026 | 36.4 | 83.1
38471 | 2021-03-03 11:07 | 8.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1291 | μmol/L | 34.1647 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.445 | 142532.1849 | 275683.6072 | 36.4 | 83.1
38481 | 2021-03-03 11:07 | 8.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.9309 | μmol/L | 34.1894 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.449 | 142550.5731 | 275677.3087 | 36.4 | 83.1
38491 | 2021-03-03 11:08 | 8.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8621 | μmol/L | 34.1832 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.456 | 142569.1476 | 275666.435 | 36.4 | 83.1
38501 | 2021-03-03 11:08 | 9.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.5254 | μmol/L | 34.2324 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.46 | 142603.6164 | 275655.1089 | 36.4 | 83.1
38511 | 2021-03-03 11:08 | 9.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.5018 | μmol/L | 34.2078 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.471 | 142647.7668 | 275669.8057 | 36.4 | 83.1
38521 | 2021-03-03 11:09 | 9.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2843 | μmol/L | 34.2386 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.474 | 142691.2307 | 275661.6393 | 36.4 | 83.1
38531 | 2021-03-03 11:09 | 10.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1276 | μmol/L | 34.2324 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.487 | 142727.7613 | 275644.2675 | 36.4 | 83.1
38541 | 2021-03-03 11:09 | 10.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2366 | μmol/L | 34.2078 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.489 | 142770.5111 | 275631.7027 | 36.4 | 83.1
38551 | 2021-03-03 11:10 | 10.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.6276 | μmol/L | 34.1278 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.493 | 142793.8746 | 275632.8223 | 36.4 | 83.1
38561 | 2021-03-03 11:10 | 11.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3117 | μmol/L | 34.1709 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.498 | 142821.7254 | 275636.5696 | 36.4 | 83.1
38571 | 2021-03-03 11:10 | 11.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3418 | μmol/L | 34.1524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.503 | 142847.8596 | 275616.2952 | 36.4 | 83.1
38581 | 2021-03-03 11:11 | 11.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.2093 | μmol/L | 34.1524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.512 | 142902.595 | 275623.6397 | 36.4 | 83.1
38591 | 2021-03-03 11:11 | 12.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.9778 | μmol/L | 34.1832 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.516 | 142934.6783 | 275615.8466 | 36.4 | 83.1
38601 | 2021-03-03 11:11 | 12.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8948 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.524 | 142965.5096 | 275621.4549 | 36.4 | 83.1
38611 | 2021-03-03 11:12 | 12.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0726 | μmol/L | 34.1401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.526 | 142993.9098 | 275611.2431 | 36.4 | 83.1
38621 | 2021-03-03 11:12 | 13.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8068 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.53 | 143026.6123 | 275594.1565 | 36.4 | 83.1
38631 | 2021-03-03 11:12 | 13.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4879 | μmol/L | 34.2078 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.54 | 143073.5953 | 275602.6972 | 36.4 | 83.1
38641 | 2021-03-03 11:13 | 13.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.7841 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.548 | 143119.8911 | 275590.9318 | 36.4 | 83.1
38651 | 2021-03-03 11:13 | 14.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1587 | μmol/L | 34.054 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.553 | 143151.0146 | 275582.568 | 36.4 | 83.1
38661 | 2021-03-03 11:13 | 14.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5644 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.563 | 143191.8938 | 275576.6543 | 36.4 | 83.1
38671 | 2021-03-03 11:14 | 14.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3382 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.562 | 143222.7279 | 275555.953 | 36.4 | 83.1
38681 | 2021-03-03 11:14 | 15.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2703 | μmol/L | 34.1709 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.569 | 143260.4341 | 275566.4934 | 36.4 | 83.1
38691 | 2021-03-03 11:14 | 15.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.443 | μmol/L | 34.1217 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.576 | 143282.6954 | 275554.1401 | 36.4 | 83.1
38701 | 2021-03-03 11:15 | 15.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3012 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.581 | 143316.4057 | 275549.5386 | 36.4 | 83.1
38711 | 2021-03-03 11:15 | 16.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2676 | μmol/L | 34.1217 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.588 | 143354.8789 | 275534.7429 | 36.4 | 83.1
38721 | 2021-03-03 11:15 | 16.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4547 | μmol/L | 34.0725 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.594 | 143370.0807 | 275534.5617 | 36.4 | 83.1
38731 | 2021-03-03 11:16 | 16.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5284 | μmol/L | 34.054 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.596 | 143399.1852 | 275521.3947 | 36.4 | 83.1
38741 | 2021-03-03 11:16 | 17.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8921 | μmol/L | 33.9679 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.604 | 143443.9626 | 275515.8289 | 36.4 | 83.1
38751 | 2021-03-03 11:16 | 17.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6326 | μmol/L | 33.9986 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.61 | 143463.4398 | 275513.8427 | 36.4 | 83.1
38761 | 2021-03-03 11:17 | 17.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.011 | μmol/L | 34.0971 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.615 | 143496.2732 | 275503.2638 | 36.4 | 83.1
38771 | 2021-03-03 11:17 | 18.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5943 | μmol/L | 33.974 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.622 | 143539.5358 | 275492.889 | 36.4 | 83.1
38781 | 2021-03-03 11:17 | 18.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1983 | μmol/L | 34.0294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.628 | 143579.8038 | 275485.3714 | 36.4 | 83.1
38791 | 2021-03-03 11:18 | 18.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2725 | μmol/L | 33.9925 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.637 | 143603.8192 | 275473.9133 | 36.4 | 83.1
38801 | 2021-03-03 11:18 | 19.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.7031 | μmol/L | 33.9125 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.638 | 143649.0594 | 275468.4744 | 36.4 | 83.1
38811 | 2021-03-03 11:18 | 19.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2781 | μmol/L | 33.9679 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.646 | 143694.9699 | 275469.7656 | 36.4 | 83.1
38821 | 2021-03-03 11:19 | 19.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2394 | μmol/L | 33.9617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.651 | 143717.4196 | 275462.7128 | 36.4 | 83.1
38831 | 2021-03-03 11:19 | 20.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8887 | μmol/L | 33.9986 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.661 | 143743.5216 | 275461.1852 | 36.4 | 83.1
38841 | 2021-03-03 11:19 | 20.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4552 | μmol/L | 33.894 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.662 | 143772.4798 | 275442.4 | 36.4 | 83.1
38851 | 2021-03-03 11:20 | 20.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.8267 | μmol/L | 33.8141 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.667 | 143815.5242 | 275443.6699 | 36.4 | 83.1
38861 | 2021-03-03 11:20 | 21.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.3681 | μmol/L | 33.8756 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.675 | 143839.5962 | 275425.5536 | 36.4 | 83.1
38871 | 2021-03-03 11:20 | 21.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.895 | μmol/L | 33.9556 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.677 | 143875.1168 | 275416.5403 | 36.4 | 83.1
38881 | 2021-03-03 11:21 | 21.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.9152 | μmol/L | 33.9309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.685 | 143919.0791 | 275416.3225 | 36.4 | 83.1
38891 | 2021-03-03 11:21 | 22.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5541 | μmol/L | 33.8079 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.688 | 143953.9981 | 275405.6261 | 36.4 | 83.1
38901 | 2021-03-03 11:21 | 22.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8917 | μmol/L | 33.9063 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.696 | 143972.0616 | 275390.3414 | 36.4 | 83.1
38911 | 2021-03-03 11:22 | 22.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.994 | μmol/L | 33.8879 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.696 | 144008.3578 | 275392.6227 | 36.4 | 83.1
38921 | 2021-03-03 11:22 | 23.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.4668 | μmol/L | 33.7894 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.701 | 144037.6252 | 275385.61 | 36.4 | 83.1
38931 | 2021-03-03 11:22 | 23.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.7905 | μmol/L | 33.8879 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.71 | 144088.211 | 275391.3923 | 36.4 | 83.1
38941 | 2021-03-03 11:23 | 23.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1411 | μmol/L | 33.8141 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.714 | 144115.863 | 275367.1861 | 36.4 | 83.1
38951 | 2021-03-03 11:23 | 24.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2436 | μmol/L | 33.7771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.721 | 144166.0532 | 275381.3017 | 36.4 | 83.1
38961 | 2021-03-03 11:23 | 24.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.0833 | μmol/L | 33.7956 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.725 | 144199.2481 | 275362.8838 | 36.4 | 83.1
38971 | 2021-03-03 11:24 | 24.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8894 | μmol/L | 33.8017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.736 | 144222.5121 | 275361.1535 | 36.4 | 83.1
38981 | 2021-03-03 11:24 | 25.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.9234 | μmol/L | 33.7956 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.736 | 144240.8153 | 275336.0187 | 36.4 | 83.1
38991 | 2021-03-03 11:24 | 25.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5595 | μmol/L | 33.851 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.74 | 144266.3094 | 275340.589 | 36.4 | 83.1
39001 | 2021-03-03 11:25 | 25.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2009 | μmol/L | 33.9002 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.746 | 144313.4902 | 275353.4251 | 36.4 | 83.1
39011 | 2021-03-03 11:25 | 26.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.0803 | μmol/L | 33.9063 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.752 | 144350.4845 | 275326.8601 | 36.4 | 83.1
39021 | 2021-03-03 11:25 | 26.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2116 | μmol/L | 33.8694 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.757 | 144395.0452 | 275332.0574 | 36.4 | 83.1
39031 | 2021-03-03 11:26 | 26.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6546 | μmol/L | 33.9679 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.758 | 144425.5189 | 275330.1774 | 36.4 | 83.1
39041 | 2021-03-03 11:26 | 27.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4531 | μmol/L | 33.9679 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.772 | 144459.2125 | 275316.7282 | 36.4 | 83.1
39051 | 2021-03-03 11:26 | 27.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6901 | μmol/L | 33.9248 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.772 | 144495.815 | 275306.0175 | 36.4 | 83.1
39061 | 2021-03-03 11:27 | 27.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7924 | μmol/L | 33.8879 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.779 | 144529.6213 | 275295.049 | 36.4 | 83.1
39071 | 2021-03-03 11:27 | 28.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1546 | μmol/L | 33.9986 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.781 | 144581.9465 | 275291.095 | 36.4 | 83.1
39081 | 2021-03-03 11:27 | 28.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4598 | μmol/L | 33.9248 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.788 | 144632.2651 | 275292.8174 | 36.4 | 83.1
39091 | 2021-03-03 11:28 | 28.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1708 | μmol/L | 33.9617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.794 | 144645.7534 | 275281.9814 | 36.4 | 83.1
39101 | 2021-03-03 11:28 | 29.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1227 | μmol/L | 33.9679 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.795 | 144679.6323 | 275285.8956 | 36.4 | 83.1
39111 | 2021-03-03 11:28 | 29.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8586 | μmol/L | 33.9925 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.804 | 144727.1141 | 275279.2588 | 36.4 | 83.1
39121 | 2021-03-03 11:29 | 29.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.927 | μmol/L | 33.9617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.811 | 144774.7651 | 275274.0643 | 36.4 | 83.1
39131 | 2021-03-03 11:29 | 30.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8175 | μmol/L | 33.9556 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.821 | 144808.1175 | 275269.3493 | 36.4 | 83.1
39141 | 2021-03-03 11:29 | 30.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.303 | μmol/L | 34.0417 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.824 | 144848.4263 | 275261.6504 | 36.4 | 83.1
39151 | 2021-03-03 11:30 | 30.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.1786 | μmol/L | 34.054 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.828 | 144881.692 | 275263.3899 | 36.4 | 83.1
39161 | 2021-03-03 11:30 | 31.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.9106 | μmol/L | 34.0848 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.835 | 144926.8797 | 275257.7442 | 36.4 | 83.1
39171 | 2021-03-03 11:30 | 31.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.7671 | μmol/L | 34.1032 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.838 | 144962.3668 | 275249.6532 | 36.4 | 83.1
39181 | 2021-03-03 11:31 | 31.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5862 | μmol/L | 34.1155 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.846 | 144992.8273 | 275234.2737 | 36.4 | 83.1
39191 | 2021-03-03 11:31 | 32.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4003 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.852 | 145040.5437 | 275238.3171 | 36.4 | 83.1
39201 | 2021-03-03 11:31 | 32.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3152 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.858 | 145076.4472 | 275233.953 | 36.4 | 83.1
39211 | 2021-03-03 11:32 | 32.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.0521 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.86 | 145121.5879 | 275234.7911 | 36.4 | 83.1
39221 | 2021-03-03 11:32 | 33.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.9002 | μmol/L | 34.1894 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.866 | 145157.0773 | 275221.9693 | 36.4 | 83.1
39231 | 2021-03-03 11:32 | 33.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6427 | μmol/L | 34.2263 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.87 | 145176.0816 | 275210.6104 | 36.4 | 83.1
39241 | 2021-03-03 11:33 | 33.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6391 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.875 | 145214.7346 | 275203.0786 | 36.4 | 83.1
39251 | 2021-03-03 11:33 | 34.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4541 | μmol/L | 34.2324 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.881 | 145245.6117 | 275200.5831 | 36.4 | 83.1
39261 | 2021-03-03 11:33 | 34.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3731 | μmol/L | 34.2447 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.882 | 145274.5899 | 275196.8674 | 36.4 | 83.1
39271 | 2021-03-03 11:34 | 34.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.213 | μmol/L | 34.2509 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.891 | 145313.0604 | 275189.4395 | 36.4 | 83.1
39281 | 2021-03-03 11:34 | 35.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0231 | μmol/L | 34.2755 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.895 | 145358.7572 | 275190.1998 | 36.4 | 83.1
39291 | 2021-03-03 11:34 | 35.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.8668 | μmol/L | 34.294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.899 | 145394.6138 | 275178.4953 | 36.4 | 83.1
39301 | 2021-03-03 11:35 | 35.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7632 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.904 | 145427.0315 | 275174.2085 | 36.4 | 83.1
39311 | 2021-03-03 11:35 | 36.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.7231 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.914 | 145452.835 | 275172.2406 | 36.4 | 83.1
39321 | 2021-03-03 11:35 | 36.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.4391 | μmol/L | 34.3186 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.92 | 145492.0413 | 275164.6388 | 36.4 | 83.1
39331 | 2021-03-03 11:36 | 36.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.3864 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.919 | 145532.2926 | 275153.258 | 36.4 | 83.1
39341 | 2021-03-03 11:36 | 37.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.2799 | μmol/L | 34.3247 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.929 | 145570.8499 | 275145.2666 | 36.4 | 83.1
39351 | 2021-03-03 11:36 | 37.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.3099 | μmol/L | 34.3063 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.934 | 145618.025 | 275154.7488 | 36.4 | 83.1
39361 | 2021-03-03 11:37 | 37.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.2593 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.94 | 145653.4326 | 275148.5044 | 36.4 | 83.1
39371 | 2021-03-03 11:37 | 38.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8795 | μmol/L | 34.3678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.941 | 145696.4491 | 275142.1903 | 36.4 | 83.1
39381 | 2021-03-03 11:37 | 38.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.0232 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.945 | 145720.4263 | 275143.1546 | 36.4 | 83.1
39391 | 2021-03-03 11:38 | 38.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.9256 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.952 | 145747.8292 | 275134.8466 | 36.4 | 83.1
39401 | 2021-03-03 11:38 | 39.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.931 | μmol/L | 34.3247 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.954 | 145789.5034 | 275125.436 | 36.4 | 83.1
39411 | 2021-03-03 11:38 | 39.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8613 | μmol/L | 34.3247 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.959 | 145844.3539 | 275148.7409 | 36.4 | 83.1
39421 | 2021-03-03 11:39 | 39.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6696 | μmol/L | 34.337 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.968 | 145873.2564 | 275120.6578 | 36.4 | 83.1
39431 | 2021-03-03 11:39 | 40.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6803 | μmol/L | 34.3247 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.972 | 145909.9625 | 275123.4535 | 36.4 | 83.1
39441 | 2021-03-03 11:39 | 40.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.4257 | μmol/L | 34.3616 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.976 | 145933.6215 | 275119.9632 | 36.4 | 83.1
39451 | 2021-03-03 11:40 | 40.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.8973 | μmol/L | 34.2509 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.985 | 145974.7831 | 275116.6523 | 36.4 | 83.1
39461 | 2021-03-03 11:40 | 41.3277 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6203 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.993 | 146019.6475 | 275118.1986 | 36.4 | 83.1
39471 | 2021-03-03 11:40 | 41.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.772 | μmol/L | 34.2509 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 21.994 | 146050.9409 | 275112.7693 | 36.4 | 83.1
39481 | 2021-03-03 11:41 | 41.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.6555 | μmol/L | 34.257 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22 | 146087.3743 | 275113.93 | 36.4 | 83.1
39491 | 2021-03-03 11:41 | 42.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.4451 | μmol/L | 34.2755 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.008 | 146122.9407 | 275120.489 | 36.4 | 83.1
39501 | 2021-03-03 11:41 | 42.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1197 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.01 | 146142.3124 | 275099.82 | 36.4 | 83.1
39511 | 2021-03-03 11:42 | 42.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.9044 | μmol/L | 34.3555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.016 | 146191.9503 | 275102.3378 | 36.4 | 83.1
39521 | 2021-03-03 11:42 | 43.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.0995 | μmol/L | 34.3063 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.021 | 146235.0041 | 275082.5432 | 36.4 | 83.1
39531 | 2021-03-03 11:42 | 43.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8046 | μmol/L | 34.3432 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.028 | 146262.6487 | 275091.0331 | 36.4 | 83.1
39541 | 2021-03-03 11:43 | 43.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.9803 | μmol/L | 34.3001 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.032 | 146303.5281 | 275093.4792 | 36.4 | 83.1
39551 | 2021-03-03 11:43 | 44.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 161.1422 | μmol/L | 34.257 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.037 | 146340.0827 | 275084.1903 | 36.4 | 83.1
39561 | 2021-03-03 11:43 | 44.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4518 | μmol/L | 34.3678 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.044 | 146371.5325 | 275080.9285 | 36.4 | 83.1
39571 | 2021-03-03 11:44 | 44.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.9049 | μmol/L | 34.2755 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.047 | 146393.7193 | 275076.5999 | 36.4 | 83.1
39581 | 2021-03-03 11:44 | 45.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.6541 | μmol/L | 34.294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.058 | 146445.4787 | 275068.2347 | 36.4 | 83.1
39591 | 2021-03-03 11:44 | 45.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.3715 | μmol/L | 34.3493 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.057 | 146457.7288 | 275079.4877 | 36.4 | 83.1
39601 | 2021-03-03 11:45 | 45.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.341 | μmol/L | 34.337 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.064 | 146493.4412 | 275068.0529 | 36.4 | 83.1
39611 | 2021-03-03 11:45 | 46.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.7519 | μmol/L | 34.2447 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.07 | 146536.2948 | 275074.6207 | 36.4 | 83.1
39621 | 2021-03-03 11:45 | 46.6617 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8634 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.081 | 146588.8454 | 275062.8301 | 36.4 | 83.1
39631 | 2021-03-03 11:46 | 46.9944 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.666 | μmol/L | 34.2324 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.081 | 146604.8926 | 275066.5167 | 36.4 | 83.1
39641 | 2021-03-03 11:46 | 47.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.8516 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.089 | 146646.2603 | 275051.1315 | 36.4 | 83.1
39651 | 2021-03-03 11:46 | 47.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.5716 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.095 | 146682.7093 | 275055.5386 | 36.4 | 83.1
39661 | 2021-03-03 11:47 | 47.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2813 | μmol/L | 34.2632 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.097 | 146712.1699 | 275051.9375 | 36.4 | 83.1
39671 | 2021-03-03 11:47 | 48.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.1385 | μmol/L | 34.2693 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.105 | 146752.2006 | 275046.6991 | 36.4 | 83.1
39681 | 2021-03-03 11:47 | 48.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.4498 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.111 | 146774.8238 | 275035.635 | 36.4 | 83.1
39691 | 2021-03-03 11:48 | 48.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2635 | μmol/L | 34.2201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.115 | 146813.6791 | 275045.8554 | 36.4 | 83.1
39701 | 2021-03-03 11:48 | 49.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.6487 | μmol/L | 34.1401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.118 | 146850.9617 | 275035.572 | 36.4 | 83.1
39711 | 2021-03-03 11:48 | 49.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2139 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.121 | 146891.888 | 275036.7194 | 36.4 | 83.1
39721 | 2021-03-03 11:49 | 49.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2456 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.133 | 146923.4852 | 275039.7202 | 36.4 | 83.1
39731 | 2021-03-03 11:49 | 50.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.2837 | μmol/L | 34.1647 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.135 | 146956.857 | 275023.9095 | 36.4 | 83.1
39741 | 2021-03-03 11:49 | 50.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 160.1358 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.141 | 146989.7797 | 275024.4901 | 36.4 | 83.1
39751 | 2021-03-03 11:50 | 50.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.7347 | μmol/L | 34.2447 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.144 | 147015.1946 | 275015.2338 | 36.4 | 83.1
39761 | 2021-03-03 11:50 | 51.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6936 | μmol/L | 34.2447 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.147 | 147074.4289 | 275025.6115 | 36.4 | 83.1
39771 | 2021-03-03 11:50 | 51.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.7202 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.157 | 147099.2803 | 275020.2235 | 36.4 | 83.1
39781 | 2021-03-03 11:51 | 51.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.9627 | μmol/L | 34.1709 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.156 | 147122.4382 | 275013.8687 | 36.4 | 83.1
39791 | 2021-03-03 11:51 | 52.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6518 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.162 | 147158.2214 | 275007.103 | 36.4 | 83.1
39801 | 2021-03-03 11:51 | 52.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.1697 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.171 | 147210.5123 | 275007.7915 | 36.4 | 83.1
39811 | 2021-03-03 11:52 | 52.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8057 | μmol/L | 34.1463 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.177 | 147265.6455 | 275006.3231 | 36.4 | 83.1
39821 | 2021-03-03 11:52 | 53.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8352 | μmol/L | 34.1278 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.182 | 147298.7757 | 275002.3369 | 36.4 | 83.1
39831 | 2021-03-03 11:52 | 53.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6795 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.191 | 147341.8328 | 274993.3064 | 36.4 | 83.1
39841 | 2021-03-03 11:53 | 53.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.6763 | μmol/L | 34.1217 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.196 | 147389.5074 | 274993.1231 | 36.4 | 83.1
39851 | 2021-03-03 11:53 | 54.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.8824 | μmol/L | 34.0725 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.2 | 147430.9586 | 274989.4638 | 36.4 | 83.1
39861 | 2021-03-03 11:53 | 54.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.1028 | μmol/L | 34.2017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.207 | 147463.2921 | 274981.8234 | 36.4 | 83.1
39871 | 2021-03-03 11:54 | 54.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0536 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.213 | 147500.0835 | 274987.3362 | 36.4 | 83.1
39881 | 2021-03-03 11:54 | 55.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.1482 | μmol/L | 34.1647 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.218 | 147551.0602 | 274988.2099 | 36.4 | 83.1
39891 | 2021-03-03 11:54 | 55.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.7249 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.23 | 147597.7002 | 274975.2519 | 36.4 | 83.1
39901 | 2021-03-03 11:55 | 55.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.9629 | μmol/L | 34.1586 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.234 | 147622.9541 | 274973.93 | 36.4 | 83.1
39911 | 2021-03-03 11:55 | 56.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8489 | μmol/L | 34.1647 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.24 | 147666.1961 | 274976.0929 | 36.4 | 83.1
39921 | 2021-03-03 11:55 | 56.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8323 | μmol/L | 34.1524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.246 | 147710.0169 | 274986.3708 | 36.4 | 83.1
39931 | 2021-03-03 11:56 | 56.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.0481 | μmol/L | 34.0909 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.254 | 147767.6093 | 274968.925 | 36.4 | 83.1
39941 | 2021-03-03 11:56 | 57.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.1936 | μmol/L | 34.0478 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.26 | 147805.7031 | 274978.9549 | 36.4 | 83.1
39951 | 2021-03-03 11:56 | 57.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.7877 | μmol/L | 34.1094 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.266 | 147842.9054 | 274959.6688 | 36.4 | 83.1
39961 | 2021-03-03 11:57 | 57.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 159.3013 | μmol/L | 34.0171 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.264 | 147872.2616 | 274964.1505 | 36.4 | 83.1
39971 | 2021-03-03 11:57 | 58.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8788 | μmol/L | 34.0663 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.276 | 147911.6643 | 274948.7223 | 36.4 | 83.1
39981 | 2021-03-03 11:57 | 58.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.4766 | μmol/L | 34.1401 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.277 | 147958.6201 | 274963.8092 | 36.4 | 83.1
39991 | 2021-03-03 11:58 | 58.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.9864 | μmol/L | 34.0355 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.28 | 147981.4383 | 274955.7752 | 36.4 | 83.1
40001 | 2021-03-03 11:58 | 59.3284 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.6 | μmol/L | 34.0909 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.287 | 148020.0697 | 274950.004 | 36.4 | 83.1
40011 | 2021-03-03 11:58 | 59.6611 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.4834 | μmol/L | 34.0848 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.298 | 148081.0201 | 274953.2482 | 36.4 | 83.1
40021 | 2021-03-03 11:59 | 59.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.6284 | μmol/L | 34.0417 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.304 | 148116.127 | 274954.2427 | 36.4 | 83.1
40031 | 2021-03-03 11:59 | 60.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8244 | μmol/L | 33.9863 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.311 | 148166.8859 | 274946.0976 | 36.4 | 83.1
40041 | 2021-03-03 11:59 | 60.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.8775 | μmol/L | 33.9556 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.319 | 148202.694 | 274947.3346 | 36.4 | 83.1
40051 | 2021-03-03 12:00 | 60.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.3899 | μmol/L | 34.0355 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.324 | 148252.8453 | 274944.9164 | 36.4 | 83.1
40061 | 2021-03-03 12:00 | 61.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.6263 | μmol/L | 33.9802 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.328 | 148291.876 | 274931.2725 | 36.4 | 83.1
40071 | 2021-03-03 12:00 | 61.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.7283 | μmol/L | 33.9556 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.33 | 148312.935 | 274922.2725 | 36.4 | 83.1
40081 | 2021-03-03 12:01 | 61.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.4191 | μmol/L | 34.0171 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.329 | 148352.7734 | 274931.1373 | 36.4 | 83.1
40091 | 2021-03-03 12:01 | 62.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.5471 | μmol/L | 33.9617 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.341 | 148385.3494 | 274916.8954 | 36.4 | 83.1
40101 | 2021-03-03 12:01 | 62.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.2268 | μmol/L | 34.0048 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.348 | 148441.5278 | 274931.475 | 36.4 | 83.1
40111 | 2021-03-03 12:02 | 62.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.0305 | μmol/L | 34.0294 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.353 | 148489.957 | 274923.4091 | 36.4 | 83.1
40121 | 2021-03-03 12:02 | 63.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.9983 | μmol/L | 34.0355 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.353 | 148536.2663 | 274928.7975 | 36.4 | 83.1
40131 | 2021-03-03 12:02 | 63.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 158.0888 | μmol/L | 33.9925 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.363 | 148567.0569 | 274920.1821 | 36.4 | 83.1
40141 | 2021-03-03 12:03 | 63.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.2686 | μmol/L | 34.134 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.369 | 148609.0761 | 274917.4109 | 36.4 | 83.1
40151 | 2021-03-03 12:03 | 64.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.504 | μmol/L | 34.0786 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.373 | 148646.8129 | 274901.0709 | 36.4 | 83.1
40161 | 2021-03-03 12:03 | 64.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 157.3084 | μmol/L | 34.1032 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.378 | 148685.8961 | 274906.8424 | 36.4 | 83.1
40171 | 2021-03-03 12:04 | 64.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.9981 | μmol/L | 34.1524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.382 | 148725.1615 | 274911.315 | 36.4 | 83.1
40181 | 2021-03-03 12:04 | 65.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.9178 | μmol/L | 34.1524 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.388 | 148752.279 | 274901.9816 | 36.4 | 83.1
40191 | 2021-03-03 12:04 | 65.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.7868 | μmol/L | 34.1647 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.393 | 148814.4405 | 274891.0304 | 36.4 | 83.1
40201 | 2021-03-03 12:05 | 65.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.6158 | μmol/L | 34.1771 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.401 | 148855.7386 | 274888.3084 | 36.4 | 83.1
40211 | 2021-03-03 12:05 | 66.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.5118 | μmol/L | 34.1894 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.404 | 148885.2581 | 274895.9128 | 36.4 | 83.1
40221 | 2021-03-03 12:05 | 66.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.3731 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.412 | 148941.3966 | 274886.4763 | 36.4 | 83.1
40231 | 2021-03-03 12:06 | 66.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.2372 | μmol/L | 34.214 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.415 | 148982.3527 | 274900.1368 | 36.4 | 83.1
40241 | 2021-03-03 12:06 | 67.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.2532 | μmol/L | 34.1955 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.421 | 149028.7202 | 274884.0281 | 36.4 | 83.1
40251 | 2021-03-03 12:06 | 67.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 156.1281 | μmol/L | 34.2017 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.428 | 149066.0453 | 274869.3015 | 36.4 | 83.1
40261 | 2021-03-03 12:07 | 67.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.9791 | μmol/L | 34.2201 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.432 | 149102.9489 | 274891.5458 | 36.4 | 83.1
40271 | 2021-03-03 12:07 | 68.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.7904 | μmol/L | 34.2386 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.439 | 149158.8956 | 274884.8283 | 36.4 | 83.1
40281 | 2021-03-03 12:07 | 68.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.6628 | μmol/L | 34.2632 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.439 | 149185.4065 | 274881.6905 | 36.4 | 83.1
40291 | 2021-03-03 12:08 | 68.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.4479 | μmol/L | 34.2817 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.448 | 149214.993 | 274882.1301 | 36.4 | 83.1
40301 | 2021-03-03 12:08 | 69.3283 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.3631 | μmol/L | 34.2878 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.452 | 149246.8217 | 274879.7627 | 36.4 | 83.1
40311 | 2021-03-03 12:08 | 69.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 155.0873 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.456 | 149299.8979 | 274871.1798 | 36.4 | 83.1
40321 | 2021-03-03 12:09 | 69.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.9895 | μmol/L | 34.337 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.461 | 149342.1917 | 274885.0899 | 36.4 | 83.1
40331 | 2021-03-03 12:09 | 70.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.9553 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.466 | 149374.3341 | 274868.0777 | 36.4 | 83.1
40341 | 2021-03-03 12:09 | 70.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.9025 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.47 | 149410.4863 | 274887.4749 | 36.4 | 83.1
40351 | 2021-03-03 12:10 | 70.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.7444 | μmol/L | 34.3309 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.482 | 149465.1539 | 274874.6122 | 36.4 | 83.1
40361 | 2021-03-03 12:10 | 71.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.685 | μmol/L | 34.3432 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.481 | 149487.6368 | 274856.507 | 36.4 | 83.1
40371 | 2021-03-03 12:10 | 71.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.5384 | μmol/L | 34.3555 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.488 | 149523.202 | 274864.4903 | 36.4 | 83.1
40381 | 2021-03-03 12:11 | 71.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.2638 | μmol/L | 34.3986 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.492 | 149560.7726 | 274871.2169 | 36.4 | 83.1
40391 | 2021-03-03 12:11 | 72.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.0768 | μmol/L | 34.417 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.499 | 149612.5798 | 274865.749 | 36.4 | 83.1
40401 | 2021-03-03 12:11 | 72.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.3993 | μmol/L | 34.3493 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.501 | 149665.2561 | 274870.0314 | 36.4 | 83.1
40411 | 2021-03-03 12:12 | 72.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.2164 | μmol/L | 34.3678 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.507 | 149693.3916 | 274869.0452 | 36.4 | 83.1
40421 | 2021-03-03 12:12 | 73.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 154.0373 | μmol/L | 34.3924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.511 | 149725.3886 | 274870.9998 | 36.4 | 83.1
40431 | 2021-03-03 12:12 | 73.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.9718 | μmol/L | 34.3924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.516 | 149778.0626 | 274870.3441 | 36.4 | 83.1
40441 | 2021-03-03 12:13 | 73.9949 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.8802 | μmol/L | 34.3924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.523 | 149817.2642 | 274880.9707 | 36.4 | 83.1
40451 | 2021-03-03 12:13 | 74.3278 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.8815 | μmol/L | 34.3863 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.526 | 149845.8617 | 274889.4388 | 36.4 | 83.1
40461 | 2021-03-03 12:13 | 74.6614 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.7136 | μmol/L | 34.3986 | °C | 995 | hPa | Humid | 28 | 0 | 0 | 22.534 | 149888.1452 | 274870.8297 | 36.4 | 83.1
40471 | 2021-03-03 12:14 | 74.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.7102 | μmol/L | 34.3924 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.536 | 149932.5559 | 274878.6835 | 36.4 | 83.1
40481 | 2021-03-03 12:14 | 75.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.6372 | μmol/L | 34.3863 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.544 | 149979.0967 | 274883.3376 | 36.4 | 83.1
40491 | 2021-03-03 12:14 | 75.6612 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.5033 | μmol/L | 34.4047 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.547 | 150009.8831 | 274869.6174 | 36.4 | 83.1
40501 | 2021-03-03 12:15 | 75.9948 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.2152 | μmol/L | 34.4355 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.557 | 150055.4394 | 274871.8517 | 36.4 | 83.1
40511 | 2021-03-03 12:15 | 76.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.3784 | μmol/L | 34.3986 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.559 | 150094.9614 | 274873.641 | 36.4 | 83.1
40521 | 2021-03-03 12:15 | 76.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.2502 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.564 | 150123.6252 | 274871.0423 | 36.4 | 83.1
40531 | 2021-03-03 12:16 | 76.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8571 | μmol/L | 34.4724 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.57 | 150160.1259 | 274871.7922 | 36.4 | 83.1
40541 | 2021-03-03 12:16 | 77.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.0181 | μmol/L | 34.4232 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.577 | 150200.7618 | 274878.3882 | 36.4 | 83.1
40551 | 2021-03-03 12:16 | 77.6613 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.0031 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.583 | 150268.7852 | 274871.9968 | 36.4 | 83.1
40561 | 2021-03-03 12:17 | 77.995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 153.0899 | μmol/L | 34.3863 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.586 | 150299.4865 | 274865.7799 | 36.4 | 83.1
40571 | 2021-03-03 12:17 | 78.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8732 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.593 | 150312.5535 | 274857.1855 | 36.4 | 83.1
40581 | 2021-03-03 12:17 | 78.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.8138 | μmol/L | 34.4047 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.6 | 150363.2529 | 274862.3779 | 36.4 | 83.1
40591 | 2021-03-03 12:18 | 78.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.906 | μmol/L | 34.374 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.605 | 150391.1626 | 274839.3251 | 36.4 | 83.1
40601 | 2021-03-03 12:18 | 79.328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.6786 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.608 | 150418.5228 | 274845.4077 | 36.4 | 83.1
40611 | 2021-03-03 12:18 | 79.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.3498 | μmol/L | 34.4601 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.614 | 150461.9103 | 274858.9597 | 36.4 | 83.1
40621 | 2021-03-03 12:19 | 79.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.442 | μmol/L | 34.4293 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.619 | 150491.8549 | 274849.8369 | 36.4 | 83.1
40631 | 2021-03-03 12:19 | 80.3279 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.3072 | μmol/L | 34.4355 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.627 | 150532.7697 | 274846.1316 | 36.4 | 83.1
40641 | 2021-03-03 12:19 | 80.6616 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1873 | μmol/L | 34.4539 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.629 | 150573.1598 | 274845.8076 | 36.4 | 83.1
40651 | 2021-03-03 12:20 | 80.9945 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2167 | μmol/L | 34.4355 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.634 | 150612.3086 | 274845.6991 | 36.4 | 83.1
40661 | 2021-03-03 12:20 | 81.3282 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.2258 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.643 | 150647.9654 | 274843.5519 | 36.4 | 83.1
40671 | 2021-03-03 12:20 | 81.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.944 | μmol/L | 34.4663 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.643 | 150675.7788 | 274850.6974 | 36.4 | 83.1
40681 | 2021-03-03 12:21 | 81.9947 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1354 | μmol/L | 34.4109 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.65 | 150718.7833 | 274850.5648 | 36.4 | 83.1
40691 | 2021-03-03 12:21 | 82.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.1961 | μmol/L | 34.3863 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.655 | 150740.4602 | 274841.1689 | 36.4 | 83.1
40701 | 2021-03-03 12:21 | 82.6615 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 152.0948 | μmol/L | 34.3986 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.658 | 150777.1997 | 274847.8287 | 36.4 | 83.1
40711 | 2021-03-03 12:22 | 82.9951 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.6295 | μmol/L | 34.4724 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.665 | 150820.3706 | 274839.0921 | 36.4 | 83.1
40721 | 2021-03-03 12:22 | 83.3281 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.7968 | μmol/L | 34.4293 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.669 | 150840.2949 | 274835.2876 | 36.4 | 83.1
40731 | 2021-03-03 12:22 | 83.6618 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.7894 | μmol/L | 34.4232 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.672 | 150880.1281 | 274829.4134 | 36.4 | 83.1
40741 | 2021-03-03 12:23 | 83.9946 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.7544 | μmol/L | 34.4047 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.682 | 150919.4719 | 274831.3041 | 36.4 | 83.1
40751 | 2021-03-03 12:23 | 84.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 151.4662 | μmol/L | 34.4539 | °C | 994 | hPa | Humid | 28 | 0 | 0 | 22.685 | 150958.4836 | 274825.0888 | 36.4 | 83.1