## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 207898393 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | 55.77 | 20 | °C | 22.24 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40757 | 2021-03-03 14:23 | 0 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.8126 | μmol/L | 35.4545 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.571 | 191699.2244 | 277423.1588 | 62.0402 | 75.7
40764 | 2021-03-03 14:24 | 0.32898 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.6944 | μmol/L | 35.4668 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.575 | 191778.5185 | 277417.8824 | 62.0402 | 75.7
40774 | 2021-03-03 14:24 | 0.66262 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7157 | μmol/L | 35.4237 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.59 | 191894.5383 | 277418.829 | 62.0402 | 75.7
40784 | 2021-03-03 14:24 | 0.99541 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.7391 | μmol/L | 35.4114 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.593 | 191976.2574 | 277406.352 | 62.0402 | 75.7
40794 | 2021-03-03 14:25 | 1.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4676 | μmol/L | 35.4299 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.606 | 192091.7765 | 277403.9266 | 62.0402 | 75.7
40804 | 2021-03-03 14:25 | 1.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.4086 | μmol/L | 35.436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.608 | 192136.7356 | 277399.8539 | 62.0402 | 75.7
40814 | 2021-03-03 14:25 | 1.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 153.02 | μmol/L | 35.4668 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.625 | 192287.3727 | 277380.4472 | 62.0402 | 75.7
40824 | 2021-03-03 14:26 | 2.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.8637 | μmol/L | 35.4607 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.639 | 192449.4091 | 277375.4746 | 62.0402 | 75.7
40834 | 2021-03-03 14:26 | 2.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4881 | μmol/L | 35.4607 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.667 | 192701.148 | 277358.1978 | 62.0402 | 75.7
40844 | 2021-03-03 14:26 | 2.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.4228 | μmol/L | 35.4422 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.679 | 192852.5054 | 277360.6611 | 62.0402 | 75.7
40854 | 2021-03-03 14:27 | 3.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.3639 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.7 | 193040.8841 | 277350.5235 | 62.0402 | 75.7
40864 | 2021-03-03 14:27 | 3.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 152.1986 | μmol/L | 35.4052 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.71 | 193154.0833 | 277354.5122 | 62.0402 | 75.7
40874 | 2021-03-03 14:27 | 3.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.9801 | μmol/L | 35.4114 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.724 | 193283.7331 | 277334.6405 | 62.0402 | 75.7
40884 | 2021-03-03 14:28 | 4.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.9768 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.729 | 193354.6064 | 277328.9811 | 62.0402 | 75.7
40894 | 2021-03-03 14:28 | 4.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.7354 | μmol/L | 35.4175 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.74 | 193459.0579 | 277340.8279 | 62.0402 | 75.7
40904 | 2021-03-03 14:28 | 4.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.6507 | μmol/L | 35.4237 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.744 | 193496.8475 | 277328.3809 | 62.0402 | 75.7
40914 | 2021-03-03 14:29 | 5.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.4198 | μmol/L | 35.4299 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.759 | 193641.6897 | 277332.1555 | 62.0402 | 75.7
40924 | 2021-03-03 14:29 | 5.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.2889 | μmol/L | 35.4114 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.776 | 193797.1315 | 277320.7624 | 62.0402 | 75.7
40934 | 2021-03-03 14:29 | 5.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 151.0934 | μmol/L | 35.4237 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.786 | 193921.987 | 277319.7334 | 62.0402 | 75.7
40944 | 2021-03-03 14:30 | 6.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.9347 | μmol/L | 35.4237 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.798 | 194035.642 | 277320.9092 | 62.0402 | 75.7
40954 | 2021-03-03 14:30 | 6.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.8108 | μmol/L | 35.4299 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.805 | 194136.7242 | 277331.5408 | 62.0402 | 75.7
40964 | 2021-03-03 14:30 | 6.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.5765 | μmol/L | 35.4422 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.818 | 194224.9687 | 277325.1072 | 62.0402 | 75.7
40974 | 2021-03-03 14:31 | 7.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.5338 | μmol/L | 35.4299 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.826 | 194331.5495 | 277328.9531 | 62.0402 | 75.7
40984 | 2021-03-03 14:31 | 7.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.417 | μmol/L | 35.4114 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.842 | 194458.8246 | 277306.1378 | 62.0402 | 75.7
40994 | 2021-03-03 14:31 | 7.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.3662 | μmol/L | 35.3929 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.853 | 194588.3264 | 277308.0625 | 62.0402 | 75.7
41004 | 2021-03-03 14:32 | 8.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.4486 | μmol/L | 35.3559 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.861 | 194663.1664 | 277308.9518 | 62.0402 | 75.7
41014 | 2021-03-03 14:32 | 8.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.3335 | μmol/L | 35.3682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.865 | 194710.7721 | 277306.2544 | 62.0402 | 75.7
41024 | 2021-03-03 14:32 | 8.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 150.1265 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.876 | 194828.8083 | 277299.3816 | 62.0402 | 75.7
41034 | 2021-03-03 14:33 | 9.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.9279 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.884 | 194940.9534 | 277299.4512 | 62.0402 | 75.7
41044 | 2021-03-03 14:33 | 9.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.7788 | μmol/L | 35.4052 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.893 | 195014.1148 | 277302.865 | 62.0402 | 75.7
41054 | 2021-03-03 14:33 | 9.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.8168 | μmol/L | 35.3744 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.902 | 195110.9677 | 277302.4105 | 62.0402 | 75.7
41064 | 2021-03-03 14:34 | 10.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.6467 | μmol/L | 35.3744 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.915 | 195242.9676 | 277289.16 | 62.0402 | 75.7
41074 | 2021-03-03 14:34 | 10.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.7468 | μmol/L | 35.3313 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.924 | 195362.8711 | 277296.5727 | 62.0402 | 75.7
41084 | 2021-03-03 14:34 | 10.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.6929 | μmol/L | 35.3004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.94 | 195483.9793 | 277300.0506 | 62.0402 | 75.7
41094 | 2021-03-03 14:35 | 11.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.4494 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.942 | 195520.2111 | 277294.2187 | 62.0402 | 75.7
41104 | 2021-03-03 14:35 | 11.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.332 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.951 | 195594.7422 | 277299.8517 | 62.0402 | 75.7
41114 | 2021-03-03 14:35 | 11.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.5182 | μmol/L | 35.3066 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.951 | 195639.342 | 277306.229 | 62.0402 | 75.7
41124 | 2021-03-03 14:36 | 12.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.4938 | μmol/L | 35.2881 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.96 | 195691.1745 | 277290.6974 | 62.0402 | 75.7
41134 | 2021-03-03 14:36 | 12.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.3666 | μmol/L | 35.3004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.965 | 195749.7927 | 277297.0383 | 62.0402 | 75.7
41144 | 2021-03-03 14:36 | 12.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.3162 | μmol/L | 35.282 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.976 | 195856.4772 | 277289.3123 | 62.0402 | 75.7
41154 | 2021-03-03 14:37 | 13.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 149.085 | μmol/L | 35.2943 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.989 | 195978.2505 | 277286.2108 | 62.0402 | 75.7
41164 | 2021-03-03 14:37 | 13.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.9241 | μmol/L | 35.3004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.999 | 196114.9289 | 277293.3045 | 62.0402 | 75.7
41174 | 2021-03-03 14:37 | 13.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.9617 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.008 | 196182.0996 | 277283.5119 | 62.0402 | 75.7
41184 | 2021-03-03 14:38 | 14.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.9147 | μmol/L | 35.2635 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.014 | 196255.0343 | 277295.3789 | 62.0402 | 75.7
41194 | 2021-03-03 14:38 | 14.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.8757 | μmol/L | 35.2635 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.017 | 196304.2641 | 277283.0489 | 62.0402 | 75.7
41204 | 2021-03-03 14:38 | 14.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.7411 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.025 | 196348.8211 | 277281.8571 | 62.0402 | 75.7
41214 | 2021-03-03 14:39 | 15.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.7022 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.028 | 196394.8452 | 277282.108 | 62.0402 | 75.7
41224 | 2021-03-03 14:39 | 15.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.482 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.045 | 196521.5938 | 277272.5547 | 62.0402 | 75.7
41234 | 2021-03-03 14:39 | 15.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.5226 | μmol/L | 35.2511 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.049 | 196624.4314 | 277281.4142 | 62.0402 | 75.7
41244 | 2021-03-03 14:40 | 16.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.4985 | μmol/L | 35.2326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.058 | 196693.8131 | 277277.6719 | 62.0402 | 75.7
41254 | 2021-03-03 14:40 | 16.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.3482 | μmol/L | 35.2265 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.072 | 196838.7261 | 277268.638 | 62.0402 | 75.7
41264 | 2021-03-03 14:40 | 16.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.4146 | μmol/L | 35.208 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.074 | 196886.0277 | 277269.5192 | 62.0402 | 75.7
41274 | 2021-03-03 14:41 | 17.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.224 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.084 | 196973.3879 | 277267.8893 | 62.0402 | 75.7
41284 | 2021-03-03 14:41 | 17.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.2369 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.083 | 196961.9586 | 277266.2332 | 62.0402 | 75.7
41294 | 2021-03-03 14:41 | 17.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.1982 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.086 | 197028.064 | 277268.4919 | 62.0402 | 75.7
41304 | 2021-03-03 14:42 | 18.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.9226 | μmol/L | 35.2265 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.105 | 197192.1322 | 277259.5998 | 62.0402 | 75.7
41314 | 2021-03-03 14:42 | 18.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.0017 | μmol/L | 35.208 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.106 | 197211.4815 | 277252.1743 | 62.0402 | 75.7
41324 | 2021-03-03 14:42 | 18.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.034 | μmol/L | 35.1833 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.113 | 197282.7089 | 277261.8888 | 62.0402 | 75.7
41334 | 2021-03-03 14:43 | 19.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.2001 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.112 | 197303.6324 | 277258.5481 | 62.0402 | 75.7
41344 | 2021-03-03 14:43 | 19.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 148.01 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.122 | 197399.8239 | 277252.563 | 62.0402 | 75.7
41354 | 2021-03-03 14:43 | 19.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.8941 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.131 | 197507.6911 | 277262.9768 | 62.0402 | 75.7
41364 | 2021-03-03 14:44 | 20.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.7832 | μmol/L | 35.1587 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.142 | 197616.1049 | 277264.9926 | 62.0402 | 75.7
41374 | 2021-03-03 14:44 | 20.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.6562 | μmol/L | 35.1895 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.14 | 197597.7443 | 277269.4625 | 62.0402 | 75.7
41384 | 2021-03-03 14:44 | 20.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.6482 | μmol/L | 35.1833 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.143 | 197633.9435 | 277262.8628 | 62.0402 | 75.7
41394 | 2021-03-03 14:45 | 21.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.5584 | μmol/L | 35.1833 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.15 | 197710.4285 | 277260.7626 | 62.0402 | 75.7
41404 | 2021-03-03 14:45 | 21.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.4911 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.16 | 197820.8703 | 277257.9602 | 62.0402 | 75.7
41414 | 2021-03-03 14:45 | 21.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.3209 | μmol/L | 35.208 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.159 | 197823.7245 | 277247.9911 | 62.0402 | 75.7
41424 | 2021-03-03 14:46 | 22.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.31 | μmol/L | 35.1895 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.167 | 197888.8661 | 277260.2076 | 62.0402 | 75.7
41434 | 2021-03-03 14:46 | 22.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 147.1132 | μmol/L | 35.1957 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.18 | 198038.256 | 277253.9512 | 62.0402 | 75.7
41444 | 2021-03-03 14:46 | 22.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.9403 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.184 | 198068.6649 | 277255.8076 | 62.0402 | 75.7
41454 | 2021-03-03 14:47 | 23.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.7568 | μmol/L | 35.2265 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.196 | 198154.3094 | 277244.1333 | 62.0402 | 75.7
41464 | 2021-03-03 14:47 | 23.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.7744 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.197 | 198218.3828 | 277240.5507 | 62.0402 | 75.7
41474 | 2021-03-03 14:47 | 23.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.7725 | μmol/L | 35.2388 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.19 | 198188.0398 | 277252.0883 | 62.0402 | 75.7
41484 | 2021-03-03 14:48 | 24.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.7774 | μmol/L | 35.2326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.192 | 198180.6147 | 277239.9806 | 62.0402 | 75.7
41494 | 2021-03-03 14:48 | 24.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.696 | μmol/L | 35.2388 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.196 | 198246.6718 | 277249.4975 | 62.0402 | 75.7
41504 | 2021-03-03 14:48 | 24.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.5382 | μmol/L | 35.245 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.206 | 198367.3965 | 277241.0325 | 62.0402 | 75.7
41514 | 2021-03-03 14:49 | 25.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.5235 | μmol/L | 35.2635 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.2 | 198290.6565 | 277253.785 | 62.0402 | 75.7
41524 | 2021-03-03 14:49 | 25.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.4246 | μmol/L | 35.2758 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.203 | 198337.5834 | 277243.7449 | 62.0402 | 75.7
41534 | 2021-03-03 14:49 | 25.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.3786 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.209 | 198381.0475 | 277248.6268 | 62.0402 | 75.7
41544 | 2021-03-03 14:50 | 26.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.2042 | μmol/L | 35.3128 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.206 | 198366.4992 | 277245.6986 | 62.0402 | 75.7
41554 | 2021-03-03 14:50 | 26.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.1408 | μmol/L | 35.3128 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.211 | 198431.1952 | 277240.9264 | 62.0402 | 75.7
41564 | 2021-03-03 14:50 | 26.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 146.042 | μmol/L | 35.3251 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.214 | 198453.9741 | 277239.6309 | 62.0402 | 75.7
41574 | 2021-03-03 14:51 | 27.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.956 | μmol/L | 35.3374 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.216 | 198467.6702 | 277234.009 | 62.0402 | 75.7
41584 | 2021-03-03 14:51 | 27.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.7031 | μmol/L | 35.3682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.224 | 198576.8233 | 277230.3683 | 62.0402 | 75.7
41594 | 2021-03-03 14:51 | 27.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.4682 | μmol/L | 35.3929 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.233 | 198686.7777 | 277243.5099 | 62.0402 | 75.7
41604 | 2021-03-03 14:52 | 28.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.5288 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.233 | 198701.9352 | 277239.4609 | 62.0402 | 75.7
41614 | 2021-03-03 14:52 | 28.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.4025 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.243 | 198782.821 | 277235.6799 | 62.0402 | 75.7
41624 | 2021-03-03 14:52 | 28.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 145.2487 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.248 | 198862.1367 | 277237.3212 | 62.0402 | 75.7
41634 | 2021-03-03 14:53 | 29.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.9893 | μmol/L | 35.4237 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.259 | 198941.9949 | 277235.3333 | 62.0402 | 75.7
41644 | 2021-03-03 14:53 | 29.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.866 | μmol/L | 35.436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.264 | 198996.6219 | 277232.4448 | 62.0402 | 75.7
41654 | 2021-03-03 14:53 | 29.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.7103 | μmol/L | 35.4422 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.274 | 199134.5602 | 277224.0363 | 62.0402 | 75.7
41664 | 2021-03-03 14:54 | 30.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.8183 | μmol/L | 35.4175 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.275 | 199130.4887 | 277229.3288 | 62.0402 | 75.7
41674 | 2021-03-03 14:54 | 30.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.4944 | μmol/L | 35.4607 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.284 | 199239.7959 | 277235.5934 | 62.0402 | 75.7
41684 | 2021-03-03 14:54 | 30.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.4243 | μmol/L | 35.4545 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.292 | 199298.6419 | 277228.311 | 62.0402 | 75.7
41694 | 2021-03-03 14:55 | 31.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.2815 | μmol/L | 35.4607 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.301 | 199413.7048 | 277221.4603 | 62.0402 | 75.7
41704 | 2021-03-03 14:55 | 31.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.1038 | μmol/L | 35.4792 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.308 | 199490.8595 | 277224.8284 | 62.0402 | 75.7
41714 | 2021-03-03 14:55 | 31.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.0991 | μmol/L | 35.4545 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.318 | 199582.2893 | 277217.2941 | 62.0402 | 75.7
41724 | 2021-03-03 14:56 | 32.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 144.034 | μmol/L | 35.473 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.316 | 199575.5479 | 277220.632 | 62.0402 | 75.7
41734 | 2021-03-03 14:56 | 32.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.7766 | μmol/L | 35.4977 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.327 | 199692.5235 | 277218.1113 | 62.0402 | 75.7
41744 | 2021-03-03 14:56 | 32.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.7144 | μmol/L | 35.4977 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.332 | 199743.1341 | 277211.6073 | 62.0402 | 75.7
41754 | 2021-03-03 14:57 | 33.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.6872 | μmol/L | 35.4853 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.339 | 199805.6876 | 277212.4309 | 62.0402 | 75.7
41764 | 2021-03-03 14:57 | 33.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.4955 | μmol/L | 35.4915 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.352 | 199916.1311 | 277215.3239 | 62.0402 | 75.7
41774 | 2021-03-03 14:57 | 33.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.4927 | μmol/L | 35.51 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.345 | 199911.8384 | 277202.9506 | 62.0402 | 75.7
41784 | 2021-03-03 14:58 | 34.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.167 | μmol/L | 35.5285 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.364 | 200047.04 | 277204.9861 | 62.0402 | 75.7
41794 | 2021-03-03 14:58 | 34.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.1546 | μmol/L | 35.5285 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.365 | 200119.5155 | 277209.5466 | 62.0402 | 75.7
41804 | 2021-03-03 14:58 | 34.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.105 | μmol/L | 35.5285 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.369 | 200142.2759 | 277212.9617 | 62.0402 | 75.7
41814 | 2021-03-03 14:59 | 35.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 143.0379 | μmol/L | 35.5346 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.372 | 200183.1029 | 277223.2822 | 62.0402 | 75.7
41824 | 2021-03-03 14:59 | 35.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.8843 | μmol/L | 35.5408 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.382 | 200258.3404 | 277212.3358 | 62.0402 | 75.7
41834 | 2021-03-03 14:59 | 35.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.7905 | μmol/L | 35.5346 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.392 | 200401.6322 | 277212.5946 | 62.0402 | 75.7
41844 | 2021-03-03 15:00 | 36.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.558 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.406 | 200541.8894 | 277217.4467 | 62.0402 | 75.7
41854 | 2021-03-03 15:00 | 36.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.3064 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.424 | 200682.1392 | 277216.7413 | 62.0402 | 75.7
41864 | 2021-03-03 15:00 | 36.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 142.1025 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.443 | 200875.8385 | 277222.5073 | 62.0402 | 75.7
41874 | 2021-03-03 15:01 | 37.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.9868 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.45 | 200973.2311 | 277221.699 | 62.0402 | 75.7
41884 | 2021-03-03 15:01 | 37.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.9061 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.459 | 201047.5614 | 277212.9065 | 62.0402 | 75.7
41894 | 2021-03-03 15:01 | 37.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.7763 | μmol/L | 35.5408 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.472 | 201176.1024 | 277210.6921 | 62.0402 | 75.7
41904 | 2021-03-03 15:02 | 38.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.7744 | μmol/L | 35.5285 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.477 | 201243.4545 | 277218.8636 | 62.0402 | 75.7
41914 | 2021-03-03 15:02 | 38.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.5142 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.491 | 201349.4071 | 277192.3956 | 62.0402 | 75.7
41924 | 2021-03-03 15:02 | 38.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.3798 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.502 | 201467.2382 | 277206.2935 | 62.0402 | 75.7
41934 | 2021-03-03 15:03 | 39.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 141.0384 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.53 | 201721.1696 | 277211.4608 | 62.0402 | 75.7
41944 | 2021-03-03 15:03 | 39.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.9827 | μmol/L | 35.5408 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.537 | 201816.076 | 277211.8456 | 62.0402 | 75.7
41954 | 2021-03-03 15:03 | 39.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.8873 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.54 | 201863.6321 | 277211.0861 | 62.0402 | 75.7
41964 | 2021-03-03 15:04 | 40.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.7657 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.55 | 201966.3607 | 277209.4371 | 62.0402 | 75.7
41974 | 2021-03-03 15:04 | 40.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.6929 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.556 | 202032.3461 | 277216.4413 | 62.0402 | 75.7
41984 | 2021-03-03 15:04 | 40.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.5716 | μmol/L | 35.5531 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.566 | 202115.1273 | 277211.9088 | 62.0402 | 75.7
41994 | 2021-03-03 15:05 | 41.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.504 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.574 | 202215.3137 | 277207.9533 | 62.0402 | 75.7
42004 | 2021-03-03 15:05 | 41.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.4192 | μmol/L | 35.547 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.581 | 202278.5263 | 277203.997 | 62.0402 | 75.7
42014 | 2021-03-03 15:05 | 41.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.3154 | μmol/L | 35.5408 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.592 | 202400.7646 | 277204.4412 | 62.0402 | 75.7
42024 | 2021-03-03 15:06 | 42.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.1824 | μmol/L | 35.5408 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.603 | 202485.4324 | 277208.1164 | 62.0402 | 75.7
42034 | 2021-03-03 15:06 | 42.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 140.1392 | μmol/L | 35.5346 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.609 | 202596.8023 | 277202.2944 | 62.0402 | 75.7
42044 | 2021-03-03 15:06 | 42.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.8978 | μmol/L | 35.5346 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.629 | 202755.6995 | 277203.604 | 62.0402 | 75.7
42054 | 2021-03-03 15:07 | 43.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.7533 | μmol/L | 35.5346 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.641 | 202890.3774 | 277212.37 | 62.0402 | 75.7
42064 | 2021-03-03 15:07 | 43.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.6844 | μmol/L | 35.5162 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.654 | 203013.1146 | 277200.5734 | 62.0402 | 75.7
42074 | 2021-03-03 15:07 | 43.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.6757 | μmol/L | 35.4977 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.662 | 203100.3122 | 277206.12 | 62.0402 | 75.7
42084 | 2021-03-03 15:08 | 44.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.5555 | μmol/L | 35.4977 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.672 | 203230.6594 | 277219.3603 | 62.0402 | 75.7
42094 | 2021-03-03 15:08 | 44.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.4406 | μmol/L | 35.4915 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.684 | 203310.9356 | 277208.6801 | 62.0402 | 75.7
42104 | 2021-03-03 15:08 | 44.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.3566 | μmol/L | 35.4915 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.691 | 203371.9936 | 277198.1418 | 62.0402 | 75.7
42114 | 2021-03-03 15:09 | 45.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.3497 | μmol/L | 35.4853 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.694 | 203424.4774 | 277212.1693 | 62.0402 | 75.7
42124 | 2021-03-03 15:09 | 45.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.317 | μmol/L | 35.4668 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.704 | 203538.4896 | 277203.723 | 62.0402 | 75.7
42134 | 2021-03-03 15:09 | 45.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 139.1921 | μmol/L | 35.473 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.712 | 203623.6368 | 277202.3925 | 62.0402 | 75.7
42144 | 2021-03-03 15:10 | 46.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.9768 | μmol/L | 35.473 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.73 | 203786.3417 | 277200.9984 | 62.0402 | 75.7
42154 | 2021-03-03 15:10 | 46.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.8624 | μmol/L | 35.4668 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.742 | 203896.9429 | 277191.2579 | 62.0402 | 75.7
42164 | 2021-03-03 15:10 | 46.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.7685 | μmol/L | 35.436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.762 | 204105.8775 | 277186.2114 | 62.0402 | 75.7
42174 | 2021-03-03 15:11 | 47.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.9591 | μmol/L | 35.3929 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.763 | 204165.8283 | 277197.9125 | 62.0402 | 75.7
42184 | 2021-03-03 15:11 | 47.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.9246 | μmol/L | 35.3621 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.778 | 204273.8474 | 277204.6275 | 62.0402 | 75.7
42194 | 2021-03-03 15:11 | 47.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.8241 | μmol/L | 35.3682 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.784 | 204367.0667 | 277195.1289 | 62.0402 | 75.7
42204 | 2021-03-03 15:12 | 48.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.6389 | μmol/L | 35.4052 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.785 | 204372.0554 | 277201.641 | 62.0402 | 75.7
42214 | 2021-03-03 15:12 | 48.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.5249 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.797 | 204476.8987 | 277194.2308 | 62.0402 | 75.7
42224 | 2021-03-03 15:12 | 48.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.3534 | μmol/L | 35.4052 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.809 | 204620.4964 | 277201.1276 | 62.0402 | 75.7
42234 | 2021-03-03 15:13 | 49.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.216 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.823 | 204744.0077 | 277200.8542 | 62.0402 | 75.7
42244 | 2021-03-03 15:13 | 49.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 138.0838 | μmol/L | 35.3867 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.839 | 204908.1996 | 277197.9625 | 62.0402 | 75.7
42254 | 2021-03-03 15:13 | 49.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.8825 | μmol/L | 35.3867 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.856 | 205058.1681 | 277184.1103 | 62.0402 | 75.7
42264 | 2021-03-03 15:14 | 50.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.8672 | μmol/L | 35.3621 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.867 | 205174.7191 | 277177.703 | 62.0402 | 75.7
42274 | 2021-03-03 15:14 | 50.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.7826 | μmol/L | 35.3497 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.879 | 205313.949 | 277188.6515 | 62.0402 | 75.7
42284 | 2021-03-03 15:14 | 50.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.6038 | μmol/L | 35.3374 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.899 | 205509.1048 | 277179.6177 | 62.0402 | 75.7
42294 | 2021-03-03 15:15 | 51.3287 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.5245 | μmol/L | 35.3189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.913 | 205652.8425 | 277170.3226 | 62.0402 | 75.7
42304 | 2021-03-03 15:15 | 51.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.6469 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.922 | 205750.9894 | 277168.2037 | 62.0402 | 75.7
42314 | 2021-03-03 15:15 | 51.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.5979 | μmol/L | 35.2573 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.931 | 205826.1545 | 277172.0837 | 62.0402 | 75.7
42324 | 2021-03-03 15:16 | 52.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.6295 | μmol/L | 35.2326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.938 | 205893.3139 | 277176.8715 | 62.0402 | 75.7
42334 | 2021-03-03 15:16 | 52.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.5253 | μmol/L | 35.245 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.942 | 205946.886 | 277180.8042 | 62.0402 | 75.7
42344 | 2021-03-03 15:16 | 52.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.3506 | μmol/L | 35.2573 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.952 | 206048.0603 | 277176.3073 | 62.0402 | 75.7
42354 | 2021-03-03 15:17 | 53.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.2212 | μmol/L | 35.2573 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.963 | 206184.404 | 277176.7339 | 62.0402 | 75.7
42364 | 2021-03-03 15:17 | 53.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1774 | μmol/L | 35.2388 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.974 | 206274.0137 | 277170.512 | 62.0402 | 75.7
42374 | 2021-03-03 15:17 | 53.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.2441 | μmol/L | 35.2142 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.978 | 206323.4625 | 277168.5527 | 62.0402 | 75.7
42384 | 2021-03-03 15:18 | 54.3286 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1922 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.98 | 206353.3203 | 277165.9981 | 62.0402 | 75.7
42394 | 2021-03-03 15:18 | 54.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1218 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.986 | 206417.7837 | 277161.2773 | 62.0402 | 75.7
42404 | 2021-03-03 15:18 | 54.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9243 | μmol/L | 35.2326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.998 | 206531.5189 | 277162.7013 | 62.0402 | 75.7
42414 | 2021-03-03 15:19 | 55.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9243 | μmol/L | 35.2326 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.998 | 206549.9782 | 277173.7859 | 62.0402 | 75.7
42424 | 2021-03-03 15:19 | 55.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.1778 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.003 | 206600.0124 | 277170.7304 | 62.0402 | 75.7
42434 | 2021-03-03 15:19 | 55.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.2512 | μmol/L | 35.1464 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.004 | 206655.2477 | 277156.5326 | 62.0402 | 75.7
42444 | 2021-03-03 15:20 | 56.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.129 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.012 | 206690.1893 | 277159.0954 | 62.0402 | 75.7
42454 | 2021-03-03 15:20 | 56.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.997 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.016 | 206752.4701 | 277172.6006 | 62.0402 | 75.7
42464 | 2021-03-03 15:20 | 56.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 137.0038 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.013 | 206757.9623 | 277174.8988 | 62.0402 | 75.7
42474 | 2021-03-03 15:21 | 57.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.8583 | μmol/L | 35.1833 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.023 | 206838.5219 | 277158.0452 | 62.0402 | 75.7
42484 | 2021-03-03 15:21 | 57.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.875 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.024 | 206870.752 | 277163.1422 | 62.0402 | 75.7
42494 | 2021-03-03 15:21 | 57.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9569 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.017 | 206808.8236 | 277170.2875 | 62.0402 | 75.7
42504 | 2021-03-03 15:22 | 58.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.9218 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.02 | 206839.8725 | 277163.6249 | 62.0402 | 75.7
42514 | 2021-03-03 15:22 | 58.6627 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.7561 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.039 | 207039.7538 | 277158.8292 | 62.0402 | 75.7
42524 | 2021-03-03 15:22 | 58.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.7893 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.041 | 207065.7009 | 277161.7131 | 62.0402 | 75.7
42534 | 2021-03-03 15:23 | 59.3294 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.5906 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.058 | 207267.6239 | 277172.5333 | 62.0402 | 75.7
42544 | 2021-03-03 15:23 | 59.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.4954 | μmol/L | 35.1402 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.071 | 207395.2262 | 277170.2887 | 62.0402 | 75.7
42554 | 2021-03-03 15:23 | 59.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.5322 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.063 | 207301.4932 | 277163.8547 | 62.0402 | 75.7
42564 | 2021-03-03 15:24 | 60.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.3009 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.078 | 207495.4727 | 277161.8936 | 62.0402 | 75.7
42574 | 2021-03-03 15:24 | 60.6625 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.0682 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.098 | 207677.5312 | 277164.3708 | 62.0402 | 75.7
42584 | 2021-03-03 15:24 | 60.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 136.0432 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.105 | 207751.1759 | 277156.9887 | 62.0402 | 75.7
42594 | 2021-03-03 15:25 | 61.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.9588 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.105 | 207781.151 | 277150.5761 | 62.0402 | 75.7
42604 | 2021-03-03 15:25 | 61.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.99 | μmol/L | 35.1464 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.112 | 207965.1032 | 277148.7875 | 62.0402 | 75.7
42614 | 2021-03-03 15:25 | 61.9957 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.8574 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.121 | 208042.8352 | 277147.7063 | 62.0402 | 75.7
42624 | 2021-03-03 15:26 | 62.3293 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7615 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.122 | 208091.2795 | 277159.4136 | 62.0402 | 75.7
42634 | 2021-03-03 15:26 | 62.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.869 | μmol/L | 35.1525 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.12 | 208104.8503 | 277154.1119 | 62.0402 | 75.7
42644 | 2021-03-03 15:26 | 62.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.8311 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.116 | 208059.0716 | 277154.553 | 62.0402 | 75.7
42654 | 2021-03-03 15:27 | 63.3289 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.8128 | μmol/L | 35.1649 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.12 | 208162.4993 | 277149.3698 | 62.0402 | 75.7
42664 | 2021-03-03 15:27 | 63.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7218 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.123 | 208196.8333 | 277155.6495 | 62.0402 | 75.7
42674 | 2021-03-03 15:27 | 63.9956 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.7152 | μmol/L | 35.171 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.126 | 208227.8549 | 277157.0979 | 62.0402 | 75.7
42684 | 2021-03-03 15:28 | 64.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.5103 | μmol/L | 35.1957 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.134 | 208312.8944 | 277153.5289 | 62.0402 | 75.7
42694 | 2021-03-03 15:28 | 64.6626 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.6755 | μmol/L | 35.1772 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.127 | 208310.158 | 277148.0272 | 62.0402 | 75.7
42704 | 2021-03-03 15:28 | 64.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.5235 | μmol/L | 35.208 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.128 | 208285.2966 | 277145.9131 | 62.0402 | 75.7
42714 | 2021-03-03 15:29 | 65.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.4443 | μmol/L | 35.2203 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.13 | 208341.8928 | 277146.9689 | 62.0402 | 75.7
42724 | 2021-03-03 15:29 | 65.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.2973 | μmol/L | 35.245 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.133 | 208381.0651 | 277145.7172 | 62.0402 | 75.7
42734 | 2021-03-03 15:29 | 65.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.1374 | μmol/L | 35.2573 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.142 | 208499.2407 | 277148.1492 | 62.0402 | 75.7
42744 | 2021-03-03 15:30 | 66.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 135.0451 | μmol/L | 35.2573 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.15 | 208605.3346 | 277136.5685 | 62.0402 | 75.7
42754 | 2021-03-03 15:30 | 66.6622 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.9776 | μmol/L | 35.2696 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.151 | 208635.0638 | 277149.4603 | 62.0402 | 75.7
42764 | 2021-03-03 15:30 | 66.9954 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.9035 | μmol/L | 35.2758 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.155 | 208678.3588 | 277148.8966 | 62.0402 | 75.7
42774 | 2021-03-03 15:31 | 67.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.6256 | μmol/L | 35.3066 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.167 | 208799.04 | 277142.4724 | 62.0402 | 75.7
42784 | 2021-03-03 15:31 | 67.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.5187 | μmol/L | 35.3251 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.169 | 208840.0805 | 277134.4399 | 62.0402 | 75.7
42794 | 2021-03-03 15:31 | 67.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.4943 | μmol/L | 35.3128 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.176 | 208916.4967 | 277146.8993 | 62.0402 | 75.7
42804 | 2021-03-03 15:32 | 68.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.3073 | μmol/L | 35.3313 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.185 | 209022.9896 | 277137.0356 | 62.0402 | 75.7
42814 | 2021-03-03 15:32 | 68.6623 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.1256 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.196 | 209140.0504 | 277131.6934 | 62.0402 | 75.7
42824 | 2021-03-03 15:32 | 68.9953 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.0456 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.203 | 209220.3491 | 277138.4671 | 62.0402 | 75.7
42834 | 2021-03-03 15:33 | 69.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 134.0684 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.201 | 209235.2792 | 277142.3366 | 62.0402 | 75.7
42844 | 2021-03-03 15:33 | 69.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.977 | μmol/L | 35.3436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.209 | 209289.5213 | 277136.5372 | 62.0402 | 75.7
42854 | 2021-03-03 15:33 | 69.9959 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.882 | μmol/L | 35.3621 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.21 | 209337.8519 | 277141.7746 | 62.0402 | 75.7
42864 | 2021-03-03 15:34 | 70.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.7186 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.217 | 209420.326 | 277133.7054 | 62.0402 | 75.7
42874 | 2021-03-03 15:34 | 70.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.6389 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.224 | 209507.3805 | 277126.4801 | 62.0402 | 75.7
42884 | 2021-03-03 15:34 | 70.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.429 | μmol/L | 35.3867 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.24 | 209657.4094 | 277128.0385 | 62.0402 | 75.7
42894 | 2021-03-03 15:35 | 71.3291 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.309 | μmol/L | 35.3806 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.253 | 209788.008 | 277132.3345 | 62.0402 | 75.7
42904 | 2021-03-03 15:35 | 71.6621 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 133.0216 | μmol/L | 35.399 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.271 | 209956.1067 | 277135.2938 | 62.0402 | 75.7
42914 | 2021-03-03 15:35 | 71.996 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.8078 | μmol/L | 35.4114 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.285 | 210123.3953 | 277131.9872 | 62.0402 | 75.7
42924 | 2021-03-03 15:36 | 72.329 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.7123 | μmol/L | 35.4175 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.291 | 210208.2712 | 277133.7303 | 62.0402 | 75.7
42934 | 2021-03-03 15:36 | 72.6619 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.5503 | μmol/L | 35.436 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.298 | 210270.774 | 277130.4852 | 62.0402 | 75.7
42944 | 2021-03-03 15:36 | 72.9958 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.4838 | μmol/L | 35.4484 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.299 | 210300.0474 | 277121.2216 | 62.0402 | 75.7
42954 | 2021-03-03 15:37 | 73.3288 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.4499 | μmol/L | 35.4484 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.302 | 210342.9742 | 277123.3367 | 62.0402 | 75.7
42964 | 2021-03-03 15:37 | 73.6624 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.2922 | μmol/L | 35.4484 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.316 | 210489.8691 | 277140.0653 | 62.0402 | 75.7
42974 | 2021-03-03 15:37 | 73.9955 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.2962 | μmol/L | 35.4299 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.323 | 210568.0054 | 277120.9488 | 62.0402 | 75.7
42984 | 2021-03-03 15:38 | 74.3292 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.2247 | μmol/L | 35.4484 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.322 | 210570.025 | 277127.3298 | 62.0402 | 75.7
42994 | 2021-03-03 15:38 | 74.662 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.1797 | μmol/L | 35.4484 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.326 | 210607.2699 | 277123.8807 | 62.0402 | 75.7
43004 | 2021-03-03 15:38 | 74.9952 | OXY_CH1 (PSt7-10) | 2021-02-12 16:16 | default | 132.0571 | μmol/L | 35.4607 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.332 | 210698.3207 | 277117.4666 | 62.0402 | 75.7