## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40758 | 2021-03-03 14:23 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.4901 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.861 | 142415.5241 | 301435.068 | 59.9307 | 38.1
40766 | 2021-03-03 14:24 | 0.33401 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.3551 | μmol/L | 35.4434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.869 | 142498.0662 | 301428.4471 | 59.9307 | 38.1
40776 | 2021-03-03 14:24 | 0.66697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.2818 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.877 | 142578.0146 | 301418.2976 | 59.9307 | 38.1
40786 | 2021-03-03 14:24 | 1.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 148.249 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.889 | 142659.253 | 301420.5397 | 59.9307 | 38.1
40796 | 2021-03-03 14:25 | 1.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.6884 | μmol/L | 35.4495 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.918 | 142790.798 | 301400.8746 | 59.9307 | 38.1
40806 | 2021-03-03 14:25 | 1.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.5849 | μmol/L | 35.4495 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.926 | 142921.0476 | 301401.2605 | 59.9307 | 38.1
40816 | 2021-03-03 14:25 | 2.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.4571 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.943 | 142996.2569 | 301378.5083 | 59.9307 | 38.1
40826 | 2021-03-03 14:26 | 2.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.5103 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.946 | 143029.0223 | 301371.7878 | 59.9307 | 38.1
40836 | 2021-03-03 14:26 | 2.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.3845 | μmol/L | 35.425 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.951 | 143077.8025 | 301371.394 | 59.9307 | 38.1
40846 | 2021-03-03 14:26 | 3.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.2765 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.957 | 143116.3435 | 301365.6844 | 59.9307 | 38.1
40856 | 2021-03-03 14:27 | 3.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.1733 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.965 | 143158.9332 | 301353.668 | 59.9307 | 38.1
40866 | 2021-03-03 14:27 | 3.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.3887 | μmol/L | 35.3698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.972 | 143217.9146 | 301348.4684 | 59.9307 | 38.1
40876 | 2021-03-03 14:27 | 4.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 147.0493 | μmol/L | 35.425 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.977 | 143256.4204 | 301337.3914 | 59.9307 | 38.1
40886 | 2021-03-03 14:28 | 4.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7569 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.995 | 143372.4883 | 301333.2153 | 59.9307 | 38.1
40896 | 2021-03-03 14:28 | 4.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7295 | μmol/L | 35.4066 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.009 | 143494.2222 | 301339.4843 | 59.9307 | 38.1
40906 | 2021-03-03 14:28 | 5.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4363 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.02 | 143521.2232 | 301321.0668 | 59.9307 | 38.1
40916 | 2021-03-03 14:29 | 5.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3291 | μmol/L | 35.4434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.026 | 143572.4231 | 301337.0662 | 59.9307 | 38.1
40926 | 2021-03-03 14:29 | 5.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.5676 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.024 | 143566.1626 | 301322.3265 | 59.9307 | 38.1
40936 | 2021-03-03 14:29 | 6 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7391 | μmol/L | 35.3943 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.013 | 143473.577 | 301313.8353 | 59.9307 | 38.1
40946 | 2021-03-03 14:30 | 6.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6975 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.002 | 143414.5093 | 301305.4756 | 59.9307 | 38.1
40956 | 2021-03-03 14:30 | 6.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6879 | μmol/L | 35.4434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.998 | 143381.4247 | 301310.8486 | 59.9307 | 38.1
40966 | 2021-03-03 14:30 | 7.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7922 | μmol/L | 35.425 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.997 | 143354.2608 | 301304.3412 | 59.9307 | 38.1
40976 | 2021-03-03 14:31 | 7.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8917 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.994 | 143308.1142 | 301304.7066 | 59.9307 | 38.1
40986 | 2021-03-03 14:31 | 7.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8917 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 21.994 | 143307.9275 | 301319.5525 | 59.9307 | 38.1
40996 | 2021-03-03 14:31 | 8.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.7857 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.007 | 143449.5103 | 301320.181 | 59.9307 | 38.1
41006 | 2021-03-03 14:32 | 8.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.8448 | μmol/L | 35.3575 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.019 | 143505.738 | 301313.4009 | 59.9307 | 38.1
41016 | 2021-03-03 14:32 | 8.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.6926 | μmol/L | 35.3882 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.019 | 143518.1907 | 301309.6163 | 59.9307 | 38.1
41026 | 2021-03-03 14:32 | 9.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.638 | μmol/L | 35.3759 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.028 | 143577.2377 | 301320.9578 | 59.9307 | 38.1
41036 | 2021-03-03 14:33 | 9.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3979 | μmol/L | 35.3882 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.042 | 143661.5889 | 301288.8012 | 59.9307 | 38.1
41046 | 2021-03-03 14:33 | 9.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.4824 | μmol/L | 35.3452 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.052 | 143753.6842 | 301297.7414 | 59.9307 | 38.1
41056 | 2021-03-03 14:33 | 10.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3943 | μmol/L | 35.3268 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.066 | 143821.464 | 301306.4124 | 59.9307 | 38.1
41066 | 2021-03-03 14:34 | 10.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.3128 | μmol/L | 35.3329 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.07 | 143842.5519 | 301296.7111 | 59.9307 | 38.1
41076 | 2021-03-03 14:34 | 10.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.1836 | μmol/L | 35.3513 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.073 | 143888.6851 | 301303.3179 | 59.9307 | 38.1
41086 | 2021-03-03 14:34 | 11.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 146.0399 | μmol/L | 35.3391 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.089 | 143996.2894 | 301301.0766 | 59.9307 | 38.1
41096 | 2021-03-03 14:35 | 11.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.8248 | μmol/L | 35.3207 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.113 | 144162.312 | 301306.8539 | 59.9307 | 38.1
41106 | 2021-03-03 14:35 | 11.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.7023 | μmol/L | 35.3145 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.125 | 144239.311 | 301291.2853 | 59.9307 | 38.1
41116 | 2021-03-03 14:35 | 12.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.5626 | μmol/L | 35.3145 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.136 | 144330.5916 | 301296.8653 | 59.9307 | 38.1
41126 | 2021-03-03 14:36 | 12.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.415 | μmol/L | 35.3084 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.15 | 144436.5263 | 301295.7088 | 59.9307 | 38.1
41136 | 2021-03-03 14:36 | 12.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.1015 | μmol/L | 35.3207 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.17 | 144582.6615 | 301289.1724 | 59.9307 | 38.1
41146 | 2021-03-03 14:36 | 12.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.1363 | μmol/L | 35.3084 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.172 | 144608.233 | 301302.8109 | 59.9307 | 38.1
41156 | 2021-03-03 14:37 | 13.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.0272 | μmol/L | 35.3023 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.183 | 144680.6437 | 301289.6667 | 59.9307 | 38.1
41166 | 2021-03-03 14:37 | 13.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 145.0602 | μmol/L | 35.2593 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.197 | 144769.8821 | 301290.1513 | 59.9307 | 38.1
41176 | 2021-03-03 14:37 | 14.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.9039 | μmol/L | 35.2654 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.207 | 144830.8657 | 301291.7125 | 59.9307 | 38.1
41186 | 2021-03-03 14:38 | 14.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.825 | μmol/L | 35.2532 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.218 | 144944.3332 | 301284.1159 | 59.9307 | 38.1
41196 | 2021-03-03 14:38 | 14.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.5557 | μmol/L | 35.2593 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.237 | 145057.2741 | 301271.9195 | 59.9307 | 38.1
41206 | 2021-03-03 14:38 | 14.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8529 | μmol/L | 35.2593 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.293 | 145506.1437 | 301279.1497 | 59.9307 | 38.1
41216 | 2021-03-03 14:39 | 15.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.7951 | μmol/L | 35.2532 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.3 | 145553.1693 | 301276.6365 | 59.9307 | 38.1
41226 | 2021-03-03 14:39 | 15.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.9312 | μmol/L | 35.2225 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.301 | 145571.2813 | 301273.5874 | 59.9307 | 38.1
41236 | 2021-03-03 14:39 | 16.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 144.1425 | μmol/L | 35.1918 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.296 | 145513.0367 | 301271.0179 | 59.9307 | 38.1
41246 | 2021-03-03 14:40 | 16.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8295 | μmol/L | 35.1918 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.321 | 145717.2184 | 301280.1987 | 59.9307 | 38.1
41256 | 2021-03-03 14:40 | 16.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5626 | μmol/L | 35.1979 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.34 | 145831.9106 | 301277.0764 | 59.9307 | 38.1
41266 | 2021-03-03 14:40 | 17.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5595 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.345 | 145879.9121 | 301277.8797 | 59.9307 | 38.1
41276 | 2021-03-03 14:41 | 17.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5751 | μmol/L | 35.1979 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.339 | 145823.0423 | 301283.5434 | 59.9307 | 38.1
41286 | 2021-03-03 14:41 | 17.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.6765 | μmol/L | 35.1795 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.338 | 145831.934 | 301290.1147 | 59.9307 | 38.1
41296 | 2021-03-03 14:41 | 18.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.6733 | μmol/L | 35.1673 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.343 | 145860.767 | 301272.0411 | 59.9307 | 38.1
41306 | 2021-03-03 14:42 | 18.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.6843 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.335 | 145808.8825 | 301281.0346 | 59.9307 | 38.1
41316 | 2021-03-03 14:42 | 18.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8529 | μmol/L | 35.1611 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.331 | 145795.0542 | 301271.4038 | 59.9307 | 38.1
41326 | 2021-03-03 14:42 | 19 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.8043 | μmol/L | 35.1427 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.342 | 145865.3634 | 301279.6863 | 59.9307 | 38.1
41336 | 2021-03-03 14:43 | 19.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.7387 | μmol/L | 35.1304 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.352 | 145943.3344 | 301274.7077 | 59.9307 | 38.1
41346 | 2021-03-03 14:43 | 19.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.5298 | μmol/L | 35.1427 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.364 | 146020.1701 | 301265.2463 | 59.9307 | 38.1
41356 | 2021-03-03 14:43 | 20.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.388 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.373 | 146091.5867 | 301292.4472 | 59.9307 | 38.1
41366 | 2021-03-03 14:44 | 20.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 143.1672 | μmol/L | 35.1611 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.386 | 146172.7542 | 301279.3645 | 59.9307 | 38.1
41376 | 2021-03-03 14:44 | 20.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.8972 | μmol/L | 35.1734 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.403 | 146308.1522 | 301273.5928 | 59.9307 | 38.1
41386 | 2021-03-03 14:44 | 21.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.6818 | μmol/L | 35.1795 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.418 | 146403.1595 | 301267.0272 | 59.9307 | 38.1
41396 | 2021-03-03 14:45 | 21.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.6664 | μmol/L | 35.1673 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.424 | 146463.3618 | 301278.4972 | 59.9307 | 38.1
41406 | 2021-03-03 14:45 | 21.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.6928 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.429 | 146474.2046 | 301259.103 | 59.9307 | 38.1
41416 | 2021-03-03 14:45 | 22.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.6463 | μmol/L | 35.1611 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.428 | 146495.911 | 301258.2992 | 59.9307 | 38.1
41426 | 2021-03-03 14:46 | 22.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.4204 | μmol/L | 35.1979 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.432 | 146518.5685 | 301276.0086 | 59.9307 | 38.1
41436 | 2021-03-03 14:46 | 22.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.1396 | μmol/L | 35.2102 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.45 | 146644.6775 | 301264.7322 | 59.9307 | 38.1
41446 | 2021-03-03 14:46 | 23.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.8205 | μmol/L | 35.2409 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.464 | 146717.7121 | 301282.1403 | 59.9307 | 38.1
41456 | 2021-03-03 14:47 | 23.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.0856 | μmol/L | 35.2163 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.452 | 146677.2096 | 301271.4744 | 59.9307 | 38.1
41466 | 2021-03-03 14:47 | 23.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.971 | μmol/L | 35.2532 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.447 | 146619.9936 | 301262.3972 | 59.9307 | 38.1
41476 | 2021-03-03 14:47 | 24.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 142.1283 | μmol/L | 35.2409 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.439 | 146575.6526 | 301256.1617 | 59.9307 | 38.1
41486 | 2021-03-03 14:48 | 24.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.8905 | μmol/L | 35.2777 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.444 | 146578.7243 | 301254.0398 | 59.9307 | 38.1
41496 | 2021-03-03 14:48 | 24.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.8527 | μmol/L | 35.247 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.459 | 146692.7715 | 301255.6027 | 59.9307 | 38.1
41506 | 2021-03-03 14:48 | 25 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.4171 | μmol/L | 35.3023 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.473 | 146826.8821 | 301263.2457 | 59.9307 | 38.1
41516 | 2021-03-03 14:49 | 25.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.2143 | μmol/L | 35.3268 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.48 | 146873.129 | 301266.2415 | 59.9307 | 38.1
41526 | 2021-03-03 14:49 | 25.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.0383 | μmol/L | 35.3329 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.492 | 146933.863 | 301245.8526 | 59.9307 | 38.1
41536 | 2021-03-03 14:49 | 26 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.975 | μmol/L | 35.3513 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.49 | 146962.8162 | 301259.9099 | 59.9307 | 38.1
41546 | 2021-03-03 14:50 | 26.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.0117 | μmol/L | 35.3513 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.487 | 146952.5693 | 301261.7353 | 59.9307 | 38.1
41556 | 2021-03-03 14:50 | 26.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.9266 | μmol/L | 35.382 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.482 | 146942.4896 | 301237.3082 | 59.9307 | 38.1
41566 | 2021-03-03 14:50 | 27.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 141.0047 | μmol/L | 35.3759 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.478 | 146922.0094 | 301239.7702 | 59.9307 | 38.1
41576 | 2021-03-03 14:51 | 27.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.8266 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.483 | 146944.0465 | 301253.4977 | 59.9307 | 38.1
41586 | 2021-03-03 14:51 | 27.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.6706 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.491 | 146981.7834 | 301253.3782 | 59.9307 | 38.1
41596 | 2021-03-03 14:51 | 28.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.6536 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.49 | 147049.7098 | 301247.634 | 59.9307 | 38.1
41606 | 2021-03-03 14:52 | 28.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.5269 | μmol/L | 35.425 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.498 | 147134.7145 | 301252.628 | 59.9307 | 38.1
41616 | 2021-03-03 14:52 | 28.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.4247 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.504 | 147167.2545 | 301236.374 | 59.9307 | 38.1
41626 | 2021-03-03 14:52 | 29 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.4222 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.509 | 147228.1548 | 301248.7178 | 59.9307 | 38.1
41636 | 2021-03-03 14:53 | 29.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.2278 | μmol/L | 35.4495 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.513 | 147318.8181 | 301247.3541 | 59.9307 | 38.1
41646 | 2021-03-03 14:53 | 29.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.1622 | μmol/L | 35.4557 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.516 | 147345.8202 | 301254.6589 | 59.9307 | 38.1
41656 | 2021-03-03 14:53 | 30.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.1573 | μmol/L | 35.4618 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.514 | 147335.1493 | 301254.2538 | 59.9307 | 38.1
41666 | 2021-03-03 14:54 | 30.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.0748 | μmol/L | 35.4741 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.516 | 147347.8005 | 301244.0834 | 59.9307 | 38.1
41676 | 2021-03-03 14:54 | 30.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 140.0286 | μmol/L | 35.4864 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.515 | 147354.3619 | 301236.8202 | 59.9307 | 38.1
41686 | 2021-03-03 14:54 | 31.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.9971 | μmol/L | 35.4802 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.52 | 147383.4642 | 301245.8741 | 59.9307 | 38.1
41696 | 2021-03-03 14:55 | 31.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.82 | μmol/L | 35.5048 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.525 | 147452.5036 | 301244.6721 | 59.9307 | 38.1
41706 | 2021-03-03 14:55 | 31.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6408 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.535 | 147541.9238 | 301248.1857 | 59.9307 | 38.1
41716 | 2021-03-03 14:55 | 32.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.7693 | μmol/L | 35.4925 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.534 | 147595.6688 | 301250.8881 | 59.9307 | 38.1
41726 | 2021-03-03 14:56 | 32.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6676 | μmol/L | 35.4986 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.54 | 147646.3316 | 301246.7451 | 59.9307 | 38.1
41736 | 2021-03-03 14:56 | 32.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.5079 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.546 | 147636.6822 | 301231.0359 | 59.9307 | 38.1
41746 | 2021-03-03 14:56 | 33.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.7742 | μmol/L | 35.4864 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.536 | 147629.7483 | 301241.08 | 59.9307 | 38.1
41756 | 2021-03-03 14:57 | 33.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.648 | μmol/L | 35.5232 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.532 | 147611.9253 | 301224.4583 | 59.9307 | 38.1
41766 | 2021-03-03 14:57 | 33.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6771 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.532 | 147628.0257 | 301232.851 | 59.9307 | 38.1
41776 | 2021-03-03 14:57 | 33.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.6095 | μmol/L | 35.5109 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.54 | 147672.0255 | 301228.6374 | 59.9307 | 38.1
41786 | 2021-03-03 14:58 | 34.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.5249 | μmol/L | 35.5109 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.547 | 147719.7367 | 301235.4062 | 59.9307 | 38.1
41796 | 2021-03-03 14:58 | 34.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.3006 | μmol/L | 35.5048 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.568 | 147893.7585 | 301244.3595 | 59.9307 | 38.1
41806 | 2021-03-03 14:58 | 35.0004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.9652 | μmol/L | 35.5477 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.579 | 147992.8053 | 301238.0147 | 59.9307 | 38.1
41816 | 2021-03-03 14:59 | 35.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.9751 | μmol/L | 35.5355 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.583 | 148054.2083 | 301235.373 | 59.9307 | 38.1
41826 | 2021-03-03 14:59 | 35.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.8811 | μmol/L | 35.5477 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.586 | 148060.4016 | 301233.9199 | 59.9307 | 38.1
41836 | 2021-03-03 14:59 | 35.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 139.0139 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.587 | 148086.3149 | 301246.7898 | 59.9307 | 38.1
41846 | 2021-03-03 15:00 | 36.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.749 | μmol/L | 35.5477 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.597 | 148118.1152 | 301234.129 | 59.9307 | 38.1
41856 | 2021-03-03 15:00 | 36.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.5642 | μmol/L | 35.5539 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.61 | 148237.1181 | 301226.8898 | 59.9307 | 38.1
41866 | 2021-03-03 15:00 | 37.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.548 | μmol/L | 35.5293 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.621 | 148336.6126 | 301236.3995 | 59.9307 | 38.1
41876 | 2021-03-03 15:01 | 37.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.1885 | μmol/L | 35.56 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.639 | 148392.2384 | 301235.7772 | 59.9307 | 38.1
41886 | 2021-03-03 15:01 | 37.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 138.1823 | μmol/L | 35.5232 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.654 | 148506.8068 | 301236.4939 | 59.9307 | 38.1
41896 | 2021-03-03 15:01 | 38.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.7783 | μmol/L | 35.5661 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.671 | 148617.3848 | 301223.6547 | 59.9307 | 38.1
41906 | 2021-03-03 15:02 | 38.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.6425 | μmol/L | 35.5723 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.68 | 148668.1182 | 301225.6201 | 59.9307 | 38.1
41916 | 2021-03-03 15:02 | 38.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.3319 | μmol/L | 35.56 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.711 | 148807.6677 | 301230.778 | 59.9307 | 38.1
41926 | 2021-03-03 15:02 | 39.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.3774 | μmol/L | 35.5477 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.712 | 148926.769 | 301222.4119 | 59.9307 | 38.1
41936 | 2021-03-03 15:03 | 39.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.5444 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.71 | 148916.3153 | 301225.2133 | 59.9307 | 38.1
41946 | 2021-03-03 15:03 | 39.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.6226 | μmol/L | 35.5232 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.701 | 148884.0117 | 301222.5578 | 59.9307 | 38.1
41956 | 2021-03-03 15:03 | 40.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.6205 | μmol/L | 35.5109 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.706 | 148895.3004 | 301222.1301 | 59.9307 | 38.1
41966 | 2021-03-03 15:04 | 40.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.2855 | μmol/L | 35.5293 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.727 | 149007.7962 | 301229.2313 | 59.9307 | 38.1
41976 | 2021-03-03 15:04 | 40.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.1444 | μmol/L | 35.4986 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.751 | 149172.4948 | 301236.3547 | 59.9307 | 38.1
41986 | 2021-03-03 15:04 | 41.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.7823 | μmol/L | 35.5232 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.772 | 149251.9345 | 301226.354 | 59.9307 | 38.1
41996 | 2021-03-03 15:05 | 41.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.8934 | μmol/L | 35.517 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.765 | 149270.2145 | 301228.4745 | 59.9307 | 38.1
42006 | 2021-03-03 15:05 | 41.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.0567 | μmol/L | 35.5048 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.756 | 149246.7772 | 301239.4151 | 59.9307 | 38.1
42016 | 2021-03-03 15:05 | 42.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.8029 | μmol/L | 35.5416 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.763 | 149243.0377 | 301216.4357 | 59.9307 | 38.1
42026 | 2021-03-03 15:06 | 42.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.579 | μmol/L | 35.5416 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.782 | 149396.6592 | 301211.7663 | 59.9307 | 38.1
42036 | 2021-03-03 15:06 | 42.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 137.1745 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.775 | 149369.9128 | 301221.6215 | 59.9307 | 38.1
42046 | 2021-03-03 15:06 | 43.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.7744 | μmol/L | 35.4741 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.792 | 149496.4671 | 301212.1942 | 59.9307 | 38.1
42056 | 2021-03-03 15:07 | 43.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.39 | μmol/L | 35.4986 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.815 | 149638.5902 | 301220.4849 | 59.9307 | 38.1
42066 | 2021-03-03 15:07 | 43.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.1964 | μmol/L | 35.4618 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.846 | 149812.6172 | 301221.6771 | 59.9307 | 38.1
42076 | 2021-03-03 15:07 | 44 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.2196 | μmol/L | 35.3882 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.873 | 149992.0452 | 301219.8238 | 59.9307 | 38.1
42086 | 2021-03-03 15:08 | 44.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.535 | μmol/L | 35.4557 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.905 | 150144.828 | 301218.872 | 59.9307 | 38.1
42096 | 2021-03-03 15:08 | 44.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.236 | μmol/L | 35.4802 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.921 | 150227.0731 | 301213.2269 | 59.9307 | 38.1
42106 | 2021-03-03 15:08 | 45.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.3475 | μmol/L | 35.4864 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.909 | 150161.3782 | 301213.0353 | 59.9307 | 38.1
42116 | 2021-03-03 15:09 | 45.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5669 | μmol/L | 35.4741 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.895 | 150132.3452 | 301217.2125 | 59.9307 | 38.1
42126 | 2021-03-03 15:09 | 45.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.9797 | μmol/L | 35.425 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.879 | 150013.6647 | 301205.8627 | 59.9307 | 38.1
42136 | 2021-03-03 15:09 | 46 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.0051 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.872 | 149921.1235 | 301213.076 | 59.9307 | 38.1
42146 | 2021-03-03 15:10 | 46.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 136.0402 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.869 | 149918.0708 | 301211.751 | 59.9307 | 38.1
42156 | 2021-03-03 15:10 | 46.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.7664 | μmol/L | 35.4434 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.89 | 150069.8439 | 301211.7274 | 59.9307 | 38.1
42166 | 2021-03-03 15:10 | 47.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.7888 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.905 | 150159.2991 | 301212.686 | 59.9307 | 38.1
42176 | 2021-03-03 15:11 | 47.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.744 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.904 | 150084.057 | 301213.2657 | 59.9307 | 38.1
42186 | 2021-03-03 15:11 | 47.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.817 | μmol/L | 35.3943 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.905 | 150059.0448 | 301211.5503 | 59.9307 | 38.1
42196 | 2021-03-03 15:11 | 48.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.7497 | μmol/L | 35.3759 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.918 | 150139.6504 | 301219.9508 | 59.9307 | 38.1
42206 | 2021-03-03 15:12 | 48.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5933 | μmol/L | 35.382 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.929 | 150244.6057 | 301210.3453 | 59.9307 | 38.1
42216 | 2021-03-03 15:12 | 48.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5885 | μmol/L | 35.3882 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.927 | 150220.7787 | 301208.8819 | 59.9307 | 38.1
42226 | 2021-03-03 15:12 | 49.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5322 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.927 | 150237.6184 | 301199.5496 | 59.9307 | 38.1
42236 | 2021-03-03 15:13 | 49.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5282 | μmol/L | 35.3759 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.937 | 150255.7451 | 301190.3335 | 59.9307 | 38.1
42246 | 2021-03-03 15:13 | 49.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.7018 | μmol/L | 35.3329 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.939 | 150256.4549 | 301202.5126 | 59.9307 | 38.1
42256 | 2021-03-03 15:13 | 50.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.5339 | μmol/L | 35.3391 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.951 | 150322.1746 | 301191.7504 | 59.9307 | 38.1
42266 | 2021-03-03 15:14 | 50.3332 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.4456 | μmol/L | 35.3329 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.961 | 150405.0822 | 301190.4403 | 59.9307 | 38.1
42276 | 2021-03-03 15:14 | 50.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.2787 | μmol/L | 35.3084 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 22.985 | 150528.5179 | 301199.7414 | 59.9307 | 38.1
42286 | 2021-03-03 15:14 | 51.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 135.0862 | μmol/L | 35.3023 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.004 | 150705.9178 | 301199.3308 | 59.9307 | 38.1
42296 | 2021-03-03 15:15 | 51.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.8777 | μmol/L | 35.3023 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.022 | 150813.0421 | 301198.4235 | 59.9307 | 38.1
42306 | 2021-03-03 15:15 | 51.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.711 | μmol/L | 35.3084 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.034 | 150921.5159 | 301191.8892 | 59.9307 | 38.1
42316 | 2021-03-03 15:15 | 52.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.8254 | μmol/L | 35.2654 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.041 | 150970.5009 | 301180.3124 | 59.9307 | 38.1
42326 | 2021-03-03 15:16 | 52.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.7329 | μmol/L | 35.2654 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.049 | 151015.0816 | 301188.5096 | 59.9307 | 38.1
42336 | 2021-03-03 15:16 | 52.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.7261 | μmol/L | 35.2593 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.052 | 151055.341 | 301188.785 | 59.9307 | 38.1
42346 | 2021-03-03 15:16 | 53.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.5645 | μmol/L | 35.2593 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.066 | 151127.3342 | 301198.7024 | 59.9307 | 38.1
42356 | 2021-03-03 15:17 | 53.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.5326 | μmol/L | 35.2409 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.076 | 151196.9419 | 301182.4405 | 59.9307 | 38.1
42366 | 2021-03-03 15:17 | 53.667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.6833 | μmol/L | 35.2102 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.075 | 151219.5057 | 301189.1785 | 59.9307 | 38.1
42376 | 2021-03-03 15:17 | 54.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.4484 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.105 | 151433.6762 | 301187.255 | 59.9307 | 38.1
42386 | 2021-03-03 15:18 | 54.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.3563 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.113 | 151465.1379 | 301172.7088 | 59.9307 | 38.1
42396 | 2021-03-03 15:18 | 54.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 134.1122 | μmol/L | 35.2041 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.127 | 151579.7514 | 301189.2849 | 59.9307 | 38.1
42406 | 2021-03-03 15:18 | 55.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.6248 | μmol/L | 35.1673 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.184 | 151984.2824 | 301178.2902 | 59.9307 | 38.1
42416 | 2021-03-03 15:19 | 55.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.7102 | μmol/L | 35.1304 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.191 | 152044.468 | 301167.4705 | 59.9307 | 38.1
42426 | 2021-03-03 15:19 | 55.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.7398 | μmol/L | 35.1366 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.186 | 152002.79 | 301180.5409 | 59.9307 | 38.1
42436 | 2021-03-03 15:19 | 56.0005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.7075 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.184 | 151992.5514 | 301178.8738 | 59.9307 | 38.1
42446 | 2021-03-03 15:20 | 56.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.4676 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.205 | 152128.6818 | 301194.1505 | 59.9307 | 38.1
42456 | 2021-03-03 15:20 | 56.6671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.2167 | μmol/L | 35.1488 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.227 | 152320.5159 | 301184.9876 | 59.9307 | 38.1
42466 | 2021-03-03 15:20 | 57.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.2656 | μmol/L | 35.0998 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.242 | 152421.9761 | 301185.1915 | 59.9307 | 38.1
42476 | 2021-03-03 15:21 | 57.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 133.0534 | μmol/L | 35.1243 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.251 | 152500.7421 | 301181.089 | 59.9307 | 38.1
42486 | 2021-03-03 15:21 | 57.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.9952 | μmol/L | 35.0813 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.273 | 152654.3671 | 301181.1119 | 59.9307 | 38.1
42496 | 2021-03-03 15:21 | 58.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.9698 | μmol/L | 35.0998 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.268 | 152628.4121 | 301176.7613 | 59.9307 | 38.1
42506 | 2021-03-03 15:22 | 58.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.8148 | μmol/L | 35.1243 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.272 | 152650.9266 | 301182.086 | 59.9307 | 38.1
42516 | 2021-03-03 15:22 | 58.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.6901 | μmol/L | 35.1243 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.283 | 152706.1271 | 301183.4498 | 59.9307 | 38.1
42526 | 2021-03-03 15:22 | 58.9999 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.6268 | μmol/L | 35.1182 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.291 | 152791.9532 | 301187.7898 | 59.9307 | 38.1
42536 | 2021-03-03 15:23 | 59.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.9611 | μmol/L | 35.0813 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.276 | 152695.1951 | 301196.2685 | 59.9307 | 38.1
42546 | 2021-03-03 15:23 | 59.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.7174 | μmol/L | 35.1182 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.283 | 152696.5385 | 301197.1359 | 59.9307 | 38.1
42556 | 2021-03-03 15:23 | 60.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.8516 | μmol/L | 35.1059 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.276 | 152683.361 | 301186.0344 | 59.9307 | 38.1
42566 | 2021-03-03 15:24 | 60.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.9885 | μmol/L | 35.0752 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.276 | 152682.7358 | 301179.024 | 59.9307 | 38.1
42576 | 2021-03-03 15:24 | 60.6666 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.7515 | μmol/L | 35.1182 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.28 | 152726.8789 | 301185.2363 | 59.9307 | 38.1
42586 | 2021-03-03 15:24 | 61.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.6202 | μmol/L | 35.112 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.294 | 152798.0456 | 301186.2867 | 59.9307 | 38.1
42596 | 2021-03-03 15:25 | 61.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.5655 | μmol/L | 35.1243 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.294 | 152792.8363 | 301159.8648 | 59.9307 | 38.1
42606 | 2021-03-03 15:25 | 61.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.6342 | μmol/L | 35.0936 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.3 | 152859.4936 | 301174.3383 | 59.9307 | 38.1
42616 | 2021-03-03 15:25 | 62.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 132.3713 | μmol/L | 35.112 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.316 | 152943.8056 | 301178.3662 | 59.9307 | 38.1
42626 | 2021-03-03 15:26 | 62.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.9014 | μmol/L | 35.1366 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.348 | 153179.0342 | 301185.1989 | 59.9307 | 38.1
42636 | 2021-03-03 15:26 | 62.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.7027 | μmol/L | 35.1611 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.356 | 153272.7641 | 301194.4457 | 59.9307 | 38.1
42646 | 2021-03-03 15:26 | 63.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.5054 | μmol/L | 35.155 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.376 | 153409.9689 | 301191.9302 | 59.9307 | 38.1
42656 | 2021-03-03 15:27 | 63.3337 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.4016 | μmol/L | 35.1734 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.378 | 153413.0618 | 301180.7218 | 59.9307 | 38.1
42666 | 2021-03-03 15:27 | 63.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.3249 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.38 | 153427.843 | 301174.5921 | 59.9307 | 38.1
42676 | 2021-03-03 15:27 | 64.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 131.2801 | μmol/L | 35.1857 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.384 | 153455.8016 | 301165.5578 | 59.9307 | 38.1
42686 | 2021-03-03 15:28 | 64.3341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.9881 | μmol/L | 35.2163 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.398 | 153543.6086 | 301183.4812 | 59.9307 | 38.1
42696 | 2021-03-03 15:28 | 64.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.8782 | μmol/L | 35.2286 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.403 | 153586.4624 | 301185.0232 | 59.9307 | 38.1
42706 | 2021-03-03 15:28 | 65 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.8559 | μmol/L | 35.2286 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.405 | 153592.8283 | 301177.7138 | 59.9307 | 38.1
42716 | 2021-03-03 15:29 | 65.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.9803 | μmol/L | 35.2409 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.389 | 153507.9301 | 301180.6073 | 59.9307 | 38.1
42726 | 2021-03-03 15:29 | 65.6673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.8018 | μmol/L | 35.2838 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.388 | 153519.9419 | 301172.5593 | 59.9307 | 38.1
42736 | 2021-03-03 15:29 | 66.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.6967 | μmol/L | 35.29 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.395 | 153566.4208 | 301166.5674 | 59.9307 | 38.1
42746 | 2021-03-03 15:30 | 66.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.5869 | μmol/L | 35.3023 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.4 | 153641.4195 | 301169.5235 | 59.9307 | 38.1
42756 | 2021-03-03 15:30 | 66.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.5885 | μmol/L | 35.3145 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.395 | 153596.0765 | 301163.3874 | 59.9307 | 38.1
42766 | 2021-03-03 15:30 | 67.0001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.7269 | μmol/L | 35.3084 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.385 | 153511.7845 | 301162.4296 | 59.9307 | 38.1
42776 | 2021-03-03 15:31 | 67.3338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.7508 | μmol/L | 35.3207 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.378 | 153469.0383 | 301165.5974 | 59.9307 | 38.1
42786 | 2021-03-03 15:31 | 67.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.6138 | μmol/L | 35.3391 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.383 | 153511.8083 | 301150.9952 | 59.9307 | 38.1
42796 | 2021-03-03 15:31 | 68.0006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.6393 | μmol/L | 35.3207 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.388 | 153555.4719 | 301164.2257 | 59.9307 | 38.1
42806 | 2021-03-03 15:32 | 68.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.5358 | μmol/L | 35.3391 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.39 | 153618.5848 | 301172.6471 | 59.9307 | 38.1
42816 | 2021-03-03 15:32 | 68.6668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.3753 | μmol/L | 35.3452 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.402 | 153705.8443 | 301152.8202 | 59.9307 | 38.1
42826 | 2021-03-03 15:32 | 69.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.3227 | μmol/L | 35.3698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.397 | 153721.2183 | 301147.4311 | 59.9307 | 38.1
42836 | 2021-03-03 15:33 | 69.3333 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.3005 | μmol/L | 35.3698 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.399 | 153731.7584 | 301142.1115 | 59.9307 | 38.1
42846 | 2021-03-03 15:33 | 69.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.186 | μmol/L | 35.3882 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.402 | 153710.2639 | 301157.3106 | 59.9307 | 38.1
42856 | 2021-03-03 15:33 | 70.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.1943 | μmol/L | 35.3636 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.411 | 153812.1516 | 301154.6301 | 59.9307 | 38.1
42866 | 2021-03-03 15:34 | 70.3334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.9913 | μmol/L | 35.382 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.422 | 153900.2127 | 301154.0035 | 59.9307 | 38.1
42876 | 2021-03-03 15:34 | 70.6672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.866 | μmol/L | 35.4004 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.426 | 153924.5833 | 301155.8982 | 59.9307 | 38.1
42886 | 2021-03-03 15:34 | 71.0003 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 130.0148 | μmol/L | 35.3943 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.415 | 153841.5874 | 301150.2657 | 59.9307 | 38.1
42896 | 2021-03-03 15:35 | 71.334 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.7961 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.425 | 153832.7966 | 301153.7273 | 59.9307 | 38.1
42906 | 2021-03-03 15:35 | 71.6667 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.9511 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.411 | 153841.3098 | 301152.6305 | 59.9307 | 38.1
42916 | 2021-03-03 15:35 | 72.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.6683 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.439 | 153984.5434 | 301152.3401 | 59.9307 | 38.1
42926 | 2021-03-03 15:36 | 72.3335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.3951 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.454 | 154120.8889 | 301153.1102 | 59.9307 | 38.1
42936 | 2021-03-03 15:36 | 72.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.2335 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.476 | 154241.0157 | 301151.445 | 59.9307 | 38.1
42946 | 2021-03-03 15:36 | 73.0002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 129.1345 | μmol/L | 35.4189 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.485 | 154338.7192 | 301164.0453 | 59.9307 | 38.1
42956 | 2021-03-03 15:37 | 73.3339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.9161 | μmol/L | 35.4311 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.5 | 154452.5502 | 301157.33 | 59.9307 | 38.1
42966 | 2021-03-03 15:37 | 73.6669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.9246 | μmol/L | 35.4066 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.509 | 154503.6687 | 301145.8757 | 59.9307 | 38.1
42976 | 2021-03-03 15:37 | 74.0007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.9416 | μmol/L | 35.4127 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.505 | 154576.2851 | 301163.4819 | 59.9307 | 38.1
42986 | 2021-03-03 15:38 | 74.3336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.6701 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.52 | 154645.0407 | 301168.4148 | 59.9307 | 38.1
42996 | 2021-03-03 15:38 | 74.6674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.5935 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.527 | 154751.781 | 301162.6741 | 59.9307 | 38.1
43006 | 2021-03-03 15:38 | 75 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 128.5169 | μmol/L | 35.4373 | °C | 993 | hPa | Humid | 28 | 1 | 0 | 23.534 | 154797.0621 | 301165.2971 | 59.9307 | 38.1