## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40759 | 2021-03-03 14:23 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9183 | μmol/L | 34.7727 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.298 | 116002.9479 | 216754.3017 | 27.3 | 43.4
40768 | 2021-03-03 14:24 | 0.34162 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.9937 | μmol/L | 34.7359 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.307 | 116040.0604 | 216766.3739 | 27.3 | 43.4
40778 | 2021-03-03 14:24 | 0.67523 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 167.2349 | μmol/L | 34.6929 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.307 | 116030.6559 | 216775.1988 | 27.3 | 43.4
40788 | 2021-03-03 14:24 | 1.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.3859 | μmol/L | 34.8157 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.318 | 116060.4001 | 216764.3683 | 27.3 | 43.4
40798 | 2021-03-03 14:25 | 1.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.8793 | μmol/L | 34.6991 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.329 | 116120.1389 | 216767.1502 | 27.3 | 43.4
40808 | 2021-03-03 14:25 | 1.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.719 | μmol/L | 34.6991 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.34 | 116140.2032 | 216755.1572 | 27.3 | 43.4
40818 | 2021-03-03 14:25 | 2.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.1694 | μmol/L | 34.7973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.34 | 116174.1371 | 216756.3517 | 27.3 | 43.4
40828 | 2021-03-03 14:26 | 2.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.9677 | μmol/L | 34.7789 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.361 | 116251.7513 | 216751.5652 | 27.3 | 43.4
40838 | 2021-03-03 14:26 | 2.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.8321 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.368 | 116277.8669 | 216750.9772 | 27.3 | 43.4
40848 | 2021-03-03 14:26 | 3.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.0271 | μmol/L | 34.7604 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.364 | 116275.1054 | 216752.03 | 27.3 | 43.4
40858 | 2021-03-03 14:27 | 3.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.5414 | μmol/L | 34.8034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.381 | 116369.1793 | 216745.5596 | 27.3 | 43.4
40868 | 2021-03-03 14:27 | 3.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6127 | μmol/L | 34.7543 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.395 | 116414.9609 | 216742.8572 | 27.3 | 43.4
40878 | 2021-03-03 14:27 | 4.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 166.2781 | μmol/L | 34.6193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.401 | 116479.0678 | 216732.0933 | 27.3 | 43.4
40888 | 2021-03-03 14:28 | 4.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.0133 | μmol/L | 34.7973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.42 | 116578.034 | 216736.7109 | 27.3 | 43.4
40898 | 2021-03-03 14:28 | 4.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2338 | μmol/L | 34.742 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.426 | 116610.5827 | 216739.6508 | 27.3 | 43.4
40908 | 2021-03-03 14:28 | 5.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6797 | μmol/L | 34.6254 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.44 | 116680.2214 | 216746.8128 | 27.3 | 43.4
40918 | 2021-03-03 14:29 | 5.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.6283 | μmol/L | 34.6008 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.453 | 116743.586 | 216740.8494 | 27.3 | 43.4
40928 | 2021-03-03 14:29 | 5.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.4657 | μmol/L | 34.7666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.47 | 116813.0922 | 216734.1535 | 27.3 | 43.4
40938 | 2021-03-03 14:29 | 6.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 165.2249 | μmol/L | 34.6008 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.481 | 116897.2573 | 216742.6114 | 27.3 | 43.4
40948 | 2021-03-03 14:30 | 6.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3612 | μmol/L | 34.7052 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.501 | 116994.3954 | 216736.5159 | 27.3 | 43.4
40958 | 2021-03-03 14:30 | 6.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.6925 | μmol/L | 34.6193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.511 | 117063.7159 | 216738.7476 | 27.3 | 43.4
40968 | 2021-03-03 14:30 | 7.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.2198 | μmol/L | 34.6868 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.518 | 117097.4807 | 216733.0124 | 27.3 | 43.4
40978 | 2021-03-03 14:31 | 7.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3514 | μmol/L | 34.65 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.523 | 117130.7076 | 216738.9801 | 27.3 | 43.4
40988 | 2021-03-03 14:31 | 7.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.4557 | μmol/L | 34.5947 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.537 | 117208.3948 | 216729.7602 | 27.3 | 43.4
40998 | 2021-03-03 14:31 | 8.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.7725 | μmol/L | 34.6929 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.547 | 117262.3374 | 216737.1135 | 27.3 | 43.4
41008 | 2021-03-03 14:32 | 8.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 164.3206 | μmol/L | 34.5517 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.563 | 117345.1548 | 216734.5859 | 27.3 | 43.4
41018 | 2021-03-03 14:32 | 8.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.977 | μmol/L | 34.5702 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.58 | 117446.1895 | 216732.5238 | 27.3 | 43.4
41028 | 2021-03-03 14:32 | 9.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.8437 | μmol/L | 34.5763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.587 | 117488.3477 | 216741.8675 | 27.3 | 43.4
41038 | 2021-03-03 14:33 | 9.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.5034 | μmol/L | 34.6254 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.592 | 117520.3841 | 216741.2008 | 27.3 | 43.4
41048 | 2021-03-03 14:33 | 9.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.2376 | μmol/L | 34.6377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.606 | 117594.7179 | 216743.468 | 27.3 | 43.4
41058 | 2021-03-03 14:33 | 10.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.4847 | μmol/L | 34.564 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.617 | 117634.4487 | 216740.6732 | 27.3 | 43.4
41068 | 2021-03-03 14:34 | 10.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 163.1468 | μmol/L | 34.5947 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.629 | 117713.475 | 216739.6288 | 27.3 | 43.4
41078 | 2021-03-03 14:34 | 10.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6562 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.64 | 117800.9028 | 216737.3737 | 27.3 | 43.4
41088 | 2021-03-03 14:34 | 11.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.783 | μmol/L | 34.607 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.65 | 117856.2807 | 216731.7185 | 27.3 | 43.4
41098 | 2021-03-03 14:35 | 11.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6681 | μmol/L | 34.5763 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.67 | 117955.0721 | 216725.0314 | 27.3 | 43.4
41108 | 2021-03-03 14:35 | 11.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.6185 | μmol/L | 34.5517 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.683 | 118040.5577 | 216735.0055 | 27.3 | 43.4
41118 | 2021-03-03 14:35 | 12.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.4109 | μmol/L | 34.564 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.693 | 118110.0411 | 216739.5445 | 27.3 | 43.4
41128 | 2021-03-03 14:36 | 12.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.1703 | μmol/L | 34.5824 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.703 | 118135.3959 | 216726.5234 | 27.3 | 43.4
41138 | 2021-03-03 14:36 | 12.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6024 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.715 | 118219.7111 | 216729.1785 | 27.3 | 43.4
41148 | 2021-03-03 14:36 | 13.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3945 | μmol/L | 34.6377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.737 | 118362.8222 | 216731.4527 | 27.3 | 43.4
41158 | 2021-03-03 14:37 | 13.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.809 | μmol/L | 34.5456 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.743 | 118404.5399 | 216734.7476 | 27.3 | 43.4
41168 | 2021-03-03 14:37 | 13.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 162.0728 | μmol/L | 34.4658 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.755 | 118473.2354 | 216736.4417 | 27.3 | 43.4
41178 | 2021-03-03 14:37 | 14.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7387 | μmol/L | 34.4965 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.767 | 118536.03 | 216738.0098 | 27.3 | 43.4
41188 | 2021-03-03 14:38 | 14.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7212 | μmol/L | 34.4842 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.773 | 118572.1014 | 216734.7788 | 27.3 | 43.4
41198 | 2021-03-03 14:38 | 14.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.3478 | μmol/L | 34.5456 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.776 | 118589.1858 | 216737.0737 | 27.3 | 43.4
41208 | 2021-03-03 14:38 | 15.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.7957 | μmol/L | 34.429 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.789 | 118641.4059 | 216734.953 | 27.3 | 43.4
41218 | 2021-03-03 14:39 | 15.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.1317 | μmol/L | 34.5211 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.801 | 118741.2877 | 216718.9811 | 27.3 | 43.4
41228 | 2021-03-03 14:39 | 15.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.6603 | μmol/L | 34.3737 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.82 | 118868.8109 | 216729.9167 | 27.3 | 43.4
41238 | 2021-03-03 14:39 | 16.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.7824 | μmol/L | 34.4904 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.838 | 118988.1038 | 216746.4237 | 27.3 | 43.4
41248 | 2021-03-03 14:40 | 16.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.0149 | μmol/L | 34.429 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.845 | 119011.7433 | 216723.5913 | 27.3 | 43.4
41258 | 2021-03-03 14:40 | 16.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2398 | μmol/L | 34.343 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.862 | 119143.5764 | 216735.9582 | 27.3 | 43.4
41268 | 2021-03-03 14:40 | 17.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.6453 | μmol/L | 34.4228 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.874 | 119202.3626 | 216734.3257 | 27.3 | 43.4
41278 | 2021-03-03 14:41 | 17.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 161.2895 | μmol/L | 34.3001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.875 | 119204.3588 | 216720.5714 | 27.3 | 43.4
41288 | 2021-03-03 14:41 | 17.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.4531 | μmol/L | 34.4535 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.876 | 119232.3775 | 216730.9858 | 27.3 | 43.4
41298 | 2021-03-03 14:41 | 18.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.9012 | μmol/L | 34.3492 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.884 | 119236.3748 | 216736.8612 | 27.3 | 43.4
41308 | 2021-03-03 14:42 | 18.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.1075 | μmol/L | 34.4535 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.901 | 119332.6664 | 216731.0127 | 27.3 | 43.4
41318 | 2021-03-03 14:42 | 18.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8764 | μmol/L | 34.4658 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.913 | 119397.0256 | 216732.5724 | 27.3 | 43.4
41328 | 2021-03-03 14:42 | 19.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.7662 | μmol/L | 34.4658 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.921 | 119444.8738 | 216739.0527 | 27.3 | 43.4
41338 | 2021-03-03 14:43 | 19.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 160.3009 | μmol/L | 34.4044 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.906 | 119360.2936 | 216729.018 | 27.3 | 43.4
41348 | 2021-03-03 14:43 | 19.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.9559 | μmol/L | 34.4044 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.931 | 119526.9377 | 216743.9375 | 27.3 | 43.4
41358 | 2021-03-03 14:43 | 20.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.529 | μmol/L | 34.4535 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.943 | 119586.3327 | 216737.4222 | 27.3 | 43.4
41368 | 2021-03-03 14:44 | 20.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8456 | μmol/L | 34.4044 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.939 | 119567.6437 | 216739.0928 | 27.3 | 43.4
41378 | 2021-03-03 14:44 | 20.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.8163 | μmol/L | 34.4228 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.934 | 119543.6279 | 216728.212 | 27.3 | 43.4
41388 | 2021-03-03 14:44 | 21.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.6252 | μmol/L | 34.4535 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.936 | 119545.2584 | 216737.5506 | 27.3 | 43.4
41398 | 2021-03-03 14:45 | 21.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 159.5962 | μmol/L | 34.4228 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.95 | 119637.9312 | 216722.7125 | 27.3 | 43.4
41408 | 2021-03-03 14:45 | 21.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.5779 | μmol/L | 34.5886 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.96 | 119693.3794 | 216722.0207 | 27.3 | 43.4
41418 | 2021-03-03 14:45 | 22.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.6422 | μmol/L | 34.5456 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.972 | 119748.2852 | 216735.0023 | 27.3 | 43.4
41428 | 2021-03-03 14:46 | 22.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.5717 | μmol/L | 34.564 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.97 | 119723.4362 | 216719.8713 | 27.3 | 43.4
41438 | 2021-03-03 14:46 | 22.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.6905 | μmol/L | 34.5211 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.978 | 119794.3876 | 216723.3184 | 27.3 | 43.4
41448 | 2021-03-03 14:46 | 23.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.218 | μmol/L | 34.5947 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.984 | 119845.0864 | 216720.7804 | 27.3 | 43.4
41458 | 2021-03-03 14:47 | 23.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.995 | μmol/L | 34.6008 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.998 | 119885.3993 | 216720.8024 | 27.3 | 43.4
41468 | 2021-03-03 14:47 | 23.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 158.1582 | μmol/L | 34.6008 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.986 | 119830.9408 | 216721.6935 | 27.3 | 43.4
41478 | 2021-03-03 14:47 | 24.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.5859 | μmol/L | 34.65 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.009 | 119952.6108 | 216720.0072 | 27.3 | 43.4
41488 | 2021-03-03 14:48 | 24.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.1803 | μmol/L | 34.7113 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.015 | 120021.1009 | 216728.4795 | 27.3 | 43.4
41498 | 2021-03-03 14:48 | 24.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.4668 | μmol/L | 34.6622 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.013 | 119998.8643 | 216720.1535 | 27.3 | 43.4
41508 | 2021-03-03 14:48 | 25.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0262 | μmol/L | 34.7175 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.024 | 120065.2052 | 216712.639 | 27.3 | 43.4
41518 | 2021-03-03 14:49 | 25.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.8589 | μmol/L | 34.7543 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.022 | 120055.5886 | 216728.1742 | 27.3 | 43.4
41528 | 2021-03-03 14:49 | 25.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 157.0641 | μmol/L | 34.7359 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.014 | 120036.014 | 216729.0924 | 27.3 | 43.4
41538 | 2021-03-03 14:49 | 26.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7508 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.018 | 120035.8268 | 216718.0882 | 27.3 | 43.4
41548 | 2021-03-03 14:50 | 26.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.7428 | μmol/L | 34.7789 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.021 | 120054.0364 | 216724.9785 | 27.3 | 43.4
41558 | 2021-03-03 14:50 | 26.6748 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.4463 | μmol/L | 34.8096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.031 | 120112.1728 | 216719.8963 | 27.3 | 43.4
41568 | 2021-03-03 14:50 | 27.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.2069 | μmol/L | 34.8218 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.044 | 120196.5579 | 216726.3384 | 27.3 | 43.4
41578 | 2021-03-03 14:51 | 27.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.0617 | μmol/L | 34.8341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.05 | 120247.7621 | 216719.8647 | 27.3 | 43.4
41588 | 2021-03-03 14:51 | 27.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.016 | μmol/L | 34.8403 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.051 | 120261.6253 | 216725.394 | 27.3 | 43.4
41598 | 2021-03-03 14:51 | 28.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 156.1133 | μmol/L | 34.7911 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.063 | 120328.5698 | 216709.5878 | 27.3 | 43.4
41608 | 2021-03-03 14:52 | 28.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.8453 | μmol/L | 34.7911 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.083 | 120432.192 | 216718.6918 | 27.3 | 43.4
41618 | 2021-03-03 14:52 | 28.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.4 | μmol/L | 34.8709 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.085 | 120475.6835 | 216717.8261 | 27.3 | 43.4
41628 | 2021-03-03 14:52 | 29.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.2077 | μmol/L | 34.8771 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.097 | 120529.3463 | 216722.8997 | 27.3 | 43.4
41638 | 2021-03-03 14:53 | 29.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1466 | μmol/L | 34.8709 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.104 | 120571.077 | 216722.9079 | 27.3 | 43.4
41648 | 2021-03-03 14:53 | 29.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 155.1498 | μmol/L | 34.8525 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.111 | 120614.2986 | 216708.3726 | 27.3 | 43.4
41658 | 2021-03-03 14:53 | 30.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.5764 | μmol/L | 34.9139 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.13 | 120728.2769 | 216704.4053 | 27.3 | 43.4
41668 | 2021-03-03 14:54 | 30.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.4041 | μmol/L | 34.9139 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.143 | 120805.9806 | 216718.7509 | 27.3 | 43.4
41678 | 2021-03-03 14:54 | 30.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 154.0324 | μmol/L | 34.9446 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.159 | 120913.6762 | 216726.6933 | 27.3 | 43.4
41688 | 2021-03-03 14:54 | 31.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.8685 | μmol/L | 34.9508 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.169 | 120978.1411 | 216720.0221 | 27.3 | 43.4
41698 | 2021-03-03 14:55 | 31.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.5093 | μmol/L | 34.9692 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.189 | 121072.1831 | 216715.0829 | 27.3 | 43.4
41708 | 2021-03-03 14:55 | 31.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.616 | μmol/L | 34.9385 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.193 | 121108.3027 | 216718.5693 | 27.3 | 43.4
41718 | 2021-03-03 14:55 | 32.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6722 | μmol/L | 34.9201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.196 | 121120.7301 | 216711.9182 | 27.3 | 43.4
41728 | 2021-03-03 14:56 | 32.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6417 | μmol/L | 34.8955 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.208 | 121179.7464 | 216721.0622 | 27.3 | 43.4
41738 | 2021-03-03 14:56 | 32.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6999 | μmol/L | 34.8894 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.206 | 121203.87 | 216714.0505 | 27.3 | 43.4
41748 | 2021-03-03 14:56 | 33.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6846 | μmol/L | 34.8771 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.212 | 121238.7111 | 216720.8685 | 27.3 | 43.4
41758 | 2021-03-03 14:57 | 33.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.6441 | μmol/L | 34.8341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.232 | 121329.6905 | 216724.8554 | 27.3 | 43.4
41768 | 2021-03-03 14:57 | 33.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.8942 | μmol/L | 34.9385 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.248 | 121440.8898 | 216711.8481 | 27.3 | 43.4
41778 | 2021-03-03 14:57 | 34.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6439 | μmol/L | 34.9262 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.272 | 121573.7267 | 216710.4917 | 27.3 | 43.4
41788 | 2021-03-03 14:58 | 34.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.2044 | μmol/L | 34.7973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.28 | 121621.8697 | 216714.788 | 27.3 | 43.4
41798 | 2021-03-03 14:58 | 34.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.3885 | μmol/L | 34.9201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.294 | 121693.2953 | 216705.4964 | 27.3 | 43.4
41808 | 2021-03-03 14:58 | 35.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.104 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.307 | 121753.1172 | 216710.1014 | 27.3 | 43.4
41818 | 2021-03-03 14:59 | 35.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9122 | μmol/L | 34.7727 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.312 | 121802.8298 | 216698.202 | 27.3 | 43.4
41828 | 2021-03-03 14:59 | 35.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.9525 | μmol/L | 34.742 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.321 | 121874.4991 | 216699.8284 | 27.3 | 43.4
41838 | 2021-03-03 14:59 | 36.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.2507 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.332 | 121911.7744 | 216717.8287 | 27.3 | 43.4
41848 | 2021-03-03 15:00 | 36.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.4097 | μmol/L | 34.8096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.336 | 121931.0428 | 216704.7116 | 27.3 | 43.4
41858 | 2021-03-03 15:00 | 36.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6077 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.345 | 121986.5879 | 216703.5397 | 27.3 | 43.4
41868 | 2021-03-03 15:00 | 37.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6871 | μmol/L | 34.7175 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.351 | 122038.4685 | 216709.6731 | 27.3 | 43.4
41878 | 2021-03-03 15:01 | 37.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 153.3311 | μmol/L | 34.564 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.362 | 122094.6384 | 216708.3656 | 27.3 | 43.4
41888 | 2021-03-03 15:01 | 37.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.6967 | μmol/L | 34.6622 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.372 | 122143.3892 | 216709.4641 | 27.3 | 43.4
41898 | 2021-03-03 15:01 | 38.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.4255 | μmol/L | 34.6745 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.388 | 122227.9759 | 216705.6091 | 27.3 | 43.4
41908 | 2021-03-03 15:02 | 38.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 152.1904 | μmol/L | 34.7052 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.394 | 122268.262 | 216713.1115 | 27.3 | 43.4
41918 | 2021-03-03 15:02 | 38.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.9753 | μmol/L | 34.6991 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.413 | 122383.4237 | 216720.8544 | 27.3 | 43.4
41928 | 2021-03-03 15:02 | 39.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.7852 | μmol/L | 34.7236 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.418 | 122412.286 | 216715.3341 | 27.3 | 43.4
41938 | 2021-03-03 15:03 | 39.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.3871 | μmol/L | 34.7789 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.427 | 122464.1314 | 216716.1941 | 27.3 | 43.4
41948 | 2021-03-03 15:03 | 39.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.2304 | μmol/L | 34.7666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.444 | 122531.4137 | 216696.7541 | 27.3 | 43.4
41958 | 2021-03-03 15:03 | 40.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.87 | μmol/L | 34.7666 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.472 | 122670.0697 | 216711.1171 | 27.3 | 43.4
41968 | 2021-03-03 15:04 | 40.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1249 | μmol/L | 34.7113 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.474 | 122732.1555 | 216702.9707 | 27.3 | 43.4
41978 | 2021-03-03 15:04 | 40.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1927 | μmol/L | 34.6929 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.476 | 122741.5064 | 216703.8384 | 27.3 | 43.4
41988 | 2021-03-03 15:04 | 41.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.8221 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.483 | 122772.0568 | 216701.5166 | 27.3 | 43.4
41998 | 2021-03-03 15:05 | 41.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.5107 | μmol/L | 34.8096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.483 | 122777.4046 | 216707.6766 | 27.3 | 43.4
42008 | 2021-03-03 15:05 | 41.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 151.1737 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.492 | 122817.0354 | 216712.501 | 27.3 | 43.4
42018 | 2021-03-03 15:05 | 42.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.3918 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.502 | 122857.2447 | 216715.909 | 27.3 | 43.4
42028 | 2021-03-03 15:06 | 42.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.443 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.498 | 122855.1009 | 216721.289 | 27.3 | 43.4
42038 | 2021-03-03 15:06 | 42.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.9023 | μmol/L | 34.6868 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.501 | 122894.4085 | 216707.565 | 27.3 | 43.4
42048 | 2021-03-03 15:06 | 43.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.2364 | μmol/L | 34.7727 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.519 | 122985.2105 | 216724.5618 | 27.3 | 43.4
42058 | 2021-03-03 15:07 | 43.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 150.4368 | μmol/L | 34.6622 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.547 | 123121.2186 | 216711.4005 | 27.3 | 43.4
42068 | 2021-03-03 15:07 | 43.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6769 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.558 | 123209.3133 | 216714.4545 | 27.3 | 43.4
42078 | 2021-03-03 15:07 | 44.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6334 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.576 | 123301.1966 | 216725.015 | 27.3 | 43.4
42088 | 2021-03-03 15:08 | 44.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.3865 | μmol/L | 34.7543 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.593 | 123391.3488 | 216712.8371 | 27.3 | 43.4
42098 | 2021-03-03 15:08 | 44.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.6298 | μmol/L | 34.6806 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.603 | 123450.6272 | 216710.9736 | 27.3 | 43.4
42108 | 2021-03-03 15:08 | 45.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.365 | μmol/L | 34.6929 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.619 | 123557.516 | 216713.3545 | 27.3 | 43.4
42118 | 2021-03-03 15:09 | 45.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.1604 | μmol/L | 34.6806 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.64 | 123653.3965 | 216718.0051 | 27.3 | 43.4
42128 | 2021-03-03 15:09 | 45.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.9203 | μmol/L | 34.5088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.648 | 123728.4297 | 216706.3285 | 27.3 | 43.4
42138 | 2021-03-03 15:09 | 46.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.9598 | μmol/L | 34.65 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.668 | 123812.4682 | 216724.7918 | 27.3 | 43.4
42148 | 2021-03-03 15:10 | 46.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 149.2411 | μmol/L | 34.5456 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.687 | 123940.6931 | 216717.4364 | 27.3 | 43.4
42158 | 2021-03-03 15:10 | 46.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.7379 | μmol/L | 34.6008 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.705 | 124056.644 | 216724.8091 | 27.3 | 43.4
42168 | 2021-03-03 15:10 | 47.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.317 | μmol/L | 34.65 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.719 | 124113.6057 | 216711.831 | 27.3 | 43.4
42178 | 2021-03-03 15:11 | 47.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.5003 | μmol/L | 34.5702 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.736 | 124226.747 | 216718.5445 | 27.3 | 43.4
42188 | 2021-03-03 15:11 | 47.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.0661 | μmol/L | 34.607 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.756 | 124356.0153 | 216712.9745 | 27.3 | 43.4
42198 | 2021-03-03 15:11 | 48.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.247 | μmol/L | 34.5149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.778 | 124451.9617 | 216714.7176 | 27.3 | 43.4
42208 | 2021-03-03 15:12 | 48.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 148.1557 | μmol/L | 34.5333 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.778 | 124487.6325 | 216721.6888 | 27.3 | 43.4
42218 | 2021-03-03 15:12 | 48.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.9623 | μmol/L | 34.5395 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.791 | 124537.6483 | 216717.4796 | 27.3 | 43.4
42228 | 2021-03-03 15:12 | 49.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.7871 | μmol/L | 34.5824 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.788 | 124528.5376 | 216719.1488 | 27.3 | 43.4
42238 | 2021-03-03 15:13 | 49.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.7693 | μmol/L | 34.5456 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.804 | 124625.3374 | 216709.2523 | 27.3 | 43.4
42248 | 2021-03-03 15:13 | 49.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2986 | μmol/L | 34.5702 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.832 | 124781.7864 | 216703.7295 | 27.3 | 43.4
42258 | 2021-03-03 15:13 | 50.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.1317 | μmol/L | 34.5333 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.86 | 124997.2574 | 216701.379 | 27.3 | 43.4
42268 | 2021-03-03 15:14 | 50.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.6612 | μmol/L | 34.5886 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.876 | 125116.6397 | 216718.0997 | 27.3 | 43.4
42278 | 2021-03-03 15:14 | 50.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.0626 | μmol/L | 34.4842 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.885 | 125162.3427 | 216710.2314 | 27.3 | 43.4
42288 | 2021-03-03 15:14 | 51.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.807 | μmol/L | 34.343 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.881 | 125135.5505 | 216716.0626 | 27.3 | 43.4
42298 | 2021-03-03 15:15 | 51.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6045 | μmol/L | 34.4044 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.873 | 125084.0104 | 216713.6788 | 27.3 | 43.4
42308 | 2021-03-03 15:15 | 51.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6972 | μmol/L | 34.3983 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.868 | 125077.8201 | 216702.6224 | 27.3 | 43.4
42318 | 2021-03-03 15:15 | 52.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.6362 | μmol/L | 34.3676 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.885 | 125178.1263 | 216706.8869 | 27.3 | 43.4
42328 | 2021-03-03 15:16 | 52.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2524 | μmol/L | 34.4228 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.894 | 125251.9587 | 216717.133 | 27.3 | 43.4
42338 | 2021-03-03 15:16 | 52.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.2201 | μmol/L | 34.3737 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.916 | 125381.1561 | 216715.512 | 27.3 | 43.4
42348 | 2021-03-03 15:16 | 53.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 147.1594 | μmol/L | 34.343 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.933 | 125468.4737 | 216694.3822 | 27.3 | 43.4
42358 | 2021-03-03 15:17 | 53.3415 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.6075 | μmol/L | 34.4228 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.946 | 125529.398 | 216702.9933 | 27.3 | 43.4
42368 | 2021-03-03 15:17 | 53.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.6781 | μmol/L | 34.3983 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.95 | 125570.9268 | 216699.1307 | 27.3 | 43.4
42378 | 2021-03-03 15:17 | 54.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4749 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.981 | 125774.4929 | 216696.999 | 27.3 | 43.4
42388 | 2021-03-03 15:18 | 54.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3935 | μmol/L | 34.3124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.007 | 125897.4354 | 216704.0181 | 27.3 | 43.4
42398 | 2021-03-03 15:18 | 54.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.3655 | μmol/L | 34.3308 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.002 | 125899.2963 | 216690.1849 | 27.3 | 43.4
42408 | 2021-03-03 15:18 | 55.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.7903 | μmol/L | 34.4413 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.005 | 125920.5745 | 216699.3675 | 27.3 | 43.4
42418 | 2021-03-03 15:19 | 55.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.7182 | μmol/L | 34.4535 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.006 | 125916.6705 | 216708.1935 | 27.3 | 43.4
42428 | 2021-03-03 15:19 | 55.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4589 | μmol/L | 34.3369 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.992 | 125856.9173 | 216699.4959 | 27.3 | 43.4
42438 | 2021-03-03 15:19 | 56.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.4502 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.983 | 125814.7809 | 216708.1328 | 27.3 | 43.4
42448 | 2021-03-03 15:20 | 56.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.7194 | μmol/L | 34.2633 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23 | 125889.3223 | 216700.9459 | 27.3 | 43.4
42458 | 2021-03-03 15:20 | 56.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.7311 | μmol/L | 34.2203 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.016 | 125972.4812 | 216697.3836 | 27.3 | 43.4
42468 | 2021-03-03 15:20 | 57.0089 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.9011 | μmol/L | 34.3983 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.013 | 125951.4208 | 216697.9057 | 27.3 | 43.4
42478 | 2021-03-03 15:21 | 57.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.5939 | μmol/L | 34.251 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.015 | 125969.4598 | 216693.4733 | 27.3 | 43.4
42488 | 2021-03-03 15:21 | 57.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0523 | μmol/L | 34.3799 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.008 | 125951.8234 | 216710.1281 | 27.3 | 43.4
42498 | 2021-03-03 15:21 | 58.0084 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8994 | μmol/L | 34.343 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.035 | 126098.0655 | 216703.8994 | 27.3 | 43.4
42508 | 2021-03-03 15:22 | 58.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.2594 | μmol/L | 34.2817 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.03 | 126085.9461 | 216693.2078 | 27.3 | 43.4
42518 | 2021-03-03 15:22 | 58.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.8345 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.033 | 126087.871 | 216692.4181 | 27.3 | 43.4
42528 | 2021-03-03 15:22 | 59.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.745 | μmol/L | 34.3799 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.033 | 126092.8389 | 216701.8798 | 27.3 | 43.4
42538 | 2021-03-03 15:23 | 59.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6872 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.045 | 126126.4817 | 216687.6536 | 27.3 | 43.4
42548 | 2021-03-03 15:23 | 59.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.2201 | μmol/L | 34.2264 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.055 | 126193.9385 | 216686.1501 | 27.3 | 43.4
42558 | 2021-03-03 15:23 | 60.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 146.0167 | μmol/L | 34.2633 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.057 | 126186.8024 | 216695.4661 | 27.3 | 43.4
42568 | 2021-03-03 15:24 | 60.3418 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.5453 | μmol/L | 34.3553 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.059 | 126239.6766 | 216692.4823 | 27.3 | 43.4
42578 | 2021-03-03 15:24 | 60.6755 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.6662 | μmol/L | 34.343 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.054 | 126179.1011 | 216698.8393 | 27.3 | 43.4
42588 | 2021-03-03 15:24 | 61.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.1286 | μmol/L | 34.4413 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.059 | 126191.5701 | 216691.5483 | 27.3 | 43.4
42598 | 2021-03-03 15:25 | 61.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.3319 | μmol/L | 34.3615 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.074 | 126265.755 | 216703.5668 | 27.3 | 43.4
42608 | 2021-03-03 15:25 | 61.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 145.04 | μmol/L | 34.4167 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.076 | 126285.9152 | 216693.2295 | 27.3 | 43.4
42618 | 2021-03-03 15:25 | 62.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.9906 | μmol/L | 34.4597 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.063 | 126234.5357 | 216704.0991 | 27.3 | 43.4
42628 | 2021-03-03 15:26 | 62.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.6105 | μmol/L | 34.4904 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.082 | 126336.3011 | 216701.0226 | 27.3 | 43.4
42638 | 2021-03-03 15:26 | 62.6749 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.867 | μmol/L | 34.4474 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.078 | 126274.7692 | 216697.1684 | 27.3 | 43.4
42648 | 2021-03-03 15:26 | 63.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.2287 | μmol/L | 34.5517 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.089 | 126336.4858 | 216699.3677 | 27.3 | 43.4
42658 | 2021-03-03 15:27 | 63.3417 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.3824 | μmol/L | 34.5149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.091 | 126348.4511 | 216690.1985 | 27.3 | 43.4
42668 | 2021-03-03 15:27 | 63.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.2663 | μmol/L | 34.5088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.103 | 126437.7761 | 216696.5092 | 27.3 | 43.4
42678 | 2021-03-03 15:27 | 64.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.7899 | μmol/L | 34.5824 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.113 | 126486.6121 | 216697.2174 | 27.3 | 43.4
42688 | 2021-03-03 15:28 | 64.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 144.0979 | μmol/L | 34.5211 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.112 | 126457.3996 | 216706.032 | 27.3 | 43.4
42698 | 2021-03-03 15:28 | 64.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.7454 | μmol/L | 34.6193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.102 | 126427.9253 | 216706.1836 | 27.3 | 43.4
42708 | 2021-03-03 15:28 | 65.0087 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.5333 | μmol/L | 34.6131 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.122 | 126543.8644 | 216695.8804 | 27.3 | 43.4
42718 | 2021-03-03 15:29 | 65.3421 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.4006 | μmol/L | 34.6131 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.133 | 126590.035 | 216697.5851 | 27.3 | 43.4
42728 | 2021-03-03 15:29 | 65.6751 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.2783 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.126 | 126568.015 | 216698.868 | 27.3 | 43.4
42738 | 2021-03-03 15:29 | 66.009 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 143.1718 | μmol/L | 34.6131 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.152 | 126711.5296 | 216703.8193 | 27.3 | 43.4
42748 | 2021-03-03 15:30 | 66.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 142.7276 | μmol/L | 34.6806 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.162 | 126797.1513 | 216695.2676 | 27.3 | 43.4
42758 | 2021-03-03 15:30 | 66.675 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 142.6535 | μmol/L | 34.6561 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.178 | 126891.6452 | 216687.3018 | 27.3 | 43.4
42768 | 2021-03-03 15:30 | 67.0085 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 141.9371 | μmol/L | 34.7359 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.206 | 127038.8566 | 216701.5423 | 27.3 | 43.4
42778 | 2021-03-03 15:31 | 67.3423 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 141.593 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.23 | 127198.2213 | 216701.5569 | 27.3 | 43.4
42788 | 2021-03-03 15:31 | 67.6754 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 141.3674 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.249 | 127322.4217 | 216698.4616 | 27.3 | 43.4
42798 | 2021-03-03 15:31 | 68.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 141.1148 | μmol/L | 34.7789 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.258 | 127358.9199 | 216704.9936 | 27.3 | 43.4
42808 | 2021-03-03 15:32 | 68.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 141.095 | μmol/L | 34.7482 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.272 | 127448.3814 | 216693.6312 | 27.3 | 43.4
42818 | 2021-03-03 15:32 | 68.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 140.6368 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.296 | 127544.5978 | 216695.5621 | 27.3 | 43.4
42828 | 2021-03-03 15:32 | 69.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 140.5252 | μmol/L | 34.7911 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.303 | 127632.0752 | 216689.0196 | 27.3 | 43.4
42838 | 2021-03-03 15:33 | 69.3419 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 140.2319 | μmol/L | 34.8034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.323 | 127726.6397 | 216696.0872 | 27.3 | 43.4
42848 | 2021-03-03 15:33 | 69.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 140.2028 | μmol/L | 34.8096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.323 | 127732.3021 | 216687.4441 | 27.3 | 43.4
42858 | 2021-03-03 15:33 | 70.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 140.2084 | μmol/L | 34.8034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.325 | 127753.8727 | 216690.034 | 27.3 | 43.4
42868 | 2021-03-03 15:34 | 70.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 139.7291 | μmol/L | 34.828 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.356 | 127911.3946 | 216684.8923 | 27.3 | 43.4
42878 | 2021-03-03 15:34 | 70.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 139.6342 | μmol/L | 34.8034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.374 | 128046.8291 | 216687.5427 | 27.3 | 43.4
42888 | 2021-03-03 15:34 | 71.0083 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 139.4756 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.395 | 128177.8441 | 216688.646 | 27.3 | 43.4
42898 | 2021-03-03 15:35 | 71.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.9191 | μmol/L | 34.8341 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.423 | 128329.8281 | 216694.0569 | 27.3 | 43.4
42908 | 2021-03-03 15:35 | 71.6756 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 139.0918 | μmol/L | 34.7973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.423 | 128361.2249 | 216698.1162 | 27.3 | 43.4
42918 | 2021-03-03 15:35 | 72.0086 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.9982 | μmol/L | 34.785 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.436 | 128411.9354 | 216690.1504 | 27.3 | 43.4
42928 | 2021-03-03 15:36 | 72.3422 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 139.0807 | μmol/L | 34.8096 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.419 | 128341.9041 | 216690.4151 | 27.3 | 43.4
42938 | 2021-03-03 15:36 | 72.6752 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.97 | μmol/L | 34.8034 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.431 | 128398.2273 | 216694.9391 | 27.3 | 43.4
42948 | 2021-03-03 15:36 | 73.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.9174 | μmol/L | 34.7973 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.438 | 128441.9068 | 216695.4821 | 27.3 | 43.4
42958 | 2021-03-03 15:37 | 73.342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.7389 | μmol/L | 34.828 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.441 | 128456.9138 | 216685.3354 | 27.3 | 43.4
42968 | 2021-03-03 15:37 | 73.6757 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.3508 | μmol/L | 34.8218 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.477 | 128605.8665 | 216687.2191 | 27.3 | 43.4
42978 | 2021-03-03 15:37 | 74.0088 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.9089 | μmol/L | 34.742 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.461 | 128563.9723 | 216688.4308 | 27.3 | 43.4
42988 | 2021-03-03 15:38 | 74.3416 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.7239 | μmol/L | 34.7543 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.472 | 128620.3951 | 216681.6833 | 27.3 | 43.4
42998 | 2021-03-03 15:38 | 74.6753 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.499 | μmol/L | 34.7727 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.484 | 128694.4878 | 216691.8573 | 27.3 | 43.4
43008 | 2021-03-03 15:38 | 75.0082 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 138.5661 | μmol/L | 34.7236 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.498 | 128795.3733 | 216684.6976 | 27.3 | 43.4