## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40760 | 2021-03-03 14:24 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7983 | μmol/L | 35.066 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.252 | 113125.2644 | 298648.2775 | 28.7 | 67.6
40770 | 2021-03-03 14:24 | 0.33232 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0231 | μmol/L | 35.0538 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.239 | 113107.2954 | 298664.4285 | 28.7 | 67.6
40780 | 2021-03-03 14:24 | 0.66583 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0822 | μmol/L | 35.0599 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.232 | 113049.1638 | 298675.4671 | 28.7 | 67.6
40790 | 2021-03-03 14:25 | 0.99944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2109 | μmol/L | 35.0232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.236 | 113077.6978 | 298678.2524 | 28.7 | 67.6
40800 | 2021-03-03 14:25 | 1.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4236 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.224 | 113024.8759 | 298677.8482 | 28.7 | 67.6
40810 | 2021-03-03 14:25 | 1.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.6155 | μmol/L | 34.9927 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.216 | 112967.1613 | 298677.7859 | 28.7 | 67.6
40820 | 2021-03-03 14:26 | 1.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.4408 | μmol/L | 35.0049 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.225 | 113013.602 | 298685.3062 | 28.7 | 67.6
40830 | 2021-03-03 14:26 | 2.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.1645 | μmol/L | 35.0171 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.242 | 113072.6115 | 298680.2999 | 28.7 | 67.6
40840 | 2021-03-03 14:26 | 2.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.9447 | μmol/L | 35.0049 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.264 | 113220.9702 | 298685.2677 | 28.7 | 67.6
40850 | 2021-03-03 14:27 | 2.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.4156 | μmol/L | 35.0355 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.294 | 113392.2371 | 298681.4083 | 28.7 | 67.6
40860 | 2021-03-03 14:27 | 3.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.813 | μmol/L | 35.066 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.33 | 113610.9772 | 298696.6135 | 28.7 | 67.6
40870 | 2021-03-03 14:27 | 3.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.7098 | μmol/L | 35.0355 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.35 | 113705.1415 | 298686.7256 | 28.7 | 67.6
40880 | 2021-03-03 14:28 | 3.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6398 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.365 | 113805.5521 | 298684.7721 | 28.7 | 67.6
40890 | 2021-03-03 14:28 | 4.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.2628 | μmol/L | 35.0294 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.388 | 113914.1588 | 298686.9282 | 28.7 | 67.6
40900 | 2021-03-03 14:28 | 4.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.3424 | μmol/L | 35.0232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.384 | 113850.3708 | 298691.1404 | 28.7 | 67.6
40910 | 2021-03-03 14:29 | 4.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.2712 | μmol/L | 35.1027 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.359 | 113746.9637 | 298694.9683 | 28.7 | 67.6
40920 | 2021-03-03 14:29 | 5.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6747 | μmol/L | 35.066 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.341 | 113626.3838 | 298687.5979 | 28.7 | 67.6
40930 | 2021-03-03 14:29 | 5.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.209 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.308 | 113439.0504 | 298692.3615 | 28.7 | 67.6
40940 | 2021-03-03 14:30 | 5.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3173 | μmol/L | 35.066 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.29 | 113312.9078 | 298703.2334 | 28.7 | 67.6
40950 | 2021-03-03 14:30 | 6.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7924 | μmol/L | 35.0049 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.276 | 113251.8177 | 298696.1023 | 28.7 | 67.6
40960 | 2021-03-03 14:30 | 6.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0425 | μmol/L | 34.9927 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.261 | 113171.8974 | 298679.5036 | 28.7 | 67.6
40970 | 2021-03-03 14:31 | 6.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.2039 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.253 | 113081.5472 | 298695.63 | 28.7 | 67.6
40980 | 2021-03-03 14:31 | 7.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.1442 | μmol/L | 34.9927 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.253 | 113071.2517 | 298701.5444 | 28.7 | 67.6
40990 | 2021-03-03 14:31 | 7.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.1181 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.248 | 113055.9542 | 298697.3862 | 28.7 | 67.6
41000 | 2021-03-03 14:32 | 7.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 146.0717 | μmol/L | 35.0049 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.254 | 113069.3363 | 298702.2669 | 28.7 | 67.6
41010 | 2021-03-03 14:32 | 8.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.8977 | μmol/L | 35.0171 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.263 | 113173.7767 | 298695.8851 | 28.7 | 67.6
41020 | 2021-03-03 14:32 | 8.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.5584 | μmol/L | 35.0477 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.278 | 113219.3707 | 298691.6532 | 28.7 | 67.6
41030 | 2021-03-03 14:33 | 8.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.814 | μmol/L | 34.9927 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.279 | 113225.6457 | 298686.5772 | 28.7 | 67.6
41040 | 2021-03-03 14:33 | 9.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3813 | μmol/L | 35.0477 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.292 | 113301.6598 | 298695.4344 | 28.7 | 67.6
41050 | 2021-03-03 14:33 | 9.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.7102 | μmol/L | 34.9438 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.306 | 113365.9302 | 298691.9115 | 28.7 | 67.6
41060 | 2021-03-03 14:34 | 9.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.6596 | μmol/L | 34.9438 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.31 | 113414.1993 | 298698.2664 | 28.7 | 67.6
41070 | 2021-03-03 14:34 | 10.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 145.3606 | μmol/L | 34.9377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.336 | 113557.2841 | 298692.0575 | 28.7 | 67.6
41080 | 2021-03-03 14:34 | 10.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.8255 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.362 | 113692.1499 | 298684.7029 | 28.7 | 67.6
41090 | 2021-03-03 14:35 | 10.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.4005 | μmol/L | 35.0294 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.377 | 113763.4305 | 298697.3231 | 28.7 | 67.6
41100 | 2021-03-03 14:35 | 11.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.7524 | μmol/L | 34.9254 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.389 | 113820.9474 | 298702.822 | 28.7 | 67.6
41110 | 2021-03-03 14:35 | 11.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5537 | μmol/L | 34.9743 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.386 | 113820.0841 | 298685.4002 | 28.7 | 67.6
41120 | 2021-03-03 14:36 | 11.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.8047 | μmol/L | 34.8704 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.406 | 113908.7102 | 298682.5331 | 28.7 | 67.6
41130 | 2021-03-03 14:36 | 12.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.7538 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.403 | 113913.9329 | 298685.3326 | 28.7 | 67.6
41140 | 2021-03-03 14:36 | 12.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.5051 | μmol/L | 34.9377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.404 | 113911.4449 | 298683.5299 | 28.7 | 67.6
41150 | 2021-03-03 14:37 | 12.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6615 | μmol/L | 34.8949 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.408 | 113922.0798 | 298693.9602 | 28.7 | 67.6
41160 | 2021-03-03 14:37 | 13.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9451 | μmol/L | 34.9682 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.437 | 114080.1265 | 298678.3672 | 28.7 | 67.6
41170 | 2021-03-03 14:37 | 13.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.4064 | μmol/L | 34.901 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.426 | 114004.5503 | 298679.0835 | 28.7 | 67.6
41180 | 2021-03-03 14:38 | 13.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.8178 | μmol/L | 34.8521 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.412 | 113913.9859 | 298670.5005 | 28.7 | 67.6
41190 | 2021-03-03 14:38 | 14.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.9654 | μmol/L | 34.8215 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.412 | 113882.4193 | 298669.15 | 28.7 | 67.6
41200 | 2021-03-03 14:38 | 14.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.6133 | μmol/L | 34.8399 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.433 | 113983.5461 | 298686.7236 | 28.7 | 67.6
41210 | 2021-03-03 14:39 | 14.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.8515 | μmol/L | 34.9254 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.461 | 114170.331 | 298689.2918 | 28.7 | 67.6
41220 | 2021-03-03 14:39 | 15.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 144.1759 | μmol/L | 34.8215 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.475 | 114218.2277 | 298687.3167 | 28.7 | 67.6
41230 | 2021-03-03 14:39 | 15.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.4444 | μmol/L | 34.9377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.489 | 114278.3819 | 298686.2629 | 28.7 | 67.6
41240 | 2021-03-03 14:40 | 15.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7272 | μmol/L | 34.8215 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.511 | 114419.6534 | 298672.8068 | 28.7 | 67.6
41250 | 2021-03-03 14:40 | 16.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.6744 | μmol/L | 34.791 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.527 | 114469.1289 | 298668.8878 | 28.7 | 67.6
41260 | 2021-03-03 14:40 | 16.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.4142 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.515 | 114401.6152 | 298688.388 | 28.7 | 67.6
41270 | 2021-03-03 14:41 | 16.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.5128 | μmol/L | 34.8949 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.5 | 114321.458 | 298671.6035 | 28.7 | 67.6
41280 | 2021-03-03 14:41 | 17.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9894 | μmol/L | 34.8032 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.497 | 114314.5852 | 298677.3646 | 28.7 | 67.6
41290 | 2021-03-03 14:41 | 17.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.5216 | μmol/L | 34.8827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.504 | 114327.0972 | 298683.7869 | 28.7 | 67.6
41300 | 2021-03-03 14:42 | 17.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.7265 | μmol/L | 34.8399 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.504 | 114328.1715 | 298678.6495 | 28.7 | 67.6
41310 | 2021-03-03 14:42 | 18.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9813 | μmol/L | 34.7971 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.5 | 114303.7738 | 298665.3817 | 28.7 | 67.6
41320 | 2021-03-03 14:42 | 18.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.9769 | μmol/L | 34.8032 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.498 | 114303.1477 | 298683.9309 | 28.7 | 67.6
41330 | 2021-03-03 14:43 | 18.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 143.4426 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.508 | 114339.378 | 298679.0618 | 28.7 | 67.6
41340 | 2021-03-03 14:43 | 19.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.7251 | μmol/L | 34.956 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.54 | 114526.1556 | 298690.8886 | 28.7 | 67.6
41350 | 2021-03-03 14:43 | 19.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4894 | μmol/L | 34.9071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.578 | 114750.8409 | 298699.1198 | 28.7 | 67.6
41360 | 2021-03-03 14:44 | 19.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.8981 | μmol/L | 34.7849 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.592 | 114818.1088 | 298683.1195 | 28.7 | 67.6
41370 | 2021-03-03 14:44 | 20.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 142.4553 | μmol/L | 34.8521 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.602 | 114880.3527 | 298693.7774 | 28.7 | 67.6
41380 | 2021-03-03 14:44 | 20.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.9217 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.636 | 115085.7776 | 298697.9997 | 28.7 | 67.6
41390 | 2021-03-03 14:45 | 20.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.3814 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.666 | 115267.1097 | 298703.6844 | 28.7 | 67.6
41400 | 2021-03-03 14:45 | 21.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 141.1376 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.686 | 115359.7208 | 298692.2731 | 28.7 | 67.6
41410 | 2021-03-03 14:45 | 21.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.8656 | μmol/L | 34.9193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.706 | 115489.4187 | 298694.7028 | 28.7 | 67.6
41420 | 2021-03-03 14:46 | 21.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.5635 | μmol/L | 34.901 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.738 | 115675.9473 | 298676.7134 | 28.7 | 67.6
41430 | 2021-03-03 14:46 | 22.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.6879 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.723 | 115608.398 | 298702.5368 | 28.7 | 67.6
41440 | 2021-03-03 14:46 | 22.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.8259 | μmol/L | 34.9071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.714 | 115571.6198 | 298698.5458 | 28.7 | 67.6
41450 | 2021-03-03 14:47 | 22.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.7243 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.72 | 115571.1592 | 298683.48 | 28.7 | 67.6
41460 | 2021-03-03 14:47 | 23.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.7255 | μmol/L | 34.8949 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.727 | 115628.0061 | 298685.4372 | 28.7 | 67.6
41470 | 2021-03-03 14:47 | 23.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 140.4379 | μmol/L | 34.9071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.746 | 115761.4622 | 298680.3117 | 28.7 | 67.6
41480 | 2021-03-03 14:48 | 23.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.8767 | μmol/L | 34.9316 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.783 | 115956.7708 | 298676.5264 | 28.7 | 67.6
41490 | 2021-03-03 14:48 | 24.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.5608 | μmol/L | 34.9193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.814 | 116151.8543 | 298689.3857 | 28.7 | 67.6
41500 | 2021-03-03 14:48 | 24.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.3134 | μmol/L | 34.9621 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.818 | 116193.1275 | 298673.7285 | 28.7 | 67.6
41510 | 2021-03-03 14:49 | 24.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.4138 | μmol/L | 34.956 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.812 | 116168.8032 | 298674.5935 | 28.7 | 67.6
41520 | 2021-03-03 14:49 | 25.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.672 | μmol/L | 34.9316 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.8 | 116116.0506 | 298681.4746 | 28.7 | 67.6
41530 | 2021-03-03 14:49 | 25.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.4454 | μmol/L | 34.9621 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.807 | 116172.126 | 298681.8747 | 28.7 | 67.6
41540 | 2021-03-03 14:50 | 25.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 139.0723 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.831 | 116322.3665 | 298683.1006 | 28.7 | 67.6
41550 | 2021-03-03 14:50 | 26.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.6229 | μmol/L | 34.9743 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.871 | 116544.3879 | 298676.9806 | 28.7 | 67.6
41560 | 2021-03-03 14:50 | 26.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.4294 | μmol/L | 34.9621 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.892 | 116682.5992 | 298675.8214 | 28.7 | 67.6
41570 | 2021-03-03 14:51 | 26.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.4233 | μmol/L | 34.9866 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.883 | 116643.0146 | 298669.9503 | 28.7 | 67.6
41580 | 2021-03-03 14:51 | 27.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.331 | μmol/L | 34.9988 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.886 | 116666.5329 | 298674.5242 | 28.7 | 67.6
41590 | 2021-03-03 14:51 | 27.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.5005 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.867 | 116584.9911 | 298660.66 | 28.7 | 67.6
41600 | 2021-03-03 14:52 | 27.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.597 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.847 | 116487.0475 | 298680.6675 | 28.7 | 67.6
41610 | 2021-03-03 14:52 | 28.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.5851 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.848 | 116480.2504 | 298664.8134 | 28.7 | 67.6
41620 | 2021-03-03 14:52 | 28.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3433 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.854 | 116527.9191 | 298669.6467 | 28.7 | 67.6
41630 | 2021-03-03 14:53 | 28.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.3342 | μmol/L | 35.0905 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.85 | 116538.1395 | 298681.7083 | 28.7 | 67.6
41640 | 2021-03-03 14:53 | 29.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.4386 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.846 | 116519.471 | 298685.0731 | 28.7 | 67.6
41650 | 2021-03-03 14:53 | 29.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.2372 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.851 | 116547.8734 | 298675.8908 | 28.7 | 67.6
41660 | 2021-03-03 14:54 | 29.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 138.0662 | μmol/L | 35.1149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.863 | 116623.7077 | 298676.2389 | 28.7 | 67.6
41670 | 2021-03-03 14:54 | 30.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.7487 | μmol/L | 35.1271 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.885 | 116741.5892 | 298685.3111 | 28.7 | 67.6
41680 | 2021-03-03 14:54 | 30.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.6967 | μmol/L | 35.1333 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.887 | 116783.7311 | 298663.4747 | 28.7 | 67.6
41690 | 2021-03-03 14:55 | 30.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.2457 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.918 | 116971.6661 | 298674.6505 | 28.7 | 67.6
41700 | 2021-03-03 14:55 | 31.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8757 | μmol/L | 35.1271 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.959 | 117206.8053 | 298677.7612 | 28.7 | 67.6
41710 | 2021-03-03 14:55 | 31.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8823 | μmol/L | 35.1027 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.968 | 117274.0461 | 298662.5479 | 28.7 | 67.6
41720 | 2021-03-03 14:56 | 31.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.4069 | μmol/L | 35.1577 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.987 | 117398.5454 | 298663.2323 | 28.7 | 67.6
41730 | 2021-03-03 14:56 | 32.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.1942 | μmol/L | 35.176 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.998 | 117458.101 | 298666.8953 | 28.7 | 67.6
41740 | 2021-03-03 14:56 | 32.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.5197 | μmol/L | 35.1944 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.963 | 117296.4736 | 298672.6106 | 28.7 | 67.6
41750 | 2021-03-03 14:57 | 32.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.6811 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.966 | 117277.861 | 298670.362 | 28.7 | 67.6
41760 | 2021-03-03 14:57 | 33.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.8572 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.951 | 117181.2582 | 298668.1084 | 28.7 | 67.6
41770 | 2021-03-03 14:57 | 33.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.194 | μmol/L | 35.1577 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.92 | 117052.4433 | 298664.4181 | 28.7 | 67.6
41780 | 2021-03-03 14:58 | 33.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.56 | μmol/L | 35.1577 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.889 | 116899.7709 | 298667.6595 | 28.7 | 67.6
41790 | 2021-03-03 14:58 | 34.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.3093 | μmol/L | 35.1455 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.915 | 117014.9249 | 298659.7553 | 28.7 | 67.6
41800 | 2021-03-03 14:58 | 34.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 137.0601 | μmol/L | 35.1944 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.917 | 117022.2068 | 298679.4895 | 28.7 | 67.6
41810 | 2021-03-03 14:59 | 34.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.7687 | μmol/L | 35.2372 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.925 | 117063.0305 | 298672.7537 | 28.7 | 67.6
41820 | 2021-03-03 14:59 | 35.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.466 | μmol/L | 35.2494 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.946 | 117205.1217 | 298683.714 | 28.7 | 67.6
41830 | 2021-03-03 14:59 | 35.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.0963 | μmol/L | 35.2433 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.98 | 117410.7187 | 298686.5331 | 28.7 | 67.6
41840 | 2021-03-03 15:00 | 35.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.0495 | μmol/L | 35.2127 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 22.996 | 117517.7551 | 298668.8154 | 28.7 | 67.6
41850 | 2021-03-03 15:00 | 36.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 136.3807 | μmol/L | 35.1149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.006 | 117558.7789 | 298672.1855 | 28.7 | 67.6
41860 | 2021-03-03 15:00 | 36.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.9676 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.027 | 117715.5953 | 298666.2462 | 28.7 | 67.6
41870 | 2021-03-03 15:01 | 36.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.7996 | μmol/L | 35.1271 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.051 | 117865.466 | 298665.3964 | 28.7 | 67.6
41880 | 2021-03-03 15:01 | 37.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 135.3907 | μmol/L | 35.1455 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.079 | 117990.5834 | 298659.0944 | 28.7 | 67.6
41890 | 2021-03-03 15:01 | 37.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.8768 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.121 | 118260.9128 | 298672.7037 | 28.7 | 67.6
41900 | 2021-03-03 15:02 | 37.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.6346 | μmol/L | 35.1516 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.142 | 118391.7197 | 298677.3968 | 28.7 | 67.6
41910 | 2021-03-03 15:02 | 38.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 134.3677 | μmol/L | 35.1394 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.17 | 118533.5026 | 298674.6552 | 28.7 | 67.6
41920 | 2021-03-03 15:02 | 38.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.9639 | μmol/L | 35.1271 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.21 | 118793.4824 | 298668.9551 | 28.7 | 67.6
41930 | 2021-03-03 15:03 | 38.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.081 | μmol/L | 35.1333 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.285 | 119221.1397 | 298677.2327 | 28.7 | 67.6
41940 | 2021-03-03 15:03 | 39.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.6819 | μmol/L | 35.121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.325 | 119426.2821 | 298675.2473 | 28.7 | 67.6
41950 | 2021-03-03 15:03 | 39.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7885 | μmol/L | 35.1149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.318 | 119396.1838 | 298666.1932 | 28.7 | 67.6
41960 | 2021-03-03 15:04 | 39.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0629 | μmol/L | 35.1271 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.289 | 119247.605 | 298681.9019 | 28.7 | 67.6
41970 | 2021-03-03 15:04 | 40.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2992 | μmol/L | 35.1455 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.261 | 119074.0765 | 298679.0308 | 28.7 | 67.6
41980 | 2021-03-03 15:04 | 40.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2743 | μmol/L | 35.1333 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.268 | 119113.0441 | 298673.0567 | 28.7 | 67.6
41990 | 2021-03-03 15:05 | 40.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.2721 | μmol/L | 35.121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.273 | 119109.0343 | 298665.7065 | 28.7 | 67.6
42000 | 2021-03-03 15:05 | 41.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.3724 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.269 | 119106.015 | 298687.9918 | 28.7 | 67.6
42010 | 2021-03-03 15:05 | 41.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.1129 | μmol/L | 35.121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.287 | 119222.0575 | 298680.4696 | 28.7 | 67.6
42020 | 2021-03-03 15:06 | 41.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0586 | μmol/L | 35.1027 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.299 | 119285.3184 | 298691.1733 | 28.7 | 67.6
42030 | 2021-03-03 15:06 | 42.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8308 | μmol/L | 35.1638 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.295 | 119274.8921 | 298680.3353 | 28.7 | 67.6
42040 | 2021-03-03 15:06 | 42.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8922 | μmol/L | 35.1577 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.292 | 119238.6358 | 298688.6008 | 28.7 | 67.6
42050 | 2021-03-03 15:07 | 42.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7355 | μmol/L | 35.1699 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.301 | 119266.199 | 298687.411 | 28.7 | 67.6
42060 | 2021-03-03 15:07 | 43.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.5205 | μmol/L | 35.1699 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.32 | 119373.2014 | 298686.8452 | 28.7 | 67.6
42070 | 2021-03-03 15:07 | 43.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.6575 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.344 | 119489.2349 | 298682.4313 | 28.7 | 67.6
42080 | 2021-03-03 15:08 | 43.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1266 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.379 | 119660.6769 | 298689.1768 | 28.7 | 67.6
42090 | 2021-03-03 15:08 | 44.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1383 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.39 | 119731.2389 | 298682.1689 | 28.7 | 67.6
42100 | 2021-03-03 15:08 | 44.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.4315 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.364 | 119578.9604 | 298682.4471 | 28.7 | 67.6
42110 | 2021-03-03 15:09 | 44.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7777 | μmol/L | 35.0538 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.343 | 119489.6273 | 298669.5154 | 28.7 | 67.6
42120 | 2021-03-03 15:09 | 45.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.1837 | μmol/L | 35.0477 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.398 | 119810.313 | 298666.8848 | 28.7 | 67.6
42130 | 2021-03-03 15:09 | 45.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.3895 | μmol/L | 35.0294 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.476 | 120253.3101 | 298660.7911 | 28.7 | 67.6
42140 | 2021-03-03 15:10 | 45.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.387 | μmol/L | 35.0477 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.469 | 120201.0005 | 298663.2376 | 28.7 | 67.6
42150 | 2021-03-03 15:10 | 46.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.537 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.458 | 120108.7908 | 298672.3285 | 28.7 | 67.6
42160 | 2021-03-03 15:10 | 46.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.6353 | μmol/L | 35.0599 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.442 | 119985.2968 | 298672.5824 | 28.7 | 67.6
42170 | 2021-03-03 15:11 | 46.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8505 | μmol/L | 35.0721 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.418 | 119856.0392 | 298670.8732 | 28.7 | 67.6
42180 | 2021-03-03 15:11 | 47.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.2334 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.396 | 119735.8973 | 298659.7529 | 28.7 | 67.6
42190 | 2021-03-03 15:11 | 47.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.6625 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.37 | 119573.75 | 298657.1705 | 28.7 | 67.6
42200 | 2021-03-03 15:12 | 47.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.8685 | μmol/L | 35.0232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.347 | 119441.0032 | 298659.0132 | 28.7 | 67.6
42210 | 2021-03-03 15:12 | 48.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.9069 | μmol/L | 35.0477 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.334 | 119358.233 | 298654.5313 | 28.7 | 67.6
42220 | 2021-03-03 15:12 | 48.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.3203 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.324 | 119299.4396 | 298666.4481 | 28.7 | 67.6
42230 | 2021-03-03 15:13 | 48.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.3044 | μmol/L | 34.9866 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.323 | 119279.6046 | 298670.1843 | 28.7 | 67.6
42240 | 2021-03-03 15:13 | 49.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.6254 | μmol/L | 34.9682 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.302 | 119157.0734 | 298651.7144 | 28.7 | 67.6
42250 | 2021-03-03 15:13 | 49.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.4023 | μmol/L | 34.9927 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.312 | 119197.1013 | 298664.7884 | 28.7 | 67.6
42260 | 2021-03-03 15:14 | 49.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0931 | μmol/L | 35.011 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.332 | 119294.7781 | 298660.0528 | 28.7 | 67.6
42270 | 2021-03-03 15:14 | 50.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.1022 | μmol/L | 34.9988 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.336 | 119299.0456 | 298655.7655 | 28.7 | 67.6
42280 | 2021-03-03 15:14 | 50.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.059 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.347 | 119382.874 | 298653.134 | 28.7 | 67.6
42290 | 2021-03-03 15:15 | 50.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.4333 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.35 | 119393.7726 | 298645.4723 | 28.7 | 67.6
42300 | 2021-03-03 15:15 | 51.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0906 | μmol/L | 34.9377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.361 | 119437.7202 | 298649.1288 | 28.7 | 67.6
42310 | 2021-03-03 15:15 | 51.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 133.0247 | μmol/L | 34.9193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.374 | 119514.3241 | 298661.4769 | 28.7 | 67.6
42320 | 2021-03-03 15:16 | 51.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.7574 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.4 | 119690.1962 | 298650.4028 | 28.7 | 67.6
42330 | 2021-03-03 15:16 | 52.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 132.2675 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.453 | 119961.3225 | 298657.1164 | 28.7 | 67.6
42340 | 2021-03-03 15:16 | 52.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.9011 | μmol/L | 34.8827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.488 | 120158.1695 | 298647.6735 | 28.7 | 67.6
42350 | 2021-03-03 15:17 | 52.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.5716 | μmol/L | 34.8582 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.527 | 120359.8423 | 298647.9605 | 28.7 | 67.6
42360 | 2021-03-03 15:17 | 53.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.7178 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.582 | 120680.4102 | 298644.9172 | 28.7 | 67.6
42370 | 2021-03-03 15:17 | 53.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2132 | μmol/L | 34.846 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.654 | 121077.9163 | 298663.0352 | 28.7 | 67.6
42380 | 2021-03-03 15:18 | 53.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.7415 | μmol/L | 34.8277 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.704 | 121345.0924 | 298658.7509 | 28.7 | 67.6
42390 | 2021-03-03 15:18 | 54.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.0807 | μmol/L | 34.846 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.666 | 121098.2972 | 298636.0856 | 28.7 | 67.6
42400 | 2021-03-03 15:18 | 54.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.8025 | μmol/L | 34.7971 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.62 | 120831.8255 | 298649.0256 | 28.7 | 67.6
42410 | 2021-03-03 15:19 | 54.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.7759 | μmol/L | 34.8032 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.62 | 120838.8867 | 298657.9016 | 28.7 | 67.6
42420 | 2021-03-03 15:19 | 55.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.7648 | μmol/L | 34.8338 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.609 | 120792.872 | 298644.2238 | 28.7 | 67.6
42430 | 2021-03-03 15:19 | 55.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.1561 | μmol/L | 34.7849 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.593 | 120653.2704 | 298636.7913 | 28.7 | 67.6
42440 | 2021-03-03 15:20 | 55.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.3991 | μmol/L | 34.7726 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.576 | 120543.8933 | 298638.9785 | 28.7 | 67.6
42450 | 2021-03-03 15:20 | 56.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.5198 | μmol/L | 34.791 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.558 | 120414.9862 | 298636.4812 | 28.7 | 67.6
42460 | 2021-03-03 15:20 | 56.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.786 | μmol/L | 34.7788 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.539 | 120298.505 | 298645.2848 | 28.7 | 67.6
42470 | 2021-03-03 15:21 | 56.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8825 | μmol/L | 34.7849 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.528 | 120241.8172 | 298656.3496 | 28.7 | 67.6
42480 | 2021-03-03 15:21 | 57.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.8043 | μmol/L | 34.8154 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.523 | 120264.4129 | 298665.0911 | 28.7 | 67.6
42490 | 2021-03-03 15:21 | 57.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.7504 | μmol/L | 34.7971 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.535 | 120302.8124 | 298661.7957 | 28.7 | 67.6
42500 | 2021-03-03 15:22 | 57.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 131.1139 | μmol/L | 34.8582 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.568 | 120476.603 | 298653.772 | 28.7 | 67.6
42510 | 2021-03-03 15:22 | 58.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2969 | μmol/L | 34.8827 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.632 | 120836.4695 | 298630.0082 | 28.7 | 67.6
42520 | 2021-03-03 15:22 | 58.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.8755 | μmol/L | 34.8704 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.675 | 121102.2286 | 298658.8712 | 28.7 | 67.6
42530 | 2021-03-03 15:23 | 58.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.5784 | μmol/L | 34.8704 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.702 | 121255.2916 | 298660.3657 | 28.7 | 67.6
42540 | 2021-03-03 15:23 | 59.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.4313 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.713 | 121290.9744 | 298651.6078 | 28.7 | 67.6
42550 | 2021-03-03 15:23 | 59.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.8579 | μmol/L | 34.8643 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.679 | 121120.8008 | 298646.3185 | 28.7 | 67.6
42560 | 2021-03-03 15:24 | 59.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.0432 | μmol/L | 34.8521 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.667 | 121061.045 | 298637.0285 | 28.7 | 67.6
42570 | 2021-03-03 15:24 | 60.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.0056 | μmol/L | 34.8582 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.668 | 121022.6117 | 298643.7447 | 28.7 | 67.6
42580 | 2021-03-03 15:24 | 60.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.1956 | μmol/L | 34.8399 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.658 | 120979.5522 | 298640.19 | 28.7 | 67.6
42590 | 2021-03-03 15:25 | 60.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.1159 | μmol/L | 34.8582 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.658 | 120971.0059 | 298632.8663 | 28.7 | 67.6
42600 | 2021-03-03 15:25 | 61.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2682 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.637 | 120868.8859 | 298655.0364 | 28.7 | 67.6
42610 | 2021-03-03 15:25 | 61.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.5782 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.609 | 120715.8919 | 298645.1828 | 28.7 | 67.6
42620 | 2021-03-03 15:26 | 61.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.7114 | μmol/L | 34.8765 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.597 | 120668.0769 | 298654.8793 | 28.7 | 67.6
42630 | 2021-03-03 15:26 | 62.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.7024 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.593 | 120620.9565 | 298635.8153 | 28.7 | 67.6
42640 | 2021-03-03 15:26 | 62.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.6469 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.598 | 120661.395 | 298644.8216 | 28.7 | 67.6
42650 | 2021-03-03 15:27 | 62.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.4253 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.618 | 120769.5165 | 298635.9293 | 28.7 | 67.6
42660 | 2021-03-03 15:27 | 63.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.4031 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.62 | 120809.6378 | 298616.0073 | 28.7 | 67.6
42670 | 2021-03-03 15:27 | 63.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.3786 | μmol/L | 34.9071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.615 | 120762.7324 | 298645.761 | 28.7 | 67.6
42680 | 2021-03-03 15:28 | 63.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.3343 | μmol/L | 34.9071 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.619 | 120796.1438 | 298640.8373 | 28.7 | 67.6
42690 | 2021-03-03 15:28 | 64.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2258 | μmol/L | 34.9193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.624 | 120808.4714 | 298628.1658 | 28.7 | 67.6
42700 | 2021-03-03 15:28 | 64.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.5693 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.605 | 120745.4614 | 298626.9622 | 28.7 | 67.6
42710 | 2021-03-03 15:29 | 64.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.2635 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.623 | 120824.7869 | 298628.2146 | 28.7 | 67.6
42720 | 2021-03-03 15:29 | 65.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 130.0536 | μmol/L | 34.9132 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.642 | 120958.9636 | 298636.7697 | 28.7 | 67.6
42730 | 2021-03-03 15:29 | 65.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.787 | μmol/L | 34.901 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.671 | 121145.1908 | 298625.3586 | 28.7 | 67.6
42740 | 2021-03-03 15:30 | 65.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.7629 | μmol/L | 34.8888 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.678 | 121181.2359 | 298627.3228 | 28.7 | 67.6
42750 | 2021-03-03 15:30 | 66.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.5426 | μmol/L | 34.9193 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.686 | 121233.1246 | 298614.0462 | 28.7 | 67.6
42760 | 2021-03-03 15:30 | 66.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.3141 | μmol/L | 34.9316 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.702 | 121316.6326 | 298627.723 | 28.7 | 67.6
42770 | 2021-03-03 15:31 | 66.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.2658 | μmol/L | 34.9377 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.704 | 121355.2583 | 298626.031 | 28.7 | 67.6
42780 | 2021-03-03 15:31 | 67.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.5116 | μmol/L | 34.9316 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.684 | 121270.3595 | 298638.8791 | 28.7 | 67.6
42790 | 2021-03-03 15:31 | 67.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.3045 | μmol/L | 34.9743 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.686 | 121281.0136 | 298645.0846 | 28.7 | 67.6
42800 | 2021-03-03 15:32 | 67.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 129.1465 | μmol/L | 34.9805 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.698 | 121352.7266 | 298633.3793 | 28.7 | 67.6
42810 | 2021-03-03 15:32 | 68.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 128.8987 | μmol/L | 35.0049 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.711 | 121434.1324 | 298630.9603 | 28.7 | 67.6
42820 | 2021-03-03 15:32 | 68.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 128.6231 | μmol/L | 35.0232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.729 | 121561.2186 | 298628.7987 | 28.7 | 67.6
42830 | 2021-03-03 15:33 | 68.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 128.4598 | μmol/L | 35.0232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.744 | 121657.5108 | 298624.9506 | 28.7 | 67.6
42840 | 2021-03-03 15:33 | 69.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 128.1418 | μmol/L | 35.0416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.766 | 121780.1297 | 298632.1005 | 28.7 | 67.6
42850 | 2021-03-03 15:33 | 69.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.9808 | μmol/L | 35.0538 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.776 | 121835.6077 | 298613.8142 | 28.7 | 67.6
42860 | 2021-03-03 15:34 | 69.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.8942 | μmol/L | 35.0538 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.784 | 121887.5516 | 298633.3268 | 28.7 | 67.6
42870 | 2021-03-03 15:34 | 70.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.7011 | μmol/L | 35.066 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.797 | 121960.2823 | 298627.4941 | 28.7 | 67.6
42880 | 2021-03-03 15:34 | 70.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.5839 | μmol/L | 35.0783 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.803 | 122012.7303 | 298628.4895 | 28.7 | 67.6
42890 | 2021-03-03 15:35 | 70.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.5145 | μmol/L | 35.0844 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.807 | 122052.2737 | 298633.2825 | 28.7 | 67.6
42900 | 2021-03-03 15:35 | 71.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.5901 | μmol/L | 35.0844 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.8 | 122037.1525 | 298619.1163 | 28.7 | 67.6
42910 | 2021-03-03 15:35 | 71.6653 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.6241 | μmol/L | 35.0966 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.792 | 121989.1461 | 298630.2775 | 28.7 | 67.6
42920 | 2021-03-03 15:36 | 71.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.6257 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.787 | 121955.714 | 298635.474 | 28.7 | 67.6
42930 | 2021-03-03 15:36 | 72.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.5177 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.797 | 122026.0761 | 298625.8537 | 28.7 | 67.6
42940 | 2021-03-03 15:36 | 72.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.487 | μmol/L | 35.121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.795 | 122035.787 | 298624.1038 | 28.7 | 67.6
42950 | 2021-03-03 15:37 | 72.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.3467 | μmol/L | 35.121 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.808 | 122102.8095 | 298621.8 | 28.7 | 67.6
42960 | 2021-03-03 15:37 | 73.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 127.1145 | μmol/L | 35.1149 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.832 | 122241.4498 | 298622.8037 | 28.7 | 67.6
42970 | 2021-03-03 15:37 | 73.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 126.7893 | μmol/L | 35.0905 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.872 | 122452.2883 | 298633.531 | 28.7 | 67.6
42980 | 2021-03-03 15:38 | 73.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 126.5338 | μmol/L | 35.1027 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.891 | 122599.507 | 298627.4286 | 28.7 | 67.6
42990 | 2021-03-03 15:38 | 74.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 126.2088 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.919 | 122758.4211 | 298626.1382 | 28.7 | 67.6
43000 | 2021-03-03 15:38 | 74.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 125.73 | μmol/L | 35.1088 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.964 | 123011.9158 | 298618.1434 | 28.7 | 67.6
43010 | 2021-03-03 15:39 | 74.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 125.3955 | μmol/L | 35.1027 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 23.998 | 123216.1407 | 298632.4616 | 28.7 | 67.6