## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-03-03 15:40

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
40761 | 2021-03-03 14:24 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.747 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.892 | 148226.1252 | 274477.9907 | 36.4 | 83.1
40771 | 2021-03-03 14:24 | 0.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.8974 | μmol/L | 35.1186 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.894 | 148414.3713 | 274468.5389 | 36.4 | 83.1
40781 | 2021-03-03 14:24 | 0.66256 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.8573 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.899 | 148349.7339 | 274461.5338 | 36.4 | 83.1
40791 | 2021-03-03 14:25 | 0.99544 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 173.4781 | μmol/L | 35.0016 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.901 | 148345.461 | 274471.5257 | 36.4 | 83.1
40801 | 2021-03-03 14:25 | 1.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.4005 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.91 | 148345.0524 | 274458.3527 | 36.4 | 83.1
40811 | 2021-03-03 14:25 | 1.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.3188 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.913 | 148375.9063 | 274452.2383 | 36.4 | 83.1
40821 | 2021-03-03 14:26 | 1.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.3967 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.915 | 148426.7145 | 274450.0856 | 36.4 | 83.1
40831 | 2021-03-03 14:26 | 2.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.0282 | μmol/L | 35.1863 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.925 | 148455.9208 | 274433.9044 | 36.4 | 83.1
40841 | 2021-03-03 14:26 | 2.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2181 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.922 | 148468.5112 | 274443.0575 | 36.4 | 83.1
40851 | 2021-03-03 14:27 | 2.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.2865 | μmol/L | 35.137 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.927 | 148508.7595 | 274434.2081 | 36.4 | 83.1
40861 | 2021-03-03 14:27 | 3.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9999 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.934 | 148548.7671 | 274414.8825 | 36.4 | 83.1
40871 | 2021-03-03 14:27 | 3.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1915 | μmol/L | 35.1247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.938 | 148649.5377 | 274422.6578 | 36.4 | 83.1
40881 | 2021-03-03 14:28 | 3.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.275 | μmol/L | 35.1001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.942 | 148634.1656 | 274414.4642 | 36.4 | 83.1
40891 | 2021-03-03 14:28 | 4.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.5177 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.945 | 148641.004 | 274416.6326 | 36.4 | 83.1
40901 | 2021-03-03 14:28 | 4.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1118 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.948 | 148671.0101 | 274411.1213 | 36.4 | 83.1
40911 | 2021-03-03 14:29 | 4.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8408 | μmol/L | 35.1432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.954 | 148763.8719 | 274416.347 | 36.4 | 83.1
40921 | 2021-03-03 14:29 | 5.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1345 | μmol/L | 35.0878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.956 | 148814.1962 | 274412.0303 | 36.4 | 83.1
40931 | 2021-03-03 14:29 | 5.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9412 | μmol/L | 35.1001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.964 | 148802.9916 | 274406.5731 | 36.4 | 83.1
40941 | 2021-03-03 14:30 | 5.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.015 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.971 | 148824.9378 | 274410.371 | 36.4 | 83.1
40951 | 2021-03-03 14:30 | 6.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7803 | μmol/L | 35.094 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.977 | 148820.01 | 274425.5009 | 36.4 | 83.1
40961 | 2021-03-03 14:30 | 6.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6252 | μmol/L | 35.1309 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.973 | 148801.056 | 274411.484 | 36.4 | 83.1
40971 | 2021-03-03 14:31 | 6.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8787 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.98 | 148849.2997 | 274422.4199 | 36.4 | 83.1
40981 | 2021-03-03 14:31 | 7.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9259 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.984 | 149003.5792 | 274414.4451 | 36.4 | 83.1
40991 | 2021-03-03 14:31 | 7.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6291 | μmol/L | 35.094 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.987 | 148994.8408 | 274423.0722 | 36.4 | 83.1
41001 | 2021-03-03 14:32 | 7.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6971 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.992 | 149051.3576 | 274408.6917 | 36.4 | 83.1
41011 | 2021-03-03 14:32 | 8.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7348 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 20.999 | 149108.3381 | 274410.4542 | 36.4 | 83.1
41021 | 2021-03-03 14:32 | 8.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4705 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.007 | 149246.3097 | 274413.088 | 36.4 | 83.1
41031 | 2021-03-03 14:33 | 8.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4969 | μmol/L | 35.057 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.01 | 149256.3888 | 274408.8585 | 36.4 | 83.1
41041 | 2021-03-03 14:33 | 9.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5082 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.014 | 149257.7254 | 274416.2242 | 36.4 | 83.1
41051 | 2021-03-03 14:33 | 9.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.412 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.018 | 149278.3164 | 274419.1161 | 36.4 | 83.1
41061 | 2021-03-03 14:34 | 9.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7361 | μmol/L | 34.977 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.025 | 149337.4476 | 274419.08 | 36.4 | 83.1
41071 | 2021-03-03 14:34 | 10.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6701 | μmol/L | 34.9832 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.027 | 149380.7829 | 274412.0025 | 36.4 | 83.1
41081 | 2021-03-03 14:34 | 10.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.9677 | μmol/L | 34.9216 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.031 | 149453.3843 | 274418.9117 | 36.4 | 83.1
41091 | 2021-03-03 14:35 | 10.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.8659 | μmol/L | 34.9339 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.033 | 149369.2183 | 274411.1381 | 36.4 | 83.1
41101 | 2021-03-03 14:35 | 11.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 172.1014 | μmol/L | 34.8909 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.034 | 149348.449 | 274411.5869 | 36.4 | 83.1
41111 | 2021-03-03 14:35 | 11.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7696 | μmol/L | 34.9401 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.037 | 149515.6159 | 274415.8622 | 36.4 | 83.1
41121 | 2021-03-03 14:36 | 11.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3779 | μmol/L | 34.9893 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.044 | 149516.9461 | 274409.0043 | 36.4 | 83.1
41131 | 2021-03-03 14:36 | 12.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2668 | μmol/L | 34.9955 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.049 | 149571.0885 | 274406.091 | 36.4 | 83.1
41141 | 2021-03-03 14:36 | 12.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3852 | μmol/L | 34.9647 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.053 | 149630.7425 | 274407.0574 | 36.4 | 83.1
41151 | 2021-03-03 14:37 | 12.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5353 | μmol/L | 34.9155 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.062 | 149630.6807 | 274411.9158 | 36.4 | 83.1
41161 | 2021-03-03 14:37 | 13.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2458 | μmol/L | 34.9524 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.067 | 149662.7012 | 274399.1147 | 36.4 | 83.1
41171 | 2021-03-03 14:37 | 13.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2101 | μmol/L | 34.9586 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.067 | 149595.7059 | 274396.5907 | 36.4 | 83.1
41181 | 2021-03-03 14:38 | 13.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2269 | μmol/L | 34.9401 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.073 | 149641.8321 | 274402.957 | 36.4 | 83.1
41191 | 2021-03-03 14:38 | 14.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6606 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.075 | 149797.0698 | 274407.9571 | 36.4 | 83.1
41201 | 2021-03-03 14:38 | 14.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.6264 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.082 | 149845.8247 | 274411.4685 | 36.4 | 83.1
41211 | 2021-03-03 14:39 | 14.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5098 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.085 | 149973.6377 | 274409.2528 | 36.4 | 83.1
41221 | 2021-03-03 14:39 | 15.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3125 | μmol/L | 34.8786 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.091 | 150060.03 | 274418.4144 | 36.4 | 83.1
41231 | 2021-03-03 14:39 | 15.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5058 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.09 | 150133.3678 | 274410.4682 | 36.4 | 83.1
41241 | 2021-03-03 14:40 | 15.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.2373 | μmol/L | 34.8786 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.096 | 150222.5227 | 274418.0549 | 36.4 | 83.1
41251 | 2021-03-03 14:40 | 16.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3743 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.094 | 150148.6312 | 274418.9527 | 36.4 | 83.1
41261 | 2021-03-03 14:40 | 16.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.7307 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.094 | 150218.0145 | 274404.7748 | 36.4 | 83.1
41271 | 2021-03-03 14:41 | 16.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4827 | μmol/L | 34.8232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.101 | 150274.384 | 274403.7579 | 36.4 | 83.1
41281 | 2021-03-03 14:41 | 17.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.3868 | μmol/L | 34.8293 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.105 | 150339.7897 | 274404.0678 | 36.4 | 83.1
41291 | 2021-03-03 14:41 | 17.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.4896 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.11 | 150358.5811 | 274393.2013 | 36.4 | 83.1
41301 | 2021-03-03 14:42 | 17.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.276 | μmol/L | 34.8355 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.11 | 150411.8027 | 274391.0264 | 36.4 | 83.1
41311 | 2021-03-03 14:42 | 18.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.48 | μmol/L | 34.7924 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.113 | 150489.0503 | 274392.1485 | 36.4 | 83.1
41321 | 2021-03-03 14:42 | 18.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.5306 | μmol/L | 34.7862 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.112 | 150520.7229 | 274393.4718 | 36.4 | 83.1
41331 | 2021-03-03 14:43 | 18.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1818 | μmol/L | 34.8232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.121 | 150649.4562 | 274409.1022 | 36.4 | 83.1
41341 | 2021-03-03 14:43 | 19.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8824 | μmol/L | 34.8724 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.122 | 150704.2788 | 274411.7508 | 36.4 | 83.1
41351 | 2021-03-03 14:43 | 19.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8619 | μmol/L | 34.8786 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.121 | 150749.6316 | 274398.4345 | 36.4 | 83.1
41361 | 2021-03-03 14:44 | 19.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8485 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.129 | 150753.2491 | 274396.8909 | 36.4 | 83.1
41371 | 2021-03-03 14:44 | 20.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.873 | μmol/L | 34.8662 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.125 | 150720.5456 | 274391.7796 | 36.4 | 83.1
41381 | 2021-03-03 14:44 | 20.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.1533 | μmol/L | 34.8047 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.13 | 150797.8732 | 274384.26 | 36.4 | 83.1
41391 | 2021-03-03 14:45 | 20.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.8856 | μmol/L | 34.8355 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.136 | 150846.0537 | 274394.0886 | 36.4 | 83.1
41401 | 2021-03-03 14:45 | 21.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 171.0687 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.138 | 150858.971 | 274398.1717 | 36.4 | 83.1
41411 | 2021-03-03 14:45 | 21.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7026 | μmol/L | 34.8724 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.134 | 150759.8828 | 274390.6892 | 36.4 | 83.1
41421 | 2021-03-03 14:46 | 21.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.243 | μmol/L | 34.9339 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.141 | 150809.4217 | 274386.7611 | 36.4 | 83.1
41431 | 2021-03-03 14:46 | 22.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.5456 | μmol/L | 34.897 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.135 | 150789.2493 | 274372.7122 | 36.4 | 83.1
41441 | 2021-03-03 14:46 | 22.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.7547 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.14 | 150781.9039 | 274397.9257 | 36.4 | 83.1
41451 | 2021-03-03 14:47 | 22.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1889 | μmol/L | 34.9278 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.147 | 150805.109 | 274411.4183 | 36.4 | 83.1
41461 | 2021-03-03 14:47 | 23.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.2188 | μmol/L | 34.9278 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.145 | 150774.2152 | 274396.8357 | 36.4 | 83.1
41471 | 2021-03-03 14:47 | 23.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0434 | μmol/L | 34.9401 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.152 | 150788.48 | 274395.5536 | 36.4 | 83.1
41481 | 2021-03-03 14:48 | 23.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.1404 | μmol/L | 34.9155 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.155 | 150816.3663 | 274392.4882 | 36.4 | 83.1
41491 | 2021-03-03 14:48 | 24.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.8011 | μmol/L | 34.977 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.154 | 150717.1839 | 274388.4132 | 36.4 | 83.1
41501 | 2021-03-03 14:48 | 24.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 170.0695 | μmol/L | 34.9278 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.155 | 150779.7525 | 274385.4592 | 36.4 | 83.1
41511 | 2021-03-03 14:49 | 24.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.5943 | μmol/L | 35.0078 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.156 | 150764.0909 | 274384.7913 | 36.4 | 83.1
41521 | 2021-03-03 14:49 | 25.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.4378 | μmol/L | 35.0324 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.157 | 150774.0525 | 274387.9028 | 36.4 | 83.1
41531 | 2021-03-03 14:49 | 25.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.4435 | μmol/L | 35.0263 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.159 | 150740.9596 | 274404.5613 | 36.4 | 83.1
41541 | 2021-03-03 14:50 | 25.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.4343 | μmol/L | 35.0201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.162 | 150711.7061 | 274393.3971 | 36.4 | 83.1
41551 | 2021-03-03 14:50 | 26.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.3055 | μmol/L | 35.0632 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.154 | 150645.4739 | 274385.8344 | 36.4 | 83.1
41561 | 2021-03-03 14:50 | 26.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.1684 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.168 | 150697.7005 | 274393.425 | 36.4 | 83.1
41571 | 2021-03-03 14:51 | 26.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 169.0533 | μmol/L | 35.0632 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.171 | 150672.4495 | 274380.9887 | 36.4 | 83.1
41581 | 2021-03-03 14:51 | 27.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.888 | μmol/L | 35.0816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.175 | 150648.9517 | 274382.799 | 36.4 | 83.1
41591 | 2021-03-03 14:51 | 27.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.7525 | μmol/L | 35.1001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.177 | 150630.3221 | 274395.953 | 36.4 | 83.1
41601 | 2021-03-03 14:52 | 27.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.6227 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.181 | 150626.2275 | 274390.1832 | 36.4 | 83.1
41611 | 2021-03-03 14:52 | 28.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.5784 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.184 | 150613.4377 | 274380.9018 | 36.4 | 83.1
41621 | 2021-03-03 14:52 | 28.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2782 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.19 | 150617.9773 | 274388.8108 | 36.4 | 83.1
41631 | 2021-03-03 14:53 | 28.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2962 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.184 | 150549.4191 | 274397.1828 | 36.4 | 83.1
41641 | 2021-03-03 14:53 | 29.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.0782 | μmol/L | 35.174 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.194 | 150611.2496 | 274397.8775 | 36.4 | 83.1
41651 | 2021-03-03 14:53 | 29.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.1135 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.194 | 150592.2197 | 274390.6912 | 36.4 | 83.1
41661 | 2021-03-03 14:54 | 29.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.2192 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.194 | 150596.1417 | 274382.4658 | 36.4 | 83.1
41671 | 2021-03-03 14:54 | 30.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 168.0104 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.201 | 150623.4594 | 274384.8098 | 36.4 | 83.1
41681 | 2021-03-03 14:54 | 30.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.6993 | μmol/L | 35.2171 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.203 | 150622.7977 | 274393.5686 | 36.4 | 83.1
41691 | 2021-03-03 14:55 | 30.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8428 | μmol/L | 35.174 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.21 | 150700.4555 | 274375.1628 | 36.4 | 83.1
41701 | 2021-03-03 14:55 | 31.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8517 | μmol/L | 35.1801 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.207 | 150637.9622 | 274383.8767 | 36.4 | 83.1
41711 | 2021-03-03 14:55 | 31.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5965 | μmol/L | 35.2171 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.21 | 150698.4016 | 274378.3881 | 36.4 | 83.1
41721 | 2021-03-03 14:56 | 31.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5115 | μmol/L | 35.2294 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.211 | 150691.08 | 274389.2437 | 36.4 | 83.1
41731 | 2021-03-03 14:56 | 32.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4586 | μmol/L | 35.2232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.217 | 150679.2091 | 274386.6822 | 36.4 | 83.1
41741 | 2021-03-03 14:56 | 32.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5611 | μmol/L | 35.1924 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.222 | 150715.4905 | 274385.5872 | 36.4 | 83.1
41751 | 2021-03-03 14:57 | 32.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.397 | μmol/L | 35.2109 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.226 | 150738.6087 | 274384.5043 | 36.4 | 83.1
41761 | 2021-03-03 14:57 | 33.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.353 | μmol/L | 35.2109 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.229 | 150774.422 | 274377.3262 | 36.4 | 83.1
41771 | 2021-03-03 14:57 | 33.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2828 | μmol/L | 35.2232 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.229 | 150794.7967 | 274380.4527 | 36.4 | 83.1
41781 | 2021-03-03 14:58 | 33.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.5078 | μmol/L | 35.1555 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.24 | 150758.4839 | 274374.0132 | 36.4 | 83.1
41791 | 2021-03-03 14:58 | 34.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4816 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.237 | 150807.0295 | 274379.5559 | 36.4 | 83.1
41801 | 2021-03-03 14:58 | 34.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4816 | μmol/L | 35.1678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.237 | 150846.113 | 274387.8963 | 36.4 | 83.1
41811 | 2021-03-03 14:59 | 34.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4638 | μmol/L | 35.1555 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.243 | 150909.7839 | 274378.3239 | 36.4 | 83.1
41821 | 2021-03-03 14:59 | 35.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.8761 | μmol/L | 35.0755 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.246 | 150959.2998 | 274379.7125 | 36.4 | 83.1
41831 | 2021-03-03 14:59 | 35.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.3555 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.248 | 150969.8754 | 274373.2517 | 36.4 | 83.1
41841 | 2021-03-03 15:00 | 35.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.4314 | μmol/L | 35.1432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.25 | 150928.1275 | 274388.004 | 36.4 | 83.1
41851 | 2021-03-03 15:00 | 36.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1771 | μmol/L | 35.1801 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.253 | 150929.1044 | 274388.224 | 36.4 | 83.1
41861 | 2021-03-03 15:00 | 36.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1128 | μmol/L | 35.1863 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.255 | 150964.3036 | 274382.9013 | 36.4 | 83.1
41871 | 2021-03-03 15:01 | 36.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1683 | μmol/L | 35.174 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.256 | 151007.9643 | 274401.0214 | 36.4 | 83.1
41881 | 2021-03-03 15:01 | 37.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.399 | μmol/L | 35.1309 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.257 | 151113.4967 | 274376.9791 | 36.4 | 83.1
41891 | 2021-03-03 15:01 | 37.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.2673 | μmol/L | 35.1309 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.266 | 151191.3568 | 274389.1712 | 36.4 | 83.1
41901 | 2021-03-03 15:02 | 37.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.3431 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.268 | 151231.4665 | 274394.8384 | 36.4 | 83.1
41911 | 2021-03-03 15:02 | 38.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.0629 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.268 | 151309.3144 | 274403.6282 | 36.4 | 83.1
41921 | 2021-03-03 15:02 | 38.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6574 | μmol/L | 35.2047 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.279 | 151378.1707 | 274403.012 | 36.4 | 83.1
41931 | 2021-03-03 15:03 | 38.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 167.1065 | μmol/L | 35.1309 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.277 | 151427.9077 | 274403.2165 | 36.4 | 83.1
41941 | 2021-03-03 15:03 | 39.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8409 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.288 | 151378.4431 | 274404.5469 | 36.4 | 83.1
41951 | 2021-03-03 15:03 | 39.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8555 | μmol/L | 35.1493 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.287 | 151399.4867 | 274405.0971 | 36.4 | 83.1
41961 | 2021-03-03 15:04 | 39.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6865 | μmol/L | 35.174 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.289 | 151372.0938 | 274405.152 | 36.4 | 83.1
41971 | 2021-03-03 15:04 | 40.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.995 | μmol/L | 35.094 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.299 | 151407.4461 | 274407.883 | 36.4 | 83.1
41981 | 2021-03-03 15:04 | 40.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7796 | μmol/L | 35.137 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.297 | 151423.553 | 274399.1411 | 36.4 | 83.1
41991 | 2021-03-03 15:05 | 40.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8756 | μmol/L | 35.1124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.3 | 151405.7138 | 274401.3829 | 36.4 | 83.1
42001 | 2021-03-03 15:05 | 41.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6864 | μmol/L | 35.1432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.301 | 151383.964 | 274407.3932 | 36.4 | 83.1
42011 | 2021-03-03 15:05 | 41.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4361 | μmol/L | 35.1617 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.311 | 151457.8917 | 274395.2759 | 36.4 | 83.1
42021 | 2021-03-03 15:06 | 41.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6221 | μmol/L | 35.1186 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.315 | 151703.5176 | 274405.3196 | 36.4 | 83.1
42031 | 2021-03-03 15:06 | 42.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4157 | μmol/L | 35.137 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.322 | 151777.885 | 274394.1191 | 36.4 | 83.1
42041 | 2021-03-03 15:06 | 42.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4766 | μmol/L | 35.1186 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.325 | 151865.425 | 274390.2986 | 36.4 | 83.1
42051 | 2021-03-03 15:07 | 42.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.5578 | μmol/L | 35.094 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.329 | 152025.7517 | 274396.5584 | 36.4 | 83.1
42061 | 2021-03-03 15:07 | 43.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.613 | μmol/L | 35.0816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.33 | 152013.0231 | 274397.8584 | 36.4 | 83.1
42071 | 2021-03-03 15:07 | 43.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1485 | μmol/L | 35.1432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.338 | 152022.1378 | 274400.996 | 36.4 | 83.1
42081 | 2021-03-03 15:08 | 43.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7898 | μmol/L | 35.0324 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.337 | 152126.5673 | 274401.6818 | 36.4 | 83.1
42091 | 2021-03-03 15:08 | 44.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4327 | μmol/L | 35.0878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.34 | 152271.8075 | 274395.7621 | 36.4 | 83.1
42101 | 2021-03-03 15:08 | 44.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6126 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.342 | 152223.6585 | 274407.3357 | 36.4 | 83.1
42111 | 2021-03-03 15:09 | 44.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2179 | μmol/L | 35.1001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.35 | 152301.2721 | 274394.4838 | 36.4 | 83.1
42121 | 2021-03-03 15:09 | 45.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2555 | μmol/L | 35.0755 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.357 | 152360.9311 | 274397.4744 | 36.4 | 83.1
42131 | 2021-03-03 15:09 | 45.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2264 | μmol/L | 35.0755 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.359 | 152325.9706 | 274390.0493 | 36.4 | 83.1
42141 | 2021-03-03 15:10 | 45.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7044 | μmol/L | 34.9832 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.362 | 152469.8111 | 274393.3059 | 36.4 | 83.1
42151 | 2021-03-03 15:10 | 46.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6203 | μmol/L | 34.9955 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.363 | 152444.8729 | 274404.9048 | 36.4 | 83.1
42161 | 2021-03-03 15:10 | 46.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8581 | μmol/L | 34.9586 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.361 | 152420.2008 | 274392.3284 | 36.4 | 83.1
42171 | 2021-03-03 15:11 | 46.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1712 | μmol/L | 35.057 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.37 | 152442.5646 | 274404.304 | 36.4 | 83.1
42181 | 2021-03-03 15:11 | 47.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.9164 | μmol/L | 35.0816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.378 | 152578.3952 | 274386.367 | 36.4 | 83.1
42191 | 2021-03-03 15:11 | 47.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0812 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.381 | 152632.6564 | 274401.4613 | 36.4 | 83.1
42201 | 2021-03-03 15:12 | 47.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1563 | μmol/L | 35.0263 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.383 | 152626.6541 | 274393.1886 | 36.4 | 83.1
42211 | 2021-03-03 15:12 | 48.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2863 | μmol/L | 34.9955 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.386 | 152638.7974 | 274373.345 | 36.4 | 83.1
42221 | 2021-03-03 15:12 | 48.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0865 | μmol/L | 35.0078 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.395 | 152832.5462 | 274394.5175 | 36.4 | 83.1
42231 | 2021-03-03 15:13 | 48.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2221 | μmol/L | 34.9709 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.4 | 152831.5439 | 274404.6977 | 36.4 | 83.1
42241 | 2021-03-03 15:13 | 49.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0663 | μmol/L | 35.0139 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.394 | 152754.229 | 274389.3401 | 36.4 | 83.1
42251 | 2021-03-03 15:13 | 49.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2423 | μmol/L | 34.9647 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.401 | 152870.4627 | 274403.7716 | 36.4 | 83.1
42261 | 2021-03-03 15:14 | 49.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1062 | μmol/L | 34.9709 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.408 | 152954.3928 | 274397.022 | 36.4 | 83.1
42271 | 2021-03-03 15:14 | 50.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.5422 | μmol/L | 34.8909 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.409 | 152902.9482 | 274389.6687 | 36.4 | 83.1
42281 | 2021-03-03 15:14 | 50.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4462 | μmol/L | 34.8847 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.418 | 152890.5592 | 274396.922 | 36.4 | 83.1
42291 | 2021-03-03 15:15 | 50.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6541 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.418 | 152921.5687 | 274393.3788 | 36.4 | 83.1
42301 | 2021-03-03 15:15 | 51.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3938 | μmol/L | 34.8786 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.424 | 152952.4851 | 274380.5221 | 36.4 | 83.1
42311 | 2021-03-03 15:15 | 51.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4598 | μmol/L | 34.8539 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.429 | 153033.5405 | 274379.3737 | 36.4 | 83.1
42321 | 2021-03-03 15:16 | 51.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3092 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.437 | 153021.2736 | 274382.5633 | 36.4 | 83.1
42331 | 2021-03-03 15:16 | 52.3285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3985 | μmol/L | 34.8416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.438 | 153026.0669 | 274381.5616 | 36.4 | 83.1
42341 | 2021-03-03 15:16 | 52.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0206 | μmol/L | 34.8909 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.445 | 153071.9841 | 274387.5295 | 36.4 | 83.1
42351 | 2021-03-03 15:17 | 52.9953 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2191 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.448 | 153161.9707 | 274385.6008 | 36.4 | 83.1
42361 | 2021-03-03 15:17 | 53.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1957 | μmol/L | 34.8416 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.452 | 153170.2427 | 274392.725 | 36.4 | 83.1
42371 | 2021-03-03 15:17 | 53.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0599 | μmol/L | 34.8478 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.459 | 153270.122 | 274388.7724 | 36.4 | 83.1
42381 | 2021-03-03 15:18 | 53.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.9909 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.459 | 153325.5563 | 274368.2961 | 36.4 | 83.1
42391 | 2021-03-03 15:18 | 54.3286 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3473 | μmol/L | 34.7862 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.463 | 153381.5602 | 274381.1027 | 36.4 | 83.1
42401 | 2021-03-03 15:18 | 54.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1914 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.469 | 153409.2371 | 274392.7447 | 36.4 | 83.1
42411 | 2021-03-03 15:19 | 54.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.5821 | μmol/L | 34.7185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.473 | 153431.9225 | 274375.1806 | 36.4 | 83.1
42421 | 2021-03-03 15:19 | 55.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.8838 | μmol/L | 34.657 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.476 | 153446.5508 | 274370.4151 | 36.4 | 83.1
42431 | 2021-03-03 15:19 | 55.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.6332 | μmol/L | 34.6939 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.479 | 153517.9834 | 274372.545 | 36.4 | 83.1
42441 | 2021-03-03 15:20 | 55.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.4772 | μmol/L | 34.7062 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.485 | 153504.3676 | 274374.424 | 36.4 | 83.1
42451 | 2021-03-03 15:20 | 56.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.7022 | μmol/L | 34.6816 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.479 | 153540.6864 | 274358.6883 | 36.4 | 83.1
42461 | 2021-03-03 15:20 | 56.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.9002 | μmol/L | 34.6386 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.482 | 153576.1625 | 274375.4018 | 36.4 | 83.1
42471 | 2021-03-03 15:21 | 56.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.2704 | μmol/L | 34.7432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.485 | 153589.6043 | 274372.7325 | 36.4 | 83.1
42481 | 2021-03-03 15:21 | 57.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1147 | μmol/L | 34.7555 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.491 | 153636.681 | 274373.1262 | 36.4 | 83.1
42491 | 2021-03-03 15:21 | 57.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.7326 | μmol/L | 34.8109 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.496 | 153711.6979 | 274386.1706 | 36.4 | 83.1
42501 | 2021-03-03 15:22 | 57.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.7782 | μmol/L | 34.7924 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.5 | 153754.5006 | 274380.5042 | 36.4 | 83.1
42511 | 2021-03-03 15:22 | 58.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.9247 | μmol/L | 34.7739 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.497 | 153702.596 | 274386.2587 | 36.4 | 83.1
42521 | 2021-03-03 15:22 | 58.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.1713 | μmol/L | 34.7247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.499 | 153654.5272 | 274382.9937 | 36.4 | 83.1
42531 | 2021-03-03 15:23 | 58.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.9936 | μmol/L | 34.7616 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.497 | 153685.7571 | 274376.9805 | 36.4 | 83.1
42541 | 2021-03-03 15:23 | 59.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8958 | μmol/L | 34.7739 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.499 | 153738.6247 | 274376.7424 | 36.4 | 83.1
42551 | 2021-03-03 15:23 | 59.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8437 | μmol/L | 34.7678 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.505 | 153772.6811 | 274379.306 | 36.4 | 83.1
42561 | 2021-03-03 15:24 | 59.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.938 | μmol/L | 34.7432 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.508 | 153747.189 | 274382.8069 | 36.4 | 83.1
42571 | 2021-03-03 15:24 | 60.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8981 | μmol/L | 34.7555 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.506 | 153780.7002 | 274387.8418 | 36.4 | 83.1
42581 | 2021-03-03 15:24 | 60.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.3221 | μmol/L | 34.6693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.51 | 153747.6651 | 274383.1735 | 36.4 | 83.1
42591 | 2021-03-03 15:25 | 60.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.8936 | μmol/L | 34.7124 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.523 | 153788.4121 | 274366.9785 | 36.4 | 83.1
42601 | 2021-03-03 15:25 | 61.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.2409 | μmol/L | 34.8293 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.523 | 153765.7407 | 274366.3787 | 36.4 | 83.1
42611 | 2021-03-03 15:25 | 61.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.4413 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.521 | 153746.4036 | 274364.1047 | 36.4 | 83.1
42621 | 2021-03-03 15:26 | 61.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 166.0255 | μmol/L | 34.6939 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.521 | 153752.321 | 274366.2056 | 36.4 | 83.1
42631 | 2021-03-03 15:26 | 62.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.888 | μmol/L | 34.7185 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.521 | 153759.7163 | 274365.3701 | 36.4 | 83.1
42641 | 2021-03-03 15:26 | 62.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.1834 | μmol/L | 34.8293 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.527 | 153792.455 | 274362.2142 | 36.4 | 83.1
42651 | 2021-03-03 15:27 | 62.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.5899 | μmol/L | 34.7616 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.525 | 153775.5477 | 274369.3601 | 36.4 | 83.1
42661 | 2021-03-03 15:27 | 63.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0405 | μmol/L | 34.8601 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.525 | 153767.8466 | 274373.4319 | 36.4 | 83.1
42671 | 2021-03-03 15:27 | 63.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.0149 | μmol/L | 34.8724 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.522 | 153738.705 | 274376.6618 | 36.4 | 83.1
42681 | 2021-03-03 15:28 | 63.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 165.3695 | μmol/L | 34.7986 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.526 | 153722.8639 | 274371.5478 | 36.4 | 83.1
42691 | 2021-03-03 15:28 | 64.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.72 | μmol/L | 34.897 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.533 | 153777.9395 | 274367.9745 | 36.4 | 83.1
42701 | 2021-03-03 15:28 | 64.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.8572 | μmol/L | 34.8724 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.533 | 153773.7239 | 274372.6172 | 36.4 | 83.1
42711 | 2021-03-03 15:29 | 64.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.5572 | μmol/L | 34.9339 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.53 | 153686.0283 | 274382.7355 | 36.4 | 83.1
42721 | 2021-03-03 15:29 | 65.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.4685 | μmol/L | 34.9216 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.541 | 153723.3566 | 274385.6454 | 36.4 | 83.1
42731 | 2021-03-03 15:29 | 65.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.3029 | μmol/L | 34.9463 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.543 | 153756.808 | 274377.2212 | 36.4 | 83.1
42741 | 2021-03-03 15:30 | 65.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.1203 | μmol/L | 34.9893 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.539 | 153713.2602 | 274375.8562 | 36.4 | 83.1
42751 | 2021-03-03 15:30 | 66.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.2687 | μmol/L | 34.9524 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.543 | 153692.9482 | 274375.6359 | 36.4 | 83.1
42761 | 2021-03-03 15:30 | 66.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.1574 | μmol/L | 34.9647 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.546 | 153699.3138 | 274387.026 | 36.4 | 83.1
42771 | 2021-03-03 15:31 | 66.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 164.0689 | μmol/L | 34.9832 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.545 | 153691.4283 | 274376.8886 | 36.4 | 83.1
42781 | 2021-03-03 15:31 | 67.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.8608 | μmol/L | 35.0078 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.55 | 153742.8748 | 274379.8654 | 36.4 | 83.1
42791 | 2021-03-03 15:31 | 67.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6272 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.552 | 153757.7023 | 274374.2728 | 36.4 | 83.1
42801 | 2021-03-03 15:32 | 67.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6614 | μmol/L | 35.0386 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.552 | 153725.2516 | 274385.1689 | 36.4 | 83.1
42811 | 2021-03-03 15:32 | 68.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6759 | μmol/L | 35.0078 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.563 | 153753.0762 | 274380.1487 | 36.4 | 83.1
42821 | 2021-03-03 15:32 | 68.6619 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4935 | μmol/L | 35.0509 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.559 | 153758.6457 | 274388.8783 | 36.4 | 83.1
42831 | 2021-03-03 15:33 | 68.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.5135 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.56 | 153727.7935 | 274378.2609 | 36.4 | 83.1
42841 | 2021-03-03 15:33 | 69.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3684 | μmol/L | 35.0632 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.563 | 153787.1892 | 274377.7084 | 36.4 | 83.1
42851 | 2021-03-03 15:33 | 69.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.6417 | μmol/L | 35.0139 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.563 | 153680.1069 | 274362.8761 | 36.4 | 83.1
42861 | 2021-03-03 15:34 | 69.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4482 | μmol/L | 35.0386 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.567 | 153712.3449 | 274371.6495 | 36.4 | 83.1
42871 | 2021-03-03 15:34 | 70.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.2633 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.568 | 153674.5766 | 274370.4885 | 36.4 | 83.1
42881 | 2021-03-03 15:34 | 70.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.4114 | μmol/L | 35.0324 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.572 | 153694.3738 | 274359.0692 | 36.4 | 83.1
42891 | 2021-03-03 15:35 | 70.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3689 | μmol/L | 35.0324 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.575 | 153781.6175 | 274368.3079 | 36.4 | 83.1
42901 | 2021-03-03 15:35 | 71.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9369 | μmol/L | 35.1001 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.579 | 153804.5802 | 274366.9576 | 36.4 | 83.1
42911 | 2021-03-03 15:35 | 71.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.1872 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.583 | 153792.8023 | 274370.2094 | 36.4 | 83.1
42921 | 2021-03-03 15:36 | 71.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.8321 | μmol/L | 35.1063 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.584 | 153830.8212 | 274367.2544 | 36.4 | 83.1
42931 | 2021-03-03 15:36 | 72.3287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.2612 | μmol/L | 35.0263 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.585 | 153840.474 | 274372.4631 | 36.4 | 83.1
42941 | 2021-03-03 15:36 | 72.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.9659 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.589 | 153878.1191 | 274369.5387 | 36.4 | 83.1
42951 | 2021-03-03 15:37 | 72.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.881 | μmol/L | 35.0693 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.595 | 153890.5508 | 274372.6147 | 36.4 | 83.1
42961 | 2021-03-03 15:37 | 73.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.2103 | μmol/L | 35.0201 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.591 | 153898.0888 | 274368.8666 | 36.4 | 83.1
42971 | 2021-03-03 15:37 | 73.662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.5745 | μmol/L | 35.1247 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.595 | 153900.2159 | 274364.9071 | 36.4 | 83.1
42981 | 2021-03-03 15:38 | 73.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.8071 | μmol/L | 35.0878 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.593 | 153932.2981 | 274368.0766 | 36.4 | 83.1
42991 | 2021-03-03 15:38 | 74.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.0005 | μmol/L | 35.0324 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.601 | 153967.7434 | 274369.6229 | 36.4 | 83.1
43001 | 2021-03-03 15:38 | 74.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 162.8618 | μmol/L | 35.0447 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.606 | 153966.7563 | 274371.7119 | 36.4 | 83.1
43011 | 2021-03-03 15:39 | 74.9952 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 163.3668 | μmol/L | 34.9586 | °C | 993 | hPa | Humid | 28 | 0 | 0 | 21.604 | 154005.8001 | 274383.1256 | 36.4 | 83.1