## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29724 | 2021-02-23 12:09 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3115 | μmol/L | 15.3934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.932 | 116186.64 | 304160.8481 | 30.45 | 114.2
29734 | 2021-02-23 12:09 | 0.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3159 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.934 | 116207.0412 | 304164.6654 | 30.45 | 114.2
29744 | 2021-02-23 12:09 | 0.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3327 | μmol/L | 15.3934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 116202.9738 | 304178.7581 | 30.45 | 114.2
29754 | 2021-02-23 12:10 | 0.99821 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3371 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.933 | 116164.8725 | 304168.9922 | 30.45 | 114.2
29764 | 2021-02-23 12:10 | 1.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.3327 | μmol/L | 15.3934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.931 | 116132.4515 | 304168.4225 | 30.45 | 114.2
29774 | 2021-02-23 12:10 | 1.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.5536 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.925 | 116097.027 | 304159.3142 | 30.45 | 114.2
29784 | 2021-02-23 12:11 | 1.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6298 | μmol/L | 15.3934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.917 | 116060.397 | 304159.4598 | 30.45 | 114.2
29794 | 2021-02-23 12:11 | 2.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6978 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.916 | 116037.862 | 304160.0284 | 30.45 | 114.2
29804 | 2021-02-23 12:11 | 2.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6554 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.918 | 116014.5128 | 304156.3809 | 30.45 | 114.2
29814 | 2021-02-23 12:12 | 2.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6298 | μmol/L | 15.3934 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.917 | 115988.1863 | 304149.7111 | 30.45 | 114.2
29824 | 2021-02-23 12:12 | 3.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9572 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.906 | 115962.2754 | 304147.3712 | 30.45 | 114.2
29834 | 2021-02-23 12:12 | 3.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8041 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.911 | 115948.3615 | 304149.6585 | 30.45 | 114.2
29844 | 2021-02-23 12:13 | 3.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8722 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 115946.9763 | 304154.7137 | 30.45 | 114.2
29854 | 2021-02-23 12:13 | 4.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9785 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 115924.2912 | 304146.503 | 30.45 | 114.2
29864 | 2021-02-23 12:13 | 4.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8934 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115912.8296 | 304135.62 | 30.45 | 114.2
29874 | 2021-02-23 12:14 | 4.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9828 | μmol/L | 15.375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.907 | 115900.4497 | 304129.0957 | 30.45 | 114.2
29884 | 2021-02-23 12:14 | 5.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.021 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.903 | 115892.8374 | 304117.745 | 30.45 | 114.2
29894 | 2021-02-23 12:14 | 5.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9785 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.905 | 115892.3205 | 304123.1 | 30.45 | 114.2
29904 | 2021-02-23 12:15 | 5.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8765 | μmol/L | 15.375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.912 | 115889.7883 | 304125.5196 | 30.45 | 114.2
29914 | 2021-02-23 12:15 | 6.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8934 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115892.6319 | 304120.2432 | 30.45 | 114.2
29924 | 2021-02-23 12:15 | 6.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8253 | μmol/L | 15.3873 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 115900.9156 | 304124.6204 | 30.45 | 114.2
29934 | 2021-02-23 12:16 | 6.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8084 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.913 | 115897.2692 | 304127.5594 | 30.45 | 114.2
29944 | 2021-02-23 12:16 | 7.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9828 | μmol/L | 15.375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.907 | 115898.0138 | 304130.9192 | 30.45 | 114.2
29954 | 2021-02-23 12:16 | 7.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9403 | μmol/L | 15.375 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115883.819 | 304118.2879 | 30.45 | 114.2
29964 | 2021-02-23 12:17 | 7.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9659 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 115882.1528 | 304120.8573 | 30.45 | 114.2
29974 | 2021-02-23 12:17 | 8.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8384 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.916 | 115889.2866 | 304122.0375 | 30.45 | 114.2
29984 | 2021-02-23 12:17 | 8.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.8809 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.914 | 115885.5751 | 304112.0477 | 30.45 | 114.2
29994 | 2021-02-23 12:18 | 8.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.0128 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 115869.5174 | 304118.7648 | 30.45 | 114.2
30004 | 2021-02-23 12:18 | 9.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.081 | μmol/L | 15.3566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115852.8144 | 304132.9003 | 30.45 | 114.2
30014 | 2021-02-23 12:18 | 9.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9916 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.911 | 115858.0989 | 304121.9128 | 30.45 | 114.2
30024 | 2021-02-23 12:19 | 9.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.0341 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115853.2222 | 304119.8315 | 30.45 | 114.2
30034 | 2021-02-23 12:19 | 10.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.0597 | μmol/L | 15.3566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.91 | 115858.1143 | 304117.846 | 30.45 | 114.2
30044 | 2021-02-23 12:19 | 10.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9021 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.913 | 115860.8356 | 304125.5778 | 30.45 | 114.2
30054 | 2021-02-23 12:20 | 10.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.0341 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.909 | 115861.5774 | 304121.239 | 30.45 | 114.2
30064 | 2021-02-23 12:20 | 11.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 249.0003 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.915 | 115859.4095 | 304113.2715 | 30.45 | 114.2
30074 | 2021-02-23 12:20 | 11.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9703 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.912 | 115863.3985 | 304123.7235 | 30.45 | 114.2
30084 | 2021-02-23 12:21 | 11.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.9109 | μmol/L | 15.3566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.917 | 115863.7025 | 304116.8949 | 30.45 | 114.2
30094 | 2021-02-23 12:21 | 12.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.7534 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.92 | 115890.7859 | 304120.0977 | 30.45 | 114.2
30104 | 2021-02-23 12:21 | 12.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6472 | μmol/L | 15.3689 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.925 | 115918.8438 | 304131.9361 | 30.45 | 114.2
30114 | 2021-02-23 12:22 | 12.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.5879 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.93 | 115939.4804 | 304125.7392 | 30.45 | 114.2
30124 | 2021-02-23 12:22 | 13.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.6391 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.932 | 115955.039 | 304111.6494 | 30.45 | 114.2
30134 | 2021-02-23 12:22 | 13.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.5798 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.937 | 115981.0205 | 304116.0214 | 30.45 | 114.2
30144 | 2021-02-23 12:23 | 13.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.4313 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.944 | 116015.2789 | 304131.4168 | 30.45 | 114.2
30154 | 2021-02-23 12:23 | 14.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 248.0835 | μmol/L | 15.3566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.956 | 116083.4459 | 304116.2317 | 30.45 | 114.2
30164 | 2021-02-23 12:23 | 14.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.9354 | μmol/L | 15.3566 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.963 | 116128.5539 | 304113.9068 | 30.45 | 114.2
30174 | 2021-02-23 12:24 | 14.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.8763 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.968 | 116164.1526 | 304112.3832 | 30.45 | 114.2
30184 | 2021-02-23 12:24 | 15.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7961 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.974 | 116195.8715 | 304122.6801 | 30.45 | 114.2
30194 | 2021-02-23 12:24 | 15.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7072 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.976 | 116221.4 | 304110.4695 | 30.45 | 114.2
30204 | 2021-02-23 12:25 | 15.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.7794 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.977 | 116233.4539 | 304119.2566 | 30.45 | 114.2
30214 | 2021-02-23 12:25 | 16.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.6015 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.981 | 116255.7952 | 304115.6051 | 30.45 | 114.2
30224 | 2021-02-23 12:25 | 16.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.496 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.986 | 116255.5889 | 304107.2553 | 30.45 | 114.2
30234 | 2021-02-23 12:26 | 16.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4537 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.988 | 116277.3761 | 304110.0994 | 30.45 | 114.2
30244 | 2021-02-23 12:26 | 17.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3482 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.993 | 116288.9636 | 304102.2015 | 30.45 | 114.2
30254 | 2021-02-23 12:26 | 17.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3738 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.994 | 116298.1512 | 304107.5327 | 30.45 | 114.2
30264 | 2021-02-23 12:27 | 17.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4793 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.989 | 116289.0801 | 304097.1672 | 30.45 | 114.2
30274 | 2021-02-23 12:27 | 18.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4626 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.992 | 116274.6935 | 304108.0396 | 30.45 | 114.2
30284 | 2021-02-23 12:27 | 18.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5215 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.987 | 116281.5273 | 304109.1277 | 30.45 | 114.2
30294 | 2021-02-23 12:28 | 18.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.5892 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.986 | 116271.0908 | 304110.9834 | 30.45 | 114.2
30304 | 2021-02-23 12:28 | 19.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4537 | μmol/L | 15.3505 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.988 | 116281.6109 | 304116.5381 | 30.45 | 114.2
30314 | 2021-02-23 12:28 | 19.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.4371 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.991 | 116294.0344 | 304108.8519 | 30.45 | 114.2
30324 | 2021-02-23 12:29 | 19.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3527 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.995 | 116302.2456 | 304126.4741 | 30.45 | 114.2
30334 | 2021-02-23 12:29 | 20.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.3782 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.996 | 116325.1638 | 304128.9182 | 30.45 | 114.2
30344 | 2021-02-23 12:29 | 20.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2051 | μmol/L | 15.3443 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.002 | 116344.3768 | 304136.0688 | 30.45 | 114.2
30354 | 2021-02-23 12:30 | 20.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2095 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.004 | 116347.8832 | 304126.481 | 30.45 | 114.2
30364 | 2021-02-23 12:30 | 21.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.2516 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.002 | 116370.0166 | 304137.0844 | 30.45 | 114.2
30374 | 2021-02-23 12:30 | 21.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1507 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.009 | 116373.5154 | 304135.4647 | 30.45 | 114.2
30384 | 2021-02-23 12:31 | 21.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.062 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 116381.1589 | 304127.6146 | 30.45 | 114.2
30394 | 2021-02-23 12:31 | 22.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.1085 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.011 | 116390.2059 | 304141.6028 | 30.45 | 114.2
30404 | 2021-02-23 12:31 | 22.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 247.0664 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.013 | 116399.3066 | 304135.0145 | 30.45 | 114.2
30414 | 2021-02-23 12:32 | 22.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9146 | μmol/L | 15.3382 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.018 | 116432.3538 | 304151.5599 | 30.45 | 114.2
30424 | 2021-02-23 12:32 | 23.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.898 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.021 | 116432.9692 | 304142.5829 | 30.45 | 114.2
30434 | 2021-02-23 12:32 | 23.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.8769 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.022 | 116442.6296 | 304139.2303 | 30.45 | 114.2
30444 | 2021-02-23 12:33 | 23.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.919 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.02 | 116441.1121 | 304146.5364 | 30.45 | 114.2
30454 | 2021-02-23 12:33 | 24.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9611 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.018 | 116435.4505 | 304145.8677 | 30.45 | 114.2
30464 | 2021-02-23 12:33 | 24.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.9822 | μmol/L | 15.3321 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.017 | 116425.9656 | 304146.1645 | 30.45 | 114.2
30474 | 2021-02-23 12:34 | 24.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.6445 | μmol/L | 15.3627 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.022 | 116446.5554 | 304145.8582 | 30.45 | 114.2
30484 | 2021-02-23 12:34 | 25.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.4421 | μmol/L | 15.3812 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.025 | 116470.1664 | 304141.0178 | 30.45 | 114.2
30494 | 2021-02-23 12:34 | 25.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.3328 | μmol/L | 15.3812 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.03 | 116476.688 | 304158.0242 | 30.45 | 114.2
30504 | 2021-02-23 12:35 | 25.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.2654 | μmol/L | 15.3873 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.031 | 116506.1688 | 304160.9822 | 30.45 | 114.2
30514 | 2021-02-23 12:35 | 26.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.2444 | μmol/L | 15.3873 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.032 | 116514.6837 | 304155.6041 | 30.45 | 114.2
30524 | 2021-02-23 12:35 | 26.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.1903 | μmol/L | 15.375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.039 | 116543.9322 | 304161.0468 | 30.45 | 114.2
30534 | 2021-02-23 12:36 | 26.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0391 | μmol/L | 15.3812 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.044 | 116565.204 | 304158.0085 | 30.45 | 114.2
30544 | 2021-02-23 12:36 | 27.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0943 | μmol/L | 15.3627 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.048 | 116603.7174 | 304164.2579 | 30.45 | 114.2
30554 | 2021-02-23 12:36 | 27.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8759 | μmol/L | 15.375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.054 | 116628.9272 | 304149.5851 | 30.45 | 114.2
30564 | 2021-02-23 12:37 | 27.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7458 | μmol/L | 15.3812 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.058 | 116664.7279 | 304161.891 | 30.45 | 114.2
30574 | 2021-02-23 12:37 | 28.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6412 | μmol/L | 15.3812 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.063 | 116688.039 | 304159.467 | 30.45 | 114.2
30584 | 2021-02-23 12:37 | 28.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6456 | μmol/L | 15.375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.065 | 116709.1637 | 304167.9473 | 30.45 | 114.2
30594 | 2021-02-23 12:38 | 28.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7007 | μmol/L | 15.3566 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.069 | 116713.1879 | 304163.9135 | 30.45 | 114.2
30604 | 2021-02-23 12:38 | 29.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7768 | μmol/L | 15.3382 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.072 | 116728.5528 | 304179.0774 | 30.45 | 114.2
30614 | 2021-02-23 12:38 | 29.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7813 | μmol/L | 15.3321 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.074 | 116742.9695 | 304171.6865 | 30.45 | 114.2
30624 | 2021-02-23 12:39 | 29.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8949 | μmol/L | 15.3198 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.073 | 116742.2371 | 304171.4747 | 30.45 | 114.2
30634 | 2021-02-23 12:39 | 30.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9996 | μmol/L | 15.3198 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.068 | 116734.1133 | 304164.1183 | 30.45 | 114.2
30644 | 2021-02-23 12:39 | 30.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9831 | μmol/L | 15.3137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.071 | 116747.5942 | 304171.3342 | 30.45 | 114.2
30654 | 2021-02-23 12:40 | 30.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9876 | μmol/L | 15.3075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.073 | 116763.2254 | 304171.1259 | 30.45 | 114.2
30664 | 2021-02-23 12:40 | 31.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9921 | μmol/L | 15.3014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.075 | 116746.0659 | 304171.4356 | 30.45 | 114.2
30674 | 2021-02-23 12:40 | 31.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9921 | μmol/L | 15.3014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.075 | 116754.0851 | 304167.4134 | 30.45 | 114.2
30684 | 2021-02-23 12:41 | 31.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9293 | μmol/L | 15.3014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 116746.8912 | 304154.5363 | 30.45 | 114.2
30694 | 2021-02-23 12:41 | 32.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9248 | μmol/L | 15.3075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.076 | 116739.3995 | 304165.403 | 30.45 | 114.2
30704 | 2021-02-23 12:41 | 32.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.862 | μmol/L | 15.3075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.079 | 116746.5864 | 304157.4555 | 30.45 | 114.2
30714 | 2021-02-23 12:42 | 32.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8829 | μmol/L | 15.3075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 116752.1541 | 304152.8415 | 30.45 | 114.2
30724 | 2021-02-23 12:42 | 33.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9248 | μmol/L | 15.3075 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.076 | 116734.558 | 304140.4052 | 30.45 | 114.2
30734 | 2021-02-23 12:42 | 33.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.0804 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.073 | 116739.0024 | 304150.2048 | 30.45 | 114.2
30744 | 2021-02-23 12:43 | 33.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9711 | μmol/L | 15.3014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.076 | 116719.3388 | 304134.3845 | 30.45 | 114.2
30754 | 2021-02-23 12:43 | 34.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8784 | μmol/L | 15.3137 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.076 | 116730.1761 | 304132.9922 | 30.45 | 114.2
30764 | 2021-02-23 12:43 | 34.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6887 | μmol/L | 15.3443 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.074 | 116730.8915 | 304135.421 | 30.45 | 114.2
30774 | 2021-02-23 12:44 | 34.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7394 | μmol/L | 15.3321 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.076 | 116735.8051 | 304131.2395 | 30.45 | 114.2
30784 | 2021-02-23 12:44 | 35.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9502 | μmol/L | 15.3014 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.077 | 116730.6651 | 304120.9594 | 30.45 | 114.2
30794 | 2021-02-23 12:44 | 35.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 246.043 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.077 | 116741.9695 | 304125.1674 | 30.45 | 114.2
30804 | 2021-02-23 12:45 | 35.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9756 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 116743.9232 | 304111.2334 | 30.45 | 114.2
30814 | 2021-02-23 12:45 | 36.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9337 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.08 | 116743.9819 | 304099.8154 | 30.45 | 114.2
30824 | 2021-02-23 12:45 | 36.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.9382 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.082 | 116757.089 | 304091.4741 | 30.45 | 114.2
30834 | 2021-02-23 12:46 | 36.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8709 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.083 | 116763.8286 | 304099.6007 | 30.45 | 114.2
30844 | 2021-02-23 12:46 | 37.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8799 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.087 | 116771.4787 | 304091.759 | 30.45 | 114.2
30854 | 2021-02-23 12:46 | 37.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7872 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.087 | 116775.3555 | 304076.85 | 30.45 | 114.2
30864 | 2021-02-23 12:47 | 37.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.8081 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.086 | 116779.6602 | 304066.4368 | 30.45 | 114.2
30874 | 2021-02-23 12:47 | 38.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7753 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.092 | 116788.4612 | 304079.5428 | 30.45 | 114.2
30884 | 2021-02-23 12:47 | 38.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.708 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.093 | 116791.5146 | 304079.4563 | 30.45 | 114.2
30894 | 2021-02-23 12:48 | 38.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.7543 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.093 | 116806.8708 | 304071.6703 | 30.45 | 114.2
30904 | 2021-02-23 12:48 | 39.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6453 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.096 | 116803.8721 | 304048.5666 | 30.45 | 114.2
30914 | 2021-02-23 12:48 | 39.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.675 | μmol/L | 15.283 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 23.097 | 116809.7459 | 304047.6384 | 30.45 | 114.2
30924 | 2021-02-23 12:49 | 39.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.6498 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.098 | 116810.931 | 304057.3778 | 30.45 | 114.2
30934 | 2021-02-23 12:49 | 40.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5571 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.098 | 116819.3953 | 304054.3291 | 30.45 | 114.2
30944 | 2021-02-23 12:49 | 40.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4154 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.107 | 116818.8497 | 304037.0065 | 30.45 | 114.2
30954 | 2021-02-23 12:50 | 40.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5452 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.103 | 116823.6187 | 304048.2758 | 30.45 | 114.2
30964 | 2021-02-23 12:50 | 41.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5198 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.102 | 116808.0837 | 304044.2614 | 30.45 | 114.2
30974 | 2021-02-23 12:50 | 41.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5452 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.103 | 116800.7772 | 304046.7663 | 30.45 | 114.2
30984 | 2021-02-23 12:51 | 41.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.587 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.101 | 116788.9615 | 304028.6908 | 30.45 | 114.2
30994 | 2021-02-23 12:51 | 42.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5407 | μmol/L | 15.2891 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.101 | 116793.6517 | 304026.7402 | 30.45 | 114.2
31004 | 2021-02-23 12:51 | 42.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5706 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.104 | 116801.7841 | 304019.0948 | 30.45 | 114.2
31014 | 2021-02-23 12:52 | 42.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5497 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.105 | 116805.0045 | 304017.9448 | 30.45 | 114.2
31024 | 2021-02-23 12:52 | 43.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.5289 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.106 | 116807.239 | 304015.5117 | 30.45 | 114.2
31034 | 2021-02-23 12:52 | 43.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4199 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.109 | 116818.8462 | 303999.0689 | 30.45 | 114.2
31044 | 2021-02-23 12:53 | 43.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.399 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.11 | 116832.8652 | 304005.0286 | 30.45 | 114.2
31054 | 2021-02-23 12:53 | 44.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.399 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.11 | 116828.4476 | 304014.0165 | 30.45 | 114.2
31064 | 2021-02-23 12:53 | 44.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4453 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.11 | 116837.2299 | 304010.9257 | 30.45 | 114.2
31074 | 2021-02-23 12:54 | 44.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3617 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.114 | 116833.0162 | 304003.111 | 30.45 | 114.2
31084 | 2021-02-23 12:54 | 45.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4244 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.111 | 116839.9712 | 303986.2059 | 30.45 | 114.2
31094 | 2021-02-23 12:54 | 45.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4289 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.113 | 116834.394 | 303991.485 | 30.45 | 114.2
31104 | 2021-02-23 12:55 | 45.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3871 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.115 | 116835.2921 | 303971.8627 | 30.45 | 114.2
31114 | 2021-02-23 12:55 | 46.3309 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.4289 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.113 | 116834.1113 | 303976.3391 | 30.45 | 114.2
31124 | 2021-02-23 12:55 | 46.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.32 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.116 | 116825.7149 | 303970.6299 | 30.45 | 114.2
31134 | 2021-02-23 12:56 | 46.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3409 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.115 | 116834.56 | 303964.7976 | 30.45 | 114.2
31144 | 2021-02-23 12:56 | 47.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2111 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.119 | 116833.3556 | 303958.146 | 30.45 | 114.2
31154 | 2021-02-23 12:56 | 47.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2737 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.116 | 116831.5418 | 303960.1172 | 30.45 | 114.2
31164 | 2021-02-23 12:57 | 47.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3245 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.118 | 116838.6067 | 303956.2466 | 30.45 | 114.2
31174 | 2021-02-23 12:57 | 48.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2828 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.12 | 116835.9011 | 303954.9585 | 30.45 | 114.2
31184 | 2021-02-23 12:57 | 48.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2873 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.122 | 116847.1936 | 303949.732 | 30.45 | 114.2
31194 | 2021-02-23 12:58 | 48.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3127 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.123 | 116859.391 | 303952.7195 | 30.45 | 114.2
31204 | 2021-02-23 12:58 | 49.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2963 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.126 | 116850.3856 | 303945.4523 | 30.45 | 114.2
31214 | 2021-02-23 12:58 | 49.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.3127 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.123 | 116857.1849 | 303935.3069 | 30.45 | 114.2
31224 | 2021-02-23 12:59 | 49.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.2083 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.128 | 116869.2432 | 303940.3311 | 30.45 | 114.2
31234 | 2021-02-23 12:59 | 50.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.192 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.131 | 116876.7194 | 303963.811 | 30.45 | 114.2
31244 | 2021-02-23 12:59 | 50.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1204 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.13 | 116875.6863 | 303947.462 | 30.45 | 114.2
31254 | 2021-02-23 13:00 | 50.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.1458 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.131 | 116883.7296 | 303928.0607 | 30.45 | 114.2
31264 | 2021-02-23 13:00 | 51.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 245.0787 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.132 | 116894.1573 | 303950.7758 | 30.45 | 114.2
31274 | 2021-02-23 13:00 | 51.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9745 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.137 | 116900.8334 | 303946.5795 | 30.45 | 114.2
31284 | 2021-02-23 13:01 | 51.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9536 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.138 | 116916.0904 | 303932.7493 | 30.45 | 114.2
31294 | 2021-02-23 13:01 | 52.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9582 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.14 | 116930.9312 | 303931.4014 | 30.45 | 114.2
31304 | 2021-02-23 13:01 | 52.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9582 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.14 | 116939.0295 | 303930.9176 | 30.45 | 114.2
31314 | 2021-02-23 13:02 | 52.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.9672 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.144 | 116953.8384 | 303935.7588 | 30.45 | 114.2
31324 | 2021-02-23 13:02 | 53.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.8423 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.15 | 116965.5549 | 303929.7704 | 30.45 | 114.2
31334 | 2021-02-23 13:02 | 53.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.6966 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.157 | 117003.2384 | 303926.6412 | 30.45 | 114.2
31344 | 2021-02-23 13:03 | 53.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5627 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.159 | 117027.948 | 303927.0536 | 30.45 | 114.2
31354 | 2021-02-23 13:03 | 54.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.5926 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.162 | 117030.4475 | 303919.9211 | 30.45 | 114.2
31364 | 2021-02-23 13:03 | 54.6642 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4217 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.168 | 117061.679 | 303921.8745 | 30.45 | 114.2
31374 | 2021-02-23 13:04 | 54.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.4055 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.171 | 117082.2798 | 303929.5506 | 30.45 | 114.2
31384 | 2021-02-23 13:04 | 55.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3639 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.173 | 117087.3282 | 303922.7392 | 30.45 | 114.2
31394 | 2021-02-23 13:04 | 55.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3269 | μmol/L | 15.24 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.177 | 117101.7394 | 303912.026 | 30.45 | 114.2
31404 | 2021-02-23 13:05 | 55.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.3107 | μmol/L | 15.2339 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.18 | 117118.1887 | 303907.7433 | 30.45 | 114.2
31414 | 2021-02-23 13:05 | 56.3313 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.1978 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.181 | 117132.3941 | 303912.4874 | 30.45 | 114.2
31424 | 2021-02-23 13:05 | 56.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9767 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.185 | 117124.0959 | 303905.4813 | 30.45 | 114.2
31434 | 2021-02-23 13:06 | 56.9983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9469 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.182 | 117149.5234 | 303913.3812 | 30.45 | 114.2
31444 | 2021-02-23 13:06 | 57.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9398 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.189 | 117152.5254 | 303903.0316 | 30.45 | 114.2
31454 | 2021-02-23 13:06 | 57.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9605 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.188 | 117155.7753 | 303901.6022 | 30.45 | 114.2
31464 | 2021-02-23 13:07 | 57.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 244.002 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.186 | 117174.1668 | 303915.9474 | 30.45 | 114.2
31474 | 2021-02-23 13:07 | 58.3312 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9398 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.189 | 117171.3684 | 303915.0935 | 30.45 | 114.2
31484 | 2021-02-23 13:07 | 58.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9443 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.191 | 117177.8288 | 303918.6559 | 30.45 | 114.2
31494 | 2021-02-23 13:08 | 58.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9236 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.192 | 117189.3211 | 303902.1883 | 30.45 | 114.2
31504 | 2021-02-23 13:08 | 59.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8867 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.196 | 117209.1587 | 303906.9782 | 30.45 | 114.2
31514 | 2021-02-23 13:08 | 59.6649 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8337 | μmol/L | 15.2339 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.203 | 117229.2781 | 303916.0216 | 30.45 | 114.2
31524 | 2021-02-23 13:09 | 59.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8797 | μmol/L | 15.2277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.203 | 117238.5611 | 303911.3519 | 30.45 | 114.2
31534 | 2021-02-23 13:09 | 60.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.9879 | μmol/L | 15.2216 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.2 | 117254.668 | 303909.6878 | 30.45 | 114.2
31544 | 2021-02-23 13:09 | 60.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.8843 | μmol/L | 15.2216 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.205 | 117262.3681 | 303910.3146 | 30.45 | 114.2
31554 | 2021-02-23 13:10 | 60.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7968 | μmol/L | 15.2277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.207 | 117278.3798 | 303912.9467 | 30.45 | 114.2
31564 | 2021-02-23 13:10 | 61.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.6726 | μmol/L | 15.2277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.213 | 117274.0562 | 303895.8855 | 30.45 | 114.2
31574 | 2021-02-23 13:10 | 61.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.7347 | μmol/L | 15.2277 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.21 | 117269.8813 | 303895.2039 | 30.45 | 114.2
31584 | 2021-02-23 13:11 | 61.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.5347 | μmol/L | 15.2461 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.213 | 117286.4395 | 303901.069 | 30.45 | 114.2
31594 | 2021-02-23 13:11 | 62.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.2431 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.216 | 117321.0339 | 303907.3974 | 30.45 | 114.2
31604 | 2021-02-23 13:11 | 62.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9817 | μmol/L | 15.2952 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.222 | 117327.7335 | 303898.185 | 30.45 | 114.2
31614 | 2021-02-23 13:12 | 62.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1766 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.217 | 117332.7125 | 303894.2337 | 30.45 | 114.2
31624 | 2021-02-23 13:12 | 63.3315 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.1766 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.217 | 117345.2095 | 303899.6936 | 30.45 | 114.2
31634 | 2021-02-23 13:12 | 63.6644 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 243.0527 | μmol/L | 15.283 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.223 | 117347.7323 | 303905.7547 | 30.45 | 114.2
31644 | 2021-02-23 13:13 | 63.9982 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9953 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.228 | 117381.9716 | 303893.3729 | 30.45 | 114.2
31654 | 2021-02-23 13:13 | 64.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9999 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.23 | 117389.7109 | 303900.7256 | 30.45 | 114.2
31664 | 2021-02-23 13:13 | 64.6641 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.9174 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.234 | 117416.7569 | 303902.1329 | 30.45 | 114.2
31674 | 2021-02-23 13:14 | 64.9979 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8555 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.237 | 117419.4686 | 303903.7989 | 30.45 | 114.2
31684 | 2021-02-23 13:14 | 65.331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8807 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.238 | 117442.9832 | 303906.1933 | 30.45 | 114.2
31694 | 2021-02-23 13:14 | 65.6646 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.686 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.243 | 117453.5462 | 303894.7456 | 30.45 | 114.2
31704 | 2021-02-23 13:15 | 65.9977 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.757 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.244 | 117452.9822 | 303898.5318 | 30.45 | 114.2
31714 | 2021-02-23 13:15 | 66.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.8097 | μmol/L | 15.2768 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.237 | 117469.1488 | 303904.2287 | 30.45 | 114.2
31724 | 2021-02-23 13:15 | 66.6645 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.6906 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.245 | 117477.0031 | 303893.6026 | 30.45 | 114.2
31734 | 2021-02-23 13:16 | 66.9981 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.567 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.251 | 117501.3395 | 303905.8514 | 30.45 | 114.2
31744 | 2021-02-23 13:16 | 67.3311 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.5715 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.253 | 117514.4601 | 303901.3999 | 30.45 | 114.2
31754 | 2021-02-23 13:16 | 67.6648 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4686 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.258 | 117538.0152 | 303907.9773 | 30.45 | 114.2
31764 | 2021-02-23 13:17 | 67.9976 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.4275 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.26 | 117561.26 | 303898.3129 | 30.45 | 114.2
31774 | 2021-02-23 13:17 | 68.3314 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.2675 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.27 | 117586.9542 | 303897.0638 | 30.45 | 114.2
31784 | 2021-02-23 13:17 | 68.6643 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.2058 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.273 | 117620.5756 | 303890.9342 | 30.45 | 114.2
31794 | 2021-02-23 13:18 | 68.998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.9958 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.281 | 117654.6082 | 303901.5984 | 30.45 | 114.2
31804 | 2021-02-23 13:18 | 69.3308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.8977 | μmol/L | 15.2584 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.288 | 117685.6797 | 303895.9602 | 30.45 | 114.2
31814 | 2021-02-23 13:18 | 69.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.8316 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.289 | 117714.3361 | 303905.4121 | 30.45 | 114.2
31824 | 2021-02-23 13:19 | 69.9978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.8726 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.287 | 117720.4165 | 303911.0951 | 30.45 | 114.2
31834 | 2021-02-23 13:19 | 70.3316 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.8065 | μmol/L | 15.2707 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.288 | 117706.5348 | 303899.1111 | 30.45 | 114.2
31844 | 2021-02-23 13:19 | 70.6647 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 241.9137 | μmol/L | 15.2646 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.285 | 117709.0209 | 303913.7882 | 30.45 | 114.2
31854 | 2021-02-23 13:20 | 70.9975 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 242.005 | μmol/L | 15.2523 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.285 | 117710.3808 | 303938.464 | 30.45 | 114.2