## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31864 | 2021-02-23 15:03 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0281 | μmol/L | 18.8873 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.649 | 116009.7283 | 304491.65 | 30.45 | 114.2
31874 | 2021-02-23 15:03 | 0.32753 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.945 | μmol/L | 18.8996 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.649 | 116024.6378 | 304505.1476 | 30.45 | 114.2
31884 | 2021-02-23 15:04 | 0.66086 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9231 | μmol/L | 18.9057 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.648 | 116029.5695 | 304510.9982 | 30.45 | 114.2
31894 | 2021-02-23 15:04 | 0.99403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8423 | μmol/L | 18.9118 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.65 | 116018.4022 | 304504.1583 | 30.45 | 114.2
31904 | 2021-02-23 15:04 | 1.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1922 | μmol/L | 18.8688 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.647 | 116017.7448 | 304512.2383 | 30.45 | 114.2
31914 | 2021-02-23 15:05 | 1.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1309 | μmol/L | 18.875 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.648 | 116009.2924 | 304504.3947 | 30.45 | 114.2
31924 | 2021-02-23 15:05 | 1.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0696 | μmol/L | 18.8811 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.649 | 116006.526 | 304514.1578 | 30.45 | 114.2
31934 | 2021-02-23 15:05 | 2.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1353 | μmol/L | 18.8627 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.652 | 116003.4306 | 304500.0847 | 30.45 | 114.2
31944 | 2021-02-23 15:06 | 2.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3215 | μmol/L | 18.8381 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.651 | 116007.9162 | 304492.8289 | 30.45 | 114.2
31954 | 2021-02-23 15:06 | 2.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.2995 | μmol/L | 18.8443 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.65 | 116002.2196 | 304476.8886 | 30.45 | 114.2
31964 | 2021-02-23 15:06 | 3.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1353 | μmol/L | 18.8627 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.652 | 116002.0599 | 304465.3664 | 30.45 | 114.2
31974 | 2021-02-23 15:07 | 3.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1179 | μmol/L | 18.8565 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.655 | 116008.4733 | 304474.2518 | 30.45 | 114.2
31984 | 2021-02-23 15:07 | 3.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1595 | μmol/L | 18.8504 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.655 | 116020.0127 | 304466.5505 | 30.45 | 114.2
31994 | 2021-02-23 15:07 | 4.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1246 | μmol/L | 18.8381 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.661 | 116030.2739 | 304461.8241 | 30.45 | 114.2
32004 | 2021-02-23 15:08 | 4.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0852 | μmol/L | 18.8381 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.663 | 116029.6037 | 304463.2563 | 30.45 | 114.2
32014 | 2021-02-23 15:08 | 4.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9628 | μmol/L | 18.8504 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.665 | 116033.6027 | 304452.1034 | 30.45 | 114.2
32024 | 2021-02-23 15:08 | 5.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0678 | μmol/L | 18.832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.666 | 116045.8063 | 304448.149 | 30.45 | 114.2
32034 | 2021-02-23 15:09 | 5.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.033 | μmol/L | 18.8197 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.672 | 116047.2101 | 304449.9742 | 30.45 | 114.2
32044 | 2021-02-23 15:09 | 5.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0723 | μmol/L | 18.8197 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.67 | 116059.1978 | 304443.7043 | 30.45 | 114.2
32054 | 2021-02-23 15:09 | 6.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0549 | μmol/L | 18.8135 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.673 | 116059.7183 | 304448.7575 | 30.45 | 114.2
32064 | 2021-02-23 15:10 | 6.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9302 | μmol/L | 18.832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.673 | 116066.0575 | 304443.7521 | 30.45 | 114.2
32074 | 2021-02-23 15:10 | 6.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8123 | μmol/L | 18.832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.679 | 116080.8894 | 304427.8258 | 30.45 | 114.2
32084 | 2021-02-23 15:10 | 7.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8364 | μmol/L | 18.8197 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.682 | 116089.2955 | 304429.2 | 30.45 | 114.2
32094 | 2021-02-23 15:11 | 7.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8387 | μmol/L | 18.8135 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.684 | 116112.4062 | 304423.4364 | 30.45 | 114.2
32104 | 2021-02-23 15:11 | 7.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8455 | μmol/L | 18.7951 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.69 | 116117.5181 | 304419.4261 | 30.45 | 114.2
32114 | 2021-02-23 15:11 | 8.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7035 | μmol/L | 18.8074 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.693 | 116141.4982 | 304424.1682 | 30.45 | 114.2
32124 | 2021-02-23 15:12 | 8.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.662 | μmol/L | 18.8135 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.693 | 116147.9733 | 304412.9511 | 30.45 | 114.2
32134 | 2021-02-23 15:12 | 8.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.6446 | μmol/L | 18.8074 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.696 | 116165.6344 | 304420.8739 | 30.45 | 114.2
32144 | 2021-02-23 15:12 | 9.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.6643 | μmol/L | 18.8074 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.695 | 116156.207 | 304419.5151 | 30.45 | 114.2
32154 | 2021-02-23 15:13 | 9.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.6839 | μmol/L | 18.8074 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.694 | 116147.6766 | 304409.8014 | 30.45 | 114.2
32164 | 2021-02-23 15:13 | 9.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7843 | μmol/L | 18.8013 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.691 | 116134.9539 | 304409.5035 | 30.45 | 114.2
32174 | 2021-02-23 15:13 | 10.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7081 | μmol/L | 18.7951 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.697 | 116158.6777 | 304413.8163 | 30.45 | 114.2
32184 | 2021-02-23 15:14 | 10.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7104 | μmol/L | 18.789 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.699 | 116173.8602 | 304405.8348 | 30.45 | 114.2
32194 | 2021-02-23 15:14 | 10.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.7542 | μmol/L | 18.7767 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.701 | 116172.3376 | 304410.1246 | 30.45 | 114.2
32204 | 2021-02-23 15:14 | 11.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.999 | μmol/L | 18.7521 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.697 | 116152.8744 | 304421.9512 | 30.45 | 114.2
32214 | 2021-02-23 15:15 | 11.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.0511 | μmol/L | 18.7705 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.688 | 116128.2753 | 304413.6335 | 30.45 | 114.2
32224 | 2021-02-23 15:15 | 11.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9241 | μmol/L | 18.7951 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.686 | 116092.1591 | 304407.5419 | 30.45 | 114.2
32234 | 2021-02-23 15:15 | 12.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1843 | μmol/L | 18.7828 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.677 | 116047.1542 | 304403.2007 | 30.45 | 114.2
32244 | 2021-02-23 15:16 | 12.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.4251 | μmol/L | 18.7705 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.669 | 116011.4517 | 304411.8079 | 30.45 | 114.2
32254 | 2021-02-23 15:16 | 12.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.21 | μmol/L | 18.8197 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.663 | 115979.8082 | 304398.7338 | 30.45 | 114.2
32264 | 2021-02-23 15:16 | 13.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.9342 | μmol/L | 18.875 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.658 | 115952.9086 | 304399.3282 | 30.45 | 114.2
32274 | 2021-02-23 15:17 | 13.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.932 | μmol/L | 18.8811 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.656 | 115927.3463 | 304390.3106 | 30.45 | 114.2
32284 | 2021-02-23 15:17 | 13.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.109 | μmol/L | 18.8811 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.647 | 115894.2809 | 304402.6665 | 30.45 | 114.2
32294 | 2021-02-23 15:17 | 14.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3081 | μmol/L | 18.875 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.639 | 115855.6702 | 304409.4974 | 30.45 | 114.2
32304 | 2021-02-23 15:18 | 14.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3497 | μmol/L | 18.8688 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.639 | 115833.3012 | 304412.4503 | 30.45 | 114.2
32314 | 2021-02-23 15:18 | 14.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.5249 | μmol/L | 18.875 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.628 | 115786.393 | 304422.447 | 30.45 | 114.2
32324 | 2021-02-23 15:18 | 15.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.6565 | μmol/L | 18.8934 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.615 | 115742.2832 | 304417.5498 | 30.45 | 114.2
32334 | 2021-02-23 15:19 | 15.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.5907 | μmol/L | 18.9118 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.612 | 115703.8196 | 304408.7955 | 30.45 | 114.2
32344 | 2021-02-23 15:19 | 15.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.8255 | μmol/L | 18.918 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.598 | 115631.947 | 304407.9076 | 30.45 | 114.2
32354 | 2021-02-23 15:19 | 16.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.9419 | μmol/L | 18.9241 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.59 | 115598.623 | 304409.1606 | 30.45 | 114.2
32364 | 2021-02-23 15:20 | 16.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.9991 | μmol/L | 18.9303 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.585 | 115565.8198 | 304410.3956 | 30.45 | 114.2
32374 | 2021-02-23 15:20 | 16.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 230.0739 | μmol/L | 18.9426 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.577 | 115537.1595 | 304419.2831 | 30.45 | 114.2
32384 | 2021-02-23 15:20 | 17.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.7885 | μmol/L | 18.9671 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.583 | 115562.8984 | 304407.4001 | 30.45 | 114.2
32394 | 2021-02-23 15:21 | 17.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3521 | μmol/L | 18.9733 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.603 | 115701.2519 | 304393.4591 | 30.45 | 114.2
32404 | 2021-02-23 15:21 | 17.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.5472 | μmol/L | 18.9794 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.591 | 115674.3005 | 304409.7224 | 30.45 | 114.2
32414 | 2021-02-23 15:21 | 18.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.679 | μmol/L | 18.9979 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.578 | 115586.8927 | 304402.3457 | 30.45 | 114.2
32424 | 2021-02-23 15:22 | 18.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.6529 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.573 | 115558.4336 | 304401.6306 | 30.45 | 114.2
32434 | 2021-02-23 15:22 | 18.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3723 | μmol/L | 19.0286 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.583 | 115574.1803 | 304411.0581 | 30.45 | 114.2
32444 | 2021-02-23 15:22 | 19.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.4625 | μmol/L | 19.0531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.57 | 115535.8108 | 304418.026 | 30.45 | 114.2
32454 | 2021-02-23 15:23 | 19.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.261 | μmol/L | 19.0654 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.576 | 115593.3661 | 304412.7147 | 30.45 | 114.2
32464 | 2021-02-23 15:23 | 19.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.2548 | μmol/L | 19.0839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.57 | 115566.291 | 304421.4347 | 30.45 | 114.2
32474 | 2021-02-23 15:23 | 20.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.4261 | μmol/L | 19.1023 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.555 | 115507.6502 | 304415.3413 | 30.45 | 114.2
32484 | 2021-02-23 15:24 | 20.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.341 | μmol/L | 19.1207 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.553 | 115459.0876 | 304418.4182 | 30.45 | 114.2
32494 | 2021-02-23 15:24 | 20.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3763 | μmol/L | 19.133 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.547 | 115451.5856 | 304422.376 | 30.45 | 114.2
32504 | 2021-02-23 15:24 | 21.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.3328 | μmol/L | 19.1453 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.545 | 115434.2313 | 304414.0747 | 30.45 | 114.2
32514 | 2021-02-23 15:25 | 21.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 229.1293 | μmol/L | 19.1637 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.549 | 115433.2753 | 304415.7194 | 30.45 | 114.2
32524 | 2021-02-23 15:25 | 21.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 228.8453 | μmol/L | 19.1883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.555 | 115525.1877 | 304415.1856 | 30.45 | 114.2
32534 | 2021-02-23 15:25 | 22.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.482 | μmol/L | 19.2067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.721 | 116513.9355 | 304426.8907 | 30.45 | 114.2
32544 | 2021-02-23 15:26 | 22.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.088 | μmol/L | 19.2252 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.787 | 116915.3128 | 304440.5444 | 30.45 | 114.2
32554 | 2021-02-23 15:26 | 22.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.4296 | μmol/L | 19.2375 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.765 | 116787.1359 | 304434.5706 | 30.45 | 114.2
32564 | 2021-02-23 15:26 | 23.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0056 | μmol/L | 19.2436 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.733 | 116609.4568 | 304439.6718 | 30.45 | 114.2
32574 | 2021-02-23 15:27 | 23.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.2116 | μmol/L | 19.262 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.716 | 116462.8814 | 304430.223 | 30.45 | 114.2
32584 | 2021-02-23 15:27 | 23.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.5923 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.69 | 116363.4123 | 304440.3039 | 30.45 | 114.2
32594 | 2021-02-23 15:27 | 24.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.9758 | μmol/L | 19.2928 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.666 | 116221.5181 | 304452.3653 | 30.45 | 114.2
32604 | 2021-02-23 15:28 | 24.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.1229 | μmol/L | 19.3173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.65 | 116104.1285 | 304438.4494 | 30.45 | 114.2
32614 | 2021-02-23 15:28 | 24.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.3756 | μmol/L | 19.3173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.637 | 116051.3989 | 304447.1333 | 30.45 | 114.2
32624 | 2021-02-23 15:28 | 25.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.4105 | μmol/L | 19.3296 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.631 | 115992.6224 | 304455.3272 | 30.45 | 114.2
32634 | 2021-02-23 15:29 | 25.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.5232 | μmol/L | 19.3419 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.621 | 115961.4249 | 304446.2929 | 30.45 | 114.2
32644 | 2021-02-23 15:29 | 25.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.4588 | μmol/L | 19.3603 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.618 | 115943.4086 | 304451.5567 | 30.45 | 114.2
32654 | 2021-02-23 15:29 | 26.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.4393 | μmol/L | 19.3603 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.619 | 115941.6403 | 304460.4695 | 30.45 | 114.2
32664 | 2021-02-23 15:30 | 26.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.5522 | μmol/L | 19.3726 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.609 | 115906.248 | 304450.0088 | 30.45 | 114.2
32674 | 2021-02-23 15:30 | 26.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 226.377 | μmol/L | 19.3726 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.618 | 115931.6751 | 304461.3386 | 30.45 | 114.2
32684 | 2021-02-23 15:30 | 27.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.7453 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.64 | 116080.7859 | 304462.0558 | 30.45 | 114.2
32694 | 2021-02-23 15:31 | 27.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.4352 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.656 | 116174.263 | 304463.6722 | 30.45 | 114.2
32704 | 2021-02-23 15:31 | 27.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.5668 | μmol/L | 19.4156 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.645 | 116138.6296 | 304472.552 | 30.45 | 114.2
32714 | 2021-02-23 15:31 | 28.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.4699 | μmol/L | 19.4156 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.65 | 116149.0814 | 304464.6308 | 30.45 | 114.2
32724 | 2021-02-23 15:32 | 28.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.3284 | μmol/L | 19.4341 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.651 | 116174.7866 | 304473.149 | 30.45 | 114.2
32734 | 2021-02-23 15:32 | 28.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0556 | μmol/L | 19.4402 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.663 | 116261.3057 | 304472.5572 | 30.45 | 114.2
32744 | 2021-02-23 15:32 | 29.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.9549 | μmol/L | 19.4525 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.664 | 116291.1753 | 304475.1824 | 30.45 | 114.2
32754 | 2021-02-23 15:33 | 29.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.7811 | μmol/L | 19.4525 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.673 | 116291.2074 | 304471.4871 | 30.45 | 114.2
32764 | 2021-02-23 15:33 | 29.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.9316 | μmol/L | 19.4648 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.661 | 116247.5277 | 304478.5937 | 30.45 | 114.2
32774 | 2021-02-23 15:33 | 30.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0263 | μmol/L | 19.4709 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.654 | 116204.5113 | 304480.3296 | 30.45 | 114.2
32784 | 2021-02-23 15:34 | 30.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.003 | μmol/L | 19.4832 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.651 | 116185.9153 | 304485.7567 | 30.45 | 114.2
32794 | 2021-02-23 15:34 | 30.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0397 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.647 | 116166.9256 | 304492.8544 | 30.45 | 114.2
32804 | 2021-02-23 15:34 | 31.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0144 | μmol/L | 19.5078 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.642 | 116133.4485 | 304477.7244 | 30.45 | 114.2
32814 | 2021-02-23 15:35 | 31.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.9371 | μmol/L | 19.5078 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.646 | 116178.8625 | 304491.4034 | 30.45 | 114.2
32824 | 2021-02-23 15:35 | 31.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.686 | μmol/L | 19.5078 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.659 | 116222.8139 | 304491.434 | 30.45 | 114.2
32834 | 2021-02-23 15:35 | 32.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.8539 | μmol/L | 19.5263 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.644 | 116165.2814 | 304493.5379 | 30.45 | 114.2
32844 | 2021-02-23 15:36 | 32.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.0511 | μmol/L | 19.514 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.638 | 116143.693 | 304501.9783 | 30.45 | 114.2
32854 | 2021-02-23 15:36 | 32.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.1459 | μmol/L | 19.5201 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.631 | 116108.3043 | 304498.4389 | 30.45 | 114.2
32864 | 2021-02-23 15:36 | 33.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 225.1033 | μmol/L | 19.5324 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.629 | 116091.7097 | 304505.2694 | 30.45 | 114.2
32874 | 2021-02-23 15:37 | 33.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.966 | μmol/L | 19.5385 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.634 | 116117.553 | 304504.0068 | 30.45 | 114.2
32884 | 2021-02-23 15:37 | 33.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.9041 | μmol/L | 19.5508 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.633 | 116105.0042 | 304507.327 | 30.45 | 114.2
32894 | 2021-02-23 15:37 | 34.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.8654 | μmol/L | 19.5508 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.635 | 116129.6745 | 304510.0775 | 30.45 | 114.2
32904 | 2021-02-23 15:38 | 34.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.964 | μmol/L | 19.5447 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.632 | 116139.346 | 304508.3815 | 30.45 | 114.2
32914 | 2021-02-23 15:38 | 34.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.5932 | μmol/L | 19.557 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.647 | 116187.975 | 304516.2149 | 30.45 | 114.2
32924 | 2021-02-23 15:38 | 35.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.5932 | μmol/L | 19.557 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.647 | 116184.7706 | 304519.7137 | 30.45 | 114.2
32934 | 2021-02-23 15:39 | 35.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.5758 | μmol/L | 19.5508 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.65 | 116210.6925 | 304518.3303 | 30.45 | 114.2
32944 | 2021-02-23 15:39 | 35.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.3174 | μmol/L | 19.5754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.655 | 116240.7331 | 304521.025 | 30.45 | 114.2
32954 | 2021-02-23 15:39 | 36.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.3983 | μmol/L | 19.5631 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.655 | 116253.1176 | 304517.489 | 30.45 | 114.2
32964 | 2021-02-23 15:40 | 36.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.0824 | μmol/L | 19.5877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.663 | 116282.53 | 304516.1986 | 30.45 | 114.2
32974 | 2021-02-23 15:40 | 36.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 224.0246 | μmol/L | 19.5877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.666 | 116312.6075 | 304512.4147 | 30.45 | 114.2
32984 | 2021-02-23 15:40 | 37.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.8112 | μmol/L | 19.5938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.675 | 116346.5079 | 304524.3943 | 30.45 | 114.2
32994 | 2021-02-23 15:41 | 37.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.8092 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.673 | 116370.9087 | 304514.9728 | 30.45 | 114.2
33004 | 2021-02-23 15:41 | 37.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.7343 | μmol/L | 19.5938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.679 | 116391.3555 | 304522.0888 | 30.45 | 114.2
33014 | 2021-02-23 15:41 | 38.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.5443 | μmol/L | 19.5877 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.691 | 116439.3531 | 304518.6667 | 30.45 | 114.2
33024 | 2021-02-23 15:42 | 38.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.5595 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.686 | 116429.9352 | 304518.8325 | 30.45 | 114.2
33034 | 2021-02-23 15:42 | 38.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.5212 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.688 | 116434.2098 | 304531.2385 | 30.45 | 114.2
33044 | 2021-02-23 15:42 | 39.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.4981 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.685 | 116454.5762 | 304525.9097 | 30.45 | 114.2
33054 | 2021-02-23 15:43 | 39.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3849 | μmol/L | 19.6061 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.693 | 116459.8801 | 304527.7689 | 30.45 | 114.2
33064 | 2021-02-23 15:43 | 39.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.4444 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.692 | 116482.0515 | 304532.6551 | 30.45 | 114.2
33074 | 2021-02-23 15:43 | 40.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.4021 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.69 | 116482.12 | 304538.2796 | 30.45 | 114.2
33084 | 2021-02-23 15:44 | 40.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3043 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.693 | 116509.9271 | 304546.9206 | 30.45 | 114.2
33094 | 2021-02-23 15:44 | 40.9947 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3255 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.694 | 116512.4997 | 304548.1843 | 30.45 | 114.2
33104 | 2021-02-23 15:44 | 41.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.3255 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.694 | 116499.9118 | 304545.6478 | 30.45 | 114.2
33114 | 2021-02-23 15:45 | 41.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.1722 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.702 | 116529.6706 | 304545.5087 | 30.45 | 114.2
33124 | 2021-02-23 15:45 | 41.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.0744 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.705 | 116545.7127 | 304563.6491 | 30.45 | 114.2
33134 | 2021-02-23 15:45 | 42.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 223.0553 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.706 | 116553.7087 | 304549.238 | 30.45 | 114.2
33144 | 2021-02-23 15:46 | 42.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.8963 | μmol/L | 19.6369 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.708 | 116579.9251 | 304547.3428 | 30.45 | 114.2
33154 | 2021-02-23 15:46 | 42.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.9385 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.71 | 116609.8058 | 304559.1915 | 30.45 | 114.2
33164 | 2021-02-23 15:46 | 43.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.7111 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.724 | 116663.5522 | 304559.5083 | 30.45 | 114.2
33174 | 2021-02-23 15:47 | 43.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.6498 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.723 | 116681.4911 | 304549.284 | 30.45 | 114.2
33184 | 2021-02-23 15:47 | 43.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.5754 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.729 | 116723.2157 | 304558.5329 | 30.45 | 114.2
33194 | 2021-02-23 15:47 | 44.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4799 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.734 | 116724.0512 | 304578.6774 | 30.45 | 114.2
33204 | 2021-02-23 15:48 | 44.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.4628 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.737 | 116751.717 | 304575.9967 | 30.45 | 114.2
33214 | 2021-02-23 15:48 | 44.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.3063 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.741 | 116771.8434 | 304575.6772 | 30.45 | 114.2
33224 | 2021-02-23 15:48 | 45.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.2853 | μmol/L | 19.6369 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.74 | 116787.096 | 304562.802 | 30.45 | 114.2
33234 | 2021-02-23 15:49 | 45.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.1939 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.749 | 116825.3148 | 304581.9172 | 30.45 | 114.2
33244 | 2021-02-23 15:49 | 45.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0776 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.753 | 116840.4081 | 304580.0798 | 30.45 | 114.2
33254 | 2021-02-23 15:49 | 46.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0776 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.753 | 116858.7253 | 304588.6443 | 30.45 | 114.2
33264 | 2021-02-23 15:50 | 46.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 222.0205 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.756 | 116901.8306 | 304579.128 | 30.45 | 114.2
33274 | 2021-02-23 15:50 | 46.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.8873 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.763 | 116926.8908 | 304579.6986 | 30.45 | 114.2
33284 | 2021-02-23 15:50 | 47.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7372 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 116976.9747 | 304597.9743 | 30.45 | 114.2
33294 | 2021-02-23 15:51 | 47.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7162 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.772 | 116973.6906 | 304593.9303 | 30.45 | 114.2
33304 | 2021-02-23 15:51 | 47.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.7372 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.773 | 116996.2771 | 304597.7864 | 30.45 | 114.2
33314 | 2021-02-23 15:51 | 48.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5832 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.779 | 117023.9587 | 304600.6775 | 30.45 | 114.2
33324 | 2021-02-23 15:52 | 48.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.5053 | μmol/L | 19.6369 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.781 | 117048.4923 | 304625.1939 | 30.45 | 114.2
33334 | 2021-02-23 15:52 | 48.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4903 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.786 | 117062.2103 | 304597.1489 | 30.45 | 114.2
33344 | 2021-02-23 15:52 | 49.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.4144 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.79 | 117097.1756 | 304609.5803 | 30.45 | 114.2
33354 | 2021-02-23 15:53 | 49.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2607 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.796 | 117128.1735 | 304606.9999 | 30.45 | 114.2
33364 | 2021-02-23 15:53 | 49.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.2437 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.799 | 117163.0997 | 304609.0912 | 30.45 | 114.2
33374 | 2021-02-23 15:53 | 50.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.1849 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.8 | 117171.865 | 304611.2648 | 30.45 | 114.2
33384 | 2021-02-23 15:54 | 50.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 221.0523 | μmol/L | 19.6307 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.807 | 117208.706 | 304617.6144 | 30.45 | 114.2
33394 | 2021-02-23 15:54 | 50.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9975 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.812 | 117229.1971 | 304618.7457 | 30.45 | 114.2
33404 | 2021-02-23 15:54 | 51.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9995 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.814 | 117250.2112 | 304620.0345 | 30.45 | 114.2
33414 | 2021-02-23 15:55 | 51.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.9427 | μmol/L | 19.6184 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.817 | 117271.9793 | 304625.9642 | 30.45 | 114.2
33424 | 2021-02-23 15:55 | 51.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.8461 | μmol/L | 19.6246 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.82 | 117282.0869 | 304630.7247 | 30.45 | 114.2
33434 | 2021-02-23 15:55 | 52.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.888 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.822 | 117323.5274 | 304631.6011 | 30.45 | 114.2
33444 | 2021-02-23 15:56 | 52.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6989 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.832 | 117352.3087 | 304633.8132 | 30.45 | 114.2
33454 | 2021-02-23 15:56 | 52.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.6234 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.836 | 117381.2655 | 304622.4519 | 30.45 | 114.2
33464 | 2021-02-23 15:56 | 53.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.5289 | μmol/L | 19.6123 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.841 | 117422.3351 | 304631.9133 | 30.45 | 114.2
33474 | 2021-02-23 15:57 | 53.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.4953 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.847 | 117446.4 | 304640.5586 | 30.45 | 114.2
33484 | 2021-02-23 15:57 | 53.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3612 | μmol/L | 19.6061 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.852 | 117473.5842 | 304635.7433 | 30.45 | 114.2
33494 | 2021-02-23 15:57 | 54.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2857 | μmol/L | 19.6061 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.856 | 117491.747 | 304648.5775 | 30.45 | 114.2
33504 | 2021-02-23 15:58 | 54.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.3066 | μmol/L | 19.6 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.857 | 117506.7708 | 304653.5741 | 30.45 | 114.2
33514 | 2021-02-23 15:58 | 54.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2144 | μmol/L | 19.5938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.864 | 117546.5018 | 304654.8031 | 30.45 | 114.2
33524 | 2021-02-23 15:58 | 55.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1203 | μmol/L | 19.5938 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.869 | 117574.983 | 304650.6167 | 30.45 | 114.2
33534 | 2021-02-23 15:59 | 55.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0867 | μmol/L | 19.5816 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.875 | 117606.5013 | 304659.0501 | 30.45 | 114.2
33544 | 2021-02-23 15:59 | 55.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0888 | μmol/L | 19.5754 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.877 | 117642.0503 | 304654.7337 | 30.45 | 114.2
33554 | 2021-02-23 15:59 | 56.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0176 | μmol/L | 19.5631 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.885 | 117674.578 | 304661.0623 | 30.45 | 114.2
33564 | 2021-02-23 16:00 | 56.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0574 | μmol/L | 19.557 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.885 | 117707.0399 | 304666.1565 | 30.45 | 114.2
33574 | 2021-02-23 16:00 | 56.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0051 | μmol/L | 19.5447 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.892 | 117708.407 | 304655.2098 | 30.45 | 114.2
33584 | 2021-02-23 16:00 | 57.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1055 | μmol/L | 19.5263 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.893 | 117739.2749 | 304676.7118 | 30.45 | 114.2
33594 | 2021-02-23 16:01 | 57.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1285 | μmol/L | 19.514 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.896 | 117747.1143 | 304685.7501 | 30.45 | 114.2
33604 | 2021-02-23 16:01 | 57.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1118 | μmol/L | 19.5078 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.899 | 117752.7713 | 304679.1218 | 30.45 | 114.2
33614 | 2021-02-23 16:01 | 58.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1139 | μmol/L | 19.5017 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.901 | 117776.3347 | 304672.1505 | 30.45 | 114.2
33624 | 2021-02-23 16:02 | 58.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2101 | μmol/L | 19.4955 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.898 | 117772.5807 | 304686.2472 | 30.45 | 114.2
33634 | 2021-02-23 16:02 | 58.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0951 | μmol/L | 19.5017 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.902 | 117792.6351 | 304689.1679 | 30.45 | 114.2
33644 | 2021-02-23 16:02 | 59.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.116 | μmol/L | 19.4955 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.903 | 117796.8806 | 304684.3336 | 30.45 | 114.2
33654 | 2021-02-23 16:03 | 59.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1369 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.904 | 117805.2503 | 304694.1803 | 30.45 | 114.2
33664 | 2021-02-23 16:03 | 59.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.2186 | μmol/L | 19.4709 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.906 | 117812.2506 | 304682.7649 | 30.45 | 114.2
33674 | 2021-02-23 16:03 | 60.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0993 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.906 | 117794.8869 | 304678.5567 | 30.45 | 114.2
33684 | 2021-02-23 16:04 | 60.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.1181 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.905 | 117806.071 | 304673.1692 | 30.45 | 114.2
33694 | 2021-02-23 16:04 | 60.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0407 | μmol/L | 19.4955 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.907 | 117808.5981 | 304680.55 | 30.45 | 114.2
33704 | 2021-02-23 16:04 | 61.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.024 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.91 | 117826.4537 | 304682.3107 | 30.45 | 114.2
33714 | 2021-02-23 16:05 | 61.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0659 | μmol/L | 19.4771 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.912 | 117856.1085 | 304698.8214 | 30.45 | 114.2
33724 | 2021-02-23 16:05 | 61.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.068 | μmol/L | 19.4709 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.914 | 117858.8533 | 304693.9192 | 30.45 | 114.2
33734 | 2021-02-23 16:05 | 62.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.089 | μmol/L | 19.4648 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.915 | 117866.7201 | 304690.32 | 30.45 | 114.2
33744 | 2021-02-23 16:06 | 62.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9928 | μmol/L | 19.4709 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 117866.6958 | 304691.5212 | 30.45 | 114.2
33754 | 2021-02-23 16:06 | 62.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0325 | μmol/L | 19.4648 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 117867.6405 | 304686.6314 | 30.45 | 114.2
33764 | 2021-02-23 16:06 | 63.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8736 | μmol/L | 19.4894 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.918 | 117892.0474 | 304685.9384 | 30.45 | 114.2
33774 | 2021-02-23 16:07 | 63.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7212 | μmol/L | 19.4955 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.924 | 117900.8378 | 304700.676 | 30.45 | 114.2
33784 | 2021-02-23 16:07 | 63.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5855 | μmol/L | 19.5078 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.927 | 117918.3649 | 304700.5375 | 30.45 | 114.2
33794 | 2021-02-23 16:07 | 64.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5501 | μmol/L | 19.5017 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.931 | 117935.614 | 304717.2472 | 30.45 | 114.2
33804 | 2021-02-23 16:08 | 64.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8091 | μmol/L | 19.4587 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.932 | 117956.7621 | 304705.1575 | 30.45 | 114.2
33814 | 2021-02-23 16:08 | 64.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 220.0121 | μmol/L | 19.4156 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.936 | 117968.0759 | 304699.9782 | 30.45 | 114.2
33824 | 2021-02-23 16:08 | 65.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9326 | μmol/L | 19.4279 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.936 | 117980.2976 | 304704.2059 | 30.45 | 114.2
33834 | 2021-02-23 16:09 | 65.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7007 | μmol/L | 19.4464 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.942 | 118023.9894 | 304701.3392 | 30.45 | 114.2
33844 | 2021-02-23 16:09 | 65.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5903 | μmol/L | 19.4402 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 118037.9384 | 304694.2558 | 30.45 | 114.2
33854 | 2021-02-23 16:09 | 66.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7094 | μmol/L | 19.4218 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 118084.3433 | 304711.8716 | 30.45 | 114.2
33864 | 2021-02-23 16:10 | 66.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7159 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.956 | 118110.8564 | 304707.7986 | 30.45 | 114.2
33874 | 2021-02-23 16:10 | 66.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.503 | μmol/L | 19.4218 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.961 | 118128.8186 | 304698.8078 | 30.45 | 114.2
33884 | 2021-02-23 16:10 | 67.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2717 | μmol/L | 19.4402 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 118143.7994 | 304696.1001 | 30.45 | 114.2
33894 | 2021-02-23 16:11 | 67.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2738 | μmol/L | 19.4341 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 118160.3489 | 304709.4415 | 30.45 | 114.2
33904 | 2021-02-23 16:11 | 67.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4699 | μmol/L | 19.4095 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 118163.4758 | 304714.6507 | 30.45 | 114.2
33914 | 2021-02-23 16:11 | 68.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5261 | μmol/L | 19.4095 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.964 | 118131.9983 | 304709.086 | 30.45 | 114.2
33924 | 2021-02-23 16:12 | 68.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6011 | μmol/L | 19.4095 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.96 | 118113.9973 | 304716.4532 | 30.45 | 114.2
33934 | 2021-02-23 16:12 | 68.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6928 | μmol/L | 19.4156 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.953 | 118092.5356 | 304712.4307 | 30.45 | 114.2
33944 | 2021-02-23 16:12 | 69.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7137 | μmol/L | 19.4095 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.954 | 118093.5191 | 304718.2941 | 30.45 | 114.2
33954 | 2021-02-23 16:13 | 69.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7722 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.953 | 118074.5442 | 304723.2674 | 30.45 | 114.2
33964 | 2021-02-23 16:13 | 69.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7722 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.953 | 118080.9347 | 304713.5746 | 30.45 | 114.2
33974 | 2021-02-23 16:13 | 70.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.791 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.952 | 118063.036 | 304716.1568 | 30.45 | 114.2
33984 | 2021-02-23 16:14 | 70.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7932 | μmol/L | 19.3972 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.954 | 118066.5416 | 304732.3906 | 30.45 | 114.2
33994 | 2021-02-23 16:14 | 70.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8285 | μmol/L | 19.4034 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.95 | 118080.4912 | 304725.7649 | 30.45 | 114.2
34004 | 2021-02-23 16:14 | 71.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.9334 | μmol/L | 19.3726 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.955 | 118090.8903 | 304733.8445 | 30.45 | 114.2
34014 | 2021-02-23 16:15 | 71.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.76 | μmol/L | 19.3849 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.96 | 118097.6618 | 304726.1233 | 30.45 | 114.2
34024 | 2021-02-23 16:15 | 71.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8395 | μmol/L | 19.3726 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.96 | 118118.4019 | 304745.6969 | 30.45 | 114.2
34034 | 2021-02-23 16:15 | 72.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8229 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.963 | 118130.1611 | 304738.3474 | 30.45 | 114.2
34044 | 2021-02-23 16:16 | 72.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8229 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.963 | 118142.1816 | 304738.9902 | 30.45 | 114.2
34054 | 2021-02-23 16:16 | 72.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7853 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.965 | 118154.5405 | 304740.8982 | 30.45 | 114.2
34064 | 2021-02-23 16:16 | 73.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7081 | μmol/L | 19.3726 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 118153.4329 | 304730.9647 | 30.45 | 114.2
34074 | 2021-02-23 16:17 | 73.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5911 | μmol/L | 19.3849 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 118156.6497 | 304746.6119 | 30.45 | 114.2
34084 | 2021-02-23 16:17 | 73.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7478 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 118161.8301 | 304747.7408 | 30.45 | 114.2
34094 | 2021-02-23 16:17 | 74.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7478 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.967 | 118165.6059 | 304747.2954 | 30.45 | 114.2
34104 | 2021-02-23 16:18 | 74.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7666 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.966 | 118155.9937 | 304759.0484 | 30.45 | 114.2
34114 | 2021-02-23 16:18 | 74.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7853 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.965 | 118160.8187 | 304758.0129 | 30.45 | 114.2
34124 | 2021-02-23 16:18 | 75.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7897 | μmol/L | 19.3542 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.969 | 118174.1099 | 304745.5008 | 30.45 | 114.2
34134 | 2021-02-23 16:19 | 75.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8317 | μmol/L | 19.3419 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.971 | 118188.3643 | 304742.9287 | 30.45 | 114.2
34144 | 2021-02-23 16:19 | 75.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7334 | μmol/L | 19.3542 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.972 | 118199.1835 | 304758.5818 | 30.45 | 114.2
34154 | 2021-02-23 16:19 | 76.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5227 | μmol/L | 19.3665 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.979 | 118220.1433 | 304770.6225 | 30.45 | 114.2
34164 | 2021-02-23 16:20 | 76.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3453 | μmol/L | 19.3911 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.98 | 118226.6211 | 304771.1217 | 30.45 | 114.2
34174 | 2021-02-23 16:20 | 76.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3266 | μmol/L | 19.3911 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.981 | 118234.0246 | 304771.172 | 30.45 | 114.2
34184 | 2021-02-23 16:20 | 77.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7445 | μmol/L | 19.3235 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.982 | 118245.9561 | 304760.8413 | 30.45 | 114.2
34194 | 2021-02-23 16:21 | 77.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.6065 | μmol/L | 19.3419 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.983 | 118256.806 | 304765.7971 | 30.45 | 114.2
34204 | 2021-02-23 16:21 | 77.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5713 | μmol/L | 19.3358 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.987 | 118278.9521 | 304768.0196 | 30.45 | 114.2
34214 | 2021-02-23 16:21 | 78.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.8284 | μmol/L | 19.2989 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.986 | 118293.9065 | 304772.7885 | 30.45 | 114.2
34224 | 2021-02-23 16:22 | 78.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.7114 | μmol/L | 19.3112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.988 | 118307.1275 | 304781.948 | 30.45 | 114.2
34234 | 2021-02-23 16:22 | 78.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4985 | μmol/L | 19.3296 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.993 | 118321.1412 | 304792.4894 | 30.45 | 114.2
34244 | 2021-02-23 16:22 | 79.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.503 | μmol/L | 19.3173 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.997 | 118335.6374 | 304773.0002 | 30.45 | 114.2
34254 | 2021-02-23 16:23 | 79.661 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5427 | μmol/L | 19.3112 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 22.997 | 118339.8658 | 304783.6687 | 30.45 | 114.2
34264 | 2021-02-23 16:23 | 79.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5262 | μmol/L | 19.3051 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23 | 118345.8839 | 304790.793 | 30.45 | 114.2
34274 | 2021-02-23 16:23 | 80.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5681 | μmol/L | 19.2928 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.002 | 118359.5239 | 304785.9619 | 30.45 | 114.2
34284 | 2021-02-23 16:24 | 80.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5869 | μmol/L | 19.2928 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.001 | 118358.7573 | 304781.8264 | 30.45 | 114.2
34294 | 2021-02-23 16:24 | 80.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.5097 | μmol/L | 19.2989 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.003 | 118380.4534 | 304783.7543 | 30.45 | 114.2
34304 | 2021-02-23 16:24 | 81.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.4744 | μmol/L | 19.2928 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.007 | 118414.9999 | 304785.7245 | 30.45 | 114.2
34314 | 2021-02-23 16:25 | 81.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.3292 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.019 | 118440.9617 | 304782.3459 | 30.45 | 114.2
34324 | 2021-02-23 16:25 | 81.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1541 | μmol/L | 19.2989 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.022 | 118468.7153 | 304784.6402 | 30.45 | 114.2
34334 | 2021-02-23 16:25 | 82.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2379 | μmol/L | 19.2743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.026 | 118494.725 | 304789.6329 | 30.45 | 114.2
34344 | 2021-02-23 16:26 | 82.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2379 | μmol/L | 19.2743 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.026 | 118519.9151 | 304801.7413 | 30.45 | 114.2
34354 | 2021-02-23 16:26 | 82.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.273 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.022 | 118504.2873 | 304785.5237 | 30.45 | 114.2
34364 | 2021-02-23 16:26 | 83.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1982 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.026 | 118520.5386 | 304804.0891 | 30.45 | 114.2
34374 | 2021-02-23 16:27 | 83.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1795 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.027 | 118504.8732 | 304796.6295 | 30.45 | 114.2
34384 | 2021-02-23 16:27 | 83.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1608 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.028 | 118515.4994 | 304790.9367 | 30.45 | 114.2
34394 | 2021-02-23 16:27 | 84.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1653 | μmol/L | 19.2682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.032 | 118527.6937 | 304802.8701 | 30.45 | 114.2
34404 | 2021-02-23 16:28 | 84.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2634 | μmol/L | 19.2559 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.031 | 118546.3575 | 304809.0422 | 30.45 | 114.2
34414 | 2021-02-23 16:28 | 84.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.03 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.035 | 118556.9749 | 304819.9624 | 30.45 | 114.2
34424 | 2021-02-23 16:28 | 85.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.2283 | μmol/L | 19.2498 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.035 | 118553.9682 | 304810.5276 | 30.45 | 114.2
34434 | 2021-02-23 16:29 | 85.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1093 | μmol/L | 19.2682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.035 | 118575.1645 | 304816.8919 | 30.45 | 114.2
34444 | 2021-02-23 16:29 | 85.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0113 | μmol/L | 19.2805 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.036 | 118577.6349 | 304815.149 | 30.45 | 114.2
34454 | 2021-02-23 16:29 | 86.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1512 | μmol/L | 19.2559 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.037 | 118574.3676 | 304810.7697 | 30.45 | 114.2
34464 | 2021-02-23 16:30 | 86.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0345 | μmol/L | 19.2682 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.039 | 118581.049 | 304817.0045 | 30.45 | 114.2
34474 | 2021-02-23 16:30 | 86.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1931 | μmol/L | 19.2436 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.039 | 118581.4764 | 304808.4583 | 30.45 | 114.2
34484 | 2021-02-23 16:30 | 87.3276 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1977 | μmol/L | 19.2313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.043 | 118591.3408 | 304816.0939 | 30.45 | 114.2
34494 | 2021-02-23 16:31 | 87.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.1626 | μmol/L | 19.2252 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.047 | 118622.5705 | 304807.0955 | 30.45 | 114.2
34504 | 2021-02-23 16:31 | 87.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0131 | μmol/L | 19.2252 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.055 | 118649.9123 | 304808.4761 | 30.45 | 114.2
34514 | 2021-02-23 16:31 | 88.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8638 | μmol/L | 19.2252 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.063 | 118694.8888 | 304827.3799 | 30.45 | 114.2
34524 | 2021-02-23 16:32 | 88.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7869 | μmol/L | 19.2313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.065 | 118710.7002 | 304822.8754 | 30.45 | 114.2
34534 | 2021-02-23 16:32 | 88.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6122 | μmol/L | 19.2498 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.068 | 118720.5635 | 304822.5785 | 30.45 | 114.2
34544 | 2021-02-23 16:32 | 89.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8055 | μmol/L | 19.2313 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.064 | 118734.43 | 304830.6895 | 30.45 | 114.2
34554 | 2021-02-23 16:33 | 89.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9267 | μmol/L | 19.2067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.066 | 118746.7119 | 304828.9452 | 30.45 | 114.2
34564 | 2021-02-23 16:33 | 89.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9104 | μmol/L | 19.2006 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.069 | 118769.7603 | 304835.0636 | 30.45 | 114.2
34574 | 2021-02-23 16:33 | 90.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6983 | μmol/L | 19.219 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.074 | 118777.4293 | 304839.8187 | 30.45 | 114.2
34584 | 2021-02-23 16:34 | 90.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7961 | μmol/L | 19.2067 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.073 | 118799.2791 | 304844.8177 | 30.45 | 114.2
34594 | 2021-02-23 16:34 | 90.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6074 | μmol/L | 19.2129 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.081 | 118815.7957 | 304846.5023 | 30.45 | 114.2
34604 | 2021-02-23 16:34 | 91.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8031 | μmol/L | 19.1883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.079 | 118820.972 | 304864.7457 | 30.45 | 114.2
34614 | 2021-02-23 16:35 | 91.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6702 | μmol/L | 19.1945 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.084 | 118835.4052 | 304860.2958 | 30.45 | 114.2
34624 | 2021-02-23 16:35 | 91.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4956 | μmol/L | 19.2129 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.087 | 118848.1683 | 304869.0434 | 30.45 | 114.2
34634 | 2021-02-23 16:35 | 92.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6866 | μmol/L | 19.2006 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.081 | 118848.0872 | 304866.858 | 30.45 | 114.2
34644 | 2021-02-23 16:36 | 92.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7844 | μmol/L | 19.1883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.08 | 118845.2106 | 304874.1249 | 30.45 | 114.2
34654 | 2021-02-23 16:36 | 92.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7658 | μmol/L | 19.1883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.081 | 118816.3223 | 304877.4107 | 30.45 | 114.2
34664 | 2021-02-23 16:36 | 93.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7425 | μmol/L | 19.2006 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.078 | 118816.2874 | 304862.1902 | 30.45 | 114.2
34674 | 2021-02-23 16:37 | 93.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8031 | μmol/L | 19.1883 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.079 | 118803.9006 | 304868.7347 | 30.45 | 114.2
34684 | 2021-02-23 16:37 | 93.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9616 | μmol/L | 19.1637 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.079 | 118811.3492 | 304870.491 | 30.45 | 114.2
34694 | 2021-02-23 16:37 | 94.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 219.0036 | μmol/L | 19.1514 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.081 | 118818.3935 | 304877.4441 | 30.45 | 114.2
34704 | 2021-02-23 16:38 | 94.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8473 | μmol/L | 19.1699 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.083 | 118842.8287 | 304889.3245 | 30.45 | 114.2
34714 | 2021-02-23 16:38 | 94.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.9663 | μmol/L | 19.1514 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.083 | 118863.1929 | 304896.5911 | 30.45 | 114.2
34724 | 2021-02-23 16:38 | 95.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7961 | μmol/L | 19.1576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.09 | 118876.6935 | 304890.6001 | 30.45 | 114.2
34734 | 2021-02-23 16:39 | 95.6611 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7937 | μmol/L | 19.1637 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.088 | 118894.9289 | 304887.4601 | 30.45 | 114.2
34744 | 2021-02-23 16:39 | 95.9938 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.838 | μmol/L | 19.1453 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.092 | 118890.2739 | 304905.8971 | 30.45 | 114.2
34754 | 2021-02-23 16:39 | 96.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7774 | μmol/L | 19.1576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.091 | 118903.0313 | 304900.5581 | 30.45 | 114.2
34764 | 2021-02-23 16:40 | 96.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7401 | μmol/L | 19.1576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.093 | 118915.549 | 304899.0493 | 30.45 | 114.2
34774 | 2021-02-23 16:40 | 96.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.859 | μmol/L | 19.1392 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.093 | 118919.6774 | 304918.0693 | 30.45 | 114.2
34784 | 2021-02-23 16:40 | 97.3279 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.633 | μmol/L | 19.1453 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.103 | 118943.792 | 304913.76 | 30.45 | 114.2
34794 | 2021-02-23 16:41 | 97.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8288 | μmol/L | 19.1207 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.101 | 118952.6053 | 304915.824 | 30.45 | 114.2
34804 | 2021-02-23 16:41 | 97.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.8918 | μmol/L | 19.1023 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.104 | 118961.0448 | 304926.5365 | 30.45 | 114.2
34814 | 2021-02-23 16:41 | 98.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.7962 | μmol/L | 19.1084 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.107 | 118970.0748 | 304926.1834 | 30.45 | 114.2
34824 | 2021-02-23 16:42 | 98.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5051 | μmol/L | 19.1392 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.112 | 118999.6026 | 304929.7449 | 30.45 | 114.2
34834 | 2021-02-23 16:42 | 98.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3677 | μmol/L | 19.1576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.113 | 119016.9062 | 304932.4226 | 30.45 | 114.2
34844 | 2021-02-23 16:42 | 99.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3701 | μmol/L | 19.1514 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.115 | 119032.1025 | 304941.5354 | 30.45 | 114.2
34854 | 2021-02-23 16:43 | 99.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3492 | μmol/L | 19.1576 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.114 | 119044.4493 | 304947.7471 | 30.45 | 114.2
34864 | 2021-02-23 16:43 | 99.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3725 | μmol/L | 19.1453 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.117 | 119050.7547 | 304940.4117 | 30.45 | 114.2
34874 | 2021-02-23 16:43 | 100.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4539 | μmol/L | 19.1269 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.119 | 119054.5849 | 304942.9836 | 30.45 | 114.2
34884 | 2021-02-23 16:44 | 100.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5541 | μmol/L | 19.1084 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.12 | 119059.0424 | 304946.7838 | 30.45 | 114.2
34894 | 2021-02-23 16:44 | 100.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5913 | μmol/L | 19.1084 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.118 | 119066.289 | 304954.6158 | 30.45 | 114.2
34904 | 2021-02-23 16:44 | 101.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5727 | μmol/L | 19.1084 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.119 | 119053.5481 | 304942.122 | 30.45 | 114.2
34914 | 2021-02-23 16:45 | 101.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6892 | μmol/L | 19.0962 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.117 | 119073.6768 | 304957.2572 | 30.45 | 114.2
34924 | 2021-02-23 16:45 | 101.9941 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5193 | μmol/L | 19.1023 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.124 | 119104.6582 | 304972.3646 | 30.45 | 114.2
34934 | 2021-02-23 16:45 | 102.3277 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4239 | μmol/L | 19.1084 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.127 | 119119.5016 | 304951.5589 | 30.45 | 114.2
34944 | 2021-02-23 16:46 | 102.6607 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5078 | μmol/L | 19.0839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.131 | 119148.1345 | 304965.6084 | 30.45 | 114.2
34954 | 2021-02-23 16:46 | 102.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4892 | μmol/L | 19.0839 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.132 | 119148.3985 | 304955.6764 | 30.45 | 114.2
34964 | 2021-02-23 16:46 | 103.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3356 | μmol/L | 19.0962 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.136 | 119171.0934 | 304965.0531 | 30.45 | 114.2
34974 | 2021-02-23 16:47 | 103.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.629 | μmol/L | 19.0593 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.133 | 119153.709 | 304969.7528 | 30.45 | 114.2
34984 | 2021-02-23 16:47 | 103.994 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6711 | μmol/L | 19.047 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.135 | 119170.2691 | 304975.9269 | 30.45 | 114.2
34994 | 2021-02-23 16:47 | 104.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.536 | μmol/L | 19.0593 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.138 | 119153.133 | 304964.6296 | 30.45 | 114.2
35004 | 2021-02-23 16:48 | 104.6609 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5942 | μmol/L | 19.0531 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.137 | 119161.7456 | 304967.3238 | 30.45 | 114.2
35014 | 2021-02-23 16:48 | 104.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6176 | μmol/L | 19.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.14 | 119171.9018 | 304982.0775 | 30.45 | 114.2
35024 | 2021-02-23 16:48 | 105.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6549 | μmol/L | 19.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.138 | 119190.9195 | 304981.0143 | 30.45 | 114.2
35034 | 2021-02-23 16:49 | 105.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5804 | μmol/L | 19.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.142 | 119205.6006 | 304990.8165 | 30.45 | 114.2
35044 | 2021-02-23 16:49 | 105.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5174 | μmol/L | 19.0593 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.139 | 119203.5867 | 304982.7912 | 30.45 | 114.2
35054 | 2021-02-23 16:49 | 106.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.2871 | μmol/L | 19.0777 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.145 | 119218.9449 | 304985.5098 | 30.45 | 114.2
35064 | 2021-02-23 16:50 | 106.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5804 | μmol/L | 19.0409 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.142 | 119224.2725 | 304994.316 | 30.45 | 114.2
35074 | 2021-02-23 16:50 | 106.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5666 | μmol/L | 19.0286 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.147 | 119228.4939 | 304987.1509 | 30.45 | 114.2
35084 | 2021-02-23 16:50 | 107.3274 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.5877 | μmol/L | 19.0224 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.148 | 119237.1963 | 304984.6107 | 30.45 | 114.2
35094 | 2021-02-23 16:51 | 107.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.6321 | μmol/L | 19.004 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.152 | 119273.4086 | 304995.1841 | 30.45 | 114.2
35104 | 2021-02-23 16:51 | 107.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.3807 | μmol/L | 19.0286 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.157 | 119283.6462 | 305002.9045 | 30.45 | 114.2
35114 | 2021-02-23 16:51 | 108.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4227 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.159 | 119305.9429 | 304999.7476 | 30.45 | 114.2
35124 | 2021-02-23 16:52 | 108.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.4251 | μmol/L | 19.0101 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.161 | 119335.3597 | 304986.2342 | 30.45 | 114.2
35134 | 2021-02-23 16:52 | 108.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.274 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.167 | 119348.7196 | 305001.1315 | 30.45 | 114.2
35144 | 2021-02-23 16:52 | 109.3278 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1441 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.174 | 119376.4797 | 305000.2631 | 30.45 | 114.2
35154 | 2021-02-23 16:53 | 109.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1441 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.174 | 119387.5303 | 305007.0645 | 30.45 | 114.2
35164 | 2021-02-23 16:53 | 109.9944 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.107 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.176 | 119410.2638 | 304989.3836 | 30.45 | 114.2
35174 | 2021-02-23 16:53 | 110.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1675 | μmol/L | 19.004 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.177 | 119429.1116 | 305003.3335 | 30.45 | 114.2
35184 | 2021-02-23 16:54 | 110.6613 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1514 | μmol/L | 18.9979 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.18 | 119454.0541 | 305007.1556 | 30.45 | 114.2
35194 | 2021-02-23 16:54 | 110.9942 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.191 | μmol/L | 18.9917 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.18 | 119437.0071 | 304988.032 | 30.45 | 114.2
35204 | 2021-02-23 16:54 | 111.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1255 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.175 | 119442.2097 | 305007.4559 | 30.45 | 114.2
35214 | 2021-02-23 16:55 | 111.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9586 | μmol/L | 19.0163 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.184 | 119440.4019 | 304992.7628 | 30.45 | 114.2
35224 | 2021-02-23 16:55 | 111.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0586 | μmol/L | 18.9979 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.185 | 119454.2064 | 305006.5478 | 30.45 | 114.2
35234 | 2021-02-23 16:55 | 112.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0635 | μmol/L | 18.9856 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.189 | 119475.7177 | 305016.2135 | 30.45 | 114.2
35244 | 2021-02-23 16:56 | 112.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1563 | μmol/L | 18.9856 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.184 | 119469.5569 | 305011.6942 | 30.45 | 114.2
35254 | 2021-02-23 16:56 | 112.9946 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1241 | μmol/L | 18.9733 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.19 | 119486.7468 | 305004.2683 | 30.45 | 114.2
35264 | 2021-02-23 16:56 | 113.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.28 | μmol/L | 18.9548 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.188 | 119498.0044 | 305017.5727 | 30.45 | 114.2
35274 | 2021-02-23 16:57 | 113.6612 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0474 | μmol/L | 18.9794 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.192 | 119508.9731 | 305019.3805 | 30.45 | 114.2
35284 | 2021-02-23 16:57 | 113.9943 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0314 | μmol/L | 18.9733 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.195 | 119514.0816 | 305015.3582 | 30.45 | 114.2
35294 | 2021-02-23 16:57 | 114.328 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0388 | μmol/L | 18.9548 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.201 | 119526.1323 | 305028.8377 | 30.45 | 114.2
35304 | 2021-02-23 16:58 | 114.6608 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.1154 | μmol/L | 18.9487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.199 | 119549.7644 | 305035.37 | 30.45 | 114.2
35314 | 2021-02-23 16:58 | 114.9945 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 218.0227 | μmol/L | 18.9487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.204 | 119566.5033 | 305034.5376 | 30.45 | 114.2
35323 | 2021-02-23 16:58 | 115.3275 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 217.9856 | μmol/L | 18.9487 | °C | 1008 | hPa | Humid | 28 | 0 | 0 | 23.206 | 119594.5208 | 305034.1276 | 30.45 | 114.2