## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35332 | 2021-02-23 19:17 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8787 | μmol/L | 24.9194 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.312 | 117130.7216 | 305351.697 | 30.45 | 114.2
35342 | 2021-02-23 19:17 | 0.33653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8959 | μmol/L | 24.9194 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.311 | 117118.6795 | 305340.3321 | 30.45 | 114.2
35351 | 2021-02-23 19:18 | 0.66983 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1262 | μmol/L | 24.8702 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.314 | 117053.2243 | 305314.8015 | 30.45 | 114.2
35362 | 2021-02-23 19:18 | 1.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4398 | μmol/L | 24.8394 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.306 | 117019.7044 | 305306.3412 | 30.45 | 114.2
35372 | 2021-02-23 19:18 | 1.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4082 | μmol/L | 24.821 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.314 | 117026.3979 | 305281.7666 | 30.45 | 114.2
35382 | 2021-02-23 19:19 | 1.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4616 | μmol/L | 24.8087 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.315 | 117013.9021 | 305247.8723 | 30.45 | 114.2
35392 | 2021-02-23 19:19 | 2.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3033 | μmol/L | 24.8333 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.316 | 116995.6949 | 305222.6115 | 30.45 | 114.2
35401 | 2021-02-23 19:19 | 2.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.392 | μmol/L | 24.8148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.317 | 116984.6882 | 305191.8561 | 30.45 | 114.2
35411 | 2021-02-23 19:20 | 2.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4092 | μmol/L | 24.8148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.316 | 116962.4737 | 305178.8226 | 30.45 | 114.2
35421 | 2021-02-23 19:20 | 3.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1804 | μmol/L | 24.8517 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.317 | 116943.8133 | 305151.6671 | 30.45 | 114.2
35431 | 2021-02-23 19:20 | 3.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0604 | μmol/L | 24.8517 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.324 | 116954.7037 | 305128.7458 | 30.45 | 114.2
35441 | 2021-02-23 19:21 | 3.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1146 | μmol/L | 24.8333 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.327 | 116936.7235 | 305095.4465 | 30.45 | 114.2
35452 | 2021-02-23 19:21 | 4.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2537 | μmol/L | 24.821 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.323 | 116912.4468 | 305085.5171 | 30.45 | 114.2
35461 | 2021-02-23 19:21 | 4.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3224 | μmol/L | 24.821 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.319 | 116895.7478 | 305061.6672 | 30.45 | 114.2
35472 | 2021-02-23 19:22 | 4.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2546 | μmol/L | 24.8148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.325 | 116900.1726 | 305023.0657 | 30.45 | 114.2
35481 | 2021-02-23 19:22 | 5.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.289 | μmol/L | 24.8148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.323 | 116876.7787 | 304994.9188 | 30.45 | 114.2
35491 | 2021-02-23 19:22 | 5.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3233 | μmol/L | 24.8148 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.321 | 116850.9026 | 304970.4265 | 30.45 | 114.2
35501 | 2021-02-23 19:23 | 5.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1424 | μmol/L | 24.8764 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.311 | 116780.6504 | 304946.6003 | 30.45 | 114.2
35511 | 2021-02-23 19:23 | 6.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9301 | μmol/L | 24.9194 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.309 | 116750.8352 | 304918.571 | 30.45 | 114.2
35521 | 2021-02-23 19:23 | 6.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9996 | μmol/L | 24.9133 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.307 | 116745.7901 | 304917.6733 | 30.45 | 114.2
35531 | 2021-02-23 19:24 | 6.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0673 | μmol/L | 24.9194 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.301 | 116698.0333 | 304877.4947 | 30.45 | 114.2
35541 | 2021-02-23 19:24 | 7.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1169 | μmol/L | 24.9318 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.294 | 116647.7946 | 304845.8563 | 30.45 | 114.2
35552 | 2021-02-23 19:24 | 7.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2932 | μmol/L | 24.901 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.294 | 116618.8283 | 304825.9252 | 30.45 | 114.2
35562 | 2021-02-23 19:25 | 7.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5203 | μmol/L | 24.8764 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.289 | 116573.4553 | 304801.5223 | 30.45 | 114.2
35571 | 2021-02-23 19:25 | 8.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5528 | μmol/L | 24.8887 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.283 | 116538.7804 | 304780.5095 | 30.45 | 114.2
35582 | 2021-02-23 19:25 | 8.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4451 | μmol/L | 24.9194 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.279 | 116516.9742 | 304769.2881 | 30.45 | 114.2
35591 | 2021-02-23 19:26 | 8.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3745 | μmol/L | 24.9318 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.279 | 116488.099 | 304744.4135 | 30.45 | 114.2
35601 | 2021-02-23 19:26 | 9.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4252 | μmol/L | 24.9379 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.274 | 116461.9704 | 304711.5796 | 30.45 | 114.2
35612 | 2021-02-23 19:26 | 9.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.389 | μmol/L | 24.9502 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.272 | 116415.2914 | 304696.9742 | 30.45 | 114.2
35622 | 2021-02-23 19:27 | 9.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4569 | μmol/L | 24.9564 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.266 | 116389.9293 | 304660.5301 | 30.45 | 114.2
35632 | 2021-02-23 19:27 | 10.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3863 | μmol/L | 24.9687 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.266 | 116359.2936 | 304640.5542 | 30.45 | 114.2
35642 | 2021-02-23 19:27 | 10.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.4705 | μmol/L | 24.981 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.257 | 116323.8951 | 304625.9415 | 30.45 | 114.2
35652 | 2021-02-23 19:28 | 10.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3827 | μmol/L | 24.9933 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.258 | 116311.8963 | 304596.8901 | 30.45 | 114.2
35661 | 2021-02-23 19:28 | 11.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3456 | μmol/L | 25.0118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.254 | 116278.2043 | 304574.4372 | 30.45 | 114.2
35672 | 2021-02-23 19:28 | 11.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3954 | μmol/L | 25.0241 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.247 | 116230.3905 | 304533.041 | 30.45 | 114.2
35682 | 2021-02-23 19:29 | 11.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3076 | μmol/L | 25.0364 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.248 | 116220.0614 | 304517.6851 | 30.45 | 114.2
35691 | 2021-02-23 19:29 | 12.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3049 | μmol/L | 25.0548 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.242 | 116184.77 | 304497.6062 | 30.45 | 114.2
35702 | 2021-02-23 19:29 | 12.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2163 | μmol/L | 25.0733 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.241 | 116168.716 | 304473.7419 | 30.45 | 114.2
35711 | 2021-02-23 19:30 | 12.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.267 | μmol/L | 25.0795 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.236 | 116132.8863 | 304454.6429 | 30.45 | 114.2
35721 | 2021-02-23 19:30 | 13.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2652 | μmol/L | 25.0918 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.232 | 116117.0668 | 304420.6243 | 30.45 | 114.2
35731 | 2021-02-23 19:30 | 13.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0545 | μmol/L | 25.1225 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.234 | 116107.8952 | 304411.2104 | 30.45 | 114.2
35741 | 2021-02-23 19:31 | 13.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9831 | μmol/L | 25.141 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.232 | 116087.1943 | 304390.0523 | 30.45 | 114.2
35751 | 2021-02-23 19:31 | 14.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8431 | μmol/L | 25.1595 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.234 | 116078.5184 | 304361.7237 | 30.45 | 114.2
35762 | 2021-02-23 19:31 | 14.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7899 | μmol/L | 25.1718 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.233 | 116060.7418 | 304339.3133 | 30.45 | 114.2
35771 | 2021-02-23 19:32 | 14.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7709 | μmol/L | 25.1841 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.23 | 116021.518 | 304318.9577 | 30.45 | 114.2
35782 | 2021-02-23 19:32 | 15.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4372 | μmol/L | 25.2395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.231 | 116004.9156 | 304282.2609 | 30.45 | 114.2
35792 | 2021-02-23 19:32 | 15.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.439 | μmol/L | 25.2272 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.235 | 116004.0862 | 304258.4565 | 30.45 | 114.2
35802 | 2021-02-23 19:33 | 15.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4715 | μmol/L | 25.2395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.229 | 115987.1844 | 304248.7874 | 30.45 | 114.2
35812 | 2021-02-23 19:33 | 16.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.5743 | μmol/L | 25.2395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.223 | 115962.8745 | 304225.4916 | 30.45 | 114.2
35822 | 2021-02-23 19:33 | 16.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3489 | μmol/L | 25.258 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.23 | 115967.791 | 304210.0773 | 30.45 | 114.2
35832 | 2021-02-23 19:34 | 16.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.33 | μmol/L | 25.2703 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.227 | 115943.1719 | 304187.2931 | 30.45 | 114.2
35841 | 2021-02-23 19:34 | 17.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2075 | μmol/L | 25.2887 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115927.746 | 304158.9768 | 30.45 | 114.2
35851 | 2021-02-23 19:34 | 17.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1715 | μmol/L | 25.301 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.226 | 115906.6806 | 304133.9865 | 30.45 | 114.2
35861 | 2021-02-23 19:35 | 17.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1193 | μmol/L | 25.3072 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.227 | 115925.4788 | 304129.6114 | 30.45 | 114.2
35871 | 2021-02-23 19:35 | 18.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9097 | μmol/L | 25.338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.229 | 115900.8201 | 304094.9761 | 30.45 | 114.2
35881 | 2021-02-23 19:35 | 18.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9268 | μmol/L | 25.338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115887.3672 | 304075.4282 | 30.45 | 114.2
35892 | 2021-02-23 19:36 | 18.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9268 | μmol/L | 25.338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115860.5672 | 304066.4607 | 30.45 | 114.2
35902 | 2021-02-23 19:36 | 19.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8216 | μmol/L | 25.3564 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115862.1352 | 304039.6385 | 30.45 | 114.2
35912 | 2021-02-23 19:36 | 19.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8378 | μmol/L | 25.3626 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.225 | 115846.2213 | 304007.1686 | 30.45 | 114.2
35921 | 2021-02-23 19:37 | 19.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8189 | μmol/L | 25.3749 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.222 | 115807.3251 | 303990.765 | 30.45 | 114.2
35931 | 2021-02-23 19:37 | 20.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8522 | μmol/L | 25.3811 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.218 | 115794.1536 | 303961.0862 | 30.45 | 114.2
35942 | 2021-02-23 19:37 | 20.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.8 | μmol/L | 25.3872 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.219 | 115776.9142 | 303932.9492 | 30.45 | 114.2
35952 | 2021-02-23 19:38 | 20.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6787 | μmol/L | 25.3995 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.222 | 115775.6774 | 303926.0589 | 30.45 | 114.2
35962 | 2021-02-23 19:38 | 21.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5907 | μmol/L | 25.418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.221 | 115748.8096 | 303900.5206 | 30.45 | 114.2
35972 | 2021-02-23 19:38 | 21.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6428 | μmol/L | 25.4118 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.22 | 115744.6421 | 303879.4057 | 30.45 | 114.2
35982 | 2021-02-23 19:39 | 21.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.676 | μmol/L | 25.418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.216 | 115721.0952 | 303860.2388 | 30.45 | 114.2
35991 | 2021-02-23 19:39 | 22.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5225 | μmol/L | 25.418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.225 | 115734.3572 | 303830.3781 | 30.45 | 114.2
36002 | 2021-02-23 19:39 | 22.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4355 | μmol/L | 25.4303 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.226 | 115728.9617 | 303824.9637 | 30.45 | 114.2
36012 | 2021-02-23 19:40 | 22.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5018 | μmol/L | 25.4426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.218 | 115699.3989 | 303805.4172 | 30.45 | 114.2
36022 | 2021-02-23 19:40 | 23.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4839 | μmol/L | 25.4488 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.217 | 115679.7132 | 303780.6449 | 30.45 | 114.2
36031 | 2021-02-23 19:40 | 23.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3628 | μmol/L | 25.4611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.22 | 115666.9904 | 303753.4169 | 30.45 | 114.2
36042 | 2021-02-23 19:41 | 23.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4139 | μmol/L | 25.4611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.217 | 115654.1455 | 303738.0978 | 30.45 | 114.2
36052 | 2021-02-23 19:41 | 24.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3628 | μmol/L | 25.4611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.22 | 115642.3685 | 303717.281 | 30.45 | 114.2
36062 | 2021-02-23 19:41 | 24.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2767 | μmol/L | 25.4672 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.223 | 115636.4429 | 303703.4925 | 30.45 | 114.2
36072 | 2021-02-23 19:42 | 24.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2247 | μmol/L | 25.4734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.224 | 115627.7306 | 303679.245 | 30.45 | 114.2
36082 | 2021-02-23 19:42 | 25.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2417 | μmol/L | 25.4734 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.223 | 115608.9885 | 303651.0625 | 30.45 | 114.2
36091 | 2021-02-23 19:42 | 25.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1727 | μmol/L | 25.4796 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.225 | 115622.4175 | 303642.2205 | 30.45 | 114.2
36102 | 2021-02-23 19:43 | 25.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0698 | μmol/L | 25.4857 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.229 | 115607.9103 | 303615.3749 | 30.45 | 114.2
36111 | 2021-02-23 19:43 | 26.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0688 | μmol/L | 25.4919 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.227 | 115600.4359 | 303592.0315 | 30.45 | 114.2
36122 | 2021-02-23 19:43 | 26.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0518 | μmol/L | 25.4919 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115585.1539 | 303574.4577 | 30.45 | 114.2
36131 | 2021-02-23 19:44 | 26.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0169 | μmol/L | 25.498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.228 | 115588.623 | 303562.2325 | 30.45 | 114.2
36142 | 2021-02-23 19:44 | 27.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9999 | μmol/L | 25.498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.229 | 115576.2133 | 303547.1759 | 30.45 | 114.2
36151 | 2021-02-23 19:44 | 27.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.863 | μmol/L | 25.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.235 | 115579.822 | 303522.531 | 30.45 | 114.2
36162 | 2021-02-23 19:45 | 27.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8621 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.233 | 115572.109 | 303495.407 | 30.45 | 114.2
36171 | 2021-02-23 19:45 | 28.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8782 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.23 | 115550.5443 | 303476.7263 | 30.45 | 114.2
36181 | 2021-02-23 19:45 | 28.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7923 | μmol/L | 25.5226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.233 | 115557.6163 | 303458.1957 | 30.45 | 114.2
36192 | 2021-02-23 19:46 | 28.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8451 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.234 | 115546.3209 | 303436.435 | 30.45 | 114.2
36201 | 2021-02-23 19:46 | 29.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.897 | μmol/L | 25.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.233 | 115549.5025 | 303424.2686 | 30.45 | 114.2
36212 | 2021-02-23 19:46 | 29.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7432 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.24 | 115538.6103 | 303413.3616 | 30.45 | 114.2
36222 | 2021-02-23 19:47 | 29.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7593 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.237 | 115528.4483 | 303394.7079 | 30.45 | 114.2
36232 | 2021-02-23 19:47 | 30.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7942 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.237 | 115519.4864 | 303369.0276 | 30.45 | 114.2
36242 | 2021-02-23 19:47 | 30.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7263 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.241 | 115509.1117 | 303357.4697 | 30.45 | 114.2
36252 | 2021-02-23 19:48 | 30.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6754 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.244 | 115498.6659 | 303344.5506 | 30.45 | 114.2
36262 | 2021-02-23 19:48 | 31.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7263 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.241 | 115502.2003 | 303320.3424 | 30.45 | 114.2
36272 | 2021-02-23 19:48 | 31.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7093 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.242 | 115504.6489 | 303306.3116 | 30.45 | 114.2
36282 | 2021-02-23 19:49 | 31.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6075 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.248 | 115493.4926 | 303291.7751 | 30.45 | 114.2
36291 | 2021-02-23 19:49 | 32.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6235 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.245 | 115479.1752 | 303256.5103 | 30.45 | 114.2
36301 | 2021-02-23 19:49 | 32.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6066 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.246 | 115475.7751 | 303257.1744 | 30.45 | 114.2
36311 | 2021-02-23 19:50 | 32.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5905 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.249 | 115482.2916 | 303234.2429 | 30.45 | 114.2
36321 | 2021-02-23 19:50 | 33.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5557 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.249 | 115474.7882 | 303234.6139 | 30.45 | 114.2
36332 | 2021-02-23 19:50 | 33.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5048 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.252 | 115457.0026 | 303203.0506 | 30.45 | 114.2
36341 | 2021-02-23 19:51 | 33.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4681 | μmol/L | 25.535 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.248 | 115451.9749 | 303185.1496 | 30.45 | 114.2
36352 | 2021-02-23 19:51 | 34.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5218 | μmol/L | 25.5165 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.251 | 115450.7082 | 303146.7871 | 30.45 | 114.2
36362 | 2021-02-23 19:51 | 34.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5933 | μmol/L | 25.4919 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.255 | 115441.2013 | 303144.1444 | 30.45 | 114.2
36371 | 2021-02-23 19:52 | 34.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5585 | μmol/L | 25.498 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.255 | 115431.9682 | 303140.3351 | 30.45 | 114.2
36381 | 2021-02-23 19:52 | 35.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5576 | μmol/L | 25.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.253 | 115444.6527 | 303119.0217 | 30.45 | 114.2
36391 | 2021-02-23 19:52 | 35.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4898 | μmol/L | 25.5042 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.257 | 115440.3073 | 303089.3584 | 30.45 | 114.2
36401 | 2021-02-23 19:53 | 35.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3533 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.263 | 115458.7622 | 303079.6373 | 30.45 | 114.2
36411 | 2021-02-23 19:53 | 36.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3025 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.266 | 115467.0553 | 303071.0048 | 30.45 | 114.2
36422 | 2021-02-23 19:53 | 36.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1991 | μmol/L | 25.5226 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.268 | 115471.2247 | 303063.5305 | 30.45 | 114.2
36432 | 2021-02-23 19:54 | 36.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1671 | μmol/L | 25.5103 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.274 | 115460.8682 | 303029.0546 | 30.45 | 114.2
36442 | 2021-02-23 19:54 | 37.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.632 | μmol/L | 25.4611 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.263 | 115420.9218 | 303015.2144 | 30.45 | 114.2
36451 | 2021-02-23 19:54 | 37.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5124 | μmol/L | 25.4672 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.268 | 115433.8692 | 303011.5117 | 30.45 | 114.2
36461 | 2021-02-23 19:55 | 37.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6178 | μmol/L | 25.4426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.27 | 115444.6902 | 302985.7306 | 30.45 | 114.2
36471 | 2021-02-23 19:55 | 38.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4973 | μmol/L | 25.4549 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.273 | 115442.0505 | 302963.5112 | 30.45 | 114.2
36481 | 2021-02-23 19:55 | 38.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3788 | μmol/L | 25.4549 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.28 | 115467.4478 | 302955.7736 | 30.45 | 114.2
36491 | 2021-02-23 19:56 | 38.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3468 | μmol/L | 25.4426 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.286 | 115452.7066 | 302949.8821 | 30.45 | 114.2
36501 | 2021-02-23 19:56 | 39.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6725 | μmol/L | 25.418 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.275 | 115430.7263 | 302927.7533 | 30.45 | 114.2
36511 | 2021-02-23 19:56 | 39.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6978 | μmol/L | 25.4057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.278 | 115431.08 | 302920.927 | 30.45 | 114.2
36521 | 2021-02-23 19:57 | 39.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7431 | μmol/L | 25.3995 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.277 | 115438.665 | 302896.6919 | 30.45 | 114.2
36531 | 2021-02-23 19:57 | 40.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7629 | μmol/L | 25.3811 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.282 | 115443.5797 | 302883.6645 | 30.45 | 114.2
36542 | 2021-02-23 19:57 | 40.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7175 | μmol/L | 25.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.283 | 115439.0224 | 302863.4642 | 30.45 | 114.2
36552 | 2021-02-23 19:58 | 40.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9053 | μmol/L | 25.338 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.288 | 115422.0696 | 302851.8184 | 30.45 | 114.2
36562 | 2021-02-23 19:58 | 41.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0788 | μmol/L | 25.3134 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.286 | 115429.4996 | 302827.3585 | 30.45 | 114.2
36572 | 2021-02-23 19:58 | 41.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1156 | μmol/L | 25.2949 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.29 | 115427.638 | 302816.3867 | 30.45 | 114.2
36582 | 2021-02-23 19:59 | 41.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9439 | μmol/L | 25.3072 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.296 | 115431.9567 | 302791.3006 | 30.45 | 114.2
36591 | 2021-02-23 19:59 | 42.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.926 | μmol/L | 25.3134 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.295 | 115437.1504 | 302777.5911 | 30.45 | 114.2
36601 | 2021-02-23 19:59 | 42.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0711 | μmol/L | 25.2949 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.293 | 115430.3577 | 302785.661 | 30.45 | 114.2
36611 | 2021-02-23 20:00 | 42.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1617 | μmol/L | 25.258 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.3 | 115441.8205 | 302760.153 | 30.45 | 114.2
36621 | 2021-02-23 20:00 | 43.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1921 | μmol/L | 25.2395 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.304 | 115456.1494 | 302761.224 | 30.45 | 114.2
36632 | 2021-02-23 20:00 | 43.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1741 | μmol/L | 25.2456 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.303 | 115424.6906 | 302736.399 | 30.45 | 114.2
36641 | 2021-02-23 20:01 | 43.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0239 | μmol/L | 25.2703 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.304 | 115430.2709 | 302732.5247 | 30.45 | 114.2
36652 | 2021-02-23 20:01 | 44.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9211 | μmol/L | 25.2764 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.308 | 115432.3544 | 302707.664 | 30.45 | 114.2
36662 | 2021-02-23 20:01 | 44.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7781 | μmol/L | 25.2826 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.314 | 115435.7577 | 302700.4129 | 30.45 | 114.2
36671 | 2021-02-23 20:02 | 44.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8533 | μmol/L | 25.2764 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.312 | 115442.8315 | 302683.2744 | 30.45 | 114.2
36681 | 2021-02-23 20:02 | 45.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8318 | μmol/L | 25.2641 | °C | 1009 | hPa | Humid | 28 | 0 | 0 | 22.317 | 115433.0132 | 302668.8211 | 30.45 | 114.2
36691 | 2021-02-23 20:02 | 45.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.94 | μmol/L | 25.2641 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.311 | 115402.7768 | 302673.4195 | 30.45 | 114.2
36701 | 2021-02-23 20:03 | 45.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8712 | μmol/L | 25.2703 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.313 | 115412.1636 | 302652.8026 | 30.45 | 114.2
36712 | 2021-02-23 20:03 | 46.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0107 | μmol/L | 25.2456 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.313 | 115420.4043 | 302640.3464 | 30.45 | 114.2
36722 | 2021-02-23 20:03 | 46.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.875 | μmol/L | 25.2456 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.321 | 115419.873 | 302629.4867 | 30.45 | 114.2
36731 | 2021-02-23 20:04 | 46.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9118 | μmol/L | 25.2272 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.325 | 115423.6094 | 302620.7628 | 30.45 | 114.2
36742 | 2021-02-23 20:04 | 47.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0155 | μmol/L | 25.2149 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.323 | 115425.7051 | 302600.9864 | 30.45 | 114.2
36752 | 2021-02-23 20:04 | 47.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0004 | μmol/L | 25.2026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.328 | 115413.1568 | 302581.3833 | 30.45 | 114.2
36762 | 2021-02-23 20:05 | 47.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0881 | μmol/L | 25.1841 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.329 | 115409.1409 | 302579.7427 | 30.45 | 114.2
36771 | 2021-02-23 20:05 | 48.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6359 | μmol/L | 25.258 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.331 | 115425.6564 | 302567.1727 | 30.45 | 114.2
36782 | 2021-02-23 20:05 | 48.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9684 | μmol/L | 25.1903 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.334 | 115425.9372 | 302551.5433 | 30.45 | 114.2
36791 | 2021-02-23 20:06 | 48.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9515 | μmol/L | 25.1903 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.335 | 115417.3687 | 302540.9763 | 30.45 | 114.2
36802 | 2021-02-23 20:06 | 49.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8987 | μmol/L | 25.2026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.334 | 115433.8103 | 302515.6169 | 30.45 | 114.2
36811 | 2021-02-23 20:06 | 49.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9524 | μmol/L | 25.1841 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.337 | 115430.7089 | 302512.9892 | 30.45 | 114.2
36821 | 2021-02-23 20:07 | 49.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9355 | μmol/L | 25.1841 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.338 | 115435.1516 | 302507.3891 | 30.45 | 114.2
36832 | 2021-02-23 20:07 | 50.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8318 | μmol/L | 25.1964 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.34 | 115422.5457 | 302485.8811 | 30.45 | 114.2
36841 | 2021-02-23 20:07 | 50.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8318 | μmol/L | 25.1964 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.34 | 115426.9913 | 302479.519 | 30.45 | 114.2
36851 | 2021-02-23 20:08 | 50.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8686 | μmol/L | 25.1779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 115428.7645 | 302447.0971 | 30.45 | 114.2
36862 | 2021-02-23 20:08 | 51.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8178 | μmol/L | 25.1779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 115435.2109 | 302440.9767 | 30.45 | 114.2
36872 | 2021-02-23 20:08 | 51.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7849 | μmol/L | 25.1718 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.351 | 115432.5031 | 302428.8274 | 30.45 | 114.2
36882 | 2021-02-23 20:09 | 51.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7829 | μmol/L | 25.1841 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 115434.3578 | 302420.0332 | 30.45 | 114.2
36891 | 2021-02-23 20:09 | 52.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9572 | μmol/L | 25.1533 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 115418.4192 | 302400.1557 | 30.45 | 114.2
36902 | 2021-02-23 20:09 | 52.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0638 | μmol/L | 25.1225 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.351 | 115419.5416 | 302394.4016 | 30.45 | 114.2
36911 | 2021-02-23 20:10 | 52.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.995 | μmol/L | 25.1287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 115411.3991 | 302371.219 | 30.45 | 114.2
36922 | 2021-02-23 20:10 | 53.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8376 | μmol/L | 25.1595 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.352 | 115411.8586 | 302367.0116 | 30.45 | 114.2
36931 | 2021-02-23 20:10 | 53.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7718 | μmol/L | 25.1472 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.36 | 115428.8267 | 302353.5886 | 30.45 | 114.2
36941 | 2021-02-23 20:11 | 53.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8604 | μmol/L | 25.1225 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.363 | 115445.0431 | 302358.7118 | 30.45 | 114.2
36952 | 2021-02-23 20:11 | 54.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8255 | μmol/L | 25.1287 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.363 | 115443.2096 | 302339.6443 | 30.45 | 114.2
36961 | 2021-02-23 20:11 | 54.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9151 | μmol/L | 25.0979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.368 | 115445.4487 | 302308.7457 | 30.45 | 114.2
36972 | 2021-02-23 20:12 | 54.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8972 | μmol/L | 25.1041 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 115450.6142 | 302313.2115 | 30.45 | 114.2
36982 | 2021-02-23 20:12 | 55.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8972 | μmol/L | 25.1041 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 115433.7974 | 302306.2234 | 30.45 | 114.2
36991 | 2021-02-23 20:12 | 55.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8105 | μmol/L | 25.1164 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.368 | 115428.3542 | 302293.1488 | 30.45 | 114.2
37001 | 2021-02-23 20:13 | 55.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.949 | μmol/L | 25.0979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.366 | 115409.2879 | 302273.7925 | 30.45 | 114.2
37012 | 2021-02-23 20:13 | 56.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0715 | μmol/L | 25.0733 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 115411.8191 | 302267.2814 | 30.45 | 114.2
37022 | 2021-02-23 20:13 | 56.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9161 | μmol/L | 25.0918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.37 | 115427.9206 | 302259.7023 | 30.45 | 114.2
37031 | 2021-02-23 20:14 | 56.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5895 | μmol/L | 25.1225 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.379 | 115439.5708 | 302251.0691 | 30.45 | 114.2
37041 | 2021-02-23 20:14 | 57.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4325 | μmol/L | 25.1533 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 115437.757 | 302238.3318 | 30.45 | 114.2
37051 | 2021-02-23 20:14 | 57.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5736 | μmol/L | 25.1164 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.382 | 115443.3465 | 302231.8382 | 30.45 | 114.2
37061 | 2021-02-23 20:15 | 57.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7298 | μmol/L | 25.0918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.381 | 115431.8686 | 302226.0289 | 30.45 | 114.2
37072 | 2021-02-23 20:15 | 58.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6611 | μmol/L | 25.0979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.383 | 115426.3635 | 302204.3713 | 30.45 | 114.2
37082 | 2021-02-23 20:15 | 58.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7457 | μmol/L | 25.0979 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 115425.5223 | 302195.3002 | 30.45 | 114.2
37092 | 2021-02-23 20:16 | 58.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4672 | μmol/L | 25.1472 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 115423.2126 | 302187.2111 | 30.45 | 114.2
37101 | 2021-02-23 20:16 | 59.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4344 | μmol/L | 25.141 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.382 | 115436.3452 | 302186.0691 | 30.45 | 114.2
37111 | 2021-02-23 20:16 | 59.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8034 | μmol/L | 25.0548 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.389 | 115441.7538 | 302175.892 | 30.45 | 114.2
37121 | 2021-02-23 20:17 | 59.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.89 | μmol/L | 25.0425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.388 | 115438.2426 | 302159.6152 | 30.45 | 114.2
37132 | 2021-02-23 20:17 | 60.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0823 | μmol/L | 25.0056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.389 | 115439.1785 | 302171.5461 | 30.45 | 114.2
37142 | 2021-02-23 20:17 | 60.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0285 | μmol/L | 25.0241 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.386 | 115428.9204 | 302161.4779 | 30.45 | 114.2
37151 | 2021-02-23 20:18 | 60.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0832 | μmol/L | 24.9995 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.391 | 115421.7302 | 302155.992 | 30.45 | 114.2
37161 | 2021-02-23 20:18 | 61.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0145 | μmol/L | 25.0056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.393 | 115434.5996 | 302139.9514 | 30.45 | 114.2
37171 | 2021-02-23 20:18 | 61.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0503 | μmol/L | 24.9933 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.395 | 115436.9636 | 302135.9078 | 30.45 | 114.2
37182 | 2021-02-23 20:19 | 61.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9985 | μmol/L | 24.9995 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.396 | 115434.9391 | 302136.4078 | 30.45 | 114.2
37192 | 2021-02-23 20:19 | 62.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1201 | μmol/L | 24.981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.395 | 115427.2067 | 302133.1373 | 30.45 | 114.2
37201 | 2021-02-23 20:19 | 62.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1041 | μmol/L | 24.9748 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.398 | 115445.8001 | 302128.1129 | 30.45 | 114.2
37211 | 2021-02-23 20:20 | 62.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1918 | μmol/L | 24.9564 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 115448.1879 | 302114.0722 | 30.45 | 114.2
37221 | 2021-02-23 20:20 | 63.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8083 | μmol/L | 25.0241 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 115441.5543 | 302113.5812 | 30.45 | 114.2
37231 | 2021-02-23 20:20 | 63.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9496 | μmol/L | 24.9871 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.403 | 115449.7748 | 302101.7122 | 30.45 | 114.2
37241 | 2021-02-23 20:21 | 63.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7943 | μmol/L | 25.0056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.406 | 115456.4851 | 302095.5875 | 30.45 | 114.2
37251 | 2021-02-23 20:21 | 64.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7436 | μmol/L | 25.0056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 115461.6303 | 302094.461 | 30.45 | 114.2
37262 | 2021-02-23 20:21 | 64.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5894 | μmol/L | 25.0179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.414 | 115484.3412 | 302090.5192 | 30.45 | 114.2
37272 | 2021-02-23 20:22 | 64.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7436 | μmol/L | 25.0056 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.409 | 115474.2464 | 302089.3412 | 30.45 | 114.2
37282 | 2021-02-23 20:22 | 65.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9496 | μmol/L | 24.9871 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.403 | 115448.8468 | 302065.798 | 30.45 | 114.2
37292 | 2021-02-23 20:22 | 65.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0523 | μmol/L | 24.981 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 115444.5358 | 302063.3862 | 30.45 | 114.2
37301 | 2021-02-23 20:23 | 65.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8272 | μmol/L | 25.0118 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.402 | 115446.9434 | 302064.9028 | 30.45 | 114.2
37311 | 2021-02-23 20:23 | 66.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6192 | μmol/L | 25.0425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.404 | 115454.9312 | 302059.4429 | 30.45 | 114.2
37321 | 2021-02-23 20:23 | 66.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7247 | μmol/L | 25.0179 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.406 | 115445.2852 | 302050.0602 | 30.45 | 114.2
37331 | 2021-02-23 20:24 | 66.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5526 | μmol/L | 25.0364 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.41 | 115443.3843 | 302048.3086 | 30.45 | 114.2
37341 | 2021-02-23 20:24 | 67.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4612 | μmol/L | 25.0795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.401 | 115409.4805 | 302027.7223 | 30.45 | 114.2
37351 | 2021-02-23 20:24 | 67.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6342 | μmol/L | 25.0548 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.399 | 115404.1707 | 302028.9886 | 30.45 | 114.2
37362 | 2021-02-23 20:25 | 67.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6481 | μmol/L | 25.0733 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.392 | 115383.9767 | 302031.8568 | 30.45 | 114.2
37372 | 2021-02-23 20:25 | 68.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7536 | μmol/L | 25.0487 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.394 | 115376.2077 | 302028.5606 | 30.45 | 114.2
37381 | 2021-02-23 20:25 | 68.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7884 | μmol/L | 25.0425 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.394 | 115387.3914 | 302009.3159 | 30.45 | 114.2
37391 | 2021-02-23 20:26 | 68.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4443 | μmol/L | 25.0795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.402 | 115390.0847 | 302010.4256 | 30.45 | 114.2
37401 | 2021-02-23 20:26 | 69.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7516 | μmol/L | 25.061 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.39 | 115376.9093 | 302013.8995 | 30.45 | 114.2
37412 | 2021-02-23 20:26 | 69.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7337 | μmol/L | 25.0672 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.389 | 115358.8035 | 301990.849 | 30.45 | 114.2
37422 | 2021-02-23 20:27 | 69.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6979 | μmol/L | 25.0795 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.387 | 115347.2833 | 302000.2644 | 30.45 | 114.2
37432 | 2021-02-23 20:27 | 70.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6452 | μmol/L | 25.0918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.386 | 115328.2555 | 301982.2267 | 30.45 | 114.2
37442 | 2021-02-23 20:27 | 70.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7467 | μmol/L | 25.0918 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.38 | 115323.3026 | 301979.8753 | 30.45 | 114.2
37451 | 2021-02-23 20:28 | 70.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7109 | μmol/L | 25.1041 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.378 | 115305.1639 | 301971.9393 | 30.45 | 114.2
37462 | 2021-02-23 20:28 | 71.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6582 | μmol/L | 25.1164 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.377 | 115295.2646 | 301967.1607 | 30.45 | 114.2
37471 | 2021-02-23 20:28 | 71.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7767 | μmol/L | 25.1164 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.37 | 115277.5826 | 301961.7584 | 30.45 | 114.2
37481 | 2021-02-23 20:29 | 71.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7229 | μmol/L | 25.1349 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 115266.1001 | 301956.3729 | 30.45 | 114.2
37492 | 2021-02-23 20:29 | 72.0037 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6364 | μmol/L | 25.1472 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.368 | 115260.4492 | 301954.0822 | 30.45 | 114.2
37502 | 2021-02-23 20:29 | 72.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5837 | μmol/L | 25.1595 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.367 | 115263.1925 | 301941.0391 | 30.45 | 114.2
37511 | 2021-02-23 20:30 | 72.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6494 | μmol/L | 25.1718 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.359 | 115226.5946 | 301924.6981 | 30.45 | 114.2
37522 | 2021-02-23 20:30 | 73.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5977 | μmol/L | 25.1779 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.36 | 115245.427 | 301937.0175 | 30.45 | 114.2
37531 | 2021-02-23 20:30 | 73.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5599 | μmol/L | 25.2026 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 115228.6643 | 301920.2829 | 30.45 | 114.2
37542 | 2021-02-23 20:31 | 73.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2875 | μmol/L | 25.2149 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.366 | 115234.4505 | 301910.3635 | 30.45 | 114.2
37551 | 2021-02-23 20:31 | 74.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2836 | μmol/L | 25.2395 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.358 | 115221.2262 | 301926.6838 | 30.45 | 114.2
37562 | 2021-02-23 20:31 | 74.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3323 | μmol/L | 25.2518 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.351 | 115184.2446 | 301910.0827 | 30.45 | 114.2
37571 | 2021-02-23 20:32 | 74.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1942 | μmol/L | 25.2703 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 115175.7516 | 301901.4651 | 30.45 | 114.2
37582 | 2021-02-23 20:32 | 75.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1585 | μmol/L | 25.2826 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.351 | 115175.1133 | 301898.0737 | 30.45 | 114.2
37591 | 2021-02-23 20:32 | 75.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7935 | μmol/L | 25.3503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.35 | 115174.9591 | 301896.2731 | 30.45 | 114.2
37601 | 2021-02-23 20:33 | 75.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8976 | μmol/L | 25.3318 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.35 | 115166.814 | 301885.8349 | 30.45 | 114.2
37611 | 2021-02-23 20:33 | 76.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.847 | μmol/L | 25.3318 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 115166.0288 | 301889.7209 | 30.45 | 114.2
37622 | 2021-02-23 20:33 | 76.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8778 | μmol/L | 25.3503 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 115149.4562 | 301887.2222 | 30.45 | 114.2
37632 | 2021-02-23 20:34 | 76.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.741 | μmol/L | 25.3626 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.349 | 115158.3532 | 301880.4741 | 30.45 | 114.2
37642 | 2021-02-23 20:34 | 77.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6865 | μmol/L | 25.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 115156.6831 | 301868.8417 | 30.45 | 114.2
37652 | 2021-02-23 20:34 | 77.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6696 | μmol/L | 25.3872 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 115159.7181 | 301872.066 | 30.45 | 114.2
37661 | 2021-02-23 20:35 | 77.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5666 | μmol/L | 25.3995 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 115154.0095 | 301869.6763 | 30.45 | 114.2
37672 | 2021-02-23 20:35 | 78.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5993 | μmol/L | 25.4057 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115138.9856 | 301864.1721 | 30.45 | 114.2
37681 | 2021-02-23 20:35 | 78.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4944 | μmol/L | 25.4303 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115132.8452 | 301866.6877 | 30.45 | 114.2
37691 | 2021-02-23 20:36 | 78.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2718 | μmol/L | 25.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.346 | 115147.2817 | 301856.5396 | 30.45 | 114.2
37702 | 2021-02-23 20:36 | 79.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3558 | μmol/L | 25.4549 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115149.1852 | 301869.3055 | 30.45 | 114.2
37712 | 2021-02-23 20:36 | 79.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.34 | μmol/L | 25.4488 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 115137.4516 | 301854.0565 | 30.45 | 114.2
37721 | 2021-02-23 20:37 | 79.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2194 | μmol/L | 25.4672 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 115132.8491 | 301854.6729 | 30.45 | 114.2
37731 | 2021-02-23 20:37 | 80.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2006 | μmol/L | 25.4796 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.342 | 115135.7165 | 301852.5043 | 30.45 | 114.2
37742 | 2021-02-23 20:37 | 80.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.165 | μmol/L | 25.4919 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.34 | 115123.3103 | 301845.6861 | 30.45 | 114.2
37752 | 2021-02-23 20:38 | 80.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0454 | μmol/L | 25.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115141.222 | 301859.6444 | 30.45 | 114.2
37762 | 2021-02-23 20:38 | 81.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0286 | μmol/L | 25.5042 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 115132.1322 | 301844.7696 | 30.45 | 114.2
37772 | 2021-02-23 20:38 | 81.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.077 | μmol/L | 25.5165 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.337 | 115114.6606 | 301840.3071 | 30.45 | 114.2
37782 | 2021-02-23 20:39 | 81.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0928 | μmol/L | 25.5226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.334 | 115111.8581 | 301840.1816 | 30.45 | 114.2
37792 | 2021-02-23 20:39 | 82.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9753 | μmol/L | 25.5226 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115122.9634 | 301846.987 | 30.45 | 114.2
37802 | 2021-02-23 20:39 | 82.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8716 | μmol/L | 25.5411 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115118.3685 | 301831.3821 | 30.45 | 114.2
37811 | 2021-02-23 20:40 | 82.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9733 | μmol/L | 25.535 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.337 | 115117.0984 | 301824.6813 | 30.45 | 114.2
37821 | 2021-02-23 20:40 | 83.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8874 | μmol/L | 25.5473 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.338 | 115108.0815 | 301825.9836 | 30.45 | 114.2
37832 | 2021-02-23 20:40 | 83.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8361 | μmol/L | 25.5534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.339 | 115086.807 | 301815.9429 | 30.45 | 114.2
37841 | 2021-02-23 20:41 | 83.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.92 | μmol/L | 25.5534 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.334 | 115094.6971 | 301808.598 | 30.45 | 114.2
37851 | 2021-02-23 20:41 | 84.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.767 | μmol/L | 25.5657 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.339 | 115096.7667 | 301823.8042 | 30.45 | 114.2
37861 | 2021-02-23 20:41 | 84.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7482 | μmol/L | 25.578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.336 | 115088.157 | 301819.104 | 30.45 | 114.2
37872 | 2021-02-23 20:42 | 84.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6979 | μmol/L | 25.578 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.339 | 115097.4026 | 301809.1221 | 30.45 | 114.2
37882 | 2021-02-23 20:42 | 85.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7305 | μmol/L | 25.5842 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.335 | 115079.254 | 301821.2296 | 30.45 | 114.2
37892 | 2021-02-23 20:42 | 85.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6624 | μmol/L | 25.5904 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.337 | 115087.6579 | 301800.0608 | 30.45 | 114.2
37902 | 2021-02-23 20:43 | 85.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5944 | μmol/L | 25.5965 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.339 | 115090.3973 | 301797.7495 | 30.45 | 114.2
37911 | 2021-02-23 20:43 | 86.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6457 | μmol/L | 25.5904 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.338 | 115075.7921 | 301796.6483 | 30.45 | 114.2
37921 | 2021-02-23 20:43 | 86.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5599 | μmol/L | 25.6027 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.339 | 115086.2944 | 301785.5984 | 30.45 | 114.2
37931 | 2021-02-23 20:44 | 86.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4584 | μmol/L | 25.6088 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115086.6821 | 301785.2215 | 30.45 | 114.2
37942 | 2021-02-23 20:44 | 87.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4919 | μmol/L | 25.6088 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115083.6717 | 301780.1081 | 30.45 | 114.2
37952 | 2021-02-23 20:44 | 87.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5766 | μmol/L | 25.6027 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.338 | 115073.9904 | 301781.2911 | 30.45 | 114.2
37962 | 2021-02-23 20:45 | 87.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4239 | μmol/L | 25.615 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115075.8333 | 301786.1238 | 30.45 | 114.2
37971 | 2021-02-23 20:45 | 88.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4594 | μmol/L | 25.6027 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 115077.2034 | 301767.8854 | 30.45 | 114.2
37982 | 2021-02-23 20:45 | 88.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5096 | μmol/L | 25.6027 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.342 | 115079.1692 | 301760.7819 | 30.45 | 114.2
37992 | 2021-02-23 20:46 | 88.6704 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4574 | μmol/L | 25.615 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.341 | 115066.556 | 301774.4728 | 30.45 | 114.2
38001 | 2021-02-23 20:46 | 89.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4239 | μmol/L | 25.615 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.343 | 115083.0123 | 301761.048 | 30.45 | 114.2
38012 | 2021-02-23 20:46 | 89.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3727 | μmol/L | 25.6211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.344 | 115078.2191 | 301762.5605 | 30.45 | 114.2
38022 | 2021-02-23 20:47 | 89.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4406 | μmol/L | 25.615 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.342 | 115083.8547 | 301763.9266 | 30.45 | 114.2
38032 | 2021-02-23 20:47 | 90.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2536 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.347 | 115091.9522 | 301765.1067 | 30.45 | 114.2
38041 | 2021-02-23 20:47 | 90.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3048 | μmol/L | 25.6273 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.346 | 115096.5612 | 301755.8491 | 30.45 | 114.2
38052 | 2021-02-23 20:48 | 90.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4406 | μmol/L | 25.615 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.342 | 115086.1944 | 301759.0621 | 30.45 | 114.2
38061 | 2021-02-23 20:48 | 91.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3392 | μmol/L | 25.6211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.346 | 115096.4945 | 301754.6421 | 30.45 | 114.2
38071 | 2021-02-23 20:48 | 91.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4062 | μmol/L | 25.6211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.342 | 115095.5725 | 301735.3383 | 30.45 | 114.2
38081 | 2021-02-23 20:49 | 91.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.287 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.345 | 115093.3043 | 301743.5707 | 30.45 | 114.2
38092 | 2021-02-23 20:49 | 92.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.17 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.352 | 115102.5741 | 301744.3262 | 30.45 | 114.2
38101 | 2021-02-23 20:49 | 92.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2723 | μmol/L | 25.6211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.35 | 115109.5927 | 301752.8561 | 30.45 | 114.2
38112 | 2021-02-23 20:50 | 92.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1021 | μmol/L | 25.6396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.354 | 115098.496 | 301752.4736 | 30.45 | 114.2
38122 | 2021-02-23 20:50 | 93.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2201 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.349 | 115111.9933 | 301743.8995 | 30.45 | 114.2
38132 | 2021-02-23 20:50 | 93.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1209 | μmol/L | 25.6273 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.357 | 115122.515 | 301736.6356 | 30.45 | 114.2
38142 | 2021-02-23 20:51 | 93.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1533 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.353 | 115115.4474 | 301732.5351 | 30.45 | 114.2
38152 | 2021-02-23 20:51 | 94.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0854 | μmol/L | 25.6396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.355 | 115123.5783 | 301735.0899 | 30.45 | 114.2
38161 | 2021-02-23 20:51 | 94.337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0186 | μmol/L | 25.6396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.359 | 115133.3318 | 301724.2376 | 30.45 | 114.2
38171 | 2021-02-23 20:52 | 94.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.052 | μmol/L | 25.6396 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.357 | 115128.0228 | 301728.3103 | 30.45 | 114.2
38182 | 2021-02-23 20:52 | 95.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0864 | μmol/L | 25.6334 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.357 | 115121.6443 | 301717.7979 | 30.45 | 114.2
38192 | 2021-02-23 20:52 | 95.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1406 | μmol/L | 25.6088 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.362 | 115148.4661 | 301719.3646 | 30.45 | 114.2
38202 | 2021-02-23 20:53 | 95.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2409 | μmol/L | 25.6088 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.356 | 115143.3022 | 301719.8505 | 30.45 | 114.2
38211 | 2021-02-23 20:53 | 96.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.172 | μmol/L | 25.6211 | °C | 1010 | hPa | Humid | 28 | 0 | 0 | 22.356 | 115140.8654 | 301724.7406 | 30.45 | 114.2