## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
29725 | 2021-02-23 12:09 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2929 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.555 | 156908.7943 | 299720.9805 | 59.9307 | 49.4
29735 | 2021-02-23 12:09 | 0.32921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.1736 | μmol/L | 15.4133 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.556 | 156914.3721 | 299717.2073 | 59.9307 | 49.4
29745 | 2021-02-23 12:09 | 0.66216 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.2266 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.558 | 156916.8275 | 299692.6436 | 59.9307 | 49.4
29755 | 2021-02-23 12:10 | 0.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0941 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.564 | 156944.2654 | 299685.1761 | 59.9307 | 49.4
29765 | 2021-02-23 12:10 | 1.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0676 | μmol/L | 15.4071 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.563 | 156949.8587 | 299687.613 | 59.9307 | 49.4
29775 | 2021-02-23 12:10 | 1.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.838 | μmol/L | 15.4195 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 156958.6269 | 299685.9518 | 59.9307 | 49.4
29785 | 2021-02-23 12:11 | 1.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8866 | μmol/L | 15.4133 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 156957.4072 | 299678.2716 | 59.9307 | 49.4
29795 | 2021-02-23 12:11 | 2.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7895 | μmol/L | 15.4256 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 156979.0151 | 299677.649 | 59.9307 | 49.4
29805 | 2021-02-23 12:11 | 2.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.741 | μmol/L | 15.4318 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.569 | 156970.3038 | 299655.0613 | 59.9307 | 49.4
29815 | 2021-02-23 12:12 | 2.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7454 | μmol/L | 15.4256 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.571 | 156952.8457 | 299675.4003 | 59.9307 | 49.4
29825 | 2021-02-23 12:12 | 3.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7454 | μmol/L | 15.4256 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.571 | 156947.3772 | 299647.5647 | 59.9307 | 49.4
29835 | 2021-02-23 12:12 | 3.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8645 | μmol/L | 15.4133 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.57 | 156947.414 | 299648.9743 | 59.9307 | 49.4
29845 | 2021-02-23 12:13 | 3.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8689 | μmol/L | 15.4071 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.572 | 156937.0189 | 299630.4512 | 59.9307 | 49.4
29855 | 2021-02-23 12:13 | 4.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8204 | μmol/L | 15.4133 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.572 | 156946.3329 | 299648.111 | 59.9307 | 49.4
29865 | 2021-02-23 12:13 | 4.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8248 | μmol/L | 15.4071 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.574 | 156949.9573 | 299632.0672 | 59.9307 | 49.4
29875 | 2021-02-23 12:14 | 4.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.719 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.581 | 156969.5358 | 299659.6743 | 59.9307 | 49.4
29885 | 2021-02-23 12:14 | 5.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8557 | μmol/L | 15.3948 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.577 | 156974.0309 | 299626.6614 | 59.9307 | 49.4
29895 | 2021-02-23 12:14 | 5.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.794 | μmol/L | 15.3887 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.582 | 156984.4601 | 299634.3608 | 59.9307 | 49.4
29905 | 2021-02-23 12:15 | 5.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8646 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.581 | 156990.0686 | 299619.0357 | 59.9307 | 49.4
29915 | 2021-02-23 12:15 | 6.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8646 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.581 | 156976.9698 | 299624.8638 | 59.9307 | 49.4
29925 | 2021-02-23 12:15 | 6.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.9176 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.583 | 156996.4271 | 299603.269 | 59.9307 | 49.4
29935 | 2021-02-23 12:16 | 6.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0413 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.584 | 157007.0529 | 299608.1288 | 59.9307 | 49.4
29945 | 2021-02-23 12:16 | 7.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 257.0944 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.586 | 157006.5582 | 299579.8414 | 59.9307 | 49.4
29955 | 2021-02-23 12:16 | 7.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.931 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.589 | 157022.11 | 299603.3849 | 59.9307 | 49.4
29965 | 2021-02-23 12:17 | 7.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.8604 | μmol/L | 15.3578 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.59 | 157044.5172 | 299608.3925 | 59.9307 | 49.4
29975 | 2021-02-23 12:17 | 8.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7368 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.589 | 157047.5927 | 299602.6677 | 59.9307 | 49.4
29985 | 2021-02-23 12:17 | 8.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.5031 | μmol/L | 15.3948 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.593 | 157049.9507 | 299605.5107 | 59.9307 | 49.4
29995 | 2021-02-23 12:18 | 8.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.6221 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.592 | 157054.5452 | 299602.5588 | 59.9307 | 49.4
30005 | 2021-02-23 12:18 | 9.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.4326 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.594 | 157076.3739 | 299592.4191 | 59.9307 | 49.4
30015 | 2021-02-23 12:18 | 9.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.3137 | μmol/L | 15.4133 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.595 | 157083.5095 | 299593.5052 | 59.9307 | 49.4
30025 | 2021-02-23 12:19 | 9.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1993 | μmol/L | 15.4195 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.598 | 157091.0599 | 299584.1294 | 59.9307 | 49.4
30035 | 2021-02-23 12:19 | 10.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1773 | μmol/L | 15.4195 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.599 | 157108.73 | 299621.2453 | 59.9307 | 49.4
30045 | 2021-02-23 12:19 | 10.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2302 | μmol/L | 15.4071 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.601 | 157116.4823 | 299609.1116 | 59.9307 | 49.4
30055 | 2021-02-23 12:20 | 10.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.7195 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.603 | 157135.3278 | 299589.4047 | 59.9307 | 49.4
30065 | 2021-02-23 12:20 | 11.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.5519 | μmol/L | 15.3578 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.604 | 157148.4185 | 299585.4375 | 59.9307 | 49.4
30075 | 2021-02-23 12:20 | 11.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.4594 | μmol/L | 15.364 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.606 | 157156.1699 | 299591.625 | 59.9307 | 49.4
30085 | 2021-02-23 12:21 | 11.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2919 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.607 | 157180.8477 | 299614.8942 | 59.9307 | 49.4
30095 | 2021-02-23 12:21 | 12.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2789 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.612 | 157206.9947 | 299603.7402 | 59.9307 | 49.4
30105 | 2021-02-23 12:21 | 12.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.0017 | μmol/L | 15.3887 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.618 | 157255.1406 | 299595.8536 | 59.9307 | 49.4
30115 | 2021-02-23 12:22 | 12.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7952 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.623 | 157277.9407 | 299596.9321 | 59.9307 | 49.4
30125 | 2021-02-23 12:22 | 13.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7513 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.625 | 157307.0691 | 299599.8958 | 59.9307 | 49.4
30135 | 2021-02-23 12:22 | 13.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9493 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.627 | 157313.2133 | 299588.0664 | 59.9307 | 49.4
30145 | 2021-02-23 12:23 | 13.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9712 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.626 | 157319.1131 | 299611.5098 | 59.9307 | 49.4
30155 | 2021-02-23 12:23 | 14.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.8525 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.627 | 157325.9589 | 299583.7933 | 59.9307 | 49.4
30165 | 2021-02-23 12:23 | 14.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7867 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.63 | 157324.3357 | 299599.3654 | 59.9307 | 49.4
30175 | 2021-02-23 12:24 | 14.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.8834 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.63 | 157324.3078 | 299599.3639 | 59.9307 | 49.4
30185 | 2021-02-23 12:24 | 15.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.2883 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.627 | 157314.8022 | 299586.6448 | 59.9307 | 49.4
30195 | 2021-02-23 12:24 | 15.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 256.1165 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.626 | 157315.5624 | 299592.9179 | 59.9307 | 49.4
30205 | 2021-02-23 12:25 | 15.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.8789 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.628 | 157319.3337 | 299589.2176 | 59.9307 | 49.4
30215 | 2021-02-23 12:25 | 16.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7867 | μmol/L | 15.3825 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.63 | 157324.0895 | 299597.7892 | 59.9307 | 49.4
30225 | 2021-02-23 12:25 | 16.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6506 | μmol/L | 15.3887 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.634 | 157329.0303 | 299591.8389 | 59.9307 | 49.4
30235 | 2021-02-23 12:26 | 16.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5759 | μmol/L | 15.401 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.633 | 157337.2799 | 299582.639 | 59.9307 | 49.4
30245 | 2021-02-23 12:26 | 17.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7383 | μmol/L | 15.3887 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.63 | 157341.7933 | 299584.481 | 59.9307 | 49.4
30255 | 2021-02-23 12:26 | 17.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.8395 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.632 | 157355.3721 | 299588.5533 | 59.9307 | 49.4
30265 | 2021-02-23 12:27 | 17.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.9143 | μmol/L | 15.3578 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.633 | 157345.5184 | 299574.6208 | 59.9307 | 49.4
30275 | 2021-02-23 12:27 | 18.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.7781 | μmol/L | 15.364 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.637 | 157367.077 | 299569.8084 | 59.9307 | 49.4
30285 | 2021-02-23 12:27 | 18.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6595 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.638 | 157381.9327 | 299559.2915 | 59.9307 | 49.4
30295 | 2021-02-23 12:28 | 18.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5718 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.642 | 157406.8483 | 299558.2803 | 59.9307 | 49.4
30305 | 2021-02-23 12:28 | 19.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.528 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.644 | 157435.9761 | 299567.2151 | 59.9307 | 49.4
30315 | 2021-02-23 12:28 | 19.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4623 | μmol/L | 15.3763 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.647 | 157445.8886 | 299579.4585 | 59.9307 | 49.4
30325 | 2021-02-23 12:29 | 19.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4229 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.651 | 157466.409 | 299574.212 | 59.9307 | 49.4
30335 | 2021-02-23 12:29 | 20.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.524 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.653 | 157485.9086 | 299585.742 | 59.9307 | 49.4
30345 | 2021-02-23 12:29 | 20.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.5724 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.653 | 157509.7888 | 299598.4189 | 59.9307 | 49.4
30355 | 2021-02-23 12:30 | 20.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.6033 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.656 | 157524.0038 | 299595.5945 | 59.9307 | 49.4
30365 | 2021-02-23 12:30 | 21.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4628 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.658 | 157539.0982 | 299598.7352 | 59.9307 | 49.4
30375 | 2021-02-23 12:30 | 21.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4892 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.659 | 157555.8879 | 299599.2138 | 59.9307 | 49.4
30385 | 2021-02-23 12:31 | 21.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.4719 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.662 | 157575.3679 | 299598.8603 | 59.9307 | 49.4
30395 | 2021-02-23 12:31 | 22.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.3141 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.667 | 157595.6404 | 299595.6512 | 59.9307 | 49.4
30405 | 2021-02-23 12:31 | 22.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2658 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.667 | 157613.5252 | 299597.59 | 59.9307 | 49.4
30415 | 2021-02-23 12:32 | 22.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2394 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.666 | 157626.5996 | 299591.6797 | 59.9307 | 49.4
30425 | 2021-02-23 12:32 | 23.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.222 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.669 | 157631.3091 | 299580.955 | 59.9307 | 49.4
30435 | 2021-02-23 12:32 | 23.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2266 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.671 | 157654.7952 | 299581.5304 | 59.9307 | 49.4
30445 | 2021-02-23 12:33 | 23.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0162 | μmol/L | 15.3578 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.674 | 157665.6947 | 299595.7661 | 59.9307 | 49.4
30455 | 2021-02-23 12:33 | 24.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.3586 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.676 | 157678.9263 | 299587.5793 | 59.9307 | 49.4
30465 | 2021-02-23 12:33 | 24.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.262 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.676 | 157699.3355 | 299596.604 | 59.9307 | 49.4
30475 | 2021-02-23 12:34 | 24.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1217 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.678 | 157710.3034 | 299597.0103 | 59.9307 | 49.4
30485 | 2021-02-23 12:34 | 25.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.2228 | μmol/L | 15.3147 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.68 | 157705.3995 | 299576.5705 | 59.9307 | 49.4
30495 | 2021-02-23 12:34 | 25.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1217 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.678 | 157707.1622 | 299568.2959 | 59.9307 | 49.4
30505 | 2021-02-23 12:35 | 25.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9288 | μmol/L | 15.3578 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.678 | 157718.8153 | 299581.4621 | 59.9307 | 49.4
30515 | 2021-02-23 12:35 | 26.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8105 | μmol/L | 15.3702 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.679 | 157721.6593 | 299595.4222 | 59.9307 | 49.4
30525 | 2021-02-23 12:35 | 26.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.815 | μmol/L | 15.364 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.681 | 157717.6811 | 299591.5519 | 59.9307 | 49.4
30535 | 2021-02-23 12:36 | 26.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0207 | μmol/L | 15.3517 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.676 | 157720.3686 | 299576.217 | 59.9307 | 49.4
30545 | 2021-02-23 12:36 | 27.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1263 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.68 | 157734.9657 | 299593.9488 | 59.9307 | 49.4
30555 | 2021-02-23 12:36 | 27.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1089 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.683 | 157733.2534 | 299583.3337 | 59.9307 | 49.4
30565 | 2021-02-23 12:37 | 27.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0388 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.684 | 157736.4935 | 299572.102 | 59.9307 | 49.4
30575 | 2021-02-23 12:37 | 28.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8941 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.684 | 157759.4104 | 299569.8687 | 59.9307 | 49.4
30585 | 2021-02-23 12:37 | 28.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9687 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.685 | 157755.2758 | 299564.9511 | 59.9307 | 49.4
30595 | 2021-02-23 12:38 | 28.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0962 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.688 | 157770.1227 | 299583.163 | 59.9307 | 49.4
30605 | 2021-02-23 12:38 | 29.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.1663 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.687 | 157774.6111 | 299588.9501 | 59.9307 | 49.4
30615 | 2021-02-23 12:38 | 29.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.355 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.685 | 157775.9739 | 299578.2863 | 59.9307 | 49.4
30625 | 2021-02-23 12:39 | 29.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 255.0962 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.688 | 157780.0494 | 299571.7524 | 59.9307 | 49.4
30635 | 2021-02-23 12:39 | 30.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9032 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.688 | 157782.2433 | 299586.0275 | 59.9307 | 49.4
30645 | 2021-02-23 12:39 | 30.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7849 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.689 | 157777.1202 | 299574.237 | 59.9307 | 49.4
30655 | 2021-02-23 12:40 | 30.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.7849 | μmol/L | 15.3455 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.689 | 157782.6405 | 299564.0116 | 59.9307 | 49.4
30665 | 2021-02-23 12:40 | 31.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8986 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.686 | 157796.7041 | 299586.2366 | 59.9307 | 49.4
30675 | 2021-02-23 12:40 | 31.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8813 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.689 | 157834.4824 | 299588.0397 | 59.9307 | 49.4
30685 | 2021-02-23 12:41 | 31.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8904 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.693 | 157853.0056 | 299584.2483 | 59.9307 | 49.4
30695 | 2021-02-23 12:41 | 32.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.9214 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.696 | 157854.8521 | 299581.4688 | 59.9307 | 49.4
30705 | 2021-02-23 12:41 | 32.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8558 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.699 | 157875.526 | 299592.6015 | 59.9307 | 49.4
30715 | 2021-02-23 12:42 | 32.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.8122 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.701 | 157888.4422 | 299602.9728 | 59.9307 | 49.4
30725 | 2021-02-23 12:42 | 33.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.834 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.7 | 157900.3556 | 299587.6597 | 59.9307 | 49.4
30735 | 2021-02-23 12:42 | 33.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.624 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.703 | 157913.3 | 299575.0131 | 59.9307 | 49.4
30745 | 2021-02-23 12:43 | 33.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5104 | μmol/L | 15.3332 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157940.4832 | 299591.7706 | 59.9307 | 49.4
30755 | 2021-02-23 12:43 | 34.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6067 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.706 | 157946.2947 | 299586.4423 | 59.9307 | 49.4
30765 | 2021-02-23 12:43 | 34.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5458 | μmol/L | 15.3147 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157952.0461 | 299591.2358 | 59.9307 | 49.4
30775 | 2021-02-23 12:44 | 34.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4495 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157951.1493 | 299559.1208 | 59.9307 | 49.4
30785 | 2021-02-23 12:44 | 35.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4804 | μmol/L | 15.3147 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.714 | 157963.1538 | 299572.5094 | 59.9307 | 49.4
30795 | 2021-02-23 12:44 | 35.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4977 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.711 | 157954.1525 | 299557.2458 | 59.9307 | 49.4
30805 | 2021-02-23 12:45 | 35.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4323 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.714 | 157948.5702 | 299559.8425 | 59.9307 | 49.4
30815 | 2021-02-23 12:45 | 36.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5986 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.713 | 157951.539 | 299541.3111 | 59.9307 | 49.4
30825 | 2021-02-23 12:45 | 36.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.555 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.715 | 157954.7004 | 299524.2246 | 59.9307 | 49.4
30835 | 2021-02-23 12:46 | 36.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.485 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.716 | 157951.4406 | 299532.1656 | 59.9307 | 49.4
30845 | 2021-02-23 12:46 | 37.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3933 | μmol/L | 15.3147 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.718 | 157962.0153 | 299524.7541 | 59.9307 | 49.4
30855 | 2021-02-23 12:46 | 37.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3188 | μmol/L | 15.327 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.717 | 157959.6576 | 299504.7373 | 59.9307 | 49.4
30865 | 2021-02-23 12:47 | 37.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1573 | μmol/L | 15.3393 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.72 | 157967.274 | 299498.455 | 59.9307 | 49.4
30875 | 2021-02-23 12:47 | 38.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3234 | μmol/L | 15.3208 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.719 | 157957.8998 | 299509.5788 | 59.9307 | 49.4
30885 | 2021-02-23 12:47 | 38.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.2889 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.725 | 157978.518 | 299518.9059 | 59.9307 | 49.4
30895 | 2021-02-23 12:48 | 38.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4506 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.722 | 157987.7135 | 299513.1299 | 59.9307 | 49.4
30905 | 2021-02-23 12:48 | 39.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.6961 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.724 | 157990.5654 | 299502.8175 | 59.9307 | 49.4
30915 | 2021-02-23 12:48 | 39.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.5389 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.729 | 158002.9495 | 299512.7364 | 59.9307 | 49.4
30925 | 2021-02-23 12:49 | 39.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4425 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.729 | 158018.8436 | 299507.112 | 59.9307 | 49.4
30935 | 2021-02-23 12:49 | 40.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.4425 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.729 | 158023.9553 | 299494.3455 | 59.9307 | 49.4
30945 | 2021-02-23 12:49 | 40.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.3027 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.731 | 158038.3957 | 299487.9561 | 59.9307 | 49.4
30955 | 2021-02-23 12:50 | 40.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1675 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.735 | 158057.636 | 299494.6294 | 59.9307 | 49.4
30965 | 2021-02-23 12:50 | 41.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0541 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.738 | 158061.7377 | 299503.5964 | 59.9307 | 49.4
30975 | 2021-02-23 12:50 | 41.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0976 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.736 | 158068.7194 | 299489.1666 | 59.9307 | 49.4
30985 | 2021-02-23 12:51 | 41.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.1285 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.739 | 158084.2393 | 299475.7515 | 59.9307 | 49.4
30995 | 2021-02-23 12:51 | 42.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.037 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.741 | 158090.8989 | 299486.5142 | 59.9307 | 49.4
31005 | 2021-02-23 12:51 | 42.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8539 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.745 | 158095.6719 | 299481.7756 | 59.9307 | 49.4
31015 | 2021-02-23 12:52 | 42.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9454 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.743 | 158103.4592 | 299475.6022 | 59.9307 | 49.4
31025 | 2021-02-23 12:52 | 43.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9065 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.747 | 158102.3707 | 299473.4032 | 59.9307 | 49.4
31035 | 2021-02-23 12:52 | 43.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0026 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.747 | 158114.5402 | 299457.8263 | 59.9307 | 49.4
31045 | 2021-02-23 12:53 | 43.9955 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9855 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.75 | 158107.4864 | 299461.8492 | 59.9307 | 49.4
31055 | 2021-02-23 12:53 | 44.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0553 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.749 | 158122.6695 | 299459.915 | 59.9307 | 49.4
31065 | 2021-02-23 12:53 | 44.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.0817 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.75 | 158107.283 | 299441.1642 | 59.9307 | 49.4
31075 | 2021-02-23 12:54 | 44.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 254.029 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.748 | 158114.4731 | 299455.648 | 59.9307 | 49.4
31085 | 2021-02-23 12:54 | 45.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.894 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.752 | 158132.8491 | 299456.1271 | 59.9307 | 49.4
31095 | 2021-02-23 12:54 | 45.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.9249 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.755 | 158151.8985 | 299454.2454 | 59.9307 | 49.4
31105 | 2021-02-23 12:55 | 45.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.8643 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.76 | 158156.4466 | 299442.6814 | 59.9307 | 49.4
31115 | 2021-02-23 12:55 | 46.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6505 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 158171.7896 | 299446.7005 | 59.9307 | 49.4
31125 | 2021-02-23 12:55 | 46.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.5545 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.761 | 158190.1571 | 299459.4514 | 59.9307 | 49.4
31135 | 2021-02-23 12:56 | 46.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3935 | μmol/L | 15.3147 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.764 | 158199.7107 | 299446.9627 | 59.9307 | 49.4
31145 | 2021-02-23 12:56 | 47.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3764 | μmol/L | 15.3085 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 158196.5069 | 299428.1885 | 59.9307 | 49.4
31155 | 2021-02-23 12:56 | 47.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.4723 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.767 | 158214.1469 | 299423.8807 | 59.9307 | 49.4
31165 | 2021-02-23 12:57 | 47.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6209 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.769 | 158204.9753 | 299418.7505 | 59.9307 | 49.4
31175 | 2021-02-23 12:57 | 48.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.7696 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.771 | 158235.6861 | 299423.1653 | 59.9307 | 49.4
31185 | 2021-02-23 12:57 | 48.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.7262 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.773 | 158238.3317 | 299407.5126 | 59.9307 | 49.4
31195 | 2021-02-23 12:58 | 48.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.6301 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.773 | 158258.1517 | 299404.6167 | 59.9307 | 49.4
31205 | 2021-02-23 12:58 | 49.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2168 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.781 | 158272.7467 | 299411.5318 | 59.9307 | 49.4
31215 | 2021-02-23 12:58 | 49.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2385 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.78 | 158271.2313 | 299398.469 | 59.9307 | 49.4
31225 | 2021-02-23 12:59 | 49.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2431 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.782 | 158290.7455 | 299406.5484 | 59.9307 | 49.4
31235 | 2021-02-23 12:59 | 50.3287 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1951 | μmol/L | 15.29 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.782 | 158299.4185 | 299416.1226 | 59.9307 | 49.4
31245 | 2021-02-23 12:59 | 50.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2694 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.783 | 158310.6354 | 299415.8179 | 59.9307 | 49.4
31255 | 2021-02-23 13:00 | 50.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.2786 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.787 | 158306.0584 | 299416.7841 | 59.9307 | 49.4
31265 | 2021-02-23 13:00 | 51.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3219 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.785 | 158316.9818 | 299412.8889 | 59.9307 | 49.4
31275 | 2021-02-23 13:00 | 51.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3482 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.786 | 158316.5655 | 299405.8928 | 59.9307 | 49.4
31285 | 2021-02-23 13:01 | 51.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.3049 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.788 | 158329.7654 | 299422.9845 | 59.9307 | 49.4
31295 | 2021-02-23 13:01 | 52.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1657 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.79 | 158337.2586 | 299406.6838 | 59.9307 | 49.4
31305 | 2021-02-23 13:01 | 52.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0266 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.792 | 158334.8263 | 299393.0542 | 59.9307 | 49.4
31315 | 2021-02-23 13:02 | 52.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0266 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.792 | 158347.3438 | 299408.2663 | 59.9307 | 49.4
31325 | 2021-02-23 13:02 | 53.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8875 | μmol/L | 15.2962 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.794 | 158356.8908 | 299408.9335 | 59.9307 | 49.4
31335 | 2021-02-23 13:02 | 53.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8181 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.795 | 158377.4478 | 299398.2884 | 59.9307 | 49.4
31345 | 2021-02-23 13:03 | 53.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.7316 | μmol/L | 15.3023 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.799 | 158391.3916 | 299394.4577 | 59.9307 | 49.4
31355 | 2021-02-23 13:03 | 54.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8798 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.801 | 158409.3732 | 299403.7681 | 59.9307 | 49.4
31365 | 2021-02-23 13:03 | 54.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1409 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.8 | 158424.6544 | 299400.6509 | 59.9307 | 49.4
31375 | 2021-02-23 13:04 | 54.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1672 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.801 | 158445.7512 | 299403.1476 | 59.9307 | 49.4
31385 | 2021-02-23 13:04 | 55.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.059 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.806 | 158458.6624 | 299400.7618 | 59.9307 | 49.4
31395 | 2021-02-23 13:04 | 55.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.9941 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.809 | 158468.9705 | 299394.2695 | 59.9307 | 49.4
31405 | 2021-02-23 13:05 | 55.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.1116 | μmol/L | 15.2284 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.808 | 158476.5565 | 299380.3903 | 59.9307 | 49.4
31415 | 2021-02-23 13:05 | 56.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0204 | μmol/L | 15.2345 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.81 | 158487.557 | 299379.3637 | 59.9307 | 49.4
31425 | 2021-02-23 13:05 | 56.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 253.0514 | μmol/L | 15.2222 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.813 | 158492.2278 | 299394.7339 | 59.9307 | 49.4
31435 | 2021-02-23 13:06 | 56.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.8165 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.815 | 158503.0118 | 299390.4779 | 59.9307 | 49.4
31445 | 2021-02-23 13:06 | 57.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6776 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.817 | 158511.3821 | 299399.4082 | 59.9307 | 49.4
31455 | 2021-02-23 13:06 | 57.6619 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6297 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.817 | 158520.241 | 299404.544 | 59.9307 | 49.4
31465 | 2021-02-23 13:07 | 57.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.821 | 158535.6255 | 299391.0115 | 59.9307 | 49.4
31475 | 2021-02-23 13:07 | 58.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3568 | μmol/L | 15.2839 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.823 | 158545.3806 | 299381.8408 | 59.9307 | 49.4
31485 | 2021-02-23 13:07 | 58.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5218 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.822 | 158554.2505 | 299387.5733 | 59.9307 | 49.4
31495 | 2021-02-23 13:08 | 58.9952 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6653 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.822 | 158551.3143 | 299387.186 | 59.9307 | 49.4
31505 | 2021-02-23 13:08 | 59.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5742 | μmol/L | 15.253 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.824 | 158559.379 | 299396.4091 | 59.9307 | 49.4
31515 | 2021-02-23 13:08 | 59.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.548 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.823 | 158561.0611 | 299379.4295 | 59.9307 | 49.4
31525 | 2021-02-23 13:09 | 59.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5048 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.825 | 158556.735 | 299387.3859 | 59.9307 | 49.4
31535 | 2021-02-23 13:09 | 60.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4524 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.823 | 158560.7812 | 299396.5464 | 59.9307 | 49.4
31545 | 2021-02-23 13:09 | 60.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4879 | μmol/L | 15.253 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.828 | 158577.6635 | 299371.1003 | 59.9307 | 49.4
31555 | 2021-02-23 13:10 | 60.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5789 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.826 | 158579.2327 | 299377.3144 | 59.9307 | 49.4
31565 | 2021-02-23 13:10 | 61.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5357 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.828 | 158592.2303 | 299374.2643 | 59.9307 | 49.4
31575 | 2021-02-23 13:10 | 61.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4879 | μmol/L | 15.253 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.828 | 158590.1631 | 299377.1731 | 59.9307 | 49.4
31585 | 2021-02-23 13:11 | 61.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4185 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.829 | 158578.4528 | 299369.7281 | 59.9307 | 49.4
31595 | 2021-02-23 13:11 | 62.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4494 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158606.6834 | 299380.6062 | 59.9307 | 49.4
31605 | 2021-02-23 13:11 | 62.6621 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4972 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158599.3468 | 299372.5265 | 59.9307 | 49.4
31615 | 2021-02-23 13:12 | 62.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6192 | μmol/L | 15.2222 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 158602.5331 | 299363.2902 | 59.9307 | 49.4
31625 | 2021-02-23 13:12 | 63.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.576 | μmol/L | 15.2222 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.835 | 158619.9246 | 299377.3433 | 59.9307 | 49.4
31635 | 2021-02-23 13:12 | 63.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4757 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 158616.1992 | 299365.7194 | 59.9307 | 49.4
31645 | 2021-02-23 13:13 | 63.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3323 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 158604.0297 | 299365.1543 | 59.9307 | 49.4
31655 | 2021-02-23 13:13 | 64.3288 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.306 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158605.7628 | 299366.0529 | 59.9307 | 49.4
31665 | 2021-02-23 13:13 | 64.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2798 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.831 | 158601.8021 | 299364.7305 | 59.9307 | 49.4
31675 | 2021-02-23 13:14 | 64.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2105 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158602.0535 | 299360.7576 | 59.9307 | 49.4
31685 | 2021-02-23 13:14 | 65.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2583 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158601.4646 | 299377.3629 | 59.9307 | 49.4
31695 | 2021-02-23 13:14 | 65.6622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2367 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 158593.1797 | 299353.3404 | 59.9307 | 49.4
31705 | 2021-02-23 13:15 | 65.9951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2105 | μmol/L | 15.2777 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158588.2648 | 299342.3394 | 59.9307 | 49.4
31715 | 2021-02-23 13:15 | 66.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.2583 | μmol/L | 15.2715 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158596.5957 | 299363.7009 | 59.9307 | 49.4
31725 | 2021-02-23 13:15 | 66.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3276 | μmol/L | 15.2654 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.831 | 158586.3471 | 299343.3869 | 59.9307 | 49.4
31735 | 2021-02-23 13:16 | 66.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3538 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158588.4787 | 299361.6408 | 59.9307 | 49.4
31745 | 2021-02-23 13:16 | 67.3285 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.3538 | μmol/L | 15.2592 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158574.4293 | 299354.2949 | 59.9307 | 49.4
31755 | 2021-02-23 13:16 | 67.6623 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5142 | μmol/L | 15.2469 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.829 | 158588.4709 | 299373.1577 | 59.9307 | 49.4
31765 | 2021-02-23 13:17 | 67.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5188 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.831 | 158579.8688 | 299346.1862 | 59.9307 | 49.4
31775 | 2021-02-23 13:17 | 68.3289 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.562 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.829 | 158586.8158 | 299373.6142 | 59.9307 | 49.4
31785 | 2021-02-23 13:17 | 68.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5404 | μmol/L | 15.2407 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.83 | 158583.9206 | 299369.5119 | 59.9307 | 49.4
31795 | 2021-02-23 13:18 | 68.9954 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.5713 | μmol/L | 15.2284 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.833 | 158590.2286 | 299364.8019 | 59.9307 | 49.4
31805 | 2021-02-23 13:18 | 69.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6408 | μmol/L | 15.2222 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158586.3784 | 299349.5384 | 59.9307 | 49.4
31815 | 2021-02-23 13:18 | 69.662 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6717 | μmol/L | 15.2099 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.835 | 158598.3559 | 299380.007 | 59.9307 | 49.4
31825 | 2021-02-23 13:19 | 69.9956 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.6886 | μmol/L | 15.216 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.832 | 158619.9376 | 299378.47 | 59.9307 | 49.4
31835 | 2021-02-23 13:19 | 70.3286 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.4156 | μmol/L | 15.2345 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.838 | 158618.7995 | 299365.1874 | 59.9307 | 49.4
31845 | 2021-02-23 13:19 | 70.6618 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.485 | μmol/L | 15.2284 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.837 | 158637.5277 | 299371.629 | 59.9307 | 49.4
31855 | 2021-02-23 13:20 | 70.9953 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 252.394 | μmol/L | 15.2345 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.839 | 158670.5542 | 299368.5216 | 59.9307 | 49.4