## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 19:15

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
31865 | 2021-02-23 15:03 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.4158 | μmol/L | 18.9907 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.14 | 155872.0863 | 299906.5329 | 59.9307 | 49.4
31875 | 2021-02-23 15:03 | 0.33847 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5258 | μmol/L | 18.9722 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.141 | 155883.4977 | 299906.2571 | 59.9307 | 49.4
31885 | 2021-02-23 15:04 | 0.67202 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.225 | μmol/L | 19.0031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.145 | 155881.7754 | 299913.6727 | 59.9307 | 49.4
31895 | 2021-02-23 15:04 | 1.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.2022 | μmol/L | 19.0092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.144 | 155877.0046 | 299885.4988 | 59.9307 | 49.4
31905 | 2021-02-23 15:04 | 1.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.227 | μmol/L | 18.9969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.147 | 155886.0234 | 299888.0392 | 59.9307 | 49.4
31915 | 2021-02-23 15:05 | 1.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1628 | μmol/L | 19.0031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.148 | 155900.4169 | 299905.8285 | 59.9307 | 49.4
31925 | 2021-02-23 15:05 | 2.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1421 | μmol/L | 19.0031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.149 | 155899.7428 | 299899.2106 | 59.9307 | 49.4
31935 | 2021-02-23 15:05 | 2.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1421 | μmol/L | 19.0031 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.149 | 155895.18 | 299865.8583 | 59.9307 | 49.4
31945 | 2021-02-23 15:06 | 2.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1669 | μmol/L | 18.9907 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.152 | 155888.905 | 299866.3275 | 59.9307 | 49.4
31955 | 2021-02-23 15:06 | 3.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.169 | μmol/L | 18.9846 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.154 | 155898.098 | 299851.256 | 59.9307 | 49.4
31965 | 2021-02-23 15:06 | 3.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.2353 | μmol/L | 18.9722 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.155 | 155908.8549 | 299836.9504 | 59.9307 | 49.4
31975 | 2021-02-23 15:07 | 3.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1545 | μmol/L | 18.966 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.161 | 155918.7616 | 299836.1092 | 59.9307 | 49.4
31985 | 2021-02-23 15:07 | 4.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.111 | μmol/L | 18.9722 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.161 | 155931.3312 | 299826.1908 | 59.9307 | 49.4
31995 | 2021-02-23 15:07 | 4.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0053 | μmol/L | 18.9784 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.164 | 155956.4356 | 299836.5282 | 59.9307 | 49.4
32005 | 2021-02-23 15:08 | 4.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9453 | μmol/L | 18.9722 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.169 | 155965.068 | 299823.4566 | 59.9307 | 49.4
32015 | 2021-02-23 15:08 | 5.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9909 | μmol/L | 18.9599 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.171 | 155969.2276 | 299825.8792 | 59.9307 | 49.4
32025 | 2021-02-23 15:08 | 5.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0758 | μmol/L | 18.9537 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.169 | 155977.4076 | 299815.6521 | 59.9307 | 49.4
32035 | 2021-02-23 15:09 | 5.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9681 | μmol/L | 18.966 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.17 | 155977.2633 | 299802.2319 | 59.9307 | 49.4
32045 | 2021-02-23 15:09 | 6.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8832 | μmol/L | 18.9722 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.172 | 155987.3662 | 299797.1099 | 59.9307 | 49.4
32055 | 2021-02-23 15:09 | 6.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9081 | μmol/L | 18.9599 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.175 | 155985.1343 | 299791.5966 | 59.9307 | 49.4
32065 | 2021-02-23 15:10 | 6.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9972 | μmol/L | 18.9414 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.177 | 156007.8863 | 299788.3484 | 59.9307 | 49.4
32075 | 2021-02-23 15:10 | 7.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8068 | μmol/L | 18.9537 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.182 | 156018.2308 | 299797.8413 | 59.9307 | 49.4
32085 | 2021-02-23 15:10 | 7.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8089 | μmol/L | 18.9475 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.184 | 156034.2282 | 299784.0106 | 59.9307 | 49.4
32095 | 2021-02-23 15:11 | 7.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7241 | μmol/L | 18.9537 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.186 | 156053.5644 | 299780.6033 | 59.9307 | 49.4
32105 | 2021-02-23 15:11 | 8.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7469 | μmol/L | 18.9475 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.187 | 156060.8563 | 299778.8598 | 59.9307 | 49.4
32115 | 2021-02-23 15:11 | 8.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7055 | μmol/L | 18.9475 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.189 | 156073.4914 | 299770.3935 | 59.9307 | 49.4
32125 | 2021-02-23 15:12 | 8.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6642 | μmol/L | 18.9475 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.191 | 156088.2378 | 299769.1898 | 59.9307 | 49.4
32135 | 2021-02-23 15:12 | 9.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.625 | μmol/L | 18.9414 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.195 | 156091.1115 | 299756.5022 | 59.9307 | 49.4
32145 | 2021-02-23 15:12 | 9.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6933 | μmol/L | 18.9228 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.198 | 156111.3512 | 299750.3334 | 59.9307 | 49.4
32155 | 2021-02-23 15:13 | 9.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7781 | μmol/L | 18.9167 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.196 | 156121.8592 | 299765.6363 | 59.9307 | 49.4
32165 | 2021-02-23 15:13 | 10.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6313 | μmol/L | 18.9228 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.201 | 156131.7265 | 299755.4998 | 59.9307 | 49.4
32175 | 2021-02-23 15:13 | 10.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.652 | μmol/L | 18.9228 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.2 | 156123.5371 | 299757.2362 | 59.9307 | 49.4
32185 | 2021-02-23 15:14 | 10.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6933 | μmol/L | 18.9228 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.198 | 156108.6797 | 299747.1402 | 59.9307 | 49.4
32195 | 2021-02-23 15:14 | 11.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.801 | μmol/L | 18.9105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.197 | 156108.0132 | 299754.6324 | 59.9307 | 49.4
32205 | 2021-02-23 15:14 | 11.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8216 | μmol/L | 18.9105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.196 | 156072.4264 | 299743.1933 | 59.9307 | 49.4
32215 | 2021-02-23 15:15 | 11.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9871 | μmol/L | 18.9105 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.188 | 156057.0409 | 299763.155 | 59.9307 | 49.4
32225 | 2021-02-23 15:15 | 12.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3292 | μmol/L | 18.8796 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.182 | 156018.5309 | 299779.7607 | 59.9307 | 49.4
32235 | 2021-02-23 15:15 | 12.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5408 | μmol/L | 18.8673 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.176 | 155982.9888 | 299755.8349 | 59.9307 | 49.4
32245 | 2021-02-23 15:16 | 12.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5137 | μmol/L | 18.8858 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.171 | 155943.8918 | 299760.5558 | 59.9307 | 49.4
32255 | 2021-02-23 15:16 | 13.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5924 | μmol/L | 18.8982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.163 | 155886.1372 | 299751.7949 | 59.9307 | 49.4
32265 | 2021-02-23 15:16 | 13.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9312 | μmol/L | 18.8796 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.153 | 155831.1022 | 299757.2117 | 59.9307 | 49.4
32275 | 2021-02-23 15:17 | 13.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.056 | μmol/L | 18.8796 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.147 | 155778.4969 | 299765.7138 | 59.9307 | 49.4
32285 | 2021-02-23 15:17 | 14.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1809 | μmol/L | 18.8796 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.141 | 155734.5482 | 299738.6406 | 59.9307 | 49.4
32295 | 2021-02-23 15:17 | 14.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2204 | μmol/L | 18.8858 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.137 | 155697.1289 | 299751.1143 | 59.9307 | 49.4
32305 | 2021-02-23 15:18 | 14.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.3412 | μmol/L | 18.8982 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.127 | 155648.607 | 299764.8593 | 59.9307 | 49.4
32315 | 2021-02-23 15:18 | 15.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.4224 | μmol/L | 18.9043 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.121 | 155598.0769 | 299771.5774 | 59.9307 | 49.4
32325 | 2021-02-23 15:18 | 15.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.4558 | μmol/L | 18.929 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.111 | 155530.981 | 299767.5574 | 59.9307 | 49.4
32335 | 2021-02-23 15:19 | 15.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.5748 | μmol/L | 18.9475 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.099 | 155467.3742 | 299761.0845 | 59.9307 | 49.4
32345 | 2021-02-23 15:19 | 16.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.698 | μmol/L | 18.9537 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.091 | 155417.6329 | 299747.4485 | 59.9307 | 49.4
32355 | 2021-02-23 15:19 | 16.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.6481 | μmol/L | 18.9784 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.085 | 155371.331 | 299755.2151 | 59.9307 | 49.4
32365 | 2021-02-23 15:20 | 16.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.5794 | μmol/L | 18.9969 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.082 | 155325.474 | 299735.7755 | 59.9307 | 49.4
32375 | 2021-02-23 15:20 | 17.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.6171 | μmol/L | 19.0092 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.076 | 155305.6086 | 299731.4902 | 59.9307 | 49.4
32385 | 2021-02-23 15:20 | 17.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.63 | μmol/L | 19.0339 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.067 | 155258.2539 | 299754.2339 | 59.9307 | 49.4
32395 | 2021-02-23 15:21 | 17.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.7076 | μmol/L | 19.0524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.057 | 155197.7686 | 299765.425 | 59.9307 | 49.4
32405 | 2021-02-23 15:21 | 18.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.7037 | μmol/L | 19.0648 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.053 | 155164.1644 | 299750.9135 | 59.9307 | 49.4
32415 | 2021-02-23 15:21 | 18.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.7376 | μmol/L | 19.0895 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.043 | 155103.5583 | 299763.2695 | 59.9307 | 49.4
32425 | 2021-02-23 15:22 | 18.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.7736 | μmol/L | 19.108 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.035 | 155047.8759 | 299762.5065 | 59.9307 | 49.4
32435 | 2021-02-23 15:22 | 19.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.6404 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.033 | 155028.8285 | 299759.2564 | 59.9307 | 49.4
32445 | 2021-02-23 15:22 | 19.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.5719 | μmol/L | 19.1512 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.03 | 155025.3098 | 299762.2226 | 59.9307 | 49.4
32455 | 2021-02-23 15:23 | 19.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.3762 | μmol/L | 19.1759 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.031 | 155026.48 | 299764.0543 | 59.9307 | 49.4
32465 | 2021-02-23 15:23 | 20.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.3914 | μmol/L | 19.1944 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.024 | 154994.5965 | 299774.2241 | 59.9307 | 49.4
32475 | 2021-02-23 15:23 | 20.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2358 | μmol/L | 19.2252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.021 | 154976.0197 | 299775.0726 | 59.9307 | 49.4
32485 | 2021-02-23 15:24 | 20.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2093 | μmol/L | 19.2438 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.016 | 154942.0326 | 299778.4764 | 59.9307 | 49.4
32495 | 2021-02-23 15:24 | 21.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.2909 | μmol/L | 19.2499 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.01 | 154905.0318 | 299760.6567 | 59.9307 | 49.4
32505 | 2021-02-23 15:24 | 21.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1146 | μmol/L | 19.2808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.008 | 154881.7963 | 299769.5365 | 59.9307 | 49.4
32515 | 2021-02-23 15:25 | 21.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.0066 | μmol/L | 19.2931 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.009 | 154880.7839 | 299785.3276 | 59.9307 | 49.4
32525 | 2021-02-23 15:25 | 22.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.1091 | μmol/L | 19.2993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.002 | 154860.4394 | 299795.8335 | 59.9307 | 49.4
32535 | 2021-02-23 15:25 | 22.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9993 | μmol/L | 19.3178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.001 | 154827.1696 | 299790.6469 | 59.9307 | 49.4
32545 | 2021-02-23 15:26 | 22.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 240.06 | μmol/L | 19.324 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.996 | 154811.3537 | 299807.1523 | 59.9307 | 49.4
32555 | 2021-02-23 15:26 | 23.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9502 | μmol/L | 19.3425 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.995 | 154797.0791 | 299833.2685 | 59.9307 | 49.4
32565 | 2021-02-23 15:26 | 23.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9031 | μmol/L | 19.361 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.991 | 154788.3711 | 299860.1481 | 59.9307 | 49.4
32575 | 2021-02-23 15:27 | 23.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.8596 | μmol/L | 19.3672 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.991 | 154770.7486 | 299824.883 | 59.9307 | 49.4
32585 | 2021-02-23 15:27 | 24.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.9203 | μmol/L | 19.3734 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.986 | 154767.7513 | 299804.6986 | 59.9307 | 49.4
32595 | 2021-02-23 15:27 | 24.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.7255 | μmol/L | 19.3981 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.987 | 154766.4913 | 299795.3183 | 59.9307 | 49.4
32605 | 2021-02-23 15:28 | 24.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.6195 | μmol/L | 19.4042 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.99 | 154780.2607 | 299791.6128 | 59.9307 | 49.4
32615 | 2021-02-23 15:28 | 25.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.5534 | μmol/L | 19.4166 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.989 | 154808.9963 | 299772.631 | 59.9307 | 49.4
32625 | 2021-02-23 15:28 | 25.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.529 | μmol/L | 19.4289 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.986 | 154796.5235 | 299789.8492 | 59.9307 | 49.4
32635 | 2021-02-23 15:29 | 25.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.4439 | μmol/L | 19.4351 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.988 | 154808.4858 | 299750.5815 | 59.9307 | 49.4
32645 | 2021-02-23 15:29 | 26.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3589 | μmol/L | 19.4413 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.99 | 154836.6736 | 299785.0349 | 59.9307 | 49.4
32655 | 2021-02-23 15:29 | 26.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.3345 | μmol/L | 19.4536 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.987 | 154817.2601 | 299800.0681 | 59.9307 | 49.4
32665 | 2021-02-23 15:30 | 26.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.2912 | μmol/L | 19.4598 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.987 | 154838.979 | 299787.3359 | 59.9307 | 49.4
32675 | 2021-02-23 15:30 | 27.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.142 | μmol/L | 19.4721 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.99 | 154834.1138 | 299778.6107 | 59.9307 | 49.4
32685 | 2021-02-23 15:30 | 27.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.1819 | μmol/L | 19.4783 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.986 | 154823.9603 | 299771.2611 | 59.9307 | 49.4
32695 | 2021-02-23 15:31 | 27.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.2217 | μmol/L | 19.4845 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.982 | 154823.7807 | 299800.2387 | 59.9307 | 49.4
32705 | 2021-02-23 15:31 | 28.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0536 | μmol/L | 19.4906 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.988 | 154850.262 | 299821.4447 | 59.9307 | 49.4
32715 | 2021-02-23 15:31 | 28.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9877 | μmol/L | 19.503 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.987 | 154843.3006 | 299807.8358 | 59.9307 | 49.4
32725 | 2021-02-23 15:32 | 28.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 239.0085 | μmol/L | 19.503 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.986 | 154851.8862 | 299818.2046 | 59.9307 | 49.4
32735 | 2021-02-23 15:32 | 29.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.8994 | μmol/L | 19.5215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.985 | 154854.8688 | 299810.6776 | 59.9307 | 49.4
32745 | 2021-02-23 15:32 | 29.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.9219 | μmol/L | 19.5153 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.986 | 154855.8781 | 299815.7023 | 59.9307 | 49.4
32755 | 2021-02-23 15:33 | 29.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.773 | μmol/L | 19.5277 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.989 | 154878.5493 | 299806.6691 | 59.9307 | 49.4
32765 | 2021-02-23 15:33 | 30.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7073 | μmol/L | 19.54 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.988 | 154872.8382 | 299811.1575 | 59.9307 | 49.4
32775 | 2021-02-23 15:33 | 30.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6225 | μmol/L | 19.5462 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.99 | 154887.245 | 299804.166 | 59.9307 | 49.4
32785 | 2021-02-23 15:34 | 30.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.7038 | μmol/L | 19.5524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.984 | 154891.4616 | 299799.3523 | 59.9307 | 49.4
32795 | 2021-02-23 15:34 | 31.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.6208 | μmol/L | 19.5524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.988 | 154904.6586 | 299820.1479 | 59.9307 | 49.4
32805 | 2021-02-23 15:34 | 31.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.5776 | μmol/L | 19.5585 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.988 | 154910.3618 | 299813.2399 | 59.9307 | 49.4
32815 | 2021-02-23 15:35 | 31.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.5136 | μmol/L | 19.5647 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.989 | 154927.1574 | 299824.6103 | 59.9307 | 49.4
32825 | 2021-02-23 15:35 | 32.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.3875 | μmol/L | 19.5709 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.993 | 154936.2976 | 299831.3849 | 59.9307 | 49.4
32835 | 2021-02-23 15:35 | 32.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.3029 | μmol/L | 19.577 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.995 | 154958.3998 | 299842.6748 | 59.9307 | 49.4
32845 | 2021-02-23 15:36 | 32.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.365 | μmol/L | 19.577 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.992 | 154950.859 | 299823.3917 | 59.9307 | 49.4
32855 | 2021-02-23 15:36 | 33.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.2148 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.993 | 154958.4393 | 299839.2717 | 59.9307 | 49.4
32865 | 2021-02-23 15:36 | 33.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1717 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.993 | 154943.0948 | 299812.1703 | 59.9307 | 49.4
32875 | 2021-02-23 15:37 | 33.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.2994 | μmol/L | 19.5894 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.991 | 154958.0306 | 299830.9515 | 59.9307 | 49.4
32885 | 2021-02-23 15:37 | 34.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1924 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.992 | 154964.7652 | 299820.9552 | 59.9307 | 49.4
32895 | 2021-02-23 15:37 | 34.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.1527 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.996 | 155001.4266 | 299827.2597 | 59.9307 | 49.4
32905 | 2021-02-23 15:38 | 34.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0872 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.995 | 155014.9859 | 299814.7716 | 59.9307 | 49.4
32915 | 2021-02-23 15:38 | 35.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0027 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.997 | 155010.6424 | 299840.2429 | 59.9307 | 49.4
32925 | 2021-02-23 15:38 | 35.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 238.0216 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.994 | 155015.9094 | 299818.2588 | 59.9307 | 49.4
32935 | 2021-02-23 15:39 | 35.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.9613 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 21.999 | 155020.8358 | 299816.6963 | 59.9307 | 49.4
32945 | 2021-02-23 15:39 | 36.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.8131 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.002 | 155029.4229 | 299804.9978 | 59.9307 | 49.4
32955 | 2021-02-23 15:39 | 36.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7063 | μmol/L | 19.6388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.003 | 155053.5803 | 299809.7956 | 59.9307 | 49.4
32965 | 2021-02-23 15:40 | 36.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7717 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.004 | 155068.5042 | 299822.3503 | 59.9307 | 49.4
32975 | 2021-02-23 15:40 | 37.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7717 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.004 | 155088.1458 | 299832.7308 | 59.9307 | 49.4
32985 | 2021-02-23 15:40 | 37.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7941 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.005 | 155093.6652 | 299817.5502 | 59.9307 | 49.4
32995 | 2021-02-23 15:41 | 37.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7924 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.003 | 155090.4132 | 299812.565 | 59.9307 | 49.4
33005 | 2021-02-23 15:41 | 38.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6891 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.008 | 155107.2634 | 299807.9581 | 59.9307 | 49.4
33015 | 2021-02-23 15:41 | 38.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7769 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.01 | 155131.611 | 299829.9064 | 59.9307 | 49.4
33025 | 2021-02-23 15:42 | 38.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7562 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.011 | 155132.5627 | 299834.9292 | 59.9307 | 49.4
33035 | 2021-02-23 15:42 | 39.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.801 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.013 | 155141.4687 | 299844.0858 | 59.9307 | 49.4
33045 | 2021-02-23 15:42 | 39.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7356 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.012 | 155153.4481 | 299829.2297 | 59.9307 | 49.4
33055 | 2021-02-23 15:43 | 39.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.7149 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.013 | 155159.054 | 299832.4309 | 59.9307 | 49.4
33065 | 2021-02-23 15:43 | 40.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6925 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.012 | 155177.6312 | 299848.2183 | 59.9307 | 49.4
33075 | 2021-02-23 15:43 | 40.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.6529 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.016 | 155204.0299 | 299851.8743 | 59.9307 | 49.4
33085 | 2021-02-23 15:44 | 40.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4843 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.02 | 155214.9354 | 299829.9417 | 59.9307 | 49.4
33095 | 2021-02-23 15:44 | 41.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4843 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.02 | 155232.8525 | 299850.4358 | 59.9307 | 49.4
33105 | 2021-02-23 15:44 | 41.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.5049 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.019 | 155234.7805 | 299851.0502 | 59.9307 | 49.4
33115 | 2021-02-23 15:45 | 41.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.4241 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.025 | 155261.7631 | 299861.1185 | 59.9307 | 49.4
33125 | 2021-02-23 15:45 | 42.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.443 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.022 | 155285.3846 | 299848.226 | 59.9307 | 49.4
33135 | 2021-02-23 15:45 | 42.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.278 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.03 | 155302.3944 | 299856.6582 | 59.9307 | 49.4
33145 | 2021-02-23 15:46 | 42.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.3193 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.028 | 155317.5438 | 299854.5333 | 59.9307 | 49.4
33155 | 2021-02-23 15:46 | 43.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.1938 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.032 | 155336.3426 | 299852.5184 | 59.9307 | 49.4
33165 | 2021-02-23 15:46 | 43.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.0891 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.035 | 155359.5408 | 299873.9006 | 59.9307 | 49.4
33175 | 2021-02-23 15:47 | 43.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.0462 | μmol/L | 19.6388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.035 | 155384.4461 | 299866.8314 | 59.9307 | 49.4
33185 | 2021-02-23 15:47 | 44.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 237.0496 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.039 | 155402.7792 | 299846.2661 | 59.9307 | 49.4
33195 | 2021-02-23 15:47 | 44.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.945 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.042 | 155427.2241 | 299845.4003 | 59.9307 | 49.4
33205 | 2021-02-23 15:48 | 44.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7975 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.045 | 155432.3948 | 299853.7922 | 59.9307 | 49.4
33215 | 2021-02-23 15:48 | 45.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.8369 | μmol/L | 19.6511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.041 | 155459.9962 | 299856.0767 | 59.9307 | 49.4
33225 | 2021-02-23 15:48 | 45.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7135 | μmol/L | 19.6511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.047 | 155462.68 | 299880.7429 | 59.9307 | 49.4
33235 | 2021-02-23 15:49 | 45.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.609 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.05 | 155483.9027 | 299889.3923 | 59.9307 | 49.4
33245 | 2021-02-23 15:49 | 46.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5679 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.052 | 155512.0006 | 299892.8934 | 59.9307 | 49.4
33255 | 2021-02-23 15:49 | 46.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.741 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.054 | 155510.2352 | 299874.4487 | 59.9307 | 49.4
33265 | 2021-02-23 15:50 | 46.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.8473 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.053 | 155533.8219 | 299877.4559 | 59.9307 | 49.4
33275 | 2021-02-23 15:50 | 47.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.6999 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.056 | 155544.5024 | 299880.0836 | 59.9307 | 49.4
33285 | 2021-02-23 15:50 | 47.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.7651 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.057 | 155567.444 | 299887.1157 | 59.9307 | 49.4
33295 | 2021-02-23 15:51 | 47.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.6177 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.06 | 155575.0777 | 299900.7956 | 59.9307 | 49.4
33305 | 2021-02-23 15:51 | 48.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.342 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.063 | 155589.5542 | 299883.6784 | 59.9307 | 49.4
33315 | 2021-02-23 15:51 | 48.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3215 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.064 | 155618.4749 | 299899.7936 | 59.9307 | 49.4
33325 | 2021-02-23 15:52 | 48.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.5766 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.062 | 155630.7402 | 299885.6388 | 59.9307 | 49.4
33335 | 2021-02-23 15:52 | 49.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.4534 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.068 | 155658.3443 | 299891.0655 | 59.9307 | 49.4
33345 | 2021-02-23 15:52 | 49.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3027 | μmol/L | 19.6511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.067 | 155661.5691 | 299890.4775 | 59.9307 | 49.4
33355 | 2021-02-23 15:53 | 49.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0479 | μmol/L | 19.682 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.069 | 155677.6068 | 299917.0445 | 59.9307 | 49.4
33365 | 2021-02-23 15:53 | 50.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2224 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.073 | 155695.7072 | 299905.1916 | 59.9307 | 49.4
33375 | 2021-02-23 15:53 | 50.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3303 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.074 | 155716.4536 | 299905.1608 | 59.9307 | 49.4
33385 | 2021-02-23 15:54 | 50.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2259 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.077 | 155732.0994 | 299902.5815 | 59.9307 | 49.4
33395 | 2021-02-23 15:54 | 51.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.2277 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.079 | 155764.9135 | 299900.3913 | 59.9307 | 49.4
33405 | 2021-02-23 15:54 | 51.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.3784 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.08 | 155771.8489 | 299895.3228 | 59.9307 | 49.4
33415 | 2021-02-23 15:55 | 51.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0157 | μmol/L | 19.6511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.081 | 155781.1737 | 299898.4925 | 59.9307 | 49.4
33425 | 2021-02-23 15:55 | 52.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8501 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.087 | 155784.1625 | 299894.8177 | 59.9307 | 49.4
33435 | 2021-02-23 15:55 | 52.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8074 | μmol/L | 19.6635 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.087 | 155821.659 | 299912.382 | 59.9307 | 49.4
33445 | 2021-02-23 15:56 | 52.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6642 | μmol/L | 19.6635 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.094 | 155853.4544 | 299922.2051 | 59.9307 | 49.4
33455 | 2021-02-23 15:56 | 53.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.9409 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.093 | 155871.6492 | 299903.7491 | 59.9307 | 49.4
33465 | 2021-02-23 15:56 | 53.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.8741 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.09 | 155881.9553 | 299910.1225 | 59.9307 | 49.4
33475 | 2021-02-23 15:57 | 53.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 236.0709 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.095 | 155897.6937 | 299915.1867 | 59.9307 | 49.4
33485 | 2021-02-23 15:57 | 54.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.9239 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.098 | 155914.696 | 299921.283 | 59.9307 | 49.4
33495 | 2021-02-23 15:57 | 54.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.7567 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.102 | 155929.2359 | 299911.8941 | 59.9307 | 49.4
33505 | 2021-02-23 15:58 | 54.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.6082 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.103 | 155959.8712 | 299933.3665 | 59.9307 | 49.4
33515 | 2021-02-23 15:58 | 55.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4003 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.109 | 155980.982 | 299936.9086 | 59.9307 | 49.4
33525 | 2021-02-23 15:58 | 55.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4003 | μmol/L | 19.6573 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.109 | 156004.2711 | 299921.3476 | 59.9307 | 49.4
33535 | 2021-02-23 15:59 | 55.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.5096 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.112 | 156030.2299 | 299930.8237 | 59.9307 | 49.4
33545 | 2021-02-23 15:59 | 56.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.4261 | μmol/L | 19.6388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.114 | 156065.9187 | 299930.7078 | 59.9307 | 49.4
33555 | 2021-02-23 15:59 | 56.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3018 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.118 | 156096.7083 | 299939.2684 | 59.9307 | 49.4
33565 | 2021-02-23 16:00 | 56.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.3258 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.121 | 156113.5916 | 299931.7295 | 59.9307 | 49.4
33575 | 2021-02-23 16:00 | 57.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0757 | μmol/L | 19.6511 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.127 | 156152.7849 | 299947.2469 | 59.9307 | 49.4
33585 | 2021-02-23 16:00 | 57.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0367 | μmol/L | 19.6449 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.131 | 156167.918 | 299935.2067 | 59.9307 | 49.4
33595 | 2021-02-23 16:01 | 57.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0385 | μmol/L | 19.6388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.133 | 156199.0979 | 299933.6741 | 59.9307 | 49.4
33605 | 2021-02-23 16:01 | 58.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.0607 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.134 | 156225.1811 | 299945.1406 | 59.9307 | 49.4
33615 | 2021-02-23 16:01 | 58.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1921 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.138 | 156258.7362 | 299945.8859 | 59.9307 | 49.4
33625 | 2021-02-23 16:02 | 58.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9384 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.14 | 156272.7787 | 299934.8833 | 59.9307 | 49.4
33635 | 2021-02-23 16:02 | 59.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 235.1753 | μmol/L | 19.5894 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.143 | 156283.3791 | 299936.9433 | 59.9307 | 49.4
33645 | 2021-02-23 16:02 | 59.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.9661 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.147 | 156311.6886 | 299926.8526 | 59.9307 | 49.4
33655 | 2021-02-23 16:03 | 59.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.8199 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.15 | 156333.397 | 299934.6799 | 59.9307 | 49.4
33665 | 2021-02-23 16:03 | 60.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.7792 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.152 | 156360.392 | 299931.1982 | 59.9307 | 49.4
33675 | 2021-02-23 16:03 | 60.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.8698 | μmol/L | 19.5894 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.158 | 156395.6118 | 299932.5913 | 59.9307 | 49.4
33685 | 2021-02-23 16:04 | 60.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6811 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.161 | 156421.8301 | 299943.061 | 59.9307 | 49.4
33695 | 2021-02-23 16:04 | 61.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.6386 | μmol/L | 19.6141 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.161 | 156438.5893 | 299951.2342 | 59.9307 | 49.4
33705 | 2021-02-23 16:04 | 61.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4927 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.164 | 156465.0513 | 299940.4672 | 59.9307 | 49.4
33715 | 2021-02-23 16:05 | 61.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4318 | μmol/L | 19.6264 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.167 | 156490.9965 | 299968.9616 | 59.9307 | 49.4
33725 | 2021-02-23 16:05 | 62.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4133 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.17 | 156515.3856 | 299959.9268 | 59.9307 | 49.4
33735 | 2021-02-23 16:05 | 62.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.3284 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.17 | 156540.202 | 299959.0571 | 59.9307 | 49.4
33745 | 2021-02-23 16:06 | 62.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.4188 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.176 | 156562.9395 | 299961.85 | 59.9307 | 49.4
33755 | 2021-02-23 16:06 | 63.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.441 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.177 | 156580.3817 | 299940.9223 | 59.9307 | 49.4
33765 | 2021-02-23 16:06 | 63.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1052 | μmol/L | 19.6326 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.181 | 156593.8585 | 299956.1886 | 59.9307 | 49.4
33775 | 2021-02-23 16:07 | 63.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1494 | μmol/L | 19.6203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.183 | 156620.9611 | 299928.2099 | 59.9307 | 49.4
33785 | 2021-02-23 16:07 | 64.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1734 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.186 | 156655.2109 | 299950.6634 | 59.9307 | 49.4
33795 | 2021-02-23 16:07 | 64.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.1144 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.191 | 156664.9706 | 299949.4879 | 59.9307 | 49.4
33805 | 2021-02-23 16:08 | 64.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.262 | μmol/L | 19.5832 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.19 | 156674.4783 | 299949.5953 | 59.9307 | 49.4
33815 | 2021-02-23 16:08 | 65.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0315 | μmol/L | 19.6079 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.193 | 156684.1113 | 299932.6529 | 59.9307 | 49.4
33825 | 2021-02-23 16:08 | 65.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.096 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.194 | 156695.5746 | 299945.8719 | 59.9307 | 49.4
33835 | 2021-02-23 16:09 | 65.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0333 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.195 | 156701.2081 | 299944.4158 | 59.9307 | 49.4
33845 | 2021-02-23 16:09 | 66.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9928 | μmol/L | 19.6017 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.197 | 156728.0617 | 299946.0129 | 59.9307 | 49.4
33855 | 2021-02-23 16:09 | 66.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0168 | μmol/L | 19.5894 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.2 | 156754.5322 | 299951.3259 | 59.9307 | 49.4
33865 | 2021-02-23 16:10 | 66.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0427 | μmol/L | 19.5709 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.205 | 156768.4138 | 299951.292 | 59.9307 | 49.4
33875 | 2021-02-23 16:10 | 67.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2142 | μmol/L | 19.54 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.207 | 156782.6616 | 299953.5275 | 59.9307 | 49.4
33885 | 2021-02-23 16:10 | 67.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.2345 | μmol/L | 19.54 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.206 | 156789.049 | 299958.286 | 59.9307 | 49.4
33895 | 2021-02-23 16:11 | 67.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.9838 | μmol/L | 19.5647 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.21 | 156801.7533 | 299964.2861 | 59.9307 | 49.4
33905 | 2021-02-23 16:11 | 68.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8161 | μmol/L | 19.5832 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.212 | 156823.524 | 299960.6288 | 59.9307 | 49.4
33915 | 2021-02-23 16:11 | 68.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7112 | μmol/L | 19.5956 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.213 | 156839.5754 | 299966.7237 | 59.9307 | 49.4
33925 | 2021-02-23 16:12 | 68.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7794 | μmol/L | 19.5709 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.218 | 156866.7761 | 299950.2619 | 59.9307 | 49.4
33935 | 2021-02-23 16:12 | 69.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 234.0742 | μmol/L | 19.5338 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.216 | 156893.3243 | 299956.8294 | 59.9307 | 49.4
33945 | 2021-02-23 16:12 | 69.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8053 | μmol/L | 19.5524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.223 | 156925.9792 | 299957.5767 | 59.9307 | 49.4
33955 | 2021-02-23 16:13 | 69.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7649 | μmol/L | 19.5524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.225 | 156928.5781 | 299972.1554 | 59.9307 | 49.4
33965 | 2021-02-23 16:13 | 70.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7023 | μmol/L | 19.5585 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.226 | 156942.0323 | 299983.9319 | 59.9307 | 49.4
33975 | 2021-02-23 16:13 | 70.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.6618 | μmol/L | 19.5585 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.228 | 156960.5439 | 299986.7387 | 59.9307 | 49.4
33985 | 2021-02-23 16:14 | 70.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.6435 | μmol/L | 19.5524 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.231 | 156960.9932 | 299969.638 | 59.9307 | 49.4
33995 | 2021-02-23 16:14 | 71.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7687 | μmol/L | 19.54 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.229 | 156971.7326 | 299968.0866 | 59.9307 | 49.4
34005 | 2021-02-23 16:14 | 71.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8755 | μmol/L | 19.5215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.23 | 156968.5826 | 299966.3749 | 59.9307 | 49.4
34015 | 2021-02-23 16:15 | 71.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.8385 | μmol/L | 19.5277 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.23 | 156991.1871 | 299978.972 | 59.9307 | 49.4
34025 | 2021-02-23 16:15 | 72.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.7522 | μmol/L | 19.5277 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.234 | 157003.2304 | 299985.265 | 59.9307 | 49.4
34035 | 2021-02-23 16:15 | 72.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.6935 | μmol/L | 19.5215 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.239 | 157048.2736 | 299995.6641 | 59.9307 | 49.4
34045 | 2021-02-23 16:16 | 72.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.6382 | μmol/L | 19.5215 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.242 | 157078.5381 | 299982.6397 | 59.9307 | 49.4
34055 | 2021-02-23 16:16 | 73.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.5612 | μmol/L | 19.5092 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.25 | 157119.598 | 299982.9213 | 59.9307 | 49.4
34065 | 2021-02-23 16:16 | 73.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.4529 | μmol/L | 19.5153 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.253 | 157165.1495 | 300001.0454 | 59.9307 | 49.4
34075 | 2021-02-23 16:17 | 73.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.5911 | μmol/L | 19.4783 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.259 | 157206.0125 | 300005.5925 | 59.9307 | 49.4
34085 | 2021-02-23 16:17 | 74.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.194 | μmol/L | 19.5215 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.264 | 157240.8571 | 299990.3075 | 59.9307 | 49.4
34095 | 2021-02-23 16:17 | 74.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.051 | μmol/L | 19.5277 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.269 | 157276.5835 | 299995.9672 | 59.9307 | 49.4
34105 | 2021-02-23 16:18 | 74.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0951 | μmol/L | 19.5153 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.271 | 157315.6184 | 299983.1454 | 59.9307 | 49.4
34115 | 2021-02-23 16:18 | 75.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9723 | μmol/L | 19.5215 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.275 | 157324.8202 | 299973.7429 | 59.9307 | 49.4
34125 | 2021-02-23 16:18 | 75.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.2076 | μmol/L | 19.4783 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.278 | 157343.7451 | 300004.0502 | 59.9307 | 49.4
34135 | 2021-02-23 16:19 | 75.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1413 | μmol/L | 19.4968 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.275 | 157348.0672 | 299985.8669 | 59.9307 | 49.4
34145 | 2021-02-23 16:19 | 76.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0587 | μmol/L | 19.503 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.277 | 157349.3373 | 299978.3389 | 59.9307 | 49.4
34155 | 2021-02-23 16:19 | 76.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.099 | μmol/L | 19.503 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.275 | 157332.8611 | 299975.471 | 59.9307 | 49.4
34165 | 2021-02-23 16:20 | 76.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1634 | μmol/L | 19.4906 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.276 | 157340.392 | 299994.2488 | 59.9307 | 49.4
34175 | 2021-02-23 16:20 | 77.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1634 | μmol/L | 19.4906 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.276 | 157347.5649 | 299990.7422 | 59.9307 | 49.4
34185 | 2021-02-23 16:20 | 77.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1634 | μmol/L | 19.4906 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.276 | 157344.0892 | 299996.4351 | 59.9307 | 49.4
34195 | 2021-02-23 16:21 | 77.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0828 | μmol/L | 19.4906 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.28 | 157351.8788 | 300001.9682 | 59.9307 | 49.4
34205 | 2021-02-23 16:21 | 78.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0626 | μmol/L | 19.4906 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.281 | 157361.7199 | 299999.5182 | 59.9307 | 49.4
34215 | 2021-02-23 16:21 | 78.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.3365 | μmol/L | 19.4536 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.28 | 157369.7556 | 300002.1237 | 59.9307 | 49.4
34225 | 2021-02-23 16:22 | 78.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.276 | μmol/L | 19.4536 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.283 | 157390.4568 | 300008.9905 | 59.9307 | 49.4
34235 | 2021-02-23 16:22 | 79.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1693 | μmol/L | 19.4721 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.282 | 157387.0733 | 300014.211 | 59.9307 | 49.4
34245 | 2021-02-23 16:22 | 79.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1418 | μmol/L | 19.4783 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.281 | 157384.6484 | 300026.4037 | 59.9307 | 49.4
34255 | 2021-02-23 16:23 | 79.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1471 | μmol/L | 19.4783 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.281 | 157379.9562 | 300023.8909 | 59.9307 | 49.4
34265 | 2021-02-23 16:23 | 80.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.1068 | μmol/L | 19.4783 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.283 | 157404.1804 | 300045.0691 | 59.9307 | 49.4
34275 | 2021-02-23 16:23 | 80.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0685 | μmol/L | 19.4721 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.287 | 157424.9699 | 300030.3489 | 59.9307 | 49.4
34285 | 2021-02-23 16:24 | 80.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9807 | μmol/L | 19.4783 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.289 | 157458.9808 | 300033.2133 | 59.9307 | 49.4
34295 | 2021-02-23 16:24 | 81.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.2858 | μmol/L | 19.4227 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.293 | 157475.8762 | 300035.4423 | 59.9307 | 49.4
34305 | 2021-02-23 16:24 | 81.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0361 | μmol/L | 19.4474 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.297 | 157506.3391 | 300018.1313 | 59.9307 | 49.4
34315 | 2021-02-23 16:25 | 81.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9133 | μmol/L | 19.4536 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.301 | 157520.7935 | 300026.2492 | 59.9307 | 49.4
34325 | 2021-02-23 16:25 | 82.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9335 | μmol/L | 19.4536 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.3 | 157542.2244 | 300043.2145 | 59.9307 | 49.4
34335 | 2021-02-23 16:25 | 82.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9354 | μmol/L | 19.4474 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.302 | 157543.6816 | 300035.0698 | 59.9307 | 49.4
34345 | 2021-02-23 16:26 | 82.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9817 | μmol/L | 19.4289 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.306 | 157557.7104 | 300034.9442 | 59.9307 | 49.4
34355 | 2021-02-23 16:26 | 83.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9817 | μmol/L | 19.4289 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.306 | 157582.5198 | 300054.5926 | 59.9307 | 49.4
34365 | 2021-02-23 16:26 | 83.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 233.0642 | μmol/L | 19.4227 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.304 | 157591.1779 | 300035.4172 | 59.9307 | 49.4
34375 | 2021-02-23 16:27 | 83.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.9012 | μmol/L | 19.4289 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.31 | 157608.7243 | 300049.4254 | 59.9307 | 49.4
34385 | 2021-02-23 16:27 | 84.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8388 | μmol/L | 19.4351 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.311 | 157609.9531 | 300027.744 | 59.9307 | 49.4
34395 | 2021-02-23 16:27 | 84.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7564 | μmol/L | 19.4413 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.313 | 157635.2423 | 300046.2062 | 59.9307 | 49.4
34405 | 2021-02-23 16:28 | 84.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.696 | μmol/L | 19.4413 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.316 | 157651.3089 | 300045.062 | 59.9307 | 49.4
34415 | 2021-02-23 16:28 | 85.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7181 | μmol/L | 19.4351 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.317 | 157659.9113 | 300037.6041 | 59.9307 | 49.4
34425 | 2021-02-23 16:28 | 85.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7571 | μmol/L | 19.4227 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.319 | 157688.8233 | 300032.7663 | 59.9307 | 49.4
34435 | 2021-02-23 16:29 | 85.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8066 | μmol/L | 19.4104 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.321 | 157706.0112 | 300060.9191 | 59.9307 | 49.4
34445 | 2021-02-23 16:29 | 86.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8106 | μmol/L | 19.3981 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.325 | 157739.6106 | 300056.5909 | 59.9307 | 49.4
34455 | 2021-02-23 16:29 | 86.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.743 | μmol/L | 19.4042 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.326 | 157755.5317 | 300055.6432 | 59.9307 | 49.4
34465 | 2021-02-23 16:30 | 86.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6056 | μmol/L | 19.4104 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.331 | 157760.0402 | 300064.588 | 59.9307 | 49.4
34475 | 2021-02-23 16:30 | 87.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6659 | μmol/L | 19.4104 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.328 | 157768.7386 | 300070.179 | 59.9307 | 49.4
34485 | 2021-02-23 16:30 | 87.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6606 | μmol/L | 19.4104 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.328 | 157775.7625 | 300050.1821 | 59.9307 | 49.4
34495 | 2021-02-23 16:31 | 87.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7671 | μmol/L | 19.3919 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.329 | 157769.4371 | 300045.7955 | 59.9307 | 49.4
34505 | 2021-02-23 16:31 | 88.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6941 | μmol/L | 19.3857 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.335 | 157773.9316 | 300036.4197 | 59.9307 | 49.4
34515 | 2021-02-23 16:31 | 88.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8187 | μmol/L | 19.3734 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.333 | 157783.9449 | 300064.5173 | 59.9307 | 49.4
34525 | 2021-02-23 16:32 | 88.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7954 | μmol/L | 19.3672 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.336 | 157816.2092 | 300059.1342 | 59.9307 | 49.4
34535 | 2021-02-23 16:32 | 89.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.7182 | μmol/L | 19.3734 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.338 | 157838.225 | 300089.9857 | 59.9307 | 49.4
34545 | 2021-02-23 16:32 | 89.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.8047 | μmol/L | 19.3549 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.34 | 157848.689 | 300061.2383 | 59.9307 | 49.4
34555 | 2021-02-23 16:33 | 89.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5776 | μmol/L | 19.3734 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.345 | 157871.3581 | 300085.9196 | 59.9307 | 49.4
34565 | 2021-02-23 16:33 | 90.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6969 | μmol/L | 19.361 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.343 | 157878.8227 | 300071.8307 | 59.9307 | 49.4
34575 | 2021-02-23 16:33 | 90.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6166 | μmol/L | 19.361 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.347 | 157899.4344 | 300088.0195 | 59.9307 | 49.4
34585 | 2021-02-23 16:34 | 90.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5616 | μmol/L | 19.361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.35 | 157915.4344 | 300073.4309 | 59.9307 | 49.4
34595 | 2021-02-23 16:34 | 91.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5616 | μmol/L | 19.361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.35 | 157926.3892 | 300080.3193 | 59.9307 | 49.4
34605 | 2021-02-23 16:34 | 91.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.6588 | μmol/L | 19.3549 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.347 | 157953.3327 | 300074.3293 | 59.9307 | 49.4
34615 | 2021-02-23 16:35 | 91.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5436 | μmol/L | 19.3549 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.353 | 157969.2572 | 300078.49 | 59.9307 | 49.4
34625 | 2021-02-23 16:35 | 92.005 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5276 | μmol/L | 19.3425 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.358 | 157986.0558 | 300087.5508 | 59.9307 | 49.4
34635 | 2021-02-23 16:35 | 92.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.5002 | μmol/L | 19.3487 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.357 | 157995.8259 | 300085.1306 | 59.9307 | 49.4
34645 | 2021-02-23 16:36 | 92.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.361 | μmol/L | 19.361 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.36 | 158008.5848 | 300105.2823 | 59.9307 | 49.4
34655 | 2021-02-23 16:36 | 93.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3758 | μmol/L | 19.361 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.359 | 158024.0728 | 300098.4392 | 59.9307 | 49.4
34665 | 2021-02-23 16:36 | 93.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3758 | μmol/L | 19.361 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.359 | 158044.1639 | 300103.2024 | 59.9307 | 49.4
34675 | 2021-02-23 16:37 | 93.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4642 | μmol/L | 19.3363 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.363 | 158067.4217 | 300107.6364 | 59.9307 | 49.4
34685 | 2021-02-23 16:37 | 94.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4684 | μmol/L | 19.324 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.367 | 158088.7159 | 300099.7351 | 59.9307 | 49.4
34695 | 2021-02-23 16:37 | 94.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.4905 | μmol/L | 19.3178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.368 | 158099.0472 | 300109.191 | 59.9307 | 49.4
34705 | 2021-02-23 16:38 | 94.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.3533 | μmol/L | 19.324 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.373 | 158130.0165 | 300109.1096 | 59.9307 | 49.4
34715 | 2021-02-23 16:38 | 95.0057 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2932 | μmol/L | 19.324 | °C | 1010 | hPa | Humid | 28 | 1 | 0 | 22.376 | 158167.9554 | 300120.7038 | 59.9307 | 49.4
34725 | 2021-02-23 16:38 | 95.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.2499 | μmol/L | 19.3178 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.38 | 158189.1627 | 300107.211 | 59.9307 | 49.4
34735 | 2021-02-23 16:39 | 95.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1719 | μmol/L | 19.3116 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.386 | 158219.9715 | 300120.6175 | 59.9307 | 49.4
34745 | 2021-02-23 16:39 | 96.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1719 | μmol/L | 19.3116 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.386 | 158257.8029 | 300103.0231 | 59.9307 | 49.4
34755 | 2021-02-23 16:39 | 96.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1761 | μmol/L | 19.2993 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.39 | 158281.2398 | 300114.2491 | 59.9307 | 49.4
34765 | 2021-02-23 16:40 | 96.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1581 | μmol/L | 19.2931 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.393 | 158308.5293 | 300114.2596 | 59.9307 | 49.4
34775 | 2021-02-23 16:40 | 97.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.058 | μmol/L | 19.2931 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.398 | 158318.952 | 300116.5042 | 59.9307 | 49.4
34785 | 2021-02-23 16:40 | 97.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0602 | μmol/L | 19.287 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.4 | 158355.9103 | 300128.0978 | 59.9307 | 49.4
34795 | 2021-02-23 16:41 | 97.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.1223 | μmol/L | 19.2808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.399 | 158374.3425 | 300123.1049 | 59.9307 | 49.4
34805 | 2021-02-23 16:41 | 98.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0623 | μmol/L | 19.2808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.402 | 158379.1328 | 300117.0569 | 59.9307 | 49.4
34815 | 2021-02-23 16:41 | 98.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0865 | μmol/L | 19.2684 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.405 | 158403.3679 | 300126.5367 | 59.9307 | 49.4
34825 | 2021-02-23 16:42 | 98.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9665 | μmol/L | 19.2684 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.411 | 158417.5767 | 300118.8228 | 59.9307 | 49.4
34835 | 2021-02-23 16:42 | 99.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9022 | μmol/L | 19.2808 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.41 | 158455.215 | 300130.3628 | 59.9307 | 49.4
34845 | 2021-02-23 16:42 | 99.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9286 | μmol/L | 19.2623 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.415 | 158478.972 | 300120.8175 | 59.9307 | 49.4
34855 | 2021-02-23 16:43 | 99.6716 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.035 | μmol/L | 19.2438 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.416 | 158492.5497 | 300147.6153 | 59.9307 | 49.4
34865 | 2021-02-23 16:43 | 100.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9529 | μmol/L | 19.2499 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.418 | 158516.3163 | 300144.5568 | 59.9307 | 49.4
34875 | 2021-02-23 16:43 | 100.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.935 | μmol/L | 19.2438 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.421 | 158521.0864 | 300137.3958 | 59.9307 | 49.4
34885 | 2021-02-23 16:44 | 100.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9129 | μmol/L | 19.2499 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.42 | 158532.6252 | 300148.8928 | 59.9307 | 49.4
34895 | 2021-02-23 16:44 | 101.0056 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7908 | μmol/L | 19.2561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 158533.5205 | 300133.2462 | 59.9307 | 49.4
34905 | 2021-02-23 16:44 | 101.3386 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.8508 | μmol/L | 19.2561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.421 | 158547.1606 | 300153.1053 | 59.9307 | 49.4
34915 | 2021-02-23 16:45 | 101.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7509 | μmol/L | 19.2561 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.426 | 158550.9175 | 300155.2483 | 59.9307 | 49.4
34925 | 2021-02-23 16:45 | 102.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.8729 | μmol/L | 19.2499 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.422 | 158566.0585 | 300167.1141 | 59.9307 | 49.4
34935 | 2021-02-23 16:45 | 102.3389 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9593 | μmol/L | 19.2314 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 158576.363 | 300164.5646 | 59.9307 | 49.4
34945 | 2021-02-23 16:46 | 102.6721 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0014 | μmol/L | 19.2252 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.424 | 158573.4664 | 300178.6632 | 59.9307 | 49.4
34955 | 2021-02-23 16:46 | 103.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0458 | μmol/L | 19.2129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.426 | 158590.4879 | 300165.5479 | 59.9307 | 49.4
34965 | 2021-02-23 16:46 | 103.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9236 | μmol/L | 19.2191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.43 | 158615.6106 | 300188.058 | 59.9307 | 49.4
34975 | 2021-02-23 16:47 | 103.6718 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9436 | μmol/L | 19.2191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.429 | 158628.0864 | 300179.504 | 59.9307 | 49.4
34985 | 2021-02-23 16:47 | 104.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.9479 | μmol/L | 19.2067 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.433 | 158640.8271 | 300158.4594 | 59.9307 | 49.4
34995 | 2021-02-23 16:47 | 104.3391 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 232.0344 | μmol/L | 19.1882 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.435 | 158659.7122 | 300170.4377 | 59.9307 | 49.4
35005 | 2021-02-23 16:48 | 104.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.8702 | μmol/L | 19.2006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.439 | 158686.1614 | 300178.1439 | 59.9307 | 49.4
35015 | 2021-02-23 16:48 | 105.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7659 | μmol/L | 19.2129 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.44 | 158691.9614 | 300184.8782 | 59.9307 | 49.4
35025 | 2021-02-23 16:48 | 105.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6639 | μmol/L | 19.2191 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.443 | 158710.1662 | 300185.3896 | 59.9307 | 49.4
35035 | 2021-02-23 16:49 | 105.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7681 | μmol/L | 19.2067 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.442 | 158717.6962 | 300176.7675 | 59.9307 | 49.4
35045 | 2021-02-23 16:49 | 106.0051 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6882 | μmol/L | 19.2067 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.446 | 158741.3382 | 300188.4107 | 59.9307 | 49.4
35055 | 2021-02-23 16:49 | 106.3388 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6904 | μmol/L | 19.2006 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.448 | 158761.8087 | 300179.4561 | 59.9307 | 49.4
35065 | 2021-02-23 16:50 | 106.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7147 | μmol/L | 19.1882 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 158786.5804 | 300192.6854 | 59.9307 | 49.4
35075 | 2021-02-23 16:50 | 107.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.7568 | μmol/L | 19.182 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.451 | 158790.5402 | 300190.8184 | 59.9307 | 49.4
35085 | 2021-02-23 16:50 | 107.3384 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6969 | μmol/L | 19.182 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.454 | 158805.0503 | 300180.3445 | 59.9307 | 49.4
35095 | 2021-02-23 16:51 | 107.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.677 | μmol/L | 19.182 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.455 | 158831.0484 | 300200.5957 | 59.9307 | 49.4
35105 | 2021-02-23 16:51 | 108.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6171 | μmol/L | 19.182 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.458 | 158843.1911 | 300208.8525 | 59.9307 | 49.4
35115 | 2021-02-23 16:51 | 108.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5994 | μmol/L | 19.1759 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.461 | 158861.6721 | 300183.9007 | 59.9307 | 49.4
35125 | 2021-02-23 16:52 | 108.6719 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.6437 | μmol/L | 19.1635 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.463 | 158887.6401 | 300195.9839 | 59.9307 | 49.4
35135 | 2021-02-23 16:52 | 109.0058 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5417 | μmol/L | 19.1697 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.466 | 158912.8649 | 300205.0321 | 59.9307 | 49.4
35145 | 2021-02-23 16:52 | 109.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.524 | μmol/L | 19.1635 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.469 | 158932.1598 | 300183.1845 | 59.9307 | 49.4
35155 | 2021-02-23 16:53 | 109.6717 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4022 | μmol/L | 19.1697 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.473 | 158956.3953 | 300205.7148 | 59.9307 | 49.4
35165 | 2021-02-23 16:53 | 110.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5483 | μmol/L | 19.1512 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.472 | 158964.5662 | 300195.7166 | 59.9307 | 49.4
35175 | 2021-02-23 16:53 | 110.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5107 | μmol/L | 19.145 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.476 | 158990.9612 | 300197.2222 | 59.9307 | 49.4
35185 | 2021-02-23 16:54 | 110.6724 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5926 | μmol/L | 19.1388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.474 | 159001.9225 | 300189.9051 | 59.9307 | 49.4
35195 | 2021-02-23 16:54 | 111.0054 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4487 | μmol/L | 19.1512 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.477 | 159010 | 300199.2409 | 59.9307 | 49.4
35205 | 2021-02-23 16:54 | 111.3383 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4531 | μmol/L | 19.1388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.481 | 159031.6046 | 300207.7242 | 59.9307 | 49.4
35215 | 2021-02-23 16:55 | 111.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.5151 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.48 | 159029.2379 | 300218.9694 | 59.9307 | 49.4
35225 | 2021-02-23 16:55 | 112.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3756 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.487 | 159049.3958 | 300197.0896 | 59.9307 | 49.4
35235 | 2021-02-23 16:55 | 112.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4553 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.483 | 159061.9481 | 300213.388 | 59.9307 | 49.4
35245 | 2021-02-23 16:56 | 112.6722 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4553 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.483 | 159060.5181 | 300202.1074 | 59.9307 | 49.4
35255 | 2021-02-23 16:56 | 113.0052 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4398 | μmol/L | 19.1203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.488 | 159064.7001 | 300207.9662 | 59.9307 | 49.4
35265 | 2021-02-23 16:56 | 113.3387 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3579 | μmol/L | 19.1265 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.49 | 159063.7177 | 300207.7291 | 59.9307 | 49.4
35275 | 2021-02-23 16:57 | 113.6723 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.3801 | μmol/L | 19.1203 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.491 | 159097.2348 | 300210.4638 | 59.9307 | 49.4
35285 | 2021-02-23 16:57 | 114.0053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2561 | μmol/L | 19.1327 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.493 | 159121.4085 | 300226.9765 | 59.9307 | 49.4
35295 | 2021-02-23 16:57 | 114.339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.1942 | μmol/L | 19.1388 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.494 | 159132.8615 | 300220.924 | 59.9307 | 49.4
35305 | 2021-02-23 16:58 | 114.672 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.2385 | μmol/L | 19.1265 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.496 | 159141.7303 | 300188.4576 | 59.9307 | 49.4
35315 | 2021-02-23 16:58 | 115.0055 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.285 | μmol/L | 19.108 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.5 | 159162.4045 | 300197.2591 | 59.9307 | 49.4
35324 | 2021-02-23 16:58 | 115.3385 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 231.4977 | μmol/L | 19.071 | °C | 1009 | hPa | Humid | 28 | 1 | 0 | 22.502 | 159183.5825 | 300216.3397 | 59.9307 | 49.4