## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-02-23 20:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
35333 | 2021-02-23 19:17 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.4446 | μmol/L | 25.1738 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.455 | 154656.5512 | 300564.2139 | 59.9307 | 49.4
35343 | 2021-02-23 19:17 | 0.32932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9201 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.458 | 154635.5625 | 300552.0448 | 59.9307 | 49.4
35353 | 2021-02-23 19:18 | 0.66256 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6354 | μmol/L | 25.1305 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.459 | 154527.0984 | 300517.5847 | 59.9307 | 49.4
35363 | 2021-02-23 19:18 | 0.99599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.4461 | μmol/L | 25.1553 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.461 | 154498.5854 | 300483.0436 | 59.9307 | 49.4
35373 | 2021-02-23 19:18 | 1.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8644 | μmol/L | 25.0811 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.463 | 154473.2403 | 300467.5476 | 59.9307 | 49.4
35383 | 2021-02-23 19:19 | 1.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9029 | μmol/L | 25.0687 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.465 | 154467.2881 | 300450.349 | 59.9307 | 49.4
35393 | 2021-02-23 19:19 | 1.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6947 | μmol/L | 25.0934 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.468 | 154461.2058 | 300430.7029 | 59.9307 | 49.4
35403 | 2021-02-23 19:19 | 2.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8081 | μmol/L | 25.0811 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.466 | 154439.7779 | 300410.8648 | 59.9307 | 49.4
35413 | 2021-02-23 19:20 | 2.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6952 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.47 | 154412.1838 | 300383.1253 | 59.9307 | 49.4
35423 | 2021-02-23 19:20 | 2.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6386 | μmol/L | 25.0934 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.471 | 154404.7937 | 300365.6932 | 59.9307 | 49.4
35433 | 2021-02-23 19:20 | 3.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.714 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.469 | 154383.9002 | 300333.5314 | 59.9307 | 49.4
35443 | 2021-02-23 19:21 | 3.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.7343 | μmol/L | 25.0687 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.474 | 154370.021 | 300319.2145 | 59.9307 | 49.4
35453 | 2021-02-23 19:21 | 3.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.714 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.469 | 154350.0584 | 300310.3867 | 59.9307 | 49.4
35463 | 2021-02-23 19:21 | 4.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6765 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.471 | 154328.6483 | 300286.5455 | 59.9307 | 49.4
35473 | 2021-02-23 19:22 | 4.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6193 | μmol/L | 25.0996 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.47 | 154321.9484 | 300244.4287 | 59.9307 | 49.4
35483 | 2021-02-23 19:22 | 4.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.7514 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.467 | 154293.5829 | 300237.1266 | 59.9307 | 49.4
35493 | 2021-02-23 19:22 | 5.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8274 | μmol/L | 25.0749 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.467 | 154281.2915 | 300209.1419 | 59.9307 | 49.4
35503 | 2021-02-23 19:23 | 5.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6375 | μmol/L | 25.1058 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.467 | 154255.7838 | 300176.6661 | 59.9307 | 49.4
35513 | 2021-02-23 19:23 | 5.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9966 | μmol/L | 25.0687 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.46 | 154237.2484 | 300172.7226 | 59.9307 | 49.4
35523 | 2021-02-23 19:23 | 6.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1113 | μmol/L | 25.044 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.462 | 154189.4406 | 300152.1516 | 59.9307 | 49.4
35533 | 2021-02-23 19:24 | 6.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0524 | μmol/L | 25.0749 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.455 | 154170.1316 | 300125.0978 | 59.9307 | 49.4
35543 | 2021-02-23 19:24 | 6.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2427 | μmol/L | 25.044 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.455 | 154144.9475 | 300115.1207 | 59.9307 | 49.4
35553 | 2021-02-23 19:24 | 7.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2234 | μmol/L | 25.0502 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.454 | 154142.6966 | 300108.8972 | 59.9307 | 49.4
35563 | 2021-02-23 19:25 | 7.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.1274 | μmol/L | 25.0749 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.451 | 154100.8881 | 300102.5018 | 59.9307 | 49.4
35573 | 2021-02-23 19:25 | 7.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4702 | μmol/L | 25.0193 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.451 | 154089.7634 | 300080.1944 | 59.9307 | 49.4
35583 | 2021-02-23 19:25 | 8.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.3554 | μmol/L | 25.044 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.449 | 154060.8913 | 300053.4892 | 59.9307 | 49.4
35593 | 2021-02-23 19:26 | 8.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2406 | μmol/L | 25.0687 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.447 | 154047.5591 | 300039.1631 | 59.9307 | 49.4
35603 | 2021-02-23 19:26 | 8.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.4483 | μmol/L | 25.0564 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.44 | 153997.8449 | 300011.5654 | 59.9307 | 49.4
35613 | 2021-02-23 19:26 | 9.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2015 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.443 | 153970.0897 | 299987.4414 | 59.9307 | 49.4
35623 | 2021-02-23 19:27 | 9.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0665 | μmol/L | 25.1305 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.436 | 153939.1179 | 299959.2896 | 59.9307 | 49.4
35633 | 2021-02-23 19:27 | 9.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.333 | μmol/L | 25.0873 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.436 | 153912.5815 | 299951.8057 | 59.9307 | 49.4
35643 | 2021-02-23 19:27 | 10.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.3508 | μmol/L | 25.0996 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.431 | 153863.955 | 299933.1695 | 59.9307 | 49.4
35653 | 2021-02-23 19:28 | 10.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0655 | μmol/L | 25.1429 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.432 | 153832.725 | 299921.5085 | 59.9307 | 49.4
35663 | 2021-02-23 19:28 | 10.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.2163 | μmol/L | 25.1367 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.426 | 153794.589 | 299894.084 | 59.9307 | 49.4
35673 | 2021-02-23 19:28 | 11.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 213.0057 | μmol/L | 25.1862 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.421 | 153759.9687 | 299861.7761 | 59.9307 | 49.4
35683 | 2021-02-23 19:29 | 11.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.9484 | μmol/L | 25.1986 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.42 | 153710.5841 | 299855.8813 | 59.9307 | 49.4
35693 | 2021-02-23 19:29 | 11.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.8338 | μmol/L | 25.2233 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.418 | 153688.3473 | 299832.5616 | 59.9307 | 49.4
35703 | 2021-02-23 19:29 | 12.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.6995 | μmol/L | 25.2604 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.413 | 153630.7666 | 299814.0539 | 59.9307 | 49.4
35713 | 2021-02-23 19:30 | 12.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.5668 | μmol/L | 25.2789 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.414 | 153607.4603 | 299800.7781 | 59.9307 | 49.4
35723 | 2021-02-23 19:30 | 12.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.5461 | μmol/L | 25.3037 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.407 | 153546.2879 | 299780.4578 | 59.9307 | 49.4
35733 | 2021-02-23 19:30 | 13.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.5081 | μmol/L | 25.3098 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.407 | 153470.581 | 299750.2341 | 59.9307 | 49.4
35743 | 2021-02-23 19:31 | 13.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3755 | μmol/L | 25.3284 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.408 | 153455.3155 | 299739.9377 | 59.9307 | 49.4
35753 | 2021-02-23 19:31 | 13.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.3184 | μmol/L | 25.3408 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.407 | 153459.2016 | 299729.1793 | 59.9307 | 49.4
35763 | 2021-02-23 19:31 | 14.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.2986 | μmol/L | 25.3531 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.404 | 153408.7753 | 299728.6882 | 59.9307 | 49.4
35773 | 2021-02-23 19:32 | 14.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.2223 | μmol/L | 25.3717 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.402 | 153336.733 | 299703.6469 | 59.9307 | 49.4
35783 | 2021-02-23 19:32 | 14.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.0898 | μmol/L | 25.3902 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.403 | 153324.9223 | 299679.2037 | 59.9307 | 49.4
35793 | 2021-02-23 19:32 | 15.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.9948 | μmol/L | 25.4088 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.402 | 153288.6617 | 299651.8742 | 59.9307 | 49.4
35803 | 2021-02-23 19:33 | 15.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 212.0509 | μmol/L | 25.4088 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.399 | 153265.4752 | 299665.1866 | 59.9307 | 49.4
35813 | 2021-02-23 19:33 | 15.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.9746 | μmol/L | 25.4273 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.397 | 153216.6179 | 299628.9972 | 59.9307 | 49.4
35823 | 2021-02-23 19:33 | 16.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.8615 | μmol/L | 25.4397 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.399 | 153175.7387 | 299619.4458 | 59.9307 | 49.4
35833 | 2021-02-23 19:34 | 16.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.8989 | μmol/L | 25.4397 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.397 | 153139.5156 | 299612.9844 | 59.9307 | 49.4
35843 | 2021-02-23 19:34 | 16.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.8044 | μmol/L | 25.452 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.398 | 153175.8591 | 299593.4086 | 59.9307 | 49.4
35853 | 2021-02-23 19:34 | 17.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7287 | μmol/L | 25.4644 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.398 | 153103.2788 | 299573.5122 | 59.9307 | 49.4
35863 | 2021-02-23 19:35 | 17.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6904 | μmol/L | 25.4768 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.396 | 153069.8833 | 299565.3003 | 59.9307 | 49.4
35873 | 2021-02-23 19:35 | 17.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7085 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.393 | 153016.7773 | 299530.2794 | 59.9307 | 49.4
35883 | 2021-02-23 19:35 | 18.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7267 | μmol/L | 25.4891 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.39 | 152989.8675 | 299496.044 | 59.9307 | 49.4
35893 | 2021-02-23 19:36 | 18.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6142 | μmol/L | 25.4953 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.394 | 152973.0855 | 299486.8026 | 59.9307 | 49.4
35903 | 2021-02-23 19:36 | 18.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.538 | μmol/L | 25.5139 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152940.2776 | 299484.8176 | 59.9307 | 49.4
35913 | 2021-02-23 19:36 | 19.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6132 | μmol/L | 25.5077 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.39 | 152905.9209 | 299475.6661 | 59.9307 | 49.4
35923 | 2021-02-23 19:37 | 19.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.4624 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152896.036 | 299444.48 | 59.9307 | 49.4
35933 | 2021-02-23 19:37 | 19.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.5188 | μmol/L | 25.5201 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.391 | 152868.7003 | 299423.7872 | 59.9307 | 49.4
35943 | 2021-02-23 19:37 | 20.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.6126 | μmol/L | 25.5139 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.388 | 152846.9406 | 299426.1642 | 59.9307 | 49.4
35953 | 2021-02-23 19:38 | 20.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.537 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.388 | 152823.4441 | 299389.6552 | 59.9307 | 49.4
35963 | 2021-02-23 19:38 | 20.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.5183 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.389 | 152806.5249 | 299381.3064 | 59.9307 | 49.4
35973 | 2021-02-23 19:38 | 21.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.5567 | μmol/L | 25.5139 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.391 | 152771.121 | 299357.2996 | 59.9307 | 49.4
35983 | 2021-02-23 19:39 | 21.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.5935 | μmol/L | 25.5201 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.387 | 152736.9256 | 299330.2367 | 59.9307 | 49.4
35993 | 2021-02-23 19:39 | 21.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.7075 | μmol/L | 25.4953 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.389 | 152732.4003 | 299323.5854 | 59.9307 | 49.4
36003 | 2021-02-23 19:39 | 22.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.48 | μmol/L | 25.5386 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.387 | 152715.2336 | 299299.8574 | 59.9307 | 49.4
36013 | 2021-02-23 19:40 | 22.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3671 | μmol/L | 25.551 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.389 | 152689.4495 | 299298.8666 | 59.9307 | 49.4
36023 | 2021-02-23 19:40 | 22.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.4422 | μmol/L | 25.5448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.387 | 152662.8471 | 299280.7184 | 59.9307 | 49.4
36033 | 2021-02-23 19:40 | 23.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.4997 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.39 | 152651.2384 | 299262.7716 | 59.9307 | 49.4
36043 | 2021-02-23 19:41 | 23.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3283 | μmol/L | 25.5695 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.385 | 152629.186 | 299249.5295 | 59.9307 | 49.4
36053 | 2021-02-23 19:41 | 23.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1968 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.388 | 152625.4405 | 299245.6251 | 59.9307 | 49.4
36063 | 2021-02-23 19:41 | 24.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1399 | μmol/L | 25.5943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.387 | 152591.4137 | 299205.4643 | 59.9307 | 49.4
36073 | 2021-02-23 19:42 | 24.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9889 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.387 | 152570.171 | 299176.3224 | 59.9307 | 49.4
36083 | 2021-02-23 19:42 | 24.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1973 | μmol/L | 25.5757 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.39 | 152581.4229 | 299178.7767 | 59.9307 | 49.4
36093 | 2021-02-23 19:42 | 25.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2351 | μmol/L | 25.5695 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.39 | 152565.0378 | 299163.5842 | 59.9307 | 49.4
36103 | 2021-02-23 19:43 | 25.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3298 | μmol/L | 25.551 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.391 | 152540.277 | 299144.4558 | 59.9307 | 49.4
36113 | 2021-02-23 19:43 | 25.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0091 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152525.818 | 299139.5446 | 59.9307 | 49.4
36123 | 2021-02-23 19:43 | 26.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1978 | μmol/L | 25.5695 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152495.7823 | 299113.8782 | 59.9307 | 49.4
36133 | 2021-02-23 19:44 | 26.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.2356 | μmol/L | 25.5633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152481.6886 | 299088.4132 | 59.9307 | 49.4
36143 | 2021-02-23 19:44 | 26.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0091 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152456.6386 | 299094.23 | 59.9307 | 49.4
36153 | 2021-02-23 19:44 | 27.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0468 | μmol/L | 25.5943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152454.9352 | 299078.7014 | 59.9307 | 49.4
36163 | 2021-02-23 19:45 | 27.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9145 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.391 | 152443.5186 | 299072.5532 | 59.9307 | 49.4
36173 | 2021-02-23 19:45 | 27.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8964 | μmol/L | 25.6128 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.394 | 152420.9297 | 299044.8614 | 59.9307 | 49.4
36183 | 2021-02-23 19:45 | 28.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0846 | μmol/L | 25.5881 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.392 | 152406.366 | 299026.3795 | 59.9307 | 49.4
36193 | 2021-02-23 19:46 | 28.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.633 | μmol/L | 25.6499 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.396 | 152412.9167 | 299042.7359 | 59.9307 | 49.4
36203 | 2021-02-23 19:46 | 28.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7641 | μmol/L | 25.6375 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.393 | 152379.4522 | 299025.5034 | 59.9307 | 49.4
36213 | 2021-02-23 19:46 | 29.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1606 | μmol/L | 25.5695 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.394 | 152364.9595 | 299006.1504 | 59.9307 | 49.4
36223 | 2021-02-23 19:47 | 29.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0479 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.396 | 152348.3984 | 298973.1188 | 59.9307 | 49.4
36233 | 2021-02-23 19:47 | 29.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8778 | μmol/L | 25.6128 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.395 | 152332.1121 | 298988.8805 | 59.9307 | 49.4
36243 | 2021-02-23 19:47 | 30.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7657 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.399 | 152335.7044 | 298946.2083 | 59.9307 | 49.4
36253 | 2021-02-23 19:48 | 30.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0106 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.398 | 152311.2321 | 298943.542 | 59.9307 | 49.4
36263 | 2021-02-23 19:48 | 30.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8975 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.398 | 152301.0343 | 298933.8668 | 59.9307 | 49.4
36273 | 2021-02-23 19:48 | 31.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9543 | μmol/L | 25.5881 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.399 | 152298.9501 | 298920.7909 | 59.9307 | 49.4
36283 | 2021-02-23 19:49 | 31.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0675 | μmol/L | 25.5695 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.399 | 152279.5207 | 298889.9551 | 59.9307 | 49.4
36293 | 2021-02-23 19:49 | 31.9966 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8603 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.4 | 152267.7758 | 298873.1569 | 59.9307 | 49.4
36303 | 2021-02-23 19:49 | 32.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7472 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.4 | 152265.1778 | 298867.5464 | 59.9307 | 49.4
36313 | 2021-02-23 19:50 | 32.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7291 | μmol/L | 25.6128 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.403 | 152254.5715 | 298855.3296 | 59.9307 | 49.4
36323 | 2021-02-23 19:50 | 32.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9548 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.401 | 152229.1563 | 298846.9542 | 59.9307 | 49.4
36333 | 2021-02-23 19:50 | 33.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1627 | μmol/L | 25.5448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.402 | 152229.6351 | 298838.5691 | 59.9307 | 49.4
36343 | 2021-02-23 19:51 | 33.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1637 | μmol/L | 25.5324 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.406 | 152228.1759 | 298816.8382 | 59.9307 | 49.4
36353 | 2021-02-23 19:51 | 33.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6177 | μmol/L | 25.6128 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.409 | 152218.577 | 298820.5461 | 59.9307 | 49.4
36363 | 2021-02-23 19:51 | 34.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5429 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.411 | 152213.6469 | 298807.0583 | 59.9307 | 49.4
36373 | 2021-02-23 19:52 | 34.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6553 | μmol/L | 25.6066 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.409 | 152194.9761 | 298778.2088 | 59.9307 | 49.4
36383 | 2021-02-23 19:52 | 34.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.693 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.409 | 152188.1193 | 298778.5327 | 59.9307 | 49.4
36393 | 2021-02-23 19:52 | 35.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5614 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.41 | 152184.9128 | 298770.9929 | 59.9307 | 49.4
36403 | 2021-02-23 19:53 | 35.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6182 | μmol/L | 25.6066 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.411 | 152196.6462 | 298747.3405 | 59.9307 | 49.4
36413 | 2021-02-23 19:53 | 35.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4681 | μmol/L | 25.6252 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.413 | 152194.0056 | 298750.9562 | 59.9307 | 49.4
36423 | 2021-02-23 19:53 | 36.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3743 | μmol/L | 25.6375 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.414 | 152197.866 | 298749.3132 | 59.9307 | 49.4
36433 | 2021-02-23 19:54 | 36.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4316 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.417 | 152171.3686 | 298714.7093 | 59.9307 | 49.4
36443 | 2021-02-23 19:54 | 36.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5074 | μmol/L | 25.6004 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.419 | 152179.7011 | 298684.4121 | 59.9307 | 49.4
36453 | 2021-02-23 19:54 | 37.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3568 | μmol/L | 25.6252 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.419 | 152189.703 | 298682.9188 | 59.9307 | 49.4
36463 | 2021-02-23 19:55 | 37.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6389 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.418 | 152171.9231 | 298657.5096 | 59.9307 | 49.4
36473 | 2021-02-23 19:55 | 37.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3574 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.421 | 152193.4115 | 298659.5329 | 59.9307 | 49.4
36483 | 2021-02-23 19:55 | 38.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1699 | μmol/L | 25.6437 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.423 | 152198.8233 | 298655.8941 | 59.9307 | 49.4
36493 | 2021-02-23 19:56 | 38.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2091 | μmol/L | 25.619 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.429 | 152186.2314 | 298647.5606 | 59.9307 | 49.4
36503 | 2021-02-23 19:56 | 38.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1901 | μmol/L | 25.6252 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.428 | 152199.1042 | 298627.5037 | 59.9307 | 49.4
36513 | 2021-02-23 19:56 | 39.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4343 | μmol/L | 25.5881 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.427 | 152177.5348 | 298627.4172 | 59.9307 | 49.4
36523 | 2021-02-23 19:57 | 39.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5107 | μmol/L | 25.5633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.431 | 152185.4741 | 298603.753 | 59.9307 | 49.4
36533 | 2021-02-23 19:57 | 39.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2658 | μmol/L | 25.6066 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.43 | 152176.3273 | 298605.6625 | 59.9307 | 49.4
36543 | 2021-02-23 19:57 | 40.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2855 | μmol/L | 25.5943 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.433 | 152166.9487 | 298576.9791 | 59.9307 | 49.4
36553 | 2021-02-23 19:58 | 40.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.455 | μmol/L | 25.5633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.434 | 152179.0773 | 298579.9183 | 59.9307 | 49.4
36563 | 2021-02-23 19:58 | 40.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5118 | μmol/L | 25.551 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.435 | 152171.4609 | 298565.1675 | 59.9307 | 49.4
36573 | 2021-02-23 19:58 | 41.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.249 | μmol/L | 25.5881 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.437 | 152172.9129 | 298539.2462 | 59.9307 | 49.4
36583 | 2021-02-23 19:59 | 41.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2495 | μmol/L | 25.5819 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.439 | 152197.3946 | 298550.3287 | 59.9307 | 49.4
36593 | 2021-02-23 19:59 | 41.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5511 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.441 | 152197.6756 | 298533.8406 | 59.9307 | 49.4
36603 | 2021-02-23 19:59 | 42.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5325 | μmol/L | 25.5262 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.442 | 152187.8253 | 298518.327 | 59.9307 | 49.4
36613 | 2021-02-23 20:00 | 42.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4016 | μmol/L | 25.5386 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.445 | 152183.3217 | 298505.3639 | 59.9307 | 49.4
36623 | 2021-02-23 20:00 | 42.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2512 | μmol/L | 25.5633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.445 | 152187.498 | 298501.5042 | 59.9307 | 49.4
36633 | 2021-02-23 20:00 | 43.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1945 | μmol/L | 25.5757 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.444 | 152189.7323 | 298493.906 | 59.9307 | 49.4
36643 | 2021-02-23 20:01 | 43.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6275 | μmol/L | 25.5015 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.445 | 152178.2085 | 298490.2013 | 59.9307 | 49.4
36653 | 2021-02-23 20:01 | 43.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.478 | μmol/L | 25.5139 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.449 | 152205.8366 | 298459.4466 | 59.9307 | 49.4
36663 | 2021-02-23 20:01 | 44.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2899 | μmol/L | 25.5448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.449 | 152191.3356 | 298451.7566 | 59.9307 | 49.4
36673 | 2021-02-23 20:02 | 44.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2714 | μmol/L | 25.5448 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.45 | 152189.9399 | 298459.0075 | 59.9307 | 49.4
36683 | 2021-02-23 20:02 | 44.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1592 | μmol/L | 25.5572 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.452 | 152192.8002 | 298427.741 | 59.9307 | 49.4
36693 | 2021-02-23 20:02 | 45.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5179 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.457 | 152185.4618 | 298432.5948 | 59.9307 | 49.4
36703 | 2021-02-23 20:03 | 45.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0846 | μmol/L | 25.5633 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.454 | 152198.3387 | 298441.0857 | 59.9307 | 49.4
36713 | 2021-02-23 20:03 | 45.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.18 | μmol/L | 25.5324 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.459 | 152195.7756 | 298397.6846 | 59.9307 | 49.4
36723 | 2021-02-23 20:03 | 46.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.18 | μmol/L | 25.5324 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.459 | 152205.3539 | 298410.9992 | 59.9307 | 49.4
36733 | 2021-02-23 20:04 | 46.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1054 | μmol/L | 25.5386 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.461 | 152222.1248 | 298396.0576 | 59.9307 | 49.4
36743 | 2021-02-23 20:04 | 46.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4252 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.462 | 152207.4504 | 298381.3828 | 59.9307 | 49.4
36753 | 2021-02-23 20:04 | 47.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5578 | μmol/L | 25.452 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.465 | 152209.909 | 298374.9098 | 59.9307 | 49.4
36763 | 2021-02-23 20:05 | 47.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2754 | μmol/L | 25.5015 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.464 | 152228.6086 | 298377.6415 | 59.9307 | 49.4
36773 | 2021-02-23 20:05 | 47.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3511 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.466 | 152225.7214 | 298379.8044 | 59.9307 | 49.4
36783 | 2021-02-23 20:05 | 48.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5213 | μmol/L | 25.4459 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.469 | 152254.2564 | 298344.6296 | 59.9307 | 49.4
36793 | 2021-02-23 20:06 | 48.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3719 | μmol/L | 25.4582 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.473 | 152263.7653 | 298349.2801 | 59.9307 | 49.4
36803 | 2021-02-23 20:06 | 48.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6735 | μmol/L | 25.4026 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.475 | 152273.2277 | 298326.9208 | 59.9307 | 49.4
36813 | 2021-02-23 20:06 | 49.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2036 | μmol/L | 25.4768 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.476 | 152276.1856 | 298327.9641 | 59.9307 | 49.4
36823 | 2021-02-23 20:07 | 49.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0736 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.481 | 152269.5991 | 298301.1 | 59.9307 | 49.4
36833 | 2021-02-23 20:07 | 49.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0736 | μmol/L | 25.483 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.481 | 152264.9336 | 298289.6412 | 59.9307 | 49.4
36843 | 2021-02-23 20:07 | 50.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4124 | μmol/L | 25.4211 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.483 | 152272.2206 | 298295.2715 | 59.9307 | 49.4
36853 | 2021-02-23 20:08 | 50.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.036 | μmol/L | 25.4891 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.481 | 152277.6148 | 298303.7278 | 59.9307 | 49.4
36863 | 2021-02-23 20:08 | 50.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4691 | μmol/L | 25.4088 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.484 | 152271.5149 | 298276.6 | 59.9307 | 49.4
36873 | 2021-02-23 20:08 | 51.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.395 | μmol/L | 25.4088 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.488 | 152284.0553 | 298267.3962 | 59.9307 | 49.4
36883 | 2021-02-23 20:09 | 51.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2446 | μmol/L | 25.4335 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.488 | 152290.4163 | 298249.0799 | 59.9307 | 49.4
36893 | 2021-02-23 20:09 | 51.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.151 | μmol/L | 25.4459 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.489 | 152292.1195 | 298247.4229 | 59.9307 | 49.4
36903 | 2021-02-23 20:09 | 52.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0759 | μmol/L | 25.4582 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.489 | 152271.5428 | 298208.7281 | 59.9307 | 49.4
36913 | 2021-02-23 20:10 | 52.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3968 | μmol/L | 25.3902 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.494 | 152273.7374 | 298209.7465 | 59.9307 | 49.4
36923 | 2021-02-23 20:10 | 52.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.641 | μmol/L | 25.3531 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.493 | 152272.3834 | 298200.7112 | 59.9307 | 49.4
36933 | 2021-02-23 20:10 | 53.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3412 | μmol/L | 25.3902 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.497 | 152277.7012 | 298192.0713 | 59.9307 | 49.4
36943 | 2021-02-23 20:11 | 53.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2475 | μmol/L | 25.4026 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.498 | 152299.2722 | 298189.8856 | 59.9307 | 49.4
36953 | 2021-02-23 20:11 | 53.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.417 | μmol/L | 25.3717 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.499 | 152291.2277 | 298186.5462 | 59.9307 | 49.4
36963 | 2021-02-23 20:11 | 54.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4436 | μmol/L | 25.3593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.502 | 152280.8832 | 298176.5631 | 59.9307 | 49.4
36973 | 2021-02-23 20:12 | 54.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1736 | μmol/L | 25.4026 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.502 | 152299.0977 | 298166.511 | 59.9307 | 49.4
36983 | 2021-02-23 20:12 | 54.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.9858 | μmol/L | 25.4335 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.502 | 152308.6412 | 298164.9333 | 59.9307 | 49.4
36993 | 2021-02-23 20:12 | 55.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0615 | μmol/L | 25.4149 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.504 | 152296.0577 | 298126.7264 | 59.9307 | 49.4
37003 | 2021-02-23 20:13 | 55.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0881 | μmol/L | 25.4026 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.507 | 152301.9499 | 298125.3443 | 59.9307 | 49.4
37013 | 2021-02-23 20:13 | 55.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.0639 | μmol/L | 25.3902 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.512 | 152316.9169 | 298118.6088 | 59.9307 | 49.4
37023 | 2021-02-23 20:13 | 56.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2707 | μmol/L | 25.3531 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.513 | 152314.5291 | 298117.4198 | 59.9307 | 49.4
37033 | 2021-02-23 20:14 | 56.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5901 | μmol/L | 25.3037 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.512 | 152332.1349 | 298120.3821 | 59.9307 | 49.4
37043 | 2021-02-23 20:14 | 56.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7221 | μmol/L | 25.2789 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.513 | 152326.7026 | 298123.0654 | 59.9307 | 49.4
37053 | 2021-02-23 20:14 | 57.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7857 | μmol/L | 25.2666 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.514 | 152313.7251 | 298157.8321 | 59.9307 | 49.4
37063 | 2021-02-23 20:15 | 57.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7986 | μmol/L | 25.2542 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.517 | 152317.8842 | 298117.5633 | 59.9307 | 49.4
37073 | 2021-02-23 20:15 | 57.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7127 | μmol/L | 25.2542 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.522 | 152333.6623 | 298112.914 | 59.9307 | 49.4
37083 | 2021-02-23 20:15 | 58.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5437 | μmol/L | 25.2789 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.523 | 152328.478 | 298085.1416 | 59.9307 | 49.4
37093 | 2021-02-23 20:16 | 58.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3859 | μmol/L | 25.3098 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.521 | 152326.361 | 298058.8941 | 59.9307 | 49.4
37103 | 2021-02-23 20:16 | 58.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2436 | μmol/L | 25.3222 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.525 | 152337.1249 | 298050.7758 | 59.9307 | 49.4
37113 | 2021-02-23 20:16 | 59.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2245 | μmol/L | 25.3284 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.524 | 152345.433 | 298061.8672 | 59.9307 | 49.4
37123 | 2021-02-23 20:17 | 59.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5646 | μmol/L | 25.2542 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.53 | 152347.0151 | 298034.4637 | 59.9307 | 49.4
37133 | 2021-02-23 20:17 | 59.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4339 | μmol/L | 25.2666 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.533 | 152338.291 | 298027.4961 | 59.9307 | 49.4
37143 | 2021-02-23 20:17 | 60.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2275 | μmol/L | 25.2975 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.534 | 152349.4105 | 298025.6419 | 59.9307 | 49.4
37153 | 2021-02-23 20:18 | 60.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.2397 | μmol/L | 25.2913 | °C | 1011 | hPa | Humid | 28 | 1 | 0 | 21.535 | 152358.6524 | 298029.6265 | 59.9307 | 49.4
37163 | 2021-02-23 20:18 | 60.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3593 | μmol/L | 25.2727 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.535 | 152358.3812 | 298024.1123 | 59.9307 | 49.4
37173 | 2021-02-23 20:18 | 61.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3605 | μmol/L | 25.2604 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.539 | 152363.3338 | 298015.4924 | 59.9307 | 49.4
37183 | 2021-02-23 20:19 | 61.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3981 | μmol/L | 25.2542 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.539 | 152371.062 | 298007.2352 | 59.9307 | 49.4
37193 | 2021-02-23 20:19 | 61.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4738 | μmol/L | 25.2356 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.541 | 152367.373 | 298013.4538 | 59.9307 | 49.4
37203 | 2021-02-23 20:19 | 62.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4559 | μmol/L | 25.2295 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.544 | 152392.9349 | 298030.4472 | 59.9307 | 49.4
37213 | 2021-02-23 20:20 | 62.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4559 | μmol/L | 25.2295 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.544 | 152389.0472 | 298000.7783 | 59.9307 | 49.4
37223 | 2021-02-23 20:20 | 62.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4183 | μmol/L | 25.2356 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.544 | 152380.5174 | 297996.8779 | 59.9307 | 49.4
37233 | 2021-02-23 20:20 | 63.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4195 | μmol/L | 25.2233 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.548 | 152375.8951 | 298000.2888 | 59.9307 | 49.4
37243 | 2021-02-23 20:21 | 63.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4774 | μmol/L | 25.1986 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.553 | 152375.0195 | 297986.0615 | 59.9307 | 49.4
37253 | 2021-02-23 20:21 | 63.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5705 | μmol/L | 25.1924 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.55 | 152394.4681 | 297976.3151 | 59.9307 | 49.4
37263 | 2021-02-23 20:21 | 64.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6655 | μmol/L | 25.1676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.553 | 152394.1346 | 297991.4933 | 59.9307 | 49.4
37273 | 2021-02-23 20:22 | 64.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6458 | μmol/L | 25.18 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.55 | 152401.9677 | 297982.9659 | 59.9307 | 49.4
37283 | 2021-02-23 20:22 | 64.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6834 | μmol/L | 25.1738 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.55 | 152407.315 | 297983.6312 | 59.9307 | 49.4
37293 | 2021-02-23 20:22 | 65.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5902 | μmol/L | 25.18 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.553 | 152408.4388 | 297972.9502 | 59.9307 | 49.4
37303 | 2021-02-23 20:23 | 65.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.589 | μmol/L | 25.1924 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.549 | 152407.654 | 297967.0863 | 59.9307 | 49.4
37313 | 2021-02-23 20:23 | 65.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6075 | μmol/L | 25.1924 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.548 | 152397.5906 | 297966.8371 | 59.9307 | 49.4
37323 | 2021-02-23 20:23 | 66.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.5317 | μmol/L | 25.2109 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.546 | 152401.7662 | 297957.5192 | 59.9307 | 49.4
37333 | 2021-02-23 20:24 | 66.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.4947 | μmol/L | 25.2109 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.548 | 152391.1411 | 297948.3205 | 59.9307 | 49.4
37343 | 2021-02-23 20:24 | 66.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6822 | μmol/L | 25.1862 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.546 | 152384.3161 | 297946.5262 | 59.9307 | 49.4
37353 | 2021-02-23 20:24 | 67.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7389 | μmol/L | 25.1738 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.547 | 152391.6707 | 297957.7089 | 59.9307 | 49.4
37363 | 2021-02-23 20:25 | 67.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.3024 | μmol/L | 25.0996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.541 | 152361.4714 | 297943.1655 | 59.9307 | 49.4
37373 | 2021-02-23 20:25 | 67.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.7933 | μmol/L | 25.1862 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.54 | 152353.1274 | 297934.7015 | 59.9307 | 49.4
37383 | 2021-02-23 20:25 | 68.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8304 | μmol/L | 25.1862 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.538 | 152324.6335 | 297936.4124 | 59.9307 | 49.4
37393 | 2021-02-23 20:26 | 68.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.0935 | μmol/L | 25.1491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.536 | 152306.3258 | 297928.9303 | 59.9307 | 49.4
37403 | 2021-02-23 20:26 | 68.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9805 | μmol/L | 25.1676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.536 | 152298.0445 | 297913.4592 | 59.9307 | 49.4
37413 | 2021-02-23 20:26 | 69.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1492 | μmol/L | 25.1491 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.533 | 152289.6184 | 297929.5491 | 59.9307 | 49.4
37423 | 2021-02-23 20:27 | 69.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 211.1115 | μmol/L | 25.1553 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.533 | 152264.9068 | 297916.2861 | 59.9307 | 49.4
37433 | 2021-02-23 20:27 | 69.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.999 | μmol/L | 25.1676 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.535 | 152258.5192 | 297901.8144 | 59.9307 | 49.4
37443 | 2021-02-23 20:27 | 70.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9978 | μmol/L | 25.18 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.531 | 152247.2856 | 297893.4693 | 59.9307 | 49.4
37453 | 2021-02-23 20:28 | 70.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.696 | μmol/L | 25.2356 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.529 | 152206.9519 | 297891.8193 | 59.9307 | 49.4
37463 | 2021-02-23 20:28 | 70.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8095 | μmol/L | 25.2109 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.531 | 152194.049 | 297873.15 | 59.9307 | 49.4
37473 | 2021-02-23 20:28 | 71.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.977 | μmol/L | 25.2047 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.524 | 152162.9209 | 297897.0707 | 59.9307 | 49.4
37483 | 2021-02-23 20:29 | 71.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.9578 | μmol/L | 25.2109 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.523 | 152122.1078 | 297866.0223 | 59.9307 | 49.4
37493 | 2021-02-23 20:29 | 71.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.8066 | μmol/L | 25.2418 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.521 | 152076.76 | 297867.4396 | 59.9307 | 49.4
37503 | 2021-02-23 20:29 | 72.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6919 | μmol/L | 25.2789 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.515 | 152049.7677 | 297874.4848 | 59.9307 | 49.4
37513 | 2021-02-23 20:30 | 72.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6543 | μmol/L | 25.2851 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.515 | 152010.5645 | 297854.9864 | 59.9307 | 49.4
37523 | 2021-02-23 20:30 | 72.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.6525 | μmol/L | 25.3037 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.509 | 151966.1348 | 297851.601 | 59.9307 | 49.4
37533 | 2021-02-23 20:30 | 73.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.3892 | μmol/L | 25.3469 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.509 | 151942.3158 | 297845.2283 | 59.9307 | 49.4
37543 | 2021-02-23 20:31 | 73.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1643 | μmol/L | 25.3779 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.511 | 151947.9516 | 297836.7969 | 59.9307 | 49.4
37553 | 2021-02-23 20:31 | 73.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1637 | μmol/L | 25.384 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.509 | 151888.6472 | 297848.1922 | 59.9307 | 49.4
37563 | 2021-02-23 20:31 | 74.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 210.1071 | μmol/L | 25.3964 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.508 | 151875.5749 | 297822.9889 | 59.9307 | 49.4
37573 | 2021-02-23 20:32 | 74.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.8641 | μmol/L | 25.4273 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.511 | 151873.876 | 297816.178 | 59.9307 | 49.4
37583 | 2021-02-23 20:32 | 74.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.9373 | μmol/L | 25.4335 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.505 | 151838.8704 | 297828.3223 | 59.9307 | 49.4
37593 | 2021-02-23 20:32 | 75.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.7498 | μmol/L | 25.4644 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.505 | 151837.3543 | 297848.4798 | 59.9307 | 49.4
37603 | 2021-02-23 20:33 | 75.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.7307 | μmol/L | 25.4706 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.504 | 151820.584 | 297829.8854 | 59.9307 | 49.4
37613 | 2021-02-23 20:33 | 75.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.7295 | μmol/L | 25.483 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.5 | 151778.7248 | 297824.4678 | 59.9307 | 49.4
37623 | 2021-02-23 20:33 | 76.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.6915 | μmol/L | 25.4953 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.498 | 151775.5035 | 297838.1479 | 59.9307 | 49.4
37633 | 2021-02-23 20:34 | 76.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.6165 | μmol/L | 25.5077 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.498 | 151748.0794 | 297799.4481 | 59.9307 | 49.4
37643 | 2021-02-23 20:34 | 76.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.5231 | μmol/L | 25.5201 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.499 | 151747.8528 | 297809.4872 | 59.9307 | 49.4
37653 | 2021-02-23 20:34 | 77.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.5035 | μmol/L | 25.5324 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.496 | 151742.8299 | 297808.1484 | 59.9307 | 49.4
37663 | 2021-02-23 20:35 | 77.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.5409 | μmol/L | 25.5262 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.496 | 151715.8023 | 297798.4296 | 59.9307 | 49.4
37673 | 2021-02-23 20:35 | 77.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4464 | μmol/L | 25.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.493 | 151708.9167 | 297806.106 | 59.9307 | 49.4
37683 | 2021-02-23 20:35 | 78.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3543 | μmol/L | 25.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.498 | 151707.6569 | 297794.7019 | 59.9307 | 49.4
37693 | 2021-02-23 20:36 | 78.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3347 | μmol/L | 25.5633 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.495 | 151704.4286 | 297794.3979 | 59.9307 | 49.4
37703 | 2021-02-23 20:36 | 78.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3709 | μmol/L | 25.5695 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.491 | 151692.2593 | 297792.606 | 59.9307 | 49.4
37713 | 2021-02-23 20:36 | 79.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.4078 | μmol/L | 25.5695 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151674.4151 | 297794.4196 | 59.9307 | 49.4
37723 | 2021-02-23 20:37 | 79.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3899 | μmol/L | 25.5633 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.492 | 151674.8984 | 297769.3752 | 59.9307 | 49.4
37733 | 2021-02-23 20:37 | 79.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.3703 | μmol/L | 25.5757 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151651.534 | 297764.2624 | 59.9307 | 49.4
37743 | 2021-02-23 20:37 | 80.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.258 | μmol/L | 25.5943 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151655.5015 | 297791.4044 | 59.9307 | 49.4
37753 | 2021-02-23 20:38 | 80.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2022 | μmol/L | 25.6004 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 151656.3887 | 297781.8274 | 59.9307 | 49.4
37763 | 2021-02-23 20:38 | 80.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1648 | μmol/L | 25.6066 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 151645.4246 | 297781.4734 | 59.9307 | 49.4
37773 | 2021-02-23 20:38 | 81.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.201 | μmol/L | 25.6128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151642.0068 | 297768.7061 | 59.9307 | 49.4
37783 | 2021-02-23 20:39 | 81.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2574 | μmol/L | 25.6004 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.487 | 151649.4116 | 297776.8391 | 59.9307 | 49.4
37793 | 2021-02-23 20:39 | 81.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2206 | μmol/L | 25.6004 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151652.0305 | 297776.5715 | 59.9307 | 49.4
37803 | 2021-02-23 20:39 | 82.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1642 | μmol/L | 25.6128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.488 | 151650.1421 | 297778.0767 | 59.9307 | 49.4
37813 | 2021-02-23 20:40 | 82.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.09 | μmol/L | 25.619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 151648.2157 | 297784.4849 | 59.9307 | 49.4
37823 | 2021-02-23 20:40 | 82.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.071 | μmol/L | 25.6252 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151630.5969 | 297775.4804 | 59.9307 | 49.4
37833 | 2021-02-23 20:40 | 83.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0716 | μmol/L | 25.619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.491 | 151638.4875 | 297796.962 | 59.9307 | 49.4
37843 | 2021-02-23 20:41 | 83.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.201 | μmol/L | 25.6128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151630.0984 | 297781.5351 | 59.9307 | 49.4
37853 | 2021-02-23 20:41 | 83.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.071 | μmol/L | 25.6252 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151639.8611 | 297774.7772 | 59.9307 | 49.4
37863 | 2021-02-23 20:41 | 84.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1446 | μmol/L | 25.6252 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.485 | 151619.5357 | 297775.21 | 59.9307 | 49.4
37873 | 2021-02-23 20:42 | 84.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0698 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.485 | 151612.9182 | 297757.3506 | 59.9307 | 49.4
37883 | 2021-02-23 20:42 | 84.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.201 | μmol/L | 25.6128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151618.5487 | 297757.9019 | 59.9307 | 49.4
37893 | 2021-02-23 20:42 | 85.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0514 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151631.497 | 297761.0526 | 59.9307 | 49.4
37903 | 2021-02-23 20:43 | 85.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1078 | μmol/L | 25.6252 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.487 | 151628.8486 | 297760.5126 | 59.9307 | 49.4
37913 | 2021-02-23 20:43 | 85.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2194 | μmol/L | 25.6128 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.485 | 151622.172 | 297750.6964 | 59.9307 | 49.4
37923 | 2021-02-23 20:43 | 86.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1452 | μmol/L | 25.619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.487 | 151631.1143 | 297753.6373 | 59.9307 | 49.4
37933 | 2021-02-23 20:44 | 86.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.2384 | μmol/L | 25.6066 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151627.8272 | 297748.1877 | 59.9307 | 49.4
37943 | 2021-02-23 20:44 | 86.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1636 | μmol/L | 25.619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151631.9201 | 297744.6942 | 59.9307 | 49.4
37953 | 2021-02-23 20:44 | 87.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.1268 | μmol/L | 25.619 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.488 | 151619.6194 | 297758.8925 | 59.9307 | 49.4
37963 | 2021-02-23 20:45 | 87.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0698 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.485 | 151625.5966 | 297741.0833 | 59.9307 | 49.4
37973 | 2021-02-23 20:45 | 87.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.052 | μmol/L | 25.6314 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.488 | 151618.6518 | 297728.2355 | 59.9307 | 49.4
37983 | 2021-02-23 20:45 | 88.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.071 | μmol/L | 25.6252 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151635.3054 | 297756.0199 | 59.9307 | 49.4
37993 | 2021-02-23 20:46 | 88.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0514 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151622.3641 | 297740.3443 | 59.9307 | 49.4
38003 | 2021-02-23 20:46 | 88.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.8271 | μmol/L | 25.6746 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151604.6956 | 297735.2082 | 59.9307 | 49.4
38013 | 2021-02-23 20:46 | 89.3299 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.903 | μmol/L | 25.6499 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 151621.4035 | 297744.0883 | 59.9307 | 49.4
38023 | 2021-02-23 20:47 | 89.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.9588 | μmol/L | 25.6437 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151609.0918 | 297751.0389 | 59.9307 | 49.4
38033 | 2021-02-23 20:47 | 89.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0514 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.486 | 151628.2504 | 297752.089 | 59.9307 | 49.4
38043 | 2021-02-23 20:47 | 90.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.0704 | μmol/L | 25.6314 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.487 | 151611.5474 | 297730.8113 | 59.9307 | 49.4
38053 | 2021-02-23 20:48 | 90.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 209.033 | μmol/L | 25.6375 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.487 | 151612.1799 | 297718.3633 | 59.9307 | 49.4
38063 | 2021-02-23 20:48 | 90.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.8473 | μmol/L | 25.6561 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.491 | 151607.7527 | 297713.7056 | 59.9307 | 49.4
38073 | 2021-02-23 20:48 | 91.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6973 | μmol/L | 25.687 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151609.6952 | 297720.7043 | 59.9307 | 49.4
38083 | 2021-02-23 20:49 | 91.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6416 | μmol/L | 25.6932 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.49 | 151606.2616 | 297722.4659 | 59.9307 | 49.4
38093 | 2021-02-23 20:49 | 91.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6801 | μmol/L | 25.6746 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.494 | 151615.4973 | 297707.7214 | 59.9307 | 49.4
38103 | 2021-02-23 20:49 | 92.3293 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.8099 | μmol/L | 25.6623 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.491 | 151605.4093 | 297705.9815 | 59.9307 | 49.4
38113 | 2021-02-23 20:50 | 92.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.7738 | μmol/L | 25.6561 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.495 | 151602.9225 | 297692.7586 | 59.9307 | 49.4
38123 | 2021-02-23 20:50 | 92.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6599 | μmol/L | 25.6932 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.489 | 151601.7602 | 297690.5822 | 59.9307 | 49.4
38133 | 2021-02-23 20:50 | 93.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.5119 | μmol/L | 25.7056 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.493 | 151619.3432 | 297687.2529 | 59.9307 | 49.4
38143 | 2021-02-23 20:51 | 93.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.4189 | μmol/L | 25.7179 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.494 | 151611.1848 | 297725.7317 | 59.9307 | 49.4
38153 | 2021-02-23 20:51 | 93.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.6061 | μmol/L | 25.6808 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.496 | 151602.2147 | 297695.7609 | 59.9307 | 49.4
38163 | 2021-02-23 20:51 | 94.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.3456 | μmol/L | 25.7179 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.498 | 151613.6306 | 297692.7289 | 59.9307 | 49.4
38173 | 2021-02-23 20:52 | 94.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.5504 | μmol/L | 25.687 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.497 | 151620.6202 | 297685.89 | 59.9307 | 49.4
38183 | 2021-02-23 20:52 | 94.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.3266 | μmol/L | 25.7241 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.497 | 151612.62 | 297693.9336 | 59.9307 | 49.4
38193 | 2021-02-23 20:52 | 95.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.2337 | μmol/L | 25.7365 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.498 | 151606.3796 | 297693.8135 | 59.9307 | 49.4
38203 | 2021-02-23 20:53 | 95.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.216 | μmol/L | 25.7303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.501 | 151617.7291 | 297692.5414 | 59.9307 | 49.4
38213 | 2021-02-23 20:53 | 95.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.1043 | μmol/L | 25.7489 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.501 | 151618.3517 | 297678.0745 | 59.9307 | 49.4